## Resource Plans
FPL 000046
20240012-EG
2024 Ten Year Site Plan - Proposed Plan
Common to all Plans Retirements / Additions | Year | 2024 TYSP 522 MW Battery NW FL 2,235 MW Solar 2026 - 2033 Min. 300 MW Battery 2027 - 2033 | Summer RM%
+72 MW GE Upgrades Daniel 1&2 (502 MW) | 2024 | 894 MW SoBRA 745 MW SolarTogether Extension | 22.6668
+6 MW GE Upgrades +29 MW OCEC Rotor Upgrade 522 MW Battery NW FL 12/01/25 COD Pea Ridge (12 MW) Crist 4 (75MW) | 2025 | 894 MW SoBRA 596 MW Solar Together Extension | 23.6083
-- | 2026 | 522 MW Battery NWFL 2,235 MW Solar | 25.6709
+20 MW GE Upgrades Broward South (4 MW) Crist 5 (75 MW) | 2027 | 2,235 MW Solar 300 MW Battery | 26.0832
Lansing Smith 3A (32 MW) | 2028 | 2,235 MW Solar 300 MW Battery | 25.8109
Scherer 3 (215 MW) | 2029 | 2,235 MW Solar 300 MW Battery | 24.8264
Perdido 1&2 (3 MW) | 2030 | 2,235 MW Solar 300 MW Battery | 24.4078
-- | 2031 | 2,235 MW Solar 300 MW Battery | 23.6766
| 2032 | 2,235 MW Solar 300 MW Battery | 21.8714
| 2033 | 2,235 MW Solar 400 MW Battery | 20.5003
Manatee 1-2 (1,590 MW) | 2034 | 3x1 Martin CC, (1,991 MW) 3,000 MW Battery | 27.5395
--- | 2035 | -- | 24.727
Kingfisher PPA (81 MW) | 2036 | -- | 21.7426
--- | 2037 | 1 x 660 MW Filler | 21.2513
--- | 2038 | 1 x 660 MW Filler | 20.8424
--- | 2039 | 1 x 660 MW Filler | 20.573
--- | 2040 | 1 x 660 MW Filler | 20.4695
--- | 2041 | 1 x 660 MW Filler | 21.0518
--- | 2042 | 1 x 660 MW Filler | 21.7044
--- | 2043 | -- | 20.2878
--- | 2044 | 1 x 660 MW Filler | 20.911
--- | 2045 | 1 x 660 MW Filler | 21.509
--- | 2046 | -- | 20.2283
--- | 2047 | 1 x 660 MW Filler | 20.7968
--- | 2048 | 1 x 660 MW Filler | 21.3418
--- | 2049 | -- | 20.0648
--- | 2050 | 1 x 660 MW Filler | 20.5818
--- | 2051 | 1 x 660 MW Filler | 21.0759
Turkey Point 3 (837 MW) | 2052 | 2 x 660 MW Filler | 21.0802
Turkey Point 4 (841 MW) | 2053 | 2 x 660 MW Filler | 21.0537
--- | 2054 | 1 x 660 MW Filler | 21.4919
--- | 2055 | -- | 20.2177
St. Lucie 1 (981 MW) | 2056 | 3 x 660 MW Filler | 21.4909
--- | 2057 | -- | 20.2181
--- | 2058 | 1 x 660 MW Filler | 20.5989
--- | 2059 | 1 x 660 MW Filler | 20.9599
--- | 2060 | 1 x 660 MW Filler | 21.301
--- | 2061 | -- | 20.0328
--- | 2062 | 1 x 660 MW Filler | 20.3521
St. Lucie 2 (840 MW) | 2063 | 2 x 660 MW Filler | 20.228
--- | 2064 | 1 x 660 MW Filler | 20.5146
--- | 2065 | 1 x 660 MW Filler | 20.7834
--- | 2066 | 1 x 660 MW Filler | 21.0346
--- | 2067 | 1 x 660 MW Filler | 21.2681
--- | 2068 | -- | 20.0045
--- | 2069 | 1 x 660 MW Filler | 20.2196
--- | 2070 | 1 x 660 MW Filler | 20.4179
Nameplate Solar Additions (2024-2033): |  | 21009
Storage Additions (2024-2034): |  | 5721.5
Filler Additions (2035-2070): |  | 21120
CPVRR ($M, 2024-2070): |  | 93755.7094
WACC = 8.14%
New Solar resource options - 35-year book life

## Proposed Plan
FPL 000047
20240012-EG
| Case name: |  | 2024 Ten Year Site Plan - Proposed Plan
|  |  | System Fixed Costs |  |  |  | System Variable Costs
|  | Annual | Generation | Fixed O&M & | Transmission | Total |  |  |  |  | Total | Total | NPV | NPV |  | 11/1/2023 Load
|  | Discount | Capital | Capital Replacement | Interconnection | Fixed | System | Startup | VOM | Emission | Variable | Annual | Total | Cumulative |  | Net Energy
|  | Factor | Costs | Costs | Costs | Costs | Net Fuel | Costs | Costs | Costs | Costs | Costs | Annual Cost | Total Costs |  | For Load | Annual Rate
| Year | 8.14% | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | Year | (MWh) | ($/1,000 kWh)
1 | 2024 | 1 | 160.1665 | 3.4924 | 9.0337 | 172.6926 | 2539.142 | 117.5926 | 41.5484 | 0.54113 | 2698.8242 | 2871.5168 | 2871.5168 | 2871.5168 | 2024 | 140469039.7788 | 20.4423
2 | 2025 | 0.92473 | 337.4859 | 12.877 | 14.6556 | 365.0185 | 2821.9941 | 127.1723 | -105.2623 | 0.55601 | 2844.4601 | 3209.4786 | 2967.8922 | 5839.409 | 2025 | 141760595.4501 | 22.6401
3 | 2026 | 0.85512 | 885.2538 | 34.9961 | 81.8273 | 1002.0772 | 3168.1145 | 146.3711 | -359.5181 | 0.52434 | 2955.4918 | 3957.569 | 3384.198 | 9223.607 | 2026 | 142991001.8858 | 27.677
4 | 2027 | 0.79075 | 1323.4753 | 48.6252 | 146.3264 | 1518.427 | 2991.5315 | 156.0399 | -616.9769 | 0.51375 | 2531.1082 | 4049.5352 | 3202.1826 | 12425.7895 | 2027 | 144052949.1213 | 28.1114
5 | 2028 | 0.73123 | 1729.4985 | 62.4188 | 208.3061 | 2000.2235 | 3031.3723 | 167.6706 | -859.4766 | 0.47615 | 2340.0426 | 4340.2661 | 3173.7367 | 15599.5262 | 2028 | 145101074.9487 | 29.912
6 | 2029 | 0.67619 | 2107.7627 | 94.5068 | 267.8325 | 2470.102 | 3010.7868 | 195.1743 | -1137.3857 | 0.42308 | 2068.9985 | 4539.1005 | 3069.2903 | 18668.8166 | 2029 | 146550779.6675 | 30.9729
7 | 2030 | 0.62529 | 2465.6974 | 92.7999 | 325.0967 | 2883.594 | 2780.5595 | 202.8549 | -1433.6218 | 0.40467 | 1550.1973 | 4433.7912 | 2772.4074 | 21441.224 | 2030 | 148289967.0067 | 29.8995
8 | 2031 | 0.57822 | 2805.1106 | 114.097 | 380.141 | 3299.3486 | 2675.0338 | 230.9982 | -1743.1973 | 0.398 | 1163.2327 | 4462.5813 | 2580.3676 | 24021.5916 | 2031 | 149577661.0371 | 29.8345
9 | 2032 | 0.5347 | 3129.9089 | 147.6818 | 433.0557 | 3710.6464 | 2636.4624 | 263.9415 | -1991.0988 | 0.39778 | 909.7029 | 4620.3493 | 2470.4945 | 26492.0861 | 2032 | 151677427.0016 | 30.4617
10 | 2033 | 0.49445 | 3453.9151 | 152.7577 | 484.1369 | 4090.8097 | 2675.9574 | 296.995 | -2174.2849 | 0.38985 | 799.0573 | 4889.867 | 2417.7966 | 28909.8827 | 2033 | 153686054.8413 | 31.8172
11 | 2034 | 0.45723 | 3983.7209 | 193.9518 | 505.3942 | 4683.0669 | 2735.5673 | 170.5823 | -2059.7773 | 0.34657 | 846.7189 | 5529.7858 | 2528.3934 | 31438.2761 | 2034 | 155677526.0634 | 35.5208
12 | 2035 | 0.42281 | 3813.6347 | 207.233 | 487.0578 | 4507.9255 | 2972.8109 | 179.8369 | -1917.0975 | 0.35645 | 1235.9068 | 5743.8324 | 2428.5762 | 33866.8523 | 2035 | 157715250.1878 | 36.419
13 | 2036 | 0.39099 | 3664.151 | 189.6086 | 468.8488 | 4322.6084 | 3191.8742 | 187.799 | -1750.4841 | 93.2588 | 1722.4479 | 6045.0563 | 2363.5455 | 36230.3978 | 2036 | 159678552.768 | 37.8577
14 | 2037 | 0.36156 | 3533.8742 | 202.3171 | 451.0914 | 4187.2827 | 3389.8323 | 197.7315 | -1487.7179 | 194.0115 | 2293.8574 | 6481.14 | 2343.3041 | 38573.7019 | 2037 | 161501513.2313 | 40.1305
15 | 2038 | 0.33434 | 3779.1482 | 262.5842 | 444.4372 | 4486.1696 | 3615.2105 | 203.4322 | -1219.16 | 305.287 | 2904.7697 | 7390.9393 | 2471.1011 | 41044.8031 | 2038 | 163154117.4882 | 45.3004
16 | 2039 | 0.30918 | 3769.974 | 242.4012 | 438.0664 | 4450.4416 | 3809.599 | 205.918 | -938.5828 | 425.0889 | 3502.0231 | 7952.4647 | 2458.7041 | 43503.5072 | 2039 | 164626973.0906 | 48.306
17 | 2040 | 0.2859 | 3767.8262 | 261.2277 | 431.8887 | 4460.9426 | 4115.8242 | 211.6059 | -650.7303 | 547.7902 | 4224.49 | 8685.4326 | 2483.188 | 45986.6953 | 2040 | 165934759.0104 | 52.3425
18 | 2041 | 0.26438 | 3767.1705 | 304.9942 | 425.9707 | 4498.1354 | 4306.06 | 212.4078 | -347.9669 | 629.2542 | 4799.7551 | 9297.8905 | 2458.1944 | 48444.8896 | 2041 | 164918528.2227 | 56.3787
19 | 2042 | 0.24448 | 3768.2465 | 291.5776 | 420.6409 | 4480.465 | 4521.4036 | 221.2622 | -29.5028 | 741.3354 | 5454.4984 | 9934.9634 | 2428.9115 | 50873.8011 | 2042 | 166510767.1957 | 59.6656
20 | 2043 | 0.22608 | 3770.1477 | 306.4164 | 416.0451 | 4492.6093 | 4760.5382 | 224.3479 | 298.7481 | 864.6278 | 6148.262 | 10640.8713 | 2405.6711 | 53279.4722 | 2043 | 168119102.7607 | 63.2936
21 | 2044 | 0.20906 | 3646.3556 | 400.8378 | 399.3232 | 4446.5166 | 5194.7938 | 248.4955 | 312.5142 | 1016.7902 | 6772.5937 | 11219.1103 | 2345.4766 | 55624.9489 | 2044 | 169743699.3898 | 66.0944
22 | 2045 | 0.19332 | 3650.7639 | 343.7945 | 396.5057 | 4391.0641 | 5618.0844 | 249.0414 | 327.3766 | 1198.8971 | 7393.3996 | 11784.4636 | 2278.2226 | 57903.1714 | 2045 | 171384723.2394 | 68.7603
23 | 2046 | 0.17877 | 3643.4467 | 397.1271 | 394.5964 | 4435.1702 | 5855.6837 | 255.3172 | 339.6603 | 1356.7412 | 7807.4023 | 12242.5725 | 2188.6315 | 60091.803 | 2046 | 173042342.1682 | 70.749
24 | 2047 | 0.16532 | 3507.1741 | 417.5497 | 379.1508 | 4303.8745 | 6262.4026 | 272.9935 | 357.281 | 1552.7934 | 8445.4705 | 12749.345 | 2107.6645 | 62199.4674 | 2047 | 174716725.7539 | 72.9715
25 | 2048 | 0.15287 | 3514.1301 | 429.0362 | 378.8413 | 4322.0076 | 6715.0324 | 290.9649 | 371.7659 | 1767.9595 | 9145.7227 | 13467.7303 | 2058.8355 | 64258.3029 | 2048 | 176408045.3109 | 76.3442
26 | 2049 | 0.14136 | 3524.5687 | 469.7216 | 379.3275 | 4373.6178 | 7205.7266 | 308.5288 | 387.2173 | 2005.3768 | 9906.8495 | 14280.4674 | 2018.7535 | 66277.0564 | 2049 | 178116473.9087 | 80.1749
27 | 2050 | 0.13072 | 3386.777 | 535.7099 | 364.825 | 4287.3119 | 7950.6272 | 327.9807 | 406.1621 | 2293.4094 | 10978.1794 | 15265.4913 | 1995.5623 | 68272.6187 | 2050 | 179842186.3891 | 84.8827
28 | 2051 | 0.12088 | 3407.6991 | 489.3569 | 366.2239 | 4263.2798 | 8105.8238 | 319.8107 | 423.9066 | 2390.9916 | 11240.5326 | 15503.8125 | 1874.1599 | 70146.7786 | 2051 | 181585359.385 | 85.3803
29 | 2052 | 0.11178 | 3593.812 | 558.0774 | 384.173 | 4536.0624 | 8429.8396 | 320.9651 | 453.2236 | 2555.3666 | 11759.3948 | 16295.4573 | 1821.5803 | 71968.3589 | 2052 | 183346171.3384 | 88.8781
30 | 2053 | 0.10337 | 3781.7082 | 639.0639 | 402.2863 | 4823.0584 | 9133.323 | 328.5202 | 506.1628 | 2892.9751 | 12860.9812 | 17684.0396 | 1828.0029 | 73796.3618 | 2053 | 185124802.5188 | 95.525
31 | 2054 | 0.095589 | 3735.3264 | 680.3588 | 401.6547 | 4817.3399 | 9438.2973 | 331.7582 | 539.7886 | 3081.662 | 13391.5062 | 18208.8461 | 1740.5699 | 75536.9317 | 2054 | 186921435.0425 | 97.4144
32 | 2055 | 0.088394 | 3773.7547 | 679.2725 | 403.146 | 4856.1732 | 9554.1376 | 353.0957 | 559.8055 | 3187.1686 | 13654.2073 | 18510.3805 | 1636.2062 | 77173.1379 | 2055 | 188736252.8909 | 98.0754
33 | 2056 | 0.08174 | 4005.8038 | 757.3987 | 423.6459 | 5186.8484 | 10133.6428 | 347.95 | 609.6352 | 3504.0602 | 14595.2883 | 19782.1367 | 1616.9981 | 78790.136 | 2056 | 190569441.9301 | 103.8054
34 | 2057 | 0.075587 | 4056.1126 | 805.4637 | 425.8013 | 5287.3776 | 10346.8576 | 331.3351 | 640.4368 | 3678.235 | 14996.8646 | 20284.2422 | 1533.235 | 80323.3711 | 2057 | 192421189.9298 | 105.4158
35 | 2058 | 0.069898 | 3916.2203 | 882.3932 | 408.7274 | 5207.3408 | 10422.7199 | 334.9667 | 666.0033 | 3795.6735 | 15219.3634 | 20426.7042 | 1427.7819 | 81751.153 | 2058 | 194291686.5833 | 105.1342
36 | 2059 | 0.064636 | 3942.5246 | 913.0949 | 410.2268 | 5265.8463 | 10595.8043 | 345.0991 | 693.2949 | 3960.0974 | 15594.2958 | 20860.142 | 1348.3247 | 83099.4776 | 2059 | 196181123.5265 | 106.331
37 | 2060 | 0.059771 | 3960.6596 | 973.6307 | 412.9847 | 5347.275 | 10737.4239 | 358.4839 | 715.4983 | 4110.4925 | 15921.8986 | 21269.1736 | 1271.2807 | 84370.7584 | 2060 | 198089694.3587 | 107.3714
38 | 2061 | 0.055272 | 3930.7495 | 1017.3717 | 405.2811 | 5353.4023 | 10820.7971 | 362.3917 | 748.294 | 4244.1262 | 16175.609 | 21529.0113 | 1189.9496 | 85560.708 | 2061 | 200017594.6619 | 107.6356
39 | 2062 | 0.051111 | 3683.7844 | 1063.8098 | 375.9018 | 5123.496 | 10984.0789 | 336.41 | 782.2053 | 4416.4748 | 16519.1691 | 21642.6651 | 1106.1878 | 86666.8958 | 2062 | 201965022.0216 | 107.1605
40 | 2063 | 0.047264 | 4114.3223 | 1088.0425 | 415.3284 | 5617.6931 | 11430.3208 | 342.9638 | 834.3132 | 4741.6198 | 17349.2177 | 22966.9108 | 1085.5113 | 87752.4071 | 2063 | 203932176.0472 | 112.6203
41 | 2064 | 0.043706 | 3874.9848 | 1271.5867 | 386.7512 | 5533.3226 | 11651.8679 | 355.7272 | 874.2185 | 4979.4854 | 17861.2991 | 23394.6217 | 1022.4955 | 88774.9026 | 2064 | 205919258.3928 | 113.6107
42 | 2065 | 0.040417 | 3874.8185 | 1227.638 | 382.6963 | 5485.1528 | 11786.0678 | 356.0604 | 911.8 | 5165.2389 | 18219.1671 | 23704.3199 | 958.0464 | 89732.949 | 2065 | 207926472.778 | 114.0034
43 | 2066 | 0.037374 | 3887.8385 | 1283.8646 | 380.1297 | 5551.8328 | 11927.3966 | 375.2884 | 947.3629 | 5358.1089 | 18608.1567 | 24159.9895 | 902.9618 | 90635.9108 | 2066 | 209954025.0091 | 115.0728
44 | 2067 | 0.034561 | 3911.5927 | 1377.3112 | 378.8606 | 5667.7644 | 12049.2131 | 375.5495 | 986.2168 | 5550.0957 | 18961.0751 | 24628.8395 | 851.1973 | 91487.1081 | 2067 | 212002123.0008 | 116.1726
45 | 2068 | 0.031959 | 3945.8115 | 1468.614 | 379.0319 | 5793.4574 | 12146.4877 | 352.0732 | 1018.9051 | 5737.5123 | 19254.9784 | 25048.4358 | 800.5354 | 92287.6435 | 2068 | 214070976.7973 | 117.01
46 | 2069 | 0.029554 | 4069.38 | 1526.4954 | 392.2687 | 5988.1441 | 12279.7813 | 352.8971 | 1064.0847 | 5948.7281 | 19645.4911 | 25633.6352 | 757.5717 | 93045.2152 | 2069 | 216160798.5946 | 118.586
47 | 2070 | 0.027329 | 3952.0224 | 1610.3773 | 379.5099 | 5941.9095 | 12418.1378 | 368.4098 | 1102.7429 | 6166.4044 | 20055.6949 | 25997.6044 | 710.4942 | 93755.7094 | 2070 | 218271802.762 | 119.1066
|  | Total NPV = | 32963.8216 | 2859.561 | 3893.1634 | 39716.546 | 52614.3175 | 2694.8429 | -8922.7342 | 7652.7372 | 54039.1634 | 93755.7094