## Resource Plans
FPL 000048
20240012-EG
2024 Ten Year Site Plan - Supply Only
Common to all Plans Retirements / Additions | Year | 2024 TYSP 522 MW Battery NW FL 2,235 MW Solar 2026 - 2033 Min. 300 MW Battery 2027 - 2033 | Summer RM%
+72 MW GE Upgrades Daniel 1&2 (502 MW) | 2024 | 894 MW SoBRA 745 MW SolarTogether Extension | 22.67
+6 MW GE Upgrades +29 MW OCEC Rotor Upgrade 522 MW Battery NW FL 12/01/25 COD Pea Ridge (12 MW) Crist 4 (75MW) | 2025 | 894 MW SoBRA 596 MW Solar Together Extension | 23.42
-- | 2026 | 522 MW Battery NWFL 2,235 MW Solar | 25.22
+20 MW GE Upgrades Broward South (4 MW) Crist 5 (75 MW) | 2027 | 2,235 MW Solar 300 MW Battery | 25.34
Lansing Smith 3A (32 MW) | 2028 | 2,235 MW Solar 300 MW Battery | 24.81
Scherer 3 (215 MW) | 2029 | 2,235 MW Solar 300 MW Battery | 23.6
Perdido 1&2 (3 MW) | 2030 | 2,235 MW Solar 300 MW Battery | 22.96
-- | 2031 | 2,235 MW Solar 300 MW Battery | 22.01
| 2032 | 2,235 MW Solar 300 MW Battery | 20.04
| 2033 | 2,235 MW Solar 1,700 MW Battery | 20
Manatee 1-2 (1,590 MW) | 2034 | 3x1 Martin CC, (1,991 MW) 700 MW Battery | 24.42
--- | 2035 | -- | 21.72
Kingfisher PPA (81 MW) | 2036 | 1 x 660 MW Filler | 20.95
--- | 2037 | 1 x 660 MW Filler | 20.48
--- | 2038 | 1 x 660 MW Filler | 20.09
--- | 2039 | 2 x 660 MW Filler | 21.82
--- | 2040 | 1 x 660 MW Filler | 21.69
--- | 2041 | -- | 20.33
--- | 2042 | 1 x 660 MW Filler | 20.98
--- | 2043 | 1 x 660 MW Filler | 21.48
--- | 2044 | -- | 20.22
--- | 2045 | 1 x 660 MW Filler | 20.81
--- | 2046 | 1 x 660 MW Filler | 21.38
--- | 2047 | -- | 20.12
--- | 2048 | 1 x 660 MW Filler | 20.67
--- | 2049 | 1 x 660 MW Filler | 21.19
--- | 2050 | 1 x 660 MW Filler | 21.69
--- | 2051 | -- | 20.43
Turkey Point 3 (837 MW) | 2052 | 2 x 660 MW Filler | 20.44
Turkey Point 4 (841 MW) | 2053 | 2 x 660 MW Filler | 20.42
--- | 2054 | 1 x 660 MW Filler | 20.86
--- | 2055 | 1 x 660 MW Filler | 21.27
St. Lucie 1 (981 MW) | 2056 | 2 x 660 MW Filler | 20.87
--- | 2057 | 1 x 660 MW Filler | 21.25
--- | 2058 | -- | 20
--- | 2059 | 1 x 660 MW Filler | 20.36
--- | 2060 | 1 x 660 MW Filler | 20.71
--- | 2061 | 1 x 660 MW Filler | 21.03
--- | 2062 | 1 x 660 MW Filler | 21.33
St. Lucie 2 (840 MW) | 2063 | 2 x 660 MW Filler | 21.2
--- | 2064 | 1 x 660 MW Filler | 21.48
--- | 2065 | -- | 20.22
--- | 2066 | 1 x 660 MW Filler | 20.48
--- | 2067 | 1 x 660 MW Filler | 20.71
--- | 2068 | 1 x 660 MW Filler | 20.93
--- | 2069 | 1 x 660 MW Filler | 21.14
--- | 2070 | 1 x 660 MW Filler | 21.32
Nameplate Solar Additions (2024-2033): |  | 21009
Storage Additions (2024-2034): |  | 4721.5
Filler Additions (2035-2070): |  | 22440
CPVRR ($M, 2024-2070): |  | 95026.971
WACC = 8.14%
New Solar resource options - 35-year book life

## Supply Only
FPL 000049
20240012-EG
| Case name: |  | 2024 Ten Year Site Plan - Supply Only
|  |  | System Fixed Costs |  |  |  | System Variable Costs
|  | Annual | Generation | Fixed O&M & | Transmission | Total |  |  |  |  | Total | Total | NPV | NPV |  | 11/1/2023 Load
|  | Discount | Capital | Capital Replacement | Interconnection | Fixed | System | Startup | VOM | Emission | Variable | Annual | Total | Cumulative |  | Net Energy
|  | Factor | Costs | Costs | Costs | Costs | Net Fuel | Costs | Costs | Costs | Costs | Costs | Annual Cost | Total Costs |  | For Load | Annual Rate
| Year | 8.14% | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | Year | (MWh) | ($/1,000 kWh)
1 | 2024 | 1 | 160.17 | 3.49 | 9.03 | 172.69 | 2540.04 | 117.38 | 41.88 | 0.55 | 2699.85 | 2872.54 | 2872.54 | 2872.54 | 2024 | 140469039.7788 | 20.4496
2 | 2025 | 0.92473 | 337.49 | 12.88 | 14.66 | 365.03 | 2824.51 | 128.22 | -105.26 | 0.55 | 2848.02 | 3213.05 | 2971.1947 | 5843.7347 | 2025 | 141760595.4501 | 22.6653
3 | 2026 | 0.85512 | 885.25 | 35 | 81.83 | 1002.08 | 3174.06 | 146.35 | -359.48 | 0.53 | 2961.46 | 3963.54 | 3389.3039 | 9233.0387 | 2026 | 142991001.8858 | 27.7188
4 | 2027 | 0.79075 | 1323.48 | 48.63 | 146.33 | 1518.44 | 2998.91 | 158.03 | -617.3 | 0.52 | 2540.16 | 4058.6 | 3209.3505 | 12442.3892 | 2027 | 144052949.1213 | 28.1744
5 | 2028 | 0.73123 | 1729.5 | 62.42 | 208.31 | 2000.23 | 3044.58 | 176.45 | -859.19 | 0.48 | 2362.32 | 4362.55 | 3190.0314 | 15632.4206 | 2028 | 145101074.9487 | 30.0656
6 | 2029 | 0.67619 | 2107.76 | 94.51 | 267.83 | 2470.1 | 3025.69 | 202.19 | -1137.75 | 0.43 | 2090.56 | 4560.66 | 3083.8686 | 18716.2892 | 2029 | 146550779.6675 | 31.12
7 | 2030 | 0.62529 | 2465.7 | 92.8 | 325.1 | 2883.6 | 2796.89 | 212.39 | -1434.27 | 0.4 | 1575.41 | 4459.01 | 2788.1765 | 21504.4657 | 2030 | 148289967.0067 | 30.0695
8 | 2031 | 0.57822 | 2805.11 | 114.1 | 380.14 | 3299.35 | 2691.75 | 236.64 | -1743.71 | 0.4 | 1185.08 | 4484.43 | 2593.001 | 24097.4667 | 2031 | 149577661.0371 | 29.9806
9 | 2032 | 0.5347 | 3129.91 | 147.68 | 433.06 | 3710.65 | 2657.15 | 271.11 | -1992.02 | 0.4 | 936.64 | 4647.29 | 2484.8996 | 26582.3664 | 2032 | 151677427.0016 | 30.6393
10 | 2033 | 0.49445 | 3627.62 | 172.22 | 488.06 | 4287.9 | 2667.3 | 257.14 | -2193.76 | 0.38 | 731.06 | 5018.96 | 2481.6267 | 29063.993 | 2033 | 153686054.8413 | 32.6572
11 | 2034 | 0.45723 | 3838 | 167.94 | 501.96 | 4507.9 | 2786.89 | 221.31 | -2053.7 | 0.35 | 954.85 | 5462.75 | 2497.7426 | 31561.7356 | 2034 | 155677526.0634 | 35.0902
12 | 2035 | 0.42281 | 3677.73 | 196.27 | 483.86 | 4357.86 | 3021.95 | 235.8 | -1913.07 | 0.37 | 1345.05 | 5702.91 | 2411.2736 | 33973.0093 | 2035 | 157715250.1878 | 36.1595
13 | 2036 | 0.39099 | 3640.91 | 185.13 | 476.11 | 4302.15 | 3238.46 | 208.6 | -1748.51 | 94.74 | 1793.29 | 6095.44 | 2383.2449 | 36356.2542 | 2036 | 159678552.768 | 38.1732
14 | 2037 | 0.36156 | 3620.83 | 216.48 | 468.81 | 4306.12 | 3437.93 | 212.11 | -1487.27 | 197.01 | 2359.78 | 6665.9 | 2410.1055 | 38766.3596 | 2037 | 161501513.2313 | 41.2745
15 | 2038 | 0.33434 | 3869.2 | 246.92 | 461.78 | 4577.9 | 3666.96 | 217.88 | -1216.63 | 310.1 | 2978.31 | 7556.21 | 2526.3581 | 41292.7177 | 2038 | 163154117.4882 | 46.3133
16 | 2039 | 0.30918 | 3972 | 250.02 | 466.07 | 4688.09 | 3870.07 | 217.92 | -937.18 | 432.35 | 3583.16 | 8271.25 | 2557.2646 | 43849.9823 | 2039 | 164626973.0906 | 50.2424
17 | 2040 | 0.2859 | 3968.61 | 291.37 | 459.17 | 4719.15 | 4182.12 | 227.28 | -649.52 | 557.22 | 4317.1 | 9036.25 | 2583.4877 | 46433.47 | 2040 | 165934759.0104 | 54.4566
18 | 2041 | 0.26438 | 3848.17 | 308.38 | 440.63 | 4597.18 | 4367.39 | 237.42 | -347.93 | 638.9 | 4895.78 | 9492.96 | 2509.7672 | 48943.2372 | 2041 | 164918528.2227 | 57.5615
19 | 2042 | 0.24448 | 3848 | 312.3 | 434.76 | 4595.06 | 4582.66 | 242.17 | -28.74 | 752.24 | 5548.33 | 10143.39 | 2479.8679 | 51423.1051 | 2042 | 166510767.1957 | 60.9173
20 | 2043 | 0.22608 | 3850.04 | 360.54 | 429.78 | 4640.36 | 4825.18 | 249.36 | 299.32 | 877.41 | 6251.27 | 10891.63 | 2462.3622 | 53885.4674 | 2043 | 168119102.7607 | 64.7852
21 | 2044 | 0.20906 | 3726.48 | 387.14 | 412.68 | 4526.3 | 5263.46 | 269.02 | 314.37 | 1031.32 | 6878.17 | 11404.47 | 2384.2281 | 56269.6955 | 2044 | 169743699.3898 | 67.1864
22 | 2045 | 0.19332 | 3731.15 | 370.79 | 409.47 | 4511.41 | 5687.65 | 278.04 | 328.95 | 1214.75 | 7509.39 | 12020.8 | 2323.9121 | 58593.6076 | 2045 | 171384723.2394 | 70.1393
23 | 2046 | 0.17877 | 3724.07 | 431.58 | 407.15 | 4562.8 | 5928.32 | 281.15 | 342.24 | 1374.9 | 7926.61 | 12489.41 | 2232.7592 | 60826.3668 | 2046 | 173042342.1682 | 72.1755
24 | 2047 | 0.16532 | 3588 | 421.13 | 391.29 | 4400.42 | 6335.95 | 296.96 | 358.72 | 1572.26 | 8563.89 | 12964.31 | 2143.2015 | 62969.5683 | 2047 | 174716725.7539 | 74.2019
25 | 2048 | 0.15287 | 3595.08 | 460.41 | 390.56 | 4446.05 | 6793.37 | 321.35 | 372.01 | 1789.92 | 9276.65 | 13722.7 | 2097.8131 | 65067.3814 | 2048 | 176408045.3109 | 77.7895
26 | 2049 | 0.14136 | 3605.6 | 515.97 | 390.63 | 4512.2 | 7284.84 | 342.94 | 388.11 | 2028.75 | 10044.64 | 14556.84 | 2057.8228 | 67125.2043 | 2049 | 178116473.9087 | 81.7265
27 | 2050 | 0.13072 | 3620.55 | 539.47 | 391.12 | 4551.14 | 8040.62 | 363.45 | 406.39 | 2320.11 | 11130.57 | 15681.71 | 2049.972 | 69175.1762 | 2050 | 179842186.3891 | 87.1971
28 | 2051 | 0.12088 | 3481.97 | 545.47 | 375.92 | 4403.36 | 8191.7 | 355.17 | 424.47 | 2417.76 | 11389.1 | 15792.46 | 1909.0527 | 71084.2289 | 2051 | 181585359.385 | 86.9699
29 | 2052 | 0.11178 | 3666.01 | 612.99 | 393.4 | 4672.4 | 8514.8 | 358.46 | 452.67 | 2582.21 | 11908.14 | 16580.54 | 1853.4482 | 72937.6771 | 2052 | 183346171.3384 | 90.433
30 | 2053 | 0.10337 | 3819.27 | 668.99 | 410.54 | 4898.8 | 9209.61 | 367.25 | 507.34 | 2918.24 | 13002.44 | 17901.24 | 1850.455 | 74788.1321 | 2053 | 185124802.5188 | 96.6982
31 | 2054 | 0.095589 | 3834.06 | 719.74 | 411.18 | 4964.98 | 9513.32 | 373.69 | 539.61 | 3107.12 | 13533.74 | 18498.72 | 1768.2787 | 76556.4108 | 2054 | 186921435.0425 | 98.9652
32 | 2055 | 0.088394 | 3875.02 | 747 | 412.65 | 5034.67 | 9628.78 | 389.78 | 559.81 | 3213.14 | 13791.51 | 18826.18 | 1664.1209 | 78220.5318 | 2055 | 188736252.8909 | 99.7486
33 | 2056 | 0.08174 | 4103.15 | 778.55 | 432.97 | 5314.67 | 10195.06 | 393.24 | 613.6 | 3526.97 | 14728.87 | 20043.54 | 1638.3653 | 79858.897 | 2056 | 190569441.9301 | 105.1771
34 | 2057 | 0.075587 | 4150.16 | 856.62 | 434.86 | 5441.64 | 10418.77 | 371.7 | 640.45 | 3704.53 | 15135.45 | 20577.09 | 1555.3707 | 81414.2677 | 2057 | 192421189.9298 | 106.9378
35 | 2058 | 0.069898 | 4007.56 | 941.81 | 417.49 | 5366.86 | 10501.4 | 377.88 | 662.65 | 3824.41 | 15366.34 | 20733.2 | 1449.2053 | 82863.473 | 2058 | 194291686.5833 | 106.7117
36 | 2059 | 0.064636 | 4031.55 | 916.42 | 418.7 | 5366.67 | 10669.11 | 386.75 | 692.16 | 3987.91 | 15735.93 | 21102.6 | 1363.9963 | 84227.4693 | 2059 | 196181123.5265 | 107.5669
37 | 2060 | 0.059771 | 4047.81 | 1010.58 | 421.16 | 5479.55 | 10795.81 | 397.02 | 718.59 | 4134.72 | 16046.14 | 21525.69 | 1286.613 | 85514.0823 | 2060 | 198089694.3587 | 108.6664
38 | 2061 | 0.055272 | 4016.02 | 1057.91 | 413.16 | 5487.09 | 10888.87 | 404.22 | 748.01 | 4271.83 | 16312.93 | 21800.02 | 1204.9288 | 86719.0111 | 2061 | 200017594.6619 | 108.9905
39 | 2062 | 0.051111 | 3983.02 | 1076.53 | 405.43 | 5464.98 | 11070.43 | 381.94 | 774.21 | 4450.17 | 16676.75 | 22141.73 | 1131.6957 | 87850.7068 | 2062 | 201965022.0216 | 109.6315
40 | 2063 | 0.047264 | 4184.46 | 1125.44 | 421.49 | 5731.39 | 11482 | 385.98 | 836.65 | 4765.45 | 17470.08 | 23201.47 | 1096.5975 | 88947.3043 | 2063 | 203932176.0472 | 113.7705
41 | 2064 | 0.043706 | 4170 | 1278.09 | 415.68 | 5863.77 | 11705.15 | 400.87 | 875.6 | 5004.29 | 17985.91 | 23849.68 | 1042.3845 | 89989.6888 | 2064 | 205919258.3928 | 115.8205
42 | 2065 | 0.040417 | 3927.33 | 1258.11 | 386.95 | 5572.39 | 11842.04 | 400.21 | 910.11 | 5191 | 18343.36 | 23915.75 | 966.5916 | 90956.2804 | 2065 | 207926472.778 | 115.0202
43 | 2066 | 0.037374 | 3935.97 | 1326.62 | 384 | 5646.59 | 11983.34 | 419.78 | 944.43 | 5384.42 | 18731.97 | 24378.56 | 911.1308 | 91867.4112 | 2066 | 209954025.0091 | 116.1138
44 | 2067 | 0.034561 | 3957.86 | 1430.31 | 382.58 | 5770.75 | 12108.09 | 417.62 | 982.04 | 5578.51 | 19086.26 | 24857.01 | 859.0831 | 92726.4943 | 2067 | 212002123.0008 | 117.2489
45 | 2068 | 0.031959 | 3990.18 | 1545.74 | 382.55 | 5918.47 | 12191.53 | 397.72 | 1023.25 | 5761.94 | 19374.44 | 25292.91 | 808.3487 | 93534.843 | 2068 | 214070976.7973 | 118.152
46 | 2069 | 0.029554 | 4111.8 | 1600.64 | 395.56 | 6108 | 12355.16 | 399.47 | 1056.7 | 5984.24 | 19795.57 | 25903.57 | 765.5493 | 94300.3923 | 2069 | 216160798.5946 | 119.8347
47 | 2070 | 0.027329 | 4266.77 | 1703.03 | 410.35 | 6380.15 | 12492.01 | 415.14 | 1096.5 | 6202.35 | 20206 | 26586.15 | 726.5787 | 95026.971 | 2070 | 218271802.762 | 121.803
|  | Total NPV = | 33396.1304 | 2955.6324 | 3963.403 | 40315.1658 | 53034.0686 | 2877.0095 | -8925.0454 | 7725.7726 | 54711.8052 | 95026.971