## StartYr Sales Dist Segment
Census Division | 5=South Atlantic | 5 | FPL 000962
20240012-EG
Start Year Sales Distribution Inputs used in the Analytica model
Normalized
| MPS Segments | Consumption%
| Assembly | 9.335%
| College and University | 2.653%
| Data Center | 0.1255%
| Grocery | 1.927%
| Healthcare | 1.706%
| Hospitals | 4.885%
| Institutional | 2.998%
| Lodging/Hospitality | 5.833%
| Miscellaneous | 13.36%
| Offices | 20.23%
| Restaurants | 6.008%
| Retail | 15.58%
| Schools K-12 | 8.465%
| Warehouse | 6.89%

## StartYr Sales Dist End Use
Census Division | 5=South Atlantic | 5 | FPL 000963
20240012-EG
Start Year Sales Distribution Inputs used in the Analytica model
Normalized
| MPS Segments | Space Heating | Space Cooling | Domestic Hot Water | Ventilation and Circulation | Interior Lighting | Exterior Lighting | Cooking | Refrigeration | Office Equipment | Miscellaneous
| Assembly | 6.449% | 50.74% | 0.6292% | 3.927% | 10.37% | 0.6821% | 0.7447% | 3.671% | 2.204% | 20.59%
| College and University | 3.01% | 19.52% | 2.636% | 12.72% | 12.2% | 0.8026% | 0.05789% | 3.118% | 9.395% | 36.54%
| Data Center | 4.717% | 19.55% | 2.541% | 16.44% | 17.01% | 1.119% | 0.9971% | 8.663% | 10.18% | 18.78%
| Grocery | 4.458% | 6.569% | 0.3211% | 6.856% | 9.842% | 0.6475% | 3.393% | 55.26% | 0.7251% | 11.92%
| Healthcare | 6.485% | 12.78% | 0.6321% | 22.54% | 20.37% | 1.34% | 0.2837% | 2.189% | 8.644% | 24.74%
| Hospitals | 3.192% | 26.99% | 3.207% | 20.42% | 10.84% | 0.7135% | 1.989% | 4.104% | 4.035% | 24.5%
| Institutional | 9.432% | 31.93% | 1.124% | 9.529% | 17.31% | 1.139% | 1.766% | 7.678% | 2.555% | 17.54%
| Lodging/Hospitality | 2.812% | 24.6% | 5.935% | 15.19% | 7.746% | 0.5096% | 3.172% | 11.87% | 2.224% | 25.95%
| Miscellaneous | 6.286% | 11.2% | 0.4236% | 5.323% | 11.47% | 0.7547% | 0% | 0.08053% | 7.195% | 57.26%
| Offices | 10.62% | 20.96% | 0.6997% | 17.86% | 13.9% | 0.9148% | 0.2216% | 3.412% | 10.09% | 21.32%
| Restaurants | 5.937% | 16.26% | 7.817% | 9.323% | 6.073% | 0.3996% | 16.95% | 22.15% | 1.382% | 13.71%
| Retail | 6.556% | 18.39% | 2.347% | 13.23% | 18.56% | 1.221% | 0.472% | 14.15% | 5.253% | 19.82%
| Schools K-12 | 10.55% | 33.96% | 5.385% | 9.312% | 10.49% | 0.6899% | 0.4121% | 2.049% | 4.323% | 22.83%
| Warehouse | 9.217% | 20.85% | 0.925% | 5.173% | 19.24% | 1.266% | 0.002385% | 2.983% | 5.899% | 34.45%

## End Use Saturation
Census Division | 5=South Atlantic | 5 | FPL 000964
20240012-EG
End Use Saturation Inputs used in the Analytica model
| MPS Segments | Space Heating | Space Cooling | Domestic Hot Water | Ventilation and Circulation | Interior Lighting | Exterior Lighting | Cooking | Refrigeration | Office Equipment | Miscellaneous
| Assembly | 76.89% | 85.16% | 93.45% | 100% | 67.91% | 100% | 39.74% | 75.71% | 69.3% | 100%
| College and University | 77.09% | 99.3% | 78.22% | 100% | 86.99% | 100% | 1.981% | 49.17% | 78.22% | 100%
| Data Center | 64.2% | 81.74% | 83.19% | 99.63% | 86.48% | 100% | 51.49% | 97.61% | 100% | 100%
| Grocery | 87.81% | 86.06% | 89.54% | 100% | 94.92% | 100% | 70.69% | 100% | 100% | 100%
| Healthcare | 94.05% | 95.83% | 100% | 100% | 91.92% | 100% | 6.892% | 91.5% | 100% | 100%
| Hospitals | 87.68% | 99.41% | 100% | 100% | 95.78% | 100% | 97.14% | 100% | 100% | 100%
| Institutional | 90.2% | 92.47% | 88.72% | 100% | 76.49% | 100% | 44.74% | 88.24% | 81.82% | 100%
| Lodging/Hospitality | 57.54% | 91.4% | 100% | 98.72% | 72.59% | 100% | 45.14% | 94.86% | 100% | 100%
| Miscellaneous | 35.36% | 35.48% | 41.5% | 62.01% | 77.51% | 87.34% | 1.28% | 17.15% | 24.55% | 87.34%
| Offices | 80.14% | 90.46% | 88.13% | 100% | 84.21% | 100% | 23.25% | 83.5% | 100% | 100%
| Restaurants | 89.79% | 92.55% | 100% | 100% | 91.08% | 100% | 98.64% | 100% | 100% | 100%
| Retail | 70.63% | 77.16% | 15.42% | 100% | 83.58% | 100% | 27.85% | 79.08% | 100% | 100%
| Schools K-12 | 81.6% | 98.23% | 89.44% | 100% | 90.06% | 100% | 37.28% | 54.7% | 100% | 100%
| Warehouse | 31.31% | 22.8% | 45.69% | 63.56% | 46.26% | 81.51% | 1.102% | 36.68% | 73.1% | 81.51%

## End Use Fuel Share
Census Division | 5=South Atlantic | 5 | FPL 000965
20240012-EG
End Use Fuel Share Inputs used in the Analytica model
[5 empty] | assume 100% | assume 100% | assume 100% |  | assume 100% | assume 100% | assume 100%
| MPS Segments | Space Heating | Space Cooling | Domestic Hot Water | Ventilation and Circulation | Interior Lighting | Exterior Lighting | Cooking | Refrigeration | Office Equipment | Miscellaneous
| Assembly | 43.52% | 93.35% | 54.99% | 100% | 100% | 100% | 34.61% | 100% | 100% | 100%
| College and University | 54.94% | 73.15% | 37.15% | 100% | 100% | 100% | 0.6165% | 100% | 100% | 100%
| Data Center | 46.74% | 99.18% | 61.65% | 100% | 100% | 100% | 31.63% | 100% | 100% | 100%
| Grocery | 76.15% | 100% | 69.15% | 100% | 100% | 100% | 50.3% | 100% | 100% | 100%
| Healthcare | 88.02% | 100% | 74.24% | 100% | 100% | 100% | 6.852% | 100% | 100% | 100%
| Hospitals | 42.24% | 98.66% | 42.56% | 100% | 100% | 100% | 58.79% | 100% | 100% | 100%
| Institutional | 43.86% | 98.92% | 67.36% | 100% | 100% | 100% | 38.28% | 100% | 100% | 100%
| Lodging/Hospitality | 49.53% | 98.54% | 40.13% | 100% | 100% | 100% | 40.97% | 100% | 100% | 100%
| Miscellaneous | 42.08% | 62.01% | 40% | 100% | 100% | 100% | 0% | 100% | 100% | 100%
| Offices | 70.21% | 99.33% | 73.07% | 100% | 100% | 100% | 21.48% | 100% | 100% | 100%
| Restaurants | 50.02% | 97.18% | 67.14% | 100% | 100% | 100% | 65.59% | 100% | 100% | 100%
| Retail | 67.13% | 100% | 76.41% | 100% | 100% | 100% | 22.59% | 100% | 100% | 100%
| Schools K-12 | 47.92% | 92.47% | 61.54% | 100% | 100% | 100% | 22.49% | 100% | 100% | 100%
| Warehouse | 36.55% | 56.51% | 45.56% | 100% | 100% | 100% | 1.092% | 100% | 100% | 100%

## Energy Intensity
Census Division | 5=South Atlantic | 5 | FPL 000966
20240012-EG
Equip Type Saturation Inputs used in the Analytica model
|  | Space Heating | Space Heating | Space Heating | Space Heating | Space Heating | Space Cooling | Space Cooling | Space Cooling | Space Cooling | Space Cooling | Space Cooling | Domestic Hot Water | Domestic Hot Water | Ventilation and Circulation | Interior Lighting | Interior Lighting | Interior Lighting | Interior Lighting | Exterior Lighting | Exterior Lighting | Exterior Lighting | Cooking | Cooking | Cooking | Cooking | Cooking | Refrigeration | Refrigeration | Refrigeration | Refrigeration | Refrigeration | Office Equipment | Office Equipment | Office Equipment | Office Equipment | Miscellaneous | Miscellaneous | Miscellaneous | Miscellaneous | Miscellaneous
| MPS Segments | forced air furnace | packaged central unit | individual space heater | heat pump heating | space heating other | heat pump cooling | packaged air conditioning units (rtus) | central chillers inside | residential-type split system | individual room air conditioners | space cooling other | centralized water heaters | "point-of-use" water heaters | ventilation system | high bay | overhead (fluorescent/led/cfl u-shape) | spot lighting | case lighting | exterior parking/lot lighting | exterior marquis | spot lighting/security/flood | oven | range | steamer | fryer | cooking other | residential style | walk-in cooler | display cases | vending and ice makers | large cold storage | computers | servers | document production | other office | pool pump | laboratory equipment | medical equipment | elevators/escalators | others
| Assembly | 5.0622 | 2.0885 | 0 | 0.89796 | 8.4374 | 1.8989 | 8.63 | 17.7495 | 12.869 | 3.0909 | 0 | 0.084661 | 0.25138 | 0.62008 | 0.36892 | 1.4271 | 0.39883 | 0.0051504 | 0.95148 | 0.0054012 | 0.064545 | 0.11273 | 0.075151 | 0.035598 | 0.2182 | 0.14832 | 0.71867 | 1.3391 | 2.1676 | 1.2224 | 1.3536 | 0.20973 | 0.15358 | 0.35462 | 0.19292 | 2.2546 | 3.7334 | 0 | 4.7905 | 3.2505
| College and University | 0 | 3.7722 | 0 | 0.43761 | 0 | 0.8071 | 3.6472 | 5.827 | 0 | 0 | 0 | 0.34424 | 0.90584 | 1.3405 | 0.46263 | 3.1221 | 0.11531 | 0 | 0.95148 | 0.0054012 | 0.064545 | 0.11273 | 0.075151 | 0.035598 | 0.2182 | 0.14832 | 0.7228 | 1.6305 | 0.73993 | 0.98078 | 0 | 0.1935 | 0.16623 | 0.18947 | 0.20389 | 6.9622 | 7.9591 | 0 | 5.425 | 3.8504
| Data Center | 0 | 0.77475 | 3.094 | 0.47474 | 2.5445 | 2.6978 | 1.995 | 3.6276 | 2.0941 | 3.8918 | 1.8801 | 0.4061 | 0.44108 | 1.9885 | 0.2113 | 1.4757 | 0.11304 | 0 | 0.95148 | 0.0054012 | 0.064545 | 0.11273 | 0.075151 | 0.035598 | 0.2182 | 0.14832 | 1.1475 | 2.5307 | 2.9714 | 1.6491 | 7.4764 | 0.20128 | 0.20561 | 0.24055 | 0.1953 | 6.8377 | 4.7212 | 8.1787 | 4.2921 | 2.2711
| Grocery | 6.1472 | 3.4866 | 0 | 1.903 | 0 | 2.7702 | 4.7707 | 0 | 3.0404 | 0 | 0 | 0.14996 | 0.40944 | 3.976 | 1.3993 | 5.3049 | 0.19584 | 0 | 0.95148 | 0.0054012 | 0.064545 | 0.11273 | 0.075151 | 0.035598 | 0.2182 | 0.14832 | 35.6326 | 39.1344 | 28.6702 | 30.0706 | 34.4492 | 0.32206 | 0.094156 | 0.094156 | 0.32247 | 0 | 0 | 0 | 0 | 6.9151
| Healthcare | 1.0364 | 1.6952 | 0 | 0.72313 | 1.4518 | 2.3122 | 2.2337 | 2.2926 | 1.8927 | 0 | 0 | 0.10865 | 0.085649 | 3.8939 | 0 | 1.6909 | 0.20906 | 0 | 0.95148 | 0.0054012 | 0.064545 | 0.11273 | 0.075151 | 0.035598 | 0.2182 | 0.14832 | 0.45605 | 0.93683 | 0.81833 | 1.0979 | 0.67248 | 0.49747 | 0.333 | 0.60663 | 0.52815 | 0 | 4.0439 | 4.6777 | 3.1611 | 4.2745
| Hospitals | 0 | 0.96235 | 0 | 0 | 3.1046 | 0 | 10.3187 | 10.084 | 0 | 10.7892 | 0 | 0.41196 | 2.2761 | 7.4352 | 0 | 1.5352 | 0.46479 | 0 | 0.95148 | 0.0054012 | 0.064545 | 0.11273 | 0.075151 | 0.035598 | 0.2182 | 0.14832 | 1.4127 | 1.8627 | 1.4575 | 1.6687 | 2.1663 | 0.26105 | 0.25606 | 0.3402 | 0.34108 | 0 | 8.8061 | 9.2114 | 9.0029 | 8.922
| Institutional | 2.4446 | 1.6324 | 0 | 0.86795 | 1.3878 | 1.8755 | 2.0394 | 1.5464 | 2.3248 | 1.687 | 0 | 0.081287 | 0.074906 | 0.5924 | 0.08554 | 2.3292 | 1.0852 | 0 | 0.95148 | 0.0054012 | 0.064545 | 0.11273 | 0.075151 | 0.035598 | 0.2182 | 0.14832 | 0.46688 | 0.23434 | 1.3257 | 1.2777 | 0 | 0.09658 | 0.11607 | 0.1538 | 0.093444 | 0 | 0 | 0 | 1.6686 | 1.0904
| Lodging/Hospitality | 0.59338 | 0.80339 | 1.6967 | 0.31783 | 0.73989 | 1.4563 | 1.8424 | 2.2097 | 2.0212 | 6.0993 | 0 | 1.2611 | 0 | 2.8504 | 0 | 1.7911 | 1.9089 | 0 | 0.95148 | 0.0054012 | 0.064545 | 0.11273 | 0.075151 | 0.035598 | 0.2182 | 0.14832 | 2.6208 | 3.8865 | 4.0171 | 2.4357 | 4.117 | 0.16387 | 0.096047 | 0.16296 | 0.182 | 3.0026 | 0 | 0 | 3.2686 | 4.8713
| Miscellaneous | 0 | 1.3002 | 2.4575 | 0 | 0 | 0 | 2.1297 | 2.1996 | 0 | 1.9292 | 0 | 0.12305 | 0.21846 | 0.62543 | 0.3476 | 1.8835 | 0.56893 | 0 | 0.95148 | 0.0054012 | 0.064545 | 0.11273 | 0.075151 | 0.035598 | 0.2182 | 0.14832 | 0.041962 | 0.23364 | 0.42841 | 0.034398 | 0 | 0.27382 | 0.15643 | 0.16632 | 0.37662 | 0 | 0 | 0 | 15.6185 | 6.7279
| Offices | 3.8013 | 3.2196 | 1.3882 | 0.94026 | 1.7535 | 1.7617 | 3.2618 | 2.5085 | 4.1004 | 2.7971 | 2.9903 | 0.10788 | 0.19424 | 2.7217 | 0.34984 | 2.1133 | 0.13685 | 0 | 0.95148 | 0.0054012 | 0.064545 | 0.11273 | 0.075151 | 0.035598 | 0.2182 | 0.14832 | 0.62215 | 0.78971 | 1.4302 | 1.2137 | 2.0658 | 0.45533 | 0.53396 | 0.56713 | 0.45737 | 0 | 3.7169 | 2.4843 | 3.582 | 3.2484
| Restaurants | 0 | 7.9353 | 0 | 2.6186 | 2.8618 | 12.8186 | 10.3698 | 5.664 | 4.5306 | 9.5362 | 0 | 6.3054 | 2.8066 | 5.5756 | 0 | 2.613 | 0.68697 | 0 | 0.95148 | 0.0054012 | 0.064545 | 0.11273 | 0.075151 | 0.035598 | 0.2182 | 0.14832 | 13.0441 | 13.263 | 12.6216 | 13.3874 | 7.3568 | 0.65076 | 0.78565 | 0.75406 | 0.712 | 0 | 0 | 0 | 5.358 | 8.2001
| Retail | 0 | 1.5466 | 0.61138 | 0.87353 | 0 | 2.2548 | 3.2974 | 1.3553 | 1.4064 | 4.693 | 0 | 0.2579 | 0.96662 | 2.2065 | 0.57932 | 2.4372 | 0.18351 | 0 | 0.95148 | 0.0054012 | 0.064545 | 0.11273 | 0.075151 | 0.035598 | 0.2182 | 0.14832 | 3.031 | 7.6765 | 6.344 | 5.2512 | 5.2057 | 0.23468 | 0.30877 | 0.28394 | 0.26429 | 0 | 3.5475 | 3.0884 | 2.665 | 3.305
| Schools K-12 | 6.3543 | 1.5115 | 1.3521 | 0.81937 | 2.4819 | 3.4588 | 6.7063 | 3.2109 | 5.1224 | 4.7532 | 0 | 0.92575 | 0.28275 | 1.3302 | 0.46263 | 3.1221 | 0.11531 | 0 | 0.95148 | 0.0054012 | 0.064545 | 0.11273 | 0.075151 | 0.035598 | 0.2182 | 0.14832 | 0.56209 | 0.77382 | 0.88832 | 0.74184 | 2.1572 | 0.15659 | 0.15941 | 0.19672 | 0.21176 | 0.91772 | 2.6556 | 0 | 2.5018 | 3.2611
| Warehouse | 0.98472 | 0.90286 | 1.365 | 0.41603 | 0 | 1.0002 | 2.3864 | 2.7426 | 1.0005 | 2.3024 | 0 | 0.088414 | 0.025413 | 0.24251 | 0.57107 | 1.7106 | 0.018343 | 0 | 0.95148 | 0.0054012 | 0.064545 | 0.11273 | 0.075151 | 0.035598 | 0.2182 | 0.14832 | 0.37105 | 0.72799 | 1.005 | 0.76024 | 5.1906 | 0.15563 | 0.26938 | 0.22604 | 0.13371 | 0 | 0 | 0 | 2.061 | 1.6151

## Equip Type Saturation
Census Division | 5=South Atlantic | 5 | FPL 000967
20240012-EG
Equip Type Saturation Inputs used in the Analytica model | [19 empty] | Reference: https://fileservice.eea.comacloud.net/FileService.Api/file/FileRoom/12190528
Old Reference: https://www.energy.gov/sites/prod/files/2017/12/f46/lmc2015_nov17.pdf
|  | Space Heating | Space Heating | Space Heating | Space Heating | Space Heating | Space Cooling | Space Cooling | Space Cooling | Space Cooling | Space Cooling | Space Cooling | Space Cooling | Space Cooling | Domestic Hot Water | Domestic Hot Water | Ventilation and Circulation | Ventilation and Circulation | Ventilation and Circulation | Interior Lighting | Interior Lighting | Interior Lighting | Interior Lighting | Exterior Lighting | Exterior Lighting | Exterior Lighting | Cooking | Cooking | Cooking | Cooking | Cooking | Refrigeration | Refrigeration | Refrigeration | Refrigeration | Refrigeration | Office Equipment | Office Equipment | Office Equipment | Office Equipment | Miscellaneous | Miscellaneous | Miscellaneous | Miscellaneous | Miscellaneous
Normalized
| MPS Segments | forced air furnace | packaged central unit | individual space heater | heat pump heating | space heating other | central ac | heat pump cooling | packaged air conditioning units (rtus) | central chillers inside | district chilled water piped | residential-type split system | individual room air conditioners | space cooling other | centralized water heaters | "point-of-use" water heaters | central air-handling unit with cav | central ahu with vav | ventilation system | high bay | overhead (fluorescent/led/cfl u-shape) | spot lighting | case lighting | exterior parking/lot lighting | exterior marquis | spot lighting/security/flood | oven | range | steamer | fryer | cooking other | residential style | walk-in cooler | display cases | vending and ice makers | large cold storage | computers | servers | document production | other office | pool pump | laboratory equipment | medical equipment | elevators/escalators | others
| Assembly | 12.82% | 50.1% | 2.663% | 31.71% | 2.708% |  | 13.38% | 46.93% | 2.315% |  | 28.13% | 9.243% | 0% | 77.93% | 22.07% |  |  | 100% | 7.438% | 58.09% | 34.47% | 0% | 83.43% | 1.103% | 15.47% | 28.88% | 13.93% | 5.491% | 25.01% | 26.69% | 4.875% | 6.225% | 3.053% | 2.143% | 83.71% | 70.28% | 1.476% | 4.942% | 23.3% | 0.008183% | 1.254% | 0% | 7.36% | 91.38%
| College and University | 0% | 1.2% | 0.501% | 98.3% | 0% |  | 21.74% | 59.07% | 18.24% |  | 0.08013% | 0.8652% | 0% | 97.5% | 2.501% |  |  | 100% | 1.564% | 75.83% | 22.6% | 0% | 83.43% | 1.103% | 15.47% | 22.87% | 11.03% | 25.16% | 19.81% | 21.14% | 6.73% | 2.157% | 0.6448% | 4.11% | 86.36% | 62.23% | 1.893% | 1.117% | 34.76% | 0% | 20.59% | 0% | 13.77% | 65.64%
| Data Center | 0.1991% | 33.38% | 6.942% | 46.18% | 13.3% |  | 8.562% | 32.41% | 15.46% |  | 40.71% | 2.786% | 0.0642% | 81.37% | 18.63% |  |  | 100% | 9.098% | 73.14% | 17.71% | 0.04761% | 83.43% | 1.103% | 15.47% | 18.93% | 9.128% | 38.05% | 16.4% | 17.5% | 3.827% | 4.024% | 1.57% | 1.397% | 89.18% | 63.56% | 10.49% | 2.653% | 23.3% | 0% | 9.933% | 2.266% | 20.94% | 66.86%
| Grocery | 12.36% | 60.78% | 0% | 26.74% | 0.1157% |  | 30.85% | 49.26% | 0% |  | 19.89% | 0.002347% | 0% | 66.05% | 33.95% |  |  | 100% | 3.094% | 76.56% | 20.35% | 0% | 83.43% | 1.103% | 15.47% | 16.15% | 7.787% | 47.15% | 13.99% | 14.93% | 5.776% | 38.18% | 25.1% | 6.905% | 24.04% | 54.61% | 0.5351% | 0.254% | 44.6% | 0% | 0% | 0% | 0% | 100%
| Healthcare | 3.359% | 53.53% | 2.469% | 39.69% | 0.9523% |  | 18.88% | 67.78% | 0.3998% |  | 11.51% | 1.425% | 0% | 95.61% | 4.394% |  |  | 100% | 4.616% | 67.49% | 27.9% | 0% | 83.43% | 1.103% | 15.47% | 14.08% | 6.79% | 53.92% | 12.2% | 13.02% | 11.37% | 0.2235% | 0.1555% | 0.9005% | 87.36% | 73.25% | 2.885% | 4.112% | 19.75% | 0% | 10.44% | 38.12% | 7.293% | 44.15%
| Hospitals | 0% | 30.45% | 0.02005% | 35.58% | 33.95% |  | 5.542% | 40.16% | 42% |  | 1.05% | 11.17% | 0.07611% | 57.74% | 42.26% |  |  | 100% | 13.03% | 54.99% | 31.98% | 0% | 83.43% | 1.103% | 15.47% | 12.48% | 6.019% | 59.15% | 10.81% | 11.54% | 4.786% | 3.939% | 1.83% | 2.582% | 86.86% | 38.15% | 8.256% | 7.168% | 46.42% | 0% | 21.25% | 27.55% | 19.36% | 31.84%
| Institutional | 6.657% | 34.54% | 0.883% | 45.29% | 12.63% |  | 26.53% | 51.56% | 1.185% |  | 14.35% | 6.379% | 0% | 81.61% | 18.39% |  |  | 100% | 12.16% | 67.07% | 20.77% | 0% | 83.43% | 1.103% | 15.47% | 11.21% | 5.405% | 63.32% | 9.708% | 10.36% | 5.273% | 1.968% | 1.943% | 0.9871% | 89.83% | 63.29% | 2.332% | 8.281% | 26.09% | 0% | 0% | 0% | 6.941% | 93.06%
| Lodging/Hospitality | 0.08095% | 27.27% | 44.62% | 20.05% | 7.976% |  | 15.67% | 8.339% | 7.451% |  | 2.766% | 65.67% | 0.1053% | 87.08% | 12.92% |  |  | 100% | 4.676% | 68.51% | 26.82% | 0% | 83.43% | 1.103% | 15.47% | 10.17% | 4.905% | 66.71% | 8.81% | 9.402% | 46.52% | 3.395% | 1.275% | 1.545% | 47.27% | 68.64% | 0.6781% | 0.5031% | 30.18% | 1.771% | 0% | 0% | 29.86% | 68.37%
| Miscellaneous | 0% | 75.35% | 15.78% | 5.842% | 3.028% |  | 5.725% | 56.16% | 23.46% |  | 2.734% | 11.92% | 0% | 96.16% | 3.838% |  |  | 100% | 3.885% | 78.79% | 17.33% | 0% | 83.43% | 1.103% | 15.47% | 9.309% | 4.489% | 69.53% | 8.064% | 8.606% | 2.269% | 1.25% | 0.4478% | 1.348% | 94.68% | 52.39% | 30.71% | 2.424% | 14.48% | 0% | 0% | 0% | 23.52% | 76.48%
| Offices | 8.675% | 46.26% | 6.084% | 33.12% | 5.869% |  | 14.43% | 51.56% | 4.426% |  | 26.61% | 2.725% | 0.2453% | 85.63% | 14.37% |  |  | 100% | 5.386% | 68.65% | 25.94% | 0.02713% | 83.43% | 1.103% | 15.47% | 8.582% | 4.139% | 71.91% | 7.434% | 7.934% | 5.252% | 0.7554% | 0.4839% | 1.792% | 91.72% | 68.43% | 5.843% | 4.86% | 20.86% | 0% | 1.639% | 0.1075% | 11.37% | 86.88%
| Restaurants | 4.114% | 73.55% | 1.245% | 16.94% | 4.151% |  | 4.754% | 83.38% | 0.8957% |  | 7.067% | 3.902% | 0% | 57.5% | 42.5% |  |  | 100% | 1.36% | 71.46% | 27.18% | 0% | 83.43% | 1.103% | 15.47% | 7.96% | 3.839% | 73.95% | 6.896% | 7.359% | 7.627% | 39.34% | 16.52% | 4.001% | 32.52% | 69.72% | 6.732% | 2.207% | 21.34% | 0% | 0% | 0% | 0.7837% | 99.22%
| Retail | 1.095% | 66.41% | 1.967% | 25.48% | 5.047% |  | 12.49% | 77.51% | 0.052% |  | 8.411% | 1.537% | 0% | 53.8% | 46.2% |  |  | 100% | 7.02% | 65.86% | 27.04% | 0.07759% | 83.43% | 1.103% | 15.47% | 7.423% | 3.58% | 75.71% | 6.43% | 6.862% | 3.561% | 12.43% | 11.05% | 1.639% | 71.32% | 63.18% | 5.395% | 3.927% | 27.5% | 0% | 16.46% | 7.727% | 0.7759% | 75.04%
| Schools K-12 | 26.76% | 29.84% | 2.874% | 36.38% | 4.144% |  | 6.589% | 36.19% | 13.81% |  | 40.74% | 2.671% | 0% | 91.04% | 8.964% |  |  | 100% | 8.796% | 77.03% | 13.85% | 0.3235% | 83.43% | 1.103% | 15.47% | 6.953% | 3.353% | 77.24% | 6.023% | 6.428% | 4.664% | 6.837% | 1.57% | 1.855% | 85.07% | 92.59% | 0.8751% | 1.019% | 5.519% | 0% | 5.621% | 0% | 11.93% | 82.44%
| Warehouse | 15% | 38.53% | 28.38% | 13.86% | 4.229% |  | 1.842% | 44.4% | 0.18% |  | 45.52% | 8.058% | 0.0017% | 90.97% | 9.034% |  |  | 100% | 4.43% | 76.87% | 18.7% | 0% | 83.43% | 1.103% | 15.47% | 6.539% | 3.154% | 78.6% | 5.665% | 6.045% | 2.621% | 1.632% | 0.9398% | 1.173% | 93.63% | 67.14% | 3.045% | 3.727% | 26.09% | 0% | 0% | 0% | 5.445% | 94.56%

## List
CENDIV List | FPL 000968
1=New England | 20240012-EG
2=Middle Atlantic
3=East North Central
4=West North Central
5=South Atlantic
6=East South Central
7=West South Central
8=Mountain
9=Pacific