## With CO2
FPL 002591 | [16 empty] | Filename: 2024 Goals - CHP-DER Results v1 wBreakouts - 12 04 2023.xlsx
20240012-EG | [16 empty] | Page 1 of 2
Combined Heat/Power and Distributed Energy Resources Measures - Batch Run Results
Includes NPV of Measure Benefits and Costs (2023-2082)
Avoided Unit: 2033 Combined Cycle
Fuel Forecast: 9/1/23 Fuel
With CO2 Compliance Costs
Maximum Incentive
[6 empty] | Total | Energy | Demand | [7 empty] | that passes E-RIM and | Maximum Incentive
|  | Avoided gen | Avoided |  | Env / | E-RIM / | Charge | Charge | Total |  | Part. | Total |  | Savings in |  | has a Part. Test >= 1.00 | that does not violate
|  | Unit $ & Fuel | T&D | Revenue | Other | E-TRC | Revenue | Revenue | E-RIM |  | Equipment | E-TRC |  | Participant |  |  | 2-Years Payback
|  | Benefits | Benefits | Gains | Benefits | Benefits | Loss | Loss | Costs | RIM | Cost | Costs | TRC | Bills | Years |  | one-time incentive payment
|  | (000$) | (000$) |  | (000$) | (000$) | (000$) | (000$) | (000$) | Ratio | (000$) | (000$) | Ratio | (000$) | To Payback | (Nominal $) | (Nominal $) | Segment | Measure
1 | CHPgsd101 | 20653.5721 | 6677.9612 | 0 | 2121.9792 | 29453.5125 | 24134.4211 | 17330.6309 | 41465.052 | 0.71032 | 119734.3857 | 119734.3857 | 0.24599 | 46408.2462 | 20.6059 | 7558.2545 | 7665.6133 | Commercial Facility | 50 kW Micro Turbine
2 | CHPgsd102 | 20653.5721 | 6677.9612 | 0 | 2121.9792 | 29453.5125 | 24134.4211 | 17330.6309 | 41465.052 | 0.71032 | 127836.1103 | 127836.1103 | 0.2304 | 46408.2462 | 22.0002 | 8393.3577 | 8244.6692 | Industrial Facility Only | 100 kW Micro Turbine- Biogas
3 | CHPgsd103 | 20653.5721 | 6677.9612 | 0 | 2121.9792 | 29453.5125 | 24134.4211 | 17330.6309 | 41465.052 | 0.71032 | 122206.0175 | 122206.0175 | 0.24102 | 46408.2462 | 21.0313 | 7813.0234 | 7842.2681 | Commercial Facility | 100 kW Micro Turbine
4 | CHPgsd104 | 18155.353 | 6677.9612 | 0 | 1623.9632 | 26457.2774 | 19701.5687 | 17330.6309 | 37032.1996 | 0.71444 | 90262.5632 | 90262.5632 | 0.29311 | 41067.4602 | 27.8097 | 7399.0017 | 9456.2773 | Commercial Facility | 150 kW Reciprocating Engine
5 | CHPgsd105 | 20653.5721 | 6677.9612 | 0 | 2121.9792 | 29453.5125 | 24134.4211 | 17330.6309 | 41465.052 | 0.71032 | 118123.586 | 118123.586 | 0.24934 | 46408.2462 | 20.3287 | 7392.2177 | 7550.4847 | Commercial Facility | 200 kW Micro Turbine
6 | CHPgsd106 | 26492.0081 | 6677.9612 | 0 | 3339.3521 | 36509.3213 | 34970.285 | 17330.6309 | 52300.9159 | 0.69806 | 276203.1536 | 276203.1536 | 0.13218 | 59463.5039 | 37.2356 | 22340.9201 | 18590.702 | Commercial Facility | 175 kW Fuel Cell
7 | CHPgsd107 | 18155.353 | 6677.9612 | 0 | 1623.9632 | 26457.2774 | 19701.5687 | 17330.6309 | 37032.1996 | 0.71444 | 84520.9596 | 84520.9596 | 0.31303 | 41067.4602 | 26.0407 | 6535.4577 | 8804.7318 | Commercial Facility | 350 kW Reciprocating Engine
8 | CHPgsld108 | 26492.0081 | 6677.9612 | 0 | 3339.3521 | 36509.3213 | 50752.1268 | 16265.5703 | 67017.6971 | 0.54477 | 178726.1882 | 178726.1882 | 0.20428 | 77412.711 | 24.5412 | 10443.1114 | 11643.881 | Commercial Facility | 500 kW Fuel Cell
9 | CHPgsld109 | 18155.353 | 6677.9612 | 0 | 1623.9632 | 26457.2774 | 28592.747 | 16265.5703 | 44858.3173 | 0.5898 | 75914.6771 | 75914.6771 | 0.34851 | 50714.6631 | 22.9798 | 3790.1119 | 7815.5756 | Industrial Facility Only | 1250 kW Reciprocating Engine-Biogas
10 | CHPgsld110 | 18155.353 | 6677.9612 | 0 | 1623.9632 | 26457.2774 | 28592.747 | 16265.5703 | 44858.3173 | 0.5898 | 72607.887 | 72607.887 | 0.36439 | 50714.6631 | 21.9788 | 3292.7667 | 7440.3278 | Commercial Facility | 1250 kW Reciprocating Engine
11 | CHPgsld111 | 26492.0081 | 6677.9612 | 0 | 3339.3521 | 36509.3213 | 50752.1268 | 16265.5703 | 67017.6971 | 0.54477 | 173008.3766 | 173008.3766 | 0.21103 | 77412.711 | 23.7561 | 9853.7353 | 11235.2108 | Commercial Facility | 800 kW Fuel Cell-Biogas
12 | CHPgsld112 | 26492.0081 | 6677.9612 | 0 | 3339.3521 | 36509.3213 | 50752.1268 | 16265.5703 | 67017.6971 | 0.54477 | 155024.8114 | 155024.8114 | 0.23551 | 77412.711 | 21.2867 | 8000.0394 | 9949.8691 | Industrial Facility Only | 1125 kW Fuel Cell
13 | CHPgsld113 | 18155.353 | 6677.9612 | 0 | 1623.9632 | 26457.2774 | 28592.747 | 16265.5703 | 44858.3173 | 0.5898 | 64140.8369 | 64140.8369 | 0.41249 | 50714.6631 | 19.4158 | 2019.3123 | 6479.5035 | Commercial Facility | 3000 kW Reciprocating Engine
14 | CHPgsld114 | 32353.44 | 6677.9612 | 0 | 4390.7193 | 43422.1205 | 64333.6808 | 16265.5703 | 80599.2511 | 0.53874 | 131179.3446 | 131179.3446 | 0.33101 | 93776.0291 | 26.7857 | 6070.3933 | 15000.1554 | Commercial Facility | 1500 kW Steam Turbine-Biomass
15 | CHPgsld115 | 18155.353 | 6677.9612 | 0 | 1623.9632 | 26457.2774 | 28592.747 | 16265.5703 | 44858.3173 | 0.5898 | 63563.7488 | 63563.7488 | 0.41623 | 50714.6631 | 19.2411 | 1932.5176 | 6414.0163 | Commercial Facility | 4500 kW Reciprocating Engine
16 | CHPgsld116 | 29484.7321 | 6677.9612 | 0 | 3892.7033 | 40055.3965 | 57900.3135 | 16265.5703 | 74165.8838 | 0.54008 | 158094.4365 | 158094.4365 | 0.25336 | 86024.9842 | 31.6129 | 10839.3311 | 16703.1785 | Commercial Facility | 2500 kW Gas Turbine
17 | CHPgsld117 | 29484.7321 | 6677.9612 | 0 | 3892.7033 | 40055.3965 | 57900.3135 | 16265.5703 | 74165.8838 | 0.54008 | 155056.1971 | 155056.1971 | 0.25833 | 86024.9842 | 31.0054 | 10382.3763 | 16358.4036 | Commercial Facility | 3000 kW Gas Turbine
18 | CHPgsld118 | 29484.7321 | 6677.9612 | 0 | 3892.7033 | 40055.3965 | 57900.3135 | 16265.5703 | 74165.8838 | 0.54008 | 152184.3066 | 152184.3066 | 0.2632 | 86024.9842 | 30.4311 | 9950.4406 | 16032.5076 | Commercial Facility | 3500 kW Gas Turbine
19 | CHPgsld119 | 32353.44 | 6677.9612 | 0 | 4390.7193 | 43422.1205 | 64333.6808 | 16265.5703 | 80599.2511 | 0.53874 | 141137.319 | 141137.319 | 0.30766 | 93776.0291 | 28.8191 | 7686.5288 | 16240.0406 | Industrial Facility Only | 3500 kW Steam Turbine-Biomass
20 | CHPgsld120 | 32353.44 | 6677.9612 | 0 | 4390.7193 | 43422.1205 | 64333.6808 | 16265.5703 | 80599.2511 | 0.53874 | 132561.211 | 132561.211 | 0.32756 | 93776.0291 | 27.0679 | 6294.6642 | 15172.2132 | Industrial Facility Only | 5500 kW Steam Turbine-Biomass
21 | PVrs201 | 6202.4156 | 1243.5718 | 0 | 848.8798 | 8294.8672 | 18243.5839 | 0 | 18243.5839 | 0.45467 | 19372.2162 | 19372.2162 | 0.42818 | 24004.7156 | 12.3565 | 0 | 1808.8283 | Residential | Solar PV
22 | PVrs202 | 85.271 | 127.4591 | 0 | -11.2504 | 201.4797 | 1 | 0 | 1 | 201.4797 | 12392.9432 | 12392.9432 | 0.016258 | 0 | 0 | 1277.4301 | 885.7625 | Residential | Paired Battery Storage
23 | PVgsd203 | 29130.7819 | 6395.5576 | 0 | 3888.0646 | 39414.404 | 39632.5135 | 17330.6309 | 56963.1443 | 0.69193 | 63585.0136 | 63585.0136 | 0.61987 | 65080.6466 | 12.4494 | 0 | 5953.9944 | NonResidential | Solar PV
24 | PVgsd204 | 6228.8555 | 9310.61 | 0 | -821.817 | 14717.6485 | 1 | 17330.6309 | 17331.6309 | 0.84918 | 457551.4754 | 457551.4754 | 0.032166 | 17330.6304 | 0 | 45376.74 | 32385.5979 | NonResidential | Paired Battery Storage

## No CO2
FPL 002592 | [16 empty] | Filename: 2024 Goals - CHP-DER Results v1 wBreakouts - 12 04 2023.xlsx
20240012-EG | [16 empty] | Page 1 of 2
Combined Heat/Power and Distributed Energy Resources Measures - Batch Run Results
Includes NPV of Measure Benefits and Costs (2023-2082)
Avoided Unit: 2033 Combined Cycle
Fuel Forecast: 9/1/23 Fuel
NO CO2 Compliance Costs
Maximum Incentive
[6 empty] | Total | Energy | Demand | [7 empty] | that passes E-RIM and | Maximum Incentive
|  | Avoided gen | Avoided |  | Env / | E-RIM / | Charge | Charge | Total |  | Part. | Total |  | Savings in |  | has a Part. Test >= 1.00 | that does not violate
|  | Unit $ & Fuel | T&D | Revenue | Other | E-TRC | Revenue | Revenue | E-RIM |  | Equipment | E-TRC |  | Participant |  |  | 2-Years Payback
|  | Benefits | Benefits | Gains | Benefits | Benefits | Loss | Loss | Costs | RIM | Cost | Costs | TRC | Bills | Years |  | one-time incentive payment
|  | (000$) | (000$) |  | (000$) | (000$) | (000$) | (000$) | (000$) | Ratio | (000$) | (000$) | Ratio | (000$) | To Payback | (Nominal $) | (Nominal $) | Segment | Measure
1 | CHPgsd101 | 20653.5721 | 6677.9612 | 0 | 0 | 27331.5333 | 24134.4211 | 17330.6309 | 41465.052 | 0.65915 | 119734.3857 | 119734.3857 | 0.22827 | 46408.2462 | 20.6059 | 7558.2545 | 7665.6133 | Commercial Facility | 50 kW Micro Turbine
2 | CHPgsd102 | 20653.5721 | 6677.9612 | 0 | 0 | 27331.5333 | 24134.4211 | 17330.6309 | 41465.052 | 0.65915 | 127836.1103 | 127836.1103 | 0.2138 | 46408.2462 | 22.0002 | 8393.3577 | 8244.6692 | Industrial Facility Only | 100 kW Micro Turbine- Biogas
3 | CHPgsd103 | 20653.5721 | 6677.9612 | 0 | 0 | 27331.5333 | 24134.4211 | 17330.6309 | 41465.052 | 0.65915 | 122206.0175 | 122206.0175 | 0.22365 | 46408.2462 | 21.0313 | 7813.0234 | 7842.2681 | Commercial Facility | 100 kW Micro Turbine
4 | CHPgsd104 | 18155.353 | 6677.9612 | 0 | 0 | 24833.3142 | 19701.5687 | 17330.6309 | 37032.1996 | 0.67059 | 90262.5632 | 90262.5632 | 0.27512 | 41067.4602 | 27.8097 | 7399.0017 | 9456.2773 | Commercial Facility | 150 kW Reciprocating Engine
5 | CHPgsd105 | 20653.5721 | 6677.9612 | 0 | 0 | 27331.5333 | 24134.4211 | 17330.6309 | 41465.052 | 0.65915 | 118123.586 | 118123.586 | 0.23138 | 46408.2462 | 20.3287 | 7392.2177 | 7550.4847 | Commercial Facility | 200 kW Micro Turbine
6 | CHPgsd106 | 26492.0081 | 6677.9612 | 0 | 0 | 33169.9693 | 34970.285 | 17330.6309 | 52300.9159 | 0.63421 | 276203.1536 | 276203.1536 | 0.12009 | 59463.5039 | 37.2356 | 22340.9201 | 18590.702 | Commercial Facility | 175 kW Fuel Cell
7 | CHPgsd107 | 18155.353 | 6677.9612 | 0 | 0 | 24833.3142 | 19701.5687 | 17330.6309 | 37032.1996 | 0.67059 | 84520.9596 | 84520.9596 | 0.29381 | 41067.4602 | 26.0407 | 6535.4577 | 8804.7318 | Commercial Facility | 350 kW Reciprocating Engine
8 | CHPgsld108 | 26492.0081 | 6677.9612 | 0 | 0 | 33169.9693 | 50752.1268 | 16265.5703 | 67017.6971 | 0.49494 | 178726.1882 | 178726.1882 | 0.18559 | 77412.711 | 24.5412 | 10443.1114 | 11643.881 | Commercial Facility | 500 kW Fuel Cell
9 | CHPgsld109 | 18155.353 | 6677.9612 | 0 | 0 | 24833.3142 | 28592.747 | 16265.5703 | 44858.3173 | 0.55359 | 75914.6771 | 75914.6771 | 0.32712 | 50714.6631 | 22.9798 | 3790.1119 | 7815.5756 | Industrial Facility Only | 1250 kW Reciprocating Engine-Biogas
10 | CHPgsld110 | 18155.353 | 6677.9612 | 0 | 0 | 24833.3142 | 28592.747 | 16265.5703 | 44858.3173 | 0.55359 | 72607.887 | 72607.887 | 0.34202 | 50714.6631 | 21.9788 | 3292.7667 | 7440.3278 | Commercial Facility | 1250 kW Reciprocating Engine
11 | CHPgsld111 | 26492.0081 | 6677.9612 | 0 | 0 | 33169.9693 | 50752.1268 | 16265.5703 | 67017.6971 | 0.49494 | 173008.3766 | 173008.3766 | 0.19172 | 77412.711 | 23.7561 | 9853.7353 | 11235.2108 | Commercial Facility | 800 kW Fuel Cell-Biogas
12 | CHPgsld112 | 26492.0081 | 6677.9612 | 0 | 0 | 33169.9693 | 50752.1268 | 16265.5703 | 67017.6971 | 0.49494 | 155024.8114 | 155024.8114 | 0.21397 | 77412.711 | 21.2867 | 8000.0394 | 9949.8691 | Industrial Facility Only | 1125 kW Fuel Cell
13 | CHPgsld113 | 18155.353 | 6677.9612 | 0 | 0 | 24833.3142 | 28592.747 | 16265.5703 | 44858.3173 | 0.55359 | 64140.8369 | 64140.8369 | 0.38717 | 50714.6631 | 19.4158 | 2019.3123 | 6479.5035 | Commercial Facility | 3000 kW Reciprocating Engine
14 | CHPgsld114 | 32353.44 | 6677.9612 | 0 | 0 | 39031.4012 | 64333.6808 | 16265.5703 | 80599.2511 | 0.48427 | 131179.3446 | 131179.3446 | 0.29754 | 93776.0291 | 26.7857 | 6070.3933 | 15000.1554 | Commercial Facility | 1500 kW Steam Turbine-Biomass
15 | CHPgsld115 | 18155.353 | 6677.9612 | 0 | 0 | 24833.3142 | 28592.747 | 16265.5703 | 44858.3173 | 0.55359 | 63563.7488 | 63563.7488 | 0.39068 | 50714.6631 | 19.2411 | 1932.5176 | 6414.0163 | Commercial Facility | 4500 kW Reciprocating Engine
16 | CHPgsld116 | 29484.7321 | 6677.9612 | 0 | 0 | 36162.6932 | 57900.3135 | 16265.5703 | 74165.8838 | 0.48759 | 158094.4365 | 158094.4365 | 0.22874 | 86024.9842 | 31.6129 | 10839.3311 | 16703.1785 | Commercial Facility | 2500 kW Gas Turbine
17 | CHPgsld117 | 29484.7321 | 6677.9612 | 0 | 0 | 36162.6932 | 57900.3135 | 16265.5703 | 74165.8838 | 0.48759 | 155056.1971 | 155056.1971 | 0.23322 | 86024.9842 | 31.0054 | 10382.3763 | 16358.4036 | Commercial Facility | 3000 kW Gas Turbine
18 | CHPgsld118 | 29484.7321 | 6677.9612 | 0 | 0 | 36162.6932 | 57900.3135 | 16265.5703 | 74165.8838 | 0.48759 | 152184.3066 | 152184.3066 | 0.23762 | 86024.9842 | 30.4311 | 9950.4406 | 16032.5076 | Commercial Facility | 3500 kW Gas Turbine
19 | CHPgsld119 | 32353.44 | 6677.9612 | 0 | 0 | 39031.4012 | 64333.6808 | 16265.5703 | 80599.2511 | 0.48427 | 141137.319 | 141137.319 | 0.27655 | 93776.0291 | 28.8191 | 7686.5288 | 16240.0406 | Industrial Facility Only | 3500 kW Steam Turbine-Biomass
20 | CHPgsld120 | 32353.44 | 6677.9612 | 0 | 0 | 39031.4012 | 64333.6808 | 16265.5703 | 80599.2511 | 0.48427 | 132561.211 | 132561.211 | 0.29444 | 93776.0291 | 27.0679 | 6294.6642 | 15172.2132 | Industrial Facility Only | 5500 kW Steam Turbine-Biomass
21 | PVrs201 | 6202.4156 | 1243.5718 | 0 | 0 | 7445.9874 | 18243.5839 | 0 | 18243.5839 | 0.40814 | 19372.2162 | 19372.2162 | 0.38436 | 24004.7156 | 12.3565 | 0 | 1808.8283 | Residential | Solar PV
22 | PVrs202 | 85.271 | 127.4591 | 0 | 0 | 212.7301 | 1 | 0 | 1 | 212.7301 | 12392.9432 | 12392.9432 | 0.017165 | 0 | 0 | 1277.4301 | 885.7625 | Residential | Paired Battery Storage
23 | PVgsd203 | 29130.7819 | 6395.5576 | 0 | 0 | 35526.3395 | 39632.5135 | 17330.6309 | 56963.1443 | 0.62367 | 63585.0136 | 63585.0136 | 0.55872 | 65080.6466 | 12.4494 | 0 | 5953.9944 | NonResidential | Solar PV
24 | PVgsd204 | 6228.8555 | 9310.61 | 0 | 0 | 15539.4655 | 1 | 17330.6309 | 17331.6309 | 0.8966 | 457551.4754 | 457551.4754 | 0.033962 | 17330.6304 | 0 | 45376.74 | 32385.5979 | NonResidential | Paired Battery Storage