## DASHBOARD
FPL 002825
20240012-EG
Summary Tables - Small & Medium Business
Table 1: Summer Peak Demand by Segment and Sector
| SMB Segment | MW | % of Sector Peak
| 0-15,000 kWh | 328.4423 | 23.04%
| 15,001-25,000 kWh | 267.5432 | 18.76%
| 25,001-50,000 kWh | 445.305 | 31.23%
| 50,000 kWh+ | 384.4888 | 26.97%
| Total | 1425.7793 | 100%
Table 2: Winter Peak Demand by Segment and Sector
| SMB Segment | MW | % of Sector Peak
| 0-15,000 kWh | 249.086 | 22.85%
| 15,001-25,000 kWh | 184.8747 | 16.96%
| 25,001-50,000 kWh | 339.0382 | 31.1%
| 50,000 kWh+ | 317.2546 | 29.1%
| Total | 1090.2535 | 100%
Table 3: Summer Peak Potential by End Use
| End Use | MW | % of Sector Peak
| Space Cooling | 638.8849 | 44.81%
| Space Heating | 0 | 0%
| EV Charging | 12.0521 | 0.8453%
| Total | 650.937 | 45.65%
Table 4: Winter Peak Potential by End Use
| End Use | MW | % of Sector Peak
| Space Cooling | 0 | 0%
| Space Heating | 84.565 | 7.756%
| EV Charging | 5.2513 | 0.4817%
| Total | 89.8163 | 8.238%

## Measure Outputs
FPL 002826
20240012-EG
Utility | Segment | Sector | Targeted End Use | Measure | Current Program | Summer Measure Impact (at Generator) | Winter Measure Impact (at Generator) | Annual Incentive ($/Participant) | AP Participation (% of Customers) | AP Summer MW for Measure (No Adjustment) | Max AP Summer MW for Measure (Existing DR Removed) | AP Winter MW for Measure (No Adjustment) | Max AP Winter MW for Measure (All DR Participants Removed)
FPL | 0-15,000 kWh | Small Medium Business | HVAC | Smart thermostats - Utility Installation | None | 1.8236 | 0.41275 | 17.2869 | 12.14% | 55.0366 | 55.0366 | 12.4565 | 12.4565
FPL | 15,001-25,000 kWh | Small Medium Business | HVAC | Smart thermostats - Utility Installation | None | 3.5182 | 0.98845 | 56.1832 | 21.85% | 42.3682 | 42.3682 | 11.9036 | 11.9036
FPL | 25,001-50,000 kWh | Small Medium Business | HVAC | Smart thermostats - Utility Installation | None | 4.7447 | 1.5307 | 39.734 | 18.7% | 48.8879 | 48.8879 | 15.7718 | 15.7718
FPL | 50,001 kWh + | Small Medium Business | HVAC | Smart thermostats - Utility Installation | None | 3.7764 | 2.1332 | 31.0657 | 16.82% | 17.0829 | 17.0829 | 9.6499 | 9.6499
FPL | 0-15,000 kWh | Small Medium Business | HVAC | Smart thermostats - BYOT | None | 1.8236 | 0.41275 | 17.2869 | 12.14% | 6.9656 | 6.9656 | 1.5765 | 1.5765
FPL | 15,001-25,000 kWh | Small Medium Business | HVAC | Smart thermostats - BYOT | None | 3.5182 | 0.98845 | 56.1832 | 21.85% | 5.4838 | 5.4838 | 1.5407 | 1.5407
FPL | 25,001-50,000 kWh | Small Medium Business | HVAC | Smart thermostats - BYOT | None | 4.7447 | 1.5307 | 39.734 | 18.7% | 6.1109 | 6.1109 | 1.9714 | 1.9714
FPL | 50,001 kWh + | Small Medium Business | HVAC | Smart thermostats - BYOT | None | 3.7764 | 2.1332 | 31.0657 | 16.82% | 2.0286 | 2.0286 | 1.1459 | 1.1459
FPL | 15,001-25,000 kWh | Small Medium Business | HVAC | CPP + Tech | None | 0.96597 | 0.49372 | 56.1832 | 21.85% | 11.6328 | 11.6328 | 5.9457 | 5.9457
FPL | 25,001-50,000 kWh | Small Medium Business | HVAC | CPP + Tech | None | 2.0715 | 0.81571 | 39.734 | 18.7% | 21.3437 | 21.3437 | 8.4048 | 8.4048
FPL | 50,001 kWh + | Small Medium Business | HVAC | CPP + Tech | None | 2.4793 | 1.7817 | 31.0657 | 16.82% | 11.2155 | 11.2155 | 8.0596 | 8.0596
FPL | 0-15,000 kWh | Small Medium Business | HVAC | Central air conditioner - Load Shed | None | 3.6473 | 0 | 55 | 21.55% | 282.8253 | 282.8253 | 0 | 0
FPL | 15,001-25,000 kWh | Small Medium Business | HVAC | Central air conditioner - Load Shed | None | 7.0364 | 0 | 55 | 21.55% | 127.6385 | 127.6385 | 0 | 0
FPL | 25,001-50,000 kWh | Small Medium Business | HVAC | Central air conditioner - Load Shed | None | 9.4894 | 0 | 55 | 21.55% | 166.3994 | 166.3994 | 0 | 0
FPL | 50,001 kWh + | Small Medium Business | HVAC | Central air conditioner - Load Shed | None | 7.5528 | 0 | 55 | 21.55% | 62.0217 | 62.0217 | 0 | 0
FPL | 15,001-25,000 kWh | Small Medium Business | HVAC | Central Heating - Load Shed | None | 0 | 1.9769 | 55 | 21.55% | 0 | 0 | 23.4855 | 23.4855
FPL | 25,001-50,000 kWh | Small Medium Business | HVAC | Central Heating - Load Shed | None | 0 | 3.0614 | 55 | 21.55% | 0 | 0 | 36.3488 | 36.3488
FPL | 50,001 kWh + | Small Medium Business | HVAC | Central Heating - Load Shed | None | 0 | 4.2665 | 55 | 21.55% | 0 | 0 | 24.7307 | 24.7307
FPL | 0-15,000 kWh | Small Medium Business | HVAC | Central air conditioner - 50% cycling | None | 1.3772 | 0 | 55 | 21.55% | 106.7937 | 106.7937 | 0 | 0
FPL | 15,001-25,000 kWh | Small Medium Business | HVAC | Central air conditioner - 50% cycling | None | 2.6336 | 0 | 55 | 21.55% | 47.773 | 47.773 | 0 | 0
FPL | 25,001-50,000 kWh | Small Medium Business | HVAC | Central air conditioner - 50% cycling | None | 3.5517 | 0 | 55 | 21.55% | 62.2806 | 62.2806 | 0 | 0
FPL | 50,001 kWh + | Small Medium Business | HVAC | Central air conditioner - 50% cycling | None | 2.8269 | 0 | 55 | 21.55% | 23.2137 | 23.2137 | 0 | 0
FPL | 50,001 kWh + | Small Medium Business | HVAC | Central Heating - 50% cycling | None | 0 | 1.5969 | 55 | 21.55% | 0 | 0 | 9.2563 | 9.2563
FPL | 0-15,000 kWh | Small Medium Business | Electric Vehicles | EV Charging (telematics) | None | 1.3501 | 0.58824 | 42 | 19.51% | 7.7896 | 7.7896 | 3.394 | 3.394
FPL | 15,001-25,000 kWh | Small Medium Business | Electric Vehicles | EV Charging (telematics) | None | 1.3501 | 0.58824 | 42 | 19.51% | 1.7666 | 1.7666 | 0.76972 | 0.76972
FPL | 25,001-50,000 kWh | Small Medium Business | Electric Vehicles | EV Charging (telematics) | None | 1.3501 | 0.58824 | 42 | 19.51% | 1.7051 | 1.7051 | 0.74294 | 0.74294
FPL | 50,001 kWh + | Small Medium Business | Electric Vehicles | EV Charging (telematics) | None | 1.3501 | 0.58824 | 42 | 19.51% | 0.79084 | 0.79084 | 0.34458 | 0.34458
FPL | 0-15,000 kWh | Small Medium Business | Electric Vehicles | EV Charging (external switch) | None | 1.3501 | 0.58824 | 42 | 19.51% | 7.7896 | 7.7896 | 3.394 | 3.394
FPL | 15,001-25,000 kWh | Small Medium Business | Electric Vehicles | EV Charging (external switch) | None | 1.3501 | 0.58824 | 42 | 19.51% | 1.7666 | 1.7666 | 0.76972 | 0.76972
FPL | 25,001-50,000 kWh | Small Medium Business | Electric Vehicles | EV Charging (external switch) | None | 1.3501 | 0.58824 | 42 | 19.51% | 1.7051 | 1.7051 | 0.74294 | 0.74294
FPL | 50,001 kWh + | Small Medium Business | Electric Vehicles | EV Charging (external switch) | None | 1.3501 | 0.58824 | 42 | 19.51% | 0.79084 | 0.79084 | 0.34458 | 0.34458

## Calculate AP - Summer
FPL 002827
20240012-EG
Utility | Segment | Sector | Targeted End Use | Measure | # Customers with End Use | # Customers for AP | Max Incentive ($) | Placeholder Cost-Effectiveness Rank for End Use | Participation (%) | Summer Saved MW
FPL | 0-15,000 kWh | Small Medium Business | HVAC | Smart thermostats - Utility Installation | 248582.0214 | 30179.3918 | 17.2869 | 3 | 12.14% | 55.0366
FPL | 15,001-25,000 kWh | Small Medium Business | HVAC | Smart thermostats - Utility Installation | 55126.079 | 12042.6265 | 56.1832 | 1 | 21.85% | 42.3682
FPL | 25,001-50,000 kWh | Small Medium Business | HVAC | Smart thermostats - Utility Installation | 55095.2026 | 10303.6632 | 39.734 | 4 | 18.7% | 48.8879
FPL | 50,001 kWh + | Small Medium Business | HVAC | Smart thermostats - Utility Installation | 26897.4234 | 4523.5954 | 31.0657 | 5 | 16.82% | 17.0829
FPL | 0-15,000 kWh | Small Medium Business | HVAC | Smart thermostats - BYOT | 31461.4033 | 3819.6086 | 17.2869 | 3 | 12.14% | 6.9656
FPL | 15,001-25,000 kWh | Small Medium Business | HVAC | Smart thermostats - BYOT | 7135.0395 | 1558.6927 | 56.1832 | 1 | 21.85% | 5.4838
FPL | 25,001-50,000 kWh | Small Medium Business | HVAC | Smart thermostats - BYOT | 6886.7441 | 1287.9287 | 39.734 | 4 | 18.7% | 6.1109
FPL | 50,001 kWh + | Small Medium Business | HVAC | Smart thermostats - BYOT | 3194.1131 | 537.1844 | 31.0657 | 5 | 16.82% | 2.0286
FPL | 15,001-25,000 kWh | Small Medium Business | HVAC | CPP + Tech | 55126.079 | 12042.6265 | 56.1832 | 1 | 21.85% | 11.6328
FPL | 25,001-50,000 kWh | Small Medium Business | HVAC | CPP + Tech | 55095.2026 | 10303.6632 | 39.734 | 4 | 18.7% | 21.3437
FPL | 50,001 kWh + | Small Medium Business | HVAC | CPP + Tech | 26897.4234 | 4523.5954 | 31.0657 | 5 | 16.82% | 11.2155
FPL | 0-15,000 kWh | Small Medium Business | HVAC | Central air conditioner - Load Shed | 359824.3837 | 77543.8139 | 55 | 1 | 21.55% | 282.8253
FPL | 15,001-25,000 kWh | Small Medium Business | HVAC | Central air conditioner - Load Shed | 84173.622 | 18139.8037 | 55 | 4 | 21.55% | 127.6385
FPL | 25,001-50,000 kWh | Small Medium Business | HVAC | Central air conditioner - Load Shed | 81368.3047 | 17535.2449 | 55 | 1 | 21.55% | 166.3994
FPL | 50,001 kWh + | Small Medium Business | HVAC | Central air conditioner - Load Shed | 38104.7334 | 8211.7457 | 55 | 1 | 21.55% | 62.0217
FPL | 15,001-25,000 kWh | Small Medium Business | HVAC | Central Heating - Load Shed | 55126.079 | 11879.9242 | 55 | 4 | 21.55% | 0
FPL | 25,001-50,000 kWh | Small Medium Business | HVAC | Central Heating - Load Shed | 55095.2026 | 11873.2702 | 55 | 1 | 21.55% | 0
FPL | 50,001 kWh + | Small Medium Business | HVAC | Central Heating - Load Shed | 26897.4234 | 5796.5188 | 55 | 1 | 21.55% | 0
FPL | 0-15,000 kWh | Small Medium Business | HVAC | Central air conditioner - 50% cycling | 359824.3837 | 77543.8139 | 55 | 1 | 21.55% | 106.7937
FPL | 15,001-25,000 kWh | Small Medium Business | HVAC | Central air conditioner - 50% cycling | 84173.622 | 18139.8037 | 55 | 4 | 21.55% | 47.773
FPL | 25,001-50,000 kWh | Small Medium Business | HVAC | Central air conditioner - 50% cycling | 81368.3047 | 17535.2449 | 55 | 1 | 21.55% | 62.2806
FPL | 50,001 kWh + | Small Medium Business | HVAC | Central air conditioner - 50% cycling | 38104.7334 | 8211.7457 | 55 | 1 | 21.55% | 23.2137
FPL | 50,001 kWh + | Small Medium Business | HVAC | Central Heating - 50% cycling | 26897.4234 | 5796.5188 | 55 | 1 | 21.55% | 0
FPL | 0-15,000 kWh | Small Medium Business | Electric Vehicles | EV Charging (telematics) | 29573.7191 | 5769.8008 | 42 | 1 | 19.51% | 7.7896
FPL | 15,001-25,000 kWh | Small Medium Business | Electric Vehicles | EV Charging (telematics) | 6706.9372 | 1308.5162 | 42 | 1 | 19.51% | 1.7666
FPL | 25,001-50,000 kWh | Small Medium Business | Electric Vehicles | EV Charging (telematics) | 6473.5395 | 1262.9806 | 42 | 1 | 19.51% | 1.7051
FPL | 50,001 kWh + | Small Medium Business | Electric Vehicles | EV Charging (telematics) | 3002.4663 | 585.7779 | 42 | 1 | 19.51% | 0.79084
FPL | 0-15,000 kWh | Small Medium Business | Electric Vehicles | EV Charging (external switch) | 29573.7191 | 5769.8008 | 42 | 1 | 19.51% | 7.7896
FPL | 15,001-25,000 kWh | Small Medium Business | Electric Vehicles | EV Charging (external switch) | 6706.9372 | 1308.5162 | 42 | 1 | 19.51% | 1.7666
FPL | 25,001-50,000 kWh | Small Medium Business | Electric Vehicles | EV Charging (external switch) | 6473.5395 | 1262.9806 | 42 | 1 | 19.51% | 1.7051
FPL | 50,001 kWh + | Small Medium Business | Electric Vehicles | EV Charging (external switch) | 3002.4663 | 585.7779 | 42 | 1 | 19.51% | 0.79084

## Calculate AP - Winter
FPL 002828
20240012-EG
Utility | Segment | Sector | Targeted End Use | Measure | # Customers with End Use | # Customers for AP | Max Incentive ($) | Placeholder Cost-Effectiveness Rank for End Use | Participation (%) | Winter
FPL | 0-15,000 kWh | Small Medium Business | HVAC | Smart thermostats - Utility Installation | 248582.0214 | 30179.3918 | 17.2869 | 3 | 12.14% | 12.4565
FPL | 15,001-25,000 kWh | Small Medium Business | HVAC | Smart thermostats - Utility Installation | 55126.079 | 12042.6265 | 56.1832 | 1 | 21.85% | 11.9036
FPL | 25,001-50,000 kWh | Small Medium Business | HVAC | Smart thermostats - Utility Installation | 55095.2026 | 10303.6632 | 39.734 | 4 | 18.7% | 15.7718
FPL | 50,001 kWh + | Small Medium Business | HVAC | Smart thermostats - Utility Installation | 26897.4234 | 4523.5954 | 31.0657 | 5 | 16.82% | 9.6499
FPL | 0-15,000 kWh | Small Medium Business | HVAC | Smart thermostats - BYOT | 31461.4033 | 3819.6086 | 17.2869 | 3 | 12.14% | 1.5765
FPL | 15,001-25,000 kWh | Small Medium Business | HVAC | Smart thermostats - BYOT | 7135.0395 | 1558.6927 | 56.1832 | 1 | 21.85% | 1.5407
FPL | 25,001-50,000 kWh | Small Medium Business | HVAC | Smart thermostats - BYOT | 6886.7441 | 1287.9287 | 39.734 | 4 | 18.7% | 1.9714
FPL | 50,001 kWh + | Small Medium Business | HVAC | Smart thermostats - BYOT | 3194.1131 | 537.1844 | 31.0657 | 5 | 16.82% | 1.1459
FPL | 15,001-25,000 kWh | Small Medium Business | HVAC | CPP + Tech | 55126.079 | 12042.6265 | 56.1832 | 1 | 21.85% | 5.9457
FPL | 25,001-50,000 kWh | Small Medium Business | HVAC | CPP + Tech | 55095.2026 | 10303.6632 | 39.734 | 4 | 18.7% | 8.4048
FPL | 50,001 kWh + | Small Medium Business | HVAC | CPP + Tech | 26897.4234 | 4523.5954 | 31.0657 | 5 | 16.82% | 8.0596
FPL | 0-15,000 kWh | Small Medium Business | HVAC | Central air conditioner - Load Shed | 359824.3837 | 77543.8139 | 55 | 1 | 21.55% | 0
FPL | 15,001-25,000 kWh | Small Medium Business | HVAC | Central air conditioner - Load Shed | 84173.622 | 18139.8037 | 55 | 4 | 21.55% | 0
FPL | 25,001-50,000 kWh | Small Medium Business | HVAC | Central air conditioner - Load Shed | 81368.3047 | 17535.2449 | 55 | 1 | 21.55% | 0
FPL | 50,001 kWh + | Small Medium Business | HVAC | Central air conditioner - Load Shed | 38104.7334 | 8211.7457 | 55 | 1 | 21.55% | 0
FPL | 15,001-25,000 kWh | Small Medium Business | HVAC | Central Heating - Load Shed | 55126.079 | 11879.9242 | 55 | 4 | 21.55% | 23.4855
FPL | 25,001-50,000 kWh | Small Medium Business | HVAC | Central Heating - Load Shed | 55095.2026 | 11873.2702 | 55 | 1 | 21.55% | 36.3488
FPL | 50,001 kWh + | Small Medium Business | HVAC | Central Heating - Load Shed | 26897.4234 | 5796.5188 | 55 | 1 | 21.55% | 24.7307
FPL | 0-15,000 kWh | Small Medium Business | HVAC | Central air conditioner - 50% cycling | 359824.3837 | 77543.8139 | 55 | 1 | 21.55% | 0
FPL | 15,001-25,000 kWh | Small Medium Business | HVAC | Central air conditioner - 50% cycling | 84173.622 | 18139.8037 | 55 | 4 | 21.55% | 0
FPL | 25,001-50,000 kWh | Small Medium Business | HVAC | Central air conditioner - 50% cycling | 81368.3047 | 17535.2449 | 55 | 1 | 21.55% | 0
FPL | 50,001 kWh + | Small Medium Business | HVAC | Central air conditioner - 50% cycling | 38104.7334 | 8211.7457 | 55 | 1 | 21.55% | 0
FPL | 50,001 kWh + | Small Medium Business | HVAC | Central Heating - 50% cycling | 26897.4234 | 5796.5188 | 55 | 1 | 21.55% | 9.2563
FPL | 0-15,000 kWh | Small Medium Business | Electric Vehicles | EV Charging (telematics) | 29573.7191 | 5769.8008 | 42 | 1 | 19.51% | 3.394
FPL | 15,001-25,000 kWh | Small Medium Business | Electric Vehicles | EV Charging (telematics) | 6706.9372 | 1308.5162 | 42 | 1 | 19.51% | 0.76972
FPL | 25,001-50,000 kWh | Small Medium Business | Electric Vehicles | EV Charging (telematics) | 6473.5395 | 1262.9806 | 42 | 1 | 19.51% | 0.74294
FPL | 50,001 kWh + | Small Medium Business | Electric Vehicles | EV Charging (telematics) | 3002.4663 | 585.7779 | 42 | 1 | 19.51% | 0.34458
FPL | 0-15,000 kWh | Small Medium Business | Electric Vehicles | EV Charging (external switch) | 29573.7191 | 5769.8008 | 42 | 1 | 19.51% | 3.394
FPL | 15,001-25,000 kWh | Small Medium Business | Electric Vehicles | EV Charging (external switch) | 6706.9372 | 1308.5162 | 42 | 1 | 19.51% | 0.76972
FPL | 25,001-50,000 kWh | Small Medium Business | Electric Vehicles | EV Charging (external switch) | 6473.5395 | 1262.9806 | 42 | 1 | 19.51% | 0.74294
FPL | 50,001 kWh + | Small Medium Business | Electric Vehicles | EV Charging (external switch) | 3002.4663 | 585.7779 | 42 | 1 | 19.51% | 0.34458

## SMB Measure Benefits
FPL 002829
20240012-EG
Utility | Segment | Sector | Measure | Meter Summer Savings (kW/Customer) | Meter Winter Savings (kW/customer) | Gen Summer Savings (kW/Customer) | Gen Winter Savings (kW/customer) | Annual Savings (kWh) | Nominal Discount Rate | Measure Lifespan (years) | Summer Demand Benefit ($/kW) | Winter Demand Benefit ($/kW) | Summer Benefit ($/Measure) | Winter Benefit ($/Measure)
FPL | 0-15,000 kWh | Small Medium Business | Smart thermostats - Utility Installation | 1.6991 | 0.38456 | 1.8236 | 0.41275 | 5970.6506 | 8.1% | 15 | 1340.51 | 1227.37 | 2444.6185 | 506.5969
FPL | 15,001-25,000 kWh | Small Medium Business | Smart thermostats - Utility Installation | 3.2779 | 0.92095 | 3.5182 | 0.98845 | 11518.6003 | 8.1% | 15 | 1340.51 | 1227.37 | 4716.1666 | 1213.1996
FPL | 25,001-50,000 kWh | Small Medium Business | Smart thermostats - Utility Installation | 4.4207 | 1.4262 | 4.7447 | 1.5307 | 15534.2591 | 8.1% | 15 | 1340.51 | 1227.37 | 6360.3348 | 1878.7348
FPL | 50,001 kWh + | Small Medium Business | Smart thermostats - Utility Installation | 3.5185 | 1.9875 | 3.7764 | 2.1332 | 12364.0021 | 8.1% | 15 | 1340.51 | 1227.37 | 5062.3073 | 2618.2675
FPL | 0-15,000 kWh | Small Medium Business | Smart thermostats - BYOT | 1.6991 | 0.38456 | 1.8236 | 0.41275 | 5970.6506 | 8.1% | 15 | 1340.51 | 1227.37 | 2444.6185 | 506.5969
FPL | 15,001-25,000 kWh | Small Medium Business | Smart thermostats - BYOT | 3.2779 | 0.92095 | 3.5182 | 0.98845 | 11518.6003 | 8.1% | 15 | 1340.51 | 1227.37 | 4716.1666 | 1213.1996
FPL | 25,001-50,000 kWh | Small Medium Business | Smart thermostats - BYOT | 4.4207 | 1.4262 | 4.7447 | 1.5307 | 15534.2591 | 8.1% | 15 | 1340.51 | 1227.37 | 6360.3348 | 1878.7348
FPL | 50,001 kWh + | Small Medium Business | Smart thermostats - BYOT | 3.5185 | 1.9875 | 3.7764 | 2.1332 | 12364.0021 | 8.1% | 15 | 1340.51 | 1227.37 | 5062.3073 | 2618.2675
FPL | 15,001-25,000 kWh | Small Medium Business | CPP + Tech | 0.9 | 0.46 | 0.96597 | 0.49372 | 0 | 8.1% | 15 | 1340.51 | 1227.37 | 1294.8924 | 605.9747
FPL | 25,001-50,000 kWh | Small Medium Business | CPP + Tech | 1.93 | 0.76 | 2.0715 | 0.81571 | 0 | 8.1% | 15 | 1340.51 | 1227.37 | 2776.8249 | 1001.1755
FPL | 50,001 kWh + | Small Medium Business | CPP + Tech | 2.31 | 1.66 | 2.4793 | 1.7817 | 0 | 8.1% | 15 | 1340.51 | 1227.37 | 3323.5573 | 2186.7781
FPL | 0-15,000 kWh | Small Medium Business | Central air conditioner - Load Shed | 3.3982 | 0 | 3.6473 | 0 | 0 | 8.1% | 15 | 1340.51 | 1227.37 | 4889.2369 | 0
FPL | 15,001-25,000 kWh | Small Medium Business | Central air conditioner - Load Shed | 6.5558 | 0 | 7.0364 | 0 | 0 | 8.1% | 15 | 1340.51 | 1227.37 | 9432.3332 | 0
FPL | 25,001-50,000 kWh | Small Medium Business | Central air conditioner - Load Shed | 8.8414 | 0 | 9.4894 | 0 | 0 | 8.1% | 15 | 1340.51 | 1227.37 | 12720.6695 | 0
FPL | 50,001 kWh + | Small Medium Business | Central air conditioner - Load Shed | 7.037 | 0 | 7.5528 | 0 | 0 | 8.1% | 15 | 1340.51 | 1227.37 | 10124.6145 | 0
FPL | 15,001-25,000 kWh | Small Medium Business | Central Heating - Load Shed | 0 | 1.8419 | 0 | 1.9769 | 0 | 8.1% | 15 | 1340.51 | 1227.37 | 0 | 2426.3993
FPL | 25,001-50,000 kWh | Small Medium Business | Central Heating - Load Shed | 0 | 2.8523 | 0 | 3.0614 | 0 | 8.1% | 15 | 1340.51 | 1227.37 | 0 | 3757.4697
FPL | 50,001 kWh + | Small Medium Business | Central Heating - Load Shed | 0 | 3.9751 | 0 | 4.2665 | 0 | 8.1% | 15 | 1340.51 | 1227.37 | 0 | 5236.5351
FPL | 0-15,000 kWh | Small Medium Business | Central air conditioner - 50% cycling | 1.2831 | 0 | 1.3772 | 0 | 0 | 8.1% | 15 | 1340.51 | 1227.37 | 1846.1568 | 0
FPL | 15,001-25,000 kWh | Small Medium Business | Central air conditioner - 50% cycling | 2.4537 | 0 | 2.6336 | 0 | 0 | 8.1% | 15 | 1340.51 | 1227.37 | 3530.3699 | 0
FPL | 25,001-50,000 kWh | Small Medium Business | Central air conditioner - 50% cycling | 3.3092 | 0 | 3.5517 | 0 | 0 | 8.1% | 15 | 1340.51 | 1227.37 | 4761.1411 | 0
FPL | 50,001 kWh + | Small Medium Business | Central air conditioner - 50% cycling | 2.6338 | 0 | 2.8269 | 0 | 0 | 8.1% | 15 | 1340.51 | 1227.37 | 3789.4797 | 0
FPL | 50,001 kWh + | Small Medium Business | Central Heating - 50% cycling | 0 | 1.4878 | 0 | 1.5969 | 0 | 8.1% | 15 | 1340.51 | 1227.37 | 0 | 1959.9505
FPL | 0-15,000 kWh | Small Medium Business | EV Charging (telematics) | 1.2579 | 0.54807 | 1.3501 | 0.58824 | 0 | 8.1% | 10 | 873.77 | 800.03 | 1179.6445 | 470.611
FPL | 15,001-25,000 kWh | Small Medium Business | EV Charging (telematics) | 1.2579 | 0.54807 | 1.3501 | 0.58824 | 0 | 8.1% | 10 | 873.77 | 800.03 | 1179.6445 | 470.611
FPL | 25,001-50,000 kWh | Small Medium Business | EV Charging (telematics) | 1.2579 | 0.54807 | 1.3501 | 0.58824 | 0 | 8.1% | 10 | 873.77 | 800.03 | 1179.6445 | 470.611
FPL | 50,001 kWh + | Small Medium Business | EV Charging (telematics) | 1.2579 | 0.54807 | 1.3501 | 0.58824 | 0 | 8.1% | 10 | 873.77 | 800.03 | 1179.6445 | 470.611
FPL | 0-15,000 kWh | Small Medium Business | EV Charging (external switch) | 1.2579 | 0.54807 | 1.3501 | 0.58824 | 0 | 8.1% | 10 | 873.77 | 800.03 | 1179.6445 | 470.611
FPL | 15,001-25,000 kWh | Small Medium Business | EV Charging (external switch) | 1.2579 | 0.54807 | 1.3501 | 0.58824 | 0 | 8.1% | 10 | 873.77 | 800.03 | 1179.6445 | 470.611
FPL | 25,001-50,000 kWh | Small Medium Business | EV Charging (external switch) | 1.2579 | 0.54807 | 1.3501 | 0.58824 | 0 | 8.1% | 10 | 873.77 | 800.03 | 1179.6445 | 470.611
FPL | 50,001 kWh + | Small Medium Business | EV Charging (external switch) | 1.2579 | 0.54807 | 1.3501 | 0.58824 | 0 | 8.1% | 10 | 873.77 | 800.03 | 1179.6445 | 470.611

## SMB AP Screen
FPL 002830
20240012-EG
Utility | Segment | Sector | Measure | Number of Customers for Measure | Total Summer MW Saved from Measure | Total Winter MW Saved from Measure
FPL | 0-15,000 kWh | Small Medium Business | Smart thermostats - Utility Installation | 248582.0214 | 453.3261 | 102.6022
FPL | 15,001-25,000 kWh | Small Medium Business | Smart thermostats - Utility Installation | 55126.079 | 193.9439 | 54.4896
FPL | 25,001-50,000 kWh | Small Medium Business | Smart thermostats - Utility Installation | 55095.2026 | 261.4109 | 84.3342
FPL | 50,001 kWh + | Small Medium Business | Smart thermostats - Utility Installation | 26897.4234 | 101.5755 | 57.3785
FPL | 0-15,000 kWh | Small Medium Business | Smart thermostats - BYOT | 31461.4033 | 57.3745 | 12.9857
FPL | 15,001-25,000 kWh | Small Medium Business | Smart thermostats - BYOT | 7135.0395 | 25.1024 | 7.0527
FPL | 25,001-50,000 kWh | Small Medium Business | Smart thermostats - BYOT | 6886.7441 | 32.6756 | 10.5415
FPL | 50,001 kWh + | Small Medium Business | Smart thermostats - BYOT | 3194.1131 | 12.0623 | 6.8138
FPL | 15,001-25,000 kWh | Small Medium Business | CPP + Tech | 55126.079 | 53.2501 | 27.2167
FPL | 25,001-50,000 kWh | Small Medium Business | CPP + Tech | 55095.2026 | 114.128 | 44.9416
FPL | 50,001 kWh + | Small Medium Business | CPP + Tech | 26897.4234 | 66.6874 | 47.9225
FPL | 0-15,000 kWh | Small Medium Business | Central air conditioner - Load Shed | 359824.3837 | 1312.3861 | 0
FPL | 15,001-25,000 kWh | Small Medium Business | Central air conditioner - Load Shed | 84173.622 | 592.2773 | 0
FPL | 25,001-50,000 kWh | Small Medium Business | Central air conditioner - Load Shed | 81368.3047 | 772.1384 | 0
FPL | 50,001 kWh + | Small Medium Business | Central air conditioner - Load Shed | 38104.7334 | 287.7977 | 0
FPL | 15,001-25,000 kWh | Small Medium Business | Central Heating - Load Shed | 55126.079 | 0 | 108.9793
FPL | 25,001-50,000 kWh | Small Medium Business | Central Heating - Load Shed | 55095.2026 | 0 | 168.6684
FPL | 50,001 kWh + | Small Medium Business | Central Heating - Load Shed | 26897.4234 | 0 | 114.757
FPL | 0-15,000 kWh | Small Medium Business | Central air conditioner - 50% cycling | 359824.3837 | 495.5519 | 0
FPL | 15,001-25,000 kWh | Small Medium Business | Central air conditioner - 50% cycling | 84173.622 | 221.6798 | 0
FPL | 25,001-50,000 kWh | Small Medium Business | Central air conditioner - 50% cycling | 81368.3047 | 288.9989 | 0
FPL | 50,001 kWh + | Small Medium Business | Central air conditioner - 50% cycling | 38104.7334 | 107.718 | 0
FPL | 50,001 kWh + | Small Medium Business | Central Heating - 50% cycling | 26897.4234 | 0 | 42.9517
FPL | 0-15,000 kWh | Small Medium Business | EV Charging (telematics) | 29573.7191 | 39.9264 | 17.3965
FPL | 15,001-25,000 kWh | Small Medium Business | EV Charging (telematics) | 6706.9372 | 9.0548 | 3.9453
FPL | 25,001-50,000 kWh | Small Medium Business | EV Charging (telematics) | 6473.5395 | 8.7397 | 3.808
FPL | 50,001 kWh + | Small Medium Business | EV Charging (telematics) | 3002.4663 | 4.0535 | 1.7662
FPL | 0-15,000 kWh | Small Medium Business | EV Charging (external switch) | 29573.7191 | 39.9264 | 17.3965
FPL | 15,001-25,000 kWh | Small Medium Business | EV Charging (external switch) | 6706.9372 | 9.0548 | 3.9453
FPL | 25,001-50,000 kWh | Small Medium Business | EV Charging (external switch) | 6473.5395 | 8.7397 | 3.808
FPL | 50,001 kWh + | Small Medium Business | EV Charging (external switch) | 3002.4663 | 4.0535 | 1.7662

## Customer Counts
FPL 002831
20240012-EG
Time Scale Counts
Segment | Eligible Customers | Cooling % Sat | Heating % Sat | ST % Saturation | EV % Sat | Solar % Sat
0-15,000 kWh | 449448.618 | 80.06% | 55.31% | 7% | 6.58% | 5%
15,001-25,000 kWh | 101929.1363 | 82.58% | 54.08% | 7% | 6.58% | 5%
25,001-50,000 kWh | 98382.0593 | 82.71% | 56% | 7% | 6.58% | 5%
50,001 kWh + | 45630.1864 | 83.51% | 58.95% | 7% | 6.58% | 5%
Total | 695390
2023
Segment | Eligible Customers | Cooling % Sat | Heating % Sat | ST % Saturation | EV % Sat | Solar % Sat
0-15,000 kWh | 360182.15 | 80.06% | 55.31% | 7% | 6.58% | 5%
15,001-25,000 kWh | 81684.6554 | 82.58% | 54.08% | 7% | 6.58% | 5%
25,001-50,000 kWh | 78842.075 | 82.71% | 56% | 7% | 6.58% | 5%
50,001 kWh + | 36567.4251 | 83.51% | 58.95% | 7% | 6.58% | 5%
Total | 557276.3054
FORECAST: | DEF Population | Residential Customers | Commercial Customers |  | Population Growth | Residential Growth | Commercial Growth | % Change in Growth |  |  | Year | Smart therm penetration | inc. smart therm
2023 | 5857552 | 5184891 | 665573 |  | 1.293% | 1.3% | 1.195% | 3.079% | 2.867% | 5.7% | 2019 | 7%
2024 | 5933291 | 5252291 | 673526 |  | 1.254% | 1.264% | 1.13% | 3.08% | 2.958% | 5.149% | 2020 | 8.3% | 0.013
2025 | 6007718 | 5318664 | 681140 |  | 1.217% | 1.227% | 1.075% | 3.13% | 2.847% | 6.853% | 2021 | 10% | 0.017
2026 | 6080827 | 5383945 | 688463 |  | 1.18% | 1.193% | 1.006% | 2.5% | 2.451% | 4.319% | 2022 | 12.3% | 0.023
2027 | 6152580 | 5448198 | 695390 |  | 1.151% | 1.165% | 0.9645% | 3.544% | 1.923% | 9.203% | 2023 | 15.3% | 0.03
2028 | 6223409 | 5511662 | 702097 |  | 1.112% | 1.143% | 0.8832% | 1.616% | 1.496% | 2.959% | 2024 | 19.1% | 0.038
2029 | 6292601 | 5574654 | 708298 |  | 1.094% | 1.126% | 0.8578% | 1.835% | 1.775% | 2.511% | 2025 | 23.7% | 0.046
2030 | 6361450 | 5637427 | 714374 |  | 1.074% | 1.106% | 0.8368% | 0.4425% | 0.2848% | 2.291% | 2026 | 29.1% | 0.054
2031 | 6429798 | 5699800 | 720352 |  | 1.07% | 1.103% | 0.8181% | -101.1% | -101.1% | -100.8% | 2027 | 35.2% | 0.061
2032 | 6498576 | 5762684 | 726245 |  | -100% | -100% | -100% |  |  |  | 2028 | 41.5% | 0.063
2033 | [10 empty] | 2029 | 47.9% | 0.064
2034 | [10 empty] | AVERAGE | 22.67% | 4.09%
2035
2036
AVERAGE | 6326402.3333 | 5605737.5 | 711126
CURRENT |  |  | 557276.3054
% INCREASE |  |  | 27.61%
2027 | 6152580 | 5448198 | 695390
% INCREASE |  |  | 24.78%
| Line Loss Factor | 7.33%
| Nominal Discount Rate | 8.1%
In 2021, FPL's Business On Call program achieved 300 kW
Over the life of the program, Business On Call achieved 71 MW

## FPL Econ Screening
FPL 002833
20240012-EG
Filename: 002825 - DR AP FPL - SMB_Public.xlsx
Page 2 of 2
Demand Response Measures - Batch Run Results
Includes NPV of Measure Benefits and Costs (2023-2082)
Avoided Unit: 2033 Combined Cycle
Fuel Forecast: 9/1/23 Fuel
No CO2 Compliance Costs
Maximum Incentive
[6 empty] | Total | Utility | Energy | Demand |  |  | Utility | [5 empty] | that passes E-RIM and | Maximum Incentive
|  | Avoided gen | Avoided |  | Env / | E-RIM / | Program | Charge | Charge | Total |  | Program | Part. | Total |  | Savings in |  | has a Part. Test >= 1.00 | that does not violate
|  | Unit $ & Fuel | T&D | Revenue | Other | E-TRC | Costs w/o | Revenue | Revenue | E-RIM |  | Costs w/o | Equipment | E-TRC |  | Participant |  |  | 2-Years Payback
|  | Benefits | Benefits | Gains | Benefits | Benefits | Incentives | Loss | Loss | Costs | RIM | Incentives | Cost | Costs | TRC | Bills | Years |  | one-time incentive payment
|  | (000$) | (000$) |  | (000$) | (000$) | (000$) | (000$) | (000$) | (000$) | Ratio | (000$) | (000$) | (000$) | Ratio | (000$) | To Payback | (Nominal $) | (Nominal $) | Segment | Measure
1 | DRRSFrs101 | 3739.9668 | 5584.3033 | 0 | 0 | 9324.2701 | 4283.0947 | 12.0212 | 0 | 4295.116 | 2.1709 | 4283.0947 | 0 | 4283.0947 | 2.177 | 15.8174 | 0 | 904.609 | -0.25665 | Residential | EV Charging (telematics) | Single Family
2 | DRRMFrs102 | 3739.9668 | 5584.3033 | 0 | 0 | 9324.2701 | 4283.0947 | 12.0212 | 0 | 4295.116 | 2.1709 | 4283.0947 | 0 | 4283.0947 | 2.177 | 15.8174 | 0 | 904.609 | -0.25665 | Residential | EV Charging (telematics) | Multi Family
3 | DRRMOrs103 | 3739.9668 | 5584.3033 | 0 | 0 | 9324.2701 | 4283.0947 | 12.0212 | 0 | 4295.116 | 2.1709 | 4283.0947 | 0 | 4283.0947 | 2.177 | 15.8174 | 0 | 904.609 | -0.25665 | Residential | EV Charging (telematics) | Mobile Home/Other
4 | DRRSFrs104 | 3739.9668 | 5584.3033 | 0 | 0 | 9324.2701 | 3297.6719 | 12.0212 | 0 | 3309.6931 | 2.8173 | 3297.6719 | 3603.172 | 6900.8438 | 1.3512 | 15.8174 | 2196.8114 | 904.609 | 257.2734 | Residential | EV Charging (external switch) | Single Family
5 | DRRMFrs105 | 3739.9668 | 5584.3033 | 0 | 0 | 9324.2701 | 3297.6719 | 12.0212 | 0 | 3309.6931 | 2.8173 | 3297.6719 | 3603.172 | 6900.8438 | 1.3512 | 15.8174 | 2196.8114 | 904.609 | 257.2734 | Residential | EV Charging (external switch) | Multi Family
6 | DRRMOrs106 | 3739.9668 | 5584.3033 | 0 | 0 | 9324.2701 | 3297.6719 | 12.0212 | 0 | 3309.6931 | 2.8173 | 3297.6719 | 3603.172 | 6900.8438 | 1.3512 | 15.8174 | 2196.8114 | 904.609 | 257.2734 | Residential | EV Charging (external switch) | Mobile Home/Other
7 | DRRSFrs107 | 10522.7609 | 15722.9156 | 0 | 0 | 26245.6765 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 11.2249 | 2326.1523 | 2703.7225 | 5029.8748 | 5.218 | 15.8174 | 2196.8114 | 3245.7806 | 257.2734 | Residential | Central air conditioner - Load Shed | Single Family
8 | DRRMFrs108 | 6847.5429 | 10229.3668 | 0 | 0 | 17076.9096 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 7.3035 | 2326.1523 | 2703.7225 | 5029.8748 | 3.3951 | 15.8174 | 2196.8114 | 2111.3742 | 257.2734 | Residential | Central air conditioner - Load Shed | Multi Family
9 | DRRMOrs109 | 8283.8351 | 12376.2711 | 0 | 0 | 20660.1062 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 8.836 | 2326.1523 | 2703.7225 | 5029.8748 | 4.1075 | 15.8174 | 2196.8114 | 2554.7053 | 257.2734 | Residential | Central air conditioner - Load Shed | Mobile Home/Other
10 | DRRSFrs110 | 3214.5687 | 4798.9621 | 0 | 0 | 8013.5308 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 3.4273 | 2326.1523 | 2703.7225 | 5029.8748 | 1.5932 | 15.8174 | 2196.8114 | 990.0069 | 257.2734 | Residential | Central air conditioner - 50% cycling | Single Family
11 | DRRMFrs111 | 1862.7644 | 2778.3465 | 0 | 0 | 4641.1109 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 1.9849 | 2326.1523 | 2703.7225 | 5029.8748 | 0.92271 | 15.8174 | 2196.8114 | 572.7539 | 257.2734 | Residential | Central air conditioner - 50% cycling | Multi Family
12 | DRRMOrs112 | 2158.4715 | 3220.3561 | 0 | 0 | 5378.8277 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 2.3004 | 2326.1523 | 2703.7225 | 5029.8748 | 1.0694 | 15.8174 | 2196.8114 | 664.028 | 257.2734 | Residential | Central air conditioner - 50% cycling | Mobile Home/Other
13 | DRRSFrs113 | 1373.2323 | 2046.6162 | 0 | 0 | 3419.8485 | 9386.7305 | 12.0212 | 0 | 9398.7517 | 0.36386 | 9386.7305 | 2336.479 | 11723.2095 | 0.29172 | 15.8174 | 1898.421 | 421.6532 | 222.2934 | Residential | Room AC control | Single Family
14 | DRRMFrs114 | 565.6286 | 839.4469 | 0 | 0 | 1405.0755 | 9386.7305 | 12.0212 | 0 | 9398.7517 | 0.1495 | 9386.7305 | 2336.479 | 11723.2095 | 0.11985 | 15.8174 | 1898.421 | 304.6725 | 222.2934 | Residential | Room AC control | Multi Family
15 | DRRMOrs115 | 1020.3716 | 1519.1761 | 0 | 0 | 2539.5478 | 9386.7305 | 12.0212 | 0 | 9398.7517 | 0.2702 | 9386.7305 | 2336.479 | 11723.2095 | 0.21663 | 15.8174 | 1898.421 | 312.7379 | 222.2934 | Residential | Room AC control | Mobile Home/Other
16 | DRRSFrs116 | 6579.1699 | 9828.2151 | 0 | 0 | 16407.3851 | 2100.9736 | 12.0212 | 0 | 2112.9949 | 7.765 | 2100.9736 | 3510.7552 | 5611.7288 | 2.9238 | 15.8174 | 2852.5365 | 2028.5372 | 334.1434 | Residential | Smart thermostats - Utility Installation | Single Family
17 | DRRMFrs117 | 4171.2685 | 6228.9935 | 0 | 0 | 10400.262 | 2100.9736 | 12.0212 | 0 | 2112.9949 | 4.922 | 2100.9736 | 3510.7552 | 5611.7288 | 1.8533 | 15.8174 | 2852.5365 | 1285.3054 | 334.1434 | Residential | Smart thermostats - Utility Installation | Multi Family
18 | DRRMOrs118 | 5381.4316 | 8037.8903 | 0 | 0 | 13419.3219 | 2100.9736 | 12.0212 | 0 | 2112.9949 | 6.3509 | 2100.9736 | 3510.7552 | 5611.7288 | 2.3913 | 15.8174 | 2852.5365 | 1658.8388 | 334.1434 | Residential | Smart thermostats - Utility Installation | Mobile Home/Other
19 | DRRSFrs119 | 6579.1699 | 9828.2151 | 0 | 0 | 16407.3851 | 2100.9736 | 12.0212 | 0 | 2112.9949 | 7.765 | 2100.9736 | 0 | 2100.9736 | 7.8094 | 15.8174 | 0 | 2028.5372 | -0.25665 | Residential | Smart thermostats - BYOT | Single Family
20 | DRRMFrs120 | 4171.2685 | 6228.9935 | 0 | 0 | 10400.262 | 2100.9736 | 12.0212 | 0 | 2112.9949 | 4.922 | 2100.9736 | 0 | 2100.9736 | 4.9502 | 15.8174 | 0 | 1285.3054 | -0.25665 | Residential | Smart thermostats - BYOT | Multi Family
21 | DRRMOrs121 | 5381.4316 | 8037.8903 | 0 | 0 | 13419.3219 | 2100.9736 | 12.0212 | 0 | 2112.9949 | 6.3509 | 2100.9736 | 0 | 2100.9736 | 6.3872 | 15.8174 | 0 | 1658.8388 | -0.25665 | Residential | Smart thermostats - BYOT | Mobile Home/Other
22 | DRRSFrs122 | 2635.0992 | 3933.5146 | 0 | 0 | 6568.6138 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 2.8093 | 2326.1523 | 2703.7225 | 5029.8748 | 1.3059 | 15.8174 | 2196.8114 | 811.2311 | 257.2734 | Residential | Central Heating - Load Shed | Single Family
23 | DRRMFrs123 | 1494.5143 | 2228.6202 | 0 | 0 | 3723.1345 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 1.5923 | 2326.1523 | 2703.7225 | 5029.8748 | 0.7402 | 15.8174 | 2196.8114 | 459.174 | 257.2734 | Residential | Central Heating - Load Shed | Multi Family
24 | DRRMOrs124 | 2478.5483 | 3699.5095 | 0 | 0 | 6178.0577 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 2.6423 | 2326.1523 | 2703.7225 | 5029.8748 | 1.2283 | 15.8174 | 2196.8114 | 762.9095 | 257.2734 | Residential | Central Heating - Load Shed | Mobile Home/Other
| DRRSFrs125 | 555.2091 | 824.5895 | 0 | 0 | 1379.7986 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 0.59012 | 2326.1523 | 2703.7225 | 5029.8748 | 0.27432 | 15.8174 | 2196.8114 | 352.8868 | 257.2734 | Residential | Central Heating - 50% cycling | Single Family
| DRRMFrs126 | 279.3814 | 412.2947 | 0 | 0 | 691.6761 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 0.29582 | 2326.1523 | 2703.7225 | 5029.8748 | 0.13751 | 15.8174 | 2196.8114 | 352.8868 | 257.2734 | Residential | Central Heating - 50% cycling | Multi Family
| DRRMOrs127 | 480.661 | 713.1584 | 0 | 0 | 1193.8195 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 0.51058 | 2326.1523 | 2703.7225 | 5029.8748 | 0.23735 | 15.8174 | 2196.8114 | 352.8868 | 257.2734 | Residential | Central Heating - 50% cycling | Mobile Home/Other
| DRRSFrs128 | 7665.0861 | 11451.3933 | 0 | 0 | 19116.4794 | 9386.7305 | 12.0212 | 0 | 9398.7517 | 2.0339 | 9386.7305 | 4394.4284 | 13781.1589 | 1.3871 | 15.8174 | 3570.5329 | 2363.7201 | 418.3134 | Residential | CPP + Tech | Single Family
| DRRMFrs129 | 4511.7046 | 6737.8619 | 0 | 0 | 11249.5666 | 9386.7305 | 12.0212 | 0 | 9398.7517 | 1.1969 | 9386.7305 | 4394.4284 | 13781.1589 | 0.8163 | 15.8174 | 3570.5329 | 1390.3857 | 418.3134 | Residential | CPP + Tech | Multi Family
| DRRMOrs130 | 6191.5204 | 9248.7742 | 0 | 0 | 15440.2946 | 9386.7305 | 12.0212 | 0 | 9398.7517 | 1.6428 | 9386.7305 | 4394.4284 | 13781.1589 | 1.1204 | 15.8174 | 3570.5329 | 1908.8838 | 418.3134 | Residential | CPP + Tech | Mobile Home/Other
| DRRSFrs131 | 2915.4996 | 4351.9272 | 0 | 0 | 7267.4268 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 3.1082 | 2326.1523 | 2703.7225 | 5029.8748 | 1.4449 | 15.8174 | 2196.8114 | 897.6951 | 257.2734 | Residential | Pool pump switches | Single Family
| DRRMFrs132 | 2915.4996 | 4351.9272 | 0 | 0 | 7267.4268 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 3.1082 | 2326.1523 | 2703.7225 | 5029.8748 | 1.4449 | 15.8174 | 2196.8114 | 897.6951 | 257.2734 | Residential | Pool pump switches | Multi Family
| DRRMOrs133 | 2915.4996 | 4351.9272 | 0 | 0 | 7267.4268 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 3.1082 | 2326.1523 | 2703.7225 | 5029.8748 | 1.4449 | 15.8174 | 2196.8114 | 897.6951 | 257.2734 | Residential | Pool pump switches | Mobile Home/Other
| DRRSFrs134 | 835.9906 | 1243.5718 | 0 | 0 | 2079.5625 | 0 | 12.0212 | 0 | 12.0212 | 172.9909 | 0 | 19369.3871 | 19369.3871 | 0.10736 | 15.8174 | 18749.6268 | 2910.7998 | 2197.7434 | Residential | Solar PV | Single Family
| DRRMFrs135 | 835.9906 | 1243.5718 | 0 | 0 | 2079.5625 | 0 | 12.0212 | 0 | 12.0212 | 172.9909 | 0 | 19369.3871 | 19369.3871 | 0.10736 | 15.8174 | 18749.6268 | 2910.7998 | 2197.7434 | Residential | Solar PV | Multi Family
| DRRMOrs136 | 835.9906 | 1243.5718 | 0 | 0 | 2079.5625 | 0 | 12.0212 | 0 | 12.0212 | 172.9909 | 0 | 19369.3871 | 19369.3871 | 0.10736 | 15.8174 | 18749.6268 | 2910.7998 | 2197.7434 | Residential | Solar PV | Mobile Home/Other
| DRRSFrs137 | 89.3044 | 127.4591 | 0 | 0 | 216.7635 | 0 | 12.0212 | 0 | 12.0212 | 18.0317 | 0 | 12396.266 | 12396.266 | 0.017486 | 15.8174 | 7557.8568 | 1276.1422 | 885.7434 | Residential | Paired Battery Storage | Single Family
| DRRMFrs138 | 89.3044 | 127.4591 | 0 | 0 | 216.7635 | 0 | 12.0212 | 0 | 12.0212 | 18.0317 | 0 | 12396.266 | 12396.266 | 0.017486 | 15.8174 | 7557.8568 | 1276.1422 | 885.7434 | Residential | Paired Battery Storage | Multi Family
| DRRMOrs139 | 89.3044 | 127.4591 | 0 | 0 | 216.7635 | 0 | 12.0212 | 0 | 12.0212 | 18.0317 | 0 | 12396.266 | 12396.266 | 0.017486 | 15.8174 | 7557.8568 | 1276.1422 | 885.7434 | Residential | Paired Battery Storage | Mobile Home/Other
| DRRSFrs140 | 1295.8643 | 1930.9701 | 0 | 0 | 3226.8344 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 1.3801 | 2326.1523 | 2493.854 | 4820.0064 | 0.66947 | 15.8174 | 2026.2904 | 397.7725 | 237.2834 | Residential | Water heater switches | Single Family
| DRRMFrs141 | 952.8327 | 1418.222 | 0 | 0 | 2371.0547 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 1.0141 | 2326.1523 | 2493.854 | 4820.0064 | 0.49192 | 15.8174 | 2026.2904 | 325.3338 | 237.2834 | Residential | Water heater switches | Multi Family
| DRRMOrs142 | 949.8558 | 1413.7722 | 0 | 0 | 2363.628 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 1.0109 | 2326.1523 | 2493.854 | 4820.0064 | 0.49038 | 15.8174 | 2026.2904 | 325.3338 | 237.2834 | Residential | Water heater switches | Mobile Home/Other
| DRCgsd201 | 4552.3794 | 6799.9447 | 0 | 0 | 11352.3241 | 3405.0603 | 4.47 | 0 | 3409.5303 | 3.3296 | 3405.0603 | 0 | 3405.0603 | 3.334 | 17336.0159 | 0 | 0 | -317.1465 | Commercial | EV Charging (telematics)
| DRCgsd202 | 4552.3794 | 6799.9447 | 0 | 0 | 11352.3241 | 3405.0603 | 4.47 | 0 | 3409.5303 | 3.3296 | 3405.0603 | 0 | 3405.0603 | 3.334 | 17336.0159 | 0 | 0 | -317.1465 | Commercial | EV Charging (telematics)
| DRCgsd203 | 4552.3794 | 6799.9447 | 0 | 0 | 11352.3241 | 3405.0603 | 4.47 | 0 | 3409.5303 | 3.3296 | 3405.0603 | 0 | 3405.0603 | 3.334 | 17336.0159 | 0 | 0 | -317.1465 | Commercial | EV Charging (telematics)
| DRCgsd204 | 4552.3794 | 6799.9447 | 0 | 0 | 11352.3241 | 3405.0603 | 4.47 | 0 | 3409.5303 | 3.3296 | 3405.0603 | 0 | 3405.0603 | 3.334 | 17336.0159 | 0 | 0 | -317.1465 | Commercial | EV Charging (telematics)
| DRCgsd205 | 4552.3794 | 6799.9447 | 0 | 0 | 11352.3241 | 2621.6492 | 4.47 | 0 | 2626.1191 | 4.3229 | 2621.6492 | 1813.6151 | 4435.2642 | 2.5596 | 17336.0159 | 0.81255 | 0 | -187.5218 | Commercial | EV Charging (external switch)
| DRCgsd206 | 4552.3794 | 6799.9447 | 0 | 0 | 11352.3241 | 2621.6492 | 4.47 | 0 | 2626.1191 | 4.3229 | 2621.6492 | 1813.6151 | 4435.2642 | 2.5596 | 17336.0159 | 0.81255 | 0 | -187.5218 | Commercial | EV Charging (external switch)
| DRCgsd207 | 4552.3794 | 6799.9447 | 0 | 0 | 11352.3241 | 2621.6492 | 4.47 | 0 | 2626.1191 | 4.3229 | 2621.6492 | 1813.6151 | 4435.2642 | 2.5596 | 17336.0159 | 0.81255 | 0 | -187.5218 | Commercial | EV Charging (external switch)
| DRCgsd208 | 4552.3794 | 6799.9447 | 0 | 0 | 11352.3241 | 2621.6492 | 4.47 | 0 | 2626.1191 | 4.3229 | 2621.6492 | 1813.6151 | 4435.2642 | 2.5596 | 17336.0159 | 0.81255 | 0 | -187.5218 | Commercial | EV Charging (external switch)
| DRCgsd209 | 4225.5636 | 6314.4239 | 0 | 0 | 10539.9875 | 139.2177 | 1.6546 | 0 | 140.8723 | 74.8195 | 139.2177 | 503.7386 | 642.9563 | 16.393 | 17332.6238 | 0.30083 | 0 | -269.0983 | Commercial | Central air conditioner - Load Shed
| DRCgsd210 | 4224.9976 | 6314.4239 | 0 | 0 | 10539.4215 | 72.1633 | 0.85765 | 0 | 73.021 | 144.3342 | 72.1633 | 261.1122 | 333.2755 | 31.6238 | 17331.6637 | 0.15594 | 0 | -292.1895 | Commercial | Central air conditioner - Load Shed
| DRCgsd211 | 4224.8402 | 6314.4239 | 0 | 0 | 10539.2641 | 53.5088 | 0.63594 | 0 | 54.1448 | 194.6497 | 53.5088 | 193.6138 | 247.1226 | 42.6479 | 17331.3966 | 0.11563 | 0 | -298.6134 | Commercial | Central air conditioner - Load Shed
| DRCgsd212 | 4224.956 | 6314.4239 | 0 | 0 | 10539.3799 | 67.2291 | 0.799 | 0 | 68.0281 | 154.9269 | 67.2291 | 243.2584 | 310.4874 | 33.9446 | 17331.593 | 0.14528 | 0 | -293.8886 | Commercial | Central air conditioner - Load Shed
| DRCgsd213 | 4227.5004 | 6314.4239 | 0 | 0 | 10541.9243 | 368.6948 | 4.3819 | 0 | 373.0767 | 28.2567 | 368.6948 | 1334.0672 | 1702.762 | 6.1911 | 17335.9097 | 0.79655 | 0 | -190.0743 | Commercial | Central air conditioner - 50% cycling
| DRCgsd214 | 4226.0158 | 6314.4239 | 0 | 0 | 10540.4397 | 192.8037 | 2.2914 | 0 | 195.0951 | 54.0272 | 192.8037 | 697.6315 | 890.4351 | 11.8374 | 17333.3911 | 0.4166 | 0 | -250.6451 | Commercial | Central air conditioner - 50% cycling
| DRCgsd215 | 4225.5952 | 6314.4239 | 0 | 0 | 10540.0191 | 142.9633 | 1.6991 | 0 | 144.6624 | 72.8594 | 142.9633 | 517.2913 | 660.2546 | 15.9636 | 17332.6775 | 0.30892 | 0 | -267.8084 | Commercial | Central air conditioner - 50% cycling
| DRCgsd216 | 4225.9046 | 6314.4239 | 0 | 0 | 10540.3285 | 179.6205 | 2.1348 | 0 | 181.7553 | 57.9919 | 179.6205 | 649.9302 | 829.5507 | 12.7061 | 17333.2024 | 0.38812 | 0 | -255.1849 | Commercial | Central air conditioner - 50% cycling
| DRCgsd217 | 4395.4647 | 6566.628 | 0 | 0 | 10962.0926 | 1182.9473 | 3.3092 | 0 | 1186.2564 | 9.2409 | 1182.9473 | 2066.2395 | 3249.1868 | 3.3738 | 17334.6173 | 1.2338 | 0 | -120.3092 | Commercial | Smart thermostats - Utility Installation
| DRCgsd218 | 4435.0535 | 6627.4956 | 0 | 0 | 11062.5491 | 613.1791 | 1.7153 | 0 | 614.8944 | 17.991 | 613.1791 | 1071.0324 | 1684.2115 | 6.5684 | 17332.697 | 0.63961 | 0 | -215.0649 | Commercial | Smart thermostats - Utility Installation
| DRCgsd219 | 4465.7924 | 6673.9133 | 0 | 0 | 11139.7058 | 454.6702 | 1.2719 | 0 | 455.9421 | 24.4323 | 454.6702 | 794.1669 | 1248.8371 | 8.9201 | 17332.1628 | 0.47428 | 0 | -241.4258 | Commercial | Smart thermostats - Utility Installation
| DRCgsd220 | 4646.6341 | 6943.881 | 0 | 0 | 11590.515 | 571.2523 | 1.598 | 0 | 572.8503 | 20.2331 | 571.2523 | 997.7994 | 1569.0517 | 7.387 | 17332.5557 | 0.59588 | 0 | -222.0375 | Commercial | Smart thermostats - Utility Installation
| DRCgsd221 | 4395.4647 | 6566.628 | 0 | 0 | 10962.0926 | 1182.9473 | 3.3092 | 0 | 1186.2564 | 9.2409 | 1182.9473 | 0 | 1182.9473 | 9.2668 | 17334.6173 | 0 | 0 | -317.1189 | Commercial | Smart thermostats - BYOT
| DRCgsd222 | 4435.0535 | 6627.4956 | 0 | 0 | 11062.5491 | 613.1791 | 1.7153 | 0 | 614.8944 | 17.991 | 613.1791 | 0 | 613.1791 | 18.0413 | 17332.697 | 0 | 0 | -317.0809 | Commercial | Smart thermostats - BYOT
| DRCgsd223 | 4465.7924 | 6673.9133 | 0 | 0 | 11139.7058 | 454.6702 | 1.2719 | 0 | 455.9421 | 24.4323 | 454.6702 | 0 | 454.6702 | 24.5006 | 17332.1628 | 0 | 0 | -317.0703 | Commercial | Smart thermostats - BYOT
| DRCgsd224 | 4646.6341 | 6943.881 | 0 | 0 | 11590.515 | 571.2523 | 1.598 | 0 | 572.8503 | 20.2331 | 571.2523 | 0 | 571.2523 | 20.2897 | 17332.5557 | 0 | 0 | -317.0781 | Commercial | Smart thermostats - BYOT
| DRCgsd225 | 576.9198 | 857.0417 | 0 | 0 | 1433.9616 | 473.0907 | 5.6226 | 0 | 478.7133 | 2.9954 | 473.0907 | 1711.8082 | 2184.8989 | 0.65631 | 17337.4046 | 1.022 | 0 | -154.124 | Commercial | Central Heating - Load Shed
| DRCgsd226 | 1376.6525 | 2052.4458 | 0 | 0 | 3429.0983 | 473.0907 | 5.6226 | 0 | 478.7133 | 7.1632 | 473.0907 | 1711.8082 | 2184.8989 | 1.5695 | 17337.4046 | 1.022 | 0 | -154.124 | Commercial | Central Heating - Load Shed
| DRCgsd227 | 2129.9051 | 3178.3735 | 0 | 0 | 5308.2785 | 473.0907 | 5.6226 | 0 | 478.7133 | 11.0886 | 473.0907 | 1711.8082 | 2184.8989 | 2.4295 | 17337.4046 | 1.022 | 0 | -154.124 | Commercial | Central Heating - Load Shed
| DRCgsd228 | 2966.9079 | 4429.4872 | 0 | 0 | 7396.3951 | 473.0907 | 5.6226 | 0 | 478.7133 | 15.4506 | 473.0907 | 1711.8082 | 2184.8989 | 3.3852 | 17337.4046 | 1.022 | 0 | -154.124 | Commercial | Central Heating - Load Shed
| DRCgsd229 | 218.1554 | 320.7769 | 0 | 0 | 538.9323 | 473.0907 | 5.6226 | 0 | 478.7133 | 1.1258 | 473.0907 | 1711.8082 | 2184.8989 | 0.24666 | 17337.4046 | 1.022 | 0 | -154.124 | Commercial | Central Heating - 50% cycling
| DRCgsd230 | 517.4824 | 768.1973 | 0 | 0 | 1285.6797 | 473.0907 | 5.6226 | 0 | 478.7133 | 2.6857 | 473.0907 | 1711.8082 | 2184.8989 | 0.58844 | 17337.4046 | 1.022 | 0 | -154.124 | Commercial | Central Heating - 50% cycling
| DRCgsd231 | 799.4126 | 1189.6138 | 0 | 0 | 1989.0264 | 473.0907 | 5.6226 | 0 | 478.7133 | 4.1549 | 473.0907 | 1711.8082 | 2184.8989 | 0.91035 | 17337.4046 | 1.022 | 0 | -154.124 | Commercial | Central Heating - 50% cycling
| DRCgsd232 | 1112.6892 | 1657.8854 | 0 | 0 | 2770.5747 | 473.0907 | 5.6226 | 0 | 478.7133 | 5.7875 | 473.0907 | 1711.8082 | 2184.8989 | 1.2681 | 17337.4046 | 1.022 | 0 | -154.124 | Commercial | Central Heating - 50% cycling
| DRCgsd233 | 4539.7179 | 6767.1124 | 0 | 0 | 11306.8303 | 6281.0938 | 17.5706 | 0 | 6298.6644 | 1.7951 | 6281.0938 | 13354.3083 | 19635.402 | 0.57584 | 17351.7998 | 7.9666 | 0 | 954.5413 | Commercial | CPP + Tech
| DRCgsd234 | 4609.8485 | 6883.9602 | 0 | 0 | 11493.8087 | 2233.2778 | 6.2473 | 0 | 2239.5252 | 5.1323 | 2233.2778 | 4748.1985 | 6981.4763 | 1.6463 | 17338.1573 | 2.8347 | 0 | 135.0778 | Commercial | CPP + Tech
| DRCgsd235 | 4520.0144 | 6753.2196 | 0 | 0 | 11273.234 | 1041.4249 | 2.9133 | 0 | 1044.3382 | 10.7946 | 1041.4249 | 2214.1858 | 3255.6107 | 3.4627 | 17334.1403 | 1.3222 | 0 | -106.2079 | Commercial | CPP + Tech
| DRCgsd236 | 4761.8302 | 7115.1835 | 0 | 0 | 11877.0137 | 870.1083 | 2.434 | 0 | 872.5423 | 13.612 | 870.1083 | 1849.9475 | 2720.0558 | 4.3665 | 17333.5629 | 1.1047 | 0 | -140.8902 | Commercial | CPP + Tech
| DRCgsd237 | 4296.997 | 6394.3983 | 0 | 0 | 10691.3953 | 0 | 26.9024 | 0 | 26.9024 | 397.4147 | 0 | 63541.1631 | 63541.1631 | 0.16826 | 17363.0429 | 45.132 | 6945.244 | 6892.8452 | Commercial | Solar PV
| DRCgsd238 | 4296.997 | 6394.3983 | 0 | 0 | 10691.3953 | 0 | 26.9024 | 0 | 26.9024 | 397.4147 | 0 | 63541.1631 | 63541.1631 | 0.16826 | 17363.0429 | 45.132 | 6945.244 | 6892.8452 | Commercial | Solar PV
| DRCgsd239 | 4296.997 | 6394.3983 | 0 | 0 | 10691.3953 | 0 | 26.9024 | 0 | 26.9024 | 397.4147 | 0 | 63541.1631 | 63541.1631 | 0.16826 | 17363.0429 | 45.132 | 6945.244 | 6892.8452 | Commercial | Solar PV
| DRCgsd240 | 4296.997 | 6394.3983 | 0 | 0 | 10691.3953 | 0 | 26.9024 | 0 | 26.9024 | 397.4147 | 0 | 63541.1631 | 63541.1631 | 0.16826 | 17363.0429 | 45.132 | 6945.244 | 6892.8452 | Commercial | Solar PV
| DRCgsd241 | 6574.3817 | 9310.61 | 0 | 0 | 15884.9916 | 0 | 486.5435 | 0 | 486.5435 | 32.6487 | 0 | 457650.4527 | 457650.4527 | 0.03471 | 17916.8273 | 198.6773 | 45326.5187 | 32381.0774 | Commercial | Paired Battery Storage
| DRCgsd242 | 6574.3817 | 9310.61 | 0 | 0 | 15884.9916 | 0 | 486.5435 | 0 | 486.5435 | 32.6487 | 0 | 457650.4527 | 457650.4527 | 0.03471 | 17916.8273 | 198.6773 | 45326.5187 | 32381.0774 | Commercial | Paired Battery Storage
| DRCgsd243 | 6574.3817 | 9310.61 | 0 | 0 | 15884.9916 | 0 | 486.5435 | 0 | 486.5435 | 32.6487 | 0 | 457650.4527 | 457650.4527 | 0.03471 | 17916.8273 | 198.6773 | 45326.5187 | 32381.0774 | Commercial | Paired Battery Storage
| DRCgsd244 | 6574.3817 | 9310.61 | 0 | 0 | 15884.9916 | 0 | 486.5435 | 0 | 486.5435 | 32.6487 | 0 | 457650.4527 | 457650.4527 | 0.03471 | 17916.8273 | 198.6773 | 45326.5187 | 32381.0774 | Commercial | Paired Battery Storage
| DRIgsld301 | 4660.0592 | 6965.4254 | 0 | 0 | 11625.4845 | 415.6574 | 0.29975 | 0 | 415.9572 | 27.9488 | 415.6574 | 245.3119 | 660.9693 | 17.5885 | 16265.9315 | 0.19484 | 0 | -335.3368 | Industrial | Auto DR
| DRIgsld302 | 4676.1678 | 6989.6682 | 0 | 0 | 11665.836 | 103.8849 | 0.074916 | 0 | 103.9599 | 112.2148 | 103.8849 | 61.3106 | 165.1955 | 70.6183 | 16265.6606 | 0.048697 | 0 | -362.6568 | Industrial | Auto DR
| DRIgsld303 | 4728.6609 | 7068.1643 | 0 | 0 | 11796.8251 | 43.6335 | 0.031466 | 0 | 43.665 | 270.1666 | 43.6335 | 25.7515 | 69.3851 | 170.0196 | 16265.6083 | 0.020453 | 0 | -367.9365 | Industrial | Auto DR
| DRIgsld304 | 4755.9862 | 7109.0169 | 0 | 0 | 11865.0032 | 28.5569 | 0.020594 | 0 | 28.5775 | 415.1866 | 28.5569 | 16.8537 | 45.4106 | 261.2827 | 16265.5952 | 0.013386 | 0 | -369.2576 | Industrial | Auto DR
| DRIgsld305 | 4660.0592 | 6965.4254 | 0 | 0 | 11625.4845 | 415.6574 | 0.29975 | 0 | 415.9572 | 27.9488 | 415.6574 | 245.3119 | 660.9693 | 17.5885 | 16265.9315 | 0.19484 | 0 | -335.3368 | Industrial | CPP
| DRIgsld306 | 4676.1678 | 6989.6682 | 0 | 0 | 11665.836 | 103.8849 | 0.074916 | 0 | 103.9599 | 112.2148 | 103.8849 | 61.3106 | 165.1955 | 70.6183 | 16265.6606 | 0.048697 | 0 | -362.6568 | Industrial | CPP
| DRIgsld307 | 4728.6609 | 7068.1643 | 0 | 0 | 11796.8251 | 43.6335 | 0.031466 | 0 | 43.665 | 270.1666 | 43.6335 | 25.7515 | 69.3851 | 170.0196 | 16265.6083 | 0.020453 | 0 | -367.9365 | Industrial | CPP
| DRIgsld308 | 4755.9862 | 7109.0169 | 0 | 0 | 11865.0032 | 28.5569 | 0.020594 | 0 | 28.5775 | 415.1866 | 28.5569 | 16.8537 | 45.4106 | 261.2827 | 16265.5952 | 0.013386 | 0 | -369.2576 | Industrial | CPP
| DRIgsld309 | 4660.0592 | 6965.4254 | 0 | 0 | 11625.4845 | 415.6574 | 0.29975 | 0 | 415.9572 | 27.9488 | 415.6574 | 245.3119 | 660.9693 | 17.5885 | 16265.9315 | 0.19484 | 0 | -335.3368 | Industrial | Firm Service Level
| DRIgsld310 | 4676.1678 | 6989.6682 | 0 | 0 | 11665.836 | 103.8849 | 0.074916 | 0 | 103.9599 | 112.2148 | 103.8849 | 61.3106 | 165.1955 | 70.6183 | 16265.6606 | 0.048697 | 0 | -362.6568 | Industrial | Firm Service Level
| DRIgsld311 | 4728.6609 | 7068.1643 | 0 | 0 | 11796.8251 | 43.6335 | 0.031466 | 0 | 43.665 | 270.1666 | 43.6335 | 25.7515 | 69.3851 | 170.0196 | 16265.6083 | 0.020453 | 0 | -367.9365 | Industrial | Firm Service Level
| DRIgsld312 | 4755.9862 | 7109.0169 | 0 | 0 | 11865.0032 | 28.5569 | 0.020594 | 0 | 28.5775 | 415.1866 | 28.5569 | 16.8537 | 45.4106 | 261.2827 | 16265.5952 | 0.013386 | 0 | -369.2576 | Industrial | Firm Service Level
| DRIgsld313 | 4660.0592 | 6965.4254 | 0 | 0 | 11625.4845 | 415.6574 | 0.29975 | 0 | 415.9572 | 27.9488 | 415.6574 | 245.3119 | 660.9693 | 17.5885 | 16265.9315 | 0.19484 | 0 | -335.3368 | Industrial | Guaranteed Load Drop
| DRIgsld314 | 4676.1678 | 6989.6682 | 0 | 0 | 11665.836 | 103.8849 | 0.074916 | 0 | 103.9599 | 112.2148 | 103.8849 | 61.3106 | 165.1955 | 70.6183 | 16265.6606 | 0.048697 | 0 | -362.6568 | Industrial | Guaranteed Load Drop
| DRIgsld315 | 4728.6609 | 7068.1643 | 0 | 0 | 11796.8251 | 43.6335 | 0.031466 | 0 | 43.665 | 270.1666 | 43.6335 | 25.7515 | 69.3851 | 170.0196 | 16265.6083 | 0.020453 | 0 | -367.9365 | Industrial | Guaranteed Load Drop
| DRIgsld316 | 4755.9862 | 7109.0169 | 0 | 0 | 11865.0032 | 28.5569 | 0.020594 | 0 | 28.5775 | 415.1866 | 28.5569 | 16.8537 | 45.4106 | 261.2827 | 16265.5952 | 0.013386 | 0 | -369.2576 | Industrial | Guaranteed Load Drop