## DASHBOARD
FPL 002834
20240012-EG
Summary Tables - Residential
Table 1: Summer Peak Demand by Segment and Sector
| Residential | MW | % of Sector Peak
| Single Family | 12754.6429 | 77.26%
| Multi-Family | 2446.3488 | 14.82%
| Mobile | 1307.8622 | 7.922%
| Total | 16508.8539 | 100%
Table 2: Winter Peak Demand by Segment and Sector
| Residential | MW | % of Sector Peak
| Single Family | 8750.8769 | 74.76%
| Multi-Family | 1721.7528 | 14.71%
| Mobile | 1233.0152 | 10.53%
| Total | 11705.6448 | 100%
Table 3: Summer Peak Potential by End Use - UNADJUSTED
| End Use | MW | % of Sector Peak
| Space Cooling | 949.4034 | 5.751%
| Space Heating | 0 | 0%
| Water Heater | 0 | 0%
| Pool Pump | 7.5651 | 0.04582%
| EV Charging | 36.8485 | 0.2232%
Table 4: Winter Peak Potential by End Use - UNADJUSTED
| End Use | MW | % of Sector Peak
| Space Cooling | 0 | 0%
| Space Heating | 869.1698 | 7.425%
| Water Heater | 0 | 0%
| Pool Pump | 1.325 | 0.01132%
| EV Charging | 15.9245 | 0.136%
Table 5: Summer Peak Potential by End Use - ADJUSTED
| End Use | MW | % of Sector Peak
| Space Cooling | 949.4034 | 5.751%
| Space Heating | 0 | 0%
| Water Heater | 0 | 0%
| Pool Pump | 7.5651 | 0.04582%
| EV Charging | 36.8485 | 0.2232%
Table 6: Winter Peak Potential by End Use - ADJUSTED
| End Use | MW | % of Sector Peak
| Space Cooling | 0 | 0%
| Space Heating | 869.1698 | 7.425%
| Water Heater | 0 | 0%
| Pool Pump | 1.325 | 0.01132%
| EV Charging | 15.9245 | 0.136%

## Measure Outputs
FPL 002835
20240012-EG
Utility | Housing Type | Sector | End Use Targeted | Measure | Current Program | Summer Measure Impact (at Generator) | Winter Measure Impact (at Generator) | Annual Incentive ($/Participant) | AP Participation (% of Customers) | AP Summer MW for Measure (No Adjustment) | Max AP Summer MW for Measure (All DR Participants Removed) | AP Winter MW for Measure (No Adjustment) | Max AP Winter MW for Measure (All DR Participants Removed)
FPL | Single Family | Residential | Pool Pump | Pool pump switches | None | 0.71518 | 0.13906 | 9 | 8.108% | 7.5651 | 7.5651 | 1.325 | 1.325
FPL | Multi Family | Residential | Pool Pump | Pool pump switches | None | 0.71518 | 0.13906 | 9 | 8.108% | 0 | 0 | 0 | 0
FPL | Mobile Home/Other | Residential | Pool Pump | Pool pump switches | None | 0.71518 | 0.13906 | 9 | 8.108% | 0 | 0 | 0 | 0
FPL | Single Family | Residential | Supplemental Heating/Cooling | Room AC control | None | 0.30052 | 0.26832 | 2.75 | 6.082% | 1.1331 | 1.1331 | 1.0117 | 1.0117
FPL | Multi Family | Residential | Supplemental Heating/Cooling | Room AC control | None | 0.11806 | 0.13953 | 2.75 | 6.082% | 1.2086 | 1.2086 | 1.4284 | 1.4284
FPL | Mobile Home/Other | Residential | Supplemental Heating/Cooling | Room AC control | None | 0.21466 | 0.24686 | 2.75 | 6.082% | 1.3739 | 1.3739 | 1.58 | 1.58
FPL | Single Family | Residential | HVAC | Smart thermostats - Utility Installation | None | 1.3363 | 1.8944 | 27.875 | 10.07% | 331.7679 | 331.7679 | 368.9651 | 368.9651
FPL | Multi Family | Residential | HVAC | Smart thermostats - Utility Installation | None | 0.86937 | 1.0733 | 27.875 | 10.07% | 93.5508 | 93.5508 | 90.6021 | 90.6021
FPL | Mobile Home/Other | Residential | HVAC | Smart thermostats - Utility Installation | None | 1.0518 | 1.7817 | 27.875 | 10.07% | 49.383 | 49.383 | 65.6198 | 65.6198
FPL | Single Family | Residential | HVAC | Smart thermostats - BYOT | None | 1.3363 | 1.8944 | 27.875 | 10.07% | 93.4557 | 93.4557 | 103.9338 | 103.9338
FPL | Multi Family | Residential | HVAC | Smart thermostats - BYOT | None | 0.86937 | 1.0733 | 27.875 | 10.07% | 60.8025 | 60.8025 | 58.886 | 58.886
FPL | Mobile Home/Other | Residential | HVAC | Smart thermostats - BYOT | None | 1.0518 | 1.7817 | 27.875 | 10.07% | 73.5636 | 73.5636 | 97.7508 | 97.7508
FPL | Single Family | Residential | HVAC | CPP + Tech | None | 1.7817 | 0.93377 | 27.875 | 10.07% | 442.3572 | 442.3572 | 181.8695 | 181.8695
FPL | Mobile Home/Other | Residential | HVAC | CPP + Tech | None | 1.4168 | 0.88011 | 27.875 | 10.07% | 66.5159 | 66.5159 | 32.4146 | 32.4146
FPL | Single Family | Residential | HVAC | Central Heating - Load Shed | None | 0 | 3.7887 | 13.75 | 8.85% | 0 | 0 | 737.9302 | 737.9302
FPL | Mobile Home/Other | Residential | HVAC | Central Heating - Load Shed | None | 0 | 3.5634 | 13.75 | 8.85% | 0 | 0 | 131.2396 | 131.2396
FPL | Single Family | Residential | HVAC | Central AC - Load Shed | None | 2.6725 | 0 | 22.375 | 8.682% | 663.5357 | 663.5357 | 0 | 0
FPL | Multi Family | Residential | HVAC | Central AC - Load Shed | None | 1.7387 | 0 | 22.375 | 8.682% | 187.1016 | 187.1016 | 0 | 0
FPL | Mobile Home/Other | Residential | HVAC | Central AC - Load Shed | None | 2.1037 | 0 | 22.375 | 8.682% | 98.766 | 98.766 | 0 | 0
FPL | Single Family | Residential | HVAC | Central AC - 50% cycling | None | 0.81571 | 0 | 22.375 | 8.682% | 202.525 | 202.525 | 0 | 0
FPL | Mobile Home/Other | Residential | HVAC | Central AC - 50% cycling | None | 0.54738 | 0 | 22.375 | 8.682% | 25.6993 | 25.6993 | 0 | 0
FPL | Single Family | Residential | Electric Vehicles | EV Charging (telematics) | None | 0.88194 | 0.38114 | 50 | 11.65% | 20.9641 | 20.9641 | 9.0599 | 9.0599
FPL | Multi Family | Residential | Electric Vehicles | EV Charging (telematics) | None | 0.88194 | 0.38114 | 50 | 11.65% | 12.6492 | 12.6492 | 5.4665 | 5.4665
FPL | Mobile Home/Other | Residential | Electric Vehicles | EV Charging (telematics) | None | 0.88194 | 0.38114 | 50 | 11.65% | 3.2352 | 3.2352 | 1.3981 | 1.3981
FPL | Single Family | Residential | Electric Vehicles | EV Charging (external switch) | None | 0.88194 | 0.38114 | 50 | 11.65% | 20.9641 | 20.9641 | 9.0599 | 9.0599
FPL | Multi Family | Residential | Electric Vehicles | EV Charging (external switch) | None | 0.88194 | 0.38114 | 50 | 11.65% | 12.6492 | 12.6492 | 5.4665 | 5.4665
FPL | Mobile Home/Other | Residential | Electric Vehicles | EV Charging (external switch) | None | 0.88194 | 0.38114 | 50 | 11.65% | 3.2352 | 3.2352 | 1.3981 | 1.3981

## Calculate AP - Summer
FPL 002836
20240012-EG
Utility | Housing Type | Sector | End Use Targeted | Measure | Eligible Customers | Participants | Max Annual Incentive ($/Customer) | Placeholder Cost-Effectiveness Rank for End Use | Participation (%) | Summer Saved MW
FPL | Single Family | Residential | Pool Pump | Pool pump switches | 123985.1302 | 10577.9226 | 10.5 | 1 | 8.532% | 7.5651
FPL | Multi Family | Residential | Pool Pump | Pool pump switches | 0 | 0 | 10.5 | 1 | 8.532% | 0
FPL | Mobile Home/Other | Residential | Pool Pump | Pool pump switches | 0 | 0 | 10.5 | 1 | 8.532% | 0
FPL | Single Family | Residential | Supplemental Heating/Cooling | Room AC control | 61992.5651 | 3770.3893 | 2.75 | 1 | 6.082% | 1.1331
FPL | Multi Family | Residential | Supplemental Heating/Cooling | Room AC control | 168320.8461 | 10237.278 | 2.75 | 1 | 6.082% | 1.2086
FPL | Mobile Home/Other | Residential | Supplemental Heating/Cooling | Room AC control | 105234.3865 | 6400.358 | 2.75 | 1 | 6.082% | 1.3739
FPL | Single Family | Residential | HVAC | Smart thermostats - Utility Installation | 2200736.0617 | 248281.2067 | 42 | 1 | 11.28% | 331.7679
FPL | Multi Family | Residential | HVAC | Smart thermostats - Utility Installation | 953818.128 | 107607.2319 | 42 | 1 | 11.28% | 93.5508
FPL | Mobile Home/Other | Residential | HVAC | Smart thermostats - Utility Installation | 416154.1649 | 46949.4094 | 42 | 1 | 11.28% | 49.383
FPL | Single Family | Residential | HVAC | Smart thermostats - BYOT | 619925.6512 | 69938.3681 | 42 | 1 | 11.28% | 93.4557
FPL | Multi Family | Residential | HVAC | Smart thermostats - BYOT | 619925.6512 | 69938.3681 | 42 | 1 | 11.28% | 60.8025
FPL | Mobile Home/Other | Residential | HVAC | Smart thermostats - BYOT | 619925.6512 | 69938.3681 | 42 | 1 | 11.28% | 73.5636
FPL | Single Family | Residential | HVAC | CPP + Tech | 2200736.0617 | 248281.2067 | 42 | 1 | 11.28% | 442.3572
FPL | Mobile Home/Other | Residential | HVAC | CPP + Tech | 416154.1649 | 46949.4094 | 42 | 1 | 11.28% | 66.5159
FPL | Single Family | Residential | HVAC | Central Heating - Load Shed | 2200736.0617 | 194768.8203 | 13.75 | 4 | 8.85% | 0
FPL | Mobile Home/Other | Residential | HVAC | Central Heating - Load Shed | 416154.1649 | 36830.3393 | 13.75 | 4 | 8.85% | 0
FPL | Single Family | Residential | HVAC | Central AC - Load Shed | 2200736.0617 | 248281.2067 | 42 | 1 | 11.28% | 663.5357
FPL | Multi Family | Residential | HVAC | Central AC - Load Shed | 953818.128 | 107607.2319 | 42 | 1 | 11.28% | 187.1016
FPL | Mobile Home/Other | Residential | HVAC | Central AC - Load Shed | 416154.1649 | 46949.4094 | 42 | 1 | 11.28% | 98.766
FPL | Single Family | Residential | HVAC | Central AC - 50% cycling | 2200736.0617 | 248281.2067 | 42 | 1 | 11.28% | 202.525
FPL | Mobile Home/Other | Residential | HVAC | Central AC - 50% cycling | 416154.1649 | 46949.4094 | 42 | 1 | 11.28% | 25.6993
FPL | Single Family | Residential | Electric Vehicles | EV Charging (telematics) | 203955.5392 | 23770.4958 | 50 | 1 | 11.65% | 20.9641
FPL | Multi Family | Residential | Electric Vehicles | EV Charging (telematics) | 123061.2408 | 14342.4725 | 50 | 1 | 11.65% | 12.6492
FPL | Mobile Home/Other | Residential | Electric Vehicles | EV Charging (telematics) | 31474.6483 | 3668.2897 | 50 | 1 | 11.65% | 3.2352
FPL | Single Family | Residential | Electric Vehicles | EV Charging (external switch) | 203955.5392 | 23770.4958 | 50 | 1 | 11.65% | 20.9641
FPL | Multi Family | Residential | Electric Vehicles | EV Charging (external switch) | 123061.2408 | 14342.4725 | 50 | 1 | 11.65% | 12.6492
FPL | Mobile Home/Other | Residential | Electric Vehicles | EV Charging (external switch) | 31474.6483 | 3668.2897 | 50 | 1 | 11.65% | 3.2352

## Calculate AP - Winter
FPL 002837
20240012-EG
Utility | Housing Type | Sector | End Use Targeted | Measure | Eligible Customers | Participants | Max Annual Incentive ($/Customer) | Placeholder Cost-Effectiveness Rank for End Use | Participation (%) | Winter Saved MW
FPL | Single Family | Residential | Pool Pump | Pool pump switches | 123985.1302 | 9528.0944 | 7.5 | 1 | 7.685% | 1.325
FPL | Multi Family | Residential | Pool Pump | Pool pump switches | 0 | 0 | 7.5 | 1 | 7.685% | 0
FPL | Mobile Home/Other | Residential | Pool Pump | Pool pump switches | 0 | 0 | 7.5 | 1 | 7.685% | 0
FPL | Single Family | Residential | Supplemental Heating/Cooling | Room AC control | 61992.5651 | 3770.3893 | 2.75 | 1 | 6.082% | 1.0117
FPL | Multi Family | Residential | Supplemental Heating/Cooling | Room AC control | 168320.8461 | 10237.278 | 2.75 | 1 | 6.082% | 1.4284
FPL | Mobile Home/Other | Residential | Supplemental Heating/Cooling | Room AC control | 105234.3865 | 6400.358 | 2.75 | 1 | 6.082% | 1.58
FPL | Single Family | Residential | HVAC | Smart thermostats - Utility Installation | 2200736.0617 | 194768.8203 | 13.75 | 1 | 8.85% | 368.9651
FPL | Multi Family | Residential | HVAC | Smart thermostats - Utility Installation | 953818.128 | 84414.4988 | 13.75 | 1 | 8.85% | 90.6021
FPL | Mobile Home/Other | Residential | HVAC | Smart thermostats - Utility Installation | 416154.1649 | 36830.3393 | 13.75 | 1 | 8.85% | 65.6198
FPL | Single Family | Residential | HVAC | Smart thermostats - BYOT | 619925.6512 | 54864.4564 | 13.75 | 1 | 8.85% | 103.9338
FPL | Multi Family | Residential | HVAC | Smart thermostats - BYOT | 619925.6512 | 54864.4564 | 13.75 | 1 | 8.85% | 58.886
FPL | Mobile Home/Other | Residential | HVAC | Smart thermostats - BYOT | 619925.6512 | 54864.4564 | 13.75 | 1 | 8.85% | 97.7508
FPL | Single Family | Residential | HVAC | CPP + Tech | 2200736.0617 | 194768.8203 | 13.75 | 1 | 8.85% | 181.8695
FPL | Mobile Home/Other | Residential | HVAC | CPP + Tech | 416154.1649 | 36830.3393 | 13.75 | 1 | 8.85% | 32.4146
FPL | Single Family | Residential | HVAC | Central Heating - Load Shed | 2200736.0617 | 194768.8203 | 13.75 | 1 | 8.85% | 737.9302
FPL | Mobile Home/Other | Residential | HVAC | Central Heating - Load Shed | 416154.1649 | 36830.3393 | 13.75 | 1 | 8.85% | 131.2396
FPL | Single Family | Residential | HVAC | Central AC - Load Shed | 2200736.0617 | 133848.8218 | 2.75 | 1 | 6.082% | 0
FPL | Multi Family | Residential | HVAC | Central AC - Load Shed | 953818.128 | 58011.2422 | 2.75 | 1 | 6.082% | 0
FPL | Mobile Home/Other | Residential | HVAC | Central AC - Load Shed | 416154.1649 | 25310.5066 | 2.75 | 1 | 6.082% | 0
FPL | Single Family | Residential | HVAC | Central AC - 50% cycling | 2200736.0617 | 133848.8218 | 2.75 | 1 | 6.082% | 0
FPL | Mobile Home/Other | Residential | HVAC | Central AC - 50% cycling | 416154.1649 | 25310.5066 | 2.75 | 4 | 6.082% | 0
FPL | Single Family | Residential | Electric Vehicles | EV Charging (telematics) | 203955.5392 | 23770.4958 | 50 | 1 | 11.65% | 9.0599
FPL | Multi Family | Residential | Electric Vehicles | EV Charging (telematics) | 123061.2408 | 14342.4725 | 50 | 1 | 11.65% | 5.4665
FPL | Mobile Home/Other | Residential | Electric Vehicles | EV Charging (telematics) | 31474.6483 | 3668.2897 | 50 | 1 | 11.65% | 1.3981
FPL | Single Family | Residential | Electric Vehicles | EV Charging (external switch) | 203955.5392 | 23770.4958 | 50 | 1 | 11.65% | 9.0599
FPL | Multi Family | Residential | Electric Vehicles | EV Charging (external switch) | 123061.2408 | 14342.4725 | 50 | 1 | 11.65% | 5.4665
FPL | Mobile Home/Other | Residential | Electric Vehicles | EV Charging (external switch) | 31474.6483 | 3668.2897 | 50 | 1 | 11.65% | 1.3981

## Res Measure Benefits
FPL 002838
20240012-EG
Utility | Housing Type | Sector | Measure | Meter Summer Peak Per Cust (kW) | Meter Winter Peak Per Cust (kW) | Gen Summer Peak Per Cust (kW) | Gen Winter Peak Per Cust (kW) | Annual Energy Per Cust (kW) | Nominal Discount Rate | Measure Lifespan (years) | Summer Demand Benefit ($/kW) | Winter Demand Benefit ($/kW) | Measure Benefit Summer ($/measure) | Measure Benefit Winter ($/measure)
FPL | Single Family | Residential | Pool pump switches | 0.66634 | 0.12956 | 0.71518 | 0.13906 | 0 | 8.1% | 15 | 863.8642 | 863.8642 | 617.8207 | 120.1301
FPL | Multi Family | Residential | Pool pump switches | 0.66634 | 0.12956 | 0.71518 | 0.13906 | 0 | 8.1% | 15 | 863.8642 | 863.8642 | 617.8207 | 120.1301
FPL | Mobile Home/Other | Residential | Pool pump switches | 0.66634 | 0.12956 | 0.71518 | 0.13906 | 0 | 8.1% | 15 | 863.8642 | 863.8642 | 617.8207 | 120.1301
FPL | Single Family | Residential | Room AC control | 0.28 | 0.25 | 0.30052 | 0.26832 | 0 | 8.1% | 15 | 863.8642 | 863.8642 | 259.6119 | 231.7964
FPL | Multi Family | Residential | Room AC control | 0.11 | 0.13 | 0.11806 | 0.13953 | 0 | 8.1% | 15 | 863.8642 | 863.8642 | 101.9904 | 120.5341
FPL | Mobile Home/Other | Residential | Room AC control | 0.2 | 0.23 | 0.21466 | 0.24686 | 0 | 8.1% | 15 | 863.8642 | 863.8642 | 185.4371 | 213.2527
FPL | Single Family | Residential | Smart thermostats - Utility Installation | 1.245 | 1.765 | 1.3363 | 1.8944 | 367.557 | 8.1% | 15 | 863.8642 | 863.8642 | 1154.3459 | 1636.4823
FPL | Multi Family | Residential | Smart thermostats - Utility Installation | 0.81 | 1 | 0.86937 | 1.0733 | 367.557 | 8.1% | 15 | 863.8642 | 863.8642 | 751.0202 | 927.1854
FPL | Mobile Home/Other | Residential | Smart thermostats - Utility Installation | 0.98 | 1.66 | 1.0518 | 1.7817 | 367.557 | 8.1% | 15 | 863.8642 | 863.8642 | 908.6417 | 1539.1278
FPL | Single Family | Residential | Smart thermostats - BYOT | 1.245 | 1.765 | 1.3363 | 1.8944 | 367.557 | 8.1% | 15 | 863.8642 | 863.8642 | 1154.3459 | 1636.4823
FPL | Multi Family | Residential | Smart thermostats - BYOT | 0.81 | 1 | 0.86937 | 1.0733 | 367.557 | 8.1% | 15 | 863.8642 | 863.8642 | 751.0202 | 927.1854
FPL | Mobile Home/Other | Residential | Smart thermostats - BYOT | 0.98 | 1.66 | 1.0518 | 1.7817 | 367.557 | 8.1% | 15 | 863.8642 | 863.8642 | 908.6417 | 1539.1278
FPL | Single Family | Residential | CPP + Tech | 1.66 | 0.87 | 1.7817 | 0.93377 | 0 | 8.1% | 15 | 863.8642 | 863.8642 | 1539.1278 | 806.6513
FPL | Mobile Home/Other | Residential | CPP + Tech | 1.32 | 0.82 | 1.4168 | 0.88011 | 0 | 8.1% | 15 | 863.8642 | 863.8642 | 1223.8848 | 760.2921
FPL | Single Family | Residential | Central Heating - Load Shed | 0 | 3.53 | 0 | 3.7887 | 0 | 8.1% | 15 | 863.8642 | 863.8642 | 0 | 3272.9646
FPL | Mobile Home/Other | Residential | Central Heating - Load Shed | 0 | 3.32 | 0 | 3.5634 | 0 | 8.1% | 15 | 863.8642 | 863.8642 | 0 | 3078.2557
FPL | Single Family | Residential | Central AC - Load Shed | 2.49 | 0 | 2.6725 | 0 | 0 | 8.1% | 15 | 863.8642 | 863.8642 | 2308.6918 | 0
FPL | Multi Family | Residential | Central AC - Load Shed | 1.62 | 0 | 1.7387 | 0 | 0 | 8.1% | 15 | 863.8642 | 863.8642 | 1502.0404 | 0
FPL | Mobile Home/Other | Residential | Central AC - Load Shed | 1.96 | 0 | 2.1037 | 0 | 0 | 8.1% | 15 | 863.8642 | 863.8642 | 1817.2835 | 0
FPL | Single Family | Residential | Central AC - 50% cycling | 0.76 | 0 | 0.81571 | 0 | 0 | 8.1% | 15 | 863.8642 | 863.8642 | 704.6609 | 0
FPL | Mobile Home/Other | Residential | Central AC - 50% cycling | 0.51 | 0 | 0.54738 | 0 | 0 | 8.1% | 15 | 863.8642 | 863.8642 | 472.8646 | 0
FPL | Single Family | Residential | EV Charging (telematics) | 0.82171 | 0.35511 | 0.88194 | 0.38114 | 0 | 8.1% | 10 | 649.775 | 649.775 | 573.0608 | 247.6544
FPL | Multi Family | Residential | EV Charging (telematics) | 0.82171 | 0.35511 | 0.88194 | 0.38114 | 0 | 8.1% | 10 | 649.775 | 649.775 | 573.0608 | 247.6544
FPL | Mobile Home/Other | Residential | EV Charging (telematics) | 0.82171 | 0.35511 | 0.88194 | 0.38114 | 0 | 8.1% | 10 | 649.775 | 649.775 | 573.0608 | 247.6544
FPL | Single Family | Residential | EV Charging (external switch) | 0.82171 | 0.35511 | 0.88194 | 0.38114 | 0 | 8.1% | 10 | 649.775 | 649.775 | 573.0608 | 247.6544
FPL | Multi Family | Residential | EV Charging (external switch) | 0.82171 | 0.35511 | 0.88194 | 0.38114 | 0 | 8.1% | 10 | 649.775 | 649.775 | 573.0608 | 247.6544
FPL | Mobile Home/Other | Residential | EV Charging (external switch) | 0.82171 | 0.35511 | 0.88194 | 0.38114 | 0 | 8.1% | 10 | 649.775 | 649.775 | 573.0608 | 247.6544
Note on J3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: TYSP Page 293

## Res AP Screen
FPL 002839
20240012-EG
Utility | Housing Type | Sector | Measure | Number of Eligible Customers | Total Summer MW Saved from Measure | Total Winter MW Saved from Measure
FPL | Single Family | Residential | Pool pump switches | 123985.1302 | 88.672 | 17.2415
FPL | Multi Family | Residential | Pool pump switches | 0 | 0 | 0
FPL | Mobile Home/Other | Residential | Pool pump switches | 0 | 0 | 0
FPL | Single Family | Residential | Room AC control | 61992.5651 | 18.6303 | 16.6342
FPL | Multi Family | Residential | Room AC control | 168320.8461 | 19.8725 | 23.4856
FPL | Mobile Home/Other | Residential | Room AC control | 105234.3865 | 22.5896 | 25.9781
FPL | Single Family | Residential | Smart thermostats - Utility Installation | 2200736.0617 | 2940.7523 | 4169.0183
FPL | Multi Family | Residential | Smart thermostats - Utility Installation | 953818.128 | 829.2237 | 1023.733
FPL | Mobile Home/Other | Residential | Smart thermostats - Utility Installation | 416154.1649 | 437.7251 | 741.4527
FPL | Single Family | Residential | Smart thermostats - BYOT | 619925.6512 | 828.3809 | 1174.3713
FPL | Multi Family | Residential | Smart thermostats - BYOT | 619925.6512 | 538.9466 | 665.3662
FPL | Mobile Home/Other | Residential | Smart thermostats - BYOT | 619925.6512 | 652.0589 | 1104.5079
FPL | Single Family | Residential | CPP + Tech | 2200736.0617 | 3921.003 | 2054.9835
FPL | Mobile Home/Other | Residential | CPP + Tech | 416154.1649 | 589.5889 | 366.2598
FPL | Single Family | Residential | Central Heating - Load Shed | 2200736.0617 | 0 | 8338.0366
FPL | Mobile Home/Other | Residential | Central Heating - Load Shed | 416154.1649 | 0 | 1482.9054
FPL | Single Family | Residential | Central air conditioner - Load Shed | 2200736.0617 | 5881.5045 | 0
FPL | Multi Family | Residential | Central air conditioner - Load Shed | 953818.128 | 1658.4475 | 0
FPL | Mobile Home/Other | Residential | Central air conditioner - Load Shed | 416154.1649 | 875.4502 | 0
FPL | Single Family | Residential | Central air conditioner - 50% cycling | 2200736.0617 | 1795.158 | 0
FPL | Mobile Home/Other | Residential | Central air conditioner - 50% cycling | 416154.1649 | 227.7957 | 0
FPL | Single Family | Residential | EV Charging (telematics) | 203955.5392 | 179.876 | 77.7354
FPL | Multi Family | Residential | EV Charging (telematics) | 123061.2408 | 108.5323 | 46.9034
FPL | Mobile Home/Other | Residential | EV Charging (telematics) | 31474.6483 | 27.7587 | 11.9962
FPL | Single Family | Residential | EV Charging (external switch) | 203955.5392 | 179.876 | 77.7354
FPL | Multi Family | Residential | EV Charging (external switch) | 123061.2408 | 108.5323 | 46.9034
FPL | Mobile Home/Other | Residential | EV Charging (external switch) | 31474.6483 | 27.7587 | 11.9962

## Customer Counts
FPL 002840
20240012-EG
Time Scale Customer Counts
| Eligible Customers | Cooling % Sat | Heating % Sat | Pool Pump % Sat | Water Heater % Sat | ST % Saturation | Room AC % Saturations | Room Heating % Saturations | EV % Sat | Solar PV % Sat
Single Family | 3099628.2559 | 96% | 71% | 8% | 86% | 20% | 2% | 0% | 6.58% | 2%
Multi-Family | 1870231.6236 | 95% | 51% | 0% | 90% | 20% | 9% | 0% | 6.58% | 2%
Mobile Home/Other | 478338.1206 | 95% | 87% | 0% | 97% | 20% | 22% | 4.44% | 6.58% | 2%
Total | 5448198 | 96% | 61% | 4% | 88% | 20% | 6% | 0.03164% | 6.58% | 2%
2023
| Eligible Customers | Cooling % Sat | Heating % Sat | Pool Pump % Sat | Water Heater % Sat | ST % Saturation | Room AC % Saturations | Room Heating % Saturations | EV % Sat | Solar PV % Sat
Single Family | 3025932.8346 | 96% | 71% | 8% | 86% | 20% | 2% | 0% | 6.58% | 2%
Multi-Family | 1825765.8051 | 95% | 51% | 0% | 90% | 20% | 9% | 0% | 6.58% | 2%
Mobile Home/Other | 466965.3602 | 95% | 87% | 0% | 97% | 20% | 22% | 4.44% | 6.58% | 2%
Total | 5318664 | 96% | 61% | 4% | 88% | 20% | 6% | 0.03164% | 6.58% | 2%
FORECAST: | FPL Population | Residential Customers | Commercial Customers |  | Population Growth | Residential Growth | Commercial Growth |  | % Change in Growth |  |  | Year | Smart therm penetration | inc. smart therm
2023 | 5857552 | 5184891 | 665573 |  | 1.293% | 1.3% | 1.195% |  | 3.079% | 2.867% | 5.7% | 2019 | 7%
2024 | 5933291 | 5252291 | 673526 |  | 1.254% | 1.264% | 1.13% |  | 3.08% | 2.958% | 5.149% | 2020 | 8.3% | 0.013
2025 | 6007718 | 5318664 | 681140 |  | 1.217% | 1.227% | 1.075% |  | 3.13% | 2.847% | 6.853% | 2021 | 10% | 0.017
2026 | 6080827 | 5383945 | 688463 |  | 1.18% | 1.193% | 1.006% |  | 2.5% | 2.451% | 4.319% | 2022 | 12.3% | 0.023
2027 | 6152580 | 5448198 | 695390 |  | 1.151% | 1.165% | 0.9645% |  | 3.544% | 1.923% | 9.203% | 2023 | 15.3% | 0.03
2028 | 6223409 | 5511662 | 702097 |  | 1.112% | 1.143% | 0.8832% |  | 1.616% | 1.496% | 2.959% | 2024 | 19.1% | 0.038
2029 | 6292601 | 5574654 | 708298 |  | 1.094% | 1.126% | 0.8578% |  | 1.835% | 1.775% | 2.511% | 2025 | 23.7% | 0.046
2030 | 6361450 | 5637427 | 714374 |  | 1.074% | 1.106% | 0.8368% |  | 0.4425% | 0.2848% | 2.291% | 2026 | 29.1% | 0.054
2031 | 6429798 | 5699800 | 720352 |  | 1.07% | 1.103% | 0.8181% |  | -101.1% | -101.1% | -100.8% | 2027 | 35.2% | 0.061
2032 | 6498576 | 5762684 | 726245 |  | -100% | -100% | -100% |  |  |  |  | 2028 | 41.5% | 0.063
2033 | [11 empty] | 2029 | 47.9% | 0.064
2034 | [11 empty] | AVERAGE | 22.67% | 4.09%
2035
2036
AVERAGE | 6326402.3333 | 5605737.5 | 711126
CURRENT |  | 5318664
% INCREASE |  | 5.397%
2027 | 6152580 | 5448198 | 695390
% INCREASE |  | 2.435%
| Line Loss Factor | 7.33%
| Nominal Discount Rate | 8.1%
| # Residential customers | 5318664 |  |  | Electric Heating | Gas Heating
| # Residential customers w/ electric heat | 3457131.6 |  | Single Family | 1966856.3425 | 1059076.4921
| # Participants - "On Call" DR program (2021) | 690587 |  | Multi Family | 1186747.7733 | 639018.0318
|  | 12.98% |  | Mobile/Other | 303527.4841 | 163437.8761
On Call Incentives
Appliance | Applicability | Monthly Bill Credit | # Months | Annual Credits | Summer | Winter
Central Electric Air Conditioner | April – October | 6 | 7 | 42 | 42 | 0
Central Electric Heater | November – March | 2.75 | 5 | 13.75 | 0 | 13.75
Conventional Electric Water Heater | Year-Round | 1.5 | 12 | 18 | 10.5 | 7.5
Swimming Pool Pump | Year-Round | 1.5 | 12 | 18 | 10.5 | 7.5
Prior Participants Only (Cycle Option) - Central Electric Air Conditioner | April – October | 3 | 7 | 21
Prior Participants Only (Cycle Option) - Central Electric Heater | November – March | 2 | 5 | 10
Source:
FPL ¦ On Call Terms and Conditions
Note on B18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: TYSP Page 54
Note on B46: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Where to get this info?

## FPL Econ Screening
FPL 002843
20240012-EG
PRIVILEGED AND CONFIDENTIAL | [18 empty] | Filename: HVAC DSM Condensed vF.xlsx
ATTORNEY-CLIENT WORK PRODUCT | [18 empty] | Page 2 of 2
PREPARED AT THE DIRECTION OF COUNSEL
Demand Response Measures - Batch Run Results
Includes NPV of Measure Benefits and Costs (2023-2082)
Avoided Unit: 2033 Combined Cycle
Fuel Forecast: 9/1/23 Fuel
No CO2 Compliance Costs
Maximum Incentive
[6 empty] | Total | Utility | Energy | Demand |  |  | Utility | [5 empty] | that passes E-RIM and | Maximum Incentive
|  | Avoided gen | Avoided |  | Env / | E-RIM / | Program | Charge | Charge | Total |  | Program | Part. | Total |  | Savings in |  | has a Part. Test >= 1.00 | that does not violate
|  | Unit $ & Fuel | T&D | Revenue | Other | E-TRC | Costs w/o | Revenue | Revenue | E-RIM |  | Costs w/o | Equipment | E-TRC |  | Participant |  |  | 2-Years Payback
|  | Benefits | Benefits | Gains | Benefits | Benefits | Incentives | Loss | Loss | Costs | RIM | Incentives | Cost | Costs | TRC | Bills | Years |  | one-time incentive payment
|  | (000$) | (000$) |  | (000$) | (000$) | (000$) | (000$) | (000$) | (000$) | Ratio | (000$) | (000$) | (000$) | Ratio | (000$) | To Payback | (Nominal $) | (Nominal $) | Segment | Measure
1 | DRRSFrs101 | 3739.9668 | 5584.3033 | 0 | 0 | 9324.2701 | 4283.0947 | 12.0212 | 0 | 4295.116 | 2.1709 | 4283.0947 | 0 | 4283.0947 | 2.177 | 15.8174 | 0 | 904.609 | -0.25665 | Residential | EV Charging (telematics) | Single Family
2 | DRRMFrs102 | 3739.9668 | 5584.3033 | 0 | 0 | 9324.2701 | 4283.0947 | 12.0212 | 0 | 4295.116 | 2.1709 | 4283.0947 | 0 | 4283.0947 | 2.177 | 15.8174 | 0 | 904.609 | -0.25665 | Residential | EV Charging (telematics) | Multi Family
3 | DRRMOrs103 | 3739.9668 | 5584.3033 | 0 | 0 | 9324.2701 | 4283.0947 | 12.0212 | 0 | 4295.116 | 2.1709 | 4283.0947 | 0 | 4283.0947 | 2.177 | 15.8174 | 0 | 904.609 | -0.25665 | Residential | EV Charging (telematics) | Mobile Home/Other
4 | DRRSFrs104 | 3739.9668 | 5584.3033 | 0 | 0 | 9324.2701 | 3297.6719 | 12.0212 | 0 | 3309.6931 | 2.8173 | 3297.6719 | 3603.172 | 6900.8438 | 1.3512 | 15.8174 | 2196.8114 | 904.609 | 257.2734 | Residential | EV Charging (external switch) | Single Family
5 | DRRMFrs105 | 3739.9668 | 5584.3033 | 0 | 0 | 9324.2701 | 3297.6719 | 12.0212 | 0 | 3309.6931 | 2.8173 | 3297.6719 | 3603.172 | 6900.8438 | 1.3512 | 15.8174 | 2196.8114 | 904.609 | 257.2734 | Residential | EV Charging (external switch) | Multi Family
6 | DRRMOrs106 | 3739.9668 | 5584.3033 | 0 | 0 | 9324.2701 | 3297.6719 | 12.0212 | 0 | 3309.6931 | 2.8173 | 3297.6719 | 3603.172 | 6900.8438 | 1.3512 | 15.8174 | 2196.8114 | 904.609 | 257.2734 | Residential | EV Charging (external switch) | Mobile Home/Other
7 | DRRSFrs107 | 10522.7609 | 15722.9156 | 0 | 0 | 26245.6765 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 11.2249 | 2326.1523 | 2703.7225 | 5029.8748 | 5.218 | 15.8174 | 2196.8114 | 3245.7806 | 257.2734 | Residential | Central air conditioner - Load Shed | Single Family
8 | DRRMFrs108 | 6847.5429 | 10229.3668 | 0 | 0 | 17076.9096 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 7.3035 | 2326.1523 | 2703.7225 | 5029.8748 | 3.3951 | 15.8174 | 2196.8114 | 2111.3742 | 257.2734 | Residential | Central air conditioner - Load Shed | Multi Family
9 | DRRMOrs109 | 8283.8351 | 12376.2711 | 0 | 0 | 20660.1062 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 8.836 | 2326.1523 | 2703.7225 | 5029.8748 | 4.1075 | 15.8174 | 2196.8114 | 2554.7053 | 257.2734 | Residential | Central air conditioner - Load Shed | Mobile Home/Other
10 | DRRSFrs110 | 3214.5687 | 4798.9621 | 0 | 0 | 8013.5308 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 3.4273 | 2326.1523 | 2703.7225 | 5029.8748 | 1.5932 | 15.8174 | 2196.8114 | 990.0069 | 257.2734 | Residential | Central air conditioner - 50% cycling | Single Family
11 | DRRMFrs111 | 1862.7644 | 2778.3465 | 0 | 0 | 4641.1109 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 1.9849 | 2326.1523 | 2703.7225 | 5029.8748 | 0.92271 | 15.8174 | 2196.8114 | 572.7539 | 257.2734 | Residential | Central air conditioner - 50% cycling | Multi Family
12 | DRRMOrs112 | 2158.4715 | 3220.3561 | 0 | 0 | 5378.8277 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 2.3004 | 2326.1523 | 2703.7225 | 5029.8748 | 1.0694 | 15.8174 | 2196.8114 | 664.028 | 257.2734 | Residential | Central air conditioner - 50% cycling | Mobile Home/Other
13 | DRRSFrs113 | 1373.2323 | 2046.6162 | 0 | 0 | 3419.8485 | 9386.7305 | 12.0212 | 0 | 9398.7517 | 0.36386 | 9386.7305 | 2336.479 | 11723.2095 | 0.29172 | 15.8174 | 1898.421 | 421.6532 | 222.2934 | Residential | Room AC control | Single Family
14 | DRRMFrs114 | 565.6286 | 839.4469 | 0 | 0 | 1405.0755 | 9386.7305 | 12.0212 | 0 | 9398.7517 | 0.1495 | 9386.7305 | 2336.479 | 11723.2095 | 0.11985 | 15.8174 | 1898.421 | 304.6725 | 222.2934 | Residential | Room AC control | Multi Family
15 | DRRMOrs115 | 1020.3716 | 1519.1761 | 0 | 0 | 2539.5478 | 9386.7305 | 12.0212 | 0 | 9398.7517 | 0.2702 | 9386.7305 | 2336.479 | 11723.2095 | 0.21663 | 15.8174 | 1898.421 | 312.7379 | 222.2934 | Residential | Room AC control | Mobile Home/Other
16 | DRRSFrs116 | 6579.1699 | 9828.2151 | 0 | 0 | 16407.3851 | 2100.9736 | 12.0212 | 0 | 2112.9949 | 7.765 | 2100.9736 | 3510.7552 | 5611.7288 | 2.9238 | 15.8174 | 2852.5365 | 2028.5372 | 334.1434 | Residential | Smart thermostats - Utility Installation | Single Family
17 | DRRMFrs117 | 4171.2685 | 6228.9935 | 0 | 0 | 10400.262 | 2100.9736 | 12.0212 | 0 | 2112.9949 | 4.922 | 2100.9736 | 3510.7552 | 5611.7288 | 1.8533 | 15.8174 | 2852.5365 | 1285.3054 | 334.1434 | Residential | Smart thermostats - Utility Installation | Multi Family
18 | DRRMOrs118 | 5381.4316 | 8037.8903 | 0 | 0 | 13419.3219 | 2100.9736 | 12.0212 | 0 | 2112.9949 | 6.3509 | 2100.9736 | 3510.7552 | 5611.7288 | 2.3913 | 15.8174 | 2852.5365 | 1658.8388 | 334.1434 | Residential | Smart thermostats - Utility Installation | Mobile Home/Other
19 | DRRSFrs119 | 6579.1699 | 9828.2151 | 0 | 0 | 16407.3851 | 2100.9736 | 12.0212 | 0 | 2112.9949 | 7.765 | 2100.9736 | 0 | 2100.9736 | 7.8094 | 15.8174 | 0 | 2028.5372 | -0.25665 | Residential | Smart thermostats - BYOT | Single Family
20 | DRRMFrs120 | 4171.2685 | 6228.9935 | 0 | 0 | 10400.262 | 2100.9736 | 12.0212 | 0 | 2112.9949 | 4.922 | 2100.9736 | 0 | 2100.9736 | 4.9502 | 15.8174 | 0 | 1285.3054 | -0.25665 | Residential | Smart thermostats - BYOT | Multi Family
21 | DRRMOrs121 | 5381.4316 | 8037.8903 | 0 | 0 | 13419.3219 | 2100.9736 | 12.0212 | 0 | 2112.9949 | 6.3509 | 2100.9736 | 0 | 2100.9736 | 6.3872 | 15.8174 | 0 | 1658.8388 | -0.25665 | Residential | Smart thermostats - BYOT | Mobile Home/Other
22 | DRRSFrs122 | 2635.0992 | 3933.5146 | 0 | 0 | 6568.6138 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 2.8093 | 2326.1523 | 2703.7225 | 5029.8748 | 1.3059 | 15.8174 | 2196.8114 | 811.2311 | 257.2734 | Residential | Central Heating - Load Shed | Single Family
23 | DRRMFrs123 | 1494.5143 | 2228.6202 | 0 | 0 | 3723.1345 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 1.5923 | 2326.1523 | 2703.7225 | 5029.8748 | 0.7402 | 15.8174 | 2196.8114 | 459.174 | 257.2734 | Residential | Central Heating - Load Shed | Multi Family
24 | DRRMOrs124 | 2478.5483 | 3699.5095 | 0 | 0 | 6178.0577 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 2.6423 | 2326.1523 | 2703.7225 | 5029.8748 | 1.2283 | 15.8174 | 2196.8114 | 762.9095 | 257.2734 | Residential | Central Heating - Load Shed | Mobile Home/Other
| DRRSFrs125 | 555.2091 | 824.5895 | 0 | 0 | 1379.7986 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 0.59012 | 2326.1523 | 2703.7225 | 5029.8748 | 0.27432 | 15.8174 | 2196.8114 | 352.8868 | 257.2734 | Residential | Central Heating - 50% cycling | Single Family
| DRRMFrs126 | 279.3814 | 412.2947 | 0 | 0 | 691.6761 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 0.29582 | 2326.1523 | 2703.7225 | 5029.8748 | 0.13751 | 15.8174 | 2196.8114 | 352.8868 | 257.2734 | Residential | Central Heating - 50% cycling | Multi Family
| DRRMOrs127 | 480.661 | 713.1584 | 0 | 0 | 1193.8195 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 0.51058 | 2326.1523 | 2703.7225 | 5029.8748 | 0.23735 | 15.8174 | 2196.8114 | 352.8868 | 257.2734 | Residential | Central Heating - 50% cycling | Mobile Home/Other
| DRRSFrs128 | 7665.0861 | 11451.3933 | 0 | 0 | 19116.4794 | 9386.7305 | 12.0212 | 0 | 9398.7517 | 2.0339 | 9386.7305 | 4394.4284 | 13781.1589 | 1.3871 | 15.8174 | 3570.5329 | 2363.7201 | 418.3134 | Residential | CPP + Tech | Single Family
| DRRMFrs129 | 4511.7046 | 6737.8619 | 0 | 0 | 11249.5666 | 9386.7305 | 12.0212 | 0 | 9398.7517 | 1.1969 | 9386.7305 | 4394.4284 | 13781.1589 | 0.8163 | 15.8174 | 3570.5329 | 1390.3857 | 418.3134 | Residential | CPP + Tech | Multi Family
| DRRMOrs130 | 6191.5204 | 9248.7742 | 0 | 0 | 15440.2946 | 9386.7305 | 12.0212 | 0 | 9398.7517 | 1.6428 | 9386.7305 | 4394.4284 | 13781.1589 | 1.1204 | 15.8174 | 3570.5329 | 1908.8838 | 418.3134 | Residential | CPP + Tech | Mobile Home/Other
| DRRSFrs131 | 2915.4996 | 4351.9272 | 0 | 0 | 7267.4268 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 3.1082 | 2326.1523 | 2703.7225 | 5029.8748 | 1.4449 | 15.8174 | 2196.8114 | 897.6951 | 257.2734 | Residential | Pool pump switches | Single Family
| DRRMFrs132 | 2915.4996 | 4351.9272 | 0 | 0 | 7267.4268 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 3.1082 | 2326.1523 | 2703.7225 | 5029.8748 | 1.4449 | 15.8174 | 2196.8114 | 897.6951 | 257.2734 | Residential | Pool pump switches | Multi Family
| DRRMOrs133 | 2915.4996 | 4351.9272 | 0 | 0 | 7267.4268 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 3.1082 | 2326.1523 | 2703.7225 | 5029.8748 | 1.4449 | 15.8174 | 2196.8114 | 897.6951 | 257.2734 | Residential | Pool pump switches | Mobile Home/Other
| DRRSFrs134 | 835.9906 | 1243.5718 | 0 | 0 | 2079.5625 | 0 | 12.0212 | 0 | 12.0212 | 172.9909 | 0 | 19369.3871 | 19369.3871 | 0.10736 | 15.8174 | 18749.6268 | 2910.7998 | 2197.7434 | Residential | Solar PV | Single Family
| DRRMFrs135 | 835.9906 | 1243.5718 | 0 | 0 | 2079.5625 | 0 | 12.0212 | 0 | 12.0212 | 172.9909 | 0 | 19369.3871 | 19369.3871 | 0.10736 | 15.8174 | 18749.6268 | 2910.7998 | 2197.7434 | Residential | Solar PV | Multi Family
| DRRMOrs136 | 835.9906 | 1243.5718 | 0 | 0 | 2079.5625 | 0 | 12.0212 | 0 | 12.0212 | 172.9909 | 0 | 19369.3871 | 19369.3871 | 0.10736 | 15.8174 | 18749.6268 | 2910.7998 | 2197.7434 | Residential | Solar PV | Mobile Home/Other
| DRRSFrs137 | 89.3044 | 127.4591 | 0 | 0 | 216.7635 | 0 | 12.0212 | 0 | 12.0212 | 18.0317 | 0 | 12396.266 | 12396.266 | 0.017486 | 15.8174 | 7557.8568 | 1276.1422 | 885.7434 | Residential | Paired Battery Storage | Single Family
| DRRMFrs138 | 89.3044 | 127.4591 | 0 | 0 | 216.7635 | 0 | 12.0212 | 0 | 12.0212 | 18.0317 | 0 | 12396.266 | 12396.266 | 0.017486 | 15.8174 | 7557.8568 | 1276.1422 | 885.7434 | Residential | Paired Battery Storage | Multi Family
| DRRMOrs139 | 89.3044 | 127.4591 | 0 | 0 | 216.7635 | 0 | 12.0212 | 0 | 12.0212 | 18.0317 | 0 | 12396.266 | 12396.266 | 0.017486 | 15.8174 | 7557.8568 | 1276.1422 | 885.7434 | Residential | Paired Battery Storage | Mobile Home/Other
| DRRSFrs140 | 1295.8643 | 1930.9701 | 0 | 0 | 3226.8344 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 1.3801 | 2326.1523 | 2493.854 | 4820.0064 | 0.66947 | 15.8174 | 2026.2904 | 397.7725 | 237.2834 | Residential | Water heater switches | Single Family
| DRRMFrs141 | 952.8327 | 1418.222 | 0 | 0 | 2371.0547 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 1.0141 | 2326.1523 | 2493.854 | 4820.0064 | 0.49192 | 15.8174 | 2026.2904 | 325.3338 | 237.2834 | Residential | Water heater switches | Multi Family
| DRRMOrs142 | 949.8558 | 1413.7722 | 0 | 0 | 2363.628 | 2326.1523 | 12.0212 | 0 | 2338.1736 | 1.0109 | 2326.1523 | 2493.854 | 4820.0064 | 0.49038 | 15.8174 | 2026.2904 | 325.3338 | 237.2834 | Residential | Water heater switches | Mobile Home/Other
| DRCgsd201 | 4552.3794 | 6799.9447 | 0 | 0 | 11352.3241 | 3405.0603 | 4.47 | 0 | 3409.5303 | 3.3296 | 3405.0603 | 0 | 3405.0603 | 3.334 | 17336.0159 | 0 | 0 | -317.1465 | Commercial | EV Charging (telematics)
| DRCgsd202 | 4552.3794 | 6799.9447 | 0 | 0 | 11352.3241 | 3405.0603 | 4.47 | 0 | 3409.5303 | 3.3296 | 3405.0603 | 0 | 3405.0603 | 3.334 | 17336.0159 | 0 | 0 | -317.1465 | Commercial | EV Charging (telematics)
| DRCgsd203 | 4552.3794 | 6799.9447 | 0 | 0 | 11352.3241 | 3405.0603 | 4.47 | 0 | 3409.5303 | 3.3296 | 3405.0603 | 0 | 3405.0603 | 3.334 | 17336.0159 | 0 | 0 | -317.1465 | Commercial | EV Charging (telematics)
| DRCgsd204 | 4552.3794 | 6799.9447 | 0 | 0 | 11352.3241 | 3405.0603 | 4.47 | 0 | 3409.5303 | 3.3296 | 3405.0603 | 0 | 3405.0603 | 3.334 | 17336.0159 | 0 | 0 | -317.1465 | Commercial | EV Charging (telematics)
| DRCgsd205 | 4552.3794 | 6799.9447 | 0 | 0 | 11352.3241 | 2621.6492 | 4.47 | 0 | 2626.1191 | 4.3229 | 2621.6492 | 1813.6151 | 4435.2642 | 2.5596 | 17336.0159 | 0.81255 | 0 | -187.5218 | Commercial | EV Charging (external switch)
| DRCgsd206 | 4552.3794 | 6799.9447 | 0 | 0 | 11352.3241 | 2621.6492 | 4.47 | 0 | 2626.1191 | 4.3229 | 2621.6492 | 1813.6151 | 4435.2642 | 2.5596 | 17336.0159 | 0.81255 | 0 | -187.5218 | Commercial | EV Charging (external switch)
| DRCgsd207 | 4552.3794 | 6799.9447 | 0 | 0 | 11352.3241 | 2621.6492 | 4.47 | 0 | 2626.1191 | 4.3229 | 2621.6492 | 1813.6151 | 4435.2642 | 2.5596 | 17336.0159 | 0.81255 | 0 | -187.5218 | Commercial | EV Charging (external switch)
| DRCgsd208 | 4552.3794 | 6799.9447 | 0 | 0 | 11352.3241 | 2621.6492 | 4.47 | 0 | 2626.1191 | 4.3229 | 2621.6492 | 1813.6151 | 4435.2642 | 2.5596 | 17336.0159 | 0.81255 | 0 | -187.5218 | Commercial | EV Charging (external switch)
| DRCgsd209 | 4225.5636 | 6314.4239 | 0 | 0 | 10539.9875 | 139.2177 | 1.6546 | 0 | 140.8723 | 74.8195 | 139.2177 | 503.7386 | 642.9563 | 16.393 | 17332.6238 | 0.30083 | 0 | -269.0983 | Commercial | Central air conditioner - Load Shed
| DRCgsd210 | 4224.9976 | 6314.4239 | 0 | 0 | 10539.4215 | 72.1633 | 0.85765 | 0 | 73.021 | 144.3342 | 72.1633 | 261.1122 | 333.2755 | 31.6238 | 17331.6637 | 0.15594 | 0 | -292.1895 | Commercial | Central air conditioner - Load Shed
| DRCgsd211 | 4224.8402 | 6314.4239 | 0 | 0 | 10539.2641 | 53.5088 | 0.63594 | 0 | 54.1448 | 194.6497 | 53.5088 | 193.6138 | 247.1226 | 42.6479 | 17331.3966 | 0.11563 | 0 | -298.6134 | Commercial | Central air conditioner - Load Shed
| DRCgsd212 | 4224.956 | 6314.4239 | 0 | 0 | 10539.3799 | 67.2291 | 0.799 | 0 | 68.0281 | 154.9269 | 67.2291 | 243.2584 | 310.4874 | 33.9446 | 17331.593 | 0.14528 | 0 | -293.8886 | Commercial | Central air conditioner - Load Shed
| DRCgsd213 | 4227.5004 | 6314.4239 | 0 | 0 | 10541.9243 | 368.6948 | 4.3819 | 0 | 373.0767 | 28.2567 | 368.6948 | 1334.0672 | 1702.762 | 6.1911 | 17335.9097 | 0.79655 | 0 | -190.0743 | Commercial | Central air conditioner - 50% cycling
| DRCgsd214 | 4226.0158 | 6314.4239 | 0 | 0 | 10540.4397 | 192.8037 | 2.2914 | 0 | 195.0951 | 54.0272 | 192.8037 | 697.6315 | 890.4351 | 11.8374 | 17333.3911 | 0.4166 | 0 | -250.6451 | Commercial | Central air conditioner - 50% cycling
| DRCgsd215 | 4225.5952 | 6314.4239 | 0 | 0 | 10540.0191 | 142.9633 | 1.6991 | 0 | 144.6624 | 72.8594 | 142.9633 | 517.2913 | 660.2546 | 15.9636 | 17332.6775 | 0.30892 | 0 | -267.8084 | Commercial | Central air conditioner - 50% cycling
| DRCgsd216 | 4225.9046 | 6314.4239 | 0 | 0 | 10540.3285 | 179.6205 | 2.1348 | 0 | 181.7553 | 57.9919 | 179.6205 | 649.9302 | 829.5507 | 12.7061 | 17333.2024 | 0.38812 | 0 | -255.1849 | Commercial | Central air conditioner - 50% cycling
| DRCgsd217 | 4395.4647 | 6566.628 | 0 | 0 | 10962.0926 | 1182.9473 | 3.3092 | 0 | 1186.2564 | 9.2409 | 1182.9473 | 2066.2395 | 3249.1868 | 3.3738 | 17334.6173 | 1.2338 | 0 | -120.3092 | Commercial | Smart thermostats - Utility Installation
| DRCgsd218 | 4435.0535 | 6627.4956 | 0 | 0 | 11062.5491 | 613.1791 | 1.7153 | 0 | 614.8944 | 17.991 | 613.1791 | 1071.0324 | 1684.2115 | 6.5684 | 17332.697 | 0.63961 | 0 | -215.0649 | Commercial | Smart thermostats - Utility Installation
| DRCgsd219 | 4465.7924 | 6673.9133 | 0 | 0 | 11139.7058 | 454.6702 | 1.2719 | 0 | 455.9421 | 24.4323 | 454.6702 | 794.1669 | 1248.8371 | 8.9201 | 17332.1628 | 0.47428 | 0 | -241.4258 | Commercial | Smart thermostats - Utility Installation
| DRCgsd220 | 4646.6341 | 6943.881 | 0 | 0 | 11590.515 | 571.2523 | 1.598 | 0 | 572.8503 | 20.2331 | 571.2523 | 997.7994 | 1569.0517 | 7.387 | 17332.5557 | 0.59588 | 0 | -222.0375 | Commercial | Smart thermostats - Utility Installation
| DRCgsd221 | 4395.4647 | 6566.628 | 0 | 0 | 10962.0926 | 1182.9473 | 3.3092 | 0 | 1186.2564 | 9.2409 | 1182.9473 | 0 | 1182.9473 | 9.2668 | 17334.6173 | 0 | 0 | -317.1189 | Commercial | Smart thermostats - BYOT
| DRCgsd222 | 4435.0535 | 6627.4956 | 0 | 0 | 11062.5491 | 613.1791 | 1.7153 | 0 | 614.8944 | 17.991 | 613.1791 | 0 | 613.1791 | 18.0413 | 17332.697 | 0 | 0 | -317.0809 | Commercial | Smart thermostats - BYOT
| DRCgsd223 | 4465.7924 | 6673.9133 | 0 | 0 | 11139.7058 | 454.6702 | 1.2719 | 0 | 455.9421 | 24.4323 | 454.6702 | 0 | 454.6702 | 24.5006 | 17332.1628 | 0 | 0 | -317.0703 | Commercial | Smart thermostats - BYOT
| DRCgsd224 | 4646.6341 | 6943.881 | 0 | 0 | 11590.515 | 571.2523 | 1.598 | 0 | 572.8503 | 20.2331 | 571.2523 | 0 | 571.2523 | 20.2897 | 17332.5557 | 0 | 0 | -317.0781 | Commercial | Smart thermostats - BYOT
| DRCgsd225 | 576.9198 | 857.0417 | 0 | 0 | 1433.9616 | 473.0907 | 5.6226 | 0 | 478.7133 | 2.9954 | 473.0907 | 1711.8082 | 2184.8989 | 0.65631 | 17337.4046 | 1.022 | 0 | -154.124 | Commercial | Central Heating - Load Shed
| DRCgsd226 | 1376.6525 | 2052.4458 | 0 | 0 | 3429.0983 | 473.0907 | 5.6226 | 0 | 478.7133 | 7.1632 | 473.0907 | 1711.8082 | 2184.8989 | 1.5695 | 17337.4046 | 1.022 | 0 | -154.124 | Commercial | Central Heating - Load Shed
| DRCgsd227 | 2129.9051 | 3178.3735 | 0 | 0 | 5308.2785 | 473.0907 | 5.6226 | 0 | 478.7133 | 11.0886 | 473.0907 | 1711.8082 | 2184.8989 | 2.4295 | 17337.4046 | 1.022 | 0 | -154.124 | Commercial | Central Heating - Load Shed
| DRCgsd228 | 2966.9079 | 4429.4872 | 0 | 0 | 7396.3951 | 473.0907 | 5.6226 | 0 | 478.7133 | 15.4506 | 473.0907 | 1711.8082 | 2184.8989 | 3.3852 | 17337.4046 | 1.022 | 0 | -154.124 | Commercial | Central Heating - Load Shed
| DRCgsd229 | 218.1554 | 320.7769 | 0 | 0 | 538.9323 | 473.0907 | 5.6226 | 0 | 478.7133 | 1.1258 | 473.0907 | 1711.8082 | 2184.8989 | 0.24666 | 17337.4046 | 1.022 | 0 | -154.124 | Commercial | Central Heating - 50% cycling
| DRCgsd230 | 517.4824 | 768.1973 | 0 | 0 | 1285.6797 | 473.0907 | 5.6226 | 0 | 478.7133 | 2.6857 | 473.0907 | 1711.8082 | 2184.8989 | 0.58844 | 17337.4046 | 1.022 | 0 | -154.124 | Commercial | Central Heating - 50% cycling
| DRCgsd231 | 799.4126 | 1189.6138 | 0 | 0 | 1989.0264 | 473.0907 | 5.6226 | 0 | 478.7133 | 4.1549 | 473.0907 | 1711.8082 | 2184.8989 | 0.91035 | 17337.4046 | 1.022 | 0 | -154.124 | Commercial | Central Heating - 50% cycling
| DRCgsd232 | 1112.6892 | 1657.8854 | 0 | 0 | 2770.5747 | 473.0907 | 5.6226 | 0 | 478.7133 | 5.7875 | 473.0907 | 1711.8082 | 2184.8989 | 1.2681 | 17337.4046 | 1.022 | 0 | -154.124 | Commercial | Central Heating - 50% cycling
| DRCgsd233 | 4539.7179 | 6767.1124 | 0 | 0 | 11306.8303 | 6281.0938 | 17.5706 | 0 | 6298.6644 | 1.7951 | 6281.0938 | 13354.3083 | 19635.402 | 0.57584 | 17351.7998 | 7.9666 | 0 | 954.5413 | Commercial | CPP + Tech
| DRCgsd234 | 4609.8485 | 6883.9602 | 0 | 0 | 11493.8087 | 2233.2778 | 6.2473 | 0 | 2239.5252 | 5.1323 | 2233.2778 | 4748.1985 | 6981.4763 | 1.6463 | 17338.1573 | 2.8347 | 0 | 135.0778 | Commercial | CPP + Tech
| DRCgsd235 | 4520.0144 | 6753.2196 | 0 | 0 | 11273.234 | 1041.4249 | 2.9133 | 0 | 1044.3382 | 10.7946 | 1041.4249 | 2214.1858 | 3255.6107 | 3.4627 | 17334.1403 | 1.3222 | 0 | -106.2079 | Commercial | CPP + Tech
| DRCgsd236 | 4761.8302 | 7115.1835 | 0 | 0 | 11877.0137 | 870.1083 | 2.434 | 0 | 872.5423 | 13.612 | 870.1083 | 1849.9475 | 2720.0558 | 4.3665 | 17333.5629 | 1.1047 | 0 | -140.8902 | Commercial | CPP + Tech
| DRCgsd237 | 4296.997 | 6394.3983 | 0 | 0 | 10691.3953 | 0 | 26.9024 | 0 | 26.9024 | 397.4147 | 0 | 63541.1631 | 63541.1631 | 0.16826 | 17363.0429 | 45.132 | 6945.244 | 6892.8452 | Commercial | Solar PV
| DRCgsd238 | 4296.997 | 6394.3983 | 0 | 0 | 10691.3953 | 0 | 26.9024 | 0 | 26.9024 | 397.4147 | 0 | 63541.1631 | 63541.1631 | 0.16826 | 17363.0429 | 45.132 | 6945.244 | 6892.8452 | Commercial | Solar PV
| DRCgsd239 | 4296.997 | 6394.3983 | 0 | 0 | 10691.3953 | 0 | 26.9024 | 0 | 26.9024 | 397.4147 | 0 | 63541.1631 | 63541.1631 | 0.16826 | 17363.0429 | 45.132 | 6945.244 | 6892.8452 | Commercial | Solar PV
| DRCgsd240 | 4296.997 | 6394.3983 | 0 | 0 | 10691.3953 | 0 | 26.9024 | 0 | 26.9024 | 397.4147 | 0 | 63541.1631 | 63541.1631 | 0.16826 | 17363.0429 | 45.132 | 6945.244 | 6892.8452 | Commercial | Solar PV
| DRCgsd241 | 6574.3817 | 9310.61 | 0 | 0 | 15884.9916 | 0 | 486.5435 | 0 | 486.5435 | 32.6487 | 0 | 457650.4527 | 457650.4527 | 0.03471 | 17916.8273 | 198.6773 | 45326.5187 | 32381.0774 | Commercial | Paired Battery Storage
| DRCgsd242 | 6574.3817 | 9310.61 | 0 | 0 | 15884.9916 | 0 | 486.5435 | 0 | 486.5435 | 32.6487 | 0 | 457650.4527 | 457650.4527 | 0.03471 | 17916.8273 | 198.6773 | 45326.5187 | 32381.0774 | Commercial | Paired Battery Storage
| DRCgsd243 | 6574.3817 | 9310.61 | 0 | 0 | 15884.9916 | 0 | 486.5435 | 0 | 486.5435 | 32.6487 | 0 | 457650.4527 | 457650.4527 | 0.03471 | 17916.8273 | 198.6773 | 45326.5187 | 32381.0774 | Commercial | Paired Battery Storage
| DRCgsd244 | 6574.3817 | 9310.61 | 0 | 0 | 15884.9916 | 0 | 486.5435 | 0 | 486.5435 | 32.6487 | 0 | 457650.4527 | 457650.4527 | 0.03471 | 17916.8273 | 198.6773 | 45326.5187 | 32381.0774 | Commercial | Paired Battery Storage
| DRIgsld301 | 4660.0592 | 6965.4254 | 0 | 0 | 11625.4845 | 415.6574 | 0.29975 | 0 | 415.9572 | 27.9488 | 415.6574 | 245.3119 | 660.9693 | 17.5885 | 16265.9315 | 0.19484 | 0 | -335.3368 | Industrial | Auto DR
| DRIgsld302 | 4676.1678 | 6989.6682 | 0 | 0 | 11665.836 | 103.8849 | 0.074916 | 0 | 103.9599 | 112.2148 | 103.8849 | 61.3106 | 165.1955 | 70.6183 | 16265.6606 | 0.048697 | 0 | -362.6568 | Industrial | Auto DR
| DRIgsld303 | 4728.6609 | 7068.1643 | 0 | 0 | 11796.8251 | 43.6335 | 0.031466 | 0 | 43.665 | 270.1666 | 43.6335 | 25.7515 | 69.3851 | 170.0196 | 16265.6083 | 0.020453 | 0 | -367.9365 | Industrial | Auto DR
| DRIgsld304 | 4755.9862 | 7109.0169 | 0 | 0 | 11865.0032 | 28.5569 | 0.020594 | 0 | 28.5775 | 415.1866 | 28.5569 | 16.8537 | 45.4106 | 261.2827 | 16265.5952 | 0.013386 | 0 | -369.2576 | Industrial | Auto DR
| DRIgsld305 | 4660.0592 | 6965.4254 | 0 | 0 | 11625.4845 | 415.6574 | 0.29975 | 0 | 415.9572 | 27.9488 | 415.6574 | 245.3119 | 660.9693 | 17.5885 | 16265.9315 | 0.19484 | 0 | -335.3368 | Industrial | CPP
| DRIgsld306 | 4676.1678 | 6989.6682 | 0 | 0 | 11665.836 | 103.8849 | 0.074916 | 0 | 103.9599 | 112.2148 | 103.8849 | 61.3106 | 165.1955 | 70.6183 | 16265.6606 | 0.048697 | 0 | -362.6568 | Industrial | CPP
| DRIgsld307 | 4728.6609 | 7068.1643 | 0 | 0 | 11796.8251 | 43.6335 | 0.031466 | 0 | 43.665 | 270.1666 | 43.6335 | 25.7515 | 69.3851 | 170.0196 | 16265.6083 | 0.020453 | 0 | -367.9365 | Industrial | CPP
| DRIgsld308 | 4755.9862 | 7109.0169 | 0 | 0 | 11865.0032 | 28.5569 | 0.020594 | 0 | 28.5775 | 415.1866 | 28.5569 | 16.8537 | 45.4106 | 261.2827 | 16265.5952 | 0.013386 | 0 | -369.2576 | Industrial | CPP
| DRIgsld309 | 4660.0592 | 6965.4254 | 0 | 0 | 11625.4845 | 415.6574 | 0.29975 | 0 | 415.9572 | 27.9488 | 415.6574 | 245.3119 | 660.9693 | 17.5885 | 16265.9315 | 0.19484 | 0 | -335.3368 | Industrial | Firm Service Level
| DRIgsld310 | 4676.1678 | 6989.6682 | 0 | 0 | 11665.836 | 103.8849 | 0.074916 | 0 | 103.9599 | 112.2148 | 103.8849 | 61.3106 | 165.1955 | 70.6183 | 16265.6606 | 0.048697 | 0 | -362.6568 | Industrial | Firm Service Level
| DRIgsld311 | 4728.6609 | 7068.1643 | 0 | 0 | 11796.8251 | 43.6335 | 0.031466 | 0 | 43.665 | 270.1666 | 43.6335 | 25.7515 | 69.3851 | 170.0196 | 16265.6083 | 0.020453 | 0 | -367.9365 | Industrial | Firm Service Level
| DRIgsld312 | 4755.9862 | 7109.0169 | 0 | 0 | 11865.0032 | 28.5569 | 0.020594 | 0 | 28.5775 | 415.1866 | 28.5569 | 16.8537 | 45.4106 | 261.2827 | 16265.5952 | 0.013386 | 0 | -369.2576 | Industrial | Firm Service Level
| DRIgsld313 | 4660.0592 | 6965.4254 | 0 | 0 | 11625.4845 | 415.6574 | 0.29975 | 0 | 415.9572 | 27.9488 | 415.6574 | 245.3119 | 660.9693 | 17.5885 | 16265.9315 | 0.19484 | 0 | -335.3368 | Industrial | Guaranteed Load Drop
| DRIgsld314 | 4676.1678 | 6989.6682 | 0 | 0 | 11665.836 | 103.8849 | 0.074916 | 0 | 103.9599 | 112.2148 | 103.8849 | 61.3106 | 165.1955 | 70.6183 | 16265.6606 | 0.048697 | 0 | -362.6568 | Industrial | Guaranteed Load Drop
| DRIgsld315 | 4728.6609 | 7068.1643 | 0 | 0 | 11796.8251 | 43.6335 | 0.031466 | 0 | 43.665 | 270.1666 | 43.6335 | 25.7515 | 69.3851 | 170.0196 | 16265.6083 | 0.020453 | 0 | -367.9365 | Industrial | Guaranteed Load Drop
| DRIgsld316 | 4755.9862 | 7109.0169 | 0 | 0 | 11865.0032 | 28.5569 | 0.020594 | 0 | 28.5775 | 415.1866 | 28.5569 | 16.8537 | 45.4106 | 261.2827 | 16265.5952 | 0.013386 | 0 | -369.2576 | Industrial | Guaranteed Load Drop