BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

| In re: Commission review of numeric conservation goals (Florida Public Utilities Company). | DOCKET NO. 20240015-EG ORDER NO. PSC-2024-0431-FOF-EG ISSUED: September 20, 2024 |
| --- | --- |

The following Commissioners participated in the disposition of this matter:

MIKE LA ROSA, Chairman

ART GRAHAM

GARY F. CLARK

ANDREW GILES FAY

GABRIELLA PASSIDOMO

FINAL ORDER APPROVING NUMERIC CONSERVATIONS GOALS

FOR FLORIDA PUBLIC UTILITIES COMPANY

APPEARANCES:

BETH KEATING, ESQUIRE, Gunster, Yoakley & Stewart, P.A., 215 South Monroe Street, Suite 601, Tallahassee, Florida  32301

On behalf of Florida Public Utilities Company (FPUC).

SEAN T. GARNER, ERIK SAYLER and KELLY WRIGHT, ESQUIRES, Florida Department of Agriculture & Consumer Service, Office of General Counsel, The Mayo Building, 407 S. Calhoun Street, Suite 520, Tallahassee, Florida 32399-0800

On behalf of Florida Department of Agriculture & Consumer Services (FDACS).

STEPHANIE U. EATON, ESQUIRE, Spilman, Thomas & Battle, PLLC, 110 Oakwood Drive, Suite 500, Winston-Salem, North Carolina  27103

STEVEN W. LEE, ESQUIRE, Qualified Representative, Spilman, Thomas & Battle, PLLC, 1100 Bent Creek Blvd., Suite 101, Mechanicsburg, Pennsylvania 17050

On behalf of Walmart, Inc. (Walmart).

JACOB IMIG, JON RUBOTTOM, and ADRIA HARPER, ESQUIRES, Florida Public Service Commission, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850

On behalf of the Florida Public Service Commission (Staff).

MARY ANNE HELTON, ESQUIRE, Deputy General Counsel, Florida Public Service Commission, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850

Advisor to the Florida Public Service Commission.

KEITH C. HETRICK, ESQUIRE, General Counsel, Florida Public Service Commission, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850

Florida Public Service Commission General Counsel

BY THE COMMISSION:

# Background

Enacted in 1980, Sections 366.80 through 366.83, and 403.519, Florida Statutes (F.S.), are known collectively as the Florida Energy Efficiency and Conservation Act (FEECA). FEECA requires us to adopt appropriate goals to increase the efficiency of energy consumption and, pursuant to Section 366.82(6), F.S., we must review the goals of each utility subject to FEECA at least every five years.

The six electric utilities subject to FEECA, collectively known as the FEECA Utilities, are Florida Power & Light Company (FPL), Duke Energy Florida, LLC (DEF), Tampa Electric Company (TECO), Florida Public Utilities Company (FPUC), JEA, and Orlando Utilities Commission (OUC). Pursuant to Rule 25-17.0021 Florida Administrative Code (F.A.C.), numeric goals were last established for the FEECA Utilities by Order No. PSC-19-0509-FOF-EU, issued November 26, 2019. Therefore, new goals must be established by January 2025.

By Order No. PSC-2024-0022-PCO-EG , issued February 28, 2024, the dockets for each of the FEECA Utilities were consolidated for purposes of hearing and controlling dates and a tentative list of issues was established.

We acknowledged the intervention of the Florida Department of Agriculture and Consumer Services (FDACS) on April 24, 2024. Walmart Inc. (Walmart) was granted leave to intervene on April 30, 2024.

Pursuant to Notice and in accordance with Rule 28-106.209, F.A.C., a hearing was held on August 8, 2024, in Tallahassee, Florida, before the above commissioners.

Decision

Legal Background

FEECA directs us to promote four key priorities: (1) reducing and controlling the growth rates of weather-sensitive peak demand and electricity usage, (2) increasing the efficiency and cost-effectiveness of the production and consumption of electricity and natural gas, (3) encouraging demand-side renewable energy systems, and (4) conserving expensive resources, particularly petroleum fuel. The Legislature emphasized that it is critical to utilize “efficient and cost-effective” conservation systems. Section 366.82, F.S., bifurcates our responsibility under FEECA into two separately docketed proceedings. First, in the goalsetting dockets, we must establish appropriate goals for increasing the efficiency of energy consumption and increasing the development of demand-side renewable energy systems. Following the adoption of goals, in the plan approval dockets, each FEECA Utility must file plans and programs to meet the goals within its service area. The present docket was opened to address the first, goalsetting portion of our FEECA proceedings for FPUC.

FEECA requires that we establish goals designed to increase the conservation of expensive resources, such as petroleum fuels; reduce and control the growth rates of electric consumption; reduce the growth rates of weather-sensitive peak demand; and encourage development of demand-side renewable energy resources. Section 366.82(3), F.S., prescribes the following criteria for our evaluation of the conservation goals:

In developing the goals, the commission shall evaluate the full technical potential of all available demand-side and supply-side conservation and efficiency measures, including demand-side renewable energy systems. In establishing the goals, the commission shall take into consideration:

(a) The costs and benefits to customers participating in the measure.

(b) The costs and benefits to the general body of ratepayers as a whole, including utility incentives and participant contributions.

(c) The need for incentives to promote both customer-owned and utility-owned energy efficiency and demand-side renewable energy systems.

(d) The costs imposed by state and federal regulations on the emission of greenhouse gases.

We implement FEECA for electric utilities through Rule 25-17.0021, F.A.C. Pursuant to that rule, for each FEECA Utility, we establish annual kilowatt (KW) and kilowatt-hour (KWh) goals for Residential and Commercial/Industrial customer classes. The goals are based on (1) an assessment of the technical potential of available conservation and efficiency measures, and (2) an estimate of the total cost-effective KW and KWh savings reasonably achievable through demand-side management (DSM) programs in each utility’s service area over a ten-year period. The goals we establish are annual targets for conservation, with KW goals relating to seasonal—summer and winter—demand savings, and annual KWh goals relating to annual energy savings.

Following the last goalsetting proceedings in 2019, after receiving feedback from the utilities, intervenors, and interested persons, we amended Rule 25-17.0021, F.A.C., to streamline our FEECA process by requiring utilities to file potential conservation programs along with their proposed goals. This allows us to analyze the utilities’ proposed goals based upon energy (KWH) and demand (KW) savings from customer participation in potential programs it plans to implement, thus giving us better information as to the appropriateness of the goals. Thus, although utility conservation plans and the underlying programs and measures to implement those plans are not approved at this time, each utility must include sufficient information related to the cost-effectiveness of its potential DSM programs to support the appropriateness of its proposed goals.

Analysis

Pursuant to Section 366.82, F.S., we must evaluate whether the goals requested by FPUC are appropriate. Pursuant to the Prehearing Order, Order No. PSC-2024-0293-PHO-EG, issued August 2, 2024, a final list of issues was established for the consolidated hearing. Issues 1-7 address whether each utility, in developing its proposed goals, adequately addressed the considerations prescribed by statute and Commission rule. Issue 8 addresses, for the purpose of establishing goals for rate-regulated utilities, whether we should consider changing credit levels for demand response programs in the FEECA goalsetting proceedings or in their base rate proceedings. Because FPUC has no such demand response programs, Issue 8 was moot for FPUC. Issues 9-11 were specific only to FPL’s docket and thus not at issue for FPUC. Issues 12 and 13 are the ultimate issues addressing, in light of the preceding issues, what conservation goals we should establish for FPUC as required by Section 366.82, F.S.

Following a robust discovery process, we were presented with a series of proposed Type II stipulations, set forth below in Attachment A, that fully resolved all issues in this docket. FPUC supported the stipulations, Walmart and FDACS took no position on all issues, and Commission staff recommended approval of the proposed stipulations. We approved the proposed stipulations by a bench vote at the August 8, 2024, hearing.

We find that each of the stipulations are supported by evidence in the record. We also find that the testimony and exhibits in the record adequately address the statutory considerations required by Section 366.82(3), F.S., and demonstrate that the goals stipulated for Issues 12 and 13, as set forth in Attachments A and B, will increase the conservation of expensive resources, such as petroleum fuels; reduce and control the growth rates of electric consumption; reduce the growth rates of weather-sensitive peak demand; and encourage development of demand-side renewable energy resources. In particular, we found the testimony and exhibits of FPUC witnesses Jim Herndon and Derrick Craig, as well as the discovery responses provided by FPUC, support our finding that the stipulated goals are reasonable and consistent with the requirements of Section 366.82, F.S., and Rule 25-17.0021, F.A.C. For these reasons, we find the stipulated goals to be appropriate.

Conclusion

The stipulations listed in Attachment A address all the requirements of FEECA enumerated in Section 366.82, F.S., and satisfy the requirements of Rule 25-17.0021, F.A.C. Further, the conservation goals stipulated in Issues 12 and 13 are appropriate to advance the priorities of FEECA. Therefore, the goals stipulated in Issues 12 and 13 are adopted for FPUC for the period 2025-2034.

Based on the foregoing, it is

ORDERED by the Florida Public Service Commission that the stipulations, findings, and rulings herein are hereby approved.   It is further

ORDERED that Florida Public Utilities Company shall abide by the stipulations, findings, and rulings herein.   It is further

ORDERED that Florida Public Utilities Company’s residential and commercial/industrial summer and winter MW and annual gigawatt-hour (GWh) goals are adopted as set forth in Tables 1-3 of Attachment B.   It is further

ORDERED that Florida Public Utilities Company should continue to implement the provisions of Rule 25-6.065, F.A.C., Interconnection and Net Metering of Customer-Owned Renewable Generation, as an appropriate means to encourage the development of demand-side renewable energy. It is further

ORDERED that this docket shall be closed after the time for filing an appeal has run.

By ORDER of the Florida Public Service Commission this 20th day of September, 2024.

|  | /s/ Adam J. Teitzman |
| --- | --- |
|  | ADAM J. TEITZMAN Commission Clerk |

Florida Public Service Commission

2540 Shumard Oak Boulevard

Tallahassee, Florida 32399

(850) 413-6770

www.floridapsc.com

Copies furnished:  A copy of this document is provided to the parties of record at the time of issuance and, if applicable, interested persons.

JDI/jhr

NOTICE OF FURTHER PROCEEDINGS OR JUDICIAL REVIEW

The Florida Public Service Commission is required by Section 120.569(1), Florida Statutes, to notify parties of any administrative hearing or judicial review of Commission orders that is available under Sections 120.57 or 120.68, Florida Statutes, as well as the procedures and time limits that apply.  This notice should not be construed to mean all requests for an administrative hearing or judicial review will be granted or result in the relief sought.

Any party adversely affected by the Commission's final action in this matter may request: 1) reconsideration of the decision by filing a motion for reconsideration with the Office of Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, within fifteen (15) days of the issuance of this order in the form prescribed by Rule 25-22.060, Florida Administrative Code; or 2) judicial review by the Florida Supreme Court in the case of an electric, gas or telephone utility or the First District Court of Appeal in the case of a water and/or wastewater utility by filing a notice of appeal with the Office of Commission Clerk, and filing a copy of the notice of appeal and the filing fee with the appropriate court.  This filing must be completed within thirty (30) days after the issuance of this order, pursuant to Rule 9.110, Florida Rules of Appellate Procedure.  The notice of appeal must be in the form specified in Rule 9.900(a), Florida Rules of Appellate Procedure.

FPUC – Docket 20240015-EG

The parties have agreed to Type II stipulations for all issues as follows:

ISSUE 1:	Are the utility’s proposed goals based on an adequate assessment of the full technical potential of all available demand-side and supply-side conservation and efficiency measures, including demand-side renewable energy systems?

Yes. The utility’s proposed goals are based on an assessment of the full technical potential of all available demand-side and supply-side conservation and efficiency measures as required by Section 366.82(3), F.S.

ISSUE 2:	Are the utility’s proposed goals based on savings reasonably achievable through demand-side management programs over a ten year period?

Yes. The utility’s proposed goals are based on savings reasonably achievable through demand-side management programs over the period 2025-2034 as required by Rule 25-17.0021(1)(b), F.A.C.

ISSUE 3:	Do the utility’s proposed goals adequately reflect the costs and benefits to customers participating?

Yes. The utility’s proposed goals reflect the costs and benefits to customers of the proposed programs as required by Section 366.82(3)(a), F.S.

ISSUE 4:	Do the utility’s proposed goals adequately reflect the costs and benefits to the general body of rate payers as a whole, including utility incentives and participant contributions?

Yes. The utility’s proposed goals reflect the costs and benefits of the proposed programs to the general body of ratepayer as a whole as required by Section 366.82(3)(b), F.S.

ISSUE 5: 	Do the utility’s proposed goals adequately reflect the need for incentives to promote both customer-owned and utility-owned energy efficiency and demand-side renewable energy systems?

Yes. The proposed goals reflect the need for incentives as required by Section 366.82(3)(c), F.S.

ISSUE 6: 	Do the utility’s proposed goals adequately reflect the costs imposed by state and federal regulations on the emissions of greenhouse gases?

Yes. There are no current costs imposed by state and federal regulations on the emission of greenhouse gases to consider as required by Section 366.82(3)(d), F.S.

ISSUE 7:	Do the utility’s proposed goals appropriately reflect consideration of free riders?

Yes. The utility’s proposed goals reflect consideration of free riders in their program design as required by Rule 25-17.0021(3), F.A.C.

ISSUE 8:	Should demand credit rates for interruptible service, curtailable service, stand-by generation, or similar potential demand response programs be addressed in this proceeding or in the base rate proceedings for the rate regulated FEECA Utilities? If this proceeding, what demand credit rates are appropriate for purposes of establishing the utilities’ goals?

Demand credits are not included in FPUC’s proposed goals, and therefore this issue is moot.

ISSUE 12:	What residential and commercial/industrial summer and winter megawatt (MW) and annual Gigawatt-hour (GWh) goals should be established for the period 2025-2034?

The Commission should adopt the goals based on the studies by witness Herndon, and the annual summer demand, winter demand, and annual energy savings should reflect the residential and commercial/industrial subtotals reflected on pages 3 and 4 of Exhibit JH-14.

ISSUE 13:	What goals are appropriate for increasing the development of demand-side renewable energy systems?

The utility should continue to implement the provisions of Rule 25-6.065, F.A.C., Interconnection and Net Metering of Customer-Owned Renewable Generation. The rule is an appropriate means to encourage the development of demand-side renewable energy.

Source: Exhibit 57 [Exh. JH-14]

Order No. PSC-2024-0128-PCO-EG.

Order No. PSC-2024-0138-PCO-EG.

See Sections 366.81-366.82, F.S.

Section 366.81, F.S.

Section 366.82(2), F.S.

Rule 25-17.0021(1), F.A.C.

Id.

Section 366.82 (7) F.S., addresses how we must evaluate and approve the utilities’ plans to implement the Commission-established goals during the subsequent plan approval proceeding.

A Type II stipulation is one in which the utility and Commission staff, or the utility and at least one party adversarial to the utility, agree on the resolution of an issue, and the remaining parties (including staff if they do not join in the agreement) do not object to the Commission relying on the agreed language to resolve that issue in a final order.