## Sheet1
Unit | fund_proj_number | funding_project | 2024 | 2025 | 2026 | 2027 | 2028
Big Bend 4 | CRR-05270 | BB4 EH5 Replacement | 0 | 675000 | 0 | 0
Big Bend 4 | CRR-12636 | FGD Blankets/ECRC | 0 | 0 | 0 | 0 | 1000000
Big Bend 4 | CRR-13647 | FGD A&B DRUM VAT REPLACEMENT | 0 | 769963 | 0 | 0 | 0
Big Bend 4 | CRR-14290 | BB4 4A Recirc Pump Repl |  | 500000.04
Big Bend 4 | CRR-14291 | BB4 4B Recirc Pump Repl |  | 0 | 0 | 500000.04
Big Bend 4 | CRR-15636 | BB4 Structural Steel Coating | 0 | 0 | 0 | 852065.04 | 1250000.04
Big Bend 4 | CRR-16811 | BBC Indeterminant 2022 |  | 3178971.87 | 5908728.94 | 6835046.47 | 3062500.0775
Big Bend 4 | CRR-16984 | BB4 EH7 Condenser Heaters | 0 | 0 | 0 | 0 | 0
Big Bend 4 | CRR-17006 | BB4 HRSG Valve Upgrades | 0 |  | 639795.36 | 300000
Big Bend 4 | CRR-17014 | BB4 Mark Vle Control Card Upgrd |  |  | 50000 | 1500000
Big Bend 4 | CRR-17217 | BB4 Intk Scrn 4A Course & Fine Mesh |  |  | 1500000 | 0 | 1500000
Big Bend 4 | CRR-17219 | BB4 D Booster Fan Reactor/VFD Insta | 0 | 0 | 3000000 | 3000000
Big Bend 4 | CRR-17221 | BB4 Stack pennguard liner addition |  | 0 | 0 | 3000000
Big Bend 4 | CRR-17223 | Fly Ash Baghouse Replacement | 0 | 0 | 1000000 | 1500000
Big Bend 4 | CRR-17224 | FGD Structural Steel Integrity | 950000 | 0 | 0 | 0 | 0
Big Bend 4 | CRR-17230 | BB4 CWP Motor Replacement A |  |  |  | 1000000
Big Bend 4 | CRR-17233 | BB4 Intake Scrn 4C FM&4B CoarseMesh |  |  |  | 1500000
Big Bend 4 | CRR-17234 | BB3&4 Organisim Return Pumps A | 0 | 0 | 0 | 750000
Big Bend 4 | CRR-17237 | BB4 #3 Stack Elevator | 0 | 0 | 500000
Big Bend 4 | CRR-17240 | FGD C2 Absorber Pump | 0 | 0 | 497700
Big Bend 4 | CRR-17246 | BB4 Hot Air Supply Duct Expsn Joint | 800000
Big Bend 4 | CRR-17248 | FGD Tower External Piping |  | 0 | 0 | 750000 | 1000000
Big Bend 4 | CRR-17328 | BB4 Swell Control Valve Addition | 0 | 1933489.2
Big Bend 4 | CRR-17336 | BB4 Intake Screen B | 0 | 500000 | 250000
Big Bend 4 | CRR-17351 | BB4 CEMS Particulate Monitor | 95812 | 0
Big Bend 4 | CRR-17355 | Unit 4 MCC Replacement | 85544
Big Bend 4 | CRR-17377 | BB4 Compressed Air Upgrades | 300000 | 800000
Big Bend 4 | CRR-17418 | BB Coal Field PECO VFD Upgrades | 212000 | 0
Big Bend 4 | CRR-17423 | BB4 Precip (NW Corner) Area Stl Rpl |  | 250000 | 500000
Big Bend 4 | CRR-17427 | FGD Limestone Unloading Building |  |  | 150000 | 250000 | 2000000
Big Bend 4 | CRR-17428 | BB4 C&D Booster Fan Cooler Rplmnts |  |  | 25000 | 200000 | 800000
Big Bend 4 | CRR-17429 | BB4 Cold Gas Duct Expnsn Jnt(Qty4) |  |  |  | 50000 | 800000
Big Bend 4 | CRR-17430 | BB4 FD Fan Discharge Expsn JntsQty2 |  |  |  | 50000 | 500000
Big Bend 4 | CRR-17435 | BB4 GE Motor Protection Relays FGD |  |  | 150000 | 350000 | 0
Big Bend 4 | CRR-17538 | BB4 SST4B Cable Fault | 165000
Big Bend 4 | CRR-17551 | BB4 Station Service 4B Cable Instal | 200000 | 0
Big Bend 4 | CRR-17578 | BB4 Indeterminate 2024 | 1700000 | 0
Big Bend 4 | CRR-17580 | FGD Indeterminate 2024 | 1000000 | 0
Big Bend 4 | CRR-17581 | CDR Indeterminate 2024 | 300000 | 0
Big Bend 4 | CRR-17605 | BB4 Boiler Circ. Water 4D | 100000 | 400000
Big Bend 4 | CRR-17613 | BB4 4GSU Oil Processing Skid | 0 | 200000.04
Big Bend 4 | CRR-17615 | BB4 A Mill Hot & Tempering Air Duct | 500000
Big Bend 4 | CRR-17616 | BB4 B Mill Hot & Tempering Air Duct | 500000
Big Bend 4 | CRR-17619 | BB4 E Mill Hot & Tempering Air Duct | 0 | 0 | 0 | 500000.04
Big Bend 4 | CRR-17621 | BB4 Boiler Lighting | 650000
Polk 1 | CRR-05786 | PK1 CT Power Block | -1921.21
Polk 1 | CRR-12451 | PK1 Polk Common - Blankets | 5655.45
Polk 1 | CRR-13096 | PK1 Evap & Economizer Drain Header | -70680.1
Polk 1 | CRR-16935 | PK Unit 1 Power Block 2023 Blanket | 73207.77
Polk 1 | CRR-16936 | PK Unit 1 Power Block 2024 Blanket | 561376.4
Polk 1 | CRR-16937 | PK Unit 1 Power Block 2025 Blanket |  | 500000.16
Polk 1 | CRR-16938 | PK Unit 1 Power Block 2026 Blanket |  |  | 500000.16
Polk 1 | CRR-16948 | PK Gasifier 2024 Blanket | 182709
Polk 1 | CRR-16949 | PK Gasifier 2025 Blanket |  | 500000.16
Polk 1 | CRR-16951 | PK Gasifier 2026 Blanket |  |  | 500000.16
Polk 1 | CRR-17177 | PK CT/ST1 Remote H2 Purge | 1722.58
Polk 1 | CRR-17178 | PK CC1 Aux Clg Wtr Modifications | -1395.9
Polk 1 | CRR-17180 | PK CC1 Gantry Crane Replacement |  | 750000
Polk 1 | CRR-17205 | PK1 Power Block - 2027 Blanket |  |  |  | 2000000.16
Polk 1 | CRR-17207 | PK Gasifier - 2027 Blanket |  |  |  | 999999.84
Polk 1 | CRR-17210 | Pk1 CSA Expense |  | 10713631 | 900930.04 | 926862.96 | 952796.96
Polk 1 | CRR-17238 | PK Common Demin System Upgrades | 627452.3
Polk 1 | CRR-17393 | PK CT1 Inlet Air Filter Replacement |  |  |  |  | 399999.99
Polk 1 | CRR-17416 | PK CT1 Gen Brg Fire Protection |  | 349998
Polk 1 | CRR-17437 | PK CT1 Gen Breaker Replacement |  | 1000000
Polk 1 | CRR-17470 | PK1 Power Block - 2028 Blanket |  |  |  |  | 2000000
Polk 1 | CRR-17473 | PK1 Gasifier - 2028 Blanket |  |  |  |  | 1000000
Polk 1 | NEW-15788 | Polk 1 Flexibility Project | 24612931.58 | 39330058.16