## Peak Demand Report
2020 Tampa Electric Peak Demand Report FINAL 1/19/21
|  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | Annual Peak
GROSS INSTANTANEOUS SYSTEM DATA
INSTANTANEOUS SYSTEM PEAK DEMAND (MW) | (1) | 3680 | 3072 | 3665 | 3681 | 4005 | 4369 | 4261 | 4363 | 4380 | 3997 | 3395 | 3137 | 4380
Date |  | 22 | 18 | 30 | 12 | 22 | 25 | 13 | 25 | 4 | 8 | 15 | 26
Time (24-Hour Clock) |  | 722 | 1646 | 1726 | 1648 | 1655 | 1650 | 1524 | 1620 | 1633 | 1650 | 1444 | 930
Temperature (F) |  | 34 | 82 | 85 | 88 | 91 | 93 | 92 | 93 | 93 | 91 | 85 | 41
Spinning Reserve (MW) |  | 357 | 68 | 109 | 13 | -407 | 89 | 353 | 35 | 100 | 159 | 172 | 416
*
NET INTEGRATED RETAIL PEAK DATA |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | YEAR
MAX
UNIT GENERATION (Net Integrated) |  | 3275.3042 | 3017.1777 | 3320.2889 | 3068.7876 | 3181.2212 | 3698.4037 | 3929.9578 | 3871.5427 | 3950.0057 | 3736.5984 | 2979.0676 | 2595.8237 | 3950.0057
BAYSIDE STATION:
BSCT1SS |  | 5 | 5 | 4.0514 | 5 | 5 | 3.0514 | 5 | 5 | 5 | 5 | 5 | 4
BSCT1A |  | 139.7944 | 159 | 125.3597 | 134.1028 | 131.5139 | 134.2528 | 125.3597 | 136.3833 | 137.7431 | 144.4347 | 134 | 0
BSCT1B |  | 140.7944 | 159.1542 | 125.5139 | 134.1028 | 133.3597 | 136.2014 | 139.3597 | 137.3833 | 138.6917 | 147.3833 | 134.8458 | 0
BSCT1C |  | 140.7944 | 160.1542 | 125.5653 | 134.1028 | 133.5139 | 0 | 127.3597 | 137.5375 | 139.6403 | 146.4861 | 134.9486 | 0
BSCT2SS |  | 1 | 6.9486 | 6 | 6 | 5.0514 | 7 | 6 | 7 | 7 | 6.8972 | 0.94861 | 0
BSCT2A |  | 0 | 161.0236 | 127.6681 | 135.8458 | 137.2056 | 140.3833 | 123.5139 | 138.4861 | 140.5889 | 33.2014 | 0 | 117.8694
BSCT2B |  | 0 | 159.075 | 129.5653 | 134.8972 | 136.3083 | 137.4861 | 123.4625 | 136.5889 | 138.6917 | 142.7944 | 0 | 118.0236
BSCT2C |  | 0 | 160.0236 | 129.5653 | 133 | 0 | 140.2292 | 124.4111 | 136.5889 | 138.6917 | 144.6403 | 0 | 0
BSCT2D |  | 0 | 162.9208 | 129.5139 | 134.8972 | 135.4625 | 141.2805 | 121.2528 | 137.4861 | 136.7944 | 146.4861 | 0 | 0
BSCT3 |  | 0 | 0 | 0 | 0 | 50.0986 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSCT3SS |  | 0 | 0 | 0 | 0 | 0 | 0.051389 | 0 | 0 | 0 | 0.051389 | 0 | 0
BSCT4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.1264 | 0 | 0 | 0 | 0
BSCT4SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSCT5 |  | 0 | 0 | 0 | 0 | 50.0986 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSCT5SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSCT6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54.0514 | 0 | 0 | 0 | 0
BSCT6SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSRESERVES + EXCT |  | 2.0514 | 1 | 0.10278 | 1 | 0.051389 | 0.051389 | 0.10278 | 0.10278 | 0 | 1.8972 | 0.10278 | 1
BSST1 |  | 216.8458 | 243.9486 | 210.3597 | 219.0514 | 215.4625 | 143.8694 | 214.3083 | 221.5375 | 220.7431 | 229.4861 | 220.0514 | 0
BSST1SS |  | 3.9486 | 3 | 3.9486 | 3 | 3.0514 | 3 | 3 | 3 | 3.9486 | 3 | 4 | 0
BSST2 |  | 0 | 317.7153 | 284.5139 | 291.6403 | 220.4111 | 297.3319 | 273.2528 | 297.3319 | 298.5889 | 224.7944 | 0 | 132.5375
BSST2SS |  | 1 | 1 | 2.0514 | 2.0514 | 2.0514 | 1.9486 | 2.0514 | 2 | 1.9486 | 2 | 1 | 0
Bayside Station |  | 625.2292 | 1666.0666 | 1371.4708 | 1434.5889 | 1328.2292 | 1255.9319 | 1356.1264 | 1532.3986 | 1472.2764 | 1340.8611 | 612.7944 | 363.4306
BIG BEND STATION:
BBCT4 |  | 0 | 0 | 0 | 0 | 53.5097 | 0 | 0 | 50.9486 | 0 | 0 | 0 | 0
BBCT4SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.051389 | 0 | 0 | 0 | 0
BSRESERVES + SS301A and SS301B |  | 7.0514 | 2.0514 | 14.8972 | 14.9486 | 18.0514 | 6 | 3.1028 | 9.9486 | 17.1028 | 7.8972 | 3.1028 | 7.9486
BB1 |  | 189.0514 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BB1SS + BB1SSB |  | 11.0514 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BB2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 263.075 | 269 | 119.0514 | 249
BB2SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 6 | 7.0514
BB2BSS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8972 | 7 | 2 | 9
BB3 |  | 277 | 187.9486 | 301.5611 | 0 | 0 | 207.2847 | 186 | 302.1028 | 302 | 301.9486 | 200.9486 | 301.2528
BB3SS |  | 6 | 4.9486 | 5.9486 | 0 | 0 | 6 | 5.9486 | 9 | 9 | 9.0514 | 5.0514 | 9
BB4 |  | 372 | 0 | 0 | 0 | 0 | 255 | 174.9486 | 0 | 0 | 227.3125 | 377.9958 | 0
BB4SS |  | 27.9486 | 0 | 0 | 0 | 0 | 19.9486 | 18 | 0 | 0 | 16.1028 | 22 | 0
Big Bend Station |  | 786 | 180.9486 | 280.7153 | -14.9486 | 35.4583 | 430.3361 | 333.8972 | 334.0514 | 526.075 | 751.2097 | 659.8416 | 517.2528
POLK STATION: (no reserve)
W50SS+W51SS |  | 0.051389 | 0 | 0 | 0 | 0 | 0.94861 | 0 | 0 | 0 | 0 | 0 | 0
PK1ASS+PK1BSS+PK1CSS |  | 10.0514 | 6.0514 | 11 | 10 | 5 | 10 | 11 | 8 | 8 | 4 | 10 | 6.9486
PK2SS+PK3SS+PK4SS+PK5SS |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
PKCT1 |  | 189 | 0 | 147.9958 | 151.7667 | 0 | 149 | 148.9486 | 0 | 151 | 0 | 154.9486 | 0
PKCT2 |  | 165.0514 | 139 | 140.0514 | 137 | 0 | 140 | 139 | 141.8458 | 0 | 0 | 147 | 139.6403
PKCT3 |  | 165.0514 | 142 | 144.0514 | 141.1028 | 147 | 144 | 143 | 145.8972 | 144 | 145 | 147.9486 | 140.5375
PKCT4 |  | 173.9486 | 145.1542 | 153.0514 | 151 | 152 | 149.5889 | 149.0514 | 152.8972 | 151 | 153.9486 | 156.0514 | 138.5889
PKCT5 |  | 168 | 143.8972 | 152 | 148.1028 | 149.1028 | 147.7431 | 148 | 150.8972 | 149 | 151 | 0 | 137.6917
PKST1 |  | 52 | 0 | 50.6403 | 53.6917 | 0 | 53 | 50.9486 | 0 | 49.9486 | 0 | 49 | 0
PKST2 |  | 356 | 356.8222 | 479.8458 | 442.0194 | 352.3556 | 346.6917 | 408.2528 | 475.9486 | 317 | 281.7153 | 275.3833 | 327.7944
PKSS2A |  | 2 | 2 | 4 | 4 | 3.9486 | 3 | 4.0514 | 3.9486 | 3.9486 | 3.9486 | 5 | 5.0514
PKSS2B |  | 5.9486 | 6 | 5.0514 | 5 | 5 | 4.0514 | 4.0514 | 5.9486 | 5 | 5 | 3.0514 | 2.9486
Polk Station |  | 1246 | 907.7708 | 1240.6361 | 1199.6833 | 780.5097 | 1106.1264 | 1162.0986 | 1043.5889 | 939.9486 | 714.6639 | 909.3319 | 864.3555
TEC Owned Solar Total |  | 16.1264 | 213.3917 | 376.5694 | 402.2847 | 421.6403 | 305.625 | 495.9722 | 385.1861 | 430.6958 | 354.7 | 217.0556 | 218.8653
TPA Solar |  | 0 | 0.051389 | 1 | 1 | 1.9486 | 1 | 1 | 1 | 1.0514 | 0.10278 | 1 | 0.051389
Legoland Solar |  | 0 | 0 | 0.94861 | 0.94861 | 1 | 0.051389 | 0.051389 | 0.051389 | 0.051389 | 0.051389 | 0.05139 | 0.94861
Big Bend Solar |  | 0 | 10.1028 | 13.1542 | 14.0514 | 14.1028 | 19.9486 | 16.8972 | 16 | 16.9486 | 13.1542 | 9.1542 | 9.9486
Payne Creek Solar |  | 2.8458 | 40.1028 | 47.4625 | 54.1542 | 48.3597 | 24.6958 | 61.6917 | 40.7194 | 54.0514 | 41.8736 | 8.7944 | 39.5889
Balm Solar |  | 1.8972 | 27.2333 | 49.2569 | 51.0514 | 57.1778 | 54.4861 | 56.8972 | 51.3083 | 53.1542 | 47.5139 | 33.1028 | 34.4347
Lithia Solar |  | 3.7944 | 35.5653 | 42.8222 | 42.2569 | 61.7944 | 14.3361 | 62.8458 | 43.0278 | 51.1028 | 32.6167 | 42.3319 | 41.4347
Grange Solar |  | 1.8972 | 19.7708 | 30.5653 | 36.0514 | 45.8972 | 20.0514 | 48.6917 | 47.3083 | 43.4111 | 45.9486 | 20.3083 | 33.5375
Bonnie Solar |  | 0.94861 | 18.0514 | 21.1028 | 24 | 29 | 6.7194 | 26.1028 | 19.2056 | 22.2569 | 21.1028 | 11.257 | 13.8972
Peace Creek Solar |  | 1.8972 | 29.0514 | 34.2056 | 35.4625 | 46 | 34.6167 | 48 | 24.8972 | 43.2056 | 37.3597 | 10.9764 | 21.5889
Hancock Solar |  | 2.8458 | 0 | 37.1542 | 28.2569 | 37.7431 | 15.4111 | 40.1028 | 19.3597 | 37.1542 | 33.0514 | 9.5139 | 18.6403
LMR Solar |  | 0 | 33.4625 | 63.1542 | 62.2056 | 21.6681 | 65.3083 | 62 | 62.1542 | 54.1028 | 37.5139 | 42.1542 | 48.1264
Wimauma Solar |  | 0 | 0 | 35.7431 | 52.8458 | 56.9486 | 49 | 71.6917 | 60.1542 | 54.2056 | 44.4111 | 28.4111 | -43.3319
Durrance Solar [as of 11/2020] |  | * NOV: 0; * DEC: 0
% of Net Integrated Unit Generation that is Utility Solar at time of Retail Peak |  | 0.4924% | 7.073% | 11.34% | 13.11% | 13.25% | 8.264% | 12.62% | 9.949% | 10.9% | 9.493% | 7.286% | 10.67%
TEC OWNED |  | 2673.3556 | 2968.1777 | 3269.3916 | 3021.6084 | 2565.8375 | 3098.0195 | 3348.0944 | 3295.225 | 3368.9959 | 3161.4347 | 2399.0236 | 2050.568
Calpine |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Osprey Energy Center |  | 576 | 0 | 0 | 0 | 574.0514 | 570.8972 | 568.1028 | 540.0514 | 530 | 533 | 531 | 500.8736
Pasco Cogen |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hillsborough County Cogen |  | 6.9486 | 30 | 31.9486 | 30.4194 | 28.5546 | 15.7264 | 0 | 23.4886 | 34.3005 | 24.522 | 32.3347 | 30.4699
McKay Bay |  | 19 | 19 | 18.9486 | 16.7598 | 12.7777 | 13.7606 | 13.7606 | 12.7777 | 16.7093 | 17.6417 | 16.7093 | 13.9121
OTHER | (2) | 601.9486 | 49 | 50.8972 | 47.1792 | 615.3837 | 600.3842 | 581.8634 | 576.3177 | 581.0098 | 575.1637 | 580.044 | 545.2556
COGENERATION
Firm Contract |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
As-Available |  | 2 | 38 | 11 | 26 | 3 | 18 | 0 | 0 | 5 | 0 | 25 | 14
Total Purchased (Firm Contract + As-Avail.) |  | 2 | 38 | 11 | 26 | 3 | 18 | 0 | 0 | 5 | 0 | 25 | 14
Wheeling Received |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INTERCHANGE
Net Inadvertent | (3) | 3 | -10 | -5 | -3 | 11 | -38 | 10 | 40 | -3 | -58 | -7 | 9
Net Scheduled |  | -285 | 49 | -246 | -505 | -740 | -505 | -227 | -413 | -302 | -84 | -266 | -429
Tie Line (Net Actual = Net Sched.+ Net Inadv.) |  | -282 | 39 | -251 | -508 | -729 | -543 | -217 | -373 | -305 | -142 | -273 | -420
Non-Scheduled Interchange Sales | (4) | 9.075 | 3.325 | 7.975 | 5.725 | 9.35 | 5.2 | 3.275 | 4.45 | 5.175 | 4.9 | 2.5 | 3.725
Losses on Off System Sales (Sched. & Non-Sched.) |  | 12.2108 | 0.07723 | 0.18524 | 0.13297 | 1.1627 | 0.09 | 1.057 | 1.08 | 0.090029 | 2.09 | 1.0435 | 2.06
RETAIL LOAD SERVED | (5) | 3538.0184 | 3012.7755 | 3574.1286 | 3590.9296 | 3902.7086 | 4254.1137 | 4142.6259 | 4239.0127 | 4254.7406 | 3871.6084 | 3273.5241 | 3024.0387
CURTAILABLE LOAD on Retail Peak Day
Curtailed MWs - Standby Generator & C/I |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Load Management Control |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Demand Response |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Interruptible |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Curtailed MWs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3531
Potential MWs - Standby Generator & C/I |  | 54.6546 | 54.6546 | 54.6546 | 55.1867 | 55.1867 | 55.2 | 55.1867 | 55.1867 | 55.1867 | 55.2 | 54.8717 | 54.8717 |  | 2908
Potential MWs - Load Management |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3533
Potential MWs - Demand Response |  | 42.8 | 42.8 | 42.8 | 0 | 42.8 | 42.8 | 42.8 | 42.8 | 42.8 | 42.8 | 0 | 0
Potential MWs - Interruptible |  | 150.3961 | 143.2547 | 140.2637 | 130.3009 | 95 | 103 | 94 | 138 | 113 | 151 | 139 | 137.6377
Total Potential MWs |  | 247.8507 | 240.7092 | 237.7183 | 185.4877 | 192.9867 | 201 | 191.9867 | 235.9867 | 210.9867 | 249 | 193.8717 | 192.5094
MAX
RETAIL PEAK DEMAND | (6) | 3538.0184 | 3012.7755 | 3574.1286 | 3590.9296 | 3902.7086 | 4254.1137 | 4142.6259 | 4239.0127 | 4254.7406 | 3871.6084 | 3273.5241 | 3024.0387 | 4254.7406
Date |  | 22 | 18 | 30 | 12 | 22 | 25 | 13 | 25 | 4 | 8 | 15 | 26
Time (24-Hour Clock) |  | 800 | 1700 | 1800 | 1700 | 1700 | 1700 | 1600 | 1700 | 1700 | 1700 | 1600 | 1000
Temp @ Retail Peak |  | 37 | 81 | 81 | 87 | 89 | 93 | 89 | 95 | 94 | 92 | 84 | 44
24-Hour Average Temp. (F) |  | 48 | 75 | 78 | 82 | 81 | 86 | 87 | 87 | 87 | 85 | 79 | 44
Forecast |  | 4384 | 3610 | 3456 | 3547 | 3790 | 4071 | 4089 | 4148 | 3867 | 3627 | 3085 | 3954
Variance |  | -19.3% | -16.54% | 3.418% | 1.239% | 2.974% | 4.498% | 1.311% | 2.194% | 10.03% | 6.744% | 6.111% | -23.52%
NET INTEGRATED RETAIL FIRM PEAK DATA |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | ANNUAL
CURTAILABLE LOAD on Firm Peak Day
Curtailed MWs - Standby Generator & C/I |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Load Management Control |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Demand Response |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Interruptible |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Curtailed MWs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potential MWs - Demand Response |  | 42.8 | 42.8 | 42.8 | 0 | 42.8 | 42.8 | 42.8 | 42.8 | 42.8 | 42.8 | 0 | 0
Potential MWs - Interruptible |  | 150.3961 | 143.2547 | 140.2637 | 130.3009 | 95 | 103 | 94 | 138 | 113 | 81 | 139 | 137.6377
Potential MWs - Standby Generator & C/I |  | 54.6546 | 54.6546 | 54.6546 | 55.1867 | 55.1867 | 55.2 | 55.1867 | 55.1867 | 55.1867 | 55.2 | 54.8717 | 54.8717
Potential MWs - Load Mgmt. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Potential MWs |  | 247.8507 | 240.7092 | 237.7183 | 185.4877 | 192.9867 | 201 | 191.9867 | 235.9867 | 210.9867 | 179 | 193.8717 | 192.5094
|  | JAN: 97.4546; FEB: 97.4546; MAR: 97.4546; APR: 55.1867; MAY: 97.9867 | MAX
RETAIL FIRM PEAK DEMAND (MW) | (7) | 3290.1677 | 2772.0663 | 3336.4104 | 3412 | 3709.7218 | 4053.1137 | 3950.6391 | 4003.0259 | 4043.7539 | 3635 | 3079.6524 | 2831.5293 | 4053.1137
Date |  | 22 | 18 | 30 | 12 | 22 | 25 | 13 | 25 | 4 | 6 | 15 | 26
Time (24-Hour Clock) |  | 800 | 1700 | 1800 | 1800 | 1700 | 1700 | 1600 | 1700 | 1700 | 1700 | 1600 | 1000
Forecast |  | 4225.2336 | 3427.2336 | 3280.2336 | 3356.7474 | 3610.7474 | 3889.7474 | 3893.7474 | 3959.7474 | 3680.7474 | 3442.7474 | 2897.2336 | 3771.2336
Variance |  | -22.13% | -19.12% | 1.713% | 1.646% | 2.741% | 4.2% | 1.461% | 1.093% | 9.862% | 5.584% | 6.296% | -24.92%
[5 empty] | * | [5 empty] | *
OTHER MONTHLY DATA |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
SUM
RETAIL NET ENERGY FOR LOAD (GWH) |  | 1494.2372 | 1423.0176 | 1635.7682 | 1588.403 | 1786.106 | 2013.1091 | 2128.1744 | 2097.4028 | 1942.1049 | 1879.9652 | 1539.2905 | 1528.755 | 21056.3339
Forecast (GWH) |  | 1528.2112 | 1327.6629 | 1447.9613 | 1569.808 | 1807.5334 | 1969.7856 | 2046.0365 | 2105.5089 | 1924.8726 | 1780.4596 | 1448.8783 | 1540.6147
Variance |  | -2.223% | 7.182% | 12.97% | 1.185% | -1.185% | 2.199% | 4.014% | -0.385% | 0.8952% | 5.589% | 6.24% | -0.7698%
RETAIL LOAD FACTOR |  | 56.77% | 67.86% | 61.51% | 61.44% | 61.51% | 65.72% | 69.05% | 66.5% | 63.4% | 65.27% | 65.31% | 67.95%
Forecast |  | 46.85% | 52.84% | 56.31% | 61.47% | 64.1% | 67.2% | 67.25% | 68.23% | 69.13% | 65.98% | 65.23% | 52.37%
(1) Instantaneous Peak includes Non-Scheduled Interchange (PRECO) |  | * MAY: *Peaks not coincident with retail peak.; * OCT: NOTE: All values in MWs, unless noted otherwise
(2) Other Net Generation includes: IPPs: Calpine and Osprey, Pasco Co., McKay Bay and HC Cogen |  | * JUN: <= Indicates an estimated value; * OCT: Prepared by Load Research & Forecasting:
(3) Includes Wheeling Inadvertent |  | * MAY: **Jan - Mar 2020 retail and firm peaks MWs revised upward by 4 to 6 MWs each month.
(4) Non-Scheduled Interchange = PRECO |  | * MAY: This revision was due to overstating Polk station service. Did not change peak day or hour.
(5) Retail Load Served = Net Generation plus Cogen less Interchange
(6) Retail Peak Demand = Load Served plus MWs Curtailed; Retail Peak Demand does NOT include Non-Scheduled Interchange NOR any PR Sales (currently no PR) as does the Instantaneous Peak
(7) Retail Firm Peak Demand = Ret. Sys. Pk. Dem. less Potential Curtailable MWs
(8) System Peak Demand = Retail Peak Dem. + PR Wholesale Sales Dem. (Usually, but NOT always coincident with the Retail Peak Demand) This data is NOT provided on this report.
NOTE: System Peaks are used in FERC Form 1 and 3Q filings. Contact Load Research & Forecasting.