## Peak Demand Report
2021 Tampa Electric Peak Demand Report
GROSS INSTANTANEOUS SYSTEM DATA |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | Annual Peak
INSTANTANEOUS SYSTEM PEAK DEMAND (MW) | (1) | 3054 | 3547 | 3590 | 3761 | 4206 | 4180 | 4325 | 4514 | 4134 | 4074 | 3029 | 3041 | 4514
Date |  | 19 | 4 | 31 | 29 | 4 | 11 | 23 | 18 | 13 | 7 | 3 | 31
Time (24-Hour Clock) |  | 807 | 751 | 1656 | 1629 | 1653 | 1645 | 1653 | 1717 | 1603 | 1619 | 1716 | 1541
Temperature (F) |  | 46 | 42 | 84 | 86 | 89 | 90 | 91 | 94 | 92 | 91 | 82 | 79
Spinning Reserve (MW) |  | 445 | 129 | 211 | 413 | 288 | 265 | 66 | 154 | 238 | 193 | 118 | 348
|  |  |  | * |  |  |  | * |  |  |  | * | *
NET INTEGRATED RETAIL PEAK DATA |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | YEAR
MAX
UNIT GENERATION (Net Integrated) |  | 3198.8445 | 3051.5482 | 3513.3844 | 3745 | 4190.0835 | 4013.4583 | 3758.8423 | 3666.7697 | 3675.2277 | 4006.3517 | 3018.3922 | 3002.7447 | 4190.0835
BAYSIDE STATION:
BSCT1SS |  | 1 | 5 | 4 | 5 | 5 | 5 | 5 | 5.0514 | 5 | 5 | 0 | 4.9486
BSCT1A |  | 0 | 163 | 0 | 129 | 138.1542 | 137.0514 | 133.1542 | 140.8972 | 140.4861 | 138.7431 | 0 | 125.2292
BSCT1B |  | 0 | 164 | 143 | 129 | 138.1542 | 137.1028 | 133.2056 | 140.9486 | 141.4861 | 139.7944 | 0 | 125.2806
BSCT1C |  | 0 | 164 | 142.9486 | 129 | 139.1542 | 137.1028 | 134.1028 | 142.7431 | 142.5375 | 139.7944 | 0 | 125.2806
BSCT2SS |  | 6.0514 | 6.0514 | 6 | 5 | 5 | 6.9486 | 6.0514 | 7 | 6.9486 | 6.0514 | 7 | 5.0514
BSCT2A |  | 114.1348 | 164.9486 | 146.8458 | 130 | 141 | 138.1542 | 135.1028 | 145.1028 | 144.3319 | 139.6403 | 154.6403 | 129.9486
BSCT2B |  | 114.1348 | 164.9486 | 146.7431 | 122 | 0 | 137.2056 | 134.1542 | 140.9486 | 141.5375 | 139.7431 | 149.8458 | 129
BSCT2C |  | 113.1862 | 163.8972 | 145.8458 | 0 | 137.2056 | 137.2056 | 134.1542 | 141.8458 | 142.4347 | 139.6917 | 152.7431 | 128.9486
BSCT2D |  | 111.2376 | 163.9486 | 143.0514 | 131 | 139.8972 | 137.2056 | 133.1028 | 144.7944 | 141.4861 | 139.5375 | 156.4347 | 128.9486
BSCT3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54.9486 | 0 | 0 | 0 | 0
BSCT3SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSCT4 |  | 52.3597 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSCT4SS |  | 0.05139 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSCT5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.2014 | 0 | 0 | 0 | 0
BSCT5SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94861 | 0 | 0 | 0 | 0
BSCT6 |  | 52.4111 | 0 | 0 | 0 | 0 | 0 | 0 | 25.6125 | 0 | 0 | 0 | 0
BSCT6SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSRESERVES + EXCT |  | 1 | 1.8972 | 0.051389 | 0 | 0 | 0.94861 | 0.051389 | 0.10278 | 1 | 0.051389 | 1 | 0
BSST1 |  | 0 | 223.0514 | 150 | 210 | 215.2056 | 221.1542 | 216.1542 | 226.7944 | 222.5889 | 221.7944 | 0 | 212.5889
BSST1SS |  | 0 | 3 | 3 | 3 | 3.0514 | 3 | 3.9486 | 3.9486 | 3.9486 | 3 | 0 | 3
BSST2 |  | 265.5181 | 300.9486 | 300.9486 | 212 | 220.1542 | 294.1542 | 290.2056 | 304.8972 | 299.2805 | 296.1264 | 310.4861 | 279
BSST2SS |  | 2 | 2 | 2 | 1 | 2.0514 | 1 | 2.0514 | 1.0514 | 2 | 1 | 1 | 1
Bayside Station |  | 812.8796 | 1654.7944 | 1304.332 | 1178 | 1253.8222 | 1459.4389 | 1426.2333 | 1624.632 | 1497.2722 | 1479.7625 | 915.15 | 1370.225
BIG BEND STATION:
BBCT4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BBCT4SS |  | 0 | 0.051389 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSRESERVES + SS301A and SS301B |  | 5 | 7 | 10 | 6 | 5.8972 | 7.9486 | 8.0514 | 12 | 11.1028 | 4 | 11.8972 | 8.1028
BB1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BB1SS + BB1SSB |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BB2 |  | 0 | 257.6639 | 149.9486 | 149 | 149 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BB2SS |  | 0 | 8 | 6.9486 | 7 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BB2BSS |  | 0 | 4.9486 | 2.0514 | 3 | 2.9486 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BB3 |  | 242.9486 | 253 | 253 | 188 | 188 | 187 | 304 | 0 | 0 | 201.0514 | 0 | 0
BB3SS |  | 8.0514 | 9 | 5 | 10 | 10 | 10 | 9 | 0 | 0 | 6 | 0 | 0
BB4 |  | 378.1028 | 380 | 0 | 380 | 300 | 361.5014 | 0 | 180 | 380 | 370 | 0 | 250
BB4SS |  | 22 | 20.0514 | 0 | 21 | 19.0514 | 21.8458 | 0 | 16.9486 | 22.0514 | 22 | 0 | 17.0514
BBCT5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 328 | 0
BBCT5SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0.051389 | 0.051389 | 0 | 0.94861 | 2.0514 | 0.94861
BBCT6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 329 | 0
BBCT6SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 2.9486 | 0.94861 | 0 | 0.94861 | 2.0514 | 0.051389
Big Bend Station |  | 586 | 841.6125 | 378.9486 | 670 | 592.1028 | 508.707 | 283.9486 | 150.0514 | 346.8458 | 537.1542 | 641 | 223.8458
POLK STATION: (no reserve)
W50SS+W51SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PK1ASS+PK1BSS+PK1CSS |  | 9 | 3 | 10.9486 | 10 | 11.0514 | 8 | 8.0514 | 7.8972 | 7.8972 | 9.9486 | 3.9486 | 8
PK2SS+PK3SS+PK4SS+PK5SS |  | 14.1028 | 5.0514 | 11.0514 | 11 | 14.0514 | 15.9486 | 15.9486 | 15.8972 | 12.0514 | 13 | 12.1028 | 15.0514
PKCT1 |  | 99.5375 | 0 | 107.0236 | 149 | 144.0514 | 0 | 0 | 0 | 0 | 88.9486 | 0 | 0
PKCT2 |  | 172.9486 | 0 | 149.8458 | 145 | 141 | 145 | 143.0514 | 141.8972 | 149.3833 | 143.8972 | 43.6361 | 150.9486
PKCT3 |  | 0 | 159.0236 | 145.9486 | 142 | 138.1028 | 140.9486 | 141 | 142.9486 | 145.5889 | 142 | 0 | 152
PKCT4 |  | 179.0514 | 155.3986 | 0 | 145 | 151.0514 | 152 | 151.0514 | 152.7431 | 152.1778 | 150.4347 | 158.6403 | 157.0514
PKCT5 |  | 179.0514 | 160.8181 | 157.8458 | 0 | 151.1028 | 152.9486 | 151.9486 | 152.7944 | 152.2292 | 150.4861 | 157.7431 | 157.0514
PKST1 |  | 37.5889 | 0 | 46.8458 | 56 | 54.9486 | 0 | 0 | 0 | 0 | 41.0514 | 0 | 0
PKST2 |  | 371.1028 | 0 | 344.2528 | 256 | 461.375 | 475.8972 | 470.7944 | 448.6833 | 383.3278 | 372.2528 | 166.7944 | 472
PKSS2A |  | 3 | 1.9486 | 2 | 4 | 4.0514 | 5.9486 | 5 | 4 | 5 | 2.0514 | 2.0514 | 5.0514
PKSS2B |  | 5 | 1.1028 | 6.0514 | 4 | 4 | 3 | 3.0514 | 5 | 2.0514 | 5.9486 | 5.0514 | 3
Polk Station |  | 1016.1778 | 467.1889 | 929.7625 | 872 | 1216.5292 | 1042.8458 | 1033.8458 | 1015.2722 | 962.7583 | 1066.1222 | 510.7625 | 1066
TEC Owned Solar Total |  | 31.4583 | 2.8458 | 43.6681 | 50 | 56.1028 | 65.8972 | 54.8972 | 14.0792 | 22.1028 | 9.2056 | 20.0514 | 15.2056
Balm Solar |  | 28.6125 | 3.7944 | 39.0514 | 47 | 48.9486 | 62.7944 | 58.2569 | 40.8736 | 44.2569 | 29.8222 | 42.5139 | 28.3083
Big Bend Solar |  | 6.6917 | 11.3833 | 10.3083 | 20 | 19.8458 | 17.7431 | 15.2056 | 7.2056 | 9.8458 | 17.1028 | 12.1028 | 10.1028
Big Bend Solar 2 |  | * DEC: 0
Bonnie Mine Solar |  | 12.3833 | 1.8458 | 19.2056 | 15 | 26.1542 | 20 | 12.6167 | 4.6167 | 9.8736 | 23.0514 | 24.0514 | 17.2569
Durrance Solar [In-Service January 2021] |  | 13.3319 | 1.8972 | 12.5653 | 47 | 50.6917 | 24.5653 | 35.7431 | 21.0278 | 20.925 | 24.7708 | 33.2569 | 23.1028
ESA Solar |  | * DEC: 0.27676
Floating Solar |  | * DEC: 0
Grange Solar |  | 20.0236 | 2.8458 | 29.4347 | 48 | 41.3597 | 37.5889 | 48.0514 | 27.7194 | 26.5139 | 42.1542 | 37.2056 | 29.3597
Hancock Solar |  | 19.9722 | 0.94861 | 23.3083 | 29 | 35.9486 | 10.5139 | 11.9764 | 13.4625 | 23.3083 | 19.5653 | 34.1028 | 28
Jamison Solar |  | * DEC: 0
Legoland Solar |  | 0 | 0 | 0.051389 | 0 | 0.051389 | 0.94861 | 0.94861 | 0.051389 | 1 | 0.051389 | 0.94861 | 0.051389
Lithia Solar |  | 28.6125 | 4.7431 | 34.4861 | 37 | 59.8458 | 60.7431 | 61.1028 | 47.7194 | 26.5139 | 39.7194 | 51.2056 | 42.3597
Little Manatee River Solar |  | 28.6125 | 3.7944 | 43.8222 | 50 | 56.1542 | 56.1028 | 42.3083 | 47.1028 | 32.6917 | 51.5611 | 38.5653 | 16.2056
Magnolia Solar |  | * DEC: 24.4625
Microgrid Solar |  | * DEC: 0
Mountain View Solar |  | * DEC: 0
Payne Creek Solar |  | 29.5611 | 3.7944 | 10.5417 | 57 | 50.7431 | 15.1306 | 51.4625 | 18.6958 | 6.0556 | 39.8972 | 52.1028 | 37.7944
Peace Creek Solar |  | 20.0236 | 1.8972 | 20.6681 | 45 | 46.5375 | 16.1819 | 8.3875 | 25.2056 | 28.2056 | 26.0278 | 37.2056 | 26.0514
Tampa Internal Airport Solar |  | 0.94861 | 0 | 1 | 1 | 1 | 1 | 0.10278 | 1 | 1 | 1 | 1 | 1
Wimauma Solar |  | 30.5097 | 2.8458 | 42.6681 | 49 | 55.1028 | 64.8972 | 54.7944 | 13.0792 | 21.1028 | 8.2056 | 19.0514 | 14.2056
% of Net Integrated Unit Generation that is Utility Solar at time of Retail Peak |  | 0.9834% | 0.09326% | 1.243% | 1.335% | 1.339% | 1.642% | 1.46% | 0.384% | 0.6014% | 0.2298% | 0.6643% | 0.5139%
TEC OWNED |  | 2654.3404 | 3003.3861 | 2900.1542 | 3165 | 3554.8375 | 3399.2014 | 3144.9847 | 3057.7153 | 3058.1695 | 3405.9681 | 2450.225 | 2958.6087
Calpine |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Osprey Energy Center |  | 516 | 0 | 577.8458 | 533 | 586 | 570.0514 | 566 | 566 | 568.9486 | 568.8972 | 523 | 0
Pasco Cogen |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hillsborough County Cogen |  | 11.7948 | 30.4194 | 18.6751 | 32 | 32.4357 | 30.1542 | 31.2344 | 29.3232 | 32.3664 | 17.7552 | 31.4864 | 31.436
McKay Bay |  | 16.7093 | 17.7427 | 16.7093 | 15 | 16.8103 | 14.0514 | 16.6232 | 13.7312 | 15.7432 | 13.7312 | 13.6808 | 12.7
OTHER | (2) | 544.5041 | 48.1621 | 613.2302 | 580 | 635.246 | 614.2569 | 613.8576 | 609.0544 | 617.0582 | 600.3836 | 568.1672 | 44.136
COGENERATION
Firm Contract |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
As-Available |  | 3 | 13 | 0 | 8 | 16 | 26 | 0 | 0 | 0 | 0 | 10 | 0
Total Purchased (Firm Contract + As-Avail.) |  | 3 | 13 | 0 | 8 | 16 | 26 | 0 | 0 | 0 | 0 | 10 | 0
Wheeling Received |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INTERCHANGE
Net Inadvertent | (3) | 20 | 2 | -5 | -15 | -2 | 16 | 10 | -10 | -9 | -9 | -19 | 17
Net Scheduled |  | 268.0001 | -362 | 39 | 121 | 127 | -45 | -467 | -722 | -290 | 40 | 106 | 43
Tie Line (Net Actual = Net Sched.+ Net Inadv.) |  | 288.0001 | -360 | 34 | 106 | 125 | -29 | -457 | -732 | -299 | 31 | 87 | 60
Non-Scheduled Interchange Sales | (4) | 3.9 | 9.2 | 2.8 | 1.375 | 0.975 | 7.3 | 4.175 | 4.25 | 5.325 | 7.85 | 7.925 | 2
Losses on Off System Sales (Sched. & Non-Sched.) |  | 5.0906 | 0.15918 | 10.0487 | 10.0239 | 11.0191 | 4.1429 | 1.0817 | 1.0832 | 1.1042 | 6.126 | 9.1551 | 0.039152
MAX
RETAIL LOAD SERVED | (5) | 2904.8538 | 3415.189 | 3466.5357 | 3635.6011 | 4069.0894 | 4057.0154 | 4210.5856 | 4393.4365 | 3967.7984 | 3961.3757 | 2924.3121 | 2940.7055 | 4393.4365
CURTAILABLE LOAD on Retail Peak Day
Curtailed MWs - Standby Generator & C/I |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Load Management Control |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Demand Response |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Interruptible |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Curtailed MWs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potential MWs - Standby Generator & C/I |  | 54.8717 | 54.9 | 54.8717 | 55.1867 | 55.1867 | 55.1867 | 55.1867 | 55.2 | 55.1867 | 55.1867 | 54.8717 | 54.8717
Potential MWs - Load Management |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potential MWs - Demand Response |  | 42.8 | 42.8 | 42.8 | 42.8 | 42.8 | 42.8 | 42.8 | 42.8 | 42.8 | 42.8 | 42.8 | 0
Potential MWs - Interruptible |  | 97.8951 | 154.0186 | 131.7934 | 152.5843 | 138.3213 | 158.4786 | 206.3972 | 186.5051 | 161.9563 | 138.5667 | 139.7271 | 181.8445
Total Potential MWs |  | 195.5668 | 251.7186 | 229.4652 | 250.5711 | 236.308 | 256.4653 | 304.3839 | 284.5051 | 259.943 | 236.5534 | 237.3989 | 236.7162
MAX
RETAIL PEAK DEMAND | (6) | 2904.8538 | 3415.189 | 3466.5357 | 3635.6011 | 4069.0894 | 4057.0154 | 4210.5856 | 4393.4365 | 3967.7984 | 3961.3757 | 2924.3121 | 2940.7055 | 4393.4365
Date |  | 19 | 4 | 31 | 29 | 4 | 11 | 23 | 18 | 13 | 7 | 3 | 19
Time (24-Hour Clock) |  | 900 | 800 | 1800 | 1700 | 1700 | 1700 | 1800 | 1800 | 1600 | 1700 | 1700 | 1600
Temp @ Retail Peak |  | 50 | 45 | 81 | 85 | 88 | 89 | 91 | 84 | 94 | 90 | 82 | 81
24-Hour Average Temp. (F) |  | 56 | 53 | 78 | 79 | 83.25 | 86 | 87 | 86 | 83 | 84 | 75 | 76
Forecast |  | 4400 | 3598 | 3453 | 3510 | 3794 | 4080 | 4087 | 4170 | 3859 | 3626 | 3069 | 3742
Variance |  | -33.98% | -5.081% | 0.392% | 3.578% | 7.251% | -0.5633% | 3.024% | 5.358% | 2.819% | 9.249% | -4.714% | -21.41%
NET INTEGRATED RETAIL FIRM PEAK DATA |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | YEAR
CURTAILABLE LOAD on Firm Peak Day
Curtailed MWs - Standby Generator & C/I |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Load Management Control |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Demand Response |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Interruptible |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Curtailed MWs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potential MWs - Demand Response |  | 42.8 | 42.8 | 42.8 | 42.8 | 42.8 | 42.8 | 42.8 | 42.8 | 42.8 | 42.8 | 42.8 | 42.8
Potential MWs - Interruptible |  | 97.8951 | 154.0186 | 115.3134 | 124.5775 | 138.3213 | 158.4786 | 206.3972 | 186.5051 | 161.9563 | 138.5667 | 139.7271 | 126.446
Potential MWs - Standby Generator & C/I |  | 54.8717 | 54.9 | 54.8717 | 55.1867 | 55.1867 | 55.1867 | 55.1867 | 55.2 | 55.1867 | 55.1867 | 54.8717 | 54.8717
Potential MWs - Load Mgmt. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Potential MWs |  | 195.5668 | 251.7186 | 212.9852 | 222.5642 | 236.308 | 256.4653 | 304.3839 | 284.5051 | 259.943 | 236.5534 | 237.3989 | 224.1178
MAX
RETAIL FIRM PEAK DEMAND (MW) | (7) | 2709.4332 | 3163.2814 | 3247.0148 | 3390.4358 | 3832.692 | 3800.5347 | 3906.6161 | 4108.4949 | 3708.057 | 3724.4466 | 2686.6011 | 2707.8822 | 4108.4949
Date |  | 19 | 4 | 31 | 29 | 4 | 11 | 23 | 18 | 13 | 7 | 3 | 31
Time (24-Hour Clock) |  | 900 | 800 | 1700 | 1800 | 1700 | 1700 | 1800 | 1800 | 1600 | 1700 | 1700 | 1600
Forecast |  | 4187.6694 | 3392.6694 | 3240.6694 | 3295.8126 | 3576.8126 | 3865.8126 | 3869.8126 | 3952.8126 | 3644.8126 | 3408.8126 | 2859.6694 | 3529.6694
Variance |  | -35.3% | -6.761% | 0.1958% | 2.871% | 7.154% | -1.689% | 0.951% | 3.939% | 1.735% | 9.259% | -6.052% | -23.28%
|  |  |  | * | * | [7 empty] | *
OTHER MONTHLY DATA |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | YEAR
SUM
RETAIL NET ENERGY FOR LOAD (GWH) |  | 1475.9258 | 1389.3913 | 1570.7891 | 1593.8165 | 1928.8648 | 1993.1449 | 2123.1365 | 2168.9316 | 1963.7638 | 1879.1684 | 1391.3016 | 1554.8914 | 21033.1258
Forecast (GWH) |  | 1498.4489 | 1337.7523 | 1454.1864 | 1571.5958 | 1828.0026 | 1966.462 | 2046.5229 | 2078.1339 | 1954.6761 | 1788.7093 | 1452.1428 | 1548.0089
Variance |  | -1.503% | 3.86% | 8.018% | 1.414% | 5.518% | 1.357% | 3.744% | 4.369% | 0.4649% | 5.057% | -4.19% | 0.4446%
RETAIL LOAD FACTOR |  | 68.29% | 60.54% | 60.9% | 60.89% | 63.71% | 68.23% | 67.77% | 66.35% | 68.74% | 63.76% | 66.08% | 71.07%
Forecast |  | 45.77% | 55.33% | 56.6% | 62.19% | 64.76% | 66.94% | 67.3% | 66.98% | 70.35% | 66.3% | 65.72% | 55.6%
(1) Instantaneous Peak includes Non-Scheduled Interchange (PRECO) | [13 empty] | NOTE: All values in MWs, unless noted otherwise
(2) Other Net Generation includes: IPPs: Calpine and Osprey, Pasco Co., McKay Bay and HC Cogen | [13 empty] | *Peaks not coincident with retail peak.
(3) Includes Wheeling Inadvertent | [13 empty] | Prepared by Load Research & Forecasting:
(4) Non-Scheduled Interchange = PRECO | [13 empty] | <= Indicates estimated value
(5) Retail Load Served = Net Generation plus Cogen less Interchange
(6) Retail Peak Demand = Load Served plus MWs Curtailed; Retail Peak Demand does NOT include Non-Scheduled Interchange NOR any PR Sales (currently no PR) as does the Instantaneous Peak
(7) Retail Firm Peak Demand = Ret. Sys. Pk. Dem. less Potential Curtailable MWs
(8) System Peak Demand = Retail Peak Dem. + PR Wholesale Sales Dem. (Usually, but NOT always coincident with the Retail Peak Demand) This data is NOT provided on this report.
NOTE: System Peaks are used in FERC Form 1 and 3Q filings. Contact Load Research & Forecasting.