## Peak Demand Report
2022 Tampa Electric Peak Demand Report
GROSS INSTANTANEOUS SYSTEM DATA |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | Annual Peak
INSTANTANEOUS SYSTEM PEAK DEMAND (MW) | (1) | 3893 | 3155 | 3505 | 3654 | 4101 | 4501 | 4480 | 4490 | 4321 | 3684 | 3730 | 3680 | 4501
Date |  | 31 | 24 | 23 | 15 | 23 | 15 | 6 | 1 | 6 | 10 | 1 | 25
Time (24-Hour Clock) |  | 726 | 1612 | 1447 | 1658 | 1642 | 1652 | 1657 | 1649 | 1530 | 1648 | 1652 | 902
Temperature (F) |  | 45 | 84 | 81 | 86 | 91 | 93 | 93 | 93 | 89 | 88 | 88 | 32
Spinning Reserve (MW) |  | 249 | 424 | 256 | 26 | 288 | 188 | 475 | 405 | 763 | 328 | 385 | 767
|  |  |  | * | [5 empty] | *
NET INTEGRATED RETAIL PEAK DATA |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | YEAR
MAX
UNIT GENERATION (Net Integrated) |  | 3968.2668 | 3644.4578 | 2993.2092 | 3328.4039 | 3906.031 | 4190.535 | 4147.0617 | 4380.1808 | 4066.0624 | 3271.5292 | 2567.5397 | 4008.7334 | 4380.1808
BAYSIDE STATION:
BSCT1SS |  | 5 | 5 | 5 | 2 | 5 | 5 | 5 | 5 | 3.9486 | 0 | 0 | 5
BSCT1A |  | 146.1819 | 138.4347 | 127.0514 | 0 | 129.4861 | 139.2056 | 143.8458 | 141.9486 | 143.4861 | 0 | 0 | 122.0514
BSCT1B |  | 147.1819 | 138.4861 | 128.1028 | 135 | 130.4347 | 139.2569 | 144.8972 | 142.9486 | 0 | 0 | 0 | 107.0042
BSCT1C |  | 142.5375 | 135.6917 | 129.0514 | 0 | 130.4861 | 140.2056 | 144.8972 | 142.0514 | 145.4347 | 0 | 0 | 100.9486
BSCT2SS |  | 5.1028 | 6 | 6 | 5 | 6 | 6.0514 | 6.9486 | 6.9486 | 6.0514 | 5 | 6.9486 | 3.0514
BSCT2A |  | 153.8222 | 142.4861 | 134.0514 | 0 | 128.6917 | 141.2056 | 146.7944 | 143.8972 | 146.7431 | 145.0514 | 99.8736 | 0
BSCT2B |  | 153.0278 | 142.5889 | 133.1028 | 142.9486 | 128.075 | 140.2056 | 144.8458 | 143 | 146.5889 | 0 | 99.8222 | 98.85
BSCT2C |  | 152.9764 | 142.5889 | 133.0514 | 142.9486 | 128.6917 | 140.2056 | 143.8972 | 143 | 145.7944 | 142.1542 | 99.8222 | 97.85
BSCT2D |  | 152.925 | 141.6403 | 133.0514 | 143 | 128.6403 | 140.2569 | 145.7944 | 143 | 149.5375 | 142.2056 | 99.8222 | 0
BSCT3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.4347 | 0 | 0
BSCT3SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94861 | 0 | 0.94861 | 0
BSCT4 |  | 56.0708 | 0 | 0 | 0 | 0 | 0 | 24.6639 | 0 | 24.6639 | 18.0236 | 0 | 0
BSCT4SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSCT5 |  | 51.225 | 0 | 0 | 0 | 0 | 0 | 14.2292 | 0 | 23.7153 | 8.5375 | 0 | 0
BSCT5SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0.051389 | 0 | 0 | 0 | 0 | 0.051389
BSCT6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 1.8972 | 0 | 9.4861 | 10.4347 | 0 | 0
BSCT6SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSRESERVES + EXCT |  | 0.051389 | 0 | 1 | 0.94861 | 0.10278 | 1.8972 | 0.051389 | 1 | 1.8972 | 1.8972 | 0.051389 | 1
BSST1 |  | 223.9722 | 223.6917 | 214.1028 | 70.9486 | 214.6917 | 223.2056 | 221.8458 | 224 | 147.6403 | 0 | 0 | 202.4625
BSST1SS |  | 3.9486 | 3 | 3 | 3 | 3.0514 | 3.0514 | 3.9486 | 3.0514 | 3 | 0 | 0 | 3.9486
BSST2 |  | 294.7195 | 297.5375 | 287.1542 | 226.8972 | 281.0472 | 299.257 | 302.743 | 300.8972 | 304.5375 | 227.7431 | 256.8736 | 121.6681
BSST2SS |  | 2 | 1 | 2.0514 | 1 | 2.0514 | 1.9486 | 2.0514 | 2.9486 | 3 | 0.94861 | 1.0514 | 1.9486
Bayside Station |  | 1658.5375 | 1488.1458 | 1401.6681 | 849.7944 | 1384.0389 | 1485.0555 | 1562.3 | 1505.7944 | 1368.782 | 696.7389 | 647.2139 | 835.8347
BIG BEND STATION:
BBCT4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BBCT4SS |  | 0.051389 | 0 | 0 | 0 | 0.051389 | 0 | 0 | 0.051389 | 0 | 0.051389 | 0 | 0
BSRESERVES + SS301A and SS301B |  | 8.9486 | 4.0514 | 18.0257 | 1.9486 | 2.9486 | 10.9486 | 3 | 0.94861 | 0.051389 | 6.1028 | 14.8972 | 6
BB1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BB1SS + BB1SSB |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BB2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BB2SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BB2BSS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BB3 |  | 271.9486 | 121 | 0 | 0 | 122 | 0 | 196.0431 | 0 | 0 | 0 | 183.0236 | 197.4819
BB3SS |  | 7 | 5.0514 | 0 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | 3.9486 | 4
BB4 |  | 390.9486 | 0 | 0 | 0 | 328.3472 | 230 | 220 | 230 | 253.7153 | 0 | 0 | 275
BB4SS |  | 24 | 0 | 0 | 0 | 20.8458 | 18.0514 | 18.9486 | 19.9486 | 19 | 0 | 0 | 21.0514
BBCT5 |  | 0 | 200 | 249.9486 | 333.0514 | 120 | 314.4181 | 0.94861 | 0 | 182.9722 | 321.1458 | 0 | 212.9486
BBCT5SS |  | 0.051389 | 2 | 2.9486 | 2.9486 | 1.0514 | 2.9486 | 3.9486 | 0 | 4.9486 | 2.9486 | 0 | 4
BBCT6 |  | 200.157 | 0 | 0 | 332.1028 | 0 | 0 | 0 | 223.3986 | 323.8972 | 272.8181 | 117.9444 | 278
BBCT6SS |  | 1.9486 | 0.94861 | 1 | 2.9486 | 0.051389 | 1.9486 | 3.8972 | 2.9486 | 2.9486 | 3.8972 | 1.0514 | 4.9486
BBST1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 260
BBST1SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
Big Bend Station |  | 821.0542 | 308.9486 | 227.9743 | 657.3083 | 540.3986 | 510.5208 | 382.1972 | 429.5014 | 733.6361 | 580.9639 | 281.0708 | 1179.4306
POLK STATION: (no reserve)
W50SS+W51SS |  | 0 | 0.94861 | 0 | 0.051389 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PK1ASS+PK1BSS+PK1CSS |  | 8 | 5 | 9.8972 | 11.0514 | 11 | 10 | 11.8972 | 12.8972 | 8.9486 | 11.9486 | 11.0514 | 9.9486
PK2SS+PK3SS+PK4SS+PK5SS |  | 15.8972 | 13.9486 | 15.0514 | 15 | 13.1028 | 12.1028 | 14.0514 | 15.8972 | 15.0514 | 12 | 15.8972 | 13.0514
PKCT1 |  | 0 | 0 | 0 | 154.0514 | 149 | 93.9486 | 141.4306 | 147.8458 | 0 | 149 | 88.0514 | 127.2569
PKCT2 |  | 171 | 148.4542 | 149.1028 | 149.9486 | 142.0514 | 143.0514 | 144.0514 | 145 | 144 | 145 | 148.0514 | 163.2569
PKCT3 |  | 173 | 152 | 151.0514 | 150.9486 | 142.3083 | 143.1028 | 145 | 146 | 145 | 149.9486 | 149 | 163.2569
PKCT4 |  | 180.9486 | 150.0514 | 157.1028 | 157.8458 | 142.6681 | 144 | 151.0514 | 136 | 151.9486 | 155.0514 | 155.0514 | 161.3083
PKCT5 |  | 180 | 151.0514 | 157.1028 | 157.8458 | 143.4625 | 144.0514 | 149.0514 | 150 | 150 | 133.3042 | 154.0514 | 162.2056
PKST1 |  | 0 | 0 | 0 | 49 | 48 | 40 | 45.6917 | 46.9486 | 0 | 47 | 38 | 38.9486
PKST2 |  | 493 | 260.9486 | 484.1028 | 489.3083 | 349.5778 | 352.5375 | 462.9403 | 460 | 470.9486 | 355 | 478.7389 | 349.3083
PKSS2A |  | 5 | 3.0514 | 5 | 5.0514 | 5 | 4.9486 | 3.0514 | 3.9486 | 5 | 2.0514 | 3 | 3
PKSS2B |  | 3 | 4.9486 | 3.9486 | 3 | 3 | 3.0514 | 5 | 5.9486 | 4 | 5.9486 | 5.9486 | 5.0514
Polk Station |  | 1174.0514 | 842.6083 | 1073.5139 | 1282.8458 | 1092.9653 | 1038.5889 | 1213.2681 | 1203 | 1037.8972 | 1110.3556 | 1183.9958 | 1142.5416
TEC Owned Solar Total |  | 24.507 | 384.5796 | 255.3217 | 490.6481 | 568.5263 | 551.8874 | 373.01 | 625.5996 | 313.4337 | 319.4068 | 415.0422 | 221.946
Agrivoltaics Solar |  | 0 | 0 | 0 | 0 | 0 | 0.69963 | 0.81468 | 0.74545 | 0.4975 | 0.34272 | 0.45803 | 0.32933
Balm Solar |  | 1.8458 | 43.7708 | 22.4347 | 45.6917 | 41.0514 | 42.5139 | 6.5931 | 41.8222 | 11.5931 | 23.6167 | 27.3083 | 18.2292
Big Bend Solar |  | 0.94861 | 11.1542 | 11.0514 | 15.9486 | 11.0514 | 14 | 8 | 18.6403 | 11.2569 | 9.3083 | 11.7944 | 2.9486
Big Bend Solar 2 |  | 0.89722 | 10.2056 | 4.0514 | 20 | 21.1028 | 23.1542 | 26.0514 | 26 | 11.4111 | 10.2569 | 0 | 15.3319
Bonnie Mine Solar |  | 1.8972 | 16.4625 | 13.8972 | 21.3083 | 25.8972 | 19.3083 | 14.0514 | 25.1028 | 19 | 11.2569 | 15.5375 | 3.8458
Durrance Solar |  | 0.94861 | 26.4625 | 22.5889 | 21.2569 | 33.4111 | 39.2056 | 27.6167 | 42.0514 | 32.5139 | 24.5653 | 37 | 7.7431
ESA Solar |  | 0.0071778 | 0.26058 | 0.32604 | 0.31791 | 0.43738 | 0.48377 | 0.53191 | 0.52196 | 0.45686 | 0.26427 | 0.10109 | 0.027024
Floating Solar |  | -0.003 | 0.43687 | 0.41491 | -0.0030514 | 0.32332 | -0.004 | -0.003 | -0.0039486 | -0.0039486 | -0.003 | -0.003 | 0.2518
Grange Solar |  | 0 | 30.0278 | 9 | 12.3361 | 50.3319 | 43.8458 | 5.5931 | 40.3597 | 1.8222 | 16.3597 | 34.2056 | 7.7431
Hancock Solar |  | 1.8972 | 27.1542 | 24.075 | 33.5653 | 37.8458 | 30.6167 | 17.2333 | 37.0514 | 36.2056 | 23.1542 | 18.6917 | 6.6917
Jamison Solar |  | 0.94861 | 0 | 0.051389 | 6.0514 | 54 | 46.2056 | 53.1028 | 59.1028 | 37.4625 | 15.5653 | 26.3083 | 4.8972
Laurel Oaks Solar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.0514 | 27.6125
Legoland Solar |  | 0 | 0.051389 | 0 | 1 | 1 | 0.94861 | 1 | 1 | 0 | 0.051389 | 0.051389 | 0.94861
Lithia Solar |  | 3.7944 | 51.3083 | 21.5653 | 59 | 49.7431 | 54.5375 | 14.6167 | 53.4111 | 19.1583 | 27.0514 | 43.4625 | 19.1264
Little Manatee River Solar |  | 1.8972 | 23.2569 | 27.0514 | 39.0514 | 37.8458 | 39 | 42.1028 | 43.1028 | 15.4903 | 36.0514 | 35.7431 | 24.8694
Magnolia Solar |  | 1.8972 | 25.1306 | 42.8181 | 59.8972 | 40.1028 | 57.1028 | 38.925 | 45.4347 | 36.3083 | 27 | 31.7944 | 28.5611
Microgrid Solar |  | -0.0069486 | -0.0039486 | -0.004 | -0.0028458 | -0.0052292 | 0.008 | -0.022458 | 0 | 0 | 0 | 0 | -0.001
Mountain View Solar |  | 0 | 2.1028 | 6.1028 | 26.1028 | 34.4111 | 40.1542 | 33.6681 | 45.2569 | 33.1542 | 23.5139 | 14 | 7.6917
Payne Creek Solar |  | 3.7431 | 36.925 | 13.8736 | 37.6917 | 55.0514 | 26.2847 | 33.9764 | 59.9486 | 12.3361 | 20.1028 | 35.7431 | 3.7944
Peace Creek Solar |  | 1.8972 | 33.4625 | 24.1264 | 44 | 41.1028 | 40.6917 | 35.4111 | 33.3083 | 30.0514 | 26.7944 | 22.3083 | 4.7944
Riverside Solar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.5889
Tampa Internal Airport Solar |  | 0 | 1 | 0.051389 | 0.10278 | 1.9486 | 1 | 1 | 1 | 1 | 1 | 1 | 0.051389
Wimauma Solar |  | 1.8972 | 45.4111 | 11.8458 | 47.3319 | 31.8736 | 32.1306 | 12.7472 | 51.7431 | 3.7194 | 23.1542 | 44.4861 | 25.8694
% of Net Integrated Unit Generation that is Utility Solar at time of Retail Peak |  | 0.6176% | 10.55% | 8.53% | 14.74% | 14.56% | 13.17% | 8.995% | 14.28% | 7.709% | 9.763% | 16.16% | 6.567%
TEC OWNED |  | 3678.15 | 3024.2824 | 2958.478 | 3280.5967 | 3585.9291 | 3586.0527 | 3530.7753 | 3763.8954 | 3453.749 | 2707.4651 | 2527.3228 | 3379.753
Calpine |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Osprey Energy Center |  | 245 | 578.0514 | 0 | 0 | 281.8972 | 577.8972 | 577 | 576.9486 | 577.0514 | 516 | 0 | 581.8972
Pasco Cogen |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hillsborough County Cogen |  | 31.3856 | 24.4696 | 21 | 30.1024 | 19.618 | 8.9289 | 24.5729 | 22.6111 | 22.5103 | 31.4392 | 23.5416 | 30.4583
McKay Bay |  | 13.7312 | 17.6544 | 13.7312 | 17.7048 | 18.5867 | 17.6562 | 14.7135 | 16.7257 | 12.7517 | 16.6249 | 16.6753 | 16.6249
OTHER | (2) | 290.1168 | 620.1754 | 34.7312 | 47.8072 | 320.1019 | 604.4823 | 616.2864 | 616.2854 | 612.3134 | 564.0641 | 40.2169 | 628.9804
COGENERATION
Firm Contract |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
As-Available |  | 0 | 13 | 0 | 0 | 17 | 0 | 0 | 1 | 0 | 0 | 20 | 9
Total Purchased (Firm Contract + As-Avail.) |  | 0 | 13 | 0 | 0 | 17 | 0 | 0 | 1 | 0 | 0 | 20 | 9
Wheeling Received |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INTERCHANGE
Net Inadvertent | (3) | -26 | -5 | 4 | 5 | -15 | 11 | -17 | -8 | -54 | -40 | -22 | -14
Net Scheduled |  | 245 | 606 | -261 | -252 | -79 | -210 | -197 | 4 | -113 | -315 | -1058 | 491
Tie Line (Net Actual = Net Sched.+ Net Inadv.) |  | 219 | 601 | -257 | -247 | -94 | -199 | -214 | -4 | -167 | -355 | -1080 | 477
Non-Scheduled Interchange Sales | (4) | 10.275 | 3.125 | 8.25 | 4.375 | 6.95 | 2.925 | 4.575 | 1.95 | 3.575 | 1.475 | 1.85 | 1.25
Losses on Off System Sales (Sched. & Non-Sched.) |  | 4.1163 | 11.0612 | 0.1615 | 0.085645 | 4.0561 | 2.057 | 1.0891 | 4.9324 | 3.9904 | 0.71024 | 0.036023 | 13.5042
MAX
RETAIL LOAD SERVED | (5) | 3735 | 3042 | 3242 | 3571 | 4006 | 4385 | 4355 | 4378 | 4225 | 3624 | 3666 | 3526 | 4385
CURTAILABLE LOAD on Retail Peak Day
Curtailed MWs - Standby Generator & C/I |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Load Management Control |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Demand Response |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Interruptible |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Curtailed MWs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potential MWs - Standby Generator & C/I |  | 60.8931 | 60.6498 | 60.6498 | 61.0678 | 60.9608 | 61.3178 | 61.3178 | 61.3178 | 61.3178 | 62.1178 | 61.0068 | 61.0068
Potential MWs - Load Management |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potential MWs - Demand Response |  | 42.82 | 42.82 | 42.82 | 42.76 | 42.76 | 42.76 | 42.76 | 42.76 | 42.76 | 42.76 | 42.8 | 0
Potential MWs - Interruptible |  | 158.3102 | 109.217 | 154.6081 | 162.7015 | 141.7282 | 203.7999 | 172.2105 | 159.9288 | 184.9411 | 167.325 | 216.8075 | 85.3529
Total Potential MWs |  | 262.0233 | 212.6868 | 258.0778 | 266.5293 | 245.4489 | 307.8776 | 276.2883 | 264.0065 | 289.0189 | 272.2027 | 320.6142 | 146.3596
MAX
RETAIL PEAK DEMAND | (6) | 3735 | 3042 | 3242 | 3571 | 4006 | 4385 | 4355 | 4378 | 4225 | 3624 | 3666 | 3526 | 4385
Date |  | 31 | 24 | 8 | 15 | 23 | 15 | 13 | 1 | 6 | 10 | 1 | 25
Time (24-Hour Clock) |  | 800 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1000
Temp @ Retail Peak |  | 49 | 80 | 82 | 86 | 90 | 93 | 93 | 93 | 90 | 88 | 86 | 36
24-Hour Average Temp. (F) |  | 55.4167 | 75.0833 | 78.3333 | 79.625 | 84.9583 | 86.4583 | 87 | 88 | 86.875 | 80.2917 | 79.2917 | 38.625
Forecast |  | 4461 | 3663 | 3522 | 3567 | 3856 | 4149 | 4135 | 4222 | 3915 | 3664 | 3101 | 3768
Variance |  | -16.27% | -16.95% | -7.95% | 0.1121% | 3.89% | 5.688% | 5.32% | 3.695% | 7.918% | -1.092% | 18.22% | -6.423%
NET INTEGRATED RETAIL FIRM PEAK DATA |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | YEAR
CURTAILABLE LOAD on Firm Peak Day
Curtailed MWs - Standby Generator & C/I |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Load Management Control |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Demand Response |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Interruptible |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Curtailed MWs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potential MWs - Demand Response |  | 42.82 | 42.82 | 42.82 | 42.76 | 42.76 | 42.76 | 42.76 | 42.76 | 42.76 | 42.76 | 42.8 | 0
Potential MWs - Interruptible |  | 158.3102 | 109.217 | 103.0569 | 126.7627 | 141.7282 | 203.7999 | 158.9291 | 142.9983 | 184.9411 | 157.1055 | 161.8232 | 85.3529
Potential MWs - Standby Generator & C/I |  | 60.8931 | 60.6498 | 60.6498 | 61.0678 | 60.9608 | 61.3178 | 61.3178 | 61.3178 | 61.3178 | 62.1178 | 61.0068 | 61.0068
Potential MWs - Load Mgmt. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Potential MWs |  | 262.0233 | 212.6868 | 206.5266 | 230.5905 | 245.4489 | 307.8776 | 263.0069 | 247.0761 | 289.0189 | 261.9833 | 265.63 | 146.3596
MAX
RETAIL FIRM PEAK DEMAND (MW) | (7) | 3472.9767 | 2829.3132 | 3016.4734 | 3318.4095 | 3760.5511 | 4077.1224 | 4083.9931 | 4130.9239 | 3935.9811 | 3351.7973 | 3359.37 | 3379.6404 | 4130.9239
Date |  | 31 | 24 | 7 | 6 | 23 | 15 | 6 | 1 | 6 | 10 | 2 | 25
Time (24-Hour Clock) |  | 800 | 1700 | 1700 | 1800 | 1700 | 1700 | 1700 | 1800 | 1700 | 1800 | 1700 | 1000
Forecast |  | 4246.3647 | 3458.3647 | 3307.3647 | 3351.4125 | 3637.4125 | 3932.4125 | 3915.4125 | 4002.4125 | 3699.4125 | 3445.4125 | 2889.3647 | 3553.3647
Variance |  | -18.21% | -18.19% | -8.795% | -0.9847% | 3.385% | 3.68% | 4.306% | 3.211% | 6.395% | -2.717% | 16.27% | -4.889%
|  |  |  | * | * |  |  | * | * |  | * | *
OTHER MONTHLY DATA |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | YEAR
SUM
RETAIL NET ENERGY FOR LOAD (GWH) |  | 1571.8652 | 1398.7627 | 1604.5873 | 1660.1876 | 1991.9051 | 2099.0253 | 2225.8453 | 2213.429 | 1897.1475 | 1733.821 | 1577.9194 | 1597.6257 | 21572.1212
Forecast (GWH) |  | 1505.7286 | 1346.9806 | 1496.1465 | 1589.2064 | 1846.6451 | 2001.3277 | 2080.8415 | 2120.2967 | 1967.2454 | 1829.7802 | 1465.1833 | 1533.1571
Variance |  | 4.392% | 3.844% | 7.248% | 4.466% | 7.866% | 4.882% | 6.969% | 4.392% | -3.563% | -5.244% | 7.694% | 4.205%
RETAIL LOAD FACTOR |  | 56.57% | 68.43% | 66.52% | 64.57% | 66.83% | 66.48% | 68.7% | 67.95% | 62.37% | 64.3% | 59.78% | 60.9%
Forecast |  | 45.37% | 54.72% | 57.1% | 61.88% | 64.37% | 66.99% | 67.64% | 67.5% | 69.79% | 67.12% | 65.62% | 54.69%
(1) Instantaneous Peak includes Non-Scheduled Interchange (PRECO) | [13 empty] | NOTE: All values in MWs, unless noted otherwise
(2) Other Net Generation includes: IPPs: Calpine and Osprey, Pasco Co., McKay Bay and HC Cogen | [13 empty] | *Peaks not coincident with retail peak.
(3) Includes Wheeling Inadvertent | [13 empty] | Prepared by Load Research & Forecasting:
(4) Non-Scheduled Interchange = PRECO | [13 empty] | <= Indicates estimated value
(5) Retail Load Served = Net Generation plus Cogen less Interchange
(6) Retail Peak Demand = Load Served plus MWs Curtailed; Retail Peak Demand does NOT include Non-Scheduled Interchange NOR any PR Sales (currently no PR) as does the Instantaneous Peak
(7) Retail Firm Peak Demand = Ret. Sys. Pk. Dem. less Potential Curtailable MWs
(8) System Peak Demand = Retail Peak Dem. + PR Wholesale Sales Dem. (Usually, but NOT always coincident with the Retail Peak Demand) This data is NOT provided on this report.
NOTE: System Peaks are used in FERC Form 1 and 3Q filings. Contact Load Research & Forecasting.