## Peak Demand Report
2023 Tampa Electric Peak Demand Report
GROSS INSTANTANEOUS SYSTEM DATA |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | Annual Peak
INSTANTANEOUS SYSTEM PEAK DEMAND (MW) | (1) | 3457 | 3393 | 3689 | 3777 | 3986 | 4410 | 4452 | 4754 | 4284 | 3907 | 3448 | 3061 | 4754
Date |  | 16 | 24 | 27 | 7 | 10 | 29 | 20 | 9 | 11 | 5 | 11 | 3
Time (24-Hour Clock) |  | 812 | 1626 | 1750 | 1651 | 1722 | 1653 | 1655 | 1737 | 1645 | 1653 | 1618 | 1430
Temperature (F) |  | 42 | 84 | 84 | 88 | 88 | 87 | 94 | 94 | 92 | 90 | 86 | 80
Spinning Reserve (MW) |  | 395 | 438 | 298 | 307 | 236 | 383 | 184 | 482 | 100 | 401 | 448 | 243
|  |  | * |  | * | * |  | * |  |  |  | *
NET INTEGRATED RETAIL PEAK DATA |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | YEAR
MAX
UNIT GENERATION (Net Integrated) |  | 3720.5324 | 4036.2287 | 3158.8904 | 3168.0239 | 3636.5049 | 4133.2453 | 4495.4142 | 4825.2174 | 3496.9945 | 3663.7959 | 2775.3068 | 3313.6375 | 4825.2174
BAYSIDE STATION:
BSCT1SS |  | 5.0514 | 2 | 5.0514 | 4.9486 | 5 | 5 | 4 | 5 | 5 | 6 | 2 | 5
BSCT1A |  | 109.3125 | 0 | 141.9486 | 127.2569 | 140 | 109 | 136 | 123 | 145 | 106 | 0 | 127
BSCT1B |  | 109.3125 | 0 | 142.8972 | 43.6361 | 140 | 110 | 136 | 123 | 145 | 107 | 0 | 128
BSCT1C |  | 135 | 138.8972 | 142.8972 | 127.3083 | 141 | 110 | 0 | 123 | 145 | 109 | 0 | 29
BSCT2SS |  | 0.051389 | 6 | 6.0514 | 6 | 6 | 5 | 7 | 7 | 0 | 0 | 0 | 1
BSCT2A |  | 0 | 91.8972 | 142.0514 | 128.6403 | 142 | 121 | 144 | 149 | 146 | 0 | 0 | 141
BSCT2B |  | 0 | 90.9486 | 142.0514 | 128.6403 | 142 | 0 | 142 | 148 | 143 | 0 | 0 | 0
BSCT2C |  | 0 | 46.5333 | 141.8972 | 128.2805 | 143 | 120 | 143 | 149 | 144 | 0 | 0 | 140
BSCT2D |  | 0 | 90 | 141.0514 | 128.5889 | 144 | 120 | 58 | 149 | 146 | 0 | 0 | 140
BSCT3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSCT3SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSCT4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSCT4SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSCT5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 0 | 0
BSCT5SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
BSCT6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSCT6SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSRESERVES + EXCT |  | 0.051389 | 0.94861 | 0.94861 | 0.94861 | 1 | 1 | 0 | 1 | 8 | 0 | 2 | 0
BSST1 |  | 209.9764 | 73.9486 | 232.6917 | 149.0514 | 232 | 204 | 150 | 217 | 231 | 206 | 0 | 149
BSST1SS |  | 4 | 3.0514 | 4 | 3.9486 | 4 | 4 | 4 | 4 | 4 | 4 | 0 | 4
BSST2 |  | 0 | 189.6403 | 297 | 276.4583 | 305 | 206 | 236 | 306 | 307 | 0 | 0 | 212
BSST2SS |  | 1 | 1 | 2.0514 | 1 | 2 | 1 | 2 | 1 | 3 | 2 | 2 | 2
Bayside Station |  | 553.4472 | 708.8653 | 1506.3833 | 1221.0153 | 1511 | 1084 | 1128 | 1469 | 1532 | 542 | -6 | 1054
BIG BEND STATION:
BBCT4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
BBCT4SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BSRESERVES + SS301A and SS301B |  | 12.1028 | 3.9486 | 10.1028 | 4.9486 | 1 | 4 | 9 | 6 | 5 | 9 | 11 | 12
BB3 |  | 219.9486 | 119.9486 | 0 | 119.9486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BB3SS |  | 5 | 5 | 0 | 5.0514 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BB4 |  | 0 | 250 | 280 | 300 | 0 | 0 | 337 | 150 | 0 | 300 | 300 | 300
BB4SS |  | 0 | 21 | 20.9486 | 21 | 0 | 0 | 0 | 4 | 0 | 5 | 4 | 5
BBCT5 |  | 354.1028 | 320 | 0 | 0 | 217 | 352 | 346 | 346 | 0 | 294 | 352 | 0
BBCT5SS |  | 5 | 5.0514 | 0 | 0 | 3 | 5 | 5 | 5 | 3 | 5 | 5 | 0
BBCT6 |  | 324.1028 | 320.9486 | 0 | 0 | 212 | 353 | 347 | 343 | 350 | 294 | 0 | 0
BBCT6SS |  | 4.9486 | 5 | 5 | 5 | 2 | 5 | 5 | 5 | 5 | 4 | 4 | 1
BBST1 |  | 298 | 307.0514 | 0 | 0 | 0 | 335 | 330 | 327 | 140 | 280 | 159 | 0
BBST1SS |  | 4 | 4 | 0 | 0 | 0 | 4 | 4 | 0 | 3 | 4 | 3 | 0
Big Bend Station |  | 1165.1028 | 1273.9486 | 243.9486 | 383.9486 | 423 | 1022 | 1337 | 1147 | 474 | 1141 | 784 | 282
POLK STATION: (no reserve)
W50SS+W51SS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PK1ASS+PK1BSS |  | 8.9486 | 6.0514 | 8 | 9 | 8 | 6 | 7 | 8 | 6 | 6 | 10 | 6
PK4SS+PK5SS |  | 13.1028 | 13.8458 | 10.9486 | 13.9486 | 14 | 14 | 14 | 16 | 2 | 5 | 6 | 4
PKCT1 |  | 0 | 0 | 0.94861 | 89.9486 | 0 | 0 | 0 | 0 | 149 | 0 | 93 | 0
PKCT2 |  | 163.4625 | 149.8458 | 148 | 142.6403 | 146 | 131 | 143 | 142 | 0 | 139 | 143 | 149
PKCT3 |  | 162.4625 | 150.8458 | 149 | 142.6403 | 147 | 132 | 143 | 142 | 0 | 140 | 150 | 150
PKCT4 |  | 170.5653 | 152.1778 | 152.8972 | 140.6403 | 152 | 130 | 148 | 148 | 101 | 138 | 154 | 153
PKCT5 |  | 168.5653 | 153.6917 | 0 | 141.5889 | 152 | 131 | 149 | 148 | 97 | 139 | 133 | 154
PKST1 |  | 0 | 0 | 0 | 39 | 0 | 0 | 0 | 0 | 46 | 0 | 39 | 0
PKST2 |  | 445.6722 | 359.1222 | 285.5611 | 337.4861 | 477 | 320 | 347 | 460 | 0 | 338 | 433 | 362
PKSS2A |  | 3 | 3 | 3 | 4 | 3 | 4 | 4 | 4 | 3 | 5 | 5 | 4
PKSS2B |  | 4.0514 | 4.9486 | 4.9486 | 4.0514 | 5 | 5 | 5 | 5 | 2 | 3 | 4 | 5
Polk Station |  | 1088.6764 | 945.7861 | 717.4583 | 1010.9958 | 1052 | 824 | 909 | 1016 | 380 | 875 | 1120 | 949
TEC Owned Solar Total |  | 292.9594 | 482.9861 | 639.9094 | 501.7481 | 513.547 | 613.83 | 539.045 | 552.956 | 534.61 | 534.319 | 319.953 | 470.253
Agrivoltaics Solar |  | 0.14591 | 0.46388 | 0.38556 | 0.39102 | 0.358 | 0.558 | 0.863 | 0.448 | 0.546 | 0.402 | 0.293 | 0.45
Alafia Solar |  | * NOV: 13; * DEC: 20
Balm Solar |  | 13.3319 | 28.8458 | 42.1028 | 36.1028 | 17 | 38 | 11 | 37 | 36 | 44 | 28 | 32
Big Bend Solar |  | 2.8458 | 9.9486 | 7.1542 | 10.2056 | 9 | 10 | 15 | 7 | 6 | 6 | 3 | 4
Big Bend Solar 2 |  | 11.4347 | 22.9486 | 25.0514 | 22.2056 | 18 | 27 | 31 | 26 | 24 | 19 | 26 | 27
Bonnie Mine Solar |  | 8.5375 | 16.9486 | 19.5889 | 14 | 14 | 19 | 10 | 17 | 18 | 18 | 5 | 10
Dover Solar |  | * NOV: 0; * DEC: 12
Durrance Solar |  | 15.2806 | 29.7944 | 31.5889 | 36.1028 | 37 | 44 | 26 | 43 | 46 | 35 | 6 | 9
ESA Solar |  | 0.0054347 | 0.36294 | 0.27337 | 0.22884 | 0.157 | 0.56 | 0.24 | 0 | 0.479 | 0.352 | 0.277 | 0.251
Floating Solar |  | 0.18875 | 0.51621 | 0.35548 | -0.003 | 0.39 | 0.712 | 0.942 | 0.508 | 0.585 | 0.565 | 0.383 | 0.552
Grange Solar |  | 12.3833 | 25.7431 | 35.7431 | 22.1819 | 39 | 41 | 35 | 40 | 20 | 41 | 15 | 0
Hancock Solar |  | 16.2292 | 28.7431 | 31.7431 | 25.8972 | 33 | 32 | 23 | 26 | 32 | 25 | 23 | 18
Jamison Solar |  | 16.2292 | 31 | 41.4861 | 36.5653 | 44 | 42 | 28 | 35 | 42 | 37 | 6 | 18
Juniper Solar |  | * SEP: 0; * OCT: 0; * NOV: 0; * DEC: 23
Lake Mabel Solar |  | * NOV: 0; * DEC: 18
Laurel Oaks Solar |  | 26.6639 | 33.8222 | 51 | 0 | 38 | 30 | 55 | 41 | 48 | 31 | 4 | 39
Legoland Solar |  | 0.94861 | 1 | 0.051389 | 0.051389 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1
Lithia Solar |  | 29.6125 | 26.6681 | 48.3083 | 18.9014 | 41 | 48 | 39 | 47 | 25 | 31 | 15 | 21
Little Manatee River Solar |  | 24.7667 | 43.6403 | 48.0514 | 45.1542 | 40 | 49 | 49 | 36 | 48 | 40 | 46 | 42
Magnolia Solar |  | 25.7667 | 26.1306 | 53.1028 | 44.0236 | 41 | 30 | 56 | 39 | 36 | 36 | 11 | 40
Microgrid Solar |  | -5.1389e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mountain View Solar |  | 11.4861 | 26.1028 | 33.7944 | 29.1542 | 6 | 34 | 38 | 21 | 12 | 29 | 28 | 19
Payne Creek Solar |  | 21.9722 | 20.7708 | 49.0514 | 36.5139 | 30 | 40 | 18 | 17 | 41 | 39 | 4 | 33
Peace Creek Solar |  | 15.2292 | 29 | 25.8458 | 35.7944 | 33 | 24 | 32 | 22 | 31 | 27 | 23 | 17
Riverside Solar |  | 20.0236 | 44.1028 | 49.2056 | 46.2056 | 42 | 49 | 47 | 44 | 39 | 29 | 30 | 32
Tampa Internal Airport Solar |  | 0 | 1 | 0.051389 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Wimauma Solar |  | 20.0236 | 35.8972 | 46.3597 | 41.4625 | 31 | 53 | 23 | 53 | 27 | 45 | 31 | 33
% of Net Integrated Unit Generation that is Utility Solar at time of Retail Peak |  | 7.874% | 11.97% | 20.26% | 15.84% | 14.12% | 14.85% | 11.99% | 11.46% | 15.29% | 14.58% | 11.53% | 17.07%
TEC OWNED GENERATION |  | 3100.3317 | 3412.05 | 3108.0852 | 3118.0988 | 3499.905 | 3543.83 | 3913.045 | 4184.956 | 2920.61 | 3092.319 | 2217.953 | 2755.253
Osprey Energy Center |  | 579.1542 | 582 | 0 | 0 | 111 | 552 | 542 | 593 | 537 | 538 | 516 | 519
Hillsborough County Cogen |  | 22.4599 | 33.3002 | 33.1994 | 32.2689 | 17.723 | 19.6923 | 23.6307 | 29.5384 | 22.6461 | 16.7384 | 26.5846 | 21.6615
McKay Bay |  | 18.5867 | 8.8785 | 17.6058 | 17.6562 | 7.8769 | 17.723 | 16.7384 | 17.723 | 16.7384 | 16.7384 | 14.7692 | 17.723
OTHER GENERATION | (2) | 620.2007 | 624.1787 | 50.8052 | 49.9251 | 136.5999 | 589.4153 | 582.3692 | 640.2614 | 576.3845 | 571.4769 | 557.3538 | 558.3845
COGENERATION
Firm Contract |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
As-Available |  | 13 | 0 | 5 | 11 | 1 | 2 | 4 | 1 | 24 | 0 | 15 | 9
Total Purchased (Firm Contract + As-Avail.) |  | 13 | 0 | 5 | 11 | 1 | 2 | 4 | 1 | 24 | 0 | 15 | 9
Wheeling Received |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INTERCHANGE
Net Inadvertent | (3) | 15 | -19 | -3 | -9 | -10 | -12 | 4 | -27 | -5 | -13 | 30 | -9
Net Scheduled |  | 359 | 762 | -421 | -494 | -269 | -175 | 175 | 178 | -674 | -132 | -573 | 342
Tie Line (Net Actual = Net Sched.+ Net Inadv.) |  | 374 | 743 | -424 | -503 | -279 | -187 | 179 | 151 | -679 | -145 | -543 | 333
Non-Scheduled Interchange Sales | (4) | 1.95 | 6.175 | 2.9 | 3.4 | 2.5 | 3.725 | 7.025 | 1.625 | 5.875 | 3.625 | 2.575 | 2.45
Losses on Off System Sales (Sched. & Non-Sched.) |  | 11.0387 | 14.1003 | 0.057568 | 1.0601 | 2.0397 | 0.85269 | 1.6986 | 5.0258 | 0.093245 | 4.0575 | 0.040869 | 4.6896
MAX
RETAIL LOAD SERVED | (5) | 3347 | 3273 | 3585 | 3678 | 3912 | 4318 | 4312 | 4669 | 4194 | 3801 | 3331 | 2982 | 4669
CURTAILABLE LOAD on Retail Peak Day
Curtailed MWs - Standby Generator & C/I |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Demand Response |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Load Management Control |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Interruptible |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109.4726 | 0
Total Curtailed MWs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109.4726 | 0
Potential MWs - Standby Generator & C/I |  | 54.0068 | 60.9483 | 61.2533 | 62.3913 | 62.3913 | 62.3913 | 63.277 | 63.277 | 60.505 | 63.505 | 63.505 | 65.925
Potential MWs - Demand Response |  | 42.82 | 42.82 | 42.82 | 42.76 | 42.76 | 42.76 | 42.76 | 42.76 | 42.76 | 42.76 | 0 | 0
Potential MWs - Load Management |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potential MWs - Interruptible |  | 140.8617 | 180.4478 | 148.2489 | 137.9394 | 140.7606 | 170.045 | 170.6278 | 178.2249 | 172.3463 | 161.3019 | 163.5394 | 153.3979
Total Potential MWs |  | 237.6884 | 284.2161 | 252.3221 | 243.0907 | 245.9118 | 275.1963 | 276.6648 | 284.2619 | 275.6113 | 267.5669 | 227.0444 | 219.3229
MAX
RETAIL PEAK DEMAND (MW) | (6) | 3347 | 3273 | 3585 | 3678 | 3912 | 4318 | 4312 | 4669 | 4194 | 3801 | 3440.4726 | 2982 | 4669
Date |  | 16 | 23 | 27 | 4 | 11 | 29 | 5 | 9 | 11 | 5 | 11 | 3
Time (24-Hour Clock) |  | 900 | 1600 | 1800 | 1800 | 1800 | 1700 | 1500 | 1800 | 1700 | 1700 | 1600 | 1500
Temp @ Retail Peak (F) |  | 48 | 82 | 80 | 83 | 87 | 92 | 85 | 93 | 90 | 91 | 87 | 79
24-Hour Average Temp. (F) |  | 52.5417 | 75.5417 | 76.9167 | 78.2917 | 82.375 | 87.25 | 86.0417 | 89.25 | 85.25 | 82.2917 | 80.9583 | 73.7083
Forecast |  | 4461 | 3663 | 3522 | 3567 | 4073 | 4261 | 4254 | 4300 | 4166 | 3878 | 3310 | 4144
Variance |  | -24.97% | -10.65% | 1.789% | 3.112% | -3.953% | 1.338% | 1.363% | 8.581% | 0.6721% | -1.986% | 3.942% | -28.04%
NET INTEGRATED RETAIL FIRM PEAK DATA |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | YEAR
CURTAILABLE LOAD on Firm Peak Day
Curtailed MWs - Standby Generator & C/I |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Demand Response |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Load Management Control |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Curtailed MWs - Interruptible |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109.4726 | 0
Total Curtailed MWs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109.4726 | 0
Potential MWs - Standby Generator & C/I |  | 54.0068 | 60.9483 | 61.2533 | 62.3913 | 62.3913 | 62.3913 | 63.277 | 63.277 | 60.505 | 63.505 | 63.505 | 65.925
Potential MWs - Demand Response |  | 42.82 | 42.82 | 42.82 | 42.76 | 42.76 | 42.76 | 42.76 | 42.76 | 42.76 | 42.76 | 0 | 0
Potential MWs - Load Management |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potential MWs - Interruptible |  | 140.8617 | 180.4478 | 148.2489 | 137.9394 | 140.7606 | 170.045 | 170.6278 | 178.2249 | 121.01 | 161.3019 | 163.5394 | 153.3979
Total Potential MWs |  | 237.6884 | 284.2161 | 252.3221 | 243.0907 | 245.9118 | 275.1963 | 276.6648 | 284.2619 | 224.275 | 267.5669 | 227.0444 | 219.3229
MAX
RETAIL FIRM PEAK DEMAND (MW) | (7) | 3109.3116 | 2988.7839 | 3332.6779 | 3434.9093 | 3666.0882 | 4042.8037 | 4035.3352 | 4384.7381 | 3925.725 | 3533.4331 | 3212.9556 | 2762.6771 | 4384.7381
Date |  | 16 | 23 | 27 | 4 | 11 | 29 | 5 | 9 | 12 | 5 | 11 | 3
Time (24-Hour Clock) |  | 900 | 1600 | 1800 | 1800 | 1800 | 1700 | 1500 | 1800 | 1700 | 1700 | 1600 | 1500
Forecast |  | 4246.3647 | 3458.3647 | 3307.3647 | 3351.4125 | 3845.7135 | 4030.7135 | 4011.7135 | 4063.7135 | 3937.7135 | 3643.7135 | 3075.6838 | 3910.6838
Variance |  | -26.78% | -13.58% | 0.7654% | 2.491% | -4.671% | 0.3% | 0.5888% | 7.9% | -0.3045% | -3.027% | 4.463% | -29.36%
*
OTHER MONTHLY DATA |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | YEAR
SUM
RETAIL NET ENERGY FOR LOAD (GWH) |  | 1539.466 | 1391.248 | 1652.0044 | 1737.3713 | 1913.6203 | 2073.4038 | 2281.24 | 2357.1246 | 2075.7048 | 1768.9644 | 1490.7462 | 1485.6484 | 21766.5422
Forecast (GWH) |  | 1505.7286 | 1346.9806 | 1496.1465 | 1589.2064 | 1881.4973 | 1998.8901 | 2095.2645 | 2139.4374 | 1966.5648 | 1856.0332 | 1460.646 | 1536.4325
Variance |  | 2.241% | 3.286% | 10.42% | 9.315% | 1.707% | 3.728% | 8.876% | 10.17% | 5.55% | -4.691% | 2.061% | -3.305%
RETAIL LOAD FACTOR |  | 61.82% | 63.25% | 61.94% | 65.6% | 65.75% | 66.69% | 71.11% | 67.86% | 68.74% | 62.55% | 60.18% | 66.96%
Forecast |  | 45.37% | 54.72% | 57.1% | 61.88% | 62.09% | 65.15% | 66.2% | 66.87% | 65.56% | 64.33% | 61.29% | 49.83%
(1) Instantaneous Peak includes Non-Scheduled Interchange (PRECO) | [13 empty] | NOTE: All values in MWs, unless noted otherwise
(2) Other Net Generation includes: IPPs: Calpine and Osprey, Pasco Co., McKay Bay and HC Cogen | [13 empty] | * Peaks not coincident with retail peak.
(3) Includes Wheeling Inadvertent | [13 empty] | Prepared by Load Research & Forecasting:
(4) Non-Scheduled Interchange = PRECO | [13 empty] | <= Indicates estimated value
(5) Retail Load Served = Net Generation plus Cogen less Interchange
(6) Retail Peak Demand = Load Served plus MWs Curtailed; Retail Peak Demand does NOT include Non-Scheduled Interchange NOR any PR Sales (currently no PR) as does the Instantaneous Peak
(7) Retail Firm Peak Demand = Ret. Sys. Pk. Dem. less Potential Curtailable MWs
(8) System Peak Demand = Retail Peak Dem. + PR Wholesale Sales Dem. (Usually, but NOT always coincident with the Retail Peak Demand) This data is NOT provided on this report.
NOTE: System Peaks are used in FERC Form 1 and 3Q filings. Contact Load Research & Forecasting.