BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

| In Re: Request for approval of modification to general rules and regulations tariffs by Florida Power & Light Company. |  | ) ) ) ) ) | DOCKET NO. 940166-EI ORDER NO. PSC-94-0364-FOF-EI ISSUED: March 30, 1994 |
| --- | --- | --- | --- |

The following Commissioners participated in the disposition of this matter:

J. TERRY DEASON, Chairman

SUSAN F. CLARK

JULIA L. JOHNSON

DIANE K. KIESLING

LUIS J. LAUREDO

ORDER APPROVING TARIFF MODIFICATION

BY THE COMMISSION:

On February 11, 1994, Florida Power & Light Company (FPL or utility) requested approval of a change to Section 6.030, Paragraph 4.6 of its General Rules and Regulations Tariff.  According to FPL the proposed change discloses and standardizes the process by which a customer can engage in momentary parallel operation with the utility.

FPL states that some customers' operations or circuits require a continuous power supply without monetary interruptions.  This service requires that FPL supply power to a customer at the same time the customer's generator is operating.  In order to qualify for this type of service the customer must either be on standby service, interruptible service or have emergency generation.

According to FPL, the proposed addition to the tariff will define the arrangements and agreements that are necessary for a customer to be in parallel operation with the utility for less than one hundred milliseconds (100 ms), and provides a standard form of the interconnection agreement.

Having considered FPL's request, we find it in the public interest to approve the modification of Section 6.030, Paragraph 4.6, as found in Attachment "A" to this Order.

In consideration of the foregoing, it is

ORDERED by the Florida Public Service Commission that Florida Power & Light Company's request to modify Section 6.030, Paragraph 4.6 of its General Rules and Regulations Tariff and the addition of the Momentary Parallel Operation Interconnection Agreement as found in Attachment "A" to this Order is approved.  It is further

ORDERED that this Order shall become final and this docket shall be closed unless an appropriate petition for formal proceeding is received by the Division of Records and Reporting, 101 East Gaines Street, Tallahassee, Florida 32399-0870, by the close of business on the date indicated in the Notice of Further Proceedings or Judicial Review.

By ORDER of the Florida Public Service Commission, this 30th  day of March, 1994.

STEVE TRIBBLE, Acting Director

Division of Records and Reporting

( S E A L )

MRC:bmi

NOTICE OF FURTHER PROCEEDINGS OR JUDICIAL REVIEW

The Florida Public Service Commission is required by Section 120.59(4), Florida Statutes, to notify parties of any administrative hearing or judicial review of Commission orders that is available under Sections 120.57 or 120.68, Florida Statutes, as well as the procedures and time limits that apply.  This notice should not be construed to mean all requests for an administrative hearing or judicial review will be granted or result in the relief sought.

The Commission's decision on this tariff is interim in nature and will become final, unless a person whose substantial interests are affected by the action proposed files a petition for a formal proceeding, as provided by Rule 25-22.036(4), Florida Administrative Code, in the form provided by Rule 25-22.036(7)(a)(d) and (e), Florida Administrative Code.  This petition must be received by the Director, Division of Records and Reporting at his office at 101 East Gaines Street, Tallahassee, Florida 32399-0870, by the close of business on April 20, 1994.

In the absence of such a petition, this order shall become final on the day subsequent to the above date.

Any objection or protest filed in this docket before the issuance date of this Order is considered abandoned unless it satisfies the foregoing conditions and is renewed within the specified protest period.

If this Order becomes final on the date described above, any party adversely affected may request judicial review by the Florida Supreme Court in the case of an electric, gas or telephone utility or by the First District Court of Appeal in the case of a water or wastewater utility by filing a notice of appeal with the Director, Division of Records and Reporting and filing a copy of the notice of appeal and the filing fee with the appropriate court.  This filing must be completed within thirty (30) days of the date this Order becomes final, pursuant to Rule 9.110, Florida Rules of Appellate Procedure.  The notice of appeal must be in the form specified in Rule 9.900(a), Florida Rules of Appellate Procedure.