BEFORE THE PUBLIC SERVICE COMMISSION

| In re: Proposal to require local exchange telecommunications companies to implement ten-year wood pole inspection program. | DOCKET NO. 060077-TL ORDER NO. PSC-06-0677-FOF-TL ISSUED: August 7, 2006 |
| --- | --- |

The following Commissioners participated in the disposition of this matter:

LISA POLAK EDGAR, Chairman

J. TERRY DEASON

ISILIO ARRIAGA

MATTHEW M. CARTER II

KATRINA J. TEW

ORDER APPROVING MODIFIED INSPECTION PLAN

BY THE COMMISSION:

Case Background

On February 7, 2006, we voted to require Florida’s incumbent local exchange companies to implement wood pole inspection programs based upon an eight-year cycle and requiring the companies to provide annual reporting on pole inspection results. We directed our staff to conduct an informal meeting with the parties to discuss the order’s requirements and possible alternatives. This meeting was held on February 21, 2006.

On March 1, 2006, we issued Order No. PSC-06-0168-PAA-TL (PAA order.) The Order required the companies to file plans for implementing their pole inspection programs. The Order also specifically afforded a degree of flexibility in the manner the companies would implement the order, directing our staff to bring before us any plans that materially deviate from its stated requirements.

On March 22, 2006, Verizon and Embarq (formerly Sprint) filed separate protests of our PAA order requesting formal hearings. The remaining Florida ILECs all filed proposals that complied with the order’s requirements. Due to the PAA order’s treatment of severability, the protests by Verizon and Embarq did not prevent the PAA from becoming final at the end of the protest period for the other parties.

However, in its protest, Verizon recognized pole inspection as a “worthy goal” and stated its interest in reaching an agreement on an inspection program that would allow the company to withdraw its protest. On April 3, 2006, Verizon filed a wood pole inspection program proposal. Subsequent discussions between our staff and Verizon yielded a revised wood pole inspection program proposal. On June 23, 2006, Verizon filed clarifications to the April 3rd inspection and maintenance plan.

Verizon’s Revised Wood Pole Inspection Plan (Attachment A)

In its proposals and responses to the PAA order, Verizon noted that many of the National Electric Safety Code (NESC) rules regarding pole strength and loadings (e.g. Sections 25 and 26) apply only to Grades B or C construction standards for poles bearing electric distribution and transmission conductors. Poles bearing only telephone facilities are generally subject to Grade N standards, and Verizon notes that NESC requirements “do not specify strength or load factors or limits on deterioration” for Grade N.  Therefore, Verizon did not initially propose to conduct scheduled inspections of its Grade N poles on an eight-year cycle.

Joint-use electric and telephone poles are subject to the applicable higher standard, usually Grade B. The Grade B and C NESC requirements were a key basis for our decision in favor of mandated wood pole inspections to determine loss of strength and overload conditions. Under its plan, Verizon proposes to inspect all its joint-use electric and telephone Grade B and C poles.

Variations from the Inspections Plans as Ordered by the Commission

First, rather than scheduled cyclical inspections, Verizon proposes to perform inspections in the course of other work tasks requiring climbing of Grade N poles (also called Business As Usual inspections.)  Second, Verizon proposes an alternative to pole excavation during its inspections. The revised Verizon proposal is provided in Attachment A.

Through discussions between the company and our staff, Verizon modified its inspection plan to gather data through its routine inspections of Grade N poles as they occur during normal operations. Verizon also enhanced the initial inspection criteria and guidelines used by its field technicians. Before climbing poles in the course of clearing troubles and completing work orders, Verizon technicians will sound and prod poles and, if necessary, refer them for further inspection by specialized personnel.  Our staff noted that some mid-span poles may not receive Business As Usual inspections. Therefore, in its June 23, 2006 clarifications, Verizon proposed to identify and test a limited sub-set of Grade N poles on an eight-year cycle.

Additionally, Verizon agreed to conduct inspections of separate statistically valid random samples of Grade N poles located in coastal and inland environments. This effort will also provide data for study.

The intent is that the data collected by Verizon on Grade N poles from both the Business As Usual inspections and the statistical sample will provide an objective basis upon which to base a decision about ongoing inspections of Verizon’s Grade N poles.  Verizon’s proposal indicates that the one-time random sampling data collection effort is not part of the ongoing eight-year cycle inspections.  It may be necessary to revisit this issue once the data from these inspections has been collected and analyzed.

The second variation from the Order’s requirements is Verizon’s proposed use of the Resistograph device (manufactured by IML, Inc.) for performing inspections instead of traditional sound and bore with excavation of poles. The Order specified excavation of all Southern Pine poles as the means of determining the extent of insect damage, fungal damage or other below-ground deterioration. As a substitute for excavation, the Resistograph’s fine-diameter drill bit penetrates all the way through the pole at a 45-degree angle, providing an indication of the pole’s condition underground.  Due to the small diameter of the drill bit involved with the Resistograph method, Verizon asserts this device may be less intrusive and preferable to traditional sound and bore technique. We note that the Resistograph represents new technology that has seen limited application. Still, we find the Resistograph to be a reasonable alternative, worthy of consideration for longer term use. As such, its use shall be accepted on an experimental basis.

All other requirements of the PAA order have been met within Verizon’s revised pole inspection program plan. Verizon’s pole inspection plan is included in Attachment A, which contains the original Inspection and Reporting Plan proposal dated April 3, 2006, and the Clarification to Verizon’s Pole Inspection and Maintenance Plan dated June 23, 2006.

Verizon’s plan, as modified in Attachment A, is approved as an experimental plan.  This docket shall remain open pending the resolution of Embarq’s protest of the PAA order.

Based on the foregoing, it is

ORDERED by the Florida Public Service Commission that Verizon’s pole inspection plan, as modified in Attachment A, is hereby approved as set forth in the body of this Order.  It is further

ORDERED that this docket shall remain open pending the resolution of Embarq’s protest of the PAA order.

By ORDER of the Florida Public Service Commission this 7th day of August, 2006.

|  | /s/ Blanca S. Bayó |
| --- | --- |
|  | BLANCA S. BAYÓ, Director Division of the Commission Clerk and Administrative Services |

This is a facsimile copy. Go to the Commission's Web site, http://www.floridapsc.com or fax a request to 1-850-413-7118, for a copy of the order with signature.

( S E A L )

AJT

NOTICE OF FURTHER PROCEEDINGS OR JUDICIAL REVIEW

The Florida Public Service Commission is required by Section 120.569(1), Florida Statutes, to notify parties of any administrative hearing or judicial review of Commission orders that is available under Sections 120.57 or 120.68, Florida Statutes, as well as the procedures and time limits that apply.  This notice should not be construed to mean all requests for an administrative hearing or judicial review will be granted or result in the relief sought.

Any party adversely affected by the Commission's final action in this matter may request: 1) reconsideration of the decision by filing a motion for reconsideration with the Director, Division of the Commission Clerk and Administrative Services, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, within fifteen (15) days of the issuance of this order in the form prescribed by Rule 25-22.060, Florida Administrative Code; or 2) judicial review by the Florida Supreme Court in the case of an electric, gas or telephone utility or the First District Court of Appeal in the case of a water and/or wastewater utility by filing a notice of appeal with the Director, Division of the Commission Clerk and Administrative Services and filing a copy of the notice of appeal and the filing fee with the appropriate court.  This filing must be completed within thirty (30) days after the issuance of this order, pursuant to Rule 9.110, Florida Rules of Appellate Procedure.  The notice of appeal must be in the form specified in Rule 9.900(a), Florida Rules of Appellate Procedure.