`BEFORE THE PUBLIC SERVICE COMMISSION

| In re: Application for approval of new depreciation rates effective January 1, 2007, by Peoples Gas System. | DOCKET NO. 060496-GU ORDER NO. PSC-07-0125-PAA-GU ISSUED: February 12, 2007 |
| --- | --- |

The following Commissioners participated in the disposition of this matter:

LISA POLAK EDGAR, Chairman

MATTHEW M. CARTER II

KATRINA J. TEW

NOTICE OF PROPOSED AGENCY ACTION

ORDER APPROVING NEW DEPRECIATION RATES

BY THE COMMISSION:

NOTICE is hereby given by the Florida Public Service Commission that the action discussed herein is preliminary in nature and will become final unless a person whose interests are substantially affected files a petition for a formal proceeding, pursuant to Rule 25-22.029, Florida Administrative Code.

BACKGROUND

Rule 25-7.045, Florida Administrative Code, requires natural gas companies to file a comprehensive depreciation study once every five years.   In accordance with this rule, the next scheduled depreciation study was due to be filed on or before April 3, 2006.  On March 8, 2006, Peoples Gas System (Peoples or company) filed a petition for a waiver of the filing deadline imposed by the rule from April 3, 2006 to July 14, 2006, and succeeding depreciation studies by July 14 at least every five years thereafter. By Order No. PSC-06-0379-PAA-GU, in Docket No. 060199-GU, we approved the waiver and extended the filing date of the comprehensive depreciation study to July 14, 2006.  Thereafter, on July 12, 2006, the company filed its regular comprehensive depreciation study in accordance with the rule.  Our review of Peoples’ comprehensive depreciation study and our decision to approve changes to Peoples’ depreciation rates is explained in detail below.  We have jurisdiction pursuant to Sections 366.04, 366.05, and 366.06, Florida Statutes.

DECISION

Peoples’ last comprehensive depreciation study was filed on April 3, 2001, with an effective date of January 1, 2002.  The study addressed the changes in planning and activity resulting from Peoples’ acquisition of West Florida Natural Gas and Tampa Electric Company’s acquisition of Peoples.  This current study affords us the opportunity to address the appropriate lives, salvage values, reserves, and resulting remaining life depreciation rates since the companies combined.  The resulting effects of the activities occurring since the last comprehensive depreciation review, as well as changes in account activity and company planning, indicates that the currently prescribed depreciation rates should be revised.  The changes result in an increase in annual depreciation expense of approximately $1.9 million based on a January 1, 2007, investment date.

The company’s data and resulting expenses reflect the impact of current planning and adherence to regulatory requirements to ensure that assets are fully recovered at the time of retirement, as reflected on Attachments A and B.  Attachment A shows a comparison of rate components (lives, salvages, and reserves). Attachment B shows the estimated resulting increased expenses based on estimated investments as of December 31, 2006.  The reserve position reflects the reserve allocations recommended below.

The company provided aged retirement data, proposed reserve transfers, and average age distributions of the surviving investments for each account.  Investments, reserves, and activities were estimated through December 31, 2006.  Based on the information provided, we have determined the appropriate lives, net salvage values, and resulting depreciation rates for all accounts.  This determination included the rounding of some plant accounts average service and remaining lives to one decimal point up to 20 years and to the nearest whole year thereafter.  The discussion that follows concerns only the plant accounts with proposed changes from the earlier prescribed comprehensive depreciation study.

Distribution Plant

Mains and Services (Accounts 376 and 380)

Mains and services comprise approximately 84 percent of the investment in distribution plant.  The company is continuing its cast iron replacement program, which is a system upgrade to relieve water infiltration and to increase system pressures.

Mains and service lines are generally abandoned in place upon retirement.  This involves travel time for the crew, digging down to the main or service, cutting and capping, refilling the hole, and restoring the roadway.  Restoring the roadway can become a significant expense if the lines are under pavement.  Surface restoration normally occurs at two locations for each retired service line; one at the point of the service riser, and the other at the property line or at the connection to the main.  The galvanic action of dissimilar metals such as a galvanized steel service line running off a cast iron main requires that the line be cut at the main rather than the property line.  Under these circumstances, paving restoration is required.  Account 376-Mains has experienced early retirements due to government improvements that shorten the average service life. The company proposed to continue with a 40-year average service life which was approved in the previous study.  The company requested an increase in negative net salvage from 45 percent to 50 percent for Mains-Other than Plastic and 10 percent to 15 percent for Mains-Plastic. We accept the company’s proposal as reasonable and in line with the gas industry.

Service lines removal costs are on a continuous climb for the industry due to the ever increasing costs of labor and materials in current dollars.  Also, the embedded retirement costs for labor and materials for service lines are over 30 years old.  High retirements or high growth tend to increase early retirements.  Plant subject to theft, damage, or public requirements can be expected to have a greater incident of early retirements than similar plant in a rural or small town setting.  Account 380-Service Lines has experienced early retirements due to demolition, upgrades, and inactivity as explained previously. Peoples proposed to continue the use of an average service life of 32 years, increase negative net salvage from 80 percent to 90 percent for Service Lines-Other than Plastic, and from 35 percent to 50 percent for Service Lines-Plastic. We find the company’s proposals reasonable and in line with the gas industry.

Measuring and Regulating Station Equipment –General and City Gate (Accounts 378 and 379)

We find that the company’s proposal to continue with  an average service life of 31 years and a negative net salvage of 5 percent for these accounts is appropriate.  These accounts contain similar types of equipment and therefore should have similar life and salvage characteristics.  The majority of retirements that were subject to upgrades are minor items of equipment.  Also retired were two older odorant injection systems, and the closing of a substation at the request of JEA.

Meters (Account 381)

We find that the company’s proposal of an average service life of 16 years and a 3 percent net salvage is reasonable and in line with the gas industry.  In the previous depreciation study, Peoples outsourced its meter shop to North American Service Group.  At that time, there was not sufficient history with the new company and its processes to determine the proper average service life.  Therefore, a 23 year average service life and 5 percent net salvage was approved.

Meter and House Regulator Installations (Accounts 382 and 384)

In its previous depreciation study, Peoples implemented a new tracking system that allowed it to track meter and regulator installations in a detailed manner.  The tracking system works correctly, but the written report derived from the system is incorrect.  Prior to Peoples’ becoming a division of Tampa Electric Company, its policy was to retire the meter and regulator when the service ends regardless of reuse. This was not consistent with the Commission’s direction to the company, which was that installations are rarely retired prior to the date the service ends or when the meter is removed due to inactivity.  The company has subsequently agreed with this direction.  Currently, the company is recreating the aged records and needs additional time to complete an accurate report.  Upon its completion, the company will provide an updated report on these accounts.  For these accounts, the company also proposed the continued use of a previously prescribed average service life of 27 years and an increase in negative net salvage from 18 to 20 percent. We find that the company’s proposal is reasonable and in line with the gas industry.

General Plant

Computer Equipment (391.1)

The company proposes an average service life increase from 6 to 8 years and a continued use of net salvage of 0 percent.  We find that the company’s proposal is reasonable and in line with the gas industry.

Trucks ¾ to 1 Ton (Account 392.2)

The company proposes an average service life decrease from 8 to 7 years and a continued use of net salvage of 10 percent.  We find that the company’s proposal is reasonable and in line with the gas industry.

Trucks Over 1 Ton (Account 392.5)

The company proposes the continued use of the previously prescribed average service life of 12 years and a decrease in net salvage from 12 to 10 percent. We find that the company’s proposal is reasonable and in line with the gas industry.

Stores Equipment (Account 393)

This account was fully depreciated prior to 2002 when additional equipment was added.  The previously prescribed depreciation rate of 11.3 percent was based upon a fully depreciable investment of approximately $60,000, an average service life of 25 years, and net salvage of 0 percent. The current depreciable investment of approximately $4,300 was added in 2002.  The company proposes to continue the average service life of 25 years with a net salvage of 0 percent.  We find that the company’s proposal is reasonable and in line with the gas industry.

Reserve Allocations

As part of the review of the company’s depreciation study, we considered the reserve position for each account.  When significant surpluses and deficits exist, corrective reserve transfers between accounts should be recovered as quickly as possible, unless such recovery prevents the company from earning a fair and reasonable return on its investments.  The effect of prior depreciation rates, average service lives, and net salvage projections creates surpluses and deficits that should be addressed.  The reserve transfers presented are based upon the company’s planning and expectation of future retirements, which may further affect several plant account balances.  As our staff reviews the company’s annual status report of plant accounts, it will continue to monitor the company’s reserve position.  For now, we find it appropriate to transfer these related reserve surpluses to help correct the existing reserve deficiencies in the accounts as shown below.

| RESERVE ALLOCATIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ACCOUNT |  | Actual 01/01/2007 Reserve | Theoretical Reserve | Approved Allocations | Restated 01/01/2007 Reserve |
| 376.0 | Mains-Other Than Plastic | 126,516,763 | 137,268,879 | 509,008 | 127,025,771 |
| 378.0 | Meas. & Reg. Stat. Equip.General | 1,696,016 | 1,370,869 | (231,324) | 1,464,692 |
| 379.0 | Meas. & Reg. Stat. Equip.-City Gate | 2,338,572 | 1,956,690 | (300,330) | 2,038,242 |
| 381.0 | Meters | 6,928,784 | 23,868,445 | 647,670 | 7,576,454 |
| 383.0 | Regulators | 4,347,485 | 3,637,679 | (625,024) | 3,722,461 |
|  | Total | 141,827,620 | 168,102,562 | 0 | 141,827,620 |

Implementation Date

Rule 25-6.0436, Florida Administrative Code, requires that data submitted in a depreciation study, including plant and reserve balances or company estimates, “shall be brought to the effective date of the proposed rates.”  In this regard, Peoples’ supporting data and calculations for its new depreciation rates as shown on Attachments A and B have been provided to match a January 1, 2007, implementation date.

Amortization of Investment Tax Credits (ITC)

and Flowback of Excess Deferred Income Taxes (EDIT)

The current amortization of ITCs and the flowback of EDITs shall be revised to match the actual recovery periods for the related property.  The company shall file detailed calculations of the revised ITC amortization and flowback of EDIT at the same time it files its surveillance report covering the period ending December 31, 2006.

Based on the foregoing, it is

ORDERED by the Florida Public Service Commission that the Application for approval of new depreciation rates effective January 1, 2007, by Peoples Gas System is approved as set out in the body of this Order.  It is further

ORDERED that the provisions of this Order, issued as proposed agency action, shall become final and effective upon the issuance of a Consummating Order unless an appropriate petition, in the form provided by Rule 28-106.201, Florida Administrative Code, is received by the Director, Division of the Commission Clerk and Administrative Services, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on the date set forth in the "Notice of Further Proceedings" attached hereto.  It is further

ORDERED that in the event this Order becomes final, this docket shall be closed.

By ORDER of the Florida Public Service Commission this  12th day of February, 2007.

|  | /s/ Blanca S. Bayó |
| --- | --- |
|  | BLANCA S. BAYÓ, Director Division of the Commission Clerk and Administrative Services |

This is a facsimile copy. Go to the Commission's Web site, http://www.floridapsc.com or fax a request to 1-850-413-7118, for a copy of the order with signature.

( S E A L )

MCB

NOTICE OF FURTHER PROCEEDINGS OR JUDICIAL REVIEW

The Florida Public Service Commission is required by Section 120.569(1), Florida Statutes, to notify parties of any administrative hearing that is available under Section 120.57, Florida Statutes, as well as the procedures and time limits that apply.  This notice should not be construed to mean all requests for an administrative hearing will be granted or result in the relief sought.

Mediation may be available on a case-by-case basis.  If mediation is conducted, it does not affect a substantially interested person's right to a hearing.

The action proposed herein is preliminary in nature. Any person whose substantial interests are affected by the action proposed by this order may file a petition for a formal proceeding, in the form provided by Rule 28-106.201, Florida Administrative Code.  This petition must be received by the Director, Division of the Commission Clerk and Administrative Services, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on March 5, 2007.

In the absence of such a petition, this order shall become final and effective upon the issuance of a Consummating Order.

Any objection or protest filed in this/these docket(s) before the issuance date of this order is considered abandoned unless it satisfies the foregoing conditions and is renewed within the specified protest period.

| PEOPLES GAS COMPANY. |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2006 DEPRECIATION STUDY |  |  |  |  |  |  |  |  |  |  |  |  |
| COMPARISON OF RATES AND COMPONENTS |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | CURRENT |  |  |  |  |  | COMMISSION APPROVED |  |  |  |  |
|  |  | AVERAGE | AVERAGE |  |  | REMAINING |  | AVERAGE | AVERAGE |  |  | REMAINING |
| ACCOUNT |  | SERVICE | REMAINING | NET | 1/1/2007 | LIFE |  | SERVICE | REMAINING | NET | 1/1/2007 | LIFE |
|  |  | LIFE | LIFE | SALVAGE | RESERVE | RATE |  | LIFE | LIFE | SALVAGE | RESERVE | RATE |
|  |  |  | (YRS.) | (%) | (%) | (%) |  |  | (YRS.) | (%) | (%) | (%) |
| DISTRIBUTION PLANT |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 375.0 Structures & Improvements | 40 | 30.0 | 70.0 | 17.66 | 2.7 |  | 40 | 28.0 | 0.0 | 21.9 | 2.8 |
|  | 376.1 - Mains - Other Than Plastic | 40 | 28.0 | -45.0 | 41.40 | 3.7 |  | 40 | 25.0 | -50.0 | *50.9 | 4.0 |
|  | 376.2 - Mains - Plastic | 40 | 32.0 | -10.0 | 21.20 | 2.8 |  | 40 | 31.0 | -15.0 | 24.0 | 2.9 |
|  | 378 - Measuring and Regulating Ept. - General | 31 | 22.0 | -5.0 | 19.78 | 3.9 |  | 31 | 24.0 | -5.0 | *25.0 | 3.3 |
|  | 379 - Measuring and Regulating Ept. - City Gate | 31 | 24.0 | -5.0 | 32.69 | 3.0 |  | 31 | 24.0 | -5.0 | *24.4 | 3.4 |
|  | 380.0 - Services - Other Than Plastic | 32 | 14.6 | -80.0 | 83.13 | 6.6 |  | 32 | 12.8 | -90.0 | 87.5 | 8.0 |
|  | 380.2 - Services - Plastic | 32 | 24.0 | -35.0 | 30.40 | 4.4 |  | 32 | 23.0 | -50.0 | 32.1 | 5.1 |
|  | 381 - Meters | 23 | 13.2 | 5.0 | 23.69 | 5.4 |  | 16 | 11.2 | 3.0 | *22.6 | 6.6 |
|  | 382 - Meter Installations | 27 | 18.0 | -18.0 | 40.01 | 4.3 |  | 27 | 17.4 | -20.0 | 32.8 | 5.0 |
|  | 383 - House Regulators | 28 | 14.1 | 0.0 | 35.83 | 4.6 |  | 28 | 17.3 | 0.0 | *38.6 | 3.5 |
|  | 384 - House Regulator Installations | 27 | 18.4 | -18.0 | 36.24 | 4.4 |  | 27 | 18.0 | -20.0 | 28.4 | 5.1 |
|  | 385 -Industrial M & R Station Equip | 32 | 22.0 | 0.0 | 34.35 | 3.0 |  | 32 | 20.0 | -3.0 | 34.4 | 3.4 |
|  | 387 - Other Distribution Equipment | 16 | 9.3 | 0.0 | 26.29 | 7.9 |  | 16 | 9.1 | 0.0 | 47.7 | 5.7 |
| GENERAL PLANT |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 390.0 Structures & Improvement | 40 | 31.0 | 0.0 | 16.83 | 2.7 |  | 40 | 29.0 | 0.0 | 17.1 | 2.9 |
|  | 391.0 - Office Furniture | 15 | 9.5 | 0.0 | 8.31 | 9.7 |  | 15 | 8.7 | 0.0 | 33.6 | 7.6 |
|  | 391.1 - Computer Equipment | 6 | 1.6 | 0.0 | 68.35 | 19.8 |  | 8 | 3.1 | 0.0 | 77.7 | 7.2 |
|  | 391.2 - Office Machines | 15 | 7.6 | 0.0 | 49.56 | 6.6 |  | 15 | 8.1 | 0.0 | 43.7 | 7.0 |
|  | 392.1 - Autos & Trucks 3/4 Ton | 8 | 4.2 | 10.0 | 29.80 | 14.3 |  | 8 | 4.0 | 10.0 | 47.4 | 10.6 |
|  | 392.2- Autos & Trucks 3/4 to 1 Ton | 8 | 7.1 | 10.0 | 9.77 | 11.3 |  | 7 | 3.9 | 10.0 | 32.2 | 14.8 |
|  | 392.3-Airplanes | 15 | 14.5 | 75.0 | 0.35 | 1.7 |  | 15 | 10.5 | 75.0 | 5.5 | 1.9 |
|  | 392.4 Other Transportation Equipment | 20 | 10.8 | 14.0 | 43.81 | 3.9 |  | 20 | 8.5 | 14.0 | 51.0 | 4.1 |
|  | 392.5-Trucks over 1 Ton | 12 | 5.1 | 12.0 | 50.77 | 7.3 |  | 12 | 3.7 | 10.0 | 53.2 | 9.9 |
|  | 393.0-Stores Equipment | 25 | NA | NA | NA | 11.3 |  | 25 | 2.4 | 0.0 | 95.6 | 1.8 |
|  | 394 - Tools, Shop & Garage Equipment | 15 | 8.0 | 0.0 | 46.40 | 6.7 |  | 15 | 6.4 | 0.0 | 61.7 | 6.0 |
|  | 395.0-Laboratory Equipment | 20 | 15.5 | 0.0 | 22.50 | 5.0 |  | 20 | 11.7 | 0.0 | 39.0 | 5.2 |
|  | 396 - Power Operated Equipment | 15 | 6.8 | 5.0 | 51.83 | 6.3 |  | 15 | 4.1 | 5.0 | 73.6 | 5.2 |
|  | 397 - Communication Equipment | 12 | 7.8 | 0.0 | 24.06 | 9.7 |  | 12 | 5.8 | 0.0 | 34.2 | 11.4 |
|  | 398 - Miscellaneous Equipment | 17 | 11.1 | 0.0 | 65.00 | 3.2 |  | 17 | 9.8 | 0.0 | 57.7 | 4.3 |

*Denotes restated reserves after transfers.

| PEOPLES GAS COMPANY. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2006 DEPRECIATION STUDY |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| COMPARISON OF EXPENSES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | CURRENT |  |  |  | COMPANY PROPOSED |  |  | COMMISSION APPROVED |  |  |  |  |
| ACCOUNT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | CHANGE |
|  |  |  | 1/1/2007 |  | 1/1/2007 |  |  |  |  |  |  |  |  |  |  | ESTIMATED |  | IN |
|  |  |  | INVESTMENT |  | RESERVE |  | RATE |  | EXPENSES |  | RATE | EXPENSES |  | RATE |  | EXPENSES |  | EXPENSES |
| DISTRIBUTION PLANT |  |  | ($) |  | ($) |  | (%) |  | ($) |  | (%) | ($) |  | (%) |  | ($) |  | ($) |
|  | 375.0 Structures & Improvements |  | 14,518,513 |  | 3,173,228 |  | 2.7 |  | 392,000 |  | 2.7 | 392,000 |  | 2.8 |  | 406,518 |  | 14,518 |
|  | 376.1 Mains Other Than Plastic |  | 249,579,780 |  | 127,025,771 | * | 3.7 |  | 9,234,452 |  | 3.9 | 9,733,611 |  | 4.0 |  | 9,983,191 |  | 748,739 |
|  | 376.2 - Mains - Plastic |  | 244,375,429 |  | 58,535,386 |  | 2.8 |  | 6,842,512 |  | 2.9 | 7,086,887 |  | 2.9 |  | 7,086,887 |  | 244,375 |
|  | 378 - Measuring and Regulating Ept. - General |  | 5,858,413 |  | 1,464,692 | * | 3.9 |  | 228,478 |  | 3.4 | 199,186 |  | 3.3 |  | 193,328 |  | -35,150 |
|  | 379 - Measuring and Regulating Ept. - City Gate |  | 8,361,921 |  | 2,038,242 | * | 3.0 |  | 250,858 |  | 3.4 | 284,305 |  | 3.4 |  | 284,305 |  | 33,447 |
|  | 380.0 - Services - Other Than Plastic |  | 37,221,547 |  | 32,574,935 |  | 6.6 |  | 2,456,622 |  | 8.2 | 3,052,167 |  | 8.0 |  | 2,977,724 |  | 521,102 |
|  | 380.2 - Services - Plastic |  | 154,668,842 |  | 49,599,583 |  | 4.4 |  | 6,805,429 |  | 5.0 | 7,733,442 |  | 5.1 |  | 7,888,111 |  | 1,082,682 |
|  | 381 - Meters |  | 33,466,693 |  | 7,576,454 | * | 5.4 |  | 1,807,201 |  | 6.6 | 2,208,802 |  | 6.6 |  | 2,208,802 |  | 401,601 |
|  | 382 - Meter Installations |  | 34,614,235 |  | 11,335,017 |  | 4.3 |  | 1,488,412 |  | 5.0 | 1,730,712 |  | 5.0 |  | 1,730,712 |  | 242,300 |
|  | 383 - House Regulators |  | 9,643,901 |  | 3,722,461 | * | 4.6 |  | 443,619 |  | 3.6 | 347,180 |  | 3.5 |  | 337,537 |  | -106,082 |
|  | 384 - House Regulator Installations |  | 12,762,371 |  | 3,623,764 |  | 4.4 |  | 561,544 |  | 4.9 | 625,356 |  | 5.1 |  | 650,881 |  | 89,337 |
|  | 385 -Industrial M & R Station Equip |  | 9,366,913 |  | 3,224,033 |  | 3.0 |  | 281,007 |  | 3.4 | 318,475 |  | 3.4 |  | 318,475 |  | 37,468 |
|  | 387 - Other Distribution Equipment |  | 1,737,703 |  | 828,902 |  | 7.9 |  | 137,279 |  | 5.7 | 99,049 |  | 5.7 |  | 99,049 |  | -38,230 |
|  | TOTAL DISTRIBUTION PLANT |  | 816,176,261 |  | 304,722,468 |  |  |  | 30,929,413 |  |  | 33,811,172 |  |  |  | 34,165,520 |  | 3,236,107 |
| GENERAL PLANT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 390.0 Structures & Improvement |  | 1,176,285 |  | 201,029 |  | 2.7 |  | 31,760 |  | 2.9 | 34,112 |  | 2.9 |  | 34,112 |  | 2,352 |
|  | 391.0 -Office Furniture |  | 3,105,726 |  | 1,042,960 |  | 9.7 |  | 301,255 |  | 9.6 | 298,150 |  | 7.6 |  | 236,035 |  | -65,220 |
|  | 391.1 - Computer Equipment |  | 9,605,498 |  | 7,461,279 |  | 19.8 |  | 1,901,889 |  | 7.2 | 691,596 |  | 7.2 |  | 691,596 |  | -1,210,293 |
|  | 391.2 - Office Machines |  | 651,777 |  | 284,486 |  | 6.6 |  | 43,017 |  | 6.9 | 44,973 |  | 7.0 |  | 45,624 |  | 2,607 |
|  | 392.1 - Autos & Trucks 3/4 Ton |  | 7,370,626 |  | 3,496,478 |  | 14.3 |  | 1,054,000 |  | 10.4 | 766,545 |  | 10.6 |  | 781,286 |  | -272,714 |
|  | 392.2- Autos & Trucks 3/4 to 1 Ton |  | 3,682,379 |  | 1,183,702 |  | 11.3 |  | 416,109 |  | 14.8 | 544,992 |  | 14.8 |  | 544,992 |  | 128,883 |
|  | 392.3- Airplanes |  | 6,029,716 |  | 328,692 |  | 1.7 |  | 102,505 |  | 1.9 | 114,565 |  | 1.9 |  | 114,565 |  | 12,060 |
|  | 392.4 - Other Transportation Equipment |  | 271,562 |  | 138,431 |  | 3.9 |  | 10,591 |  | 4.1 | 11,134 |  | 4.1 |  | 11,134 |  | 543 |
|  | 392.5- Trucks Over 1 Ton |  | 1,048,986 |  | 558,528 |  | 7.3 |  | 76,576 |  | 9.9 | 103,850 |  | 9.9 |  | 103,850 |  | 27,274 |
|  | 393.0 - Stores Equipment |  | 56,473 |  | 54,008 |  | 11.3 |  | 6,381 |  | 1.9 | 1,073 |  | 1.8 |  | 1,017 |  | -5,364 |
|  | 394 - Tools, Shop & Garage Equipment |  | 3,912,405 |  | 2,411,938 |  | 6.7 |  | 262,131 |  | 6.0 | 234,744 |  | 6.0 |  | 234,744 |  | -27,387 |
|  | 395.0 Laboratory Equipment |  | 129,578 |  | 50,482 |  | 5.0 |  | 6,479 |  | 5.3 | 6,868 |  | 5.2 |  | 6,738 |  | 259 |
|  | 396 - Power Operated Equipment |  | 1,886,714 |  | 1,389,199 |  | 6.3 |  | 118,863 |  | 5.2 | 98,109 |  | 5.2 |  | 98,109 |  | -20,754 |
|  | 397 - Communication Equipment |  | 5,641,583 |  | 1,927,246 |  | 9.7 |  | 547,234 |  | 11.4 | 643,140 |  | 11.4 |  | 643,140 |  | 95,906 |
|  | 398 - Miscellaneous Equipment |  | 391,519 |  | 226,082 |  | 3.2 |  | 12,529 |  | 4.4 | 17,227 |  | 4.3 |  | 16,835 |  | 4,306 |
|  | TOTAL GENERAL PROPERTY |  | 44,960,827 |  | 20,754,540 |  |  |  | 4,891,319 |  |  | 3,611,078 |  |  |  | 3,563,777 |  | -1,327,542 |
|  | TOTAL Distribution & General Plant |  | 861,137,088 |  | 325,477,008 |  |  |  | 35,820,732 |  |  | 37,422,250 |  |  |  | 37,729,297 |  | 1,908,565 |
|  | TOTAL PLANT |  | 861,137,088 |  | 325,477,008 |  |  |  | 35,820,732 |  |  | 37,422,250 |  |  |  | 37,729,297 |  | 1,908,565 |

*Denotes restated reserves after transfers.