BEFORE THE PUBLIC SERVICE COMMISSION

| In re: Application for increase in water and wastewater rates in Alachua, Brevard, Highlands, Lake, Lee, Marion, Orange, Palm Beach, Pasco, Polk, Putnam, Seminole, Sumter, Volusia, and Washington Counties by Aqua Utilities Florida, Inc. | DOCKET NO. 060368-WS ORDER NO. PSC-07-0325-FOF-WS ISSUED: April 16, 2007 |
| --- | --- |

The following Commissioners participated in the disposition of this matter:

LISA POLAK EDGAR, Chairman

MATTHEW M. CARTER II

KATRINA J. McMURRIAN

ORDER SUSPENDING PROPOSED FINAL RATES AND

GRANTING INTERIM RATE INCREASE

BY THE COMMISSION:

BACKGROUND

Aqua Utilities Florida, Inc. (AUF or utility) is a wholly-owned subsidiary of Aqua America, Inc.  AUF provides water and wastewater service in 80 service areas (56 water and 24 wastewater systems) in 15 counties pursuant to certificates issued by the Commission.  As a result of a recent corporate reorganization, AUF became the sole shareholder of the 80 Florida Commission-regulated water and wastewater systems that are the subject of the rate case application filed in this docket.  In 2005, the utility recorded total company operating revenues of $5,057,386 and $2,754,640 for water and wastewater, respectively.  AUF reported net operating losses for 2005 of $540,773 for water and $552,776 for wastewater.  In 2005, AUF had 16,717 and 6,302  respective water and wastewater customers for the total company.

With the exception of the utility’s Village Water and Rosalie Oaks water and wastewater systems in Polk County, we have established rate base for AUF’s water and wastewater systems.  On April 20, 2004, Florida Water Services Corporation (FWSC) entered into an asset purchase agreement with AUF.  The closing took place on June 30, 2004, with the parties acknowledging that the sale was subject to Commission approval.  On August 24, 2004, FWSC and AUF filed a joint application for the transfer of FWSC’s land, facilities, and certificates to AUF. We approved the transfer by Order No. PSC-05-1242-PAA-WS. The following tables reflect the respective orders by which we established rate base for AUF’s other water and wastewater systems.

| System | Commission Order No. | Issuance Date |
| --- | --- | --- |
| JASMINE LAKES | PSC-93-1675-FOF-WS | November 18, 1993 |
| ARREDONDO ESTATES/FARMS | PSC-96-0728-FOF-WS | May 30, 1996 |
| RAVENSWOOD | PSC-96-1409-FOF-WU | November 20, 1996 |
| THE WOODS | PSC-97-0312-FOF-WS | March 24, 1997 |
| HAINES CREEK | PSC-97-0375-FOF-WU | April 7, 1997 |
| LAKE OSBORNE ESTATES | PSC-97-1149-FOF-WU | September 30, 1997 |
| SOUTH SEAS | PSC-99-1910-PAA-SU | September 27, 1999 |
| OCALA OAKS | PSC-99-1925-PAA-WU | September 28, 1999 |

| System | Commission Order No. | Issuance Date |
| --- | --- | --- |
| J. SWIDERSKI - 48 ESTATES | PSC-99-2115-PAA-WS | October 25, 1999 |
| J. SWIDERSKI - KINGS COVE | PSC-99-2115-PAA-WS | October 25, 1999 |
| J. SWIDERSKI - SUMMIT CHASE | PSC-99-2115-PAA-WS | October 25, 1999 |
| LAKE JOSEPHINE | PSC-00-1389-PAA-WU | July 31, 2000 |
| SEBRING LAKES | PSC-02-0651-PAA-WU | May 13, 2002 |

On September 25, 2006, Aqua America, Inc.’s six regulated Florida subsidiaries filed a joint application for acknowledgement of corporate reorganization and approval of name change.  The purpose of the reorganization was to consolidate and segregate all Aqua America, Inc.’s Commission-regulated water and wastewater assets in Florida under the ownership and name of its Florida corporation, AUF. By Order No. PSC-06-0973-FOF-WS, we approved Aqua’s corporate reorganization and request for name change, effective the date of the order.

On December 1, 2006, AUF filed an application for approval of interim and final water and wastewater rate increases, pursuant to Sections 367.081 and 367.082, Florida Statutes (F.S.).  The utility also requested an increase in service availability charges and an allowance for funds prudently invested.  On January 3, 2007, our staff determined that AUF's Minimum Filing Requirements (MFRs) had several deficiencies.  From January 19, 2007 through February 21, 2007, AUF had submitted several responses to correct its MFR deficiencies.  On February 27, 2007, our staff determined that AUF still had some engineering MFR deficiencies.  The deadline to correct those deficiencies was March 26, 2007.  To date, the official date of filing has not been established.

We acknowledged the intervention of the Office of Public Counsel by Order No. PSC-07-0084-PCO-WS, issued January 30, 2007, in this docket.

The utility's application for increased final water and wastewater rates is based on the projected twelve-month period ending December 31, 2007.  In its filing, the utility states that the rate increase is necessary because the utility did not earn a fair and reasonable rate of return on its investment.  AUF’s requested final rate increase would result in additional operating revenues of $7,298,294 for the utility's combined water and wastewater operations.

The utility's interim rate request was based on a historical test year ending December 31, 2005.  The utility-requested interim rates would produce additional revenues of $1,998,242 for water operations and $1,403,563 for wastewater operations.

The original 60-day statutory deadline to suspend the utility’s proposed final rates was February 1, 2007.  However, by letter dated February 6, 2007, the utility agreed to extend the statutory time frame by which we are required to address AUF’s interim rate request.  This Order addresses the suspension of the utility’s proposed final rates and AUF’s requested interim rates.  We have jurisdiction pursuant to Sections 367.081 and 367.082, F.S.

SUSPENSION OF PROPOSED FINAL RATES

Section 367.081(6), F.S., provides that the rates proposed by the utility shall become effective within sixty days after filing unless this Commission votes to withhold consent of implementation of the requested rates. Further, the above referenced statute permits the proposed final rates to go into effect, under bond, escrow or corporate undertaking, eight months after filing unless final action has been taken by this Commission.

We have reviewed the filing and have considered the proposed rates, the revenues thereby generated, and the information filed in support of the rate application.  We find it reasonable and necessary to require further amplification and explanation regarding this data, and to require production of additional and/or corroborative data.  This further examination will include on-site investigations by our staff accountants and engineers.  Based on the foregoing, we hereby suspend AUF’s proposed final rate increase.

INTERIM RATE INCREASE0

AUF requests interim rates designed to generate additional revenues of $1,998,242 for water operations and $1,403,563 for wastewater operations.  The combined increase in water and wastewater operations of $3,401,805 results in total combined water and wastewater revenues on an interim basis of $11,167,777.

In its filing, AUF has requested separate interim overall cost of capital rates for each water and wastewater system based on their respective rate bases. As discussed more fully below, we find that a consolidated capital structure is necessary for interim purposes.  There are ten systems that reflect revenue decreases.  Pursuant to the provisions of the interim statute, an interim decrease shall be calculated using the maximum return on equity (ROE) limit, and an interim increase shall be calculated using the minimum ROE limit.  Thus, the consolidated capital structure under the maximum ROE limit shall be applied to the ten systems with a revenue decrease, and the consolidated capital structure under the minimum ROE limit shall be applied to the remaining systems.

The accounting schedules attached to this Order illustrate the rate base approved herein and test year operating income amounts on a per system basis.  The two capital structure schedules are numbered Schedule 1-A (minimum ROE limit) and Schedule 1-B (maximum ROE limit).  The water and/or wastewater rate base schedules are numbered Schedules 2-A and 2-B.  The respective water and/or wastewater net operating income statements are reflected on Schedules 3-A and 3-B.   Schedule 3-C reflects adjustments to net operating income.

Typically, Schedule 2-C reflects adjustments to rate base. Because the Welaka/Saratoga Harbour water system is the only system for which we have made adjustments to rate base, this is the only system for which Schedule 2-C has been included.

Schedule 3-C reflects self-explanatory adjustments to remove the requested revenue increase or decrease and associated regulatory assessment fees and to reflect the income taxes provision adjustment resulting from the capital structure approved herein. The utility’s Welaka/Saratoga Harbour water system is the only system that has additional adjustments to depreciation expense and property taxes related to its non-used and useful plant.

Pursuant to Section 367.082(5)(b)1., F.S., the achieved rate of return for interim purposes shall be calculated by applying adjustments consistent with those used in the utility’s most recent rate proceeding and annualizing any rate changes.  We have reviewed the utility's interim request, as well as past Commission orders in which this Commission last established rate bases for the respective water and wastewater systems.  Based on our review, we make the adjustments discussed below.

Rate Base

We have reviewed the utility's interim used and useful calculation on a per system basis.  For those plants that have had previous rate proceedings, we verified whether adjustments were made consistent with those prior methodologies.  We find that that AUF erred in its used and useful calculation for the Welaka/Saratoga Harbour water system.

In MFR Schedule F-5, for Welaka/Saratoga Harbour, the utility requested that water wells be considered 100% used and useful because this system has a single well.  However, the system map and sanitary survey reports provided by the utility indicate that there are two water treatment plants with one well each in this interconnected system.  Combined at 186 gallons per minute (gpm), the well capacities for the Welaka and Saratoga Harbour water treatment plants are rated at 76 gpm and 110 gpm respectively.

For interim purposes, we find it appropriate to remove the largest well for firm reliable capacity considerations.  The remaining well capacity shall be used.  The demand of 32.57 gpm reflected in Schedule F-5 is divided by the 76 gpm well capacity to reflect a 42.9% used and useful percentage for wells. Therefore, we find that the water wells portion of the Welaka/Saratoga Harbour water treatment plant is 42.9% used and useful.

We recalculated the utility’s used and useful amount based on the above findings.  As such, net used and useful plant shall be reduced by $11,362.  Corresponding adjustments shall be made to reduce depreciation expense by $596, and property tax expense by $289.  Based on the above adjustments, we find that the utility’s interim rate base is $120,158 for the Welaka/ Saratoga Harbour water system.

Cost of Capital

In its MFRs, AUF proposed an overall cost of capital of 7.40% based on a 13-month average capital structure as of December 31, 2005.  The MFRs showed no debt in the historical test year.  Investor sources of capital from AUF were allocated on a proxy debt-to-equity ratio of 40% debt and 60% equity.  The MFRs contained actual balances of accumulated deferred income taxes and customer deposits for each individual system.

In its interim request, AUF used a 9.12% return on equity (ROE), which is the minimum of the range of this Commission’s current leverage formula approved in Order No. PSC-06-0476-PAA-WS.  Section 367.082(5)(b)3., F.S., states that in calculating an interim increase, the minimum of the range of the last authorized ROE shall be used.  However, we find that the ROE authorized in the last rate case should not be used in this instance because the ROE does not survive a transfer.  As stated in Order No. PSC-06-0973-FOF-WS, “[t]hrough these mergers and transfers, all Commission-regulated water and wastewater assets in Florida owned by Aqua America have now been consolidated and segregated under its Florida subsidiary corporation, Aqua Utilities FL, as was the intent of the reorganization.”  AUF is a wholly-owned subsidiary of its parent company, Aqua America, Inc. (Aqua).  Therefore, the current leverage formula shall be used to determine the ROE for AUF.

We have reviewed the requested interim capital structure for each individual system.  For interim purposes, we find it appropriate to supplant the system-specific capital structures by an Aqua system-wide capital structure.  We specifically identified the deferred tax and customer deposit balances at the individual utility level and aggregated the balances to derive an AUF system-wide total for these two classes of capital.  The residual amount of capital was allocated over investor sources on a pro rata basis consistent with the ratios of investor capital maintained at the Aqua level (approximately 53% debt and 47% equity).  The utility’s capital structure was then reconciled with the rate base approved herein.

For the systems for which AUF requested an interim increase, we used the 9.12% ROE that AUF included in its filing.  For the systems that are in line for an interim decrease, the convention is to use the ROE at the top of the range.  Typically, this return is 100 basis points above the midpoint or 200 basis points above the floor.  For purposes of an interim decrease, we used an ROE of 11.12%, which is 200 basis points above the ROE proposed by the utility for purposes of determining an interim increase.  In both cases, we used the 13-month average cost rates for Aqua as of December 31, 2005 for long-term and short-term debt of 5.81% and 3.73%, respectively.  Based on the capital structure and cost rates discussed above, the weighted average cost of capital approved herein for purposes of an interim increase is 6.69%.  For purposes of an interim decrease, the weighted average cost of capital approved herein is 7.51%.  Schedules 1-A and 1-B detail our findings in this regard.

Net Operating Income

Other than to adjust for the requested revenue increases or decreases and associated regulatory assessment fees, the resulting income taxes provision adjustments, and the specific non-used and useful depreciation expense and property tax adjustments for the Welaka/Saratoga Harbour water system, we have not made any other adjustments to operating income.

Revenue Requirement

We hereby approve revenue requirements consistent with the calculations required by the interim statute and Commission practice.  For those plants that appear to be underearning, the revenue requirements were determined using the minimum ROE limit.  Consistent with the interim statute, for those plants that appear to be overearning, we used the maximum ROE limit.  Based upon recovery of actual operating expenses for the year ended December 31, 2005, and the consolidated cost of capital on an average rate base, we find that the combined interim revenue requirements are $6,862,524 and $4,039,091 for the utility’s water and wastewater systems, respectively.  This results in an interim increase in annual revenues of $1,851,705 for the water systems and an interim increase in annual revenues of $1,283,938 for the wastewater systems.  Attachment A reflects the interim revenue requirements for each system.

Rates0

AUF filed its application for a file and suspend rate case for its water and wastewater systems, pursuant to Section 367.081, F.S.  The file and suspend law “was designed to provide accelerated [rate] relief without sacrificing the protections inherent in the overall regulatory scheme.”  Interim rates, which are one aspect of this scheme, were designed “to make a utility whole during the pendency of the proceeding without the interjection of any opinion testimony.”  Thus, the provision of interim rates is an efficient, prima facie means by which a utility can obtain immediate financial relief. In the formal hearing for this docket, all parties and staff will have the opportunity to address the utility’s rates and rate structure.

Interim water and wastewater service rates for AUF shall be designed to allow the utility the opportunity to generate annual operating revenues reflected on Attachment A.  In its interim request, the utility provided a separate revenue requirement calculation for each of its systems.  To determine the respective interim rate increase or decrease, AUF divided the respective revenue increase or decrease by the adjusted test year revenues, net of miscellaneous service revenues.  We find that this methodology is appropriate for the systems that were not formerly FWSC systems.  Our calculations of the rate increase or decrease for the non-FWSC former systems are reflected in Attachment B.

In the last rate case for FWSC, formerly Southern States Utilities, Inc., this Commission approved a capband rate structure.   That order was appealed and the First District Court of Appeal affirmed the capband rate structure. This rate structure represented a step toward uniform rates.  Generally, rates were calculated by setting caps for certain systems and spreading the overage to the remaining service areas that were not capped within each band.  Because the former FWSC systems have a capband rate structure, the calculation of the rate increase shall be based on the aggregated revenues for these systems.

For the former FWSC water systems, we find that the appropriate method to calculate the across-the-board rate increase is to divide the aggregate revenue increase by the aggregate adjusted test year revenues, net of miscellaneous service revenues. We find it appropriate to apply this same method to the former FWSC wastewater systems.  Using this methodology, we calculate the across-the-board rate increase for the former FWSC systems to be 34.70% for water and 42.52% for wastewater.  The calculation of the water and wastewater rate increases are reflected on Attachment C.

AUF applied its percentage rate increase or decrease to the utility’s current rates. The current rates reflect a rate change occurring after December 31, 2005.  Because the interim request is based on a historical test year ending December 31, 2005, the respective interim rate increase or decrease shall be applied as an across-the-board increase or decrease to the service rates in effect as of December 31, 2005.

The approved rates shall be effective for service rendered as of the stamped approval date on the tariff sheets pursuant to Rule 25-30.475(1), Florida Administrative Code (F.A.C.), provided customers have received notice.  The rates shall not be implemented until our staff verifies that the tariff sheets are consistent with our decision herein, the proposed customer notice is adequate, and the required security has been filed. The utility shall provide proof of the date notice was given within 10 days after the date of notice.

The utility’s test year, proposed interim and final rates, and the interim rates approved herein are shown on Schedule Nos. 4-A and 4-B for water and wastewater, respectively.

Security to Guarantee Interim Increase

Pursuant to Section 367.082, F.S., revenues collected under interim rates shall be placed under bond, escrow, letter of credit, or corporate undertaking subject to refund with interest at a rate ordered by this Commission.  As reflected above, the total annual interim increase is $3,135,643.  In accordance with Rule 25-30.360, F.A.C., we have calculated the potential refund of revenues and interest collected under interim conditions to be $2,671,026. This amount is based on an estimated 10 months of revenue being collected from the interim rates approved herein, as shown on Schedules No. 4-A and 4-B for water and wastewater, respectively.

The criteria for a corporate undertaking include sufficient liquidity, ownership equity, profitability, and interest coverage to guarantee any potential refund.  We have reviewed the financial statements of AUF’s parent, Aqua, to determine if Aqua can support a corporate undertaking on behalf of its subsidiaries.  Aqua’s 2003, 2004, and 2005 financial statements were used to determine the financial condition of the utility.  Aqua has experienced a decline in liquidity during 2005 compared to prior years.  However, Aqua’s average equity ratio over the three year period has been stable at 47%, which is sufficient in this instance based on Aqua’s overall financial condition.  In addition, Aqua has experienced a strong and improving interest coverage ratio. Finally, net income has been on average 25 times greater than the requested cumulative corporate undertaking amount. Aqua’s financial performance has demonstrated adequate levels of profitability, interest coverage, and equity capitalization to offset the decline in liquidity.  We find that Aqua has adequate resources to support a corporate undertaking in the amount requested. Based on this analysis, a cumulative corporate undertaking of $2,671,026 is acceptable contingent upon receipt of the written guarantee of Aqua and written confirmation that Aqua guarantees on behalf of Aqua-owned utilities in other states is capped at $40,000,000.

This brief financial analysis is only appropriate for deciding if the utility can support a corporate undertaking in the amount proposed and shall not be considered a finding regarding other issues in this proceeding.

Pursuant to Rule 25-30.360(6), F.A.C., the utility shall provide a report by the 20th day of each month indicating the monthly and total revenue collected subject to refund.  Should a refund be required, the refund shall be with interest and undertaken in accordance with Rule 25-30.360, F.A.C.

In no instance shall maintenance and administrative costs associated with any refund be borne by the customers.  The costs are the responsibility of, and shall be borne by, the utility.

Based on the foregoing, it is

ORDERED by the Florida Public Service Commission that Aqua Utilities Florida, Inc.’s proposed final rate increase is hereby suspended.  It is further

ORDERED that each of the findings made in the body of this Order is hereby approved in every respect.  It is further

ORDERED that all matters contained in the schedules attached hereto are incorporated herein by reference.  It is further

ORDERED that Aqua Utilities Florida, Inc. is hereby authorized to collect increased water and wastewater rates on an interim basis subject to refund with interest as set forth in the body of this Order.  It is further

ORDERED that the approved rates shall be effective for service rendered as of the stamped approval date on the tariff sheets pursuant to Rule 25-30.475(1), Florida Administrative Code.  It is further

ORDERED that the rates shall not be implemented until our staff verifies that the tariff sheets are consistent with our decision, the proposed customer notice is adequate, and the required security has been filed.  It is further

ORDERED that Aqua Utilities Florida, Inc. shall provide proof of the date notice was given within ten days after the date of notice.  It is further

ORDERED that Aqua Utilities Florida, Inc. shall provide security in the form of a cumulative corporate undertaking in the amount of $2,671,026, contingent upon receipt of the written guarantee of Aqua America, Inc., and written confirmation that Aqua America, Inc. guarantees on behalf of Aqua America, Inc.-owned utilities in other states is capped at $40,000,000.  It is further

ORDERED that Aqua Utilities Florida, Inc. shall provide a report by the 20th day of each month indicating the monthly and total revenue collected subject to refund, pursuant to Rule 25-30.360(6), Florida Administrative Code.  It is further

ORDERED that should a refund be required, the refund shall be with interest and undertaken in accordance with Rule 25-30.360, Florida Administrative Code.  It is further

ORDERED that this docket shall remain open.

By ORDER of the Florida Public Service Commission this  16th day of April, 2007.

|  | /s/ Ann Cole |
| --- | --- |
|  | ANN COLE Commission Clerk |

This is a facsimile copy. Go to the Commission's Web site, http://www.floridapsc.com or fax a request to 1-850-413-7118, for a copy of the order with signature.

( S E A L )

SOME (OR ALL) ATTACHMENT PAGES ARE NOT ON ELECTRONIC DOCUMENT.

RG

NOTICE OF FURTHER PROCEEDINGS OR JUDICIAL REVIEW

The Florida Public Service Commission is required by Section 120.569(1), Florida Statutes, to notify parties of any administrative hearing or judicial review of Commission orders that is available under Sections 120.57 or 120.68, Florida Statutes, as well as the procedures and time limits that apply.  This notice should not be construed to mean all requests for an administrative hearing or judicial review will be granted or result in the relief sought.

Any party adversely affected by this order, which is non-final in nature, may request (1) reconsideration within 15 days pursuant to Rule 25-22.060, Florida Administrative Code, or (2) judicial review by the Florida Supreme Court, in the case of an electric, gas or telephone utility, or the First District Court of Appeal, in the case of a water or wastewater utility.  A motion for reconsideration shall be filed with the Office of Commission Clerk, in the form prescribed by Rule 25-22.060, Florida Administrative Code. Citizens of the State of Florida v. Mayo, 316 So.2d 262 (Fla. 1975), states that an order on interim rates is not final or reviewable until a final order is issued.  Such review may be requested from the appropriate court, as described above, pursuant to Rule 9.100, Florida Rules of Appellate Procedure.

Issued December 20, 2005, in Docket Nos. 040951-WS, In re: Joint application for approval of sale Florida Water Services Corporation’s land, facilities, and certificates in Brevard, Highlands, Lake, Orange, Pasco, Polk, Putnam, a portion of Seminole, Volusia, and Washington counties to Aqua Utilities Florida, Inc.; and 040952-WS, In re: Joint application for approval of sale Florida Water Services Corporation’s land, facilities, and certificates for Chuluota systems in Seminole County to Aqua Utilities Florida, Inc.

Docket No. 920148-WS, In re: Application for a rate increase in Pasco County by Jasmine Lakes Utilities Corporation.

Docket No. 951234-WS, In re: Application of Arredondo Utility Corporation, Inc. for a staff-assisted rate case in Alachua County.

Docket No. 960716-WU, In re: Application for transfer of Certificate No. 123-W in Lake County from Theodore S. Jansen d/b/a Ravenswood Water System to Crystal River Utilities, Inc.

Docket No. 960643-WS, In re: Application for transfer of Certificates Nos. 507-W and 441-S in Sumter County from Sumter Water Company, Inc. to Crystal River Utilities, Inc.

Docket No. 960793-WU, In re: Application for transfer of Certificate No. 130-W in Lake County from Haines Creek Mobile Homesites Waterworks to Crystal River Utilities, Inc.

Docket No. 961535-WU, In re: Application for transfer of Certificate No. 53-W in Palm Beach County from Lake Osborne Utilities Company, Inc. to Crystal River Utilities, Inc.

Docket No. 982017-SU, In re: Application for authority to transfer facilities of South Seas Utility Company and Certificate No. 268-S in Lee County to AquaSource Utility, Inc.

Docket Nos. 981030-WU, In re: Application for transfer of portion of Certificate No. 380-W in Marion County from A.P. Utilities, Inc. to Ocala Oaks Utilities, Inc., holder of Certificate No. 346-W, and amendment of certificates; and 981029-WU, In re: Application by Ocala Oaks Utilities, Inc. for limited proceeding to impose current water rates, charges, classifications, rules, regulations, and service availability policies on Hawks Point and 49th Street Village customers that are currently served by A.P. Utilities, Inc. in Marion County.

Docket No. 981779-WS, In re: Application for authority to transfer facilities of J. Swiderski Utilities, Inc. and Certificates Nos. 371-S and 441-W in Lake County to AquaSource Utility, Inc.

Docket No. 991001-WU, In re: Application for transfer of facilities and Certificate No. 424-W in Highlands County from Lake Josephine Water to AquaSource Utility, Inc.

Docket No. 011401-WU, In re; Application for authority to transfer facilities of Heartland Utilities, Inc., holder of Certificate No. 420-W in highlands county, to AquaSource Utility, Inc., holder of Certificate No. 424-W, and  for cancellation of Certificate No. 420-W.

Issued November 22, 2006, in Docket No. 060643-WS, In re: Joint application for acknowledgement of corporate reorganization and request for approval of name change on Certificate 268-S in Lee County from AquaSource Utility, Inc. d/b/a Aqua Utilities Florida, Inc.; Certificates 479-S and 549-W in Alachua County from Arrendondo Utility Company, Inc. d/b/a Aqua Utilities, Inc.; Certificates 053-W, 441-S, and 507-W in Palm Beach and Sumter Counties from Crystal River Utilities, Inc. d/b/a Aqua Utilities Florida, Inc.; and Certificate 346-W in Marion County from Ocala Oaks Utilities, Inc. d/b/a Aqua Utilities Florida, Inc.; for cancellation of Certificates 424-W, 371-S, 441-W, 503-S, and 585-W in Highlands, Lake, and Polk Counties held AquaSource Utility, Inc. d/b/a Aqua Utilities Florida, Inc.; Certificates 123-W, 510-S, and 594-W in Lake and Polk Counties held by Crystal River Utilities, Inc. d/b/a Aqua Utilities Florida, Inc.; and Certificates 083-S and 110-W in Pasco County held by Jasmine Lakes Utilities Corporation d/b/a Aqua Utilities Florida, Inc.; and for amendment of Certificates 422-W, 120-S, 106-W, 154-S, 209-w, 506-S, and 587-W in Highlands, Lake, Pasco, and Polk Counties held by Aqua Utilities Florida, Inc.

Issued June 5, 2006, in Docket No. 060006-WS, In Re: Water and Wastewater Industry Annual Reestablishment of Authorized Range of Return on Common Equity for Water and Wastewater Utilities Pursuant to Section 367.081(4)(f), Florida Statutes.

See Order No. PSC-01-2094-FOF-SU, issued October 22, 2001, in Docket No. 011190-SU, In re:  Investigation of possible overearnings by Tierra Verde Utilities, Inc. in Pinellas County, at.3.

Florida Power Corporation v. Hawkins, 367 So. 2d 1011, 1013 (Fla. 1979).

Citizens v. Public Service Commission, 435 So. 2d 784, 786 (Fla. 1983).

See Citizens v. Mayo, 333 So. 2d 1, 5 ( Fla. 1976).

See Order No. PSC-96-1320-FOF-WS, issued October 30, 1996, in Docket No. 950495-WS, In re: Application for rate increase and increase in service availability charges by Southern States Utilities, Inc. for Orange-Osceola Utilities, Inc. in Osceola County, and In Bradford, Brevard, Charlotte, Citrus, Clay, Collier, Duval, Highlands, Lake, Lee, Marion, Martin, Nassau, Orange, Osceola, Pasco, Putnam, Seminole, St. Johns, St. Lucie, Volusia, and Washington Counties.

Southern States Utilities, Inc. v. Florida Public Service Commission, 714 So. 2d 1046 (Fla. 1st DCA 1998).