BEFORE THE PUBLIC SERVICE COMMISSION

| In re: Petition for approval of purchased power agreements between Gulf Power Company and Coral Power, L.L.C., and Gulf Power Company and Southern Power Company. | DOCKET NO. 060811-EI ORDER NO. PSC-07-0329-PAA-EI ISSUED: April 16, 2007 |
| --- | --- |

The following Commissioners participated in the disposition of this matter:

LISA POLAK EDGAR, Chairman

MATTHEW M. CARTER II

KATRINA J. McMURRIAN

NOTICE OF PROPOSED AGENCY ACTION

ORDER APPROVING PURCHASED POWER AGREEMENTS

BY THE COMMISSION:

NOTICE is hereby given by the Florida Public Service Commission that the action discussed herein is preliminary in nature and will become final unless a person whose interests are substantially affected files a petition for a formal proceeding, pursuant to Rule 25-22.029, Florida Administrative Code.

BACKGROUND

On December 19, 2006, Gulf Power Company (Gulf) filed a petition with the Florida Public Service Commission (Commission) seeking approval of purchased power agreements between Coral Power, L.L.C. (Coral Power) and Southern Power Company (Southern Power).  Gulf is seeking to recover the costs of the agreements through its Capacity and Fuel and Purchased Power Cost Recovery Clauses.  Approval of the agreements and the recovery of prudently incurred costs is necessary in order for the contracts to be effective.  Gulf also asked that we consider the fairness of the solicitation process and the negotiations that led to the execution of the contracts.

The Coral Power and Southern Power purchased power agreements were negotiated  over the period May 2006 through October 2006.  The two purchased power agreements consist of 487 MW of capacity, including a total nominal capacity of 195 MW from four combustion turbines from Baconton Power in Mitchell County, Georgia, and 292 MW of capacity from four combustion turbines from the Dahlberg electric generating plant in Jackson County, Georgia.  The term for each agreement is June 1, 2009, through May 31, 2014.  As explained in more detail below, we approve the purchased power contracts.  We have jurisdiction pursuant to Sections 366.04, 366.041, and 366.076, Florida Statutes.

DECISION

Gulf’s resource planning to determine its future capacity needs is implemented within the Southern electric system integrated resource planning process.  Gulf participates in this process along with other Southern electric system operating companies: Alabama Power Company, Georgia Power Company and Mississippi Power Company.  Gulf’s 2006 Ten Year Site Plan reveals that the Southern electric system integrated resource planning process confirms a need of 415 MW in 2009.  Gulf asserts that it needs the additional 487 MW of capacity from the Coral Power and Southern Power contracts both for reliability and to achieve reasonable costs of providing electric service.  Gulf needs the peaking capacity from June 2009 through May 2014 in order to meet its 15 percent reserve margin.

To fill the need for additional capacity, Gulf decided to look to the market rather than build additional generating capacity itself.  There are several reasons for this decision.  First, Gulf’s assessment of the competitive wholesale market suggested available capacity could be obtained through a Request for Proposals (RFP) process.  Second, if the prices were appropriate, Gulf preferred to diversify its portfolio of resources.  Third, a short-term purchase would defer a decision to build additional capacity, which provides Gulf with some additional planning flexibility.

Gulf states that deferring consideration of a self build alternative would provide several advantages to the company.  Gulf’s 2009 need would be immediately fulfilled by adding combustion turbine capacity.  However, the company believes that by deferring that need to 2014, it would have the opportunity to consider other types of technologies besides peaking capacity.  Gulf states that deferring the need would allow sufficient time to consider longer lead-time technologies; for example, clean coal technologies.  The company believes deferral of the potential capacity addition date would allow more time for the emergence of technology improvements that could improve performance and/or reduce costs.

Rule 25-22.082, Florida Administrative Code, does not require investor-owned utilities to issue an RFP for generating units that are not subject to the Power Plant Siting Act, but Gulf decided to conduct an RFP rather than engage in independent negotiations with potential providers.  Gulf conducted the RFP because the Commission has previously approved the RFP process as an appropriate way to secure cost-effective resource additions, and, if conducted properly, to demonstrate fairness in the selection process.  Also, the risk of missing potential market participants is minimized by issuing an RFP.  Gulf’s evaluation of the wholesale market revealed that excess capacity existed and that it could possibly be available for a five year term.  These factors were incorporated into Gulf’s RFP to maximize participation.

Gulf’s RFP sought 400 MW to 500 MW of generation capacity and energy beginning June 1, 2009, through May 31, 2014.  Gulf’s RFP projects a need for peaking capacity, but also considered bids from non-peaking proposals.  Gulf’s RFP process followed two primary guidelines; the Commission’s Rule 25-22.082, Florida Administrative Code, and FERC RFP guidelines.  Gulf states that it was careful to follow FERC guidelines as well as the Commission’s rules in designing and conducting its capacity solicitation, to avoid any unfair advantage to Gulf’s affiliate at any stage of the process.  Some of those guidelines include assuring that the RFP process is open and fair to all respondents, the product or products requested through the bidding process are precisely designed, the evaluation criteria was standardized and applied equally to all proposals, and every aspect of the RFP is presided over by an independent third party.

Gulf used Accion Group, Inc. (Accion) as its independent monitor, and did not identify a self-build alternative in its RFP.  Accion oversaw the RFP process to make sure it was credible and fair to all respondents.  Gulf used Accion as a third party in the contract negotiations to accommodate FERC’s guidelines concerning participation by affiliates.  Gulf did not set forth a self-build alternative because the RFP was for a short term need and would likely not lead to the construction of a new unit.

Gulf provided public notice of the RFP on December 22, 2005.  The notice was published in four newspapers: the Tallahassee Democrat, the Florida Freedom Springs, the Daily News and the Pensacola News Journal.  Also, Accion forwarded an e-mail to 67 potential respondents informing them of the RFP.  The respondents were invited to register and review the documents on a website created by Accion to be used for the RFP process.  Gulf issued its press release to trade publications concerning its RFP on December 27, 2005.  In the press release, Gulf announced that it planned to issue an RFP on January 20, 2006, soliciting bids by March 21, 2006.  The press release gave the Accion website address, www.gulfim.com, a comprehensive website where potential applicants could receive extensive information about the RFP process, review draft RFP documents, and ask questions.

Two RFP discussion sessions were held in Tallahassee, Florida, before and after the RFP was issued.  The discussion sessions were attended by interested persons and Commission staff. The first session was held on January 11, 2006, to discuss the requirements of the RFP.  The second session was held on January 31, 2006, to discuss the data requirements and to aid potential respondents with the RFP process.

Gulf’s initial discussions resulted in interest from eight potential respondents.  On March 21, 2006, Accion opened proposals submitted in response to the RFP.  Two participants actually responded to the RFP and submitted three proposals.  The six respondents who did not submit proposals, did so for various reasons.  Those reasons included concerns about anticipated transmission costs, unavailability of the requested product, late registration to submit a proposal and change in business plans.  Two of the three proposals were for supply of power from existing generating units.  The two lowest cost proposals were proposals offered from existing combustion turbine units.  The combined cycle alternative had the highest costs.  As a result, on May 8, 2006, Gulf informed the respondents with the two lowest cost proposals, Coral Power and Gulf’s affiliate, Southern Power, that they had been selected for further contract negotiations.

Gulf’s RFP process in this docket, although not required by Commission Rule, was reasonable.  With the exception of using Accion as an independent monitor and no identification of a self-build alternative, Gulf’s RFP process is consistent with the Commission’s solicitation rule, Rule 25-17.082, Florida Administrative Code.  The process reviewed the market to find the most cost-effective manner to fulfill Gulf’s need for additional capacity.  Gulf hired Accion in its RFP process to assure that it was fair and reasonable, allowing all interested parties an equal opportunity in the bidding process. Accion had access to all communications with respondents and evaluations of proposals and could determine the transparency and fairness of the solicitation process.  In its report on the Gulf Power 2009 RFP, Accion confirmed that the RFP was unbiased, well advertised, contained information readily available to all participants, and gave all participants opportunities to share any concerns about the RFP process.  Our staff’s review of the Accion website and documents provided by Gulf supports Accion’s report.

Gulf’s evaluation of the proposals submitted revealed that the Coral Contract and the Southern Power Contract were the most cost-effective means of meeting Gulf’s forecasted peaking capacity need between 2009 and 2014.  The final economic evaluation illustrates that the two contracts are more cost-effective than a comparable self-build combustion turbine.  By entering into the contracts, Gulf would move its need to add capacity from 2009 until 2014.  There is the possibility that in 2014 increased demand and better economics would permit building a more efficient unit instead of a peaking unit in 2009.  Gulf states that when considering the additional cost savings associated with deferring consideration of another capacity alternative to accommodate the use of new generating technology, the projected cost savings to its customers by entering into the Coral and Southern Power Company contracts is approximately $7.7 million in net present value.

We find that Gulf’s RFP and negotiation process was well-constructed, well-implemented, fair to all participants, and not preferential to its affiliate.  We also find that Gulf’s cost-effectiveness analysis is reasonable.  Gulf’s customers will receive savings by entering into the 2009 contracts with Coral Power and Southern Company and will defer the need for additional capacity until 2014.  Such a capacity deferral will allow the company to consider other types of technologies that could enhance performance and reduce costs.  Finally, Gulf’s analysis reveals that by deferring consideration of another capacity choice, entering into the contracts could result in projected cost savings to Gulf’s customers of $7.7 million, net present value.  For these reasons we approve the proposed contracts.

Based on the foregoing, it is

ORDERED by the Florida Public Service Commission that the Petition for approval of purchased power agreements between Gulf Power Company and Coral Power, L.L.C., and Gulf Power Company and Southern Power Company is granted.  It is further

ORDERED that the provisions of this Order, issued as proposed agency action, shall become final and effective upon the issuance of a Consummating Order unless an appropriate petition, in the form provided by Rule 28-106.201, Florida Administrative Code, is received by the Commission Clerk, Office of Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on the date set forth in the "Notice of Further Proceedings" attached hereto.  It is further

ORDERED that in the event this Order becomes final, this docket shall be closed.

By ORDER of the Florida Public Service Commission this  16th day of April, 2007.

|  | /s/ Ann Cole |
| --- | --- |
|  | ANN COLE Commission Clerk |

This is a facsimile copy. Go to the Commission's Web site, http://www.floridapsc.com or fax a request to 1-850-413-7118, for a copy of the order with signature.

( S E A L )

MCB

NOTICE OF FURTHER PROCEEDINGS OR JUDICIAL REVIEW

The Florida Public Service Commission is required by Section 120.569(1), Florida Statutes, to notify parties of any administrative hearing or judicial review of Commission orders that is available under Sections 120.57 or 120.68, Florida Statutes, as well as the procedures and time limits that apply.  This notice should not be construed to mean all requests for an administrative hearing or judicial review will be granted or result in the relief sought.

As identified in the body of this order, our action approving temporary service availability charges is preliminary in nature.  Any person whose substantial interests are affected by the action proposed by this order may file a petition for a formal proceeding, in the form provided by Rule 28-106.201, Florida Administrative Code. This petition must be received by the Office of Commission Clerk, at 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on May 7, 2007.  If such a petition is filed, mediation may be available on a case-by-case basis.  If mediation is conducted, it does not affect a substantially interested person's right to a hearing.  In the absence of such a petition, this order shall become effective and final upon the issuance of a Consummating Order.

Any objection or protest filed in this docket before the issuance date of this order is considered abandoned unless it satisfies the foregoing conditions and is renewed within the specified protest period.

Any party adversely affected by the Commission's final action in this matter may request: (1) reconsideration of the decision by filing a motion for reconsideration with the Commission Clerk, within fifteen (15) days of the issuance of this order in the form prescribed by Rule 25-22.060, Florida Administrative Code; or (2) judicial review by the Florida Supreme Court in the case of an electric, gas or telephone utility or the First District Court of Appeal in the case of a water or wastewater utility by filing a notice of appeal with the Office of Commission Clerk and filing a copy of the notice of appeal and the filing fee with the appropriate court.  This filing must be completed within thirty (30) days after the issuance of this order, pursuant to Rule 9.110, Florida Rules of Appellate Procedure.  The notice of appeal must be in the form specified in Rule 9.900(a), Florida Rules of Appellate Procedure.

Gulf asked us to consider whether the solicitation and negotiation of the Coral Contract and the Southern Power Contract was (1) transparent, open and fair, (2) properly and clearly defined and not discriminatory, (3) evaluated consistently with identified criteria without any advantage to any party, and (4) overseen by an independent third party monitor who had access to all communications with respondents and evaluations of proposals and could determine the transparency and fairness of the solicitation process.

See, Allegheny Energy Supply Company, LLC, 108 FERC ¶ 61,082 (2004).