BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

| In re: Petition for waiver of Rule 25-17.250(1) and (2)(a), F.A.C., which requires Progress Energy Florida to have a standard offer contract open until a request for proposal is issued for same avoided unit in standard offer contract, and for approval of standard offer contract. | DOCKET NO. 080501-EI |
| --- | --- |
| In re: Petition for approval of standard offer contract for purchase of firm capacity and energy from renewable energy producer or qualifying facility less than 100 kW tariff, by Progress Energy Florida, Inc. | DOCKET NO. 070235-EQ ORDER NO. PSC-09-0643-FOF-EI ISSUED: September 22, 2009 |

The following Commissioners participated in the disposition of this matter:

LISA POLAK EDGAR

KATRINA J. McMURRIAN

NANCY ARGENZIANO

APPEARANCES:

JOHN T. BURNETT, ESQUIRE, Progress Energy Service Company, LLC, 100 Central Avenue, St. Petersburg, Florida 33733-4042

On behalf of Progress Energy Florida, Inc. (PEF).

JAMES W. BREW, ESQUIRE, and F. ALVIN TAYLOR, ESQUIRE, 1025 Thomas Jefferson Street, NW, Eighth Floor, West Tower, Washington, DC 20007-5201

On behalf of White Springs Agricultural Chemicals, Inc. d/b/a PCS Phosphate – White Springs (PCS Phosphate).

JEAN HARTMAN, ESQUIRE, Florida Public Service Commission, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850

On behalf of the Florida Public Service Commission (Staff).

ORDER APPROVING STANDARD OFFER CONTRACT AND ASSOCIATED TARIFFS

Background

Since January 1, 2006, each electric investor-owned utility (IOU) has been required to continuously offer to purchase capacity and energy from specific types of renewable sources.  Section 366.91(3), Florida Statutes (F.S.), specifies that the contracts for purchase must be based on the utility's full avoided costs as defined in Section 366.051, F.S., and provide a term of at least 10 years.  Rules 25-17.200 through 25-17.310, Florida Administrative Code (F.A.C.), implement the statutes.

On April 1, 2008, Progress Energy Florida, Inc. (PEF or Company) filed its petition requesting our approval of a standard offer contract and associated tariffs based on the Ten-Year Site Plan for 2008-2017.  Pursuant to PEF's expansion plan, a single type of fossil fueled unit was available to serve as an avoided unit: a combined cycle unit to be located at Suwannee which was expected to come into service in June 2013.

On July 23, 2008, PEF filed a motion to withdraw its initial standard offer contract and COG-2 rate schedule that had been filed on April 1, 2008, in Docket No. 080187-EQ.  Accordingly, Commission staff withdrew the recommendation that had been filed in that docket.

On July 15, 2008, PEF filed a petition for rule waiver and approval of a standard offer contract which opened docket 080501-EQ.  In that filing, the Company explained that a request for proposals (RFP) had been issued for the Suwannee combined cycle unit.  PEF also indicated that it did not have an upcoming planned purchase in its Ten-Year Site Plan.  PEF requested that the Suwannee combined cycle unit serve as the avoided unit although it was no longer reflected in the Company’s Ten-Year Site Plan.

By Order No. PSC-08-0706-TRF-EI, issued October 23, 2008, we approved PEF’s petition for the second proposed standard offer contract and associated tariffs filed on July 15, 2008, and found that they were in compliance with Rules 25-17.200 through 25-17.310, F.A.C.  Order No. PSC-08-0706-TRF-EI is attached to this Order as Attachment A.  PCS Phosphate did not challenge the Commission's grant of the rule waiver.

On November 13, 2008, White Springs Agricultural Chemicals, Inc. d/b/a PCS Phosphate – White Springs (PCS Phosphate) timely filed a petition for formal hearing.  The formal hearing was held April 16, 2009.  Post hearing briefs were filed May 18, 2009.

Previously, PCS Phosphate had filed a timely protest to PEF’s 2007 standard offer contract in Docket No. 070235-EQ.  PEF and PCS each filed testimony in that docket.  A hearing in that matter was continued in light of the filing of PEF’s 2008 standard offer contract.  Docket No. 070235-EQ remains open and the testimony submitted in that docket was re-filed as exhibits in Docket No. 080501-EI.

This Order addresses the issues and evidence presented at the April 16, 2009 hearing.  We have jurisdiction over this matter pursuant to Sections 366.04 through 366.06, 366.91 and 366.92, F. S.

Decision

Compliance with Rules 25-17.200 through 25-17.310, F.A.C.

PEF believes that the record in this case demonstrates that the Company's standard offer contract is reasonable and in compliance with Rules 25-17.200 through 25-17.310, F.A.C.  PEF explains that the terms of the standard offer must be broad and generalized to apply to all renewable suppliers and qualifying facilities, while at the same time PEF is obligated upon execution of a standard offer contract, without any negotiation.  Implementation of the eight changes proposed by PCS Phosphate would cause financial harm to the customers of PEF, and customers would not get the full value of what they would be paying for.

In its brief, PCS Phosphate states that Rule 25-17.200, F.A.C., makes explicit that the purpose of the standard offer is to further Florida's renewable energy goals. PCS Phosphate proposes that the following eight contract terms must be revised to bring the standard offer contract proffered by PEF into compliance with Rules 25-17.200 through 25-17.301, F.A.C.:

(1)  appropriate performance characteristics of the avoided unit

(2)  right of first refusal for purchase of renewable energy credits

(3)  use of interruptible power to meet start up requirements

(4)  the number of capacity tests

(5)  the capacity testing period

(6)  arrangements for maintenance outage

(7)  retention of performance security by the utility

(8)  symmetrical credit and collateral provisions

PCS Phosphate believes that the proposed changes will remove unnecessary barriers to the development of renewable generation and minimize the need for potential renewable energy providers to expend resources in an effort to achieve equitable terms and conditions.

The eight modifications proposed by PCS Phosphate are addressed below.

(1)  Appropriate performance characteristics of the avoided unit:

The standard offer contract is required by statute to provide compensation to the renewable provider based upon the utility's avoided cost.  The avoided cost for any future generating capacity cannot be determined from the operating records of existing generating units. The historical capacity factors for any units in service are determined by economic dispatch, which is dependent upon many factors including weather, fuel costs, heat rates, etc.  Further, the operating history of existing units does not define the manner of dispatch or the costs that will actually develop after the next generating unit is built.

The projected availability of the planned unit is a performance benchmark.  If the next planned generating unit is expected to have an 89 percent availability, the unit would be expected to be able to generate at 100 percent capability up to 89 percent of the time.  The 89 percent availability is derived from careful assessment of such factors as the life cycle of various mechanical components and known requirements for maintenance associated with the type of unit.  The intent of the standard offer contract is to require the renewable generator to operate in a manner similar to the utility’s avoided unit.  If a utility-owned generating unit were not constrained by economic dispatch parameters, then the unit’s availability and capacity factor would be equivalent.

Under the standard offer contract, PEF must accept power from the renewable generator whenever the facility is on-line. When a renewable generator provides electric power, the measure of the service provided is the energy produced, measured in kilowatt-hours, which can be used to calculate a capacity factor.  The utility is not able to “call upon” or economically dispatch a renewable provider.  Owners of renewable generators typically seek to maximize payments through maximized energy production.  Therefore, the capacity factor and the availability factor of the renewable generator are virtually the same and can be compared to the availability factor of the avoided unit.

PCS Phosphate witness Marz testified that the availability factor of the avoided unit is 89 percent and the anticipated capacity factor is 65.3 percent based on PEF’s 2009 Ten-Year Site Plan.  He concluded that PEF requires performance better than that of the avoided unit for any level of capacity payment.  Witness Marz contends that the standard offer contract imposes an unreasonable standard upon renewable generators.  The resulting capacity factor that appears in a Ten-Year Site Plan is a calculation based on the availability performance benchmark, as well as projected values of many other factors such as fuel prices and load forecasts.  Thus, the estimate of capacity factor that appears in the Ten-Year Site Plan does not serve as a benchmark, because the underlying factors are highly variable.  In other words, if an economic dispatch were modeled today, the resulting capacity factor could be higher or lower, but the availability of the avoided unit would remain at 89 percent.  The only performance benchmark is the projected availability factor.  As discussed above, the intent of the standard offer contract is to require the renewable generator to operate in a manner similar to the utility’s avoided unit.  The capacity factor and the availability factor of the renewable generator are virtually the same and can be compared to the availability factor of the avoided unit.

If the renewable generator is available for 89 percent of the time, the operation of the renewable generator is approximating the avoided unit and the renewable provider should be compensated accordingly.  PEF's 2008 standard offer contract would pay the renewable generator the full capacity payment if the renewable generator achieved an 89 percent capacity factor.  While not required by our rules, providing an opportunity to receive reduced capacity payments for performance that is below that of the avoided unit is often referred to as a sliding scale.  PEF has included a minimum threshold level of a 69 percent capacity factor to receive capacity payments.  While this value is arbitrary, it serves to provide the renewable generator with a partial capacity payment if the renewable generator’s performance falls below that of the utility’s avoided unit.

PCS Phosphate has stated that renewable energy production may depend on other considerations including a manufacturing schedule. PCS Phosphate further stated that many variables, including the electrical needs of the renewable facility, will influence the operation and availability of the renewable generator.  The standard offer contract is based on replacing utility-owned capacity with similar capacity from a renewable supplier. We are required by statute to provide compensation to the renewable provider based upon the utility's avoided cost; not the cost of power produced by the renewable generator.  The changes to the standard offer contract that are proposed by PCS phosphate appear to us to be a major departure from the concept of paying avoided costs for similar capacity.

Accordingly, we find that the sliding scale for capacity payments in PEF's 2008 standard offer contract shall be approved.

(2)  Right of first refusal to purchase renewable energy credits:

As stated in their briefs, the parties agree that provisions relating to renewable energy credits should be revised.  We agree, and accordingly, PEF’s standard offer contract shall not include the right of first refusal for renewable energy credits.   Therefore, this issue is moot.

(3)  Use of interruptible power to meet startup requirements:

PCS Phosphate claims that no tariff provision prevents a customer from drawing power to start a generator during a power interruption.  However, such a claim is not consistent with Special Provision 2 of the SS-2 tariff, found on Sheet No. 6.318, which requires that interruptible equipment will be installed.  The SS-2 tariff is available on a first call basis, and the required equipment is subject to availability.  If an interruption is needed for reliability, it is executed by use of the special equipment installed, with the result that no power is available on the customer's side of that equipment.  Witness Gammon commented that “the generating unit could not return to service because it would not have power from PEF.”  The lack of available power for startup would be a matter of function rather than a matter of tariff prohibition.  There is no provision for some alternate connection to get around the equipment that is used to accomplish an interruption of electric service when reliability issues demand an interruption.

Witness Marz testified that “PCS purchases interruptible standby service for existing on-site generation.”  The witness went on to say that if interruptible standby service is provided to a renewable generator, this arrangement for service will subject the body of ratepayers to a risk that the contracted capacity would not be available when needed to alleviate a generation shortage.  Under our rules currently in force, the standard offer contract utilizes the next planned generator as a performance benchmark to assure “equal pay for equal performance” and so guard the interests of the ratepayer.  We find that the interruptible standby service is intended as an option for self-service generators who may sell excess energy on an as-available basis, rather than for generators selling firm power pursuant to a standard offer contract.  In our view, the testimony of PCS Phosphate witness Marz is describing a generation asset operated in a manner which does not match to the requirements of a standard offer contract under Rule 25-17.250, F.A.C.

We find that Section 6.3 of PEF's 2008 standard offer contract complies with Rule 25-17.250, F.A.C., and is appropriate as to prohibition of interruptible standby service.

(4)  Number of capacity tests:

The parties have reached agreement regarding arrangements for capacity testing if there is good cause.  PCS Phosphate accepts the revised Section 7.4 as provided by PEF witness Gammon in his rebuttal testimony. We find that this provision shall be incorporated in PEF’s standard offer contract filed in Docket No. 090162-EQ.

(5)  Period for capacity testing:

PEF witness Gammon testified that PEF's standard offer contract sets the test period for establishing the renewable generator's capacity to ensure that PEF's customers receive all the capacity that they have contracted to purchase.  The 24-hour test period required by PEF is less than the reliability testing that would be required of the avoided unit.  Witness Gammon testified that if a renewable supplier cannot generate for 24 hours, the supplier is not avoiding the planned unit.  If the renewable technology is unable to achieve a specified committed capacity over a 24-hour test period, it cannot serve to replace that specified capacity portion of the avoided unit.  The typical planned unit is able to run for several days at 100 percent capacity.  PCS Phosphate claims that varying operating characteristics of renewable generators must be integrated into the standard offer contract and seeks to revise the requirements in the standard offer contract to provide flexibility as to the time period for the committed capacity test.

We agree with PCS Phosphate that the standard offer contract does not bridge the gap between the operating characteristics of renewable generators and the generation units planned by a utility.  If the renewable generator's technology is able to match the performance and costs of the avoided unit, the utility would likely opt for the renewable technology and thereby obtain additional benefits, such as might accrue from smaller units widely distributed close to load centers.  While the development and support of renewable generating technologies underlie Sections 366.91 and 366.92, F.S., as well as Rule 25-17.250, F.A.C., the rules and regulations also require that the provisions of the standard offer contract must be designed so as to not compromise the principle of providing reliable service at least cost.  The information provided in the standard offer contract does support the development of renewable technologies by acting as a benchmark for performance.  A negotiated contract can provide accommodation for varying performance, illustrated by the Vandolah contract. This includes shorter periods for generating committed capacity.  However, replacing the terms of the standard offer with terms excerpted from various negotiated contracts would distort the information in the contract and render it inaccurate with regard to essential factors.  The complaints listed by PCS Phosphate do not lead to a conclusion that an abbreviated period is sufficient for a committed capacity test.

The committed capacity test required by a standard offer contract shall be based on the performance of the avoided unit, and matched to the avoided cost associated with that performance.  We find that the provisions of PEF's standard offer contract are in compliance with this requirement.

(6)  Allowance for maintenance outage:

The maintenance period is one of the performance standards associated with each specific generating unit.  Rule 25-17.0832(4)(e)8, F.A.C., provides that minimum performance standards of the renewable generator shall approximate the performance standards relating to the avoided unit.

PEF explained that allowing an additional 15 days outage, as requested by PCS Phosphate, means that replacement power must be obtained for those 15 days.  The costs for replacement power would be borne by PEF's customers. PEF essentially claims that the customers pay for power for 350 days throughout the year under the standard offer provisions, although PCS Phosphate wants the maintenance allowance changed so that power would only be required for 335 days.

PCS Phosphate claims that the 15-day allowance may be unduly restrictive because it may not be sufficient to perform the essential maintenance on the renewable provider’s equipment. Witness Marz testified that PEF’s requirement is one-sided and not responsive to the specific circumstances of renewable energy producers.

The projected outage for the avoided unit appears reasonable in our view.  We are required, by statute, to provide compensation to the renewable provider based upon the utility's avoided cost; not the cost of power produced by the renewable generator.  We believe that extending the allowance for permitted maintenance outage as requested by PCS Phosphate would not be in accord with Commission rules just cited.  As previously stated, this provision means that the standard offer contract utilizes the next planned generator as a performance benchmark to assure “equal pay for equal performance,” and so guard the interests of the ratepayer.

We find that the arrangements for maintenance provided by a standard offer contract shall be based on the maintenance requirements of the avoided unit.  PEF's contract provides for 15 days of scheduled maintenance per year, which is based on PEF’s avoided costs.

(7)  Concerning the performance security retained:

In his testimony, PCS Phosphate witness Marz provided an assessment of risks, and the management of those risks, involved with a renewable generator operating under a standard offer contract.  The risk assessment and management proffered by witness Marz differs from the risks to ratepayers recognized and managed by the provisions of Rule 25-17.0832, F.A.C.

The provisions of Rule 25-17.0832, F.A.C., recognize and address three distinctly different risks associated with power purchase contracts.  The first risk is associated with a possibility that the renewable provider enters into a contract, but is then unable to make available the committed capacity and energy by the date specified in the contract.  This risk relates to the completion security provided by Rule 25-17.0832(4)(f)1, F.A.C.  Upon timely demonstration that the renewable supplier has achieved the capability to deliver capacity and energy as specified in the contract, the rule directs that the completion security should be returned to the renewable provider, if it has been required in association with the execution of the contract.

The second risk relates to performance by the renewable provider, after successful completion of the capacity test, for the duration of the contract.  We agree with PEF witness Gammon that performance security is required throughout the term of the contract and is not finished when the capability of the renewable generator is originally demonstrated.  If a renewable provider is unable to comply with contractual performance requirements at a time of high demand, the utility may be forced to purchase energy in order to serve load.  If a  purchase of replacement energy becomes necessary, the incremental cost of the purchase would be subject to recovery from the retained performance security.  Without the retained performance security, the risk associated with the additional cost of the purchase falls to the ratepayer.  The provisions of Rule 25-17.0832(3)(d), F.A.C., apply to this situation, and are included in the standard offer contract by Rule 25-17.0832(4)(b), F.A.C.  Section 11 of PEF's standard offer contract provides for performance security, in accordance with the rule.

The performance security may differ from completion security, in terms or arrangements. For example, cash may be required for completion security while a bond is permitted for performance security.  Upon satisfactory performance in the committed capacity test, the special requirements of the completion security are no longer needed.  In the instant case, the completion security is the same as the performance security.  Section 11 in the standard offer contract proffered by PEF has a single security provision which is called “Completion/Performance Security,” to be undertaken by the renewable provider at the time conditions precedent are satisfied and remain through the term of the contract.  We recognize no separate completion security, to be returned upon satisfactory completion of the capacity test by the renewable generator.

The third risk is associated with optional payment streams, whereby the renewable provider selects one of the early payment options available.  Rule 25-17.0832(4)(e)10, F.A.C., requires a surety bond or equivalent to assure repayment of any energy or capacity payments that exceed the year's annual value of deferring the avoided unit.  Rule 25-17.0832(3), F.A.C., provides multiple options for early payment, subject to the constraint that the cumulative present worth of payments made by PEF for capacity and energy must not exceed the cumulative present worth of the year-by-year deferral associated with the avoided unit.  The early payment options create a deficit compared to the value of deferral, and that deficit is gradually extinguished over the term of the contract.  The standard offer contract provides for termination security that is directed at remedy of any deficit created by early capacity payments, in the event of default during the term of the contract.

Creditworthiness provisions are offered by PCS Phosphate witness Marz as a means to provide performance security in case of default by the renewable provider.  We find that the view of witness Marz is not in accord with the provisions of Rule 25-17.0832, F.A.C.  In a worst case scenario where a renewable provider would default, the provisions set out in the rules of the Commission protect the ratepayer through a process that recovers damages in a simple and direct manner, under the jurisdiction of the Commission.  An effort to liquidate damages based on a previous assessment of creditworthiness would likely involve assets not under the jurisdiction of the Commission.  The effort could entail extended court proceedings and increase both costs and risks borne by the ratepayer.

Rule 25-17.0832(3)(d), F.A.C., requires completion and performance security throughout the term of the contract. We find that if the same security serves for completion and performance, it must continue throughout the term of the contract.

(8)  Symmetrical credit and collateral provisions:

PCS Phosphate witness Marz testified that default provisions apply only to the renewable provider.  The witness stated, “There are no provisions that permit the renewable producer to declare a default by PEF.”  As an example, the witness describes a hypothetical situation where PEF could stop paying a renewable, and the renewable would have no contractual right to declare PEF in default.  The renewable provider must continue to provide power or risk being declared in default by PEF.  Witness Marz notes that approval of the contract by this Commission only guarantees recovery of the cost of the contract by PEF, while the renewable producer must assume risk of non-performance by PEF.   In his testimony filed February 18, 2008, witness Marz lists seven circumstances that can give rise to a default situation: (1) failure to make timely payment; (2) false or misleading representation or warranty; (3) failure to perform any obligation; (4) bankruptcy of a party; (5) failure to satisfy creditworthiness provisions; (6) merger or consolidation without assumption of prior obligation; and (7) breach by a guarantor. (TR 107)  The brief mentions that in case of dispute not resolved by executives, the standard offer contract specifies binding arbitration.  Witness Marz suggests that PEF should be required to post a bond if the utility's credit rating drops below a certain level.  Witness Marz also testified that PEF's ratepayers would bear the costs of such credit security.

As a regulated utility, PEF operates under our oversight.  PEF is obligated to sign the standard offer contract with any renewable provider who is willing to accept the terms of the contract.  Further, PEF is mandated to pay for the power it receives from the renewable provider.  The credit ratings of regulated companies are monitored by Commission staff.  While the future cannot be guaranteed, intervention by this Commission would be expected long before a regulated utility became involved in a situation of decline that might result in default on contractual payment obligations.  Mergers and activities with affiliates can obscure problems that presage default, but we seek to forestall problems through diligent regulatory oversight.  Cost recovery proceedings are conducted annually to insure prompt recovery of prudently incurred costs.  In contrast, we have no jurisdictional authority over a non-regulated provider and no means of direct influence over any decisions or actions by that entity, other than by oversight of the contractual arrangements that may impact a utility's ratepayers.

We find no support in the record for a proposal that PEF should be required to post bond as a security for capacity or energy payments that are obligated under the standard offer contract.

Consistency of Terms and Conditions with Rules 25-17.001 and 25-17.200 through 25-17.310, F.A.C.

The basis and methods of cost projection used in the pending matter appear similar to the cost projections that have been utilized for previous contracts, both negotiated and standard offer contracts, by various utilities over the years.  The appropriate values of the parameters shown on Schedule 2 of COG-2 were included in the filing for both 2007 and 2008.  In comparing the values for the parameters in year 2007 with those in year 2008, the variation appears reasonable.  The components themselves were not called into question and scrutinized during discovery.  We find no basis for a conclusion that the cost projections are seriously flawed.  The claim by PCS Phosphate that some incremental costs are omitted from the costs associated with the avoided unit is not supported in the record.

We find no support for a claim of inaccuracy as to calculation of avoided costs in the Rate Schedule COG-2 filed by PEF.  We find that the payment schedules included in PEF's standard offer contract are valid based on the assumptions stated, and provide typical or approximate payments that could be expected by a renewable provider.

Non-Price Terms and Conditions of PEF's Standard Offer Contract

The concerns regarding non-price terms and conditions itemized by PCS Phosphate regarding this issue have been addressed above.  In summary, interruptible standby service is not appropriate for a renewable generator operating under a standard offer contract.  This would impose additional and unnecessary risk to the body of ratepayers.  The required capacity test period of 24 hours and the allowance of 15 days of scheduled maintenance outage per year are based on the performance of the avoided unit and is in compliance with Rule 25-17.0832(4)(e)8, F.A.C.   We find no support in the record for a proposal that a utility should be required to post bond as a security for capacity or energy payments that are obligated under the standard offer contract.

Methodology for Determining a RF/QF’s Capacity Payments

The concerns relating to the definitions and use of the terms “availability factor” and “capacity factor” were addressed in earlier in this decision.  As decided above, we find that PEF's standard offer contract uses the availability factor and the capacity factor in a meaningful and appropriate manner to rationally assess the cost for capacity and energy avoided as a result of the renewable generator's contribution to grid power.

As discussed above, the costs related to the avoided unit were determined using the same methodology that has been used for a number of years and were calculated using the formula in Rule 25-17.0832(6), F.A.C.

We find that the estimates of value of deferral payments, based on avoided costs associated with the avoided unit, are calculated in an appropriate manner and are reasonable.  The methodology for determining an RF/QF’s capacity payments is in compliance with Rules 25-17.200 through 25-17.310, F.A.C.

Closing Docket No. 070235-EQ

Previously, PCS Phosphate had filed a timely protest to PEF’s 2007 standard offer contract in Docket No. 070235-EQ.  PEF and PCS each filed testimony in that docket.  A hearing in that matter was continued for purposes of administrative efficiency, at PCS Phosphate’s request and without PEF’s objection, without date in light of the filing of PEF’s 2008 standard offer contract.  Docket No. 070235-EQ remained open and the testimony submitted in that docket was  later re-filed as exhibits in Docket No. 080501-EI.  We, therefore, find it appropriate that Docket No. 070235-EQ shall be closed.

Based on the foregoing, it is

ORDERED by the Florida Public Service Commission that each of the findings made in the body of the order is hereby approved in every respect.  It is further

ORDERED by the Florida Public Service Commission that the Standard Offer Contract and associated tariffs proposed by Progress Energy Florida, Inc. are hereby approved.   It is further

ORDERED that

PEF shall file a revised 2009 renewable energy tariff and standard offer contract in accord with the Commission's decision herein.  It is further

ORDERED that Docket No. 070235-EQ shall be closed.  It is further

ORDERED that Docket No. 080501-EI shall be closed.

By ORDER of the Florida Public Service Commission this  22nd day of September, 2009.

|  | /s/ Ann Cole |
| --- | --- |
|  | ANN COLE Commission Clerk |

This is an electronic transmission.  A copy of the original signature is available from the Commission's website, www.floridapsc.com, or by faxing a request to the Office of Commission Clerk at 1-850-413-7118.

( S E A L )

JEH

NOTICE OF FURTHER PROCEEDINGS OR JUDICIAL REVIEW

The Florida Public Service Commission is required by Section 120.569(1), Florida Statutes, to notify parties of any administrative hearing or judicial review of Commission orders that is available under Sections 120.57 or 120.68, Florida Statutes, as well as the procedures and time limits that apply.  This notice should not be construed to mean all requests for an administrative hearing or judicial review will be granted or result in the relief sought.

Any party adversely affected by the Commission's final action in this matter may request: 1) reconsideration of the decision by filing a motion for reconsideration with the Office of Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, within fifteen (15) days of the issuance of this order in the form prescribed by Rule 25-22.060, Florida Administrative Code; or 2) judicial review by the Florida Supreme Court in the case of an electric, gas or telephone utility or the First District Court of Appeal in the case of a water and/or wastewater utility by filing a notice of appeal with the Office of Commission Clerk, and filing a copy of the notice of appeal and the filing fee with the appropriate court.  This filing must be completed within thirty (30) days after the issuance of this order, pursuant to Rule 9.110, Florida Rules of Appellate Procedure.  The notice of appeal must be in the form specified in Rule 9.900(a), Florida Rules of Appellate Procedure.

See Docket No. 080187-EQ, In re: Petition for approval of amended standard offer contract and COG-2 rate schedule, by Progress Energy Florida.

PEF’s withdrawal of its initial standard offer contract was acknowledged by Order No. PSC-08-0695-FOF-EQ, issued October 20, 2008.