Q.	Please state your name and business address.

A.	My name is John B. Crisp, and my business address is 100 Central Avenue, St. Petersburg, Florida   33701.

Q.	By whom are you employed and in what position?

A.	I am the Director of Integrated Resource Planning and Load Forecasting for Florida Power Corporation (FPC).

Q.	Did you file direct testimony and rebuttal testimony in this matter?

A.	Yes, I did.

Q.	Have you reviewed the testimony filed by Tom Ballinger, filed on behalf of the Florida Public Service Commission (PSC) Staff?

A.	Yes, I have.

Q.	Do you agree with his conclusion that recent developments cast doubt on the efficacy of a 15% reserve margin?

A.	No, I don’t, for several reasons.

First, he contends that planned reserve margins have been driven down by improved maintenance procedures, which have increased generating unit availabilities to unprecedented levels.  Although acknowledging that this is not a bad thing, he treats it as though it is.  In fact, what this development means is that the utilities in Florida have managed to improve the reliability of their fleets, reducing pressure to add new capacity to their systems.  This should be seen for what it is:  a win-win.  Utilities have managed to improve system reliability without incurring cost for new construction or imposing the additional impacts that would be associated with such construction on the State’s environment.

Mr. Ballinger contends that, while this “has had a dramatic impact on reliability,” it has “not withstood the test of time.”  (Ballinger Testimony, at 4).  But we are not talking about a radical new concept, only basic engineering:  Improved maintenance means improved reliability.  That fundamental concept has in fact withstood the test of time.

In addition, Mr. Ballinger concedes that “utilities have used a 15% reserve margin as a planning criterion for some time.”  (Id.).  So, he concedes in essence that this planning criterion has withstood the test of time.  He contends, however, that probabilistic criteria, such as LOLP, have historically been the driving factor for most capacity additions.  And, remarkably, he views as a problem the fact that “[r]ecent high unit availabilities have reduced LOLP values and hence, shifted the reliability focus to reserve margins.”  (Id. at 5).  What he is describing, again, is the fact that utilities have succeeded in improving the reliability of their generating facilities, thus reducing the likelihood that they will be unable to serve load.  This is a good development; not a bad one.  This should make us feel more comfortable, not more uncomfortable, with a 15% reserve margin, and it is certainly not a basis to suggest that a higher level of planning reserves be imposed.  Nonetheless, as I described in my Direct Testimony, the FRCC and FPC have used a “belt and suspenders” approach of maintaining a 15% reserve margin, in addition to ensuring that they satisfy an LOLP criterion of 1 days in 10 years.  Properly understood, the utilities have not disregarded LOLP analysis, but have concluded that the LOLP criterion is comfortably satisfied.

Finally, it bears emphasis that it is natural for system capacity to trend one way or the other over time.  Planners may appropriately react to a perceived tightening of capacity by recommending new construction of additional generating facilities, for example, but they should not react by changing their planning criteria.  The prevailing 15% planning criterion is a minimum reserve margin benchmark, and in any given year individual utilities or the State as a whole may exceed that criterion as a result of the type of planning decisions that I describe.

Q.	Mr. Ballinger believes that the FRCC methodology for testing planned reserve margins has at least three shortcomings:  load diversity, off-peak periods, and load forecast errors.  Do you agree?

A.	No, I don’t.  I will discuss each of these concerns, in turn.

Load Diversity

Mr. Ballinger faults the FRCC for applying a load diversity factor when aggregating the load forecasts of individual utilities.  But the FRCC implemented this adjustment as a refinement to its methodology in order to avoid distorting state-wide peak load values.  Without this adjustment, the FRCC would be lumping together individual utility peak-load values that actually occur at different times for different utilities.  This would artificially inflate the magnitude of peak load experienced at any given time on a state-wide basis.  It is difficult to quarrel with the proposition that you should calculate a number by adding up its actual components, not by including values that overstate the final figure.  What the FRCC has done should not detract from the credibility of its analysis; it should enhance it.

What Mr. Ballinger is arguing, in essence, is that the FRCC should build “fat” into its state-wide peak load value in order to make it more conservative.  But this amounts to using a plug number as a proxy for planning judgment.  I believe that planners will make better decisions, however, if they are working off of truer numbers, making a conscious decision to apply judgment when judgment is called for.

Off-Peak Periods

Next, Mr. Ballinger argues that the FRCC should test planning for off-peak periods since “it is typically off-peak periods when the utilities’ capacity resources are the most challenged.”  (Id. at 7).  It is revealing that Mr. Ballinger says that “This is primarily due to generating units being out of service for maintenance coupled with unusual weather such as a cold front in March . . . or a heat wave in April or May.”  (Id.).  The point that Mr. Ballinger is overlooking is that the very phenomenon he is describing is, by definition, a fluke.  Utility systems should not be designed to avoid interruptions in service in any and all circumstances, no matter how flukish.  It is more appropriate to plan to serve peak loads during the times that they historically occur.  This is a basic tenet of utility planning.

Load Forecast Error Rates

Finally, Mr. Ballinger faults the FRCC for factoring in forecasting error rates on both the positive side and the negative side, averaging out those times that utilities have over-forecasted with the times they have under-forecasted.  He says he is “not too concerned if a utility over-forecasted its load”; he is “more interested in how often and by what amount they were short of the mark.”  (Id. at 8).  But it is of legitimate interest to utilities when they over-forecast load and when they under-forecast load.  Each event contributes to the actual availability of capacity in the State to serve load (in one case producing more excess capacity than planned, which frees up reserves that may be shared with other utilities, and in the other case producing less excess capacity), and it is unrealistic to look at one but not the other.  Again, Mr. Ballinger seems to be advocating that the FRCC should strive to introduce distortions into its calculations from its best view of the real world.

Q.	Mr. Ballinger seeks to demonstrate what impact a 15% reserve margin would have on the capacity to serve load in future years if we experienced again the same weather conditions of December 1989.  Do you agree with his suggestion that a 15% reserve margin would yield more interruption of service than actually occurred in December 1989?

A.	No, I do not.  In fact, Mr. Ballinger’s own calculations demonstrate that without maintenance taking place during December of the planning years, the utilities in Florida would be better able to serve load on the basis of a 15% reserve margin planning criterion than they were in December 1989.  Since he says this is the objective he is trying to achieve as a planner, he has essentially proven the efficacy of a 15% reserve margin planning criterion.

He succeeds in raising a question only by factoring in the (unquantified) possibility that maintenance would be taking place during the same weeks of December over the planning horizon when another extraordinary weather event might occur.  Mr. Ballinger overlooks the fact, however, that utilities in Florida plan to perform certain maintenance during the first two weeks of December because it is not realistic to assume that the weather conditions of December 1989 will recur during those periods when maintenance is scheduled.  Furthermore, utilities plan to conduct only small maintenance tasks during those weeks (e.g., boiler inspections) that will take units out of operations only for short stretches and that may be rescheduled on short notice.  If there is in fact a significant risk that an extreme weather event may occur during these weeks, the solution would be to reschedule maintenance, not build more capacity.  It is certainly not reasonable for Florida utilities to plan their systems, as Mr. Ballinger proposes, both to perform maintenance and to serve the most extraordinary load ever experienced at the same time.

Q.	Have you reviewed the testimony of Robert L. Trapp, filed on behalf of the PSC Staff?

A.	Yes.

Q.	Do you agree with his opinion that generation planning is a “dynamic process,” involving many factors “subject to change,” and that, “[i]n the final analysis, system planners [and] utility management . . . must use their own experience and judgment to determine the level of reserve margins that are likely to best protect the public health and welfare?”  (Trapp Testimony, at 5).

A.	Yes, I do.  This is the point that I tried to articulate in my Direct Testimony.  It bears repeating that the experience of Florida utilities during the last several years indicates that this planning process is working.  There is no evidence to support changes, especially arbitrary ones, to current planning criteria.  Additionally, the Commission has indicated that this investigation is intended to consider the appropriate “methodology” for calculating planned reserve margins, not to leap directly to establishing a new minimum planning criterion.  Staff has effectively bypassed the issue of methodology and progressed directly to asserting a conclusion that a 15% reserve margin criterion is inappropriate.

Q.	Do you agree with his criticism that the FRCC should have proposed or developed by now some methodology to measure the likely contribution of non-committed power resources, such as merchant plants, to the adequacy of the Peninsular Florida system?

A.	No, I do not.  I believe that his criticism is based on inaccurate assumptions concerning non-firm energy availability and volatility price exposure during peak periods.  I will explain:

To begin with, the question whether merchant plants may be properly sited in Florida under existing legislative authority remains to be resolved by the Florida Supreme Court.  Putting that question aside, Mr. Trapp asserts that “2,500 MW of non-committed merchant plant capacity is scheduled to be placed in-service in Peninsular Florida in the next five years,” and “[n]one of this planned 2,500 MW of non-committed capacity is subject to a need determination under the Florida Power Plant Siting Act.”  (Trapp Testimony, at 6).  He speculates that this “non-committed capacity will provide an additional source of needed capacity in Florida,” and therefore he “find[s] it surprising” that the FRCC has not proposed or developed methodologies to measure “the likely contribution of these generation resources to the adequacy of the Peninsular Florida system.”  (Id. at 7).

There are several problems with his analysis.  As a threshold matter, Mr. Trapp overlooks the fundamental fact that merchant-plant developers and portfolio marketers of non-firm energy have no obligation to serve and have no commitment to fulfill any capacity needs in Florida.  Concerning merchant development, industry analysts have correctly observed:

The likelihood is that not all . . . (proposed) generating plants will be built.  Because they are driven almost entirely by market economics, even subtle regional price changes may be enough to prevent some plants from going forward.  In this sense, merchant plant developers are not unlike commercial real estate developers who announce a new building, look for tenants to lease space, and take a handful of signed leases (that is, “capacity commitments”) to a lender for construction financing.  If for some reason the pool of available tenants dwindles or if market economics turn south, the project stops until conditions improve.

Electric Utility Week, p. 8 (July 20, 1998), quoting Energy Insight.

Mr. Trapp also overlooks the fact that the PSC has repeatedly emphasized that only firm resources may be taken into account in calculating reserve margins.  See, e.g., Rule 25-6.035 (2) (“Only firm purchase power agreements may be included as a resource for purposes of calculating a planned or operating reserve margin.”); Re Determine Need for Proposed Capital Expansion Project of the Dade County Resources Recovery Facility, 93 FPSC 11,375 (Nov. 30, 1993) (finding that Dade County’s expanded solid waste facility would “not contribute to the reliability and integrity of the state’s electric system” because “Dade County has not committed to sell firm capacity pursuant to a Commission-approved contract” and stating that, “[b]ecause there are no plans to sell firm capacity, there is no way to analyze any effect on the state’s reliability and integrity due to Dade County’s energy sales”) (emphasis added).

By the same token, the PSC has repeatedly emphasized that as-available energy offered by QFs is not reliable.  Stating that “it is impossible to count on any as-available cogeneration facility as a firm capacity resource,” the PSC has directed the FRCC (formerly the FCG) not to count “planned or proposed cogeneration that was not under contract or letter of intent to Florida utilities . . .  as capacity resources.”  In re:  Hearings on Load Forecasts, Generation Expansion Plans, and Cogeneration Prices for Peninsular Florida’s Electric Utilities, 108 P.U.R.4th 398 (Fla. P.S.C. Dec. 26, 1989) (emphasis added), as amended Feb. 5, 1990); see, e.g., id. (as-available energy cannot “be reasonably relied upon”) (emphasis added); Rule 25-17.0825(1) [formerly Rule 25-17.825] (QFs should not be given capacity payments for as-available energy because as-available sales “lack . . . assurances as to the quantity, time, or reliability of delivery”).

Thus, by criticizing the FRCC for omitting to include consideration of non-firm market resources in its computation of firm reserve margins, Mr. Trapp is basically faulting the FRCC for adhering to long-standing Commission policy.  His position is neither fair nor well taken.

The Commission’s consistent refusal (putting the decision in the Duke case aside) to count uncommitted capacity toward needed reserves makes good policy sense.  The whole concept of a reserve margin is to identify and quantify power resources that a utility, or the State, can count on in times of need to serve peak load.  (Perhaps this is why it is known as “reserve” or “reserved” capacity.)  Neither a particular utility, nor any collection of utilities in Peninsular Florida, can count on merchant capacity, which by definition is uncommitted, to meet the need of Florida utilities.  The primary objective of a merchant plant is to achieve a maximum return on investment through a broad range of portfolio deals.  The whole idea of operating as a “merchant” plant is to remain free from firm commitments that, by their nature, constrain the flexibility of the revenue streams that the merchants can achieve.  In other words, the focus of the “merchant” plant is to pursue opportunity sales based on the economic self-interest of the merchant.  As discussed above, industry analysts have correctly observed that this is exactly how merchant developers behave in actual practice.

In fact, we have every reason to question whether uncommitted capacity that may be developed in Florida would actually be available when Florida utilities might need power resources.  In the past, need outside the State often has been great when need inside the State is also pronounced.  Cold weather in Florida may well be coincident with even colder weather north of here.  The same is true of heat waves, as demonstrated by events during the past few years.  We have no assurance that uncommitted resources would sell power into Peninsular Florida in these circumstances.  The simple reality is that merchant facilities, by definition, will sell wherever the economic opportunities are greatest.

Even from a probabilistic standpoint, it is difficult to determine the probability that uncommitted capacity will be available in Florida at a time of peak load.  To make this determination, we would have to be able to predict pricing patterns in areas where Florida-based merchant entities might market energy.  Whenever the price outside the State becomes attractive in relation to prices within the State, and sufficient transmission capacity exists, there may be a zero probability that uncommitted generation capacity will be available to meet the needs of Florida utilities.  The problem may be compounded if a merchant enters into short-term contractual commitments to sell energy outside the State that may preclude the merchant from responding even to favorable pricing signals in Florida during a peak-load experience.  How can we factor the “energy goes to the highest bidder” concept into a regulated reliability based reserve margin calculation?  I believe the answer is that we cannot, not without eroding the integrity of the operating system, as well as the ability to serve native load through the reserve margin concept.

Sensitive to these concerns, in its Order Establishing Reserve Margin Criteria used for the reserve sharing rule the Commission specifically rejected a Staff proposal to evaluate the feasibility of a voluntary market-based system of energy sales to assist utilities in serving firm load.  The Commission stated, “We are not persuaded that such a system is adaptable to those situations where a utility lacks sufficient capacity to serve its firm customers.”  In Re:  Generic Investigation into Planning and Operating Reserve Practices of Peninsular Florida Generating Electric Utilities, Order No. PSC-94-1256-FOF-EU, 1994 WL 570129, *6 (Fla. P.S.C.  Oct. 11, 1994) (emphasis added).

For all these reasons, FPC and other utilities do not count non-firm out-of-state resources toward reserve margins.  While utilities do take these resources into account in conducting assisted LOLP analyses, the prospect that merchant capacity may be added to the State would have no impact on the outcome of that analysis.  With or without the addition of merchant capacity, the FRCC and individual utilities have been able to demonstrate that the LOLP criterion of 1 day in 10 years is readily satisfied.

Q.	Mr. Trapp offers to count uncommitted capacity towards his proposed 20% reserve margin, provided “the FRCC and individual utilities were to credibly quantify the availability of non-committed capacity being developed in Florida.”  (E.g., Trapp Testimony, at 7).  Do you believe that this is a realistic proposal?

A.	No, I don’t.  While criticizing the FRCC for not figuring out a way – contrary to the consistent direction of the PSC – to count uncommitted capacity toward reserve margins for Peninsular Florida, he offers no means for doing so in his testimony.  In fact, what he suggests runs contrary not only to long-standing Commission policy, but to the stated premise of Mr. Ballinger’s testimony that “caution should be taken before adopting any reliability standard that has not been through the rigors of time testing.”  (Ballinger Testimony, at 5).  It is difficult to imagine an industry phenomenon more untried and untested than the inclusion of non-firm capacity within a specific reliability requirement for a regulated environment like Florida.  I believe that no one can predict the outcome of an experiment that blends the reliability requirements of a regulated operating environment with the pricing and delivery exposure associated with non-firm capacity and portfolio energy.  For this reason, FPC has consistently advocated the view that the legislature is best equipped to determine the desirability, strategy, processes, timing, and execution of such an endeavor.

Q.	Does Mr. Trapp adequately support his proposal for a 20% reserve margin by comparison with what other utilities or reliability councils are doing around the country?

A.	No, he does not.  In fact, he states bluntly that he is not able to make any such comparison but is relying basically upon his own judgment.  (Trapp Testimony, at 15).  What this means is that he is rejecting the judgment of the FRCC and other utilities in Florida, and rejecting the judgment of other reliability councils around the country, that have used a 15% minimum reserve margin planning criterion, in favor of what he has unilaterally determined is a better approach.

Q.	Do you agree with Mr. Trapp’s opinion that a reserve margin criterion should not “be adopted to absolutely ensure that outages do not occur during periods of extremely cold weather?”  (Trapp Testimony, at 17).

A.	Yes, I do.  This is consistent with the long-standing approach of the Commission, the FRCC, Florida utilities, and the electric utility industry.

Q.	If we were to accept Mr. Trapp’s goal of ensuring that “the MWs of capacity unserved as a result of an extreme weather event should be no greater than that experienced during Christmas 1989” (Trapp Testimony, at 17) (emphasis added), could we achieve that result by using a 15% reserve margin planning criterion?

A.	Absolutely.  This is demonstrated by Table 2 of Mr. Trapp’s own exhibits (Exhibit RLT-1), which establishes that MWs of unserved capacity would fall far short of that experienced in December 1989, using a 15% reserve margin criterion, in the event that utilities would not be performing maintenance on their units during that time.  As I have explained above, it is not reasonable to plan a system based on the unrealistic supposition that an admittedly extraordinary weather condition would occur during the same days that utilities were planning maintenance.  Utilities follow careful planning practices and procedures to plan maintenance at times when they can reasonably anticipate lower load conditions.

Q.	Do you agree with Mr. Trapp’s opinion that the FRCC and individual utilities should adopt a 20% reserve margin planning criterion?

A.	No, I do not.  For the reasons I have given, I don’t believe Mr. Trapp has provided sufficient justification for adopting a different criterion.  As I have discussed, 15% is a criterion that has successfully withstood the test of time both here in Florida and around the country.  If Staff has concerns related to a perceived decline in the level of actual reserve levels, then those concerns are best addressed in the Ten Year Site Plan forum or in a separate proceeding designed to evaluate the sufficiency of utility reserves, not in this proceeding, which is intended to evaluate the appropriate methodology for calculating such reserves.

Q.	Does this conclude your supplemental rebuttal testimony?

A.	Yes, it does.