IV.	Commercial/Industrial

CONSERVATION Programs

IV.	Commercial/Industrial Conservation Programs

Progress Energy Florida, Inc.’s (PEF) DSM Plan includes seven (7) commercial/industrial programs:

- Business Energy Check  -  C/I energy audits

- Better Business  -  “umbrella” program for existing facilities

- C/I New Construction  -  “umbrella” program for new construction facilities

- Innovation Incentive  -  custom measures

- Standby Generation  -  Rate Tariff GSLM-2

- Interruptible Service  -  Rate Tariff IS-2

- Curtailable Service  -  Rate Tariff CS-2

Each program is described in detail in the following sections.

A.	Business Energy Check Program

Program Start Date:	  ▸  1995

Policies and Procedures

The Business Energy Check is Progress Energy Florida’s (PEF) energy audit program.  It provides commercial and industrial (C/I) customers with an assessment of the current energy usage at their facility and information on low-cost energy efficiency measures.  This program serves as the foundation for PEF’s other DSM programs targeted toward existing C/I construction and, in most cases, it is a prerequisite for participation in the other C/I programs.

The Business Energy Check consists of the following types of audits:

Type 1:	Free On-site Walk-Through Audit (Inspection)

Type 2:	Paid Walk-Through Audit (Energy Analysis)

Type 3:   On-line Business Energy Check (A Customer-completed Internet audit)

All commercial, industrial, and governmental retail customers of PEF are eligible to have either type conducted on any of their buildings located in PEF’s service territory.  There is no charge for Type 1 or Type 3 audits, while there is a nominal customer charge for the Type 2 energy analysis.  When a customer requests a Business Energy Check, they will be given the option of scheduling a Type 1 inspection or a Type 2 energy analysis, and will be informed of the On-line audit option.  The specific details on the procedures for each type of audit will be presented in the Program Participation Standards.

Program Participation

Cumulative participation estimates for the program are shown in the following table.

| Year | Total Number of Customers[1] | Total Number of Eligible Customers | Annual Number of On-site Audit Participants | Annual Number of On-line Audit Participants | Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- | --- |
| 2005 | 184,973 | 166,476 | 1,500 | 150 | 1% |
| 2006 | 188,338 | 169,504 | 3,000 | 300 | 2% |
| 2007 | 191,917 | 172,725 | 4,500 | 450 | 3% |
| 2008 | 195,622 | 176,060 | 6,000 | 600 | 4% |
| 2009 | 199,361 | 179,425 | 7,500 | 750 | 5% |
| 2010 | 203,048 | 182,743 | 9,000 | 900 | 5% |
| 2011 | 206,613 | 185,952 | 10,500 | 1,050 | 6% |
| 2012 | 210,080 | 189,072 | 12,000 | 1,200 | 7% |
| 2013 | 213,480 | 192,132 | 13,500 | 1,350 | 8% |
| 2,014 | 216,855 | 195,170 | 15,000 | 1,500 | 8% |

1.	Total Number of Customers is the April 2004 forecast of all commercial and industrial customers.

Savings Estimates

The total program savings were developed based on historical PEF audits and a review of C/I audit impacts.  These estimates include impacts directly resulting from the standard audit recommendations, including the installation of low-cost energy efficiency measures.  In addition, customer-specific savings may result from site-specific recommendations that the auditor makes at the time of the audit, but which are not included in the standard audit form.  These impacts will be calculated on a case-by-case basis and added to the standard impacts.  The total program savings are shown in the following tables.

| At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2005 | 291 | 0.136 | 0.136 | 480,000 | 225 | 225 |
| 2006 | 291 | 0.136 | 0.136 | 960,000 | 450 | 450 |
| 2007 | 291 | 0.136 | 0.136 | 1,440,000 | 675 | 675 |
| 2008 | 291 | 0.136 | 0.136 | 1,920,000 | 900 | 900 |
| 2009 | 291 | 0.136 | 0.136 | 2,400,000 | 1,125 | 1,125 |
| 2010 | 291 | 0.136 | 0.136 | 2,920,000 | 1,369 | 1,369 |
| 2011 | 290 | 0.136 | 0.136 | 3,440,000 | 1,613 | 1,613 |
| 2012 | 290 | 0.136 | 0.136 | 3,960,000 | 1,857 | 1,857 |
| 2013 | 290 | 0.136 | 0.136 | 4,480,000 | 2,101 | 2,101 |
| 2014 | 290 | 0.136 | 0.136 | 5,000,000 | 2,345 | 2,345 |

| At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2005 | 311 | 0.1457 | 0.1457 | 512,914 | 240 | 240 |
| 2006 | 311 | 0.1457 | 0.1457 | 1,025,828 | 481 | 481 |
| 2007 | 311 | 0.1457 | 0.1457 | 1,538,742 | 721 | 721 |
| 2008 | 311 | 0.1457 | 0.1457 | 2,051,656 | 962 | 962 |
| 2009 | 311 | 0.1457 | 0.1457 | 2,564,570 | 1,202 | 1,202 |
| 2010 | 310 | 0.1456 | 0.1456 | 3,120,227 | 1,463 | 1,463 |
| 2011 | 310 | 0.1455 | 0.1455 | 3,675,884 | 1,724 | 1,724 |
| 2012 | 310 | 0.1454 | 0.1454 | 4,231,541 | 1,984 | 1,984 |
| 2013 | 310 | 0.1453 | 0.1453 | 4,787,197 | 2,245 | 2,245 |
| 2014 | 310 | 0.1453 | 0.1453 | 5,342,854 | 2,506 | 2,506 |

Impact Evaluation Plan

The range of possible recommendations resulting from the audit, and the inclusion of both technological and behavioral recommendations suggests the need to carefully survey participants to determine what specific actions have been undertaken due to the completed audit.  Initially, the use of site-specific engineering estimates is likely to be the most cost-effective method of estimating program impacts, although the use of statistical analysis technique may also be considered, depending on the participation levels actually achieved.

B.	Better Business Program

Program Start Date:		▸  1995

▸  Proposed modification for 2005

Policies and Procedures

The Better Business program is the umbrella efficiency program for existing commercial and industrial customers.  Better Business builds on the Business Energy Check by using the audit to initiate PEF involvement in the customer's facility (participating in Business Energy Check is a prerequisite for receiving most of the incentives).  This program provides customers with information, education, and advice on energy-related issues and incentives on efficiency measures that are cost-effective to PEF and its customers.  Better Business promotes energy efficient heating, ventilation, air conditioning, high efficiency energy recovery ventilation, and some building retrofit measures (in particular, ceiling insulation upgrade, duct leakage test and repair, and cool roof coatings).

The general eligibility requirements are as follows:

- The participant must be a PEF commercial, industrial, or governmental customer.

- Equipment must be installed in facilities located in the PEF service territory and served by a metered PEF account.

- A Business Energy Check audit (Type 1, 2, or 3) must be completed prior to the purchase or installation of all measures (with the exception of emergency HVAC replacements).

- The participant must be willing to allow PEF to inspect the installation of all measures and equipment prior to receiving any incentive payments.

- All equipment installations shall meet manufacturers’ instructions and specifications.

Incentive levels and specific eligibility requirements for each measure promoted in this program will be presented in the Program Participation Standards and will be subject to revision based on changes in market conditions, such as baseline or code revisions, evaluation findings, or technological advances.

HVAC Equipment

The HVAC equipment component of Better Business provides customers with information on high efficiency HVAC equipment and financial incentives for the purchase of high efficiency unitary heat pumps and air conditioners, packaged rooftop units, packaged terminal heat pumps (PTHP’s), and water-cooled and air-cooled chillers.  The incentive is calculated for each unit based on the kW difference between the high efficiency unit and the program-specified baseline efficiency (at ARI Standard Test Rating Conditions) and is calculated using a dollar per kW reduced incentive up to a maximum of $100/kW reduced. The maximum incentive is $50,000 per installation for a chiller project.

Energy Recovery Ventilation

The program promotes the installation of high efficiency energy recovery ventilation (ERV) units in the conditioned air stream for customers using electric cooling and heating. These units are capable of removing over 70% of the sensible heat and over 60% of the latent heat when properly sized and installed. To qualify for PEF’s incentive of $0.75 per CFM, the ERV must be at least a 450 cfm unit and have a total efficiency greater than 65% per ARI 1060-2000 test standards. As an example, a qualifying 450 cfm ERV will earn a $337 incentive. The maximum incentive is $1,500 per installation.

Duct Leakage Test and Repair

This portion of the program is designed to promote energy efficiency through improved duct system sealing.  Through the use of an inspection tool, such as a blower-door, duct leaks can be identified and repaired.  This program component applies to HVAC equipment and systems that are no larger than 65,000 Btu/h.  A customer must have electric heating  and a centrally-ducted cooling system, either air conditioning or heat pump, to be eligible for this program.  If a building has excess ventilation such that the building can not be pressurized, the building may not be eligible for participation.  For the duct test, PEF will pay an incentive of up to a maximum of $30 for the first unit tested and $20 for each additional unit tested.  For the duct repair, PEF will pay an incentive of up to a maximum of $100 per unit.  The duct repair incentive amount is dependent on the type of electric heating system.

Ceiling Insulation Upgrade

This portion of the program encourages customers who have electric space heat to add insulation to the ceiling area by paying for a portion of the installed cost.  The facility must have an existing ceiling insulation level less than R-12 to participate and must be heated by electricity in order to receive the incentive.  Heat loss and heat gain calculations must show that the additional insulation would result in heating and/or cooling energy use reductions in order to be eligible for an incentive.  The maximum incentive amount will be $100 per customer and the specific incentive amount that a customer is eligible to receive will be a function of the resulting insulation level.

Cool Roof

This program will provide customers with an incentive to install an Energy Star Roof Products approved “cool roof” coating providing the facility has electric cooling.  Energy Star allows manufacturers to use the Energy Star label on reflective roof products that meet the US EPA’s specifications for solar reflectance and reliability, having an initial reflectance greater than or equal to .65.  The incentive will be $ 50 per 1,000 square-foot of cool roof coating installed with a maximum incentive of $1,000 per installation.

Motors and Window Film removed

Progress Energy has determined that it is no longer cost-effective under the RIM test to continue offering incentives for motors and window film. These measures have low rates of participation and have small overall impacts.

Program Participation

Cumulative participation estimates for the program are shown in the following table.

| - Year | - Total Number of Customers[1] | - Total Number of Eligible Customers | - Annual Number of Measure Participants [2] | - Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| - 2005 | - 184,973 | - 166,476 | - 489 | - 0.3% |
| - 2006 | - 188,338 | - 169,504 | - 987 | - 0.6% |
| - 2007 | - 191,917 | - 172,725 | - 1,467 | - 0.9% |
| - 2008 | - 195,622 | - 176,060 | - 1,956 | - 1.1% |
| - 2009 | - 199,361 | - 179,425 | - 2,445 | - 1.4% |
| - 2010 | - 203,048 | - 182,743 | - 2,934 | - 1.6% |
| - 2011 | - 206,613 | - 185,952 | - 3,423 | - 1.9% |
| - 2012 | - 210,080 | - 189,072 | - 3,912 | - 2.1% |
| - 2013 | - 213,480 | - 192,132 | - 4,401 | - 2.3% |
| - 2,014 | - 216,855 | - 195,170 | - 4,890 | - 2.5% |

- Total Number of Customers is the April 2004  forecast of all commercial and industrial customers.

- This total is larger than the number of actual customers anticipated installing eligible measures and earning an incentive since many customers install multiple measures at one account.

Savings Estimates

Total program savings were developed by first estimating the total savings for each individual measure based on each measure’s (1) per customer savings and, (2) annual projected participation.  The total program savings were then computed as the sum of the individual measure savings, and are shown in the following tables.

| At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2005 | 2414 | 1.197 | 1.396 | 1,194,756 | 593 | 691 |
| 2006 | 2414 | 1.197 | 1.396 | 2,389,512 | 1,185 | 1,382 |
| 2007 | 2414 | 1.197 | 1.396 | 3,584,268 | 1,778 | 2,074 |
| 2008 | 2414 | 1.197 | 1.396 | 4,779,024 | 2,371 | 2,765 |
| 2009 | 2414 | 1.197 | 1.396 | 5,973,780 | 2,963 | 3,456 |
| 2010 | 2414 | 1.197 | 1.396 | 7,168,536 | 3,556 | 4,147 |
| 2011 | 2414 | 1.197 | 1.396 | 8,363,292 | 4,148 | 4,839 |
| 2012 | 2414 | 1.197 | 1.396 | 9,558,049 | 4,741 | 5,530 |
| 2013 | 2414 | 1.197 | 1.396 | 10,752,805 | 5,334 | 6,221 |
| 2014 | 2414 | 1.197 | 1.396 | 11,947,561 | 5,926 | 6,912 |

| At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2005 | 2579 | 1.2793 | 1.4922 | 1,276,681 | 633 | 739 |
| 2006 | 2579 | 1.2793 | 1.4922 | 2,553,363 | 1,267 | 1,477 |
| 2007 | 2579 | 1.2793 | 1.4922 | 3,830,044 | 1,900 | 2,216 |
| 2008 | 2579 | 1.2793 | 1.4922 | 5,106,726 | 2,533 | 2,955 |
| 2009 | 2579 | 1.2793 | 1.4922 | 6,383,407 | 3,166 | 3,693 |
| 2010 | 2579 | 1.2793 | 1.4922 | 7,660,089 | 3,800 | 4,432 |
| 2011 | 2579 | 1.2793 | 1.4922 | 8,936,770 | 4,433 | 5,170 |
| 2012 | 2579 | 1.2793 | 1.4922 | 10,213,452 | 5,066 | 5,909 |
| 2013 | 2579 | 1.2793 | 1.4922 | 11,490,133 | 5,699 | 6,648 |
| 2014 | 2579 | 1.2793 | 1.4922 | 12,766,815 | 6,333 | 7,386 |

- Per measure impacts for 2005-2014., assuming no overlap.

- Per measure impacts vary from year to year because of the changing mix of measures assumed to be installed in any given year.

Impact Evaluation Plan

The impact evaluation plan for an "umbrella" program such as this requires a varied approach given the number and type of measures being promoted.  Some measures provide large per unit impacts while others yield relatively smaller impacts.  The total impact from all smaller-impact measures could potentially be less than the uncertainty around an impact estimate of just one large-impact measure.  Consequently, the impact evaluation will place greater emphasis on the larger-impact measures.  The method of impact evaluation may vary depending on the participation levels actually achieved for each measure.  Engineering analysis and statistical billing analysis will represent the primary methods used to estimate demand and energy impacts.  On-site metering may also be used where feasible and cost-effective.

Cost Effectiveness

The economic results of the program are as follows:

| Cost-Effectiveness Test | NPV Benefits (000$) | NPV Costs (000$) | NPV Net Benefits (000$) | B/C Ratio |
| --- | --- | --- | --- | --- |
| Rate Impact Measure | 8,283 | 6,904 | 1,379 | 1.20 |
| Participant | 6,826 | 4,414 | 2,412 | 1.55 |
| Total Resource Cost | 8,283 | 4,492 | 3,791 | 1.84 |

C.	Commercial/Industrial New Construction Program

Program Start Date:	    ▸  1995

▸   Program modified in 2000

▸  Proposed modification for 2005

Policies and Procedures

The primary goal of the PEF’s Commercial/Industrial (C/I) New Construction program is to foster the design and construction of energy efficient buildings. The new construction program will:  1) provide education and information to the design community on all aspects of energy efficient building design; 2) require that the building design, at a minimum, surpass the state energy code; 3) provide financial incentives for specific energy efficient equipment; and 4) provide energy design awards to building design teams.  The program will simultaneously target building developers/owners and the building design community and will work one-on-one with them throughout a new construction project.  PEF will focus on developing relationships with the key decision-makers of commercial and industrial new construction so as to be able to get involved early in the design process.

The general eligibility requirements are as follows:

- The new construction project location must be established within PEF’s service territory.

- The new construction building must be served by a PEF account prior to the issuance of any incentive payment.

- The participant must be willing to allow PEF to inspect the installation of all measures and equipment prior to receiving any incentive payments.

- All equipment installations shall meet manufacturers’ instructions and specifications.

Incentives will be provided for high efficiency HVAC equipment, high efficiency energy recovery ventilation, and cool roof coatings.  Incentive levels and specific eligibility requirements for each of the measures promoted in this program will be presented in the Program Participation Standards and will be subject to revision based on changes in market conditions, such as baseline or code revisions, evaluation findings, or technological advances.

- HVAC Equipment

The HVAC equipment component of C/I New Construction provides customers with information on high efficiency HVAC equipment and financial incentives for the purchase of high efficiency unitary heat pumps and air conditioners, packaged rooftop units, packaged terminal heat pumps (PTHPs), and water-cooled and air-cooled chillers.  The incentive is calculated for each unit based on the kW difference between the high efficiency unit and the program-specified baseline efficiency (at ARI Standard Test Rating Conditions) and is calculated using a dollar per kW reduced incentive up to $100/kW reduced. The maximum incentive is $50,000 per installation for a chiller project.

Energy Recovery Ventilation

The program promotes the installation of high efficiency energy recovery ventilation (ERV) units in the conditioned air stream for customers using electric cooling and heating. These units are capable of removing over 70% of the sensible heat and over 60% of the latent heat when properly sized and installed. To qualify for PEF’s incentive of $0.75 per CFM, the ERV must be at least a 450 cfm unit and have a total efficiency greater than 65% per ARI 1060-2000 test standards. As an example, a 450 cfm ERV will earn a $337 incentive and there is a maximum incentive of $1,500 per installation.

Cool Roof

This program will provide customers with an incentive to install an Energy Star Roof Products approved “cool roof” coating providing the facility has electric cooling.  Energy Star allows manufacturers to use the Energy Star label on reflective roof products that meet the US EPA’s specifications for solar reflectance and reliability, having an initial reflectance greater than or equal to .65.  The incentive will be $ 50 per 1,000 square-foot of cool roof coating installed with a maximum incentive of $1,000 per installation.

Motors and Heat Recovery removed

Progress Energy has determined that it is no longer cost-effective under the RIM test to continue offering incentives for motors and heat recovery. These measures have low rates of participation and have small overall impacts.

Program Participation

Cumulative participation estimates for the program are shown in the following table.

| - Year | - Total Number of Customers[1] | - Total Number of Eligible Customers | - Annual Number of Measure Participants [2] | - Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| - 2005 | - 184,973 | - 3,365 | - 189 | - 0.6% |
| - 2006 | - 188,338 | - 6,944 | - 368 | - 0.5% |
| - 2007 | - 191,917 | - 10,649 | - 547 | - 0.5% |
| - 2008 | - 195,622 | - 14,388 | - 726 | - 0.5% |
| - 2009 | - 199,361 | - 18,075 | - 905 | - 0.5% |
| - 2010 | - 203,048 | - 21,640 | - 1,084 | - 0.5% |
| - 2011 | - 206,613 | - 25,107 | - 1,263 | - 0.5% |
| - 2012 | - 210,080 | - 28,500 | - 1,442 | - 0.5% |
| - 2013 | - 213,480 | - 31,882 | - 1,621 | - 0.5% |
| - 2,014 | - 216,855 | - 35,182 | - 1,800 | - 0.5% |

- Total Number of Customers is the April 2004 forecast of all commercial and industrial customers.

- This total is larger than the number of actual customers anticipated installing eligible measures and earning an incentive since many customers install multiple measures at one account.

- Savings Estimates

Total program savings were developed by first estimating the total savings for each individual measure based on each measure’s (1) per customer savings and, (2) annual projected participation.  The total program savings were then computed as the sum of the individual measure savings, and are shown in the following tables.

| At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2005 | 4248 | 2.580 | 1.912 | 1,040,735 | 632 | 468 |
| 2006 | 4248 | 2.580 | 1.912 | 2,081,469 | 1,264 | 937 |
| 2007 | 4248 | 2.580 | 1.912 | 3,122,204 | 1,896 | 1,405 |
| 2008 | 4248 | 2.580 | 1.912 | 4,162,938 | 2,528 | 1,874 |
| 2009 | 4248 | 2.580 | 1.912 | 5,203,673 | 3,160 | 2,342 |
| 2010 | 4248 | 2.580 | 1.912 | 6,244,408 | 3,792 | 2,811 |
| 2011 | 4248 | 2.580 | 1.912 | 7,285,142 | 4,424 | 3,279 |
| 2012 | 4248 | 2.580 | 1.912 | 8,325,877 | 5,057 | 3,748 |
| 2013 | 4248 | 2.580 | 1.912 | 9,366,612 | 5,689 | 4,216 |
| 2014 | 4248 | 2.580 | 1.912 | 10,407,346 | 6,321 | 4,685 |

| At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2005 | 4539 | 2.7568 | 2.0434 | 1,112,099 | 675 | 501 |
| 2006 | 4539 | 2.7568 | 2.0434 | 2,224,197 | 1,351 | 1,001 |
| 2007 | 4539 | 2.7568 | 2.0434 | 3,336,296 | 2,026 | 1,502 |
| 2008 | 4539 | 2.7568 | 2.0434 | 4,448,395 | 2,702 | 2,002 |
| 2009 | 4539 | 2.7568 | 2.0434 | 5,560,493 | 3,377 | 2,503 |
| 2010 | 4539 | 2.7568 | 2.0434 | 6,672,592 | 4,052 | 3,004 |
| 2011 | 4539 | 2.7568 | 2.0434 | 7,784,691 | 4,728 | 3,504 |
| 2012 | 4539 | 2.7568 | 2.0434 | 8,896,789 | 5,403 | 4,005 |
| 2013 | 4539 | 2.7568 | 2.0434 | 10,008,888 | 6,079 | 4,506 |
| 2014 | 4539 | 2.7568 | 2.0434 | 11,120,987 | 6,754 | 5,006 |

- Per measure impacts for 2005-2014., assuming no overlap.

- Per measure impacts vary from year to year because of the changing mix of measures assumed to be installed in any given year.

Impact Evaluation Plan

The impact evaluation plan for an "umbrella" program such as this requires a varied approach, given the number and type of measures being promoted.  Some measures provide large per unit impacts while others yield relatively smaller impacts.  The total impact from all smaller-impact measures could potentially be less than the uncertainty around an impact estimate of just one large-impact measure.  Consequently, the impact evaluation will place greater emphasis on the larger-impact measures.  The method of impact evaluation may vary depending on the participation levels actually achieved for each measure.  Engineering analysis and statistical billing analysis will represent the primary methods used to estimate demand and energy impacts.  On-site metering may also be used, where feasible and cost-effective.

Cost Effectiveness

The economic results of the program are as follows:

| Cost-Effectiveness Test | NPV Benefits (000$) | NPV Costs (000$) | NPV Net Benefits (000$) | B/C Ratio |
| --- | --- | --- | --- | --- |
| Rate Impact Measure | 7,129 | 5,944 | 1,185 | 1.20 |
| Participant | 5,899 | 3,866 | 2,033 | 1.53 |
| Total Resource Cost | 7,129 | 3,911 | 3,218 | 1.82 |

D.	Innovation Incentive Program

Program Start Date:	▸  1992

▸   Modified in 1995

Policies and Procedures

The Innovation Incentive program promotes a reduction in kW and kWh by subsidizing energy conservation projects for customers in the PEF service territory.  The intent of the program is to encourage legitimate energy efficiency measures that reduce peak kW demand and/or kWh energy, but which are not addressed by other programs.

Energy efficiency opportunities are identified by PEF representatives during a Business Energy Check audit and are presented to the customer as part of the Business Energy Check report.  Requirements for participation in this program are also explained to the customer at that time.  If the customer chooses to implement modifications to effect energy efficiency improvements that are not addressed in other PEF energy efficiency programs, the modifications would be eligible for consideration under this program.

Representative examples of energy efficient technologies that would be considered under this program include, but are not limited to, refrigeration equipment replacements to improve efficiency, thermal energy storage systems, microwave drying systems, and inductive heating systems to replace resistance heating systems.

The program is available to all business customers in PEF’s territory for projects that reduce peak demand by a minimum of 10 kW.

Program eligibility requirements to qualify for participation are as follows:

- Participant must be located in the PEF service territory and be a metered business customer.

- The customer is required to have an audit (any level) completed by PEF prior to participation in the program, except in the case of new construction projects.

- Projects must reduce or shift peak demand by a minimum of 10 kW.

- The participant must be willing to allow PEF to inspect the installations of all measures and equipment.

If the described project meets the program specifications, PEF will provide project approval and projected incentive payment amounts.  Engineering designs, cost estimates, and energy savings projections must be submitted under a professional seal, when necessary.  The customer may be required to monitor the project after completion to verify kW and kWh savings.  Monitoring methods shall be approved by PEF.  Costs for monitoring equipment should be included in the overall project cost estimate.

PEF will perform a customer-specific cost-effectiveness analysis for each project being considered under the Innovation Incentive program, using the Commission-approved cost-effectiveness tests described in Rule 25-17.008, Florida Administrative Code.  To receive an incentive, each project must pass the Rate Impact Measure (RIM) and Participant tests of cost-effectiveness.  The customer’s incentive shall be based upon the RIM results, with the maximum allowable rebate being $150 per peak kW reduced or shifted to an off peak period.

After PEF has reviewed and approved the project, a contract will be executed between PEF and the customer, in which PEF agrees to subsidize the customer upon completion of the project.

Program Participation

Cumulative participation estimates for the program are shown in the following table.

| - Year | - Total Number of Customers[1] | - Total Number of Eligible Customers | - Annual Number of Measure Participants [2] | - Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| - 2005 | - 184,973 | - 166,476 | - 1 | - 0% |
| - 2006 | - 188,338 | - 169,504 | - 2 | - 0% |
| - 2007 | - 191,917 | - 172,725 | - 3 | - 0% |
| - 2008 | - 195,622 | - 176,060 | - 4 | - 0% |
| - 2009 | - 199,361 | - 179,425 | - 5 | - 0% |
| - 2010 | - 203,048 | - 182,743 | - 6 | - 0% |
| - 2011 | - 206,613 | - 185,952 | - 7 | - 0% |
| - 2012 | - 210,080 | - 189,072 | - 8 | - 0% |
| - 2013 | - 213,480 | - 192,132 | - 9 | - 0% |
| - 2,014 | - 216,855 | - 195,170 | - 10 | - 0% |

- Total Number of Customers is the April 2004 forecast of all commercial and industrial customers.

- This total is larger than the number of actual customers anticipated installing eligible measures and earning an incentive since many customers install multiple measures at one account.

Savings Estimates

The total program savings are shown in the following tables.

| At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2005 | 120,047 | 70 | 70 | 120,047 | 70 | 70 |
| 2006 | 120,047 | 70 | 70 | 360,141 | 210 | 210 |
| 2007 | 120,047 | 70 | 70 | 480,188 | 280 | 280 |
| 2008 | 120,047 | 70 | 70 | 720,282 | 420 | 420 |
| 2009 | 120,047 | 70 | 70 | 840,329 | 490 | 490 |
| 2010 | 120,047 | 70 | 70 | 960,376 | 560 | 560 |
| 2011 | 120,047 | 70 | 70 | 1,080,423 | 630 | 630 |
| 2012 | 120,047 | 70 | 70 | 1,200,470 | 700 | 700 |
| 2013 | 120,047 | 70 | 70 | 1,320,517 | 770 | 770 |
| 2014 | 120,047 | 70 | 70 | 1,440,564 | 840 | 840 |

| At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2005 | 126,157 | 73 | 73 | 126,157 | 73 | 74 |
| 2006 | 126,157 | 73 | 73 | 378,472 | 220 | 222 |
| 2007 | 126,157 | 73 | 73 | 504,630 | 293 | 295 |
| 2008 | 126,157 | 73 | 73 | 456,944 | 439 | 443 |
| 2009 | 126,157 | 73 | 73 | 883,102 | 513 | 517 |
| 2010 | 126,157 | 73 | 73 | 1,009,259 | 586 | 591 |
| 2011 | 126,157 | 73 | 73 | 1,135,417 | 659 | 665 |
| 2012 | 126,157 | 73 | 73 | 1,261,574 | 732 | 739 |
| 2013 | 126,157 | 73 | 73 | 1,387,731 | 806 | 813 |
| 2014 | 126,157 | 73 | 73 | 1,513,889 | 879 | 886 |

Impact Evaluation Plan

To verify the estimated savings for each project, an engineering/billing analysis based on customer-specific site and usage data will be performed.  Monitoring will continue until PEF has reasonable assurance that the project will remain in place and produce cost-effective energy savings for its estimated life.  An incentive will not be issued to the customer until PEF is reasonably sure of the projected savings.

- Cost Effectiveness

Each individual project will be analyzed for cost-effectiveness at the time of project submittal to PEF, using the Commission-approved tests of cost-effectiveness.  Therefore, total program cost-effectiveness results are not shown.  All projects must achieve a benefit-cost ratio of at least 1.0 on the RIM and Participant tests to receive an incentive under this program.

Revised 3/7/2000

E.	Standby Generation Program

Program Start Date:	    ▸  1993

▸  Modified in 1995

Policies and Procedures

The Standby Generation program is a demand control program that will reduce PEF's demand based upon the indirect control of customer equipment.  The program is a voluntary program available to all commercial and industrial customers who have on-site generation capability and are willing to reduce their PEF demand when PEF deems it necessary.  The program is offered through the General Service Load Management-2 (GSLM-2) rate schedule.

PEF will have no direct control of the customer's equipment, but will rely upon the customer to initiate the generation upon being notified by PEF and continue running it until PEF notifies the customer that the generation is no longer needed.  PEF does not restrict other use of the equipment by the customer.

Standby Generation program participants will receive a monthly credit on their energy bill according to the demonstrated ability of the customer to reduce demand at PEF's request.  The credit will be based upon the load served by the customer’s generator, which would have been served by PEF if the Standby Generation program were not in operation.  By compensating the customer for the use of their on-site generation, PEF can impact the commercial and industrial market while minimizing rate impacts.

The general program eligibility requirements to qualify for participation are as follows:

- Customer must be eligible for service under the GS-1, GST-1, GSD-1 or GSDT-1 Rate Schedules.

- Customer must have standby generation that will allow facility demand reduction at the request of PEF.

- Customer’s Standby Generation Capacity calculation must be at least 50 kW.

- Customer must be within the range of PEF’s load management system.

Program Participation

Cumulative participation estimates for the program are shown in the following table.

| Year | Total Number of Customers[1] | Total Number of Eligible Customers | Annual Number of Program Participants | Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| 2005 | 184,973 | 590 | 4 | 0.7% |
| 2006 | 188,338 | 599 | 8 | 1.3% |
| 2007 | 191,917 | 608 | 12 | 2.0% |
| 2008 | 195,622 | 618 | 16 | 2.6% |
| 2009 | 199,361 | 627 | 20 | 3.2% |
| 2010 | 203,048 | 636 | 24 | 3.8% |
| 2011 | 206,613 | 645 | 28 | 4.3% |
| 2012 | 210,080 | 654 | 32 | 4.9% |
| 2013 | 213,480 | 663 | 36 | 5.4% |
| 2,014 | 216,855 | 672 | 40 | 6.0% |

- 1.	Total Number of Customers is the April 2004 forecast of all commercial and industrial customers.

- 2.	Total Number of Eligible Customers is based on the total number of customers having on-site generation.

Savings Estimates

The kW and kWh savings estimates for this program were determined from historical data and are presented below.

| At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2005 | 6260 | 444.000 | 465.000 | 25,040 | 1,776 | 1,860 |
| 2006 | 6260 | 444.000 | 465.000 | 50,080 | 3,552 | 3,720 |
| 2007 | 6260 | 444.000 | 465.000 | 75,120 | 5,328 | 5,580 |
| 2008 | 6260 | 444.000 | 465.000 | 100,160 | 7,104 | 7,440 |
| 2009 | 6260 | 444.000 | 465.000 | 125,200 | 8,880 | 9,300 |
| 2010 | 6260 | 444.000 | 465.000 | 150,240 | 10,656 | 11,160 |
| 2011 | 6260 | 444.000 | 465.000 | 175,280 | 12,432 | 13,020 |
| 2012 | 6260 | 444.000 | 465.000 | 200,320 | 14,208 | 14,880 |
| 2013 | 6260 | 444.000 | 465.000 | 225,360 | 15,984 | 16,740 |
| 2014 | 6260 | 444.000 | 465.000 | 250,400 | 17,760 | 18,600 |

| At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2005 | 6689 | 474.4455 | 496.8854 | 26,757 | 1,898 | 1,988 |
| 2006 | 6689 | 474.4455 | 496.8854 | 53,514 | 3,796 | 3,975 |
| 2007 | 6689 | 474.4455 | 496.8854 | 80,271 | 5,693 | 5,963 |
| 2008 | 6689 | 474.4455 | 496.8854 | 107,028 | 7,591 | 7,950 |
| 2009 | 6689 | 474.4455 | 496.8854 | 133,785 | 9,489 | 9,938 |
| 2010 | 6689 | 474.4455 | 496.8854 | 160,542 | 11,387 | 11,925 |
| 2011 | 6689 | 474.4455 | 496.8854 | 187,299 | 13,284 | 13,913 |
| 2012 | 6689 | 474.4455 | 496.8854 | 214,056 | 15,182 | 15,900 |
| 2013 | 6689 | 474.4455 | 496.8854 | 240,813 | 17,080 | 17,888 |
| 2014 | 6689 | 474.4455 | 496.8854 | 267,570 | 18,978 | 19,875 |

Impact Evaluation Plan

Revised 3/7/2000

PEF uses on-site metering to measure the generation capability of each Standby Generation program participant to reduce load at the time they join the program.  The customer and a PEF representative will observe the metering tests to determine the load that the standby generator carries.  This system testing will also determine the initial readings that will be recorded in order to determine the incentive that the customer will receive on their bill each month.  Engineering analysis is used to estimate on-going program savings for each participant based upon monitoring their generator usage.

Cost Effectiveness

The economic results of the program are as follows.

| Cost-Effectiveness Test | NPV Benefits (000$) | NPV Costs (000$) | NPV Net Benefits (000$) | B/C Ratio |
| --- | --- | --- | --- | --- |
| Rate Impact Measure | 6,602 | 5,403 | 1,200 | 1.22 |
| Participant | 4,768 | 0 | 4,768 | NA |
| Total Resource Cost | 6,602 | 634 | 5,968 | 10.40 |

F.	Interruptible Service Program

Revised 3/7/2000

Program Start Date:	     ▸  1996 for the IS-2 and IST-2 rate schedules.

Policies and Procedures

The Interruptible Service (IS) program is a direct load control program that reduces PEF's demand at times of capacity shortage during peak or emergency conditions.  The program is available throughout the entire territory served by PEF to any non-residential customer who is willing to have their power interrupted.  The program is currently offered through the Interruptible General Service (IS-2) and Interruptible General Service Time of Use (IST-2) rate schedules.  The IS-1 and IST-1 rate schedules were closed to new customers in 1996, but remain active for those customers that were grand fathered onto the rate.

PEF will have remote control of the circuit breaker or disconnect switch supplying the customer’s equipment.  If purchased power is available at the time of potential interruption, customers who choose not to have their load interrupted will be assessed at the price of that purchased power supplied.  Customers participating in the Interruptible Service program will receive a monthly interruptible demand credit based on their billing demand and billing load factor.  The general program eligibility requirements to qualify for participation are as follows:

- Customer must be eligible for service under the IS-2 or IST-2 Rate Schedules.

- Average billing demand must be 500 kW or more.

- Available at primary, transmission and secondary service voltages.

Program Participation

Cumulative participation estimates for the program are shown in the following table.

| Year | Total Number of Customers[1] | Total Number of Eligible Customers | Annual Number of Program Participants | Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| 2005 | 184,973 | 983 | 0 | 0 |
| 2006 | 188,338 | 1,008 | 0 | 0 |
| 2007 | 191,917 | 1,033 | 1 | 0 |
| 2008 | 195,622 | 1,059 | 1 | 0 |
| 2009 | 199,361 | 1,086 | 1 | 0 |
| 2010 | 203,048 | 1,113 | 1 | 0 |
| 2011 | 206,613 | 1,141 | 2 | 0 |
| 2012 | 210,080 | 1,169 | 2 | 0 |
| 2013 | 213,480 | 1,198 | 2 | 0 |
| 2,014 | 216,855 | 1,228 | 2 | 0 |

1.	Total Number of Customers is the April 2004 forecast of all commercial and industrial customers.

Savings Estimates

Savings estimate for the Interruptible Service program are shown in the following tables.

| At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2005 | na | na | na | na | na | na |
| 2006 | na | na | na | na | na | na |
| 2007 | 4250 | 500.000 | 440.000 | 4,250 | 500 | 440 |
| 2008 | 4250 | 500.000 | 440.000 | 4,250 | 500 | 440 |
| 2009 | 4250 | 500.000 | 440.000 | 4,250 | 500 | 440 |
| 2010 | 4250 | 500.000 | 440.000 | 4,250 | 500 | 440 |
| 2011 | 4250 | 500.000 | 440.000 | 8,500 | 1,000 | 880 |
| 2012 | 4250 | 500.000 | 440.000 | 8,500 | 1,000 | 880 |
| 2013 | 4250 | 500.000 | 440.000 | 8,500 | 1,000 | 880 |
| 2014 | 4250 | 500.000 | 440.000 | 8,500 | 1,000 | 880 |

| At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2005 | na | na | na | na | na | na |
| 2006 | na | na | na | na | na | na |
| 2007 | 4541 | 534.2854 | 470.1712 | 4,541 | 534 | 470 |
| 2008 | 4541 | 534.2854 | 470.1712 | 4,541 | 534 | 470 |
| 2009 | 4541 | 534.2854 | 470.1712 | 4,541 | 534 | 470 |
| 2010 | 4541 | 534.2854 | 470.1712 | 4,541 | 534 | 470 |
| 2011 | 4541 | 534.2854 | 470.1712 | 9,083 | 1,069 | 940 |
| 2012 | 4541 | 534.2854 | 470.1712 | 9,083 | 1,069 | 940 |
| 2013 | 4541 | 534.2854 | 470.1712 | 9,083 | 1,069 | 940 |
| 2014 | 4541 | 534.2854 | 470.1712 | 9,083 | 1,069 | 940 |

Impact Evaluation Plan

Program impacts are evaluated through on-site interval metering data of all Interruptible Service customers.

Cost-Effectiveness

The cost-effectiveness results of the Interruptible Service program are as follows:

| Cost-Effectiveness Test | NPV Benefits (000$) | NPV Costs (000$) | NPV Net Benefits (000$) | B/C Ratio |
| --- | --- | --- | --- | --- |
| Rate Impact Measure | 253 | 242 | 11 | 1.04 |
| Participant | 170 | 0 | 170 | NA |
| Total Resource Cost | 253 | 72 | 181 | 3.51 |

G.	Curtailable Service Program

Revised 3/7/2000

Program Start Date:	    ▸  1996 for the CS-2 and CST-2 rate schedules.

Policies and Procedures

The Curtailable Service (CS) program is a direct load control program that will reduce PEF's demand at times of capacity shortage during peak or emergency conditions.  The program is available throughout the entire territory served by PE  to any non-residential customer who agrees to curtail 25% of their average monthly billing demand.  The program is currently offered through the Curtailable General Service (CS-2) and Curtailable General Service Time of Use (CST-2) rate schedules.  The CS-1 and CST-1 rate schedules were closed to new customers in 1996, but remain active for those customers that were grand fathered onto the rate.

PEF will have remote control of the circuit breaker or disconnect switch supplying the customer's equipment.  If purchased power is available at the time of potential curtailment, customers who choose not to reduce their load will be assessed at the price of that purchased power.  Customers participating in the Curtailable Service program receive a monthly curtailable demand credit based on their curtailable demand and billing load factor.  The general program eligibility requirements to qualify for participation are as follows:

- Customer must be eligible for service under the CS-2 or CST-2 Rate Schedules.

- Average billing demand must be 500 kW or more.

- Available at primary, transmission and secondary service voltages.

Program Participation

Cumulative participation estimates for the program are shown in the following table.

| Year | Total Number of Customers[1] | Total Number of Eligible Customers | Annual Number of Program Participants | Cumulative Penetration Level (%) |
| --- | --- | --- | --- | --- |
| 2005 | - 184,973 | - 983 | 1 | 0 |
| 2006 | - 188,338 | - 1,008 | 1 | 0 |
| 2007 | - 191,917 | - 1,033 | 1 | 0 |
| 2008 | - 195,622 | - 1,059 | 2 | 0 |
| 2009 | - 199,361 | - 1,086 | 2 | 0 |
| 2010 | - 203,048 | - 1,113 | 2 | 0 |
| 2011 | - 206,613 | - 1,141 | 3 | 0 |
| 2012 | - 210,080 | - 1,169 | 3 | 0 |
| 2013 | - 213,480 | - 1,198 | 3 | 0 |
| 2,014 | - 216,855 | - 1,228 | 4 | 0 |

1.	Total Number of Customers is the April 2004 forecast of all commercial and industrial customers.

Savings Estimates

Savings estimate for the Curtailable Service program are shown in the following tables.

| At the Meter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2005 | 1146 | 1.451 | 1.447 | 2,744,781 | 3,476 | 3,465 |
| 2006 | 1145 | 1.399 | 1.401 | 5,485,311 | 6,701 | 6,709 |
| 2007 | 1146 | 1.451 | 1.447 | 8,230,092 | 10,427 | 10,394 |
| 2008 | 1146 | 1.451 | 1.447 | 10,974,873 | 13,903 | 13,859 |
| 2009 | 1146 | 1.431 | 1.429 | 13,715,403 | 17,129 | 17,104 |
| 2010 | 1136 | 1.403 | 1.403 | 16,495,934 | 20,373 | 20,367 |
| 2011 | 1130 | 1.428 | 1.424 | 19,284,965 | 24,368 | 24,291 |
| 2012 | 1125 | 1.408 | 1.405 | 22,065,495 | 27,613 | 27,555 |
| 2013 | 1122 | 1.393 | 1.391 | 24,846,026 | 30,857 | 30,819 |
| 2014 | 1119 | 1.391 | 1.389 | 27,630,807 | 34,352 | 34,302 |

| At the Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction |
| 2005 | 1225 | 1.5507 | 1.5459 | 2,932,993 | 3,714 | 3,702 |
| 2006 | 1224 | 1.4953 | 1.4971 | 5,861,444 | 7,161 | 7,170 |
| 2007 | 1224 | 1.5510 | 1.5461 | 8,794,436 | 11,142 | 11,107 |
| 2008 | 1224 | 1.5509 | 1.5460 | 11,727,429 | 14,856 | 14,809 |
| 2009 | 1224 | 1.5287 | 1.5265 | 14,655,880 | 18,303 | 18,276 |
| 2010 | 1214 | 1.4996 | 1.4992 | 17,627,074 | 21,770 | 21,764 |
| 2011 | 1208 | 1.5260 | 1.5212 | 20,607,351 | 26,039 | 25,957 |
| 2012 | 1203 | 1.5049 | 1.5017 | 23,578,545 | 29,506 | 29,444 |
| 2013 | 1199 | 1.4886 | 1.4867 | 26,549,739 | 32,973 | 32,932 |
| 2014 | 1196 | 1.4864 | 1.4842 | 29,525,474 | 36,708 | 36,654 |

Impact Evaluation Plan

Program impacts are evaluated through on-site interval metering data of all Curtailable Service customers.

Cost-Effectiveness

PEF is projecting slow growth for the Curtailable Service Program. In order to evaluate the program for cost-effectiveness a minimal level of participation was assumed.  The cost-effectiveness results of the Curtailable Service program are as follows:

| Cost-Effectiveness Test | NPV Benefits (000$) | NPV Costs (000$) | NPV Net Benefits (000$) | B/C Ratio |
| --- | --- | --- | --- | --- |
| Rate Impact Measure | 466 | 367 | 98 | 1.27 |
| Participant | 145 | 0 | 145 | NA |
| Total Resource Cost | 466 | 222 | 243 | 2.09 |