453

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3                                      DOCKET NO. 021256-WU

4        In the Matter of:

5   APPLICATION FOR CERTIFICATE

TO PROVIDE WATER SERVICE IN

6   VOLUSIA AND BREVARD COUNTIES

BY FARMTON WATER RESOURCES,

7   LLC.

____________________________/

8

9             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

10               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

11

12                              Volume 4

13                        Pages 453 through 603

14   PROCEEDINGS:        HEARING

15   BEFORE:             COMMISSIONER J. TERRY DEASON

COMMISSIONER LILA A. JABER

16                       COMMISSIONER RUDOLPH "RUDY" BRADLEY

17   DATE:               Wednesday, June 23, 2004

18   TIME:               Commenced at 9:00 a.m.

Concluded at 2:20 p.m.

19

PLACE:              Betty Easley Conference Center

20                       Room 148

4075 Esplanade Way

21                       Tallahassee, Florida

22   REPORTED BY:        TRICIA DeMARTE, RPR

Official FPSC Reporter

23                       (850) 413-6736

24   APPEARANCES:        (As heretofore noted.)

25

FLORIDA PUBLIC SERVICE COMMISSION

454

1                              I N D E X

2                              WITNESSES

3   NAME:                                                PAGE NO.

4   GERALD C. HARTMAN (Rebuttal)

5        Direct Examination by Mr. Deterding             455

Prefiled Rebuttal Testimony Inserted            464

6

7   EARL M. UNDERHILL (Rebuttal)

8        Direct Examination by Mr. Deterding             513

Prefiled Rebuttal Testimony Inserted            518

9        Cross Examination by Mr. Knox                   529

10

CHARLES W. DRAKE (Rebuttal)

11

Direct Examination by Mr. Deterding             530

12        Prefiled Rebuttal Testimony Inserted            535

13

HOWARD M. LANDERS (Rebuttal)

14

Direct Examination by Mr. Wharton               542

15        Prefiled Rebuttal Testimony Inserted            550

Cross Examination by Mr. Knox                   590

16

17

18

19

20   CERTIFICATE OF REPORTER                              603

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

455

1                        P R O C E E D I N G S

2             (Transcript follows in sequence from Volume 3.)

3             COMMISSIONER DEASON:  Call the hearing back to order.

4   We were in the rebuttal phase of the case.

5             Mr. Deterding.

6             MR. DETERDING:  Thank you, Commissioner.  We call

7   Gerald Hartman.

8                          GERALD C. HARTMAN

9   was called as a rebuttal witness on behalf of Farmton Water

10   Resources, LLC and, having been duly sworn, testified as

11   follows:

12                         DIRECT EXAMINATION

13   BY MR. DETERDING:

14        Q    Mr. Hartman, you've previously been sworn?

15        A    Yes, sir.

16        Q    And you previously provided direct testimony in this

17   proceeding?

18        A    Yes, sir.

19        Q    Did you prepare in conjunction with my office a

20   document referred to as rebuttal testimony of Gerald Hartman

21   consisting of 46 pages?

22        A    Yes, sir.

23        Q    If I ask you those same questions here today, would

24   your answers be the same?

25        A    Yes, sir.

FLORIDA PUBLIC SERVICE COMMISSION

456

1        Q    Do you have any corrections to make to that

2   testimony?

3        A    Yes, sir.  Those corrections are on Page 18, Line 17,

4   remove the word "not" from that line.  Also, on Page 21 --

5        Q    Hold on just a minute.

6        A    Page 18 --

7        Q    Line 17.

8        A    -- Line 17, remove the word "not."

9        Q    "This IOU has participated" then it will say?

10        A    Yes.

11        Q    Okay.  The next one was?

12        A    And Page 21, Line 2, the second word is "closest,"

13   and the "s" was put over after "t" versus in front of the "t."

14        Q    Okay.

15        A    And then on Exhibit R2, Page 2, third line, change

16   the county from "Volusia" to "Brevard."  Also, in that same

17   exhibit, Page 4, Item 3, Subset E, under 1, which is the

18   alternative water supply programs, due to the passage of time,

19   the Cocoa/Orange County OUC agreement for alternative water

20   supply has also been accomplished.  That's just an addition.

21   That's it.

22        Q    Okay.  You got a little ahead of me there, but that's

23   all right.  Did you prepare in conjunction with the preparation

24   of this rebuttal testimony certain exhibits that were prefiled

25   as GCH-R1, GCH-R2, GCH-R3, and GCH-R4?

FLORIDA PUBLIC SERVICE COMMISSION

457

1        A    Yes.

2        Q    And you've just given us the corrections to those as

3   well; correct?

4        A    That's correct.

5        Q    And I believe these exhibits have already been

6   admitted.  Mr. Hartman, please provide us with a summary of

7   your rebuttal testimony.

8        A    Surely.  First, there's a little bit of -- on

9   qualifications, that myself and our firm does serve other

10   nonregulated counties in the state of Florida on certification

11   issues, and that in that service, when we have multi-county

12   situations, the investor-owned utility is always regulated by

13   the Florida Public Service Commission.  Every multi-county

14   situation, such as GDU, Lake Suzy Utilities, the Nocatee one,

15   and Florida Water Services Corporation, in the historic cases

16   when they were multi-county, they were regulated by the Florida

17   Public Service Commission.  This is not a single county

18   application.  It is a multi-county application, and there's an

19   obligation to serve, not a guarantee for service, relative to

20   that obligation to serve.

21             Relative to service from others, Brevard County does

22   not serve within Volusia County.  Titusville does not serve in

23   Volusia County, and Volusia County does not serve in Brevard

24   County.  So the ability to serve by each of these entities in

25   the other counties, other jurisdictions, those stated by those

FLORIDA PUBLIC SERVICE COMMISSION

458

1   witnesses, I state in here that that doesn't -- cannot happen

2   or without -- it hasn't happened historically.  That there's a

3   unified total service area; it has to be incorporated for its

4   overall management, planning, and operations.

5             The need is in two different counties.  It does have

6   integrated management.  The customers are throughout the yellow

7   area, not some isolated area around a wellhead.  The customers

8   do move throughout the area, and in the future, other areas,

9   other demands as the customers' desire would be then met based

10   on their desire.

11             There's no duplication of service.  I testified that

12   the Titusville water supply problems have been occurring for at

13   least 20 years.  Back in 1984, I served Titusville as a water

14   resource engineer with Dr. Nicholson, did the complete water

15   resources there, requested service from Brevard and also Cocoa

16   for raw water, was denied.  Since that time, none of the other

17   entities have provided raw water service to Titusville, yet

18   it's been an existing need for the City of Titusville for well

19   over 20 years, probably 30 years.

20             Carlton Wilder of Black, Crow, and Eidness, who was

21   my mentor as an engineer here in the state of Florida, was the

22   original design engineer of the Garden Street Plant for the

23   City of Titusville.  So the need for raw water supply and water

24   resource at that facility has been well known for many, many

25   years.

FLORIDA PUBLIC SERVICE COMMISSION

459

1             There are customers within the service area.  Each

2   one of our two-inch wells are serving 23 ERCs.  The ERCs are

3   pursuant to the FDEP and the Florida Public Service

4   Commission's rules and regulations.  We divided 350 gallons per

5   day to create an ERC.  The Florida Public Service Commission on

6   numerous occasions has looked at the ERC basis for customer

7   service.  The number of people are known, but the usage, as I

8   testified earlier, was not known.  So no one has asked me then

9   with no study, what's the basis?  The basis is, of course,

10   FDEP.  It's the rules and regulations of the state of Florida,

11   Ten State Standards, Florida Sanitary Code, and engineering

12   practice, what a professional engineer states.  It's well

13   stated within all of those items that for this type of service,

14   50 gallons per day per person, is the appropriate per capita

15   utilization for each -- that's shown in each of those

16   documents.  It's shown to be a minimum usage.  So when you take

17   that times the number of people and divide it out, you get 23

18   ERCs per two-inch meter.

19             The two classifications for your reference are

20   tourist camps with an individual well or a resort which

21   includes hunting camps with limited plumbing.  Both are 50

22   gallons per day per person, manual practice.

23             Bulk private and/or governmental customers are

24   possible, and there is need along the I-95 corridor.  As the

25   Commission probably knows, the Utilities Commission of New

FLORIDA PUBLIC SERVICE COMMISSION

460

1   Smyrna Beach working with Reliant Energy, originally with Duke

2   Energy, has a power plant location along that transmission

3   network.  I served the Utilities Commission of New Smyrna

4   Beach, and we assisted in getting the reuse water for water

5   supply for that power plant, but also did the Transmission

6   Corridor Study and Transmission Capability Study for Reliant

7   Energy Corporation.  And there are many other sites that are

8   possible for power development and merchant power plants once

9   the economy improves.

10             Titusville did request Brevard County to intervene

11   based upon what I've been informed and that the sole purpose

12   that Titusville stated to was to oppose Titusville's water

13   permit I believe is false.  There's many other reasons for a

14   Florida Public Service Commission certificate as stated in the

15   direct testimony by others as well as myself.

16             The public interest test is addressed in my rebuttal

17   testimony, and I've hit all those public interest test

18   components.  The local sources first preference by the state of

19   Florida is fully complied with this application.  All the

20   supplies for the customers are derived from the local sources

21   within the land.

22             There is no forcing of any customer outside the

23   service area of a certificated area to be a customer.  And this

24   is in the rebuttal of one of the intervenors here.  This is an

25   option of any customer when you're outside the service area

FLORIDA PUBLIC SERVICE COMMISSION

461

1   whether they want to be a customer or not.  There is no forcing

2   that occurs.

3             There was a statement by one of the witnesses,

4   Mr. Thomas, that Farmton's demand can be served cheaper than by

5   Farmton itself.  I think this really only addresses the cost to

6   the City of Titusville customers and not the actual cost within

7   Farmton Water Resources' certificated area because additional

8   facilities unrefuted would be required than would already

9   exist.  There's no way that another entity can serve those

10   customers any cheaper than the present landowner with existing

11   facilities.  Neither Brevard nor Volusia County address the

12   cost for service as well as other aspects which are quite

13   distant from their demand centers, and obviously the cost of

14   service is the lowest for these customers within this potential

15   certificated area.

16             I did want to mention as an addition the Cocoa/ECFS

17   Taylor Creek Reservoir situation becoming a certificated

18   utility.  There were some suggestions to back-plug the Tram

19   Road wellfield, which was very positive from Water Resources'

20   standpoint.  Put in the Pipeline Road shallow wells,

21   intermediate wells, as well as to develop the Taylor Creek

22   Reservoir, and along with the cooperation of the Army Corps of

23   Engineers, all of those have been done.  Cocoa has historically

24   been in a water shortage situation, now is in a water surplus

25   situation, and has now offered water to Titusville, which, you

FLORIDA PUBLIC SERVICE COMMISSION

462

1   know, of course, they have an agreement for 3 MGD that they

2   could actually export water to another entity.  Titusville is

3   cutting that back to a lesser amount, but the water capacity is

4   available.  Also, there's a recent agreement settling a water

5   use permit situation with Orange County and OUC.  Cocoa was

6   offering to provide 15 million gallons per day made available

7   through the cooperation of Taylor Creek Reservoir as an

8   alternative water supply solving the region's water supply

9   problems and environmentally appropriate in a water management

10   district approved manner.

11             I guess my reference to ECFS was because I have

12   personal knowledge of that application, and it's also a

13   multi-county large land area owned with significant financial

14   resource applicant when they came to the Florida Public Service

15   Commission.  This applicant also is a multi-county large

16   landowner owned applicant also with very significant financial

17   resources.  And that ends summary.

18        Q    I want to clarify one thing.  I think early on in

19   that summary you referred to two-inch wells.  I believe you

20   were talking about the meter size?

21        A    The two-inch meters, not wells.  I misspoke.

22             MR. DETERDING:  Okay.  I just wanted to make sure we

23   got that understood.

24             With that, I would request that Mr. Hartman's

25   rebuttal testimony be inserted into the record as though read.

FLORIDA PUBLIC SERVICE COMMISSION

463

1             COMMISSIONER DEASON:  Without objection, it shall be

2   so inserted.

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

510

1             MR. DETERDING:  And we tender the witness for cross.

2             COMMISSIONER DEASON:  Very well.  Mr. Knox.

3             MR. KNOX:  I have no questions of Mr. Hartman.

4   However, Mr. Chairman, I believe, if I'm not mistaken, I could

5   be mistaken, but I believe Mr. Hartman went beyond his prefiled

6   testimony in presenting some of the things he did, and to the

7   extent he did that, I'd like to move to exclude that as being

8   considered evidence.  I think his summary should be a summary

9   of what he has in his prefiled testimony and not go beyond

10   that.

11             COMMISSIONER DEASON:  Well, that's kind of like

12   putting the toothpaste back in the tube at this point,

13   Mr. Knox.  I will allow you the opportunity, once the

14   transcript is filed, to make a motion and see what is included

15   in his summary that should be excluded, and then I'll give the

16   opportunity for Farmton to respond, and I'll rule upon it

17   accordingly.  And we'll need sufficient time in the briefing

18   schedule to accommodate that, staff.

19             Mr. McNamara.

20             MR. McNAMARA:  I have no further questions for

21   Mr. Hartman at this time.

22             COMMISSIONER DEASON:  Mr. Bosch.

23             MR. BOSCH:  Commissioner, I have no questions, but I

24   would just reiterate Mr. Knox's objection and just ask that the

25   Commission request that the future rebuttal witnesses stick to

FLORIDA PUBLIC SERVICE COMMISSION

511

1   the rebuttal testimony, prefiled testimony.

2             COMMISSIONER DEASON:  Very well.

3             MR. BOSCH:  Thank you.

4             COMMISSIONER DEASON:  Staff.

5             MS. FLEMING:  According to the schedule, transcripts

6   are due on July 8th with briefs to be filed on July 22nd.  I

7   guess I need a little bit of clarification.  Would you want

8   Brevard County to file this motion before briefs are due or

9   after?

10             COMMISSIONER DEASON:  Before briefs are due, as

11   quickly as possible after the transcript is filed.  I would

12   need a page and line citation to whatever comments were

13   considered to be outside the scope of the prefiled rebuttal

14   testimony.  And I will need sufficient time for Farmton to

15   respond and then to rule, but I think that can be done in an

16   expeditious manner.

17             MR. DETERDING:  Commissioner Deason, if I may, along

18   these similar lines.  Mr. Wharton and I have both talked to the

19   intervenors, and we were a little concerned with the current

20   briefing schedule in any case.

21             COMMISSIONER DEASON:  Well, let's do all this at the

22   end of the hearing.  And, staff, we'll go over all of this and

23   maybe give you some time to think about the schedule and what

24   lies ahead.  At this point if you have any cross-examination

25   for this witness, you may proceed.

FLORIDA PUBLIC SERVICE COMMISSION

512

1             COMMISSIONER JABER:  Let me ask you a question,

2   Commissioner Deason, just not for purposes of the motion but

3   for purposes of our going forward.  I'm interested in having

4   Mr. Knox just clarify what he thinks went beyond the record

5   just so that I can go forward and understand better.

6             COMMISSIONER DEASON:  Sure.  Mr. Knox, can you

7   clarify?

8             MR. KNOX:  Of course I didn't memorize his rebuttal

9   testimony verbatim, but I thought I heard some things that I

10   didn't recall from his rebuttal testimony.  I just want to

11   preserve that objection.  Specifically I was concerned about

12   the private customers he mentioned.  I don't remember that as

13   being in there at all.

14             COMMISSIONER DEASON:  Okay.  Staff, questions for the

15   witness?

16             MS. FLEMING:  No, we don't have any questions.

17             COMMISSIONER DEASON:  Commissioners.

18             I would take it there's no redirect.

19             MR. DETERDING:  No, there is not.

20             COMMISSIONER DEASON:  Okay.  And we've already

21   addressed the exhibits.  Thank you, Mr. Hartman.

22             (Witness excused.)

23             COMMISSIONER JABER:  Are there any more like that?

24             MR. DETERDING:  Yeah, that's what I want to know too.

25             COMMISSIONER DEASON:  Well, we were told that the

FLORIDA PUBLIC SERVICE COMMISSION

513

1   cross was going to be brief, but you know Mr. Wharton, he

2   wanted lunch.

3             MR. DETERDING:  It doesn't get any more brief than

4   that.  We call Earl Underhill.

5                          EARL M. UNDERHILL

6   was called as a rebuttal witness on behalf of Farmton Water

7   Resources, LLC and, having been duly sworn, testified as

8   follows:

9                         DIRECT EXAMINATION

10   BY MR. DETERDING:

11        Q    Mr. Underhill, you have previously been sworn;

12   correct?

13        A    Correct.

14        Q    And you have previously provided direct testimony in

15   this proceeding?

16        A    Yes, I have.

17        Q    Did you prepare in conjunction with my office a

18   document referred to as the rebuttal testimony of Earl

19   Underhill consisting of 11 pages?

20        A    That's correct.

21        Q    If I ask you those same questions here today, would

22   your answers be the same?

23        A    Yes, they would.

24        Q    Do you have any corrections to make to that

25   testimony?

FLORIDA PUBLIC SERVICE COMMISSION

514

1        A    No corrections.

2        Q    Could you please provide the Commission with a brief

3   summary of that testimony?

4        A    Yes, of that testimony.  And I'd just like to allude

5   to two particular areas.  The first one being a statement that

6   Mr. Thomson made on Page 3 of his testimony where he talks

7   about Farmton's proposal to establish the utility has not been

8   included in the water supply planning efforts within the

9   region.  And I would suggest that there are methods to include

10   that in the future in both the comprehensive plan and the water

11   supply plan, and those are things that as a part of good

12   planning would eventually be done.

13             And I would take -- particularly, I would take note

14   of the last Volusian water supply plan that included in it a

15   6 million MGD allotment for a microchip plant that was planned

16   to go into the DeBary area.  That never came to fruition.  So I

17   would expect that in the next water supply plan that will be

18   removed.  And the writer of that next water supply plan, which

19   is currently being rewritten, if they perceive that Farmton's

20   request is significant enough to place in the water supply plan

21   would be included at that time.

22             By the way, while we're talking about the plan, I

23   should make note that the plan says that new fresh groundwater

24   is the most preferred public water supply source because it is

25   generally safe, reliable, and inexpensive.  And the party

FLORIDA PUBLIC SERVICE COMMISSION

515

1   related to Farmton, Miami Corporation, does, in fact, own

2   57,000 acres of land in Volusia and Brevard Counties without

3   any current CUPs.  And I would suggest that that provides an

4   excellent opportunity for new, fresh groundwater sources.

5             And the second thing that I'd like to discuss is a

6   comment that Mr. Burklew made where he noted that Farmton has

7   not applied for any water use permits at this time in the

8   proposed territory.  And I want to thank Mr. Burklew for making

9   note of that.  Yes, that is true.  And I think it's important

10   to take that in context because I'm concerned about what I've

11   heard about the Titusville application and then the Farmton

12   application.  I want to assure everybody that Farmton would

13   have no intention of duplicating a wellfield.  We would -- that

14   would be the worst use of the resource.  And I wanted to make

15   that perfectly clear.

16             In fact, if we did go ahead with a proposed wellfield

17   on Farmton's lands in order to supply Titusville -- and I'd

18   like to go back with you and tell you where we were in those

19   negotiations when this application was made.  We were

20   negotiating with Titusville, and they said they needed to keep

21   their options open.  And their options open meant --

22             MR. McNAMARA:  Commissioner --

23             THE WITNESS:  -- that they were looking at Cocoa --

24             COMMISSIONER DEASON:  I'm sorry, Mr. Underhill, can

25   you stop for just -- is there an objection?

FLORIDA PUBLIC SERVICE COMMISSION

516

1             MR. McNAMARA:  Commissioner, I do not believe this is

2   in his rebuttal testimony.

3             COMMISSIONER DEASON:  That it is not in his rebuttal

4   testimony.  There's an objection.  Mr. Deterding, can you cite

5   to his testimony where this subject is addressed?

6             MR. DETERDING:  I would have to look through it here,

7   Commissioner, but I know he did discuss the issue of prior

8   discussions with Titusville about bulk water, I believe.

9             COMMISSIONER DEASON:  I'll give you a moment to find

10   that.

11             MR. DETERDING:  Just a minute.  I'm looking in the

12   wrong place.  Well, he talks on Page 4 about the existing

13   withdrawals not requiring a CUP, and then until such time there

14   are customers -- I'm looking at Line 13 -- for whom the

15   construction of such facilities would be needed, there's no

16   reason for Farmton to apply for such permits.  As soon as the

17   request for service presents itself, and all that is related to

18   this bulk water, and then to the -- down at the bottom of that

19   page, it's discussing I believe what he was just discussing

20   there about the fact that -- responding to Mr. Burklew's

21   concerns about the utility not having filed a water use permit.

22             COMMISSIONER DEASON:  But I see no reference to

23   negotiations that Mr. Underhill was alluding to at the time the

24   objection was made.

25             MR. DETERDING:  And I apologize.

FLORIDA PUBLIC SERVICE COMMISSION

517

1             COMMISSIONER DEASON:  Let me just ask the witness.

2   Mr. Underhill, do you address in your prefiled rebuttal

3   testimony the negotiations?

4             THE WITNESS:  I cannot locate it, no, sir.

5             COMMISSIONER DEASON:  Okay.  Well, then I'm just

6   going to ask you to skip over that part of your summary and

7   proceed.

8             THE WITNESS:  I apologize.  I guess the only other

9   point I would make on Mr. Burklew's testimony is that Miami

10   Corporation -- excuse me, Farmton is certainly in the best

11   position to look at the entire picture in Brevard County were

12   we to go ahead with a comprehensive use permit request and to

13   understand that we -- there are additional needs that might be

14   required by the campsites.  Thank you.

15             MR. DETERDING:  With that, we would request that

16   Mr. Underhill's testimony be inserted in the record as though

17   read.

18             COMMISSIONER DEASON:  Without objection, it shall be

19   so inserted.

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

529

1             MR. DETERDING:  And we tender the witness for cross.

2             COMMISSIONER DEASON:  Mr. Knox.

3                          CROSS EXAMINATION

4   BY MR. KNOX:

5        Q    Mr. Underhill, I have one question for you.

6        A    Yes, sir.

7        Q    Of the 57,000 acres that you mention being owned by

8   Miami Corporation, and I guess 50,000 of which are the subject

9   of this certificate process, how many are located in Brevard

10   County within the yellow area below the Brevard County line on

11   that map?

12        A    Thank you for asking me that question.  Yesterday, we

13   heard the number 14,000 batted about.  In fact, there are

14   10,000 acres in Brevard County.

15        Q    Okay.  Thank you.

16        A    Thank you.

17             COMMISSIONER DEASON:  Mr. McNamara.

18             MR. McNAMARA:  I have no questions of the witness at

19   this time.

20             COMMISSIONER DEASON:  Mr. Bosch.

21             MR. BOSCH:  No questions.

22             COMMISSIONER DEASON:  Staff.

23             MS. FLEMING:  We have no questions at this time.

24             COMMISSIONER DEASON:  Commissioners.

25             Redirect.

FLORIDA PUBLIC SERVICE COMMISSION

530

1             MR. DETERDING:  None.

2             COMMISSIONER DEASON:  Okay.  Thank you,

3   Mr. Underhill, you're excused.

4             (Witness excused.)

5             COMMISSIONER DEASON:  You may call your next witness.

6             MR. DETERDING:  We call Charles Drake.

7                          CHARLES W. DRAKE

8   was called as a rebuttal witness on behalf of Farmton Water

9   Resources, LLC and, having been duly sworn, testified as

10   follows:

11                         DIRECT EXAMINATION

12   BY MR. DETERDING:

13        Q    Mr. Drake, you've previously been sworn?

14        A    Yes, I have.

15        Q    And you've previously provided direct testimony in

16   this proceeding?

17        A    Yes, I have.

18        Q    Did you prepare in conjunction with my office a

19   document referred to as rebuttal testimony of Charles Drake

20   consisting of seven pages?

21        A    Yes, I have.

22        Q    If I ask you those questions today, would your

23   answers be the same?

24        A    Yes, they would.

25        Q    Do you have any corrections to make to that

FLORIDA PUBLIC SERVICE COMMISSION

531

1   testimony?

2        A    No.

3        Q    And you have no exhibits?

4        A    No, sir.

5        Q    Please provide a brief summary of your rebuttal

6   testimony.

7        A    Okay.  First, based on what Ms. Grant said in her

8   direct testimony, that Titusville's best position or well

9   position to provide water in the northwest Brevard County area,

10   I don't think that's correct because of the distance from

11   Titusville to northwest Brevard County, and also Brevard County

12   has facilities in that area.  Also, that she believes

13   Titusville is best suited to provide water on Farmton's

14   property.  They don't have any facilities there; they don't

15   have a way to convey water to Farmton; so I don't believe that

16   that is correct.

17             Also, she makes the statement that Farmton's request

18   is not in the public interest.  And the public interest test at

19   least related to water resources is not defined in Chapter

20   373 or defined in the Applicant's Handbook of the water

21   management district, but it is a test that they use to evaluate

22   such things as the economic and efficient use of the resource,

23   impacts to existing users, adverse impacts to the environmental

24   features such as the wetlands that Volusia County has mentioned

25   is in the natural resource management area, if I have that

FLORIDA PUBLIC SERVICE COMMISSION

532

1   correct.  Wetlands are on a significant portion of Farmton's

2   property as well as the mitigation banks that are out there.

3   Why that is, or Farmton's request is in the public interest is

4   because Farmton understands all of those issues, the wetlands,

5   the mitigation banks, the water resources of the property.  And

6   by having that -- those water resources -- or the ability to

7   locate future water supply sources on their property, they can

8   better manage all aspects of those water resources.  So I

9   believe it is in the public interest that the landowner can

10   best manage those resources for all of its uses.

11             One illustration of that is the ongoing issues that

12   you heard from Mr. Burklew about potential wetland impacts and

13   salt water upconing.  The salt water upconing is that the wells

14   that Titusville has proposed are very closely spaced together

15   because of the limitation on an area where those wells could be

16   placed.  And Miami's proposal, if we were to provide water to

17   Titusville or any other customer in that area, we can spread

18   those wells out over a larger area.  You have, like Rich

19   Burklew was saying, you could have more wells, more wells

20   pumping at a much lower rate that then spreads that impact out

21   over a larger area.  So those wetland impacts would not

22   manifest themselves, and you wouldn't have to revert to a

23   wetland mitigation process that Titusville has proposed to the

24   district.  They haven't proposed that they would reduce pumping

25   from the wellfield, but rather they have a wetlands monitoring

FLORIDA PUBLIC SERVICE COMMISSION

533

1   network proposed and a wetlands mitigation methodology proposed

2   too, which if Farmton proceeded with their wellfield as it's

3   laid out, we probably could avoid the extensive wetlands

4   monitoring and would not need mitigation.  And I would suspect

5   also that if mitigation was required, then Farmton would not

6   pump that rate.  They would only pump up to the safe yield such

7   that mitigation would not be required.  So we have much

8   greater -- or many more options available to us to prevent any

9   wetland impact, and more important, the salt water upconing

10   issue would not occur.

11             As you may or may not know, if you see a wetland

12   impact, that impact is much easier to stop, or once you see it,

13   it will quickly be reversed by stopping or curtailing pumping.

14   On the other hand, with salt water upconing or intrusion, it

15   takes many years for those impacts to manifest themselves and

16   many more years to reverse it.  So if there is harm caused, it

17   won't be detected for many years.  Farmton's property would be

18   harmed many more years into the future.  So with them having

19   their eye on long term and not the 2020 plan but their 2050 or

20   2080 plan, they're keeping that long-range view always in their

21   land.  So with that much greater land area, they have more

22   options to prevent that.

23             The other thing is, Ms. Grant mentioned that

24   Farmton's proposed water use is not in the district water

25   supply plan.  And I think Ms. Marwick may have mentioned also

FLORIDA PUBLIC SERVICE COMMISSION

534

1   Volusian water lines plan.  That does not preclude Farmton from

2   being able to obtain a consumptive use permit.  There's nothing

3   in the Applicant's Handbook, 373, or 40C-2 that says you have

4   to meet -- that you can't get a consumptive use permit unless

5   your proposed use is in our plan.  So that does not preclude

6   Farmton or Titusville either from getting a consumptive use

7   permit.

8             Well, I guess the last one I make too is -- so I

9   think someone asked me on my cross-examination about, well,

10   could Titusville and Farmton reach an agreement on locating a

11   wellfield?  Well, that's possible they could.

12             COMMISSIONER DEASON:  Let me caution you.  This is

13   not the opportunity to address things that were asked during

14   cross-examination, just a summary of your prefiled rebuttal.

15             THE WITNESS:  Sorry.  I didn't understand that rule.

16   Thank you.  I'm done.

17             MR. DETERDING:  I request that Mr. Drake's testimony

18   be inserted in the record as though read.

19             COMMISSIONER DEASON:  Without objection, it shall be

20   so inserted.

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

542

1             MR. DETERDING:  And tender the witness for cross.

2             COMMISSIONER DEASON:  Mr. Knox.

3             MR. KNOX:  I have no questions.

4             COMMISSIONER DEASON:  Mr. McNamara.

5             MR. McNAMARA:  No questions.

6             COMMISSIONER DEASON:  Mr. Bosch.

7             MR. BOSCH:  Nothing.

8             COMMISSIONER DEASON:  Staff.

9             MS. FLEMING:  We have no questions.

10             COMMISSIONER DEASON:  Commissioners.

11             No redirect?

12             MR. DETERDING:  None.

13             COMMISSIONER DEASON:  Okay.  Thank you, Mr. Drake.

14             (Witness excused.)

15             COMMISSIONER DEASON:  Mr. Deterding, you may call

16   your last witness.

17             MR. WHARTON:  We'll call Mr. Howard Landers.

18                          HOWARD M. LANDERS

19   was called as a rebuttal witness on behalf of Farmton Water

20   Resources, LLC and, having been duly sworn, testified as

21   follows:

22                         DIRECT EXAMINATION

23   BY MR. WHARTON:

24        Q    Mr. Landers, have you previously been sworn in this

25   proceeding?

FLORIDA PUBLIC SERVICE COMMISSION

543

1        A    Yes, I have.

2        Q    And you provided direct testimony in this proceeding?

3        A    Yes, I did.

4        Q    Did you prepare prefiled rebuttal testimony

5   consisting of 40 pages?

6        A    Yes, I did.

7        Q    And if we ask you those same questions here today,

8   would your answers be the same?

9        A    Yes, sir.

10        Q    Do you have any corrections or modifications to make

11   to that testimony and the attached exhibits at this time?

12        A    Yes, I do.

13        Q    All right.  Why don't you go ahead?

14        A    Okay.  At Page 6, Line 6, change the word "the" to

15   "their," t-h-e-i-r.

16             Page 10, Line 10, change "163, F.S." to "380.04,

17   F.S."  The definition of development is actually contained in

18   380.04 and cross-referenced at 163.

19             Page 28, Line 14, change the acronym "ECS" to "ESC."

20   My fingers get crossed occasionally.

21             At Page 29, Line 12, change the number "19,325" to

22   "18,082," and change the number "773" to "723."

23             All these numerical changes result from the changes

24   in the service area in the northern part of the service area,

25   and those occurred after I prefiled.

FLORIDA PUBLIC SERVICE COMMISSION

544

1             At Page 29, Line 13, change the number "21,148" to

2   "20,554," and the number "1,057" to "1,028."

3             Four changes at Page 29, Line 15; Page 29, Line 24;

4   Page 29, Line 25; Page Line 35, Line 3, in all four cases

5   change the number "2,064" to "1,984."

6             At Page 36, Line 2, change the number "19,325" (sic)

7   to "18,082."

8             At Page 36, Line 3, change the number --

9        Q    You're going a little too fast, Mr. Landers.

10             COMMISSIONER JABER:  I'm sorry.  You have got to slow

11   down.

12             MR. WHARTON:  You've got to give us a chance to make

13   these marks.

14             THE WITNESS:  I apologize.

15             COMMISSIONER JABER:  You lost me with the -- you said

16   there was 18,000 -- what was that change?  18,082 maybe.  Where

17   was that?

18   BY MR. WHARTON:

19        Q    Go back to Page 29 and make those a little slower.

20        A    Okay.  Page 29, Line 12, number "19,325" should be

21   "18,082," and the number "773" should be "723."

22             Also, on Page 29 at Line 13, the number "21,148"

23   should be "20,554," and the number "1,057" should be "1,028."

24             Then at Page 29, Line 15, the number "2,064" would

25   become "1,984," and that same change occurs again on Page 29 at

FLORIDA PUBLIC SERVICE COMMISSION

545

1   Line 24, 1,984; on Page 29 at Line 25, it becomes "1,984;"

2   Page 35, Line 3, it becomes "1,984."

3             At Page 36, Line 2, the number "19,325" (sic) again

4   becomes "18,082."

5             At Page 36 at Line 3, the number "21,148" (sic)

6   becomes "20,554."  And the number "2,064" becomes "1,984."

7             At Page 39, Line 24, the word "off," o-f-f, should be

8   "of," o-f.

9             Then in my Exhibit HML-3, which is the same exhibit

10   that Mr. Hartman used, would have the same changes that

11   Mr. Hartman recited, and I don't have those written out in

12   front of me.

13        Q    Does that conclude your corrections?

14        A    Yes, it does.

15        Q    Sir, did you also prepare certain exhibits which have

16   been stipulated into evidence in this proceeding?

17        A    Yes, sir.

18        Q    All right.  Why don't you give a brief summary of

19   your rebuttal testimony?

20        A    Thank you.  First, as to summary, in my

21   qualifications I have worked on several very large

22   single-ownership properties.  Three of those have involved

23   multiple counties.  One of those has involved properties in two

24   states.

25             As to my testimony -- or rebuttal testimony, Farmton

FLORIDA PUBLIC SERVICE COMMISSION

546

1   is proceeding in proper order.  First, you obtain a Public

2   Service Commission certification; then proceed with other

3   approvals, development, et cetera.  Farmton is at the

4   first step in the process.  The PSC has prime authority for

5   regulation of water service territory.

6             Florida's planning statute, Chapter 163.3211,

7   conflict with other statutes, clearly states that nothing in

8   the planning statute shall withdraw or diminish any legal

9   powers, responsibilities of state agencies.  Second, the

10   creation of a regulated water territory by PSC is not a land

11   use or a development activity as defined in Chapter 380.04 as

12   referenced in Chapter 163, F.S., and therefore is not

13   development subject to regulation by a comprehensive plan.

14   Three, the planning witnesses or the original testimonies from

15   the planners from both Brevard and Volusia Counties assume that

16   a creation of water service territory would stimulate

17   development, and that the Brevard and Volusia County

18   comprehensive plans both only allow single-family uses at very

19   low densities.  Creation of a water territory by the Commission

20   will not in and of itself stimulate development.  Several

21   additional steps would be required to create water service

22   facilities, as I've stated earlier.

23             Even if we were to assume that Farmton would

24   undertake those steps to create a utility and pursue

25   development, neither of the counties' comprehensive plans is so

FLORIDA PUBLIC SERVICE COMMISSION

547

1   simplistic as to permit only very low density residential uses.

2   Through their land development regulations, both plans contain

3   provisions that permit several types of development currently,

4   under the current comprehensive plan, several types of

5   development that would require or would benefit from central

6   water services.  Both also permit landowners or developers to

7   cluster the residential development and to include ancillary

8   uses to those residential developments that would greatly

9   benefit from central water services.

10             Brevard County cited Policy 3.4 of their potable

11   water element as giving the county authority over the creation

12   of water service; yet at Policy 3.5, which immediately follows,

13   provides for, and I quote, a nongovernmental entity to be a

14   provider.  Then Policy 4.1 of the future land use element also

15   allows provision of water services, and I quote, through MSBUs,

16   MSTUs, and other means through which the recipients pay for the

17   service or facility, and goes further to state, so long as

18   that's consistent with the comprehensive plan.  And I've just

19   cited that you can cluster and do other developments in the

20   comprehensive plan that's currently allowed under the

21   comprehensive plan designations on the property.

22             So as with the testimony both here on that policy and

23   land use, you need to look at the comprehensive plan in its

24   entirety.  The statue actually says that.  You cannot

25   selectively choose policies to apply without looking at the

FLORIDA PUBLIC SERVICE COMMISSION

548

1   entire plan.

2             Similarly, the testimonies of both jurisdictional

3   planners assume that creation of a water service territory will

4   stimulate development that constitutes urban sprawl.  And

5   again, even if we assume that Farmton would undertake

6   development of the utility, both comprehensive plans pursuant

7   to Chapter 163 contain extensive measures to prevent sprawl.

8   Nothing in the granting of a PSC certificate would override

9   those provisions.

10             Both plans are in compliance by DCA, and therefore,

11   DCA has accepted those sprawl prevention measures.  Also, in my

12   professional opinion, the very low intensity 5 unit to 25 unit

13   per acre lot residential development that both plans permit is

14   one of the worst types of perpetrators of sprawl that we have

15   in the state of Florida; I discussed that yesterday.

16   Throughout Florida, as well as Volusia and Brevard Counties,

17   there are already -- electricity is already available and is

18   already allowing large numbers of units to be developed across

19   the landscape.  Right now, approximately 2,000 large lots could

20   be developed in each county on Farmton's property.

21             Both counties in their original testimonies testified

22   as though Farmton had no opportunity to modify the respective

23   comprehensive plans.  Chapter 163 provides or contains three

24   specific opportunities to amend comprehensive plans.  Our

25   planning legislation is a framework.  It's a vehicle that

FLORIDA PUBLIC SERVICE COMMISSION

549

1   guides how owners can use their land.  It's not a static or a

2   rigid prohibitional use of their land.

3             And then finally, the Department of Community Affairs

4   in two technical memoranda that I've cited and have attached as

5   exhibits has clearly stated that large rural landownership such

6   as Farmton and others that I have worked on provide a very

7   special land management opportunity for the state of Florida.

8   In my opinion, Farmton is simply exercising one more option in

9   seeking to manage its lands wisely and ultimately to the

10   benefit of itself, Brevard and Volusia Counties and the state

11   of Florida.

12             MR. WHARTON:  Commissioner Deason, I would request

13   that Mr. Lander's prefiled rebuttal testimony be inserted in

14   the record as though read.

15             COMMISSIONER DEASON:  Without objection, it shall be

16   so inserted.

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

590

1             MR. WHARTON:  And we would tender the witness for

2   cross.

3             COMMISSIONER DEASON:  Mr. Knox.

4                          CROSS EXAMINATION

5   BY MR. KNOX:

6        Q    Mr. Landers, if I could get you to pick up the hand

7   mike and walk up to the big map.

8        A    Yes, sir.

9        Q    I'd like to talk a little bit about the East Central

10   Florida service area.

11        A    Yes, sir.

12        Q    Is that one of the large landowners you've worked

13   with?

14        A    Yes, sir.

15        Q    This is an example of -- that you cited as not -- as

16   where a certificated area did not lead to urban sprawl; is that

17   correct?

18        A    Yes, I did state that.

19        Q    And let's look at that a little more carefully.  That

20   area is a little bit larger than what it shows on that map,

21   isn't it?

22        A    Yes.  It extends on into parts of Brevard County and

23   Osceola County.

24        Q    And the areas west of the St. Johns River; correct?

25        A    Yes, sir.

FLORIDA PUBLIC SERVICE COMMISSION

591

1        Q    And the areas as far east in Orange County as it can

2   get from Orlando, isn't it?

3        A    It is some distance, yes.

4        Q    There's an area right next to the green area showing

5   on that map that's in white.  Do you see that there?

6        A    Well, there's a very large white area all around it.

7        Q    I'm talking immediately to the east.

8        A    Immediately to the east, yes.

9        Q    Can you tell us what that is?

10        A    The Tosohatchee State Reserve.

11        Q    So that's that preserved area, isn't it?

12        A    It is.

13        Q    And where is I-95 in relation to that property?

14        A    I'm sorry, sir?

15        Q    I-95 --

16        A    In relation to?

17        Q    The green area for the East Central Florida service

18   area.

19        A    I-95 runs parallel to the coast and parallel to

20   Farmton's eastern boundary, a mile or two east of the Farmton

21   property.

22        Q    Okay.  Let's go down further where the ECFS area is.

23        A    Yes, sir.

24        Q    It's on the east side -- I-95 is on the east side of

25   the St. Johns River, is it not?

FLORIDA PUBLIC SERVICE COMMISSION

592

1        A    It is.

2        Q    Would you guess maybe that's eight to ten miles from

3   the ECFS property?

4        A    Yes.  But it also is connected by several major

5   highways that go through the East Central Florida territory

6   into the Orlando area.  So major, major expressways and

7   highways.

8        Q    But nonetheless, it is about eight to ten miles from

9   I-95.  Would you agree with that?

10        A    I'll agree with that subject to measurement.

11        Q    Let's look at Farmton's property for a moment.

12   That's only about a mile or two from I-95, isn't it?

13        A    Yes, sir.

14        Q    So on the east side of the St. Johns River; correct?

15        A    Yes, sir.

16        Q    Are you familiar with the Viera development regional

17   impact?

18        A    Yes, sir.  Somewhat, not in detail.

19        Q    If you go to that map and if you look down at the

20   very bottom there, can you tell me what's the very last road

21   you see that runs off of I-95 there?

22        A    Well, there's Barnes Boulevard at the very south --

23        Q    Okay.  And that's the one I'm looking for.

24        A    -- and the Merritt Island Causeway and King Street.

25        Q    Do you see Barnes Boulevard?  It runs into I-95.

FLORIDA PUBLIC SERVICE COMMISSION

593

1        A    Yes, sir.

2        Q    That's the northern boundary of the Viera DRI, isn't

3   it?

4        A    I could not have told you that, but I knew it was in

5   that approximate area.

6        Q    And the Viera DRI was originally part of the

7   Duda-Cocoa Ranch, was it not?

8        A    That is my understanding.

9        Q    And that's a 38,000 acre ranch, isn't it?

10        A    I don't know the size of it, sir.  It's quite large.

11        Q    And I-95 splits that ranch right in half -- well, not

12   in half, but it splits the ranch, doesn't it?

13        A    It does pass through the property.  I don't know to

14   what proportions it splits it.

15        Q    So the Duda Ranch, which is east of St. Johns River,

16   has 95 adjacent to it, has developed for all kinds of

17   commercial, industrial, and residential development, hasn't it?

18        A    Yes, sir, it has.

19        Q    And it's provided central water, isn't it, by the

20   City of Cocoa?

21        A    I do not know who provides the central water.

22        Q    Okay.  Well, if you look at the service area map

23   there that you've got in front of you.

24        A    Yeah, the large green area says City of Cocoa.  Yes,

25   sir.

FLORIDA PUBLIC SERVICE COMMISSION

594

1        Q    Okay.  So central water was kind of important to the

2   development of that development regional impact, would you not

3   say?

4        A    Of course, yes, sir.

5             MR. KNOX:  Okay.  I have no further questions.

6             COMMISSIONER DEASON:  Mr. McNamara.

7             MR. McNAMARA:  We have no questions.

8             COMMISSIONER DEASON:  Mr. Bosch.

9             MR. BOSCH:  No questions.

10             COMMISSIONER DEASON:  Staff.

11             MS. FLEMING:  We have no questions.

12             COMMISSIONER DEASON:  Commissioners.

13             Redirect.

14             MR. WHARTON:  None.

15             COMMISSIONER DEASON:  Okay.  And we have already

16   addressed the exhibits.  Thank you, Mr. Landers, you may be

17   excused.

18             THE WITNESS:  Thank you.

19             (Witness excused.)

20             MS. FLEMING:  Excuse me, Commissioner.

21             COMMISSIONER DEASON:  Yes.

22             MS. FLEMING:  I just have a clarification.  In our

23   exhibit list, we had Mr. Landers with four rebuttal exhibits,

24   and looking back, I notice that there's five.  One of them is

25   identified as HML-6.  It wasn't in the prehearing statements or

FLORIDA PUBLIC SERVICE COMMISSION

595

1   the prehearing order, and I wasn't sure that is to be included

2   as well.

3             MR. LANDERS:  Ma'am, there has always been a

4   reference throughout my testimony, both testimonies, to two

5   Department of Community Affairs memoranda, and I believe

6   that -- thank you for bringing that up.  I believe at one

7   point, and I'm not sure where it was, I saw only one reference

8   to a technical memoranda, but I've always had two associated

9   with my work and testimony.

10             COMMISSIONER DEASON:  Mr. Wharton, do you wish to

11   have HML-6 identified?

12             MR. WHARTON:  I guess I am trying to figure out

13   whether that -- whether those two memoranda, if everyone has

14   the two memoranda could just be a composite exhibit,

15   Exhibit 37, because there are two memoranda, and therefore, I

16   don't think we need to change any of the numbers.

17             COMMISSIONER DEASON:  So just to make it clear then

18   that what was identified in the prehearing order as HML-6 will

19   just become part of Exhibit 37.  Is that your proposal?

20             MR. WHARTON:  Yes.

21             COMMISSIONER DEASON:  Is there any objection?

22   Hearing no objection, then we will just incorporate and make it

23   clear for purposes of the record that HML-6 is part of

24   Composite 37.

25             MR. WHARTON:  And just to be clear, Commissioner

FLORIDA PUBLIC SERVICE COMMISSION

596

1   Deason, that is technical memo, Volume 5, Number 2, March

2   '90 and technical memo, Volume 5 -- I'm sorry, Volume 5, Number

3   2, March '90 is the first one.  The second one is Volume 5,

4   Number 6, July '90.  And I believe those are just one behind

5   another behind in the testimony.  So those could be Composite

6   37.

7             COMMISSIONER DEASON:  Yes, Composite 37, and the

8   entire Composite 37 is admitted.

9             Now, before we proceed further with the schedule that

10   remains for this docket, I know that we have a small

11   complication herein that we're going to allow Mr. Knox and

12   other parties if they see fit to file an objection to part of

13   the summary given by Mr. Hartman, as I understand; correct?  It

14   was Mr. Hartman?  Yes.

15             Just sitting here, it seems to me there may be a

16   simpler way to address this that's a little more efficient.

17   I'm going to throw it out and I want feedback.  Technically the

18   summaries are just supposed to be that, summary of information

19   that has already been prefiled and has been inserted into the

20   record.  Therefore, the record should be complete without any

21   reference to the summaries whatsoever.  Summaries are just

22   additional information -- not additional, it's just that,

23   summaries, and it helps for the flow of the hearing.  They

24   serve a benefit.

25             It seems to me that instead of going through the

FLORIDA PUBLIC SERVICE COMMISSION

597

1   exercise of trying to review the transcript and having portions

2   excluded, that we would just proceed with the understanding

3   that for purposes of the brief and citation to the record it is

4   the testimony itself which serves that purpose and not the

5   summaries.  There should not be anything in the summary in

6   addition to what has been prefiled.  Now, if you want to

7   proceed with that, that would probably eliminate the need to

8   file objections and responses to the objections and having the

9   Prehearing Officer rule and issue an order.  However, if the

10   parties wish to proceed through that procedure, I'm willing to

11   do so, but it seems to me that may be easier.  I'm looking for

12   feedback from the parties and from staff on that.

13             MR. KNOX:  I'd be quite satisfied with that approach.

14             MR. McNAMARA:  Titusville will be satisfied with that

15   approach.

16             MR. BOSCH:  That's fine.

17             MR. DETERDING:  That's fine.

18             COMMISSIONER DEASON:  Staff.

19             MS. FLEMING:  Yes, that's fine.

20             COMMISSIONER DEASON:  Very good.  We've eliminated

21   some workload here.  So I would just ask the parties, as you're

22   preparing your briefs in this matter, when you make a citation

23   to the record, please be sure that you're not citing to

24   passages that are summaries, but that you're citing to

25   actual -- either cross-examination, responses to

FLORIDA PUBLIC SERVICE COMMISSION

598

1   cross-examination or to prefiled direct or rebuttal testimony,

2   not to summaries.  And I think that should clear the problem;

3   is that fair?

4             MR. DETERDING:  Yes.

5             COMMISSIONER DEASON:  Very well.  Okay.  Staff, we

6   have concluded all of the witnesses.  What do we need to do

7   next?

8             MR. WHARTON:  Well, Commissioner Deason, we want more

9   of everything.  First, I want to talk about the time limit for

10   the briefs, and I've also discussed with other counsel.

11   Currently the order calls for transcripts to come out on July

12   the 8th and the briefs to be on the 22nd.  That is a 14-day

13   period for briefing.  There are 15 issues in this case and

14   multiple parties.  I think a couple of the issues such as

15   comprehensive planning and need will -- may be 9- or 10- or

16   12-page sections in the brief and will need to be carefully

17   researched in terms of past Commission orders and whatnot.  The

18   parties would ask for four --

19             COMMISSIONER DEASON:  Let me interrupt just a moment

20   while I'm thinking about it.  Is there a limitation on the

21   length of the brief contained in the prehearing order?

22             MR. WHARTON:  There is, 40 pages.  And that was the

23   next subject I was going to ask for.  The parties would ask for

24   four weeks.  Here, I don't believe that time is of the essence

25   with regard to service, and there was a continuation of the

FLORIDA PUBLIC SERVICE COMMISSION

599

1   proceeding for a major time already.  And everyone seems to be

2   in agreement -- by "everyone," I mean us at this table here --

3   that we would appreciate four weeks for the briefs.

4             COMMISSIONER DEASON:  When is this matter scheduled

5   to come before the Commission for a vote?

6             MS. FLEMING:  It's scheduled to come before the

7   Commission on the September 21st agenda.  I would like to point

8   out that if the briefs are pushed back to whatever the parties

9   are requesting, staff will need additional time to prepare the

10   recommendation, and we will probably have the recommendation

11   ready for the October 5th agenda.

12             MR. WHARTON:  And I don't think that we object to

13   that.

14             COMMISSIONER DEASON:  So you're --

15             MR. WHARTON:  That would make briefs due August the

16   5th as opposed to July 22nd.

17             COMMISSIONER DEASON:  Mr. Wharton, you're asking for

18   additional -- how much time additional are you asking to --

19             MR. WHARTON:  Two weeks.  Four weeks instead of two.

20             COMMISSIONER DEASON:  And then, staff, you're wanting

21   two weeks then on the -- for you to prepare the recommendation,

22   and it would be two weeks later for the agenda; correct?

23             MS. FLEMING:  That's correct.

24             COMMISSIONER DEASON:  Okay.  Let me ask, are there

25   other matters we need to address other than the briefing

FLORIDA PUBLIC SERVICE COMMISSION

600

1   schedule before we conclude the hearing?

2             MR. WHARTON:  And possibly the length of the briefs.

3             COMMISSIONER DEASON:  Okay.  The schedule and the

4   length.  Any other matters we need to address before we

5   conclude the hearing?

6             MR. BOSCH:  None from Volusia.

7             COMMISSIONER DEASON:  And staff?

8             MS. FLEMING:  We don't have any other matters.

9             COMMISSIONER DEASON:  We're going to take a brief

10   recess of five minutes, and we'll come back and we'll address

11   the briefing schedule as well as the length of the briefs.

12             (Brief recess.)

13             COMMISSIONER DEASON:  We'll go back on the record.

14   During the break, we've inquired of the Court Reporter's

15   Office, and they have agreed to expedite the filing of the

16   transcripts.  And under the new schedule, it's my understanding

17   the transcript will now be filed by July the 1st, which is a

18   week sooner than the original schedule.  Then what I would

19   propose, under the original schedule, briefs were due 7/22; I

20   would set that due date at 7/29.  That's one week later than

21   the original schedule, but that gives all the parties two more

22   week's time with the benefit of transcripts since the

23   transcripts will be expedited by one week.

24             And then staff has agreed graciously to keep the same

25   agenda date, which means they are going to have to file their

FLORIDA PUBLIC SERVICE COMMISSION

601

1   recommendation sooner -- I mean, they're going to have to file

2   it under the original -- the will file it under the original

3   schedule.  They will just have less time with the benefit of

4   the briefs.  But I've been informed that they can make that

5   concession or are willing to do so.

6             So, staff, correct me if I'm wrong, but I believe

7   this is the revised schedule.  Transcripts will be filed by

8   July the 1st, briefs will be due July the 29th, and we will

9   keep the original schedule agenda date of 9/21; is that

10   correct?

11             MS. FLEMING:  Yes, Commissioner, that's correct.

12             COMMISSIONER DEASON:  Are there any questions on the

13   schedule?  Okay.  Then a question comes up about length of the

14   briefs.  I would just note that there have already been three

15   issues that have been stipulated which is of some benefit, but

16   I do understand that we do have some legal issues which also

17   have to be briefed in this matter.  So the prehearing order

18   called for 40 pages.

19             Mr. Wharton, what do you propose?  Don't make it too

20   high.

21             MR. WHARTON:  I think 50 pages would be adequate.

22             COMMISSIONER DEASON:  Is there any objection by any

23   of the parties to 50 pages for the brief?  Is that acceptable?

24             MR. BOSCH:  I have no objection.

25             COMMISSIONER DEASON:  Very well.  Now, just because

FLORIDA PUBLIC SERVICE COMMISSION

602

1   it's set at 50 doesn't mean you have to file 50, okay?  It will

2   still get reviewed if it's only 40, and maybe get reviewed more

3   thoroughly.  Sometimes conciseness is a virtue.

4             So having said that, the brief limitation will be

5   changed from 40 pages to 50 pages.

6             Anything further at this point?

7             MS. FLEMING:  No, Commissioner, we have no further

8   matters.

9             COMMISSIONER DEASON:  Okay.  I just want to take a

10   brief opportunity to acknowledge the very -- what I consider

11   the professionalism that has been displayed here by all the

12   participants, the city, the counties, the applicant, and our

13   staff.  We've covered a great deal of material in what was

14   scheduled to be a three-day hearing in two days, and I think

15   that shows that we have -- the parties have been prepared and

16   have undertaken this matter in a very professional and

17   courteous and expeditious way, and I just want you to know that

18   the Commissioners appreciate that.

19             MR. WHARTON:  Thank you, Commissioner.

20             COMMISSIONER DEASON:  Hearing nothing further, this

21   hearing is adjourned.

22             (Hearing concluded at 2:20 p.m.)

23                              - - - - -

24

25

FLORIDA PUBLIC SERVICE COMMISSION

603

1   STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTER

2   COUNTY OF LEON      )

3

I, TRICIA DeMARTE, RPR, Official Commission Reporter,

4   do hereby certify that the foregoing proceeding was heard at

the time and place herein stated.

5

IT IS FURTHER CERTIFIED that I stenographically

6   reported the said proceedings; that the same has been

transcribed under my direct supervision; and that this

7   transcript constitutes a true transcription of my notes of said

proceedings.

8

I FURTHER CERTIFY that I am not a relative, employee,

9    attorney or counsel of any of the parties, nor am I a relative

or employee of any of the parties' attorneys or counsel

10   connected with the action, nor am I financially interested in

the action.

11

DATED THIS 30th DAY OF JUNE, 2004.

12

13

___________________________________________

14                         TRICIA DeMARTE, RPR

FPSC Official Commission Reporter

15                           (850) 413-6736

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION