BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

In re:  Petition for Determination

of Need for of Hines Unit 4 Power Plant

DOCKET NO.

Submitted for filing:

DIRECT TESTIMONY

OF JOHN J. HUNTER

ON BEHALF OF

PROGRESS ENERGY FLORIDA

JAMES A. MCGEE	GARY L. SASSO

Associate General Counsel	Florida Bar No. 622575

PROGRESS ENERGY SERVICE 	JAMES MICHAEL WALLS

COMPANY, LLC	Florida Bar No. 706272

P.O. Box 14042	JOHN T. BURNETT

St. Petersburg, Florida 33733	Florida Bar No. 173304

Telephone: (727) 820-5184	CARLTON FIELDS, P.A.

Facsimile:   (727) 820-5519				Post Office Box 3239

Tampa, FL 33601 										Telephone:   (813) 223-7000									Telecopier:   (813) 229-4133

IN RE:  PETITION FOR DETERMINATION OF NEED

BY PROGRESS ENERGY FLORIDA

- FPSC DOCKET NO. _________

- DIRECT TESTIMONY OF JOHN J. HUNTER

- I.	INTRODUCTION AND QUALIFICATIONS

Q.	Please state your name, employer, and business address.

A.	My name is John J. Hunter and I am employed by Progress Energy Florida (PEF or the Company).  My business address is 100 Central Avenue, St. Petersburg, Florida, 33701.

Q.	Please state your position with the Company and describe your duties and responsibilities in that position.

A.	I am employed by the Company as a Lead Environmental Specialist in the Environmental Services Section of the Technical Services Department.  My primary responsibilities currently include project management of environmental activities related to siting, licensing, and permitting of new electric power generating facilities in the State of Florida. This includes activities related to obtaining the necessary certification under Florida’s Electrical Power Plant Siting Act for new facilities, as well as any additional Federal environmental permits required to construct new generating facilities.  In addition to the above, I also coordinate activities related to the management of water resources required to support the existing and proposed water supply demands associated with the Hines Energy Complex (HEC).

Q.	Please summarize your educational background and work experience.

A.	I earned a Bachelor of Science degree in Chemical Engineering from the University of South Florida.  Prior to coming to PEF in 2001, I was employed for 14 years by Tampa Electric Company (TECO) where I held various engineering and supervisory positions within TECO’s Environmental Affairs Department, including Administrator of Water Programs (1995-1998) and Administrator of Air Programs (1998-2000).  In these various positions, I was responsible for ongoing environmental permitting and compliance activities for existing generating facilities, and I was involved in studies for the siting of new generation.

In 2001, I joined PEF where my responsibilities largely consist of those previously outlined.  More specifically, as it relates to this testimony, I am responsible for obtaining the supplemental site certification for Hines Unit 4 at the HEC.  This includes overall management of the project, providing technical resources, overseeing all aspects of the application preparation, handling responses to comments, meeting with regulatory agency managers, and ensuring that the certification of the project is completed on schedule.

- II.	PURPOSE AND SUMMARY OF TESTIMONY

Q.	What is the purpose of your testimony in this proceeding?

A.	I am testifying on behalf of PEF in support of its Petition for a Determination of Need for Hines Unit 4 to (1) describe the HEC site, (2) discuss the environmental benefits of the HEC site and the Hines 4 unit that Progress Energy Florida proposes to build, and (3) discuss the environmental approval process associated with the construction and operation of Hines 4.

I am responsible for preparation and submittal of the Supplemental Site Certification Application (SSCA) for the proposed Hines 4 unit, which includes the application for the Prevention of Significant Deterioration (PSD)/Air Construction Permit approval, obtaining the Florida Department of Environmental Protection (DEP) approval of the PSD application, negotiating appropriate Conditions of Certification with the participating regulatory agencies for the addition of the Hines 4 unit to the existing site, and obtaining final certification approval from the Governor and Cabinet sitting as the Florida Power Plant Siting Board.

Q.	Are you sponsoring any sections of Progress Energy Florida ’s Need Study?

A.	Yes, I am sponsoring “Environmental Considerations” in Section II of the Need Study.

Q.	Please summarize your testimony.

A.	I am responsible for preparation and submittal of the SSCA for the proposed Hines 4 unit.  The Hines 4 unit will be a state-of-the-art gas-fired, combined cycle power unit that will be located at the HEC.

The HEC continues to represent a beneficial reuse of an environmentally impacted, mined-out phosphate area that was specifically selected as a power plant site because of its minimal environmental impact.  Site certification evaluations included assessments of air quality impacts, water quality and wildlife impacts, water use and noise impacts, socioeconomic impacts and benefits, traffic impacts from construction and operation, and other impacts of the entire planned site capacity of 3,000 megawatts (MW).

Hines 4 requires only a supplemental application and review that will require less time, and, as an additional benefit, it will cost less to obtain the necessary environmental approvals.  In the original Hines 1 proceeding, the Siting Board specifically made a determination that the HEC had the ultimate site capacity to support 3,000 MW of electrical generating facilities fired by either natural gas or coal gasification.

Based on my review and analysis, it is my professional opinion that certification of the Hines 4 unit should be approved by the Governor and Cabinet and the PSD permit issued by DEP in a timely fashion and in accordance with all applicable environmental laws and regulations to allow for its commercial operation by December 2007.

III.	DESCRIPTION OF THE SITE AND THE PROPOSED UNIT

Q.	Is the HEC permitted for electric power plant usage?

A.	Yes.  In 1994, the Governor and Cabinet, sitting as the Siting Board pursuant to the Florida Electrical Power Plant Siting Act, granted certification to Florida Power to construct and operate Hines Unit 1 and for 3,000 MWs of ultimate site capacity.  In 2001and 2003, the Siting Board approved the separate SSCA’s allowing for the construction and operation of Hines Units 2 and 3, respectively.

In the original proceeding, the Siting Board specifically made a determination that the HEC had the ultimate site capacity to support 3,000 MWs of electrical generating facilities fired by either natural gas or coal gasification.  The original proceeding that culminated in that 1994 Certification included extensive evaluations of the worst case capacity constraints and maximum potential environmental effects of the operation of the expected 3,000s MW of capacity.  These evaluations included assessments of air quality impacts, water quality and wildlife impacts, water use and noise impacts, socioeconomic impacts and benefits, traffic impacts from construction and operation, and other impacts of the entire planned capacity of 3,000 MWs.  This evaluation was undertaken, in large measure, to provide assurances that the HEC has adequate air, water, and land resources to accommodate additional electrical generating units like those proposed in the current SSCA.  Confirming the Polk County Board of County Commissioners' finding, the Siting Board also concluded that the HEC was consistent, and in compliance, with the land use plans and zoning requirements of Polk County.

After receiving the initial Certification, the Company constructed the Hines 1 unit, which began commercial operation in April 1999.  Under previous SSCA processes, the Hines 2 and Hines 3 units were approved.  The Hines 2 unit has been constructed and began commercial operation in December 2003.  The Hines 3 unit is currently under construction and is expected to begin commercial operation in December 2005. The combined total power rating for these three units is approximately 1500 MWs, half of the certified site capability.

- Please briefly describe the proposed unit.

- The Hines 4 unit will be a natural gas-fired, combined cycle power block consisting of two combustion turbines, two heat recovery steam generators and one steam turbine generator. The Hines 4 unit will add approximately 500 MWs of additional generation capacity to the HEC site. The Company proposes to place the unit into commercial operation in December 2007.  The Hines 4 unit will also be capable of firing a low sulfur (0.05 percent) distillate fuel oil as a backup to natural gas.

- What environmental permits are necessary for the construction and operation of the proposed Hines 4 unit?

- Siting Board approval of the Conditions of Certification developed through the SSCA process and the PSD/Air Construction permit are necessary to begin construction and operation of Hines 4.  Although the Company has previously obtained Site Certification from the Florida Siting Board for an ultimate capacity of 3,000 MWs at the HEC, and for the construction and operation of the Hines 1, 2 and 3 units, the proposed addition of Hines 4 requires that a SSCA process specific to the issues related to Hines 4 be performed and approved.  Pursuant to the requirements of the Electrical Power Plant Siting Act and Chapter 62-17, F.A.C., Progress Energy Florida has submitted a SSCA for the purpose of adding the Hines 4 unit to the HEC.  This SSCA will be reviewed by various state and local agencies, including the DEP, the Southwest Florida Water Management District, local government, and others.  After extensive review, a Department of Administrative Hearings (DOAH) administrative law judge will issue an order recommending approval or denial to the Governor and Cabinet, sitting as the Siting Board.  If approval is recommended, the Florida DEP Siting Office will also recommend Conditions of Certification as part of the Siting Board’s approval.  Ultimately the Governor and Cabinet will issue or deny Site Certification for the addition of the Hines 4 unit to the HEC site, considering the need for power balanced with the expected environmental impacts.

Q.	What information does Progress Energy Florida's SSCA include?

A.	The SSCA addresses the environmental and socioeconomic aspects of the additional generating unit at the HEC by presenting information on the existing natural and human environments, the additional generating facilities proposed to be constructed and operated, and the impacts of those additional facilities on those environments.  Much of the information contained in this SSCA is updated information from the SCA filed in 1992 for Hines 1 and ultimate site certification for the HEC, as well as the SSCA’s for Hines 2 and 3, with a focus on the environmental impacts of the construction and operation of Hines 4.  Similar to Hines 1, 2 and 3, Hines 4 will consist of two combustion turbines, each equipped with one heat recovery steam generator, and a single steam turbine electrical generator.

- ENVIRONMENTAL BENEFITS OF THE SITE AND THE PROPOSED

UNIT

Q.	What environmental benefits do the HEC and the proposed unit offer?

A.	Hines 4 will be located adjacent to Hines 3 at the HEC, an existing power plant site in Polk County, Florida, that the Florida Siting Board approved on January 25, 1994 for up to 3,000 MW of generating capacity.  The addition of Hines 4 to the site is well within the confines of the site’s ultimate generating capacity.  The HEC is an 8,200-acre site located on land used formerly for a phosphate mining operation.  Progress Energy Florida specifically selected the HEC as a power plant site because of its minimal environmental impact.  As such, there are no major environmental limitations that will be associated with the addition of the Hines 4 unit to the site.  Most, if not all, of the environmental issues associated with the site were resolved during the initial certification of the site, along with the first Hines 1 unit.  Accordingly, Hines 4 requires only a supplemental application and review that will require less time, and, as an additional benefit, it will cost less to obtain the necessary environmental approvals.

With regard to air emissions, Hines 4 will be considered a major stationary emission source and will be subject to Prevention of Significant Deterioration (PSD) permitting requirements.  Air emissions will be minimal because the Hines 4 unit will burn a relatively clean fuel with good combustion practices to ensure complete combustion and will use appropriate emission control technologies.  Combined cycle units operating on natural gas, like the Hines 4 unit, are one of the cleanest sources of fossil generation.

Both natural gas and distillate fuel oil are low sulfur, low ash fuels.  Flue gas is the only byproduct of the combustion process at the HEC, whether burning natural gas or distillate fuel oil.  Full load nitrogen oxide (NOx) emission levels of 2.5 ppm or less are expected for Hines 4 while burning natural gas.  This will require the installation of selective catalytic reduction (SCR) technology to control NOx emission levels.  While firing distillate fuel oil as a backup fuel, water injection along with SCR will be used to limit NOx levels.

The HEC is a zero surface water discharge facility with respect to the National Pollution Discharge Elimination System (NPDES) program for industrial wastewater, and therefore does not require a NPDES water discharge permit.  Process wastewater streams are treated and retained on-site or are returned to the cooling pond as a source of make-up water.  An on-site groundwater monitoring system is in place to monitor groundwater discharges.

Water consumption at the site occurs primarily through evaporation from the cooling pond.  Accordingly, a key feature of the HEC design is the existing cooling pond, which serves as the heat dissipation device and the source of most process water at the site.  Additional cooling pond modifications will be required for the Hines 4 addition.

Reclaimed water from the City of Bartow, direct rainfall, on-site storm water runoff, and water cropping (use of on-site rainfall collection basins), limited groundwater, and re-use of process water provide the makeup cooling water required to maintain the cooling pond level within acceptable operating limits.  The incremental water supply necessary to support the addition of Hines 4 to the site will come from additional groundwater.  Alternative water supply sources will be utilized to offset the incremental groundwater if they become available.

Because the Florida Siting Board approved the HEC for up to 3,000 MWs, and given that the Company developed the property to support the construction and operation of the Hines 1, 2 and 3 units, little additional development is necessary for Hines 4.  In fact, the principal infrastructure is already in place, including extensive site development (excavation, fill, access roads, sewer systems), a cooling pond, and two fully-sized natural gas lateral pipelines.  Many other common facilities will require only minor modifications to support the addition of Hines 4.

The HEC’s large size also provides a substantial buffering of the proposed unit, which minimizes environmental and socioeconomic impacts.  The HEC is located in a low population density area, not close to any residential areas, and is zoned to accommodate electrical power facilities.

County Road 555 provides vehicular access, with rail access provided by existing CSX rail lines, including an on-site rail spur.  Progress Energy Florida completed a traffic impact analysis to assess traffic impacts for the construction and operation of the full build-out of the HEC (3,000 MWs) on Polk County roadways.  Conditions of Certification addressing those impacts were included in the original 1994 Certification.  Area roadways have capacity to accommodate traffic from construction and operation of Hines 4 as previously demonstrated.

Finally, noise impacts from the full 3,000 MW site were assessed for several residential receptors around the HEC as part of the 1994 Certification.   Fractional noise increases observed at any nearby residential receptor will not be noticeable or significant.  The isolated location and buffer area around the HEC results in the lack of a significant noise impact.

- What is the licensing schedule for the Hines 4 unit?

- Progress Energy Florida filed the SSCA and the PSD/Air Construction Permit Application with the Florida DEP in August 2004 for the Hines unit 4.  The final approvals are expected prior to the end of 2007.  This schedule will allow for the commencement of commercial operations of Hines 4 by December 2007.

V.	CONCLUSION

- What is your opinion regarding the Company’s ability to obtain all necessary licenses to allow for commercial operation by December 2007?

- Based on my review and analysis, it is my professional opinion that certification of the Hines 4 unit should be approved by the Governor and Cabinet and the PSD permit issued by Florida DEP in a timely fashion and in accordance with all applicable environmental laws and regulations.

- Are you aware of any reason why the Hines 4 unit would not be successfully approved?

- No.

Q.	Does this conclude your direct testimony?

A.	Yes.