BEFORE THE PUBLIC SERVICE COMMISSION

| In re: Petition for approval of 2003 depreciation study by Tampa Electric Company. | DOCKET NO. 030409-EI ORDER NO. PSC-04-0815-PAA-EI ISSUED: August 20, 2004 |
| --- | --- |

The following Commissioners participated in the disposition of this matter:

BRAULIO L. BAEZ, Chairman

J. TERRY DEASON

LILA A. JABER

RUDOLPH “RUDY” BRADLEY

CHARLES M. DAVIDSON

NOTICE OF PROPOSED AGENCY ACTION

ORDER REQUIRING CORRECTIVE RESERVE TRANSFERS, APPROVING RECOVERY/AMORTIZATION SCHEDULES, AND REVISING DEPRECIATION RATES AND FOSSIL DISMANTLEMENT ACCRUALS

BY THE COMMISSION:

NOTICE is hereby given by the Florida Public Service Commission that the action discussed herein is preliminary in nature and will become final unless a person whose interests are substantially affected files a petition for a formal proceeding, pursuant to Rule 25-22.029, Florida Administrative Code.

I. BACKGROUND

Rule 25-6.0436, Florida Administrative Code (F.A.C.), requires investor owned utilities to file comprehensive depreciation studies at least once every four years.  On April 28, 2003, Tampa Electric Company (Tampa Electric or company) filed its regular depreciation study in accordance with this rule.  By Order No. PSC-03-0736-PCO-EI, issued June 20, 2003, in this docket, we authorized the company to implement, on a preliminary basis, its depreciation rates, amortizations, recovery schedules, and fossil dismantlement accruals as of January 1, 2003, in accordance with Rule 25-6.0436 (5), F.A.C.

Because the plant investment and reserve factors were updated through December 31, 2003, this order addresses the approval of new depreciation rates for 2004.  We have jurisdiction over these matters through several provisions of Chapter 366, Florida Statutes, including Sections 366.04, 366.05, and 366.06.

II. REVISIONS TO PRELIMINARY DEPRECIATION RATES, AMORTIZATIONS,  RECOVERY SCHEDULES, AND PROVISIONS FOR FOSSIL DISMANTLEMENT

Order No. PSC-03-0736-PCO-EI approved the annual increase in total depreciation expense of about $48 million based on actual January 1, 2003 investments.  The primary difference between the preliminary approved 2003 annual expense and the utility’s current proposal was the accelerated recovery of Gannon Station coal related assets which ended December 31, 2003, instead of the original approved date of December 31, 2004.  Also, in the original study, the investment, reserves, average ages, and remaining lives for each strata were as of January 1, 2003, and, therefore, had to be updated to reflect the results for January 1, 2004.

A. Depreciation Rates, Amortization, and Recovery Schedules

Our analysis represents an overall review of the company’s proposed life, salvage and reserve factors, as well as the establishment of a fixed levelized annual accrual for dismantlement of fossil plants in accordance with Order No. 24741, issued July 1, 1991, in Docket No. 890186-EI, In re:  Investigation of the rate making and accounting treatment for the dismantlement of fossil-fueled generating stations.  The analysis of the company’s data and resulting depreciation rates reflect the impact of its current planning to ensure that assets are fully amortized at the time of retirement as reflected on Attachment A.  Based on these revisions, there will be an approximate $3.3 million decrease in annual accruals on a going forward basis beginning January 1, 2004.  The major changes occurred with the December 31, 2003 retirement of Gannon Station coal related assets and Bayside Units 1 and 2 turbine related plant, totaling approximately $49 million.  The lives, net salvages, reserves, and resultant depreciation rates shall be as shown on Attachment A.

B. Provision for Fossil Dismantlement

By Order No. 24741, this Commission established the methodology for accruing the costs of fossil dismantlement.  The methodology depends on three factors: estimated base costs of dismantling the fossil-fueled plants, projected inflation, and a contingency factor.  The fixed annual amount is based on a four-year average of the accruals related to the years between depreciation study reviews.  The purpose of these studies is to reflect changes in estimates, inflation, regulatory, or environmental requirements, and any newly discovered public health and safety issues.

The current/preliminarily approved annual dismantlement accrual is $7,987,246, which includes $7,359,321 associated with the dismantlement provision for the Gannon coal related assets which were retired at the end of 2003.  Tampa Electric’s 2003 annual accruals decreased by $4.1 million due to changes in the company’s estimate of $3.8 million, and the use of lower escalation indices.  The company provided updated fossil dismantlement data to support the changes to its dismantlement proposal, and this data appears to be valid.  Therefore, we find that the accrual for fossil dismantlement for 2004 and going forward until the next depreciation study is $3,874,572, beginning January 1, 2004.  This represents a decrease of approximately $4.1 million from what was preliminarily approved in Order No. PSC-03-0736-PCO-EI.

Since the preliminary order, Tampa Electric’s base cost estimates for the various dismantlement activities have changed as shown below:

|  | Preliminary Approval | 2003 Study |
| --- | --- | --- |
|  | ($) | ($) |
| Big Bend | 44,327,000 | 45,830.749 |
| Gannon/Bayside | 40,657,999 | 44,429,690 |
| Hookers Point | 6,770,000 | 10,520,694 |
| Dinner Lake | 576,000 | 775,118 |
| Big Bend CTs | 622,000 | 638,483 |
| Gannon CT | 0 | 0 |
| Bayside | 8,418,800 | 8,783,627 |
| Phillips Station | 1,262,000 | 1,345,737 |
| Polk | 10,705,000 | 11,052,843 |
| City of Tampa | 210,501 | 224,473 |
| Total | 113,549,300 | 123,601,416 |

The preliminary approved estimates and the current study cost estimates include a 15% contingency factor.

For its study, Tampa Electric used escalation factors from the winter 2004 issue of The U.S. Economy: The 25 Year Focus, which is published by Global Insight.  The escalation factors are for compensation per hour, metal and metal products, intermediate materials, and the GDP deflator.  The factors are projections of annual rates of change and are used to calculate the inflation compounded multiplier.

C. Effective Date

Rule 25-6.0436, F.A.C., requires data submitted in a depreciation study, including plant and reserve balances or company estimates, to be brought to the effective date of the proposed rates.  Tampa Electric’s supporting data and calculations for revised depreciation rates, amortizations, recovery schedules, and dismantlement provisions have been provided matching a January 1, 2004, implementation date, and this date shall be the implementation date.  For all practical purposes, the depreciation rates, amortizations, recovery schedules, and dismantlement provisions based upon the January 1, 2003 investment will remain pursuant to Order No. PSC-03-0736-PCO-EI.

D. Conclusion

Our review of the Company’s depreciation study shows that the revised depreciation rates, amortizations, recovery schedules, and provision for dismantlement shall be as shown on Attachments A and B, with an effective date of 2004.  The effect of this proposal would be to decrease total depreciation expenses by an estimated $3.3 million beginning January 1, 2004 and going forward until the next depreciation study.  Also, the annual provision for fossil dismantlement shall be $3,874,572, which represents an approximate decrease of $4.1 million that was approved by Order No. PSC-03-0736-PCO-EI.

The changes to the annual accrual based on a January 1, 2004 estimate of investments resulting from the approved rates, general plant amortizations, recovery schedules, and provision for dismantlement are summarized as follows:

| Functional Accounts | ($000) |
| --- | --- |
| Production | (1,907) |
| Transmission | 937 |
| Distribution | 1,551 |
| General Plant/Amortizations | 193 |
| Subtotal | 774 |
| Fossil Dismantlement | (4,113) |
| Total Change | (3,339) |

III. CORRECTIVE RESERVE ALLOCATIONS

Our reserve allocations address the major imbalances that affect the company’s investments and reserves between accounts of a given unit or function or between accounts and units of the same site.  The allocations bring each affected account’s reserve more in line with its theoretically correct position.  Also, this corrective action is necessary to eliminate the accruing of depreciation expense that may continue beyond the account’s current investment.

According to Tampa Electric, there are instances where no reserve was transferred with the transfer of investments because it was considered to be immaterial.  The company fails to realize that as long as the investment dollars are in a given account, those dollars are accruing depreciation, and the accumulated amount should be transferred with the associated plant amount.  As previously stated in prior studies, the practice imposed by the company assumes that the investment transferred is new plant without any reserve.  As the plant is transferred without the reserve, it will cause an overstatement of the account from which the transfer originated, and will understate the reserve for the receiving account.  In previous studies, our staff completed all the company’s reserve transfers to bring the accounts in balance, with an agreement from Tampa Electric to continue to transfer the accumulated reserve when property is transferred from one plant account to another, regardless of materiality.  Apparently, the company continues as in previous studies to transfer plant without the accumulated reserve.  Therefore, the company shall make the necessary corrections to the reserve position for the remaining affected plant accounts as set out below, and provide a report to our staff within 6 months from the date our decision here becomes final.

| Reserve Allocations |  |  |  |  |
| --- | --- | --- | --- | --- |
| Account | Description | 1/1/04 Reserve | Reserve Transfer | Restated Reserve |
|  |  | ($) | ($) | ($) |
| Bayside Station |  |  |  |  |
| 312350 | Bayside Unit No. 5 | 27,200 | (314) | 26,886 |
| 314350 | Bayside Unit No. 5 | 5,508,381 | 314 | 5,508,695 |
| Total Bayside |  | 5,535,581 | 0 | 5,535,581 |
| Other Production |  |  |  |  |
| 346420 | Big Bend CT 2 & 3 | 28,400 | (682) | 27,718 |
| 342420 | Big Bend CT 2 & 3 | 1,263,247 | 682 | 1,263,929 |
| Total Big Bend CT 2&3 |  | 1,291,647 | 0 | 1,291,647 |

Based on the foregoing, it is

ORDERED by the Florida Public Service Commission that the revised depreciation rates, amortizations, recovery schedules, and provisions for dismantlement shall be as shown on Attachments A and B, with an effective date of January 1, 2004, for Tampa Electric Company.  It is further.

ORDERED that the provisions of this Order, issued as proposed agency action, shall become final and effective upon the issuance of a Consummating Order unless an appropriate petition, in the form provided by Rule 28-106.201, Florida Administrative Code, is received by the Director, Division of the Commission Clerk and Administrative Services, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on the date set forth in the "Notice of Further Proceedings" attached hereto.  It is further

ORDERED that Tampa Electric Company shall make the necessary corrections to the reserve position for the remaining affected plant accounts, and provide a report to our staff within 6 months from the date of the order consummating this proposed agency action order.  It is further

ORDERED that if no person whose substantial interests are affected by the proposed agency action files a protest within 21 days of the issuance of the order, this docket shall be closed upon the issuance of a consummating order.

By ORDER of the Florida Public Service Commission this  20th day of August, 2004.

|  | /s/ Blanca S. Bayó |
| --- | --- |
|  | BLANCA S. BAYÓ, Director Division of the Commission Clerk and Administrative Services |

This is a facsimile copy. Go to the Commission's Web site, http://www.floridapsc.com or fax a request to 1-850-413-7118, for a copy of the order with signature.

( S E A L )

RRJ

NOTICE OF FURTHER PROCEEDINGS OR JUDICIAL REVIEW

The Florida Public Service Commission is required by Section 120.569(1), Florida Statutes, to notify parties of any administrative hearing that is available under Section 120.57, Florida Statutes, as well as the procedures and time limits that apply.  This notice should not be construed to mean all requests for an administrative hearing will be granted or result in the relief sought.

Mediation may be available on a case-by-case basis.  If mediation is conducted, it does not affect a substantially interested person's right to a hearing.

The action proposed herein is preliminary in nature. Any person whose substantial interests are affected by the action proposed by this order may file a petition for a formal proceeding, in the form provided by Rule 28-106.201, Florida Administrative Code.  This petition must be received by the Director, Division of the Commission Clerk and Administrative Services, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on September 10, 2004.

In the absence of such a petition, this order shall become final and effective upon the issuance of a Consummating Order.

Any objection or protest filed in this/these docket(s) before the issuance date of this order is considered abandoned unless it satisfies the foregoing conditions and is renewed within the specified protest period.

Attachment A

TAMPA ELECTRIC COMPANY	Page 1 of 4

2003 Depreciation Study

COMMISSION APPROVED RATES

|  |  | Average | Future |  | Remaining |
| --- | --- | --- | --- | --- | --- |
| Account | Account | Remaining | Net |  | Life |
| Number | Title | Life | Salvage | Reserve | Rate |
|  |  | (Yrs) | (%) | (%) | (%) |
| Steam Production | Big Bend Station |  |  |  |  |
| 311400 | Common | 28.0 | 36.58 | (2) | 2.3 |
| 312400 | Common | 25.0 | 42.75 | (8) | 2.6 |
| 314400 | Common | 29.0 | 51.92 | (3) | 1.8 |
| 315400 | Common | 13.6 | 55.91 | (7) | 3.8 |
| 316400 | Common | 15.6 | 68.24 | (7) | 2.5 |
| 311410 | Unit No. 1 | 17.0 | 63.64 | (1) | 2.2 |
| 312410 | Unit No. 1 | 15.4 | 44.25 | (3) | 3.8 |
| 314410 | Unit No. 1 | 14.7 | 62.88 | (4) | 2.8 |
| 315410 | Unit No. 1 | 13.2 | 62.08 | (6) | 3.3 |
| 316410 | Unit No. 1 | 16.7 | 63.49 | (1) | 2.2 |
| 311420 | Unit No. 2 | 20.0 | 52.97 | (1) | 2.4 |
| 312420 | Unit No. 2 | 17.6 | 33.12 | (5) | 4.1 |
| 314420 | Unit No.2 | 17.3 | 51.93 | (5) | 3.1 |
| 315420 | Unit No. 2 | 16.5 | 53.17 | (6) | 3.2 |
| 316420 | Unit No. 2 | 18.8 | 18.8 | (5) | 4.6 |
| 311430 | Unit No. 3 | 23.0 | 57.86 | (1) | 1.9 |
| 312430 | Unit No. 3 | 18.8 | 45.96 | (5) | 3.1 |
| 314430 | Unit No. 3 | 16.2 | 70.87 | (9) | 2.4 |
| 315430 | Unit No. 3 | 14.6 | 62.39 | (7) | 3.1 |
| 316430 | Unit No. 3 | 22.0 | 47.37 | (2) | 2.5 |
| 311440 | Unit No. 4 | 31.0 | 42.69 | (1) | 1.9 |
| 312440 | Unit No. 4 | 24.0 | 47.79 | (9) | 2.6 |
| 314440 | Unit No. 4 | 26.0 | 48.30 | (8) | 2.3 |
| 315440 | Unit No. 4 | 21.0 | 50.31 | (6) | 2.7 |
| 316440 | Unit No. 4 | 22.0 | 56.24 | (4) | 2.2 |
| 311450 | Unit No. 4 FGD System | 29.0 | 41.65 | (1) | 2.0 |
| 312450 | Unit No. 4 FGD System | 25.0 | 37.23 | (7) | 2.8 |
| 315450 | Unit No. 4 FGD System | 23.0 | 47.11 | (6) | 2.6 |
| 316450 | Unit No. 4 FGD System | 28.0 | 37.95 | (5) | 2.4 |
| 311460 | Unit No. 1 & 2 FGD System | 24.0 | 19.21 | (3) | 3.5 |
| 312460 | Unit No. 1 & 2 FGD System | 21.0 | 16.47 | (2) | 4.1 |
| 315460 | Unit No. 1 & 2 FGD System | 19.0 | 19.64 | (2) | 4.3 |
| 316460 | Unit No. 1 & 2 FGD System | 19.8 | 19.58 | (1) | 4.3 |
| 316470 | Big Bend Amortizable | 7 year Amortization |  |  |  |

Attachment A

TAMPA ELECTRIC COMPANY	Page 2 of 4

2003 Depreciation Study

COMMISSION APPROVED RATES

|  |  | Average | Future |  | Remaining |
| --- | --- | --- | --- | --- | --- |
| Account | Account | Remaining | Net |  | Life |
| Number | Title | Life | Salvage | Reserve | Rate |
|  |  | (Yrs) | (%) | (%) | (%) |
|  | Bayside Power Station |  |  |  |  |
| 311300 | Common | 36.0 | 30.34 | (4) | 2.0 |
| 312300 | Common | 39.0 | 36.28 | (3) | 1.7 |
| 314300 | Common | 38.0 | 25.05 | (4) | 2.1 |
| 315300 | Common | 19.1 | 40.64 | (14) | 3.8 |
| 316300 | Common | 11.7 | 74.75 | (10) | 3.0 |
| 311330 | Unit No. 3 | 7.4 | 64.13 | (1) | 5.0 |
| 314330 | Unit No. 3 | 7.3 | 72.48 | (2) | 4.0 |
| 315330 | Unit No. 3 | 7.4 | 79.68 | (4) | 3.3 |
| 316330 | Unit No. 3 | 6.0 | 81.03 | (2) | 3.5 |
| 311340 | Unit No. 4 | 10.1 | 57.85 | (1) | 4.3 |
| 314340 | Unit No. 4 | 8.1 | 71.98 | (2) | 3.7 |
| 315340 | Unit No. 4 | 6.2 | 73.92 | (2) | 4.5 |
| 316340 | Unit No. 4 | 10.2 | 46.03 | (1) | 5.4 |
| 311350 | Unit No. 5 | 36.0 | 26.78 | (6) | 2.2 |
| 312350 | Unit No. 5 | 8.8 | 100.00 | (19) | 2.0 |
| 314350 | Unit No. 5 | 30.0 | 22.92 | (12) | 3.0 |
| 315350 | Unit No. 5 | 23.0 | 34.45 | (10) | 3.3 |
| 316340 | Unit No. 5 | 27.0 | 46.92 | (10) | 2.3 |
| 31130 | Unit No. 6 | 38.0 | 40.13 | (2) | 1.6 |
| 312360 | Unit No. 6 | 37.0 | 63.35 | (4) | 1.1 |
| 314360 | Unit No. 6 | 30.0 | 27.57 | (11) | 2.8 |
| 315360 | Unit No. 6 | 33.0 | 36.61 | (6) | 2.1 |
| 316360 | Unit No. 6 | 24.0 | 63.73 | (11) | 2.0 |
| 343300 | Bayside Common | 26.0 | 0.0 | (11) | 4.3 |
| 343310 | Bayside Unit No. 1 | 26.0 | 0.0 | (11) | 4.3 |
| 343320 | Bayside Unit No. 2 | 26.0 | 0.0 | (11) | 4.3 |
| 316570 | Gannon Amortizable Tools | 7 year Amortization |  |  |  |
| MISCELLANEOUS PRODUCTION |  |  |  |  |  |
| 311010 | Structures & Improvements | 11.4 | 63.0 | (3) | 3.5 |
| 316170 | Misc. Production Plant | 7 Year Amortization |  |  |  |
| OTHER PRODUCTION |  |  |  |  |  |
|  | Big Bend Station |  |  |  |  |
| 341410 | Combustion Turbine No. 1 | 6.5 | 71.41 | 0 | 4.4 |
| 342410 | Combustion Turbine No. 1 | 6.4 | 93.48 | 0 | 1.0 |
| 344410 | Combustion Turbine No. 1 | 3.1 | 96.93 | (1) | 1.3 |

Attachment A

TAMPA ELECTRIC COMPANY	Page 3 of 4

2003 Depreciation Study

COMMISSION APPROVED  RATES

|  |  | Average | Future |  |  |  | Remaining |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Account | Account | Remaining | Net |  |  |  | Life |  |
| Number | Title | Life | Salvage |  | Reserve |  | Rate |  |
|  |  | (Yrs) | (%) |  | (%) |  | (%) |  |
| 345410 | Combustion Turbine No. 1 | 2.7 | 94.14 |  | (2) |  | 2.9 |  |
| 346410 | Combustion Turbine No. 1 | 6.4 | 87.99 |  | 0 |  | 1.9 |  |
| 341420 | Combustion Turbine No. 2 & 3 | 2 Year Amortization |  |  |  |  |  |  |
| 34220 | Combustion Turbine No. 2 & 3 | 2 Year Amortization |  |  |  |  |  |  |
| 344420 | Combustion Turbine No. 2 & 3 | 2 Year Amortization |  |  |  |  |  |  |
| 345420 | Combustion Turbine No. 2 & 3 | 2 Year Amortization |  |  |  |  |  |  |
| 346420 | Combustion Turbine No. 2 & 3 | 2 Year Amortization |  |  |  |  |  |  |
|  | PHILLIPS STATION |  |  |  |  |  |  |  |
| 341280 | Phillips Station | 8.2 | 76.70 |  | (7) |  | 3.7 |  |
| 342280 | Phillips Station | 8.2 | 79.97 |  | (7) |  | 3.3 |  |
| 343280 | Phillips Station | 9.0 | 77.43 |  | (5) |  | 3.1 |  |
| 345280 | Phillips Station | 7.7 | 76.45 |  | (7) |  | 4.0 |  |
| 346280 | Phillips Station | 8.2 | 75.32 |  | (7) |  | 3.9 |  |
|  | POLK POWER STATION |  |  |  |  |  |  |  |
| 341800 | Common | 39.0 | 20.03 |  | (2) |  | 2.1 |  |
| 342800 | Common | 29.0 | 36.37 |  | (3) |  | 2.3 |  |
| 343800 | Common | 31.0 | 26.90 |  | (2) |  | 2.4 |  |
| 345800 | Common | 31.0 | 26.53 |  | (5) |  | 2.5 |  |
| 346800 | Common | 33.0 | 30.31 |  | (3) |  | 2.2 |  |
| 341810 | Unit No. 1 | 32.0 | 12.83 |  | (1) |  | 2.8 |  |
| 342810 | Unit No. 1 | 25.0 | 27.13 |  | (9) |  | 3.3 |  |
| 343810 | Unit No. 1 | 14.6 | 26.76 |  | (13) |  | 5.9 |  |
| 345810 | Unit No. 1 | 24.0 | 26.58 |  | (7) |  | 3.4 |  |
| 346810 | Unit No. 1 | 28.0 | 11.43 |  | (4) |  | 3.3 |  |
| 343820 | Unit No. 2 | 23.5 | 14.62 |  | (11) |  | 4.1 |  |
| 343830 | Unit No. 3 | 25.2 | 7.28 |  | (11) |  | 4.1 |  |
| 346870 | Polk Amortizable Tools | 7 Year Amortization |  |  |  |  |  |  |
| 343900 | City of Tampa | 26.0 | 0 |  | (11) |  | 4.3 |  |
| TRANSMISSION |  |  |  |  |  |  |  |  |
| 350.1 | Land Rights | 27.0 |  | 30.77 |  | 0 |  | 2.6 |
| 352 | Structures & Improvements | 37.0 |  | 21.58 |  | (3) |  | 2.2 |
| 353 | Station Equipment | 32.0 |  | 25.42 |  | (5) |  | 2.5 |
| 354 | Towers and Fixtures | 15.5 |  | 75.38 |  | (15) |  | 2.6 |
| 355 | Poles and Fixtures | 23.0 |  | 42.15 |  | (30) |  | 3.8 |
| 356 | Overhead Cond. | 22.0 |  | 35.12 |  | (20) |  | 3.9 |

Attachment A

TAMPA ELECTRIC COMPANY	Page 4 of 4

2003 Depreciation Study

COMMISSION APPROVED RATES

|  |  | Average | Future |  | Remaining |
| --- | --- | --- | --- | --- | --- |
| Account | Account | Remaining | Net |  | Life |
| Number | Title | Life | Salvage | Reserve | Rate |
|  |  | (Yrs) | (%) | (%) | (%) |
| 356.01 | Clearing Rights-a-way | 24.0 | 51.32 | 0 | 2.0 |
| 357 | Underground Conduit | 35.0 | 40.82 | 0 | 1.7 |
| 358 | Underground Conductors & Dev. | 28.0 | 25.98 | 0 | 2.6 |
| 359 | Roads and Trails | 37.0 | 23.56 | 0 | 2.1 |
| DISTRIBUTION PLANT |  |  |  |  |  |
| 361 | Structures & Improvements | 28.0 | 31.42 | (3) | 2.6 |
| 362 | Station Equipment | 26.0 | 35.88 | (10) | 2.2 |
| 364 | Poles, Towers, & Fixtures | 23.0 | 43.52 | (35) | 4.0 |
| 365 | Overhead Conductors & Devices | 20.0 | 51.84 | (20) | 3.4 |
| 366 | Underground Conduit | 38.5 | 23.95 | (0) | 2.0 |
| 367 | Underground Cond. & Dev. | 23.0 | 26.14 | (0) | 3.2 |
| 368 | Line Transformers | 7.2 | 40.36 | (30) | 4.1 |
| 369.01 | Overhead Services | 25.0 | 40.83 | (20) | 3.2 |
| 369.02 | Underground Services | 25.0 | 34.11 | (15) | 3.2 |
| 370 | Meters | 14.2 | 33.12 | (0) | 4.7 |
| 373 | Street Lighting & Signal Systems | 11.4 | 40.09 | 0 | 5.3 |
| 343830 | Unit No. 3 | 25.2 | 7.28 | (11) | 4.1 |
| GENERAL PLANT |  |  |  |  |  |
|  | General Plant Depreciated |  |  |  |  |
| 390 | Structures & Improvements | 26.0 | 29.86 | (20) | 3.5 |
| 397.25 | Communication Eqpt-Fiber | 10.6 | 53.33 | (10) | 5.8 |
| Transportation | Energy Delivery Equipment |  |  |  |  |
| 392.02 | Light Trucks | 5.4 | 37.22 | 15 | 8.8 |
| 392.03 | Heavy Trucks | 7.2 | 38.89 | 12 | 6.8 |
| 392.04 | Medium Trucks | 9.7 | 88.10 | 10 | 0.2 |
| General Plant |  |  |  |  |  |
|  | Energy Supply Equipment |  |  |  |  |
| 392.12 | Light Trucks | 4.7 | 40.93 | 15 | 9.4 |
| 392.13 | Heavy Trucks | 7.8 | 50.66 | 12 | 4.8 |
| 392.14 | Medium Trucks | 8.5 | 24.52 | 15 | 7.1 |
|  | General Plant Amortized |  |  |  |  |
| 391.01 | Office Furniture and Eqpt. | 7 Year Amortization |  |  |  |
| 391.02 | Computer Eqpt.-Work Stat. | 4 Year Amortization |  |  |  |
| 391.04 | Computer Eqpt-Mainframe | 5 Year Amortization |  |  |  |
| 393 | Stores Equipment | 7 Year Amortization |  |  |  |
| 394 | Tools, Shop, & Garage Eqpt. | 7 Year Amortization |  |  |  |
| 395 | Laboratory Equipment | 7 Year Amortization |  |  |  |
| 396 | Power Operated Equipment | 7 year Amortization |  |  |  |
| 397 | Communication Equipment | 7 Year Amortization |  |  |  |
| 398 | Miscellaneous Equipment | 7 Year Amortization |  |  |  |

ATTACHMENT B

Tampa Electric Company

Fossil Dismantlement

COMMISSION APPROVED

ACCRUALS

($)

Big Bend Common 							396,163

Big Bend Unit 1								247,815

Big Bend Unit 2								391,667

Big Bend Unit 3								444,968

Big Bend Unit 4								387,538

Big Bend Unit 4 FGD							299,958

Surviving Turbine Assets

Gannon Common								  71,854

Gannon Unit 3								  25,844

Gannon Unit 4								  40,723

Gannon Unit 5								172,992

Gannon Unit 6								  97,196

Bayside Common								103,920

Bayside Unit 1								199,295

Bayside Unit 2								273,648

Big Bend CT 1, 2, & 3							  10,123

Phillips Station								  74,865

Polk Common  & Gasifier							532,151

Polk Unit 1								  62,584

Polk Unit 2								    9,881

Polk Unit 3								  10,721

City of Tampa							                20,666

Total Dismantlement Provision				           3,874,572