40

1                              BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 041272-EI

3   In the Matter of:

4   PETITION FOR APPROVAL OF STORM

COST RECOVERY CLAUSE FOR RECOVERY

5   OF EXTRAORDINARY EXPENDITURES

RELATED TO HURRICANES CHARLEY,

6   FRANCES, JEANNE, AND IVAN, BY

PROGRESS ENERGY FLORIDA, INC.

7   ___________________________________/

8

ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

9                 A CONVENIENCE COPY ONLY AND ARE NOT

THE OFFICIAL TRANSCRIPT OF THE HEARING,

10            THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

11                              VOLUME 2

12                        Pages 40 through 199

13

PROCEEDINGS:        HEARING

14

15   BEFORE:             CHAIRMAN BRAULIO L. BAEZ

COMMISSIONER J. TERRY DEASON

16                       COMMISSIONER RUDOLPH "RUDY" BRADLEY

COMMISSIONER CHARLES M. DAVIDSON

17                       COMMISSIONER LISA POLAK EDGAR

18

DATE:               Wednesday, March 30, 2005

19

PLACE:              Betty Easley Conference Center

20                         Room 148

4075 Esplanade Way

21                       Tallahassee, Florida

22   REPORTED BY:        JANE FAUROT, RPR

Chief, Office of Hearing Reporter Services

23                       FPSC Division of Commission Clerk and

Administrative Services

24                       (850) 413-6732

25   APPEARANCES:        (As heretofore noted.)

FLORIDA PUBLIC SERVICE COMMISSION

41

1                              I N D E X

2                                                     PAGE NO.

3   Opening Statement by Mr. McWhirter                  43

4   Opening Statement by Mr. Wright                     54

5   Opening Statement by Mr. Twomey                     55

6

7

8                              WITNESSES

9

NAME:                                             PAGE NO.

10

JEFF LYASH

11

Direct Examination by Mr. Walls                62

12        Prefiled Direct Testimony Inserted             63A

Cross Examination by Ms. Christensen           81

13        Cross Examination by Mr. McWhirter             91

Cross Examination by Mr. Twomey                97

14        Redirect Examination by Mr. Walls             103

15

DAVID McDONALD

16

Direct Examination by Mr. Walls               108

17        Prefiled Direct Testimony Inserted            110

Cross Examination by Ms. Christensen          141

18        Cross Examination by Mr. McWhirter            146

Cross Examination by Mr. Twomey               149

19        Cross Examination by Ms. Rodan                152

Redirect Examination by Mr. Walls             155

20

21   SARAH S. ROGERS

22        Direct Examination by Mr. Walls               158

Prefiled Direct Testimony Inserted            160

23        Cross Examination by Ms. Christensen          186

Cross Examination by Mr. McWhirter            192

24

25

FLORIDA PUBLIC SERVICE COMMISSION

42

1                              EXHIBITS

2   NUMBER:                                      ID.    ADMTD.

3   7 & 8                                                107

4   9 thru 16                                            157

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

43

1                         P R O C E E D I N G S

2             (Transcript follows in sequence from Volume 1.)

3             CHAIRMAN BAEZ:  Mr. McWhirter.

4             MR. McWHIRTER:  May it please the Commission.  My

5   name is John McWhirter and I'm here representing an industrial

6   and large commercial consumer group.  There was a Harvard

7   professor, sort of a philosopher by the name of

8   John Dos Passos, and he opined one time that you cannot -- if

9   you ignore history, you are doomed to repeat it.  And I think

10   in this case it is important to put the case into perspective

11   to look at three moments in the history of the electric utility

12   industry.

13             The first moment is the time period a little more

14   than 100 years ago, and a young man came to the United States

15   as a clerk for Thomas Edison.  His name was Samuel Insull.

16   Samuel Insull grew to be the father of the modern utility

17   industry, and he came up with ideas that are still with us

18   today.  He came as Edison's clerk, and he watched how Edison

19   did business.  And while he was with Edison he learned three

20   things.  The first thing he learned was the importance of

21   government protection for a utility.  And government protection

22   as it came into play then with the first electric utility in

23   America was in New York City.  It served Wall Street.  And the

24   municipal authorities of New York City took out the gas company

25   and allowed electric lighting to take its place.

FLORIDA PUBLIC SERVICE COMMISSION

44

1             The second thing he learned under government

2   protection was that you can establish a monopoly with

3   government protection.  He was the one that coined the phrase

4   "natural monopoly," and since then around the country electric

5   utilities have gotten franchises.

6             The third thing he learned was the power of high

7   finance.  When J.P. Morgan and the Wall Street financier forced

8   Edison out of the business and they took over all the electric

9   industry on the east coast of the United States, Samuel Insull,

10   who had ground to be the president of Edison General Electric,

11   was fired.  Edison General Electric manufactured electrical

12   parts.  And so he left with the knowledge that he had in his

13   mind and he went to Chicago.  And he took the money that he had

14   earned under Edison and bought a small utility known as

15   Commonwealth Edison.  And under that he nurtured government

16   private utility partnerships and got a franchise in Chicago,

17   and then he developed a program of public relations, and he got

18   all the utilities to spend a lot of time explaining to the

19   public the value of the public utilities industry and what it

20   can do for people.  And he was able to lure investors into his

21   utility company through this advertising that he used and got

22   all the other utilities together and they formed a national

23   electric association, which today is called the Edison Electric

24   Institute, and they promote electric companies.  They would go

25   around to schools in the 20's when Insull was in power and had

FLORIDA PUBLIC SERVICE COMMISSION

45

1   songs that they had the children sing, and they sent the

2   electric company representatives out to these schools.  And

3   public relations was the second big thing.

4             But the most important thing he established in his

5   leadership of the electric industry was the public utility

6   holding company.  And ironically he came up controlling about

7   15 percent of the entire electric industry in the United

8   States.  He owned over 100 utilities.  And ironically he owned

9   a North Carolina utility which in turn owned the predecessor of

10   Progress Energy, Florida Power Corporation.  And all was going

11   well.

12             Samuel Insull was a lord of the manor.  He was one of

13   the most respected people in the United States.  He founded the

14   Chicago Opera.  But then something went wrong, and the economy

15   went bad, and Insull's company went bankrupt.  And when

16   Insull's company went bankrupt, he, as a debtor, and knowing

17   the business was appointed as one of the trustees in

18   bankruptcy.  His co-trustee was an accountant in Chicago named

19   Arthur Anderson, who learned from Samuel Insull.  The other

20   trustee was a judge's son-in-law.  The bankruptcy court and the

21   federal government investigated the Insull holding company

22   enterprises and they found that was all was not right.  And it

23   wound up that Insull was charged with mail fraud, in that he

24   had encouraged investors to come to his company and bondholders

25   to lend money to his company through alleged mail fraud.  He

FLORIDA PUBLIC SERVICE COMMISSION

46

1   was charged with embezzlement as a result of the transactions

2   with the affiliates of those companies.  He was charged with

3   violating the Bankruptcy Act.  And one of Insull's protegee's

4   who had been formerly an Illinois Public Service Commissioner,

5   and had been elected to the United States Senate, was so

6   embarrassed by his relationships with Insull that he was thrown

7   out of the United States.  Insull left the country and was

8   brought back in chains.

9             And the question arises was he a pariah or was he a

10   great American hero.  I am not going to answer that question

11   for you, but I will tell you what happened as a result of the

12   failure of the Insull enterprise.  It effects us today.  The

13   Federal Power Commission was created to take care of interstate

14   utilities.  The Securities and Exchange Act was passed in 1932

15   to protect investors in utilities and other companies.  The

16   public utility holding company was passed in order to break up

17   interstate holding companies, or to require them to be

18   registered with the Securities Commission.

19             The president of Florida Power at that time said that

20   was the greatest thing that had ever happened to his utility.

21   And most remarkably interesting for today's operation is the

22   uniform system of accounts was established because they found

23   the Insull accounting system, which ignored depreciation and

24   had other strange quirks in it really didn't work, and as a

25   result of it we come now today with generally accepted

FLORIDA PUBLIC SERVICE COMMISSION

47

1   accounting practices and the Financial Accounting Standards

2   Board.

3             Now, that happened in the early '30s.  I want you now

4   to fast forward 50 years to the early '90s, and what is going

5   on in Florida at that time.  In Florida at that time the public

6   utility holding company was reestablished.  We now have public

7   utility holding companies in Florida with many affiliates.  A

8   little bit later a North Carolina utility once again merged

9   with Florida Progress, a Florida utility.  Public utilities in

10   Florida now have over 100 lobbyists in the legislature.  And

11   accounting, even with the Financial Accounting Standards Board,

12   has risen to a fine art.

13             The next thing that has happened was the utilities

14   had a great windfall in 1993, and that great windfall was

15   Hurricane Andrew of all things.  Now, most of the damage to

16   utilities was covered by insurance, so there was no immediate

17   impact on customers or on the utilities themselves.  But the

18   next time that utilities went out for insurance, they found

19   that the insurance rates had gone up about 900 percent in some

20   instances, and the deductibles had gone up 1,500 percent, and

21   so there was concern about that.

22             Now, to understand the insurance industry, what

23   happens with insurance is you reduce cost to people by

24   spreading the risk, and you spread the risk over the entire

25   United States in most cases.  And since a casualty is only

FLORIDA PUBLIC SERVICE COMMISSION

48

1   going to happen in one place, small premiums collected from a

2   lot of places will cover that casualty without hurting anybody

3   too much.

4             The insurance companies turned Hurricane Andrew, like

5   they do many other things, from lemons to lemonade.  And they

6   came to this Commission at that time -- and at that time with

7   their public utility holding companies and so forth, all of

8   them had earnings that were bumping into or exceeding the top

9   of the authorized rates of return.  What they did was they said

10   we can't get reasonably priced insurance anymore.  We would

11   like you to approve us self-insuring because insurance is so

12   costly.  And the Commission said, well, we would like -- that

13   makes some sense under the circumstances.  We would like you to

14   conduct some studies and come back to us and tell us what you

15   want to do about it, and what should be done, and the main

16   thing we want you to tell us is what should we be prepared for

17   in storm damage.

18             Now, this was a real boon to the utilities because

19   now they have used a misnomer.  Self-insurance is not

20   self-insurance, it is customer insurance.  So the customers of

21   each of the utilities is now the insurance company or the

22   customers en masse.  We don't have the diversity of the whole

23   United States customers paying part of the premium of the

24   insurance, you have only the customers in one service area.

25   But that is still fairly diverse.  But the cost, of course, is

FLORIDA PUBLIC SERVICE COMMISSION

49

1   going to be substantially higher.

2             The beauty for the utilities in 1993 through 1995

3   under the Hurricane Andrew windfall was instead of paying the

4   insurance premium that was already in their base rates to an

5   insurance company, they could keep the money.  Instead of

6   suffering deductibles, they could come up with a structure that

7   without deductibles the customers would pay the entire cost.

8             And then in the studies if you look at them, they did

9   another thing that was absolutely fascinating.  They said we

10   can get double recovery because our entire storm costs are

11   going to be recovered and in addition to this, we can keep the

12   money that was normally budgeted for operating costs and it

13   will cause our earnings to go up.  And as an added icing on the

14   cake, since we are presently suffering earnings bumping at the

15   top of the authorized return, what we can do is create this

16   storm reserve which will create a liability and it will look

17   like our earnings and we can take revenue we are receiving from

18   the customers and we can offset that with a liability and our

19   earnings will go down.

20             And these companies came in with the studies which

21   are being relied on in this case.  We now fast forward to the

22   year 2004.  If they can get the studies in place with

23   accounting systems developed that allow them to recover 100

24   percent of their cost plus a windfall profit in the year of the

25   storm, the greatest thing that can happen is a big storm.

FLORIDA PUBLIC SERVICE COMMISSION

50

1   Well, in 2004 we had the big storm.  And what has happened in

2   this situation, the way the utilities have done their

3   accounting, in 2004 they are getting windfall profits on their

4   earnings that it is too late to do anything about.  In addition

5   to that, if they get the relief they seek in this case, they

6   will recover 100 percent of their storm damage.

7             We have a three-pronged attack.  This is only one

8   small part of the overall attack by Florida utilities, and this

9   first one to be heard and consequently it is the most important

10   case, but there is a bill in the legislature to have a

11   legislative imposed increase to have the customers pick up

12   storm damages.  But there isn't any definition in that bill

13   about -- they have defined storm damage the way they did it in

14   their studies, so they preempt the Commission from doing

15   anything special about it in my opinion.

16             The second thing they don't deal with is the fact

17   that there is going to be incomes tax on the money that is

18   collected under the securitization bill, and they haven't told

19   us how that is going to be handled.  But that is another case.

20   The other approach they are taking, both Florida Progress and

21   Florida Power and Light have come in with base rate cases so

22   they can recover the storm damage either through their

23   securitization bill, they can recover the storm damage in this

24   case, or they can recover the storm damage in the base rate

25   cases.  So all three of these things are going on

FLORIDA PUBLIC SERVICE COMMISSION

51

1   simultaneously.

2             One problem that Florida Progress had in 2004 was

3   that they were frustrated by an agreement they had earned into.

4   It said that your base rates must fall to 10 percent rather

5   than rising to an exponential amount when this big storm comes

6   along.  So they were frustrated by this agreement, but that

7   agreement related to base rates.  So wa-la, what we do then is

8   create a new cost-recovery mechanism and say that the

9   stipulation doesn't apply to cost-recovery mechanisms designed

10   to cover unusual operating and extraordinary operating costs,

11   and so we don't have been to abide by what we agreed to abide

12   by.

13             I will bring this to a short conclusion.  Now that

14   you know the history 100 years ago, how Samuel Insull developed

15   the modern utility industry, what happened in '93, how

16   Hurricane Andrew set us up for the big windfall later, and 2004

17   when the big windfall occurred, I would like you to think of

18   the intervenor people at this end of the table as insurance

19   claims agents and we are here as representatives of the

20   insurers, who are your consumers of Florida Progress.  And we

21   want you to do right by those consumers, if you will.  And what

22   we want you to do is where the utility is asking you to recover

23   their entire storm costs, however they identify it, plus let

24   them keep their ordinary and maintenance expenses that were

25   used to collect to do storm work by employees that were doing

FLORIDA PUBLIC SERVICE COMMISSION

52

1   storm work, if I were an insurance claims agent, I would say

2   wait a minute, that is double recovery.  You are already

3   recovering the salaries of these people through base rates and

4   now you are seeking to recover those salaries again through the

5   storm damage.  That is insurance fraud.  So we are going to ask

6   you to look to see if what Florida Progress is asking is not

7   really tantamount to insurance fraud on the customer insurers.

8             Secondly, insurance companies, as my predecessors

9   have talked about, have a deductible portion.  They say in

10   order to prevent insureds from doing wrong, we want you to

11   share in the cost.  And, of course, that has presented a real

12   problem for Florida consumers because insurance companies have

13   applied these deductibles and when there are four storms they

14   applied them four times.  And customers are already hurting

15   from the storm damage if they were in that area.  All customers

16   s in Florida are going to hurt a lot from increased insurance

17   premiums.  No customer, no customer in Florida that was hurt by

18   insurance is going to get all of his money back.  FEMA, the

19   municipal utilities say the customers are going to get 90 to 95

20   percent of their storm damage recovered through FEMA, but

21   Florida Progress wants you to give them 100 percent of their

22   earnings plus allow their return on equity in 2004 because they

23   are eliminating some major ordinary and necessary operating

24   expenses and reclassifying that as insurance.  They want you to

25   ignore the fact that their earnings will now soar to over 14

FLORIDA PUBLIC SERVICE COMMISSION

53

1   percent on equity.  And when the equity component in your

2   company is substantially more than half, that is a big number.

3             The third thing we want you to do as your insurance

4   agents, we would like -- as your insurance claim agent, we

5   would like you to look at the insurance policy, and in this

6   instance we have an agreement that you look at.  And Mr.

7   McGlothlin has told you about that agreement, and I won't go

8   into it in any more detail than that, but we think Florida

9   Progress is bound by it.

10             And, finally, we want to tell you that we are proud

11   of the way that Florida Progress handled the storm damage, the

12   way they worked with citizens.  It helped their public

13   relations.  They showed the kind of attitude we would expect on

14   the part of our utility, and you should be proud of them, and I

15   don't want to do anything here today to cast aspersions upon

16   that prompt and good reaction.  All we ask you to do, all we

17   ask you to do is fairly share the cost between the utility and

18   its customer insurers.  And because, as Mr. Sasso told you,

19   defining the incremental cost is difficult, and it is going to

20   require a lot of problems, we give you some alternatives and we

21   give you a simplified method for doing it.  And we hope that

22   you will recognize the importance of having the utility share a

23   little bit in the hurricane cost with its customers who are

24   caught by the burden of their own hurricane losses and by the

25   burden of their increased insurance premiums already, and now

FLORIDA PUBLIC SERVICE COMMISSION

54

1   let them get some relief at least from their insurance company

2   return than paying the insurance company a windfall profit.

3             Thank you for your time.

4             CHAIRMAN BAEZ:  Thank you, Mr. McWhirter.

5             Mr. Wright.

6             MR. WRIGHT:  Thank you, Mr. Chairman.  Like you and

7   Mr. Sasso, I too am working a cold.  And the good news is my

8   opening statement will be the briefest yet.

9             This is about costs, proper costs and proper risk

10   sharing, and the Commission's decisions in that regard.  We

11   agree with Mr. McLean's earlier comment that any proprietor,

12   the owners of any company or firm in Florida would and should

13   share in the risks and costs associated with natural events

14   such as hurricanes.  Here, in the regulatory context, the

15   Commission has in our view of the world an overarching,

16   overriding statutory mandate to ensure that the totality of

17   utilities rates, Progress' this week, Power and Light's in

18   three weeks from now, that the totality of utilities rates are

19   fair, just, and reasonable.  We fully support this principle

20   and we fully support that outcome.

21             However, approving Progress' request would result in

22   total rates that are too high.  That are so high as to be

23   unfair, unjust, and unreasonable.  The surcharges would, as

24   others have observed, enable Progress to insulate excessive

25   profits via the use of the proposed surcharges.  They would, as

FLORIDA PUBLIC SERVICE COMMISSION

55

1   Mr. McGlothlin and Mr. McWhirter have said, and with which we

2   agree impose all risks upon their customers.  As Mr. McWhirter

3   pointed out, they would make -- Progress would make us their

4   insurers.  Accordingly, the Commission should limit the

5   surcharges that it approves, if any, to the amount necessary to

6   provide Progress Energy with the opportunity to earn a fair,

7   just, and reasonable rate of return on equity, 10 percent,

8   which they agreed to in the 2002 stipulation for 2004 and 2005.

9   We agree with the comments of Mr. McGlothlin and Mr. McWhirter,

10   and thank you.

11             CHAIRMAN BAEZ:  Mr. Twomey.

12             MR. TWOMEY:  Yes, sir, Mr. Chairman.  Thank you,

13   Commissioners.  Mike Twomey.

14             First, I want to say, Commissioners, that I would

15   encourage you to listen to the positions given to you on the

16   issues by the consumer representatives before you today.

17   Public Counsel by law represents all of the utilities customers

18   in these cases.  FIPUG represents industrial and other large

19   users.  The Florida Retail Federation represents or has over

20   10,000 members, businesses reportedly.  I am representing Bud

21   Hanson, who many of you know, Sugarmill Woods, who has several

22   thousand community members, and the AARP, a goodly number of

23   its 2.7 million members in Florida which are served by

24   Progress.

25             Each of us here speaking to you today has urged that,

FLORIDA PUBLIC SERVICE COMMISSION

56

1   one, you should either give no surcharge, or if you do, that

2   the surcharge should reflect a sharing of the cost of recovery

3   with the company and not the cost to be borne completely 100

4   percent by the utility's customers.

5             I say that because it is in contrast to some of the

6   testimony you heard in your multi-city customer service

7   hearings where you had customers tell you that they wanted to

8   have their rates increased and they wanted to bear 100 percent

9   of the cost of the recovery of this utility's systems.  I want

10   to urge to you and suggest to you that that testimony in the

11   face of what you are hearing from the representatives of

12   consumers here today is simply not credible.  No customers can

13   credibly want to pay all of these costs 100 percent, and you

14   shouldn't find that they should have to.

15             Now, Mr. Sasso talked as if -- or seemed to talk as

16   if there was in reality a storm cost-recovery clause.  Now, of

17   course, there is no such thing.  There is no such animal.  And

18   without a clause, a recovery clause like your fuel charge

19   clause, and environmental and so forth, there is no history in

20   this Commission that I am aware of in my 25 years of practice

21   that the Commission has set rates in order to go back and

22   capture for a utility past expenditures.  That is in this case

23   monies they spent for the recovery of their hurricane costs in

24   2004 to set prospective rates to go back and get past

25   expenditures.  I am not aware of an instance where that has

FLORIDA PUBLIC SERVICE COMMISSION

57

1   been done outside of a clause that in advance has foreseen such

2   a recovery clause.  I'm going back.

3             You all know that ratemaking is prospective, that is

4   you set rates that are designed in the future to recover costs

5   that are estimated, projected, or known.  So, in the orders

6   that the Commission has rendered since 1993, the orders that I

7   am aware of on storm cost recovery are consistent with that

8   view.  That is there is not a 100 percent indemnification

9   described in any of those orders as I read them.  In fact, I

10   don't recall in those orders that the Commission gave any rate

11   increases at all.  Typically what has happened, and by reading

12   those orders you will see that the Commission has considered

13   allowing a utility to increase its accrual if its earnings

14   allowed it, but didn't give surcharges to immediately bring the

15   fund back into a positive balance.  In the case of Gulf Power,

16   the fund was allowed, the storm fund was allowed to go negative

17   for awhile.  So you have not -- in the past, your precedence is

18   not to go back and give a surcharge as is being requested by

19   this company now.

20             Consequently, you should in our opinion not grant a

21   surcharge and allow this utility to amortize its cost over five

22   years.  In addition to that, you could consider increasing the

23   accrual in the company's base rate case which is yet to be

24   filed, that will be filed soon presumably, and which will be

25   decided before the year is out.  Increase the accrual if the

FLORIDA PUBLIC SERVICE COMMISSION

58

1   projections show that it is necessary on a going-forward basis.

2             If you do decide to grant a surcharge, you should do

3   two things.  First, as pointed out by the previous speakers,

4   you need to eliminate the double counting or double-dipping.

5   The company has overreached extensively especially in terms of

6   its personnel costs trying to charge the regular eight-hour day

7   of a worker and not just the overtime.  That is egregious in my

8   view.  It is overreaching.  The burden of proof for any expense

9   in any case is on the utility.  You all should hold them to

10   task and you should eliminate each and every dollar which has

11   been alleged and shown that they have overreached by trying to

12   have a double recovery by designating what would otherwise be

13   an annual expense, a normal O&M expense as storm recovery so

14   they get a double recovery there.

15             Secondly, and more importantly as pointed out by Mr.

16   McGlothlin, you need to embrace the sharing concept.  If you

17   are going to make the customers pay for any of these costs at

18   all through a surcharge, you need to make the company pay its

19   share, as well.  And I will use one utility's name to emphasize

20   this fact.  I would encourage you to remember because you just

21   recently approved it, Gulf Power.  Gulf Power's workers, I

22   assume, worked just as valiantly as Progress Energy's did in

23   extreme weather and at their peril to fix their system for the

24   betterment of their customers.  And it is not just for the

25   betterment of the customers, of course.  Mr. Sasso would have

FLORIDA PUBLIC SERVICE COMMISSION

59

1   you believe, apparently, that the only people that benefitted

2   by the repair of Progress Energy's system were the system's

3   customers.

4             Now, for example, supermarkets are in the business of

5   selling food.  Those people that suffered storm damages got out

6   and fixed their stores so they could start selling groceries

7   again.  Progress Energy, like the other utilities in this

8   state, are in the business -- is in the business of selling

9   electricity.  It had to fix its own system in order to get back

10   in business.  Progress should be required to share on about the

11   same order through your vote as Gulf Power did through its

12   stipulation with the office of Public Counsel and with FIPUG,

13   which stipulation you approved which had them share roughly on

14   the order of about 50 percent of the costs.  In the end you

15   should find about the same thing.

16             To suggest that this utility, Progress Energy, which

17   reported earnings to the SEC and its shareholders last year of

18   something in excess of 13.5 percent on equity as I recall, to

19   require its customers to pay 100 percent of these costs and let

20   the shareholders get a free ride is in my view unconscionable.

21   You should not do it, Commissioners.

22             Shareholders purchase stock in this company.  They

23   know that it has assets in the state of Florida, they have to

24   know given our history that the state gets hit with some

25   frequency with hurricanes.  As you were told earlier, as you

FLORIDA PUBLIC SERVICE COMMISSION

60

1   know from your cost of capital testimony, there is a business

2   risk associated with this, and the utilities are paid for it in

3   the equity award that you approve.

4             Requiring the utility to go down to 10 percent, we

5   are not talking about 2 percent, we are not talking about 3

6   percent, we are not looking at businesses that were wiped out,

7   or people that lost everything, or major investments through

8   deductibles and so forth.  Ten percent is still a very decent

9   return in today's market.  You should require them to share

10   down to 10 percent.  It is the floor they agreed upon, you

11   should hold them to it.

12             Lastly, I would encourage you to examine essentially

13   in every account nook and cranny to see if there are other ways

14   that you can reduce wherever possible any surcharges you impose

15   upon this utility's customers.  And what I have in mind is

16   something that has happened very recently.  Yesterday, I am

17   aware Public Counsel filed a motion asking you to consolidate

18   Florida Power and Light Company's storm recovery case with its

19   base rates case and with a depreciation case the company just

20   filed.  And as I understand they did so on the basis that in

21   the depreciation study Florida Power and Light reports that it

22   had something on the order of 1.2 billion, billion with a B,

23   dollars of excess depreciation monies.  Those monies -- if that

24   is true, those monies, of course, are essentially customer

25   supplied money held in trust, if you will, by the utility that

FLORIDA PUBLIC SERVICE COMMISSION

61

1   if it is excessive as described by Public Counsel, is no longer

2   needed for purpose for which it was collected.

3             Now, if that is true, there is a possibility one

4   would hope from the customer's perspective that that excess

5   money for depreciation could be used to settle up on storm

6   damages, recharge the reserve without any surcharges and so

7   forth.  I mention that because the Commission and the staff and

8   the parties to the extent they can ought to try and examine

9   what the situation is with depreciation with this utility.  If

10   Florida Power and Light had excessive depreciation dollars that

11   might be used to reduce storm damages, perhaps Progress does.

12             I appreciate your time.  Thank you.

13             CHAIRMAN BAEZ:  Thank you, Mr. Twomey.

14             Commissioners, I had mentioned to you, and I guess I

15   will mention to everyone else, we are done with the opening

16   statements and we are ready to move on to the witnesses.  And

17   as the hour is around 12:30 now by my watch, I have planned on

18   breaking at 1:30 unless you would rather use the -- you tell

19   your pleasure -- unless you would rather use this natural

20   breaking point before we start taking witnesses.  1:30 is fine?

21   Are you all okay with it?  All right.  We will go to 1:30 and

22   just try and get as many witnesses.

23             Are all the witnesses in the room?  How would

24   somebody that wasn't in the room know, right?  This is without

25   medication, people, I want you to know.  All right.  Well,

FLORIDA PUBLIC SERVICE COMMISSION

62

1   those witnesses that are in the room, please stand up.  Let's

2   swear everyone in and we will be taking testimony.

3             (Witnesses sworn.)

4             Thank you.  Sit down.

5             Mr. Sasso, we are ready for your first witness.

6             MR. WALLS:  Mr. Jeff Lyash.  And at this time we will

7   pass out his direct testimony, unless the Commissioners already

8   have it.

9             CHAIRMAN BAEZ:  No, I think we have got his prefiled.

10                             JEFF LYASH

11   was called as a witness on behalf of Progress Energy Florida,

12   and having been duly sworn, testified as follows:

13                         DIRECT EXAMINATION

14   BY MR. WALLS:

15        Q    Mr. Lyash, will you please introduce yourself to the

16   Commission and provide your address?

17        A    My name is Jeff Lyash.  I live at 10215 Golden Eagle

18   Drive in Seminole, Florida, and I am the Senior Vice-President

19   of Energy Delivery for Progress Energy Florida.

20        Q    And, Mr. Lyash, have you filed prefiled direct

21   testimony and exhibits in this proceeding?

22        A    Yes, I have.

23        Q    And do you have that in front of you?

24        A    Yes, I do.

25        Q    Do you have any changes to make to your prefiled

FLORIDA PUBLIC SERVICE COMMISSION

63

1   testimony or exhibits at this time?

2        A    No, I do not.

3        Q    And if I asked you the same questions in your

4   prefiled testimony today, would you give the same answers that

5   are indicated in your prefiled testimony?

6        A    Yes, I would.

7             MR. WALLS:  We request at this time that the prefiled

8   testimony be moved into evidence as if it were read in the

9   record.

10             CHAIRMAN BAEZ:  I think Mr. Lyash's testimony has

11   already been moved into the record, and also let the record

12   reflect that the two exhibits attached to his prefiled direct

13   testimony, JL-1 and JL-2, have been previously marked as

14   Exhibits 7 and 8.

15             MS. BRUBAKER:  Actually, Chairman, since there were

16   some objections to the testimony, the testimony has not been

17   entered into the record.

18             CHAIRMAN BAEZ:  You know, I knew I was going to slip

19   up somewhere.  If there is no objection we will move Mr.

20   Lyash's direct testimony into the record as though read.  And

21   as I had stated earlier, JL-1 and JL-2 have been previously

22   marked as 7 and 8.  Go ahead, Mr. Walls.

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

78

1   BY MR. WALLS:

2        Q    Mr. Lyash, do you have a summary of your prefiled

3   testimony?

4        A    Yes, I do.

5        Q    And will you please summarize your testimony for the

6   Commission?

7        A    Yes, I will.  As I said, my name is Jeff Lyash, and

8   employed by Progress Energy Company, and I am the Senior

9   Vice-President of Energy Delivery for Florida.  I am

10   responsible for oversight of all aspects of energy transmission

11   and distribution in Florida.

12             We had an unprecedented hurricane season in 2004 as

13   four hurricanes struck our service territory back-to-back over

14   a six-week period.  The damage to our transmission and

15   distribution system was severe, and we experienced over two

16   million cumulative customer outages over the course of the four

17   hurricanes, yet we were able to respond quickly and perform

18   well throughout the preparation and restoration process.  We

19   were able to restore power to all customers capable of

20   receiving power within nine days the Hurricane Charley, six

21   days for Hurricane Frances, two for Hurricane Ivan, and five

22   days for Hurricane Jeanne.  Our customers appreciated our

23   efforts to keep the power on and restore it quickly to their

24   homes and businesses when there was an outage as you know from

25   our customer service hearings.

FLORIDA PUBLIC SERVICE COMMISSION

79

1             We were able to perform so well because we have a

2   comprehensive storm plan that includes everything from

3   pre-storm preparation to post-storm restoration.  This includes

4   specific storm plans for generation, the energy control center,

5   transmission, and distribution.  Our generation storm plan

6   calls for constant monitoring of storm tracks and conditions

7   that take the necessary actions to protect our generating

8   stations and their operations.  This includes coordinating with

9   the energy control center which monitors the status of our

10   electrical grid and helps orchestrate the restoration process

11   for transmission and distribution to maintain system stability

12   and restoration efficiency.

13             An important aspect of our storm plan is our

14   communication efforts with our customers and with state, local,

15   and municipal government officials, the Commission and staff,

16   and members and staff of the legislative and executive branches

17   of state government.  Our customers demand and need constant

18   communications throughout the hurricane preparation and

19   restoration process concerning storm preparation, outage

20   reporting instructions, safety, restoration efforts, and times.

21             To handle our direct customer contacts we nearly

22   doubled our customer service representatives during the

23   hurricanes, and they handled over 2 million customer outage

24   calls over the course of those storms.  In addition to our

25   direct communications with customers, we reach out to them and

FLORIDA PUBLIC SERVICE COMMISSION

80

1   the public through various media on a constant basis over the

2   course of the storm preparation and restoration so that we can

3   keep them informed.  Maintaining this contact and providing

4   them with information is important to them, and it is a

5   function of our storm plan that we take very seriously.

6             Likewise, we recognize that state, local, and

7   municipal officials need access to our personnel for

8   information and input on priorities for storm restoration.  We

9   assign a team of representatives to each region to communicate

10   proactively and daily with counties and municipalities to

11   support their emergency response efforts, provide valuable

12   information, and to address local issues.  The constant message

13   from these officials and the state officials we dealt with

14   during the hurricanes was to get power restored to as many

15   customers as quickly as possible.  That is exactly what we did.

16   And I am very proud of our employees for rising to the occasion

17   and performing so well during what was a massive restoration

18   process.

19             We ask you to recognize that what we did was what our

20   customers and the state and local officials wanted us to do.

21   We ask you to approve our petition to establish a cost-recovery

22   mechanism for our prudent and reasonable storm-related costs in

23   excess of our storm damage reserve.  We incurred these expenses

24   properly to restore prompt service to our customers for each of

25   these four hurricanes.  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

81

1             MR. WALLS:  As this time we tender Mr. Lyash for

2   cross-examination.

3             CHAIRMAN BAEZ:   Thank you.

4             Ms. Christensen.

5                          CROSS EXAMINATION

6   BY MS. CHRISTENSEN:

7        Q    Good afternoon, Mr. Lyash.

8             Mr. Lyash, you would agree that Progress as a

9   regulated utility has an obligation to provide safe, reliable

10   electric service within their territory, is that correct?

11        A    That is correct.

12        Q    And you would also agree that Progress has a monopoly

13   on electric service within its territory, correct?

14        A    That is correct.

15        Q    Isn't it correct that as part of being a regulated

16   electric monopoly is that you have certain regulatory

17   obligations?

18        A    Yes.

19        Q    And you would agree that it is part of Progress'

20   regulatory obligation to plan for storms, including hurricanes?

21        A    Yes, I believe we have an obligation to provide for a

22   reasonable level of storm response.

23        Q    Okay.  Progress' regulatory obligation requires it to

24   restart service to customers as quickly and safely as possible

25   after hurricanes, is that correct?

FLORIDA PUBLIC SERVICE COMMISSION

82

1        A    Yes.

2        Q    And you would also agree that all of the telephone

3   companies and power companies in Florida have storm plans to

4   deal with hurricanes in advance of the hurricane seasons?

5        A    I would assume so.

6        Q    Now, isn't it correct that as part of the regulatory

7   obligation between the company, the state, and the ratepayer,

8   the company is provided the opportunity to earn a fair return

9   on its equity?

10        A    Yes.

11        Q    And you would also agree that some of Progress'

12   customers suffered economic losses due to the multiple

13   hurricanes that hit your territory, correct?

14        A    Yes, I would assume so.

15        Q    And would you also agree that some of those customers

16   in your territory were hit by more than one of those

17   hurricanes?

18        A    Yes, they were.

19        Q    And isn't it correct that Progress' position would

20   pass on through a surcharge almost 100 percent of the costs of

21   these hurricanes to customers, a majority of which who suffered

22   in the hurricanes?

23        A    I believe the approach that is being taken with the

24   accounting is to charge direct costs to the storms.  I don't

25   believe that passes all storm costs on to the customers.  We

FLORIDA PUBLIC SERVICE COMMISSION

83

1   have a substantial amount of work that we did not accomplish

2   during the storms that we have had to make up since then often

3   at a premium price.  We have revenues lost associated with the

4   storms, and so while I would agree that we are proposing to

5   pass on the direct costs, as we believe has been the process

6   since Hurricane Andrew, I would not agree that that necessarily

7   implies that we are passing on all costs or all risks to our

8   customers.

9        Q    Well, you would agree that those follow-up recovery

10   efforts are costs that Progress intends to include in this

11   recovery, correct?

12        A    No.  We have a substantial amount of corrective and

13   preventative maintenance and the normal work of the electric

14   utility business that we were unable to accomplish during the

15   period of the storms which we must carry forward and accomplish

16   anyway, and as I said, often at a premium price.

17        Q    Well, let me refer you.  On Page 12 of your testimony

18   you state that you believe that Progress received

19   dollar-for-dollar recovery of those funds Progress spent on the

20   hurricanes, is that correct?

21        A    I'm sorry, could you repeat that?

22        Q    On Page 12 of your direct testimony, you indicate

23   that Progress should receive dollar-for-dollar recovery for

24   those funds that it spent on the hurricanes, is that correct?

25        A    Yes, we should recover the direct costs associated

FLORIDA PUBLIC SERVICE COMMISSION

84

1   with the hurricanes.

2        Q    You would agree that Progress has charged the storm

3   fund a portion of your regular salary, correct?

4        A    I would assume that we charge the storm fund for the

5   direct costs associated with responding to the storm and that

6   would include salaries.

7        Q    And that would include part of your regular salary,

8   correct?

9        A    I would assume so.

10        Q    And you also agree that a portion of the direct storm

11   costs, according to Progress, includes other managers and

12   nonmanagers regular salaries, as well, if they in Progress'

13   words are directly related to the hurricanes?

14        A    Yes.

15        Q    Isn't it correct the regular salaries of yourself and

16   other Progress employees are included in normal O&M and are

17   paid for by customers through base rates?

18        A    Well, under the approach that is being employed here,

19   rather -- and I think this has been said before -- rather than

20   doing what amounts to a mini-rate case that accounts for all

21   costs and all revenue impacts, the approach is to charge direct

22   costs as a straightforward and simple approximation of the

23   impact of the storms.

24        Q    Are regular salaries included as part of base rates?

25        A    Under normal circumstances, yes.

FLORIDA PUBLIC SERVICE COMMISSION

85

1        Q    Did you in your budgets for September and October

2   include regular salaries for PEF employees?

3        A    Yes, for September and October outside of storm costs

4   we would have charged base salaries to base rates.

5        Q    Would you have collected for and would you have

6   budgeted for regular salaries for those months?

7        A    Yes, we would have in our normal budget at the

8   beginning of the year.

9        Q    Isn't it correct that Progress is collecting twice

10   for those regular salaries, once through base rates and once

11   through storm funds?

12        A    No, I don't believe that is correct.

13        Q    Isn't it correct that base rates cover the cost of

14   vehicles that you and Progress employees drive every day during

15   the normal course of business?

16        A    Yes, the budget does cover normal vehicle costs.

17        Q    And isn't Progress charging a portion of that vehicle

18   cost to the storm fund if that vehicle was used for hurricane

19   restoration operations?

20        A    No, I believe Progress is charging the direct cost of

21   the vehicle that was used to support storm restoration to the

22   storm fund.

23        Q    Since base rates cover the cost of the vehicles,

24   wouldn't you agree that customers should not have to pay again

25   for those vehicles through the storm surcharge?

FLORIDA PUBLIC SERVICE COMMISSION

86

1        A    Once again, those vehicles are employed to do the

2   core work of the utility and the core work of the utility will

3   be done either during the storm period, or as in this case,

4   subsequent to the storm period stretching into this year

5   incurring those base costs.

6        Q    And what you are referring to is essentially catch-up

7   work?

8        A    All of the work that was not accomplished during the

9   period of the storms which must subsequently be accomplished.

10        Q    So it is your theory that catch-up work offsets

11   double-dipping?

12        A    Well, I'm not entirely clear on why you characterize

13   it as double-dipping.  All I can say is that the work that

14   would have been done, the work that our folks do every day of

15   the year does not cease to exist because a storm has occurred.

16   There is still equipment that must be maintained, new customers

17   that must be connected, and preventive and corrective

18   maintenance that must be accomplished, and to the extent that

19   that is not done during the storms, it is our responsibility to

20   complete that work to maintain and preserve the reliability of

21   the system and the quality of the customer service.

22        Q    Am I correct that when you refer to extraordinary

23   storm-related costs, Progress includes normal salaries and

24   vehicle expenses?

25        A    I'm sorry, say that again.

FLORIDA PUBLIC SERVICE COMMISSION

87

1        Q    Am I correct in assuming under your definition that

2   when you refer to extraordinary storm-related costs you are

3   including a portion of normal salaries and vehicle expenses?

4        A    I am including vehicle expenses and salaries for

5   those vehicles and individuals who directly supported the

6   storms.

7        Q    And am I correct also to understand that all of these

8   costs are considered extraordinary because they are related to

9   hurricane restoration rather than the portion of the costs that

10   are above normally expected costs?

11        A    I think, as I said before, the approach that is

12   undertaken here rather than accounting for in a rate case like

13   proceeding all costs and revenues is to approximate costs by

14   charging direct costs and that is, in fact, what we are doing

15   here.  The notion that somehow the work that otherwise would

16   have been done evaporates, I think, is flawed.

17        Q    Well, you would agree that some of that work may go

18   away as a result of the storm, correct?

19        A    No.

20        Q    Well, let me ask you this.  Regarding communication,

21   would you agree that part of your basic regulatory obligation

22   is to keep your customers informed during emergencies such as

23   tornados and hurricanes?

24        A    Yes.

25        Q    And would you also agree that you have included

FLORIDA PUBLIC SERVICE COMMISSION

88

1   public information expenses in the costs that make up the

2   surcharge Progress is proposing in this docket?

3        A    Our base operation and our base charges are

4   predicated on noncatastrophic, nonrecurring events.  In a case

5   like a hurricane where it is catastrophic, nonrecurrent, and

6   extreme, we need to spend a substantial additional amount of

7   monies communicating with the customers.  As I said, doubling

8   call center representatives, communicating through the media so

9   that they understand our response and can plan accordingly, and

10   so they get the sort of safety messages that we think are

11   important to them.

12        Q    So your answer is yes, you have included some public

13   information and communication expenses in the storm request?

14        A    Yes.

15        Q    Now, on Page 10 at Line 11 of your testimony, you

16   start discussing -- well, Pages 9, 10, and 11 you discuss these

17   communications, correct?

18        A    What page are you on?

19        Q    Through Pages 9, 10, and 11 you discuss

20   communications, correct?

21        A    Uh-huh, yes.

22        Q    On Page 9, Line 11, you state that it was important

23   for us to reinforce key messages with our customers, is that

24   correct?

25        A    That is correct.

FLORIDA PUBLIC SERVICE COMMISSION

89

1        Q    And you also state on Page 9 that it was important

2   that Progress communicate to local government authorities,

3   correct?

4        A    That is correct.

5        Q    And then referring to Page 10, Line 13, you state we

6   had extensive communications efforts with the public and the

7   media, correct?

8        A    Correct.

9        Q    And on Page 11, Line 13 of your testimony, you state

10   that you are going to bill customers approximately $3.6 million

11   extra for providing this service, is that correct?

12        A    Correct.

13        Q    So it is Progress' position that base rates don't

14   cover the expense of keeping the public and governmental

15   agencies informed in case of emergencies as part of your

16   regulatory obligation?

17        A    Well, I think there are two points to be made.  The

18   first is that the scope and cost of the communication efforts

19   associated with this type of catastrophic events go beyond what

20   was contemplated in base rates.  I believe that to be the case.

21   And the second is, once again, back to the notion of charging

22   direct costs as an approximation of customer impact as opposed

23   to a more extensive rate proceeding.

24        Q    So let me ask you this, is it Progress' position

25   because they did a good job in restoring service, Progress

FLORIDA PUBLIC SERVICE COMMISSION

90

1   should be given a dollar-for-dollar recovery through a clause

2   and this would be fair to customers and shareholders, is that

3   correct?

4        A    That is your characterization of our position.  I

5   think Mr. Sasso stated our position clearly in the opening

6   statement.

7        Q    Under Progress' position, your shareholders would pay

8   essentially nothing toward storm recovery, is that correct?

9        A    I believe our shareholders are picking up risk, risk

10   associated with what went into preparing for these storms, the

11   lost revenue, the premiums that we need to pay to make the

12   system whole once again, which will continue to come out over

13   the next weeks and months and perhaps years.

14        Q    Mr. Lyash, if you are familiar, did your return on

15   equity go up between June 2004 from approximately 12.5 percent

16   to December of 2004 up to 13.6 percent?

17        A    That is a question I would defer to Mr. Portuondo,

18   our regulatory accounting person.

19        Q    Okay.  As part of the regulatory compact, the

20   Commission as the regulator, through base rates ensures that

21   Progress receives a fair return on its development, is that

22   correct?

23        A    Yes.

24        Q    And isn't it correct that the storm firm accrual has

25   been collected through base rates?

FLORIDA PUBLIC SERVICE COMMISSION

91

1        A    That is correct.

2        Q    Isn't it also correct that storm-related funds have

3   never been collected through a clause prior to this request?

4        A    I'm not clear on the point, I can't really say.

5             MS. CHRISTENSEN:  I have no further questions.

6             CHAIRMAN BAEZ:  Mr. McWhirter.

7                          CROSS EXAMINATION

8   BY MR. McWHIRTER:

9        Q    Mr. Lyash, on a scale of one to ten, how would you

10   rate your public relations program?

11        A    I'm not sure how to respond.  I'm not sure what a

12   scale of one to ten in terms of public relations really means.

13   I would say that it is a focus that we have during normal

14   operations, but particularly when things are abnormal, because

15   that is when people really want and need the information.  I

16   guess I could put an arbitrary number on it.  I'm not sure what

17   it would mean.

18        Q    Well, would you say your public relations program is

19   poor, good, or excellent?

20        A    I would say it is very good.

21        Q    And the cost of your public relations program, you

22   include that in base rates?

23        A    I would imagine so, some perhaps not all.  I'm not

24   clear.

25        Q    And do you know during the storm period how the

FLORIDA PUBLIC SERVICE COMMISSION

92

1   normal salaries were treated?  Were they added to your storm

2   recovery costs?

3        A    The normal salaries associated with those individuals

4   directly supporting storm recovery are part of this filing.

5        Q    All right.  Now, I was a little bit concerned when

6   you said that you have backup work such as connecting customers

7   that still needs to be performed.  Do you have customers that

8   needed connection in September that are still not connected

9   today?

10        A    Well, we have a lot of customers, so I don't want to

11   give a specific accounting, but in general what I would tell

12   you is that during the six-week period of the storms there was

13   very little customer connect work done because of the nature of

14   the events, and that that work needed to be caught up.  And

15   that the additional customer connect work really surges after a

16   storm of this nature because of the pent up demand as business

17   ramps back up as power is restored, and that creates a large

18   catch-up wave that would have materialized during the six weeks

19   but not for the storm.

20             We work very directly with our customers to negotiate

21   connect dates, and post-storm we have had to negotiate connect

22   dates that were not optimal with customers, and they generally

23   understand.  We try to do it as expeditiously as possible

24   within the constraints of the resources and physical materials

25   available.

FLORIDA PUBLIC SERVICE COMMISSION

93

1        Q    Can you give me the beginning and ending date of the

2   storm period that you classify?  Did it start August 6th and

3   end on September 15th, or what was the time period?

4             MR. WALLS:  I'm going to object to the question.  It

5   is unclear to me what he means by storm period.  Does he mean

6   the actual time the storm occurred, the time preparing for it,

7   the time restoring it?  I'm not clear.

8             MR. McWHIRTER:  Well, I am referring --

9        Q    In your answer to my last question you talked about

10   the six-week storm period.  What six weeks is that?

11        A    Well, that was kind of a casual reference to that

12   period of time that the storms were actually impacting the

13   Florida service territory.

14        Q    And that began when and ended when?

15        A    I don't have the dates in front of me.  Sometime in

16   August into September.

17        Q    And ended sometime around mid-September?

18        A    (Indicating yes.)

19        Q    And you had people waiting for normal connection in

20   mid-September that are not connected yet?

21        A    Well, keep in mind that a lot of our customer

22   connects we work with developers and industry who have a scope

23   of work.  It is not necessarily a customer who is sitting at

24   home with the lights out.  It is installing infrastructure,

25   underground networks, transformers, building overhead

FLORIDA PUBLIC SERVICE COMMISSION

94

1   extensions.  To put the system in a condition where we can

2   support the on-going stream of connections that come with a

3   growing economy like Florida's.

4        Q    Have you performed any analyses, and can you give us

5   any specific numbers as to the quantity of that kind of make-up

6   work that was not performed in 2004 and must be performed in

7   2005?

8        A    I believe some of the subsequent witnesses may be

9   able to give you specifics on that.

10        Q    Beg your pardon?

11        A    I said I believe some of the subsequent witnesses may

12   be able to give you specifics on that.  I don't have it in

13   front of me.

14        Q    You don't have it?  Do you think there is such an

15   analysis available?

16        A    I believe we understand the extent of new customer

17   connect catch up that needed to be done, yes.

18        Q    Well, all I'm trying to get at is Mr. Sasso mentioned

19   it in his opening statement and you have mentioned it that

20   there is a lot of backup work that must be completed.  And then

21   we also have the fact that the $366 million that is claimed in

22   this case is an estimate of past and future work, and I was

23   just trying to see if you could compartmentalize some of those

24   ordinary expenses that weren't performed that have to be

25   performed in the future and give us a number for that?

FLORIDA PUBLIC SERVICE COMMISSION

95

1        A    Yes.  I'm sorry, I can't, as I sit here, do that

2   quantitatively.  Qualitatively I can say that the nature of the

3   work that we were faced with as we have already discussed is

4   new customer connects.  And, again, that is more than a meter.

5   That is construction of the system necessary to deliver that

6   power.  But also preventive and predictive maintenance work.

7   Every day we are out there inspecting, treating, bracing poles,

8   doing production related tree trimming that maintains normal

9   levels of reliability.  Transformer inspections, repairs, and

10   replacements.  With a system this large, that is a daily set of

11   tasks that has to run on a sequence, and if you fall behind you

12   have to catch it up.

13        Q    And for your distribution system where most of the

14   costs occurred, when you brought in all of those extra crews

15   and your crews went out and trimmed a lot of trees, that

16   relieved you from the responsibility of having to do it in

17   2005, didn't it?

18        A    No, it didn't.  I wish it were so.  The nature of

19   damage that you see during storms does not at all relieve you

20   of what you have to do in the normal course of business to

21   maintain system reliability.  Oftentimes the pole that has come

22   down because a tree outside the right-of-way took it down could

23   be a brand new pole.  As a matter of fact, you may have had to

24   replace that pole more than once during the storms because of

25   the conditions.

FLORIDA PUBLIC SERVICE COMMISSION

96

1             So that the nature of the damage that you sustain

2   during these hurricanes really does not relieve you of any of

3   your normal maintenance work.  Oftentimes we find that it, in

4   fact, creates incipient damage in the system that we don't

5   discover until later, so it, in fact, increases your routine

6   maintenance and replacement work scope.

7        Q    Did you put up a lot of brand new poles and a lot of

8   brand new pots on those poles, those transformers?

9        A    Where we had poles down we replaced them.  I believe

10   we replaced 7/10ths of one percent of the poles on our system

11   as an example.  So that in terms of the maintenance work we are

12   talking about that leaves an awfully large population of poles

13   that were not touched.

14        Q    Are those temporary poles or permanent poles?

15        A    They could be either.  Oftentimes we would replace

16   them with a permanent pole, and in cases where we needed to

17   make a temporary repair to restore service more quickly, we did

18   that and we would subsequently come back and have to redo that

19   with a permanent repair.

20             MR. McWHIRTER:  That's all the questions I have.

21   Thank you, Mr. Lyash.

22             CHAIRMAN BAEZ:  Mr. Wright is not here.

23             Mr. Twomey.

24             MR. TWOMEY:  Yes, sir, Mr. Chairman, I think I just

25   have a couple.

FLORIDA PUBLIC SERVICE COMMISSION

97

1                          CROSS EXAMINATION

2   BY MR. TWOMEY:

3        Q    I would ask you to look at Page 12 of your testimony,

4   Line 13.  Speaking to the money that you want to get through

5   the two-year surcharge you want the Commission to approve for

6   recovery from your customers, you say at Line 13, "We will not

7   make a profit for the amount recovered under our two-year

8   proposal."  Do you see that?

9        A    Yes, I do.

10        Q    Where do you think that money is going to go?

11        A    I don't understand the question.

12        Q    I mean, if it is not going to go to profit, where is

13   it going to go?

14        A    I think the intent of the statement is that we spent

15   these monies directly in recovery from the storm and so we are

16   looking for recovery of the cost, not something that we are

17   going to earn a profit on or earn in the long-term, it is a

18   recovery of the expenditures made.

19        Q    Yes, sir.  But I thought I heard you agree with Ms.

20   Christensen that, for example, if you had a lineman that

21   typically worked eight hours a day and that line individual,

22   person, whatever they are called now had eight hours a day of

23   salary built into your O&M budget covered by your rates, I

24   understand that that person was dedicated to storm recovery,

25   you want to have not only the overtime that person worked, but

FLORIDA PUBLIC SERVICE COMMISSION

98

1   the base eight hours charged to storm recovery, correct?

2        A    Yes.  And I think your point is based on the notion,

3   once again, that the eight hours worth of work that the lineman

4   would have otherwise done somehow evaporates, and I think that

5   premise is incorrect.

6        Q    Have you lined out in anyplace where all those base

7   salaries are going to be expended in overtime later in the next

8   six months or have already?

9        A    We have an entire family of programs that we apply to

10   the system to maintain it.  The example we discussed a little

11   bit earlier was poles, and so we would essentially implement

12   the program as originally laid out using the labor that is

13   necessary to implement that program.  So, you know, in response

14   respond your question, we have a clear scope of work and we

15   have clear programs and plans to execute it and we will do

16   that.

17        Q    Yes, sir, but let me ask you more specifically.  Has

18   your company in this case provided an exhibit that shows where

19   specifically it is going to expense all of those base hours on

20   makeup work in the future?

21        A    I don't know.  I don't know if we have provided that

22   exhibit.

23        Q    And wouldn't you agree with me that if you don't

24   identify the base dollars that have to be expended in makeup

25   work that will necessarily go to profit?

FLORIDA PUBLIC SERVICE COMMISSION

99

1        A    Could you repeat that?

2        Q    Yes, sir, I will try.  You have got built into your

3   budget let's say for the month of July, so many dollars for a

4   lineperson's eight hour day.  A hurricane comes.  That day they

5   work a 16 hour day, eight hours base, and eight hours of

6   overtime.  Instead of incrementally just charging the customers

7   for the overtime, which is what the bulk of the customer

8   representatives here want to see you do, you want to charge

9   overtime plus the base eight hours, correct?

10        A    The direct costs associated with the storm, yes.

11        Q    Yes, sir.  You are telling me, if I hear you, that

12   base eight hours, the dollars that are built into base rates,

13   aren't going to be extra to the company because you are going

14   to expend it someplace else in doing work that has to be made

15   up, correct?

16        A    Yes, and I think that is what the customers and the

17   Public Service Commission expect, that we will catch those

18   programs up, we will maintain our level of reliability and

19   customer service and not just allow that work to go undone.

20        Q    Yes, sir.  And I asked you if you or the company has

21   provided an exhibit that shows where each and every one of

22   those base dollars that is going to be expended in making up

23   work, and I think your answer was you didn't know whether it

24   had or not, correct?

25        A    Correct.

FLORIDA PUBLIC SERVICE COMMISSION

100

1        Q    And my question was don't you agree with me that if

2   we can find where the dollars aren't identified to be spent in

3   makeup work, that they necessarily have to go to profit?

4        A    Well, I think the line of questioning that we are

5   engaged in here also sort of ignores the fact that the recovery

6   approach that we are suggesting here is to charge direct cost

7   and then to recover direct cost as opposed to going through an

8   extended process that looks at revenues and expenses and gives

9   perhaps a more complete but very difficult characterization of

10   the impact.  So that, you know, the one issue is the

11   double-dipping that has been mentioned, and I don't believe

12   that is the case.  But the second issue I think has to do with

13   the process that we believe is in place for the storm

14   cost-recovery and how all those pieces come together.  So I'm

15   not convinced that picking this one item gives you a meaningful

16   result.

17        Q    Did you understand my last question?

18        A    Yes, I did, and I believe I am answering it.

19        Q    Well, are you capable of answering it yes or no?

20        A    I am certainly capable --

21             MR. WALLS:  I am going to object as argumentative.

22             MR. TWOMEY:  Mr. Chairman --

23             THE WITNESS:  If your question is that --

24             CHAIRMAN BAEZ:  Hold on, Mr. Twomey.  And maybe I

25   should have laid out the ground rules, Mr. Lyash.  I don't

FLORIDA PUBLIC SERVICE COMMISSION

101

1   recall you testifying before the Commission before, but if you

2   can start your answers yes or no.

3             THE WITNESS:  Okay.

4             CHAIRMAN BAEZ:  And I am certain you are going to get

5   questions that you can do that, but where you do go and then

6   you can elaborate on your answers.  We will try that one again.

7   BY MR. TWOMEY:

8        Q    Again, the tail end of the question, if the company

9   cannot identify specifically where the base dollars in your

10   budget for salaries, for example, is going to be spent in

11   makeup work, don't you agree with me that it necessarily has to

12   go to profit?

13        A    Yes.

14             MR. TWOMEY:  Thank you.  That's all I had, Mr.

15   Chairman.

16             CHAIRMAN BAEZ:  Staff?

17             MS. RODAN:  Staff has no questions.

18             CHAIRMAN BAEZ:  Commissioners, do you have questions?

19   Commissioner Deason, do you have a question?

20             COMMISSIONER DEASON:  I have a question concerning

21   the so-called makeup work.  Is that a term that you would

22   accept, makeup work, or how do you define -- I'm talking about

23   you indicate in your testimony there is a certain amount of

24   work that could not be performed during the restoration efforts

25   because obviously restoration was the primary focus and some of

FLORIDA PUBLIC SERVICE COMMISSION

102

1   the more normal routine maintenance or whatever gets deferred,

2   is that correct?

3             THE WITNESS:  That is correct.

4             COMMISSIONER DEASON:  And I will just refer to that

5   as makeup work, is that fine?

6             THE WITNESS:  That's fine.

7             COMMISSIONER DEASON:  Is all the makeup work done now

8   or is that something that is continuing to be done?

9             THE WITNESS:  It is continuing.

10             COMMISSIONER DEASON:  Is that makeup work being done

11   through normal work force efforts or is it being done through

12   overtime?

13             THE WITNESS:  Primarily overtime and contractor

14   support.

15             COMMISSIONER DEASON:  And that information has not

16   been provided to the Commission?

17             THE WITNESS:  The information has been provided.  It

18   has been requested in discovery.  We were asked in discovery to

19   identify projects of greater than 100,000 and greater than

20   20,000 that were left undone.  We have done that.  Mr. Wimberly

21   has also included in his testimony the categories of makeup

22   work that need to be done, and his rebuttal testimony includes

23   that that is going to cost the company over $25 million to do,

24   so the evidence does exist.

25             COMMISSIONER DEASON:  Thank you, Mr. Chairman.

FLORIDA PUBLIC SERVICE COMMISSION

103

1             CHAIRMAN BAEZ:  Commissioners, any other questions?

2             Redirect.

3             MR. WALLS:  I will try to be brief.

4                        REDIRECT EXAMINATION

5   BY MR. WALLS:

6        Q    Mr. Lyash, you have said this a couple of times, but

7   just to be clear, when you have an employee who comes in to

8   work on a day that there is a hurricane that hits, and he is

9   reassigned to do work on the hurricane restoration, does the

10   work he was supposed to do that day go away?

11        A    No, it does not.

12        Q    And could you explain generally the nature of the

13   types of makeup work that you are aware of within the company

14   that has to be done and has been done over the past few months?

15        A    Uh-huh, yes.  With an asset this extensive, we have

16   just a whole family of programs that go at corrective and

17   preventive maintenance.  As an example, what we discussed was

18   the poles.  We inspect, we chemically treat, we brace, and we

19   replace poles on an ongoing basis.  And that is targeted at

20   maintaining system reliability.  That same type of program

21   would apply to pole-top transformers, pad-mounted transformers,

22   capacitor banks, et cetera.  So, that maintenance work.  There

23   is also right-of-way maintenance work; mowing, herbicide,

24   production related tree trimming that has to be implemented,

25   once again, to maintain the system.  And then lastly,

FLORIDA PUBLIC SERVICE COMMISSION

104

1   infrastructure additions that are needed to support new

2   connects in terms of commercial, industrial, or residential

3   accounts.

4        Q    And, Mr. Lyash, it has been suggested that the

5   hurricane work that was done, such as putting up new poles and

6   new lines, displaces PF's maintenance work, is that true?

7        A    No, I don't believe that to be the case.

8        Q    And can you explain, give some examine of why it

9   would not displace your maintenance programs?

10        A    As I said earlier, the nature of this hurricane

11   damage doesn't pick on components that are at the end of their

12   life.  It is related to tornados that are spun off during the

13   hurricane, wind loadings on components beyond their design,

14   trees outside the right-of-way that become an impact component

15   so that the damage really doesn't fit with or provide you much

16   credit toward your routine maintenance of the system.

17        Q    And by the way, Mr. Lyash, where were you last

18   Friday?

19        A    Last Friday I was out on Treasure Island with a line

20   crew rebuilding a feeder associated with some work that is

21   going on out there.

22        Q    And how long had that crew been working?

23        A    Pardon me?

24        Q    What type of hours was that crew putting in?

25        A    They are currently on -- that particular crew is

FLORIDA PUBLIC SERVICE COMMISSION

105

1   currently working a minimum of six days a week, ten hours a

2   day.

3        Q    And why are they on that schedule?

4        A    Because of the backlog of work that we have got to

5   complete.

6        Q    And, Mr. Lyash, will Progress Energy Florida spend

7   more and has it spent more to complete this backlog of work

8   than it would have if the hurricanes had not occurred?

9        A    Yes.  Certainly, because for the reason that you

10   might imply from that crew schedule, you know, at six tens we

11   are 50 percent overtime at a premium price, and we have got to

12   supplement that work force with contract work force, as well.

13        Q    And, Mr. Lyash, you were asked some questions about

14   the types of charges that have been incurred by the company

15   during the hurricane restoration process, and you were in

16   particular asked about your salary that was charged to the

17   storm costs.

18             What were you doing during the storm?

19        A    I was out on the system either with our work crews or

20   with dealing with the EOC's elected officials, customers

21   resolving -- understand and resolving their hurricane related

22   issues.

23        Q    And did the EOC's officials indicate that it was

24   important for management to be present with them when they were

25   trying to deal with these hurricanes?

FLORIDA PUBLIC SERVICE COMMISSION

106

1        A    Yes.  I think it is critically important.  They have

2   got a heavy emergency response workload and for them knowing

3   that one of the critical components, power, is going to be

4   well-managed, and understanding first-hand how we are doing

5   that, I think, is vital to them.  That is what they have told

6   me.

7        Q    And is that the type of work that you would have

8   normally been doing had there been no hurricanes?

9        A    No, it is not.

10        Q    You were also asked questions about your direct

11   testimony, in particular at Page 9, Line 11, regarding

12   reinforcing key messages to customers.  And Ms. Christensen

13   didn't read the last part of that sentence.  What were you

14   reinforcing the messages to customers about in your direct

15   testimony?

16        A    Well, we reinforced with customers the sorts of

17   preparations they ought to do to their home to make them safe

18   from an electrical power point of view, what sorts of damage

19   they might have to their home that they should look for, and

20   for which they need to gauge a licensed electrician to repair

21   so that it can expedite their return to service.  Also

22   information both general and specific about their restoration

23   schedule so that they can plan their lives around that.

24        Q    And you were asked whether you had normally budgeted

25   for communications.  Can you describe the level of

FLORIDA PUBLIC SERVICE COMMISSION

107

1   communications that took place during the 2004 hurricane

2   season?

3        A    Oh, just extraordinary.  We had communication centers

4   set up around the system that were just constantly engaged with

5   the press to put out information, with the EOCs, with elected

6   officials to make sure that the information was current.

7        Q    And is that the type of level of communication that

8   was contemplated in your budget?

9        A    No, certainly not.

10             MR. WALLS:  I have no further questions.

11             CHAIRMAN BAEZ:  Exhibits.

12             MR. WALLS:  Yes.  We would move in Mr. Lyash's

13   exhibits which have been identified.

14             CHAIRMAN BAEZ:  And I am showing only 7 and 8, right?

15             MR. WALLS:  Yes.

16             CHAIRMAN BAEZ:  Without objection, show Exhibits 7

17   and 8 moved into the record.

18             (Exhibit 7 and 8 admitted into the record.)

19             CHAIRMAN BAEZ:  Thank you, Mr. Lyash.  You are

20   excused.

21             Next witness.

22             MR. WALLS:  At this time we would call Mr. McDonald.

23                           DAVID McDONALD

24   was called as a witness on behalf of Progress Energy Florida,

25   and having been duly sworn, testified as follows:

FLORIDA PUBLIC SERVICE COMMISSION

108

1                         DIRECT EXAMINATION

2   BY MR. WALLS:

3        Q    Mr. McDonald, will you please introduce yourself to

4   the Commission and provide your address?

5        A    My name is David McDonald.  My address is 1486 72nd

6   Avenue Northeast, St. Petersburg, Florida 33702.

7        Q    And, Mr. McDonald, have you already been sworn in as

8   a witness?

9        A    Yes, I have.

10        Q    Who do you work for and what is your position?

11        A    I work for Progress Energy Florida.  I am the

12   Director of Distribution Asset Management.

13        Q    And have you filed prefiled direct testimony and

14   exhibits in this proceeding?

15        A    Yes, I have.

16        Q    And do you have those in front of you?

17        A    Yes, I do.

18        Q    Do you have any changes to make to your prefiled

19   testimony and exhibits at this time?

20        A    No, I do not.

21        Q    If I asked you the same questions in your prefiled

22   testimony today, would you give the same answers that are in

23   your prefiled testimony?

24        A    Yes, I would.

25             MR. WALLS:  We request that the prefiled testimony of

FLORIDA PUBLIC SERVICE COMMISSION

109

1   Mr. McDonald be moved into evidence as if it was read in the

2   record.

3             CHAIRMAN BAEZ:  Without objection show the direct

4   testimony of Witness McDonald entered into the record as though

5   read.

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

137

1   BY MR. WALLS:

2        Q    Mr. McDonald, do you have a summary of your prefiled

3   testimony?

4        A    Yes, I do.

5        Q    And will you please summarize your testimony for the

6   Commission?

7        A    Yes, I will.  My name is David McDonald, and I am

8   employed by Progress Energy Florida as the Director of

9   Distribution Asset Management in PEF's energy delivery business

10   operations.  I am also the storm coordinator for the company's

11   distribution system.

12             As the storm coordinator, I am responsible for

13   overseeing implementation of our storm plan.  The goal of our

14   storm plan is to restore electric service to the customers as

15   quickly and safely as possible and then to restore our

16   distribution system to its pre-storm condition following the

17   hurricane.  To achieve this goal, our storm plan provides for

18   the control and direction of the overall mobilization, staging

19   of crews, logistic support, damage assessment and restoration

20   process.

21             We implement our plan well before a hurricane strikes

22   our service area.  We use computer modeling tools to track the

23   storm path, its intensity, and expected damage in conjunction

24   with outside weather services to identify resource needs and to

25   obtain resource commitments before the hurricanes hit.  We use

FLORIDA PUBLIC SERVICE COMMISSION

138

1   this information to plan and arrange for logistical needs,

2   materials, equipment, and crews based on priorities of

3   restoring service to our most critical and most customers as

4   soon as possible.  We update this information regularly at the

5   96, 72, 48, and 24-hour marks prior to the impact of each

6   hurricane.

7             We also communicate constantly with the Energy

8   Control Center and the transmission storm center to obtain

9   realtime information on outages caused by the storm and to

10   coordinate our restoration efforts.  As soon as the hurricane

11   winds die down to less than 35 miles per hour, we have our

12   people out completing damage assessment, prioritizing the work,

13   and beginning the restoration work.

14             We implemented our storm plan four times during the

15   2004 hurricane season as Hurricanes Charley, Frances, Ivan, and

16   Jeanne struck our service territory one right after another.

17   The damage to our distribution lines and equipment from these

18   hurricanes was severe and widespread requiring us to mobilize

19   and manage thousands of line, tree, and other personnel for the

20   restoration work and thousands of items of equipment and

21   material for the restoration effort.

22             The numbers speaks for themselves.  For Hurricane

23   Charley, we replaced 667 miles of primary and secondary wire.

24   We replaced 3,820 poles; replaced 1,880 overhead and

25   underground transformers among thousands of smaller items, and

FLORIDA PUBLIC SERVICE COMMISSION

139

1   we mobilized 3,623 line and service personnel, and 1,499 tree

2   personnel in addition to our own personnel.

3             For Hurricane Frances we used nearly 500 miles of

4   primary and secondary wire, replaced 2,800 distribution poles,

5   and replaced 1,560 overhead and underground transformers, along

6   with thousand of smaller items, and we mobilized in addition to

7   our own personnel 2,819 system, line, and service personnel,

8   and 1,782 tree personnel.

9             For Hurricane Ivan we mobilized 300 line and service

10   personnel and 100 tree personnel in addition to our own

11   personnel to restore electric service.

12             And, finally, for Hurricane Jeanne we installed 222

13   miles of primary and secondary wire, replaced 100 poles,

14   installed 570 transformers, and we added to our personnel 2,622

15   system, line, and service personnel and 1,065 tree personnel.

16             Although we had widespread outages from the

17   hurricanes leaving from one-third to one-half of our customers

18   without power at the peak of three of the hurricanes, we were

19   able to restore power to customers in record time, often

20   beating our own internal restoration goals.  Our work does not

21   end when the prover goes back on, however, because we still

22   have to go back and repair damage caused by the hurricanes that

23   was by-passed in our effort to restore power as quickly as

24   possible.  So we conduct sweeps of our distribution lines

25   following each hurricane to identify storm damage that did not

FLORIDA PUBLIC SERVICE COMMISSION

140

1   need to be addressed in order to restore service, but must be

2   addressed to put our distribution system back in the condition

3   it was prior to the hurricanes.  We expect we will complete

4   this remaining work by the second quarter of this year.

5             We continue to improve our storm plan following the

6   2004 hurricane season by incorporating lessons learned and to

7   the plan from hurricane to hurricane.  We believe that even

8   though Hurricanes Charley, Frances, Ivan, and Jeanne caused

9   extensive damage to our distribution system and left record

10   numbers of customers without service at the peaks of the

11   hurricanes, our storm plan proved to be an effective and

12   efficient tool to restore customer service as quickly as

13   possible during this unprecedented hurricane season.  We are

14   very proud of the response of our employees in the distribution

15   area for their hard work in making our storm plan work during

16   and following these four hurricanes.

17             MR. WALLS:  At this time we would tender Mr. McDonald

18   for cross.

19             CHAIRMAN BAEZ:  And as I had stated earlier, I wanted

20   to break for lunch around 1:30, and I think this is probably as

21   close as we are going to get on the button.  So we are going to

22   break for 45 minutes, and we will reconvene and start with

23   cross-examination at 2:15.  We are in recess.

24             (Lunch recess.)

25             CHAIRMAN BAEZ:  Bring the hearing back to order.  And

FLORIDA PUBLIC SERVICE COMMISSION

141

1   we are just about to start, the witness had been tendered for

2   cross, Mr. Walls.  Mr. McDonald, thank you.

3             Ms. Christensen.

4                          CROSS EXAMINATION

5   BY MS. CHRISTENSEN:

6        Q    Good afternoon, Mr. McDonald.  There I can see you.

7   Mr. McDonald, as director of distribution assets management in

8   Progress Energy's delivery of business operations, part of your

9   job requirement is coordination of storm recovery for the

10   distribution portion, is that correct?

11        A    I'm sorry, I was distracted.  Could you repeat that.

12        Q    If I can.

13        A    The last part.

14        Q    Well, let me shorten this up.  Mr. McDonald, is part

15   of your job requirement to coordinate storm recovery for the

16   distribution center for distribution?

17        A    To recover the facilities?

18        Q    No.  Is it part of your job requirement to coordinate

19   the storm recovery for distribution?

20        A    Yes, ma'am.

21        Q    Am I correct in understanding that the distribution

22   storm plan is used mainly for hurricanes?

23        A    There is three levels, or four levels within the

24   storm plan, so it is applicable for all levels of storm

25   response.

FLORIDA PUBLIC SERVICE COMMISSION

142

1        Q    Okay.  When you implement the storm plan prior to the

2   hurricane, the plan consists of different phases, am I correct?

3        A    Different --

4        Q    Phases?

5        A    Yes, that is correct.

6        Q    And the phases you identified in your testimony are

7   pre-storm preparation, outages restoration, and distribution

8   systems restoration, are those correct?

9        A    Yes, it is.

10        Q    In your testimony you do not address any

11   pre-hurricane season planning, is that correct?

12        A    No, that is not correct.  We mention the storm

13   preparation, the training.  Are you saying in the testimony?

14        Q    Well, as part of your phases that you discuss, you

15   don't have a phase for pre-hurricane or preseason planning?

16        A    Not in those three that we discussed, no.

17        Q    Am I correct that the cost associated with any

18   pre-hurricane season activities have not been charged to the

19   storm accounts?

20        A    That is correct.

21        Q    When you initiate your pre-storm activities, am I

22   correct in assuming that is when you start charging costs to

23   the storm accounts?

24        A    The exact time frame is determined upon when a storm

25   account number is issued, and it varies with each and every

FLORIDA PUBLIC SERVICE COMMISSION

143

1   storm.

2        Q    Is it usually issued in the pre-storm phase?

3        A    At times it is issued both pre-storm and during the

4   storm, yes.

5        Q    If you know, once you started charging costs to the

6   storm accounts, am I correct the portions of your salary and

7   your staff's salary were charged to the storm account if they

8   were working on the hurricanes?

9        A    If they were working directly on hurricane work, that

10   is correct.

11        Q    Am I correct that immediately after the hurricanes

12   you had outside crews and Progress crews working 16 hours per

13   day?

14        A    Yes.

15        Q    And were these crews, outside crews and Progress

16   crews initially working seven days per week?

17        A    Yes, that is correct.

18        Q    How many days and/or months after the hurricanes did

19   your workers revert back to a ten hour day, six days a week?

20        A    I don't know that.

21        Q    Do you know when your department reverted back to

22   eight hour days, five days a week?

23        A    It varies with each individual for that department

24   and it would depend upon the storm role.  There may be

25   individuals that are more involved in the storm restoration

FLORIDA PUBLIC SERVICE COMMISSION

144

1   post or the distribution restoration aspect of it than others,

2   so there may be others that return to the eight hour day versus

3   other individuals that are working the ten hour days.

4        Q    Well, do you know what percentage of your work force

5   is working on ten hour days?

6        A    No, I do not.

7        Q    Do you know whether or not a majority of your crews

8   are back on normal work days with normal percentage of

9   overtime?

10        A    I would not know that, no.

11        Q    Am I correct that your normal budgets include an

12   assumption that you will have some percentage of overtime?

13        A    That is correct for our bargaining unit and nonexempt

14   personal.

15        Q    For your bargaining unit and nonexempt personnel?

16        A    And certain supervisory positions in the exempt, that

17   is correct.

18        Q    And that percentage of overtime includes overtime

19   hours for outside crews that Progress normally contracts with

20   as part of their normal operations, am I correct with that?

21        A    Could you restate the question?

22        Q    Certainly.  The percentage of overtime that is

23   included in your budget, that includes a component of overtime

24   for outside crews that Progress normally would contract with

25   during the normal course of its operations?

FLORIDA PUBLIC SERVICE COMMISSION

145

1        A    No, it does not.

2        Q    Outside crew contractors are a separate overtime

3   charge?

4        A    There is not -- the actual contractor charge is a

5   different bucket altogether.

6        Q    Okay.  Does that outside crew contractor item have

7   overtime calculated in there, as well?

8        A    No, it does not.

9        Q    Is the percentage of your normally budgeted overtime

10   somewhere in the range of 15 to 20 percent?

11        A    I don't know that number.

12        Q    Let me ask you, if you know, what percentage of

13   overtime did you run in distribution for the bargaining units

14   in January?

15        A    I do not know that.

16        Q    Do you know for February?

17        A    No, I do not.

18        Q    At the end of your testimony you include some photos

19   of downed poles, is that correct?

20        A    Yes.

21        Q    And Mr. Lyash at the service hearing showed some

22   pictures of some wooden poles that were blown down to the

23   ground.  Are you familiar with these pictures?

24        A    Yes, I am.

25        Q    Am I correct -- and these are Exhibit 8 to your

FLORIDA PUBLIC SERVICE COMMISSION

146

1   testimony, am I correct in that also?

2        A    These are what, I'm sorry?

3        Q    That is Exhibit 8 of your direct testimony?

4        A    Yes.

5        Q    Am I correct that the greatest stress on a wooden

6   pole in relation to the ground is approximately a third of the

7   way up the pole?

8        A    I do not know that.

9             MS. CHRISTENSEN:  I have no further questions.

10             CHAIRMAN BAEZ:  Mr. McWhirter.

11             MR. McWHIRTER:  Yes, sir.

12                          CROSS EXAMINATION

13   BY MR. McWHIRTER:

14        Q    On Page 13 you talk about planning activities

15   undertaken prior to arrival of the storm, and apparently

16   through the communications department you repeatedly alert

17   various people of the hurricanes coming and the impact the

18   storms might have on your facilities.  Do you know how the cost

19   of the people that are doing that were booked in 2004, whether

20   the cost of your regular employees were booked to O&M or to

21   storm damage?

22        A    No, I don't know.

23        Q    You are not responsible for most of the accounting

24   stuff?

25        A    No, sir.

FLORIDA PUBLIC SERVICE COMMISSION

147

1        Q    Okay.  I'm going to skip over those kind of

2   questions, then.  On Page 22 you begin talking about the

3   hurricane season, and let's first talk about Hurricane Charley.

4   That was one of the biggest ones.  You had to replace 667 miles

5   of primary and secondary wire, and 3,820 poles, and 1,880

6   overhead and underground transformers.  Where did you get that

7   wire and the poles and the transformers?

8        A    From material information.

9        Q    Does that mean that -- is that a department of your

10   company?

11        A    There is a material -- there is a material section of

12   our company, that is correct.

13        Q    And do you know whether that inventory of materials

14   was already in stock or something that you purchased for the

15   storm?

16        A    As a storm is coming into our service territory, as

17   part of our pre-storm planning we check our inventory to ensure

18   based upon the magnitude of the storm, which in turn allows us

19   to gauge the potential impact and damage associated with that.

20   Armed with that information we take a quick inventory of what

21   we have in stock or what we have in our warehouses and

22   determine whether we need to order more.  And in the case of a

23   Charley, we would contact our vendors to secure their

24   capabilities to provide us more material.

25        Q    Well, you have got 1,880 overhead and underground

FLORIDA PUBLIC SERVICE COMMISSION

148

1   transformers.  Are those easy to come by on the open market?

2   Do your suppliers have those on hand, or do most of these come

3   from your internal?

4        A    Well, there is the combination of what we had in

5   stock, what the manufacturer had in stock, and then what they

6   could secure from their various sources.  As an example, a lot

7   of utility companies have consignment as part of their material

8   stockpile, so the vendor would be able to have access or be

9   able to work with other utilities to be able to get access to

10   those transformers.

11        Q    From your position with the company you don't know

12   what portion of those transformers came from the material you

13   already had on hand?

14        A    No, sir.

15        Q    And are you responsible with purchasing or does some

16   other department handle that?

17        A    There is another department responsible for that.

18        Q    And I don't think there is any witness that will be

19   able to tell us about this, maybe Mr. Portuondo, but one of the

20   problems that the state faced was gouging on prices.  Do you

21   know whether your company faced any of that?

22        A    I wouldn't know that, sir.

23        Q    Now, you indicate that the restoration costs

24   attributable to Hurricane Charley on Page 23 were $108 million.

25   Where did you get that number?

FLORIDA PUBLIC SERVICE COMMISSION

149

1        A    That was provided through our accounting section to

2   me.

3             CHAIRMAN BAEZ:  Mr. McWhirter, can you and the

4   witness both get a little closer to your microphones.  I'm

5   having trouble hearing.

6             MR. McWHIRTER:  I wasn't on, I'm sorry.

7   BY MR. McWHIRTER:

8        Q    On Page 24 you say that Hurricane Frances cost

9   $95.8 million, but Mr. Portuondo in his Exhibit JP Number 1,

10   which has now been numbered Exhibit 24, he says the cost was

11   $118.6 million.  Do you know whether his $95 million is correct

12   or your 118 is correct?

13        A    I would delegate that to Mr. Portuondo.

14        Q    Whatever you got you relied on him?

15        A    Yes, sir.

16        Q    And it looks like about 87 percent of the total storm

17   costs were as a result of activities within the distribution

18   system.  Is that a fair evaluation as far as you know?

19        A    I don't know that percentage.

20             MR. McWHIRTER:  That's all the questions I have.

21             CHAIRMAN BAEZ:  Mr. Twomey.

22             MR. TWOMEY:  Yes, sir, just briefly.

23                          CROSS EXAMINATION

24   BY MR. TWOMEY:

25        Q    Mr. McDonald, you say in your summary of your

FLORIDA PUBLIC SERVICE COMMISSION

150

1   testimony at Page 3 that, as I understand it, amongst the

2   things the company wants to do is identify problems you had

3   during the storm and see how you can not only fix the system,

4   but fix it on a going-forward basis, right?  Identify problems

5   that you may have that you can fix in the future and avoid

6   further problems?

7        A    Could you help me to understand which part you are

8   referring to, please.

9        Q    At Line 3, Page 3, it ends with the company's attempt

10   to identify and correct further storm damage that was not

11   addressed during the restoration process.  You go on at 6, "I

12   will include the company's goals and priorities as it prepares

13   for response to and recovers from the storm impact on its

14   distribution system."  And I've got a question with respect to

15   that, and that is, is your distribution system rated for

16   certain wind levels?

17        A    Our distribution system is rated per the NESC at 60

18   miles an hour.  That is what the rating for that particular

19   system is, yes.

20        Q    Do I assume correctly that it was built to that

21   specification?

22        A    That is correct.

23        Q    Now, if you know, did the system in the storms that

24   you experienced stand up to those winds?

25        A    If you measure the type of response from our system

FLORIDA PUBLIC SERVICE COMMISSION

151

1   based upon the equipment that I am about to give you, then I

2   would say yes, it did.  And the point being is based upon the

3   number of poles that fell and were replaced we lost

4   approximately 6,700 poles, and take into consideration some of

5   those poles could be multiple, could have failed multiple times

6   based upon the hurricanes we saw.  But if you take it on just

7   face value that those were individual instances, that is less

8   than 7/10ths of a percent of our poles that failed.  If you

9   look at our transformers, we had approximately 1 percent of our

10   transformers that we replaced as a result of four catastrophic

11   hurricanes.  So, yes, I would say our system performed very

12   well.

13        Q    Not to belabor this, but where the poles fell, you

14   would have expected them to fall by the virtue of the wind

15   experienced in that area, is that generally correct?

16        A    Based upon the wind that you saw in that area, but

17   more importantly what caused the failure.  You know, was it

18   caused by a tree falling into the particular facility.  Was it

19   caused by aluminum shed that flies into the facilities, the

20   conductors, and then acts like a sail.  Based upon the wind

21   speed, and that sail, it pulls it over.  So there is a lot of

22   variables that go into whether a pole would fail or not.

23             MR. TWOMEY:  I see.  That's all I have.  Thanks.

24             CHAIRMAN BAEZ:  Staff.

25                          CROSS EXAMINATION

FLORIDA PUBLIC SERVICE COMMISSION

152

1   BY MS. RODAN:

2        Q    Please draw your attention to Page 21 of your

3   testimony, beginning at Line 6.  Here you discuss a change in

4   the storm plan that established a grading sheet for contract

5   crews.  Did you achieve any cost savings using the grading

6   sheet?

7        A    We released contract crews as we completed our

8   restoration efforts.  We released contract crews based upon the

9   quality and based upon the cost of those particular crews, so

10   we went by that prioritization when we released them.  We

11   didn't have a quantification of that, but, yes, based upon that

12   logic, the answer would be yes.

13        Q    Now, please direct your attention to staff's

14   consolidated exhibit, which has been marked and entered into

15   the record as Exhibit Number 6.  On Bates stamped page Numbers

16   95 through 96 is Progress Energy's response to staff's fourth

17   set of interrogatories Number 38.  Are you familiar with and

18   did you participate in the preparation of this response?

19        A    Yes, I did.

20        Q    In the response to Subsection A, the company

21   indicated that pole replacements that have already occurred due

22   to storm restoration activities would have occurred over the

23   next two years, is that correct?

24        A    That is correct.

25        Q    Does the company's response indicate that those

FLORIDA PUBLIC SERVICE COMMISSION

153

1   future activities which were to occur in 2005 and 2006 that no

2   longer need to occur are being fully adjusted out of the

3   company's request in this proceedings?

4        A    No.  What we are stating is that based upon the

5   priorities that we had established going into the storm we

6   would now take those funds and apply them towards the next

7   level on our prioritization list for pole maintenance.

8        Q    Is the adjustment for only one year or does it cover

9   multiple years?

10        A    It would cover multiple years.

11        Q    Would you agree subject to check that the adjustment

12   is for 2005 through 2006?

13        A    I'm sorry, ma'am, I didn't hear the first part of

14   your statement.

15        Q    Would you agree subject to check that the adjustment

16   is for 2005 through 2006?

17        A    I'm sorry, you are going to have to restate your

18   question.  I really apologize.

19        Q    Would you agree that the adjustment would cover 2005

20   and 2006?

21        A    Yes, ma'am.  I'm sorry.

22        Q    Did the company replace lightning arrestors as part

23   of its hurricane restoration activities?

24        A    Not during the normal restoration, but it is part of

25   the follow-up sweep effort, yes.

FLORIDA PUBLIC SERVICE COMMISSION

154

1        Q    Is the replacement of lightning arrestors a normal

2   activity?

3        A    A normal activities of what?  Day-to-day normal

4   activity, normal activity of sweeps, I'm not sure of your

5   question.

6        Q    Day-to-day normal activity?

7        A    Yes, it is.

8        Q    Under normal conditions, does the utility inspect its

9   system on a 100 percent basis every year?

10        A    Utilizing our interfaces through various means, we

11   interface with our facilities on an annual basis, yes.

12        Q    Is it possible that during post-hurricane sweeps the

13   company performed repairs that may not have been caused by the

14   hurricanes of 2004?

15        A    During the hurricane sweeps we made it very clear to

16   the individuals that performed this sweep that they were to

17   identify work that was a result of the hurricanes, and once

18   that work was identified or once those issues were identified,

19   that work was to become part of the sweep mitigation.

20        Q    Is it possible that the amount of tree trimming that

21   occurred during 2004 on a total basis was more than what the

22   utility would have otherwise accomplished?

23        A    Your question assumes -- the response to that

24   question is there was more money spent trimming trees during

25   2004 than what normally would be spent.  However, that money is

FLORIDA PUBLIC SERVICE COMMISSION

155

1   broken into two different categories.  One is production

2   trimming and one is restoration trimming.  Those are two

3   different types of trimming.  So when it comes to production

4   trimming, we spent at the same levels we had previously.

5        Q    Would it be reasonable to conclude that the

6   additional level of tree trimming during 2004 will put downward

7   pressure on near term future tree trimming activities?

8        A    No.  The type of trimming that was done during the

9   restoration efforts is spot trimming.  It is identifying those

10   individual trees/limbs that are interacting with our facilities

11   and hindering our ability to restore service, or those that are

12   identified during the tree sweeps that as a result of the

13   hurricanes could in the near term impact our facilities.  That

14   is not the production trimming that we do based upon the growth

15   patterns of the trees that occur in our right-of-ways.  So

16   there are two different types of efforts.  The expenditures in

17   one arena doesn't cause a change in the other arena.

18             MS. RODAN:  Thank you.  No further questions.

19             CHAIRMAN BAEZ:  Commissioners, questions?

20             Redirect.

21             MR. WALLS:  Just a couple of follow-up questions.

22                        REDIRECT EXAMINATION

23   BY MR. WALLS:

24        Q    Mr. McDonald, you were asked about the answer to the

25   interrogatory in staff's discovery regarding the pole

FLORIDA PUBLIC SERVICE COMMISSION

156

1   replacement, and is the gist of your answer that that money

2   will be used to replace poles elsewhere on your testimony?

3        A    That is correct.

4        Q    And can you explain why the pole replacement that

5   occurred during the hurricane restoration process didn't

6   displace your pole replacement program as part of your

7   maintenance?

8        A    We have over 1.1 million poles.  If you remember, I

9   said less than 7/10ths of a percent of our poles were impacted.

10   So we have 99.3 percent of the remaining population that we

11   will continue our maintenance programs on.

12        Q    And is the work that occurred during the hurricanes,

13   the damage you saw, is that the type of work to correct that

14   damage that would displace your maintenance?

15        A    No, it is not.

16        Q    And can you explain why it wouldn't be?

17        A    The type of work that was done during the restoration

18   period was purely to restore our facilities to the pre-storm

19   condition, both restoration and to the pre-storm operating

20   condition.  The type of maintenance we would do would be

21   focused on the long-term optimization of life cycle, the

22   reduction of faults, or the mitigation of interruptions, one of

23   those three areas, which is not the area that we focused on

24   during the restoration efforts.

25        Q    And why does the company have to go back in what you

FLORIDA PUBLIC SERVICE COMMISSION

157

1   call the sweeps work and do that work to put the system back

2   into pre-storm condition?

3        A    We were focused on during the restoration arena, we

4   were focused on restoring service as quickly as possible to our

5   customers.  We want to maintain a state of normalcy, return

6   them to a state of normalcy.  In those efforts, we restore in a

7   fashion that doesn't return it to its original state

8   pre-hurricane, which is a state that allowed us to have a 25

9   percent reduction in our SAIDI performance.  So we have

10   expectations from our customers that is non-hurricane related

11   that we have to return to.  So at the conclusion of that

12   restoration of a hurricane, we need to return our facilities to

13   that pre-hurricane condition to provide that same level of

14   service we provided in the past or pre-hurricane.

15             MR. WALLS:  No further questions.

16             CHAIRMAN BAEZ:  Mr. Walls, I have Exhibits 9 through

17   16?

18             MR. WALLS:  Yes.  At this time we would move Mr.

19   McDonald's Exhibits 9 through 16 into evidence.

20             CHAIRMAN BAEZ:  Without objection show them admitted

21   into the record.

22             (Exhibits 9 through 16 admitted into record.)

23             CHAIRMAN BAEZ:  Thank you, Mr. McDonald.

24             THE WITNESS:  Thank you.

25             MR. WALLS:  At this time we would call Sarah Rogers.

FLORIDA PUBLIC SERVICE COMMISSION

158

1                           SARAH S. ROGERS

2   was called as a witness on behalf of Progress Energy Florida,

3   and having been duly sworn, testified as follows:

4                         DIRECT EXAMINATION

5   BY MR. WALLS:

6        Q    Ms. Rogers, will you please introduce yourself to the

7   Commission and provide your address?

8        A    Yes.  My name is Sarah Rogers.  I am the

9   Vice-President of Transmission for Progress Energy, and my

10   address is 100 Ease Davey Street, Raleigh, North Carolina

11   27601.

12        Q    And who do you work for and what is your position?

13        A    I work for Progress Energy Carolina, and I am the

14   vice-president over the transmission systems in the states of

15   North Carolina, South Carolina, and Florida.

16        Q    Have you filed prefiled testimony and exhibits in

17   this case?

18        A    I have.

19        Q    And do you have any changes to make to your prefiled

20   testimony at this time?

21        A    Yes, I do.

22        Q    Can you tell us what those are?

23        A    Yes.  On Page 1, Line 3, I am actually currently

24   employed by Progress Energy Carolina as opposed to Progress

25   Energy Florida.  And then on 4, my business address as stated

FLORIDA PUBLIC SERVICE COMMISSION

159

1   earlier is 100 East Davey Street, Raleigh, North Carolina.  And

2   on Line 8, my title is now just Vice-President of Transmission.

3   You can strike the first Florida, and I am employed by Progress

4   Energy Carolina.

5        Q    At the time you filed your prefiled testimony, was

6   that your position, though?

7        A    That was my position at the time, that is correct.

8        Q    Do you have any other changes to your testimony?

9        A    I do not, no.

10        Q    And if I asked you the same questions in your

11   prefiled testimony today, would you have the same answers that

12   are in your testimony?

13        A    Yes, I would.

14             MR. WALLS:  We request at this time that Ms. Rogers'

15   prefiled testimony be moved into evidence as if it was read.

16             CHAIRMAN BAEZ:  Without objection show the direct

17   testimony of Sarah Rogers entered into the record as though

18   read.

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

184

1   BY MR. WALLS:

2        Q    Ms. Rogers, do you have a summary of your testimony?

3        A    I do.

4        Q    Will you provide that to the Commission at this time?

5        A    Yes, I will.  My name is Sarah Rogers, and I am

6   employed by Progress Energy Carolina.  I am the Vice-President

7   of Transmission for Progress Energy Carolina, Inc.  I am also

8   the Transmission System Coordinator for the company's

9   transmission system in the event of a severe storm or other

10   disaster.

11             The goal of our transmission storm plan is to enable

12   us to quickly assess damage on the transmission system, to

13   determine the manpower and other requirements needed to correct

14   this damage, and to initiate the appropriate restoration

15   process.  To achieve this goal, our storm plan is divided into

16   phases for storm preparation and response that allows us to

17   begin to prepare for hurricanes up to 120 hours before a

18   hurricane strikes and to track and assess the damage as the

19   storm passes through our service territory.  The plan enables

20   us to quickly prioritize restoration work and begin repair

21   efforts to efficiently and safely restore electric service.

22             We implemented our storm plan four times for

23   Hurricanes Charley, Frances, Ivan, and Jeanne in 2004.  These

24   hurricanes caused widespread outages as severe winds knocked

25   hundreds of miles of transmission lines and hundreds of

FLORIDA PUBLIC SERVICE COMMISSION

185

1   substations out of service over the course of four hurricanes.

2   The damage to our transmission lines and equipment was also

3   severe, requiring us to engage and manage massive numbers of

4   line personnel and tree personnel, vehicles, equipment and

5   materials in this restoration effort.

6             As an overview, 700 miles of transmission line and 83

7   substations were out of service, and 630 transmission

8   structures were knocked down or damaged during Hurricane

9   Charley.  1,131 miles of transmission lines and 105 substations

10   were out of service, and we had to replace or repair 211

11   transmission structures during Hurricane Frances.  And,

12   finally, we had 853 miles of transmission lines and 86

13   substations out of service with 75 damaged structures during

14   Hurricane Jeanne.  Despite these extraordinary conditions, we

15   were able to restore lines and substations to service in record

16   time often beating our own internal restoration goals.

17             After we restore service, however, we must go back

18   and repair damage caused by the hurricanes that we bypassed in

19   our efforts to restore power as quickly as possible.  The goal

20   of this work is to put the transmission system back in the

21   condition that it was prior to the hurricanes.  We expect to

22   complete this work by the end of the second quarter of this

23   year.

24             We believe our storm plan proved to be an effective

25   and efficient tool to restore customer service as quickly as

FLORIDA PUBLIC SERVICE COMMISSION

186

1   possible during this unprecedented hurricane season.  We are

2   also very proud of the response of our employees in the

3   transmission area for their hard work in making our storm plan

4   work during these four hurricanes.  That concludes my summary.

5             MR. WALLS:  At this time we would tender Ms. Rogers

6   for cross-examination.

7             CHAIRMAN BAEZ:  Thank you, Mr. Walls.

8             Ms. Christensen.

9                          CROSS EXAMINATION

10   BY MS. CHRISTENSEN:

11        Q    Good afternoon, Ms. Rogers.  As Vice-President of

12   Transmission, part of your job requirement is the coordination

13   of storm recovery for the transmission system, is that correct?

14        A    That is correct, yes.

15        Q    Am I correct in understanding that your transmission

16   department storm plan is used mainly for hurricanes?

17        A    That would not be correct.  It is also used for ice

18   storms.  It covers both the Carolinas and Florida.

19        Q    Okay.  But that would not cover your average

20   thunderstorm type of activity?

21        A    No, it would not.

22        Q    So during thunderstorms where you may have damage to

23   substations or transmission lines, you would not implement that

24   storm plan?

25        A    That is correct.

FLORIDA PUBLIC SERVICE COMMISSION

187

1        Q    When you implement the storm plan prior to the

2   hurricane, the plan consists of four phases, am I correct?

3        A    I believe so.

4        Q    And these four phases are pre-season activities,

5   pre-storm activities, damage assessment and repair, and

6   recovery followup activities, am I correct?

7        A    That is correct, yes.

8        Q    And as part of your storm plan, would you agree that

9   every year you engage in pre-season activities?

10        A    Yes, it is.

11        Q    And since these pre-season activities occur on a

12   yearly basis, am I correct that these costs associated with the

13   pre-season activities are included in you figuring the annual

14   budget?

15        A    That is correct, yes.

16        Q    And so the cost associated with the pre-season

17   activities are not charged to the storm accounts, am I correct?

18        A    That is correct, yes.

19        Q    When you initiate the pre-storm activities, is that

20   when you begin to charge to the storm accounts?

21        A    I am going to give you a similar answer to Mr.

22   McDonald, it really depends upon the storm.  I believe in

23   Charley, the storm numbers were activated during the storm, but

24   I think subsequently for Frances, Jeanne, and Ivan they were

25   initiated prior to the actual storm hitting in the 2004 season.

FLORIDA PUBLIC SERVICE COMMISSION

188

1        Q    Once you start charging costs to the storm accounts,

2   weren't portions of your salary and your staff's salary charged

3   to the storm accounts, those portions for persons working on

4   hurricane related items?

5        A    If we were working directly on the hurricane they

6   were charged to the hurricane charge numbers.

7        Q    Am I correct that immediately after the hurricanes

8   you had outside crews assigned to transmission and Progress

9   crews assigned to transmission?

10        A    That is correct, yes.

11        Q    And were these crews working 16-hour days immediately

12   after the hurricanes?

13        A    Yes, they were.

14        Q    And were they working seven days a week?

15        A    In most cases, yes.  We tried to provide them with a

16   rest day every seven days or so.

17        Q    If you know, how many days or months after the

18   hurricanes did your workers revert back to ten hour days, six

19   days per week?

20        A    Did they revert back to seven --

21        Q    To ten hour days six days a week.  When was the first

22   scale back for hours and days that the crews were working?

23        A    For the most part they still are working those hours

24   in Florida to do the catch-up work and also to finish the

25   restoration work.

FLORIDA PUBLIC SERVICE COMMISSION

189

1        Q    So which hours are they still currently working?

2        A    Well, they work ten hour days and they are working

3   five to six days a week.

4        Q    Okay.  And do you know what percentage of your work

5   force is on that type of schedule?

6        A    I do not know the exact percentage, but the majority.

7        Q    Okay.  Is that for the line crews?

8        A    Yes, it is.

9        Q    Am I correct that your normal budget includes

10   assumptions for some percentage of overtime?

11        A    Yes, it does.

12        Q    And that percentage of overtime includes some

13   overtime for outside crews who are normally contracted with

14   Progress for normal operations?

15        A    No, it does not.  Our contract crews are bid by job,

16   so whether the contractor chooses to pay them overtime or not

17   is up to them, but we pay one flat fee for the job.

18        Q    Okay.  Returning to Progress crews, is the percentage

19   of normally budgeted overtime somewhere in the range of 15 to

20   20 percent?

21        A    No, it is not.

22        Q    If you know, what is that percentage?

23        A    It is less than 10 percent.  It is between 5 and 10.

24        Q    Are you familiar -- well, at the end of your

25   testimony you included some pictures of downed power poles, is

FLORIDA PUBLIC SERVICE COMMISSION

190

1   that correct?

2        A    That is correct.

3        Q    And Mr. Lyash had shown some pictures of wooden

4   transmission poles that were blown down at the ground level

5   during the service hearings.  Are you familiar with those

6   pictures?

7        A    I was not at the service hearings that you are

8   referring to.

9        Q    Let me ask you, are you familiar with -- I mean, I

10   can show you copies of those pictures.  They were attached to

11   Mr. McDonald's testimony, Exhibit 8.  Have you taken a look at

12   those pictures?

13        A    I have not.

14        Q    Well, let me ask you this, are you familiar with

15   wooden poles?

16        A    I am, yes.

17        Q    Let me ask you about wooden poles, then.  Am I

18   correct that the greatest stress on a wooden pole in relation

19   to the ground is approximately a third of the way up?

20        A    An unloaded pole with no conductors on it, that would

21   be a true answer, yes.

22        Q    Okay.  Now, let me ask you would you agree that for a

23   pole in good condition, even with the equipment on it, that the

24   most likely place you would see damage due to wind sheer is a

25   third of the way up from the ground?

FLORIDA PUBLIC SERVICE COMMISSION

191

1        A    I would not agree with that, no.

2        Q    And that is because?

3        A    Because a fully loaded pole has a different torque

4   arm than an unloaded pole.  So a fully loaded pole with

5   conductors and insulators is going to behave differently

6   depending upon the wind sheer.

7        Q    Where would you expect that to break most often?

8        A    I'm not able to answer that question.

9        Q    Is it correct that termites tend to attack wooden

10   poles at the first foot below the surface of the ground?

11        A    I don't know the answer to that.

12        Q    If the pole is buried 15 feet into the ground, is it

13   likely that when that pole is knocked over that it will be

14   knocked over flat at the ground level?

15        A    It depend on what knocks it over.

16        Q    If it was knocked over due to wind or other type of

17   damage, is that likely?

18        A    It is likely that it will break at ground level, that

19   is correct, but it is just as likely it will break above ground

20   level.

21        Q    So you are unable to exactly predict where you would

22   see the most damage on the poles?

23        A    That is correct.

24             MS. CHRISTENSEN:  No further questions.

25             CHAIRMAN BAEZ:  Mr. McWhirter.

FLORIDA PUBLIC SERVICE COMMISSION

192

1                          CROSS EXAMINATION

2   BY MR. McWHIRTER:

3        Q    Ms. Rogers, you received a Bachelor of Science in

4   Electrical Engineering from San Diego State University and a

5   Masters of Business Administration from Duke University?

6        A    That is correct.

7        Q    And I would presume from that you are well-grounded

8   in accounting and statistics?

9        A    That is a subjective answer.  It depends on relative

10   degrees.

11        Q    You don't want to brag, do you?  And you supervise

12   the entire transmission system both in North Carolina and

13   Florida?

14        A    And South Carolina.

15        Q    And South Carolina.  And when the companies merged,

16   did you replace somebody that had an equivalent function just

17   for Florida?  How did that work?

18        A    Prior to the merger, I was the Vice-President of

19   Transmission for the Carolinas.  After the merger, I moved to

20   Florida as the vice-president of transmission Florida, and then

21   more recently I was named vice-president over both territories.

22        Q    And was a position eliminated when you undertook that

23   responsibility?

24        A    The latest position?  Yes, it was.

25        Q    On Page 2 of your testimony you talk about -- on Line

FLORIDA PUBLIC SERVICE COMMISSION

193

1   13 your storm plan deals with pre-season activities, pre-storm

2   activities, and recovery follow-up activities.  Which of those

3   activities is included in the cost for storm damage

4   cost-recovery?

5        A    Pre-season storm activities -- I'm sorry.  What is

6   included are pre-storm difficulties, damage assessment and

7   repair, and recovery follow-up actions.

8        Q    So pre-season is not included, but the other two are?

9        A    That is correct.  If we do pre-storm activities and

10   the storm does not strike the service territory, then that

11   activity doesn't get charged to a storm.  So if we prepare for

12   a hurricane that doesn't hit our territory, then we have to

13   absorb those pre-storm activities.

14        Q    In your normal O&M budget as opposed to a storm

15   budget?

16        A    That is correct.

17        Q    And then when a storm hits, the storm budget picks up

18   all the costs and you are relieved of your normal costs?

19        A    That is correct.

20        Q    I would presume in anticipation of storms you have

21   contractors that you can readily call upon to supplement your

22   regular crews, is that correct?

23        A    That is correct, yes.

24        Q    And are you the person responsible for negotiating

25   those contracts?

FLORIDA PUBLIC SERVICE COMMISSION

194

1        A    No, I'm not.

2        Q    Do you have any knowledge of the basic terms of those

3   contracts?

4        A    I have basic knowledge of those basic terms.

5        Q    Do you have contracts between Progress Energy of

6   Florida and Progress Energy of Carolina for sending Carolina

7   crews to Florida?

8        A    We do not have contracts in place.

9        Q    But I presume your first tier of relief when you need

10   additional help would be to bring them to Florida from North

11   Carolina?

12        A    Our first tier of relief is to use the contractors

13   that are currently on our system that are typically performing

14   construction activities, then we typically ask those

15   contractors if they can make available more personnel, then we

16   go to our sister utility in the Carolinas, and then we go

17   outside of our system.

18        Q    Are the contracts when they are doing storm work, do

19   they have different payment terms for storm work than they have

20   for regular construction work?

21        A    When you say they, do you mean the contractors?

22        Q    The contractors, yes?

23        A    No, they do not.

24        Q    So if you had a contractor that was doing regular

25   construction work and that same contractor was doing storm

FLORIDA PUBLIC SERVICE COMMISSION

195

1   work, the prices paid would be the same?

2        A    Essentially.  A lot of our contract jobs are bid as a

3   lump sum, but, they have published what their hourly rates are,

4   so we pay them their hourly rates for the storm duty.

5        Q    And you don't negotiate those contracts, but you are

6   essentially familiar with their terms?

7        A    Correct.

8        Q    Now, with respect to the people that come down from

9   Carolina, how is that handled financially?

10        A    We cover their hourly wages, their food, their

11   vehicle costs, their lodging.

12        Q    And then what happens up in Carolina with respect to

13   the money they would have been paid by the Carolina affiliate?

14   How does it book those costs?  Does it reduce its normal O&M

15   cost or --

16        A    No, it does not, because much like ourselves, they

17   have work that they have to make up when they go back.  So they

18   are either bringing in off-system contractors to supplement the

19   work for us or they are working extended hours to make up.

20        Q    Are those people paid by the Carolina utility or are

21   they paid by the Florida affiliate?

22        A    They are paid by the Carolina utility.

23        Q    And so the Florida utility sends the money to the

24   affiliate in Carolina and it handles arrangements however it

25   has to with its employees?

FLORIDA PUBLIC SERVICE COMMISSION

196

1        A    That is correct.

2        Q    And then is the opposite true, when Carolina people

3   come down to Florida -- strike that one.  When Florida people

4   go up to Carolina, that is the opposite, you continue to pay

5   their standard salaries plus their standard overhead from

6   Florida rather than Carolina, right?

7        A    Actually that has never happened in the four years I

8   have been down here, so I'm not exactly sure.

9        Q    Florida has never sent crews to Carolina?

10        A    In the transmission department we have never sent

11   crews to the Carolinas.  They have never had sufficient damage

12   to require them.

13        Q    I thought you had bad storms up in Carolina, but you

14   don't need people from Florida, huh?

15        A    On the distribution side that has happened.

16        Q    Do you know how those prices are handled?

17        A    I do not.

18        Q    And your total cost that you are seeking in storm

19   recovery in this case is $60 million for the four storms.  Are

20   you the one that framed that number, or did it come from your

21   accounting department?

22        A    It came from the accounting folks.

23        Q    And did you independently verify the numbers or did

24   you deal with the numbers at all?

25        A    Not personally, no.

FLORIDA PUBLIC SERVICE COMMISSION

197

1        Q    Now, go to Page 16 of your testimony, and I will read

2   beginning at Line 6.  It says -- you're talking about things

3   that happened when there is a storm, and the line is broken or

4   knocked down.  It says, "This shield wire protects the main

5   conductor from direct lightning strikes, but is not essential."

6   So you don't do anything to that.  And where the shield wire

7   was broken or knocked down, it was cut down completely during

8   restoration work and the main conductor was restored or

9   replaced.  Tell me what is going on there, I don't really

10   understand that.

11        A    What we are doing is we are sacrificing restoring the

12   system to its normal condition for speed, so it is quicker to

13   go ahead and string the conductors that carry the electricity

14   and energize the line and go back later to put the protective

15   shield wire back on to protect the system during the lightning

16   season.

17        Q    And then you go back and do your permanent

18   replacement?

19        A    That is correct.

20        Q    Is anything done -- and you may not know this.  Is

21   anything done with respect to the way that the value that that

22   line and conductor -- and I will call it transmission pole, but

23   I know that is wrong.  But is there anything that happens in

24   the books of the company from your knowledge, the accounting

25   function that changes the way that equipment appears on the

FLORIDA PUBLIC SERVICE COMMISSION

198

1   company's books?  In other words, is it capitalized as opposed

2   to just disregard those costs for capital purposes?

3        A    I don't know the answer to that.

4        Q    Do you have any knowledge from your engineering

5   background and from your accounting background, when you finish

6   your restoration work, what percentage of that work would

7   normally be booked to capital work as opposed to normal O&M

8   costs, or extraordinary O&M costs?

9        A    I do not know the answer to that.

10             (Transcript continues in sequence with Volume 3.)

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

199

1

2   STATE OF FLORIDA    )

3                       :              CERTIFICATE OF REPORTER

4   COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Office of Hearing

6   Reporter Services, FPSC Division of Commission Clerk and

Administrative Services, do hereby certify that the foregoing

7   proceeding was heard at the time and place herein stated.

8             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

9   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

10   proceedings.

11             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

12   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

13   the action.

14             DATED THIS 31st day of March, 2005.

15

16             ___________________________________________

JANE FAUROT, RPR

17             Chief, Office of Hearing Reporter Services

FPSC Division of Commission Clerk and

18                       Administrative Services

(850) 413-6732

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION