1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 010503-WU

3        In the Matter of

4   APPLICATION FOR INCREASE IN WATER

RATES FOR SEVEN SPRINGS SYSTEM IN

5   PASCO COUNTY BY ALOHA UTILITIES, INC.

_____________________________________/

6

7

8             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

9               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

10

11

12

PROCEEDINGS:        AGENDA CONFERENCE

13                       ITEM NO. 16

14

BEFORE:             CHAIRMAN BRAULIO L. BAEZ

15                       COMMISSIONER J. TERRY DEASON

COMMISSIONER RUDOLPH "RUDY" BRADLEY

16                       COMMISSIONER CHARLES M. DAVIDSON

COMMISSIONER LISA POLAK EDGAR

17

18   DATE:               Tuesday, May 31, 2005

19

PLACE:              Betty Easley Conference Center

20                         Room 148

4075 Esplanade Way

21                       Tallahassee, Florida

22

REPORTED BY:        JANE FAUROT, RPR

23                       Chief, Office of Hearing Reporter Services

FPSC Division of Commission Clerk and

24                         Administrative Services

(850) 413-6732

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1   PARTICIPATING:

2             RALPH JAEGER, ESQUIRE, PATTI DANIEL, JOE JENKINS, and

3   TOM WALDEN, representing the Commission Staff.

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                        P R O C E E D I N G S

2             CHAIRMAN BAEZ:  We are on Item 16.

3             MS. DANIEL:  Commissioners, I'm Patti Daniel on

4   behalf of staff.  Item 16 is a post-hearing recommendation

5   addressing the issues raised by the customers' protest of the

6   Commission order requiring Aloha to improve its quality of

7   service.  Issue 1 addresses whether the 0.1 milligram per liter

8   criteria should be expressed as a goal or a maximum contaminant

9   level and where compliance should be assessed.

10             Issue 2 addresses whether Aloha should be required to

11   remove the hydrogen sulfide in their raw water as opposed to a

12   treatment process that would convert or oxidize the hydrogen

13   sulfide.  Staff has a primary and an alternate recommendation

14   for this issue, and Mr. Joe Jenkins will address the alternate

15   recommendation.

16             Issue 3 addresses the number and frequency of testing

17   necessary to determine compliance with the 0.1 milligram per

18   liter criteria and the reporting requirements.

19             Issue 4 is a legal issue as to whether the Commission

20   has the authority to regulate drinking water standards.  Mr.

21   Ralph Jaeger will address that issue.

22             And, Commissioners, we recommend that you go

23   issue-by-issue on this item.

24             CHAIRMAN BAEZ:  Commissioners, if there is no

25   objection, I think we will take staff's recommendation on going

FLORIDA PUBLIC SERVICE COMMISSION

4

1   issue-by-issue.

2             Issue 1, are there questions?

3             COMMISSIONER BRADLEY:  Which page is Issue 1 on?

4             CHAIRMAN BAEZ:  I'm looking at Page 4, Commissioner,

5   of the recommendation.

6             COMMISSIONER BRADLEY:  Just a minute.  Okay, I'm

7   ready.

8             CHAIRMAN BAEZ:  Very well.  Questions?

9             COMMISSIONER DEASON:  Mr. Chairman, I don't have a

10   question.  I can move staff's recommendation.

11             CHAIRMAN BAEZ:  Very well.  Do you have questions,

12   Commissioner Edgar?

13             COMMISSIONER EDGAR:  Give me just a moment.

14             CHAIRMAN BAEZ:  Absolutely.

15             COMMISSIONER EDGAR:  I'm trying to understand better

16   the point of sampling.  And if the testing or sampling is done

17   at the plant site or field site, how we have the knowledge that

18   the water quality is not somehow being affected by the

19   distribution system.  And there is some discussion in the item

20   about it being difficult to do testing or sampling at the

21   meter, or what I think of, basically, as the property line.

22   But there is just such a small amount of information in the

23   item discussion about why or why not the sampling at that meter

24   would be difficult or problematic.

25             So I guess I would like to hear a little more

FLORIDA PUBLIC SERVICE COMMISSION

5

1   information from staff about why it would not be manageable to

2   do the sampling at that point.

3             MS. DANIEL:  Commissioner Edgar, I can take a stab at

4   that, if you would like.  The problems with testing at the

5   customer meter are logistic ones.  It's going to require, to

6   some degree, messing up the customers' lawns a little bit.  We

7   are concerned with the ongoing customer relations between Aloha

8   and the individual customers, and the customers' potential

9   reluctance to have their yard being the one where that testing

10   is occurring.  So our concern with the testing at the meter, a

11   great deal of it has to do with logistics.  And we believe that

12   the existing bacteriological test sites which are out in the

13   distribution system offer all of the advantages and none of the

14   downside that the testing at the customer meter would offer.

15             CHAIRMAN BAEZ:  Go ahead, Commissioner.

16             COMMISSIONER DAVIDSON:  Thank you, Chairman.

17             A follow-up question on that.  Do we know that if the

18   testing does not occur at the meter that we are not going to

19   hear arguments, or that the Commission is not going to hear

20   arguments down the road that something in the distribution

21   system has polluted the water?  The question goes to the issue

22   of if testing is not done at the meter and something can occur

23   from testing point to the home, that issue would still have to

24   be resolved.

25             MS. DANIEL:  Commissioners, to say that we don't

FLORIDA PUBLIC SERVICE COMMISSION

6

1   expect to have any problems would be naive, to say the least.

2   With this case, with the background of animosity between the

3   utility and customers, anything could happen.  However, that

4   having been said, we believe that the bacteriological test

5   sites are distributed throughout the system sufficiently and

6   that staff is recommending that enough tests be conducted that

7   we believe we're going to get a good representation of what is

8   going on out in the distribution system, so that it will tell

9   us whether or not that hydrogen sulfide continues to create a

10   problem.

11             COMMISSIONER DAVIDSON:  Have any of the customers

12   been surveyed as to whether they would be willing to have

13   testing done at their property, part one; and, part two, have

14   discussions been had with Aloha as to whether they would be

15   willing to test at the meter, but also sort of repair any yard

16   damage that may occur?  Meaning they would be responsible for

17   proper testing and not, sort of, tearing up someone's lawn

18   without repairing that.

19             MR. JAEGER:  Commissioner Davidson, there is nothing

20   in the record in this case.  But in the past we have customers

21   about coming into their yard, and they said no.  Not only no,

22   but you know what.  And when we did a survey back in 1999, I

23   think it was, we went to some representative customers' homes,

24   and they had volunteered to have us come in, and then several

25   of them complained later because Aloha did not put it back

FLORIDA PUBLIC SERVICE COMMISSION

7

1   exactly the way it was, and they had to put a faucet up by the

2   meter.

3             So it is not in the record, and it is just the

4   fragile condition of Aloha's relationship with its customers,

5   we were afraid that it would just cause more problems if we

6   tried to find volunteers.  And then the volunteers may be

7   clustered, they may be, you know, customers that are -- I think

8   Mr. Wood did testify about the lead and copper being -- there

9   is a big hole in the middle of Trinity where there was not

10   testing.  And we were afraid that, again, we would have

11   customers that would volunteer, and we wouldn't get a

12   cross-section like you will get with the bacteriological test

13   sites.

14             So there is that problem with, you know, even if

15   Aloha says they will try, and they could try and they could

16   hire landscaping, they are still going to have to cut into

17   their yard or put up an unsightly faucet or hose bib, or that

18   is possible, and staff just thought that would be a nightmare.

19             CHAIRMAN BAEZ:  Commissioner Edgar, did you have

20   other questions?  No.

21             I have maybe a couple.  In terms of your level of

22   comfort with using the field sites rather than risking the

23   downsides of testing at the meter, I want to try and clear it

24   up in my head.  When we speak of testing at the meter, we are

25   always testing not behind the meter, but on the company's side

FLORIDA PUBLIC SERVICE COMMISSION

8

1   of the meter, is that correct?

2             MR. JAEGER:  I believe the way the rule said, it is

3   at the outlet side, behind the meter.  But, I mean, it is

4   really -- there is something else that is not in the record,

5   also, about the meters having some, maybe copper flange, but

6   that is not in the record.  But, basically, the utility's

7   responsibility is to the outlet side of the meter.  But I don't

8   know whether they put the faucet or hose bib on which side of

9   the meter.

10             Tom, do you have something on that?

11             MR. WALDEN:  I believe that Mr. Jaeger is correct

12   citing the rule, that the outlet side of the meter is where the

13   company's responsibility ends.  I don't think it would make any

14   difference if you tested immediately in front of the meter or

15   immediately behind the meter, you would still need some way to

16   access water from the customer service line.

17             CHAIRMAN BAEZ:  I realize that, Tom.  But I guess I'm

18   trying to get an idea of -- for us, at least in my mind, to be

19   able to say, you know what, because of the downsides that

20   Ms. Daniel has pointed out, and they are real, I mean, I don't

21   think anyone would dispute that, that even testing at the field

22   sites is a reasonable proxy for what we would all understand

23   the alternative of testing at the meter is.  That there is no

24   significant difference between testing at the meter, I mean, in

25   a technical sense, there is no significant difference between

FLORIDA PUBLIC SERVICE COMMISSION

9

1   testing at the meter and using the field sites.  Is that your

2   feeling, is that your level of comfort?

3             MR. WALDEN:  Yes, sir, that is exactly the position

4   of staff.

5             CHAIRMAN BAEZ:  Okay.  Commissioners, I don't have

6   any other questions.

7             COMMISSIONER EDGAR:  Just a comment.  I do recognize

8   many of the concerns that you have expressed about the

9   logistics, but it just seems to me that it would be in the best

10   interest of all, the company, the customers, the Commission,

11   and anybody else that is interested for there to be additional

12   information available about the water quality at certain

13   junctures of that point where the jurisdiction basically

14   changes, which, again, I view it as at the meter.

15             CHAIRMAN BAEZ:  And one more clarification.  Does our

16   decision on this issue, and assuming what you all have

17   recommended is adopted, is there any limitation on the

18   establishment of new test sites, new field points, field

19   testing points?

20             MR. JAEGER:  I believe we did leave it open about

21   meeting the goal does not relieve Aloha from ultimately

22   addressing the black and smelly water and take additional

23   action as appropriate in the future to address customer

24   complaints.  So I think what we were trying to do in the last

25   part of that recommendation was leave it open.  And if this

FLORIDA PUBLIC SERVICE COMMISSION

10

1   isn't working, or something needs more to be done, then we

2   would come back and do more.

3             CHAIRMAN BAEZ:  Including additional testing sites.

4   Even though we may not go to the meter as a practical matter,

5   the Commission does retain the authority -- that is an

6   open-ended question, I guess.  We can still say, you know what,

7   the testing sites that exist now are not adequate, and we would

8   like to see more, or have them moved around.  Is that still our

9   capability?

10             MR. JAEGER:  I believe that is what staff was

11   planning, we would come back to you as needed if more needs to

12   be done.

13             CHAIRMAN BAEZ:  Commissioners, questions or a motion?

14             COMMISSIONER DEASON:  Move staff's recommendation.

15             COMMISSIONER BRADLEY:  Second.

16             CHAIRMAN BAEZ:  Moved and seconded.  All those in

17   favor say aye.

18             COMMISSIONER DEASON:  Aye.

19             COMMISSIONER DAVIDSON:  Aye.

20             CHAIRMAN BAEZ:  Aye.

21             COMMISSIONER BRADLEY:  Aye.

22             CHAIRMAN BAEZ:  All those nay?

23             COMMISSIONER EDGAR:  No.

24             CHAIRMAN BAEZ:  Okay.  Show that four/one.

25             Issue 2.

FLORIDA PUBLIC SERVICE COMMISSION

11

1             And I guess at the outset, Ms. Daniel, and Mr.

2   Jenkins, if we could have you kind of tee up for us what the

3   differences are.  I mean, I can see that they are both going in

4   a certain direction.  If you can just point out for us and for

5   the record what subtle differences there may be, or perhaps not

6   so subtle.

7             MS. DANIEL:  Commissioners, because of the way the

8   issue is framed, the primary staff recommendation specifically

9   addresses removal or conversion.  Some of the staff had some

10   strong feelings about the bottom line, basically, of customer

11   complaints.  And Mr. Jenkins developed a recommendation that

12   addressed that bottom-line concern.

13             MR. JENKINS:  Yes.  Commissioners, on the alternative

14   for Issue 2, it agrees with the primary as far as hydrogen

15   peroxide be given a chance to work.  After that, there are

16   three major differences.  The first difference in the

17   alternative is focus.  While the primary focuses overall on

18   measurement and testing and frequency and testing locations,

19   the alternate focuses on clearing up the smelly water, the

20   black water, reducing that to what is called uncommon

21   occurrence, you might call it a just-fix-it type approach.

22             The second difference is if it is not fixed by

23   November 2006, the company is to begin a removal process.

24   Construction to remove the hydrogen sulfide and to be finished

25   with that construction, including testing and optimization, by

FLORIDA PUBLIC SERVICE COMMISSION

12

1   November 2007.

2             The third difference is that the design and

3   permitting, and this may be exceptionally controversial, the

4   design and permitting is to begin now so that construction, if

5   needed, can begin on November 2006.  And the alternate

6   recognizes that has a cost, and we may waste money, and it may

7   not be needed if hydrogen peroxide does work.  Of course, the

8   obvious downside is if hydrogen peroxide does work, then that

9   money spent would have been for naught.

10             The impetus behind this alternative is that any time

11   you have sulfur in the water, whether it is sulfide, sulfate or

12   elemental sulfur, it recombines, transforms in the house,

13   creating black water or smelly water.

14             CHAIRMAN BAEZ:  Commissioners, questions?

15             And I appreciate your summary, Mr. Jenkins.  And I

16   guess my question is, Ms. Daniel, the primary recommendation,

17   what kind of limitations does it place on the Commission to be

18   able to maintain just fix it as a goal, although I recognize

19   that it doesn't, you know, there is an adoption of conversion

20   as a concept going forward, what kind of ability does the

21   Commission have to convert that, if you will, to one of removal

22   later on down the road under your recommendation.

23             MS. DANIEL:  Our recommendation does not go to

24   requiring the utility to use one treatment process versus

25   another with the exception of if they continue to use a method

FLORIDA PUBLIC SERVICE COMMISSION

13

1   that oxidizes, we recommend that they use a filtration system.

2   This is based on testimony in the record that the turbidity in

3   the water can be relieved using a filtration option.  As far as

4   our recommendation, the primary recommendation, leaving you an

5   option to ultimately require them to remove as opposed to

6   convert the hydrogen sulfide, I don't believe that option would

7   be available to you under staff's recommendation.

8             CHAIRMAN BAEZ:  And when you say not available to us,

9   it means that we don't have an ability to revisit later down

10   the road?

11             MS. DANIEL:  After you vote on this today?

12             CHAIRMAN BAEZ:  Uh-huh.

13             MR. JAEGER:  I believe that goes back to our

14   recommendation in Issue 1, Chairman, where we were saying we

15   will still be looking at everything, and if something more

16   needs to be done, then we would come back.  And these reports,

17   if they have failures or if they still have customer

18   complaints, then we realize this hydrogen peroxide doesn't have

19   a track record, and we are worried about that it won't work,

20   but they have hired two experts who are saying let's give it a

21   chance to work.  But we're going to still look, and just

22   because you meet the 0.1 standard doesn't mean that is the end

23   all of end all.  And we can come back and look at it if the

24   customer complaints still do not go down.

25             CHAIRMAN BAEZ:  Commissioners, other questions or a

FLORIDA PUBLIC SERVICE COMMISSION

14

1   motion?

2             COMMISSIONER BRADLEY:  Well, let me make sure I

3   understand what we're dealing with here.  The primary would

4   instruct the company to clean up the water to the extent that

5   it is acceptable, is that correct?

6             MS. DANIEL:  The primary recommendation relies on our

7   recommendations in Issue 1 that the company meet the goal of

8   0.1 at the plant sites, and not to exceed the 0.1 goal or the

9   level of hydrogen sulfide in the county water at the field

10   sites.

11             COMMISSIONER BRADLEY:  Okay.  But the primary --

12             MR. JAEGER:  I'm sorry, I didn't mean to interrupt

13   Commissioner.  I was just going to say I think the primary

14   difference -- our back-up is to first go to that sulfur

15   filtration, if the hydrogen peroxide isn't working by itself.

16   There are going to be pH and hydrogen peroxide working

17   together.  And our deal was have that sulfur in your back

18   pocket ready to go, sulfur removal.  And I think Mr. Jenkins,

19   he's saying let's even go farther, let's have them already

20   permitting and planning more removal.  And sulfur is sort of a

21   part way removal, it doesn't remove sulfides or the sulfates.

22             So the main difference between the two is we're

23   saying be ready to go with the sulfur filtration, and Mr.

24   Jenkins is saying be ready to go with the removal, with the

25   permitting, have that all done.  But I think staff is all, we

FLORIDA PUBLIC SERVICE COMMISSION

15

1   are all very worried that this hydrogen peroxide may not work.

2   But I think we are all saying they have hired two experts,

3   let's let them try to use those two experts that they have, Mr.

4   Porter and Doctor Levine.

5             CHAIRMAN BAEZ:  Go ahead, Commissioner, I'm sorry.

6             COMMISSIONER BRADLEY:  Well, if it does not work, how

7   is that going to be dealt with in terms of who pays for it, for

8   the method -- if it works, it's fine, if it doesn't work, who

9   has the financial liability?

10             MR. JAEGER:  I think that is Aloha's greatest concern

11   that they might -- that this might be found to be imprudent.

12   But I think what we have always -- rarely do we give it

13   preapproval, but sometimes we do.  But they would come in for a

14   rate case and the prudency of the expenses would be reviewed.

15             COMMISSIONER BRADLEY:  And I think I heard you

16   correctly.  What you are saying is that there is no research

17   that would -- that points to the fact that this method will

18   clean up the hydrogen sulfide.

19             MR. JAEGER:  I don't want to say that.  Dr. Levine

20   has done lots of research and lots of studies.  She has got 30

21   years or more in this area.  And this is what she thinks will

22   work with the pH adjustment.  And maybe with sulfur -- I think

23   she has toyed with sulfur removal and knows how the filtration

24   for sulfur works, also.  But, as it being tried and true with

25   some system, I'm not sure where it has ever been used.

FLORIDA PUBLIC SERVICE COMMISSION

16

1             CHAIRMAN BAEZ:  Mr. Jenkins, you spoke of the

2   downside of going with -- perhaps creating some expenses that

3   would have gone for naught.  Do you have an estimate on what

4   those might be?  And we're just talking design and --

5             MR. JENKINS:  No, I do not.  And the only thing I can

6   point to is the study done by Aloha's expert, Mr. Porter, when

7   he looked at all the wells.  And when he looked at all the

8   wells, I guess it's standard water and sewer practice to

9   estimate 15 percent for design and permitting.  So that would

10   be 15 percent of roughly $4 million, which would come to around

11   600,000.  But that is in 2002 dollars.  The costs, obviously,

12   have gone up.

13             CHAIRMAN BAEZ:  Right.

14             Commissioners, any other questions or a motion?

15             COMMISSIONER DEASON:  I move staff's primary

16   recommendation.

17             COMMISSIONER EDGAR:  Second.

18             CHAIRMAN BAEZ:  Moved and second.  All those in favor

19   say aye.

20             (Unanimous affirmative vote.)

21             CHAIRMAN BAEZ:  Issue 3.

22             MS. DANIEL:  Commissioners, this issue addresses the

23   frequency and number of tests and the reporting requirements.

24             CHAIRMAN BAEZ:  Questions, Commissioners, or a

25   motion?

FLORIDA PUBLIC SERVICE COMMISSION

17

1             COMMISSIONER DEASON:  Move staff's recommendation.

2             CHAIRMAN BAEZ:  There's a motion to accept staff's

3   recommendation.  Is there a second?

4             COMMISSIONER BRADLEY:  It might be good to have some

5   discussion on this item, because it somewhat goes to the issue

6   that Commissioner Edgar discussed at the beginning.

7             CHAIRMAN BAEZ:  All right.  Commissioner, if you have

8   got questions, we can entertain them.

9             COMMISSIONER BRADLEY:  Well, it is my understanding

10   that this issue gets directly to what Commissioner Edgar was

11   concerned about at the beginning, where should the testing

12   occur, is that correct?

13             MS. DANIEL:  Actually, Commissioner, that was

14   addressed in Issue 1, the location of the testing.  This issue

15   is basically the ministerial aspects of Issue 1, that being if

16   you have chosen to set a goal using testing at the plant sites

17   as well as the field sites in Issue 1, then how often do you

18   want to take those samples, and how many samples are required?

19   The actual location was addressed in Issue 1.

20             COMMISSIONER BRADLEY:  Okay.  And so basically what

21   staff has done is to reach a compromise position between the

22   company and the customers?

23             MS. DANIEL:  I beg your pardon?  I didn't hear you.

24             COMMISSIONER BRADLEY:  I said basically what staff is

25   recommending is a compromise position between the two parties,

FLORIDA PUBLIC SERVICE COMMISSION

18

1   is that correct?

2             MR. JAEGER:  I believe that's correct, Commissioner.

3   The utility wanted to test at the plant, the customers wanted

4   to test at the meters, and we found that there may be a problem

5   with doing it at the meters.  And so we tried to use the

6   bacteriological test site so there would not be any conflict

7   with the customers, going into their yard.  And so it is sort

8   of a compromise provision so we can look at what is going on

9   out in the distribution system.

10             COMMISSIONER BRADLEY:  Thank you.

11             CHAIRMAN BAEZ:  Commissioners, there is a motion on

12   the floor.  And if there is not going to be a second, we can

13   just let it fail and continue discussing.  All right.  Motion

14   fails for lack of a second.

15             Now we are at a crossroads.  Is there an alternative

16   motion, or is there some discussion or further questions that

17   you all would like to entertain?

18             COMMISSIONER EDGAR:  Mr. Chairman, I am not sure what

19   the options are that are available to us.  I remain concerned

20   that, as I expressed earlier, the sampling scheme that was laid

21   out in option one does not help us get a whole lot further to

22   solving some of the issues that have been brought before us,

23   and that is my concern there.

24             I also have a concern about how we actually test and

25   determine performance based upon a goal.  So those are my

FLORIDA PUBLIC SERVICE COMMISSION

19

1   concerns with the first item.  Now, what options that leaves us

2   for Issue 3, I'm unclear.

3             CHAIRMAN BAEZ:  Well, not to revisit -- I'm sorry, I

4   heard Commissioner Davidson click.  Did you have something to

5   say or --

6             COMMISSIONER DAVIDSON:  Sort of along the same lines

7   as I think you were going to articulate.  Not to revisit that

8   first issue, but I didn't know if it was to be revisited, if

9   there was any type of consideration that could, perhaps, be

10   given to, sort of, the staff's rec on that issue, but perhaps

11   maybe adding in some type of spot checking at the home.  I

12   mean, I don't know if there is a way to address Commissioner

13   Edgar's concern while, sort of, giving weight to the rec.

14             CHAIRMAN BAEZ:  And, again, at the risk of revisiting

15   a vote, albeit unofficially, here is the comfort level that I

16   got.  This docket has been, and this case has been before us in

17   one form or another for many years.  Certainly the problem has.

18             I think the fact that customer relations, or

19   certainly the relationship between the customers and the

20   company is less than optimal.  I think that is an

21   understatement.  But it is real.  And although I think it would

22   be great, and I would agree with you that perhaps testing

23   closer to the meter at the meter would probably render a lot

24   more comfort with the results, and we could all feel more

25   comfortable with the fact that we have gone, certainly on that

FLORIDA PUBLIC SERVICE COMMISSION

20

1   issue, as far as we can legally in order to ensure results that

2   are accurate and relevant, I'm not sure that in the real world

3   you are not just opening up a whole other can of worms.

4             Because as I will reiterate, I think that the

5   relationship between the company and the customer is not a good

6   one, clearly, and we are playing into that -- to play into that

7   would be, in a way, folly.  The reason I asked the questions

8   is, you know, in a technical aspect is using the field sites a

9   reasonable proxy for going to the meter, and if in a technical

10   sense that is true, then I'm not uncomfortable not going as far

11   as you would suggest.

12             To me, even having done that, the need to get as much

13   information as possible, I agree with you.  I don't know what

14   function Issue 3 certainly has in terms of getting as much

15   information as possible in light of where the physical

16   limitations that were expressed in Issue 1 are.

17             MS. DANIEL:  If I could, Commissioner, let me just

18   offer one other piece of information.  And, Commissioner Edgar,

19   while we don't know specifically where those bacteriological

20   test sites are, all of Aloha's wells in Seven Springs are

21   interconnected, so we are talking about a distribution system

22   that permeates the Seven Springs service territory.  The

23   bacteriological test sites are going to be in the proximity of

24   the customer meters.  It is simply going to be the distribution

25   system that is in the road as opposed to a few feet up into the

FLORIDA PUBLIC SERVICE COMMISSION

21

1   customer's yard.

2             My guesstimation, as I said before, you are getting a

3   representative sample, it is just at the street and not a few

4   feet into the yard at the meter.  I feel like you are not

5   losing much by testing at the bacteriological test sites.

6             COMMISSIONER BRADLEY:  Mr. Chairman.

7             CHAIRMAN BAEZ:  Commissioner Bradley.

8             COMMISSIONER BRADLEY:  You know, the more I listen

9   the more I think that basically what staff has done, again, is

10   to put forth an excellent compromise recommendation as it

11   relates to where the water is going to be tested.  And I heard

12   what you said about opening up another can of worms.  Because

13   it's my understanding that if you go on the other side of -- if

14   you go on the customer's side of the meter, then what we are

15   going to encounter is, in some instances, PVC pipe, and in some

16   instances copper.  And I don't know to what extent that's going

17   to -- how that is going to effect the outcome in terms of what

18   we get as it relates to black water.  And the bottom side of

19   that can of worms is who is liable if it is found that the

20   water is acceptable up to the Aloha side of the meter, and if

21   it is unacceptable on the other side of the meter.

22             Would Aloha be liable for black water that exists as

23   a result of the interaction with the pipes going into the

24   customer's home, or would the customer be liable?

25             MS. DANIEL:  Commissioners, we are relying on the

FLORIDA PUBLIC SERVICE COMMISSION

22

1   Florida Administrative Code rules that are clear that the

2   utility is responsible up to the outlet side of the meter for

3   the quality of the water that's produced.

4             COMMISSIONER BRADLEY:  So then customer would be

5   liable if it is found that the black water is there because of

6   a chemical interaction with the type of pipe that they have?

7             MS. DANIEL:  When you say liable, are you talking

8   about for replacement of pipes and so forth?

9             COMMISSIONER BRADLEY:  Yes, Replacement.  Yes.

10             MS. DANIEL:  Yes, sir, Commissioner.

11             CHAIRMAN BAEZ:  But let's be clear that's not

12   something that is before us, necessarily, and that is not

13   something that we are adopting as a result --

14             COMMISSIONER BRADLEY:  Right, but that is part of

15   that can of worms.

16             CHAIRMAN BAEZ:  Inevitably, yes.

17             COMMISSIONER BRADLEY:  So if we take that discussion

18   off the table and just deal with this issue purely from the

19   sense of what is before us, should the water be tested at the

20   site, the well site, or should the water be tested at the

21   meter, or at a field station?  And I think staff has suggested

22   that we go with the field station, which is a point in between

23   the two.

24             CHAIRMAN BAEZ:  Among other things.  Actually, the

25   testing, the frequency and the -- I'm at a loss for the word,

FLORIDA PUBLIC SERVICE COMMISSION

23

1   but certainly the testing plan, if you will, is actually quite

2   redundant, almost, at times.  It is test until you pass, it

3   seems like.  So whatever you may think of the location of the

4   testing sites, certainly the plan, it seems to me, is robust in

5   the sense that you go based on the result you get.  And until

6   you get a proper result, your obligations to get that result

7   certainly don't end.  They, in fact, become even more strenuous

8   and more repeated.  That is how I'm reading it, anyway.

9             Commissioner Deason, you had a comment or a question?

10             COMMISSIONER DEASON:  Maybe a little of both.  It

11   just seems to me that we have already addressed in Issue 1 the

12   point of testing, the location of testing.  And I understand

13   there is some concern and some reservation.  In fact, it wasn't

14   even a unanimous vote by the Commission.  But, nevertheless,

15   that was the decision.  Now if we are going to revisit that,

16   I'm not opposed to revisiting it.

17             Issue 3 is just simply -- and there is a lot of

18   information within Issue 3, and staff has done a very

19   comprehensive and thorough job of putting together a

20   recommendation, but it is just really the logistics and the

21   ministerial side of our decision that we made in Issue 1.  But

22   it goes to the frequency of the testing, the reporting

23   requirements, a certain number of them have to be within the

24   southern zone.  Very important things, but it already assumes

25   that there is going to be testing at the bacteriological field

FLORIDA PUBLIC SERVICE COMMISSION

24

1   test sites, not at the meter.

2             So if we are going to revisit Issue 1, fine.  If we

3   are not, you know, I don't know of a better way of implementing

4   that decision than what staff is recommending within Issue 3.

5   If there is a better way, I'm certainly willing to listen to

6   it.  But I think staff has done a very thorough job of putting

7   meat on the bones of that basic policy decision.

8             CHAIRMAN BAEZ:  And I would agree.

9             COMMISSIONER BRADLEY:  Mr. Chairman, I agree with

10   Commissioner Deason, and by no means am I trying to imply with

11   my questions that I'm trying to revisit Issue 1.  I just see

12   the two as intertwined and closely related, and probably

13   somewhat difficult, in my opinion, to separate out.  But I

14   agree with what Commissioner Deason has said.  We need to try

15   and find a method to deal with this particular -- with Issue 3,

16   even though it is closely related to Issue 1, and I don't know

17   how we get there.

18             CHAIRMAN BAEZ:  With all that said, Commissioners, I

19   guess I will entertain a motion.

20             And, Commissioner Deason, having heard all of the

21   discussion, certainly if you would make your motion again, I

22   could support it.

23             COMMISSIONER DEASON:  I will move staff's

24   recommendation on Issue 3.

25             COMMISSIONER BRADLEY:  And I will second it.

FLORIDA PUBLIC SERVICE COMMISSION

25

1             CHAIRMAN BAEZ:  There is a motion and a second.  All

2   those in favor say aye.

3             COMMISSIONER BRADLEY:  Aye.

4             CHAIRMAN BAEZ:  Aye.

5             COMMISSIONER DEASON:  Aye.

6             COMMISSIONER DAVIDSON:  Aye.

7             CHAIRMAN BAEZ:  All those nay?

8             COMMISSIONER EDGAR:  No.

9             CHAIRMAN BAEZ:  Okay.  Show that four/one.

10             Issue 4.

11             MR. JAEGER:  Commissioners, Issue 4 was added at

12   Aloha's request about whether we had the legal authority to do

13   what we are doing here today.

14             COMMISSIONER DEASON:  I have a question for staff.

15             CHAIRMAN BAEZ:  Commissioner Deason.

16             COMMISSIONER DEASON:  I'm just at a loss as to why

17   Aloha would raise this issue at this point.  It was their

18   petition asking us to modify the standard.  And so if we don't

19   have the authority to do what staff is recommending, we don't

20   have the authority to even entertain their petition, it seems

21   to me, in a very simplistic approach of looking at it, I

22   suppose.

23             MR. JAEGER:  I believe you always have the authority

24   to determine whether you have jurisdiction.  And I think you

25   already did that when you issued the other order.  It went up

FLORIDA PUBLIC SERVICE COMMISSION

26

1   on appeal.  Aloha raised the question on appeal.  Although it

2   was a per curiam affirmed, they still affirmed that order, and

3   that is all that staff is saying.  You have already --

4             COMMISSIONER DEASON:  And that was the 98 percent

5   requirement, and Aloha thought that that was inappropriate and

6   petitioned this Commission to change that.

7             MR. JAEGER:  Yes.

8             COMMISSIONER DEASON:  And if we take their position,

9   we don't have the jurisdiction to entertain their petition, so

10   we are back to 98 percent -- if we take their position, we are

11   back to the 98 percent, because that has been affirmed by a

12   court.  Am I missing something?

13             MR. JAEGER:  I see where you're going now,

14   Commissioner.  I hadn't really thought of it that way, but,

15   yes, we were at the 98 percent standard and it has been

16   affirmed by the court.

17             COMMISSIONER DEASON:  I'm just at a little bit of a

18   loss, Mr. Chairman.  But if there are no further questions, I

19   can make a motion.

20             CHAIRMAN BAEZ:  If you want, please.

21             Are there any other questions, Commissioners?

22             COMMISSIONER BRADLEY:  I think we have jurisdiction.

23             CHAIRMAN BAEZ:  We'll just answer the question in

24   Issue 4.

25             COMMISSIONER DEASON:  I can move Staff's

FLORIDA PUBLIC SERVICE COMMISSION

27

1   recommendation on Issue 4.

2             COMMISSIONER EDGAR:  Second.

3             CHAIRMAN BAEZ:  Moved and seconded.  All those in

4   favor say aye.

5             (Unanimous affirmative vote.)

6             CHAIRMAN BAEZ:  Does that -- that is the last issue,

7   isn't it?

8             MS. DANIEL:  There was a stipulation as to close the

9   docket.  The docket will remain open pending the outcome of a

10   refund.

11             CHAIRMAN BAEZ:  Do we need to vote on accepting the

12   stipulation?  No, right?  Yes?  No?

13             MR. JAEGER:  That wasn't an issue.  It was at the

14   hearing, and actually when we read the transcripts, you didn't

15   exactly vote on that stipulation, although the parties were

16   agreed.  And it was not clear from the record that you voted on

17   that stipulation.

18             CHAIRMAN BAEZ:  Well, Commissioners, there is a

19   stipulation to close the docket.  If anybody wants to entertain

20   a motion now just so that we can tie it up in a nice little

21   bundle.

22             MR. JAEGER:  The stipulation was that the docket had

23   to remain open for the refund process that is on appeal.  That

24   was the stipulation.

25             CHAIRMAN BAEZ:  That is the stipulation, and your

FLORIDA PUBLIC SERVICE COMMISSION

28

1   recommendation on the stipulation would be to accept it?

2             MR. JAEGER:  Accept it.

3             CHAIRMAN BAEZ:  Commissioners, is it clear to you on

4   what we need to vote on just to close this out?  The docket is

5   not going to be closed, it will remain open in order to deal

6   with whatever refund issues are outstanding.  And the parties

7   are in agreement, it is a stipulation after all.

8             COMMISSIONER DEASON:  Is a vote necessary?

9             MR. JAEGER:  It might be good.  Because it was

10   unclear, when I went back on the record, that you all never

11   voted on that stipulation, you never voted it out.  You were

12   aware of it, and then we got sidetracked on something else and

13   the vote was never made.

14             CHAIRMAN BAEZ:  Imagine getting sidetracked on this

15   docket.

16             COMMISSIONER DAVIDSON:  Move to accept the parties'

17   stipulation.

18             CHAIRMAN BAEZ:  There is a motion.  Is there a

19   second?

20             COMMISSIONER BRADLEY:  Second.

21             CHAIRMAN BAEZ:  Moved and seconded.  All those in

22   favor say aye.

23             (Unanimous affirmative vote.)

24             CHAIRMAN BAEZ:  Thank you all.  Thank you for all

25   your hard work.

FLORIDA PUBLIC SERVICE COMMISSION

29

1             (Agenda Item 16 concluded.)

2

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

30

1

2   STATE OF FLORIDA    )

3                       :              CERTIFICATE OF REPORTER

4   COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Office of Hearing

6   Reporter Services, FPSC Division of Commission Clerk and

Administrative Services, do hereby certify that the foregoing

7   proceeding was heard at the time and place herein stated.

8             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

9   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

10   proceedings.

11             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

12   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

13   the action.

14             DATED THIS 3rd day of June, 2005.

15

16             ___________________________________________

JANE FAUROT, RPR

17             Chief, Office of Hearing Reporter Services

FPSC Division of Commission Clerk and

18                       Administrative Services

(850) 413-6732

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION