1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

3   ELECTRIC UTILITY INFRASTRUCTURE

WORKSHOP FOLLOW-UP:  STAFF

4   RECOMMENDATIONS FOR FURTHER ACTION.

_____________________________________/

5

6

7

8

9

10

11             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

12               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

13

14

PROCEEDINGS:        INTERNAL AFFAIRS AGENDA

15                       ITEM NO. 3

16

BEFORE:             CHAIRMAN LISA POLAK EDGAR

17                       COMMISSIONER J. TERRY DEASON

COMMISSIONER ISILIO ARRIAGA

18                       COMMISSIONER MATTHEW M. CARTER, II

COMMISSIONER KATRINA J. TEW

19

20   DATE:               Monday, February 27, 2006

21   PLACE:              Betty Easley Conference Center

Room 148

22                       4075 Esplanade Way

Tallahassee, Florida

23

REPORTED BY:        JANE FAUROT, RPR

24                       (850) 413-6732

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1                        P R O C E E D I N G S

2             CHAIRMAN EDGAR:  Commissioners, that brings us to

3   Item 3.  I'm going to ask -- once we get settled here, I'm

4   going to ask staff to give us a brief overview, then we do have

5   a few speakers signed up.  I would like to go from the staff

6   overview to the speakers and then open it up for Commissioner

7   questions and discussions.

8             I do note that we have a very full agenda today, we

9   have a full agenda tomorrow, and then we are on the road for

10   three days of customer service hearings in South Florida.  So

11   we are going to have a full discussion, we have a lot of

12   important items, but I do ask all of our speakers to recognize

13   that we have a lot to get through today.

14             Mr. Trapp.

15             MR. TRAPP:  Thank you, Chairman and Commissioners.

16   We had a workshop on January 23rd of this year where staff

17   explored with the industry, electric industry and with expert

18   speakers what we could do to improve Florida's resistance and

19   infrastructure hardness with respect to hurricanes.  We

20   received a lot of good information in those workshops.  I think

21   there was a good dialogue that was had, and staff went back and

22   put together a recommendation for you on actions we think that

23   can be taken in the short-term and in the long-term to try to

24   reduce our damage exposure during hurricane seasons in Florida

25   with the ultimate goal of reducing cost and reducing the

FLORIDA PUBLIC SERVICE COMMISSION

3

1   outages that our customers in Florida experience.

2             Before I give a summary of the recommendation, I want

3   to mention that there is a word change on the first page in

4   Section 2C in our haste to get this out.  That should be

5   replacement of wooden transmission structures.  We didn't wish

6   to imply that that affected all the distribution.

7             We also have prepared a more detailed summary of some

8   of the items that we're going to cover today that has been put

9   on your desk.  Connie Kummer has copies she is going to put on

10   the podium for people to see.  It gets into a little more

11   detail with respect to some of the actions.

12             Again, we tried to address short-term and long-term

13   actions.  We also have addressed some legislative thoughts that

14   were presented at the workshop and some of our own.  And our

15   legislative staff is prepared, after we have this discussion

16   this morning and you give us direction, to prepare legislative

17   briefing packages and materials for our legislators so that we

18   can stay informed with them.

19             If I can turn briefly to this single sheet, because I

20   think it gets down to the brass tacks pretty quickly.  It is

21   organized along the four basic areas that we covered in our

22   recommendation and it gets into a little more detail.  In terms

23   of the first area of short-term recommendations, we recommended

24   that all electric utilities come before us at our June 5th

25   Internal Affairs meeting, that is the first available Internal

FLORIDA PUBLIC SERVICE COMMISSION

4

1   Affairs at the start of the hurricane season, and give us an

2   overview of how they have prepared for the upcoming hurricane

3   season.

4             The second item has to do with on-going preparedness

5   items, and we have asked that by June 1st each of the

6   investor-owned utilities provide us with specific plans in a

7   number of areas that they will implement in order to better

8   deal with hurricanes in Florida with respect to the

9   infrastructure, gathering information that we'll need in the

10   long-term, things of that nature.  Specifically, what we plan

11   to do, if in our discussions you agree with the points that we

12   have made that should be in the plans, we would like to bring

13   back a PAA, a proposed agency action order to you that will

14   order the filing of those plans.

15             We would like to also ask that when those plans come

16   in that staff be given an opportunity to, given the

17   administrative review and approval to the extent that there is

18   consensus and no controversy with the planned items, but to the

19   extent that material differences or controversies need to come

20   to you, we would plan to bring that to you at the July 6th

21   agenda.

22             The third item has to do with some specific dockets

23   that we have asked for, the first being an overhead hardening

24   type docket.  And this sheet focuses that a little bit better,

25   I think, than the recommendation did.  What we would like to

FLORIDA PUBLIC SERVICE COMMISSION

5

1   propose is a rulemaking docket looking at our overhead

2   distribution standards, and we would like that to apply to all

3   electric utilities.  Because it will be a rulemaking, there

4   will be an opportunity to hear from the munies and the co-ops

5   as well as the investor-owned utilities.

6             Specifically, we would like to get focused into the

7   National Electric Safety Code, which is the current standard

8   for construction in Florida, and look to see if higher

9   standards than the code can be identified and then specified in

10   rulemaking.  We would propose to bring you that recommendation

11   on March 21st with a rule development workshop occurring on

12   April 17th.

13             And then on undergrounding, a little more broad, a

14   little more generic, but still I think staff at this point is

15   thinking down the lines of rulemaking as opposed to an

16   investigative docket or just workshops, although the range is

17   certainly available to you to select the forum.  We're thinking

18   in the area of a rulemaking docket on undergrounding that would

19   identify areas and circumstances in Florida where underground

20   facilities would make sense.  We would like the utilities to

21   provide us analysis of the costs of undergrounding and the

22   effects of -- I didn't change those words, Chairman, I think

23   I've got the wrong word here.  Anyway, we would like to look at

24   different cases, conversion of new facilities to

25   undergrounding, conversion of existing facilities, targeted

FLORIDA PUBLIC SERVICE COMMISSION

6

1   conversion of existing overhead facilities with respect to

2   maybe geographic hot spots in the state, and then conversion of

3   overhead primary feeders.

4             We would like to look at the current contribution in

5   aid of construction policy for undergrounding that is in place.

6   The effects of, for instance, the cost of hardening might have

7   on that contribution in aid calculation.  Also look at

8   alternative funding and billing methodologies, and then finally

9   cost-recovery.  So that pretty well summarizes our proposed

10   plan of action, and staff is open to discussion.

11             CHAIRMAN EDGAR:  Thank you, Mr. Trapp.  There is a

12   lot of information here.  Commissioners, you will recall that

13   we had asked our staff to put together for us some short-term

14   and some long-term strategies.  We have been on a short and

15   very busy time frame, and I know we are all very appreciative

16   of the work that our staff has done, and to all of those who

17   have participated in this process over the last few months.

18             I have four speakers that have signed up.  And so as

19   I mentioned, I would like to go to our speakers for brief

20   comments, and then we will have the opportunity to have further

21   and full discussion.  And, so, Professor Domijan from the

22   University of South Florida.

23             PROFESSOR DOMIJAN:  Good morning, and thank you for

24   having me here.  My comments are with regard to the staff

25   recommendations, which, by the way, are outstanding.  And I

FLORIDA PUBLIC SERVICE COMMISSION

7

1   have two specific suggestions to add to the staff

2   recommendations.  One on item -- on Page 2, Item Number 1, I

3   would like to add a weather and reliability dynamic monitoring

4   effort to predict and locate infrastructure hot spots, so we

5   need to be able to develop steps that actually carry out the

6   objectives that are in the staff recommendations.  And I would

7   like to then develop a road map for infrastructure hardening,

8   and not just hardening, but restoration.  Restoration is often

9   more important than just hardening the system.

10             And then the other recommendation that I have is with

11   regard to working with PURC at the University of Florida.  We

12   also need an engineering group to look at the technology part

13   and look at the weather and reliability information.  So my

14   suggestion is to utilize the capabilities of both the

15   engineering community and the business community together to

16   present results to the Commission and the utilities.

17             Now, just a few moments ago I presented to you, if I

18   refer to you to a specific proposal.  I spent the weekend

19   preparing this after my meeting with the Commissioner, the

20   Chairman, and this outlines specific objectives to monitor in a

21   dynamic manner the weather, and related to the outages in the

22   system, the methodologies, the budget, which I suggest to be

23   roughly $400,000, and then about half for the remainder of the

24   time with an additional adder of $200,000 to look at hurricane

25   monitoring on the coasts.  If we have no hurricanes, that

FLORIDA PUBLIC SERVICE COMMISSION

8

1   budget won't be used then.

2             The benefits are several.  To the PSC we will be able

3   to accurately and continuously assess utility preparedness,

4   reliability, and apply regulatory functions effectively.  To

5   the utility sector, the benefits, we will be able to better

6   restore and harden our grid with actual data.  And to the

7   Florida ratepayers, the benefits will be providing an increased

8   reliability and basically a go-to place for policymakers,

9   government agencies, and citizens to explore practices and

10   solutions.

11             The products will be a permanent and transparent

12   monitoring and analysis database from a central source that's

13   continually updated with weather and reliability information,

14   not a static contingency study which would be absolutely wrong

15   for our state to continue.  We need to look at empirical

16   information on-line to be able to flexibly adjust our

17   performance and to be able to harden the system effectively.

18   That's a very important point.

19             And, then, with regard to my second recommendation

20   about collaborative work with PURC and the engineering

21   community through our power center, I suggest thirteen

22   potential coordinated subscriber studies which would be funded

23   by the utilities or other organizations.  The subscriber

24   studies would use -- it is, in essence, kind of like throwing a

25   rock in a pond with catching this database that we would have,

FLORIDA PUBLIC SERVICE COMMISSION

9

1   and then the database can be used for all of these subscriber

2   studies from determining actual needs and locations for

3   vegetation management, crew allocation, and manpower needs for

4   fast restoration, hot spot localization, but more important,

5   what are the feasible solutions for those hot spots.

6             Undergrounding versus overhead lines.  Actually

7   provide the data that we need to determine where we should put

8   underground lines and how much that will cost.  Load factor and

9   quality service improvement.  Coastal monitoring during

10   hurricanes with the University of Florida.  And then, finally,

11   collaborations with a number of other groups in our state,

12   including the Florida Solar Energy Center, looking at renewable

13   incorporation, the Caps (phonetic) program at the Florida State

14   University looking at energy storage techniques, and the

15   Friends Group looking at collaborations with Taiwan and Japan,

16   and then looking at grid optimization and demand response

17   efforts with Spain and the European Union.  So there's a lot of

18   information we can draw on, and these drafts of the

19   collaborative studies are attached to the document that you

20   have in front of you.  Thank you very much for your time.

21             CHAIRMAN EDGAR:  Professor Domijan, thank you.  And

22   thank you for your participation in our workshop and for giving

23   us this additional information for consideration.  I hope you

24   can stay for the rest of the discussion here this morning.

25             PROFESSOR DOMIJAN:  I will.

FLORIDA PUBLIC SERVICE COMMISSION

10

1             CHAIRMAN EDGAR:  Thank you.  And our next signed-up

2   speaker is Martin Rollins.

3             Mr. Rollins.

4             MR. ROLLINS:  Good morning, Madam Chairman and fellow

5   Commissioners.  My name is Martin Rollins, and I'm from

6   Gulfport, Mississippi, so I know something of the storm issues

7   that we are talking about today.

8             I'm a consulting engineer, and I'm here this morning

9   on behalf of three organizations to address some issues that

10   were identified in some of the proposed staff recommendations.

11   These organizations are the Southern Pressure Treaters

12   Association, and that organization is composed of

13   manufacturers, chemical suppliers, and allied industries that

14   are involved in the production of industrial treated wood

15   products in the eastern portion of the United States.  This

16   would include wood utility poles.  There are several members of

17   this organization with manufacturing plants in the state of

18   Florida.

19             Another organization that I'm here on behalf of is

20   the Treated Wood Council.  This is an international association

21   composed of more than 250 member organizations, and it is

22   devoted to regulatory and legislative issues involving the

23   manufacture and use of all treated wood products.

24             And, finally, the North American Wood Pole Council is

25   an organization involved in the manufacture of treated wood

FLORIDA PUBLIC SERVICE COMMISSION

11

1   utility poles in the U.S. and Canada.  I, myself, and my firm,

2   H.M. Rollins Company, Inc., provide technical assistance to

3   these organizations on various code and standards issues, such

4   as the American National Standard Institute Specification

5   Committee on Wood Poles, the National Electrical Safety Code

6   that we have heard discussed earlier, and the American Society

7   of Civil Engineers.

8             These organizations are concerned about one of the

9   staff recommendations contained in Attachment 3, which are to

10   be considered for adoption by the Florida Public Service

11   Commission.  Included in these recommends as Item 1(2)(c) is,

12   and I quote, replacement of wooden use structures with concrete

13   and steel.  From conversations with PSC staff, it was

14   determined that this language was only intended to apply to

15   transmission structures, not distribution structures, and that

16   the utilities had indicated that they had already elected to

17   structure all new transmission lines using steel or concrete.

18   Given this, the staff did not see this language as

19   controversial.  However, the decision by a utility to choose

20   one product over another is clearly different than the PSC

21   making a formal determination to require the use of one product

22   over a structurally equivalent product.

23             Obviously, the adoption of a provision essentially

24   banning the use of wood transmission structures would have

25   serious free market implications, not only within the state of

FLORIDA PUBLIC SERVICE COMMISSION

12

1   Florida, but nationwide.  The organizations represented here

2   today believe that such an action would be technically

3   unsupportable, unnecessary to accomplish the goal of the

4   Commission, and potentially detrimental to the rapid

5   restoration of power in future storms.

6             After becoming aware of this proposed action, wood

7   pole industry representatives contacted various PSC staff

8   personnel to discuss this issue.  Mr. Jim Breman was

9   particularly helpful in explaining the intent of the

10   recommendation.  As it is now understood, the real goal of this

11   provision is to force utilities to evaluate old transmission

12   lines designed under what Mr. Breman termed legacy design

13   standards, and if these lines do not meet the present design

14   standard, to require their replacement by a date certain in the

15   future.  Although most old transmission lines are constructed

16   of wood, it is likely that there are lines constructed of other

17   materials that were designed to the same legacy standards.

18             Poles constructed of steel or concrete are not

19   structurally superior to wood.  This is an important point.

20   Lines can be designed with equal strength and reliability using

21   any of the materials presently found in the National Electrical

22   Safety Code, which controls the safety of overhead utility line

23   construction.  These materials are wood, steel, concrete, and

24   fiber reinforced composites.  Of these, wood is the dominant

25   material of choice by utilities, although steel and concrete

FLORIDA PUBLIC SERVICE COMMISSION

13

1   have a large share of transmission line construction.  Some

2   utility engineers prefer steel or concrete for transmission

3   lines because they can be manufactured to a specific design

4   capacity rather than design having to be developed to utilize

5   an available wood pole capacity.

6             Utilities have the prerogative to use their own line

7   design parameters and to pick pole materials based on their own

8   set of criteria so long as the end product meets the

9   requirements of the National Electrical Safety Code.  Some

10   utilities standardize on steel or concrete while others prefer

11   wood.  Although each material has its own positive attributes,

12   one is not superior to the other from an engineering

13   perspective, and the Florida Public Service Commission should

14   not prohibit the use of wood transmission structures when there

15   is no technical basis for the prohibition.  And future

16   conditions such as material shortages or severe price

17   escalation as we have seen recently with steel may cause

18   utilities to reevaluate pole material determinations.

19             A prohibition on wood transmission poles is not

20   necessary and it does not accomplish the underlying goal, which

21   is to upgrade all older transmission lines in order to improve

22   their performance in future storms.  The stated goal can be

23   better accomplished by changing the recommendation in

24   Item I(2)(C) to, and I quote, evaluate all transmission lines

25   to determine if they meet current design standards and replace

FLORIDA PUBLIC SERVICE COMMISSION

14

1   all lines not meeting the current standard.  This would

2   accomplish the objective without limiting future alternatives

3   or damaging free market relationships.

4             It has been reported that not only wood poles failed

5   in Hurricane Wilma, and that, in fact, some key transmission

6   lines failed that were constructed of steel or concrete.  One

7   of the negatives of these materials is that it takes a long

8   time to manufacture a large number of poles, which can result

9   in an extended time period to restore power.

10             This is one of the advantages of wood poles.  Large

11   inventories of wood poles are maintained at manufacturing

12   plants across the country.  In the aftermath of Hurricane

13   Katrina, almost 100,000 wood distribution and transmission

14   poles were provided to the affected utilities within a period

15   of a few weeks.

16             In the recent past, Bonneville Power (phonetic), the

17   governmental power authority in the west, lost a 345 kV line

18   built of steel or concrete to an extreme weather event.  Due to

19   the long lead times for replacement poles, the line was

20   reconstructed using wood poles, which were readily available in

21   the sizes needed to support a 345 kV line.  It is possible that

22   consideration of a wood alternative may have offered

23   opportunities to reduce the length of the outage after

24   Hurricane Wilma, but Commission restriction on the use of wood

25   transmission poles would eliminate this viable option in the

FLORIDA PUBLIC SERVICE COMMISSION

15

1   future.

2             In summary, the Southern Pressure Treaters

3   Association, the Treated Wood Council, and the North American

4   Wood Pole Council, and the manufacturers of wood poles that

5   exist in the state of Florida ask that you not adopt the

6   staff's recommendation, Item I(2)(C) as written, and that you

7   modify the language in this recommendation to more clearly

8   accomplish the stated goal as provided by the staff personnel.

9   These organizations would request the following or similar

10   wording be adopted for Item I(2)(C):  Evaluate all transmission

11   lines to determine if they meet current design standards and

12   replace all transmission lines not meeting the current

13   standards.

14             Thank you for the opportunity to present these

15   comments respectfully submitted by the above organizations.

16             CHAIRMAN EDGAR:  Mr. Rollins, thank you.  And, again,

17   we appreciate also you coming and sharing your concerns with us

18   during our discussion and our deliberations.  The suggested

19   language changes that you just described to us, have you given

20   those to our staff?

21             MR. ROLLINS:  No, ma'am, I haven't, but I have copies

22   of my comments if you would like to have them.

23             CHAIRMAN EDGAR:  If you could, as our discussion

24   proceeds, if you do have extra copies, if you could please give

25   those to our staff here down the line at the table.  I think

FLORIDA PUBLIC SERVICE COMMISSION

16

1   that would be helpful to them.  And I'm sure that we will have

2   some comments and questions as we proceed with our discussion

3   this morning.

4             Next on my list of speakers who have asked for a few

5   minutes of time on the agenda today is Mr. LaVia.

6             MR. LaVIA:   I will just be very brief.  I'm here on

7   behalf of the Town of Palm Beach and the Town of Jupiter

8   Island.  We generally and strongly support staff's

9   recommendations.  We have one point with regard to the

10   long-term actions.  We would like to see the two dockets opened

11   simultaneously and run parallel.  One is the -- right now I

12   believe staff is recommending opening the hardening docket and

13   then opening the undergrounding docket after completion of the

14   hardening docket.  We think they are important issues and our

15   clients believe they should be opened simultaneously and run

16   parallel, and that way we don't have months and months of

17   delay.  Thank you.

18             CHAIRMAN EDGAR:  Mr. LaVia, thank you.

19             Commissioners, Mr. LaVia's comments go to Roman

20   numeral II, and I expect that we will have some discussion

21   about procedurally how we may be moving forward on those items.

22   And, with that, those are the lists -- that concludes the list

23   of people who had signed up in advance to address us on this

24   item.  I have names that have let us know that they are

25   available to participate if we have questions to ask of them,

FLORIDA PUBLIC SERVICE COMMISSION

17

1   and that is Mr. Glenn with Progress Energy, Mr. Willis with

2   TECO, Mr. Stone with Gulf, and Mr. Walker with FPL.  Thank you,

3   gentlemen, for being here for our discussion, as well.  And,

4   with that, I'm going to open it up to Commissioners to

5   questions and discussions.

6             And, Mr. Arriaga.

7             COMMISSIONER ARRIAGA:  Thank you, Madam Chairman.  I

8   just want to make a brief clarifying comment on my part so that

9   when the discussion goes on, I don't have to intervene every

10   time.  And, fellow Commissioners and members of the staff,

11   these are my own personal point of views, and in no way do they

12   reflect any kind of judgment on the work that you are doing or

13   on the opinion of the Commissioners.  It is a very genuine and

14   heartfelt situation that I need to put forward.

15             Two weeks ago during the agenda conference I made a

16   very strong case by voting with a dissenting vote on my own

17   proposal.  Kind of strange, but it was my only way at the time

18   to make a very strong position.  I would like to clarify that a

19   little bit, because I see that the whole issue is coming up

20   again.

21             If I read Florida Statutes, Chapter 366, Section 4,

22   Subsection 6, and please bear with me, it clearly states the

23   Commission shall further have exclusive -- underline mine --

24   jurisdiction to prescribe and enforce safety standards for

25   transmission and distribution facilities of all -- underline

FLORIDA PUBLIC SERVICE COMMISSION

18

1   mine -- public electric utilities.  Cooperatives organized

2   under the Rural Electric Cooperative Law and electric utilities

3   owned and operated by municipalities in adopting safety

4   standards, the Commission shall, and then it goes on.

5             I just wanted to, again, indicate that we have

6   exclusive jurisdiction.  Now, if my English classes when I was

7   learning the language don't fool me, exclusive jurisdiction

8   means that we're the only ones that have the jurisdiction.  In

9   other words, there is nobody else that has the jurisdiction

10   except this Commission.  Exclusive.

11             Now, that is a very strong word, exclusive

12   jurisdiction.  Exclusive.  I think the legislature in its

13   infinite wisdom when they used the word exclusive, I think they

14   knew exactly what it meant.  It meant that nobody else has it,

15   and it meant that we have to apply it.  We have to exercise it.

16   Because if we don't, we are leaving it empty.  A vacation.  We

17   are leaving action that is not taken and that could be

18   prejudicial or harmful to the general public, to the safety.

19             Now, I have spoken to our general counsel, and he has

20   indicated to me that some of my concerns which were are we

21   failing in our responsibility by not exercising our

22   jurisdiction, and he clarified to me that no, we are not.  And

23   I'm satisfied with his legal opinion, which is always bright

24   and enlightening.  But, nevertheless, I just wanted to bring

25   this to the attention of the Commission because, again, I see

FLORIDA PUBLIC SERVICE COMMISSION

19

1   in the staff summary sheet that they gave us, in number one,

2   the second bullet point, they go, again, munies and co-ops, and

3   I put a big interrogation, a question mark.  And then we go to

4   Number 3, which is this rulemaking docket.  Again they say all

5   electric utilities.  So it would seem to me that the staff is

6   also at this time asking for our guidance.

7             Now, again, Commissioners, I'm not trying to

8   influence anybody, I'm not asking you to consider my position,

9   I am just making my point that I think we have a responsibility

10   to make this an across-the-table recommendation and exercise of

11   jurisdiction to all electric utilities as prescribed in Florida

12   Statutes 366.46.

13             As we move on today, and it has been my practice that

14   when I don't agree with something, I drop it immediately and I

15   continue voting, I will vote today and I will make some

16   affirmative decisions, whichever they may be.  Please do not

17   misinterpret my affirmations today to signify that this should

18   not be applied to municipalities and co-ops.  Whatever the

19   decisions the majority of this Commission makes today on

20   certain items on which I will vote affirmatively, I would like

21   for all of you to understand for the record that I believe that

22   this should all be applied to all electric utilities as was the

23   intent of the legislature.  Thank you, Madam Chairman.

24             CHAIRMAN EDGAR:  Thank you, Commissioner Arriaga.

25   And I do note that the item before us is for approval and for

FLORIDA PUBLIC SERVICE COMMISSION

20

1   guidance, so I think the staff is looking to us for some

2   guidance as to how to proceed on these items.  And I, for one,

3   am very interested in each of your thoughts as to how we

4   proceed from this point.  And, Commissioner Arriaga, I think

5   that the points that you have raised we will, even beyond

6   today, continue to have much discussion and much positive

7   discussion about.

8             I've got a few brief kind of comments to help kick us

9   off, as well, and mine at the moment are directed to the first

10   Roman numeral of the recommendations -- let me get the right

11   paper in front of me here -- which is Roman numeral I,

12   recommended short-term actions.  I note that the first

13   short-term action is a briefing that would occur at an Internal

14   Affairs meeting to all of us in early June on hurricane

15   preparedness, and then the second item would be for electric

16   utilities to file implementation plans, and do note the word

17   plan there on a number of items that the staff has listed A

18   through I.  We have had at least one suggestion already this

19   morning to perhaps add a J, and I have one item that I think I

20   would like to put out for discussion to possibly be added to

21   that list, as well.

22             My two comments go, at this moment, anyway, to the

23   second item under Roman numeral I, and I have two thoughts.

24   The first is that, you know, everything has a cost in life.

25   Everything has a cost.  And, of course, all businesses have

FLORIDA PUBLIC SERVICE COMMISSION

21

1   budgets and all businesses need to live within their budgets.

2   As we look toward these plans, and those things that are listed

3   to be included in the plans, and I think it is a good list, a

4   thoughtful list, but I would look for information to be

5   included as to cost estimates over the next one to three years.

6   I would like information on cost estimates to go with the

7   implementation to be included in the plans and in the further

8   discussion that we have.  I think it's important to have

9   further discussion and further information about cost, about

10   cost schedules, and, quite frankly, who is going to pay those

11   costs.  What the options are, what the thinking is.  And I

12   would look over these next few months and for the discussion on

13   those plans in June, if indeed we do adopt these

14   recommendations, to include further discussion and further

15   information on that point.

16             And, my second thought is that we have a lot of

17   discussion here, a lot of good discussion about making our

18   electric infrastructure more robust, about strengthening, about

19   hardening.  We will be moving in that direction, but I think

20   one of the things that we all know intuitively, but we also had

21   testimony at our workshop, is that is no matter how much

22   hardening, no matter how much money invested, electrical

23   distribution systems cannot be made totally immune to

24   hurricanes or to other emergencies.  Things happen.

25             And so it is our responsibility and the

FLORIDA PUBLIC SERVICE COMMISSION

22

1   responsibility of our service providers to do all that we

2   prudently can to best be prepared for hurricanes and for other

3   emergencies, but it is also very important that we are as

4   prepared as we possibly can be to respond and recover to those

5   outages when they do occur.  And they will occur.

6             So my thinking for a J is to add additional reporting

7   and another item to the plans that would be coming before us

8   that would include information about our recovery plans, and I

9   know that all of our utilities have very detailed recovery

10   plans that have been updated as lessons have been learned after

11   each hurricane that we have had in this state.  We also have

12   had information provided to us through a National Governor's

13   Association, Department of Energy, Energy Leadership Forum

14   earlier this year, that laid out best practices and

15   recommendations for recovery efforts that included things like

16   a common language for -- a common language, a standard

17   protocol, use of similar technology for data gathering, for the

18   appointment of a disaster recovery responsible individual

19   within each of the companies.

20             We have, generally, somebody that is in charge of

21   transmission, somebody who is in charge of generation.  There

22   usually is an identified person for disaster recovery, but for

23   that to be at a very high level.  And so we can have more

24   discussion about this.  I've got some thoughts.  But as we talk

25   about the plans and over the next few months I would like to

FLORIDA PUBLIC SERVICE COMMISSION

23

1   add disaster recovery as a very specific item that would be

2   included in that, as well.  Those are my thoughts and I open it

3   up to further discussion.

4             COMMISSIONER CARTER:  Madam Chairman.

5             CHAIRMAN EDGAR:  Commissioner Carter.

6             COMMISSIONER CARTER:  Is there in your mind an order

7   to how we should proceed on these?  I mean, there are a lot of

8   issues in here that we are talking about, and some things like

9   what you were saying, the uniformity of the language seems to

10   be a paramount issue to me.  Is there some order?  Maybe we can

11   reorder this.  Or do you have in your mind some order that we

12   should proceed in terms of how we deal with these issues?  And

13   not that any one issue is of more significance than the other,

14   but there should be some kind of overarching where we proceed

15   from the greater to the lesser.

16             CHAIRMAN EDGAR:  Okay.  It is my very strong hope

17   that we can get through this item before the lunch break.  I

18   think that we can.  We have got a good amount of time to cover

19   it if we do it in an orderly and a keep-it-moving kind of way.

20   So that gives us about an hour and fifteen minutes.  There is a

21   lot of information, and I'm glad to spend as much time on it as

22   we need.  But do recognize that we have a number of meetings

23   ahead of us that these items will be coming back to us if we

24   move forward in the direction that is laid out to us.  So I

25   guess my suggestion would be that we take up the

FLORIDA PUBLIC SERVICE COMMISSION

24

1   recommendations before us by Roman numeral, and go through it

2   that way.  I don't think we need to go through each point.  Mr.

3   Trapp has given us an overview.  If there are specific

4   questions about any of them, I certainly will recognize you for

5   those questions and try to get those questions answered.  And,

6   again, I note that we do have representatives from the four

7   large IOUs who are here to participate and try to answer

8   questions, as well.  How does that sound as a way to proceed?

9             COMMISSIONER CARTER:  Yes, ma'am.  That's fine with

10   me.

11             CHAIRMAN EDGAR:  Okay.  So I have raised a couple of

12   comments on Roman numeral I.  Are there other questions or

13   comments on that one?  Commissioner Carter.

14             COMMISSIONER CARTER:  Madam Chairman, if I may, I

15   would suggest that we look at the issue raised by Commissioner

16   Arriaga is that a pole is a pole is a pole.  It doesn't matter

17   whether it is owned by the city, or it is owned by the county,

18   or it is owned by an investor-owned utility.  And if we have

19   jurisdiction to do that, I mean, unless General Counsel's

20   Office says that that chapter of the statutes has been

21   overruled, then it seems to me just from listening that we have

22   jurisdiction, so I don't see why we can't -- if we are going

23   to, you know, use this from a public safety standpoint, maybe

24   we should consider that, as well.

25             CHAIRMAN EDGAR:  Commissioner Carter, I think what

FLORIDA PUBLIC SERVICE COMMISSION

25

1   I'm hearing you say, but I want to make sure that I do

2   understand is that for those recommendations under Roman

3   numeral I, there are basically two, the first is for there to

4   be a briefing on hurricane preparedness at the Internal Affairs

5   meeting on June 5th, which would be right at the very beginning

6   of hurricane season for this calendar year.  And the second is

7   for our electric service providers to file implementation plans

8   that include certain items that have been listed.  And I think,

9   again, that I may have added one to that list here a few

10   minutes ago.  Again, so that I'm clear, are you suggesting that

11   for the briefing on June 5th and then also for the plans to be

12   filed that we ask the munies and the co-ops to participate in

13   both of those?

14             COMMISSIONER CARTER:  Yes, ma'am, I am.

15             CHAIRMAN EDGAR:  Other thoughts?

16             Commissioner Tew.

17             COMMISSIONER TEW:  I have one question.  Under Number

18   1, it says in preparation for the June 5th Internal Affairs

19   each should be required to complete and report on the following

20   prehurricane preparation activities.  And you raised the issue

21   of cost a minute ago, and I was wanting to make sure that I

22   understood that your call for cost estimates on the plans, was

23   that just for the Number 2 for filing implementation plans or

24   was that also to try to get some kind of idea of the cost

25   before June 5th as to those Numbers A, B, and C that utilities

FLORIDA PUBLIC SERVICE COMMISSION

26

1   would be reporting on at the Internal Affairs?  And the reason

2   I bring that up, because I think it also goes to his point

3   about what they would be prepared to report on if they come on

4   June 5th.

5             CHAIRMAN EDGAR:  Commissioner Tew, I am always going

6   to ask the question how much is this going to cost and how are

7   we going to pay for it, or what are our options for paying for

8   it.  I mean, I'm probably going to raise that at almost every

9   meeting that we have on almost any issue.  I don't know -- you

10   know, I don't know how accurate those estimates can be between

11   now and June, but I would ask for as full and complete and

12   thorough and speedy data on those points as we can get.

13             MR. TRAPP:  Chairman, if I could just --

14             CHAIRMAN EDGAR:  Mr. Trapp.

15             MR. TRAPP:  -- make a clarification from a staff

16   perspective.

17             CHAIRMAN EDGAR:  Please.

18             MR. TRAPP:  Going to Commissioner Carter's question

19   with respect to inclusion of the munies and co-ops, I want to

20   make it clear that in the recommendation we may have said

21   investor-owned utilities, we are changing that now with respect

22   to the briefing, the Internal Affairs briefing.  We think that

23   all electric utilities should come to the June 5th Internal

24   Affairs and tell us what they have done to prepare for the

25   upcoming season.

FLORIDA PUBLIC SERVICE COMMISSION

27

1             Now, with respect to the specific plans that we have

2   asked to be filed on June 1st, I think staff's position there

3   is we fully regulate the rates and services of the

4   investor-owned utilities.  Therefore, whatever they do and

5   whatever it costs the Commission has jurisdiction over.

6   Therefore, the plans that we were asking for were directed to

7   the investor-owned utilities.

8             Historically, the munies and co-ops have followed

9   along with what we do with the investor-owned utilities and

10   typically try to parallel that activity.  But the distinction

11   in staff's mind, and this is what I wanted to clarify, was that

12   we don't control their rates.  They have specific boards and

13   review processes to do ratemaking within the munies and co-ops.

14   So whatever plans they develop, whatever cost is associated

15   with those plans, they really have to deal with that bottom

16   line billing to the consumers.  So that's the reason,

17   basically, from a policy standpoint, if you would, that staff

18   did not recommend that the munies and co-ops file formal plans

19   with the Commission.  Although I think we want to hear what

20   they plan to do in the long-term sense, too, but that decision

21   is kind of up to them, because they hold the purse string, if

22   you would.

23             COMMISSIONER CARTER:  Madam Chairman.

24             CHAIRMAN EDGAR:  Commissioner Carter.  I note, I am

25   recently informed that we do have representatives here from the

FLORIDA PUBLIC SERVICE COMMISSION

28

1   municipals and co-ops who are available to speak.  And so if

2   you want to go ahead, or if it is all right that may help.

3             COMMISSIONER CARTER:  Yes.

4             CHAIRMAN EDGAR:  Mr. Moline and Mr. Bryant.  Thank

5   you.

6             MR. MOLINE:  Thank you, Madam Chair.  Thank you,

7   Commissioners.  I'm Barry Moline with the Florida Municipal

8   Electric Association.

9             And I want you to know we take reliability seriously

10   and the storm hardening seriously.  Municipal electrics have,

11   you know, learned many lessons from the recent hurricanes and

12   we discussed a lot of those at the January workshop, which was

13   excellent, and we are taking actions to improve our

14   reliability.

15             We are also committed to working with the PSC to take

16   good ideas that work for our communities to harden our system.

17   Accountability is an extremely important part of this entire

18   process.  And one thing I want you to be aware of is that every

19   two weeks in our communities, our cities have to appear before

20   their local public bodies to talk about the operations of their

21   electric utilities.  And it is their elected officials as well

22   as anyone in the community, kind of like what you are doing

23   next week in going down to south Florida, and they hear a lot

24   from their customers.  Problems are generally addressed head

25   on, in public, as they happen.  And I want to emphasize that

FLORIDA PUBLIC SERVICE COMMISSION

29

1   there is a lot of local oversight going on in our communities

2   in a very direct way.

3             And we haven't even gotten into the proposal, but I

4   want you to know that we saw the proposal for the first time on

5   Friday and reviewed it over the weekend, so I am not prepared

6   today to discuss the details of it.  But Fred Bryant and I, our

7   general counsel, talked about it over the weekend, and I would

8   like to ask Fred to just share a few thoughts with you about

9   the municipal perspectives.

10             CHAIRMAN EDGAR:  Mr. Bryant.

11             MR. BRYANT:  Thank you, Madam Chairman.  Fred Bryant,

12   General Counsel for the Florida Municipal Electric Association.

13             I would like, Commissioner Arriaga, also, to bring to

14   your attention to another part of the statutes, 366.05(7) and

15   (8), both of which give under the Grid Bill jurisdiction the

16   authority of the Commission to require reports of all electric

17   utilities, so certainly that would include the municipal

18   electric utilities.

19             Also, Section (8) gives the Commission, if they

20   determine that there is probable cause to believe that

21   inadequacies exist with respect to the energy grid, to order

22   all electric utilities to take certain actions.  So, certainly,

23   I think your attorneys have told you that the Commission under

24   this longstanding grid bill jurisdiction has some certain

25   powers over the municipals and the co-ops.

FLORIDA PUBLIC SERVICE COMMISSION

30

1             But as Barry has pointed out, with that jurisdiction

2   the Commission must also recognize what jurisdiction the

3   Commission does not have, and that is jurisdiction over the

4   rates of the municipal electric utilities.  So there has always

5   been this balancing act in Chapter 366 as the Commission has

6   tried to exercise its jurisdiction to differentiate between the

7   investor-owned utilities, over which they have total

8   jurisdiction, including rate jurisdiction, and the municipal

9   electrics and the co-ops where they do not have such rate

10   jurisdiction.

11             Thus, if the Commission enters certain orders that

12   require expenditures from the municipal electric utilities, in

13   fact, they are ordering the electric councilmen and women of

14   our municipal electric utilities to raise rates to implement

15   Commission jurisdiction.  For, after all, our municipal

16   electric utilities do not have large cash reserves to do such

17   things, but must fund these types of programs from the rates of

18   municipal utilities and the citizens of the municipalities who

19   own those utilities.

20             Commissioner Deason, I know that you probably

21   remember fondly Commissioner Cresse.  You and I had many, many

22   years of dealing with Commissioner Cresse and his wisdom, I

23   think, in implementing this jurisdiction was always the

24   admonishment that he gave to municipal electrics and the co-ops

25   that he was going to jawbone us, jawbone the municipals and the

FLORIDA PUBLIC SERVICE COMMISSION

31

1   co-ops into following what the Commission wanted to do as far

2   as all electric utilities in the state of Florida.  And I think

3   that jawboning jurisdiction worked very effectively and has

4   worked very effectively.

5             Let me give you a case in point.  Let's take our

6   little municipal utility of Havana, approximately 20 minutes to

7   the north of us as the crow flies.  Less than 1,500 customers.

8   Part of the Commission staff's recommendations in this docket

9   proposal is that all utilities have a GIS system.  I have

10   ridden the totality of Havana's electric distribution system

11   several times.  It takes approximately 45 minutes to ride the

12   entire system.  I don't think that they need a GIS system to

13   know where all of their poles are, all of their transformers.

14   There is one substation.  So there is a difference in the

15   complexity of the Commission's exercise of their jurisdiction

16   as to a Florida Power and Light or a Town of Havana, so one

17   template simply may not be appropriate.

18             We talk about hardening the facilities to withstand a

19   Category 3 storm.  I believe my recollection, and I have been

20   around a long time, and I don't think there has ever been a

21   Category 3 storm to hit Havana.  We hope and pray it never

22   does.  But to try to dictate through a rule that is applicable

23   to all those who might be on the coast and those who might be

24   at the very northern boundary of the state of Florida, that

25   their system be hardened to a Category 3, may not be an

FLORIDA PUBLIC SERVICE COMMISSION

32

1   appropriate exercise of the jurisdiction of the Commission when

2   it involves that type of system.

3             So I would encourage the Commission, and,

4   Commissioner Arriaga, I agree totally with your concerns about

5   municipal utilities being left out of the Commission purview

6   over these items.  But I would suggest to you, sir, that while

7   you have many areas of jurisdiction and many areas in this

8   statute that give you that authority, that the true wisdom of

9   the exercise of the authority of this Commission is in the

10   method in which it exercises that authority.  So I would urge

11   you to think through the difference between a Florida Power and

12   Light and the Town of Havana 20 miles to your north as the crow

13   flies.

14             Thank you, Commissioners.

15             CHAIRMAN EDGAR:  Thank you, Mr. Bryant.  And we have

16   Mr. Willingham with the cooperatives.

17             MR. WILLINGHAM:  Thank you, Madam Chairman.  My name

18   is Bill Willingham, Executive Vice President of the Florida

19   Electric Cooperative Association.  Again, we found out Friday

20   that we were supposed to be here today, and I'm sorry that I am

21   not better prepared than I am, but I would like to make a

22   couple of points.

23             First of all, I certainly agree with what Mr. Bryant

24   just told everybody.  Second of all, I would like to note that

25   the cooperatives are under the rural utility services, and they

FLORIDA PUBLIC SERVICE COMMISSION

33

1   have several guidelines that we have to follow there.  You all

2   saw the pole inspection rule, that was from the RUS that we are

3   required to comply with.  So we do have -- and hopefully they

4   won't be competing, but we do have some other restrictions that

5   we have to keep in mind when we follow you all's

6   recommendations.

7             And the other point I want to bring up is the density

8   issue that we have.  The cooperatives serve in the very rural

9   areas.  We have at least six cooperatives in the state that

10   have only five customers per mile of line.  Anything that we do

11   that is a cost item is spread only among, you know, a few

12   customers per mile of line so it can wind up being a very high

13   cost per customer.  So we think that that has to be taken into

14   account in whatever you do that would potentially apply to us.

15   And that's all I have.

16             CHAIRMAN EDGAR:  I would point out that the workshop

17   which was duly noticed and received a great deal of attention

18   in advance was held on January 23rd and that these

19   recommendations have been out for over a week, and on January

20   23rd it was stated quite clearly that we would be having this

21   discussion today.  So, Commissioner Carter, I think you had a

22   question.

23             COMMISSIONER CARTER:  Yes, ma'am, Madam Chairman.  I

24   think that Mr. Trapp brought a modicum of succinctness to this

25   issue to where we're asking primarily for a briefing on

FLORIDA PUBLIC SERVICE COMMISSION

34

1   hurricane preparedness, and that is really the issue is public

2   safety.  And regardless of whether it is municipal or

3   investor-owned is that as Public Service Commissioners our

4   responsibility is the public safety.  And I think we could just

5   get the briefing at Internal Affairs, we can see what everyone

6   is doing in terms of what they are trying to do to protect the

7   public safety as it relates to hurricane preparedness.  I don't

8   think it requires us to have multiple polysyllabic

9   interpretations of the statute or anything like that.  I think

10   we have got jurisdiction for that, and I think that is what we

11   are asking for.

12             CHAIRMAN EDGAR:  Thank you, Commissioner Carter.

13             Commissioner Deason.

14             COMMISSIONER DEASON:  Yes, ma'am.  I have a question

15   concerning -- we are dealing with Roman numeral I at this

16   point, correct?

17             CHAIRMAN EDGAR:  Yes, sir.

18             COMMISSIONER DEASON:  I have a question to staff

19   concerning the presentation by Mr. Rollins.  And I know that we

20   have had clarification in staff's recommendation that the Item

21   (2)(C) is directed at transmission, but the points raised by

22   Mr. Rollins, it appears to me seem to be valid, but I want

23   staff's reaction to his presentation.  My concern is mandating

24   one type of resource, wood versus steel or concrete, over

25   another, if that is going to take away flexibility from

FLORIDA PUBLIC SERVICE COMMISSION

35

1   companies.  We have heard the Chairman's concern, which I

2   share, by the way, concerning costs.  Are we mandating

3   increased costs but not necessarily a commensurate amount of

4   increased reliability.  I don't have that information at this

5   point.  I'm concerned that if we do something that at this

6   point that it seems is just mandating one over another that

7   that may be a short-sighted view.  So I would like staff's

8   reaction, if I could, Madam Chair.

9             CHAIRMAN EDGAR:  Mr. Trapp.

10             MR. TRAPP:  Yes, ma'am.  I, too, was impressed by the

11   comments from the industry and would not be opposed to

12   flexibility in this area.  Staff heard at the workshop that the

13   utilities were already in the process -- or at least we think

14   we heard at the workshop they were in the process of phasing

15   out wood structures for transmission facilities.  So the idea

16   came to us, well, if they are already in the process of phasing

17   them out, shouldn't we see a plan of action for the replacement

18   of existing facilities perhaps on a little more aggressive

19   scale than just as they become noticed or available.

20             I think what I heard, though, was that to the extent

21   that facilities don't meet code, they should be made to meet

22   code and in a cost-effective manner.  And, you know, to the

23   extent that that's a management decision about the materials to

24   be used and the flexibility in design and how it conforms to

25   design process, I think that's acceptable.

FLORIDA PUBLIC SERVICE COMMISSION

36

1             COMMISSIONER DEASON:  So the concern is to meet

2   standards.

3             MR. TRAPP:  Yes.

4             COMMISSIONER DEASON:  And leave it to the discretion

5   of management and the information they get from vendors and

6   their engineers as to the best way to meet those standards and

7   the reliability and flexibility that that would -- and cost

8   considerations that would all go into that management decision.

9             MR. TRAPP:  Yes, I believe that.  I would defer,

10   however, to my experts.  You know, this is the brain bunch over

11   here, but I think that certainly the comments made sense to me.

12             MR. BREMAN:  I agree with Bob and everything

13   everybody has said on this side and wait for your vote.

14             COMMISSIONER DEASON:  So is there any particular

15   problem with the language that Mr. Rollins suggested to be

16   changed concerning evaluation of standards and that we don't

17   mandate a particular type material?

18             MR. TRAPP:  The language that was proposed referenced

19   transmission lines.  We would propose to change that language

20   to transmission poles and structures, so that it would read,

21   "Evaluate all transmission poles and structures to determine if

22   they meet current design standards and replace all transmission

23   poles and structures not meeting the current standards."

24             CHAIRMAN EDGAR:  Mr. Trapp, where exactly are you on

25   the recommendation before us?

FLORIDA PUBLIC SERVICE COMMISSION

37

1             MR. TRAPP:  I'm sorry, we're addressing item Roman

2   numeral I(2)(C), and I'm reading the language from the comments

3   that were just submitted by Mr. Rollins and offering some

4   suggested changes to the language submitted by Mr. Rollins.

5             CHAIRMAN EDGAR:  Okay.  And for those following

6   along, further discussion of that is on Page 5, I believe.

7             MR. TRAPP:  Yes, ma'am.

8             CHAIRMAN EDGAR:  And, Mr. Trapp, we are going to ask

9   you to say that for us one more time, please.

10             MR. TRAPP:  Yes, ma'am.  This is Mr. Rollins'

11   suggested language and we are amending slightly, and it reads

12   evaluate all transmission, and strike the words lines, and

13   substitute poles and structures to determine if they meet

14   current design standards, and replace all transmission, strike

15   lines, replace poles and structures not meeting the current

16   standards.  Again, because our recommendation addressed

17   transmission poles and structures, not the lines or the wires

18   themselves.

19             COMMISSIONER DEASON:  Let me ask another question.

20   It is just a question, I'm not saying we should or shouldn't do

21   it.  When you say replace, should we give further flexibility

22   to strengthening to standard or replacing or is that what you

23   envision when you use the term replace?  It seems to me that if

24   there is an existing transmission pole or structure that

25   doesn't meet a standard, there may be a very cost-effective way

FLORIDA PUBLIC SERVICE COMMISSION

38

1   to bring it to standard without actually replacing the entire

2   structure.

3             MR. TRAPP:  Yes, I agree with you 100 percent, and

4   I'm struggling with a word now.  Replace or repair, does that

5   sound reasonable?

6             COMMISSIONER DEASON:  Whatever words convey that

7   concept.  I think we should have some flexibility.  It should

8   not be interpreted that if there is a pole or structure that

9   doesn't meet a standard that it has to be replaced.  There may

10   be a better cost-effective way that is just as sound

11   engineering-wise as a replacement.

12             MR. TRAPP:  I agree.

13             CHAIRMAN EDGAR:  Mr. Rollins, are you getting some

14   comfort?

15             MR. ROLLINS:  Yes, ma'am.  I would like to reinforce

16   your thoughts here in terms of upgrades, et cetera.  In other

17   words, it would be possible, I'm not saying it is likely, it

18   would be possible that you might have a line out there that was

19   designed for a certain wind speed, that the current code would

20   require a higher designed wind speed.  A possible, maybe not

21   necessarily viable, but a possible alternative might be to

22   simply add an intermediate structure between the existing

23   structures.  In other words, something that would bring the

24   overall line back to code or to meet the current code.  So I

25   would support your upgrade or repair methodology or

FLORIDA PUBLIC SERVICE COMMISSION

39

1   recommendation.  Thank you.

2             CHAIRMAN EDGAR:  Okay.  And, Mr. Glenn.

3             MR. GLENN:  Yes.  Alex Glenn on behalf of Progress

4   Energy Florida.  Our concern with that, and maybe there is a

5   clarification, is when you talk about code, we have many

6   facilities, transmission and distribution, that are 5, 10, 15,

7   20, 30, 40 years old.  And they met code at the time when they

8   were constructed.  And that is perfectly appropriate, and that

9   is how the NESC works.  To then say that you are going to

10   upgrade all of your facilities to current code is a monumental

11   undertaking with an extraordinary amount of costs involved.

12   And so we would not -- we would caution the Commission to

13   undertake that.

14             COMMISSIONER CARTER:  Madam Chairman, may I ask a

15   question?

16             CHAIRMAN EDGAR:  Commissioner Carter.

17             COMMISSIONER CARTER:  Using what you just said, if

18   during the course of a storm or a significant impact, weather

19   or whatever, one of those structures that were under the

20   previous standards were to become damaged, if you were to

21   replace it or improve it, then what standards would you use?

22             MR. GLENN:  To current code.

23             COMMISSIONER CARTER:  Okay.  Thank you, Madam

24   Chairman.

25             COMMISSIONER DEASON:  Madam Chairman.

FLORIDA PUBLIC SERVICE COMMISSION

40

1             CHAIRMAN EDGAR:  Commissioner Arriaga and then

2   Commissioner Deason.

3             COMMISSIONER ARRIAGA:  I think one of the dilemmas

4   that staff has is that they are trying to get clarification or

5   even suggesting legislation to upgrade the current code, is

6   that correct, Mr. Trapp, to go beyond the NESC standards?

7             MR. TRAPP:  I think that is one -- that is what the

8   overhead docket is to look at, yes.

9             COMMISSIONER ARRIAGA:  So you are looking at a

10   possibility of upgrading, of going beyond what we have now.  So

11   pursuant to Commissioner Carter's questions just now, they

12   would be upgrading, if we don't do anything else, to current

13   code, not to what you are trying to establish in a potential

14   docket that we would open.

15             MR. TRAPP:  Let me make two points, if I might.

16   First of all, the language that I read to you says meet current

17   design standards.  Now, design standards can be code or above,

18   in my interpretation of that language.  The second point is we

19   will bring this back to you as a PAA order, and there will be

20   an opportunity for parties to have another shot at that time.

21   But, if you agree with the concept that we -- I mean, on Page 5

22   of our recommendation we said specifically, staff recommends

23   that the IOUs be required to prepare and file plans

24   implementing a program that replaces existing wood transmission

25   structures.  And what I'm hearing in terms of guidance is to

FLORIDA PUBLIC SERVICE COMMISSION

41

1   strike that part of that recommendation and replace it with a

2   program that evaluates all transmission poles and structures to

3   determine if they meet -- and maybe we do have a problem with

4   the word current, we might eliminate it and say determine if

5   they meet design standards and replace or repair all

6   transmission poles and structures not meeting the standards.

7             COMMISSIONER ARRIAGA:  But the problem is what are

8   the design standards that you are aiming at, which design

9   standards?

10             MR. TRAPP:  Well, you have a chicken and an egg

11   problem.  Right now we have the National Electric Safety Code

12   is what is generally accepted as being what the Commission

13   rules require.  Staff has proposed a docket to look at whether

14   or not to go beyond that code.  But until we get there, until

15   the Commission makes a decision in that docket, if we have that

16   docket, we are kind of stuck with what we have got.  So right

17   now we would ask for plans that meet the current design

18   standards of the company in the code addressing the issue of

19   wood pole structure versus metal structure.  When we get to the

20   docket where we change the design standards, we will have to

21   have a revision to that plan.

22             COMMISSIONER ARRIAGA:  May I pursue one more

23   question, Madam Chairman?

24             CHAIRMAN EDGAR:  Commissioner Arriaga.

25             COMMISSIONER ARRIAGA:  That clarifies a lot to me,

FLORIDA PUBLIC SERVICE COMMISSION

42

1   and I now will see the sequence.  But let's go to a technical

2   question based on what Mr. Rollins said.  I think I heard over

3   the course of the workshop that concrete is better than wood.

4   Is that safe to say, or did I hear correctly?  I mean, is

5   concrete structurally superior to wood?  I would like to hear

6   you, and maybe the industry.

7             MR. TRAPP:  In my technical opinion concrete can be

8   made to be superior than wood.  But, again, listening to the

9   comments here, and, quite frankly, I wish we had heard these at

10   the workshop because it would have given more for us to work

11   with in terms of the plan.  We did hear those comments,

12   concrete is generally better than wood.  There is a movement

13   for transmission structures to move to metal and concrete as

14   opposed to wood.  But, it was only a one-day workshop.  We, I'm

15   sure, didn't hear the full body of evidence on the subject.

16             Wood has been used for transmission for many, many

17   years.  And I think, as Mr. Rollins said, the limitations are

18   that wood has a known strength factor, you must design the

19   facilities to that.  If you want more flexibility in your

20   transmission design, you might go to concrete or to steel or

21   some other manufactured material so that you can make the

22   material conform to your design.  So it really comes down to

23   what is the utility trying to accomplish in their design plan

24   and in their system configuration.

25             So I really, perhaps, should apologize for being too

FLORIDA PUBLIC SERVICE COMMISSION

43

1   literal in our recommendation with respect to the replacement

2   of the wood structures.  What we are really trying to get here

3   is we heard there was a problem with transmission structures,

4   and that problem could affect -- be wood.  What we are asking

5   for is the utility to come back with some more information on

6   that, a plan that looks at their transmission structures and

7   gives us a plan of action of what they think is the most

8   cost-effective prudent means of keeping those structures

9   standing, you know, during normal and storm circumstances.  So,

10   hopefully that's the direction we are trying to get.

11             CHAIRMAN EDGAR:  Mr. Trapp, thank you.  I think that

12   clarification is useful, and I reemphasize that from the

13   information we have before all of us that what we are looking

14   at is having a PAA order come before us in April that will

15   flesh out many of these things in more detail, that there will

16   be the opportunity for all interested to share their thoughts

17   with staff as we go into these next few weeks and for a full,

18   open discussion at that April 4th meeting, and that, again, we

19   are talking about plans to help us all get our arms around all

20   of these issues.  And, Commissioner Deason, you had a question

21   earlier?

22             COMMISSIONER DEASON:  Yes, I have a question, and I

23   guess it is trying to get a better understanding of what is

24   meant by staff's recommendation to file implementation plans.

25   Now, correct me if I'm wrong, I interpreted that to mean a

FLORIDA PUBLIC SERVICE COMMISSION

44

1   plan, a plan of action that the utilities would be required --

2   not to say that if they file it, it is going to happen.  It is

3   a plan that we hope they put a lot of time and thought into

4   with cost estimates, a plan that would comply with what staff

5   is suggesting, but that it may be their recommendation that

6   while this is the plan that there may be recommendations from

7   the utility concerning time frames, or concerning what codes,

8   or concerning all of the details, that that would come to the

9   Commission and we would have the flexibility to either

10   implement it as filed or to make changes to that.  What is your

11   understanding of the plan?

12             MR. TRAPP:  I believe plans are the first step in a

13   flexible process.  I think what we have really tried to do is

14   identify areas of concern, try to get those focused into

15   recommended courses of action, if you would, or areas of

16   action.  But, like I said, it was only a one-day workshop.  And

17   to the extent that flexibility can be put into the process, I

18   think it should.  The utility should address what we have

19   identified as recommendations.  They should address the

20   specifics with which we have addressed these recommendations

21   until we hear different and decide different.  But, quite

22   frankly, if they don't agree with these recommendations, they

23   should give us a plan anyway, but then they should tell us that

24   they don't agree and then they should give us an alternative.

25             It is kind of like rulemaking in my mind.  We go

FLORIDA PUBLIC SERVICE COMMISSION

45

1   through rulemaking here at the Commission, and when we get to

2   the final agenda where the Commission gets to adopt the rule or

3   not adopt the rule, staff is free to recommend adopt the rule

4   or don't adopt the rules.  And there have been a number of

5   occasions where we have got all the way through the rulemaking

6   process and said, you know, after we went through it, it's not

7   that good an idea after all.  We recommend that you don't adopt

8   the rule.

9             So, we want to see these plans, but we also want to

10   see alternatives.  And we want to put the full body of

11   information before the Commission and let you make a decision

12   that is in the best interest of the ratepayers of Florida.

13             COMMISSIONER DEASON:  May I follow up?

14             CHAIRMAN EDGAR:  Commissioner Deason.

15             COMMISSIONER DEASON:  And it seems to me that perhaps

16   Item II(B) is a good example.  There is a recommendation

17   concerning a transmission distribution geographic information

18   system.  It sounds like a good idea, particularly for larger

19   utilities.  And we want to see a plan on that filed.  But it

20   may be that the specific facts or circumstances of the utility,

21   that there may be a better way to accomplish the end result as

22   opposed to a specific geographic information system.  Is that

23   an example of something there could be flexibility?

24             MR. TRAPP:  Gulf had an idea at the workshop.  They

25   said we are putting together this type of system.  Now, we

FLORIDA PUBLIC SERVICE COMMISSION

46

1   didn't get into the nuts and bolts of that system, so it's hard

2   for us to recommend the actual nuts and bolts, but the words

3   geographic information system tells me that you have got to

4   know where every piece of your facility is and you have got to

5   have a system to do that.  Now, the City of Havana, that could

6   be a single piece of paper that says down by the old oak tree,

7   you know, on Main Street there is a primary circuit and it's a

8   wood pole right there on that corner.  That could be their

9   geographic information system.

10             I would expect a Florida Power and Light, a Progress,

11   a Tampa Electric, or a Gulf to have something a little more

12   refined.  It may be, you know, use satellite information

13   systems and things of that nature.  But we think the utilities,

14   we heard at the workshop, need to know where their facilities

15   are so they can, you know, not only know where it's broken,

16   what's broken, how to get a replacement out there, but also do

17   forensic analysis after the fact to determine, you know, cause

18   and effect of some of these things.

19             DR. BANE:  Madam Chairman, could I just clarify?

20             CHAIRMAN EDGAR:  Doctor Bane.

21             DR. BANE:  Thank you.  On Item (C), I think Mr.

22   Rollins' language goes a totally different slant than what

23   staff explained just a few moment ago.  So I would like for the

24   Commissioners just to consider not adopting the language Bob

25   read earlier, which would require the companies to go out and

FLORIDA PUBLIC SERVICE COMMISSION

47

1   do a current evaluation and make sure they meet current

2   standards.  I think it's cleaner just to do what Bob described

3   later.  We're asking the companies to tell us their plans for

4   strengthening the transmission system.  That's it.

5             CHAIRMAN EDGAR:  A comment.  We asked our staff to

6   cast a broad net asking for, you know, as full and from as

7   varied an array of interested parties as possible to

8   participate in our information-gathering process.  And we will

9   take good ideas from anywhere and everywhere.  And, Mr. Melson,

10   I will be asking you in a minute here procedurally how we deal

11   with them of these things.  But my thinking is that the item

12   before us asked for guidance.  We are having a good discussion.

13   And there will be the opportunity, again, over the next few

14   weeks before the order comes before us, or the proposed draft

15   order comes before us in April to continue to kind of flesh

16   these things out.  And so at that point, hopefully we will have

17   additional clarity.  And Mr. Willis has asked for a brief

18   comment.

19             MR. WILLIS:  First of all, I want to thank both the

20   Commission and the staff for your involvement in this.  It is

21   obvious that you all have given this a great deal of thought

22   and spent a lot of time on it.  I think that the matters that

23   were placed in the Attachment Three, the memorandum that is

24   before you, are all things that should be discussed and

25   considered and reviewed.  But as you mentioned early on,

FLORIDA PUBLIC SERVICE COMMISSION

48

1   Commissioner Edgar, it's important to know the cost of these,

2   it is important to know any physical limitations with respect

3   to how these various processes can be implemented, the time,

4   the optimum time for any implementations that are made, and a

5   thorough discussion.  I think that we have seen that the

6   matters before us are immediate and pressing, but they are also

7   complex and interactive.

8             And that if we are too hasty in adopting one

9   particular method, we may be causing difficulties in the other.

10   So the discussion that you have had here today has been very

11   comforting in that it appears to me that what you are doing

12   today is putting on the table certain things that you want to

13   know and receive more information about, to hear our ideas

14   about whether and how they should be implemented, and, above

15   all, to provide flexibility in this process.  So, I hope that

16   that continues to be made clear as you proceed with this.

17             And I understand -- I would think that what you are

18   doing today is giving the staff direction for a future

19   recommendation to come back to you at an agenda where there is

20   an additional process.  You have had one very good day of a

21   workshop.  We have had a lot of discussion, but probably not

22   the same kind of detail that you have where you would make

23   decisions that involve a whole lot of capital expenditures and

24   a whole lot of operations and maintenance.  Thanks.

25             CHAIRMAN EDGAR:  Mr. Willis, thank you.  I think that

FLORIDA PUBLIC SERVICE COMMISSION

49

1   it sounds to me like we are all pretty much on the same page.

2   And, Mr. Rollins, very briefly, please.

3             MR. ROLLINS:  Thank you, Madam Chairman.  I just

4   wanted to clarify and make sure that I wasn't misunderstood in

5   terms of the fact that I'm not coming before you, nor am I

6   representing the entities having to do with the wood pole

7   industry advocating the replacement of transmission lines that

8   were installed in accordance with the National Electrical

9   Safety Code at the time they were installed.

10             My point was that should this body elect to require

11   reevaluation and upgrade to new standards, that that should be

12   done without regard to material.  It should be a structural

13   analysis, not specifically targeted towards wood.  I just

14   didn't want people to misunderstand that we were advocates of

15   removing lines that had been designed and installed in

16   accordance with the code.  Thank you.

17             CHAIRMAN EDGAR:  Thank you.

18             Commissioners, we do have a good amount of material

19   to continue to cover.  I'm going to, let's see, shift for at

20   least a moment here.  And I want to at least highlight the

21   recommendation that is H under Roman numeral I, Sub 2, that we

22   are talking about which asked for increased utility

23   coordination with local governments.  This is also an issue

24   that was discussed at the workshop.  I know that there is good

25   coordination and good communication, but I think there is also

FLORIDA PUBLIC SERVICE COMMISSION

50

1   some lessons that can be learned and some progress that can be

2   made.  And so I highlight that point, as well, and I look

3   forward to seeing plans that will continue to flesh that one

4   out.

5             And then under I, where the summary of the

6   recommendation is collaborative research through PURC, we have

7   heard from Professor Domijan about some of the good work and

8   some of the good ideas coming out of the University of South

9   Florida.  I'm sure that some of our other excellent academic

10   institutions may have some work, as well, so I would ask that

11   on that one, Mr. Trapp, when we are looking at the language

12   that we maybe consider broadening it a little bit.

13             I know that we had an item back before us, I'm going

14   to say maybe summer on the water conservation consortium, a

15   gathering together of best practices and good ideas.  There may

16   be some lessons to be learned from how that process is working

17   that we could bring into this.  I'm not directing specifically

18   how to do it, but I would ask that we take a look at how to

19   again cast a little broader but yet focused net and taking

20   advantage of the academic credentials and expertise that are

21   out there.  Are there other comments, Commissioners, under

22   Roman numeral I?

23             Commissioner Deason.

24             COMMISSIONER DEASON:  A clarifying question.  Where

25   are we then on I(2)(C)?  Doctor Bane, I know you made a

FLORIDA PUBLIC SERVICE COMMISSION

51

1   suggestion.  I'm just trying to find out what is staff's

2   recommendation today at this point, considering all that we

3   have heard thus far.

4             DR. BANE:  I understood Mr. Trapp to clarify that

5   what we were asking the companies to do was to file their plans

6   for addressing the transmission infrastructure.  Is that what

7   you said, Mr. Trapp?

8             MR. TRAPP:  Yes, specifically with regard to poles

9   and structures.

10             COMMISSIONER DEASON:  So we are requiring the

11   utilities to file plans to harden their existing transmission

12   infrastructure, but primarily poles and structures.

13             MR. TRAPP:  That's correct.

14             COMMISSIONER DEASON:  And we are not dictating one

15   material over another, it would be just incorporating -- now,

16   if a utility files a plan saying that they should replace and

17   they have a cost estimate and they justify that cost by the

18   added reliability that generates, that would just be part of

19   their plan and then we would evaluate that at that time.

20             MR. TRAPP:  Yes.

21             COMMISSIONER DEASON:  Okay.

22             CHAIRMAN EDGAR:  Commissioner Arriaga.

23             COMMISSIONER ARRIAGA:  It's evident that we don't

24   have all the answers and that we need to continue to pursue the

25   quest for information.  So I do encourage the dialogue with

FLORIDA PUBLIC SERVICE COMMISSION

52

1   industry, but one thing concerns me.  Do we have a deadline?

2   Because we do have a headline for hurricane season.  So I'm

3   worried that these conversations may drag and drag and drag and

4   then we don't come up with an answer.  So I think that

5   whichever conversation needs to be had and whichever

6   interaction needs to be had, I welcome it, but please put a

7   deadline on it.  That would be one comment.

8             And the second one is what the chairlady just said

9   regarding the collaboration with our universities.  During the

10   workshop this was pointed out very frequently, that the

11   industry is not looking at our very magnificent institutes that

12   we have at the University of South Florida and the University

13   of Florida.

14             During the time that I was a candidate to be a

15   Commissioner, I went in front of the nominating council and the

16   oversight committee, and one of the things I said very proudly

17   as an engineer with a major in operations research, and I also

18   said that to our executive director my first day here at the

19   Commission, that I would love to see the kind of studies that

20   is being proposed, trying to simulate from what is going to

21   happen if a specific type of weather pattern is going to hit

22   us, how the infrastructure would behave at a certain rate of

23   miles of winds, or winds of certain miles an hour.  What would

24   happen?  What would be the chaos?  What has to be done in a

25   mathematical model simulation.

FLORIDA PUBLIC SERVICE COMMISSION

53

1             I think that this is a wonderful idea.  And TECO

2   Energy proposed it in the recommendations from the workshop.

3   They also came up with this kind of suggestion.  So I would

4   encourage -- now, who is going to fund it is a question, but I

5   understand that these institutes are also funded by industry in

6   a certain manner.  I would encourage the industrial to look

7   seriously at the possibility of commissioning these two

8   magnificent institutes at the universities to proceed with

9   studies like that and take the burden off the consumer of

10   something that would really help everyone in getting some good

11   simulation techniques that would allow us to prepare better.

12   Thank you.

13             MR. TRAPP:  If I may respond.  I don't know if you

14   want a response or not.

15             CHAIRMAN EDGAR:  Mr. Trapp.

16             MR. TRAPP:  I just wanted to clarify for you we

17   intend to bring this back to you as a PAA recommendation on the

18   March 21st agenda, so that goes to your first question.  On the

19   university situation, we agree, staff agrees that not only

20   within the state of Florida, but nationally we would like to

21   attract academic thought in the areas of hurricane

22   preparedness.  Our only point in recommending the PURC was to

23   identify a focal point in academia for that to take place.  I

24   don't know, being simple-minded, I figured a business college

25   could put together a business plan and pull together all the

FLORIDA PUBLIC SERVICE COMMISSION

54

1   engineers, economists, and even accountants in academia to work

2   in cooperation with the electric utilities.  We were just

3   really trying to pinpoint a leader, if you would, in the

4   university system to do that.  And we thought since we had

5   dealt with PURC in the past that that would be a good place,

6   but we are certainly not wed to that.

7             And then, finally, I need to make a point on

8   clarification.  Staff is still a little unclear with respect to

9   the munies and co-ops on these plans.  I know that you wanted

10   them to come to the -- you kind of gave us direction on the

11   briefing for June 5th, but are we still only asking these plans

12   of IOUs?

13             CHAIRMAN EDGAR:  Commissioners --

14             COMMISSIONER CARTER:  Madam Chair.

15             CHAIRMAN EDGAR:  Commissioner Carter, go ahead.

16             COMMISSIONER CARTER:  Based upon Mr. Trapp's

17   representation to us, I think that from the perspective of

18   Paren 1 under Roman numeral I, is that they already were going

19   to come to bring us their briefing on the hurricane

20   preparedness, and what we're talking about is public safety, I

21   think that covers the issue for us.  Because they are going to

22   tell us what they are going to do for hurricane season, and I

23   think that gets us where we need to be in the context of public

24   safety.

25             CHAIRMAN EDGAR:  Commissioner Carter, those echo my

FLORIDA PUBLIC SERVICE COMMISSION

55

1   thoughts.

2             Commissioner Tew, a comment.

3             COMMISSIONER TEW:  I have a clarification question on

4   that point, too.  And I hate to belabor it, but under Paren 1,

5   do I understand your recommendation, Mr. Trapp, that you want

6   all electric utilities to complete A, B, and C under Paren 1

7   and report on that back on June 5th?

8             MR. TRAPP:  Yes.  Recognizing that A, B, and C are

9   extremely aggressive actions, and I would be a little surprised

10   if they get all of it done, but we wanted to set a very high

11   bar for them to report on at the June 5th Internal Affairs.

12             COMMISSIONER TEW:  I just want to make sure we are

13   all on the same page about what it is we are asking them to do,

14   and I had some of that remaining confusion there after that

15   discussion, so, I just wanted to get that out there.

16             CHAIRMAN EDGAR:  Thank you.

17             MR. GLENN:  Chairman Edgar.

18             CHAIRMAN EDGAR:  Yes, sir.

19             MR. GLENN:  If I might, this is Alex Glenn for

20   Progress Energy.  As a follow-up to Commissioner Tew's

21   clarification, and with respect to flexibility, a couple of

22   those, A, and in particular B, are extremely aggressive.  Now,

23   Progress Energy with respect to C, we have verified through all

24   of our sweeps and backlog work that we have none of that right

25   now from the '04/'05 season.

FLORIDA PUBLIC SERVICE COMMISSION

56

1             But with respect to inspecting all of our

2   transmission lines down to the nuts and bolts of those lines

3   within a three-month period is likely to be physically

4   impossible for us to do, and we are not sure that that is the

5   best use of funds in any event.

6             But in B, in reinspect and clear all primary

7   distribution and transmission feeder lines, again, that is an

8   incredibly aggressive time frame within which to do that.  Now,

9   Progress, we have increased tree-trimming funding for the last

10   four years.  In fact, from '05 to '06 we have increased our

11   transmission tree-trimming and distribution tree-trimming by

12   more than 30 percent.  And we frontloaded those dollars to

13   prior to storm season to get the best bang for the buck on that

14   so that we are prepared for storm season.

15             But to require the utility to within a three-month

16   period trim all primary distribution and transmission feeder

17   lines is an extremely, extremely aggressive task that may not

18   be physically able to be completed.  So we wanted to raise that

19   as far as flexibility is concerned, that we think we are

20   targeting those key areas, to Commissioner Carter's point, on

21   public health and safety, those key areas where we think there

22   would be the most problems and we are trimming those.  And we

23   are inspecting, as we do every year, our transmission

24   facilities and our lines.  After the hurricanes, we did 100

25   percent inspection of all of our transmission structures.  So

FLORIDA PUBLIC SERVICE COMMISSION

57

1   we have a lot of that in place.  But, to specify to do all of

2   those by June 1st is a very, very aggressive task, and I'm not

3   sure we could complete.

4             CHAIRMAN EDGAR:  Commissioner Arriaga.

5             COMMISSIONER ARRIAGA:  And I do appreciate your point

6   of view.  And as I said before, we need to be flexible and we

7   will be flexible.  I think Mr. Trapp has indicated that he will

8   be surprised if you can complete this whole thing in the period

9   that we are asking.  But the problem is that we need to set a

10   standard.  We need to ask you to do what you have to do.  Now,

11   you come back and three months from now you tell me I was only

12   able to do 60 percent, well, the Commission would know that you

13   have got 40 percent to do, and that is the only way we can

14   measure you and set benchmarks.  So I would ask you to strive

15   for 100 percent.  And I would understand if you cannot complete

16   100 percent, but I would know then how much you have to do, how

17   much is left to be done.  Thank you.

18             CHAIRMAN EDGAR:  I think the consensus here is that

19   under Item I, A, B, and C, and, Commissioner Tew, thank you for

20   asking for the clarification on those points, is that those are

21   things that we all have an expectation that have been ongoing

22   and continue to be ongoing and that we will get a detailed

23   report as to where we are on those at that briefing in June.

24             Commissioners, are we ready to move on?  Okay.  Then,

25   we are going to look at the specific --

FLORIDA PUBLIC SERVICE COMMISSION

58

1             COMMISSIONER CARTER:  Madam Chairman, with just one

2   understanding, that the briefing would be all electric

3   utilities; and on your comments on Paren (I) under Roman

4   numeral II, as well as the comments on the collaboration with

5   the educational institutions and your comments about cost?

6             CHAIRMAN EDGAR:  Cost and the disaster recovery steps

7   that I mentioned when we first began the discussion.  And I

8   would encourage each of my colleagues and all interested

9   parties have the opportunity, do they not, Mr. Melson, to work

10   with staff over these next few weeks?

11             MR. MELSON:  Yes, ma'am.

12             CHAIRMAN EDGAR:  Thank you.

13             MR. MELSON:  And, if you are moving away from Roman

14   numeral I --

15             CHAIRMAN EDGAR:  We are moving on.

16             MR. MELSON:  One thing that staff had recommended was

17   that we bring that back as a PAA.  And at least the current

18   draft anticipated the PAA recommendation would recommend that

19   the plans come in for administrative approval by Staff.  As I

20   have been hearing the discussion, it sounds to me like several

21   of the Commissioners may anticipate a little more formal

22   review.  And I would just like staff to have the flexibility,

23   as we bring that PAA recommendation back, to try to follow the

24   guidance I think we are hearing from the bench on that.

25             CHAIRMAN EDGAR:  Yes, Mr. Melson, I think that there

FLORIDA PUBLIC SERVICE COMMISSION

59

1   is a great deal of interest.  And it's the time frame I'm

2   trying to think through.  And rather than having to set on it

3   right here, I would hope that over these next few weeks as we

4   are working on the PAA order that would come before us for

5   consideration and discussion that time lines would be laid out,

6   and, if appropriate, options, as well.

7             MR. MELSON:  All right.  Thank you.

8             MR. TRAPP:  Chairman, may I interject one more point?

9   I apologize, in the handout I gave you this morning there were

10   some edits that we made that -- I picked up the wrong file this

11   morning.  And the discussion we have had this morning

12   reinforces it.  We had committed to the March 21st agenda.  We

13   think we might need a little more time and would like to

14   propose the April 4th agenda for that PAA.

15             CHAIRMAN EDGAR:  Mr. Trapp, the information that we

16   have before us has April 4th as the agenda for the PAA, it has

17   March 21st for the recommendation on rulemaking, which is under

18   Roman numeral II, which we are just about to discuss.

19             MR. TRAPP:  Yes.  You have the correct copy.  I

20   picked up the wrong file this morning.

21             CHAIRMAN EDGAR:  We have a lot of dates, and

22   clarification is what we are always striving for.

23             MR. TRAPP:  Yes, ma'am.  We're asking for plans on --

24   excuse me, to bring the preparedness plans PAA order to you on

25   April 4th.

FLORIDA PUBLIC SERVICE COMMISSION

60

1             CHAIRMAN EDGAR:  That is my understanding.  That is

2   our understanding.  Okay.  Then, Commissioners, as you know, in

3   the recommendation on this item, we had two additional

4   portions, pieces, pieces-parts, Roman numeral II and Roman

5   numeral III.  I think there may be some overlap in discussion,

6   so I say we take those up together, what way will work best to

7   answer your questions and to get us to where we need to be.

8   So, Mr. Trapp, I'm going to ask you very briefly to summarize

9   what is before us in Roman numeral II and Roman numeral III and

10   then we will discuss it.

11             MR. TRAPP:  Number II and Number III.  Well, Number

12   II is proposing two dockets, and we spoke a little bit about

13   that this morning.  A little more precision than what is in the

14   recommendation was on the handout sheet.  What we are proposing

15   at this time is a rulemaking docket on overhead distribution

16   standards that looks at initiating rulemaking to address going

17   beyond the National Electric Safety Code with respect to

18   construction standards for overhead facilities, and we have

19   proposed a time frame for that.

20             On the undergrounding, we need to sit down with this

21   some more to do the scheduling.  We haven't quite got our time

22   frames in this.  We view this as a little more longer term

23   proposal, but basically it is a look at underground facilities

24   and the costs and effects on the reliability of the system in

25   Florida to look at several case studies and to revisit

FLORIDA PUBLIC SERVICE COMMISSION

61

1   contribution in aid policies, and to look at alternative

2   funding and billing methodologies and cost-recovery.  That was

3   Roman numeral II.

4             Roman numeral III is legislation, and here we heard a

5   number of legislative proposals at the workshop, kind of in

6   summary form.  The ones that we grasp were to, number one,

7   while we think we have jurisdiction over our safety and

8   reliability standards under the rules and laws of Florida now,

9   certainly it wouldn't hurt to support some of the legislation

10   that is being discussed on the hill to clarify that even

11   better.  And we heard a lot of discussion during the workshop

12   about the need for vegetation management and the freedom to do

13   that.

14             We would be supportive, and we understand there are

15   bills that are being discussed over there about giving

16   utilities more authority to trim trees, both in right-of-way,

17   public right-of-way and on private land, and we would be

18   supportive of that.  Recognizing that when you get on the

19   private land side of things, you probably need to do a little

20   more talking with the landowner before you just go cut the

21   tree.

22             CHAIRMAN EDGAR:  Thank you, Mr. Trapp.

23             Again, just to help us frame the discussion, and at

24   least for my thought process, the two items under Roman numeral

25   II are items that would be action items for this Commission.

FLORIDA PUBLIC SERVICE COMMISSION

62

1   And I am hopeful that here in the next 20 minutes or so we can

2   have a consensus and give clarity to all as to how we want to

3   proceed procedurally.  And Roman numeral III would not be

4   actions of this Commission.  Those would be suggestions and

5   discussion that would be had at the legislative level.  I

6   believe, and, Doctor Bane, correct me if I'm wrong here, that

7   the first one under Roman numeral III is included in

8   recommendations that have been made by the Governor in the

9   energy plan that he released in January.  Again, that would be

10   clarification of authority that currently resides in our

11   statutes.

12             And Items 2 and 3, as Mr. Trapp pointed out, there

13   will be discussions I'm sure by the legislature during the

14   impending legislative session, and there are bills and future

15   bills probably that will address those in more specifics.  But

16   I guess the larger point is that Roman numeral II would be

17   action taken by this Commission, and Roman numeral III would be

18   do we have discussion or thoughts that we want to put into the

19   mix as the legislature is looking more closely at these issues.

20             Commissioner Tew.

21             COMMISSIONER TEW:  I have another clarification

22   question for Mr. Trapp.  These rulemaking dockets you are

23   proposing on the summary sheet, do they replace the

24   recommendations for dockets that were in --

25             MR. TRAPP:  Yes, ma'am.

FLORIDA PUBLIC SERVICE COMMISSION

63

1             COMMISSIONER TEW:  Okay.

2             CHAIRMAN EDGAR:  Commissioner Arriaga.

3             COMMISSIONER ARRIAGA:  I want to take up a

4   recommendation by the representative of the town of Palm Beach

5   and Jupiter Island, and it was a concern that I had myself and

6   I did ask you this question before.  Are these subsequent

7   dockets, or are they going to go in parallel, and what is your

8   answer on that?

9             MR. TRAPP:  They will start in parallel.

10             COMMISSIONER ARRIAGA:  You'll start in parallel.

11             MR. TRAPP:  We'll start in parallel in the sense that

12   staff still needs to sit down with the underground docket and

13   map out some schedules for it.  But, quite frankly, we envision

14   that the overhead docket is likely to go faster.  Quite

15   frankly, we have a petition before us in the overhead arena

16   from Florida Power and Light for rulemaking.  And as I

17   understand the laws, we have to do some actions within 90 days

18   and that type of thing.  So I kind of see that docket going

19   faster.

20             It may start out the same, but it will go faster than

21   the undergrounding one, which is not bad in my mind.  Because

22   if you have nailed down what we are doing with overhead

23   hardening, then you will have a quicker idea of the cost impact

24   of overhead hardening that then is a factor that goes into the

25   calculating of a contribution in aid difference for

FLORIDA PUBLIC SERVICE COMMISSION

64

1   undergrounding.  Because now you have got a higher cost

2   overhead you are comparing to a higher cost overhead which may

3   actually reduce the cost of underground to developers.  So, I

4   guess while we haven't really nailed down dates for it, we're

5   anticipating having some type of rulemaking, hearing, workshops

6   proceedings more toward, you know, the end part of the year for

7   undergrounding as opposed to overhead, which we would

8   anticipate taking place in the next couple of months.

9             COMMISSIONER ARRIAGA:  Would you be willing to

10   eliminate the word sequential process from your

11   recommendations?

12             MR. TRAPP:  Oh, did I put sequential in there?

13             COMMISSIONER ARRIAGA:  Yes.  It says sequential

14   process and I think that --

15             MR. TRAPP:  Yes, we would eliminate that.

16             COMMISSIONER ARRIAGA:  And another question, Madam

17   Chairman.  May I?

18             CHAIRMAN EDGAR:  Commissioner Arriaga.

19             COMMISSIONER ARRIAGA:  Mr. Melson, help me out with

20   this.  Number 3, Roman numeral III, legislation.  What is the

21   procedure, the legal procedure for this Commission to get

22   involved in recommending legislative action formally?

23             MR. MELSON:  If the Commission thought that they

24   believed legislation on a particular issue would be necessary,

25   I think we would work with the chairmen of the substantive

FLORIDA PUBLIC SERVICE COMMISSION

65

1   committees and the staffs of those committees to work with them

2   on language and specific proposals.  It really -- in some years

3   we have been almost purely reactive and have provided input

4   when asked on, you know, bills or ideas for bills.  In other

5   years we have been more active and have developed language that

6   typically has come to the Commission at an Internal Affairs as

7   this is a package we think is important.  And, if so, we then

8   take that to the appropriate committee chair and staff and try

9   to make our views known as to why we think we would like either

10   additional authority or clarified authority.

11             COMMISSIONER ARRIAGA:  So what is specifically staff

12   recommending that we do, that we take a reactive position or a

13   proactive position formally with the committee chairs?  What is

14   it that you want us to do?

15             DR. BANE:  Commissioner, this was just for your

16   information to let you know that we would be -- and it will be

17   up to the Chairman to decide exactly how we will approach

18   legislators.  We were just wanting to make you aware that there

19   is already legislation out there that clarifies the

20   Commission's authority to pursue some of these actions that are

21   before you today, and that there is also a number, are also a

22   number of other bills out there that address tree trimming, and

23   cooperation among the utilities and the local governments.

24             This was just to inform you, but you don't need to

25   vote at Internal Affairs on how you are going to pursue the

FLORIDA PUBLIC SERVICE COMMISSION

66

1   legislative strategy.  That is done under the coordination of

2   the Chairman.  And this was just for your information.

3             We are putting together, though, a list of the

4   specific bills that are out there that fall under these various

5   categories so that when members are meeting with legislators

6   that you can say this bill would seem to be one that would

7   really help in terms of addressing the hurricane problems.

8             CHAIRMAN EDGAR:  Commissioner Arriaga, to follow up

9   on Doctor Bane's comments and on your question, as you know,

10   when we scheduled the workshop, we did share with the

11   legislature as a whole in a variety of ways that we would be

12   having a workshop, that we would be working toward short-term

13   and long-term strategies, and that we would be providing them

14   our analysis, some recommendations, and next steps both that we

15   would be taking and next steps for consideration for areas that

16   were perhaps outside of our direct ability to act on.

17             We have sent a letter to the chairman and to the

18   members of the committees on both the House and Senate side,

19   the two committees on each side that are addressing these

20   issues, letting them know where we are in the process, and I

21   have meetings personally scheduled tomorrow with the

22   substantive chairs of the committees to let them know what we

23   have done today and what our next steps will be, and we will

24   that ongoing dialogue with those members.

25             Okay.  I think what I would like us to focus on

FLORIDA PUBLIC SERVICE COMMISSION

67

1   during this next 15 minutes or so are the recommendations under

2   Roman numeral II, which are to open a docket on these two

3   points and to see if we have consensus, comfort that we want to

4   move in this direction or if we need additional clarification.

5             Commissioners, I'm opening it up to you.

6             Commissioner Deason.

7             COMMISSIONER DEASON:  Madam Chairman, I saw that Mr.

8   Walker came up.  I didn't know if he had something to -- I

9   mean, I am willing to go forward.

10             CHAIRMAN EDGAR:  Mr. Walker, do you have a comment

11   that you would like to share with us at this time?

12             MR. WALKER:  Yes, ma'am.  We don't have any problem

13   at all with opening up a docket to look at whether or not the

14   standards for design ought to be higher.  In fact, last week we

15   filed a proposal with you to do exactly that.  We do have a

16   concern with using Category 3.  The definition of Category 3 is

17   what our concern is.  And I think you all would agree that

18   there is usually a difference in interpretation as to what

19   category the hurricane was.  It took ten years before they

20   finally decided that Hurricane Andrew was a Category 5.  We're

21   still debating over what Hurricane Wilma was.

22             What we would suggest is that you maybe look at a

23   standard that exists that we have been designing by and that

24   everybody goes by, including the building codes, and that's the

25   American National Standards Institute.  They have wind criteria

FLORIDA PUBLIC SERVICE COMMISSION

68

1   that goes into the National Electric Safety Code, and I have a

2   map here if you would like to look at it, if it would be

3   helpful.  But it is something that has been built on years and

4   years of data, everybody knows what the definition is, it's

5   what utilities have used to design their wind loading design by

6   for years.  And to suddenly switch and use a new measure to

7   look at these things by is maybe not the best thing to do.

8             It is better that everybody stick to the same

9   standard.  And, again, as I said, even building codes use that

10   ANSI standard, if you will.  And rather than get into a debate

11   over what Category 3 means and so forth, it would be good to be

12   consistent with what the design standards have been over the

13   years.  Again, I do have a map that illustrates it, if that is

14   helpful to you.

15             COMMISSIONER DEASON:  Madam Chairman, could we look

16   at that map?

17             CHAIRMAN EDGAR:  Commissioner Deason is interested in

18   seeing the map.

19             MR. WALKER:  While she is bringing that up, I would

20   point out that it may not make sense to, you know, have a

21   statewide Category 3 standard.  It may make more sense to take

22   a look at what the wind expectations are in Lake City as

23   contrasted to the southeast coastline of Florida.  If you stick

24   to a single statewide standard, you may be overbuilding in Lake

25   City and underbuilding in Miami Beach.

FLORIDA PUBLIC SERVICE COMMISSION

69

1             And we think a better approach is to turn around and

2   use this projected data, historical and projected data to

3   design the system by.  And, you know, if you are going to

4   increase the standards for construction, we think this makes a

5   lot more sense from an engineering perspective and also a cost

6   perspective.

7             What you are looking at is two pages there.  One came

8   directly out of the National Electric Safety Code showing

9   extreme wind velocities which we are recommending that we

10   design to.  And the second is a blown up map of that that gives

11   you an idea of what the differences are just within the state

12   of Florida of those.  In other words, my example of Lake City.

13   It may be 100 mile-an-hour wind speed and design whereas down

14   in south Florida it would be 150.  To us it just makes a lot

15   more sense to put the money in the right place if you're going

16   to increase the infrastructure to withstand hurricane winds.

17             MR. TRAPP:  Would you like a response?

18             CHAIRMAN EDGAR:  Mr. Trapp.

19             MR. TRAPP:  I'm in a pretty agreeable mood today, and

20   I don't disagree with the intent of what was stated, but the

21   sheet that we handed out this morning, again, kind of trumps,

22   or preempts, or is a better thought than what was expressed in

23   the recommendation, so I would suggest that the utilities keep

24   Category 3 in their mind, but recognize what we are proposing

25   now is to go to a rulemaking and we have not offered a proposed

FLORIDA PUBLIC SERVICE COMMISSION

70

1   rule at this time.  And I don't really want my hands tied about

2   what staff can put in that proposed rule.  Wind is one things

3   that happens in a hurricane, but there are other things that

4   happen in a hurricane, too, and we want to make sure that the

5   rule that we bring to you is a comprehensive rule that

6   addresses process, procedure, and intent of getting the system

7   hard in a cost-effective manner.  Thank you.

8             CHAIRMAN EDGAR:  Mr. Trapp, thank you.  And, Mr.

9   Walker, thank you for your comments and the additional

10   illustrative information.  Really, I appreciate that.  I do

11   echo Mr. Trapp's comments that the recommendation before us is

12   to open a docket that would, I think, provide a formal

13   opportunity for data gathering and for further analysis on all

14   of the points that Mr. Walker has raised and others related, as

15   well.

16             Commissioner Tew.

17             COMMISSIONER TEW:  I just had one more clarification

18   for Mr. Trapp.  Along those lines, too, I assume that you

19   intend for a cost analysis to be part of that rulemaking docket

20   as well as the other?

21             MR. TRAPP:  It is required by the rulemaking process

22   to have a statement of economic impact.

23             COMMISSIONER TEW:  Okay.  Thank you.

24             CHAIRMAN EDGAR:  Commissioner Arriaga.

25             COMMISSIONER ARRIAGA:  The process of rulemaking, you

FLORIDA PUBLIC SERVICE COMMISSION

71

1   are more experienced than me here, and is this a never-ending

2   process?  Again, I'm looking at deadlines and I'm worried, you

3   know.  When does it start, we know.  When does it end, do we

4   know?

5             MR. TRAPP:  I think that we will definitely expedite

6   this rulemaking and make every attempt to make it as short a

7   process as possible.  But rules are rules.  They can be what

8   you make of them.  They can drag on forever or they can get

9   done, and we intend to get this one done.

10             COMMISSIONER ARRIAGA:  Can you control the dragging

11   on?

12             MR. TRAPP:  With Mary's help.

13             DR. BANE:  Yes.  We are going to make every effort.

14   You'll see that we are going to the rule development workshop

15   on April 17th.  There are things we can do to expedite it.  We

16   have already met with David Smith in the General Counsel's

17   Office to see exactly how far we can go.  We're going to make

18   every effort to move it as quickly as possible.

19             CHAIRMAN EDGAR:  Commissioner Deason, just one

20   second.

21             Mr. Melson, could you, perhaps, give us very briefly

22   just a sampling of the potential things that can happen in

23   rulemaking that can perhaps stretch out a time period beyond

24   what is initially envisioned?

25             MR. MELSON:  The first stage is typically a rule

FLORIDA PUBLIC SERVICE COMMISSION

72

1   development workshop, which as Mary noted we have got targeted

2   for April 17th.  After that workshop, the staff brings a draft

3   rule back to the Commission to be formally proposed.  Once that

4   is proposed, there is an opportunity for written comments, and

5   if a party desires it for a hearing.  One thing you can do to

6   expedite the process, if you anticipate a hearing is likely, is

7   to go ahead and schedule the hearing at the outset so you get

8   all the legal notices done and don't drag that process out.

9             At the conclusion of the hearing, you have got a

10   couple of options.  One way that things are frequently done is

11   to have a recommendation, a post-hearing recommendation come

12   back as you would in many other settings.  On the other hand,

13   in a rulemaking if the Commissioners themselves sat and heard

14   the rulemaking docket, you have the potential to vote from the

15   bench at the conclusion of that rulemaking hearing either to

16   adopt the rule or to adopt it with modifications.  And

17   depending on whether there are changes or not, there are

18   certain associated notice requirements.

19             In any rulemaking, if a party believes you do not

20   have the legal authority to adopt the rule, they have the right

21   to petition the Division of Administrative Hearings, DOAH, to

22   hold a hearing on the Commission's legal authority.  And if

23   that happens, that can add time to the process.  When you are

24   looking, though, you have got a statute that specifies the

25   National Electric Safety Code essentially as the standard.  If

FLORIDA PUBLIC SERVICE COMMISSION

73

1   the intent here is to adopt a more stringent standard, even

2   with all of its timetables, it seems to me rulemaking is

3   procedurally the vehicle you need to follow.

4             CHAIRMAN EDGAR:  Thank you, Mr. Melson.

5             Commissioner Deason.

6             COMMISSIONER DEASON:  My only comment was in answer

7   to the Commissioner's question was that there are certain

8   things that we can do to expedite, but a lot of it depends on

9   the parties and what their requirements are.  But I'm sure that

10   staff knows how to move a rulemaking along, and I'm sure that

11   they are getting a sense that we feel like that should be the

12   ultimate goal.

13             CHAIRMAN EDGAR:  Commissioners, any further thoughts,

14   questions, discussion, guidance?

15             Yes, Commissioner Deason.

16             COMMISSIONER DEASON:  Madam Chairman, I appreciate

17   Mr. Walker's comments, and I think that we all would agree that

18   a rule before you propose it and adopt it that it needs to be

19   understandable, it needs to be measurable, it needs to be

20   enforceable, and lots of times that means that you end up with

21   some type of an understood criteria, such as the National

22   Electric Code, and that may be the end result.  And I think

23   staff is indicating they certainly are willing to look at that.

24   But at this point I think what I'm hearing staff saying is at

25   least at the proposal stage they just want to continue with the

FLORIDA PUBLIC SERVICE COMMISSION

74

1   greater amount of flexibility going in to try to structure

2   something that we think is going to be the most beneficial.

3             So, Mr. Trapp, it is still your recommendation that

4   we continue to use that terminology Category 3 with the

5   understanding that it is just for the proposal stage, and that

6   we do realize that we need a standard of such that can be

7   understood, measured, and enforced.

8             MR. TRAPP:  Yes, sir.

9             CHAIRMAN EDGAR:  Commissioner Deason, thank you.  I

10   appreciate your clarification, and I agree completely with

11   everything that you have said.  Commissioners?

12             Commissioner Arriaga.

13             COMMISSIONER ARRIAGA:  Something was left in the air.

14   Staff has pointed out through the workshop and just repeated

15   today that the participation of industry with the university is

16   important.  I think we have a good proposal here of something

17   that can be done.  And I threw out something in the air, and I

18   don't know if industry picked it up, I presume they did.  Can

19   they discuss with these institutes a way to pursue the studies

20   without burdening the consumer?  That was my question that I

21   threw out there, and I didn't -- because I don't want this to

22   be an additional cost that will be passed on to the consumer.

23   This is a study that will benefit everybody.  And you may want

24   to discuss it with the institutes and see if it can be worked

25   out.  Is that what staff is looking for?

FLORIDA PUBLIC SERVICE COMMISSION

75

1             MR. TRAPP:  I don't think staff has addressed

2   specific funding mechanisms for this.  We're open to

3   suggestion.  You know, nobody does any work without being paid

4   for it, and I'm sure the universities are no different.  So to

5   me there are only two sources of funding, from the industry

6   that is going to benefit from it, which means that it would be

7   a cost that consumers would ultimately bear through the

8   ratemaking process, or, through some type of legislative

9   funding.  And, you know, I would be open to a suggestion to the

10   utilities and the universities to seek that government funding.

11             COMMISSIONER ARRIAGA:  And TECO did propose a

12   specific legislation in that area, but I don't see it in your

13   legislative recommendations.

14             MR. TRAPP:  We did not include it.

15             COMMISSIONER ARRIAGA:  So is it going to be left

16   there and nothing is going to happen?

17             DR. BANE:  Commissioner, we are going to bring that

18   item back to you at the agenda conference, and then we will

19   have an opportunity to discuss more specifics.  Those

20   recommendations -- we will be bringing a recommendation to you

21   on which agenda, April 4th?

22             CHAIRMAN EDGAR:  Yes, ma'am.

23             DR. BANE:  And by then hopefully we will have a

24   little more information for you.

25             CHAIRMAN EDGAR:  And, Commissioner Arriaga, I

FLORIDA PUBLIC SERVICE COMMISSION

76

1   encourage you over these next few weeks to work with Doctor

2   Bane and Mr. Trapp to continue to kind of put some meat on the

3   bones of some of the ideas that you have suggested for our

4   consideration when that does come back before us.

5             Professor Domijan, very briefly.

6             PROFESSOR DOMIJAN:  Yes.  I think one thread that I

7   find in common amongst all the parties here at this meeting is

8   the need for information.  And, to rely on information, for

9   example, from a map that is static, you hold it in your hand,

10   we need dynamic information and we need to start looking at the

11   application of those standards in a reasonable way that is

12   based on actual empirical measurements, not simulations.  We

13   can extend to simulations, but those should be maybe funded by

14   industry if looking at specific areas for tree trimming and so

15   forth on their systems.  But we need to act now.

16             And, you know, if you wait until April, time is

17   approaching for the next hurricane season.  So if we can have

18   an informational database that can look at the reliability and

19   the weather that is actually empirically recorded, then we can

20   make the decisions, for example, on tree trimming, doing a time

21   series analysis for rainfall.  Obviously where there is more

22   rainfall you need more tree trimming in that specific area.  So

23   those are sorts of studies that could be done as an outgrowth.

24   But we can't proceed unless we have the solid information to

25   make our decisions by.

FLORIDA PUBLIC SERVICE COMMISSION

77

1             CHAIRMAN EDGAR:  Thank you.

2             Commissioners, we have covered a lot of material here

3   this morning.  I think we have had an excellent discussion.  I

4   want to thank our staff again for all the very, very hard work

5   that they have done over these past few weeks in particular.

6   And thank you, also, to all of the parties who, again,

7   participated in the workshop, participated today, and please

8   continue to join us as we try to work and focus on these

9   issues.

10             Commissioners, do we have any other comments?

11   Commissioner Carter.

12             COMMISSIONER CARTER:  Madam Chairman, I just have one

13   comment to both our staff, to those from the university

14   community, and from the industry.  Commissioner Arriaga made a

15   statement several months ago about this being a new Commission,

16   and we are committed to doing what is in the best interest of

17   the citizens of Florida, and we are pleased we don't have an

18   axe to grind, we are not on one side of the other, we are

19   trying to provide for the best interest of our citizenry, so we

20   are hoping that you will come to us not with a preconceived

21   idea, some notion, or anything like that, but come to us with

22   quality information so we can make a decision.

23             Thank you.

24             CHAIRMAN EDGAR:  Thank you.

25             Commissioner Deason.

FLORIDA PUBLIC SERVICE COMMISSION

78

1             COMMISSIONER DEASON:  I was just going to ask, Madam

2   Chairman, do we need to actually have a motion to adopt what

3   staff is recommending with all of the clarifications?  What

4   type of formal action are you looking for?

5             CHAIRMAN EDGAR:  Well, I was going to ask Mr. Melson.

6   We have given guidance, we have items coming back before us, do

7   we need a motion to move forward?

8             MR. MELSON:  I think probably a vote to give us

9   guidance as you have clarified it this morning so that we can

10   all move forward.

11             CHAIRMAN EDGAR:  Okay.  Well, then I will look to my

12   colleagues for a motion.

13             COMMISSIONER DEASON:  Well, I would move that we

14   would adopt staff's recommendation.  Express our appreciation

15   to them for yeoman's work.  I mean, this is quality work here.

16   Staff has taken some aggressive positions.  It has all been

17   done in a very short period of time, but obviously we need to

18   recognize it couldn't have been done without the workshop or

19   the participation by industry and by the universities and other

20   interested folks.  And we look forward to continuing with that

21   cooperative dialogue and exchange of ideas that we hope will

22   take place.

23             So I would move staff's recommendations with all of

24   the discussion and clarifications that we have addressed here

25   today.

FLORIDA PUBLIC SERVICE COMMISSION

79

1             COMMISSIONER CARTER:  Second.

2             COMMISSIONER ARRIAGA:  I'll second it.

3             CHAIRMAN EDGAR:  Thank you.  Please show Commissioner

4   Deason's motion carried unanimously.

5                              * * * * *

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

80

1   STATE OF FLORIDA    )

2                       :              CERTIFICATE OF REPORTER

3   COUNTY OF LEON      )

4

I, JANE FAUROT, RPR, Chief, Office of Hearing

5   Reporter Services, FPSC Division of Commission Clerk and

Administrative Services, do hereby certify that the foregoing

6   proceeding was heard at the time and place herein stated.

7             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

8   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

9   proceedings.

10             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

11   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

12   the action.

13             DATED THIS 6th day of March, 2006.

14

15             ___________________________________________

JANE FAUROT, RPR

16                   Official FPSC Hearings Reporter

FPSC Division of Commission Clerk and

17                       Administrative Services

(850) 413-6732

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION