1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

In the Matter of:

3

PROPOSED AMENDMENTS TO RULES            DOCKET NO. 060173-EU

4   REGARDING OVERHEAD ELECTRIC

FACILITIES TO ALLOW MORE STRINGENT

5   CONSTRUCTION STANDARDS THAN REQUIRED

BY NATIONAL ELECTRIC SAFETY CODE.

6

-------------------------------------

7

PROPOSED RULES GOVERNING PLACEMENT OF   DOCKET NO. 060172-EU

8   NEW ELECTRIC DISTRIBUTION FACILITIES

UNDERGROUND, AND CONVERSION OF EXISTING

9   OVERHEAD DISTRIBUTION FACILITIES TO

UNDERGROUND FACILITIES, TO ADDRESS

10   EFFECTS OF EXTREME WEATHER EVENTS.

________________________________________/

11

12

13

14

ELECTRIC VERSIONS OF THIS TRANSCRIPT ARE

15                 A CONVENIENCE COPY ONLY And ARE NOT

THE OFFICIAL TRANSCRIPT OF THE HEARING,

16            THE .PDF VERSION INCLUDES PREFILED TESTIMONY

17

PROCEEDINGS:        RULE DEVELOPMENT WORKSHOP

18

DATE:               Monday, April 17, 2006

19

TIME:               Commenced at 9:30 a.m.

20                       Concluded at 3:18 p.m.

21   PLACE:              Betty Easley Conference Center

Room 148

22                       4075 Esplanade Way

Tallahassee, Florida

23

REPORTED BY:        JANE FAUROT, RPR

24                       LINDA BOLES, RPR, CRR

FPSC Official Commission Reporters

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1                        P R O C E E D I N G S

2             MR. HARRIS:  This is a staff rule development

3   workshop, a notice was issued for dockets, let's see, 060172

4   and 060173, notice of rule development workshop.  The purpose

5   of the workshop is set forth in the notice which you all have

6   seen since you are here.

7             There is a sign-up sheet in the back of the room.

8   Everybody that wants to speak needs to make sure you are signed

9   in.

10             There are copies of the packet, also make sure you

11   have those.  They were published with the notice, but we have

12   some extra copies over here to my right.

13             The purpose of today's workshop, as I understand it,

14   and the technical staff will correct me, is we want to get you

15   all's input on the staff proposed rules.  We have a number of

16   them in the packet.  You all have looked at them.  What we are

17   trying to do today is get your comments.  Are they good, are

18   they bad, changes, proposals, additions, things like that.  We

19   want to try move pretty quickly.  We have got a lot of

20   information here.  We have the whole day for this workshop, we

21   have got a lot of people who are probably going to want to

22   speak.  So, again, what we are focused on, as I understand it,

23   is trying to make sure that we get you all's comments and

24   input.

25             With that, I'm going to go ahead and turn it over to

FLORIDA PUBLIC SERVICE COMMISSION

3

1   technical staff, who I believe have a couple of slides to start

2   out with, and we will go from there.

3             MR. TRAPP:  Good morning.  My name is Bob Trapp.  I'm

4   with technical staff, and with me is Jim Breman, from my

5   section, and Connie Kummer, and then Chris Moore, who is going

6   to keep us straight from a rulemaking legal standpoint.  And

7   then, of course Larry, our lawyer, who is going to keep us all

8   straight this morning.

9             We have a fairly daunting task before us today, so

10   staff proposes to pretty much get right down to work.  We are

11   going to begin our discussions on Page 7 of the handout.  I

12   hope that you all have gotten a copy of the handout.  If we

13   need additional copies, please let us know so we can have them

14   made.  Please sign the sign-up sheet so we know who is here.

15             But before we start on Page 7, going through the text

16   of the proposed rules, I just want to throw up some theme

17   slides, if I could.  The first one pretty well summarizes what

18   staff has proposed in Rule 25-6.034, standard of construction,

19   pertaining to the hardening of overhead and underground

20   facilities.  And, basically, what this rule proposal does is

21   adopt the high wind standards from the National Electric Safety

22   Code.  It also -- that's for overhead poles and structures.

23             For underground facilities, we have basically

24   encouraged the utilities to hardening prepare plans and

25   construction standards to harden, water proof, storm proof

FLORIDA PUBLIC SERVICE COMMISSION

4

1   underground facilities in Category 3 storm surge areas.

2             The three colored maps behind me are three counties

3   that represent the corporate headquarters of the investor-owned

4   utilities.  The state map got so small you really couldn't see

5   it, so we picked these three counties just as an illustration

6   of what is available at the website at the bottom of the page

7   that's sited in the rule, and that is the Division of Emergency

8   Management surge zone emergency planning maps.  I believe

9   Category 3 is shown in yellow, so that shows you the extent of

10   the coastal areas that we are proposing hardening to take place

11   in.

12             Other aspects of the rule, if you turn to Page 3 of

13   the handout, in the next slide we have tried to address the

14   issue of rear lot versus front lot construction.  Jim did a

15   good job of finding the horror slides of rear lot construction

16   and how messy and difficult they can be in terms of access for

17   utility maintenance and repair.  And then we tried to contrast

18   that with a fairly clean-looking front lot overhead.

19             And then, finally, as we progress through the rules

20   to the underground sections, we have put into formula form the

21   conversion case from overhead to underground for the CIAC

22   calculation.  And I assume that we'll later on in the day be

23   discussing the components of this formula in some detail.

24             And with that, I'll will ask if there are any other

25   staff comments before we get started on Page 7 of the rule.

FLORIDA PUBLIC SERVICE COMMISSION

5

1   Chris?  Connie?  Jim?

2             We will turn to Page 7 of the rule, then, or the

3   handout, excuse me.  And we're looking for your input, so we

4   welcome you.  This room is a little difficult for this type of

5   working workshop.  It's kind of hard to see and hard to know

6   who is talking, so if you will maybe raise your hand, and also

7   please identify yourself for the record because we are keeping

8   a record here.

9             The first section has to do with application and

10   scope, and I guess we'll start right off with a tough one,

11   investor-owned utilities.  Do you have any problem with our

12   jurisdiction in this rule section?  This is just IOUs first,

13   and then we will go to munies and co-ops.  Starting from my

14   left and your right, Manny, Florida Power and Light.

15             MR. MIRANDA:  You're just referring to Item 1?

16             MR. TRAPP:  Just Item 1.

17             MR. MIRANDA:  No, no concerns.

18             MR. TRAPP:  Gulf?

19             MR. BADDERS:  Gulf has no concerns.

20             MR. BURNETT:  Progress Energy Florida, no concerns.

21             MR. TRAPP:  Okay.  Maybe we need to take appearances.

22             MR. SPOOR:  I'm Mike Spoor, Florida Power and Light

23   Company.

24             MR. MIRANDA:  Manny Miranda, Florida Power and Light.

25             MR. BADDERS:  Russell Badders with the law firm of

FLORIDA PUBLIC SERVICE COMMISSION

6

1   Beggs and Lane on behalf of Gulf Power Company.

2             MR. BATTAGLIA:  Ed Battaglia with Gulf Power Company.

3             MR. BURNETT:  John Burnett, Progress Energy Florida.

4             MR. McDONALD:  David McDonald, Progress Energy.

5             MR. HAINES:  Regan Haines, Tampa Electric Company.

6             MR. H. BRYANT:  Howard Bryant, Tampa Electric

7   Company.

8             MR. WILLINGHAM:  Bill Willingham, Florida Electric

9   Cooperative Association.

10             MR. MOLINE:  Barry Moline, Florida Municipal Electric

11   Association.

12             MR. TRAPP:  And if you would, identify yourselves

13   every time you speak.

14             Fred Bryant wants to be recognized in the back of the

15   room, as well.

16             MR. F. BRYANT:  Fred Bryant, Florida Municipal

17   Electric Association.

18             MR. TRAPP:  And, Fred, there is a whole bank of

19   microphones here to our left.  And anyone else who would like

20   to speak, please feel free to come to a microphone.

21             And this is the most important lady in the room, our

22   court reporter, who makes sure she knows who you were.

23             I think we got down to TECO.

24             MR. HAINES:  Regan Haines, Tampa Electric Company.

25   No comments on Item 1.

FLORIDA PUBLIC SERVICE COMMISSION

7

1             MR. TRAPP:  I'll turn now and ask the same question

2   to -- well, I guess the co-ops, since they are next in line.

3             MR. WILLINGHAM:  Yes, we do question your

4   jurisdiction, especially with proposed Sections 5 and 6 of the

5   rule.

6             MR. TRAPP:  Would you -- what's your proposal in

7   Section 1?

8             MR. WILLINGHAM:  Well, I mean, there are a couple of

9   options here.  If you are going to leave 5 and 6 the way they

10   are, obviously, we would recommend that you just not put us in

11   the rule.  We have never been in the rule before, and we

12   thought that was a correct interpretation before.  But those

13   two sections cause us a lot of pain.  I can go through the

14   whole spiel if you want to hear it.

15             I mean, we're -- the co-ops, you know, certainly

16   share the Commission's desire to minimize the outages that are

17   going to result in the inevitable outages from hurricanes, and

18   we welcome the opportunity to work with you on this effort.

19   But we just think you are talking about some big costs here.

20   You're talking about things that, you know, construction

21   standards as opposed to -- you know, the National Electric

22   Safety Code has criteria in it.  They are not really standards.

23   And so we think you are kind of making a big leap of faith here

24   that we just don't think is there.  But these are -- when you

25   are talking about big dollar items, we think that's exclusively

FLORIDA PUBLIC SERVICE COMMISSION

8

1   the co-op board's jurisdiction.

2             MR. TRAPP:  Okay.  Municipals?

3             MR. F. BRYANT:  Bob, I have got a couple of questions

4   on the section of the rule on standard of construction.  And I

5   would like to really hear from staff on what portion of your

6   jurisdiction as to this part of the rule you believe you are

7   implementing.  I'm not trying to take a position right now.  I

8   really want to understand more of where you are coming from and

9   the thought process of what you are trying to get to under this

10   section.

11             As you remember, this particular section never was

12   applicable to the municipals or the co-ops.  The next section

13   on safety was.  And now you're adding to this section.  I'm

14   just trying to understand how you are trying to arrive at that.

15             MR. TRAPP:  So you are more interested in the legal

16   definition or the legal explanation as to why we have

17   jurisdiction, or you're looking for clarification with respect

18   to the technical requirements of the rule and whether or not

19   they conform to existing jurisdiction?

20             MR. F. BRYANT:  Well, obviously, you know that every

21   rule that you adopt must have statutory jurisdiction authority

22   in order to adopt that rule.  Heretofore, this portion of the

23   rule was not applicable to municipals or the co-ops, the

24   standards of construction.  I understand that in this

25   rulemaking process you are expanding the scope of what you are

FLORIDA PUBLIC SERVICE COMMISSION

9

1   trying to accomplish in this particular area, so I'm curious as

2   to which portions of the statute that you believe now are

3   applicable in this one particular portion of the rule.

4   Because, obviously, the next portion of the rule there has

5   always been your safety provision.  You have a particular

6   statutory section on safety that applies to municipals and the

7   co-ops that you have had implemented for, I don't know, 10 or

8   15 years.

9             So you have gone from one section of your rules that

10   definitely the municipals and the co-ops were included under

11   safety, and it is now going into construction where you have

12   never had the jurisdiction before, so I would like to

13   understand better the thought process of doing that.

14             MR. TRAPP:  Well, I'm not an attorney.

15             MR. F. BRYANT:  No, I know.

16             MR. TRAPP:  I have an engineering background, but

17   before I turn to my attorney, let me just give you the

18   technical staff's perspective.  We're given to understand that

19   we do have jurisdiction under the statute, and that it has to

20   do with whether or not that jurisdiction was codified in the

21   rule and enforced in the rule in the past or whether or not the

22   systems that existed up until now have been sufficient for the

23   munies and co-ops to basically follow along, if you would, with

24   what was being required of the investor-owned utilities.

25             I'm given to understand, though, that with respect to

FLORIDA PUBLIC SERVICE COMMISSION

10

1   the standards of construction, our legal staff tells us that we

2   do have jurisdiction, and that if we elect to make you part of

3   this rule, it is within our jurisdiction to do so.

4   Understanding that the purpose of this rule is to try to

5   strengthen Florida's ability, enhance our ability to serve the

6   public good, protect citizens and their essential services to

7   the extent that we can and to the extent that it is cost

8   justified to do so, to withstand the onslaught of hurricanes

9   and storms which seems to have increased in frequency.

10             So, again, I hope that we -- we trust that we haven't

11   been Draconian in the measures that we have proposed here, but

12   that is what we are here for today is to hear whether or not

13   they need to be strengthened, softened, modified, or altered.

14   So I hope, notwithstanding the jurisdiction arguments that we

15   will have some good input from all the people here today about

16   how we can make this a good rule, and then we can fight the

17   legal battles later.

18             MR. F. BRYANT:  I understand.  You know, lawyers are

19   caught up in technicalities, and I'm just trying to understand

20   which portion of the statute that this new change to 25-6.034

21   is derived from.  That is the technical question, and perhaps

22   your legal staff could --

23             MR. TRAPP:  Bill pointed specifically to Sections 5

24   and 6 of the rule which we will get to pretty quickly to

25   discuss the merits of the language.  Is your objection to the

FLORIDA PUBLIC SERVICE COMMISSION

11

1   overall exercise of jurisdiction or could it be possibly be

2   ameliorated by fixing 5 and 6?

3             MR. F. BRYANT:  Normally, you know, when I have an

4   objection, I take my shoe off and bang on the table.  This is

5   really just a preliminary question to make sure that we

6   understand where you all are coming from.

7             MR. TRAPP:  Okay.  Larry, did you have --

8             MR. HARRIS:  Yes.  I don't want to go into a lot of

9   detail about the argument, but I think, essentially -- I think

10   it is 366.05, Subsection 8, I believe, requires all electric

11   utilities, and my understanding of all electric utilities is

12   everybody in the state needs to maintain a reliable grid.  And

13   we have the authority after due process, after hearing

14   concerns -- and "we" being the Commission, have the authority

15   to require what the Commission would determine to be in the

16   public interest and necessary for safety and reliability.

17             I think there is a distinction between public

18   utilities and electric utilities.  And my recollection is the

19   statute that I'm thinking of refers specifically to all

20   electric utilities within the state.

21             Again, I think Mr. Trapp was correct.  Our real

22   interest here today is in making sure you all feel that you

23   have presented enough information that we can take to the

24   Commission for their determination of public interest.  But I

25   do believe that under the Grid Bill the Commission has the

FLORIDA PUBLIC SERVICE COMMISSION

12

1   authority to require for safety or public interest, you all to

2   step up to some standards if a determination is made that the

3   standards you are operating under today are not sufficient.

4             MR. F. BRYANT:  So I guess the answer to my question

5   was this is not based upon your safety jurisdiction the

6   specific section that the next rule is based upon as opposed to

7   your Grid Bill jurisdiction.

8             MR. HARRIS:  Correct.  There's a difference between

9   our safety -- the Commission's safety jurisdiction and the

10   Commission's reliability jurisdiction.

11             MR. F. BRYANT:  I understand.  Okay.

12             MR. TRAPP:  I guess for the time being we will move

13   to Paragraph 2.  Paragraph 2, the intent of Paragraph 2 is to

14   recognize the current edition, which is the 2002 edition of the

15   National Electric Safety Code, as the minimum construction

16   standard for transmission and distribution facilities.  This

17   parallels recognition of this code in the safety statute and

18   the safety rule, but we wanted to make a separate statement and

19   make a clear distinction that there are overall construction

20   standards and then there are safety standards, and they are two

21   different things.  So this basically codifies the National

22   Electric Safety Code in its current form, and as it is updated.

23             At the same time, let me cover Paragraph 3 which,

24   basically, is staff's attempt to acknowledge the grandfathering

25   provision that's usually associated with the National Electric

FLORIDA PUBLIC SERVICE COMMISSION

13

1   Safety Code.  This says that existing facilities are judged by

2   the code at which they were constructed or at the time they

3   were constructed.  And, basically, new construction, new code

4   standards only come into play when you have major repairs,

5   replacements, retirements, things of that nature.  So taking 2

6   and 3 together, anybody have a problem with 2 and 3?

7             Bill.

8             MR. WILLINGHAM:  Yes.  Bill Willingham with the

9   co-ops.  I just have -- it's kind of a technical problem.  I'm

10   not sure it is a big problem, but calling the National Electric

11   Safety Code the minimum construction standards, I kind of have

12   a problem with.  Because the electric safety code, they are not

13   design specifications, and it is not really a construction

14   standard.  We have the rural utility services that pretty much

15   defines what our construction standards are, and if the PSC is

16   going to get into the business of defining the co-ops'

17   standards, then we have got some problems under the RUS,

18   because we loan covenants with the RUS, and we will follow

19   their specifications.

20             I don't know where we are going with this, but we

21   have got the potential down the road to have a conflict with

22   those, and that would be a huge issue for the co-ops.

23             MR. TRAPP:  To what extent do the code requirements

24   or construction standard requirements of the co-ops fall below

25   the National Electric Safety Code?

FLORIDA PUBLIC SERVICE COMMISSION

14

1             MR. WILLINGHAM:  Oh, none of them are below.  That is

2   the absolute minimum that we design to.  Several of our co-ops

3   are designed above that standard.

4             MR. TRAPP:  Well, if they are the absolute minimum,

5   what's wrong with calling them the absolute minimum?

6             MR. WILLINGHAM:  If they are the minimum, I don't

7   have a problem with.  I just have a problem with saying that

8   they are construction standards, because I don't think they

9   are.  In fact, the code specifically says they are not design

10   criteria.

11             MR. TRAPP:  If you look at Line 12 at Page 7, it says

12   as the minimum construction standards.  Does that not satisfy

13   your concerns?

14             MR. WILLINGHAM:  Well, yeah.  I don't think the

15   National Electric Safety Code are construction standards.  So,

16   you are adopting them as construction standards, and I just

17   have got a problem with that terminology.  If you want to say

18   as, you know, the minimum safety criteria or something like

19   that, I think that would be more appropriate.

20             MR. TRAPP:  Well, again, we are trying to make a

21   distinction here between safety requirements and construction

22   standards for reliable adequate provision of service.  So, I'm

23   not sure that that solution would work.  Do you have another

24   solution?

25             MR. WILLINGHAM:  No, I don't.

FLORIDA PUBLIC SERVICE COMMISSION

15

1             MR. TRAPP:  Maybe think about it for the written

2   phase.

3             MR. WILLINGHAM:  We'll do our best.

4             MR. TRAPP:  Thanks.  Anyone else?

5             MR. BURNETT:  Bob.

6             MR. TRAPP:  I'm sorry.

7             MR. BURNETT:  Thank you, Bob.  John Burnett, Progress

8   Energy Florida.  Bob, I think you answered sort of the question

9   we had in your description of the interplay with Subsection 2

10   and 3.  And you actually used the word major there when

11   referring to expansion, rebuild, and relocation.  I think that

12   clarified staff's intent for us.  And in the written phase we

13   wanted to offer up maybe some definitions that would capture

14   the intent of major.

15             But, again just to reflect.  That was staff's intent,

16   though, is to make the expansion, rebuild and relocation major

17   projects and not, for instance, touching one piece of equipment

18   on one pole which would require an entire line to be upgraded

19   out of the grandfather standard.

20             MR. TRAPP:  So you are speaking of Lines 14, 15, and

21   maybe 16?

22             MR. BURNETT:  Yes, sir.

23             MR. TRAPP:  We have difficulty with that,

24   understanding what is major maintenance and what is minor

25   maintenance.  And to the extent that you can clarify that, I

FLORIDA PUBLIC SERVICE COMMISSION

16

1   think it would be helpful.

2             MR. McDONALD:  Well, I think as we consider -- David

3   McDonald, Progress Energy.  As we consider this rule, and I'm

4   sure I'm going be oversimplifying it, but we are looking at

5   potentially the replacement of a pole is when this rule would

6   be invoked.  Because we go under the premise of a work order

7   number to a lot of poles doing a lot of different things.  And

8   when you look at a relocation, as an example, you may -- on a

9   feeder you are may have a thousand poles, and you are only

10   affecting 20 or 30 poles on that.  The way I would interpret

11   what you are striving for is the 20 and 30 would fall under

12   this premise as long as those poles are being removed and

13   relocated to another location.  Is that a pretty good -- but

14   not the rest of the pole line.

15             MR. TRAPP:  I really don't know, David.  We're torn,

16   to be honest with you.  We have got the pole inspection plan

17   out there that was intended to find every rotten pole and make

18   sure that it met standards.  And I think our -- I don't know.

19   I personally see that as the weakest link in terms of a storm

20   resistance load, whatever, that pole standing there.  So I

21   think our intent is to address major work orders, and we

22   attempted to address it with work order, but I think you're

23   right, a work order could be one pole or it could be many.

24             So, again, staff is struggling, trying to define

25   this.  Much of it, in my mind, may come into play, as you do,

FLORIDA PUBLIC SERVICE COMMISSION

17

1   and we are going to ask at the end of the workshop that you do

2   do some economic analysis on these words.  And to the extent

3   that maybe you could give us some feedback on what the cost

4   impacts would be as to whether or not we narrow it to one pole

5   versus 20, 30, 40.  You get into line segments.  I don't

6   know -- we haven't heard that much trouble with that, so I'm

7   not sure I am as concerned, but you did touch on the sore

8   point, poles.

9             MR. McDONALD:  And the biggest point is the

10   demarcation.  When you look at a relocation, it's pretty well

11   defined what that takes.  And I'm just using that as an

12   example, the major relocation and the major project.  It has

13   pretty good boundaries.  If you start going beyond those

14   boundaries, then where do you stop?  Do you stop at the next

15   disconnect point?  Do you go all the way back to the

16   substation?  And, then, do you go beyond that, do you go to the

17   lateral?  So that's the clarification, in order to answer this

18   economic evaluation, we need to consider.

19             MR. TRAPP:  I take your point, and would very much

20   appreciate words to support the point, because time is going to

21   be of the essence here.  And we do need proposed alternative

22   language if you have a real heartburn with something we're

23   proposed.

24             Are there any more comments?

25             Manny.  I'm sorry, I think Fred was first.

FLORIDA PUBLIC SERVICE COMMISSION

18

1             MR. F. BRYANT:  We are on Page 7?

2             MR. TRAPP:  Yes.

3             MR. F. BRYANT:  Okay.  I'm a little confused with

4   talking about the -- and maybe it wasn't intended.  It seems

5   that you are saying the National Electric Safety Code is

6   minimum construction standards.  And then I read the

7   introduction to the National Electric Safety Code, and it says,

8   and I will paraphrase:  The purpose of NESC is the practical

9   safeguard of persons during the installation, operation, or

10   maintenance of electric supply and communication lines and

11   associated equipment.  The NESC contains the basic provisions

12   that are considered necessary for the safety of employees and

13   the public under these specific conditions.

14             And this is the line bothers me:  The NESC is not

15   intended as a design specification or as an instructional

16   manual.  Do you see any inherent conflict in the verbiage of

17   your proposed rule that seems to indicate that the NESC is a

18   minimum construction standard?

19             MR. TRAPP:  My problem is I don't think you want us

20   to write construction standards for you.

21             MR. F. BRYANT:  Oh, I agree.  And I'm not quarreling

22   with what you are trying to get at.  I'm just asking.  It's a

23   verbiage question more than a technical question.  I was just

24   troubled by what I was reading in the NESC prologue, if you

25   will.

FLORIDA PUBLIC SERVICE COMMISSION

19

1             MR. TRAPP:  Well, the easiest way to take care of

2   that trouble is to just say that we ignore that sentence in the

3   code, and we don't adopt that sentence.  But I don't think that

4   is very practical.  Just to throw an idea out there, what if we

5   said that -- instead of saying as the minimum construction

6   standards, what if we were to concept it as the basis for

7   minimum construction standards to be proposed and adopted by

8   the utilities?

9             In other words, what we're looking for here is a base

10   line, a starting point, and we have selected the National

11   Electric Safety Code because that is pretty much all we are

12   aware of.  The burden, though, is on you.  The burden is on the

13   utility to construct and maintain its facilities in a safe,

14   efficient, effective, adequate, reliable manner.  And that is

15   what is we are trying get to here.  This is just the starting

16   point.  Now we are going to add to it a few more hardening

17   concepts later on in the following paragraphs.  So does that

18   make you feel any better if we were to --

19             MR. F. BRYANT:  I'm --

20             MR. TRAPP:  The basis -- you know, the basis for

21   plans to be developed by utilities?

22             MR. F. BRYANT:  We might have some suggested words.

23   You know, I'm just trying to think through how you are using

24   your language here.

25             MR. TRAPP:  Well, I am hoping to get some kind of

FLORIDA PUBLIC SERVICE COMMISSION

20

1   consensus out today.

2             MS. KUMMER:  Bob, could I jump in for just a minute?

3             MR. TRAPP:  Connie.

4             MS. KUMMER:  I'm not sure that just because the NESC

5   doesn't set itself out as being a standard that we can't adopt

6   the criteria in that as a standard.  Now, that is just a

7   thought.  We haven't talked about that in particular.  But just

8   because it doesn't hold itself out to be a standard, I don't

9   think is really a controlling factor.

10             MR. F. BRYANT:  I understand, Connie.  The last

11   sentence of Subsection 2 talks about a copy of the NESC can be

12   obtained from the Institute of Electric and Electronic

13   Engineers, EEI.  Just a suggestion, you might want to think

14   about how you word that in here.  Because if I were John Doe

15   Public and read this and then called and asked for a copy, and

16   I was told as I was last week when I called them, yes, you can

17   have a copy, send us $200.  I guess if I were the public I

18   would be a little upset with the Commission saying to the

19   public you can get a copy, but then I find out it cost me $200.

20             MR. TRAPP:  I think I would be a little upset with

21   the Institute of Electronic and Electronic Engineers for

22   putting those publication requirements on such a public code.

23   And maybe we should refer those phone calls to them and to ANSI

24   and to some other -- your point is well-taken.  Staff has one

25   copy, by the way, that's what we can afford.

FLORIDA PUBLIC SERVICE COMMISSION

21

1             I think Manny was first, and then Mr. Nelson, is it,

2   Nelson Bingel?

3             Manny.

4             MR. MIRANDA:  Manny Miranda, Florida Power and Light.

5   Generally, we are in agreement with the context of it.  One

6   area that we would like to ask about is during a storm

7   restoration event, and we would like to make sure that during a

8   storm event that we have an exclusion for that.  We would come

9   back and rebuild, but there is a possibility that we don't want

10   anything that would delay our restoration efforts.

11             So we want to make sure that, you know, for example,

12   you may have a concrete pole that broke due to some kind of

13   toppled tree or something.  We may want to go back with a wood

14   pole temporarily, get lights on and then come back and build it

15   back to the appropriate code.

16             MR. TRAPP:  As you propose that language, keep in

17   mind that temporary repairs should not be permanent repairs.

18             MR. MIRANDA:  We understand that.

19             MR. TRAPP:  And so any exclusion that we grant should

20   be followed by, in my mind at least, a very stringent

21   requirement to get the permanent repair in.

22             Mr. Bingel, I believe it is.

23             MR. BINGEL:  Yes.  I'm Nelson Bingel with Osmose, and

24   I am also on the NESC.  And there is -- at every meeting we get

25   together there is always a reminder that it is a basic safety

FLORIDA PUBLIC SERVICE COMMISSION

22

1   standard.  That is the definition of the NESC.  It is not a

2   design guide.

3             But I think, Bob, you were moving in the direction

4   that maybe could blend these two requirements together with the

5   idea that if it said as the minimum standards for safe

6   construction of transmission and distribution facilities, then

7   we are not really calling it a construction guide or a design

8   guide.

9             MR. TRAPP:  That is a point well taken.

10             Do we have other comments?  Barry.

11             MR. MOLINE:  Bob, I just want to clarify, to follow

12   up David's question about major and your comment back to him

13   that said staff was a little uncertain about what you were --

14   how you were defining that.  And you asked us for words to

15   define that or economic analysis.  What are you looking for?  I

16   mean, we can do anything, but are you looking for a list of 20

17   examples we consider this to be major and this not to be?  I

18   mean, are you looking for, you know, just a sentence that tries

19   to define it?  But, you know, you asked us for information, but

20   I'm trying to figure out what kind of information you need to

21   have to define it.

22             MR. TRAPP:  As we attempt to define the granularity,

23   I guess, of what we mean by what is a replacement, what is

24   major, what is minor, what is in between, it occurs to me that

25   the decision has to be governed to some degree by cost, cost

FLORIDA PUBLIC SERVICE COMMISSION

23

1   impact.  If it was free, every time something breaks replace

2   it.  But it's not free.  So I need some type of system analysis

3   from each utility on what, you know, order of magnitude cost

4   impacts of different gradients of the words you're going to

5   propose.  I need to know what it is going to cost.

6             MR. MOLINE:  Okay.

7             MR. TRAPP:  Yes, sir.

8             MR. ROLLINS:  My name is Martin Rollins.  I'm a

9   consulting engineer from Gulfport, Mississippi.  I'm here this

10   morning on behalf of the North American Wood Pole Council,

11   which represents all of the wood pole manufacturers in North

12   America.  I just wanted to, you know, make a short comment that

13   I had questions as I read this in terms of interpretation and

14   applicability.  Some of the things that Mr. McDonald, I think,

15   has sort of alluded to.

16             In Paragraph 2 we talk about new construction, but

17   when we get over to Paragraph 5 or 6, we get as specific as new

18   structures.  And we talk about relocations and we talk about

19   expansions, rebuilds, et cetera, the interpretation is going

20   need to be made as to, you know, what are you really saying in

21   this rule.  And you talked about a line relocation and how far

22   back does it go?  Does it go to the next switch gear or

23   whatever.

24             I guess my question, or to further expand on that is

25   are we only talking about structures?  If we are going to

FLORIDA PUBLIC SERVICE COMMISSION

24

1   upgrade to NESC extreme wind criteria, then we have got all

2   other aspects of the system that need to be evaluated at that

3   the time also.  That would include cross-arms and conductors

4   and insulators, et cetera.  So how do you -- and I guess what

5   I'm saying and I'm raising the issue that there is a great deal

6   of interpretation or clarification that's going to be needed to

7   be developed in order for the utilities to be able to

8   understand what you are actually asking of them.

9             MR. TRAPP:  Well, just to answer your question, on

10   Line 13, it says construction standards for transmission and

11   distribution facilities.  Facilities is meant to be

12   all-encompassing.  I think our discussion may have gotten

13   focused into poles, but we are talking about everything.

14             MR. ROLLINS:  Right.  But I guess the question is I'm

15   going out on a routine replacement to replace a single pole, be

16   it wood, steel, or concrete.  I'm replacing a single pole on a

17   routine maintenance basis.  Do I have to design that new pole

18   to NESC extreme wind criteria in accordance with Paragraphs 5

19   and 6, or am I not going to be allowed to do that?  Because,

20   you know, Paragraph 5 says new structures.

21             MR. TRAPP:  We're on Paragraph 2.

22             MR. ROLLINS:  I understand.  But I guess it goes to

23   the definition of what we are calling new construction, then.

24             MR. TRAPP:  Well, let's try to get to Paragraphs 5

25   and 6, because that is really what we are here for.

FLORIDA PUBLIC SERVICE COMMISSION

25

1             MR. ROLLINS:  Yeah. I wasn't objecting --

2             MR. TRAPP:  No.  At that point I think your point

3   needs considerable discussion.

4             MR. ROLLINS:  The other thing is I think you should

5   properly reference the National Electrical Safety Code, I think

6   is the property name.

7             MR. TRAPP:  Excuse me.  Say that again.

8             MR. ROLLINS:  It's the National Electrical Safety

9   Code, not the National Electric Safety Code.

10             MS. KUMMER:  Let me just jump in.  I think I'm

11   hearing the same types of things from different people around

12   the room.

13             You have to remember rulemaking is by its nature a

14   generalized concept.  You are not going to put a laundry list

15   of every possible thing that could happen in a rule.  It just

16   doesn't work.  So we try to capture as much as we can.  And,

17   granted, there will be some ambiguities.  There is in every

18   rule in the rule book.  There are gray areas, and we have to

19   deal with those.  What we're trying to do is capture a broad

20   concept with enough detail that we can implement it and maybe

21   draw some lines in individual circumstances down the road.  But

22   we will never be able to capture in the rule every single

23   circumstance that will arise.

24             MR. TRAPP:  Can we move to 4?

25             Having established the National Electric Safety Code

FLORIDA PUBLIC SERVICE COMMISSION

26

1   as kind of bare bones minimum, Paragraph 4 says the utilities

2   can do more.  Does anybody have a problem with that?

3             MR. WILLINGHAM:  Bob.

4             MR. TRAPP:  Yes, Bill.

5             MR. WILLINGHAM:  This is Bill Willingham.  I don't

6   have a problem with exceeding the minimum National Electric

7   Safety Code or Electrical Safety Code, excuse me.  But, again,

8   just -- I have just a conceptual problem with dealing with the

9   code as being a reliability standard.  It is not really

10   designed to be a reliability standard.  So I don't know if

11   there is anything out there that we can use, but calling it,

12   you know, for reliability purposes is -- I'm not sure that is

13   appropriate.

14             MS. KUMMER:  You mentioned that RUS has standards.

15   How do they compare to the code?  Are they roughly the same

16   types of things or is it a totally different concept?

17             MR. WILLINGHAM:  It's different.  I mean, this is

18   just for 14.4 kV construction and these are all the

19   construction drawings.  It's very different than the code.  The

20   code really has the minimum criteria that these drawings are

21   based on.  So, you know, these are construction standards, and

22   the code is certainly -- they are built to withstand the

23   minimums of the code.  The code is like our -- is your ground

24   floor.  This is where you start.  You have to design to this

25   level.

FLORIDA PUBLIC SERVICE COMMISSION

27

1             MS. KUMMER:  But RUS exceeds the NESC across the

2   board?

3             MR. WILLINGHAM:  Not across the board, no, ma'am.

4   But in several cases co-ops -- they are allowed to go above the

5   RUS standard if they want to.  They just -- they can't go below

6   the RUS standard.

7             MR. TRAPP:  And that's what this rule says.

8             MR. WILLINGHAM:  Exactly.  But the concept of using

9   it as a reliability standard, that is not what the code is for.

10   You know, we take reliability into concern when we do our

11   construction standards, but the code is not a reliability

12   standard.

13             MR. TRAPP:  Okay.  I understand your problem is with

14   the words --

15             MR. WILLINGHAM:  Yes, sir.

16             MR. TRAPP:  -- as we have used them.  But, again, I

17   will offer the concept.  If we use the National Electric Safety

18   Code as a starting point and say that utilities will adopt

19   minimum standards in adherence to that code or some other way

20   of saying it, you know, does that help you?

21             MR. WILLINGHAM:  Yes.  Because actually we are fine

22   with it, and we do that already.  It's just the word

23   reliability is what is troubling to us.

24             MR. TRAPP:  Okay.  So we will call the duck a goose,

25   and it will be fine.

FLORIDA PUBLIC SERVICE COMMISSION

28

1             MR. WILLINGHAM:  Okay.

2             MR. TRAPP:  Okay.  Can we move to 5?

3             Well, before I leave 4, I want to go to Lines 2

4   through 4 of the previous section in 4, where it says each

5   investor-owned utility, and here we are making -- I want to

6   make it clear we are making a distinction here that we have

7   ratemaking authority over investor-owned utilities, but not

8   over munies and cooperatives.  So to the extent that cost

9   justification is required for ratemaking purposes, we're

10   focussing in on investor-owned utilities.  We have asked that

11   they -- that you, IOUs, identify and report the effects on

12   total system costs and reliability and justify any resulting

13   increases in rates to any standards that you adopt that exceed

14   the minimum level of the code.  Is there any comment on that?

15             MR. HAINES:  Regan Haines, Tampa Electric.  Just to

16   clarify and make sure I understand the intent, the minimum

17   standards as you have defined here includes the extreme wind

18   that you are proposing in 5?

19             MR. TRAPP:  No.

20             MR. HAINES:  So if we were to exceed the minimum as

21   the NESC is currently written --

22             MR. TRAPP:  Correct.

23             MR. HAINES:  -- we need to justify that?

24             MR. TRAPP:  The intent of our rule construction is to

25   first establish the minimum, then allow utilities to go beyond

FLORIDA PUBLIC SERVICE COMMISSION

29

1   that where it is prudent and cost justified to do so, and then

2   identify two specific areas where you are ordered, basically,

3   to exceed the code.  That's the concept.

4             MR. HAINES:  Okay.

5             MR. PORTUONDO:  This is Javier Portuondo with

6   Progress Energy.  Bob, I need to understand Line 4, resulting

7   in an increased rate charged to ratepayers.  This is at the

8   time that this construction standard is exceeded, is that

9   case-by-case?  Help me understand what staff is getting at

10   there.

11             MR. TRAPP:  My perspective is that you manage the

12   company, we don't.  We don't micromanage you.  You have to make

13   decisions out there every day to budget, expend money.  At the

14   time you make those decisions, you make some assessment as to

15   whether or not you think that's going to be viewed as prudent

16   by the Commission.  And then you take the action, then you take

17   the risk, and then you justify it at the time of cost-recovery.

18   That is, I think, the concept we were trying to capture here,

19   is that you have to be prepared to defend any increase in cost

20   as being justified.

21             MS. KUMMER:  It's the same kind of standard analysis

22   we go through in every rate case.  We look at your expenses,

23   your expenditures.  If they look high or out of the ordinary,

24   you would be required to justify them.

25             MR. PORTUONDO:  Okay.  I was just more concerned that

FLORIDA PUBLIC SERVICE COMMISSION

30

1   we may provide more specificity of when that is going to take

2   place.

3             MR. TRAPP:  We are not proposing a clause, and we are

4   not proposing a time -- it is, basically, at the time of

5   cost-recovery.

6             MR. PORTUONDO:  At time of cost-recovery.

7             MR. TRAPP:  When you request cost-recovery would be,

8   you know, the last time -- excuse me, the latest time, I guess,

9   we would look at it.  But you know very well how we are.  We

10   talk.  You come up and tell us some things that you're doing if

11   you feel uncomfortable about it and get some guidance and

12   things of that nature.

13             MR. PORTUONDO:  That's perfect.  And I may even, you

14   know, recommend that we add at time of cost-recovery, increase

15   at time of cost-recovery.

16             MR. BREMAN:  One clarification.  This is Jim Breman.

17   Is your question with respect to the report, the timing of the

18   report?

19             MR. PORTUONDO:  No, I would believe that it would all

20   occur at the same time.

21             MR. BREMAN:  Right.

22             MR. PORTUONDO:  You would be justifying it at the

23   time of cost-recovery requests.

24             MR. TRAPP:  But I'm hearing you are probably going to

25   suggest that language -- those words be tagged on to the end of

FLORIDA PUBLIC SERVICE COMMISSION

31

1   Line 4?

2             MR. PORTUONDO:  I think it gives it more clarity.

3             MR. BADDERS:  One comment.  This is Russell Badders

4   on behalf of Gulf Power.  Where we discuss, report the effects

5   of the total system cost and reliability, I heard you say that

6   you are really just trying to get at the regular prudency

7   review.  Instead of tying this to reliability or anything like

8   that, wouldn't it be better to go ahead and just point this to

9   the simple prudency review language, just discuss prudency?

10             I guess my concern here, if you tie it solely to

11   reliability, there may be other reasons you go beyond the NESC

12   standards.  It may be that you want to try something, and you

13   can't show that it may have -- that it will have an increase to

14   reliability, you would still want to do it and it would still

15   be prudent.  I mean, it is still prudent to pilot things.  It

16   is still prudent to take activities, even if it isn't tied

17   solely to reliability.  It just seems to me that this ties this

18   to reliability as the prudency review.  That's the standard --

19   you're not following?

20             MR. TRAPP:  No, no.  I am following.  I'm just having

21   a hard time understanding what areas you would -- I mean, this

22   is a reliability rule, so --

23             MR. BADDERS:  I understand.  I guess my concern is

24   there may be things that a utility would want to try or that

25   they are going to do that they might may not be able to show a

FLORIDA PUBLIC SERVICE COMMISSION

32

1   reliability increase at the time.

2             MR. TRAPP:  What other purpose --

3             MR. BADDERS:  Well, it could be that you are trying

4   to discover whether or not it will or it won't.  You have to

5   pilot, you have to try it.  I would hate to undertake

6   something, and you go in and it's, well, what are the

7   increases?  Show me the increased reliability.  How does that

8   effect the numbers?  You may not have that up front.  It may be

9   something you will get over time, but it would still be prudent

10   to undertake those activities.

11             MR. BREMAN:  Does your question really go to whether

12   or not this rule applies to R&D?

13             MR. BADDERS:  Maybe to some point.  I guess really I

14   was trying to bring it up to one step -- I guess to a more

15   general just discuss prudency review.  They have to

16   undertake -- they can exceed minimum construction standards

17   where it's prudent to do so, something in those terms, rather

18   than basically tying it to total effect on system costs,

19   reliability and all of that.  I know -- I think we're getting

20   to the same point, I'm just trying too make the rule a little

21   broader.

22             MR. TRAPP:  And I'm trying to understand your

23   concern.  On Line 3, it starts a compound sentence, and it

24   requires two things.  It requires you to report some

25   information, because we are interested in knowing that

FLORIDA PUBLIC SERVICE COMMISSION

33

1   information.  But then the second stand-alone phrase in my mind

2   really occurs on Line 4, and shall justify any resulting

3   increase.  Now, you can use any reason or excuse under the sun

4   as far as I'm concerned to justify an increase, but at minimum

5   we want to know what the effects are on the total system cost

6   and reliability.

7             Now, if there are other effects, maybe we should

8   include those in the rule.  But what I'm hearing is maybe you

9   want us to tone that down to say report the effects, period.

10             MR. BADDERS:  I think we get to the same point.  I

11   was just trying to make this a little more general, because I

12   thought I heard Ms. Kummer just say that we're really trying to

13   get to the regular prudency review.  Obviously, anything that

14   an IOU does for cost recovery in a rate case or otherwise, you

15   have to prove up the prudency of your actions.  I was just

16   trying to bring the language back to that.

17             MS. KUMMER:  Okay.  Well, my comment went to the rate

18   increase in the recovery of the clauses.  I think Bob is right,

19   the whole purpose of this rule is to improve the reliability of

20   the system, and that's what we are trying to get at is what

21   have you done.  There may be other reasons in addition to

22   reliability that you do something.  That is really what we are

23   trying to key in on is reliability.

24             MR. BADDERS:  Okay.  Thank you.

25

FLORIDA PUBLIC SERVICE COMMISSION

34

1             MR. TRAPP:  Manny, I guess.  I'll take my

2   investor-owned utility first, if you don't mind.

3             MR. MIRANDA:  Bob, one of the things as we are

4   working through trying to translate the extreme wind into an

5   operational tool, one of the things that is starting to surface

6   for us is, you know, we serve 35 counties, and not having so

7   many different standards within each one of those.  So as we

8   are looking at translating it into a real operational tool, we

9   are defaulting into, like, three or four horizons, for example,

10   within the state.  And in some cases, some of those zones

11   exceed the minimum of the NESC, and I just wanted to get some

12   clarification.  Is this what you are looking for as to come

13   forward and say we are going to exceed it, but in the case of

14   FPL, for standardization and economies of scale and for

15   translating to real construction standards, at minimum we would

16   meet the NESC requirement.

17             MR. TRAPP:  I don't think the word system in here

18   constrains you from that concept, if that's your concern.

19             MR. MIRANDA:  That's my concern.

20             MR. TRAPP:  You know, I think it is the

21   responsibility of the utility to determine what is best, and if

22   you feel that addressing divisions differently for just cause,

23   that you report and justify, I think that's absolutely

24   acceptable.

25             Jim, did you have a comment?

FLORIDA PUBLIC SERVICE COMMISSION

35

1             MR. BREMAN:  I think he is trying to jump to the

2   goal-plating question of when you go to a rate case here

3   numbers are somewhat overstated, because you have built to

4   140-mile-an-hour zone when in reality the area you are serving

5   is 110.

6             MR. MIRANDA:  Jim, as we translate, it doesn't go to

7   those levels, but you might be between 135 and 140, for

8   example, and it doesn't make sense to have one for different

9   wind speeds.  So we were saying maybe that's an area we would

10   go to 140, and the minimum requirement under NESC might be 135.

11             MR. TRAPP:  I think the code -- is it still up there?

12   Yeah.  The wind speed code already has different requirements

13   for different parts of the state.  If you have a problem with a

14   hot spot that repeatedly gets hit with higher winds than are

15   shown by this code, I would think you need to react to that.

16             MR. MIRANDA:  Sure.

17             MR. TRAPP:  And I think in two ways.  First, go to

18   the hot spot and fix it, and then send your person that

19   represents you on the committee with ANSI to fix the code.  And

20   then that in turn would be adopted by the Commission if it's

21   prudent.

22             MR. MIRANDA:  I will give you an example up there,

23   Bob.  For example, Broward County has three zones within it. In

24   order to manage that effectively, just balancing

25   standardization with, you know, economies of scale, if we can

FLORIDA PUBLIC SERVICE COMMISSION

36

1   prove that in the end it is the same for cost-effectiveness, we

2   may prefer to have one standard in Broward County versus three

3   operating practices within one county, and that's what we are

4   referring to is in that region.

5             MS. KUMMER:  I think you just answered your own

6   questions.  If that is the most cost-effective construction,

7   then that is what we would always want you to do, and that

8   would be your justification for doing it and your

9   responsibility for showing those.

10             MR. MIRANDA:  And then we would come forward and

11   present it if there is some --

12             MR. TRAPP:  Yeah.  And I just want to make it clear,

13   also, that if the rulemaking language that we have selected is

14   too restrictive, give us something else.

15             MR. MIRANDA:  Very good.  Thank you.

16             MR. TRAPP:  Because we do not want to tie your hands

17   on this.  We want to hold you to cost responsibility,

18   reliability, and those types of measures.  But, certainly, we

19   don't want to tie your hands in terms of creativity or

20   efficiencies and things of that nature.

21             And I had a question here or comment.

22             MR. ROLLINS:  Again, this is Martin Rollins.  I'm

23   certainly not knowledgeable at all in terms of the rate

24   structure and how that all works between the utilities and the

25   Commission, but I just want to point out one thing.  The

FLORIDA PUBLIC SERVICE COMMISSION

37

1   language that we see right now seems to be encouraging, in

2   fact, that we are going to design to NESC minimums, whatever

3   those safety criteria are.  And I just want to point out that

4   for distribution lines in particular, I would submit that there

5   is not a single line in the state of Florida that was initially

6   designed at NESC minimums, nor would there be one, in my

7   belief, in the entire United States.

8             In other words, the distribution system is designed

9   and built with some fat in the system because it is intended to

10   be a capital asset that is going to last for 35 or 40 or even

11   50 years.  So you have to put some fat into the design to allow

12   the additional underbuild, you know, the additional cable TV,

13   telephone, et cetera, potentially to reconductor that line with

14   larger conductors at a point in time in the future where we

15   don't have to replace all the structures.

16             So this language that I'm seeing, I guess my question

17   is this language is sort of saying that utilities are not going

18   to be able to design distribution systems the way they have in

19   the past, which is to include some excess capacity, so to

20   speak, to allow for future additions of, for instance,

21   underbuild without having to go through, you know, some formal

22   rate determination procedure.

23             MR. TRAPP:  I don't believe that is the intent.

24             Mr. Bingel, I know that you probably represent your

25   company nationwide.  Do you have any examples from other

FLORIDA PUBLIC SERVICE COMMISSION

38

1   jurisdictions that might help us here in terms of standards of

2   construction adoption language?

3             MR. BINGEL:  I thought what Martin was referring to

4   is the fact that when you -- distribution in particular, when

5   you build a line you don't engineer each span.  And so you will

6   look at some of the higher loaded spans and pick a class pole,

7   and you will install a hundred of those.  And, typically, then

8   there is a little extra margin on the majority of the

9   installations out there.  I would say that it is true that the

10   vast majority of poles are not loaded to 100 percent.  So there

11   is some extra margin in there, but I think that is just part of

12   a construction tolerances kind of thing.

13             MR. TRAPP:  And I think we agree, and I know the word

14   gold-plating was used, but it is not our intent to accuse

15   anyone of gold-plating here today or intentionally doing it in

16   the future.  You necessarily want to design more into the

17   system.

18             I was a Star Trek freak.  I just loved it, and you

19   know, Scotty never gave you the true number.  He always held

20   back at least 10 percent, so you know.  I'm struggling, though,

21   with how to capture that in terms of rulemaking language.  And

22   if -- I mean, again, the concept was very simple.  We are

23   simple-minded staff.  Start with the National Electrical Safety

24   Code, allow the utilities to build in fat where it is prudent

25   to do so, address two specific areas of hardening.  That was

FLORIDA PUBLIC SERVICE COMMISSION

39

1   where we started.  If there is some better language to do that,

2   that's what we would like to know.

3             MR. BINGEL:  I think this might fit in with the

4   previous discussion and your comment about the fact that it's

5   the most cost-effective way to not engineer every single span;

6   it's to engineer the whole line.  And inherently there is some

7   extra capacity in most of the poles, but that is still the most

8   cost-effective way to build it.

9             MR. BUTLER:  The concern, though, that I think

10   that -- this is John Butler, Florida Power and Light Company.

11   The concern that we have about the reporting aspect of this is

12   that taken literally and at its extreme, just using the example

13   given of a line where some of it requires a particular size and

14   strength of pole, other parts that are not quite as highly

15   loaded you could you get by and meet the minimum with a little

16   bit less of a pole.  And maybe some other part on the line it

17   could be even a slightly smaller pole.

18             At its extreme, read literally, this reporting

19   requirement would have the utility going in and determining

20   kind of pole by pole where that's the case, and then reporting

21   to you each one of them, what the justification for that one

22   versus another one is.  It seems like that could be very

23   burdensome and really not give you any information you're

24   particularly looking for.

25             This needs some sort of either de minimis threshold

FLORIDA PUBLIC SERVICE COMMISSION

40

1   or some sort of intent to have built the line deliberately

2   beyond sort of what would ordinarily be the applicable

3   standard, something like that to keep it from at least

4   potentially creating a real reporting nightmare.

5             MR. TRAPP:  John, I think staff's intent here was --

6   I mean, we struggled with this.  Do we want the Commission to

7   approve every project, every work order?  You know, I don't

8   think the Commission has enough time to do that, so we softened

9   it to a report.  Maybe that is not the right word.  What

10   language would you suggest?

11             MR. BUTLER:  Well, going to what I was saying

12   earlier, it seems to me like that either some sort of de

13   minimis threshold on it where, you know, if you are exceeding

14   by some sort of percentage or going into a separate category

15   than what would otherwise be applicable, that that is something

16   that you would end up reporting.

17             Or alternatively that, you know, where there is the

18   reporting on plans that a utility has to make a specific kind

19   of conscious exceedance of ordinarily applicable standards in

20   an area that the utility would end up bringing those to the

21   staff's attention, as opposed to the kind of -- inadvertent

22   isn't quite the right word, but just kind of inevitable minor

23   exceedances that come from having some consistency in the

24   system and also allowing yourself some margin for error on what

25   will be required in the future.

FLORIDA PUBLIC SERVICE COMMISSION

41

1             MR. TRAPP:  The difficulty I see with that is

2   assigning numbers to words like de minimis, margin, things of

3   that nature.  And maybe that's where we will get some help with

4   the language in terms of going back to the discussion we had on

5   what is a relocation, what is a repair, what is a fix.

6             It is not our intent to change the current system.  I

7   mean, we think, basically, you build structures properly.  It

8   is our intent, however, to focus in on these areas, wind speeds

9   and their effect on overhead facilities in total, and flood

10   zones, that's really -- but in order to get there, in our

11   minds, we had to start with building from a minimum, National

12   Electric Safety Code.  The utilities, you know, have their own

13   standards and then maybe -- and more and more in my mind the

14   discussion we had with Bill and the co-ops of instead of

15   calling the National Electric Safety Code a standard, making it

16   the basis for construction plans and standards that utilities

17   adopt internally that are subject to review by the Commission,

18   which I think is the system now, is it not?

19             You have your own construction manuals.  They specify

20   how you are going to build poles, lines, segments, systems.

21   And the Commission periodically, through its staff and through

22   hearings and through site visits, reviews those and feels

23   comfortable with them.  We get to a rate case and we give you

24   money for them.  So maybe we can reword this a little bit.

25             MS. KUMMER:  Bob and I may disagree on this, but it

FLORIDA PUBLIC SERVICE COMMISSION

42

1   seems to me that last sentence is simply to ensure

2   accountability, that you're not going out there putting in

3   things that you don't need and then come in here expecting to

4   be reimbursed for them.

5             Certainly, put in what you need, what you think is

6   prudent and what is cost-effective.  But don't just go out and

7   build everything to the gold standard, and then say, oh, well,

8   we had to do it for reliability, give us the money.  That is my

9   take on that sentence.  It's simply -- it's a measure of

10   accountability.  That is what we were trying get at.  If you

11   have got better words, we would welcome them.

12             MR. BREMAN:  John, I don't know if you were in the

13   room at the time, but I think Progress and Gulf Power were

14   making comments to the effect that the language at the time of

15   cost-recovery being added to this sentence might allay some of

16   your concerns about reporting.  But that was the general

17   concept.  We weren't really trying to change anything or make

18   new reporting requirements.

19             MR. BUTLER:  I was in the room when that was

20   described.  Is it the intent of that that it would apply to

21   both the reporting and the cost justification, if you -- that

22   timing constraint?

23             MR. TRAPP:  It would not be my intent.  Jim and I may

24   disagree on this point.  It would not -- and, again, reporting

25   may be not the right word.  But I think you are -- it is your

FLORIDA PUBLIC SERVICE COMMISSION

43

1   responsibility to be prepared at any time the Commission asks

2   to justify your actions.  And I think that's what is intended

3   by, you know, maintain reports, maintain whatever.  When I come

4   to you and ask you, though, why did you spend a million dollars

5   because you, you know, increased this particular standard?  And

6   you say, I don't know.  We did that ten years ago, and I don't

7   have any justification for it, but give it to me anyway.  Well,

8   I want -- you know, we want you held to a standard of being

9   able to justify your actions at any time.  And it culminates at

10   the time of cost-recovery, but I think it can take place at any

11   time in the continuum.

12             MR. BUTLER:  We'll think of some other words, if we

13   can.

14             MR. TRAPP:  Yes, sir.

15             MR. ROLLINS:  Any possibility of just changing that

16   word minimum to normal?  Because your normal construction is

17   going to exceed the minimum standard and --

18             MR. TRAPP:  Which line?

19             MR. ROLLINS:  On Line 2.

20             MR. TRAPP:  Line 2, exceed minimum construction.

21             MR. ROLLINS:  Just say normal construction standards.

22             MR. TRAPP:  That might work.  Can we move to 5?  Now

23   that we have described, you know, the way things work,

24   Paragraph 5 is the new stuff.

25             Yes.

FLORIDA PUBLIC SERVICE COMMISSION

44

1             MR. BURNETT:  Thank you, Bob.  John Burnett, Progress

2   Energy.  Bob, if it's acceptable, we have some proposed

3   language that we would just like to tell you first and then

4   tell you why we would propose the different language there.

5             MR. TRAPP:  Okay.

6             MR. BURNETT:  Starting at Line 8, Progress Energy

7   Florida would propose that the sentence read, "The extreme wind

8   loading standard shall be applicable to targeted facilities as

9   identified by utilities as a result of post-storm data

10   gathering and analysis."  So, effectively, we would strike

11   everything on Line 8 after the word "to," pick up the word

12   targeted and facilities in Sub C, and then add as identified by

13   the utilities.

14             MR. TRAPP:  So you would not eventually build the

15   state of Florida to the wind code standards through

16   replacement, you would only do it on a targeted basis?

17             MR. BURNETT:  That's right.  And, Bob, the

18   justification behind that is it seems that what staff has done

19   in this whole hurricane hardening process is taken a tiered

20   approach, which we think is a good idea.  You have set forth an

21   inspection plan, a sort of data gathering and reaction plan

22   that we are going to present in June.  And then we think

23   gathering data from that targeting, making good decisions that

24   make good sense based on the inspections and the data gathering

25   that we have done.  We think that process works and should be

FLORIDA PUBLIC SERVICE COMMISSION

45

1   carried on.

2             And, also, I think that process is consistent with

3   the concept that staff has set forth in Subsection 4 that we

4   just talked about.  If it makes sense, justify why it makes

5   sense.  Be prepared at any time, as you say, to say why did you

6   do this here.  So we think rather than having the global

7   application of Subsection 5, that same standard should be

8   applicable as reflected in Subsection 4.  If it makes sense, we

9   should do it, and we should be prepared to say why we did it.

10             I would like, if I could, to let David McDonald here

11   briefly tell -- he's got three points as to why we don't think

12   the global application in Subsection 5 would be a good idea.

13             MR. TRAPP:  Okay.

14             MR. McDONALD:  David McDonald, Progress Energy.

15             As we considered this, as you know the National

16   Electrical Safety Code is being revised for the 2007 year.  It

17   has been looked at since roughly 2003.  And this one issue

18   that's being discussed, especially about the extreme wind

19   loading, has been discussed since that point.  And based upon

20   the investigation and analysis at the National Electrical

21   Safety Code, more specifically Subcommittee 5, their

22   recommendation is that this extreme wind loading shouldn't be

23   applied to distribution facilities.

24             There were three proposals that were going to reverse

25   that and eliminate the 60-foot exclusion, but based upon the

FLORIDA PUBLIC SERVICE COMMISSION

46

1   analysis, based upon all the investigation that they've done,

2   the feedback they have gotten from as far away as New

3   Hampshire, Texas, and everything in between, that subcommittee

4   has rendered that they are going to reject the elimination of

5   that exclusion policy.  So they feel, based upon their

6   understanding, that it should be -- that exclusion should

7   remain in there.

8             So looking at that from their perspective, looking at

9   this over three years and also understanding how we are looking

10   at -- no matter how we say it, utilizing the National

11   Electrical Safety Code as a basis for our construction

12   standards, however that wording comes out, at this point to not

13   adopt totally what they're looking at, we don't feel is a

14   prudent thing to do.

15             And we also feel like, based upon what John said, you

16   follow an adhered path, you looked at our existing

17   infrastructure, said we need to inspect it to ensure the

18   strength and stability of that.  It makes sense.  The next

19   piece, doing the analysis so that we can look at our targeted

20   areas that need this type of upgrade.  And then you put in the

21   Tenet 4 to allow us to do that.

22             The second thing that I want to mention is our

23   performance.  When you look at our performance at Progress

24   Energy, we went through four hurricanes.  As a result of those

25   four hurricanes we lost less than 6/10ths of a percent of our

FLORIDA PUBLIC SERVICE COMMISSION

47

1   poles.  So you can do the math and look at what caused those

2   numbers.  We had pretty good performance related to this.  So

3   we don't feel that our performance warrants going to this

4   stepped-up criteria.

5             And then the final thing, when you look at what that

6   could -- if you were to adopt that, what that would do to our

7   operational and construction procedures.  When you look at us

8   as a company, we have roughly 50 digger derricks.  Those are

9   the type trucks that install poles.  Based upon going to an

10   increased wind loading standard, depending upon what type poles

11   you ultimately have to use, you may have to change out that

12   entire fleet.  Also, our rear easement construction -- or

13   construction efforts or procedures, that would be changed

14   drastically if we were to pursue this.  So there are a lot of

15   issues to determine if this were to be adopted.

16             But, again, from a Progress Energy perspective,

17   National Electric Safety Code has seen no reason -- the

18   National Electrical has seen no reason to pursue this.  Our

19   performance as a company, we see no reason to pursue it.  So

20   based upon those and the impact to our company, we feel like

21   this isn't the best course of action for our customers.

22             MR. BURNETT:  Bob, if I could just add -- John

23   Burnett, again, for Progress Energy.  One final word to that is

24   we're not saying that this type of activity would not make

25   sense maybe in some places in our service territory, but,

FLORIDA PUBLIC SERVICE COMMISSION

48

1   again, we feel like staff has the right approach, that let's do

2   the inspection, let's do an analysis, let's see if it makes

3   sense, and have us prepared to justify it if it is there.

4             MS. KUMMER:  Would the Commission have an opportunity

5   to look at how you define targeted facilities?

6             MR. BURNETT:  Yes, ma'am, absolutely.  I think that

7   would be part of our process, is that we would -- we, as the

8   utility, would necessarily have to define why we made that

9   decision, what we were looking at.

10             MS. KUMMER:  I mean up front.  Would you be

11   interested in filing any kind of a description up front so the

12   Commission would have some idea, rather than wait until

13   afterwards when perhaps we didn't think you targeted the

14   correct facilities, and we've got people out unnecessarily if

15   they have been built to a different standard?

16             MR. BURNETT:  Connie, I think we can do some of that

17   now, because we do have, as David said, you know, two hurricane

18   seasons in this '04 and '05 year behind us.  I think we can do

19   that, but I think it will be an ongoing and interactive process

20   based upon a lot of the things that staff has implemented.  As

21   David mentioned, our pole inspection plan and the June plan.

22   So, yes, to some degree, but I think it is a changing target,

23   that it will necessarily have to evolve over our experience.

24             MR. TRAPP:  John, could I ask a few questions?  I

25   don't mean this as unfriendly cross, but there are some things

FLORIDA PUBLIC SERVICE COMMISSION

49

1   you all have said that I would like clarification on.  Maybe I

2   should springboard off of what Connie said with the more global

3   before I get more picky with you.  It seems to me what you are

4   proposing is higher risk to the ratepayers that facilities

5   might be adversely affected through a hurricane, but what I

6   also heard was that there is higher cost associated with doing

7   this as opposed to your more targeted approach.

8             You did quote some cost numbers.  Can you define that

9   in post-workshop comments?  In other words, can you tell us how

10   much this is going to cost to do it the way staff has proposed

11   it, and then can you tell us how much it's going to cost if we

12   do it on your targeted approach?  That's my first point.

13             MR. BURNETT:  Bob, to your question, I think we can

14   give you estimates of what we think it would cost to do it on a

15   global basis as the current rule is drafted.  And, certainly,

16   as I have mentioned to Connie, based on the experience we have

17   now, give you some idea of what we think the cost would be

18   under a more targeted plant, based on the information we have.

19             But, Bob, one thing I did want to mention is the

20   higher risk.  That's a point that I wanted to make sure we made

21   well enough, is that we are not necessarily in agreement that

22   there would be a higher risk to the ratepayer that the

23   equipment would fail.  I think that is one of the key points

24   we're trying to make is that we didn't see that.  So far of

25   what we have seen in our '04 and '05 experience, we are not

FLORIDA PUBLIC SERVICE COMMISSION

50

1   seeing that this standard would have done anything to help the

2   ratepayer out at all with respect to the poles that failed.

3             MR. TRAPP:  Then I would encourage you also to

4   include that risk assessment in your response or your comments

5   to the as proposed and what you would like proposed analysis.

6             MR. BURNETT:  Yes, sir.

7             MR. TRAPP:  And then just to get picky with you.  On

8   the IEEE committee business that met on the wind speed, I don't

9   understand how that process works.  That's a Florida map.  It's

10   only one state.  Did the nation make judgments for Florida, or

11   did Florida representatives make judgments for Florida on that

12   committee?

13             MR. McDONALD:  I apologize.  I may not have been

14   clear enough.  What I was trying to demonstrate is they were

15   speaking about the National Electric Safety Code nationally.

16             MR. TRAPP:  Okay.

17             MR. McDONALD:  They weren't speaking for Florida in

18   particular.

19             MR. TRAPP:  Well, it seems to me that we need to

20   focus on that map and not what, you know, Maryland and New York

21   and some other --

22             MR. McDONALD:  Your point is well made.  My only

23   reason for bringing that out is there was a lot of data

24   gathering, there was a lot of input from throughout the nation

25   in order to determine exactly what is the risk.  Was that risk

FLORIDA PUBLIC SERVICE COMMISSION

51

1   quantified?  Not that I have found so far.  But the intent was

2   to say all of these areas that have been impacted -- when you

3   look at the Carolinas, they had five hurricanes in a

4   two-and-a-half-year time frame, from '98 to 2000.  So the

5   intent was to say based upon all the global feedback that we've

6   received, is there risk, greater risk by not adopting this for

7   distribution poles.  And what I have inferred from my reading,

8   is that that is not the conclusion they came to.  The

9   conclusion was there is not greater risk.

10             MR. TRAPP:  How granular was their study?  Did they,

11   for instance, differentiate between just any distribution pole

12   and like feeders?  Did they look at feeders separately or --

13             MR. McDONALD:  To my level of understanding right

14   now, I couldn't answer how granular it was.

15             MR. BREMAN:  These are all investor-owned utilities

16   primarily that are on the NESC committee?

17             MR. McDONALD:  That is not correct from what I have

18   read.  There were cooperatives --

19             MR. BREMAN:  But you are not on the committee at all?

20             MR. McDONALD:  Myself?

21             MR. BREMAN:  Well, I mean, Progress isn't represented

22   on the committee?

23             MR. TRAPP:  Go ahead.  Yes, sir.

24             MR. BINGEL:  Progress actually has a very good

25   transmission engineer on the committee.  I just thought I would

FLORIDA PUBLIC SERVICE COMMISSION

52

1   give a little background on the extreme wind load case.

2   Previous to 1977, there was only light, medium, and heavy

3   loading in NESC.  There was no extreme wind load case.  Then

4   what happened in the -- and the light, medium, and heavy is

5   considered a winter storm, because there was a combination of

6   ice and wind.

7             Then there were several transmission failures in the

8   northern central part of the U.S., and it was only in

9   transmission, and they were in the summer.  So they were high

10   wind summer events, and that's when the code said, you know

11   what, we have to adopt an additional criteria for transmission

12   poles to protect against summer storms.  In 1977 then is the

13   first time that extreme wind was in the code, and that is what

14   its function was.

15             During the late '60s and '70s, as wire size

16   increased, that was the difference in what happened, was that

17   the higher speeds and the larger wire started causing those

18   transmission systems to fail.  So that becomes the governing

19   load case even in icy areas, the extreme wind with a large

20   conductor.

21             Now, for the last 30 or 40 years all the wind speeds

22   have been measured at 33 feet above ground.  And there were

23   people on the code saying, well, look, this new map we just

24   adopted all the speeds are at 33 feet, yet we are saying don't

25   apply it until 60 feet.  It didn't seem to make technical

FLORIDA PUBLIC SERVICE COMMISSION

53

1   sense.  And that was the genesis of saying, you know, I think

2   we could remove that exclusion and apply that extreme wind to

3   all structures.

4             A task force was formed which I was part of to

5   evaluate that.  And after several meetings, a lot of

6   discussion, the general feeling was that once debris starts

7   flying around in a storm, that's when the wind-only loading

8   criteria kind of aren't adequate.  It's hard to design for tool

9   sheds running into lines.  And so the result of the task force

10   effort was to cap the speeds.

11             For Grade B it was 94 miles an hour, and for Grade C

12   it was 77 miles an hour.  And that tied in with the

13   Saffer-Simpson Hurricane Category 2, which is where they

14   describe is when things start flying in the air.  And that

15   category is 96 to 110 miles an hour.  And Fujitsu Tornado

16   Damage Scale, where it said F-1, 73 to 112 miles an hour is

17   when things start flying around.  So that was the effort in the

18   task force, to say, hey, if we really want to increase

19   reliability and safety, we can only go up to the point where

20   debris starts to fly around, because it would be very difficult

21   to design for those conditions.

22             The public comment came back.  We received 167

23   comments on that proposal, and overwhelmingly from people that

24   were out after storms seeing what had happened, there is a very

25   strong opinion that trees and debris cause a majority of the

FLORIDA PUBLIC SERVICE COMMISSION

54

1   failures, as well as foundation failures.  Now, I am also aware

2   that in last year's storms in Florida there were some pure wind

3   failures.

4             But based on the cost to design all lines to the

5   extreme wind criteria and the uncertainty of the improved

6   reliability and the comments from the public, I couldn't really

7   justify increasing four pole classes and still being unsure of

8   what the benefit that was going to be from a reliability and a

9   safety standpoint.  So the end result was that proposal was

10   rejected, and the NESC at this point still has the 60-foot

11   exclusion limit in there.  And I throw that out as background

12   to understand what was the original intent of the extreme wind

13   load case.

14             And the one thing I might submit is it could well be

15   that just going all the way from not applying it to a 40-foot

16   pole to applying the full impact of extreme wind might be way

17   beyond the load case where you really get some benefit from it.

18   And just an idea in my mind would be to evaluate it more

19   closely and say, well, rather than going just from your light

20   conditions of 60-miles-an hour wind times four, that to go all

21   the way to extreme wind might go way beyond where you are going

22   to get benefit from it.  And that maybe there is some point in

23   between, but just the idea that that could be looked at and

24   come up with perhaps the best solution.  And, again, I think

25   the targeted idea is -- that's a wise way to apply it, as well.

FLORIDA PUBLIC SERVICE COMMISSION

55

1             MR. TRAPP:  I assume under a targeted idea we

2   could -- we could collect the science.  We could collect the

3   data.  We could refine standards over time?

4             MR. McDONALD:  Well --

5             MR. TRAPP:  But where do we start is the problem I'm

6   having.

7             MR. McDONALD:  Obviously, we are going to have to

8   look at our history from 2004 and 2005 to see if there is any

9   areas that we may have that is targeted application.  But as we

10   go forward we are going to continually refine that and make

11   that part of our standards as we learn those lessons.

12             MR. TRAPP:  Well, it's 2006 now, so I'd have to ask

13   the question what have you incorporated into your own standards

14   now as a result of those two years of storms?  And I'm looking

15   at you, but I am asking everybody.  What has been put -- you

16   know, give staff a feel of what amendments you have done to

17   your own internal standards that would help to support a

18   targeted approach only.  And I'll swing to Power and Light down

19   here, and start down there again, if you don't mind, Manny.

20             MR. MIRANDA:  For FPL, our change, of course, is our

21   announcement (phonetic) storm secure, which goes forward with

22   NESC extreme wind, which in some ways kind of adapts those

23   specific areas to upgrade.  And that's the approach that we are

24   taking going forward.

25             MR. TRAPP:  Have you adopted this map?

FLORIDA PUBLIC SERVICE COMMISSION

56

1             MR. MIRANDA:  No.  That's where we --

2             MR. TRAPP:  It's a different standard that you have

3   adopted.  What number did you adopt for wind loading?

4             MR. SPOOR:  Bob, this is Mike Spoor.  That is the

5   standard that we're actually striving to move towards.

6             MR. TRAPP:  Okay.  That is the standard.  So you have

7   adopted what is in Section 5?

8             MR. MIRANDA:  That is what we've proposed, yes.

9             MS. KUMMER:  And you are doing that for all

10   facilities, not just targeted facilities, everything you are

11   putting in?

12             MR. MIRANDA:  For new construction.  We are still

13   working on, you know, the rebuild and expansion, defining that.

14   Now, the only -- the only difference, though, is for targeted

15   infrastructure in major thoroughfares.  At the very end, we put

16   to the extent practical and feasible.  What we are finding is

17   in the few projects that we are trying to go back as far as,

18   you know, critical infrastructure, sometimes it's not possible

19   to install the quantity of poles, possibly the additional poles

20   or the size poles that may be required in order to meet the

21   extreme wind.  So it's up to where it is practical and

22   feasible, so up to the extreme wind in those areas where we are

23   going back to rebuild or CIS.

24             MS. KUMMER:  Are the prohibitions cost or space or

25   right-of-way?

FLORIDA PUBLIC SERVICE COMMISSION

57

1             MR. MIRANDA:  Mostly customer issues, Connie.

2   Right-of-way issues.  Customer issues.  And then, of course,

3   there are some cost issues where it is cost prohibitive because

4   of the limited space that you have to rebuild.

5             MR. TRAPP:  Russell.  Ed.

6             MR. BADDERS:  At the moment, we're still looking more

7   at a targeted approach.  We have not developed it as much as I

8   believe Progress, but we are trying to learn from the storms.

9   As far as new construction, in some areas it is possible.  Some

10   areas it will not be.  As was just previously discussed, you

11   will not have the ability to put in the number of poles that

12   you would need to meet this.  We also have some concern with

13   regard to when would you apply this if we were to go with

14   staff's language with regard to rebuilds and relocations.

15             It gets back to the discussion we had earlier, we'll

16   try to make some comments on that.  We are also going to get

17   with Progress and kind of get an idea and understanding of the

18   direction that they are looking at promoting here.  But as far

19   as what have we done in response to the last hurricanes, in a

20   beach area or places like that where we see an issue or where

21   there may be an issue, we try to design the pole line or the

22   structure to withstand what we think it may see.  I mean, will

23   it withstand a Category 3 or 4?  I really don't think anybody

24   in the room can tell us that.  We are still learning.

25             I don't think we have all the information and that

FLORIDA PUBLIC SERVICE COMMISSION

58

1   kind of gets back to the studied approach, to try to learn from

2   what we have seen, and maybe implement some things and just see

3   how they perform.  Now, we may not have a hurricane in Escambia

4   County for another ten years.  We don't know that.  So we may

5   not have all the hard facts on what direction to go here, but

6   we are trying.  We are making some efforts.

7             MR. TRAPP:  So I am hearing a case-by-case basis?

8   You haven't done a system-wide upgrade to your standards, you

9   are doing a case-by-case assessment?

10             MR. BADDERS:  That is correct.  That is more or less

11   what we have done over time, even before the last two

12   hurricanes.  And I think that may have played out to some

13   degree.  We didn't see -- I believe, and this is subject to

14   check, I believe we had one and a half or 1.6 percent pole

15   failure in Ivan.  And, obviously, Ivan hit in a very populated

16   area for our system, so I believe what we have done in the past

17   worked.  Now, there may be some areas, like I discussed, that

18   we may need to look at, or we are looking at, that we may need

19   to do something different.  We may install additional guy wires

20   or something.  But as far as an across-the-board system minimum

21   standard upgrade, we have not undertaken that.

22             And that gets back a little bit to being able to

23   prove what do you get for that effort.  We just don't have all

24   of that information.  We don't have what effect that would have

25   on our reliability with regard to a storm.

FLORIDA PUBLIC SERVICE COMMISSION

59

1             MR. TRAPP:  David.

2             MR. McDONALD:  David McDonald, Progress.  As of this

3   juncture, most of our focus has been looking at the Pinellas

4   County area, identifying the potentials from a coastal standard

5   perspective.  We have a team that's looking at that.  Presently

6   they are looking at those associated with operations, and then

7   we're determining what is the next step we may proceed on.  But

8   I will emphasize nothing that we have seen in the past two

9   storm seasons has led us to revise our standards, our

10   construction standards from a statewide perspective.

11             Now, what it has caused us to do is revise our

12   maintenance programs and the way in which we apply those

13   maintenance programs.  More specifically, surveying the

14   backbone of our feeders prior to storm season, trimming the

15   danger trees and all of those prior to the storm season.  Where

16   we are starting our OSMOSE efforts as far as the pole

17   treatment.  Where is that starting?  We're starting in Pinellas

18   County working through the Pinellas-Pasco.  So how we're

19   applying our maintenance procedures and when we are applying

20   our maintenance procedures has been the biggest lesson learned

21   that we are applying as a result of those two storm seasons.

22             MR. TRAPP:  Okay.

23             MR. HAINES:  Regan Haines, Tampa Electric.  I think

24   it was mentioned that there are different standards within the

25   National Electric Safety Code.  There is a minimum Grade C

FLORIDA PUBLIC SERVICE COMMISSION

60

1   standard and then there is a Grade B standard, which is to a

2   higher wind.  And our current standards, and it has been this

3   way for awhile, is the higher Grade B standard.  So it might be

4   that middle ground between the minimum and the extreme wind.

5             Our experience with the 2004 hurricanes is that our

6   system performed very well, and we also had less than one

7   percent failures from poles -- of our poles, and not due to

8   strictly wind.  It was trees, debris, those types of things.

9   So what we have done is really beefed up our tree trimming,

10   vegetation management.  We have not changed our standards, as

11   far as construction goes, but really focused on vegetation

12   management and on the inspection and the maintenance piece of

13   our system.

14             MS. KUMMER:  Bob.  Do you want to --

15             MR. TRAPP:  Yeah, we've still got two more

16   participants.

17             MR. WILLINGHAM:  Bill Willingham with the electric

18   co-ops.  A couple of things.  Just to answer your question

19   first, vegetation management is something that we have also

20   stepped up on.  You know, we used to have the story of don't

21   come by and cut my tree.  Now, it's get your tree out of my

22   yard when the storm comes through.  It has been a lot easier to

23   do the vegetation management.  We think that is going to have a

24   huge impact.

25             We have got different co-ops that are doing different

FLORIDA PUBLIC SERVICE COMMISSION

61

1   things.  One co-op is switching to all aluminum conductors

2   whenever possible.  They are getting the steel core out of the

3   pole.  We've found that when the trees come down and hit the

4   steel core wire, that that will bring down the poles and the

5   wire, but if it's aluminum, it will snap the aluminum wire.

6   You just go back and splice it.  It's a real quick restoration.

7   So there is little things like that that we are looking at.

8             But Section 5, in general, while we very much agree

9   with the comments by Progress, we just think that it's going to

10   be kind of a waste of money to go to that extreme wind standard

11   for the lower poles.  And for co-ops it's going to be a big

12   dollar issue.  In rural areas we tend to have longer spans.  So

13   we are talking about a much bigger cost for us overall, and

14   it's also a much bigger cost for the customer because of our

15   low density.

16             But the majority of our pole failures are really due

17   to falling trees.  Very few are just from direct wind.  We

18   think that those that did fail because of wind would have

19   failed anyway under the extreme wind standard.  Because what we

20   were dealing with primarily was spin-off tornadoes and

21   microbursts that the extreme wind standard is not going to make

22   a difference.

23             And I think the other, kind of on the jurisdictional

24   issue here, this is potentially a big dollar impact.  We

25   believe that this is a ratemaking decision that should be left

FLORIDA PUBLIC SERVICE COMMISSION

62

1   up to our cooperative boards.

2             MR. TRAPP:  Well, that was my first question.  If we

3   went to a targeted-only approach, does that relieve your

4   jurisdictional concerns any?

5             MR. WILLINGHAM:  It relieves them some.  I'm not sure

6   if it gets there all the way, but it definitely makes it a lot

7   easier.

8             MR. TRAPP:  Barry.

9             MR. MOLINE:  Bob, I concur with a lot of what has

10   been said on this issue, and I made a note when I first read

11   this that this is an area for investigation.  You know, it's a

12   component of the hardening investigation of PURC, involving

13   PURC and, you know, further research and investigation.  I

14   don't -- I don't need to repeat everything that has just been

15   said, because it has been said so eloquently, but we don't know

16   the answer to this.

17             There has been some work done, clearly in North

18   Carolina.  There has been a little bit of evidence, you know,

19   of work that has been done here in Florida.  But because of the

20   failures that we have seen, we didn't see that this was needed,

21   so -- I mean, that the failures weren't coming from just wind

22   pushing down distribution lines or poles.  They are coming from

23   stuff bringing it down, trees specifically.  So I would ask

24   that we see some additional -- this would be a good place for

25   investigation by PURC.

FLORIDA PUBLIC SERVICE COMMISSION

63

1             MR. TRAPP:  Going to the specific question, are you

2   aware of any of the municipalities that you represent that have

3   changed their construction standards as a result of their

4   experiences in 2004 and 2005, and has it been a system change

5   or has it been case-by-case?

6             MR. MOLINE:  I can't answer that question completely.

7   I am not aware.  I could get the answer, but, you know, I have

8   got a couple of anecdotes, but I don't think that is a complete

9   answer.  So I will get the answer for you.

10             MR. TRAPP:  Thank you.

11             Connie, do you --

12             MS. KUMMER:  I have just got one comment and then a

13   question.  Don't get hung up on percentages of poles damaged.

14   People who were out of power for three or four weeks are not

15   real interested that you've got a fraction of a percent of your

16   poles that were damaged.  So that's just kind of a statement.

17             The other thing I found very interesting, Mr. Bingel,

18   the point that you brought up about a category -- if it's above

19   a Category 2, strengthening it beyond that is not going to help

20   wind speed.  Has that been -- do any of the utilities have an

21   opinion on that, that above a Category 2 it's debris rather

22   than wind?

23             MR. SPOOR:  Connie, this is Mike Spoor, Florida Power

24   and Light.  As Nelson did make reference to, I think our

25   experiences, especially during Hurricane Wilma in 2005, we did

FLORIDA PUBLIC SERVICE COMMISSION

64

1   have pretty good evidence from our forensic teams that were out

2   in the field right after the storm to show that, you know, we

3   did have some outages and pole breakage due to wind only.

4   Certainly, we had our share of those that were caused due to

5   trees and debris, but we did, indeed, have some for that

6   Category 3 transitioning to a Category 2 storm as it crossed

7   across the state to show that they were wind only, poles

8   breaking.

9             MS. KUMMER:  I think TECO mentioned that it -- well,

10   one of the companies, that it was more tornadic winds rather

11   than just the flat hurricane wind speed.  Now, he's shaking his

12   head no.

13             MR. MOLINE:  Yeah.  The evidence that we saw was the

14   gusts that we experienced in excess of the design criteria for

15   the poles, perfectly good poles that broke because of the wind

16   only.

17             MR. BADDERS:  With regard to Gulf Power -- this is

18   Russell Badders -- we do not have all of the forensic data I

19   believe that FPL may have collected.  We do have a lot of

20   anecdotal information from people in the field just observing

21   what we went through with Ivan, mainly, and in the subsequent

22   storms, that most of the poles that came down, came down from

23   wind blown debris.  Now, to say that we did not have any that

24   came down from a purely wind event, that's not likely.  I'm

25   sure we did.  But the majority is, it's sheds being blown into

FLORIDA PUBLIC SERVICE COMMISSION

65

1   it, more trees off the right-of-way, those are the big issues.

2             And, clearly, we are sensitive to people being out,

3   and it's just looking at this with the available data and with

4   what we are trying to do with regard to storm hardening going

5   forward, I think we'll have more information.  And we probably

6   need to -- our position is to take the time and get that

7   information so we can really see what really does work.  It

8   would kind of -- it is a bad situation.  I think if you say,

9   well, we are going to do this, and we're sure that it's going

10   to have this impact, and then lo and behold, you have a

11   hurricane, poles come down for the same reasons that were

12   before that were not addressed.  We would like to take the time

13   and get the information and implement some of these things as

14   we go and just see what we get out of it.

15             MS. KUMMER:  What kind of time frame are we talking

16   about?

17             MR. BADDERS:  Knowing exactly what the impacts are,

18   we may never know.  But, I mean, right now we have several

19   projects that we are implementing.  It will take a few years to

20   get some information out of that.  It may take a decade if we

21   don't get any hurricanes.  But I think with tropical storms and

22   just everyday tornados or anything else like that, high wind

23   events, just thunderstorms, I think we will learn and we will

24   get more information.

25             We are not -- we are doing something.  I don't know

FLORIDA PUBLIC SERVICE COMMISSION

66

1   that we have all the answers to say that we know the answer.  I

2   think that is the real point I'm trying to make.  Will we have

3   something in place over the next few years, I think so.  I

4   think some of the efforts as far as guying facilities,

5   flush-mount transformers for underground, things like that in

6   certain areas may have an impact.  It is just going be a little

7   while before we know the exact impact.

8             MR. F. BRYANT:  I have a question, if I might, on a

9   word that you are using in Subsection 5, and the word is

10   structures.  What do you mean by structures?  Structures

11   extreme wind, structures of 18 meters or less, what do you mean

12   by the word structure?

13             MR. TRAPP:  That's language straight from the

14   Electrical Safety Code.  And when I read structures, I think of

15   anything that is above the ground.

16             MR. F. BRYANT:  A building?

17             MR. TRAPP:  Yeah.

18             MR. F. BRYANT:  Huh?

19             MR. TRAPP:  Sure.

20             MR. F. BRYANT:  A substation?

21             MR. TRAPP:  I'll have to defer to Jim on some of

22   these, because he is my technical guy.

23             MR. BREMAN:  The definitions are in the National

24   Electric Safety Code, if you want to read them.  They have a

25   definition in there.

FLORIDA PUBLIC SERVICE COMMISSION

67

1             MR. F. BRYANT:  I would suggest for purposes of your

2   rulemaking you might want to consider your own definition,

3   otherwise you might have a flaw in your rule.  But I'll leave

4   that up to your legal staff.  But I'm trying to understand --

5             MR. TRAPP:  I'll answer you straight out.  My

6   understanding is that it's everything above the ground.  It's

7   buildings, it's poles, it's wires, it's transformer stations,

8   it's pad mounts, anything.

9             MR. F. BRYANT:  So all of our buildings, all of our

10   substations, all of our fences, everything.

11             MR. TRAPP:  Right.

12             MR. F. BRYANT:  That's fine.

13             MR. TRAPP:  That's my understanding, Fred.

14             MS. KUMMER:  Progress, I think we are back to --

15             MR. BURNETT:  Thank you, Connie.

16             John Burnett, Progress Energy Florida.

17             Connie, definitely our experience was consistent with

18   Nelson's comments on what we saw from our past two storm

19   seasons were flying debris, primarily vegetation, and other

20   debris, and then tornadic spin off and microbursts.  That's

21   what we have seen has been the cause of the majority of our

22   failures.

23             And, Connie, definitely I wanted to say that

24   certainly our company is sensitive to the fact that the

25   customers, even if they are a small percentage on poles that

FLORIDA PUBLIC SERVICE COMMISSION

68

1   are out, they are out.  But the point we want to make is that

2   if they are out because a live oak saturated with water that we

3   couldn't trim on private property fell on them, they are out as

4   well if we have these standards.  And then, not only are they

5   out, but they are paying more money, and we have problems

6   justifying why.  So that's the biggest concern that we had with

7   that.  But to answer your question, absolutely flying debris

8   and spin-off activity.

9             MR. HAINES:  Tampa Electric would concur with that.

10   Again, the experience that we had in 2004, pole failures, very

11   few, but the ones that we did experience were due to trees,

12   trees outside the right-of-way.  And we think that improving

13   the vegetation management program that we have and our

14   maintenance program is probably dollars better spent than

15   investing in a higher construction standard that you're going

16   to have similar issues with.

17             MR. BINGEL:  Connie, I just want to respond, too,

18   that the NESC evaluation is always looking at things from a

19   safety perspective, not necessarily reliability.  And the

20   thought was that once roofs are flying around from a safety

21   standpoint that there is not much we can do in the structures,

22   because people shouldn't probably be exposed to that anyhow.

23             And I just wanted to add, too, the point I was making

24   before is right now if you go from a Grade B construction to

25   approximately 140-mile-an-hour extreme wind that requires an 80

FLORIDA PUBLIC SERVICE COMMISSION

69

1   percent stronger pole.  It's almost twice as strong.  And my

2   point was that it could be that a 30 percent stronger pole is

3   going to give you some additional reliability, and anything

4   beyond that you have got another weak link.  It could be the

5   foundation, which also would be addressed, but there could be a

6   variety of things that conductors are snapping.  You're going

7   to have outages anyhow.

8             And that was the point I was trying to make, is that

9   maybe there is some range in between the light, medium, and

10   heavy loading districts and extreme where there is definitely a

11   benefit and a cost justification.  And then beyond which

12   that -- I mean, there is no additional benefit from a

13   reliability standpoint.

14             MR. BREMAN:  Larry, I think it's to you.  We're about

15   ready to shift.

16             MR. HARRIS:  I think now might be a good time for a

17   short break.  Let's give the court reporter a few minutes to

18   limber up again.  And we are going to move on to -- I guess

19   shift gears a little bit.  We have been talking about above

20   ground, I guess the next section deals with undergrounding a

21   little bit.  So ten minutes.  We will be back at -- let's call

22   it 11:15.

23             (Recess.)

24             MR. HARRIS:  Did we have anymore comments on

25   Paragraph 5 or are we ready to move on to Paragraph 6?

FLORIDA PUBLIC SERVICE COMMISSION

70

1             MR. BRYANT:  I have a question on Paragraph 5.

2             MR. HARRIS:  And we do have a new court reporter, so

3   if you all could reintroduce yourselves again.  You've been

4   doing a very good job of it, but we need to keep that up.  We

5   have a replacement, some fresh hands.

6             MR. BRYANT:  Fred Bryant, Florida Municipal Power

7   Agency.  Good morning.

8             What is the, the corridors -- where is that

9   language -- major thoroughfares.  What do you mean by major

10   thoroughfares, (c), targeted critical infrastructure and major

11   thoroughfares?

12             MR. TRAPP:  My thought on the matter, Fred, is major

13   feeders, places where you've got a lot of power running to the

14   people.

15             MR. BRYANT:  Okay.  You didn't mean -- okay.  You

16   didn't mean facilities crossing major thoroughfares, but major

17   thoroughfares --

18             MR. TRAPP:  No.  No.  Not in the technical sense

19   that's used in the Code.  At least my idea of it was that you

20   wanted to focus on where you get the most bang for your buck,

21   where, where your major distribution supply is, you know,

22   coming out, coming down feeders, not necessarily laterals or

23   secondary, but --

24             MR. BRYANT:  And then the words "taking into account

25   political and geographical boundaries," what did you have in

FLORIDA PUBLIC SERVICE COMMISSION

71

1   mind there?

2             MR. TRAPP:  I think you need to ask Power & Light

3   because we kind of lifted their language.  But --

4             MR. BRYANT:  Does anyone know what that means that

5   we're fixing to put into rule?

6             MR. MIRANDA:  This is Manny Miranda with Florida

7   Power & Light.  For political boundaries, what we're referring

8   to is the way some of the maps define, you literally could

9   divide a city in half, would have different design criteria for

10   each one of them.  So trying to look at what may be

11   municipality boundaries, city boundaries are as you define your

12   codes.

13             And as far as geographical, what we're referring to

14   is you may have some situations with like a highway crossing or

15   a river crossing where it might cross across a couple of, you

16   know, a water, you know, like a lake or, you know, any kind of

17   facility that you may want to design to a little bit different

18   standard.

19             MR. BRYANT:  We might suggest a word change or two

20   for "political."  I hear what you're saying and I don't

21   disagree, but I wonder if it's -- corporate might be,

22   government or corporate, something like that.  I just don't

23   understand what the "political" meant.  I don't want to get in

24   a situation where a county might challenge what's being done

25   inside a city limits for construction standards as opposed to

FLORIDA PUBLIC SERVICE COMMISSION

72

1   outside the city limits.  Maybe some of y'all will understand

2   my reason for that sensitivity.

3             MR. TRAPP:  I would tend to agree with you.  But on

4   the other hand from an IOU perspective, IOUs serve non-utility

5   municipalities and communities, and all of those communities

6   have their own concerns about things.  And we want to make --

7   as we pointed out in the other aspects of this process, you

8   know, we wanted the, we wanted the investor-owned utilities to

9   begin talking more to their local utilities and understanding

10   what their needs were, and to the extent that it was feasible,

11   practical, prudent and cost-effective, to take those into

12   consideration to do that.  So I think those words may pertain

13   to that somewhat too.

14             MR. BRYANT:  Right.  I don't quarrel with the

15   concept.  I think it makes good sense.  I just want to make

16   sure that the words are better defined.  Okay.

17             MR. TRAPP:  Yeah.  Well, we do too.  And I'm glad you

18   brought it up because I did want to ask Manny, because some of

19   this language did come from a Florida Power & Light proposal

20   that was addressed at Agenda some time ago and we pushed it

21   into this rulemaking docket, we thought we understood the words

22   when we put them in here.  But I just want to clarify with you,

23   what was your understanding of "major thoroughfares"?

24             MR. MIRANDA:  I'm glad you brought it up.  For us,

25   thoroughfare was a roadway.  One of the things that we found --

FLORIDA PUBLIC SERVICE COMMISSION

73

1             MR. TRAPP:  Okay.  So you were referencing the

2   specific language that was in the National Electric Safety Code

3   pertaining to thoroughfares.

4             MR. MIRANDA:  Yeah.  What we found during these

5   storms is many of these thoroughfares that have, you know, the

6   supermarkets, gas stations, restaurants, it's very critical

7   from a community need to get them restored as quickly as

8   possible.  So as we were targeting, targeting critical

9   infrastructure, we also thought targeting major thoroughfares

10   that serve many of these facilities would be also part of our

11   initiative.

12             MR. TRAPP:  So you're, so you're not talking about

13   major feeders here.  You're talking about things like

14   streetlight intersections, major streetlight intersections,

15   grocery stores, gas stations, that type of thing.

16             MR. MIRANDA:  Correct.

17             MR. TRAPP:  Okay.

18             MR. BUTLER:  Well, and also the power that would

19   serve the facilities that are along the major thoroughfares.

20   You know, if you have a bunch of malls along that would have

21   the sort of businesses it would be good to get back into

22   service quickly.

23             MR. TRAPP:  So does that lend itself to the

24   terminology "commercial feeders" as opposed to just "feeders"

25   or -- I guess, you know, my perspective is feeder, commercial

FLORIDA PUBLIC SERVICE COMMISSION

74

1   and residential, you want to --

2             MR. MIRANDA:  What we were trying to do is translate

3   it to -- from a customer viewpoint.  What we have a lot of

4   times on these roadways, our feeders don't necessarily run

5   parallel to these major thoroughfares.  You may have multiple

6   circuits serving a single thoroughfare.  So, for example, you

7   might have U.S. 1 down in Miami, you know, that runs, you know,

8   many, many miles.  But if you can target portions of it and,

9   you know, harden those portions of it and be able to

10   communicate externally that, you know, that these sections have

11   been restored or have been targeted for improvement so that

12   the, the communities know where they can go to get gas and food

13   and water and so forth.

14             MR. TRAPP:  Uh-huh.

15             MR. MIRANDA:  That was our intent.

16             MR. TRAPP:  Okay.  Can we move to six?  Again, five

17   addressed overhead facilities and structures.  Six is intended

18   to address underground facilities.  And staff's thinking here

19   was that the, the primary impact area in hurricanes for

20   underground facilities were in areas that are subject to

21   flooding.  And I know that there's probably inland flooding

22   that takes place in the State of Florida as rivers swell and

23   things of that nature.  But what we witnessed, I guess, in the

24   workshops, in the aftermath and the press and everything was

25   mostly the coastal areas of the state.  So we went to the, the

FLORIDA PUBLIC SERVICE COMMISSION

75

1   Division of Emergency Preparedness and looked at some of the

2   maps that they prepare and keep maintained, and they've done --

3   Jim, correct me if I'm wrong, this is primarily for evacuation

4   route purposes, but --

5             MR. BREMAN:  I think they mapped all developed

6   counties.  I don't know what developed means.  I don't think

7   Jefferson County has been mapped like this.  Maybe that might

8   --

9             MR. TRAPP:  But in any event, this purportedly is

10   information that's available on the Internet, it's maintained

11   by another state agency, and it's constantly updated to

12   identify areas that are prone to be affected by different

13   category storm surges.

14             And so it occurred to us to base a rule on, and we

15   just picked Category 3, and that's the yellow on the maps, and

16   drafted Paragraph 6.  That having been said, is there any

17   response, comments, questions?

18             MR. BADDERS:  This is Russell Badders on behalf of

19   Gulf Power.  I guess I have more of a question.  We talk about

20   as practical and cost-effective as possible, protected from

21   flooding and storm surges in areas on this map, I guess,

22   Category 3.  I guess I'm not really sure that we know what will

23   definitely protect our system from a Category 3 or even a

24   Category 2.  I think this gets back a little bit to some of the

25   things that we're trying.  But as you know, Pensacola Beach was

FLORIDA PUBLIC SERVICE COMMISSION

76

1   devastated.  Navarre was devastated in another subsequent

2   hurricane.  In many of those areas, I don't think there was

3   anything that could have been done -- the roadway was

4   completely relocated and destroyed.  There are some areas where

5   flush mount and switchgear may be effective.  Those are things

6   that we're looking at.

7             But I guess if we codify that we have to do something

8   in these areas, I think we need to have an idea of what may

9   work and what doesn't work, and I just don't know if we're

10   there yet.  So that's kind of an overall concern.  That's not

11   to say that we can't do anything.  It's just I think we have to

12   be careful how we word this so we don't create a rule that

13   cannot be complied with, that we just really don't have a

14   solution for some of these areas.

15             MR. TRAPP:  Personally I tend to agree with you,

16   Russell, and I think that's why the staff opened the rule by

17   saying, putting the responsibility on the utility to come up

18   with the construction standards and what is reasonable and

19   prudent.

20             I have to also say that during the January 23rd

21   workshop I was a little surprised and impressed with some of

22   the things that Gulf Power has been doing with respect to

23   strategic locating of pad mounts behind buildings to try to

24   protect them.  Some of the concrete runs that you were

25   installing your supply cable into, I didn't know that was going

FLORIDA PUBLIC SERVICE COMMISSION

77

1   on.

2             MR. BADDERS:  Right.

3             MR. TRAPP:  And I don't know what kind of after

4   experience analysis or forensic review you've done on that,

5   but, I mean, it sounded like a good idea to help dam, help keep

6   it from moving, those types of principles.  So that's the kind

7   of stuff that, you know, we're looking for y'all to, you know,

8   experiment with, see if it works, and then maybe codify into

9   your own construction practices.  I'd be real interested to

10   know your feelings after the fact of whether any of that worked

11   --

12             MR. BADDERS:  Right.

13             MR. TRAPP:  -- any better than just direct burying

14   it.

15             MR. BADDERS:  Right.  And some of that information

16   we're gathering, some of it we have some information on.  I

17   don't think, even given Ivan, Dennis and some of the Katrina

18   effects, that we have a very clear picture of what will work

19   and what will not work in a different, I guess, Category 3 or

20   2.  I mean, as we all know, even a Category 2 can have

21   significant storm surge.  I mean, it really depends where it

22   hits, high tide, low tide.  There's a lot that goes into that.

23   We don't have -- and even given the experiences we have, and we

24   have tried a lot of these things and we're continuing to try

25   things, I don't think we even have enough information to say,

FLORIDA PUBLIC SERVICE COMMISSION

78

1   yes, if we do those things, that we will be in compliance with

2   Part 6, and I think that's my concern.

3             And I don't -- I believe staff's intent here is to

4   give us some opportunity to develop those things and use those

5   things.  I just, I just want to make sure that the language

6   doesn't assume that they will all work and that we have the

7   answer.  That's the only thing.  And it may just be a softening

8   of the language, and we'll try to offer some of that up in our

9   comments.

10             MR. TRAPP:  Someone mentioned, I think, offline the

11   word "assure" gave them some heartburn.  Is that one of the

12   words you're referring to?

13             MR. BADDERS:  Right.  Right.  Yeah.  It assumes --

14             MR. TRAPP:  We didn't say insure or ensure, we said

15   assure, which to me is a softer word.  But is there something

16   better?

17             MR. BADDERS:  And that's something we have to work

18   on.  But that is part, part of the concern is, is what are we

19   holding out to the public and everyone else that we are capable

20   of doing to meet this rule and what does this rule assume is

21   possible?

22             MR. TRAPP:  Do you agree that the flood zone maps are

23   a starting point to focus in on an area that has -- of critical

24   concern?

25             MR. BADDERS:  I agree these are good starting points.

FLORIDA PUBLIC SERVICE COMMISSION

79

1   I also believe that, I think, given Mississippi's experience

2   with Hurricane Katrina, that you take this as a good starting

3   point.  But you have to factor in a lot of other things that we

4   may not have all the information right now, but this is a good

5   start.

6             MR. TRAPP:  Any other comments, questions?  Bill.

7             MR. WILLINGHAM:  I have one comment.  Bill Willingham

8   with the electric co-ops.  I certainly agree with everything

9   Russell just said.  And I guess conceptually I'm trying to

10   figure out, you know, of course, whether or not Category 3 is

11   the right area.  But are we looking at down the road having a

12   URD or underground differential for these potential flood

13   areas, storm surge areas and then a different URD differential

14   cost in inland areas?

15             MR. TRAPP:  Our current plans are to discuss that, to

16   discuss that after lunch because that's where we're going with

17   the next section of rules is the underground CIAC calculations,

18   and we're going to talk about that formula and how these

19   hardening impacts -- well, I think it's also -- it may be in

20   here too.  I think, I think it's in the URD rules.  And we were

21   kind of hoping to wrap this one up by lunch and then shift over

22   to the cost CIAC stuff after lunch.  So hopefully if you'll

23   hold your questions.

24             Manny.

25             MR. MIRANDA:  Manny Miranda.  Like Russell said, you

FLORIDA PUBLIC SERVICE COMMISSION

80

1   know, the word "assured" for us was kind of an area of concern

2   because there was really no guarantee you could hurricane-proof

3   any infrastructure including our underground system.

4             MR. TRAPP:  It's got a comma after it though.  It

5   says, "To the extent practicable and cost-effective."

6             MR. MIRANDA:  As far as the storm surge maps, you

7   know, we're not sure that this is the right application of the

8   storm surge maps, you know, since they really were intended for

9   evacuation maps.  But, you know, we look at, like, base

10   flooding levels.  I understand the issues that Gulf had with

11   the storm surge.  I'm not quite sure what infrastructure is out

12   there that can prevent that type of facility damage.  We did

13   experience some of that during Frances and Jeanne a little bit,

14   and the storm surge issues are much more complicated than even

15   in the overhead area for us right now.

16             MR. BREMAN:  Are you at least using the 100-year

17   flood plain?

18             MR. MIRANDA:  No.  We followed basically base flood

19   levels as kind of the criteria.  We design our infrastructure,

20   you know, say a substation control house to the local building

21   codes that are required.

22             MR. BREMAN:  The SLOSH model, is that, is that what

23   you're using or --

24             MR. SPOOR:  Jim, I think -- this is Mike Spoor, FPL.

25   You know, to the extent that, you know, the local governments,

FLORIDA PUBLIC SERVICE COMMISSION

81

1   as Manny mentioned, have some type of flood elevation levels

2   certainly for a substation perspective, I believe that's what

3   we're following.

4             This particular topic though, in our analysis, so far

5   we've struggled with a little bit because whereas the NESC for

6   aboveground structures certainly is kind of shown, as the map

7   up on the screen suggests, this whole issue of surge and, and

8   flood zones, et cetera, has certainly, from our research at

9   least, been deferred to some of the local communities and local

10   governments to kind of dictate and mandate.  So it certainly

11   could differ across your service territory, whereas, you would

12   not have some type of national type of guideline and terms to

13   follow.  So this is one area that we've struggled with a little

14   bit in terms of what makes sense.  This could be a good

15   starting point, but I know we could potentially have some

16   concerns, especially as you move further south.  If you look at

17   Miami, Dade and Broward, these same type of pictures certainly

18   would be a cause of concern.

19             MS. KUMMER:  I think what Jim's question was, or

20   maybe it's just a question I have, Manny, you keep using the

21   term "base flood level."  How are you defining that?  Is that a

22   specific criteria, objective criteria or what?

23             MR. MIRANDA:  Well, most local governments, they've

24   been given the authority to define those base flood levels.

25   And so when we design, you know, our infrastructure, you know,

FLORIDA PUBLIC SERVICE COMMISSION

82

1   we try to meet that minimum requirement.

2             MS. KUMMER:  So it's just whatever the local

3   governmental entity defines as the flood level?

4             MR. MIRANDA:  Correct.

5             MR. TRAPP:  How would you define that for rulemaking

6   purposes?

7             MR. MIRANDA:  We'll submit some, some language.

8             MR. TRAPP:  Okay.  Moving now to Section 7, we'd like

9   for you to build an easement.  Is there any reaction to that?

10   Easements and road, public road right-of-ways.

11             Hearing no outcry, Section 8 -- there you go.  Jim

12   put up our pretty slide.  We'd like for you to install new

13   facilities and move, to the extent you can, with relocation or

14   re, what's the word, replacement and retirement from rear lot

15   to front lot.  Is there any reaction to that?

16             The last section of the rule is stricken.  I'm sorry.

17             MR. BURNETT:  Bob, I'm very sorry.  John Burnett,

18   Progress Energy.  We had one question, if we could ask, on

19   Rule 8.  Would staff consider striking the word "operational

20   need"? And it may be us just being too hypertechnical, but it's

21   on Line 7.

22             David brought up a commercial application where we

23   may have to, where it may make sense in a commercial setting to

24   put something in the back of a commercial establishment.  And

25   technically it would not be operational, but, you know, but

FLORIDA PUBLIC SERVICE COMMISSION

83

1   still would make sense.  So I think you'd still get the same

2   intent of the rule if we had "operational" out.  I could get

3   David to explain a little bit more, if you need him to.

4             MR. TRAPP:  No.  Your explanation is not needed.

5   It's just, you know, we like rules that we all understand how

6   to interpret, and those modifying words tell staff what to look

7   at in terms of need, but you want it more generic.  So I think

8   it's a constant battle we're always in.  Y'all want generic, we

9   want a little more specific.  But that doesn't do a lot of harm

10   to me personally.

11             MR. McDONALD:  The only way -- the only thing I would

12   clarify -- David McDonald with Progress.  The only thing I

13   would clarify is we are approached by commercial developers to

14   build facilities in the back of the property for aesthetic

15   reasons.  Operationally it doesn't impact us because it's

16   normally a paved area and we can access it with the trucks.  So

17   it doesn't apply like you see in those pictures there.

18   Strictly adhering to --

19             MR. TRAPP:  Shouldn't we say unless there's an

20   operational need not to?  I mean, that's the point, I think, of

21   this paragraph is rear lot construction -- we think of these

22   residential situations where, you know, back in the '40s and

23   '50s when there were alleys with the garbage trucks and

24   everything running down them, that might have been a good

25   thing.  But now people assume that property belongs to them,

FLORIDA PUBLIC SERVICE COMMISSION

84

1   built fences, planted stuff, and you can't get to the equipment

2   to maintain it even, much less restore it during a storm.  But

3   if you have access in a commercial, industrial application, it

4   doesn't matter where you put it as long as you've got access.

5   That's the point.

6             MR. McDONALD:  That's what we're saying.  But a

7   strict interpretation is if we were approached by a commercial

8   developer, we'd have to say no.

9             MR. TRAPP:  You think you couldn't do that?  Okay.

10             MS. KUMMER:  I could see that causing problems

11   because a neighbor could say, well, you're putting back for

12   these businesses.  We have an investment in our property

13   values.  For aesthetic reasons we want our facilities in the

14   back too.  You did it for him.  Why can't you do it for us?  I

15   can see inconsistencies arising.

16             MR. McDONALD:  My only response would be operational

17   accessibility; if we could garner the same accessibility.

18             MS. KUMMER:  If you could come up with some language

19   that captures that thought.

20             MR. TRAPP:  You understand what we're trying to get

21   at.  I don't think we've got any disagreement with the

22   utilities.  Now the customers might, but --

23             MR. McDONALD:  We'll work on that.

24             MR. TRAPP:  Okay.  Thanks.  And then the last section

25   that we've stricken through -- I'm sorry.

FLORIDA PUBLIC SERVICE COMMISSION

85

1             MR. HAINES:  I'm sorry, Bob.  Regan Haines, Tampa

2   Electric.  Just one other clarifying question on Number 8.

3   Where it says "rebuild," I think the point was brought up

4   earlier as far as restoration following a storm, if we're

5   rebuilding a line, if we're even a couple of poles within a

6   line that's in a rear easement, is it expected that we would

7   relocate the line at that time to the front?

8             MR. TRAPP:  I would encourage you to say yes.  You

9   know, my personal opinion is that we've had too much trouble

10   with rear lot, and that every opportunity ought to put it front

11   lot.  If it, if it's -- it's a matter of degree and a matter of

12   cost, and I think we may have to think about this in the

13   context that we started out earlier about what does it mean to

14   grandfather and not grandfather facilities, more thought maybe

15   needs to be put to it.  But, again, my position is unless it

16   costs an arm and a leg, you ought to take the opportunity to

17   relocate it.

18             MS. KUMMER:  The idea is to migrate away from rear

19   lot lines.  And if you're going to keep rebuilding the rear lot

20   lines, we're never going to get there.  Now I agree that if

21   it's a choice between getting power up on a rear lot line and

22   taking two months to get poles and easements in the front line,

23   then, you know, that's definitely something that we need to

24   consider.  But, again, our goal is to migrate away from the

25   rear lot lines.  And if you've got a better way to capture it,

FLORIDA PUBLIC SERVICE COMMISSION

86

1   you know -- but that's where we were headed.

2             MR. HAINES:  Maybe some language "where practical" or

3   "cost-effective," "reasonable."

4             MR. TRAPP:  Well, I just challenge you as you do your

5   cost impacts, because, again, we're going to ask you at the end

6   to give us the cost impact of the rule as proposed and then

7   cost impact of your changes, as you do those cost impacts,

8   think of the many, many customer complaints we get about: I've

9   got a squirrel that runs in my back yard; I've got a tree that

10   grows in my backyard.  I mean, my staff seems to be -- a lot of

11   their work time is spent chasing down customer complaints

12   involving rear lot construction.  The poles aren't big enough,

13   they need to be taller, the lines are dragging the roofs, they

14   need animal guards on the wires, this and this, this and that.

15             MR. BREMAN:  It's also a point of discussion that you

16   need to have with your communities, and it's something you can

17   set up in the damage plan with the community and how you

18   respond to the damage.  So on one hand there's an immediate

19   answer, which is some of the discussion that we've had just

20   now.  But there's also a long-term view, and that needs to be

21   part of the dialogue with the local communities.  If they want

22   to insist on that back lot construction, they're going to have

23   to be aware of the long-term outages that go with it.

24             MR. TRAPP:  And, you know, growing up in Jacksonville

25   Beach, I have to say from personal experience no kid has

FLORIDA PUBLIC SERVICE COMMISSION

87

1   experienced growing up in Florida until he's throttled himself

2   on a guy wire in a front lot construction.  In the area in Jax

3   Beach that had rear lot construction, it was a real danger

4   because we were climbing the fence to see if we could climb the

5   poles.  All we did in the front lot was just throttle ourselves

6   on the guy wires, so.

7             The last section, again, staff is proposing to strike

8   because these are basically metering requirements that are

9   elsewhere in the rules.

10             And if we could turn now quickly to 25-6.0345, the

11   safety standards construction.  Staff is proposing no changes

12   to this rule.  And the reason we're not proposing any changes

13   to this rule is there's a very, in our minds, prescriptive

14   statute on this, and this rule exactly complies with that

15   statute and enunciates what that statute contains.  I know that

16   there are some discussions in the Legislature to possibly

17   change that statute, so I guess our going in position is until

18   such time as the Legislature changes the laws, we're going to

19   keep the rule that was designed to enforce the law that is

20   currently on the books.

21             I know that Florida Power & Light did propose a rule

22   change, and I guess I need to turn to you and ask for your

23   comments on this area.  Do you feel we need to try to change

24   this rule, given the fact that the current statute is the

25   current statute?

FLORIDA PUBLIC SERVICE COMMISSION

88

1             MR. MIRANDA:  Bob, we had -- we will propose in our

2   language proposal to have inputted in there the extreme wind

3   loading criteria.  So that was the discussion we had that we

4   thought that it might be a required rule change here.

5             MR. TRAPP:  And you think that's a safety

6   requirement?

7             MR. MIRANDA:  That's -- we'll have to revisit that.

8             MR. TRAPP:  Again, our mentality going into this was

9   to have a rule on reliability construction standards and then,

10   and then a separate rule on safety standards because there are

11   two different statutes that are being implemented in the rules.

12   In this particular rule, I'd encourage you to look at the

13   statute that is on the books for this rule.  To me it's very

14   prescriptive.  It tells us exactly when to start the code

15   enforcement.  It starts in eighty -- what is it, Jim, four,

16   six, four code, I think it was.

17             MR. BREMAN:  1984.

18             MR. TRAPP:  In interpretations from that, if only new

19   facilities are affected by the safety code, munis and co-ops

20   are specific -- I don't think we have an argument on this

21   one -- munis and co-ops are specifically encompassed in that

22   enforcement action.  And I'm a little hesitant to mess with

23   that rule because there's a specific statute over there, and

24   I'd rather fight my battles with Bill and Fred on another

25   statute.

FLORIDA PUBLIC SERVICE COMMISSION

89

1             MR. BUTLER:  We may be able to do something that

2   would be more -- really the concern here is being sure that

3   what's said in 0345 doesn't trump what's being done in 034.  It

4   may be that there's some notwithstanding language that we could

5   propose for 034 that would get the job done.

6             MR. TRAPP:  That might work.  That might work.

7             MR. BUTLER:  Okay.

8             MR. TRAPP:  Anybody else have anything on the safety

9   rule?

10             I think that takes us to Page 13, which is the

11   undergrounding, starting of the undergrounding discussion.

12   Larry, did you want to start or do you want to break for lunch

13   a little bit early or what do you want to do?

14             MR. HARRIS:  You know, Bob, I don't really mind

15   either way.  I would say we should probably break.  I think

16   undergrounding is going to be a pretty big deal, and I'm not

17   sure that it makes sense to get started and then break in half

18   an hour or an hour for lunch.  I think we probably ought to

19   just go ahead and stop a little bit early and then come back

20   and we'll all be fresh and ready to really tear into it.

21             That would be my suggestion, unless I hear somebody

22   who strongly feels we need to get started now.

23             MS. KUMMER:  I would just like to point out that

24   6.064 is not an undergrounding rule.

25             MR. TRAPP:  I'm sorry.  Well --

FLORIDA PUBLIC SERVICE COMMISSION

90

1             MS. KUMMER:  We want to talk about it, but it's not

2   an undergrounding rule.

3             MR. TRAPP:  I'm sorry.  We start getting into topics

4   that pertain more to underground costs than standards of

5   construction.  That's what I meant to say.  Connie corrects me.

6             MR. HARRIS:  Yeah.  Let's go ahead and break for

7   lunch, come back at 12:45, and we'll get started with 6.064.

8             (Lunch recess.)

9             MR. HARRIS:  All right.  Welcome back.  I hope

10   everyone had enough time to get something to eat.  We're going

11   to move on.

12             I misspoke earlier.  6.064 is not undergrounding.

13   It's contributions in aid of construction.  But it was probably

14   still a good time to break, so I'm not too upset about that.

15   We're going to move on unless we have any comments anyone needs

16   to catch us up on to begin with.  Bob, did you have anything?

17             MR. TRAPP:  Well, I don't, I don't see our friends

18   from the munis and co-ops here to initiate the discussion with

19   them, so -- I can pick on Mark Cutshaw though.  I assume that

20   you just love this rule and that FPUC just will --

21             MR. CUTSHAW:  (Inaudible.)

22             MR. TRAPP:  Well, I just wanted to forward you an

23   opportunity to a microphone, should you need one.

24             MR. CUTSHAW:  If I need one, I'll come up there.

25             MR. TRAPP:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

91

1             MR. HARRIS:  All right.  Let's go on with 25-6.064

2   then.  Connie, did you want to go ahead and introduce this one?

3             MS. KUMMER:  Okay.  In case you're all wondering,

4   this really doesn't have a whole lot to do with hardening, but

5   it's a rule that does have some reference to the new

6   construction standards, and also it just needed cleaning up,

7   period.  And that's primarily overall -- all staff was trying

8   to do was to clean up this rule, get rid of a lot of the

9   confusing formulas, the duplicative language.  What we have

10   done is expand this from just line extensions to all kinds of

11   CIAC.

12             And one example that came up as we were going into

13   this was apparently in Central Florida there seems to be

14   movement to buy older homes, tear them down and build mega

15   mansions on the property, and that is requiring upgrade in

16   distribution facilities to serve these homes.  And there was

17   not a mechanism in our rules that we could find that would

18   address CIAC in those issues.  And that's what we also tried to

19   incorporate in here.  So it expands slightly from the line

20   extension issue, and other than that it's just basic cleanup.

21   So we can, we can start at the first, or if you just have

22   general comments, we can tag those.  Everybody loves it?  Is

23   this silence?

24             MS. CROSS:  I'm Lori Cross from Progress Energy.  And

25   just in general on the entire rule, we had a question as to

FLORIDA PUBLIC SERVICE COMMISSION

92

1   whether or not this rule was applicable to transmission or did

2   you intend for it to only apply to distribution facilities?

3             MS. KUMMER:  I'm looking for the language in here

4   that -- we had primary and secondary, I believe.  I don't

5   think -- typically this doesn't apply to transmission.  I

6   thought we had some language in here that I can't find at the

7   moment that limits it to --

8             MR. TRAPP:  Connie, if it, if it applied to lower

9   voltage transmission serving a commercial or industrial

10   customer, would it have application?

11             MR. BREMAN:  I think, I think the question is it has

12   retail applicability, not wholesale.

13             MS. KUMMER:  Yes, it is retail.  I'm not sure I

14   understand, Bob, what you're saying.

15             MR. TRAPP:  Well, her question is to transmission,

16   and I think Jim's properly tried to classify what we're trying

17   to do.  Are you talking about wholesale transmission, bulk

18   power transmission or transmission that serves a retail

19   customer?  Because my reading of the rule was that it would

20   apply to transmission serving directly a retail customer.

21             MS. CROSS:  Yes, that is what I'm asking about.

22             MR. TRAPP:  And I'm asking for clarification too

23   because Connie is the expert on this one.

24             MS. KUMMER:  Quite honestly, I haven't thought -- I

25   suppose if it's serving a customer directly, then it could

FLORIDA PUBLIC SERVICE COMMISSION

93

1   apply to that.  I would think that if you're extending

2   distribution, the four times use or four times revenue is going

3   to be a meaningless number in that calculation, but I'm not

4   sure.

5             MR. TRAPP:  It just seems to me that over the 31 some

6   odd years I've been here we've had a few transmission customer

7   CIAC situations, and to me this rule would apply in those

8   circumstances.  But since you can't calculate revenues

9   associated with bulk transmission, the rule would not have

10   applicability in a bulk transmission situation.

11             MR. PORTUONDO:  This is Javier for Progress Energy.

12   No.  What we're trying to assess is we have retail customers

13   that are served out of transmission voltage.

14             MR. TRAPP:  Right.

15             MR. PORTUONDO:  And we just want to confirm, since

16   the original rule addressed distribution facilities, we just

17   wanted to make sure that now this rule is intended to encompass

18   both distribution and transmission voltage facilities.

19             MR. TRAPP:  Where did it limit it to distribution?

20             MR. PORTUONDO:  Well, it talks about extensions of

21   distribution facilities in order to receive electric service.

22             MR. TRAPP:  I got you.  Extensions of distribution

23   facilities on Line 10?

24             MR. PORTUONDO:  Right.

25             MR. TRAPP:  Ah-hah.  It would seem to beg for

FLORIDA PUBLIC SERVICE COMMISSION

94

1   clarification.  Why don't you propose some?

2             MR. PORTUONDO:  I mean, is that -- was that staff's

3   intent is to make this holistic, just retail?

4             MR. TRAPP:  I always thought it was holistic myself.

5   But, again, she's the --

6             MS. KUMMER:  Quite frankly, I don't think we even

7   thought about it at that level.  I don't see why it wouldn't.

8   I mean, if it's serving a customer directly, I would think that

9   it would be equally applicable, but I have to think about it a

10   little bit more.  It's a good point.

11             MR. PORTUONDO:  Okay.

12             MR. TRAPP:  We'll seek to clarify that.

13             MS. KUMMER:  Anything else?

14             MR. BRYANT:  Connie, this is Howard Bryant with Tampa

15   Electric.  In the first section could you maybe help us

16   understand a little bit better what "standard installations"

17   means?

18             MS. KUMMER:  What we were trying to get at at that

19   point is the cost -- your base rates include certain types of

20   costs that you would -- to go back to the line extension

21   analogy, it covers the transformer, the service drop and the

22   meter.  Now if you've got to put in three or four more poles to

23   get to that transformer service drop, then those would be

24   nonstandard.  Standard is what is already, would already be

25   included and recoverable through your base rates.

FLORIDA PUBLIC SERVICE COMMISSION

95

1             Anybody else?

2             MR. BRYAN:  Were you going to go section by section

3   or are you just looking for general comments across --

4             MS. KUMMER:  We can.  If you want to go section by

5   section, start with paragraph one.

6             Does somebody have a better term for "standard

7   installations"?  Given -- that was the only thing we could come

8   up with to try to succinctly capture the costs that would be

9   otherwise covered in base rates.  And it does exempt any of the

10   new subdivision CIAC that's covered under Rule 25-6.078.

11             Okay.  What about our formula in Paragraph 2?  Have

12   we missed anything?  Okay.

13             MS. CROSS:  Lori Cross, Progress Energy.  Yeah.  We

14   just wanted to understand what your intent was here with the

15   formula.  Was it just to combine and consolidate the

16   calculation?  Because at first, when we first read through it,

17   we thought that was the intent and we really didn't have an

18   issue with it.  But once we sat down and went through it again

19   and worked through the numbers as it's laid out, we do have

20   issues with it because the formula, the new formula results in

21   the loss of CIAC related to overhead service, and it also

22   doesn't provide for the netting of the estimated revenue

23   against the cost of overhead service in the calculation of the

24   differential between the overhead and underground service.  So

25   if you could maybe just help us understand what your intention

FLORIDA PUBLIC SERVICE COMMISSION

96

1   was here, whether you meant to change the way it's calculated.

2             MS. KUMMER:  Essentially we were just trying to clean

3   up all the myriad other formulas that were equally confusing.

4   Blame this one on Bob.  He wanted one formula, one formula.  He

5   wouldn't let me have more than one formula.

6             MR. TRAPP:  I can't read the rule.  I don't

7   understand the rule.  It's got four formulas that seem to be

8   the same.  So I said, "Isn't this one formula?"  And so it was

9   purely an attempt to try to streamline the formula.  If we've

10   inadvertently left something out, I think we'd like for you to

11   call it to our attention so we can figure out whether we should

12   put it back in.

13             MS. KUMMER:  Yeah.  In (a) through (f) following the

14   formula we were trying to capture all the various pieces, parts

15   that might not have been obvious in the formula.  But if we

16   have forgotten something, please let us know.

17             MR. BREMAN:  There were two points that you made, at

18   least two points.  What were those points again?

19             MS. CROSS:  Yeah, there were a couple -- yeah, there

20   were two.  The new formula doesn't provide -- well, it results

21   in the loss of the CIAC related to overhead services because

22   that was the first step in the calculation of the old formula.

23   And then it also -- the, the revenue, the estimated revenue for

24   the -- is netted against it twice, so you lose it.  So -- but

25   we can provide, you know, we can maybe lay out for you in our

FLORIDA PUBLIC SERVICE COMMISSION

97

1   written comments proposed changes to it.  I mean, first we just

2   wanted to understand what you meant to do in the --

3             MS. KUMMER:  Right.  What we intended the second

4   column -- this cost of installing facilities is kind of a

5   catchall and maybe we need to explain better what that is to

6   capture, to specifically capture the things that you've put in

7   there or the two things that you cited that are missing.  That

8   was kind of -- the cost is, is the cost of installing it,

9   whatever that includes.

10             MR. PORTUONDO:  This is Javier from Progress.  Let's

11   go through a simple example.  The reading of your formula right

12   now, if we assume these values, the underground service, let's

13   assume, costs $150.  Let's assume the cost of the overhead

14   service is $100.  The cost to install the new underground

15   facility is $50.  That's the net of the two numbers.  The four

16   times revenue is a credit of $40.  So you'd have a net

17   underground CIAC of $10.  In the original formula the way it

18   was laid out you had two components, you had an overhead CIAC

19   and you had an underground CIAC.

20             In the overhead calculation you take the cost of the

21   new overhead service, which is $100, you'd apply the four times

22   revenue, and you'd have a contribution of CIAC of $60 for that

23   component.  Then you took that $60 and you applied it to the

24   under -- you added it to the underground CIAC.  So the

25   underground was the differential between the $100 for overhead

FLORIDA PUBLIC SERVICE COMMISSION

98

1   and the $150 for underground.  So you had a difference of $50.

2   So the sum of the $50 and the $60 would have produced an

3   underground CIAC of $110.  So that's how the old formula

4   worked.  We were just trying to make sure that that was still

5   your intent.  And we can go ahead and show that in our written

6   comments, that example.

7             MS. KUMMER:  Right.  Yeah.  It was not our intent to

8   change the actual calculations, just to simplify the formulas.

9   So if we missed something, by all means, let us know.

10             MR. PORTUONDO:  There was something else too.  Go

11   ahead.

12             MS. CROSS:  Yeah.  We just -- one other, one other

13   thing that we noticed was that in the calculation of four times

14   the expected revenues, that it now says four times expected

15   annual demand charge revenues from incremental sales.  And the

16   old rule didn't have the word "incremental" in it, so we were

17   also not sure if that was intentional, if -- or --

18             MS. KUMMER:  Well, the old rule only dealt with line

19   extensions, which is different than what we're trying to

20   capture here.  So there is a bit of a difference here in terms

21   of what we're trying to capture.

22             What I was thinking is that more -- think of it in

23   terms of an upgrade, the example I went to, that they built a

24   house four times the old house and you have to install new

25   transformers, whatever, and that's the incremental revenue.

FLORIDA PUBLIC SERVICE COMMISSION

99

1   You wouldn't want to give them credit for the whole amount of

2   revenue, but only for the incremental part.  And it seems to me

3   that that would work as well for any CIAC.

4             MS. CROSS:  I mean, I can understand in your example

5   for, you know, where you would have incremental sales,

6   incremental demand there.  But this rule, does, does it not

7   also cover things where you wouldn't really have incremental

8   sales?  Like, for example, would it not cover like an extension

9   of a, of a line where you might not be incurring any

10   incremental sales, so --

11             MS. KUMMER:  Why would you have a line extension

12   without incremental sales?  If you're extending a line to a new

13   customer, everything they have is incremental, every new load

14   they put on the system is incremental.  I mean, that's our

15   thinking.

16             A line extension that's built to serve a new

17   customer, all of their load is incremental.

18             MS. CROSS:  Okay.  That's fine.  Thank you.

19             MR. BRYANT:  Connie, Howard Bryant with Tampa

20   Electric.

21             I think we share some of the concerns that Lori has

22   been expressing, and I actually kept up with Javier as he did

23   his arithmetic, so I feel pretty good about that, and I believe

24   in what he is saying.

25             But also though it appears as if this rule in a

FLORIDA PUBLIC SERVICE COMMISSION

100

1   general sense might, and I'm going to use that word carefully,

2   it might be contradicting the normal URD rule in the sense that

3   in this particular case you can extend, speaking of 25-6.064,

4   you can extend for a commercial customer and you will consider

5   the revenue that is going to be brought on to your system

6   because of that extension.

7             But does it also apply if you're extending to a

8   residential customer that is, shall we say, out in the woods?

9   But, I mean, you're extending and there's going to need to be

10   some CIAC contribution for that residential customer because

11   it's not the standard installation.  And so are we, are we

12   giving revenue credit, if you will, to the commercial customer,

13   but are we not giving revenue credit to the residential

14   customer?  And if that's the case, is that reasonable?

15             MS. KUMMER:  If you're extending a line to a new

16   customer, then you would include -- as I said before, a new

17   customer's load is all incremental.

18             MR. BRYANT:  Right.

19             MS. KUMMER:  And that would be credited against the

20   cost of the line extension.

21             MR. BRYANT:  Right.

22             MS. KUMMER:  But I'm not understanding the

23   distinction you're making between that and the commercial

24   customer.

25             MR. BRYANT:  Okay.

FLORIDA PUBLIC SERVICE COMMISSION

101

1             MR. BREMAN:  Can I jump in on this one?

2             Suppose a new subdivision is being platted five miles

3   from the tap that the company would otherwise provide service.

4   Does the five-mile feeder extension to the subdivision entrance

5   include the kilowatt hour sales that the substation -- that the

6   subdivision is going to produce?

7             MS. KUMMER:  This doesn't apply to new subdivisions.

8   It says specifically in Paragraph 1, "except as provided in

9   25-6.078," which is the rule that deals with new subdivisions.

10             MR. BREMAN:  I'm talking about the five-mile

11   extension outside the subdivision.

12             MS. KUMMER:  My understanding, the builder pays for

13   that right now.  When he builds that subdivision, if he builds

14   it in order to get -- correct me if I'm wrong, but I know I've

15   handled complaints that that's been an issue, where the

16   developer pays for whatever extension is necessary to reach his

17   subdivision.

18             MR. PORTUONDO:  That's correct.  I believe that's

19   true.

20             MS. KUMMER:  Is that where you were going, Jim?

21             MR. BREMAN:  Why is that?

22             MR. TRAPP:  If the subdivision -- let's assume it's

23   an overhead subdivision.  If the subdivision generates enough

24   revenue to support the construction of the feeder to it, why

25   wouldn't the company build the feeder?

FLORIDA PUBLIC SERVICE COMMISSION

102

1             MS. KUMMER:  Because you don't have any immediate

2   revenue coming in.  Again, the companies could probably better

3   answer this rather than me.  But it seems to me that if you

4   build a subdivision, it's speculative on what your revenue is

5   going to be and how soon that revenue is going to be coming.

6             MR. TRAPP:  But if the subdivision, based on the

7   estimates that the company accepts, generates revenues to

8   support the feeder construction, why would you charge the, why

9   would you charge the developer for the feeder?  Overhead or

10   underground, it's irrelevant.

11             MR. GRIFFIN:  This is Jesse Griffin from Progress

12   Energy.  In your example, if the subdivision was revenue

13   justified, they would not pay for the overhead extension.  In a

14   URD they would not pay for the overhead extension but they

15   would still pay the priority differential.

16             MR. TRAPP:  The URD differential within the

17   subdivision.  And I thought that was the policy all along, and

18   I don't think it was our intent to change it.

19             MS. KUMMER:  But I think what he's saying, if they

20   want the feeder, the five miles underground, they have to pay

21   the --

22             MR. TRAPP:  They would pay an underground

23   differential for the feeder.

24             MS. KUMMER:  Right.  Yeah.

25             MR. GRIFFIN:  That's correct.  Even if they were

FLORIDA PUBLIC SERVICE COMMISSION

103

1   revenue justified, they would pay the differential if the

2   feeder extension was underground.

3             MR. TRAPP:  Right.  That was my understanding of the

4   policy all along.

5             MR. MIRANDA:  This is Manny Miranda with --

6             MR. TRAPP:  The overhead comp only catches the CIAC

7   credit due to revenue, I mean, to the revenue generation but

8   not the URD differential.

9             MR. MIRANDA:  We'll do the same calculation.  We will

10   estimate the, you know, what the cost for the five-mile

11   extension would be.  And if it's revenue justified, then there

12   would be no cost for that on the overhead portion.

13             MS. KUMMER:  But there have been instances where

14   there was a cost.

15             MR. TRAPP:  Well, I mean, if, if we fouled in some

16   way, it was not our intent to change the, change the rule.  I

17   think this one was just simply a cleanup was my understanding.

18             MS. KUMMER:  Yeah.  Let me say that over again.  We

19   were not --

20             MR. TRAPP:  So if we fouled it, tell us.  We'll fix

21   it.

22             MS. KUMMER:  Other than, other than to extend or make

23   clear that the revenue credit applies to any CIAC, it was not

24   our intent to change anything else.

25             MR. TRAPP:  The only real change to this rule in the

FLORIDA PUBLIC SERVICE COMMISSION

104

1   context of hardening is on Page 16, Lines 4 and 5.  So if

2   we've -- that's the only intentional change.  And that just

3   says, "Reflect the cost of hardening in all these

4   calculations."  The other takes of the rule was because I read

5   four formulas and thought, my God, why can't we do it in one.

6             MR. GRIFFIN:  This is Jesse Griffin, Progress Energy.

7   If we could in our writing maybe do an overhead and an

8   underground formula or somewhere stick into this formula the

9   overhead differential, if it's necessary, that's -- or the

10   overhead CIAC.  I'm sorry.

11             MS. KUMMER:  We started that route and then wanted to

12   get down to one formula.  But, yes, I would actually prefer to

13   see an overhead and underground.  Quite honestly, I think it

14   makes it clearer.

15             MR. GRIFFIN:  Or if we could add it into this formula

16   in such a place that when we know we're installing underground

17   facilities in the second box, that we could add the overhead

18   CIAC if it was necessary.  That would, that would take care of

19   my concerns.

20             MS. KUMMER:  Okay.  We appreciate any suggestions.

21   Like I said, this was -- we were just trying to clean it up,

22   and maybe we've caused more confusion than we've cleaned up.

23   But, again, our intent was just to clean up the language

24   because it was a convoluted rule that was difficult to follow.

25             MR. BRYANT:  Connie, I think what we'll do is

FLORIDA PUBLIC SERVICE COMMISSION

105

1   probably offer some, some suggestions, still trying to follow

2   what Bob is saying in terms of minimizing formulas, keeping it

3   down to as little as possible.

4             We do believe that there is one case where the

5   revenue is being accounted for twice in the calculation, and

6   that might not be what the intent was, might not be.

7             And so we'll try to help it a little bit.  And if we

8   send you something that's Greek, if you'll talk to us, we'll

9   try to explain ourselves too.

10             MR. TRAPP:  As long as it's math Greek.  It's okay if

11   it's math Greek.

12             MR. BRYANT:  Right.  That would be the only Greek we

13   could offer up.

14             MS. KUMMER:  Okay.  We got -- because we've skipped

15   over to Paragraph 5.  I mean, two is the formula.  On Page 16

16   we've got -- most of this is just a paraphrase again of the

17   existing rule.  Paragraph 5 was new to reflect that any

18   construction would meet the, whatever the applicable

19   construction standards were.

20             Six is a little bit of a change.  It requires a

21   true-up.

22             MR. TRAPP:  Connie, Power & Light wants to speak.

23             MS. KUMMER:  Please speak up.

24             MR. MIRANDA:  I wasn't sure if you were finished, so.

25   Connie, I guess in this area one of the things that we were

FLORIDA PUBLIC SERVICE COMMISSION

106

1   just concerned about is from an administrative perspective.

2   Many times we're dealing with developers up front.  And to

3   calculate and keep up with the CIAC amounts later on it can go

4   in the reverse fashion too, if we did not collect enough CIAC.

5   Now we're dealing with a customer, and just keeping track of

6   all those records during that period was just something that we

7   wanted to make sure we understood what your intent was.

8             MS. KUMMER:  Okay.  Well, the rule language -- we

9   tried to capture that in any dispute over the amount of CIAC.

10   If the developer paid it, he would be the one disputing it and

11   he would have to come up with the information to, to argue with

12   whatever you charged.  You would be dealing with him, I would

13   think.  But that was what the attempt was in saying in any

14   dispute.  It requires someone to come forward, not for you to

15   do it unilaterally, but for whoever paid the CIAC to come

16   forward and show that your calculations were incorrect.  Does

17   that help?

18             MR. MIRANDA:  That helps.

19             MS. KUMMER:  At least that was our intent.  If

20   there's better language --

21             MR. BREMAN:  I think the CIAC is still based on a

22   projection.

23             MS. KUMMER:  Sure.  It has to be.

24             MR. TRAPP:  I'm a little curious as to how you do it

25   now.  Because, I mean, the original language of the rule said

FLORIDA PUBLIC SERVICE COMMISSION

107

1   actual or estimated cost.  Well, which one?

2             MR. MIRANDA:  For us it's estimated up front.

3             MR. TRAPP:  That's what I thought.  Everybody uses

4   estimated.  So the thought was make it estimated unless there's

5   a dispute, in which case you'd have to go argue what the actual

6   was anyway.

7             MS. KUMMER:  But, again, it would be whoever paid the

8   CIAC raising the dispute with you.  It wouldn't be going back

9   to homeowners after the fact.

10             MR. BUTLER:  Connie, just as sort of a -- Connie, hi.

11   John Butler, Florida Power & Light.  A little bit of a further

12   clarification of that dispute mechanism.

13             Say that there was a dispute that had sort of arisen

14   and come to fruition at the point where you're trying to

15   resolve it after one year into this four-year period.  Is your

16   thought that you would use one year of actual and three years

17   of estimates at that point or is the idea that you need to wait

18   until the end of four years when you have four years of actual

19   to resolve the dispute or something else?

20             MS. KUMMER:  My inclination would be to wait until

21   the four years were over, because trying to true-up an estimate

22   a quarter of the way through the process doesn't seem to make a

23   whole lot of sense to me.  But if for some reason the company

24   thought it was appropriate, if the developer raised the point

25   and the company thought it was appropriate, they certainly

FLORIDA PUBLIC SERVICE COMMISSION

108

1   could.  Whether it would be required to do it in a shorter than

2   four-year time frame --

3             MR. BUTLER:  But your sense is basically, what you

4   had in mind is if, you know, the property owner disputes it,

5   then basically you just wait to see how things turn out at the

6   end of the four-year period, where the actual revenues would be

7   collected.  And if the -- say, well, whichever way the CIAC

8   adjustment ought to go, that it would be adjusted at that

9   point.

10             MR. BREMAN:  John Butler, this is Jim Breman.  I

11   think the four years also goes to phase construction that

12   extends over a long period of time.  And so you have to make

13   your best judgment over phased construction.  So I think the

14   four years really goes more towards that than --

15             MR. TRAPP:  And I don't think that the rule is as

16   restrictive as you've laid it out either.

17             MR. BREMAN:  I don't think so either.

18             MR. TRAPP:  I think the rule is flexible.  It just

19   says you'll true up to actual.  Now if you do that on a

20   six-month basis or one-year basis or wait until the end of four

21   years, you know, it's subject to some interpretation by the

22   utility.  And, quite frankly, the proposed language parallels

23   many of the complaint resolutions that I think the Commission

24   has entered into with the companies anyway.  We're just trying

25   to reflect some common sense here.

FLORIDA PUBLIC SERVICE COMMISSION

109

1             But, you know, like it or not, some customers, some

2   customers don't trust your estimates, so they want, they want a

3   little -- we thought that there needs to be at least some

4   consumer mechanism in here for -- I mean, actual is actual and

5   that should be the final judgment.  So that was the intent as I

6   understood it.

7             MS. CROSS:  This is Lori Cross, Progress Energy.  You

8   know, we have been thinking about this though.  What if -- I

9   heard what you said, but what if the developer is, you know,

10   four years later the developer has moved on?  I mean, who -- we

11   chew up the CIAC.  Who do we collect it from?  There's no one

12   to collect it from.  We think the rule the way that it's

13   written is a little bit one-sided because it's going to --

14   customers are only going to complain when the original

15   estimates are too high versus too low.

16             MS. KUMMER:  What do you do today?

17             MR. TRAPP:  I don't, I don't agree with you.

18             MS. CROSS:  Okay.

19             MR. TRAPP:  The utility shall true-up.  True-up means

20   you've already collected the money.  So it seems to me the

21   language says to me that it's a situation where you've

22   collected too much and the customer wants a refund, and you

23   have to do that on an actual basis.  Now that could be on a

24   six-month actual basis for four years of revenue, or maybe your

25   concern is that you refund a lot in the first six months and in

FLORIDA PUBLIC SERVICE COMMISSION

110

1   the third six months they don't realize the revenues and,

2   therefore, they owe you money again.  Maybe that could be a

3   mass situation that would apply in.  But I think the intent is

4   that you start with your estimate.  That's what you collect.

5   If there's any, if there's any dispute about that estimate, you

6   still collect the estimate but you true it up to actual.

7             MS. KUMMER:  Okay.  And we're also talking about two

8   different situations here, I think.  This -- the language on

9   Line 13 says, "in any dispute."  That implies a developer is

10   going to come back to you and say I think what you charged me

11   was too much.  Now that's one situation in which you would

12   true-up, as Bob said, where it's an overcollection.

13             Now I don't think a homeowner is going to come to you

14   and dispute that he paid too little.  So the first premise

15   isn't met there.  Now I don't know how you handle it today.  Do

16   you go back to homeowners and try to collect CIAC if the

17   estimates didn't bear out?  This rule wouldn't force you to do

18   that.  It says, "in any dispute."  If whoever paid the CIAC

19   comes back to you and says, we paid too much, then you'd true

20   it up.  And underrecovery wouldn't come into play, I don't

21   think, under this.

22             MR. BUTLER:  But, Connie, what about the situation

23   where the customer believes that he or she paid too much but it

24   turns out that it was too little?  That certainly can happen.

25             MS. KUMMER:  That can happen today.  What do you do

FLORIDA PUBLIC SERVICE COMMISSION

111

1   today?

2             MR. BUTLER:  I don't think today it's based on this

3   notion of truing up.  And, I mean, if true-up means you're

4   deliberately making it one-sided and it's just if there's a

5   refund, there's a refund, if there's more owed, then you let it

6   go.  Maybe that's how we need to understand and comment on the

7   rule as it's written.

8             When we had read it, because sort of familiarity with

9   the concept of true-up in the adjustment clause proceedings, I

10   at least hadn't understood it to mean that it would only work

11   one way.

12             MR. TRAPP:  Well, John, you know me, I tend to get

13   argumentative.  It's not my area of responsibility, but I'll be

14   argumentative.

15             The original rule as it's stated now says actual or

16   estimated.  Now that is inappropriate rulemaking language.  It

17   never should have been in there.  If I had a customer complaint

18   come through my department now on a dispute over an estimate,

19   we would recommend resolution based on actual, and we would

20   take you all the way to Agenda and have a Commissioner vote on

21   it.  And I have a sneaking suspicion that the Commissioners

22   would side on the favor of the consumer and actual data.  Now

23   just because it hasn't happened, we may be arguing about a moot

24   point here and everything -- but, I mean, we can try to work

25   out the details, if you want to, on this thing.  But it's

FLORIDA PUBLIC SERVICE COMMISSION

112

1   inappropriate for the company, in my opinion, just to give a

2   bunch of estimates out there without being able to stand by and

3   substantiate them and hold them to actual.  And, you know,

4   that's just my opinion.

5             MS. KUMMER:  And this doesn't preclude you, I

6   wouldn't think, from, from rebilling or backbilling or whatever

7   you want to, collecting the difference in CIAC.  It's just that

8   your estimates, I'm sure, are wrong today to one degree or

9   another, and this wouldn't preclude you, I wouldn't think, to

10   do whatever you're doing today.

11             MR. PORTUONDO:  This is Javier from Progress.  That's

12   exactly what I needed clarification on, that it isn't

13   one-sided.  That -- to Mr. Butler's example, if we go to the

14   Commission at Agenda and it's determined that that customer

15   underpaid, that they would be at that time four years from now

16   on the hook to compensate the utility for that.

17             MR. TRAPP:  The company would have the ability to

18   make that case, but recognizing that the company is the one

19   that's responsible for the estimates anyway.  I think you would

20   have a hard burden of proof.

21             MS. KUMMER:  You'd have to have a really good reason

22   to --

23             MR. TRAPP:  You'd be free to make the argument.

24             MR. PORTUONDO:  No.  No.  You would have actuals at

25   that point; correct?

FLORIDA PUBLIC SERVICE COMMISSION

113

1             MR. TRAPP:  Sure.

2             MR. PORTUONDO:  I mean, we would be, like you said,

3   based on actuals.  So the evidence would be there black and

4   white, this is the actual revenues, this was the estimate.

5             MS. KUMMER:  But, Javier, the problem is the utility

6   ought to be doing a better job with their estimates.  You're

7   the people with the experience.  You ought to know what's out

8   there, and that estimate ought not to be that far off.  And if

9   it is far off, it's because somebody didn't do a job, do a good

10   job in the company on the front end.  And I think that's a,

11   that's a position the Commission would probably take.

12             MR. PORTUONDO:  Well, that's, I mean, that's a little

13   bit unfair.  Because if you're talking about a subdivision, you

14   don't necessarily know within that four-year period whether

15   it's going to develop at the pace you thought it was going to

16   develop.

17             MS. KUMMER:  This doesn't apply to subdivisions.

18   This specifically says it doesn't.

19             MR. PORTUONDO:  I'm sorry.  Or the consumption, or

20   the consumption of a particular set of customers may not

21   actually materialize the way historic consumption would

22   dictate.  So, I mean, we do attempt to try our best.  And under

23   the old rule we kind of lived and died by our estimate.  Here I

24   just want to make sure that, you know, this isn't unfairly

25   penalizing the company, and not having a reciprocal

FLORIDA PUBLIC SERVICE COMMISSION

114

1   opportunity, if challenged, to get the lost revenues that would

2   result from a, a low estimate, let's say.

3             MS. KUMMER:  Well, give us some language and we'll

4   look at it.  If you think this is one-sided, then give us some

5   additional language and we'll certainly look at it.

6             MR. TRAPP:  But it does say, "in any dispute."  It

7   doesn't say who raises the dispute.  So to me your argument is

8   quite justified.  If the company wants to initiate a dispute,

9   have at it.

10             MR. PORTUONDO:  That wasn't where I was going, but

11   that's an interesting idea.  I was thinking that the developer,

12   let's say, initiated, he had a concern that we had

13   overestimated, it turns out we underestimated.  So at that

14   point there would be an exchange of funds.

15             MR. TRAPP:  Notwithstanding what version of the rule

16   we have, in that circumstance I believe we're going to get a

17   complaint here and we're going to have to resolve it through

18   the complaint process, so.  And I think this would give you the

19   opportunity to let the judgment fall either way based on

20   actuals is the way I read the plain English of it.  But, again,

21   I may be overstepping my bounds.

22             MS. KUMMER:  Again, if you have language that you

23   think makes it more evenhanded, then we'll certainly take a

24   look at it.

25             Paragraph 7 is just language cleanup.  I don't think

FLORIDA PUBLIC SERVICE COMMISSION

115

1   we did anything serious there.

2             Eight, we made a critical change on Line 1 of Page

3   17.  The current rule says the "utility may elect to prorate."

4   We said "shall."  I realize that's a significant change.  Do we

5   have some input on that?

6             MR. PORTUONDO:  This is Javier.  Can we go back to

7   seven?

8             MS. KUMMER:  Sure.  I don't think we said anything

9   different.  We just said a little shorter.

10             MR. TRAPP:  Well, you put it in proper rulemaking

11   language.  You said the "utility shall."  Rules require the

12   utilities to do things, not to outline what the Commission is

13   going to do.

14             MS. KUMMER:  Right.  The old language said, "The

15   Commission will reduce the utility's net plant in service."

16   And isn't that equivalent to imputing CIAC?  Again, we didn't

17   mean to change the concept.  We just tried to clean it up a

18   little.

19             MR. PORTUONDO:  Yeah.  I apologize.  I was thinking

20   of something else.

21             MS. KUMMER:  Okay.  That's -- okay.  Eight.

22   Mr. Butler, you had your microphone on there.

23             MR. BUTLER:  Yeah.  On eight, it seems that two of

24   the, at least to me, most significant changes are the, you

25   know, "may" and "shall" and inserting the word "largest" number

FLORIDA PUBLIC SERVICE COMMISSION

116

1   of customers here.  And this seems to be something that directs

2   the utility to do the calculation in a way that almost assures

3   that there won't be enough people around yet to collect it all

4   from in any sort of new development.  Maybe I'm

5   misunderstanding it.  But tell me what you mean here that we

6   shall prorate it over the largest number of customers expected

7   to be served.  And particularly if something is, you know,

8   being built out, that almost necessarily means you're prorating

9   it over people who aren't there yet.

10             MS. KUMMER:  Well, it's the largest number of

11   customers expected to be served by the new facilities.  And

12   that could be -- if you don't think this is going to develop in

13   the next ten years and it's only going to have two houses, then

14   that's your largest number of expected customers.  So it's a

15   pretty open-ended -- it's really based on the utility's

16   judgment of how many customers you expect to be there within

17   that next time period.  It doesn't -- it leaves the discretion

18   with the utility to make that determination.

19             MR. PORTUONDO:  This is Javier from Progress.  Could

20   this technically by, let's say, a developer, he could use this

21   to argue the opposite position that, you know, this is plotted

22   for 200 homes and we should be using 200 homes?

23             MS. KUMMER:  Well, again, the last line three says,

24   "in any four of the first five years."  So it's a build-out

25   within five years.  And the old language was even looser, which

FLORIDA PUBLIC SERVICE COMMISSION

117

1   said the utility may elect to prorate the line, the total cost

2   over the number of customers expected to connect.  I mean, that

3   was less precise.  And we're just trying to put some limits

4   around it.

5             MR. PORTUONDO:  Yeah.  My concern is you're going to

6   be charging him up front X amount of money for the line

7   extension based on the largest number of customers.  What if

8   that doesn't materialize within that five-year period?

9             MS. KUMMER:  If you're charging the developer,

10   there's no proration for the company to be doing anyway.  It's

11   only if you have individual -- if you're dealing with a

12   developer and the developer is installing facilities through

13   that subdivision, he's going to be the one paying the CIAC.

14   There's no proration to it.  If he wants to prorate it over his

15   lots, that's his business.

16             MR. PORTUONDO:  Okay.  I misspoke.  So I have an

17   individual, okay, of a larger development, we're extending the

18   facilities or upgrading the facilities, and we're basing the

19   calculation over the total largest number of customers expected

20   to be served on that new or upgraded facility over, in any four

21   of the first five-year period.  What happens if we -- the

22   customer says, well, this, this is going to expand to 200,

23   you're going to be serving 200 customers?

24             MR. TRAPP:  What happens now?

25             MR. PORTUONDO:  Well, right now we don't --

FLORIDA PUBLIC SERVICE COMMISSION

118

1             MS. KUMMER:  There's no proration.

2             MR. PORTUONDO:  There -- yeah.

3             MR. TRAPP:  Because it says "may," and that's just

4   not right.

5             MR. PORTUONDO:  I mean, I think the addition of the

6   "largest" number, I think there's --

7             MS. KUMMER:  How would you --

8             MR. PORTUONDO:  There's the potential for the --

9             MR. TRAPP:  Expected?

10             MR. PORTUONDO:  Expected, probable.

11             MR. TRAPP:  Probable.

12             MR. PORTUONDO:  I mean, some other word.  I think the

13   use of the word "large" could be used against the company by a

14   customer unintentionally.

15             MS. KUMMER:  Okay.  But let me give you an example

16   of, of what was going through our mind.  A situation that this

17   might come into play is if another complaint, that's where we

18   get most of our good ideas is from customer complaints, there

19   was a situation where a developer started a large development

20   and abandoned it.  Years before, a customer had bought a lot in

21   this development thinking the whole thing was going to be

22   developed.  The developer walked away.  And when this customer

23   wants service, he was faced with a five-mile run to get him

24   electric service to his house and his house only.  It was some

25   $25,000 to get service to his house.  And his argument was if

FLORIDA PUBLIC SERVICE COMMISSION

119

1   anybody else builds out here, they're getting a free ride on my

2   $25,000.  That's what we're trying to address.  Now if there's

3   a better way to do it, please tell us.  But that's basically

4   what we were trying to do.

5             MR. BUTLER:  If we were to do that, say that, you

6   know, they made a case for there being another nine customers

7   out there in the next four to five years so that you'd only end

8   up collecting 10 percent from the current customer, what is

9   your understanding of what's supposed to happen for the other

10   90 percent?  Do you -- does one collect that from the other

11   people as they show up even though it's not a new facility as

12   to them?  Where does the other 90 percent, how does it get

13   collected?

14             MS. KUMMER:  It would be an assessment when that

15   customer --

16             MR. BUTLER:  So we would be entitled to collect a

17   CIAC with respect to an existing facility for a customer who

18   then comes out and later initiates service from it?

19             MS. KUMMER:  I would think so, yes.  Now you can tell

20   me that operationally doesn't work.  No?  Javier is shaking his

21   head.

22             MR. PORTUONDO:  This is Javier.  Yeah.  I think --

23   not necessarily operational but administratively trying to

24   track or flag that CIAC to eventual construction at certain

25   facilities over a four, four-year period is a horrendous task

FLORIDA PUBLIC SERVICE COMMISSION

120

1   all across the system.

2             MS. KUMMER:  Did you just never do this before?

3   Because the other language said "may elect to prorate."  Did

4   that just not happen?  Did proration never happen for CIAC?

5             MR. PORTUONDO:  No.

6             MR. BUTLER:  My understanding is it's pretty rare.

7   And I think one of the ideas of the "may," it's just, it's one

8   of those situation, if it arose, and I'm not sure it even did,

9   but where you're right on the verge of having the other people

10   there and it's just sort of absurd that this person gets his CO

11   today and the next people get them next week or something like

12   that and you would be immediately having the service to those

13   people showing up.  Maybe you'd want flexibility to be able to

14   handle that.  But now what you're building in is a mandatory

15   provision that's looking out over a five-year time horizon and,

16   as Javier is saying, would really become administratively

17   difficult.

18             MS. KUMMER:  What if we were talking about a

19   transformer upgrade rather than a line extension?  Do the

20   arguments change?

21             Again, another example, a community or a group of

22   homes was tearing down the 1950s houses, building 4,000 square

23   foot McMansions, had to have an upgrade in their underground

24   transformer.  Does the first guy who asks for that upgrade have

25   to pay for all of it or does it get prorated to everybody who

FLORIDA PUBLIC SERVICE COMMISSION

121

1   is served off that transformer?

2             MR. MIRANDA:  We'll try to work through it.

3             MS. KUMMER:  These are the kinds of questions we've

4   been asking ourselves.

5             MR. MIRANDA:  We know.  We know.  I guess it depends

6   on what size transformer we put at the first customer that

7   comes along and upgrades his house.  That differential, he

8   would be responsible for the differential at that point and we

9   would not prorate it thinking that other customers are coming

10   along.

11             Now if two or three of them came to us as a group and

12   said, we're going to remodel these three homes, at that point

13   we would include all three of them into, you know, that

14   additional revenue.

15             MS. KUMMER:  But they would have to come to you as a

16   group.  You wouldn't -- if resident number one says, well,

17   listen, my neighbor is, you know, over here and his new house

18   is going to be ready next week and he's going to be served by

19   the same transformer.

20             MR. MIRANDA:  Right.  At that point, if we know

21   they're working together and they're going forward with that

22   construction, Connie, then we would incorporate them both.

23             MS. KUMMER:  But you would require the customer to

24   get his neighbors together to come to you to get the proration?

25             MR. MIRANDA:  Right.  But it needs to be, you know,

FLORIDA PUBLIC SERVICE COMMISSION

122

1   construction is really going to occur, you know.  Not just, you

2   know --

3             MS. KUMMER:  Sure.

4             MR. MIRANDA:  But that would be an example of one.

5   But typically it's normally one customer that comes forward and

6   says, I'm remodelling my house.  We may install a larger

7   transformer at that point.  Right?

8             Now if the second customer comes along and that

9   transformer has the capacity, then he will benefit from that

10   first customer that paid that CIAC.

11             MS. KUMMER:  So there's really no -- in your

12   practices and the way you look at things, there's really no way

13   to eliminate the free rider.

14             MR. MIRANDA:  Well, we understand what your intent is

15   now.  We have struggled with that issue as well because, you're

16   right, that one customer that built five miles away, is he

17   unduly paying, you know, the entire cost at that point?  That's

18   an issue we've struggled with as well.  Now we understand your

19   intent.

20             MS. KUMMER:  Okay.  Okay.

21             MR. GRIFFIN:  This is Jesse Griffin for Progress

22   Energy.  On that issue I have on Line 2 where CIAC's is shown

23   with an apostrophe s -- we only bill one customer.  I don't

24   know of a case where we've ever divided CIACs amongst more

25   than, more than one.  I do believe we would help a customer if

FLORIDA PUBLIC SERVICE COMMISSION

123

1   they said, I'm going to pay it all up front because that's the

2   only time we'll build, hopefully, and then my neighbor is going

3   to build.  Can you help me, you know, show him supporting

4   documents that, yes, I did pay, you know, the full amount?  And

5   then they could go together to split it up.  But that's a third

6   party transaction and Progress Energy would not be part of it.

7   But we'd be glad to show that, yes, we did collect the full

8   amount from the first person, and where the second person

9   could, I guess, out of the kindness of their heart choose to

10   help pay some of those costs.

11             MR. TRAPP:  Yeah.  But on any occasion do you credit

12   the revenue of that second customer to the first customer when

13   you've charged him the CIAC?

14             MR. GRIFFIN:  We would do that if we knew they were

15   going in up front.  And that's, again, our best estimate on the

16   customer revenue portion.  Our price estimates for our

17   construction better be pretty close.  The area where this

18   formula has any weakness is estimated customer revenue because

19   if they don't produce or use as much as they say they're going

20   to, CIAC is affected by less revenue.  So if, if we know going

21   in that the first house is half done, the second house has

22   started and we haven't yet billed, we're going to include that

23   second house and potentially any more that we think will be

24   started up within that four-year period of five years.

25             MR. BREMAN:  The focus then is the accuracy with

FLORIDA PUBLIC SERVICE COMMISSION

124

1   which the marketing rep calculates the forecasted revenue sales

2   from that extension.

3             MR. GRIFFIN:  That's the biggest weak link in this

4   formula is the revenue that the customer produces.

5             MR. TRAPP:  Do you still use this a lot?

6             MR. GRIFFIN:  Every day.  But if I could continue, on

7   Line 2 where it does have the CIAC's, CIAC's, yes, we still,

8   unless we're forced to, would intend on billing the first

9   person in the full amount.  Especially in large developments,

10   commercial, residential, whatever, where I know there's two or

11   three different platted sections, it seems almost always the

12   furthest one is the first one to start construction, and they

13   do pay the full cost to get the service to them.  Then the

14   second and third ones that fill in the open spaces, they are

15   technically getting a free ride unless we're going to be

16   required to only bill the first person their portion, then we

17   would be putting 100 percent of our construction costs out

18   while only collecting potentially a fraction of our CIAC due.

19   And that is a concern for me.  If we could clear that up.

20             MR. BREMAN:  Would it be a problem to, within the

21   first five years, keep track of the new additions and then

22   credit the original customer that paid 100 percent?

23             MR. GRIFFIN:  If that's something that the customer

24   did, we could, we could verify it.  I don't think we're going

25   to have the manpower to go around and check all the open lots

FLORIDA PUBLIC SERVICE COMMISSION

125

1   between every line extension we bill from where they started to

2   where they serve the first load.

3             MS. KUMMER:  So what I'm hearing is y'all don't use

4   this paragraph now and you would just as soon not have it in

5   there.

6             MR. BRYANT:  Connie, this is Howard Bryant with Tampa

7   Electric.  You're probably hitting the nail pretty closely on

8   the head there.  The word "largest" is really a concern because

9   it -- in the process of trying to solve some of the complaint

10   issues that you have, which are real, I think it has a tendency

11   to just shift them to a different time, to a different

12   argument, but still surrounding the same issue of the argument

13   over who pays the right amount.  And the potential is there for

14   the utility to perhaps not collect all of the additional

15   capital costs associated with extending the line to that

16   furthest customer, to the customer.  You know, that potential

17   exists that if there's five lots or five whatever, that they

18   may never, they may never transpire, or one person buys two of

19   them and the two, the fellow who buys one does not equal the

20   load of what two of them were.  And so you're not matching load

21   with equipment that's out there kind of a thing or facilities.

22   And so I think that's why we generally would charge, as we have

23   been doing right now, the full load to that first customer

24   because they are the cost causer for why we are extending.

25             To Jim's point about tracking it over a five-year

FLORIDA PUBLIC SERVICE COMMISSION

126

1   period, on the surface that sounds like a possibility, but then

2   you create the situation of giving a credit potentially to the

3   first guy down the line, and five years from now he may not be

4   there anymore, he may have moved or something may have

5   happened, and now you've got the problem of tracking who do you

6   give the credit to.  So, again, you create an administrative

7   concern for us.

8             MS. KUMMER:  Okay.  If y'all when you respond, and

9   we're going to ask for written comments when we get done with

10   this, if you have ever used this provision, could you describe

11   where and when you used it?  And if you haven't, then that's a

12   handy thing to have too.  And just go back over the problems

13   that we've talked about today, because this is something that,

14   that comes up over and over again in customer complaints.  And

15   I understand the problems that you're raising, and this, again,

16   is something that we struggled with how to track who to give

17   the credit to and how to determine what the credit is.  But,

18   again, this is -- you get customers, the poor guy who paid

19   $25,000 just because a developer walked away and decided to

20   build someplace else.  So this is -- I hear you and I'm

21   sympathetic to many of your concerns.  But if we don't need

22   this, then we better have a good reason for getting rid of it

23   if we're not going to use it.  That's all I ask.

24             And I think 9 is just wording, 10 is just wording.

25   Any other comments in general on this rule before we move on?

FLORIDA PUBLIC SERVICE COMMISSION

127

1             MR. BRYANT:  Connie, Howard with Tampa Electric.  One

2   quick question on comparing Paragraph 10 or Section 10, I

3   should say, and I think Paragraph 6.  And I may not be reading

4   it thoroughly enough.  So if it's me, just tell me and I'm

5   okay.  But Paragraph 6 suggests that there's a dispute process

6   involved, and then Paragraph 10 says that the applicant, if the

7   utility and the applicant are unable to agree, then either

8   party may appeal to the Commission.  Are those, are those

9   talking about the same thing?

10             MS. KUMMER:  I see them as being different.

11   Paragraph 6 on Page 16, the customer, developer, whoever pays

12   the CIAC didn't dispute there was a CIAC due or really argue

13   with your calculations in general up front that you based it on

14   the appropriate number of houses and that kind of thing.  It's

15   just a matter of getting the pot right with what actually

16   materialized.  Ten is when we get the calls that say they want

17   to charge me, you know, $500,000 for this.  Why do I have to

18   pay this?  So that's the distinction I see; whether or not they

19   ought to have to pay it at all or if the CIAC that you're

20   asking is excessive.

21             MR. PORTUONDO:  This is Javier from Progress.  Do you

22   also -- would you also agree that this is more of a, let's say,

23   informal between the company and the customer?  If this dispute

24   remains unresolved, then they can execute to come to the

25   Commission?

FLORIDA PUBLIC SERVICE COMMISSION

128

1             MS. KUMMER:  Oh, certainly.  You're talking about

2   Paragraph 6?

3             MR. PORTUONDO:  Yes.

4             MS. KUMMER:  Yeah.  Any time you and the customer

5   can't agree, it can come here.

6             Anything else?  All right.  I will gladly turn this

7   back over to Bob.

8             MR. TRAPP:  Yeah.  The next rule has to do -- this is

9   the residential subdivision rule, isn't it, Jim?

10             MR. BREMAN:  It is.

11             MR. TRAPP:  Yeah.  This is the RD charges for the

12   residential subdivision.  We've changed nothing.  Well, I see

13   one "shall" change.

14             Basically the main change is on Line -- on Page 18,

15   Lines 12 through 13 where we've asked you just to include the

16   effects of the cost of hardening required in the standard of

17   construction rule in your routine calculations of the RD

18   differential for new residential subdivisions.  I do note that

19   on Line 22 a "may" has been changed to "shall."  And that's it.

20             MR. PORTUONDO:  On that point a change in the word --

21             MR. TRAPP:  That's a pretty big change, huh?

22             MR. PORTUONDO:  Yeah.  It's a pretty big change.

23   I've got concerns.  Given the, the differences between overhead

24   and underground and what's considered O&M versus capital, it's,

25   I would say, impossible to put that on a level playing field in

FLORIDA PUBLIC SERVICE COMMISSION

129

1   order to determine how much incremental costs underground would

2   have versus overhead.

3             MR. TRAPP:  But you're going to do that in that other

4   docket, right, when you collect the data with respect to the

5   performance characteristics and cost differentials on

6   underground and overhead?

7             MR. PORTUONDO:  What you're going to collect is

8   empirical data that says, okay, I spent X amount on underground

9   repairs, maintenance, X amount on capital.  When you try and

10   compare those dollars to the overhead dollars, it's not an

11   apples to apples comparison because you have things in overhead

12   that may be done on O&M where the exact same activity is a

13   capital activity in underground because your units of property

14   are different.  So it's very, very difficult to compare those

15   two.

16             MR. TRAPP:  Does that make the number zero?

17             MR. PORTUONDO:  No, I don't think it makes it zero.

18             MR. TRAPP:  You've got a number then.  Ah-hah, you've

19   got a number.

20             MR. PORTUONDO:  It's plus or minus from zero.  I

21   don't know what the number is.  That's the difficulty.  You

22   know, we could give you a number of events, underground versus

23   overhead.  But truly putting them, you know, on an equal basis

24   is very, very difficult.  You would have to make some

25   significant assumptions like you would apply the same units of

FLORIDA PUBLIC SERVICE COMMISSION

130

1   property concept for both.  You know, you'd either adopt the

2   overhead or you would adopt the underground in the analysis.  I

3   don't know that you would really do it on a practical basis.

4             But, I mean, I guess it can be done.  It would be --

5             MR. BREMAN:  We do allocations all the time.

6             MR. PORTUONDO:  I was going to say, it's going to be

7   riddled with assumption.  As long as we can get buy-in to the

8   assumptions, it could be something that we can actually

9   complete.  But it really would be a very difficult process.

10             MR. TRAPP:  But right now you agree the rule says

11   may.

12             MR. PORTUONDO:  Yes.

13             MR. TRAPP:  And the number is zero; right?

14             MR. PORTUONDO:  Yeah.  We do not --

15             MR. TRAPP:  So now it says shall.  You've got to

16   propose an assumption.  We review these cost deltas every year,

17   I believe, don't we, as a routine tariff?

18             MR. BREMAN:  At least every three.

19             MR. TRAPP:  Excuse me.

20             MR. BREMAN:  Every three.

21             MR. TRAPP:  So every three years you can come up with

22   your best guess assumption, run it by the Commission, have the

23   Commissioners vote on it, and we'll see if a number other than

24   zero emerges.  But thou shall propose a number, recognizing

25   that zero is a number.

FLORIDA PUBLIC SERVICE COMMISSION

131

1             MS. KUMMER:  And I think that we were thinking in

2   terms of something much simpler than, than what you're talking

3   about.  We've heard a lot of folks say, and even the utilities

4   themselves say that, well, you do maintenance less often.

5   Perhaps on underground it's more expensive when you have to do

6   it.  You have to trim overhead lines, you don't have to trim

7   underground lines.  Those are operational maintenance costs.

8   That's really what we were looking -- I mean, in my mind that's

9   kind of a big component of what we were looking at.  It's just

10   kind of the obvious things that you should be able to get a

11   handle on apart from the expense versus capitalization type of

12   issues.  There are some things, there are some things out there

13   now that you should be able to get a handle on, I would think,

14   that would fit into this category.  It won't be a comprehensive

15   list by any stretch of the imagination but it'll be a start.

16   And as Bob said, that's one of the things we're working towards

17   in the other proceedings is to get a better handle on these

18   operation and maintenance costs and differences between them.

19   So it's going to be an evolving process.  But it seems to me

20   that there's some things you could be looking at now.

21             MR. PORTUONDO:  I agree.  There's some low-hanging

22   fruit like you just presented.

23             MR. TRAPP:  Let us not underestimate the impacts of

24   Lines 12 and 13 also.  I assume in the every three-year --

25             MR. GRIFFIN:  This is going to be the hardening

FLORIDA PUBLIC SERVICE COMMISSION

132

1   issue.

2             MR. BREMAN:  At a minimum every three years.

3             MR. TRAPP:  You have to present to us a 226 like

4   subdivision model, the old Joe Jenkins model subdivision.

5             MR. BREMAN:  210, but that's okay.

6             MR. TRAPP:  210?  Excuse me.  You design that for

7   overhead, you design that for underground.  Now you're going to

8   have to design it taking into consideration hardening costs.

9   Recognizing that -- where's the other slide?  Underground

10   hardening costs are going to be different for the coast than

11   they are inland.  So we're probably going to need to see maybe

12   two subdivision calculations.  Overhead, I guess you're going

13   to have to put wind loading effects, and I guess Power & Light

14   and Progress are going to be most affected, maybe two, three,

15   four different areas of different overhead costs going into

16   your URD calculations.  So a few word changes, but to us it's

17   going to require more calculations, more effort in other areas

18   that we normally work in.  We just want to make sure you

19   recognize that's the intent.

20             MR. GRIFFIN:  This is Jesse from Progress.  If, if

21   we're looking at the hardening issues on URD subdivisions,

22   especially the underground portion, I believe we'd be better

23   off if we required the applicant to provide us the majority of

24   that, of the means to harden it.  If it means raising the level

25   of the pad mount of equipment, have them bring the

FLORIDA PUBLIC SERVICE COMMISSION

133

1   right-of-ways to the proper level just so we're not getting

2   the, one, the added expense of basically hauling in what might

3   be thousands of yards of dirt, having the applicant provide the

4   elevation we need plus the shoring, we can still then do our

5   normal URD system, and they provided us the hardening part.

6   When we get to, you know, what would be Pinellas County versus

7   Orange County, the hardening issues go away there as flood

8   plain comes in, unless you want us to have two or three

9   different URD estimates for the certain flood plains that

10   they're in and the company do all the work.

11             MR. TRAPP:  I don't know.  Because, again, going back

12   to earlier conversations, I don't know that you can have a

13   developer raise the elevation of the whole State of Florida

14   where it's going to be flood proof in a storm surge situation.

15   There may be other alternatives.

16             Hardening underground to me means waterproofing your

17   conduits.  That may -- I don't think that's developer cost.  I

18   mean, that's something you do.  The developer has to pay for

19   the impact on the differential.  So I don't think you can

20   slough all the requirements off to a developer on this.  I

21   think it's going to have some utility impact too.  And all that

22   has to be factored into your standard residential subdivision

23   URD calculations in this rule.  And then it has other effects

24   on other rules too with respect to conversion cases in CIAC, I

25   guess, CIAC underground.

FLORIDA PUBLIC SERVICE COMMISSION

134

1             MS. KUMMER:  I would hate to make the underground

2   tariffs any more complicated than they already are.  But, you

3   know, we maybe need to be looking at that.  Off the top of my

4   head I think it would be difficult to have regional URDs, but

5   then again I agree that it doesn't really work -- kind of a

6   weighted average isn't really fair to anybody either.  That's

7   probably something we need to think about and how this would

8   play into what the tariffs look like today and what kind of

9   information is in the tariffs and how we're going to reflect

10   any cost differentials.  Because ultimately that's where it's

11   going is into the tariffs, and we need to keep those in the

12   picture too to --

13             MR. TRAPP:  Well, yeah.  That's a good point.  My

14   point in this -- by making the proposed changes that we're

15   making, we are preserving a cost causer responsibility.  That's

16   the point really I'm trying to make.  We are not averaging this

17   into base rates.  We are requiring the effects of hardening

18   costs to be reflected in the current subdivision specific,

19   project specific, area specific URD CIAC calculations that you

20   have today.  To me the benefit of that approach is that it is a

21   direct assignment of cost approach where we don't have huge

22   costs being spread over ratepayers in mass.  It goes to the

23   subdivision and says, okay, you're in a hardened pole area,

24   you're in a flood zone area, so these costs apply when we

25   calculate your subdivision, your project, your extensions,

FLORIDA PUBLIC SERVICE COMMISSION

135

1   CIAC.  Here's your calculation; it belongs to you.  You get the

2   pot right to the standards that the Commission has adopted in

3   these rules, and the numbers fall out from there.

4             MR. PORTUONDO:  This is Javier.  Let me just clarify

5   something you said.  This is for -- this calculation here for

6   the overhead/underground differential, are you saying that when

7   we compare the cost of the hardened underground system that the

8   customers wants or that we have to put in, that's going to be

9   compared to the standard overhead system that we have in rates

10   today?

11             MR. TRAPP:  No.  No.  This rule, 25-6.078, applies

12   only to new residential subdivisions.  So that's all this rule

13   applies to.  The same provision ripples through other rules

14   that have application in other areas, but right now we're

15   talking about new residential subdivisions.  In a new

16   residential subdivision you are required now to do a comparable

17   design cost estimate, but you may include O&M.  You do an

18   up-front capital cost estimate of overhead to serve,

19   underground to serve.  The Commission has established certain

20   210 lot high density and low density models for you to

21   calculate that.  If there's disputes, we go to a case-by-case

22   type of basis.  Gulf, I think, uses strictly a case-by-case

23   comparison for URD differentials.

24             When you do those calculations, you're going to have

25   to see where the subdivision is and you're going to see --

FLORIDA PUBLIC SERVICE COMMISSION

136

1   you're going to have to determine which wind zone it is in,

2   because this is new, this is new construction.  We said harden

3   new facilities, both overhead and underground.  So new

4   subdivision, where is it, what construction standards apply?

5   If it's in a coastal area with 140-mile-per-hour wind

6   requirements according to the National Electric Safety Code,

7   the overhead system you will design will have poles and

8   facilities in it that will withstand 140-mile-per-hour winds.

9   You cost that out.  You will then take the underground system

10   and say, ah-hah, I've got to harden because I'm in a coastal

11   flooding area.

12             Now what does that mean?  The previous rule said the

13   company will provide standards for that.  Let's just assume

14   that Progress adopts that all the, it's all going to be

15   conduited, it's all going to be concreted so it doesn't move

16   and it's all going to be waterproof where no water can get into

17   anything.  There's a cost of that.  That's what you use to

18   estimate the underground cost of the subdivision.  Take the

19   difference between the two, that's the CIAC that the developer

20   owes the company in that area of the state.

21             MR. PORTUONDO:  Okay.  Here's where I'm having some

22   trouble.  The URD, as I understood it, was attempting to

23   capture the difference between the standard which is in base

24   rates, which the customer is going to get billed through their

25   normal billing process, and the, let's call them upgrades to

FLORIDA PUBLIC SERVICE COMMISSION

137

1   underground.  If I take your approach and assume a higher cost

2   level for overhead than is currently in base rates, I think

3   that concept falls apart.

4             MR. TRAPP:  No, sir, it doesn't.  We've got a new

5   standard.

6             MS. KUMMER:  Yeah.  The hardened overhead is the new

7   standard.

8             MR. TRAPP:  The new standard for new construction.

9   Now what you want to talk about is cost recovery, to which I

10   say file a rate case.

11             MR. BREMAN:  The tension is also created because

12   staff's rule is based on all new construction, be it overhead

13   or underground, it has a new standard criteria.  The utilities

14   are basically focusing on targeted areas.  So you all are going

15   to have to figure out both those presentations, cost amount,

16   and explain why one is better than the other when you answer

17   our questions with respect to these rules.

18             MR. WRIGHT:  Larry.  Hello.

19             MR. HARRIS:  Where are we?

20             MR. WRIGHT:  I'm over here.

21             MR. TRAPP:  Oh, Schef.

22             MR. HARRIS:  You didn't wave.

23             MR. WRIGHT:  I tried that earlier.  It was not

24   observed.

25             Schef Wright.  You all probably know I represent the

FLORIDA PUBLIC SERVICE COMMISSION

138

1   Town of Palm Beach and the Town of Jupiter Island in connection

2   with these matters.  I just have a question at this point,

3   fully understanding this is the new construction section of the

4   rule, but it will apply equally when we get to 6.115.

5             Do y'all envision taking into account any

6   consideration of additional storm restoration costs that are

7   likely to be incurred with overhead that would not be with

8   underground or at least the differential between them?  And if

9   so, in what language would you see that being rolled into this

10   25-6.078?

11             MR. TRAPP:  If you can quantify it, we'll put it in.

12   Right now it's basically reflected in the requirement for O&M

13   differentials to be put in the estimate for this particular

14   rule.

15             MR. WRIGHT:  Okay.  We'll quantify it.  Thank you.

16   That's fine.  We'll quantify it.

17             MR. TRAPP:  Any comments, questions?  I guess we're

18   to Page 21, conversion of existing overhead.

19             MR. HARRIS:  I think we need to take a short break.

20   It's not too long after lunch, so let's take ten minutes.  Be

21   back at 2:10.

22             (Recess taken.)

23             MR. HARRIS:  I think we are ready to go ahead and get

24   back on the record with 25-6.115.  So we are finally on

25   undergrounding.  I wasn't too far off, just a couple of hours.

FLORIDA PUBLIC SERVICE COMMISSION

139

1   Who wants to lead this one?

2             MR. TRAPP:  I guess I've got the duty.

3             MR. HARRIS:  All right.

4             MR. TRAPP:  We spoke a little about new subdivisions,

5   Rule 25-6.115 pertains to conversion cases where an applicant

6   requests conversion of existing overhead to underground

7   facilities.  And I kind of got my way with Connie on the CIAC

8   rule, but evidently I didn't get my own way with my own staff,

9   because this is a word rule again.  And my engineering

10   background, I understand formulas better than I do words.  So I

11   asked Jim if he would translate the words in this rule into a

12   formula, and this is what we came up with.

13             These are the components of costs that we understand,

14   unless we have erred, that go into calculating the conversion

15   case.  So we want to talk about this formula a little bit, and

16   then I also want to -- not much really has changed in this

17   rule.  We haven't proposed many changes in the rule.  We are

18   really looking for input on this particular one.  The one

19   change that we did make on the last page, Page 23 of Attachment

20   3, that first couple of lines there we again have included the

21   capital costs associated with hardening from the standards of

22   construction rule.

23             Schef, in anticipation of your earlier question, my

24   understanding of this rule change is it really only addresses

25   the capital costs and the CIAC calculation.  We have not

FLORIDA PUBLIC SERVICE COMMISSION

140

1   addressed maintenance, storm damage recovery, those types of

2   things.  So now is your opportunity to tell us what you want

3   added or subtracted or changed in that formula.

4             MR. WRIGHT:  Well, I want differential O&M costs

5   added, and I want differential storm restoration costs added,

6   and that's consistent with the comments we have been providing

7   in our petitions to intervene and notices of intent to

8   participate and everything else we've said on this subject and

9   comments we provided on January 23rd.

10             MR. TRAPP:  One of the administrative difficulties

11   that I foresee is that at least with regard to new residential

12   subdivisions, there is a process here at the Commission in

13   order for the companies to propose a model subdivision

14   calculation, a generic average type of approach, as a fallback

15   to case-by-case, if we need to go there, but, basically, it is

16   kind of an average technique for new subdivisions.  But with

17   regard to conversion cases, they typically are unique.  They

18   are case-by-case type of situations.  They require an

19   independent estimate of each of these numbers.

20             One of the things that staff struggled with in

21   whether to include an O&M delta or a storm restoration delta is

22   how do you calculate that number on a case-by-case basis, how

23   do you apply it on a case-by-case basis.  Help us out.

24             MR. WRIGHT:  O&M, I think you could perhaps do on an

25   average system differential basis.  Storm restoration, there

FLORIDA PUBLIC SERVICE COMMISSION

141

1   are a couple of different ways you could go.  One way would be

2   to use some kind of expected value calculation, another way

3   would be to use an assumed value relative to having to go out

4   and replace overhead.  And, you know, when we get to whatever

5   further proceedings in here, I think we are going to talk

6   fairly extensively about differences in reliability because

7   overhead doesn't get hit by debris.  I'm sorry, underground

8   doesn't get hit by flying debris in Category 3, 4, and 5

9   storms.  Now, where you put that in the rule -- where you put

10   the reliability delta in the rule, I'm not sure.  But I think

11   it ultimately informs the decision you make on everything else.

12             MR. TRAPP:  At this juncture we have some planning

13   dockets open.  Utilities to submit some plans, some of those

14   encompass collecting data on an ongoing basis with respect to

15   performance characteristics for overhead and underground, but I

16   don't have anything to put in the rule right now.

17             MR. WRIGHT:  Well, I understand that, Bob.  And it

18   may be -- I've got two client cities, towns, right now who are

19   poised to go forward more likely than not, depending on what

20   the costs shake out to, but more likely than not within the

21   next year or so, and they don't want to pay more than they

22   should pay.  They don't want to subsidize others.  They are not

23   looking for a free ride.  And it may simply be that for those

24   two towns, we have to have individual proceedings.  We would

25   rather see it taken care of in the rule, either as well or --

FLORIDA PUBLIC SERVICE COMMISSION

142

1   rather, we would really rather see it taken care of in the

2   rule.  But, if not, then we can conceive of having individual

3   proceedings.

4             And there are other issues.  There are other issues

5   that we will want to see addressed in the rule that relate to

6   the utilities charging us their corporate overheads when we do

7   the work, which we have a real problem with, and things like

8   that.

9             MR. TRAPP:  Conceptually, I can see the possibility

10   of a placeholder in the rule that speaks to a delta O&M and a

11   delta storm restoration.  Procedurally, calculating the number

12   that you want to plug in there, though, gives me some pause for

13   concern, particularly if I'm doing it on a case-by-case basis

14   as opposed to some type of generic investigation.  And I asked

15   Jim just to look at the tax rolls in the counties up and down

16   the east coast, and we picked some representative communities.

17             I think your two clients are Jupiter Island and Palm

18   Beach, we're talking about million dollar homes.  Hobe Sound,

19   which is a lovely community I have been in that is just right

20   across the Intercoastal waterway from Jupiter Island, have a

21   medium household value of 142,000.  Myself, Bob Trapp, says be

22   very, very cautious how I pass on costs to an area that has

23   million dollar homes such that it doesn't adversely impact the

24   area right across the street that has $142,000 homes.  So

25   therein lies my quandary.  How best to get that number, how to

FLORIDA PUBLIC SERVICE COMMISSION

143

1   apply it, and in what process.  So, I mean, are you talking a

2   generic proceeding to establish those numbers?

3             MR. WRIGHT:  Well, Bob, I'm not 100 percent sure of

4   that.  If there is a generic proceeding, I think these two

5   dockets are probably that generic proceeding taken together.

6   It may be that we have to do this another way.  But, you know,

7   there will be -- I mean, estimates of avoided O&M costs are

8   calculable, estimates of avoided storm restoration costs are

9   calculable.  And to the extent that -- at a rock-bottom minimum

10   those are real potential costs that the rest of the -- of any

11   utility, FPL's in the case of the communities we are talking

12   about, that the rest of the utility's ratepayers will bear if a

13   storm comes through there.

14             You know, where there is underground and the costs

15   are a fraction, the restoration costs after a Wilma class storm

16   or a stronger storm comes through, there are a lot fewer costs.

17   And so the people who have paid for underground are effectively

18   now paying for the restoration costs of overhead, whether it is

19   Hobe Sound or anywhere else, and they have not gotten credit

20   for having avoided that cost by paying for underground in the

21   first place.  And, in this instance, that's what we are talking

22   about.  Now, there are other issues relative to the overall

23   reliability of any overhead versus underground that we'll take

24   up.

25             MR. TRAPP:  So you have a number, too?

FLORIDA PUBLIC SERVICE COMMISSION

144

1             MR. WRIGHT:  I'm sorry?  I didn't quite understand

2   what you meant.

3             MR. TRAPP:  Well, I asked Progress earlier, ah-ha,

4   you have a number.  They seemed to have an O&M number they

5   think they can discuss.

6             MR. WRIGHT:  Bob, I don't have that -- I will tell

7   you straight up, Bob.  We don't have that number yet.  I have

8   the contract from our consulting firm sitting on my desk

9   pending a final sign-off.  We intend to sign it and go forward

10   and be ready for whatever further proceedings occur in this

11   docket.  That's where we stand.

12             MS. KUMMER:  Schef, presumably what you are talking

13   about is trying to somehow quantify the benefit to the general

14   body of ratepayers of undergrounding these particular areas.

15             MR. WRIGHT:  Yeah.  As far as this conversation is

16   going, yes.  Now, we also want to talk about differences in

17   reliability and general public interest considerations, which

18   we believe are quite substantial with regard to undergrounding.

19   But for right now, yes, that's what I'm talking about.

20             MS. KUMMER:  But when you are talking about

21   calculation of CIAC --

22             MR. WRIGHT:  O&M.

23             MS. KUMMER:  -- you want to recognize that there can

24   be a benefit to the general body of ratepayers.  Have you given

25   any thought to how you go about doing that calculation?

FLORIDA PUBLIC SERVICE COMMISSION

145

1             MR. WRIGHT:  Yes.

2             MS. KUMMER:  Would you like to share it with us?

3             MR. WRIGHT:  Well, as far as I have gotten thinking

4   about it, you know, there are -- you can calculate differences

5   between overhead and underground O&M costs, and you can

6   calculate estimated differences on some kind of expected value

7   basis.  Now, whether you use just a raw strict expected value

8   number or whether you make some additional allowance is a

9   separate issue, and we haven't made a final decision on that.

10   But you can calculate something like what the expected value is

11   of savings due to storm restoration costs.

12             For example, one of the witnesses in the current

13   pending FPL storm case has testified in his prefiled testimony,

14   Mr. Byerley on behalf of the Citizens has testified that at a

15   bare minimum, rock-bottom conservative minimum, restoration of

16   overhead facilities costs 4X standard overhead construction.

17   My very rough, gross aggregate level calculations based on what

18   FPL actually paid over the last two years to rebuild 2 to 3

19   percent of their transmission and distribution system seems to

20   indicate that the multiplier is a lot more than 4X.

21   Regardless, it's a big number.  Now, not everybody is going to

22   get hit.

23             And one way of looking at it is you could just assume

24   X storms, and make some calculation of what the savings might

25   be in that regard, or you can assume X storms, and say, because

FLORIDA PUBLIC SERVICE COMMISSION

146

1   underground is more reliable and is less likely to incur

2   extensive storm restoration costs, we're going to take some

3   differential, and we are going to add that in, part as

4   recognition of reliability and part as a probabilistic

5   protection factor or something like that.  We are not fully

6   there yet.  You know, we have discussed this -- I've discussed

7   this with the consultants we intend to hire, and we are

8   geared -- like I said, we're geared up and ready to go.  Those

9   are the concepts that we are working with.

10             MS. KUMMER:  Okay.  But you would agree that you are

11   going to somehow have to apportion any benefits, whether it's

12   storm restoration, or O&M, or reliability between the direct

13   beneficiaries, i.e., underground and the general body of

14   ratepayers.  There is some sharing there because the --

15             MR. WRIGHT:  Most likely.  I mean, ultimately it

16   depends on what the potential cost savings are from

17   underground.

18             MS. KUMMER:  Okay.

19             MR. WRIGHT:  I mean, it is possible that either when

20   you look at the cost savings, assuming making some extreme

21   assumptions about frequency and intensity of hurricanes over,

22   say, a five-year period, it is entirely possible that you could

23   make the decision that you just want to underground.  You may

24   also make the decision, given what everybody was saying this

25   morning, with which I concur and with which our consultants

FLORIDA PUBLIC SERVICE COMMISSION

147

1   concur, that when you get up into a Category 4 storm situation,

2   it doesn't matter if you harden the system to withstand

3   180-mile-an-hour gusts, because when the gusts are up in the

4   130, 140 range, the debris flying is going to be causing all

5   manner of havoc anyway.

6             MS. KUMMER:  Sorry, Bob.

7             MR. BREMAN:  Schef, were there two items you wanted

8   to add or were there three?  Because I wasn't sure whether or

9   not you were bringing up externalities, what I would call

10   externalities, social benefits that are not currently embedded

11   in base rates or rates of any kind.

12             MR. WRIGHT:  Jim, for purposes of the formula there

13   were two things.  In the further proceedings we intend to raise

14   the social benefits in terms of the value saved and preserved

15   to Floridians from not having their power go out.

16             MR. BREMAN:  That's three items.  Okay.

17             MR. WRIGHT:  But I don't think that number

18   necessarily goes into -- it may or may not.  I don't think that

19   number goes into that formula.

20             MR. BREMAN:  And you will be able to value these

21   numbers or at least provide a formula for calculating these

22   numbers within how long, two weeks, three weeks?

23             MR. WRIGHT:  No.

24             MR. BREMAN:  Time frame?

25             MR. WRIGHT:  Four months, five months.  I mean, it's

FLORIDA PUBLIC SERVICE COMMISSION

148

1   kind of getting ahead to the end of it, but I have been talking

2   about five months with the consultants as the time for them to

3   complete their work.  I can probably twist their arms and get

4   them to do it in four.  So probably results in August and maybe

5   further proceedings in September, something like that.

6             MS. KUMMER:  When you say proceedings, are you

7   talking about specific to your client or something else?

8             MR. WRIGHT:  Potentially either, Connie.  I was

9   thinking in terms that there would likely be a hearing on the

10   proposed rules in these two dockets, which I gather will be

11   consolidated for procedural purposes.  You know, and that may

12   be how it turns out.  It may be that.  It may be

13   client-specific proceedings or it may be both.  The main line

14   expectation that I had coming in here today was that there

15   would be a proposed rule at some point, and that there would be

16   a rule hearing at some point.  And that is what I was thinking

17   of.

18             MS. KUMMER:  Okay.  Do you intend to propose language

19   in the comments following this workshop?

20             MR. WRIGHT:  Yes.

21             MR. TRAPP:  Here is the trouble I'm still having,

22   though, Schef.  Rulemaking is one thing, calculating the

23   dollars is another thing.  And it seems to me that, you know,

24   you can put some words in a rule, but unless they have dollars

25   associated with them, you don't know how to apply the rule.

FLORIDA PUBLIC SERVICE COMMISSION

149

1             So it sounds to me like we have got two proceedings

2   here.  One is a rulemaking proceeding to establish the policy

3   of thou shalt or not include these two or three extra

4   components to the formula.  Then you have got to have another

5   proceeding to implement the rule to plug in the number.  And

6   that's where I'm struggling with.  I mean, would it be best for

7   us to press forward with the generic rulemaking language and

8   establish these numerical discussions in parallel, or in

9   sequence, or how?

10             MR. WRIGHT:  Well, that's a good question, Bob,

11   because depending on what the outcome of the more generic

12   consideration docket is, it might conceivably obviate the need

13   for specific proceedings for, say, the town of Palm Beach.  On

14   the other hand, it may not.  It may be that we go through the

15   rule proceeding and incorporate whatever concepts need to be

16   incorporated, and make whatever policy decisions the

17   Commissioners decide to make relative to overall reliability

18   and social benefit concerns, and then we have got a rule, and

19   then we have an implementation proceeding on an area-by-area,

20   project-by-project basis.  That is certainly possible.  And,

21   you know, we'll just have to see how it works out.

22             I would say I would rather see these things go

23   forward more in parallel than in sequence, and my clients would

24   rather see them go forward more in parallel than in sequence.

25   And I understand from a side conversation I had with Chairman

FLORIDA PUBLIC SERVICE COMMISSION

150

1   Harris that you all are on a faster track that I had

2   understood, that I had personally conceived would be the case.

3   And given that you are on that relatively faster track, I don't

4   see any real problem getting things done in a timely way.

5             The thing we wanted to avoid was having the rule

6   hearing next January, and then being put off until sometime in

7   the latter half of next year for our case-specific hearings if

8   they had to be held.  But from everything I have been given to

9   understand today, we are going to be going faster with the

10   fundamental conceptual rule on a much faster track that should

11   permit us to handle whatever the community-specific issues we

12   have in a way that is timely for my clients.

13             MR. TRAPP:  Power and Light, any comment, input?

14             MR. MIRANDA:  Bob, we have, you know, a few customers

15   who are requesting to underground their facilities, and Schef

16   represents a couple of these customers in our service

17   territory.  And when we look at, you know, encouraging

18   underground conversions, it is really clear that cost is a

19   major barrier to getting those conversions done.  And back in

20   2003, we introduced a mechanism for governmental recovery of

21   undergrounding fees.  Basically, a new rate -- a new tariff to

22   try to encourage communities to underground.  And as of this

23   date we have had zero takers on that tariff.

24             Following the 2004 and 2005 hurricane seasons, it is

25   evident that the underground facilities for the type of storms

FLORIDA PUBLIC SERVICE COMMISSION

151

1   that we have been experiencing, which are the wind type storms,

2   that undergrounds do provide some level of mitigation

3   concerning the storm restoration.  And we proposed a 25 percent

4   investment for government-sponsored projects to really

5   encourage community-wide conversions.  And this was really

6   determined by talking to community leaders that really thought

7   that cost was really the main issue that they had to address.

8             As a result, we believe that the 25 percent amount

9   really strikes this balance between a sufficient incentive for

10   the communities to convert while minimizing the potential

11   impact to all customers from future storms, which is the issue

12   about how to figure out how to calculate that number on storms.

13   Ultimately, whatever is decided by the Commission, yourselves,

14   will be the number that we will follow as far as, you know,

15   recovery purposes.  We'll adopt that investment level approved

16   by the FPSC regardless if it is higher or lower.

17             Part of the problem that we are facing, of course, is

18   we don't have a lot of the information and historical data to

19   calculate what that exact number is.  So that's why we have

20   offered the 25 percent investment number.

21             MR. TRAPP:  What is the science behind the 25

22   percent?

23             MR. MIRANDA:  It was just listening and talking to

24   community leaders and trying to figure out a percentage amount

25   that would move some of these communities to go forward with

FLORIDA PUBLIC SERVICE COMMISSION

152

1   undergrounding.

2             MR. TRAPP:  What is the impact on rates?

3             MR. BUTLER:  I think that some of that is going to be

4   wrapped up in this question of what, if anything, there is in

5   the way of savings on the other costs associated, or saved,

6   avoided by undergrounding versus continuing the overhead

7   service.  But the specific proposal contemplates that the 25

8   percent that FPL would be providing or investing would end up

9   going into plant-in-service; and, therefore, immediately there

10   would be no impact.  But at the point where there would be base

11   rate proceedings that would consider plant-in-service as one of

12   the elements, that would be an amount invested that would be

13   considered for ratemaking purposes.

14             MR. TRAPP:  But I'm hearing you have no status on the

15   science of any of the numbers.

16             MR. BUTLER:  Well, as Manny was saying, I think it is

17   more a matter of kind of value driven or moving the customer,

18   than it is at this point based on the cost differentials that

19   exist.  And that is really the principal motivation.  I mean,

20   if that is a direction that the Commission doesn't want to go

21   or, as he said, if there is a different number that makes

22   better sense, either because more is needed to move customers

23   or the opposite end of the spectrum less can be justified from

24   a cost perspective, then we would certainly defer to the

25   Commission on what the appropriate percentage would be.

FLORIDA PUBLIC SERVICE COMMISSION

153

1             MS. KUMMER:  We have talked about O&M and the

2   quantification of O&M differences a little bit earlier, but if

3   you were going to quantify the storm restoration

4   differential -- now, I understand you don't have that

5   information today, but what kind of information would the

6   company be looking for to try to quantify that?

7             MR. MIRANDA:  I think, Connie, those are the type of

8   things that we are looking at, of course, is the amount of

9   storms that would impact the service territory, the intensity

10   of those storms, the facilities, the overhead facilities versus

11   the underground, trying to capture some of the restoration

12   costs in our estimates.  Of course, the O&M piece, as you

13   referred to earlier, we will have to look at what normal O&M

14   that you apply to an overhead system and to an underground

15   system.  So I think that would be a little bit -- you know,

16   more straightforward, still very difficult to quantify.  And

17   then overlap the storm impact on these formulas.

18             MR. BUTLER:  And something that is clear with the

19   storm restoration piece of it is that there aren't going to be

20   as many data points, and it's going to be just necessarily

21   somewhat more a matter of projecting something reasonable off

22   of past experience and some reasonable estimate of future

23   experience that will have a measure of uncertainty involved in

24   it.  But it is something that seems like that it is clearly

25   there, and that customers recognize it as being there.  And

FLORIDA PUBLIC SERVICE COMMISSION

154

1   that, you know, there is a value in trying to grapple with

2   quantifying and taking it into account.

3             You know, exactly how that happens is really going to

4   depend on how much can be teased out of the data that the

5   companies have collected from the most recent storm seasons.

6   And, you know, I hope we don't have more data points, but who

7   knows, by the time that we finish this process there may be

8   additional data points to provide information.

9             MR. BREMAN:  Is there overlap between the 25 percent

10   and the targeted concept that the company is pursuing, Manny?

11             MR. MIRANDA:  Say it one more time.

12             MR. BREMAN:  I'm confused a little bit about the 25

13   percent and the company's targeted project.  Is there overlap,

14   is there interaction, interplay between those two concepts or

15   are they two separate events?

16             MR. BUTLER:  I think they are pretty much two

17   separate events.  I mean, the 25 percent investment is

18   something that is pretty much offered to areas where, you know,

19   the local governmental entity is sponsoring the conversion.  It

20   applies to a large enough area or project that it makes sense

21   to be doing it, that you get some bang for the buck of actually

22   having a sort of coordinated consecutive series of electrical

23   facilities that would be benefitted by the undergrounding.  But

24   it's kind of customer driven.  People who want it, it is

25   something that -- and their local governments want it, would be

FLORIDA PUBLIC SERVICE COMMISSION

155

1   pursued.  In contrast, I think the targeting is more something

2   that is company driven, you know, where it sees areas that

3   there are particular opportunities to make storm hardening

4   improvements because of the vulnerability of the system.

5             MR. TRAPP:  I'm still struggling with the math and

6   with the science of this, and with the chicken and the egg

7   approach to this.  If you underground, you know, six blocks on

8   the east coast, what benefit has that done to mitigate any

9   storm damage anywhere?  If you do it statewide, can we afford

10   it?  The rates, can everybody afford it?  Those are some of the

11   issues that I haven't heard any concrete answers to.

12             MS. KUMMER:  That's what I was struggling with, too,

13   Bob, and where I was going to go.  It should be at least

14   intuitively fairly simple to quantify the benefits to the

15   community that has the undergrounding.  They are either not

16   going to be out of service or they are going to be out of

17   service for a shorter time period, whatever.  But what I'm

18   struggling with, and what I really can't get my hands around is

19   how you are going to determine the benefit to the general body

20   of ratepayers of undergrounding of, as Bob said, you know, a

21   six-mile stretch of coast line.  And that is what I think you

22   are going to have to do when you start talking about charging

23   off any percentage to the general body of ratepayers.

24             MR. BUTLER:  Well, as far as this short distance is

25   concerned, I mean, at some point the distance gets short enough

FLORIDA PUBLIC SERVICE COMMISSION

156

1   that there really aren't any benefits, and we agree.  And one

2   of the things that we would be looking at is defining a project

3   to which this concept would apply, large enough and sort of in

4   a coherent and coordinated enough way that you are actually --

5   if you put all of that underground, then you wouldn't be

6   needing to deal with the sort of overhead restoration type

7   issues in an area that was all served by the same power

8   facilities.

9             But my impression, at least, is that that doesn't

10   necessarily have to be a huge area.  And, you know, once you

11   have those benefits, if you are spending X dollars less in

12   storm restoration costs because you have not had to restore

13   overhead facilities to that area, and the normal expectation is

14   not that that community pays for the restoration costs in that

15   area, but, rather, the general body of customers would be

16   paying for it, that you, you know, you have got a benefit.

17             Now, the quantifying of that, obviously, is going to

18   be a challenge because of the uncertainties, the limited data

19   points, et cetera, but that is on the storm restoration side

20   essentially what's driving it, that just routinely, you know,

21   communities are not now being charged specifically for their

22   little community all of the costs incurred to restore it, but

23   rather that the entire system is picking up a share of those

24   costs.  And to the extent that FPL or any utility were able to

25   reduce the costs for that area, you end up benefitting the

FLORIDA PUBLIC SERVICE COMMISSION

157

1   general body of customers by doing so.

2             MR. TRAPP:  That's why I'm real interested in seeing

3   the data from Gulf Power, because there is a coastal system

4   that was adversely affected by a major hurricane that was

5   predominately underground.  How are those costs -- how are

6   those restoration costs going to be credited back to the

7   customers that paid to subsidize to put them underground?

8             MR. BUTLER:  That is a significant issue.  I mean,

9   it's obvious that there is a bigger benefit of undergrounding

10   facilities in high land that is subject to high winds than

11   there is to low land that is protected from winds if there were

12   such extremes, because the one is going to be very vulnerable

13   for overhead and the other is going to be somewhat more

14   vulnerable with the underground service.  And those are things

15   that all of us will have to grapple with.  And I agree that to

16   the extent that some areas would be, you know, have higher

17   costs of undergrounding, that will have to be taken into

18   account.

19             MR. TRAPP:  So one may very well find that coastal

20   communities should be served by overhead because they can be

21   restored faster and cheaper.

22             MR. BUTLER:  It's possible.  But I think that there

23   is an awful lot of other factors beyond just the simplicity of

24   sort of storm surge versus high wind that would have to be

25   taken into account looking at it.  But, yes, I mean, there are

FLORIDA PUBLIC SERVICE COMMISSION

158

1   different factors that will affect different areas in different

2   locations, I would expect.

3             MR. TRAPP:  Gulf, would you like to join in?

4             MR. HARRIS:  I had a question, Bob.  You mentioned

5   the two communities that we know Mr. Wright is representing.

6   Can you give me an idea of what other communities we are

7   looking at?  Others throughout the 35-county territory of FPL?

8   Are they all clustered in Palm Beach County?

9             MR. MIRANDA:  We are starting to get them surfacing

10   throughout our service territory.  Many of them are just coming

11   forward with just general estimates.  The ones that are kind of

12   moving a little bit closer, is we have some projects in the

13   city of Hollywood.  We are starting to get some projects down

14   in Miami Beach now, some of the islands, in those areas.  So

15   more and more folks are starting to move towards

16   undergrounding, you know, in light of some of these severe

17   storms that we have had the last couple of years.

18             MR. HARRIS:  Are these requests mainly coming from

19   the coastal communities?

20             MR. MIRANDA:  No, I wouldn't say so.  I think they

21   are coming from throughout our service territory, at least the

22   general -- the requests for the general estimate.  As far as

23   binding estimates, we have only had a couple of communities

24   move forward with those.

25             MR. BREMAN:  Manny, excuse me.  When you said not

FLORIDA PUBLIC SERVICE COMMISSION

159

1   coastal, for example, could you give me an example?

2             MR. MIRANDA:  I didn't bring my list, but --

3             MR. SPOOR:  I was just asking -- when Manny was

4   answering that response before, asking another gentleman with

5   FPL that's here with us now.  And, I guess, over the last two

6   years we have had about 115 requests that have come in, some in

7   various stages, I think, to Manny's point, too, that have gone

8   all the way to a binding estimate, but certainly several that

9   are more interested in the last two years.  That level of

10   activity I don't think we would have seen prior to the '04

11   season.

12             MR. BREMAN:  I'm just struggling with the concept of

13   what is not coastal in FPL's service area.  I know Arcadia is

14   probably not considered coastal.  Belle Glade might not be

15   considered coastal, but --

16             MR. MIRANDA:  Right.  I guess it depends on how you

17   define coastal.

18             MR. BREMAN:  Right.

19             MR. MIRANDA:  But I guess everything inland for us

20   would not be considered coastal.  You know, it's like ten miles

21   inland, we do get communities requesting that.

22             MR. BREMAN:  Okay.  Thanks.

23             MR. HARRIS:  I guess my question was are you getting

24   requests from, you know, Nassau County in the north and

25   Okeechobee inland, or are you just getting them from Palm Beach

FLORIDA PUBLIC SERVICE COMMISSION

160

1   and Miami-Dade?

2             MR. MIRANDA:  It is throughout our service territory.

3             MR. BADDERS:  Russell Badders on behalf of Gulf

4   Power.  Very briefly, we do not support a subsidy, 25 percent

5   or 10 percent or otherwise.  We believe that the cost causer

6   should bear the costs.  We don't believe that there has been a

7   showing of any benefits to the other ratepayers or to the

8   general body of ratepayers such that they would bear some of

9   this cost.

10             Our personal experience, I guess, with Pensacola

11   Beach and Navarre really brings into question whether or not

12   you want to underground areas that are subject to storm surge.

13   It is a significant effort to locate the facilities after a

14   storm.  It's a very significant effort to restore and repair

15   them.  So I don't think we have done an exhaustive study on

16   that, but I think just intuitively if they were strung along

17   pole lines, you would still have to go back and find the old

18   facilities and remove them, but it would not be the same effort

19   to go back and put in new poles and get in some new lines.

20             So in some areas it may not be that underground will

21   give you any benefit whatsoever with regard to restoration.

22   And, in fact, it may cost a lot more.  It may be that you

23   rebuild the entire system again.  And I don't think at this

24   point that there is any -- I guess any reason or benefit to the

25   other ratepayers to pay for that, repeatedly, even if you only

FLORIDA PUBLIC SERVICE COMMISSION

161

1   have a storm every five years or ten years.

2             If you go to a plan where everything is underground,

3   even in a concrete duct bank on certain islands, certain

4   barrier islands and certain locations, you are still going to

5   have significant damage.  So we do not support the subsidy, nor

6   do we think that mandatory underground or even promoting

7   underground in some areas may be the right thing to do.  We

8   still don't have all the information, but that is just based on

9   what we have experienced thus far.

10             MS. KUMMER:  Would you refuse -- if someone requested

11   underground, would you refuse on an operational basis?

12             MR. BADDERS:  At this point, again, I don't think we

13   have enough information to really justify that.  I think it

14   would be a hard thing to come to the Commission and say,

15   empirically, this is the wrong thing to do.  We have had

16   discussions with Pensacola Beach and other entities with regard

17   to this, basically, just tried to show them the pros and cons

18   as best we know, and let them make their decision.  And right

19   now if they are paying, I guess they are allowed to do that.  I

20   mean, I think that is fully within their prerogative.

21             MR. TRAPP:  In terms of -- I guess you wouldn't mind

22   going to a proceeding where we could nail down some of the size

23   and determine whether or not there was benefit or costs, but

24   let me ask you that.  And, secondly, if you would, in terms of

25   rulemaking, if one were to go to a generic proceeding, and one

FLORIDA PUBLIC SERVICE COMMISSION

162

1   were to identify benefits associated with undergrounding and

2   overhead, in order to avoid recycling back through a

3   rulemaking, does it make any sense to put a placeholder in the

4   rulemaking?

5             MR. BADDERS:  I really haven't thought of -- I guess

6   as far as rulemaking, I mean, you can always open a rule in the

7   future if you come up with better science or better

8   information.  I guess sitting here today, I can't think of all

9   the information that you would have to have to make this

10   decision.  I'm sure we can.  I guess if there was good science

11   showing some benefit, clearly -- I mean, that's something that

12   would have to be explored.  I don't know if opening a docket

13   today will get us there.  I just don't know what information is

14   there.

15             I mean, we have had, I would not say considerable

16   experience, but we have had some good experience the last

17   couple of years.  And I don't think we have walked away with a

18   whole lot of really concrete answers, just more questions and

19   some more things that we are willing to try.  So I don't know

20   if we know enough right now to really maybe open a docket and

21   explore it in this type of a setting.  I think as utilities, we

22   have to go back and continue our efforts, what we have done

23   over the last, you know, 40 years or more to improve our

24   system.  And if this is something that is something that we are

25   going to be faced with more often as the naysayers say -- I

FLORIDA PUBLIC SERVICE COMMISSION

163

1   mean, as the weather people say, then we have to focus on this.

2   I don't really think we have all the information we need.  I

3   guess that is the bottom line.

4             MS. KUMMER:  When the coastal facilities are placed

5   underground, the customer pays CIAC, correct?

6             MR. BADDERS:  In general, yes.

7             MS. KUMMER:  And when after a storm, you have to go

8   back and repair those, and sometimes it looks like you are

9   going have to rebuild a great deal of them, is that just a

10   general cost to all ratepayers or is that cost assessed to the

11   customer?

12             MR. BADDERS:  I'm not sure that it is 100 percent one

13   way or the other.  I believe there have been instances where we

14   have waived it.  Basically, they have not paid, and we have

15   just gone ahead and rebuilt it.  I think at this point that is

16   something we are looking at internally very closely as to when

17   we go back and rebuild things, what do we put in the contract,

18   as far as what will we do in the future.  Who will pay, make it

19   rock-solid so there are no questions.  So nobody can come back

20   ten years from now and say, well, I thought you would just

21   rebuild it.  Make it clear and that may, in fact, change their

22   decision one way or the other.  At least they will recognize

23   the true cost.

24             MR. TRAPP:  Progress.

25             MR. BURNETT:  Bob, there's been a lot -- John

FLORIDA PUBLIC SERVICE COMMISSION

164

1   Burnett, Progress Energy.  There has been a lot of questions

2   floating around.  Which one particular did you have for me

3   right now?

4             MR. TRAPP:  I think we started out the discussion

5   with do we need to add anything to this formula.  And there was

6   a suggestion that -- at least two things, a delta O&M and a

7   delta storm restoration cost be included into the formula.  So

8   I guess I'm asking your opinion on the inclusion of those two

9   factors.

10             MR. BURNETT:  To that one I don't see how you could

11   do it now, based on all the questions that staff has raised,

12   nor do I see that you would probably want to have a placeholder

13   in there until we did have something a little bit more

14   developed.  So I guess from Progress' perspective, it would be

15   go forward with the rule as you have proposed it in this draft.

16   And if anything comes up in those questions that you have posed

17   and other staff members have posed solidify, the you could take

18   up then to make a change, if need it be.  But it would seem a

19   bit premature to try to put anything in at this point from what

20   I've heard today.  And the placeholders I'm not sure make a lot

21   of sense, again, until you would have those questions answered

22   to your satisfaction.

23             MR. BADDERS:  I have one question.  I got a little

24   sidetracked on a couple of the other questions.  But one thing,

25   I'm not -- I believe that cost of removal would be a part of

FLORIDA PUBLIC SERVICE COMMISSION

165

1   this equation, and I'm not really sure where that fits.  It may

2   be subsumed in one of those, but --

3             MR. BREMAN:  It is.  Net salvage.

4             MR. BADDERS:  Okay.  So you are including cost

5   removal and all of that in net salvage?

6             MR. BREMAN:  Yes, sir.

7             MR. TRAPP:  TECO, I guess.

8             MR. H. BRYANT:  Howard Bryant with Tampa Electric.  I

9   think there are two questions that you have.  One, do we need

10   to add things to that?  From our perspective, we would suggest

11   no.

12             And then the second question, or at least the second

13   discussion was on the idea of some amount of CIAC becoming

14   perhaps a part of rate base.  And our struggle there would be

15   the subsidizing question on the other ratepayers, is that an

16   appropriate thing to do.  And we are not at the point to where

17   we would be able to say, yes, that is the right thing to do and

18   it is appropriate and we can quantify why.  We would think that

19   that is not the right thing to do at this point in time.

20             MR. TRAPP:  John, did you want to have a shot at the

21   second part of the question that he raised, because I didn't

22   raise it.

23             MR. BURNETT:  John Burnett, again.  I think

24   similarly, Bob, we are thinking about a lot of the questions

25   that have been raised by staff, and I don't think we have a

FLORIDA PUBLIC SERVICE COMMISSION

166

1   position one way or another for or against what Power and Light

2   has put on the table.  But, again, we are thinking about some

3   of the issues that come to mind, and that is one of the ones

4   that TECO just mentioned that we are sort of struggling and

5   thinking about with, too.  So we are sort of observing and

6   thinking at this point, as well.

7             MR. TRAPP:  Okay.  FPUC, did you want to comment on

8   this?

9             MR. CUTSHAW:  Mark Cutshaw (phonetic) with Florida

10   Public Utilities.  Unfortunately, in one area we don't have a

11   lot of underground, and in the other area where we do have a

12   considerable amount of underground is all in these coastal

13   areas that will be impacted by the storm surge.  So we are very

14   concerned about this manner, the formula.  We have been

15   contacted by the city and the county in one area about

16   undergrounding, and, you know, we have communicated to them

17   there are some changes coming down the road.  So there is a lot

18   of uncertainty.  And like I mentioned earlier, we're sitting

19   back waiting on these proceedings to see how to proceed.  But

20   we don't have any major issues with this kind of thing.  But as

21   far as calculating the other impacts to this, we do have some

22   concern over that, but don't have an answer to that at this

23   point.

24             MS. KUMMER:  I know your Fernandina area is growing

25   quickly over there.  Are most of the new facilities going

FLORIDA PUBLIC SERVICE COMMISSION

167

1   underground?

2             MR. CUTSHAW:  Probably 80 to 90 percent are going

3   underground initially.

4             MR. TRAPP:  Do we have any more input on this

5   proposed rule?

6             Schef.

7             MR. WRIGHT:  Bob, I just have a question.  I want to

8   understand what you mean when you are using the term putting a

9   placeholder in there.  Are you talking about like putting the

10   concepts that I, for example, articulated about differential

11   O&M and storm restoration costs into the rule as something that

12   could be considered?  Is that what you are talking about when

13   you say placeholder, or are you talking about something

14   procedural?

15             MR. TRAPP:  Yes, I think so.  I mean, it occurs to me

16   there are two things we can do.  We can put a hard and fast

17   thou shalt, you know, this number, or we could use a thou shalt

18   or a may consider O&M differentials and storm restoration.

19             MR. WRIGHT:  I just wanted to make sure I understood.

20   Sometimes placeholder gets used in a procedural sense for like

21   a spin-off docket to address Palm Beach's specific situation.

22   I thought you meant the formula, and that's what I wanted to

23   make sure of.  Thanks.

24             MR. TRAPP:  What I was talking about was adding your

25   two elements to the formula, knowing that the input to those

FLORIDA PUBLIC SERVICE COMMISSION

168

1   two elements could be anything from zero -- well, actually they

2   could be anything from negative to positive with zero in

3   between.

4             MR. WRIGHT:  Okay.  Thanks.

5             MR. TRAPP:  But we would have to -- to me, go to some

6   other procedure in order to determine what number to put into

7   that.  And that's why we were exploring -- I mean, you have

8   been talking about your individual clients bringing a

9   procedure.  We are talking about a generic procedure.  I'm just

10   trying to figure out if it can all be done in a rulemaking

11   procedure.  I have my doubts on that.  But the placeholder, at

12   least, puts a formula out there for someone to plug in through

13   another procedure.

14             MR. WRIGHT:  Thanks.  That's what I understood.  I

15   just wanted to make sure we are communicating effectively.

16   Thanks.

17             MR. TRAPP:  That's what I was attempting to explore.

18             MR. WRIGHT:  Thanks.

19             MR. TRAPP:  Thank you.

20             Larry, I think we are through with the rules.

21             MR. HARRIS:  Does anyone have any more comments on

22   6.115?  That being the last rule that we had set for today, at

23   least staff had proposed.

24             MR. TRAPP:  Do we go now to Attachment 5 of --

25             MR. HARRIS:  Did you have something?

FLORIDA PUBLIC SERVICE COMMISSION

169

1             MR. WILLIS:  Were you going to go further with the

2   other parts of your agenda?

3             MR. TRAPP:  Yes.

4             MR. HARRIS:  The next thing we have is Attachment 4.

5             MR. TRAPP:  Five.

6             MR. HARRIS:  Five, I'm sorry.  I thought it was 4.

7             MR. TRAPP:  We covered 4.

8             MR. HARRIS:  Did we resolve that?

9             MR. TRAPP:  Yeah.  They were all forms.

10             MR. HARRIS:  I mean, are there any questions about

11   the remaining pages in the packet, the forms, starting on Page

12   24?  I think those are the forms that are already out there

13   that you have all seen before.

14             MR. BREMAN:  Just to be clear, staff is not proposing

15   any changes to the URD forms used for subdivisions.  Thank you.

16             MS. KUMMER:  They were just there for your

17   information, so you had everything together.

18             MR. TRAPP:  Well, let me try to explain that, because

19   there has been lot of confusion among staff about what rules to

20   include in this package and what not to.  We have attempted to

21   include every rule that is touched on in these subject matters,

22   because we don't want to get in a procedural situation where

23   somebody wants to raise a change somewhere that we haven't made

24   a change in, such as the safety rule, and not be able to

25   procedurally because we didn't notice it.  So we tried to put

FLORIDA PUBLIC SERVICE COMMISSION

170

1   everything in this package we could think of, much of which we

2   did not change.  But it is out there for discussion if you

3   think you need to do something to it.

4             MR. HARRIS:  Good.  I think now we are through the

5   package.  So I guess it is time to sort of say do we

6   anything -- does anybody have any other rules or any other

7   comments they want to sort of throw out there that we need to

8   be thinking about or looking at?

9             Attachment 5 is in the package on Page 42, and this

10   is a -- essentially, it's a staff data request.  Staff needs

11   some information, and this is what we propose to ask for.  And

12   there is probably a lot of information there that we are

13   requesting.

14             MR. TRAPP:  Let's talk about times and dates, future

15   activity.

16             MR. HARRIS:  Yeah.  I feel very strongly that we need

17   to move this along.  The Commission has for several months been

18   commenting on, you know, our approaching deadline for the 2006

19   storm season.  It is my personal feeling that this needs to be

20   something that staff moves very quickly on.  With that intent,

21   it would be my intention that we try to get this to -- a

22   proposed rule to the Commission in June.  There are two agendas

23   in June, probably the second one, the middle one, June 20th.

24             That being the case, we need to get written comments

25   from you all and have some time to do something with them.  My

FLORIDA PUBLIC SERVICE COMMISSION

171

1   suggestion would be that we request written comments from you

2   by May 1st, which is two weeks from today.  That's a lot of

3   comments to do and not a lot of time to do it, but I think it

4   is relatively important.  I anticipate that you all will have a

5   got of good comments that staff will need to carefully consider

6   that we are going to need to include in these rules that we

7   will ultimately recommend that the Commission propose.  So

8   that's a lot of work.

9             MR. WRIGHT:  Larry.

10             MR. HARRIS:  Yes.

11             MR. WRIGHT:  Schef over here.  Sorry.  Some of us,

12   including the people who are sitting close to me, have a lot of

13   other stuff that it looks like we are going to have to be doing

14   up until April the 27th as things stand today.  I was wondering

15   if you could cut us a little bit of slack on the May 1st thing.

16   What day of the week is that?  Is that a Monday?

17             MR. TRAPP:  It's a Monday.

18             MR. WRIGHT:  Could you maybe push it to the end of

19   that week or maybe to the following Monday?  Maybe even the end

20   of that week would help me a lot, I'll tell you.

21             MR. TRAPP:  Here is the deal.  I think we have also

22   been discussing, and particularly in light of the comments that

23   we have received today and anticipate, because I think there

24   were a lot of good ideas that came out today, word changes,

25   phrase changes, concepts, we need to digest and work out.  We

FLORIDA PUBLIC SERVICE COMMISSION

172

1   were contemplating having a second rulemaking workshop.  So now

2   we have got -- it's not just your comments and us going to

3   agenda, it has got to -- we've got to come and have this again,

4   and then get to agenda.  So the date for that was --

5             MR. WRIGHT:  The date would be May 19th, which is an

6   open date on the Commission's calendar at this point.

7             MR. TRAPP:  That's two weeks?

8             MR. WRIGHT:  Two weeks.

9             MR. HARRIS:  And that's sort of how it broke down.  I

10   understand this is a very busy week.

11             MR. WRIGHT:  How about Wednesday, May 3rd?

12             MR. HARRIS:  I don't have a problem with Wednesday.

13             MR. TRAPP:  If everybody commits to make such

14   brilliant, brief, and to the point comments that they can

15   either be yes or no just like that by Staff, I agree.

16             MS. KUMMER:  And we are looking for rule language

17   changes.  Philosophy is nice, but if you want to translate it

18   into rule language, type and strike is much appreciated.

19             MR. TRAPP:  And, again, it has got to be accompanied

20   by cost data.  Because part of the yes and part of the no is

21   going to be driven in large part by our perception of how much

22   burdensome cost we are imposing on the system.

23             MR. WRIGHT:  I think I have been very clear about

24   this, not to create any unreal expectations, we ain't gonna

25   have cost information in two weeks.  We're not going to have

FLORIDA PUBLIC SERVICE COMMISSION

173

1   cost information in two months.  We're just not.  I mean, we

2   are talking with -- our consultants have extensive experience

3   with this stuff, but realistically we're not going to have that

4   kind of information in that time period, Bob.

5             MR. TRAPP:  I understand the difficulties, Schef.

6   But I will tell you up front, as a conscientious state

7   employee, I will not make a recommendation without knowing the

8   impact.

9             MR. WRIGHT:  And I'm on board with that, Bob.  I

10   mean, I cut my teeth writing EISs back in the early '80s

11   working in the research division here.  I'm just telling you

12   the realities of our being able to give you the cost

13   information that we're going to give as soon as possible, but

14   it is not going to be in that time frame.

15             MR. TRAPP:  I understand.

16             MS. KUMMER:  We understand that this isn't going to

17   be real detailed precise information, but we need to have

18   something.  The statute requires a statement of estimated

19   regulatory cost that has to accompany every rule change.  So we

20   have got to have some numbers if we are going to move forward

21   on this, and the Commission is going to make very sure that we

22   move forward on this on an expedited basis.

23             MR. HARRIS:  With that, I'm willing to say May 3rd

24   for the written comments and also this Attachment 5, this data

25   request that we have, which is a lot of numbers.  Mr. Trapp has

FLORIDA PUBLIC SERVICE COMMISSION

174

1   about 30 times today asked you all to be able to back things up

2   with numbers.  And I know it is a big task.  And zero is a

3   number.  I don't know -- probably isn't a number unless it is

4   followed with and this is why.  And there are some interesting,

5   you know, factors in there that we can consider.

6             And at this point we will be looking for a --

7   probably a May 19th second workshop, which puts the staff --

8   I'm sharing that with you so you can feel our pain.  We are not

9   just asking you to do a lot of work.  That is going to be tight

10   for the staff to actually get these comments, do something with

11   them, come up with a new rule package and get it out to you all

12   in time for you to have a chance to look at it and be able to

13   comment intelligently on it by May 19th.  We have a lot of

14   stuff going on starting with about the 11th or so.  So it will

15   be tight for us, too.  So I guess we are all in this together.

16             Jim, did you have something you wanted to suggest?

17             MR. BREMAN:  The questionnaire also applies to the

18   munies and co-ops regarding the construction rule.

19             MR. HARRIS:  I guess that is for them if they are

20   listening by phone, which I anticipate that they are.

21             Is there anything else, Bob?

22             Do you have anything, Connie?

23             Does anybody out there have something?

24             MR. WILLIS:  Larry, under the category of other

25   issues that you listed in your agenda, I wanted to indicate to

FLORIDA PUBLIC SERVICE COMMISSION

175

1   you that we believe -- my name is Lee Willis with Tampa

2   Electric Company, representing Tampa Electric Company.  There

3   are a number of safety and reliability issues that you have

4   recognized both in your staff recommendations and in the order

5   on pole inspections with respect to pole attachments.  And that

6   in any proceeding or rulemaking where we are considering

7   hardening of our facilities and preparing for storms and

8   reviewing of the overloading of our facilities, that the rule

9   should address those things.

10             Now, there are a couple of types of issues with

11   respect to pole attachments.  There are issues of access which

12   deal with safety, capacity, and engineering.  We believe that

13   you have very ample jurisdiction over that in your grid bill

14   jurisdiction.  There are other issues of contracts, such as

15   rates, terms and conditions that you would not have

16   jurisdiction over.  Perhaps, if you -- unless you were

17   certified.  But in our written comments and in the further

18   workshops we want to address those issues, and I feel that it

19   should be a part of this.

20             MR. HARRIS:  That would be fantastic.  I would

21   suggest the -- I know Bob wants to say something.  I would

22   suggest that this first set of written comments have proposed

23   language that you would like to see included in the rules.

24   That would be, I think, most helpful to us if you wanted to get

25   it in there.  Bob.

FLORIDA PUBLIC SERVICE COMMISSION

176

1             MR. TRAPP:  Lee, is this new rule language or is it

2   appended to existing rule language?  And if appended, have we

3   got your rule noticed and covered?

4             MR. WILLIS:  I think that you have ample opportunity

5   to include in your notices of it, because you are having

6   another workshop, you have other proceedings that might go

7   forward on this to cover it.

8             MR. TRAPP:  So it is new language?

9             MR. WILLIS:  It would be new language.  I don't know

10   whether we would put it in the existing rules to add to it or

11   suggest that it be separate.  We are still looking at that.

12             MR. TRAPP:  Since you are the lawyer, if you will

13   talk to our lawyer and make sure that we keep clean.  I want to

14   make sure we are noticed properly in order to discuss all of

15   these things.

16             MR. WILLIS:  I understand.

17             MR. TRAPP:  So that when the time comes, we can act

18   and don't get hung up by some procedural problem.

19             MR. WILLIS:  And we will do that, yes.

20             MR. TRAPP:  Thank you.

21             MR. HARRIS:  Anyone else have anything?

22             MR. BUTLER:  On behalf of FPL, John Butler.  I would

23   just like to echo Lee's comments about the attachment issues.

24   One that I want to mention, we will certainly provide written

25   comments on this, as well, but just of particular concern to

FLORIDA PUBLIC SERVICE COMMISSION

177

1   us, and that's pole top attachments, something that can have a

2   particularly significant impact on things like wind load

3   determinations for poles.  Also, significant issues with

4   respect to safety of working on the poles in normal conditions,

5   and impacts on the ability to restore the poles -- electric

6   service and the poles promptly after storms.  And we are very

7   concerned about the potential for -- particularly people in the

8   wireless communications industry wanting to use pole tops for

9   their equipment in ways that could cause real concerns on all

10   three of those fronts.  That's something -- my feeling is that

11   it can be fit within the .034 or .0345 rules that you have

12   raised for consideration here.

13             One other subject that may not, and I'm not sure what

14   staff's thoughts are on coordinating this.  But, of course,

15   FPL, and I'm sure other utilities to different extents, but we

16   rely on poles of others, primarily telecommunications poles.  I

17   guess, there may be a few that don't fit that category.  But a

18   lot of these hardening issues if they are not addressed for all

19   of the poles that are out there, you get kind of differential

20   impacts and lose some of the bang for the buck of improving one

21   set of them, and maybe a couple of poles down you have ones

22   that haven't been built to the same standard.  And I'm not sure

23   what staff's intention -- I guess to some extent I've got a

24   question on that here, whether that's something that you intend

25   to consider on a coordinated basis or how that will work.

FLORIDA PUBLIC SERVICE COMMISSION

178

1             MR. HARRIS:  And the answer is I don't know.  But,

2   hopefully, we will be able to talk about that and decide.  At

3   this point, you know, I don't know.  Hopefully, we will get an

4   answer, so I'm glad you brought that up.

5             MR. BUTLER:  Thank you.

6             MS. MOORE:  Larry, let me point out that the notice

7   for the May 19th workshop will need to be filed next Tuesday,

8   the 25th.

9             MR. HARRIS:  So if you have new rule language and

10   want it included, if the notice has to be filed by a week from

11   Wednesday --

12             MS. MOORE:  If it is a different rule than we have

13   already.

14             MR. HARRIS:  Anything else?  No?  Great.

15             Thank you all for your attendance today.  I really

16   appreciate it, and I'm looking forward to your comments.  Have

17   a good day.

18             MR. BUTLER:  Thank you for putting together a good

19   workshop.  It was very helpful.

20             (The workshop concluded at 3:18 p.m.)

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

179

1

2   STATE OF FLORIDA    )

3                       :              CERTIFICATE OF REPORTERS

COUNTY OF LEON      )

4

5             WE, JANE FAUROT, RPR, and LINDA BOLES, RPR, CRR,

Official Commission Reporters, do hereby certify that the

6   foregoing proceeding was heard at the time and place herein

stated.

7

IT IS FURTHER CERTIFIED that we stenographically

8   reported the said proceedings; that the same has been

transcribed under our direct supervision; and that this

9   transcript constitutes a true transcription of our notes of

said proceedings.

10

WE FURTHER CERTIFY that we are not a relative,

11   employee, attorney or counsel of any of the parties, nor are we

a relative or employee of any of the parties' attorneys or

12   counsel connected with the action, nor are we financially

interested in the action.

13

14              DATED THIS 1st day of May, 2006.

15

16   ____________________________       ____________________________

JANE FAUROT, RPR                    LINDA BOLES, RPR, CRR

17   FPSC Official Commission            FPSC Official Commission

Reporter                            Reporter

18   (850) 413-6732                      (850) 413-6734

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION