1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 060225-EI

3

In the Matter of

4

PETITION FOR DETERMINATION OF NEED FOR

5   WEST COUNTY UNITS 1 AND 2 ELECTRICAL

POWER PLANTS IN PALM BEACH COUNTY, BY

6   FLORIDA POWER & LIGHT COMPANY.

7   ______________________________________/

8

9

10

11

12             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

13               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

14

15   PROCEEDINGS:        HEARING

16   BEFORE:             CHAIRMAN LISA POLAK EDGAR

COMMISSIONER J. TERRY DEASON

17                       COMMISSIONER ISILIO ARRIAGA

COMMISSIONER MATTHEW M. CARTER, II

18                       COMMISSIONER KATRINA J. TEW

19   DATE:               Thursday, June 8, 2006

20   TIME:               Commenced at  9:30 a.m.

Concluded at 10:36 a.m.

21

22   PLACE:              Betty Easley Conference Center

Room 148

23                       4075 Esplanade Way

Tallahassee, Florida

24

REPORTED BY:        JANE FAUROT, RPR

25                       (850)413-6732

FLORIDA PUBLIC SERVICE COMMISSION

2

1   PARTICIPATING:

2             R. WADE LITCHFIELD, ESQUIRE, BRYAN S. ANDERSON,

3   ESQUIRE, and NATALIE SMITH, ESQUIRE, Florida Power & Light

4   Company, 700 Universe Boulevard, Juno Beach, Florida

5   33408-0420, appearing by telephone on behalf of Florida

6   Power & Light Company.

7             KATHERINE E. FLEMING, ESQUIRE, FPSC General Counsel's

8   Office, 2540 Shumard Oak Boulevard, Tallahassee, Florida

9   32399-0850, appearing on behalf of the Commission Staff.

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                              I N D E X

2                                                PAGE NO.

3   Opening Statement by Mr. Anderson               6

4

5                              WITNESSES

6   PREFILED DIRECT TESTIMONY INSERTED:

7        Roger E. Clayton, P.E.                    27

Dr. Leonardo E. Green                     50

8        David N. Hicks                            67

Steven D. Scroggs                         88

9        Rene Silva                               111

Dr. Steven R. Sim                        149

10        Alan S. Taylor                           206

Gerard J. Yupp                           226

11        Judy G. Harlow                           232

12   PREFILED REBUTTAL TESTIMONY INSERTED:

13        Steven Scroggs                           239

14

PUBLIC TESTIMONY:

15

Alexandria Larson                        263

16        Sharon Waite                             269

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

4

1                              EXHIBITS

2   NUMBER:                                      ID.    ADMTD.

3   1         Comprehensive Exhibit List         26       26

4   2-73      (Description of Exhibits           26       26

in Exhibit 1.)

5

74        West County Plant Site Map by

6             South Florida Water Management

District                           272     272

7

75        Original Photographs of Southern

8             Boulevard dated June 5th, 2006     272     272

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

5

1                         P R O C E E D I N G S

2             CHAIRMAN EDGAR:  Good morning.  We'll call this

3   hearing to order.  And I'll begin by asking the staff to read

4   the notice.

5             MS. FLEMING:  Pursuant to notice issued by the

6   Commission Clerk on April 13th, 2006, this time and place has

7   been set for the purpose of conducting a hearing in Docket

8   Number 060225-EI.

9             CHAIRMAN EDGAR:  Thank you.  And I'd like to take

10   appearances from the attorneys representing the party and our

11   staff.

12             MR. ANDERSON:  Good morning, Chairman Edgar.  I'd

13   like to enter the appearances this morning of Wade Litchfield,

14   Natalie Smith, and Bryan Anderson appearing on behalf of the

15   Florida Power and Light Company.

16             CHAIRMAN EDGAR:  Thank you.

17             MS. FLEMING:  Katherine Fleming appearing on behalf

18   of the Commission.

19             CHAIRMAN EDGAR:  Thank you.

20             Ms. Fleming, are there any preliminary matters?

21             MS. FLEMING:  Yes, Chairman.  I'm aware there are two

22   speakers signed up to give public testimony today.  I'd also

23   like to point out that FPL has a modification to its prefiled

24   testimony and exhibit.  And I would also like to note for the

25   record that there are proposed stipulations on all issues and

FLORIDA PUBLIC SERVICE COMMISSION

6

1   all witnesses have been excused.

2             CHAIRMAN EDGAR:  Okay.  Let's take up the

3   modification probably in just a moment.  Mr. Anderson.

4             MR. ANDERSON:  That will be fine.  We have two small

5   nits in the testimony of Mr. Silva which we just wanted to see

6   as reflected correctly in the record.  At Page 26, Line 7,

7   deleting the words "and 2."

8             Then in Exhibit RS-2 to Mr. Silva's testimony,

9   replacing the words "Combined Turbines(2)" with "Combustion

10   Turbines(2)."  These are typographical in nature, and we just

11   wish to ensure a correct record.  Thank you.

12             CHAIRMAN EDGAR:  Thank you very much, Mr. Anderson,

13   and those corrections will be noted in the record.

14             Mr. Anderson.

15             MR. ANDERSON:  Thank you very much.  We'd like to

16   make a few remarks this morning in support of the stipulation.

17             Chairman Edgar and Commissioners, FPL requests that

18   the Commission today grant an affirmative determination of need

19   for FPL's proposed West County 1 and 2.  The stipulated record

20   shows that FPL has satisfied all of the criteria under Florida

21   law necessary for granting an affirmative determination of

22   need.  West County 1 and 2 will economically and reliably

23   satisfy customers 2009 to 2011 needs for additional generating

24   capacity.  Each is an efficient state of the art combined cycle

25   unit with a summer capacity rating of 1,219 megawatts.

FLORIDA PUBLIC SERVICE COMMISSION

7

1             The units have proposed commercial operation dates in

2   2009 and 2010.  The primary fuel will be natural gas.  The

3   units will also use light oil as back-up fuel, helping maintain

4   system reliability.  The plant location in unincorporated

5   Western Palm Beach County is zoned for power plants.  The site

6   and technology will maximize beneficial use of the land while

7   minimizing environmental cost impacts.

8             These units are needed to maintain electric system

9   reliability beginning in 2009 as measured by FPL's reserve

10   margin reliability criteria.  The units will also improve fuel

11   efficiency, reducing fuel costs.  Economic evaluation confirmed

12   by an independent evaluator shows that West County 1 and 2 is

13   less costly than all viable alternatives.  In fact, evaluation

14   shows that the units are $750 million in net present value less

15   costly than viable alternatives that do not also include both

16   West County 1 and 2.  In addition, licensing and building the

17   units together saves about $120 million in present value

18   compared to authorizing and building them separately.

19             Before issuing its request for proposals, FPL's

20   analysis of system reliability showed that we needed not less

21   than 2,371 megawatts of new capacity in the 2009 to 2011 time

22   frame.  That takes into account all of our conservation efforts

23   that we have done and have going forward.  FPL's most recent

24   forecast showed that capacity needs will be even greater than

25   those forecasted, primarily due to higher customer growth.

FLORIDA PUBLIC SERVICE COMMISSION

8

1   This further confirms the great need for these capacity

2   resources.

3             Demand-side resources, DSM, renewable resources and

4   coal-based purchased power are mentioned in the stipulation you

5   have before you today.  The Commission should be aware that FPL

6   has 3,000 megawatts of conservation and load management

7   resources in place for the benefit of its customers already.

8   We anticipate having 3,500 megawatts available as of 2009 and

9   4,000 by 2014.  FPL will continue to consider cost-effective

10   alternatives to further increase DSM, but even taking into

11   account these successes in conservation and in load management,

12   the record shows that West County 1 and 2 are needed to meet

13   capacity needs and that the need is not mitigated by reasonably

14   available conservation.

15             Regarding renewable resources, FPL presently buys

16   energy produced by 300 megawatts of renewable facilities.  We

17   are actively working right now to buy energy from 200 megawatts

18   of additional renewable resources within the next several

19   years.  FPL will continue to pursue opportunities to purchase

20   coal-fueled power to provide additional fuel diversity for the

21   benefit of FPL's customers.  Also concerning fuel diversity,

22   earlier this year, the Commission is aware, FPL notified the

23   Nuclear Regulatory Commission of the Company's intention to

24   file in 2009 an application for a combined operating license

25   for a new nuclear plant in Florida.

FLORIDA PUBLIC SERVICE COMMISSION

9

1             With respect to integrated gasification combined

2   cycle, IGCC technology, FPL is now beginning to implement a

3   study with General Electric of the feasibility of putting into

4   service up to 1,700 megawatts of IGCC generation which could

5   include converting existing gas-fired generation.  In short,

6   FPL emphatically agrees with the Commission that fuel diversity

7   is a key objective of long-term resource planning.

8             West County 1 and 2 are a critical part of our

9   efforts to meet customers' needs.  Let me touch on the future

10   coal-fueled units that are mentioned in the stipulation you

11   have before you.  The same process that led to the selection of

12   West County 1 and 2 resulted in the selection of two coal

13   fueled units to meet capacity needs in 2012 and 2013.  That

14   will be the subject of a future need determination.

15             Prior to 2004, coal generation technology generally

16   available and used in the United States was much less efficient

17   than that of advanced combined cycle units.  Although coal

18   prices were lower than natural gas prices, the price difference

19   was not large enough nor projected to grow sufficiently to make

20   up for the greater capital cost of building coal generation.

21   For those reasons as well as other uncertainities, FPL's

22   analyses in the years before 2004 indicated that coal

23   generation would not be cost-effective.

24             It takes at least seven years to develop, engineer,

25   permit and construct a coal generation unit in Florida,

FLORIDA PUBLIC SERVICE COMMISSION

10

1   particularly at a greenfield site.  Therefore, placing a

2   coal-fueled unit and necessary coal rail transportation, barge

3   transportation infrastructure in operation by 2009 would have

4   required a commitment to coal generation not later than 2002.

5             As I mentioned, though, the conclusions of the

6   planning process in the years before 2004 clearly did not

7   support a commitment to coal generation in 2002.  Coal

8   generation was, therefore, not an economically viable option to

9   meet the 2009 or 2010 capacity needs that are proposed to be

10   met by West County 1 and 2.

11             In 2003, we initiated a reevaluation of solid fuel

12   alternatives.  That was completed in early 2005.  We filed with

13   this Commission in March of 2005 our clean coal generation

14   report.  The conclusions in that report led us to include 850

15   megawatts, two 850-megawatt advanced super-critical coal

16   generation units in our capacity plans going forward.

17             We are presently and have been actively engaged in

18   bringing about the addition of those coal generation units as

19   early as possible to meet those future need.  The addition of

20   West County 1 and 2 does not displace FPL's planned coal

21   generation additions.  We should keep in mind that market,

22   environmental, and public factors beyond our control could

23   delay or prevent implementing coal generation or cause costs to

24   be higher than currently expected.  As we work to implement

25   that, we will continue to evaluate those factors, we will keep

FLORIDA PUBLIC SERVICE COMMISSION

11

1   the Commission informed of their effect on our plans.

2             FPL's coal project has matured to the point where on

3   May 26th we filed with the Commission a petition seeking an

4   exemption from the Bid Rule in order to accelerate the addition

5   of the coal generating units.  In that separate docket

6   mentioned in the stipulation, FPL asks the Commission to take

7   action for the reasons stated in its petition, and in that way

8   to facilitate earlier delivery of the substantial benefits of

9   additional fuel diversity to customers.

10             FPL wishes to recognize and thank the Commission

11   staff for its efficiency and its consideration in this matter.

12   Commissioners, you can and should have confidence in granting

13   an affirmative determination of need for West County 1 and 2.

14   Your approval is urgently needed to meet capacity needs

15   beginning in 2009.

16             As an added benefit, West County 1 and 2 will improve

17   FPL's system average heat rate by about 4 percent.  That means,

18   in general, FPL will use 4 percent less fuel to produce the

19   same amount of electricity, helping mitigate the effect of high

20   fuel prices.

21             We respectfully request that this Commission grant an

22   affirmative determination of need for West County 1 and 2.

23             Thank you.

24             CHAIRMAN EDGAR:  Thank you, Mr. Anderson.

25             Commissioners, as we move through this hearing there

FLORIDA PUBLIC SERVICE COMMISSION

12

1   will be a couple of different points where there are the

2   opportunity for questions, but are there any questions for Mr.

3   Anderson at this time?

4             Commissioner Arriaga.

5             COMMISSIONER ARRIAGA:  Madam Chair, fellow

6   Commissioners.  You are usually very lenient with me in

7   allowing me my interaction and questions and things like that.

8   And today I'm going to ask you to be especially lenient,

9   because I have got a battery of comments and questions that I

10   have to make.  So with your permission, Madam Chair.

11             What I'm going to try to do is try to figure out for

12   the record, and this is very important for all of us, for

13   staff, for FPL, and for the Commission, that what we are doing

14   today covers clearly in the record that we have done an

15   exhaustive job if we are going to grant this request.

16             I want to make sure from the questions and answers to

17   staff and to FPL that we have covered issues such as fuel

18   diversity, we have deeply analyzed fuel diversity,

19   conservation, and the commitment to renewables, which is

20   something that this Commission has been working towards in the

21   last few months.  If we can clarify this for the record and

22   restate it on the part of FPL to the Commission, I think we

23   will have done our job.  But, nevertheless, I do have some

24   questions to staff which I am going to begin, and I think Mr.

25   Haff will be the appropriate person, I understand.

FLORIDA PUBLIC SERVICE COMMISSION

13

1             FPL just stated and in the record it shows that West

2   County 1 and 2 is the most cost-effective option available.  So

3   my question will be, and my doubt will be how is this possible

4   in the current environment of high cost of gas, and especially

5   since just yesterday another company was telling us completely

6   the opposite, that coal-fired generation is the most

7   cost-effective option.  So how do you quantify this?

8             MR. HAFF:  Commissioner, I think the key word there

9   is cost-effective alternative available.  In this instance,

10   Florida Power and Light's need for power is in 2009 and 2010.

11   The in-service dates of the coal plant from yesterday's hearing

12   is 2012.  And as Mr. Anderson stated and the record indicates,

13   there is insufficient time to have coal-fired generation built

14   or sited, certified, constructed and in service by the time of

15   FPL's need.  So the key word there is available.  Given that

16   coal is not available in this time frame, the gas-fired

17   combined cycle project that FPL has presented is the most

18   cost-effective alternative available.

19             COMMISSIONER ARRIAGA:  So how does this compare?  The

20   timing on yesterday's plant and today's plant, don't they

21   match?

22             MR. HAFF:  No, they do not.

23             COMMISSIONER ARRIAGA:  Explain, please.

24             MR. HAFF:  Yesterday's plant for Seminole, there is a

25   need in 2012 for capacity.  And where we sit today in 2006

FLORIDA PUBLIC SERVICE COMMISSION

14

1   gives Seminole adequate time to certify and construct a coal

2   plant.  There is lead time of six to seven years.  In this

3   case, FPL's need is in three years.  So to have conceivably

4   started the process of siting and constructing a coal plant to

5   meet a 2009 need, they would have had to start six or seven

6   years ago, or six or seven years prior, which would be

7   2002/2003 time frame.  And as the record, and Mr. Anderson

8   repeated, coal-fired generation on their system was not a

9   cost-effective option at that time.

10             COMMISSIONER ARRIAGA:  During our briefings you

11   indicated to me that you had identified with FPL additional DSM

12   and renewable energy opportunities.  Could you explain what

13   opportunities are those?

14             MR. HAFF:  Okay.  A week or so ago, the utility filed

15   a petition to approve two new conservation DSM programs and

16   modify seven additional existing DSM programs in a way to

17   increase customer participation and thus increase demand and

18   energy savings due to conservation, and that was done

19   separately from this need filing.  The need for capacity for

20   this plant is still -- after the additional conservation is

21   evaluated, the need for the plant is still there.

22             COMMISSIONER ARRIAGA:  Were you able to quantify the

23   amount of DSM?

24             MR. HAFF:  I think it is approximately 320 megawatts.

25             COMMISSIONER ARRIAGA:  From those programs that FPL

FLORIDA PUBLIC SERVICE COMMISSION

15

1   has proposed to the Commission?

2             MR. HAFF:  Yes, sir, that's correct.

3             COMMISSIONER ARRIAGA:  And what about renewable

4   energy opportunities?

5             MR. HAFF:  Renewable energy, as you all recall,

6   recently the Commission approved the staff's recommendation on

7   a modified portfolio approach to standard offer contracts which

8   the staff believes will be an encouragement for additional

9   renewable energy contracts to be signed.  And as far as the

10   amount of additional renewable energy, we can't say at this

11   time, we don't know.

12             COMMISSIONER ARRIAGA:  But the feeling that I had

13   during that agenda conference about this new proposal from

14   staff was that the companies were not overly enthusiastic about

15   that proposal.  Do we have a commitment from FPL today that

16   they will pursue staff's recommendation and Commission approval

17   of those contracts?

18             MR. HAFF:  I believe we do, I would --

19             COMMISSIONER ARRIAGA:  I will get to that later.

20             MR. HAFF:  I believe we do.

21             COMMISSIONER ARRIAGA:  I'm asking from you, did you

22   get that commitment from FPL for the record?

23             MR. HAFF:  I believe we do, yes.

24             COMMISSIONER ARRIAGA:  You believe, or are you sure?

25             MR. HAFF:  I would have to ask.  (Pause.)

FLORIDA PUBLIC SERVICE COMMISSION

16

1             CHAIRMAN EDGAR:  Mr. Anderson, if you are aware where

2   in the record or in the testimony there is something that

3   speaks to that and you can help point us in that direction,

4   that would be all right, as well.

5             MR. ANDERSON:  Of course.  These points are actually

6   stated in the stipulation which was agreed with staff.  We have

7   made the commitment to file not later than, I believe, August

8   21 new contracts in compliance with staff's -- I forget the

9   name of the approach, respectfully, that was discussed the last

10   time we were in.  And we are in the process of preparing two

11   new such contracts.  We anticipate actually being able to have

12   those on file we believe well in advance of August 21, because

13   we are working as hard and as quickly as we can to have those

14   additional new standard offer contracts before the Commission.

15   So we can make that commitment, and it is stated in the

16   stipulation.

17             CHAIRMAN EDGAR:  Commissioner Arriaga.

18             MS. FLEMING:  Commissioner.

19             COMMISSIONER ARRIAGA:  Thank you so much.

20             One last question to staff.  Were you going to say

21   something?  I'm sorry.

22             MS. FLEMING:  I just wanted to point out that that is

23   covered under Stipulated Issue Number 8, for your reference.

24             COMMISSIONER ARRIAGA:  I have one last question for

25   staff.  Mr. Haff, would you kindly summarize for the Commission

FLORIDA PUBLIC SERVICE COMMISSION

17

1   the reasons why staff decided to stipulate this proceeding?

2             MR. HAFF:  I believe we received everything from FPL

3   that was stated in the staff witness' testimony, Ms. Harlow.

4   We got a commitment for a time certain when FPL would either

5   file for a request for proposals for their next identified coal

6   unit, either file the RFP or ask for a waiver of the

7   Commission's Bid Rule.

8             Secondly, as we just noted, we have a commitment to

9   the portfolio approach for the renewable energy standard offer

10   contract in writing in the stipulation.

11             And, third, we got a commitment for a date certain

12   where the utility would file additional conservation requests

13   to modify existing or come up with new conservation programs,

14   as they have done since the stipulation was entered into.

15             COMMISSIONER ARRIAGA:  And you are satisfied with the

16   economic factors, the cost-related factors as presented by FPL?

17             MR. HAFF:  Yes, sir, I am.

18             COMMISSIONER ARRIAGA:  Madam Chair, one question for

19   the company representatives.

20             CHAIRMAN EDGAR:  Commissioner Arriaga.

21             COMMISSIONER ARRIAGA:  Thank you.  Mr. Anderson, I

22   was first exposed to advanced coal generation on behalf of FPL

23   about a year ago as I was pursuing this position through the

24   Nominating Council and the Oversight Committee.  I remember

25   company representatives at that time told me that you are very

FLORIDA PUBLIC SERVICE COMMISSION

18

1   close to an advanced coal plant, and that certain noneconomic

2   factors later influenced the possibility of us being discussing

3   today that need determination for that coal plant.

4             In the testimony that was presented by Mr. Silva, he

5   indicates that these noneconomic factors place a very important

6   weight on the decision to go to a gas generating plant.  I

7   would like to know what the noneconomic factors are.  And I'm

8   basically concerned that a year or two years from now those

9   noneconomic factors are still going to be present, and you may

10   be coming back to us to tell us that that is the reason why you

11   cannot have an advanced coal plant in front of the Commission.

12   So would you kindly review for us the noneconomic factors that

13   weigh so much on the decision-making process as to what type of

14   fuel generation you are going to have.

15             MR. ANDERSON:  Please permit me to check my notes for

16   a moment so we can provide you with a comprehensive answer,

17   Commissioner.

18             COMMISSIONER ARRIAGA:  Thank you.

19             MR. ANDERSON:  Let me touch very briefly on a couple

20   of the key economic ones to keep in mind that could change

21   decisions over time, and then focus very clearly on your points

22   about noneconomic factors.  There are important economic

23   factors that are outstanding.  Environmental costs down the

24   road are uncertain.  What will the future fuel price

25   differential be?  We don't know.  Whether gas will stay high,

FLORIDA PUBLIC SERVICE COMMISSION

19

1   whether the gas/coal margin will decrease.

2             Fuel transportation is a great challenge.  Florida is

3   not well structured at this time from a rail infrastructure and

4   other infrastructure perspective to move in the large amounts

5   of fuel needed for coal plants.  So the siting and the

6   improvement of all of those facilities which are under the

7   control of other companies and other regulators even, that is

8   an important factor.  Because we can build a plant, but if we

9   can't get fuel here, that would not work, clearly.

10             Also one needs to take into account that there is

11   long lead times.  There is a lot of shop competition, actually,

12   competition for shop space for the super-critical boilers that

13   are used.  The people who build these, there are very few of

14   them in the world.  This is highly desired technology around

15   the world.  And what we are trying to do as a company is to put

16   ourselves in a position in part through asking this Commission

17   for that waiver of Bid Rule to send a message out there to help

18   reinforce our ability to get shop space and things.

19             There are other noneconomic factors.  We need to

20   complete negotiations and obtain control of an acceptable site.

21   Whether people do business with us, that is not completely in

22   our control.  Local government approvals are very, very

23   important.  Our St. Lucie experience teaches that is not within

24   our control.  Those are some of the key points.  Also, what

25   licensing conditions might be attached.

FLORIDA PUBLIC SERVICE COMMISSION

20

1             But what we are trying to do is communicate with the

2   Commission very openly in a mature and thoughtful way.  A coal

3   project of this size or any size is very complicated, and there

4   are many uncertainties.  It's difficult to make promises, and

5   you can't make promises of things outside of our control.  So

6   we are working to do, as we did last year, just share with you

7   very openly the decision points that could affect these

8   determinations.  What you can know for sure is we are working

9   very, very hard on behalf of the company to bring such a plant

10   to fruition.  I hope that answers your question.

11             COMMISSIONER ARRIAGA:  Thank you.

12             When I was reading some of the testimony, especially

13   Mr. Silva's testimony, it was mentioned that in your company

14   you have a process that you call resource planning.  And in

15   that resource planning process, you discuss or you review

16   things that is coal versus gas price differentials, lead times,

17   DSM opportunities, renewable energy sources, the things that we

18   will be looking at.

19             I was wondering if you could explain to me, Mr.

20   Anderson, how does that planning process work so that we

21   couldn't foresee or forecast with sufficient time, especially

22   since I know that your company is very proficient, and I'm

23   very, very proud of the things that you do from a management

24   point of view, how could you not detect in time that this was

25   coming?

FLORIDA PUBLIC SERVICE COMMISSION

21

1             MR. ANDERSON:  Could you please clarify when you say

2   this?

3             COMMISSIONER ARRIAGA:  This was coming.  The fact

4   that we are now considering gas versus coal, when we were

5   talking for a long time about price differentials.  We were

6   talking about the things that I just mentioned, the DSM

7   opportunities, renewable energy sources, fuel diversity.

8   Didn't you foresee in your resource planning process that fuel

9   diversity was something that needed to be done urgently because

10   of the gas price differentials?

11             MR. ANDERSON:  I understand your question.  A couple

12   of important points to keep in mind.  Our company has for many

13   years had a very good resource planning process.  In fact, it's

14   called an integrated resource planning process.  The word

15   integrated means we take into account just all the resources,

16   both supply-side resources like new generation and demand-side

17   resources, which is a shorthand for conservation and load

18   management.  I think the fact that we have had very effective

19   programs in those areas is shown, for example, by the fact that

20   we have the 3,000 megawatts of DSM capacity already.

21             Think about the plant we are asking for approval

22   today.  It's roughly 2,800 megawatts in total, and that's a

23   very, very large generating unit.  And through our work with

24   customers in demand-side and conservation work, we have

25   basically eliminated to date the need for a plant that size in

FLORIDA PUBLIC SERVICE COMMISSION

22

1   the past.  That is built into our system.

2             Renewables, we related to you some of the statistics

3   and the amount of renewables we are purchasing.  But the

4   integrated resource planning process and the department that

5   does that work on a full-time basis year after year in an

6   integrative way considers all of those factors.  One other

7   thing that is useful to keep in mind when we talk about fuel

8   diversity is back in the 2002 time frame, there was, frankly, a

9   different fuel mix at that time with much less gas being burned

10   at that time in 2002, so that projecting forward the increased

11   desire for coal that we now see really wasn't as evident.

12             In addition, other things that are known now with our

13   experience that were not known then were, for example, the

14   severe price shocks in the natural gas markets we have all

15   talked about that occurred only very recently and have retained

16   those prices at a fairly sustained level.

17             But you are right, our company is very proud of its

18   efforts, which are very detailed, nitty-gritty, constant,

19   analytical work combined with communications with proponents of

20   renewable projects, proponents and our customers working on

21   conservation and load management.  All of those things are put

22   together, and we work on all of them in the most cost-efficient

23   way we can to try to meet our customers' needs.  I hope that

24   answers your question.

25             COMMISSIONER ARRIAGA:  One last question.  This is my

FLORIDA PUBLIC SERVICE COMMISSION

23

1   last question, Mr. Anderson, and staff just gave me some

2   reasons as to why they decided that a stipulation was prudent

3   at this time.  Would you kindly summarize for the Commission

4   the commitments that you are assuming today and that you have

5   assumed in the stipulation as to the future of the resource

6   planning process and the future of fuel diversity that you are

7   assuming with this Commission, your commitments to us today?

8             MR. ANDERSON:  You have just touched upon in your

9   prior question three areas that were very important that are

10   captured in the commitments that are reflected in the

11   stipulation.  We have talked about the importance of

12   accelerating the coal plant.  We were asked to, and we have

13   proceeded and gone ahead and met the commitment already to file

14   with the Commission a petition for exemption from the Bid Rule.

15   Listening to staff it seems, and we agree, there is great

16   concern about the need to improve fuel diversity as quickly as

17   we can.  Staff asked us to make a commitment to get that

18   petition on file, or get an RFP out, and we made that promise

19   and then subsequently before this hearing made that filing and

20   met that commitment.

21             You talked earlier about demand-side management which

22   comprises conservation and load control.  This is something

23   that the staff is highly attentive to as we are at our company.

24   Very specifically, the staff asked our company to get on the

25   table right now, file with the Commission by a date certain,

FLORIDA PUBLIC SERVICE COMMISSION

24

1   and I'm forgetting the specific date as I sit here, you know,

2   expansions to DSM programs.  Remember we have got 3,000

3   megawatts of DSM in place.  We are working to considerably

4   increase the amount of DSM we are putting into place over and

5   above what we have been hoping to do.

6             We have anticipating -- and I'm just working by

7   memory now -- I think two or 300 megawatts of DSM over the next

8   few years.  We are trying to essentially double that amount of

9   DSM in that time period compared to what we are planning to do.

10   And then that amount of 500 megawatts, double that yet again by

11   2014.  Staff asked us very specifically, get your petition on

12   file, please, by a date certain, expanding those programs to

13   help achieve greater availability and market penetration for

14   those programs for customers.  We have made that commitment and

15   we met that commitment.

16             Then on renewables.  We were also asked to -- you'll

17   recall going back to October, there has been considerable

18   discussion of what policy direction the Commission should take

19   in relation to the standard offer contracts.  I personally sat

20   before you and explained what we thought were some of the,

21   frankly, good reasons why this Commission's existing policy

22   were very, very sound.  And the staff was working to implement

23   some changes in policy, which, frankly, we had some concerns

24   with.  And we discussed carefully, we listened to what the

25   other people who participated, the renewable participants had

FLORIDA PUBLIC SERVICE COMMISSION

25

1   to say.  We changed our standard offer contracts in many

2   respects to reflect that, and then staff asked us to please go

3   ahead and make the filings to implement two new standard offer

4   contracts consistent with the approach that they developed and

5   briefed the Commission on, and in an order you issued earlier

6   this week you went ahead and changed the policy of the state

7   and directed that that be done.

8             Pursuant to the stipulation, we have agreed to get

9   those on file not later than August 21, as I mentioned earlier,

10   in the spirit of trying to move that along, we are pulling the

11   data together to try to do that sooner than that.  But those

12   are the very specific commitments in the areas of demand-side

13   management, renewable resources, and the acceleration of the

14   coal plant we were asked to make.

15             COMMISSIONER ARRIAGA:  Thank you, Mr. Anderson.

16             Thank you, Madam Chair.  Thank you, Commissioners.  I

17   appreciate your time.

18             CHAIRMAN EDGAR:  Thank you.

19             Ms. Fleming.

20             MS. FLEMING:  Chairman, we can move on and insert the

21   prefiled testimony into the record.

22             CHAIRMAN EDGAR:  Let's go ahead and get the record in

23   order.  And so we will move the prefiled testimony into the

24   record as though read.  And then we will take up the exhibit

25   list.

FLORIDA PUBLIC SERVICE COMMISSION

26

1             Commissioners, you have before you a Comprehensive

2   Exhibit List numbering Exhibits 1 through 73, and those

3   exhibits and the list will be entered into the record.

4             MS. FLEMING:  That's correct, Chairman.  At this time

5   staff would ask that Exhibits 1 through 73 be moved into the

6   record.

7             CHAIRMAN EDGAR:  So moved.

8             (Exhibits 1 through 73 marked for identification and

9   admitted into the record.)

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

262

1             CHAIRMAN EDGAR:  We are at that point in the hearing

2   where we have the opportunity to hear public testimony.  It is

3   my understanding, Ms. Fleming, that we have had a few people

4   sign up to speak.

5             MS. FLEMING:  Yes, Chairman.  We have two speakers

6   signed up to speak today, and I could go ahead and call them at

7   your --

8             CHAIRMAN EDGAR:  In just a moment.  For those of you

9   that have signed up to speak, there will be the opportunity for

10   you to come forward.  I will ask that you come when your name

11   is called and sit to my right here at the microphone.  I will

12   swear you in and then we will listen to your testimony.  There

13   will be the opportunity for the attorney from Florida Power and

14   Light and for Commissioners and Staff to ask you questions.

15   And with that, if you will call the first person on the list.

16             MS. FLEMING:  Alexandria Larson.

17             MS. LARSON:  I'm just going to have a little map of

18   the area where I live.  This is where the plant is going to go.

19   Where do you want me to go?

20             CHAIRMAN EDGAR:  If you will sit in front of the

21   microphone right there in that second chair.  And, Ms. Larson,

22   we'll go ahead and swear you, so you can remain standing.  And

23   if you would raise your right hand.

24             (Witness sworn.)

25             CHAIRMAN EDGAR:  Thank you.  Have a seat.

FLORIDA PUBLIC SERVICE COMMISSION

263

1                          ALEXANDRIA LARSON

2   appeared as a witness and, swearing to tell the truth,

3   testified as follows:

4                          DIRECT STATEMENT

5             MS. LARSON:  I'm from Loxahatchee, Florida.  A horse

6   produces 40 pounds of manure a day, so I've witnessed a lot of

7   manure recently.  I just wanted to get that on the record.

8   Because I'm listening to them talk about renewable energy, and

9   I will get that out of the way quickly.  They collect ten

10   dollars a month at 22,000 customers for renewable energy in

11   Florida, none of it is used in Florida.  We have a one-acre

12   solar thing that they are going to build on the west coast of

13   Florida.  Methane gas cannot be used in a dump until it's at

14   capacity.  FPL does not -- it's kind of hard.

15             I was at a Treasure Coast Regional Planning Council

16   meeting where Nick Blount, Jr. said that solar power was not

17   viable in Florida.  I believe, and this is just my belief, I'm

18   a layperson, I'm not an engineer, doctor, lawyer, or Indian

19   chief that solar power -- in 1976 there was a complete solar

20   house set up where I come from, Wilmington, Delaware, at the

21   University of Delaware in Newark, Delaware, there was a solar

22   house in 1976.  I do not think, you know, that the renewable

23   stuff has not been discussed enough.

24             I thank you for bringing that up, because we have got

25   some real serious situations here in Florida.  This particular

FLORIDA PUBLIC SERVICE COMMISSION

264

1   plant, and I know I kind of discussed with an engineer that is

2   here with the Public Service Commission, one of your Staff, and

3   I realize that the environmental issues are not your thing,

4   it's for need.  But, I mean, when this was first voted on, when

5   this was zoned in my area, and what was presented to the

6   people, it was a merchant plant.  It was 350 megawatts.  That

7   is what was zoned by the Palm Beach County Commissioner, that

8   is what was presented to the people of Loxahatchee and that was

9   years ago.

10             The plant went under when Enron went under, and then

11   FPL stepped in.  I'm not sure of the protocol of how all of

12   that came about, but things happen in this world.  But we have

13   a situation out there.  This plant will be between two rock

14   mining pits that blast twice a day.  It will be a 35-mile

15   natural gas pipeline run by Gulfstream that will run to this

16   plant.  We have a problem.  I'm very concerned.  There is no

17   other way to put it but to be very concerned about, one, the

18   siting.  In Port St. Lucie they voted out a -- the zoning voted

19   it out.  They didn't want a coal plant in Port St. Lucie, so I

20   don't know if that made a problem for FPL or accelerated this

21   situation, but that just happened two or three months ago.

22   Port St. Lucie, they stayed up until 5:00 o'clock in the

23   morning not to have an FPL plant in their neighborhood.  Their

24   Commission voted it out.

25             Alternative sources.  We really do have to look at

FLORIDA PUBLIC SERVICE COMMISSION

265

1   alternative sources.  In China they only spend $1.64 a gallon

2   for gas.  In Saudi they only pay .91 cents a gallon for gas.

3   The United States is in a lot of trouble gas-wise.  I mean, the

4   prices -- do you see the prices going down?  I don't, unless

5   there's a miracle.

6             Natural gas, I think, is going to be a very expensive

7   process and problem for all of us.  I don't think -- I think we

8   need to look for viable alternatives.  I think FPL needs to be

9   more diligent in looking for viable alternatives.  Their

10   investment into green, you know, power is two men up in Stuart.

11   It's a two-man operation that looks for -- you know, I called

12   them to find out.  I tried to be diligent and look what is it

13   that FPL is doing.  It's a two-man operation up in Stuart, and

14   they are looking for alternatives.  But it seems with a company

15   as huge and as wonderful -- I know they have to give us power

16   and all, but you would think they would have 100 people working

17   on alternatives, ideas and knowledge to do something better for

18   power.

19             Florida's ecosystem cannot take much more.  In their

20   volumes, I read their three volumptuous (sic) volumes.  I'm

21   sure you were presented the same ones.  In one area it says

22   this will not promote growth, and then in the next area it says

23   it is needed for growth.  Which is it?  You know, we have to

24   come to a happy medium here somewhere.

25             I know Florida needs power.  They are not -- in their

FLORIDA PUBLIC SERVICE COMMISSION

266

1   three volumes they don't even talk about the fact that they

2   have -- they don't have Treasure Coast, they don't show that

3   that is going on line.  They show Turkey Point.  They don't

4   show Treasure Coast.  They don't have that anywhere in their

5   filing unless it was refiled recently and I missed it or it was

6   an add-on.

7             I have some concerns.  And I came all the way from

8   Loxahatchee today in West Palm to talk to you because I have my

9   concerns.  And I thank you for your patience with me, because I

10   don't know the protocol, and I'm learning.  Thanks a lot.

11             CHAIRMAN EDGAR:  Thank you, Ms. Larson.

12             Commissioners, any questions for Ms. Larson at this

13   time?

14             Commissioner Carter.

15             COMMISSIONER CARTER:  I would hate for you to bring

16   your map and you not tell us what --

17             MS. LARSON:  Do you want me to show you?

18             COMMISSIONER CARTER:  Yes.  Tell me what is on your

19   map.

20             MS. LARSON:  Is that allowed?

21             COMMISSIONER CARTER:  Is that all right, Madam

22   Chairman?

23             CHAIRMAN EDGAR:  Absolutely.

24             MS. LARSON:  In the filing we are a cloud, 50,000 of

25   us.  They said the closest municipality is five miles away.  It

FLORIDA PUBLIC SERVICE COMMISSION

267

1   is 3,000 feet from this plant.  We know, we are not five miles

2   away.  We literally were a cloud.  I thought it was really

3   funny that we were a cloud.

4             The Loxahatchee neighborhood is right here.  This is

5   where I live, the area where I live.  Palm Beach Aggregates are

6   right here.  That is a rock mining pit.  They blast twice a

7   day.  I can tell you houses as far as four miles away have huge

8   cracks in them from the blasting.  That is one of my major

9   concerns is 12.6 million gallons of diesel that they told me I

10   wasn't allowed to talk to you about that, because you don't

11   deal with the environmental.

12             This is the Loxahatchee Wildlife Refuge.  This is

13   right across the street from this plant.  There is the J.W.

14   Corbett area.  I mean, this is in a very ecologically -- they

15   make it sound like there is no wildlife, no nothing.  This is a

16   refuge.  This is J.W. Corbett, it's 66,000 acres of pristine

17   land.  It really is.  It's real beautiful.  There are 50,000

18   people here in the acreage.  We aren't a cloud.  We are not a

19   cloud.  And Wellington is over here.  This what they said was

20   the closest municipality.  They say it is Wellington, it is

21   five miles away.  But, you know, incorporated Palm Beach

22   County, Loxahatchee is us, there is 50,000 of us.  And I can

23   tell you we are gravely concerned.  We are really worried.  And

24   people were pretty happy at least I had the courage to come up

25   here.  I'm terrified, I'm shaking right now to come up before

FLORIDA PUBLIC SERVICE COMMISSION

268

1   you.

2             This is an area where this doesn't belong.  It

3   doesn't.  It's not feasible.  I don't think they have done

4   enough studies on this.  I don't think they have looked into it

5   enough.  And I might be -- you know, I'm not the expert here,

6   but to put a 35-mile natural gas pipeline and two rock mining

7   pits blasting twice a day, that sounds like a Molotov cocktail.

8   And 12.6 million gallons of diesel, the Valdez was only 11

9   million gallons, if one crack goes in that big old pot that

10   they are going to build out there, we are going to ruin the

11   whole system of Florida.

12             So I hope you take that into consideration.  They

13   told me I wasn't allowed to say it, but you did want me to show

14   you the area.  And it is real pretty.  It's a very lovely area.

15   I love it a lot.  I've been here all of my life.  I hope you

16   bear with me.  I stepped over the bounds a little bit, but you

17   asked me to show you the area, and that's it.

18             CHAIRMAN EDGAR:  Ms. Larson, you have done a fine

19   job, and you can go back and tell your friends that we really

20   aren't that scary.  But I am going to have to ask you to remain

21   for a moment to see if there are any questions.

22             Mr. Anderson?

23             MR. ANDERSON:  No questions.

24             CHAIRMAN EDGAR:  Staff.

25             MS. FLEMING:  No questions.

FLORIDA PUBLIC SERVICE COMMISSION

269

1             CHAIRMAN EDGAR:  All right.  Ms. Larson, thank you

2   very much.

3             MS. LARSON:  Thank you for your time.

4             CHAIRMAN EDGAR:  Ms. Fleming.

5             MS. FLEMING:  Sharon Waite.

6             CHAIRMAN EDGAR:  Ms. Waite.

7             MS. WAITE:  Good morning.

8             CHAIRMAN EDGAR:  Ms. Waite, I'm also going to need to

9   swear you in.  If you'll stand for a moment.  Thank you.  And

10   raise your right hand.

11             (Witness sworn.)

12                            SHARON WAITE

13   appeared as a witness and, swearing to tell the truth,

14   testified as follows:

15                          DIRECT STATEMENT

16             MS. WAITE:  Good morning, as well.  I have

17   photographs of this area.  You also have the copy of my little

18   maps that I think staff passed out.  Do you each have one?

19             CHAIRMAN EDGAR:  Ms. Fleming, I don't know that I've

20   received that yet.

21             MS. FLEMING:  No.  Ms. Waite still has all the

22   originals copies of the map.

23             MS. WAITE:  That's right.  They did come back to me,

24   didn't they?

25             CHAIRMAN EDGAR:  Is there maybe somebody that can --

FLORIDA PUBLIC SERVICE COMMISSION

270

1   (Pause.)

2             MS. WAITE:  These are pictures, they are dated and

3   labeled as to the area.  As you can see by those photographs,

4   that is one of the areas that I have shown on the map that were

5   deleted when South Florida Water Management proposed that map

6   as not showing anything but Wellington as the closest

7   municipality.  The acreage, Deer Run, everything that is listed

8   and numbered there was drawn in to show exactly where they are,

9   and the pictures will show you what kind of properties they

10   are.  They are million dollar properties.  And Deer Run is only

11   one of three big communities there.  It just happens to be the

12   one that was the easiest to photograph, because there are so

13   many private roads, the public doesn't have access.  So I used

14   that as an example for you.

15             The petition for determination of need for the

16   Western Energy Center, the current capacity here is, from the

17   figures I was able to find, were 23,212 total megawatts right

18   now.  The petition states that the Turkey Point Center will be

19   on line, but it doesn't state anything about the Treasure Coast

20   one being on line within a couple of months of it.  FPL's

21   forecast of a need of 23,450 megawatts by 2010 and saying that

22   we will need a 2-1/2 percent -- they'll have to raise the

23   percentage by 2-1/2 percent for customers that are only

24   existing, not for new units.  And it also states that there are

25   no environmental problems.  As you can see, there are several.

FLORIDA PUBLIC SERVICE COMMISSION

271

1             The rock pits.  Our water storage.  Palm Beach

2   County, we taxpayers paid $220 million for those.  And those of

3   us out in the acreage are on wells and septic tank.  We are

4   very close to it.  Our aquifer would be in grave danger.

5             The Constellation merger is another issue.  I don't

6   see a need for another power plant, even two, which is

7   outrageous.  With that merger, why don't they mention that?

8   Lake Okeechobee's walls are getting ready to crack.  They

9   already are cracking.  The Army Corp of Engineers is saying

10   there is no problem with that, they'll just patch it.  What

11   happens if that breaks?  We have a huge storm, it's over

12   capacity.  Pahokee, Belle Glade, all of those areas around

13   there will flood, and this is very close in proximity to where

14   they want to put this plant.  No one has mentioned that either,

15   that I can tell.

16             Trucking in the diesel.  There is no viable way to

17   get it there, they would have to truck it all in.  These are

18   all issues that I'm concerned with.  I only live a few miles

19   from Alex, and we cared enough to come here on our own dime to

20   represent our communities out there, and I thank you for

21   listening to us.

22             CHAIRMAN EDGAR:  Thank you, Ms. Waite.  Questions,

23   Commissioners?  No.

24             Mr. Anderson?

25             MR. ANDERSON:  No questions.

FLORIDA PUBLIC SERVICE COMMISSION

272

1             CHAIRMAN EDGAR:  Thank you.  Staff.

2             MS. FLEMING:  No questions.

3             CHAIRMAN EDGAR:  Ms. Waite, thank you very much.

4             MS. FLEMING:  Madam Chairman, the two exhibits that

5   Ms. Waite provided, did she want to make those as part of the

6   record?  It was my understanding that she would.

7             MS. WAITE:  Yes, part of the record.

8             MS. FLEMING:  I can go ahead, as far as the map, a

9   short title could be the West County Plant Site Map by South

10   Florida Water Management District.

11             CHAIRMAN EDGAR:  Okay.  We will show that so titled,

12   and that will be Exhibit Number 74.

13             MS. FLEMING:  And staff would recommend the short

14   title, Original Photographs of Southern Boulevard dated June

15   5th, 2006, as Exhibit 75.

16             CHAIRMAN EDGAR:  So labeled and identified.

17             MS. FLEMING:  And staff would ask that these be moved

18   into the record.

19             CHAIRMAN EDGAR:  Mr. Anderson?

20             MR. ANDERSON:  FPL has no objection.

21             CHAIRMAN EDGAR:  We will show these exhibits moved

22   into the record.  Thank you very much.

23             MS. FLEMING:  Thank you.

24             (Exhibits 74 and 75 marked for identification and

25   entered into the record.)

FLORIDA PUBLIC SERVICE COMMISSION

273

1             CHAIRMAN EDGAR:  Ms. Fleming.

2             MS. FLEMING:  Madam Chairman, I'm not aware of any

3   other speakers here today.

4             At this point, since there are proposed stipulations

5   on all issues, post-hearing filings are not necessary.  The

6   Commissioners may make a bench decision.  However, that is at

7   your discretion, based on the public testimony we have heard

8   today.

9             CHAIRMAN EDGAR:  Thank you very much.  And just to

10   make sure, let me ask the question.  Is there anybody else here

11   today who has not addressed the Commission who did not have the

12   opportunity to sign up for public testimony who would like to

13   do so?  Seeing none.

14             Commissioners, as Ms. Fleming has said, you are aware

15   that all of the issues have been stipulated.  We do have the

16   opportunity to move through those issues at this time.  I am

17   comfortable doing so, however, if anyone or more than one of

18   you would like to take additional time, that is certainly

19   appropriate and we can do that.  And there is also the

20   opportunity now to ask questions of either a general or a

21   specific nature.

22             Commissioner Deason.

23             COMMISSIONER DEASON:  Madam Chairman, I'm comfortable

24   moving forward with a bench decision.  Let me say that I

25   appreciate the members of the public who came and testified.

FLORIDA PUBLIC SERVICE COMMISSION

274

1   Their testimony I took as very sincere.  It's obvious that they

2   have great feeling about this, but I think as even has been

3   acknowledged by the witnesses, the bulk of their presentation

4   was really on matters that are outside the direct jurisdiction

5   of this Commission.

6             We are here today to make a determination of need,

7   that being that the plant is needed to meet the growing needs

8   for power and that it is the most cost-effective alternative.

9   I have really not heard anything that contradicts that in the

10   form of testimony here today.

11             And I think there will be other opportunities to

12   explore matters of location in terms of environment and safety

13   and things of that nature, and that will be at a different step

14   in the process than what we are here today.  So for those

15   reasons I feel comfortable in moving forward to consider the

16   stipulated issues.

17             CHAIRMAN EDGAR:  Thank you, Commissioner Deason.

18             Commissioner Arriaga.

19             COMMISSIONER ARRIAGA:  Madam Chairman, after my

20   interaction with staff and Mr. Anderson from FPL, I'm

21   absolutely satisfied that we have covered and we have properly

22   and duly done our job from the staff's point of view and from

23   the Commission's point of view.  So hearing Commissioner

24   Deason's motion, I will second it.

25             CHAIRMAN EDGAR:  Thank you, Commissioner Arriaga.  I

FLORIDA PUBLIC SERVICE COMMISSION

275

1   don't know that we need a motion, but I am hearing general

2   comfort to my right and to my left.  Okay.  Then we will move

3   forward and we will begin by -- I would like to move through

4   the issues one by one, I think that that is the most clear way

5   to proceed.  There will, of course, be the opportunity if any

6   of you have any questions that you would like to ask again of

7   either a general nature or specifically of the issues we will

8   do that.

9             And so with that, let's take up Issue 1.  Are there

10   any questions or a motion?

11             COMMISSIONER DEASON:  I can move approval of the

12   stipulation on Issue 1.

13             COMMISSIONER ARRIAGA:  Second.

14             CHAIRMAN EDGAR:  Thank you.  I have a motion and a

15   second.  Any discussion or questions?  All in favor of Issue 1

16   say aye.

17             (Unanimous affirmative vote.)

18             CHAIRMAN EDGAR:  Opposed?

19             Show Issue 1 adopted.

20             We are on Stipulated Issue 2.

21             COMMISSIONER DEASON:  I can move stipulated Issue 2.

22             COMMISSIONER ARRIAGA:  And I will second.

23             CHAIRMAN EDGAR:  A motion and a second.  Any

24   questions or discussion?  Seeing none, all in favor of Issue 2

25   and the motion say aye.

FLORIDA PUBLIC SERVICE COMMISSION

276

1             (Unanimous affirmative vote.)

2             CHAIRMAN EDGAR:  Opposed?  Show Issue 2 adopted.

3             We are on Issue 3.

4             COMMISSIONER DEASON:  Move Stipulated Issue 3.

5             COMMISSIONER ARRIAGA:  Second.

6             CHAIRMAN EDGAR:  Any discussion?  All in favor of

7   Issue 3 say aye.

8             (Unanimous affirmative vote.)

9             CHAIRMAN EDGAR:  Opposed?  Show Issue 3 adopted.

10             We are on Issue 4.

11             COMMISSIONER DEASON:  Move stipulated Issue 4.

12             COMMISSIONER ARRIAGA:  Second.

13             CHAIRMAN EDGAR:  Seeing no questions, all in favor of

14   the motion on Issue 4 say aye.

15             (Unanimous affirmative vote.)

16             CHAIRMAN EDGAR:  Opposed?  Show Issue 4 adopted.

17             Issue 5.

18             COMMISSIONER DEASON:  Move Stipulated Issue 5.

19             COMMISSIONER ARRIAGA:  Second.

20             CHAIRMAN EDGAR:  Seeing no questions, those in favor

21   of the motion on Issue 5 say aye.

22             (Unanimous affirmative vote.)

23             CHAIRMAN EDGAR:  Opposed?  Show Issue 5 adopted.

24             Issue 6.

25             COMMISSIONER DEASON:  Move Stipulated Issue 6.

FLORIDA PUBLIC SERVICE COMMISSION

277

1             COMMISSIONER ARRIAGA:  Second.

2             CHAIRMAN EDGAR:  Seeing no questions, those in favor

3   of the motion on Issue 6 say aye.

4             (Unanimous affirmative vote.)

5             CHAIRMAN EDGAR:  Opposed?  Show Issue 6 adopted.

6             We are on Issue 7.

7             COMMISSIONER DEASON:  Move Stipulated Issue 7.

8             COMMISSIONER ARRIAGA:  Second.

9             CHAIRMAN EDGAR:  Seeing no questions, those in favor

10   of the motion for Issue 7 say aye.

11             (Unanimous affirmative vote.)

12             CHAIRMAN EDGAR:  Opposed?  Show Issue 7 adopted.

13             We are on Issue 8.

14             COMMISSIONER DEASON:  Move Stipulated Issue 8.

15             COMMISSIONER ARRIAGA:  Second.

16             CHAIRMAN EDGAR:  Seeing no questions, those in favor

17   of the motion on Issue 8 say aye.

18             (Unanimous affirmative vote.)

19             CHAIRMAN EDGAR:  Opposed?  Show Issue 8 adopted.

20             We are on Issue 9.

21             COMMISSIONER DEASON:  Move Stipulated Issue 9.

22             COMMISSIONER ARRIAGA:  Second.

23             CHAIRMAN EDGAR:  Seeing no questions, those in favor

24   of the motion on Issue 9 say aye.

25             (Unanimous affirmative vote.)

FLORIDA PUBLIC SERVICE COMMISSION

278

1             CHAIRMAN EDGAR:  Opposed?  Show Issue 9 adopted.

2             Issue 10.

3             COMMISSIONER DEASON:  Move Stipulated Issue 10.

4             COMMISSIONER ARRIAGA:  Second.

5             CHAIRMAN EDGAR:  Seeing no questions, those in favor

6   of the motion on Issue 10 say aye.

7             (Unanimous affirmative vote.)

8             CHAIRMAN EDGAR:  Opposed?  Show Issue 10 adopted.

9             Issue 11.

10             COMMISSIONER DEASON:  Move Stipulated Issue 11.

11             COMMISSIONER ARRIAGA:  Second.

12             CHAIRMAN EDGAR:  Seeing no questions, those in favor

13   of the motion on Issue 11 say aye.

14             (Unanimous affirmative vote.)

15             CHAIRMAN EDGAR:  Opposed?  Show Issue 11 adopted.

16             We are on Issue 12.

17             COMMISSIONER DEASON:  Move Stipulated Issue 12.

18             COMMISSIONER ARRIAGA:  Second.

19             CHAIRMAN EDGAR:  Seeing no questions, those in favor

20   of the motion on Issue 12 say aye.

21             (Unanimous affirmative vote.)

22             CHAIRMAN EDGAR:  Opposed?  Show Issue 12 adopted.

23             Issue 13.

24             COMMISSIONER DEASON:  Move Stipulated Issue 13.

25             COMMISSIONER ARRIAGA:  Second.

FLORIDA PUBLIC SERVICE COMMISSION

279

1             CHAIRMAN EDGAR:  Those in favor say aye.

2             (Unanimous affirmative vote.)

3             CHAIRMAN EDGAR:  Opposed?  Show Issue 13 adopted.

4             Ms. Fleming, are there any further matters?

5             MS. FLEMING:  Ms. Chairman, I would just like to

6   point out, based on today's decision, no post-hearing filings

7   are necessary, and Staff will have the final order issued no

8   later than June 28th.

9             CHAIRMAN EDGAR:  Thank you.

10             Commissioners, I believe that concludes our business

11   for today.  This hearing is adjourned.

12             COMMISSIONER CARTER:  Madam Chairman --

13             CHAIRMAN EDGAR:  Before I bang the gavel, though,

14   Commissioner Carter is recognized.

15             COMMISSIONER CARTER:  Before you bang the gavel, I

16   would like to say to the ladies that came up from Loxahatchee

17   how much we appreciate you all coming.  We always love to hear

18   from the public.  And even though your issue was a little

19   different from our jurisdictional area, we sincerely appreciate

20   you taking an active and taking an interest in your

21   neighborhood.  So thank you so much for coming.

22             Thank you, Madam Chair.

23             CHAIRMAN EDGAR:  Thank you, Commissioner Carter.  We

24   are adjourned.

25             (The hearing concluded at 10:36 a.m.)

FLORIDA PUBLIC SERVICE COMMISSION

280

1

2   STATE OF FLORIDA    )

3                       :              CERTIFICATE OF REPORTER

4   COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Hearing Reporter Services

6   Section, FPSC Division of Commission Clerk and Administrative

Services, do hereby certify that the foregoing proceeding was

7   heard at the time and place herein stated.

8             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

9   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

10   proceedings.

11             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

12   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

13   the action.

14             DATED THIS 9th day of June, 2006.

15

16             ___________________________________________

JANE FAUROT, RPR

17                   Official FPSC Hearings Reporter

FPSC Division of Commission Clerk and

18                       Administrative Services

(850) 413-6732

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION