- BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

- PROGRESS ENERGY FLORIDA, INC.

- LOAD RESEARCH STUDY RESULTS

- COVERING THE PERIOD FROM

- APRIL, 2005 THROUGH MARCH, 2006

JULY 31, 2006

- FPSC RULE 25-6.0437(7) F.A.C.

- TABLE OF CONTENTS

STUDY BACKGROUND AND OBJECTIVES	2

REPORTING PERIOD	2

RESIDENTIAL RATE CLASS SAMPLE	3

GENERAL SERVICE NON-DEMAND RATE CLASS SAMPLE	4

GENERAL SERVICE DEMAND RATE CLASS SAMPLE	5

INTERRUPTIBLE CLASS	6

METERING OF SAMPLE MEMBERS	6

SELECTION OF REPLACEMENTS	6

STATISTICAL ACCURACY ACHIEVED	7

RESIDENTIAL CLASS HOURLY LOAD DATA	13

## STUDY BACKGROUND AND OBJECTIVES

The purpose of this study is to meet the requirements of the Cost-of-Service Load Research Rule, Docket No. 820491-EU, Order No. 13026, adopted as Rule 25-6.0437 on February 23, 1984, by the Florida Public Service Commission.

The rule requires that every rate class which accounts for more than one percent of the utility's annual retail sales be sampled every three years.  The load research studies must be designed to provide estimates within plus or minus 10% relative accuracy at the 90% confidence level for the summer and winter peak demands and the average of the twelve monthly coincident peaks (15% relative accuracy for the General Service Non-Demand Rate Class.

## REPORTING PERIOD

The new sample points were selected during the fall of 2004 and mass memory interval recording meters were installed in the winter of 2004/2005.  Formal data collection began on April 1, 2005 and continued through March 31, 2006.

## RESIDENTIAL RATE CLASS SAMPLE

The Residential Rate Class had over 1,400,000 customers when the data collection commenced.  Nearly 410,000 customers were on the load management rate at that time.  Due to the large number of residences on load management, independent and equal sized samples were drawn for both the load management residential rate and the standard residential rate.  Past experience indicated that a residential sample of 350 would be more than enough to exceed the target accuracy goal.  Combined ratio estimation was used for expansion to the class level.

The residential load management and non-load management samples were stratified by housing type:

1)	single family detached

2)	mobile/manufactured homes

3)	multi-family (apartments, townhouses, condos etc)

The following table shows the stratum design for the Residential Rate Class sample.

| Error! Bookmark not defined. Stratum | Load Management Residential Rate | Standard Residential Rate |
| --- | --- | --- |
| Single Family Detached | 85 | 85 |
| Mobile / Manufactured Home | 45 | 45 |
| Multi-Family (Apartments) | 45 | 45 |
| Total | 175 | 175 |

Table 1 - Residential Sample Design

## GENERAL SERVICE NON-DEMAND RATE CLASS SAMPLE

At the time of sample selection in the winter of 2004, the General Service Non-Demand Rate Class consisted of over 119,000 customers.  By April 2005 when data collection officially began, Progress Energy Florida had 126,046 General Service Non-Demand customers.

Two dimensional stratification and combined ratio expansion were used for this rate class sample.  The technique involved stratification using the billed energy for the winter peak month (January, 2004) and the summer peak month (July, 2003).  The Dalenius-Hodges cumulative square root "uf" technique was applied to the class billed energy for the peak month to establish stratum boundaries.  The following table shows the stratum design for the General Service Non-Demand Rate Class sample.

| Error! Bookmark not defined.Stratum | # Sample Size |
| --- | --- |
| 1 - Jan 04 billed energy > 1,400 kWh & Jul 03 energy < 1,700 kWh | 33 |
| 2 - Jan 04 billed energy > 1,400 kWh & Jul 03 energy > 1,700 kWh | 56 |
| 3 - Jan 04 billed energy < 1,400 kWh & Jul 03 energy < 1,700 kWh | 463 |
| 4 - Jan 04 billed energy < 1,400 kWh & Jul 03 energy > 1,700 kWh | 39 |
| 5 - Census Stratum – customers over >40,000 kWh / month | 33 |
| Total | 624 |

Table 2 - General Service Non-Demand Sample Design

## GENERAL SERVICE DEMAND RATE CLASS SAMPLE

Two dimensional stratification and combined ratio expansion were used for the General Service Demand Rate Class sample.  The technique involved stratification using the summer peak month (July, 2003) billed kW and the revenue class data.  The Dalenius-Hodges cumulative square root "uf" technique was applied to the class billed demand for the peak month to establish stratum boundaries.  All customers over 1000 kW did not require sampling because each customer in this stratum is metered with a mass memory interval recording meter for billing purposes.  Table 3 outlines stratum design for the General Service Demand Rate Class sample.

| Stratum | Sample Size |
| --- | --- |
| 1 – Customers with a July 03 billing demand less than 40 kW | 203 |
| 2 – Customers with a July 03 billing demand between 40 kW & 190 kW | 67 |
| 3 – Customers with a July 03 billing demand between 190 kW & 1,000 kW | 13 |
| 4 – Customers with a July 03 billing demand greater than 1000 kW | 267 |
| Total | 548 |

Table 3 - General Service Demand Sample Design

## INTERRUPTIBLE RATE CLASS

The Interruptible Rate Class did not require sampling because each customer in this class is metered with a mass memory interval recording meter for billing purposes.  At the beginning of data collection in April 2005, there were 151 customers in the Interruptible Rate Class.

## METERING OF SAMPLE MEMBERS

The sample customer's conventional meter was replaced with a solid-state meter.  The solid-state meter records the customer’s usage every 15 minutes and stores it in a mass memory chip within the meter.  The data from these meters was translated and validated for accuracy in the MV-90 5.0 software package.  Load data was analyzed on a calendar month basis using the MV90 Load Research Package to derive the data contained in this report.

## SELECTION OF REPLACEMENTS

During the course of the study, a small number of sample points had to be replaced for various reasons. To minimize the amount of replacement necessary, Progress Energy Florida’s policy is not to request permission from the customer before load research meters are installed.  The selection of replacements was handled differently depending on the rate class.

Replacements for the Residential Rate Class were picked from a list of randomly selected alternates that was generated at the same time the original sample was drawn.  When a replacement was needed, it was selected as the first available alternate on the list from within the same stratum as the original sample.

Two replacement lists for the General Service Non-Demand Rate Class were selected.  At the time the original sample was drawn, additional random samples were drawn to be used as replacements.  The replacement samples were stratified and then ordered by the January 2004 billed energy and matched to the original (ordered) sample by strata.

Two replacement lists for the General Service Demand Rate Class were selected.  At the time the original sample was drawn, additional random samples were drawn to be used as replacements.  The replacement samples were stratified and then ordered by the January 2004 billed demand and matched to the original (ordered) sample by strata.

## STATISTICAL ACCURACY ACHIEVED

Tables 4 through 7 contain the estimated class demands for the coincident and non-coincident peaks for the Residential, General Service Non-Demand, General Service Demand, and Interruptible Rate Classes.  Also included are the 90% confidence intervals around the monthly peak demands and their relative accuracy in percentage.  The twelve coincident peak averages for all rate classes, their 90% confidence intervals and their relative accuracy are computed for the twelve month period ending March, 2006.  The statistics shown in tables 4-7 were obtained using MV90’s Load Research software package.

The winter peak hour during the study period occurred at hour ending 0800 on Tuesday, February 14, 2006 and the summer peak hour occurred at hour ending 1800 on Tuesday, August 16, 2005.  The target level of statistical accuracy of plus or minus 10% error at the 90% confidence level for the system summer and winter peak was met for the Residential and General Service Demand Rate Classes.  The target level of statistical accuracy of plus or minus 15% error at the 90% confidence level for the system summer and winter peak was met for the General Service Non-Demand Rate Class.

## RESIDENTIAL RATE CLASS HOURLY LOAD DATA

The following pages contain the hourly Residential Rate Class load data required under Sections (7) and (8) of Rule 25-6.0437.  This hourly data covers the 8,760 hours from April, 2005 through March, 2006 and is adjusted for Daylight Savings Time.  The format of the data is the standard "EEI" format normally used in the electric utility industry.

040105               1598 1240 1129 1116 1074 1157 1556 1763 1832 1873 2107 2341

040105               2658 2700 2892 3106 3250 3099 2906 2851 2631 2534 2273 2038

040205               1708 1460 1240 1143 1157 1212 1377 1625 1970 2011 1983 1928

040205               1873 1873 1873 1928 1887 1942 2025 2080 1914 1832 1708 1281

040305               1129  964  881  895 1019 1157 1474 1708 1928 2094 1997 1997

040305               1791 1901 1887 1997 2052 2107 2162 2259 2149 2011 1419 1088

040405               1033  937 1019 1019 1295 1970 2231 1873 1791 1556 1598 1543

040405               1488 1377 1611 1859 2217 2217 2217 2300 2149 1763 1446 1143

040505                937  881  854  950 1129 1543 1763 1653 1598 1460 1405 1529

040505               1611 1722 2011 2245 2479 2617 2424 2562 2300 1970 1680 1364

040605               1088 1005  964 1005 1129 1515 1791 1735 1639 1584 1625 1763

040605               1970 2080 2273 2479 2617 2672 2452 2438 2534 2300 1694 1322

040705               1129 1047    0  978 1033 1047 1405 1777 1625 1460 1625 1846

040705               1846 1928 2094 2217 2314 2534 2493 2410 2438 2328 1942 1543

040805               1336 1047 1005  909 1005 1184 1405 1653 1598 1639 1667 1777

040805               1777 1818 1928 1942 2259 2397 2300 2094 2259 2121 1942 1584

040905               1267 1143  937  909  909  992 1116 1377 1639 1846 1791 1791

040905               1804 1970 2135 2438 2603 2713 2658 2341 2273 2080 1942 1611

041005               1391 1047  964  950  964 1005 1047 1281 1694 1901 1914 1983

041005               2135 2135 2397 2603 2768 2700 2768 2658 2507 2452 2038 1529

041105               1226 1019  923  881 1019 1171 1501 1722 1735 1611 1543 1570

041105               1667 1680 1970 2176 2507 2672 2700 2562 2548 2410 2025 1501

041205               1171 1005  895  950  978 1171 1419 1708 1543 1474 1460 1611

041205               1777 1887 2025 2259 2548 2782 2782 2672 2782 2589 2094 1818

041305               1543 1295 1171 1116 1143 1281 1556 1846 1791 1680 1846 1914

041305               1956 2052 2176 2341 2548 2686 2603 2328 2259 2149 1914 1543

041405               1267 1033  909  868  964 1061 1446 1694 1543 1501 1488 1625

041405               1667 1570 1791 2011 2190 2176 2217 2176 2176 2107 1804 1543

041505               1240 1019  909  868  895 1102 1584 1667 1598 1529 1474 1391

041505               1350 1336 1446 1653 1749 1914 1832 1832 1887 1804 1653 1488

041605               1226 1074  950  964  964 1033 1226 1584 1887 1956 1901 1791

041605               1529 1598 1515 1708 1680 1639 1763 1653 1887 1804 1653 1391

041705               1253 1157 1143 1102 1116 1171 1515 1667 1928 2080 2025 1983

041705               1749 1722 1667 1777 1791 2080 1942 1873 2011 2135 1873 1446

041805               1226 1129 1033  992 1171 1336 1804 2066 1859 1653 1543 1515

041805               1446 1405 1529 1708 1901 2107 2080 2355 2369 2204 1777 1405

041905               1184  950  854  881  923 1116 1529 1763 1625 1364 1350 1432

041905               1336 1529 1653 1749 2066 2328 2259 2204 2286 2080 1859 1364

042005               1129  992  909  854  909 1033 1377 1667 1570 1515 1419 1570

042005               1722 1846 2038 2135 2259 2286 2424 2424 2328 2204 2011 1488

042105               1198 1033  937  909  923 1061 1419 1570 1501 1322 1501 1488

042105               1722 1791 1942 2107 2410 2576 2617 2617 2727 2534 1970 1804

042205               1391 1074  923  909  964 1102 1446 1680 1515 1460 1625 1887

042205               1942 1983 2190 2479 2810 2810 2879 2479 2452 2328 1956 1694

042305               1391 1253 1005  950 1005 1033 1129 1295 1611 1928 2038 2231

042305               2314 2204 2259 2286 2273 2094 1983 2217 2094 2052 1873 1556

042405               1308 1116 1019 1061  978  978 1047 1295 1584 1804 2038 1859

042405               1928 1818 1763 1694 1818 1970 2052 2080 2217 2245 1846 1529

042505               1336 1116 1102 1088 1267 1364 2135 2397 1887 1694 1611 1460

042505               1474 1419 1474 1584 1694 1942 1997 2038 2094 2149 1804 1322

042605               1061  923  937  909  950 1088 1446 1763 1639 1667 1515 1598

042605               1488 1515 1735 1818 2025 2259 2286 2066 1997 2038 1832 1488

042705               1212  978  909  909  881  950 1308 1625 1529 1446 1598 1735

042705               1735 1722 1942 2190 2341 2383 2328 2341 2231 2245 1970 1543

042805               1212 1061  909  854  937 1047 1432 1708 1488 1446 1474 1515

042805               1488 1722 1846 2190 2259 2589 2493 2438 2328 2231 1942 1446

042905               1129  937  895  895  964 1074 1432 1611 1364 1488 1584 1667

042905               1735 2052 2245 2452 2672 2810 2851 2686 2479 2410 2094 1804

043005               1515 1226 1102 1019  937 1019 1116 1405 1818 2176 2245 2410

043005               2548 2837 3071 3319 3443 3625 3457 3127 3071 2768 2369 2011

050105               1589 1274 1102 1045 1002 1074 1145 1346 1703 1918 2047 2076

050105               2076 2190 2290 2362 2519 2491 2462 2419 2433 2491 2204 1761

050205               1374 1245 1131 1088 1159 1188 1575 1732 1560 1632 1761 1932

050205               2018 2233 2262 2677 2877 3035 2977 2820 2705 2562 2190 1732

050305               1346 1088 1002  945 1016 1102 1446 1617 1474 1546 1660 1818

050305               1990 2276 2448 2677 2763 2791 2891 2634 2720 2591 2290 1732

050405               1388 1245 1174 1131 1131 1274 1560 1846 1718 1546 1603 1660

050405               1617 1589 1660 1589 1846 1932 2004 2176 2104 2176 1818 1474

050505               1202  973  887  859  873 1002 1331 1617 1460 1575 1560 1746

050505               1718 1703 1718 1875 1975 2118 2147 2047 2047 2004 1918 1460

050605               1202 1016  845  859  859  988 1388 1589 1417 1517 1575 1632

050605               1517 1546 1632 1804 1947 2076 2104 1975 1861 1918 1761 1532

050705               1245 1074  916  930  959 1002 1159 1503 1632 1718 1617 1732

050705               1775 1947 2076 2319 2362 2290 2405 2305 2233 2176 1761 1517

050805               1274 1074  930  916  902  945 1002 1202 1474 1804 2076 2204

050805               2190 2462 2548 2748 2963 2977 2806 2662 2562 2562 2076 1603

050905               1303 1059 1002  945 1002 1116 1374 1546 1446 1617 1761 1990

050905               2190 2305 2534 2820 2963 3163 3120 2949 2963 2619 2104 1718

051005               1403 1159 1045  930  988 1102 1388 1632 1446 1474 1775 1932

051005               2118 2204 2462 2748 2848 2949 3106 3092 2992 2920 2290 1789

051105               1417 1159 1002 1002 1145 1202 1446 1703 1517 1489 1703 1932

051105               2276 2390 2619 2605 2662 2648 2619 2548 2347 2333 1975 1646

051205               1317 1159 1045 1016  988 1116 1532 1546 1417 1532 1589 1732

051205               2090 2305 2562 2791 3049 3149 3020 2920 2763 2605 2219 1818

051305               1460 1202 1045  945 1074 1145 1460 1617 1560 1617 1804 2076

051305               2433 2605 2834 3106 3335 3278 3120 2920 2648 2405 2290 1932

051405               1575 1274 1074 1045 1016 1002 1131 1346 1818 2033 2118 2462

051405               2691 2877 2949 3049 3221 3378 3235 2963 2806 2548 2319 2033

051505               1603 1260 1131 1002 1002 1002 1116 1245 1603 2133 2390 2763

051505               3249 3135 3264 3349 3507 3593 3478 3349 3149 2963 2519 1975

051605               1703 1431 1245 1131 1202 1231 1474 1818 1703 1904 2161 2433

051605               2677 2806 2963 3092 3349 3421 3321 3264 3163 2992 2534 2176

051705               1718 1431 1288 1260 1260 1317 1575 1689 1689 1947 2233 2591

051705               2906 2934 3149 3292 3349 3536 3235 3063 2920 2648 2462 2090

051805               1746 1431 1288 1245 1231 1288 1503 1689 1660 1846 2104 2333

051805               2763 2906 3221 3421 3679 3707 3493 3335 3135 2906 2577 2090

051905               1746 1474 1317 1231 1245 1260 1460 1746 1789 1904 2247 2491

051905               2734 2906 3077 3192 3421 3564 3407 3120 3020 2791 2476 2219

052005               1746 1503 1288 1145 1202 1231 1546 1718 1689 1732 2047 2362

052005               2662 3006 3192 3392 3621 3793 3478 3249 3149 2920 2748 2305

052105               1990 1675 1374 1303 1217 1274 1274 1560 1947 2276 2619 2920

052105               3020 3421 3507 3621 3808 3493 3249 3106 2734 2734 2390 2161

052205               1889 1703 1546 1431 1374 1231 1331 1503 1875 2548 2705 2705

052205               2992 3077 3292 3249 3536 3521 3550 3292 3149 3135 2748 2147

052305               1818 1517 1317 1303 1317 1374 1632 1832 1718 1918 2276 2619

052305               2820 3135 3478 3607 3765 4051 3979 3808 3621 3321 2848 2376

052405               2047 1718 1560 1489 1446 1489 1775 2047 1947 2176 2376 2491

052405               2677 3049 3349 3536 3650 3750 3564 3407 3163 3235 2934 2448

052505               2176 1932 1761 1703 1660 1761 2018 2176 2161 2390 2448 2591

052505               2949 3249 3493 3564 3664 3693 3450 3149 2934 2634 2476 2118

052605               1718 1503 1303 1188 1245 1260 1503 1689 1503 1632 1904 2204

052605               2305 2591 2648 2763 2949 3192 3178 3063 2777 2720 2419 1975

052705               1732 1388 1245 1159 1245 1231 1446 1660 1646 1846 2176 2333

052705               2619 2748 3049 3235 3464 3650 3493 3192 3020 2963 2720 2319

052805               1990 1617 1474 1417 1317 1303 1360 1603 2018 2290 2619 3006

052805               3221 3450 3621 3793 3979 3965 3865 3521 3235 3106 2705 2491

052905               2204 1732 1532 1388 1360 1303 1331 1460 1732 2390 2734 2934

052905               3364 3521 3536 3808 4008 4094 3936 3765 3464 3321 2963 2433

053005               2118 1832 1617 1474 1446 1460 1446 1617 1961 2591 3192 3435

053005               3779 4037 4079 4251 4473 4566 4308 4008 4008 3578 3149 2720

053105               2390 2018 1818 1746 1632 1675 1775 1804 1703 1775 1975 1932

053105               2018 2204 2333 2433 2734 3135 3264 3049 2963 2906 2519 2219

060105               1870 1540 1422 1369 1317 1369 1488 1659 1580 1777 1909 1962

060105               1896 1883 2054 1988 2291 2528 2594 2607 2515 2528 2343 1975

060205               1580 1343 1198 1185 1185 1211 1422 1685 1606 1685 1751 1791

060205               2014 2317 2541 2883 3015 3015 3028 2752 2712 2659 2436 2120

060305               1751 1488 1382 1251 1238 1303 1527 1777 1725 1948 2054 2172

060305               2199 2225 2449 2488 2646 2528 2528 2475 2264 2238 2080 1883

060405               1633 1435 1224 1198 1132 1198 1264 1488 1738 1962 1975 2067

060405               2317 2620 2686 2659 2791 2778 2659 2383 2449 2317 2264 1935

060505               1619 1448 1277 1224 1145 1159 1224 1382 1712 2159 2396 2712

060505               2857 2936 3107 3147 3199 3489 3291 3331 2975 2949 2528 2067

060605               1698 1488 1330 1303 1317 1290 1554 1672 1606 2054 2304 2620

060605               2910 3107 3344 3515 3713 3739 3713 3581 3449 3410 2804 2580

060705               2080 1804 1659 1567 1475 1409 1725 1856 1896 2238 2659 2923

060705               3252 3502 3607 3700 3884 3779 3686 3384 3094 2975 2844 2330

060805               1988 1764 1540 1501 1396 1435 1751 1843 1948 2291 2501 3015

060805               3305 3397 3542 3686 3779 3858 3607 3397 3068 2896 2791 2422

060905               2080 1764 1633 1580 1475 1527 1751 2001 2027 2515 2673 2883

060905               2975 2923 2910 2725 2659 2857 2659 2554 2515 2567 2488 2054

061005               1791 1646 1514 1461 1475 1554 1843 1988 1909 2067 2225 2264

061005               2238 2238 2146 2199 2343 2396 2515 2541 2370 2475 2409 2199

061105               1883 1712 1659 1593 1567 1554 1619 1804 2093 2580 2607 2923

061105               2949 3054 3186 3305 3397 3344 3028 3015 2910 2870 2725 2330

061205               2120 1856 1685 1619 1580 1567 1619 1738 2106 2620 2989 3173

061205               3357 3357 3568 3555 3568 3568 3410 3081 3002 2817 2659 2291

061305               1896 1633 1540 1409 1422 1514 1712 1935 1962 2185 2370 2831

061305               3107 3384 3621 3700 3871 3897 3936 3726 3423 3160 2936 2541

061405               2027 1843 1672 1567 1488 1475 1698 1685 1962 2304 2620 2804

061405               3133 3397 3647 3805 4081 4295 4134 3897 3752 3489 3199 2686

061505               2343 2014 1777 1804 1698 1712 1909 2080 2251 2501 2752 3028

061505               3278 3397 3660 3805 3897 3805 3818 3555 3357 3199 2883 2541

061605               2120 1975 1751 1712 1619 1672 1870 1988 2133 2607 2883 3054

061605               3344 3594 3739 3805 3726 3621 3384 3212 3199 3107 2975 2488

061705               2185 1948 1751 1685 1619 1646 1896 2014 2225 2436 2752 2949

061705               3344 3515 3542 3607 3779 4029 3805 3739 3397 3147 2989 2580

061805               2185 2054 1738 1659 1580 1527 1593 1935 2199 2528 2725 2936

061805               3147 3344 3423 3344 3318 3502 3357 3068 2831 2712 2620 2317

061905               2080 1712 1488 1396 1356 1317 1396 1672 2093 2462 2962 3265

061905               3528 3607 3779 3989 3897 3805 3818 3607 3489 3384 2949 2488

062005               2120 1856 1593 1501 1422 1369 1659 1856 1962 2238 2515 2910

062005               3068 3278 3344 3239 3305 3370 3344 3133 3041 2896 2620 2383

062105               2054 1725 1501 1488 1435 1475 1672 1856 1870 2041 2199 2409

062105               2646 2804 3015 2949 3186 3199 3081 3002 2844 2844 2396 2106

062205               1791 1514 1448 1396 1369 1382 1646 1777 1870 1896 2172 2449

062205               2804 2975 2949 2804 2896 2923 2936 2725 2580 2528 2409 1975

062305               1619 1356 1251 1211 1159 1224 1488 1593 1712 1948 2212 2528

062305               2817 3002 3068 2949 2752 2752 2725 2633 2567 2501 2251 1988

062405               1646 1396 1343 1251 1185 1224 1501 1619 1698 1935 2001 2238

062405               2383 2501 2673 2778 2910 2896 2857 2725 2712 2673 2488 2093

062505               1725 1554 1396 1382 1343 1330 1435 1514 1804 2172 2488 2752

062505               2936 3107 3147 3318 3463 3410 3436 3226 3068 2923 2699 2383

062605               2014 1725 1619 1501 1488 1488 1567 1725 2106 2699 2975 3265

062605               3594 3739 3897 4042 4147 4213 4015 3779 3660 3489 3186 2778

062705               2343 2041 1856 1725 1685 1725 1935 2014 2080 2409 2752 3068

062705               3291 3384 3344 3199 2975 2989 3041 2910 2844 2765 2370 2106

062805               1830 1672 1475 1422 1422 1422 1646 1817 1922 2146 2501 2923

062805               3002 3054 3133 3120 3252 3107 3002 2910 2844 2817 2488 2172

062905               1948 1659 1593 1448 1448 1501 1712 1817 1817 2014 2199 2475

062905               2817 2883 2883 2923 2817 2883 2738 2620 2646 2554 2422 2014

063005               1791 1606 1475 1409 1422 1448 1712 1777 1843 2120 2278 2501

063005               2844 3068 3068 2936 2896 2989 3028 2975 2923 2870 2765 2330

070105               1991 1692 1579 1394 1379 1394 1692 1877 2019 2332 2645 2915

070105               3186 3257 3228 3314 3442 3356 3498 3257 3242 3043 2844 2531

070205               2204 1963 1863 1778 1678 1650 1678 2034 2361 2844 3086 3129

070205               3186 3399 3555 3911 3897 3740 3669 3726 3456 3186 2958 2674

070305               2375 2176 1906 1792 1763 1707 1763 1906 2418 3072 3370 3442

070305               3683 3840 3840 3783 3754 3754 3669 3598 3228 3129 2901 2716

070405               2318 1948 1707 1621 1536 1536 1550 1763 2119 2787 3385 3769

070405               3996 4181 4295 4352 4437 4394 4153 3911 3527 3370 3171 2930

070505               2375 2048 1863 1678 1607 1593 1806 1863 2019 2503 2944 3385

070505               3626 3868 4025 4138 4423 4480 4494 4338 4010 3868 3328 2844

070605               2546 2233 2005 1849 1735 1806 2019 2048 2105 2489 2787 3129

070605               3456 3669 4039 4025 4210 4281 4323 4138 3854 3698 3285 2816

070705               2475 2147 1977 1820 1792 1692 1891 2048 2190 2574 2901 3214

070705               3484 3826 3911 4082 4181 4295 4238 3996 3698 3555 3257 2830

070805               2574 2190 1948 1891 1849 1849 1963 2019 2304 2674 2972 3214

070805               3427 3712 3911 3925 3740 3456 3285 3114 2944 2816 2645 2432

070905               2247 1934 1835 1835 1721 1678 1778 1906 2034 2304 2531 2631

070905               3001 3214 3171 3086 3058 3029 3001 2859 2659 2574 2546 2290

071005               1877 1749 1593 1507 1365 1394 1436 1692 1792 2247 2546 2659

071005               2859 2915 2873 3072 3171 3257 3200 3200 3043 3001 2773 2375

071105               2019 1778 1692 1579 1550 1564 1778 1877 2005 2361 2631 2887

071105               3200 3456 3712 3882 3954 4110 3854 3584 3271 3114 2787 2503

071205               2105 1763 1621 1507 1465 1507 1621 1749 1891 2204 2560 2901

071205               3129 3285 3442 3342 3257 3271 3285 3143 2986 3072 2802 2347

071305               2019 1707 1635 1507 1493 1522 1707 1763 2005 2375 2759 2986

071305               3157 3513 3698 3726 3570 3513 3370 3143 3001 2930 2688 2332

071405               1891 1650 1621 1479 1394 1394 1579 1806 1891 2219 2531 2901

071405               3356 3342 3740 3826 3570 3484 3285 3228 3072 3015 2645 2247

071505               1849 1664 1522 1436 1422 1436 1550 1820 1963 2233 2716 3100

071505               3299 3555 3769 4025 4039 3712 3498 3171 2930 2830 2645 2475

071605               2147 1735 1650 1493 1422 1394 1422 1678 2176 2674 3086 3413

071605               3698 4010 4153 4238 4323 3954 3641 3527 3257 3058 2802 2475

071705               2091 1863 1678 1635 1579 1522 1536 1707 2119 2802 3072 3541

071705               3783 3882 4110 4153 4082 4096 3911 3840 3555 3427 2972 2588

071805               2375 2005 1778 1664 1635 1607 1735 1891 2176 2403 2773 3228

071805               3527 3698 3726 3882 4039 4053 4082 3911 3840 3698 3242 2816

071905               2389 2062 1863 1735 1721 1678 1920 2062 2190 2460 2830 3157

071905               3214 3186 3328 3470 3484 3370 3299 3200 3058 2930 2731 2460

072005               2019 1749 1579 1550 1507 1579 1749 1906 2147 2432 2787 3200

072005               3356 3598 3811 4053 4238 4266 4053 3655 3342 3200 2986 2531

072105               2233 1877 1650 1579 1550 1564 1721 1906 2062 2617 2787 3186

072105               3598 3797 3939 4039 4266 4281 4266 4181 3826 3698 3299 2887

072205               2503 2176 1920 1763 1778 1721 1849 2048 2304 2503 3001 3456

072205               3641 3740 3996 4124 4153 4210 4195 4124 3968 3726 3356 2986

072305               2688 2460 2176 1991 1963 2019 1977 2147 2460 3043 3527 3939

072305               4281 4252 3968 3826 3769 3555 3399 3285 3186 3157 2930 2588

072405               2332 2176 1934 1934 1820 1735 1721 1877 2219 2787 3100 3626

072405               3897 4110 4138 4124 4124 4181 3882 3584 3484 3114 2787 2418

072505               2005 1877 1664 1564 1550 1593 1749 1891 2034 2446 2802 3214

072505               3442 3698 3854 3968 4096 4195 4394 4010 3811 3612 3100 2816

072605               2347 2034 1849 1749 1707 1635 1792 1877 2091 2375 2873 3214

072605               3328 3584 3754 3897 4210 4295 4323 4138 3826 3626 3186 2745

072705               2418 2147 1948 1806 1749 1792 1877 1920 2219 2546 2844 3399

072705               3712 3939 4096 4266 4436 4500 4466 4281 4082 3754 3370 2944

072805               2617 2318 2133 1948 1891 1891 2076 2176 2247 2688 3129 3370

072805               3570 3655 4010 4167 4352 4494 4394 4153 3911 3698 3484 2915

072905               2517 2204 2076 1906 1835 1778 1991 2133 2204 2560 2958 3257

072905               3513 3740 3897 4053 4153 4238 3968 3584 3385 3242 2930 2659

073005               2190 1934 1721 1621 1593 1507 1621 1692 2176 2759 3114 3385

073005               3797 3868 4039 4053 4039 3868 3541 3427 3114 2887 2546 2403

073105               2034 1806 1635 1579 1436 1522 1493 1593 2133 2659 3129 3228

073105               3740 3882 3939 4067 4124 4025 3954 3783 3498 3100 2844 2389

080105               2185 1865 1726 1642 1531 1587 1837 2032 2171 2450 2853 3173

080105               3480 3758 3953 4050 3925 4023 3869 3730 3702 3480 3132 2686

080205               2213 1976 1823 1726 1684 1615 1879 2018 2088 2436 2895 3229

080205               3730 3758 3967 4287 4454 4579 4343 4106 3855 3535 3173 2742

080305               2338 2060 1809 1656 1628 1698 1865 2018 2060 2519 2853 3229

080305               3494 3675 3842 3953 4078 4148 4106 3925 3814 3591 3173 2700

080405               2408 2088 1823 1768 1712 1726 1837 2018 2102 2617 3020 3396

080405               3744 3828 4106 4217 4384 4315 4259 3995 3730 3494 3299 2867

080505               2394 2102 1976 1740 1698 1712 1879 1976 2116 2464 3006 3313

080505               3702 3828 4023 4064 4009 3786 3688 3466 3229 3048 2951 2519

080605               2269 1976 1754 1642 1545 1559 1615 1823 2157 2658 3132 3563

080605               4009 4370 4370 4524 4510 4148 3716 3438 3271 3034 2700 2394

080705               2088 1851 1698 1628 1559 1503 1601 1698 2018 2672 2951 3299

080705               3494 3716 3800 3480 3173 3132 3020 3020 3034 2742 2603 2269

080805               1851 1656 1475 1406 1420 1517 1865 1935 1865 2213 2533 2756

080805               3020 3243 3368 3466 3619 3633 3702 3438 3340 3271 2756 2366

080905               2046 1879 1628 1559 1489 1531 1851 1893 1921 2241 2714 2937

080905               3215 3494 3577 3605 3619 3619 3619 3688 3508 3173 2923 2478

081005               2088 1921 1782 1615 1628 1642 1949 2088 1949 2213 2756 2993

081005               3424 3688 3883 4134 4357 4454 4273 4106 3925 3647 3313 2672

081105               2394 2046 1963 1837 1768 1768 2060 2143 2157 2519 2895 3201

081105               3452 3828 3953 4092 4273 4343 4315 4134 3939 3786 3340 2867

081205               2491 2143 1963 1796 1796 1851 2060 2241 2213 2575 2923 3327

081205               3661 3981 3897 3716 3688 3702 3521 3327 3229 3201 2923 2478

081305               2227 1949 1740 1712 1615 1559 1601 1879 2185 2672 3257 3702

081305               3995 4315 4482 4607 4766 4705 4329 4120 3828 3549 3201 2951

081405               2617 2297 2060 1907 1823 1782 1740 1949 2324 3020 3508 3995

081405               4134 4217 4120 4217 4078 3828 3549 3466 3368 3076 2658 2255

081505               2046 1809 1642 1545 1545 1656 1879 2018 2046 2297 2728 3271

081505               3508 3883 4009 4134 4245 4524 4482 4162 3995 3772 3480 2965

081605               2547 2241 2130 2018 1990 1949 2213 2199 2241 2505 2965 3299

081605               3675 3828 4064 4412 4593 4685 4579 4454 4398 4078 3577 3076

081705               2798 2464 2143 2046 1963 2060 2171 2394 2617 2798 3076 3438

081705               3786 3967 4050 4287 4384 4524 4607 4524 4343 4036 3591 3104

081805               2770 2394 2199 2116 2004 2032 2297 2352 2450 2686 3076 3494

081805               3786 3828 4023 4287 4412 4412 4176 3967 3688 3549 3299 2770

081905               2394 2171 2004 1865 1851 1865 2130 2311 2380 2742 3146 3382

081905               3661 3967 4134 4287 4273 4384 4203 3911 3883 3605 3201 2867

082005               2491 2297 2157 1963 1907 1837 1935 2074 2533 3104 3647 4050

082005               4203 4287 4357 4287 4343 4148 3939 3438 3285 3090 2742 2547

082105               2171 1907 1754 1656 1628 1559 1573 1782 2269 2909 3313 3688

082105               4036 4078 4329 4482 4551 4663 4705 4384 4245 3897 3396 2867

082205               2561 2171 2032 1837 1865 1893 2116 2311 2380 2603 2923 3382

082205               3661 3675 3716 3842 4162 4370 4370 4217 3855 3619 3146 2700

082305               2269 2018 1837 1809 1768 1865 2088 2185 2255 2464 2909 3271

082305               3647 3869 4009 4106 4217 4412 4454 4134 3939 3549 3173 2672

082405               2269 2032 1976 1726 1740 1740 2088 2199 2213 2450 2853 3160

082405               3563 3716 3842 3995 4064 3953 3995 3828 3828 3577 3118 2672

082505               2311 2130 1935 1879 1796 1823 2241 2366 2505 2686 3034 3257

082505               3438 3396 3396 3466 3563 3842 3716 3605 3577 3410 3160 2686

082605               2338 2171 1935 1837 1879 1935 2185 2408 2547 2700 3062 3076

082605               3452 3744 3842 3967 4036 4023 3619 3299 3229 3048 2839 2561

082705               2338 2143 1949 1851 1726 1698 1726 1976 2464 2853 3215 3688

082705               3981 4120 4176 4162 4023 3953 3814 3591 3508 3201 2853 2700

082805               2450 2241 2046 1949 1963 1865 1879 2088 2491 3090 3438 3744

082805               3981 4245 4162 4134 4078 3925 3842 3619 3591 3438 3020 2617

082905               2185 1976 1851 1740 1796 1851 2157 2408 2338 2547 2937 3313

082905               3508 3814 3981 4009 4176 4384 4162 4009 3939 3591 3271 2812

083005               2519 2269 2088 2004 2004 2004 2338 2394 2478 2672 3020 3340

083005               3633 3647 3883 4050 4106 4148 4050 4106 3855 3508 3104 2658

083105               2380 2171 1976 1879 1865 1963 2199 2380 2324 2505 2853 3229

083105               3410 3438 3368 3299 3299 3271 3340 3229 3313 3104 2798 2450

090105               2424 2156 2071 2001 1916 2015 2325 2649 2480 2734 3016 3269

090105               3312 3537 3636 3636 3762 4016 4185 4171 4115 3819 3438 3044

090205               2691 2339 2100 1931 2001 2043 2269 2621 2480 2649 2959 3368

090205               3847 4115 4101 3988 3847 3932 3593 3396 3340 3241 2987 2691

090305               2480 2156 1874 1804 1719 1719 1804 2142 2508 3058 3452 3692

090305               4002 4340 4608 4692 4749 4678 4552 4087 3875 3523 3326 3030

090405               2635 2367 2156 2001 1860 1818 1790 2043 2494 3072 3593 4030

090405               4312 4354 4566 4678 4777 4763 4650 4072 4016 3664 3340 2931

090505               2621 2241 2015 1874 1761 1747 1719 1931 2353 3114 3509 3847

090505               4044 4101 4101 4227 4270 4650 4340 3960 3932 3579 3128 2762

090605               2269 1987 1804 1677 1719 1790 2086 2198 2297 2466 2804 3255

090605               3495 3622 3748 3974 3988 4143 3988 3847 3664 3481 3086 2677

090705               2410 2057 1959 1790 1733 1874 2142 2255 2269 2353 2621 2875

090705               3001 3297 3410 3607 3593 3762 3777 3565 3678 3565 3241 2720

090805               2381 2184 1888 1790 1747 2001 2311 2424 2325 2424 2551 2748

090805               2889 2973 3086 3354 3452 3650 3650 3537 3607 3410 3086 2677

090905               2283 2071 1931 1776 1747 1832 2142 2494 2198 2325 2522 2691

090905               2959 3114 3382 3678 3875 4143 3946 3692 3523 3354 3058 2649

091005               2339 2100 1761 1592 1522 1437 1592 1888 2396 2804 3128 3297

091005               3762 4157 4580 4862 4791 4791 4678 4368 3974 3622 3297 2875

091105               2494 2198 1902 1776 1649 1649 1733 1860 2283 2945 3241 3734

091105               3974 4397 4594 4749 4833 4988 4777 4397 4368 3819 3438 2720

091205               2410 1973 1804 1705 1649 1790 2001 2297 2241 2466 2748 3241

091205               3565 3903 4227 4368 4622 4932 4791 4537 4397 4129 3481 2959

091305               2579 2269 1987 1916 1860 2001 2241 2381 2452 2607 2903 3269

091305               3565 4016 4101 4580 4763 4904 4918 4467 4213 3748 3481 2762

091405               2311 2156 1902 1761 1818 1916 2198 2466 2367 2452 2706 3058

091405               3495 3833 4157 4382 4692 4777 4411 4270 4227 3875 3368 2691

091505               2198 1916 1832 1705 1635 1733 2057 2226 2156 2381 2677 3269

091505               3720 3960 4213 4495 4707 4819 4678 4509 4270 3875 3452 2818

091605               2396 2128 1902 1761 1691 1733 2015 2283 2198 2311 2635 3086

091605               3565 3819 4199 4453 4692 4791 4509 4157 3974 3607 3452 3030

091705               2565 2339 2071 1931 1719 1677 1790 1973 2480 2875 3382 3875

091705               4242 4481 4876 5045 5045 5157 5045 4636 4453 3960 3593 3269

091805               2635 2297 2128 1987 1832 1761 1790 1945 2452 3171 3607 3861

091805               4481 4749 4946 5129 5339 5242 5172 4946 4622 4227 3692 3001

091905               2663 2311 2184 1987 1902 1959 2367 2579 2480 2818 3072 3523

091905               3903 4242 4467 4636 5022 4974 4791 4509 4580 4256 3748 3072

092005               2706 2438 2226 2086 1959 2086 2325 2593 2522 2875 2987 3312

092005               3692 3819 3847 3819 3791 3847 3903 3748 3819 3622 3326 2846

092105               2607 2339 2142 1987 2015 2128 2508 2621 2438 2536 2607 2959

092105               3255 3396 3452 3593 3579 3579 3523 3438 3607 3410 3001 2579

092205               2381 2198 1973 1902 1874 2100 2339 2607 2508 2536 2706 2790

092205               2917 2889 2846 2917 2987 3185 3227 3157 3481 3382 2903 2551

092305               2170 1916 1790 1677 1719 1888 2184 2438 2410 2522 2452 2706

092305               2931 3255 3467 3593 3861 4143 3960 3777 3481 3171 3157 2663

092405               2508 2142 1902 1860 1776 1747 1747 2071 2494 2903 3326 4016

092405               4256 4509 4650 4847 4932 4777 4495 4199 4002 3748 3255 2846

092505               2565 2100 1832 1747 1705 1592 1747 1818 2184 2959 3368 3861

092505               4072 4284 4608 4777 5045 5059 4707 4439 4340 3903 3410 2889

092605               2353 2029 1860 1776 1663 1719 2086 2198 2311 2381 2818 3044

092605               3438 3988 4058 4439 4805 4847 4904 4495 4284 3777 3199 2663

092705               2170 1945 1733 1635 1649 1804 2114 2226 2184 2353 2677 2987

092705               3382 3791 3889 4242 4580 4749 4537 4326 4298 3903 3171 2565

092805               2114 1931 1733 1606 1536 1719 2086 2311 2255 2381 2734 3016

092805               3354 3748 3875 3917 3748 3946 4087 3875 3777 3452 2917 2452

092905               2029 1691 1536 1423 1451 1578 1959 2086 2170 2212 2579 2931

092905               3312 3819 4002 4185 4495 4777 4721 4467 4312 3777 3297 2691

093005               2198 1959 1761 1621 1592 1705 2114 2339 2198 2494 2889 3255

093005               3650 3819 4115 4227 4425 4552 4397 4058 3791 3734 3467 3016

100105               2523 2161 1966 1826 1826 1826 1854 2063 2551 3151 3471 3862

100105               4099 4322 4656 4712 4600 4642 4405 4196 3973 3666 3304 3011

100205               2537 2258 2077 1882 1882 1840 1882 2049 2440 3220 3722 3876

100205               4266 4489 4755 4740 4642 4447 4210 4015 4099 3666 3192 2746

100305               2314 1966 1840 1757 1757 1896 2244 2523 2328 2649 2844 3234

100305               3402 3666 3848 3806 4182 4294 4419 4224 3931 3513 3192 2537

100405               2244 1980 1826 1715 1729 1812 2231 2370 2244 2342 2551 2621

100405               2816 2872 3123 3179 3360 3485 3471 3416 3416 3165 2830 2286

100505               2063 1812 1659 1561 1547 1701 2189 2509 2286 2384 2454 2635

100505               2830 2997 3192 3262 3402 3443 3388 3680 3653 3429 3053 2607

100605               2231 1868 1757 1631 1631 1812 2161 2454 2175 2300 2481 2468

100605               2732 2928 3234 3262 3179 3457 3457 3485 3388 3206 2969 2509

100705               2119 1896 1784 1659 1631 1743 2161 2468 2300 2328 2328 2537

100705               2844 3095 3192 3332 3569 3778 3443 3346 3290 3053 2914 2523

100805               2203 1966 1924 1743 1687 1617 1659 2021 2495 2969 3234 3332

100805               3611 3639 3889 3750 3736 3889 3764 3694 3499 3304 3081 2565

100905               2412 2119 1812 1743 1631 1617 1770 1924 2203 2928 3262 3527

100905               3959 4057 4363 4461 4475 4461 4363 4099 3917 3513 3137 2621

101005               2231 2007 1924 1743 1715 1840 2119 2426 2384 2481 2677 2900

101005               3248 3541 3931 4043 4450 4461 4391 4224 4057 3750 3248 2718

101105               2314 2035 1798 1659 1645 1757 2133 2189 2175 2356 2607 2830

101105               3290 3513 3680 3653 3903 4113 4001 3917 3653 3569 3123 2677

101205               2189 1924 1701 1645 1645 1784 2147 2300 2244 2286 2579 2732

101205               2983 3067 3123 3346 3611 3597 3499 3443 3388 3332 3081 2607

101305               2258 1966 1715 1645 1673 1729 2049 2119 2147 2244 2286 2481

101305               2607 2872 3039 3248 3541 3806 3764 3708 3569 3388 3109 2593

101405               2161 1854 1743 1603 1561 1631 1952 1994 1994 2231 2440 2705

101405               2955 3081 3527 3653 3820 3806 3611 3402 3234 3025 2649 2231

101505               1924 1547 1422 1310 1283 1241 1283 1575 1910 2231 2286 2718

101505               2816 3192 3527 3653 3917 3903 3736 3332 3165 2830 2593 2244

101605               1770 1492 1310 1213 1129 1087 1171 1296 1715 2119 2468 2774

101605               3067 3053 3290 3694 3792 3694 3569 3402 3262 2886 2342 1938

101705               1533 1310 1185 1129 1129 1227 1645 1784 1673 1840 1966 2091

101705               2370 2607 3011 3262 3569 3736 3555 3471 3332 3123 2551 2091

101805               1631 1366 1227 1143 1157 1310 1729 1729 1784 1770 2021 2049

101805               2426 2816 3053 3443 3680 3792 3764 3625 3332 3053 2356 2049

101905               1575 1380 1269 1227 1199 1324 1798 1924 1896 1980 1980 2147

101905               2440 2746 2969 3206 3290 3374 3374 3360 3569 3220 2816 2370

102005               1938 1770 1561 1506 1478 1492 2007 2147 2063 2133 2537 2844

102005               3165 3485 3778 4043 4154 4224 4085 3889 3694 3597 3095 2412

102105               2133 1896 1757 1603 1547 1659 2049 2272 2203 2300 2481 2788

102105               3081 3067 3206 3346 3402 3443 3220 3137 2997 2914 2635 2175

102205               1924 1770 1575 1506 1506 1478 1478 1701 2133 2412 2816 3053

102205               3304 3555 3653 3708 3820 3736 3708 3443 3388 3123 2802 2481

102305               2175 1994 1757 1673 1561 1631 1673 1812 2161 2481 2677 2997

102305               3262 3318 3374 3429 3583 3625 3485 3457 3234 3109 2788 2272

102405               1938 1812 1589 1506 1492 1422 1520 1533 1617 1840 2077 2063

102405               2035 1966 1994 1938 1938 2147 2300 2468 2342 2035 1589 1380

102505               1171 1073 1101 1073 1157 1296 1896 2147 1980 1826 1729 1547

102505               1589 1603 1464 1436 1561 1840 1994 2440 2133 2105 1924 1770

102605               1450 1324 1241 1269 1408 1743 2314 2537 2286 2007 1840 1812

102605               1743 1547 1408 1450 1701 1854 2063 2314 2244 2244 1980 1617

102705               1422 2537 1310 1436 1715 2412 2579 2300 1980 1701 1603 1533

102705               1520 1436 1450 1687 2035 2203 2384 2272 2077 1952 1589 1324

102805               1199 1171 1199 1283 1520 1896 2133 1980 1980 1840 1687 1645

102805               1687 1659 1729 1854 1938 1910 2105 1980 1840 1812 1645 1394

102905               1255 1143 1171 1227 1283 1380 1854 2161 2356 2175 2007 1896

102905               1882 1952 2175 2147 2258 2189 2077 1966 1994 1687 1506 1255

103005               1185 1185 1185 1115 1115 1296 1492 1896 2258 2426 2189 2077

103005               1966 2035 2091 2007 2161 2342 2426 2495 2217 2133 1770 1394

103105               1171 1046 1087  962 1073 1324 1952 1994 1770 1729 1812 1687

103105               1673 1673 1757 1812 1812 2105 2258 2161 2105 1994 1729 1338

110105               1229 1099  969 1012 1128 1301 1793 1952 1836 1778 1793 1706

110105               1836 1894 1865 1807 2053 2501 2718 2646 2646 2270 2053 1720

110205               1344 1099 1041 1070 1113 1330 1908 2053 1894 1778 1749 1749

110205               1923 1952 2067 2111 2226 2400 2544 2530 2400 2197 1807 1460

110305               1272 1070  983  983 1055 1171 1923 2024 1865 1894 1865 1865

110305               1836 2096 2154 2154 2472 2588 2964 2819 2674 2313 2053 1619

110405               1316 1099 1055 1041 1157 1272 1850 2096 1879 1865 2038 2053

110405               2067 2226 2299 2356 2400 2458 2703 2617 2487 2154 1908 1605

110505               1330 1200 1099 1041 1070 1084 1229 1793 2284 2371 2385 2472

110505               2718 2877 2978 3050 2978 2920 2805 2660 2472 2299 2168 1735

110605               1417 1243 1113 1099 1113 1113 1373 1648 2125 2443 2703 2819

110605               3152 3311 3368 3399 3267 3180 3325 3282 3180 2588 2111 1749

110705               1402 1200 1113 1084 1041 1258 1735 1966 1937 1981 2183 2168

110705               2299 2356 2660 2689 2862 3108 3267 3166 3065 2703 2226 1749

110805               1518 1344 1287 1229 1214 1446 1822 1995 1995 2140 2154 2342

110805               2458 2530 2747 2854 2964 3152 3137 3137 2978 2703 2414 1894

110905               1590 1272 1142 1142 1243 1388 1952 2053 1923 2096 2197 2313

110905               2487 2617 2891 2920 2776 2862 2949 2992 2805 2689 2154 1662

111005               1258 1084  997  997 1012 1185 1691 1778 1850 1865 1822 1923

111005               2024 2140 2342 2443 2674 2848 2819 2819 2761 2588 2082 1691

111105               1344 1185 1128 1041 1041 1272 1706 1923 1966 1952 1850 1778

111105               1894 2082 2038 2154 2197 2342 2602 2342 2125 2024 1807 1489

111205               1157 1084  954  969  969 1142 1142 1590 2140 2241 2212 2385

111205               2226 2327 2385 2530 2530 2487 2776 2660 2487 2284 2009 1662

111305               1359 1171 1055  997 1012 1070 1200 1489 1879 2226 2356 2443

111305               2617 2674 2747 2819 2747 2833 2992 3021 2790 2443 1879 1547

111405               1243 1128 1070 1026 1099 1287 1735 1836 1778 1850 1822 1966

111405               1937 2024 2067 2024 2183 2472 3094 3021 2747 2515 2226 1648

111505               1446 1258 1157 1099 1128 1373 1822 2067 2024 1850 1981 2284

111505               2212 2226 2472 2559 2646 2920 3123 2949 2848 2588 2241 1850

111605               1475 1258 1185 1157 1214 1402 1807 1908 1952 1966 2067 2299

111605               2385 2501 2617 2776 2862 2920 2906 3021 2805 2646 2226 1778

111705               1460 1243 1185 1113 1142 1344 1923 1937 1865 1879 1865 1691

111705               1677 1648 1706 1662 1793 2038 2588 2689 2429 2313 2053 1648

111805               1229 1055  983 1070 1171 1648 2038 2168 2096 1793 1735 1662

111805               1648 1634 1634 1764 1952 1995 2212 2472 2299 2197 2009 1648

111905               1330 1200 1099 1084 1157 1258 1518 1822 2241 2342 2327 2226

111905               2038 2168 2183 2197 2226 2443 2588 2501 2501 2284 2111 1764

112005               1489 1229 1099 1142 1099 1099 1272 1460 2096 2197 2414 2530

112005               2559 2544 2573 2646 2660 2776 3021 2862 2833 2501 2183 1836

112105               1547 1359 1258 1258 1258 1431 1923 2140 2327 2270 2168 2371

112105               2356 2241 2327 2183 2111 2270 2472 2544 2458 2342 2140 1561

112205               1359 1373 1287 1330 1359 1518 2140 2313 2284 2053 1865 1648

112205               1648 1576 1503 1605 1677 2082 2472 2458 2588 2327 2125 2038

112305               1648 1503 1518 1590 1662 1995 2631 3311 3050 2848 2443 2082

112305               1966 1995 1865 1894 2111 2385 2631 2805 2689 2617 2588 2168

112405               1981 1793 1605 1561 1518 1619 1691 2443 2805 3036 2978 3079

112405               3094 2978 2877 2414 2356 2154 2299 2385 2270 2009 1822 1590

112505               1301 1084 1070 1012 1099 1200 1460 1735 1778 2067 2140 2154

112505               2125 2024 2212 2212 2458 2371 2487 2241 2168 2125 1764 1619

112605               1344 1200 1214 1142 1243 1388 1648 2024 2327 2400 2096 1995

112605               2053 2168 2197 2313 2255 2299 2472 2371 2270 2140 1995 1720

112705               1373 1229 1157 1055 1084 1099 1287 1503 1894 2140 2313 2197

112705               2270 2241 2183 2284 2241 2631 2891 2992 2848 2573 2125 1489

112805               1301 1099 1055  997 1026 1214 1749 1822 1894 1836 1865 1981

112805               2111 1995 1995 2096 2342 2718 2935 2862 2631 2530 2226 1822

112905               1489 1272 1185 1128 1128 1388 1822 2082 2024 1894 1822 1865

112905               1850 1894 1865 2125 2125 2299 2805 2906 2862 2472 2154 1778

113005               1388 1171 1128 1070 1185 1344 1937 2009 1966 1836 1706 1547

113005               1634 1590 1735 1822 1923 2299 2674 2617 2776 2573 2255 1908

120105               1255 1142 1128 1198 1311 1537 2227 2396 2072 1649 1522 1311

120105               1353 1297 1156 1184 1339 1635 2100 2058 2058 2227 1959 1776

120205               1649 1537 1452 1452 1565 1720 2425 2396 1988 1833 1522 1396

120205               1311 1311 1353 1255 1438 1734 2100 2030 2016 2157 2171 1945

120305               1734 1748 1748 1706 1903 1988 2086 2523 2566 2566 2171 2030

120305               1748 1678 1692 1607 1706 1748 1748 1833 1833 1833 1776 1649

120405               1537 1367 1226 1283 1226 1269 1565 1818 1988 2002 1861 1776

120405               1649 1692 1818 1607 1875 1974 2241 2185 1959 1706 1452 1269

120505               1071  888  860  846  902 1071 1565 1692 1508 1396 1367 1297

120505               1283 1297 1353 1410 1438 1748 2157 2270 2100 1762 1480 1170

120605                973  874  804  733  747  944 1466 1621 1452 1325 1353 1339

120605               1226 1226 1184 1241 1353 1692 2016 2072 2213 2058 1889 1621

120705               1438 1212 1100 1071 1057 1396 1847 1861 1692 1537 1480 1381

120705               1339 1297 1339 1410 1452 1903 2072 1974 1889 1959 1621 1156

120805               1001  832  804  846  902 1128 1424 1734 1593 1466 1410 1452

120805               1367 1410 1325 1297 1353 1607 1974 1917 1889 1776 1593 1297

120905               1029  804  761  733  832  959 1311 1537 1621 1438 1367 1339

120905               1396 1297 1367 1452 1522 1762 1847 1734 1720 1706 1593 1396

121005               1100  973 1043 1071 1085 1212 1424 1706 2086 2016 1931 1790

121005               1635 1635 1678 1410 1579 1861 2241 2044 1861 1875 1847 1522

121105               1297 1170 1071 1142 1085 1128 1396 1649 2072 2002 2129 2115

121105               2326 2199 2129 2044 1959 2284 2523 2509 2439 2326 2072 1903

121205               1663 1720 1635 1762 1833 2509 2960 3172 2721 2143 1875 1861

121205               1663 1466 1424 1452 1861 2326 2848 2692 2580 2608 2312 1959

121305               1847 1635 1762 1748 1988 2255 2636 2791 2453 2030 1720 1593

121305               1508 1367 1255 1353 1452 2002 2481 2594 2749 2819 2566 2298

121405               2213 1959 2115 2072 2143 2594 3101 3172 2594 2030 1847 1452

121405               1367 1184 1184 1184 1396 1762 2171 2199 2129 2030 1959 1537

121505               1255 1226 1170 1156 1226 1452 1988 2086 1847 1593 1522 1353

121505               1367 1184 1198 1170 1269 1635 1847 1903 1833 1818 1607 1325

121605               1015  860  818  804  874 1226 1663 1931 1875 1804 1635 1452

121605               1537 1522 1480 1424 1522 1903 2382 2312 2326 2284 2157 2058

121705               1593 1537 1565 1508 1522 1537 1748 1945 2298 2425 2439 2312

121705               2298 2199 2058 2044 2002 2227 2298 2100 2058 1818 1635 1522

121805               1353 1085 1029 1015  973 1128 1311 1438 1776 1931 1931 1917

121805               2086 2030 1959 2016 2185 2115 2340 2312 2411 2270 1889 1678

121905               1325 1156 1198 1142 1212 1438 1903 2002 2143 2227 2185 2030

121905               1847 1889 1621 1678 1790 2115 2523 2636 2622 2622 2368 2241

122005               1889 1818 1776 1790 1931 2115 2481 2805 2862 2749 2509 1959

122005               1692 1424 1579 1508 1663 1974 2396 2439 2340 2552 2241 2058

122105               1833 1720 1776 1748 1847 2241 2537 2678 2904 2650 2298 2129

122105               1974 1804 1734 1593 1776 2340 2904 2974 3242 3129 2974 2608

122205               2523 2340 2411 2382 2763 3059 3454 3637 3510 3129 2453 2227

122205               1974 1833 1818 1790 1988 2298 2678 2904 3059 3228 2960 2608

122305               2453 2523 2495 2481 2678 2918 3341 3581 3896 3214 2636 2340

122305               2044 1706 1593 1551 1635 2030 2594 2608 2566 2636 2594 2622

122405               2284 2115 2213 2100 2199 2340 2580 3172 3355 3327 2848 2382

122405               2199 1974 1833 1833 1889 2030 2312 2044 2227 2129 1974 1706

122505               1353 1297 1170 1057 1114 1100 1198 1565 1945 2072 2115 2227

122505               2058 2185 2143 1988 1945 1833 2058 2199 2086 1917 1804 1494

122605               1283 1170 1198 1311 1396 1522 1635 2002 2453 2425 2326 2143

122605               2030 1974 1804 1776 1734 2115 2411 2453 2566 2566 2523 2199

122705               2199 2044 2002 2227 2298 2608 2918 3214 3313 2735 2453 2185

122705               1861 1706 1635 1551 1593 2016 2340 2495 2523 2721 2439 2453

122805               2411 2241 2241 2270 2326 2453 2848 2932 2862 2735 2213 1748

122805               1579 1466 1424 1438 1466 1635 2002 2100 2030 2129 1847 1551

122905               1381 1226 1114 1029 1071 1198 1522 1565 1649 1734 1579 1579

122905               1551 1494 1353 1339 1410 1522 1833 1917 1917 1833 1889 1635

123005               1438 1424 1607 1466 1593 1706 1931 2509 2664 2439 2115 1945

123005               1762 1565 1424 1367 1635 1861 2016 2030 1833 1917 1833 1818

123105               1663 1410 1480 1424 1410 1494 1551 1790 1959 2044 1945 1790

123105               1818 1875 1833 1762 1861 1903 2129 2171 1903 1762 1565 1551

010106               1506 1380 1157 1046 1073 1115 1143 1283 1659 2035 1966 2035

010106               2175 2063 2147 2077 2049 2077 2384 2370 2370 2189 1854 1506

010206               1241 1073  920  948  948  990 1185 1366 1743 1868 1840 1882

010206               2007 2021 2063 2286 2244 2356 2481 2467 2342 2133 1938 1575

010306               1213  976  920  906  948 1115 1394 1519 1673 1603 1631 1701

010306               1743 1882 1715 1784 1896 2077 2426 2286 2119 2063 1784 1310

010406               1129  948  962  976 1004 1324 2049 2328 2091 1952 1589 1478

010406               1450 1436 1394 1394 1561 1743 2189 2244 2342 2147 1840 1617

010506               1422 1352 1478 1408 1436 1729 2467 2732 2426 2021 1715 1589

010506               1450 1450 1436 1422 1603 1910 2203 2203 2258 1896 1826 1506

010606               1352 1157 1129 1255 1450 1840 2384 2704 2481 2161 2021 1952

010606               1715 1770 1673 1756 1924 2398 2927 3053 2983 2872 3248 2941

010706               2788 2858 2718 2830 3011 3192 3471 4015 4224 3987 3806 3206

010706               2788 2649 2537 2412 2579 2802 3290 3569 3541 3541 3527 3457

010806               3318 3220 3276 3443 3555 3903 4168 4419 4659 4280 3527 2900

010806               2551 2356 1993 2049 2147 2384 2760 2886 2900 2927 2690 2509

010906               2453 2370 2537 2579 2816 3332 3583 4029 3680 2788 2147 1966

010906               1575 1506 1450 1380 1589 1840 2481 2426 2384 2161 1966 1770

011006               1575 1450 1519 1436 1492 1993 2440 2481 2272 1980 1743 1506

011006               1380 1310 1394 1450 1533 1840 2133 2077 2147 1798 1575 1366

011106               1129 1004  864  920 1087 1366 1701 2119 1770 1687 1631 1450

011106               1380 1380 1450 1464 1533 1743 2021 2217 1980 1910 1617 1338

011206               1032  906  892  948 1032 1338 1743 1840 1868 1812 1506 1422

011206               1408 1352 1422 1547 1561 1701 1980 2077 2077 1812 1729 1464

011306               1073  878  850  906  920 1227 1617 1993 1743 1547 1478 1394

011306               1422 1283 1338 1380 1478 1701 1980 2007 1938 1770 1547 1380

011406               1157  934  976 1032 1157 1310 1380 2091 2537 2635 2467 2467

011406               2286 2175 2035 1896 2035 2286 2858 2816 2900 2746 2746 2774

011506               2607 2677 2621 2690 2830 2927 3360 3652 4001 3806 3304 2872

011506               2565 2203 2007 2007 1980 2161 2537 2677 2816 2760 2635 2453

011606               2217 2077 2133 2147 2272 2802 2872 3164 3374 2886 2565 2300

011606               1980 1798 1826 1673 1673 1882 2272 2440 2607 2384 2147 2021

011706               1673 1561 1617 1645 1715 2077 2690 2649 2426 2091 1756 1492

011706               1422 1283 1255 1394 1547 1673 2063 2230 2091 1812 1645 1366

011806               1073  920  892  906  976 1310 1854 2133 1993 1924 1826 1659

011806               1575 1547 1631 1575 1812 2258 2788 3137 3039 3137 3276 2941

011906               2844 2872 2969 3053 3262 3848 4280 4203 3750 3039 2481 2007

011906               1826 1561 1394 1380 1533 1910 2300 2328 2328 2258 1826 1659

012006               1366 1324 1394 1380 1603 1896 2314 2398 2161 1826 1673 1506

012006               1450 1366 1338 1478 1519 1854 2133 1896 1826 1715 1687 1380

012106               1185  934  920  864  906 1004 1046 1394 1756 1910 1924 1854

012106               1770 1896 1896 1868 1910 1980 2217 2272 1882 1770 1687 1478

012206               1143 1004  892  864  850  948 1032 1171 1547 2049 1993 2049

012206               2189 2189 2258 2314 2384 2370 2621 2523 2412 2342 1896 1631

012306               1324 1087 1018  990 1032 1213 1687 1798 1715 1659 1645 1743

012306               1715 1729 1729 1868 2049 2161 2509 2579 2356 2203 1868 1519

012406               1241  990  920  878  976 1032 1561 1701 1617 1687 1561 1533

012406               1464 1547 1506 1575 1826 2063 2314 2272 2105 2035 1743 1338

012506               1129  892  864  878  976 1296 1715 1924 1756 1631 1533 1478

012506               1394 1408 1338 1506 1701 1882 2258 2189 2258 2035 1980 1784

012606               1492 1450 1492 1603 1701 2217 2927 3262 2788 2412 2049 1840

012606               1617 1519 1394 1380 1673 1938 2384 2579 2300 2189 2105 1938

012706               1770 1687 1729 1673 1882 2244 2941 3137 2593 2119 1896 1756

012706               1743 1519 1478 1533 1603 1756 2035 2007 2091 2007 1924 1798

012806               1659 1492 1617 1617 1603 1784 1993 2481 2690 2607 2495 1882

012806               1770 1631 1673 1743 1756 1729 1966 2035 2021 1826 1812 1450

012906               1296 1171 1171 1241 1143 1185 1450 1575 1840 2230 2021 2161

012906               1966 1743 1840 1938 2105 2091 2356 2328 2370 1938 1729 1380

013006               1046  878  878  836  822 1101 1519 1756 1687 1547 1519 1464

013006               1659 1561 1589 1589 1770 1924 2161 2258 2175 2217 1673 1450

013106               1157 1046  990 1004 1087 1380 1896 1980 1784 1729 1715 1478

013106               1533 1436 1366 1394 1575 1687 2063 2412 2300 2314 2175 1952

020106               1802 1773 1929 2029 2170 2709 3461 3518 3234 2695 2071 1603

020106               1603 1461 1404 1475 1603 1887 2142 2369 2355 2355 2170 1773

020206               1575 1490 1532 1504 1646 1873 2298 2355 2029 1759 1490 1475

020206               1404 1333 1390 1319 1504 1688 2071 2156 2043 2114 1660 1461

020306               1149  908  894  922  950 1007 1504 1646 1575 1646 1660 1716

020306               1532 1575 1575 1674 1844 2114 1972 2071 1915 1716 1560 1362

020406               1177 1036  950  894 1007 1092  993 1319 1745 2029 2057 2114

020406               2043 1901 1943 1915 1915 2142 2341 2497 2326 2213 2383 2071

020506               1816 1787 1759 1787 1958 2170 2553 2766 2965 2866 2809 2468

020506               2454 2284 2185 1986 2000 2227 2511 2539 2709 2709 2610 2284

020606               2000 2071 2000 2156 2397 2539 3334 3561 3121 2369 2071 1816

020606               1461 1518 1404 1461 1490 1646 2256 2525 2397 2213 1943 1716

020706               1518 1475 1490 1560 1631 2057 2639 2483 2085 1943 1830 1532

020706               1390 1404 1490 1490 1660 1958 2256 2511 2483 2483 2099 2099

020806               1929 1943 1986 2085 2298 2851 3589 3561 3178 2979 2610 2142

020806               1716 1660 1518 1575 1773 2071 2582 3319 3249 3263 2965 2936

020906               2639 2709 2780 2908 3036 3220 4185 4000 3660 2851 2156 1844

020906               1631 1447 1447 1404 1716 1887 2412 2568 2766 2837 2837 2752

021006               2639 2639 2738 2880 3064 3646 4213 4256 3433 2837 2341 2000

021006               1674 1518 1419 1390 1603 1773 2071 2170 2270 2468 2440 2128

021106               2071 2085 2085 2270 2369 2468 2639 3220 3277 3036 2766 2397

021106               2185 2099 2057 2128 2156 2284 2468 2256 2256 2312 2227 2014

021206               1887 1887 1830 2043 2085 2440 2851 3263 3859 4114 3816 3476

021206               3433 3362 3234 3121 3277 3532 4156 4171 4355 4270 4100 3702

021306               3461 3390 3376 3603 3745 4256 4965 4852 4156 3646 3334 2695

021306               2355 2284 2099 2128 2270 3064 3731 4057 4426 4185 4369 4284

021406               4015 4114 4199 4483 4837 5093 5731 5437 4724 4128 3319 2639

021406               2440 2114 1858 1816 2057 2355 2837 3447 3419 3603 3376 3050

021506               2965 2979 2979 3192 3518 3929 4383 4071 3646 2922 2256 1716

021506               1532 1475 1390 1319 1433 1688 2043 2170 2270 2241 1873 1617

021606               1532 1490 1518 1560 1830 2270 2866 2851 2525 2029 1773 1518

021606               1518 1404 1305 1404 1560 1660 2199 2213 2000 1958 1575 1348

021706               1177 1064 1064 1050 1135 1333 1858 1929 1915 1901 1887 1589

021706               1490 1504 1447 1532 1660 1929 2057 1858 1716 1702 1504 1291

021806               1050  979  979  936  979 1163 1263 1745 1986 2000 2000 1958

021806               1660 1773 1858 1915 2000 1943 2156 2014 1787 1773 1660 1475

021906               1163 1021  936  851  851 1036 1092 1305 1745 1901 1986 1901

021906               2057 1887 1887 1887 1929 1986 2142 2241 2099 1830 1816 1376

022006               1220 1021  965  979 1050 1248 1589 1773 1873 2128 1972 1858

022006               1589 1589 1532 1631 1858 2014 2256 2412 2312 2000 1631 1362

022106               1106  851  823  809  880 1121 1560 1773 1560 1646 1447 1319

022106               1348 1461 1447 1589 1674 2000 2227 2497 2355 2128 1773 1447

022206               1149  936  894  880  993 1163 1617 1731 1702 1603 1404 1433

022206               1490 1631 1660 1745 1972 2142 2369 2582 2468 2170 1787 1447

022306               1135  993  922  908  965 1206 1546 1660 1603 1603 1688 1787

022306               1787 1773 1858 1858 2099 2213 2426 2553 2412 2156 1830 1504

022406               1277 1050  965  894  936 1021 1575 1858 1589 1646 1646 1532

022406               1362 1575 1504 1518 1731 1816 2014 1986 1943 1830 1674 1433

022506               1277 1064 1021  979  950 1078 1121 1532 1745 1929 1915 1816

022506               1858 1873 2057 2227 2241 2199 2142 2057 2071 1929 1901 1674

022606               1319 1106 1007  950  965  979 1050 1206 1674 1901 2000 2128

022606               2213 2029 2142 2085 2128 2057 2355 2610 2483 2383 2014 1603

022706               1475 1305 1348 1419 1490 2057 3007 3220 2908 2369 2000 1787

022706               1546 1475 1348 1362 1674 1858 2029 2511 2497 2270 2099 1702

022806               1490 1447 1504 1560 1688 2170 3064 3149 2511 2156 1802 1546

022806               1504 1475 1475 1532 1617 1759 2000 2185 2000 1972 1816 1490

030106               1407 1234 1335 1349 1478 1766 2411 2512 2225 1852 1780 1478

030106               1407 1421 1622 1766 1780 2010 2167 2340 2024 2038 1794 1378

030206               1163 1048 1120 1033 1206 1478 2038 2254 1952 1679 1579 1478

030206               1421 1522 1608 1737 1737 1852 2282 2268 2182 2139 1895 1435

030306               1177 1005  904  990  990 1120 1493 1737 1651 1651 1722 1622

030306               1694 1694 1823 1880 1952 2139 2182 2469 2254 2167 1852 1622

030406               1349 1048 1062 1062  962 1091 1206 1766 2024 2081 2096 2196

030406               1909 1880 1995 1966 1938 1981 2167 2254 2038 1852 1794 1622

030506               1364 1220 1048 1163 1191 1349 1737 1938 2325 2455 2139 2139

030506               2010 2010 1952 2024 1966 2067 2239 2469 2512 2268 1923 1464

030606               1206 1062 1062 1134 1148 1435 2067 2153 1952 1665 1708 1708

030606               1522 1550 1593 1593 1895 1966 2297 2498 2397 2081 1823 1306

030706               1091  990  919  904 1005 1134 1722 1852 1737 1722 1593 1478

030706               1349 1292 1421 1493 1708 1966 2225 2354 2282 2139 1909 1593

030806               1392 1335 1364 1478 1550 1880 2742 2957 2354 2096 1880 1722

030806               1507 1522 1493 1593 1737 1952 2081 2067 2010 2053 1737 1507

030906               1220 1148 1120 1177 1220 1478 2239 2268 2010 1737 1622 1536

030906               1565 1478 1507 1679 1708 1866 2010 2354 2096 2081 1780 1378

031006               1105  962  904  847  962 1105 1593 1780 1722 1636 1794 1708

031006               1694 1880 1938 2096 2124 2268 2282 2210 2067 1895 1708 1522

031106               1277 1148 1033  933  933  990 1191 1507 1766 1938 2124 2254

031106               2239 2426 2641 2727 2856 2828 2612 2440 2368 2153 1909 1622

031206               1435 1220 1048 1005  976  990 1191 1421 1880 2225 2440 2512

031206               2541 2612 2670 2799 2785 2627 2785 2914 2612 2110 1909 1593

031306               1364 1120 1062  976 1048 1148 1665 1722 1794 1823 1966 2096

031306               2124 2139 2340 2282 2541 2670 2828 2986 2756 2426 2124 1722

031406               1364 1120 1048 1033 1033 1206 1565 1622 1679 1823 2096 2124

031406               2210 2225 2411 2455 2655 2655 2655 2899 2799 2469 2167 1665

031506               1292 1091  976  933  933 1120 1622 1665 1837 1737 1722 1579

031506               1536 1536 1636 1837 1909 1952 2225 2268 2167 1909 1794 1435

031606               1191 1077  990 1033 1091 1378 1809 1809 1780 1679 1737 1579

031606               1579 1665 1837 1966 2081 2196 2225 2225 2110 2038 1880 1450

031706               1134 1019  976  919  976 1033 1392 1593 1679 1679 1809 1766

031706               1895 1823 1909 2038 2325 2526 2282 2182 2182 1981 1780 1493

031806               1421 1120 1077  976 1005 1048 1177 1478 1909 2139 2239 2210

031806               2397 2325 2426 2584 2598 2584 2426 2268 1952 1866 1694 1407

031906               1120 1048  990  947  976 1005 1234 1450 1809 2038 2024 1995

031906               2268 2268 2210 2225 2311 2440 2411 2742 2440 2153 1823 1435

032006               1306 1091 1005  976 1019 1091 1536 1809 1593 1751 1952 2024

032006               2110 2239 2297 2498 2541 2684 2856 2871 2670 2340 2053 1593

032106               1277 1134 1077 1077 1091 1234 1550 1751 1895 1923 1995 2081

032106               2210 2254 2397 2440 2612 2612 2899 2790 2699 2426 2182 1722

032206               1450 1277 1148 1033 1048 1105 1622 1837 1665 1722 1766 1708

032206               1794 1895 1952 2124 2282 2411 2268 2526 2225 1966 1708 1306

032306               1033  861  847  847  861 1148 1507 1722 1679 1507 1493 1464

032306               1608 1550 1536 1579 1809 1722 2053 1995 1895 1895 1722 1335

032406               1120  990  919  861  876 1077 1565 1679 1665 1751 1679 1809

032406               1665 1679 1536 1579 1737 1809 1780 1837 1780 1780 1507 1435

032506               1249 1105 1091 1148 1191 1407 1478 2010 2297 2282 2383 2239

032506               1895 1866 1866 1880 1837 1852 1938 2325 2124 2024 1794 1593

032606               1536 1493 1421 1478 1694 1751 2182 2469 2655 2627 2239 2053

032606               2038 1780 1708 1608 1737 1852 2210 2411 2440 2282 2239 1780

032706               1550 1550 1665 1665 1809 2354 3057 3178 2684 2124 1995 1794

032706               1694 1550 1392 1550 1708 1895 2167 2167 1995 1866 1751 1522

032806               1277 1148 1220 1234 1478 1751 2483 2282 1966 1809 1665 1464

032806               1450 1435 1507 1565 1794 1880 2139 2139 2053 1952 1579 1335

032906               1062  933  876  876  919 1249 1880 1880 1794 1780 1622 1679

032906               1622 1694 1823 1880 2153 2225 2282 2469 2239 1966 1880 1263

033006               1091  947  861  876  890 1120 1565 1622 1622 1593 1694 1694

033006               1679 1923 2038 2038 2254 2340 2354 2455 2239 2225 1780 1478

033106               1177  962  861  876  904 1134 1536 1794 1751 1794 1895 1809

033106               1852 1823 2038 2053 2455 2498 2311 2469 2268 1952 1809 1651