BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

DIRECT TESTIMONY OF

KENT D. HEDRICK

ON BEHALF OF

PROGRESS ENERGY FLORIDA

DOCKET NO. 060007-EI

SEPTEMBER 1, 2006

Q.	Please state your name and business address,

A.	My name is Kent D. Hedrick.  My business address is Post Office Box 14042, St. Petersburg, Florida 33733.

- Q.	By whom are you employed and in what capacity?

A.	I am employed by Progress Energy Carolina as Manager, Performance Support.

Q. 	Have you previously filed testimony before this Commission in connection with Progress Energy Florida’s Environmental Cost Recovery Clause?

A.	Yes, I have.

Q.	Have your duties and responsibilities remained the same since you last filed testimony in this proceeding?

A.	Yes.  Currently, my responsibilities include managing process technology systems, both existing and emerging, for the Energy Delivery Florida organization.  My environmental responsibilities are being transitioned to the Supervisor, System Integrity and Environmental Services.

Q. 	What is the purpose of your testimony?

A. 	My testimony provides estimates of the costs that will be incurred in the year 2007 for PEF’s Substation and Distribution System Investigation, Remediation and Pollution Prevention Programs (Projects #1 and  #2, respectively), which were previously approved in PSC Order No. PSC-02-1735-FOF-EI, and for PEF’s Sea Turtle/Street Lighting Program (Project #9) which was previously approved in PSC Order No. PSC-05-1251-FOF-EI.

Q.	What costs do you expect to incur in 2007 in connection with the Substation System Investigation, Remediation and Pollution Prevention Program (Project #1)?

A.	For 2007, we estimate Progress Energy will incur total O&M expenditures of $4,347,620 in remediation costs for the Substation System Investigation, Remediation and Pollution Prevention Program.  This amount includes estimated costs for remediation activities at 84 substation sites that have already been identified as requiring remediation.

Q.	What steps is the Company taking to ensure that the level of expenditures for the Substation System Program is reasonable and prudent?

A.	The Company works annually with the FDEP to determine the sites that will be remediated to ensure compliance with DEP criteria and provides quarterly reports to the FDEP on progress made in remediating substation sites.  To ensure the level of expenditures is reasonable and prudent, the Company selected contractors through a competitive bidding process and reviews invoices for accuracy.

Q.	What costs do you expect to incur in 2007 in connection with the Distribution System Investigation, Remediation and Pollution Prevention Program (Project #2)?

A.	 For 2007 we estimate total O&M expenditures of $15,991,000 for the Distribution System Investigation, Remediation and Pollution Prevention Program to perform remediation activities at 1,531 sites.  This estimate assumes 341 3-phase transformer sites at an average cost of $14,500 per site; 1,190 single-phase transformer sites at an average cost of $8,500 per site; as well as program management costs.

Q.	What steps is the Company taking to ensure that the level of expenditures for the Distribution System program is reasonable and prudent?

A.	To ensure the level of expenditures is reasonable and prudent, the Company selected contractors through a competitive bidding process and frequently reviews invoices for accuracy and proper documentation.  In addition, the Company closely monitors remediation work, performs sample testing of inspection results, and provides quarterly reports to the FDEP on progress made in remediating distribution sites.

Q.	What costs do you expect to incur in 2007 in connection with the Sea Turtle/Street Lighting Program (Project #9)?

A.	For 2007, the projected expenses for the Sea Turtle/Street Lighting Program are approximately $625,000.  This amount includes $475,000 in O&M costs and $150,000 in capital expenditures to satisfy the new criteria that local governments are applying to ensure compliance with sea turtle ordinances in Franklin and Gulf Counties and the City of Mexico Beach.  Capital  and O&M cost estimates are based on modifications and/or replacement of approximately 1,200 lighting fixtures.  The cost projections assume that half of these lighting fixtures can be modified to meet the new criteria and the other half will have to be replaced with another type of lighting to meet the new criteria.  Modification options include adding lenses, shielding, adjusting fixture height and/or buffering.   Replacement with new technology lighting will occur where it is demonstrated that compliance with the new criteria cannot be achieved through modifications.  An average unit cost of $250 was used to estimate the O&M and capital budget.   The estimated O&M projections also include costs for continued monitoring of the effectiveness of these retrofits, mapping current and proposed coastal lighting locations for compliance determinations, as well as research costs associated with developing lighting technology to use where required high pressure sodium lighting replacement is needed.  Compliance plans are still under review and may change based on the outcome of discussions with regulatory agencies to determine the most cost-effective and appropriate compliance measures for specific sites.

Q.	What steps is the Company taking to ensure that the level of expenditures for the Sea Turtle/Street Lighting Program is reasonable and prudent?

A.	Progress Energy continues to work with local governments and appropriate agencies to develop compliance plans that allow flexibility to make only those modifications that are necessary to achieve compliance.  Case-by-case evaluation of each streetlight requiring modification will occur to ensure that only those activities necessary to achieve compliance are performed in a reasonable and prudent manner.   In addition, Progress Energy will evaluate emerging technologies and incorporate their use where reasonable and prudent.

Q.  	Does this conclude your testimony?

A.  	Yes, it does.