1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 060198-EI

3   In the Matter of:

4   REQUIREMENT FOR INVESTOR-OWNED ELECTRIC

UTILITIES TO FILE ONGOING STORM

5   PREPAREDNESS PLANS AND IMPLEMENTATION

COST ESTIMATES.

6   _______________________________________/

7

8

9

10

11             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

12               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

13

14

15   PROCEEDINGS:        AGENDA CONFERENCE

ITEM NO. 7

16

BEFORE:             CHAIRMAN LISA POLAK EDGAR

17                       COMMISSIONER J. TERRY DEASON

COMMISSIONER ISILIO ARRIAGA

18                       COMMISSIONER MATTHEW M. CARTER, II

COMMISSIONER KATRINA J. TEW

19

DATE:               Tuesday, August 29, 2006

20

PLACE:              Betty Easley Conference Center

21                         Room 148

4075 Esplanade Way

22                       Tallahassee, Florida

23   REPORTED BY:        JANE FAUROT, RPR

Chief, Hearing Reporter Services Section

24                       FPSC Division of Commission Clerk and

Administrative Services

25                       (850) 413-6732

FLORIDA PUBLIC SERVICE COMMISSION

2

1   PARTICIPATING:

2             JOHN BUTLER, ESQUIRE, representing FPL.

3             LEE WILLIS, ESQUIRE, representing TECO.

4             RUSSELL BADDERS, ESQUIRE, representing Gulf.

5             JOHN BURNETT, ESQUIRE, Progress Energy.

6             MARK CUTSHAW, ESQUIRE, representing FPUC.

7             ROSANNE GERVASI, ESQUIRE, JIM BREMAN, BILL McNULTY

8   and BOB TRAPP, representing the Florida Public Service

9   Commission Staff.

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                         P R O C E E D I N G S

2             CHAIRMAN EDGAR:  Welcome back.  We will go back on

3   the record, and we're going to begin with Item 7.  Before I ask

4   staff to start us off with that, I do believe we have somebody

5   participating by phone.  So if you're by phone, could you go

6   ahead and make us aware of your presence.

7             MR. BUTLER:  Yes.  Thank you.  This is John Butler on

8   behalf of Florida Power and Light company.

9             CHAIRMAN EDGAR:  Thank you, Mr. Butler.

10             I'm going to ask staff to give us an overview, a

11   brief overview on Item 7.  There are a number of issues.  I

12   don't know that we need to ask them to go through each of them

13   one-by-one, but we will give a general overview.  And then we

14   can jump in with questions and discussion.  And, of course,

15   hear from the industry representatives that have joined us for

16   this item.

17             MR. BREMAN:  Commissioners, my name is Jim Breman.

18             We're here to address staff's recommendation on the

19   electric utilities filings in response to the ten storm

20   initiatives you identified in Order Number PSC-06-0351-PAA-EI.

21   That order was not protested.  It's my understanding, and I

22   think everybody's here, that due to recent hurricane activities

23   and the level of damage to the infrastructure, these ten

24   initiatives were ordered.  And this Commission initiated this

25   based on the substance of a January 23 workshop where we

FLORIDA PUBLIC SERVICE COMMISSION

4

1   solicited information from the industry and governmental

2   representatives to report on their experiences and suggest

3   options.

4             You further codified your action on February 23rd at

5   an Internal Affairs -- excuse me, February 27th at an Internal

6   Affairs where you discussed a multi-pronged approach.  In the

7   short term, you requested all parties to report their storm

8   readiness status on June 5th, at Internal Affairs on June 5th.

9   In the long-term, the Commission initiated two activities.  The

10   first part consists of rulemaking, and those rulemaking efforts

11   are underway.  And we're here to address the second part, which

12   is these storm initiatives.

13             The storm initiatives for the investor-owned electric

14   utilities are addressed in Issues 1 through 8.  The contentious

15   issue, Commissioners, will be the vegetation issue and that

16   will be Issue 1.  It is contentious because staff doesn't

17   believe that all utilities met the requirements of going

18   forward and showing that they should do a three-year trim cycle

19   for all distribution circuits.

20             In Issue 2, we bring up the subject matter of joint

21   use attachment audits.  Effectively all the investor-owned

22   utilities are planning to implement the stress assessments of

23   third-party attachments on their poles in conjunction with

24   their pole inspection programs.  The pole inspection programs

25   is Item 8 today.

FLORIDA PUBLIC SERVICE COMMISSION

5

1             Issue 3 addresses the six-year transmission

2   inspection program, and in that all the electric utilities meet

3   or exceed the requirement to inspect all transmissions

4   structures within a six-year period.

5             In Issue 4, we address the hardening of existing

6   structures.  In that item the Commissioners requested the

7   utilities to report plans for hardening of existing structures.

8   The utilities provided such plans, and all plans do result in

9   the hardening of transmission facilities over time.

10             In Issue 5, we address initiatives for collection

11   of -- for establishing information systems that we call

12   geographic information systems, forensic analysis, increased

13   level of detailed reliability, and to capture the performance

14   of overhead and underground systems.  These are three

15   initiatives, and we group them together because it's hard to

16   analyze any one initiative and ignore the other two.

17             In Issue 6, we address Initiative 8, which is

18   increased coordination with local government.  In this case we

19   found that each utility responded to the Commission's

20   admonition to increase coordination with governmental entities

21   where there was evidence that increases were needed.

22             In Issue 7, we address Initiative 9, which is

23   statewide collaborative research effects on wind and hurricane.

24   At the time that staff drafted its recommendation, we reported

25   what we knew that the utilities had accomplished.  At that time

FLORIDA PUBLIC SERVICE COMMISSION

6

1   they had not accomplished certain things and -- for example,

2   they had not identified specific research projects and dates of

3   deliverables.  I believe today you're going to hear that they

4   have made some progress on that.

5             Issue 8 addresses Initiative 10, which is having a

6   natural disaster preparedness and recovery plan.  All electric

7   utilities, investor-owned electric utilities, have these plans.

8   They are updated annually, and they comply with the

9   requirements.

10             In Issue 9, staff recommends the Commission require

11   annual reports from investor-owned utilities, and to require

12   its staff to review each of the hardening plans and updates to

13   those plans on an annual basis and then provide that

14   information to you on an annual Internal Affairs presentation,

15   or something of that nature.

16             Issue 10 is informational only.  It does not require

17   the Commission to take action.  It's simply being presented so

18   that the package is complete, so that you have a picture of all

19   electric utilities in the state of Florida with respect to

20   their level of activity on the ten initiatives you have

21   identified.

22             Commissioners, as you said, we are prepared to go

23   issue-by-issue or address the specific issues and questions

24   that you actually have.

25             CHAIRMAN EDGAR:  Thank you.  I would like to go ahead

FLORIDA PUBLIC SERVICE COMMISSION

7

1   and hear briefly from the industry representatives who have

2   joined us for this item, and then I will open it up to

3   questions, and we will see where that takes us.

4             MR. BADDERS:  Thank you.  Good afternoon.  My name is

5   Russell Badders, and I'm appearing on behalf of Gulf Power

6   Company.  I do not have general comments on Items 2 through 9.

7   However, I will have some specific comments on Item Number 1,

8   the vegetation management plan.  I can give those comments now,

9   or would you like to take those in turn as we do each

10   individual issue?

11             CHAIRMAN EDGAR:  Let's go ahead and go down the line

12   so we all know who we have.  And, again, we may have more

13   people participating by phone than we do at some of our other

14   meetings.  So with that, let's just go ahead and introduce one

15   another, and we will go from there.

16             MR. BURNETT:  Thank you.  Good afternoon,

17   Commissioners.  John Burnett on behalf of Progress Energy

18   Florida.  I'm similarly situated with Mr. Badders.  No general

19   comments, but we do have specific comments on Issue 1 when the

20   Commission is ready.

21             CHAIRMAN EDGAR:  Okay.

22             MR. WILLIS:  I'm Lee Willis representing Tampa

23   Electric Company.  I don't have any general comments, but will

24   make some comments with respect to Issue 7 on the collaborative

25   research.

FLORIDA PUBLIC SERVICE COMMISSION

8

1             CHAIRMAN EDGAR:  Thank you.

2             Mr. Butler.

3             MR. BUTLER:  Yes.  Hi.  I also don't have general

4   comments, really on any of them.  I'm happy to answer questions

5   on whichever issues the Commissioners may have questions or

6   concerns, but FPL is generally satisfied with staff's

7   recommendation.

8             CHAIRMAN EDGAR:  Thank you, Mr. Butler.

9             Commissioners, any general comments or questions

10   before we go in and ask for more detail on Item 1, Issue 1?

11             No.  Okay.

12             Then, Mr. Badders, let's begin our discussions on the

13   first issue.

14             MR. BADDERS:  Thank you.  Gulf Power has filed a plan

15   in response to Item 1.  Gulf's vegetation management plan is a

16   reliability-based program.  It is not a three-year cycle, a

17   two-year cycle, or a six-year cycle.  It is purely based on

18   targeted trimming in areas where trimming is needed the most, I

19   guess.  Some areas you would see a one or a two-year cycle.

20   Some areas you may see a five or a six-year cycle.  It would

21   not necessarily average out to a three-year cycle across our

22   system, because not all areas of the system would necessarily

23   need trimming on a three-year cycle.

24             We believe that -- obviously, this is different than

25   what many of the other utilities have offered.  I believe when

FLORIDA PUBLIC SERVICE COMMISSION

9

1   your audit staff looked at our plan in relation to the other

2   plans, reliability based, not -- this is before the storm

3   hardening dockets, there was some issues with them trying to

4   understand how ours would be the same or as effective as some

5   of the other cycle-based plans.

6             And in the end, when they issued their report to the

7   Commission, they did find that our plan was very effective as

8   far as reliability-based vegetation management.  We would like

9   to continue that along with some modifications as provided to

10   staff to address the storm hardening initiatives that we have

11   all been tasked with going forward and trying to find a good,

12   effective, cost-effective and effective plan.

13             We believe it does meet that intent, and it is our

14   best effort at this point to try to come up with an alternative

15   to a three-year cycle, that is as effective as the three-year

16   cycle.  Again, I'm here and available for questions.

17             CHAIRMAN EDGAR:  Thank you.

18             Mr. Burnett.

19             MR. BURNETT:  Thank you, Madam Chairman.  Progress

20   Energy Florida has put forth what is called the IVM, or the

21   integrated vegetation management plan.  As way of background,

22   that plan is an effective cycle on backbones and feeders of at

23   least three years, if not better, and a five-year on lateral.

24   That plan comports with the -- we believe, the intent of the

25   Commission and is at least as equal to, if not more aggressive,

FLORIDA PUBLIC SERVICE COMMISSION

10

1   than another plan that has been approved in the staff

2   recommendation.  The issue with Progress Energy Florida as

3   raised in the staff recommendation was a quantitative analysis

4   to justify the plan which was a requirement that was raised in

5   the initial Commission order.

6             We are certainly here today to answer any questions,

7   but I wanted to briefly offer that we initially had provided a

8   cost-based benefit quantitative analysis.  We came back and

9   with some exchanges from staff worked on a reliability

10   indicator-based quantitative analysis, and then have recently

11   worked out with staff, as suggested in the staff

12   recommendation, some quantitative analysis that mirrors, as

13   staff suggested, data like Florida Power and Light put forth to

14   justify their plan, and that has been provided to staff.

15             I'm certainly not wanting to speak for staff, but my

16   understanding is that the supplemental data that we have

17   provided has raised staff's comfort level to where they may

18   feel that they could favorably recommend our plan at this time.

19   But just by way of background, that is where we started at and

20   how we came to be here, and we are certainly here to answer any

21   questions.  We have technical people here available, also.

22             Thank you.

23             CHAIRMAN EDGAR:  And I know, Mr. Willis, that you had

24   indicated Item 7, do you have further comments?

25             MR. WILLIS:  No.

FLORIDA PUBLIC SERVICE COMMISSION

11

1             CHAIRMAN EDGAR:  Thank you.  Okay.  And I want to

2   make sure I haven't overlooked anybody.

3             Please.

4             MR. CUTSHAW:  Good afternoon.  I'm Mark Cutshaw

5   representing Florida Public Utilities Company.  I do have some

6   general comments on vegetation, if you're ready.

7             CHAIRMAN EDGAR:  Go right ahead.  Thank you.

8             MR. CUTSHAW:  We did propose an overall three-year

9   trim cycle.  We have, in addition to that, the ability within

10   our program to address reliability issues that may arise during

11   the three-year cycle, mainly regarding the main feeders.  If we

12   identify reliability issues that need to be addressed, we do

13   have the flexibility in our program to address those issues as

14   needed, but overall it is a three-year trim style.

15             CHAIRMAN EDGAR:  Thank you.

16             Mr. Butler, do you have any general comments on Issue

17   1 at this time?

18             MR. BUTLER:  I really don't, Madam Chairman.  I'm

19   certainly happy to answer questions, but I think that staff has

20   captured the essence of why we are proposing what we are

21   proposing, and we'll be happy to try to support it as you need.

22             CHAIRMAN EDGAR:  Okay.  Thank you.

23             Commissioners, discussion?  Do we have any questions

24   for our industry representatives or our staff on the

25   information in the alternatives that have been put before us on

FLORIDA PUBLIC SERVICE COMMISSION

12

1   vegetation management?

2             Commissioner Deason.

3             COMMISSIONER DEASON:  This is a question for staff.

4   In regard to Progress Energy, it was indicated that they have

5   provided supplemental data.  Staff, you have received that.

6   Have you analyzed that?

7             MR. LEE:  Yes.  We do -- this is Daniel Lee with

8   staff.  We think Progress Energy's additional data does address

9   the concern that staff raised in the recommendation as the

10   method, the quantitative approach cost and benefits.  But we

11   still have some question about the data, I think, the validity

12   of the data.

13             MR. BREMAN:  Let me put this in context,

14   Commissioners.  We received this information on Friday or

15   Thursday, late Thursday.  And we're still in the process of

16   sorting out all of our questions, we're still reviewing it.

17   And I agree with Daniel, I think it is an improvement over what

18   we did have.

19             And I would also like to bring out a point that is

20   very different between Gulf Power and Progress with respect to

21   some of the other things, or some of the other utilities.  In

22   the instance of Gulf Power and Progress, both utilities are

23   using normal everyday data as the fundamental characteristic of

24   where they are going with their overall vegetation management

25   program.  And that goes outside of the four corners of your

FLORIDA PUBLIC SERVICE COMMISSION

13

1   order.

2             The order specifically addresses for purposes of

3   storm outages and reducing storm outages and storm recovery

4   costs.  But the programs that Progress and Gulf Power are

5   asking you to consider as viable and consistent with the intent

6   of your order go to not only just storms, but everyday --

7   everyday day-to-day characteristics.  So there is -- there is a

8   different analysis and a little bit of a different theory, and

9   staff is working that one through.  So I just thought that I

10   would put that in context for you.

11             COMMISSIONER DEASON:  So based upon that, you are

12   still in the process of reviewing the Progress Energy filing.

13   But I guess -- what do you -- what do you expect the Commission

14   to do with this issue that is in front of us at this time?

15             MR. BREMAN:  Allow us to have another 30 days to

16   resolve whatever differences exist.

17             COMMISSIONER DEASON:  For Progress and what about

18   Gulf.

19             MR. BREMAN:  Gulf Power, also.

20             COMMISSIONER DEASON:  Okay.  You're in the process of

21   working with Gulf to make -- are you in the process of seeking

22   additional information and support for the methodology that

23   Gulf proposes to utilize?

24             MR. BREMAN:  Yes, Commissioner.

25             COMMISSIONER DEASON:  Mr. Badders, so you've agreed

FLORIDA PUBLIC SERVICE COMMISSION

14

1   to work with staff to provide this additional information over

2   the next 30 days, is that correct?

3             MR. BADDERS:  Yes, Commissioner.  We will endeavor to

4   get the information to staff.  We are proposing, I guess, a

5   different animal.  It is a little -- it is different.  It's a

6   different way of looking at approaching the vegetation

7   management issue.  And we will do our best to get information

8   to staff that they can draw parallels to the others and make a

9   good decision.

10             COMMISSIONER DEASON:  Now, you characterize your

11   approach as reliability based.  Do you agree with staff's

12   characterization that it is based upon data both, I guess,

13   business as usual data as well as storm data?  Explain to me

14   your understanding of the approach.

15             MR. BADDERS:  I agree.  We are using, of course, our

16   everyday outage, tree outage information.  We don't have a lot

17   of storm-specific data.  I know FPL has offered some

18   information that is very storm specific.  We don't necessarily

19   have it to that level.  We are trying to go back and look at

20   the information that we do have, trying to put it in the proper

21   context with the storm when it occurred.  We just don't have

22   the -- I guess the fine level of detail I think that staff is

23   seeing from FPL and some of the other utilities.  That has been

24   a little bit of our struggle in trying to show that ours is

25   valid as far as for storm hardening and for everyday

FLORIDA PUBLIC SERVICE COMMISSION

15

1   reliability.

2             COMMISSIONER DEASON:  You say you don't have the

3   data.  How are you going to address that?  Are you going to try

4   to reconstruct events from past hurricanes, or do you have a

5   model, or are you just going to try to use your normal

6   vegetation control procedures as a surrogate for what is

7   appropriate for storm preparedness?

8             MR. BADDERS:  At this point, our best data is the

9   third position that you expressed.  We are trying to go back

10   and see if we can extrapolate some information from our past

11   storms.  It's just we didn't capture it in the same way.  So we

12   are not sure that that information will be particularly valid

13   or useful at this point.  But, given 30 days, we should be able

14   to exhaust that.  And, hopefully, if we are not able to come to

15   that information, that level of information, to provide some

16   level of comfort to staff that ours is a valid basis, that that

17   information for regular reliability does extrapolate to the

18   hurricane hardening.

19             COMMISSIONER DEASON:  Thank you.

20             CHAIRMAN EDGAR:  Commissioner Arriaga.

21             COMMISSIONER ARRIAGA:  I want to first congratulate

22   TECO Energy and FPUC for your immediate compliance to a

23   Commission order.  I certainly appreciate that.  It's a very

24   important step forward, so my appreciation and my

25   congratulations.  What you are doing, you are doing on behalf

FLORIDA PUBLIC SERVICE COMMISSION

16

1   of the general public, especially today that we are celebrating

2   the bad remembered first anniversary of Katrina.  And we have a

3   tropical storm sitting right on top of the Keys, ready to cut

4   Florida right through the center.  So, again, my appreciation.

5             We started this process, as the record states, on

6   January 23.  We issued an order on April 25, and we are sitting

7   here today saying that we need 30 more days.  I don't

8   understand.  Honestly, I don't understand.  Can staff explain

9   to me why we need 30 more days?  We have been going at this for

10   nine months now.

11             MR. BREMAN:  Commissioners, we brought this

12   recommendation to you because it was time to let you express

13   your desires.  We had dialogue with the utilities, and we

14   reached a situation where there were differences that we needed

15   to highlight to you and let you make your choice.  Also, one

16   thing that is interesting is that when staff files a

17   recommendation, sometimes that causes actions that for some

18   reason or another didn't get done.  So we are here because we

19   needed to get further action and further direction from you.

20             COMMISSIONER ARRIAGA:  So are you saying that for

21   some reason one or two of the companies chose not to comply

22   with the order, is that what I'm understanding from you?

23             MR. BREMAN:  Their view of the order is very

24   different.

25             COMMISSIONER ARRIAGA:  And in the meetings you had

FLORIDA PUBLIC SERVICE COMMISSION

17

1   with the companies, were you not able to guide them through the

2   process so they understood what the order read?

3             MR. BREMAN:  Commissioner, I'm just technical staff,

4   I'm not going to do the legal arguments, but I could

5   characterize it this way:  The order says to base your

6   vegetation program on avoiding storm related outages and

7   reducing storm costs.  And both Progress and Gulf Power said

8   they don't really have a lot of degree of comfort with the

9   level of data that they have for those types of events to

10   project or justify changes in their vegetation programs.  So in

11   those instances it becomes extremely frustrating.  And for all

12   intents and purposes, the utilities then go outside the four

13   corners of the order.  They go into everyday activity.  And if

14   you view that as not complying with the order, that's one view.

15   And I --

16             COMMISSIONER ARRIAGA:  I'm not viewing anything.  I

17   am just trying to understand, and help me understand.  As I

18   said, we started this process nine months ago.  And the last

19   two hurricanes seasons, the 2004 and coming forward, have

20   created issues that we should have had some data.  So am I

21   understanding then that we do not have any data for the

22   2004/2005 hurricane seasons?

23             MR. BREMAN:  One utility has better data, more

24   detailed data than the others, and that is the situation of

25   facts.  And so staff is trying to address the differences of

FLORIDA PUBLIC SERVICE COMMISSION

18

1   facts on a fair basis.  But we're trying to bring all of them

2   to you all at once, rather than piecemealing them all to you.

3             COMMISSIONER ARRIAGA:  So is it fair, then, to assume

4   that TECO and FPUC have the necessary data, but the other two

5   companies don't have the data.

6             MR. BREMAN:  We didn't even go that far with those

7   two companies, Commissioners.  They just swallowed the bullet

8   or the pill, if you will.

9             COMMISSIONER ARRIAGA:  I wouldn't say swallow the

10   bullet; I would say they complied with the order.

11             MR. BREMAN:  Yes, sir.  We didn't pursue what they

12   relied on to make that determination.  They just went all the

13   way.

14             COMMISSIONER ARRIAGA:  I do hope, Commissioners, that

15   you understand where I'm coming from.  As I said earlier, I

16   went home and had a Kool-Aid.  But I'm concerned.  I mean, we

17   have a tropical storm sitting on the doors of Florida today.

18   Fortunately, it's a tropical storm.  But could you imagine for

19   a second that that would be a Category 3 cutting Florida right

20   through the center, and we are sitting here today, nine months

21   later, saying that we do not have data and the companies have

22   not complied with our order?  I'm concerned.

23             MR. McNULTY:  Commissioner, if I may, I would just

24   like to mention that these storm plans were due June 1, and the

25   utilities complied in getting the storm plans filed on that

FLORIDA PUBLIC SERVICE COMMISSION

19

1   date.  On July 14th we met with the investor-owned utilities,

2   and we gave them a question to answer, and they had 12 days in

3   which to answer, July 26th.  That gave us enough time for us to

4   be able to review their response and make our recommendation.

5   In that question that we asked the utilities on July 14th, we

6   asked each utility to please provide an analysis of the

7   projected annual customer interruption data and the annual cost

8   data, because we were tying those concepts back to the order.

9             If you are not going to do a three-year, you are

10   going to be able to justify it in terms of both cost and

11   reliability.  And in addition, in each of the utility's cost

12   analysis, we asked them to incorporate the anticipated

13   offsetting storm restoration costs savings associated with the

14   proposed expanded program in vegetation management and explain

15   the methodology and the assumptions in full.

16             So we were able to piece together enough information

17   from Florida Power and Light's filing to be able to say they

18   have made a reasonable representation of the impacts in both

19   costs and reliability and a justification for the program that

20   they had put forth.  We were able to see that.  We were not

21   able to see that with the other utilities who had alternative

22   plans.  And that's essentially what brings us here today.

23             COMMISSIONER ARRIAGA:  And I thank you.  And I

24   noticed that I have mentioned the two companies that have

25   complied.  I have mentioned the two companies that have not

FLORIDA PUBLIC SERVICE COMMISSION

20

1   complied.  And I haven't said anything about FPL, because I

2   know that the order was flexible enough to allow for a

3   representation that staff was satisfied with them.  From what I

4   see from the proposals today, you seem to be satisfied with the

5   proposal made by FPL because they brought you sufficient

6   information for us to understand that they are doing the

7   three-year transmission, the three-year laterals, and they want

8   some kind of flexibility in the distribution system, and they

9   prove it with numbers.

10             And I understand that.  But I'm just getting no

11   answer from the two other companies, and I am worried.  Why?

12   And this can be addressed to you.  I mean, I am not picking on

13   you specifically.  I'm just saying why?  The other four

14   companies have -- three companies have complied.

15             MR. BURNETT:  Thank you, Commissioner.  John Burnett

16   on behalf of Progress Energy Florida.

17             Commissioner, to your questions, on behalf of my

18   company, just a very quick background.  In 2004 when we saw the

19   first of the extreme hurricane activities, we began to get

20   ahead of the game then and start modifying our vegetation

21   management plan and implementing IVM.  At that point we looked

22   at three-year cycles.  We looked at what worked best within our

23   service territory, and that's certainly all we could speak of,

24   and we are very proactive.

25             The plan that we put before the Commission, we

FLORIDA PUBLIC SERVICE COMMISSION

21

1   believe was totally in compliance.  Without mincing words, it's

2   more aggressive than some of the other plans that have been

3   suggested to be approved, and we think more effective for our

4   service territory.  And, again, that is rooted in what we

5   experience within our particular service territory.

6             The problem that we have always had is quantifying

7   data that staff would be comfortable with.  And we've looked at

8   it, we feel like, looking at it at a 365-day basis.  What is

9   the customer going to see every single day, not just in

10   hurricane season.  And in addition to hurricane season, can we

11   provide data that can convince this Commission, not only in

12   June through September, but for the rest of the year as well

13   that we are putting forth the best cost-effective plan, the

14   best plan on a total reliability basis, and we have been doing

15   the absolute best we can to work with staff to provide data on

16   a hurricane-specific basis.

17             But, again, with our particular -- with our

18   particular service territory, we have some difficulty getting

19   exactly to the level of data that staff has requested.  There

20   have been several times within the process where staff has,

21   with all respect, requested a way of evaluating a plan that

22   simply cannot be done.  And we have talked, and we've

23   interfaced with that.  And in instances, for instance in the

24   local government coordination, staff was really reaching out

25   for a metric that could work to monitor this, but we are not

FLORIDA PUBLIC SERVICE COMMISSION

22

1   able to give them that.  And there was recognized in the plan.

2             So we have done everything that we believe we can do

3   to give staff the comfort level and give the data that mimics

4   as close as possible as we could do to the Power and Light data

5   that was requested, but still that we could say that is valid

6   data.  We are giving you data from our system that we can back

7   up and stand behind.

8             So we do feel like we are in compliance,

9   Commissioner, and just want to give you that perspective from

10   our view is our concern has never been quality, I believe.  And

11   I don't think I have ever heard from staff quality.  It is just

12   simply give us something -- a metric that we are comfortable

13   with, and we feel like we have done it, better than what was

14   requested, but we are certainly working with staff to try to

15   give any data that we can that makes them comfortable.

16             CHAIRMAN EDGAR:  Just a few thoughts, random thoughts

17   perhaps.

18             Commissioner Arriaga, I understand some of your

19   frustration.  I know that, you know, we all want to move

20   forward.  But, you know, a little context.  If we think back to

21   the end of hurricane season last year, and we had your

22   investiture and you joined us, and we all kind of said, aah,

23   okay, that season is over, and we have another one coming.

24   What do we need to do?

25             And I think that the utilities have worked very hard.

FLORIDA PUBLIC SERVICE COMMISSION

23

1   I know our staff has worked very hard.  It's just not a process

2   that we snap our fingers and it's going to be done in a few

3   weeks.  And if you think back to all of the work and the steps

4   that we have taken, there is frustration that we are not much,

5   much further down the road, that our data is not complete, that

6   it doesn't allow perfect irrefutable analysis.

7             But on the other hand, at the end of hurricane season

8   last year, in January we had a workshop, in February our staff

9   brought recommendations to us.  We requested that the companies

10   submit very detailed plans to us within three months after that

11   fact.  That was in June.  And I know early, early this summer,

12   at the beginning of hurricane season, when we had the briefing

13   from the utility providers as to how they were approaching this

14   hurricane season and the steps that had been taken prior to the

15   last hurricane season, I asked, and I think others here did as

16   well, what is the status of review of the ten-point plans and

17   can we have something come back to us for discussion in August?

18   And here we are.  So if you think back to all of the steps that

19   have happened during that eight months, I, for one, think that

20   a lot of good work has been done.

21             One of the concerns that we all expressed in February

22   was that we had different -- you know, different levels,

23   degrees and type of data collection and analysis going on.  And

24   one of the things that I think we wanted was to try to provide

25   some consistency to that statewide, not just for the IOUs, but

FLORIDA PUBLIC SERVICE COMMISSION

24

1   statewide so that at each iterative step as we, as a

2   Commission, take action, and as our utilities take action that

3   will then come before us in a variety of forums, that we can do

4   good analysis and good cost/benefit analysis.

5             And I think that is part of the key.  We are taking

6   steps, we have all year.  We will working hand-in-hand with the

7   utilities that we regulate to try to do good analysis and good

8   decision-making based as much as we can on the data that we

9   have and look at the cost/benefit as we move forward.  As we

10   move forward, as I say often, thoughtfully and yet timely.

11             So, Commissioner Tew, I believe you had a comment or

12   a question.

13             COMMISSIONER TEW:  Some of both, actually.  I

14   appreciate what you have said and I'm probably going to go out

15   on a limb even a little bit.  I'm going to go out on a limb a

16   little bit farther and say that I voted for the three years --

17   the three-year cycle.  I don't know if that is the right

18   answer.  And I think that the order correctly provided for

19   utility-specific flexibility for the very reasons we are

20   talking about here.  I think some companies have more data than

21   others.  And we can all sit here and talk about whether they

22   should have more data and should have seen some of these

23   problems coming, but I just think that we are where we are, and

24   like the Chairman said, I think we have come a long way so far.

25   And it is going to take a little more time.  It is not as

FLORIDA PUBLIC SERVICE COMMISSION

25

1   simple as snapping our fingers.  And, you know, I hope that

2   three years is the right answer.  I hope that we at least come

3   to what the right answer is.  But I think we do have to provide

4   for that utility-specific flexibility that we talked about, and

5   as Commissioner Arriaga pointed out, is in the order.

6             So with that, I wanted to ask a question of Mr.

7   Badders.  You had mentioned in your comments that you had one

8   to two-year cycles in some areas and five to six in others.  Is

9   the five to six sort of the outward bound of the cycle, or are

10   there some situations where you have longer than six-year

11   cycles?

12             MR. BADDERS:  As a little background, what we had

13   initially proposed, we didn't really discuss cycles as far as

14   one-year, two-year or three-year or anything like that.  The

15   way our plan has been developed, it really doesn't use cycles.

16   It doesn't track cycles.  Staff had expressed some concern with

17   that.  We have come back and offered as an alternative that we

18   will look at all of our facilities and determine what is the

19   appropriate cycle for individual facilities.  If you have a

20   pole line along a certain road or to a feeder, we will look at

21   that facility and determine what is the appropriate cycle for

22   that feeder.  It may be a year.  It may be ten years.  And if

23   it is ten years or eight years, that is one that has very

24   little vegetation around it, no trees, open field, it really

25   wouldn't be an issue.  In some areas it may be heavily, very

FLORIDA PUBLIC SERVICE COMMISSION

26

1   densely forested, and you are looking at a one-year or two-year

2   cycle.

3             So what I'm saying, you may have a one-year or a

4   two-year or five-year or a six-year, it really will depend on

5   the facility and where it is located and what it would

6   experience.  And we really believe that if you look at it on a

7   daily, 365-day reliability basis, and see what you are doing as

8   far as impacting that, that it will correlate to at least a

9   measurable impact with regard to a storm.  We are not talking

10   about just a hurricane; we are talking about a tropical storm

11   or another high wind event.

12             So back to your question.  We will have, if you were

13   to lay it out and just show when did you look at these

14   facilities, you will have some two years, some five years.  And

15   you may go out as far as eight or ten years in some instances,

16   and that would probably be the rare situation.  You are

17   probably looking at more three to five years for most

18   facilities.

19             COMMISSIONER TEW:  You know, I, too -- and I probably

20   should clarify.  I, too, have some concerns about not having

21   the data, and I think that I am encouraged by the fact that you

22   said that you would go back and look at what data you do have

23   to try to compile similar analysis that some of the other

24   companies have, and perhaps that will move you, you know,

25   closer toward the three years or some kind of split approach

FLORIDA PUBLIC SERVICE COMMISSION

27

1   where three years, six years, five years in some cases,

2   something that we can sort of put our arms around and analyze

3   and see if we can come up with the right thing.  And I do hope

4   and believe that 30 days will be enough for you all to do that

5   and provide something beyond what you have provided at this

6   point to staff, so that we do have something additional to look

7   at over what we have now.

8             MR. BADDERS:  I do believe over the next 30 days that

9   we can get together some more data and provide more information

10   to staff.  I do not believe we will get to the same point that

11   FPL is with their data.  I mean, we don't have that.  Now, one

12   benefit of allowing Gulf to go -- to continue with this

13   reliability-based plan, we will be able to compare how

14   effective this is versus a three-year plan that someone else

15   does.  And that way, hopefully, over the next few years in

16   Florida we will have a much better idea of what really does

17   work.  We'll actually have information that backs it up,

18   completely backs it up, rather than just having to take the

19   available information and maybe extrapolate from that.

20             CHAIRMAN EDGAR:  Commissioner Carter.

21             COMMISSIONER CARTER:  Thank you, Madam Chair.

22             I'm really encouraged by staff's recommendation in

23   this whole process that all plans and the implementation of

24   those plans be evaluated on an annual basis.  That's part of

25   staff's recommendation.  And I think the thrust of this was we

FLORIDA PUBLIC SERVICE COMMISSION

28

1   wanted to get ahead of the hurricane season as fast as

2   possible.  And I think by the chronology that you have laid

3   out, we have got as far and as fast as we can.  But by the same

4   token, is that we have an annual measuring tool where we can

5   have an assessment if we need to go back and tweak this or go

6   back and tweak that.

7             And I think the staff has made a great recommendation

8   in that, because some things may or may not work according to

9   plan, but at least we can go back and adjust it.  Because that

10   way, based upon staff's recommendation, we can, with that

11   assessment, have a basis for making an adjustment to those

12   respective plans.  So I'm consistent with staff's

13   recommendation in that whatever we do, I want to make sure that

14   we stay focused on staff's recommendation, because they do give

15   us an annual process to assess this.  This is something new.

16   Yes, we had the '04 and '05 season were abnormalities.  But by

17   the same token, is that now that we have been through that, we

18   put things in place.  All of the companies came and presented a

19   plan in a timely manner.  We are looking at that plan now.  And

20   where we are now in this process is to be able to look at it at

21   the end of each year.  Because each year we may have an up

22   season or we may have a down season, but this gives us a

23   measuring tool where we can do an annual assessment on that.

24   And I'm encouraged by staff's recommendation on this.

25             Thank you, Madam Chair.

FLORIDA PUBLIC SERVICE COMMISSION

29

1             CHAIRMAN EDGAR:  Thank you, Commissioner Carter.

2             Commissioner Arriaga.

3             COMMISSIONER ARRIAGA:  I certainly appreciate your

4   comments, Madam Chairman, and your comments, Commissioner Tew.

5   And I don't disagree with them at all because I recognize the

6   fact, one, that the order allows for flexibility; two, that the

7   plans have been presented and have been analyzed and that we

8   have done a lot of things here in the last six, seven, eight

9   months.

10             CHAIRMAN EDGAR:  Eight.

11             COMMISSIONER ARRIAGA:  Eight months.  I have heard

12   comments such as snap of the finger.  I don't think nine months

13   is a snap of a finger.  And I have not at all insinuated in any

14   case that things need to be done at the snap of a finger.  I

15   have met with staff on several opportunities, and staff has

16   expressed to me the same frustration that I'm expressing from

17   this podium right now.  They need guidance from this Commission

18   as to are we serious enough about this data gathering?  They

19   want to know if we really mean that this order needs to be

20   complied with.  And that is the message I have gotten from the

21   staff.

22             I have no question on the excellent job that staff is

23   doing, and I don't want that perception to be thrown out there.

24   The fact is, is that we asked for some kind of information,

25   whatever it is, and some explanation as to why it doesn't

FLORIDA PUBLIC SERVICE COMMISSION

30

1   comply.  And staff doesn't have that information.  And I think

2   they are coming to us and saying, Commissioners, what do we do?

3   Thirty more days, 60 more days?  Tell Ernesto to wait.  And I

4   know this is not going to effect Ernesto or any hurricane that

5   happens this year.  But we owe the public, we owe the state an

6   explanation as to why we are not moving forward.  And the state

7   isn't going to accept the fact that we are not able to gather

8   the information that we are requesting.  That is my only

9   comment.

10             I mean it, I feel it, and I'm compelled to say it.

11   It is not a criticism of whatever we decide as a majority, and

12   I will always comply with the decision and respect the

13   decisions of this Commission, but there is frustration in the

14   general public, in our staff, and in me.

15             Thank you.

16             CHAIRMAN EDGAR:  Commissioners, further questions on

17   this now?

18             Okay.  Then let's go ahead and take up some of the

19   other items that are included in this issue, and we can

20   certainly come back, if need be, for further discussion.

21             Mr. Willis, I know you had mentioned when we first

22   started that you wanted to have some further comment on

23   Issue 7.

24             MR. WILLIS:  That's correct, Commissioner.

25             This is the issue with respect to collaborative

FLORIDA PUBLIC SERVICE COMMISSION

31

1   research.  I believe that you will find that the utilities have

2   complied both with the letter of your order and the spirit of

3   your order through aggressively pursuing the matters that you

4   set out in your original order, which was to consolidate

5   utility resources through a centrally coordinated research

6   effort with universities.

7             You also asked each utility to establish a plan that

8   increases collaborative research, establishes continuing

9   collaboration, identifies objectives, promotes cost sharing and

10   funds the necessary work.

11             Also, in the order you asked us to reach out to both

12   the REAs and municipalities to join with us in this effort.

13             Within six weeks of that order, there was a workshop

14   held under the auspices of PURC in Gainesville where different

15   research projects were discussed, different researchers

16   presented.  It was attended by staff, and it set the framework

17   for what might come later.  All through this period, the

18   companies worked together with PURC, with each other to come up

19   with a memorandum of understanding among them to accomplish the

20   plan for coordination, a continuing model for coordination, and

21   all of the things that you had mentioned in the order.

22             That memorandum of understanding was executed with

23   all the investor-owned utilities, the REAs and municipalities.

24   It provided for a steering committee to consider research

25   projects and priorities.  In July, we received at a workshop

FLORIDA PUBLIC SERVICE COMMISSION

32

1   some indication from staff of research projects that should be

2   considered by the steering committee.  The steering committee

3   now has met with PURC and have given PURC direction to work out

4   a work plan, resources, timetable, and implementation and

5   budget for four different initiatives.

6             The first one is the underground study that the staff

7   mentioned, which is a methodology for quantifying overhead and

8   underground electric distribution costs for utilities and

9   community planners.  The other one was for granular wind data,

10   and that was the second project that the steering committee

11   asked PURC to help them with this work plan.

12             There was also, very pertinent to the discussion that

13   you just had, was to study vegetation management and to look at

14   research on the best ways to go about this.  Just as we have

15   said, we have kind of a standard that has been adopted, but we

16   want to look at it to see what is the best way that that could

17   be done.

18             The fourth thing was material development where you

19   could look at the different proposals by various vendors on

20   materials that might help with this.

21             So with that, we expect and hope that by next week we

22   are going to get this information back from PURC and be able to

23   continue to proceed with these initiatives or have the data for

24   the steering committee to consider what to do next.  In this

25   process, we are very mindful that the Commission has a report

FLORIDA PUBLIC SERVICE COMMISSION

33

1   due to the legislature, I believe it is July of 2007, and that

2   staff needs some advance analysis time before that, and we are

3   doing everything that we can to keep that in mind and still

4   accomplish the objectives of having a good work product come

5   out of this effort.

6             So with that, I think that you will find that the

7   companies are in compliance with what you asked us to do, and

8   we will continue to proceed and work on that.

9             CHAIRMAN EDGAR:  Thank you, Mr. Willis.

10             Commissioners, any questions on that?

11             Commissioner Tew.

12             COMMISSIONER TEW:  Mr. Willis, you said that by next

13   week the info would be back from PURC, and I probably missed

14   exactly what would be back.  Is it a time line or estimates?

15             MR. WILLIS:  Well, what they asked them to do was to

16   do a work plan, to look at the resources available to conduct

17   the work plan, a timetable for implementation and a budget.

18   And we are hopeful that they will be able to deliver that next

19   week.

20             CHAIRMAN EDGAR:  Commissioner Arriaga.

21             COMMISSIONER ARRIAGA:  Mr. Willis, one of the issues

22   that came up a few agendas ago was the fact that different

23   companies collected different type of data specifically of the

24   advantages or disadvantages of changing from overground to

25   underground.  In this memorandum of understanding, is the data

FLORIDA PUBLIC SERVICE COMMISSION

34

1   collection for that type of issue being included, is it

2   included?

3             MR. WILLIS:  Honestly, Commissioner, I don't know.

4             COMMISSIONER ARRIAGA:  Would you look into that for

5   me, please?

6             MR. WILLIS:  Yes.

7             COMMISSIONER ARRIAGA:  The conversion to

8   undergrounding, is it or not something worthwhile doing and --

9   to standardize the collection of data basically.

10             MR. WILLIS:  I am told that all of that will be what

11   PURC will do in a comprehensive look of that issue.

12             COMMISSIONER ARRIAGA:  Thank you.

13             CHAIRMAN EDGAR:  Thank you.

14             Commissioner Carter.

15             COMMISSIONER CARTER:  Thank you, Madam Chairman.  For

16   staff, what is the specific nature of your concern on Issue 7?

17             MR. McNULTY:  Commissioner, the specific concern we

18   have is that we felt like we needed to have in hand before

19   saying that a plan was complete for collaborative research

20   projects and time lines for those projects at some level, some

21   understanding of what the budget was.  Exactly what Mr. Willis

22   just was speaking to.  We feel as though those things are sort

23   of -- you know, if all we have done is establish an

24   administrative structure and then an administrative budget, if

25   you will, without kind of an understanding of what those

FLORIDA PUBLIC SERVICE COMMISSION

35

1   projects are because within the order that brought us here

2   today there was a discussion about looking at wind and surge

3   type of research that would be helpful to the entire state to

4   be able to address the ongoing research needs to address storm

5   hardening.  And so we thought that for this to be complete, we

6   should at least have coming out of the box at least one or more

7   projects available with a time line that has been established.

8   And that is all we want to do is make sure that we had

9   something more complete.

10             COMMISSIONER CARTER:  I noticed that you mentioned

11   the MOU with PURC, is it a vague MOU or does it specifically

12   delineate the perspectives?

13             MR. WILLIS:  I don't think it is vague in any

14   respect.  It is a memorandum of understanding of all the

15   utilities plus the REAs and municipalities.  It does provide an

16   administrative function for PURC.  It provides for a funding

17   mechanism of how costs will be shared, and it also provides for

18   a steering committee to specifically look at specific projects

19   And that is what they have done at their initial meeting.  They

20   have set out these four projects that they want to look at, and

21   have tasked PURC to come back to them with this specific

22   information so they can make an informed decision about how to

23   proceed.

24             MR. McNULTY:  Yes, I agree with what Mr. Willis has

25   said.  My understanding was that the first steering committee

FLORIDA PUBLIC SERVICE COMMISSION

36

1   meeting was August 21st.  So, at the time we filed our

2   recommendation, we still didn't have this information.  And

3   today they look like they are very close to having this.  We

4   are very encouraged by what we hear.  This is the kind of

5   information that we felt like we needed to have in hand to be

6   able to say for this initiative that we have an established

7   plan.

8             CHAIRMAN EDGAR:  We haven't really touched on Issue

9   6, and I don't have a specific question, but just would like to

10   make the comment that I was very pleased reading the

11   recommendation.  I know, again, going back to earlier in the

12   year and some of the opportunities that we have had

13   collectively to discuss these items, and we have heard from

14   representatives of local government who participated in our

15   workshop and other opportunities here to work with our staff,

16   that that continued emphasis on coordinating closely with local

17   governments I think is a really good thing.  And I applaud each

18   of our utilities for embracing that, as I know they did before

19   and continue to.

20             Commissioners, specific questions?  Further

21   discussion.

22             Commissioner Arriaga.

23             COMMISSIONER ARRIAGA:  It is a general question.

24   Most of the issues, staff indicates staff will keep the

25   Commission informed of the progress of these activities.  Staff

FLORIDA PUBLIC SERVICE COMMISSION

37

1   will continue to work with the companies to bring them into

2   compliance, and that is repeated through the recommendation

3   several times.  My question to you is for how long?

4             MR. McNULTY:  Commissioner, I think we have just had

5   discussion on Issue 1.  There was an open-ended time frame with

6   that issue.  It didn't say specifically, but we just talked

7   about 30 days for a time frame for Progress and Gulf to bring

8   us additional data that was --

9             COMMISSIONER ARRIAGA:  Sorry to interrupt you a

10   minute.  I'm sorry.  I'm not talking about Issue 1.  I'm just

11   saying in general through every one -- most of the issues where

12   there is not compliance, you indicate that you will continue to

13   work with the companies to bring them into compliance.  Is it

14   30 days all through these items specifically or to Issue 1

15   specifically?  What is it you are proposing?  What is it you

16   need?

17             MR. TRAPP:  I would like to address this if I might,

18   Bill.

19             CHAIRMAN EDGAR:  Mr. Trapp.

20             MR. TRAPP:  The time frame for us to continue to

21   monitor and bring this back to you, as long as there is a

22   Florida.  That is our intent.  I think this recommendation

23   addresses two things, a short-term come back in this docket, no

24   more than 30 days, for them to make us happy, satisfied with

25   the data that will bring them in conformance with the order

FLORIDA PUBLIC SERVICE COMMISSION

38

1   that we could bring back to you at an agenda.  And if 30 days

2   is too long, you know, if they can get that information to us

3   this week, we can get to probably the October 3rd agenda with

4   that closure for the specific docket that we have here before

5   us.

6             But it is staff's intent in this recommendation by

7   the perpetual promise that we will monitor and bring back

8   information to the Commission to bring storm-related incidents,

9   whether it be a hurricane storm or a tropical storm or just a

10   thunderstorm, to you on an annual basis as part of our regular

11   annual distribution reliability reporting to the Commission.

12             Now, the Commission has already taken steps toward

13   that end.  You have allowed us to modify the Commission's rules

14   with respect to reporting and distribution reliability.  We no

15   longer have to run to agenda every time we need an exception

16   for a storm, because the philosophy has changed to an ongoing

17   review process with reports annually to the Commission, like we

18   do in the ten-year site plan, where it brings these issues to

19   the public viewpoint, and it shows where problem areas may be

20   or may not, and we can move as we need to move.

21             So that's our goal, basically, to report to you

22   annually the effects of hurricane-related outages,

23   nonhurricane-related outages.  We need to get -- we need to

24   bring all of these efforts, in my opinion, about hurricanes or

25   not back to the bottom line, are we keeping the lights on in

FLORIDA PUBLIC SERVICE COMMISSION

39

1   Florida.

2             And so that is what our overall objective is in this

3   recommendation.  Short-term, 30-day, get this docket, you know,

4   resolved and closed, but an ongoing look at the issue of

5   service reliability.

6             COMMISSIONER ARRIAGA:  Thank you.

7             CHAIRMAN EDGAR:  Commissioner Arriaga, your question

8   raised a question in my mind.  And I think you and I are on the

9   same page on this.

10             COMMISSIONER ARRIAGA:  Aren't we always?

11             CHAIRMAN EDGAR:  Absolutely.

12             But when I am looking through the -- so that I've got

13   it all here in front of me on one or two or three pages, the

14   issue and recommendation summary for each of the 11 issues that

15   are contained in this item.  Of those 11 on Issue 1, which we

16   have talked about and certainly can continue to about

17   vegetation management of the five IOUs.  The recommendation

18   that came to us from our staff was that two of the plans filed

19   were in compliance.  One file proposed an alternative which our

20   staff is recommending as acceptable.  And then the two that we

21   have talked about that we have set a time frame for 30 days to

22   have additional data and will come back to us.

23             And then Item 7 that we have also talked about with

24   the collaborative research and the discussion that we have had,

25   that although in the staff recommendation they found that those

FLORIDA PUBLIC SERVICE COMMISSION

40

1   plans were incomplete, we have received more information and

2   are making very good progress on that point.

3             The others, I think from the recommendation, as I

4   look down the summary, do find all other items to be in

5   compliance.  Is that accurate?

6             MR. BREMAN:  Yes, ma'am.

7             CHAIRMAN EDGAR:  Okay.  So I heard your question to

8   be when will we be in compliance.  And I just wanted to make

9   sure there weren't other points that you had a concern about.

10             COMMISSIONER ARRIAGA:  Absolutely.  And I appreciate

11   your summary.  I really appreciate it, because that is exactly

12   what it is.

13             CHAIRMAN EDGAR:  Okay.

14             Commissioner Carter.

15             COMMISSIONER CARTER:  Madam Chairman, if I am in

16   order, rather than taking them issue-by-issue, I would move

17   staff's recommendations on this case.

18             COMMISSIONER ARRIAGA:  I will second.

19             CHAIRMAN EDGAR:  Okay.  Commissioners, we have a

20   motion and a second.  I'll open it up for any further

21   discussion.

22             COMMISSIONER DEASON:  Well, I have a question.

23             CHAIRMAN EDGAR:  Commissioner Deason.

24             COMMISSIONER DEASON:  Is it staff's recommendation

25   that the plans provided by Progress Energy and Gulf in relation

FLORIDA PUBLIC SERVICE COMMISSION

41

1   to vegetation management are inappropriate or just

2   unsubstantiated at this point, and we are reserving judgment on

3   the appropriateness of the plans until additional information

4   is provided?

5             MR. BREMAN:  I would suggest it is the latter.

6             COMMISSIONER DEASON:  And that is your

7   recommendation?

8             MR. BREMAN:  Yes, sir.

9             COMMISSIONER DEASON:  Okay.  And then in relation to

10   Issue 7, it's your recommendation that the plans do not

11   establish a sufficiently detailed schedule.  Do you have

12   additional information now that would change that

13   recommendation, or is it still your recommendation that we

14   don't have a sufficiently detailed schedule?

15             MR. BREMAN:  You have heard the assertion of the

16   utility representative today.  I think that can be taken to the

17   bank.  And as related to somebody in Missouri, I would wait for

18   the paper on next week showing the details.

19             COMMISSIONER DEASON:  So we are --

20             MR. BREMAN:  We are in compliance on Issue 7.

21             COMMISSIONER DEASON:  We are awaiting additional

22   information to reach compliance on Issue 7, is that correct?

23             MR. BREMAN:  That's sort of the posture I would like

24   to be in, yes, sir.

25             COMMISSIONER DEASON:  Mr. Willis, is that your

FLORIDA PUBLIC SERVICE COMMISSION

42

1   understanding, as well?

2             MR. WILLIS:  Well, we had hoped that we had provided

3   that information here for you today.  But we certainly

4   understand that this whole area is an interactive process where

5   we will take actions and inform you of the actions, interact

6   with staff with respect to individual projects, and that is

7   going to be ongoing.  But we had hoped that you, having heard

8   what I have presented to you, were satisfied that we -- we have

9   been diligent, that we have complied with what you placed in

10   the order, both literally and in spirit, and that you would

11   find that satisfactory for this purpose.

12             COMMISSIONER DEASON:  And it is your anticipation we

13   would make that finding based upon what you represented here

14   today?

15             MR. WILLIS:  Yes.  And, of course, we are going to

16   provide additional information as it is available to show how

17   we are making progress through this.

18             COMMISSIONER DEASON:  And what type of information

19   does staff seek to ascertain as to whether the collaborative

20   process, collaborative research, that those activities are

21   proceeding on a suitable schedule?

22             MR. BREMAN:  I think you have heard today,

23   Commissioners, new information.  So we are very comfortable

24   saying that it looks like the utilities have complied with your

25   requirements for collaborative research.  And we agree -- if

FLORIDA PUBLIC SERVICE COMMISSION

43

1   you are comfortable with the information you heard today, we

2   would recommend that you absolutely approve what the utilities

3   have done to date as compliant with the requirements of the

4   order.  Staff will continue to collect information, as

5   Mr. Willis indicated.  And, Commissioners, if we find something

6   that makes us nervous, we will bring it back to you.

7             COMMISSIONER DEASON:  Then the motion is consistent

8   with that explanation?

9             COMMISSIONER CARTER:  Exactly.  That is exactly the

10   sense of the motion.

11             COMMISSIONER DEASON:  I can second -- well, I think

12   the motion has already been seconded.

13             COMMISSIONER CARTER:  It's been seconded.

14             CHAIRMAN EDGAR:  Okay.  We have a motion and we have

15   a second for the staff recommendation that is before us with

16   the clarification on Item 7 for -- excuse me, Issue 7, and per

17   the discussion that we have had --

18             Yes, ma'am.

19             MS. GERVASI:  I'm sorry.  Just as a point of

20   clarification, because in Issue 1 the staff didn't recommend a

21   time certain by which Progress and Gulf should submit their

22   additional data, including a time certain of 30 days would be a

23   modification to Issue 1.

24             CHAIRMAN EDGAR:  Yes.  And my understanding is that

25   is wrapped in again per the discussion that we have had.  Thank

FLORIDA PUBLIC SERVICE COMMISSION

44

1   you, Ms. Gervasi.

2             Okay.  Is everybody clear?  Okay.  Then all in favor

3   of the motion that we have just discussed say aye.

4             (Unanimous affirmative vote.)

5             CHAIRMAN EDGAR:  Opposed?  Show it adopted.

6             Thank you, everyone, for your participation in this

7   discussion.

8                             * * * * * *

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

45

1

2   STATE OF FLORIDA    )

3                       :              CERTIFICATE OF REPORTER

4   COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Hearing Reporter Services

6   Section, FPSC Division of Commission Clerk and Administrative

Services, do hereby certify that the foregoing proceeding was

7   heard at the time and place herein stated.

8             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

9   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

10   proceedings.

11             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

12   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

13   the action.

14             DATED THIS 6th day of September, 2006.

15

16             ___________________________________________

JANE FAUROT, RPR

17                   Official FPSC Hearings Reporter

FPSC Division of Commission Clerk and

18                       Administrative Services

(850) 413-6732

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION