D.1.0  RCID Introduction

D.1.1  RCID Overview

Reedy Creek Improvement District (RCID) is a public corporation of the State of Florida and is located in Orange and Osceola Counties, about 15 miles southwest of the City of Orlando.  RCID encompasses approximately 25,000 acres, or 38.6 square miles. Approximately 18,800 acres of RCID’s property are located in Orange County and 6,200 acres are located in Osceola County.  Two cities are located within the boundaries of RCID, the City of Lake Buena Vista and the City of Bay Lake.

In accord with its enabling legislation, RCID is responsible to the owners of land within its service territory and the public to provide for surface water control and drainage; utilities and mosquito control; roads and bridges; land use regulation and planning; fire protection; emergency medical services; environmental services; data collection and evaluation; building and other construction codes enforcement and inspections; and interface with local, regional, state and federal regulatory agencies.

RCID owns, operates, and maintains facilities associated with the electric generation, and distribution of power solely within RCID.  RCID’s current net summer generating capacity includes a 55 MW LM6000 1x1 combined cycle unit and two 2.5 MW diesel generating units.  In addition to its own generating capacity, RCID purchases the remaining portion of its electric system requirements from other suppliers.

RCID is a summer peaking system; it expects incremental annual demand increases of between 1 MW and 3 MW over the 2006 to 2010 forecast period, and approximately 1 MW incremental annual demand increases from 2010 through 2025.  The firm summer peak demand is projected to increase from 191 MW in 2006 to 213 MW in 2025.

The Taylor Energy Center (TEC) is being proposed as a joint development project by four municipal entities, including the Florida Municipal Power Agency (FMPA), JEA, RCID, and the City of Tallahassee (collectively, the Participants).  The Participants are developing TEC to realize the benefits associated with the economies of scale inherent in constructing and operating a large power plant.  TEC will be developed on a site consisting of approximately 3,000 acres, to be located approximately 5 miles southeast of Perry, in Taylor County, Florida.  The land is bordered by Highway 27 on the north and the Fenholloway River on the west.  The plant is proposed to be a 765 MW (net) supercritical pulverized coal unit, with a net heat rate of 9,238 Btu/kWh when firing a blend of Latin American coal and petroleum coke (petcoke).  Additional details regarding TEC are included in Section A.3.0 of this Application.  RCID’s ownership interest in TEC will be 9.3 percent, or about 71 MW (net at average ambient operating conditions).

In addition to providing a reliable, cost-effective resource to meet RCID’s growing electric capacity and energy needs, TEC will provide additional benefits to the State of Florida.  The project will use proven supercritical boiler technology and advanced pollution control equipment to limit emissions, while burning a variety of solid fuels including Powder River Basin (PRB) coal (which has the largest coal reserves of any region within the United States), as well as Central Appalachian coals, Latin American coals, and petcoke.  TEC will provide RCID and the other Participants with fuel diversity.  The State of Florida will benefit from having the ability to source fuel from locations outside the hurricane-susceptible natural gas producing regions within the Gulf Coast.  In addition, RCID’s customers will have access to an energy supply source with less volatility than natural gas, which should help electric energy rates become more stable and predictable over time.

D.1.2  RCID Summary

Information specific to RCID is included in this Volume D.  The remainder of Volume D of this Application is comprised of nine additional sections:

- Section D.2.0 - Description of RCID’s Existing System

- Section D.3.0 - Forecast of RCID’s Electrical Demand and Consumption

- Section D.4.0 - RCID’s Need for Capacity

- Section D.5.0 - RCID’s Economic Analysis

- Section D.6.0 - RCID’s Sensitivity Analyses

- Section D.7.0 - RCID’s Demand-Side Management

- Section D.8.0 - RCID’s Strategic Considerations

- Section D.9.0 - RCID’s Consequences of Delay

- Section D.10.0 - RCID’s Financial Analysis

The information and analyses presented throughout this Volume D and the complete Application demonstrate that the proposed TEC satisfies the requirements set forth in Section 403.519, Florida Statutes.  In particular, TEC is the most cost-effective alternative available to RCID to satisfy forecast capacity requirements in a reliable, environmentally responsible manner.  TEC will provide RCID, and the State of Florida as a whole, with increased fuel diversity and supply reliability.  There are no additional cost-effective conservation measures that could mitigate RCID’s need for TEC.