E.1.0  City of Tallahassee Introduction

E.1.1  City of Tallahassee Overview

The City of Tallahassee (City) owns, operates, and maintains an electric generation, transmission, and distribution system that presently supplies electric power and energy to approximately 108,000 customers in a service area consisting of approximately 221 square miles.  Incorporated in 1825, the City has operated since 1919 under the same charter and began generating its power requirements in 1902.

Currently, the City’s Electric Department operates three generating stations with a total summer net capacity of 746 megawatts (MW) and a total winter net capacity of 797 MW.  The Sam O. Purdom Generating Station is located 22 miles south of the City.  The facility has one steam unit, one combined cycle unit, and two combustion turbine units for a total of four generating units with total net summer and winter capacities of approximately 301 MW and 332 MW, respectively.  The Arvah B. Hopkins Generating Station (Hopkins Station) is located 7 miles west of the City, and currently consists of two steam units and four combustion turbine units with total net summer and winter capacities of 434 MW and 454 MW, respectively.  The City also has been generating electricity at the C.H. Corn Hydroelectric Station, which is located 20 miles southwest of the City.  The facility consists of three generating units and has a total net summer and winter capacity of 11 MW.

The City is a summer peaking system and expects consistent growth throughout the forecast period.  The firm summer peak demand is projected to increase from 609 MW in 2006 to 793 MW in 2025, and the firm winter peak is projected to increase from 546 MW in 2006 to 779 MW in 2025.

Taylor Energy Center (TEC) is being proposed as a joint development project by four municipal utilities, including the Florida Municipal Power Agency (FMPA), JEA, Reedy Creek Improvement District (RCID), and the City of Tallahassee (collectively, the Participants).  The Participants are developing TEC to realize the benefits associated with the economies of scale inherent in constructing and operating a large power plant.  TEC will be developed on a site consisting of approximately 3,000 acres to be located approximately 5 miles southeast of Perry, in Taylor County, Florida.  The land is bordered by Highway 27 on the north and the Fenholloway River on the west.  The plant is proposed to be a 765 MW (net) supercritical pulverized coal unit with a net heat rate of 9,238 Btu/kWh when firing a blend of Latin American coal and petroleum coke (petcoke).  Additional details regarding TEC are included in Section A.3.0 of this Application.  The City’s ownership interest in TEC will be 20.3 percent, or about 155.4 MW (net at average ambient operating conditions).

In addition to providing a reliable, cost-effective resource to meet the City’s growing electric capacity and energy needs, TEC will provide additional benefits to the State of Florida.  The project will use proven supercritical boiler technology and advanced pollution control equipment to limit emissions, while burning a variety of solid fuels including Powder River Basin (PRB) coal (which has the largest coal reserves of any region within the United States), as well as Central Appalachian coals, Latin American coals, and petcoke.  TEC will provide the City and the other Participants with fuel diversity.  The State of Florida will benefit from the ability to source fuel from locations outside the hurricane-susceptible natural gas producing regions within the Gulf Coast.  In addition, the City’s customers will have access to an energy supply source with less price volatility than natural gas, which should help electric energy rates become more stable and predictable over time.

E.1.2  City of Tallahassee Summary

Information specific to the City is included in this Volume E.  The remainder of Volume E of this Application is comprised of nine additional sections:

- Section E.2.0 - Description of the City’s Existing System.

- Section E.3.0 - Forecast of the City’s Electrical Demand and Consumption.

- Section E.4.0 - The City’s Need for Capacity.

- Section E.5.0 - The City’s Economic Analysis.

- Section E.6.0 - The City’s Sensitivity Analyses.

- Section E.7.0 - The City’s Demand-Side Management.

- Section E.8.0 - The City’s Strategic Considerations.

- Section E.9.0 - The City’s Consequences of Delay.

- Section E.10.0 - The City’s Financial Analysis.

The information and analyses presented throughout this Volume E and the complete Application demonstrate that the proposed TEC satisfies the requirements set forth in Section 403.519, Florida Statutes.  In particular, TEC is the most cost-effective alternative available to the City to satisfy forecast capacity requirements in a reliable, environmentally responsible manner.  TEC will provide the City, and the State of Florida as a whole, with increased fuel diversity and supply reliability.  In selecting TEC as its next generating resource, the City considered all reasonable conservation and demand-side management (DSM) measures available beyond its existing portfolio of energy conservation offerings and  found a combination of TEC with conservation, DSM, and renewable resources to be the most cost-effective means of satisfying its capacity and energy needs.