BEFORE THE PUBLIC SERVICE COMMISSION

| In re: Petition for approval of revisions to access to premises section of Tariff Sheet No. 6.020, by Florida Power & Light Company. | DOCKET NO. 060151-EI ORDER NO. PSC-06-0874-TRF-EI ISSUED: October 23, 2006 |
| --- | --- |

The following Commissioners participated in the disposition of this matter:

LISA POLAK EDGAR, Chairman

J. TERRY DEASON

ISILIO ARRIAGA

MATTHEW M. CARTER II

KATRINA J. TEW

ORDER DENYING TARIFF FILING

BY THE COMMISSION:

Background

On February 20, 2006, Florida Power & Light Company (FPL or utility) filed a petition to revise Section 2.8 of its current Ninth Revised Tariff Sheet No. 6.020, Access to Premises, to expand its authority to not only remove trees and vegetation within the utility’s designated rights-of-way (ROW), but also to trim or remove vegetation adjacent to its easements and ROW and/or the location of its facilities. Under its current tariff, FPL is authorized to, among other things, trim trees within its easements and ROW.  FPL asserts that this change is necessary to clear lines to meet its Storm Secure Plan.  FPL believes it would not only prevent outages but allow faster restoration of downed lines.

By Order No. PSC-06-0340-PCO-EI, issued April 24, 2006, in this docket, we suspended our decision on this proposed tariff to allow time for full and careful review of its provisions.  In so doing, we noted that approval of the proposed tariff would appear to expand FPL’s authority to trim or remove vegetation on private property if FPL believed it would potentially affect its facilities.

Expansion of tree trimming was discussed during the Infrastructure Workshop held on January 23, 2006, as a potential area for legislative action because of the private property issue. The utilities supported legislation which would address the extent to which a private utility could trim or remove trees or vegetation that interfere with utility facilities. By Order No. PSC-06-0340-PCO-EI, we found it prudent to wait for any legislative guidance before moving forward in this area, as Commission action on the proposed tariff could have potentially conflicted with such legislation.  FPL requested that its petition be acted upon on an expedited basis due to an expressed concern for mitigating storm damage from vegetation.  We found that concern to be valid.  However, we also found that in the absence of legislation which clearly gives the utility the right to trim or remove vegetation outside of its ROW, it should look further into the property rights issues, as well as any potential conflict with local tree trimming ordinances.

We have jurisdiction to consider this proposed tariff filing pursuant to sections 366.04, 366.05, and 366.06, Florida Statutes.

Tariff Filing

Current Vegetation Management Program

In response to a staff data request, FPL states that its current vegetation management program directs that trees be trimmed to protect its facilities, including trees where the tree trunk is located outside of a ROW but the limbs are encroaching into its facilities.  Under its current policy, FPL must request the property owner’s permission before removing vegetation outside of the ROW.  FPL does not trim or remove vegetation outside of the ROW if permission is denied.  However, FPL will trim trees outside of the ROW at a customer’s request after an inspection is completed and it is determined the work is necessary to protect the electric facilities.  FPL is not specifically compensated for this work. Moreover, during its bi-annual inspection of its transmission lines, conflict timber is inspected and danger timber identified and evaluated for risk to the system.  Danger timber and conflict timber is trimmed or removed to reduce or eliminate the risk.  FPL defines a “danger tree” as a dead, diseased, dying or leaning tree that if it were to fall would interrupt the line.  “Conflict timber” is defined as a healthy tree that through its geometry and location could interrupt the line if it were to fall.  The proposed tariff language, however, does not include any specific criteria that FPL will use to determine if a tree creates a potential for causing customer service interruptions.

New Legislation

Legislation was not enacted during this past legislative session to clearly give utilities the right to trim or remove vegetation outside of their ROW.  Senate Bill 980, which became law on June 22, 2006, created section 163.3209, Florida Statutes – Electric transmission and distribution line right-of-way maintenance.  Among other things, that section prohibits local governments from requiring any permits or approvals for certain vegetation maintenance in an established electric transmission or distribution line ROW.  Section 163.3209 expressly states that “[t]he provisions of this section do not include the removal of trees outside the right-of-way, which may be allowed in compliance with applicable local ordinances.”  Further, section 163.3209 requires that “[u]pon the request of the local government, the electric utility shall meet with the local government to discuss and submit the utility’s vegetation maintenance plan, including the utility’s trimming specifications and maintenance practices.”

Commission Authority to Approve Tariff

In response to a staff data request, FPL argues that this Commission’s authority to approve a tariff allowing a utility to trim or remove vegetation outside of the ROW is under section 366.04(1), (2)(c), and (5), Florida Statutes.  FPL states that these statutory provisions grant broad powers to the Commission to regulate and supervise utilities with respect to service, to require reliability within a coordinated grid, and provide for the Commission’s jurisdiction over the maintenance of a coordinated grid to assure an adequate and reliable source of energy for operation and emergency purposes in Florida. FPL argues that expanded vegetation management rights would further the statutory goal of an adequate and reliable source of energy.  FPL also believes that this Commission recognized and acknowledged its authority to approve the requested tariff when it approved FPL’s standard form easements (Tariff Sheets 9.770 and 9.775).  These tariff sheets provide that FPL has the right “…to trim and cut and keep trimmed and cut all dead, weak, leaning or dangerous trees or limbs outside of the easement area which might interfere with or fall upon the lines.”  Moreover, FPL states that the ANSI A-300 pruning standards require that a branch be removed at its point of origin, notwithstanding that portions of the branch may be outside the ROW, where the branch is growing, or will grow, into utility facilities.

We find that the current tariff language and the ANSI language are consistent with current practices of trimming vegetation which intrudes into the ROW, even though the source tree may be outside of the ROW.  However, neither the current tariff language nor the ANSI language confer the broader authority which FPL is seeking in the instant docket, to trim or remove vegetation adjacent to its easements and ROW and/or the location of its facilities.

We are not persuaded by FPL’s argument that this Commission has the statutory authority to approve its proposed tariff revision. Section 366.04(1), Florida Statutes, provides that we have the “jurisdiction to regulate and supervise each public utility with respect to its rates and service….”  Section 366.04(2)(c) provides that we have the power to “require electric power conservation and reliability within a coordinated grid, for operational as well as emergency purposes.”  Section 366.04(5) provides that “[t]he commission shall further have jurisdiction over the planning, development, and maintenance of a coordinated electric power grid throughout Florida to assure an adequate and reliable source of energy for operational and emergency purposes in Florida and the avoidance of further uneconomic duplication of generation, transmission, and distribution facilities.”

This Commission is an administrative agency created by the Legislature, and as such, "the Commission's powers, duties and authority are those and only those that are conferred expressly or impliedly by statute of the State." City of Cape Coral v. GAC Utilities, Inc. of Florida.  Certainly, nowhere in section 366.04, Florida Statutes, is it expressly conferred that this Commission may authorize a public utility to trim or remove vegetation outside of its ROW for the purposes of ensuring reliability or for any other purpose.

Importantly, easements and ROW are property rights.  A fundamental tenet of the law of property ownership is that property is a bundle of rights analogous to a bundle of sticks.   “Thus, the scope of an easement is defined by what is granted, not by what is excluded, and all rights not granted are retained by the grantor.”  Because the proposed tariff revision seeks to implicate private property rights, we find that our authority to approve such a tariff revision would have to be expressly conferred by statute. In so finding, we note that “[a]ny reasonable doubt as to the lawful existence of a particular power that is being exercised by the Commission must be resolved against the exercise thereof. . . .”

Impact of Proposed Tariff on Property Rights

In a data request, our staff asked FPL about the impact of this proposed tariff revision on property rights and the likelihood of lawsuits brought by property owners objecting to vegetation management on private property outside of the ROW. With respect to the lawsuit issue, FPL responded that it has not conducted any legal analysis.  With respect to the impact on property rights, FPL asserts that compliance by a customer with a tariff, made in good faith and enforced without discrimination, which provides a utility with reasonable vegetation management rights on private property outside the ROW, would be a condition of service.  FPL argues that essentially, the customer would make a limited waiver of rights to receive service.

FPL argues that Rule 25-6.033, Florida Administrative Code, authorizes a public utility to adopt non-discriminatory rules and regulations governing its relations with customers.  Moreover, FPL cites to Florida Power & Light Co. v. State of Florida, which states that:

. . . the rule usually followed by the Courts is to hold justifiable a regulation which is made by a public utility company in good faith, and enforced by it without discrimination, unless it is plainly unreasonable or outrageous in its general operation.  Whether the court might itself have done differently, or even if it sees hardships in particular cases, is not enough to induce the courts to set a regulation aside or hold it no justification.

We disagree with FPL’s analysis.  In Florida Power & Light Co. v. State of Florida, FPL was authorized by City ordinances to prescribe reasonable rules and regulations for the management, operation and control of the service at issue.  “Acting under the power thus given, the company duly adopted and promulgated [the] regulation. . . .”   In the instant docket, there is no authorized regulation for the utility to adopt and promulgate unless we were to find that we have the statutory authority to approve the proposed tariff revision, and so approved it.  We find that we do not and should not.

Finally, citing to Landrum v. Florida Power & Light Co. and Potts v. Florida Power & Light Co., FPL argues that a customer is bound by the tariff regardless of his knowledge or assent thereto, and states that compliance with the tariff is therefore a condition of service.  These cases apply to limitation of liability clauses contained within a tariff, and are inapplicable to the proposed tariff at issue.

Further, the Commission has found that the determination of property rights and the extent of allowable property uses are not within its jurisdiction.  Florida's civil courts are the courts of competent jurisdiction to resolve real property rights issues.

Conclusion

For the foregoing reasons, FPL’s proposed tariff filing is denied because of our lack of express statutory authority to approve it.  In addition, the tariff lacks any criteria for determining when trees would be removed, leaving all discretion to the utility.  Even the application of the criteria used for clearing transmission lines, when applied to a residential lot, could effectively eliminate almost any trees between a house and the line. Thus, enforcement of the requested tariff could generate numerous customer complaints and potential legal action against the utility.  Furthermore, FPL stated in its response to a staff data request that it would not disconnect service if a customer contested any proposed tree removal, making enforcement of the tariff provision essentially non-existent. The utility remains in the position of relying on the permission of the homeowner in order to remove vegetation outside of its easements and ROW.

Nevertheless, we note that newly enacted section 163.3209, Florida Statutes, provides that although its provisions do not include the removal of trees outside the ROW, the removal of trees outside the ROW may be allowed in compliance with applicable local ordinances.  Further, section 163.3209 requires that “[u]pon the request of the local government, the electric utility shall meet with the local government to discuss and submit the utility’s vegetation maintenance plan, including the utility’s trimming specifications and maintenance practices.”  FPL is  encouraged to coordinate its efforts to trim and remove vegetation outside of its easements and ROW with the local governments involved.  We find that it would more fruitful for FPL to intensify its efforts to work with local governments as discussed in Docket No. 060198-EI to adopt tree planting and removal ordinances, which will accomplish the same task with fewer drawbacks from a regulatory perspective.

Based on the foregoing, it is

ORDERED by the Florida Public Service Commission that Florida Power & Light Company’s petition to revise Section 2.8 of its current Ninth Revised Tariff Sheet No. 6.020, Access to Premises, is denied.  It is further

ORDERED that this Order shall become final and effective upon the issuance of a Consummating Order unless an appropriate petition, in the form provided by Rule 28-106.201, Florida Administrative Code, is received by the Director, Division of Records and Reporting, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on the date set forth in the "Notice of Further Proceedings or Judicial Review" attached hereto.  It is further

ORDERED that if a petition for formal proceeding is not timely filed by a person whose substantial interests are affected by this decision, this docket shall be closed.

By ORDER of the Florida Public Service Commission this  23rd day of October, 2006.

|  | /s/ Blanca S. Bayó |
| --- | --- |
|  | BLANCA S. BAYÓ, Director Division of the Commission Clerk and Administrative Services |

This is a facsimile copy. Go to the Commission's Web site, http://www.floridapsc.com or fax a request to 1-850-413-7118, for a copy of the order with signature.

( S E A L )

RG

NOTICE OF FURTHER PROCEEDINGS

The Florida Public Service Commission is required by Section 120.569(1), Florida Statutes, to notify parties of any administrative hearing or judicial review of Commission orders that is available under Sections 120.57 or 120.68, Florida Statutes, as well as the procedures and time limits that apply.  This notice should not be construed to mean all requests for an administrative hearing or judicial review will be granted or result in the relief sought.

Mediation may be available on a case-by-case basis.  If mediation is conducted, it does not affect a substantially interested person's right to a hearing.

The Commission's decision on this tariff is interim in nature and will become final, unless a person whose substantial interests are affected by the proposed action files a petition for a formal proceeding, in the form provided by Rule 28-106.201, Florida Administrative Code.  This petition must be received by the Director, Division of the Commission Clerk and Administrative Services, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on November 13, 2006.

In the absence of such a petition, this Order shall become final and effective upon the issuance of a Consummating Order.

Any objection or protest filed in this docket before the issuance date of this order is considered abandoned unless it satisfies the foregoing conditions and is renewed within the specified protest period.

FPL trims the limbs and branches in accordance with the National Electrical Safety Code (NESC) and follows the American National Standards Institute (ANSI) A-300 pruning practices.

281 So. 2d 493, 496 (Fla. 1973).

City of Orlando v. MSD-Mattie, L.L.C., 895 So. 2d 1127, 1130, rehearing denied, 2005 Fla. App. LEXIS 5190 (Fla.5th DCA 2005).

Id.

City of Cape Coral v. GAC Utils. Inc., of Florida, 281 So. 2d at 496.

107 Fla. 317, 319-320 (Fla. 1932).

Id. at 320.

505 So. 2d 552, 554 (Fla. 3rd DCA 1987), review denied, 513 So. 2d 1061 (Fla. 1987).

841 So. 2d 671, 672 (Fla. 4th DCA 2003) (quoting Landrum).

“It is well established that a limitation of liability contained in a tariff is an essential part of the rate, and that the consumer is bound by the tariff regardless of his knowledge or assent thereto.” Landrum v. Florida Power & Light Co., 505 So. 2d at 554.  And “. . . a tariff validly approved by the Public Service Commission, including a limitation of liability for ordinary negligence, resulting in the interruption of the regular supply of electric service, is valid.” Id. (emphasis added).

See, e.g., Order No. PSC-02-0788-PAA-EI, issued June 10, 2002, in Docket No. 010908-EI, In Re: Complaint against Florida Power & Light Company regarding placement of power poles and transmission lines by Amy & Jose Gutman, Teresa Badillo, and Jeff Lessera.

See Order Nos. PSC-06-0351-PAA-EI and PSC-06-0781-PAA-EI, issued April 25, 2006 and September 19, 2006, respectively, in Docket No. 060198-EI, In Re: Requirement for investor-owned electric utilities to file ongoing storm preparedness plans and implementation cost estimates.