BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

SUPPLEMENTAL TESTIMONY OF CHRIS J. KLAUSNER

ON BEHALF OF

FLORIDA MUNICIPAL POWER AGENCY

JEA

REEDY CREEK IMPROVEMENT DISTRICT

AND

CITY OF TALLAHASSEE

DOCKET NO. 060635

DECEMBER 26, 2006

# Q.	Please state your name and business address.

# A.	My name is Chris J. Klausner.  My business mailing address is 11401 Lamar Avenue, Overland Park, Kansas 66211.

# Q.	By whom are you employed and in what capacity?

# A.	I am employed by Black & Veatch Corporation.  My current position is Senior Consultant/Project Manager.

# Q.	Have you previously submitted testimony in this proceeding?

# A.	Yes.

# Q.	What is the purpose of your supplemental testimony?

# A.	The purpose of my testimony is to provide updated capital cost estimates for the supply-side alternatives considered in the TEC Need for Power Application, Exhibit No.__ (TEC-1).

# Q.	Have there been any market changes that would impact the capital cost estimates used for the available alternatives?

# A.	Yes.  Certain market impacts on the costs of major equipment, commodities, and labor have occurred that would increase the capital cost estimates for the available alternatives.

# Q.	Are you familiar with the updated capital cost estimate for TEC discussed in the supplemental testimony of Paul Hoornaert?

# A.	Yes.  I have reviewed the updated capital cost estimate for TEC.

# Q.	By how much did the capital cost estimate increase for TEC?

# A.	As stated in Mr. Hoornaert’s supplemental testimony, the increase is approximately 19 percent.

# Q.	By how much do you estimate the capital costs for the coal-fired alternatives presented in the TEC Need for Power have increased?

# A.	Based on my independent analysis, I estimate that the costs of the coal-fired alternatives presented in the Need for Power Application have increased by approximately 20 percent.  This is because market influences that have led to the updated capital cost estimate for TEC, a supercritical pulverized coal unit, are similar to those that would be expected to impact the coal-fired alternatives in the TEC Need for Power Application since these alternatives utilize relatively the same proportions of commodities such as steel and concrete, construction labor, and pollution control equipment and other equipment unique to coal fired units such as chimneys.

# Q.	Would the estimated change in the capital cost estimates for coal fired generation be the same as for natural gas fired generation?

# A.	No.  Natural gas fired generation would be subject to some degree of capital cost increases associated with major equipment and labor, similar to the coal fired alternatives.  However, the impact on the capital cost estimates for coal fired alternatives would likely be more pronounced than for natural gas fired generation. The estimated percentage increase in the capital cost of natural gas fired generation alternatives from that in the Need for Power Application is approximately 12 percent.  The lower percentage increase in the capital cost for natural gas fired generation alternatives compared to coal fired alternatives is due to the fact that there are proportionally less commodities such as concrete and steel in natural gas fired generation compared to coal generation as well as proportionally less construction labor required.  Also costs for major engineered equipment such as combustion turbines for natural gas fired generation are not increasing as fast as the major engineered equipment for coal units.  Furthermore cost increases for pollution control equipment would be less for natural gas fired generation than for coal units.

Q.	Is it unusual for capital costs to change over time?

A.	No.  Capital costs for generating alternatives are subject to change based on changing prices for equipment, labor, commodities and other items.  Fundamental supply and demand forces will affect capital costs for generating alternatives.

# Q.	Does this conclude your testimony?

# A.	Yes.