1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 060635-EU

3        In the Matter of

4   PETITION FOR DETERMINATION OF NEED FOR

ELECTRICAL POWER PLANT IN TAYLOR COUNTY.

5   BY FLORIDA MUNICIPAL POWER AGENCY, JEA,

REEDY CREEK IMPROVEMENT DISTRICT, AND

6   CITY OF TALLAHASSEE.

_______________________________________/

7

8

9                              VOLUME 1

10                        Pages 1 through 110A

11             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

12               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

13

14   PROCEEDINGS:        HEARING

15   BEFORE:             CHAIRMAN LISA POLAK EDGAR

COMMISSIONER ISILIO ARRIAGA

16                       COMMISSIONER MATTHEW M. CARTER, II

COMMISSIONER KATRINA J. TEW

17                       COMMISSIONER KENNETH W. LITTLEFIELD

18   DATE:               Wednesday, January 10, 2007

19   TIME:               Commenced at 9:45 a.m.

20   PLACE:              Betty Easley Conference Center

Room 148

21                       4075 Esplanade Way

Tallahassee, Florida

22

REPORTED BY:        LINDA BOLES, CRR, RPR

23                       JANE FAUROT, RPR

Official FPSC Reporter

24                       (850) 413-6734

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1   APPEARANCES:

2             GARY PERKO, ESQUIRE; CAROLYN RAEPPLE, ESQUIRE; and

3   VIRGINIA DAILEY, ESQUIRE, Hopping Law Firm, Post Office Box

4   6526, Tallahassee, Florida 32314, appearing on behalf of

5   Florida Municipal Power Agency, JEA, Reedy Creek Improvement

6   District, and the City of Tallahassee.

7             E. LEON JACOBS, JR., ESQUIRE, Williams Law Firm, Post

8   Office Box 1101, Tallahassee, Florida 32302-1101, appearing on

9   behalf of the Sierra Club, John Hedrick, Brian Lupiani,

10   Dr. Anthony Viegbesie and Rebecca Armstrong.

11             JEANNE ZOKOVITCH PABEN, ESQUIRE, and BRETT M. PABEN,

12   ESQUIRE, WildLaw - Florida Office, 1415 Devils Dip, Tallahassee

13   32308-5140, appearing on behalf of John Carl Whitton, Jr.

14             SUZANNE BROWNLESS, ESQUIRE, 1975 Buford Boulevard,

15   Tallahassee, Florida 32308, appearing on behalf of the Natural

16   Resources Defense Council, Inc.

17             PATRICE L. SIMMS, ESQUIRE, Natural Resources Defense

18   Council, Inc., 1200 New York Avenue Northwest, Suite 400,

19   Washington, DC 20005, appearing on behalf of the Natural

20   Resources Defense Council, Inc.

21             MICHAEL COOKE, GENERAL COUNSEL; JENNIFER BRUBAKER,

22   ESQUIRE; KATHERINE FLEMING, ESQUIRE; and LORENA HOLLEY,

23   ESQUIRE, FPSC General Counsel's Office, 2540 Shumard Oak

24   Boulevard, Tallahassee, Florida 32399-0850, appearing on behalf

25   of the Commission Staff.

FLORIDA PUBLIC SERVICE COMMISSION

3

1                              WITNESSES

2   NAME:                                             PAGE NO.

3   MAYOR JOHN MARKS

Direct Statement                                 14

4        Cross Examination by Ms. Brownless               20

Cross Examination by Mr. Jacobs                  22

5

RICHARD FURMAN

6        Direct Statement                                 24

Cross Examination by Mr. Perko                   37

7        Cross Examination by Mr. Jacobs                  42

Cross Examination by Ms. Paben                   43

8

DR. RONALD SAFF

9        Direct Statement                                 45

Cross Examination by Ms. Brownless               53

10

KIM WILLIAMS

11        Direct Statement                                 56

12   BARRY MOLINE

Direct Statement                                 57

13        Cross Examination by Mr. Sims                    63

14   ALEX ROBINSON

Direct Statement                                 66

15        Cross Examination by Ms. Paben                   73

16   GEORGE CAVROS

Direct Statement                                 74

17

CHRISTINE THOMPSON

18        Direct Statement                                 83

19   CHARLES POPPELL

Direct Statement                                 84

20

GARY LLOYD

21        Direct Statement                                 89

22   ROGER FONTES

Direct Statement                                 93

23        Cross Examination by Ms. Brownless               96

Cross Examination by Mr. Jacobs                  99

24

BARRY PARSONS

25        Direct Statement                                102

Cross Examination by Ms. Paben                  107

FLORIDA PUBLIC SERVICE COMMISSION

4

1                              EXHIBITS

2   NUMBER:                                        ID.    ADMTD.

3   1         Comprehensive Exhibit List            8

4   2         Staff Consolidated Exhibit            8

5   3 through 81 (NOTE:  Descriptions for           8

Exhibits 3 through 81

6                 listed on the Comprehensive

Exhibit List, Exhibit 1)

7

82        Richard Furman document              41

8

83        Dr. Ronald Saff document             56

9

84        Barry Moline document                62

10

11   85        Mr. Poppell's written comments       93

12   86        Letters submitted by Mr. Fontes     102

13   87        Documents submitted by Mr. Parsons  107

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

5

1                         P R O C E E D I N G S

2             CHAIRMAN EDGAR:  Good morning.  I call this hearing

3   to order.  I appreciate everyone's patience.  We had a few

4   paperwork things that we needed to take care of so that we are

5   ready to get started.  And we have a few housekeeping things

6   that we need to go ahead and address, so we'll do that quickly.

7   I'd like to begin by asking our staff to read the notice.

8             MS. BRUBAKER:  Pursuant to notice, this time and

9   place has been set aside for the purpose of conducting a

10   hearing in Docket 060635-EU.  The purpose of the hearing is set

11   forth more fully in the notice.

12             CHAIRMAN EDGAR:  Thank you.  And let's go ahead and

13   take appearances from the attorneys who are representing the

14   parties in this case.

15             MR. PERKO:  Good morning, Commissioners.  I'm

16   Gary Perko of the Hopping, Green & Sams Law Firm on behalf of

17   the applicants Florida Municipal Power Agency, JEA, Reedy Creek

18   Improvement District and the City of Tallahassee.  With me

19   today is my partner Carolyn Raepple and my associate Virginia

20   Dailey.

21             CHAIRMAN EDGAR:  Thank you.

22             MR. JACOBS:  Good morning, Commissioners.  My name is

23   Leon Jacobs with the firm of Williams & Jacobs, and I'm here on

24   behalf of Sierra Club, Mr. John Hedrick, Mr. Brian Lupiani,

25   Dr. Anthony Viegbesie and Ms. Rebecca Armstrong.

FLORIDA PUBLIC SERVICE COMMISSION

6

1             CHAIRMAN EDGAR:  Thank you.

2             MS. PABEN:  Good morning, Commissioners.  My name is

3   Jeanne Zokovitch Paben.  I'm with the nonprofit environmental

4   law firm WildLaw, and I'm here on behalf, today on behalf of

5   John Carl Whitton, Jr.

6             CHAIRMAN EDGAR:  And, I'm sorry, could you repeat

7   your name for me again?

8             MS. PABEN:  Jeanne Zokovitch Paben.

9             CHAIRMAN EDGAR:  Does Ms. Paben work?

10             MS. PABEN:  That's fine, or Jeanne is fine.

11             CHAIRMAN EDGAR:  Okay.  Thank you.

12             MR. PABEN:  And I'm Brett Paben also with WildLaw

13   here representing John Carl Whitton, Jr.

14             MS. BROWNLESS:  Good morning.  Suzanne Brownless here

15   appearing on behalf of the Natural Resources Defense Council.

16             MR. SIMS:  Good morning, Commissioners.  My name is

17   Patrice Sims.  I'm with the Natural Resources Defense Council.

18             MS. BRUBAKER:  And Jennifer Brubaker, Katherine

19   Fleming and Lorena Holley on behalf of the Commission.  Thank

20   you.

21             MS. HELTON:  Mary Anne Helton, advisor to the

22   Commission.

23             CHAIRMAN EDGAR:  Thank you, Ms. Helton.

24             This proceeding will be in two stages.  We will have

25   the public testimony portion, which we will begin in a few

FLORIDA PUBLIC SERVICE COMMISSION

7

1   minutes, and then at the conclusion of the public testimony

2   portion we will take a short break, depending on what time of

3   day it is, and, and then after a break we will begin the

4   evidentiary portion of the hearing.

5             Before we get into the public testimony portion, Ms.

6   Brubaker, are there some preliminary matters that we need to

7   address?

8             MS. BRUBAKER:  There are a number of preliminary

9   matters, most of which I would recommend that we take up at the

10   conclusion of the public testimony prior to getting into the

11   meat of the evidentiary hearing.

12             There is one I would like to bring to everyone's

13   attention.  It is with regard to the comprehensive exhibit list

14   that's been provided to all the Commissioners and to all the

15   parties.  This represents a number of, of items, the first of

16   which is the exhibit list itself, staff's consolidated exhibit

17   which is comprised largely of interrogatory and POD responses.

18   There's also reflected there the prefiled exhibits from the

19   witnesses in this, this proceeding.  And those have been

20   numbered for the convenience of everyone beginning with 1 for

21   the comprehensive list, 2 for the staff consolidated exhibit,

22   and 3 through, I believe, 81 for the witness exhibits.  My

23   recommendation is that we identify those Exhibits 1 through 81,

24   not move them into the record at this time however.  That would

25   allow us to keep this numbering and to have any subsequent

FLORIDA PUBLIC SERVICE COMMISSION

8

1   exhibits that are identified either at the public testimony

2   portion of this morning's hearing or else at the evidentiary

3   hearing.

4             CHAIRMAN EDGAR:  Okay.

5             MS. BRUBAKER:  So I would request that the exhibits

6   be identified 1 through 81.

7             CHAIRMAN EDGAR:  Okay.  Thank you, Ms. Brubaker.  The

8   comprehensive exhibit list will be identified as Exhibit Number

9   1.  The following exhibits, as Ms. Brubaker has described, will

10   be marked 2 through 81.  And if we have some exhibits that are

11   offered during the public testimony portion, we will begin

12   numbering at 82.

13             (Exhibits 1 through 81 marked for identification.)

14             MS. BRUBAKER:  If I could also point out just for

15   clarity of the record, staff seeks to add and has discussed

16   this with all the parties and has, with agreement of the

17   parties has also provided copies to all parties and

18   Commissioners.  An additional exhibit to be added to the end of

19   staff's composite exhibit -- this will not affect the numbering

20   of 1 through 81 -- simply for the clarity that we've added a

21   hand Bate stamped 002475 to staff's composite exhibit.

22             CHAIRMAN EDGAR:  Thank you.  So noted for the record.

23             Any other preliminary matters, Ms. Brubaker?

24             MS. BRUBAKER:  Not at this time.

25             CHAIRMAN EDGAR:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

9

1             Okay.  Again, good morning, everyone.  I thank you

2   for coming out to speak to us this morning.  My name is Lisa

3   Edgar, and I'm Chairman of the Florida Public Service

4   Commission.  With me today are my fellow Commissioners:

5   Commissioner Tew, Commissioner Arriaga, Commissioner Carter and

6   Commissioner Littlefield.

7             We are here today for this portion of our proceeding

8   to hear from interested customers, consumers, citizens.  We're

9   here because we have four applicants:  The Florida Municipal

10   Power Agency, JEA, the Reedy Creek Improvement District and the

11   City of Tallahassee.  Those applicants have asked that the

12   Commission make a determination regarding whether there is a

13   need for the electrical power plant that they have proposed in

14   Taylor County, Florida.

15             In order to make this determination, our statutes

16   require us to examine the need for some specific criteria and

17   those are:  The electric system reliability and integrity,

18   adequate electricity at a reasonable cost, fuel diversity and

19   supply reliability, and whether the proposed plant is the most

20   cost-effective alternative available.

21             In addition, we must consider the conservation

22   measures taken by or reasonably available to the applicants

23   which might mitigate the need for the proposed plant, and may

24   consider other matters within our jurisdiction which may be

25   relevant.  Only issues relating to the need for the proposed

FLORIDA PUBLIC SERVICE COMMISSION

10

1   power plant are a part of this hearing.  Separate public

2   hearings will be held to consider environmental and other

3   impacts of the proposed plant.

4             As I mentioned earlier, this hearing is divided into

5   two portions, the public testimony portion and the evidentiary

6   hearing portion which we will begin after the first section.

7             At the conclusion of the evidentiary hearing, the

8   parties will file briefs and Commission staff will write a

9   recommendation as to how it believes we should decide the case

10   based on the evidence presented at today's hearing.  We're

11   currently set to discuss that recommendation and make a

12   decision at the February 13th Agenda Conference here in this

13   room.

14             The public testimony portion of this hearing is an

15   important part of our process.  It's our best opportunity to

16   hear from members of the public on what the applicants have

17   proposed, and we appreciate the fact that you have taken time

18   from your day to come and join us and to speak to us this

19   morning.

20             In terms of the presentations this morning, we're

21   first going to hear from any elected officials that have come

22   to speak to us, and then we'll take up speakers in turn as

23   you've signed up.  I hope you all saw that there were some

24   sign-up sheets available outside.  That just works best for us

25   to proceed in an orderly manner and so that we don't miss

FLORIDA PUBLIC SERVICE COMMISSION

11

1   anybody who has expressed an interest in speaking.  If you

2   haven't signed up and would like to speak, I would ask that you

3   sign up on one of the sheets just outside the doorway.  I'm

4   going to ask Ms. Brubaker as we get to that point in a moment

5   to call the names in that order.

6             Your comments will be a part of the record of this

7   proceeding, and so you will need to be sworn in.  We will do

8   that as a group here in just a moment.  After you've been

9   sworn, as I said, we will call names in the order of the

10   sign-up sheets.  When your name is called, if you would

11   approach the microphone.  And we're going to use the mike right

12   over here at these chairs.  We are -- we do want to hear from

13   you, so although this is a formal proceeding, we are also kind

14   of informal.  So just come forward, identify yourself.  If your

15   name is difficult for us to spell, it's helpful for the court

16   reporter and for us if you give us the spelling and the

17   pronunciation of your name.

18             I don't have a set time limit for speakers; however,

19   I would ask that you be mindful of the time that we have for

20   this hearing.  We have a number of witnesses, and we want to be

21   sure to hear from everybody from the public who has come to

22   speak.  So if you would be mindful of the time and respectful

23   of those others that have signed up to speak, because we want

24   to hear from everybody.  And if you have comments that are

25   pretty much in support of prior comments, you can let us know

FLORIDA PUBLIC SERVICE COMMISSION

12

1   that.

2             Ms. Brubaker, if you would briefly describe the

3   procedure if we have members of the public that would like to

4   give us written documents or exhibits.

5             MS. BRUBAKER:  Certainly, Chairman.  We've had a

6   number of speakers indicate that they have documents with them.

7   Some would like to go ahead and submit those documents into the

8   record and that's fine.  What we're going to ask you to do is

9   when you go up to speak, take the documents with you in case

10   you need to refer to them while you're speaking.  Once you've

11   concluded your questions and any questions of you have been

12   asked by the Commissioners or the parties, if you could please

13   proceed to my left, there should be somebody sitting there at

14   that point and they can take the documents from, take the

15   documents from you.  And then once the public testimony portion

16   of the hearing has concluded, I will take custody of those

17   documents.  We can identify them, the documents, would be my

18   recommendation at the time they're handed over.  However, I

19   would recommend just for efficiency's sake we not address

20   entering them into the record until public testimony is

21   actually concluded.

22             CHAIRMAN EDGAR:  Thank you, Ms. Brubaker.

23             So if you have exhibits, please follow the process

24   that she has described.  If you have questions, just ask, and

25   Ms. Brubaker and I will try to walk us all through it.  If

FLORIDA PUBLIC SERVICE COMMISSION

13

1   there are written exhibits that you would like to become a part

2   of the record, we will number them sequentially and identify

3   them by your name, the witness that has submitted them to us.

4             After you have given your testimony, there will be

5   the opportunity for Commissioners or for the parties to ask a

6   few questions, if they have any.  If they do, when you are done

7   answering or if there are no questions, you will be excused and

8   we will go to the next person on the list.

9             And with that, I think we are ready to begin.

10   Ms. Brubaker, is there anything else we need to address?

11             MS. BRUBAKER:  I'm not aware of anything else at this

12   time.

13             CHAIRMAN EDGAR:  Okay.  Then what we need to do is to

14   swear in those of you who would like to speak to us during this

15   portion of our proceeding.  I'm going to ask you to stand as a

16   group and raise your right hand.

17             (Witnesses collectively sworn.)

18             CHAIRMAN EDGAR:  Thank you.  You may be seated.

19             Ms. Brubaker, we're ready for the first name on the

20   list.

21             MS. BRUBAKER:  If I could first call, please, Mayor

22   John Marks.

23                          MAYOR JOHN MARKS

24   was called as a witness and, having been duly sworn, testified

25   as follows:

FLORIDA PUBLIC SERVICE COMMISSION

14

1             CHAIRMAN EDGAR:  Welcome, Mayor.

2                          DIRECT STATEMENT

3             MR. MARKS:  Good morning.  Two days in a row.  I

4   guess I'm blessed sitting in this seat.

5             My name is John Marks.  I'm the Mayor of the City of

6   Tallahassee.  My address is 300 South Adams Street, my business

7   address, 300 South Adams Street, Tallahassee, Florida.

8             This is obviously somewhat of an unusual position

9   that I find myself in today.  I've been in this room many times

10   before in the past, but I have to tell you I haven't been in

11   this room in this particular capacity at the end of these

12   questions, at this end of the questions.  I, of course, sat, as

13   you well know, on the dais, although not this particular dais,

14   in a prior life as one of the Florida Public Service

15   Commissioners.  I've also sat at the counsel table many times

16   before, and I've sat in the audience to observe the

17   Commission's hearings as well, but I've not sat here at the

18   witness table before.  So this is a new experience for me.

19             So I understand your responsibilities in this need

20   determination process, in the power plant siting process.  It

21   is unique, but it is extremely, extremely important.  Of

22   course, I know because I've been there both as a Commissioner

23   and as an attorney in this process.  Your responsibility in

24   this process is to make a decision that's not -- that's in the

25   best interest of not only the applicants in this case, but you

FLORIDA PUBLIC SERVICE COMMISSION

15

1   must make a decision that's in the best interest of the State

2   of Florida and the people of the State of Florida.

3             Today I'm here in my capacity as Mayor of the

4   City of Tallahassee and not as a private citizen.  I am here to

5   give you an overview as to why the City of Tallahassee and the

6   citizens of Tallahassee support the need for the Taylor Energy

7   Center.

8             Tallahassee has experienced significant and rapid

9   growth in its business community, as well as new residents to

10   this city.  This has brought many, many positive benefits.  But

11   it's also put added strain and exposes vulnerabilities to our

12   current resources.  We are growing and we're growing

13   significantly in the City of Tallahassee.  Right now we are a

14   provider of electric utility services for Tallahassee and the

15   surrounding area.  We have been doing this since almost the

16   turn of the century.  And right now we're more than 90 percent

17   dependent, 90 percent dependent on natural gas to fuel our

18   power plants.  The other portion of that is a small hydro plant

19   that we have, the Corn Hydro Plant, that's kind of west of the

20   City of Tallahassee.  So the Taylor Energy Center offers us

21   significant opportunities and challenges to greatly --

22   something that we greatly need to do in the City of

23   Tallahassee.

24             And one of the things that you must look at during

25   this process is the diversification of our fuel mix.  Again I

FLORIDA PUBLIC SERVICE COMMISSION

16

1   repeat, we're 90 percent dependent on gas.  That affects our

2   availability and it also affects our reliability to provide our

3   citizens with the much-needed electrical power for this

4   community.

5             And we must protect our citizens or attempt to

6   protect our citizens from the unpredictable rate changes when

7   fuel markets are unstable.  In order to do this, the Florida --

8   the City of Tallahassee went through an extensive process to

9   determine what resources were needed and would be available for

10   the next -- until 2020 and maybe even until 2025 to determine

11   what would be available, what is needed in order to provide

12   that service for the citizens of our community.

13             We conducted an extensive and exhaustive integrated

14   resource planning process that lasted over a year and probably

15   longer than that.  Excuse me.  That process was extensive.  And

16   I'd like to say when we considered that process, I looked at it

17   and the Commission looked at it from the standpoint of the

18   various factors that, quite frankly, you must look at when we

19   went through that process.  And I like to use this acronym a

20   little bit to describe it, and it's called -- it's the DEER

21   acronym, D-E-E-R.  That stands for diversity of fuel mix, the

22   economics of the decision, the environment and reliability.

23   Those are the factors -- and some might add even a fourth, a

24   fifth factor very obviously, but I won't include it in this,

25   and that is security, the security of that decision.

FLORIDA PUBLIC SERVICE COMMISSION

17

1             We looked at our diversity, and as I've indicated to

2   you already at this point in time, we are 90 percent dependent,

3   the City of Tallahassee, on gas to generate electricity in this

4   community.  And from a diversity of fuel, that is not a good

5   thing.  I don't know if there is any other utility in the

6   United States with that fuel mix anywhere.  And that has caused

7   us some significant problems, even to the extent that currently

8   the City of Tallahassee has one of the highest utility rates in

9   the State of Florida.

10             Believe it or not, we have some of the lowest O&M

11   costs in the State of Florida.  But when you add the O&M costs,

12   operation and maintenance costs with the fuel costs, we end up,

13   if not number one in the highest utility rates in the State of

14   Florida, we're definitely number two.  We have to address that

15   problem.

16             That also gets us into the "E" of that DEER acronym,

17   the economics.  Of course, we have to look at the economics of

18   the capital costs associated with providing this service or

19   producing this service and we will, and that was part of the

20   analysis that we went through in the integrated planning

21   resource process.  And I might add at this point in time the

22   details of that process will be given, the really nitty details

23   of that process should be given during the course of this

24   hearing to you.

25             But we look at not only the economics of the capital

FLORIDA PUBLIC SERVICE COMMISSION

18

1   costs associated with providing or building this facility, but

2   the economics of what it will do for our customers in terms of

3   their rates and what will happen to them.  Diversifying our

4   fuel mix will give us an opportunity to address the high

5   utility rates in a more efficient and effective manner.

6             The other "E" in the acronym, the DEER acronym, is

7   environment, the environmental issues.  Of course, as you've

8   already indicated, that is not a factor with regards to this

9   particular hearing and it's something that will be addressed by

10   other agencies here in the state, in the State of Florida.  And

11   it should be addressed and it's a very important factor and

12   something that the Florida -- the City of Tallahassee did

13   consider, and we addressed those issues during our integrated

14   resource planning process.  But that's not for you to address

15   in this particular hearing.

16             The "R" relates to reliability:  How reliable is your

17   system and how reliable will it be into the future and the

18   availability of services, the electric generating services to

19   be provided to your customers?  That's a significant issue when

20   you're 90 percent dependent on gas.  And if you can't get that

21   supply of gas in a reliable manner and you have no other

22   alternative, then the reliability, your reliability factor is

23   significantly impaired.

24             So we looked to that and we vetted this through this

25   process.  Now when we went through the integrated resource

FLORIDA PUBLIC SERVICE COMMISSION

19

1   planning process, which was extensive and exhaustive as I've

2   already indicated, we came to a conclusion, and the majority of

3   the Commission voted to continue our involvement in the Taylor

4   energy initiative.  That would provide us with approximately

5   150 to 160 megawatts of power for our future demand.

6             We also in that process determined that we would

7   repower some of our current facilities, our Hopkins gas

8   generating facilities, and I think that will get us an

9   additional 60 megawatts of power.

10             We also decided that we would invest in a biomass

11   plant.  BG&E, a company out of Colorado, I believe it's Denver,

12   Colorado, came us to with a project, and we will -- we have

13   signed a contract with BG&E to purchase the energy from that

14   project.  I think it's to be in, to be in service in 20 --

15   2012, if I'm not mistaken.

16             But in addition to that, we also determined that we

17   must engage in an aggressive demand-side management program, an

18   aggressive demand-side management program.  And we have

19   identified 160 megawatts of demand-side initiatives that we

20   will be involved with through the year 2020.  Hopefully within

21   the next six years we will be able to implement at least

22   programs that will get us at least 60 megawatts in this

23   demand-side program.  But notwithstanding all those

24   initiatives, because of the growth patterns in the City of

25   Tallahassee and the State of Florida, because some of our

FLORIDA PUBLIC SERVICE COMMISSION

20

1   plants may not be as efficient and operational through that

2   period of time, we find ourselves in the position where we

3   still would have to receive additional power.  And the Taylor

4   Energy Center turned out to be, after going through this

5   integrated resource planning process, the best alternative that

6   we can have.

7             Commissioners, that is the position that -- and,

8   again, this process has been thoroughly vetted through

9   referendum, if I might add.  At the Commission it was vetted,

10   we had extensive hearings before the Florida Public Service

11   Commission, we had workshops throughout this community, and I

12   would dare say that in my 25 years of being involved in utility

13   regulation, I am not sure that I've seen a more extensive and

14   exhaustive review than I've seen taken by the City of

15   Tallahassee with regards to this matter.  And with that, I

16   thank you very much for your time.

17             CHAIRMAN EDGAR:  Thank you, Mayor.

18             Commissioners, any questions for the Mayor?

19   Questions from the parties?

20             Yes, ma'am.

21                          CROSS EXAMINATION

22   BY MS. BROWNLESS:

23        Q    Good morning, Mayor Marks.  How are you this day?

24        A    Good morning, Suzanne.

25        Q    First of all, NRDC would like to congratulate the

FLORIDA PUBLIC SERVICE COMMISSION

21

1   City of Tallahassee on aggressively evaluating demand-side

2   management and seriously integrating it into its integrated

3   resource plan.  We appreciate that and think that that is a

4   model that should be followed by the applicants in this case,

5   the other applicants, as well as the other utilities in

6   Florida.

7             My question, however, goes to the integrated resource

8   plan that the City approved on December 6th of last year.  And

9   isn't it true that that's a five-year integrated resource plan

10   which does not include the Taylor Energy Center?

11        A    No.  That integrated -- the integrated resource

12   planning process that I adopted and that the Commission adopted

13   does include the Taylor Energy Center.

14        Q    Okay.  My understanding was that it was a five-year

15   plan that was adopted on December 26th that ended in 2011,

16   which would allow the Commission to come back at the end of

17   this permitting process approximately in 2008 and make the

18   go-no-go decision.  Is that incorrect?

19        A    That -- no, that's not accurate, Ms. Brownless.

20             The integrated resource planning process included the

21   Taylor Energy Center.  Of course, as this process goes along,

22   other decisions have to be made.  And clearly a decision could

23   be made during the course of that decision not to continue with

24   the Taylor Energy Center, but our decision was to include the

25   Taylor Energy Center in our integrated resource planning

FLORIDA PUBLIC SERVICE COMMISSION

22

1   process.

2        Q    Okay.  Well, I had that incorrect then because my

3   understanding was it stopped at 2011.  Thank you so much for

4   clearing that up.

5        A    You're quite welcome.

6             CHAIRMAN EDGAR:  Mr. Jacobs.

7             MR. JACOBS:  Very briefly.

8                          CROSS EXAMINATION

9   BY MR. JACOBS:

10        Q    Good morning, Mayor.

11        A    Good morning.

12        Q    I, too, would like to congratulate you and the City

13   for your efforts in, in undertaking really a rational and a

14   reasonable approach to a true diversity strategy and looking at

15   demand-side management.

16             Is it true that you -- the economic benefits of your

17   having adopted that strategy include the ability to defer your

18   need for power from, from the Taylor Energy Center for a number

19   of years?

20        A    No, I don't think so.

21        Q    I was of the view that as a result of your having

22   looked at your, of this renewed portfolio, that, that your need

23   for power from the Taylor Energy Center can be deferred from

24   20 --

25        A    No.  The integrated resource planning process

FLORIDA PUBLIC SERVICE COMMISSION

23

1   included, as I indicated before, a very exhaustive and

2   extensive process, and we reached the conclusion that we needed

3   to, to engage in all four of those initiatives in order to meet

4   the needs of this community through the year, I believe it's

5   2020, so all of those.

6             And that assumes, quite frankly, in the demand-side

7   initiative that includes that we, we have to be very, very

8   aggressive in order to achieve those 160 megawatts over the,

9   over the 20 years.  That requires our community to accept some

10   things that maybe they have not been able to do in the past.

11   And we are, we are determined that we will engage in those

12   processes.  But as you well know, when you look at demand-side

13   initiatives, that is not -- that is something that the

14   community has to be engaged in, that is something the community

15   has to accept, and that is something this community has to be

16   aware of, and we intend to do that.  So hopefully -- the

17   160 megawatts, quite honestly, is, is the optimal, assuming

18   that we can get our community to buy into it.  And I feel

19   comfortable that if we are aggressive enough with the partners

20   that we have in this community, that we can get this community

21   to buy into the demand-side initiatives that we have that we

22   will propose.

23        Q    And I think, I think we agree that your prospects of

24   success at least appear very promising.

25        A    I don't know if we agree with that, Leon.  I would

FLORIDA PUBLIC SERVICE COMMISSION

24

1   say our prospects -- I can say this, I am committed, the City

2   of Tallahassee is committed to those demand-side initiatives.

3   Now we've got to have our community committed to those

4   demand-side initiatives.  And based on that, I am optimistic.

5             MR. JACOBS:  Okay.  Thank you.

6             CHAIRMAN EDGAR:  Further questions for Mayor Marks?

7   Seeing none, Mayor Marks, thank you very much for joining us.

8   We appreciate your comments.

9             THE WITNESS:  Thank you very much for letting me off

10   so easy there.  Thank you.

11             CHAIRMAN EDGAR:  Ms. Brubaker.

12             MS. BRUBAKER:  Our next speaker is Richard Furman.

13                           RICHARD FURMAN

14   was called as a witness and, having been duly sworn, testified

15   as follows:

16                          DIRECT STATEMENT

17             MR. FURMAN:  Thank you, Chairman, for allowing me the

18   opportunity to speak today.  My name is Richard Furman.  I'm a

19   retired engineer and I live in Florida.  Because of my

20   background and previous experience, I have been asked by

21   numerous residents of Taylor County, numerous residents of

22   Tallahassee and two environmental groups, the Clean Air Task

23   Force and the NRDC, to speak today to you.

24             During my career I've worked for three major electric

25   utility companies including Florida Power & Light and have

FLORIDA PUBLIC SERVICE COMMISSION

25

1   specialized in the areas of new energy technologies,

2   alternative fuels for power plants and pollution control

3   equipment for power plants.

4             I began my career 35 years ago as a graduate student

5   at MIT where I did my graduate thesis on coal gasification.  No

6   one is paying me to be here today, but I'm here today because I

7   so much believe in you making the right choice for this power

8   plant.

9             The purpose of this report that I've handed you today

10   is to provide you with the most recent and the most accurate

11   information on both the conventional pulverized coal plant

12   which is being proposed, which I will refer to in the future as

13   the PC plant, representing pulverized coal, and the IGCC

14   alternative, which stands for integrated gasification combined

15   cycle power plant that I'll refer to in the future as IGCC.

16             And the reason that I've put this report together is

17   so that you can decide if the proposed power plant best meets

18   your criteria for costs, reliability, fuel diversity and the

19   use of alternatives such as renewable biomass energy.

20             I won't go through this whole report, but I'll try

21   and just go through some of the highlights for you.  First on

22   Page 3, if you'll look at Page 3 in the handout that I've given

23   you, that is the cost of electricity comparison for Florida.

24   And what I've done there is I've taken the most recent

25   Department of Energy study, and the only thing I've changed in

FLORIDA PUBLIC SERVICE COMMISSION

26

1   it is the cost of fuel because their study looked at a midwest

2   plant, and what I'm looking at here is the delivered cost of

3   fuels specifically to Florida utilities as, as presented by the

4   Energy Information Agency of the Department of Energy for the

5   last two years.

6             So the chart shows in cents-per-kilowatt hour what

7   the cost of electricity will be to the electric utility.  And

8   then down at the bottom I show the three different pulverized

9   coal cases.  The middle one, the supercritical one is the one

10   being proposed for Taylor Energy Center.  And then on the

11   right, the two different options that are available for the

12   IGCC plant, the gasification option.  And there we see one of

13   the plants using petroleum coke, which is a waste product from

14   petroleum refineries, and the second is using conventional

15   coal.

16             There are two sections to each of the bar charts.

17   The bottom section of the bar chart shows the nonfuel component

18   of the cost.  That's the construction cost, the operation and

19   maintenance cost.  The upper portion of the chart shows the

20   Florida utility-specific fuel costs for those plants.  This

21   shows that the cost of electricity for any of the proposed

22   three types of PC plants are higher than the cost of

23   electricity for an IGCC plant using petroleum coke in Florida.

24   Although the IGCC plant has a higher capital cost than the PC

25   plant, it has a significantly lower fuel cost when using

FLORIDA PUBLIC SERVICE COMMISSION

27

1   petroleum coke.

2             It's interesting to note that the U.S. petroleum

3   refineries in the Gulf Coast produce over 25 million tons per

4   year of fuel grade petroleum coke that can be used in IGCC

5   plants.  This petroleum coke can provide over 10,000 megawatts

6   of new generating capacity in the United States.  At the

7   present time, almost all of this pet coke is exported to other

8   countries that allow the higher emissions of sulfur dioxide.

9             The use of pet coke in the U.S. requires the

10   installation of additional flue gas desulfurization equipment

11   if it's to be used in conventional pulverized coal plants,

12   which makes it cost prohibitive.  IGCC plants can effectively

13   remove the sulfur from pet coke and sell it as a valuable

14   by-product.

15             Florida's proximity to the Gulf Coast refineries

16   enables Florida's utilities to make use of this waste material,

17   while reducing emissions and lowering their cost of

18   electricity.  Therefore, the lowest cost alternative for

19   Florida is the use of IGCC plants using pet coke.

20             For the past ten years Tampa Electric Company has

21   been using pet coke in their IGCC plant, and have recently

22   announced that they will build an additional 630-megawatt IGCC

23   plant for operation in 2013.  Tampa Electric's president, Chuck

24   Black, was recently quoted in Time Magazine as saying, "It's

25   our least cost-generating resource, so we count on it and we

FLORIDA PUBLIC SERVICE COMMISSION

28

1   use it every day as part of our system."

2             Let me turn to the next page, Page 4, and look at

3   future energy costs.  That's looking -- the first -- Page 3 was

4   looking at current energy costs.  But one of the things I think

5   we need to be concerned with is what's going to happen to these

6   plants in the future in order to meet future environmental

7   regulations?  Well, what we see is -- on the bottom left-hand

8   corner of that chart we see these studies have been done by a

9   number of different organizations.  But this one that I picked

10   out is from General Electric, who's building and guaranteeing

11   these plants, and what it shows is the increase in the cost of

12   electricity if you have to add CO2 capture to the different

13   types of power plants.

14             The SCPC, supercritical pulverized coal, which is a

15   type of coal plant being proposed for the Taylor Energy Center,

16   the cost of electricity to the electric utility will increase

17   66 percent if you have to add CO2 capture equipment.  It will

18   increase for the IGCC plant only 25 percent.  So when we look

19   at future costs and capabilities to meet the future

20   environmental regulations that we know are coming, we find it

21   very difficult to accept those future costs.

22             Let me skip to Page 6 which talks in a little more

23   detail about some of those environmental emission factors which

24   we're all concerned about.  This chart on the left shows the

25   supercritical pulverized coal plant which is being proposed for

FLORIDA PUBLIC SERVICE COMMISSION

29

1   Taylor Energy Center.  And in this case I used the most recent

2   EPA report for the numbers for this analysis, and on the right

3   an IGCC plant.  This chart shows the percentage of emissions on

4   the right that an IGCC plant produces relative to the proposed

5   pulverized coal plant for the same amount of electricity that's

6   produced.  This chart shows that an IGCC plant producing the

7   same amount of electricity will produce dramatically less

8   pollution, 86 percent less smog forming gases, nitrogen oxides;

9   90 percent less acid gas such as sulfur dioxide; 49 percent

10   less soot and fine particulate; 65 percent less brain damaging

11   mercury; and, in the future, the capability to economically

12   capture over 90 percent of the global warming gas carbon

13   dioxide.

14             Let me go on further to Page 11 and give you a feel

15   of where the technology now stands in order to accomplish these

16   goals of lower cost and significantly lower emissions.  We're

17   very fortunate in Florida to have one of the two commercial

18   size demonstration projects for this technology that's been in

19   operation for more than ten years.  And Tampa Electric has

20   recently announced that they will build an additional

21   630-megawatt plant for operation in 2013.

22             Let's turn the page to Page 12 to show you what this

23   plant looks like and explain to you how clean it really is.

24   Tampa Electric started operation of this plant in

25   October 1996 and has recently celebrated its tenth year

FLORIDA PUBLIC SERVICE COMMISSION

30

1   anniversary.  It is the lowest cost plant to operate on the

2   Tampa Electric system and has won numerous environmental

3   awards.  It's interesting to note that Tampa Electric is the

4   second largest coal burning utility in the State of Florida.

5   So they know quite a bit about burning coal and they have a lot

6   of convention -- they have conventional coal units and they

7   have ten years of experience on IGCC.  They're choosing IGCC

8   because they know it's the best technology for them.

9             There are at the current time 28 IGCC plants being

10   planned in the United States, both by utilities and independent

11   power producers.  This picture demonstrates the significantly

12   lower emissions from an IGCC plant by the fact that the stack

13   is completely clean, completely clear, even though it's

14   operating at full load, and that there is no need in this plant

15   for a tall stack.  A tall stack is required on all conventional

16   pulverized coal plants like what's being proposed at Taylor

17   Energy Center because the emissions are so high from those

18   plants that a significant amount of dilution is required before

19   the ground level emissions are within acceptable limits for

20   people to breathe.  A conventional pulverized coal plant may

21   have a 300- to 500-foot stack compared to this 120-foot stack.

22   The much taller pulverized coal stack also decreases property

23   values in a much larger surrounding area.  This plant was

24   designed about 15 years ago.  Since then, significant

25   improvements have been made in IGCC emissions control, which

FLORIDA PUBLIC SERVICE COMMISSION

31

1   enable much lower emission levels than what was required for

2   this plant 15 years ago when it was being permitted.

3   Therefore, any emission comparisons should be based on

4   best-available control technology for both new pulverized coal

5   plants and new IGCC plants that are currently being built.

6             The next page, Page 13, gives you a list of

7   references for you to contact.  Three of the people on this

8   list are elected government officials that have significant

9   experience evaluating pulverized coal versus IGCC technology.

10   And I have asked them if it would be okay for you to contact

11   them, and they have said yes, in order to convey what their

12   experience has been in their evaluation of IGCC and pulverized

13   coal for, for their municipalities.

14             Within the last couple of weeks I also met with your

15   State Representative Curtis Richardson, and fortunately he's

16   had a chance to visit the Tampa Electric plant, was very much

17   impressed by it, and encourages anyone who's making a decision

18   between these two technologies to definitely make a visit to

19   this plant.  So I've included the card of Mark Hornick, who's

20   the plant manager at the Tampa Electric plant.  He would

21   welcome your visit any time to show you the existing operation

22   at the plant and to explain why Tampa Electric made their

23   decision to use this technology in the future.

24             Let's skip to Page 15 now to give you a little more

25   feel of what's happening in the rest of the world.  What this

FLORIDA PUBLIC SERVICE COMMISSION

32

1   shows -- this is a Department of Energy chart which shows the

2   commercially operating IGCC plants.  This table by the

3   Department of Energy shows 14 commercially operating IGCC

4   plants.  Together these plants have a capacity of almost

5   4,000 megawatts and have accumulated almost a million hours of

6   operation.  These plants use a variety of fuels including coal,

7   petroleum coke, biomass and refinery waste products.

8             The first series of plants listed in that table were

9   built in the 1990s and have over ten years of operating

10   experience.  They have successfully integrated the gasification

11   process, turning coal into a synthetic gas and cleaning out the

12   pollutants, and combined that with the conventional combined

13   cycle natural gas plants to enable more efficient use of coal

14   while significantly reducing emissions.  These plants range in

15   size from 250 to 300 megawatts per unit.

16             And what the industry has done, the four major

17   manufacturers of this IGCC technology have done is not try to

18   scale-up the technology to make bigger and bigger units, but

19   what they're going to be selling to those utilities that are,

20   that are planning on building these 28 plants is they're going

21   to used additional modules.  So they're going to use the same

22   size plant, the 300 megawatts that they've already been

23   operating for the last ten to 12 years, and make increases in

24   size by adding duplicate copies or modules to the plants.  And

25   that way you can order any size you want.

FLORIDA PUBLIC SERVICE COMMISSION

33

1             The second set of plants demonstrate this.  They have

2   been more recently built.  And what I want to draw your

3   attention to is the 500-megawatt plants on that list, the one

4   listed as ISAB and Sarlux.  They're over 500 megawatts in size.

5   Both of these plants use more than one gasification train and

6   have shown successful operation with more than 90 percent

7   availability without a spare gasifier.  So what they've now

8   demonstrated is what the utilities require, which is over

9   90 percent reliability, and they're doing that today.  I'll

10   show you more of that in a future slide of what other people

11   are doing.

12             Let's skip to Page 18, which is a Department of

13   Energy list of the 28 IGCC projects that are planned in the

14   U.S. by both utilities and independent power producers.

15             The next page, Page 19, shows where one of these

16   plants is going to be built in the Netherlands.  There's a

17   utility in the Netherlands, Belgium and Germany called Nuon.

18   They've been successfully operating an IGCC plant on both coal

19   and biomass for the past 12 years at 250 megawatts.  Nuon

20   recently announced that they are building a 1200-megawatt IGCC

21   plant and it will consist of four 300-megawatt units.  This

22   design requires no additional scale-up from the design of their

23   existing plant and makes use of readily available combined

24   cycle plants that most utilities have been operating for the

25   last 15 years, and they've been running on natural gas.  This

FLORIDA PUBLIC SERVICE COMMISSION

34

1   modular design provides additional system reliability,

2   increased efficiencies, fuel flexibility and any possible size.

3   The standard IGCC unit is now 300 megawatts.  Most

4   manufacturers are supplying 600-megawatt plants which consist

5   of two 300-megawatt units.  Therefore, the 630-megawatt unit

6   that Tampa Electric is building for operation in 2013 consists

7   of two units the same size as their existing unit that has been

8   operating for the past ten years.  Four manufacturers have

9   300-megawatt units that have been operating successfully.

10   General Electric states that IGCC technology can satisfy

11   outward requirements to more than 1500 megawatts and can be

12   applied in almost any new or repowering project where solid and

13   heavy fuels are available.

14             The next page shows some of General Electric's

15   operating experience.  This chart on Page 20 prepared by

16   General Electric shows that their four new coal gasification

17   plants that have been operating for the past three years have

18   been operating at greater than 90 percent reliability.

19             An additional advantage of an IGCC plant is that it

20   can operate on various fuels.  That plant in the Netherlands,

21   the Nuon plant, can operate on coal, can operate on biomass and

22   can also operate on natural gas.  If the gasifier is out of

23   service for maintenance, the power plant can still operate on

24   natural gas or diesel fuel, so the reliability is dramatically

25   increased for the plant because it has alternative fuels.  This

FLORIDA PUBLIC SERVICE COMMISSION

35

1   is not possible with a pulverized coal plant which is usually

2   designed for one type of coal.

3             A recent Gas Turbine World article, which I refer to

4   here, reported on the capacity factor of the most recently

5   built IGCC plants in Italy that use refinery waste material

6   such as asphalt, liquid tars, the bottom of the barrel, the

7   waste material that can't be used by others.  As reported here,

8   the availability of these plants are between 90 and 94 percent.

9             And lastly, I'd like to show you Page 26, which is

10   the future economic potential that exists for Taylor County

11   really depends on the use of the gasification technology in the

12   power plant.  There are certain very fortunate synergies that

13   exist between a pulp mill and a power plant that are located

14   next to each other if they both use gasification technology.  I

15   won't go into detail as to how that can be done, but this gives

16   tremendous future fuel diversity to this plant because not only

17   can we make use of the biomass waste that's currently produced

18   by the pulp mill, but we can also make use of the renewable

19   energy resource, the forest industry that exists in Taylor

20   County, to develop a whole new industry of biomass and the use

21   of renewable energy in this plant in combination with the

22   adjacent pulp mill.

23             So I ask you to take a careful look at this

24   technology.  I offer my assistance free of charge to meet with

25   you or any of your staff, and I hope you'll consider this and

FLORIDA PUBLIC SERVICE COMMISSION

36

1   also consider a visit to the Tampa Electric IGCC plant.  Thank

2   you very much.

3             CHAIRMAN EDGAR:  Thank you, Mr. Furman.  And if

4   you'll hold on just a moment, I think there may be a question

5   or two.

6             Commissioner Arriaga.

7             COMMISSIONER ARRIAGA:  Good morning, Mr. Furman.  I

8   wanted to let you know that I think all of us here at this

9   bench are familiar with the Tampa Electric Company plant.  I

10   have personally visited the plant, and I'm an admirer of such

11   technology.  We also just approved a need determination for a

12   similar plant in Orlando, as you probably know, as you stated

13   in your report.

14             But having said that, I wanted to ask you, have

15   you -- did you make an attempt to make a presentation like this

16   or discuss these issues with the proponents?

17             THE WITNESS:  Yes, I did.

18             COMMISSIONER ARRIAGA:  What was the result of such

19   conversations?

20             THE WITNESS:  They are -- they listened to the

21   presentation, they expressed their concerns about the

22   technology, and in this report I've tried to put together the

23   most complete document I could to answer all of their concerns

24   and questions.  So I'm hoping that with this new information --

25   because a lot of this you'll see the references -- the EPA

FLORIDA PUBLIC SERVICE COMMISSION

37

1   document came out within the last few months and the Department

2   of Energy document was just presented at a conference a couple

3   of months ago.  So what I'm hoping is that by examining the

4   most recent information, that they will reconsider their

5   decision.

6             COMMISSIONER ARRIAGA:  One follow-up.  Did you make a

7   similar presentation to our staff?

8             THE WITNESS:  No, I don't believe I did.

9             COMMISSIONER ARRIAGA:  Okay.  Thank you so much, sir.

10             CHAIRMAN EDGAR:  Questions for Mr. Furman?  Seeing

11   none, Mr. Furman, thank you.

12             MR. PERKO:  Excuse me.  Madam Chairman.

13             CHAIRMAN EDGAR:  Oh.  Excuse me.  I spoke too soon.

14             Mr. Perko.

15             MR. PERKO:  I apologize.  I'll try to be brief.

16                          CROSS EXAMINATION

17   BY MR. PERKO:

18        Q    Mr. Furman, on Page 3 of your handouts here it says

19   that the use of pet coke in the U.S. requires installation of

20   FGD systems to PC plants which is usually cost prohibitive.

21        A    Yes.

22        Q    Are you aware that JEA is currently using pet coke in

23   its pulverized coal units at the St. Johns River Power Plant?

24        A    Yes.  They -- I should add that they are

25   significantly limited in the amount of pet coke that can be

FLORIDA PUBLIC SERVICE COMMISSION

38

1   added to that unit.  And I think if you look at the Taylor

2   Energy Center and also the Florida Power & Light plant that's

3   being proposed in Glades County, they are limiting their

4   proportion of pet coke to below 20 percent.  And the reason for

5   that is the pet coke is so high in sulfur, typically 6 to

6   8 percent sulfur, that their pollution control equipment cannot

7   handle more than 20 percent.  So their, their effort is

8   primarily made to try and reduce their operating cost as much

9   as possible by using the lower cost pet coke, but they're not

10   able to do that anymore than about 20 percent pet coke.

11        Q    Do you know how much pet coke is planned to be burned

12   in the Taylor Energy Center?

13        A    Less than 20 percent.  And the use of that pet coke

14   will significantly increase emissions from that plant, and I

15   think that should be looked at.

16        Q    Have you reviewed the application in this proceeding

17   to determine the emission rates that are proposed?

18        A    Yes.

19        Q    Mr. Furman, you mentioned the TECO project that's

20   currently operating and the one that's proposed.  Is it your

21   understanding that TECO received federal funding for the

22   original project?

23        A    They received 138 -- $133.8 million of tax credits.

24        Q    And are you --

25        A    And if I could explain, the reason given for the

FLORIDA PUBLIC SERVICE COMMISSION

39

1   Department of Energy giving them that tax credit was because

2   they were going to be researching the capture of CO2 from that

3   plant.

4        Q    And, Mr. Furman, are you aware that TECO has received

5   approval for investment tax credits for the proposed IGCC

6   facility?

7        A    I think I just stated that.

8        Q    I was talking about the original.

9        A    The original plant?

10        Q    Yes, sir.

11        A    I don't, I don't know the terms and conditions for

12   the original plant.

13        Q    Are you aware that JEA's north side plant burns about

14   90 percent coke, pet coke in its CFB boilers?

15        A    No, I did not know the exact percentage.  And that

16   is, that's a completely different technology than is being

17   proposed for the Taylor Energy Center.

18        Q    Now on Page 11 of your presentation you state, during

19   the summer peak months availability is greater than 90 percent

20   when using back-up fuel.  And you're speaking of the Taylor

21   (sic.) Polk plant; is that correct?

22        A    Yes.

23        Q    Can you tell me what the long-term reliability has

24   been for the Taylor Polk -- TECO Polk plant?

25        A    Sufficient so that Tampa Electric has decided to

FLORIDA PUBLIC SERVICE COMMISSION

40

1   build their next baseload plant based on this technology.

2        Q    Do you know if it's achieved 90 percent reliability

3   over the long-term?

4        A    Over the long-term, probably not.  But you have to

5   remember that this was a plant that was designed 15 years ago.

6   So I think it's important to compare new pulverized coal

7   technology with new IGCC technology.  Too many of the

8   comparisons that I've seen have been comparing 15-year-old IGCC

9   technology with new pulverized coal technology, which I don't

10   think is representative.

11        Q    Are you aware of any IGCC units in the United States

12   that are achieving reliability factors of 90 percent over the

13   long-term?

14        A    All of the plants built in the United States have

15   been built over ten years ago.

16        Q    So the answer is no?

17        A    There are only two plants, and they have not

18   received -- they have, the overall avail -- if you consider the

19   overall availability with the alternative fuel of natural gas

20   or diesel, then the Tampa plant has reached that criteria, I

21   believe.

22        Q    But only -- sorry.

23        A    But if you consider only the pet coke and coal

24   portion of the fuel, it probably has not.  But the real-world

25   situation is, is that they have the back-up fuel available,

FLORIDA PUBLIC SERVICE COMMISSION

41

1   they use it, and they maintain the availability that they need.

2        Q    But to answer my question, currently there are no

3   IGCC units in the United States that burn primarily coal and

4   pet coke that are achieving reliability rates of 90 percent

5   over the long-term?

6        A    That's probably correct.

7        Q    In fact, the commercial operating experience in the

8   U.S. with IGCC units is generally less than 300 megawatts?

9        A    Yes.  And I hope I have answered your concern about

10   how you get to higher megawatt capacities by building multiple

11   units.

12             MR. PERKO:  No further questions.

13             CHAIRMAN EDGAR:  Thank you, Mr. Perko.

14             Further questions?

15             MS. BROWNLESS:  All I would ask is that -- is

16   Mr. Furman's exhibit going to be marked into the record?

17             CHAIRMAN EDGAR:  Yes.  I was just about to take that

18   up.  It will be marked as Exhibit Number 82.

19             MS. BRUBAKER:  82.

20             (Exhibit 82 marked for identification.)

21             MS. BROWNLESS:  Thank you, ma'am.

22             MS. BRUBAKER:  And we have a copy, Mr. Furman.  You

23   provided one, so there's no need to bring an extra.  We're

24   good.

25             CHAIRMAN EDGAR:  Mr. Jacobs.

FLORIDA PUBLIC SERVICE COMMISSION

42

1             MR. JACOBS:  One brief question, Madam Chairman.

2                          CROSS EXAMINATION

3   BY MR. JACOBS:

4        Q    Mr. Furman, in your -- on Page 15 of your

5   presentation you list out operating IGCC projects around the

6   world.

7        A    Yes.

8        Q    How do the operating statistics of these plants

9   compare with the statistics that you just gave Mr. Perko with

10   regard to reliability and availability?

11        A    I tried to indicate in both the -- in my verbal

12   testimony the two plants in Italy.  They're part of two

13   refineries in Italy.  They are integrated gasification combined

14   cycle plants as listed by the Department of Energy.  They are

15   using waste materials from the refinery and they are, as

16   published in Gas Turbine World, an industry publication, they

17   are operating at more than 90 percent availability.  So that's,

18   that's published data that I refer to here.  And that is for

19   IGCC plants that have multiple gasification trains in order to

20   get above the 300 megawatts.  In this case, 510 megawatts for

21   two gasification trains, and the Sarlux facility had

22   545 megawatts, has three gasification trains.  Neither of these

23   plants have spare gasifiers.  And even without spare gasifiers,

24   they're able to maintain 90 and 94 percent availability.

25             MR. JACOBS:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

43

1             CHAIRMAN EDGAR:  Thank you.

2             MS. PABEN:  Mr. Furman, if I could ask you a quick

3   question.  Commissioner, is that okay?

4             CHAIRMAN EDGAR:  Yes.

5                          CROSS EXAMINATION

6   BY MS. PABEN:

7        Q    On Page 16 of your report you list gasification-based

8   projects that are in development in the United States.  I

9   wanted to refer to the size of these facilities regarding

10   megawatts in comparison to the question that was asked to you

11   by Mr. Perko.

12             It seems to me that you're indicating that a

13   significant number of these are on par with the size of the

14   facility proposed for Taylor Energy Center, and some, in fact,

15   significantly exceed that; is that correct?

16        A    Yes.  And this is a little bit of a moving target,

17   and that's why I need to specify that this chart was taken from

18   a Department of Energy report that was put out in, conducted in

19   2004, a survey at that time.

20             You'll notice at the top of that chart American

21   Electric Power, 600 to 1200 megawatts.  American Electric Power

22   has gone further since this survey was done and has announced

23   two plant locations, each of which will be over 600 megawatts.

24   And they have the option of adding additional modules to each

25   of those plants to get to higher capacities.  And so that would

FLORIDA PUBLIC SERVICE COMMISSION

44

1   be an example on the top part of that chart, American Electric

2   Power, going to, to multiple plants and going with

3   600 megawatts.  And they would be using two gasification

4   trains, two 300-megawatt units to get to that 600-megawatt

5   level, and could add additional modules to that plant as

6   capacity increases.  And this, I might point out, is a nice way

7   of matching your, your capacity to your load growth; that you

8   don't have to do it in large increments and sit with idle

9   capacity until your load growth matches up, but you can add

10   additional units as your load growth increases.  So you've got

11   some tremendous flexibility that that gives you.

12             I might notice -- note also on Page 17 that this is a

13   chart that was prepared by one of the equipment manufacturers

14   showing all of the different gasification plants that are being

15   proposed across the country, and there's really 40 or 50

16   gasification plants.  So the gasifiers will produce other

17   products:  They'll produce fuels, they'll produce fertilizer,

18   they'll produce hydrogen.  There are 40 to 50 in total.  Of

19   those 40 to 50 across the country, 28 are specifically IGCC,

20   specifically for power generation.  And some of those I've

21   listed there, and you'll see most of those are in the

22   600-plus-megawatt range because they're going to be using two

23   modules of 300 megawatts each.  So there's no scale-up in the

24   technology required.  There's no additional risk involved in

25   the manufacturers or the utilities because they're using

FLORIDA PUBLIC SERVICE COMMISSION

45

1   technology that's been demonstrated over the last ten to 12

2   years by each of these manufacturers.

3             CHAIRMAN EDGAR:  Thank you, Mr. Furman.  You are

4   excused.  And I'm going to ask Ms. Brubaker to call the next

5   person on the list.

6             MS. BRUBAKER:  The next person on the list is

7   Dr. Ron Saff, please.

8                           DR. RONALD SAFF

9   was called as a witness and, having been duly sworn, testified

10   as follows:

11                          DIRECT STATEMENT

12             DR. SAFF:  Good morning.  My name is Dr. Ronald Saff.

13   I'm an allergy and asthma specialist, a council member of the

14   American Lung Association, and a part-time health columnist for

15   the Tallahassee Democrat.

16             CHAIRMAN EDGAR:  Excuse me, Dr. Saff.  Just a moment.

17   Yeah.  Could you spell your name for us and repeat it?

18             DR. SAFF:  Dr. Ronald Saff, S-A-F-F.

19             CHAIRMAN EDGAR:  Thank you.

20             DR. SAFF:  Commissioners, when one is considering

21   affordability of energy, one must consider healthcare costs.

22   Because if people are getting sick and missing work, they're

23   obviously going to have difficulty paying for their electric

24   bills.

25             MR. PERKO:  Madam Chairman, I'm sorry to interrupt,

FLORIDA PUBLIC SERVICE COMMISSION

46

1   but --

2             CHAIRMAN EDGAR:  Mr. Perko.

3             MR. PERKO:  I'm concerned that we're straying from

4   the issues that are cognizable in this proceeding, as you said,

5   that the health and environmental impacts will be addressed in

6   the site certification proceeding.  So I'd just interpose an

7   objection.

8             CHAIRMAN EDGAR:  I note your objection for the

9   record.  And I'll also note that we are straying some, but we

10   would like to hear from the customers that have come.

11             Dr. Saff.

12             DR. SAFF:  Commissioners, JEA will tell you that

13   their coal plant will meet Environmental Protection Agency

14   standards for safe emissions, and, in fact, they're absolutely

15   right.  But what they won't tell you is that the emissions

16   standards and clean air standards are not stringent enough, and

17   that people are getting asthma attacks and heart attacks and

18   cancer from levels of air pollution that are now considered to

19   be safe.  This fact was left out in the propaganda material

20   that the City sent the voters, giving them the false sense of

21   security that the coal plant will be safe.  But just like

22   there's no such thing as a safe cigarette, there's no such

23   thing as a safe pulverized coal plant.  They all cause death,

24   disease and cancer.

25             The American Lung Association is suing the

FLORIDA PUBLIC SERVICE COMMISSION

47

1   Environmental Protection Agency for not ensuring clean air

2   standards.  Air pollution is costing you, Commissioners, and

3   all of us in this room because we have to pay for this cost

4   which is in the billions with our tax dollars and in higher

5   insurance premiums and increased healthcare costs, not to

6   mention the sacrifice of our health.

7             Commissioners, you and I are already paying dearly

8   for the cost of coal plants around this country.  One out of

9   every six children are born with elevated mercury levels, which

10   puts them at risk for cognitive impairment.  Mercury prevents

11   brain cells from developing normally.  Commissioners, think

12   about your own children or your sister's children or your own

13   grandchildren.  Do you want that for your family because women

14   are eating fish poisoned with mercury?  The economic toll comes

15   from billions of dollars in lost economic opportunity and

16   remedial education programs.  You are already directly paying

17   this from your wallets and purses now.

18             Commissioners, you and I and all of us in this room

19   are living in a county that has the second highest level of

20   particle pollution of any county in the state.  You are at risk

21   for a shortened lifespan and illness due to baseline air

22   pollution levels.  Do you want to increase your risk even

23   further?  Because not only is one planned for Taylor County,

24   but one is planned for Blakely, Georgia, and we will be getting

25   their air pollution as well.

FLORIDA PUBLIC SERVICE COMMISSION

48

1             The Florida and Georgia Medical Associations felt so

2   strongly about the financial, the financial and human cost of

3   coal plants that they passed a resolution warning about their

4   health risks, and I'd like to quote that to you.  "Air

5   pollution increases both asthma attacks and deaths due to heart

6   and lung disease with considerable financial and human cost to

7   Floridians.  And each year in Florida pollution from power

8   plants triggers an estimated 28,000 asthma attacks and

9   2,100 heart attacks, while causing 180 deaths in individuals

10   with lung cancer."

11             We know that there's a direct correlation between

12   ambient air pollution levels and asthma attacks.  I'm an asthma

13   specialist.  I treat kids every day and adults every day with

14   asthma.  This medication, should you not have insurance, runs

15   about $270 a month.  This drug that I have in my hand costs

16   about $12,000 a year.  We have about 50 million uninsured

17   patients in this country, and we are all paying this cost for

18   our, in our tax dollars for these uninsured patients.  And we

19   know that when air pollution levels go down, we save on

20   healthcare costs.  As air pollution levels go up, we pay more,

21   there's more emergency room visits and heart attacks.  As the

22   air pollution level declines, we save on healthcare costs.

23   There is a direct correlation.

24             I wanted to bring your attention to an article that

25   recently came out November of last year in The Lancet, and it

FLORIDA PUBLIC SERVICE COMMISSION

49

1   talked about developmental neurotoxicity of industrial

2   chemicals.  Commissioners, one in every six children has a

3   developmental disability, one in every six, and that includes

4   learning disabilities, developmental delays and cerebral palsy.

5   And of that amount of the one in six kids that have a

6   developmental disability, approximately 28 percent are directly

7   or indirectly related to industrial chemicals.  And of those

8   industrial chemicals, a major one that's put out by the coal

9   plants is mercury.  We know just a small fraction of a teaspoon

10   of mercury can contaminate a whole lake and all the fish in the

11   lake.  And, in fact, Florida has mercury warnings for all its,

12   for all its rivers, coastal waters and lakes.

13             Commissioners, we have a pandemic of neurotoxicity in

14   the hundreds of thousands in this country, which is shaving off

15   the IQs of our American children.  Industrial chemicals are

16   playing a role in this.  Not only is it an epidemic, but it's a

17   pandemic.

18             Recently, October of last year, Sir Nicholas Stern

19   from the United -- from England came out with the Stern Report.

20   And I want to quote you an article that I gave to you, and it

21   says that the earth faces a calamity on the scale of the world

22   wars and the Great Depression unless urgent action is taken to

23   decrease global warming.  We're going to have more droughts and

24   famine and we're going to have rising sea levels.  We're also

25   going to have an increase in mosquito-borne illness in Florida

FLORIDA PUBLIC SERVICE COMMISSION

50

1   with the warmer temperatures, and increase in heat strokes.

2   That's going to increase our medical costs even more.  "On par

3   with the Great Depression."

4             I have some other economic and financial facts.  The

5   study by Cornell University researchers estimated total U.S.

6   crop losses due to air pollution at over $6.5 billion a year.

7   This is, this is old data.  Commissioners, it's going to be

8   hard for people to pay for their energy bill if they have

9   trouble paying for food.

10             A study commissioned by Los Angeles officials found

11   that air pollution-related healthcare costs and lost work

12   productivity in the Los Angeles area, just in the Los Angeles

13   area alone cost over $10 billion per year.

14             Another one that came out in Scientific American, old

15   data, estimates of the societal cost of increased healthcare

16   expenditures, environmental degradation and lost employment due

17   to atmospheric emissions range from $100 billion to

18   $300 billion per year.

19             Pace University study:  The cost of the greenhouse

20   effect in billions, $140 billion, up to $140 billion; toxic

21   metals, up to $60 billion; up to $100 billion in health and

22   work productivity.  It goes on and on.  Air pollution is

23   costing this country billions of dollars.  I see problems in my

24   office when I'm treating adults and kids with asthma attacks.

25             In summary, Chairman, I'd like to thank you for your

FLORIDA PUBLIC SERVICE COMMISSION

51

1   article in the Tallahassee Democrat for mentioning

2   affordability.  The Commissioners understand the very basic

3   economic facts that if the source of energy, coal, makes us

4   sick with asthma attacks and heart attacks, strokes, cancer,

5   decreased workdays due to illness, increased hospitalizations

6   and emergency room visits and a decreased lifespan, then that

7   needs to be figured into the equation of affordability.  We

8   must remember the Stern Report that says we're headed towards

9   economic collapse by mid-century, and we must remember the

10   children who are now in a pandemic of decreased IQ due to the

11   all, due to all the pollutants we currently live in today.

12             The local chapter of the American Lung Association

13   and the Capital Medical Society representing all the doctors in

14   Leon County and the Tallahassee, Tallahassee Pediatric

15   Foundation all oppose this coal plant.  Commissioners and

16   Chairman, if you have a conscience, this is a relatively easy

17   decision to make.  Say no to the Taylor Energy Center.  Thank

18   you.

19             CHAIRMAN EDGAR:  Thank you, Dr. Saff.

20             Any questions?  Commissioner Littlefield.

21             COMMISSIONER LITTLEFIELD:  Thank you, Madam Chair.

22   Dr. Saff, at my age when people start talking about lifespan,

23   life expectancy, you get my attention.

24             You had, you had stated at the beginning of your

25   presentation that this area is the highest or --

FLORIDA PUBLIC SERVICE COMMISSION

52

1             THE WITNESS:  Second highest particle pollution of

2   any county in the state.

3             COMMISSIONER LITTLEFIELD:  Now is, is there a

4   corresponding statistic that shows that people live less longer

5   lives in this area?

6             THE WITNESS:  Not specifically for this area.  There

7   is --

8             COMMISSIONER LITTLEFIELD:  Well, that's what I'm,

9   that's what I'm trying to tie together.  You had stated that,

10   that it's the highest in particulate.

11             THE WITNESS:  But let me continue, please.  The data

12   is very clear in the medical literature that says the higher

13   the ambient particle pollution, the increased death, disease,

14   cancer and the decreased lifespan.

15             COMMISSIONER LITTLEFIELD:  And that's what I'm trying

16   to determine.

17             THE WITNESS:  I --

18             COMMISSIONER LITTLEFIELD:  Is there a statistic that

19   tells us that the people who live in this area live shorter

20   lives than other areas in the State of Florida where the

21   particulate matter is not --

22             THE WITNESS:  I'm not aware of any specific studies

23   that can be done, but it's fair to assume that's probably the

24   case.

25             COMMISSIONER LITTLEFIELD:  That, that brings us to a

FLORIDA PUBLIC SERVICE COMMISSION

53

1   point.  Do we base our, the decisions that we make on

2   assumptions or do we make them on, on actual specific facts?

3             THE WITNESS:  Sir, no specific studies have been done

4   in Tallahassee per se, and I don't have the resources to do the

5   study myself.  But the evidence is very clear that not only

6   does increased particle pollution cause death, disease and

7   cancer, but it does decrease life spans.  Not only that, but it

8   increases heart attacks and cancer risks.  So for numerous

9   people -- the people who are most at risk for, for the effects

10   of air pollution are the very young and the elderly and those

11   with underlying heart and lung conditions and those with

12   diabetes.  Those are at increased risk.  But everybody, every

13   single person is at risk for increased health impacts due to

14   air pollution.

15             COMMISSIONER LITTLEFIELD:  No specific details?

16             THE WITNESS:  No specific studies have been done in

17   Tallahassee.

18             COMMISSIONER LITTLEFIELD:  Thank you, Madam Chairman.

19             CHAIRMAN EDGAR:  Thank you.

20             Mr. Perko?

21             MR. PERKO:  No questions.

22             CHAIRMAN EDGAR:  Okay.

23             MS. BROWNLESS:  We do have one question, please.

24             CHAIRMAN EDGAR:  Ms. Brownless.

25                          CROSS EXAMINATION

FLORIDA PUBLIC SERVICE COMMISSION

54

1   BY MS. BROWNLESS:

2        Q    Dr. Saff, are you a resident of the City of

3   Tallahassee?

4        A    Yes, ma'am.

5        Q    And you're a City of Tallahassee ratepayer?

6        A    Yes, ma'am.

7        Q    So you pay electric bills to the City of Tallahassee?

8        A    Yes, ma'am.  Yes, ma'am.

9        Q    Okay.  Thank you.

10        A    Thank you.

11             COMMISSIONER CARTER:  Madam Chair.

12             CHAIRMAN EDGAR:  Commissioner Carter.

13             COMMISSIONER CARTER:  Dr. Saff, you're not suggesting

14   that the only way the Commissioners would have any form of a

15   conscience is that we agree with your perspective?  Because did

16   you say "show that we have a conscience"?  I'm sitting here

17   listening to you.

18             THE WITNESS:  I'm suggesting, I'm suggesting that

19   the, the evidence is overwhelming that -- of the health impacts

20   of, of a coal plant here, and to -- in my opinion, to approve

21   of a coal plant would be unconscionable.

22             COMMISSIONER CARTER:  And you make this based upon

23   facts that you assume to be --

24             THE WITNESS:  I've handed you information on the

25   facts of the dangers of coal plant pollution, and I'll be happy

FLORIDA PUBLIC SERVICE COMMISSION

55

1   to provide you further.

2             COMMISSIONER CARTER:  Well, I resent your remarks

3   about the conscience, us not having a conscience by doing our

4   jobs.  I mean, you're a doctor, are you not?

5             THE WITNESS:  Yes, I am.

6             COMMISSIONER CARTER:  Just because you don't do your

7   job or you do your job, do people say you don't have a

8   conscience?  I mean, come on.

9             THE WITNESS:  If I did something wrong --

10             COMMISSIONER CARTER:  You want us to take your, you

11   want us to take your statements serious, do you not?

12             THE WITNESS:  If I do something wrong, then people

13   would say -- and if I did something terribly wrong, people

14   would say I made an unconscionable decision.

15             COMMISSIONER CARTER:  You're saying that if we don't

16   agree with you, we don't have a conscience.  That's what I

17   heard you say, sir.

18             THE WITNESS:  That is not what I'm implying.

19             COMMISSIONER CARTER:  Thank you.

20             CHAIRMAN EDGAR:  Thank you, Commissioner.

21             Further questions?  Seeing none, Dr. Saff, thank you

22   for coming to talk before us.  You're excused.

23             And Ms. Brubaker.

24             MS. BRUBAKER:  And if we could have identified

25   Dr. Saff's exhibit as number 83, please.

FLORIDA PUBLIC SERVICE COMMISSION

56

1             CHAIRMAN EDGAR:  Yes.  Number 83 for the file with

2   the papers included in it.  Thank you.

3             (Exhibit 83 marked for identification.)

4             MS. BRUBAKER:  Calling the next speaker, Kim

5   Williams.

6                            KIM WILLIAMS

7   was called as a witness and, having been duly sworn, testified

8   as follows:

9                           DIRECT STATEMENT

10             MR. WILLIAMS:  Thank you.  My name is Kim Williams.

11   I'm a Tallahassee resident, local businessman and member of the

12   Economic Development Council.  I have followed this issue as it

13   proceeded to become a part of the vetting process with an

14   election that was held in Tallahassee last year in November

15   where 60 percent of the residents, after hearing much of the

16   same material discussed that you've heard here today, voted

17   their support for the City to participate in the Taylor Energy

18   Plan.

19             We are so dependent on one source of fuel.  And in

20   reading your report dated 2004 on the next ten years of energy

21   in Florida, I note that we have the same concerns that you do

22   about dependable energy in Florida in Tallahassee.

23             Natural gas is a very clean fuel, it's been a very

24   affordable fuel.  We found out with Katrina it's not a

25   dependable fuel.  We need to diversify our fuel and our

FLORIDA PUBLIC SERVICE COMMISSION

57

1   electric utility.  Our electric utility is very important to

2   Tallahassee in that half of the property is off the tax rolls

3   here.  It's an important revenue source to continue the quality

4   of life that we enjoy in Tallahassee.  And I would just hope

5   that you would support the proposal by the Taylor Energy Plan.

6   Thank you.

7             CHAIRMAN EDGAR:  Thank you.  Questions?  Seeing none,

8   you are excused.  Thank you for your comments.

9             Ms. Brubaker.

10             MS. BRUBAKER:  Barry Moline.

11                            BARRY MOLINE

12   was called as a witness and, having been duly sworn, testified

13   as follows:

14                           DIRECT STATEMENT

15             MR. MOLINE:  Thank you, Madam Chairman and

16   Commissioners.  My name is Barry Moline, and I sit here as a

17   citizen of the Tallahassee community and as a customer of the

18   Tallahassee electric utility.  But I also wear another hat, and

19   that's as Executive Director of the Florida Municipal Electric

20   Association.

21             Now I consider myself to be an informed citizen who

22   watches closely the decisions made by my local public power

23   utility, and I'd like to make two brief points about

24   Tallahassee's participation in the Taylor Energy Center.

25             First, I think that it's a good choice because of

FLORIDA PUBLIC SERVICE COMMISSION

58

1   fuel diversity.  When it comes to investing money, the experts

2   say that it's important to have a balanced portfolio of stocks,

3   bonds, real estate, and they never recommend putting all of

4   your eggs in one basket by placing all your assets, for

5   example, in one stock.  But that's exactly what the City of

6   Tallahassee has been forced to do with its electric utility.

7             In 1992, the citizens of Tallahassee passed a

8   referendum limiting investment in a coal plant to Leon County

9   and adjacent counties and, as a result, Tallahassee has become

10   95 percent dependent on natural gas and oil for the electricity

11   that we generate and use.

12             With natural gas prices rising significantly in the

13   past two years, this has resulted in large electricity price

14   increases for the citizens of Tallahassee, and, in fact, the

15   people of Tallahassee pay the second highest electric rate of

16   all 56 electric utilities in Florida.  That's not good for

17   business, it's not good for the public.  And I attribute this

18   lack -- I attribute this to a lack of fuel diversity and heavy

19   reliance on natural gas.  And I have a statewide rate data

20   chart that I'll submit for the record.

21             The second issue is that there's a very real risk of

22   energy security and reliability concerns.  After Hurricanes

23   Katrina and Rita damaged the oil and gas rigs in the Gulf of

24   Mexico in 2005, it caused a supply disruption where we were

25   suddenly receiving only a fraction of our natural gas needs.

FLORIDA PUBLIC SERVICE COMMISSION

59

1   Tallahassee's heavy reliance on natural gas threatened our

2   community with rolling blackouts.  And this was a serious

3   situation that concerned the entire state, if you recall, but

4   because of our local heavy reliance on natural gas it was

5   particularly acute.  Now fortunately at that time we had cool

6   weather and we had some backup oil that was significantly

7   dirtier than coal in terms of emissions, and that helped us get

8   through that two-week period.  But the situation showed us a

9   major stress in our energy supply situation.

10             Now sometimes governments are criticized for not

11   reacting swiftly enough when they know that there is a problem.

12   But here is a situation, it's our local electric reliability.

13   We know that there's a problem and we can act before the

14   problem confronts us again.  In other words, we can close the

15   barn door before the horse gets out.

16             To conclude, the City of Tallahassee's participation

17   in the Taylor Energy Center will give us a unique opportunity

18   to broaden our power supply portfolio.  This, I believe, will

19   result in more stable, reasonable electricity prices for

20   consumers, as well as greater energy reliability in our

21   community.  Thank you.

22             CHAIRMAN EDGAR:  Thank you.  Mr. Moline, do you have

23   a document to submit at this time?

24             THE WITNESS:  Yes, ma'am.

25             CHAIRMAN EDGAR:  Okay.

FLORIDA PUBLIC SERVICE COMMISSION

60

1             MS. BROWNLESS:  Mr. Moline, do you have copies for

2   the other parties?

3             THE WITNESS:  No, I don't.  I can make copies.

4             MS. BRUBAKER:  What I would suggest --

5             CHAIRMAN EDGAR:  Ms. Brubaker.

6             MS. BRUBAKER:  If I could suggest, also the parties,

7   I'm sure, would like an opportunity to review the documents.

8   One thing I was -- we were suggesting is once the public

9   testimony has concluded, we could take perhaps a break to allow

10   the parties a chance to review the documents that have been

11   submitted to us.  We can certainly make copies as needed at

12   that time, if that's acceptable, and that way let everybody

13   have a chance to have a go-through before the discussion about

14   moving the documents into the record.

15             MS. BROWNLESS:  Would we have an opportunity at that

16   time -- would Mr. Moline stay so that we'd have an opportunity

17   once we looked at the document to be able to cross-examine him

18   on it?

19             MS. BRUBAKER:  If the question is looking at the

20   document in order to cross-examine, I suppose we could make

21   copies now.

22             MS. BROWNLESS:  And I guess I might make this

23   suggestion, Ms. Chairman.  We've been here a while.  If we took

24   maybe a five-minute break that would allow copies to be made,

25   that would also give us an opportunity to review it so that we

FLORIDA PUBLIC SERVICE COMMISSION

61

1   could cross-examine right now.

2             CHAIRMAN EDGAR:  Okay.  Mr. Perko.

3             MR. PERKO:  We'd ask the same for Dr. Saff's document

4   as well, I believe.

5             CHAIRMAN EDGAR:  I'm sorry?

6             MR. PERKO:  We'd ask the same for Dr. Saff's document

7   which we didn't obtain a copy of.

8             CHAIRMAN EDGAR:  Okay.  It is 11:20, and Ms.

9   Brownless is correct that we have been sitting here for a

10   while, and I could use a stretch as well.  I do note that we

11   will, as I said earlier, we will be taking a break between when

12   we conclude the public testimony portion before we start the

13   evidentiary portion, at whatever time that is.  And during that

14   time we will have the opportunity for counsel to consult with

15   our counsel as to any procedural matters that need to be

16   addressed as well before we begin the evidentiary.

17             But with that, let's go ahead and, let's go ahead and

18   take a ten-minute break, come back at 11:30.  And during that,

19   Ms. Brubaker, let's also talk about other records issues.

20   Thank you.  We are on break.

21             (Recess taken.)

22             CHAIRMAN EDGAR:  We will go back on the record.  And

23   Mr. Moline, thank you for waiting.  I believe when we went on

24   break that we were going to work to have some copies made of

25   your document, which we will go ahead and number as Number

FLORIDA PUBLIC SERVICE COMMISSION

62

1   84 for the record.

2             (Exhibit 84 marked for identification.)

3             CHAIRMAN EDGAR:  I would also like to say that for

4   those who have signed up to speak, if you do have documents

5   that you would like to submit as a portion of your testimony,

6   we probably are looking for about ten copies.  If you do not

7   have approximately ten copies, then we do have a staff person.

8   If you can get with them -- Ms. Brubaker, who should we

9   designate to help us with copies?  And Bev is volunteering.

10   Thank you, Bev.

11             MS. BRUBAKER:  Bev DeMello at the back of the room.

12             CHAIRMAN EDGAR:  Ms. DeMellow of our staff back in

13   that corner -- if you have documents and do not have sufficient

14   copies, if you would get with Bev and we'll see about making

15   some courtesy copies.  If the documents that you have are

16   massively voluminous, then we'll try to probably have to do

17   something a little different.  But work with Bev and we will

18   work through it.

19             Before, Mr. Moline, I come back to you, let me also

20   go ahead and say that we, we are going kind of slow, and that's

21   okay.  I would ask you again to be cognizant of the time that

22   we have and the fact that we do want to hear from everybody.

23   And also to the parties and your witnesses, we have been able

24   to clear the calendar for tomorrow, so I expect that we will be

25   coming back tomorrow for a portion of the evidentiary

FLORIDA PUBLIC SERVICE COMMISSION

63

1   proceeding.  So please make sure that your witnesses are

2   available and are cognizant of that fact.

3             Ms. Brubaker, anything else that we should cover

4   right now?

5             MS. BRUBAKER:  The only other thing is a suggestion

6   has been made in order to facilitate the speed at which we get

7   people up to the stand for testimony is I go ahead and read

8   several names in succession.  I'm happy to do that.  If you'd

9   like, I'll go ahead and mention that after Mr. Moline finishes

10   testifying, the next in turn will be Alex Rubinson or Robinson,

11   and then George Cavros, and then Christine Thompson.

12             CHAIRMAN EDGAR:  All right.  Thank you very much.

13             And, Ms. Brownless, did you have a question?

14             MS. BROWNLESS:  I believe Mr. Sims does.

15             MR. SIMS:  Sure.  I had just a couple of quick

16   questions.

17                          CROSS EXAMINATION

18   BY MR. SIMS:

19        Q    In your testimony one of the things that you

20   mentioned was the importance of, or concern about having

21   sufficient capacity to meet demand and avoiding blackouts and

22   those sorts of issues.  Would you acknowledge that one

23   important mechanism to help ensure that capacity and demand

24   line up is maximizing efficiency in the form of demand-side

25   management programs and conservation?

FLORIDA PUBLIC SERVICE COMMISSION

64

1        A    To restate your question, the, the concern is to have

2   sufficient capacity to maximize DSM, is that what you're

3   saying?

4        Q    I'm simply asking that as one mechanism, your, part

5   of your testimony was about fuel diversity and having

6   sufficient, sufficient capacity to meet demand.  And I'm just,

7   I'm just wanting to find out whether you acknowledge that one

8   way to make sure that demand and capacity line up is to reduce

9   demand.  And one way, very important way of doing that is by

10   having aggressive demand-side management programs and

11   conservation measures.

12        A    Yes.  And in fact what I would say is that it's

13   important, parts of a balanced portfolio could include nuclear,

14   could include renewable energy, could include maximized DSM,

15   cost-effective DSM, all those things being cost-effective.

16        Q    And it's my understanding, and is it yours as well,

17   that the City of Tallahassee has actually engaged in a fairly

18   aggressive demand-side management portfolio?

19        A    Well, what I heard from the Mayor this morning is

20   that they have those plans in their integrated resource plan.

21        Q    And as a component of that, of addressing the issues

22   that you raised in your testimony, does it make sense that,

23   that those same sort of opportunities should be taken by other

24   participants?

25        A    Does, does it make sense that all of the participants

FLORIDA PUBLIC SERVICE COMMISSION

65

1   engage in cost-effective demand-side management --

2        Q    Yes.

3        A    -- as part of their portfolios?  As part of their

4   portfolios with the consideration of all aspects of, of

5   resources, cost-effective resources.

6        Q    Another really quick question.  To your knowledge,

7   has the City of Tallahassee experienced any rolling blackouts?

8        A    No.  And the -- what I said was that they avoided

9   them by, by using -- we used energy conservation at that time,

10   we made announcements on the radio for energy conservation, and

11   for -- and the use of oil as backup fuel.

12        Q    So there were mechanisms available to hedge against

13   the risk of rolling blackouts.

14        A    There were, there were mechanisms.  But to just bring

15   us back to that two-week time span, we were -- the City of

16   Tallahassee was operating with great concern about not having

17   enough fuel.

18             MR. SIMS:  Thank you.

19             CHAIRMAN EDGAR:  Thank you.

20             Other questions for Mr. Moline?  Seeing none, thank

21   you very much.

22             THE WITNESS:  Thank you, Madam Chairman.

23             CHAIRMAN EDGAR:  And, Ms. Brubaker, the next person.

24             MS. BRUBAKER:  The next speaker will be Alex

25   Robinson.

FLORIDA PUBLIC SERVICE COMMISSION

66

1             CHAIRMAN EDGAR:  Thank you.

2             Commissioner Arriaga, I'm sorry.

3             COMMISSIONER ARRIAGA:  I'm sorry.  I'm asking you a

4   question regarding if this -- is Mr. Moline's marked --

5             CHAIRMAN EDGAR:  Yes, we have.  We have marked that

6   as 84.

7             COMMISSIONER ARRIAGA:  84.  Thank you, Madam

8   Chairman.

9             CHAIRMAN EDGAR:  Yes, sir.

10                            ALEX ROBINSON

11   was called as a witness and, having been duly sworn, testified

12   as follows:

13                           DIRECT STATEMENT

14             MR. ROBINSON:  Thank you, Madam Chair, Commissioners.

15   I'm Alex Robinson.  I'm a Commissioner in Baker County.  I'm

16   not here to interfere or -- with future development or

17   anything.  I'm here to express my concerns for my county.

18             Baker County is a small rural county of 27, 28,000.

19   We're between Jacksonville, Duval County, and Lake City,

20   Columbia County.  In Baker County we have -- the City of

21   Macclenny is our county seat.  To the west of us a mile is

22   Glen Saint Mary, to the west of Glen is Sanderson, and the

23   other town is Olustee.  In the City of Macclenny alone are five

24   railroad crossings, and in Glen St. Mary it's two crossings, in

25   Sanderson is two crossings, and Olustee we have two crossings.

FLORIDA PUBLIC SERVICE COMMISSION

67

1             My concern is in the Town of Sanderson we already

2   experience trains blocking both crossings so no traffic can

3   cross from US 90 to the north of the railroad track.  On the

4   corner of one of the main crossings that accepts traffic from

5   the interchange of Interstate 10 and we call it 229, at the

6   railroad track is a rescue fire station.  That rescue fire

7   station has been at times delayed one hour and 45 minutes

8   because a train blocked both crossings in Sanderson alone.  The

9   cost of one life is not worth the train sitting there for any

10   period of time.  We have to worry about police, fire, rescue,

11   busses and employment.  Some of our employees at facilities to

12   the southern portion of Baker County cannot participate at

13   their work because of the schedule of the trains:  They're

14   either there late, they're coming home late because of the

15   conflict with the traffic of the train.

16             I have personally written our Congressmen, Bill

17   Nelson and Ander Crenshaw about the situation; the Governor at

18   that time, Jeb Bush; my local representative Senator Argenziano

19   and Representative Bean.  I got an 800 number.  "If you

20   continue to have a problem, please call this 800 number."  I

21   have the letter on file at my office.

22             And, Commissioners, I am afraid that with this one

23   train route from Duval County to the facility in Taylor County

24   is only going to enhance more stoppages at that crossing that I

25   feel strongly -- we had a meeting with our Commission, and I'm

FLORIDA PUBLIC SERVICE COMMISSION

68

1   representing our Commission, we feel that we can't afford this

2   for our community.

3             So I'm not here to stand in the way of what

4   Tallahassee needs, Perry (sic.) County needs.  Their needs are

5   important to them.  And in your decision-making process I wish

6   you would appreciate us smaller counties that have to put up

7   with this traffic on the way to this station that is probably

8   needed.  Without a doubt it's needed.  But Baker County alone

9   cannot afford for trains to sit there an hour and a half day in

10   and day out.  If we had a bypass, maybe that could be

11   considered as a recourse for what needs to happen in Taylor

12   County.  But my urge to you is consider not only what the

13   doctor just explained and what everybody else has explained,

14   but consider what may happen as a result of that train blocking

15   the crossings in Sanderson alone that could result in some

16   catastrophe.

17             I appreciate the time spent with you, and I would

18   like for your consideration in this particular situation

19   especially.  Thank you very much.

20             CHAIRMAN EDGAR:  Commissioner, thank you for your

21   comments.  Let's see if there are any questions for you.

22             Commissioner Carter.

23             COMMISSIONER CARTER:  Commissioner, thank you for

24   coming.  Thank you so much for coming.  We sincerely appreciate

25   that.  And I think by virtue of being a Commissioner you

FLORIDA PUBLIC SERVICE COMMISSION

69

1   understand what kind of functions we're into.  And this is a

2   legitimate perspective.  What you have raised is a legitimate

3   perspective.  Because you're right, it's fire, rescue, police,

4   moms getting their kids back and forth to school or ball games.

5   I mean, you know, it may not be significant to us, but if my

6   kid, my daughters, if they had missed one of their ball games

7   or something like that, we'd have to call, you know, call the

8   president to the house.  So it was serious stuff.

9             Madam Chairman, I wish Mr. Cooke was here.  I don't

10   know, but I do think, if, if nothing else, we certainly should

11   be able to do a friend of the court letter to our congressional

12   representation or Legislature.  I mean, maybe they could --

13   it's not fair for one community to bear that price.  And I see

14   what you're saying.  You're saying that that's just one more

15   train, one more train.  And you're right, one life is far more

16   important than the trains who -- it's -- somehow or another we

17   have a state where every day 1,004 people are moving here.

18   They've got to go somewhere, somewhere.  By the same token,

19   those of us that have been here, then we shouldn't get run over

20   by the train.

21             I don't know legitimately what we can do, but I

22   certainly would like for us to raise the flag and say, look, in

23   the context of -- this is way beyond the scope, so please

24   forgive me, Madam Chairman, but this is something that's,

25   that's beyond the scope.  But certainly we should be on the

FLORIDA PUBLIC SERVICE COMMISSION

70

1   record as saying this is a legitimate perspective that we as a

2   state in all of our disparate entities -- we can't keep saying

3   that's not my job, that's not your job.  Here's a situation

4   where people's lives are being impacted.  Maybe, Madam

5   Chairman, you could send a letter to the Governor, a

6   legislative delegation to see if there's some kind of

7   transportation.  You remember we used to do that in the

8   Legislature?  Transportation funds to build an overpass or

9   something like that to where -- I'm way beyond the power plant

10   now.  Okay?  I'm way beyond the power plant.  But somehow or

11   another because of health, safety, welfare, particularly in

12   this post-911 time, to, to provide an opportunity for this

13   county to not to be cut off from civilization because or at the

14   expense of other counties.

15             So I'm on my soapbox now, but, you know, I appreciate

16   what Dr. Saff had to say.  But I think that when you're saying

17   things, you bring it in a perspective to where there's some

18   things that we cannot do, but there's some things that we can

19   do.  But if we're just another voice with your voice, then

20   maybe somebody will listen.  And, Madam Chairman, I know this

21   is far beyond the scope of our perspective here, but I know

22   that you, in your leeway you've allowed people to speak that

23   had nothing to do with the issue.  But in the context of that,

24   I think maybe we could add our voice to this so maybe they'll

25   look at a different alignment or maybe they'll look at trying

FLORIDA PUBLIC SERVICE COMMISSION

71

1   to find some resources to build an overpass so that people can

2   at least get to the doctors, get to school, get to work, you

3   know, the fire and rescue people can get people to the

4   hospitals.  I mean, this is -- as I say, it's beyond the scope

5   of what we're doing.  But what really is at -- we want people

6   to continue to move to Florida, we want to be able to meet

7   those resources and all like that, but not at the expense of

8   those of us that are already here.  So thank you for your

9   indulgence, Madam Chairman.

10             CHAIRMAN EDGAR:  Commissioner Carter, you have raised

11   a number of points, as has the Commissioner from Baker County,

12   that as you've pointed out are beyond the statutory authority

13   and purview of this Commission.  However, we all do recognize

14   that there are many, many, many impacts and factors to be

15   considered and that should be considered in any siting issue,

16   and I would put this into, into that category.

17             I am also noting that our General Counsel is in the

18   room and I think would like to shed a little additional light.

19   So I will look to Mr. Cooke.

20             MR. COOKE:  Only to -- this is beyond the scope of

21   this proceeding per se, but there are other aspects of siting

22   certification, et cetera, where I'm pretty sure that this type

23   of issue can and is addressed.  And if there is a sense of the

24   Commission to want to try to find a way to express an opinion

25   at those stages, there may be a way for us to look at that as

FLORIDA PUBLIC SERVICE COMMISSION

72

1   well.

2             CHAIRMAN EDGAR:  Okay.  And thank you, Mr. Cooke.

3   And what I would ask, because I know our staff is taking, as

4   always, copious notes, and I also know that the applicant has

5   heard the concerns that have been raised and the discussion and

6   may be able to shed some additional information at another

7   time, I will ask our staff to look into it and, Commissioner

8   Carter, to respond to you directly and also to share with the

9   rest of us what that information is and at what appropriate

10   point, venue or forum we can perhaps comment.

11             COMMISSIONER CARTER:  Thank you, Madam Chair.

12             CHAIRMAN EDGAR:  Thank you.

13             Commissioner Littlefield.

14             COMMISSIONER LITTLEFIELD:  Thank you, Madam Chair.

15   Just -- and I should know this.  I admit that I don't.  Is

16   there any regulation or ordinance or law that prevents a

17   railroad crossing from being blocked for a certain amount of

18   time?  You had mentioned an hour and a half, and that --

19             THE WITNESS:  Yes, sir.  Commissioner, in response to

20   your question, we do have an ordinance in place, as most

21   counties do.  A train cannot block a crossing for more than 15

22   minutes.  We are authorized by that ordinance for our sheriff

23   and his deputies to arrest the conductor.  But that does not

24   work.  They're very belligerent, they will not accept the

25   ordinance in place.  We have tried this on several occasions.

FLORIDA PUBLIC SERVICE COMMISSION

73

1             The train has to -- we have met with CSX to try to

2   get them to extend the side.  "That's too expensive.  We can't

3   do that."  Well, you're risking the lives of everyone north of

4   the railroad track, north of the Sanderson community because

5   you don't have the money -- and, I'm sorry, I don't mean to

6   point at you -- because you don't have the money to extend a

7   side or put a bypass from US 90 around to the north of

8   Sanderson.  So if a life is lost because that rescue vehicle

9   can't get from its station across the railroad track two blocks

10   down the road, then somebody is going to say I'm sorry.  Right?

11   It's -- that is not acceptable.  And when this coal train comes

12   through there, we're going to experience even more.

13             CHAIRMAN EDGAR:  Thank you.

14             Any further questions for the Commissioner?  Yes,

15   ma'am.

16             MS. PABEN:  Yes, Madam Chairperson.

17                          CROSS EXAMINATION

18   BY MS. PABEN:

19        Q    Commissioner Robinson, I was curious to know whether

20   or not you'd had any communications with the Taylor Energy

21   Center or the applicants in this proceeding regarding this

22   issue?

23        A    No, ma'am, I have not.

24        Q    Are you aware that the, the applicants in this, in

25   this proceeding have made a commitment to the City of Perry for

FLORIDA PUBLIC SERVICE COMMISSION

74

1   $5 million for a railroad bypass to address similar concerns?

2        A    I do know about that.

3        Q    Okay.  Do you know whether or not this information

4   regarding the City of Perry was included in the applicants'

5   projected costs for this facility as the statutory authority

6   does extend to any costs incurred for transportation costs

7   associated with the facility?

8        A    I don't know if any of those costs that you're

9   talking about would come to Baker County.  I have no idea.

10             MS. PABEN:  Thank you very much.

11             CHAIRMAN EDGAR:  All right.  Commissioner, again,

12   thank you for coming to share your concerns with us.  It's been

13   very helpful.

14             THE WITNESS:  Thank you much.

15             CHAIRMAN EDGAR:  Ms. Brubaker.

16             MS. BRUBAKER:  The next speaker is George Cavros.

17                            GEORGE CAVROS

18   was called as a witness and, having been duly sworn, testified

19   as follows:

20                           DIRECT STATEMENT

21             MR. CAVROS:  Good morning, Commissioners, and I

22   believe it still is morning.  My name is George Cavros.  I'm an

23   environmental law attorney in private practice based in Fort

24   Lauderdale, and I thank you for the opportunity to address you

25   today.  I'm going to address you, basically, on Issue 5 and how

FLORIDA PUBLIC SERVICE COMMISSION

75

1   it relates to reasonable costs.  But before I do that, I would

2   like to thank Doctor Saff for coming in and raising the issue

3   of what economists call negative externalities.

4             We tend to have a very myopic view of what cost is.

5   Right now cost is basically, we know what the cost is to the

6   ratepayer, but we rarely or actually never consider what the

7   health costs are on the ground.  And I hope at some point we

8   will be able to move in that area and fully account for not

9   only the cost to the ratepayers, but the emissions from the

10   plants which unfortunately society is left to pick up that tab.

11             Now, I'm going to be really brief, because I don't

12   think my voice will hold out for very long, but I felt

13   compelled to come before you today because I feel you have a

14   really unique opportunity to bring Florida into the 21st

15   century as it applies to full cost accounting to what utilities

16   will have to pay for the right to emit carbon dioxide.  Now,

17   the TEC 2006 Resource Plan places squarely before this

18   Commission a planning question which is ripe for discussion:

19   How will Florida continue to meet its electricity needs in the

20   carbon constraint years that lie ahead and how can the PSC

21   protect ratepayers from utility carbon cost exposure?  And I'm

22   concerned that if this information isn't accurate, Florida

23   ratepayers will be walloped with large rate increases in the

24   near future.

25             Now, it's clear that some form of federal greenhouse

FLORIDA PUBLIC SERVICE COMMISSION

76

1   gas emission limit is forthcoming.  The U.S. Senate passed a

2   resolution just last year encouraging -- rather recognizing the

3   importance of attacking the growing threat of global warming

4   through a CO2 reduction plan.  Several months ago Congressman

5   Waxman introduced the Safe Climate Act that requires a freeze

6   across the economy on U.S. greenhouse gases starting in the

7   year 2010, followed by a two percent reduction every year

8   through 2020, and then annual cuts of 5 percent per year are

9   required beginning in 2021 and ending in 2050.

10             Also in the Senate last year, Senators Domenici and

11   Bingaman developed a white paper, a bi-partisan white paper

12   laying out a whole host of CO2 mandated reduction options, and

13   each and every one of those options included mandated CO2

14   reductions for the utility sector, which accounts for about a

15   third to 40 percent of the CO2 that is emitted in the United

16   States right now.

17             Now, in the last few years the primary policy

18   responses have occurred at the state level.  In addition to the

19   20 states that have adopted renewable energy standards, partly

20   in response to global warming, many have now adopted policies

21   directly intended to limit greenhouse gas emissions.  Several

22   northeastern mid-Atlantic states which you are probably very

23   familiar with have moved ahead with their own regional cap and

24   trade system called the Regional Greenhouse Gas Initiative that

25   will impose mandatory limits on CO2 emissions from their power

FLORIDA PUBLIC SERVICE COMMISSION

77

1   sector.

2             Massachusetts, New Hampshire, Washington, Oregon,

3   they have all passed laws limiting power plant CO2 emissions or

4   requiring them to purchase offsets.  And in Washington, Oregon,

5   and California they have combined to form what is called the

6   West Coast Governors Global Warming Initiative which involves a

7   variety of steps to reduce greenhouse gas emissions in those

8   states.  But I would argue to you even more importantly is that

9   it is Florida legislative intent that we move in a direction to

10   reduce CO2 emissions.

11             I will remind you that last year's passage of Senate

12   Bill 888 created an energy commission which is specifically

13   tasked with developing a statewide CO2 reduction plan.  And, in

14   fact, this commission as we speak is being inducted by the

15   House Energy Committee over at the capitol.  So even the state

16   of Florida is preparing for a carbon constraint world with its

17   own plan.  And I feel that the PSC shouldn't dismiss such

18   evidence as hearsay because that is really tantamount to

19   willful blindness of a future where carbon will most surely be

20   regulated and not accounting for the costs of the right to emit

21   carbon places ratepayers at risk.

22             Now, in the last few years there has been a distinct

23   shift in the way even the power industry have used climate

24   change and the need to respond.  Some industry leaders openly

25   support new emission limits, especially in the form of a cap

FLORIDA PUBLIC SERVICE COMMISSION

78

1   and trade system which is what we have really being seeing out

2   there.  For instance, American Electric Power, which is the

3   largest electric generator in the country, and they use

4   primarily coal to generate electricity, initially fought the

5   idea of carbon limits, but it shifted its approach in the '90s

6   towards preparing for those limits.  An AEP senior

7   vice-president for environmental affairs has stated that we

8   felt it was inevitable that we are going to live in a carbon

9   constrained world.

10             Also, the head of Duke Energy, Paul Armstrong,

11   delivered a speech to energy industry leaders at a Houston

12   forum calling for an economy-wide federal carbon tax.  Also,

13   Excels former CEO, Wayne Bernetti (phonetic), has said that the

14   U.S. will likely impose carbon emission regulations in some

15   form or another on the power industry in the near future.  And

16   he is quoted in Business Week as saying give us a date, tell us

17   how much we need to cut, give us the flexibility to meet those

18   goals and we'll get it done.  And I hope TEC will follow that

19   lead.

20             Now, we must assume now that in the years ahead that

21   TEC plant and other Florida electric utilities will be required

22   to pay for the right to emit carbon dioxide.  It is now highly

23   probable that such limits will be established definitely within

24   the working lifetime of any coal plant built to meet the

25   demands identified in the TEC resource plan.  And, in fact,

FLORIDA PUBLIC SERVICE COMMISSION

79

1   such limits could even be in place before TEC ever generates

2   its first megawatt of electricity.  So I believe the Commission

3   should require the Taylor plant to make future carbon

4   constraints a central feature of its long-term energy planning

5   and we mustn't lose sight of the fact that building some sort

6   of CO2 hedge value protects ratepayers against carbon

7   constraints and those costs further on down the line.

8             And these estimates, or rather these estimates of

9   future CO2 regulatory costs that are built into current

10   resource plans, they go by different names.  They are called

11   CO2 proxy costs in Colorado, Idaho Power uses the term carbon

12   tax risk, while Pacific Corp refers to CO2 allowance costs, and

13   the California Public Utilities Commission calls them CO2

14   adders.  The purpose of all of these state plans is to hedge

15   against foreseeable financial risk to their ratepayers.

16   Therefore, it would be prudent for the Commission to order TEC

17   to provide in its plan at least the following elements to

18   ensure that any sensitivity analysis is accurate.

19             First, information necessary to project the likely

20   level of future CO2 allowance prices over the next 30 years,

21   including an inventory of the expected CO2 emission profile of

22   the plant.  In addition, projected CO2 allowance prices for at

23   least three potential cap and trade regulatory scenarios

24   representing the company's best estimate projections bounded by

25   high and low projections based on a survey of international and

FLORIDA PUBLIC SERVICE COMMISSION

80

1   national proposals.

2             Secondly, at least one projection estimating the

3   regulatory costs that would result from a national effort to

4   achieve emission reductions in the range of 60 to 80 percent by

5   the year 2050, which is what science tells us is necessary to

6   avoid the worst impacts of global climate change, and likely

7   the plant will still be in business by that time.

8             Thirdly, a description of the critical components of

9   each regulatory scenario considered, including the level of the

10   CO2 cap, the schedule of emission reductions, the availability

11   of domestic and international trading, and its impact on

12   allowance prices.

13             And, lastly, describe all assumptions that went into

14   the calculation of likely allowance costs required above.

15   Included with those should be improvements in renewable energy

16   and demand-side efficiency technologies.

17             So, simply put, without accurate carbon cost

18   information, you can't efficiently fulfill your mandate to

19   determine the ultimate cost to Florida ratepayers from the

20   electricity that will be generated by this plant.  This type of

21   CO2 regulatory analysis that I mentioned is, I believe, the

22   best way to ensure an accurate sensitivity analysis, and I

23   would also like to thank you in advance for protecting the

24   interests of Florida ratepayers.  Thank you so much.

25             CHAIRMAN EDGAR:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

81

1             Commissioner Carter.

2             COMMISSIONER CARTER:  Thank you very much for coming

3   today.  And let me just ask you to please stay involved,

4   particularly when it gets to the environmental perspective.  I

5   think you have a lot to offer there.

6             A lot of what you recommend -- it's interesting that

7   you mentioned the legislature today, because a lot of what you

8   have mentioned is going to require legislative action.  So

9   obviously I would certainly hope that as you continue to be

10   involved in the environmental perspective of this, when it gets

11   to that level, as well, maybe visit a few blocks down the road

12   there to our legislators and let them know about these sorts of

13   things.

14             I think that when you look at the entire panoply of

15   issues there are some things that we obviously can't control

16   what the Congress does or does not do, so a lot of what you are

17   saying may or may not be even applicable to Florida in terms of

18   where we have jurisdiction.  But I certainly think that you

19   have some creative ideas and some well-thought ideas and not

20   some things that we haven't thought about before, but certainly

21   well articulated.  And I would suggest, particularly as they

22   get not into the environmental phase of this process, please,

23   sir, be involved.  I mean, you have a good command of the facts

24   and those issues need to be presented at that time.

25             But also if you get a chance, please stop by the

FLORIDA PUBLIC SERVICE COMMISSION

82

1   legislature and, you know, share some of those ideas.  Because

2   a lot of what -- you know, we have a fairly limited grant of

3   authority as we are now, we are basically doing a need

4   determination.  But I think that what you have to say is

5   significant, and obviously we are not robots or automatons that

6   we are not aware of these things, but we certainly would

7   appreciate, you know, when you have good thoughts like that to

8   pass it on to the legislature so they can make the policy and

9   we can implement those policies.  So thank you for being here

10   today and thank you for your ideas.

11             Thank you, Madam Chairman.

12             CHAIRMAN EDGAR:  Thank you.

13             Commissioner Arriaga.

14             COMMISSIONER ARRIAGA:  One quick question.  Is it

15   your testimony today that the study presented by the proponents

16   does not consider or include any projections for potential

17   costs that may derive from environmental costs to emissions?

18             MR. CAVROS:  Well, the emissions I'm referring to

19   directly are CO2 costs.  And what I have done is, of course,

20   tie them into your mandate under Section 403.519 that you look

21   after Florida ratepayers and ensure that electricity is

22   delivered at a reasonable cost.  And in order to determine what

23   that cost is, I think it's important to not be blind to the

24   fact that there will be CO2 limits and there will be costs once

25   this plant is built to go out and purchase allowances for the

FLORIDA PUBLIC SERVICE COMMISSION

83

1   right to emit carbon dioxide.

2             So, again, I limited my -- tried to limit my

3   testimony to CO2 emissions as they relate to ratepayer exposure

4   and how they factor into providing reasonable cost energy to

5   the ratepayer.

6             COMMISSIONER ARRIAGA:  And I agree with you, I just

7   wanted to know if you have had the time to review if this

8   specific project took the time to include or study those

9   potential additional costs?

10             MR. CAVROS:  Right.  I apologize, I have not had the

11   time to review this specific resource plan, but I did lay out

12   some steps that I think would be prudent in taking -- for the

13   proponent to include as part of the resource plan so at least

14   you have some idea of what is coming on down the line.

15             COMMISSIONER ARRIAGA:  Thank you.

16             MR. CAVROS:  Thank you.

17             CHAIRMAN EDGAR:  Thank you.  Ms. Brubaker.

18             MS. BRUBAKER:  Christine Thompson.  And just for

19   everybody to be aware, the next three speakers after Ms.

20   Thompson will be Charles Poppell, Gary Lloyd, and Roger Fontes.

21             CHAIRMAN EDGAR:  Thank you.

22                         CHRISTINE THOMPSON

23   was called as a witness and, having been duly sworn, testified

24   as follows:

25                           DIRECT STATEMENT

FLORIDA PUBLIC SERVICE COMMISSION

84

1             MS. THOMPSON:  Christine Thompson.  Christine with a

2   "C" and Thompson.

3             CHAIRMAN EDGAR:  Ms. Thompson, if you would, lean

4   into the microphone a little bit for us.  Thank you.

5             MS. THOMPSON:  And I'm from Taylor County.  And thank

6   you for allowing me to speak.

7             I'm concerned about the financial impact on the

8   health care in our county.  State comp plan compliance

9   187.201(6)(b)(2)(a) reads, "Every Florida resident has a right

10   to breathe clean air, drink pure water, and eat nutritious

11   food."

12             I'd like to ask each one of you to picture yourself

13   as a prisoner in your own home.  You can't sit on your patio,

14   your porch, or in your yard, or take a walk without coughing,

15   wheezing from asthma, or having some kind of breathing problem.

16   And the air in your home is not really clean, either.  There

17   are actually some people in Taylor County living in this

18   situation, and that may sound far out, but that is true because

19   of the pollution from the paper mill, especially when there is

20   a low ceiling.

21             The proposed pulverized coal plant would add tons

22   more per year of carbon, sulfur dioxide, and other pollutants

23   to the air we breathe, including brain-damaging mercury.

24   Mercury also contaminates the water, which contaminates the

25   fish and seafood.

FLORIDA PUBLIC SERVICE COMMISSION

85

1             Another area of concern is the lack of a sufficient

2   water supply for a coal plant.  A coal plant would need

3   millions of gallons of water a day, and our water table is

4   already very low.  And also it would seem a shame to have money

5   obligated to an outdated form of energy for fifty to sixty

6   years in the future when so many better alternatives are

7   available.

8             My family and I ask you to have mercy on us and our

9   county and deny the request for this plant.  Thank you.

10             CHAIRMAN EDGAR:  Thank you, Ms. Thompson.

11             Are there questions?

12             MR. PERKO:  Madam Chairman.

13             CHAIRMAN EDGAR:  Mr. Perko.

14             MR. PERKO:  I have no questions, but I would just

15   like to interject the same objections regarding environmental

16   health impacts.  I didn't want to interrupt Ms. Thompson.

17             CHAIRMAN EDGAR:  I understand.  Thank you, Mr. Perko.

18             Thank you, Ms. Thompson.

19             MS. THOMPSON:  Thank you.

20             CHAIRMAN EDGAR:  Ms. Brubaker.

21             MS. BRUBAKER:  Charles Poppell.

22                           CHARLES POPPELL

23   was called as a witness and, having been duly sworn, testified

24   as follows:

25                           DIRECT STATEMENT

FLORIDA PUBLIC SERVICE COMMISSION

86

1             MR. POPPELL:  I'm Charles Poppell from Perry, also,

2   and I appreciate the opportunity to speak here today.  To me

3   the thought of having a pulverized coal plant there in Taylor

4   County is -- even though it may not even be needed is of great

5   concern to myself and others, and I urge ya'll to please

6   require a complete study on the need before allowing this

7   pollution to occur.

8             I was at a Commission meeting where our County

9   Commissioners were given over 800 signatures asking for a vote

10   on the issue, and they completely ignored our pleas.  The

11   Buckeye Paper Mill was built in sight of your house in the

12   early to mid-'50s and my mother was diagnosed later with having

13   scarred lungs.  One doctor said he thought it was from

14   breathing the paper mill pollution, but also said he wouldn't

15   say that in court.  My mother had bad health problems for years

16   and died six or seven years younger than her two other sisters.

17   She was eaten up with cancer.

18             The pulverized coal plant would bring more

19   unnecessary and disastrous pollution to this area, and many

20   people would die as a result.  And with 3,000 acres there, it

21   is obvious to me that there are plans for more plants and more

22   trains and more problems.

23             I worked on construction on some coal-fired plants at

24   Seminole near Palatka, for instance.  I helped change out

25   stainless steel cable tray around the plant as well as piping

FLORIDA PUBLIC SERVICE COMMISSION

87

1   and so forth that had been badly rusted out by the pollution of

2   the plant.

3             I watched the Climate Control with Doctor Heidi

4   Cullen on The Weather Channel several weeks ago.  It's on at

5   5:00 p.m. on Sunday.  It was entitled, "Fuel for Thought, Video

6   Number 104."  She had the Governors of California, North

7   Dakota, and Montana on speaking against pulverized coal plants

8   and in favor of coal gasification.  One governor stated that

9   the coal plant stacks were built so tall that the pollution

10   would be dumped in someone else's backyard, but went on to say

11   that now we are running out of backyards.  They explained that

12   there is enough coal in North Dakota and Montana, I believe it

13   was, that through gasification they could produce enough clean

14   fuel to be piped to different areas and provide energy for the

15   country for years.  And there are other solutions out there,

16   also.

17             And many people will pay great prices in bad health,

18   high medical bills, early death and so forth for having a

19   pulverized coal plant there.  A lot of people drink bottled

20   water now due to polluted wells.  The coal plant would make

21   that much worse.  And as was mentioned about the water level

22   being dropped, I know before the paper mill came we used to go

23   frog hunting and, you know, there were ponds all over out

24   there, and then they all went dry.

25             According to the state comp plan, I believe it was

FLORIDA PUBLIC SERVICE COMMISSION

88

1   mentioned that Florida residents have a right to breathe clean

2   air and drink pure water and so forth, and it seems that this

3   proposed plant would be in violation of that.  The Fish and

4   Game Commission should be concerned because the mercury would

5   further contaminate our streams and make the fish more unsafe

6   to eat.  I understand Florida streams already have a huge

7   mercury problem.

8             And the Agriculture Commission should also be

9   concerned because of the damage to the vegetation and soil.

10   This is a situation that is being forced on countless thousands

11   of people for generations to come by five county commissioners

12   who refuse to let the people vote on it.  And I plead with you

13   not to allow further pollution of our air, water, vegetation,

14   and soil which would create irreparable health problems for

15   generations to come by this coal plant.

16             I thank you for your serious consideration of the

17   matter.  Our lives are in your hands.  Thank you.

18             CHAIRMAN EDGAR:  Thank you, Mr. Poppell.

19             Questions?

20             MR. PERKO:  No questions, Madam Chairman, just the

21   same objection regarding health matters.

22             CHAIRMAN EDGAR:  Standing objection.  Understood.

23             MR. PERKO:  Is that a standing objection?

24             CHAIRMAN EDGAR:  That works for me.  Does that work

25   for you?

FLORIDA PUBLIC SERVICE COMMISSION

89

1             MR. PERKO:  That works for me.

2             CHAIRMAN EDGAR:  We will call it a standing

3   objection.

4             MR. PERKO:  Thank you.

5             CHAIRMAN EDGAR:  Mr. Poppell, thank you very much for

6   coming to speak to us.

7             MR. POPPELL:  Thank you.

8             MS. BRUBAKER:  Gary Lloyd.

9                             GARY LLOYD

10   was called as a witness and, having been duly sworn, testified

11   as follows:

12                           DIRECT STATEMENT

13             MR. LLOYD:  Good morning, Commissioners.  I'm Gary

14   Lloyd.  I'm chair of the Sierra Club's Big Bend Group.  Before

15   I make a few comments, I would like to correct a statement made

16   by speaker Ken Williams.  He said that in the City of

17   Tallahassee 60 percent voted for the coal plant.  That is not

18   true.  They voted for permission and authority to give to the

19   Commission to explore the possibility of the Taylor County

20   plant.  And if it was found to be the best option, then they

21   should adopt it.  That was the correct referendum language.

22             I wanted to make just a few comments that the Sierra

23   Club has a position on, and many of these have already been

24   spoken of.  Many have been spoken of, so I won't go into those.

25   When we talk about needs, I think that a consumer has no right

FLORIDA PUBLIC SERVICE COMMISSION

90

1   to say I need to waste energy.  I mean, that's not a part of

2   the needs determination.  In fact, it should be I need to make

3   sure I don't waste energy.

4             I would love to see that somehow integrated into the

5   mission position of the PSC.  I would also like to see

6   something integrated in as to efficiency.  We have a number of

7   opportunities we did not have 15 years ago.  We have right now

8   the tax credit, the federal tax credit.  The state has passed

9   this energy bill with rebates there and subsidies.  Here in

10   Leon County, I don't know about the others, but we have

11   subsidies for certain appliances, et cetera.  Consumers do have

12   to pay a part of that, but we did not have those 15 years ago.

13   And when we talk about efficiency, that needs to be somehow

14   considered and integrated into decisions.

15             The same way with conservation.  Things such as

16   tiered conservation rates.  Some cities have three levels,

17   thresholds.  I know Lakeland has three, and some have two.  We

18   don't have any in Tallahassee, and I would like to see those

19   part of the -- written into any decision that it is mandatory

20   that those things have to be factored in, such as the

21   conservation rates for the amount used, peak and nonpeak hour

22   pricing, and direct load control whether people are willing to

23   take short interrupted service which does not affect their heat

24   and air over power.

25             When we talk about diversity, to me -- we have talked

FLORIDA PUBLIC SERVICE COMMISSION

91

1   a lot about that, but diversity to me is not a coal-fired

2   plant.  I mean, it includes a lot of other things, just these

3   things I have mentioned.  And, of course, it includes

4   renewables, the biomass, the solar, and the wind.  The solar

5   and the wind are two that we do not know ahead what's going to

6   happen.  The solar is too high-priced now, but it is dropping

7   fast every year.  The wind is priced cost competitive, but it

8   is not abundant, so we don't have that availability.  But we do

9   know not what it is going to be like in seven years.  I

10   certainly think that both will improve and should be considered

11   in part of the planning process, and it should be written in as

12   mandatory that somehow we have to factor that in.

13             An affluent gambler can risk his money paying the

14   Chicago futures market, but a government entity should not be

15   risking the money of taxpayers or stockholders when we don't

16   know what's going to happen.  And the price of coal could be

17   very well affected by a carbon tax, that has been talked about

18   a lot.  And we are likely to see something, we don't know what

19   it is.  So in that I would ask that somehow you could work out

20   something and integrate it into making it mandatory that

21   something must go into the planning process, into the final

22   decision that these factors must be considered and allow for

23   some flexibility so that in the future as things change, which

24   they are probably going to do, we have to be prepared to make

25   those adjustments.  That's all I have.  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

92

1             CHAIRMAN EDGAR:  Thank you, Mr. Lloyd.

2             Commissioner Carter for a question.

3             COMMISSIONER CARTER:  Good morning.  Thank you for

4   coming.  I wish you were here yesterday when you would have

5   seen that this Commission took steps that will make Florida one

6   of the leaders in renewables.  I don't know if you followed

7   that or not, but we passed a rule just yesterday that would, in

8   my opinion, make us one of the leading states in the use of

9   renewables.  Biomass, you know, different -- someone mentioned

10   earlier this morning Senate Bill 888.  The Chairman and a lot

11   of us Commissioners were down with the Governor at the signing

12   of an ethanol plant that will be built at the Port of Tampa.

13   So we are getting out on the front of this issue, so we are not

14   really -- you know, we are not really uninformed about the

15   issue, and we have a legislative mandate to do so, and we have

16   taken that mandate serious, and we are moving forward toward

17   that.

18             And we are not wedded to one technology or the other

19   technology.  What we are wedded to is making Florida a leader

20   in renewables.  And I think that the more we try different --

21   you talked about the cost implication with solar and wind and

22   things like that, but the more things we try the more

23   availability will come to us, and we can do different things

24   like that.

25             So I sincerely appreciate your comments, but I do

FLORIDA PUBLIC SERVICE COMMISSION

93

1   wish that -- you know, if you haven't seen it, just kind of

2   check us out on what we are doing on that rule.  Thank you so

3   much for coming this morning.

4             MR. LLOYD:  Thank you.

5             CHAIRMAN EDGAR:  Thank you, Mr Lloyd.

6             Ms. Brubaker.

7             MS. BRUBAKER:  Before we actually move on to the next

8   speaker, if I could point out Mr. Poppell has requested that

9   documents be identified as an exhibit.  I'm having Mr. Breman

10   pass those out now.  If I understand correctly, they are

11   essentially written comments very much in line with what he

12   testified to today.  So if we could go ahead and have that

13   identified as Hearing Exhibit Number 85.

14             CHAIRMAN EDGAR:  We will do so.

15             MS. BRUBAKER:  Thank you.

16             (Exhibit 85 marked for identification.)

17             MS. BRUBAKER:  The speaker is Roger Fontes, or

18   Fontes.  My apologies if I'm mispronouncing.  And for the next

19   three speakers, Mr. Barry Parsons, Lad Daniels, and Connie

20   McBride, please.

21                           ROGER A. FONTES

22   was called as a witness and, having been duly sworn, testified

23   as follows:

24                           DIRECT STATEMENT

25             MR. FONTES:  Good morning.  Roger Fontes,

FLORIDA PUBLIC SERVICE COMMISSION

94

1   F-O-N-T-E-S.

2             Madam Chair, Commissioners, I'm the General Manager

3   and CEO of the Florida Municipal Power Agency.  I appreciate

4   the opportunity to speak to you today on behalf of 15 municipal

5   utilities in Florida, utilities that are customers of FMPA,

6   utilities that will receive power from the Taylor Energy

7   Center.

8             To conserve your time today, these cities have asked

9   me to bring several letters, which I have here, and I have 15

10   copies, I will provide that to the clerk in just a minute, and

11   to make two points on their behalf.

12             First, I would like to make sure that you understand

13   how important this facility is to our cities.  This proposed

14   plant is very important.  It is important to help them provide

15   reliable power at an affordable price.

16             My second point is that the cities want you to know

17   that they are committed to energy conservation and they are

18   doing what they can, small as they are, to promote

19   cost-effective energy conservation programs.

20             It's important to recognize that FMPA does not serve

21   retail load.  We are a wholesale public agency.  Our cities

22   serve retail customers.  Each of these cities is individually

23   owned and operated.  Each city has a local governing board that

24   makes decisions affecting its system.  Those decisions include

25   what types of energy conservation programs to offer.

FLORIDA PUBLIC SERVICE COMMISSION

95

1             The cities do have existing programs, and many are

2   looking at new programs.  For example, if I had a little more

3   time today I would like to explain a new on-line energy audit

4   service that many of our cities are currently implementing.  It

5   is difficult, though, for small cities to find cost-effective

6   programs.  Even Florida's Energy Efficiency and Conservation

7   Act exempts utilities with annual sales of less than 2,000

8   gigawatt hours.  For comparison, FMPA's largest project

9   participant is 1,300 gigawatt hours.  The smallest is 23

10   gigawatt hours, with an average of about 450.

11             However, despite their small size, they are doing

12   what they can, and FMPA is doing what it can, as well.  We and

13   our cities are investigating right now time-of-use rates.

14   Hopefully, we can shift some demand from peak to offpeak

15   periods.  Further, we have a request for power proposals in the

16   competitive market to evaluate options for capacity needs

17   between now and when the Taylor plant comes on-line.

18             I have personally encouraged a well-known renewable

19   energy provider to bid in the process.  I hope that they will

20   make a proposal.  The point is we continue to test the market

21   with each and every decision opportunity.

22             In conclusion, I hope I have explained a little about

23   what FMPA cities do to promote energy conservation programs,

24   and yet we still need this proposed power plant.  On behalf of

25   the fifteen cities here in Florida, and on behalf of their

FLORIDA PUBLIC SERVICE COMMISSION

96

1   local governing boards and their elected officials, they

2   request your approval of the Taylor Energy Center.

3             Thank you for the opportunity to speak today.

4             CHAIRMAN EDGAR:  Thank you, Mr. Fontes.

5             Any questions?  Ms. Brownless.

6             MS. BROWNLESS:  Yes, ma'am.

7                          CROSS EXAMINATION

8   BY MS. BROWNLESS:

9        Q    Thank you for coming today, Mr. Fontes.  Let me ask

10   one question.  In reviewing the application, it's very clear

11   that although your municipalities are small, many are

12   instituting demand-side management programs, which I assume

13   their communities are supportive of.

14             Would you concede that the impact of those

15   demand-side management programs already in place could be more

16   effective if jointly coordinated by FMPA?

17        A    Well, first of all, I do believe that we have a major

18   role in coordinating several of the programs.  That is not to

19   say that they couldn't be done a little better, but each of our

20   cities has the autonomy to make decisions based on local

21   circumstances.  And we have a member services program where we

22   do provide, for example, this energy audit, on-line energy

23   audit service that I mentioned.

24             So as I testified, I think our cities or doing what

25   they can do, and will continue to fulfill their obligations to

FLORIDA PUBLIC SERVICE COMMISSION

97

1   their communities in the state.

2        Q    But you would concede that more joint cooperation

3   between the cities would make their demand-side management

4   programs more effective?

5        A    I think economies of scale are usually available in

6   programs like that.  The reason I'm hesitating is that

7   successful energy conservation programs, as the Mayor of

8   Tallahassee alluded to this morning, and as I'm sure this

9   community is well aware, require participation by customers.

10   Implementing programs does not reduce consumption.  Consumers

11   do that, businesses do that, individual people do that.  So the

12   further you get away from -- I guess my concern is the further

13   you get away from the individual end user, the less in touch

14   you are with their needs and their abilities to effectuate the

15   programs cost-effectively.

16        Q    But it is true that there are certain demand-side

17   management programs, such as construction programs, the

18   installation of windows, certain types of energy efficient

19   windows, insulation, that type of thing that are not customer

20   dependent.  In other words, an ENERGY STAR construction code,

21   for example?

22        A    Yes.

23        Q    That once one builds that type of building, it is not

24   dependent upon whether a customer fails to replace a light,

25   isn't that correct?

FLORIDA PUBLIC SERVICE COMMISSION

98

1        A    First of all -- that is correct.  And I don't want to

2   be argumentative, but, first of all, we do implement and manage

3   the ENERGY STAR program for our members today as we sit, and

4   do have an ESCO, an energy services company under contract to

5   us to provide larger scale energy conservation ideas for hotels

6   and larger businesses, and we do monitor that contract and make

7   services available to those cities.

8             MS. BROWNLESS:  Thank you.

9             CHAIRMAN EDGAR:  Ms. Brownless, your questions are

10   beginning to seem a little bit like testimony to me.  So from

11   this point forward, I'm going to ask you to tie any questions

12   to the witnesses a little more closely to the testimony that

13   they have presented to us, please.

14             MS. BROWNLESS:  (Indicating yes.)

15             CHAIRMAN EDGAR:  Commissioner Arriaga.

16             COMMISSIONER ARRIAGA:  Mr. Fontes, the fifteen cities

17   that are members of the agency that you represent, are they all

18   in agreement that this is the best technology available for

19   this project?

20             MR. FONTES:  Yes, they do, and they have affirmed

21   that twice in preparing integrated resource plans in public

22   that have been adopted in July of 2004, and in another version

23   of the plan adopted in July of 2006.  So they have approved our

24   participation in the coal plant on two occasions.

25             COMMISSIONER ARRIAGA:  And by doing that approval are

FLORIDA PUBLIC SERVICE COMMISSION

99

1   you stating that they also looked at different alternatives?

2             MR. FONTES:  We did, yes.

3             COMMISSIONER ARRIAGA:  Cost-effective, environmental

4   costs, emissions, all of those things were looked at?

5             MR. FONTES:  Yes, we did.

6             COMMISSIONER ARRIAGA:  Thank you.

7             CHAIRMAN EDGAR:  Thank you.

8             MR. JACOBS:  I'm sorry, Madam Chair.

9             CHAIRMAN EDGAR:  I'm sorry.  Hold on, please, just a

10   moment.

11             Mr. Jacobs, you're recognized.

12                          CROSS EXAMINATION

13   BY MR. JACOBS:

14        Q    Good morning, Mr. Fontes.

15        A    Hello.

16        Q    Am I to understand -- well, let me ask you this.  Are

17   you aware of any efforts wherein members of your organization

18   study and profile the customer base to ascertain what the use

19   profiles are?

20        A    Each and every one of our cities understands their

21   community and their community load factor and consumption

22   patterns better than I do, so I'm not as informed as I ought to

23   be to answer this question.  But let me just say that -- I hope

24   ya'll read in the paper last week that the City of Jacksonville

25   Beach is buying 60,000 low energy compact fluorescent light

FLORIDA PUBLIC SERVICE COMMISSION

100

1   bulbs.  I don't have time today to provide a list of all the

2   programs that they do run, but this is very common with our

3   communities is to find programs that work, have the local city

4   council approve them, and then begin to implement them.  So I

5   think the cities do know what their consumers -- they are

6   closer than anyone to their consumers.  Remember, any Tuesday

7   night any consumer can go to a city council meeting and talk to

8   their rate setting body and the city council to tell them what

9   they do want, so we feel we are very responsive to consumer

10   needs.

11        Q    Okay, and I don't disagree with that.  You made

12   reference to the economies of scale.  Is there any opportunity

13   or any effort made to look at the body of your members and make

14   a determination how the individual efforts can rise to an

15   economy of scale for the organization?

16        A    I would say that we do that consistently and

17   constantly.  It isn't like we do it every day, but we have a

18   program for evaluating through the integrated resource plan

19   conservation alternatives.  Some programs lend themselves to

20   economies of scale and others do not.  It's just a matter of

21   choice.

22        Q    I'm unclear how that process works.  Is it a formal

23   scheduled process, is it ad hoc, is it city-by-city?  How does

24   that process work?

25        A    I would say it's a combination of things.  Sometimes

FLORIDA PUBLIC SERVICE COMMISSION

101

1   one city will find a program that works exceptionally well, and

2   we bring it into our member services program and we offer it as

3   a program to others.  One of the things that -- I hope I'm not

4   being heretical here.  Some things we find don't work.  Some

5   things we find do not work, are not cost-effective, and the

6   members share that information amongst themselves and try to

7   avoid those programs, or fix them so that they are more

8   cost-effective.

9        Q    And then, finally, do your members then share the

10   economic impact of having adopted those measures?

11        A    The costs for running the programs typically are

12   contained within the city.  On occasion the agency will pay for

13   running programs, like I mentioned, the energy services company

14   contract.  That's a cost that we occur.  By and large, the

15   cities involve themselves and use their revenues to implement

16   programs at the local level.

17             MR. JACOBS:  Thank you.

18             CHAIRMAN EDGAR:  Thank you.

19             Ms. Brubaker.

20             MS. BRUBAKER:  I just wanted to ask -- Mr. Fontes,

21   did you have documents you wish to --

22             MR. FONTES:  I'll be bringing them right over.

23             MS. BRUBAKER:  Okay.  If we could go ahead and have

24   those identified as Exhibit 86, please.

25             CHAIRMAN EDGAR:  Marked as Exhibit 86.  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

102

1             (Exhibit 86 marked for identification.)

2             COMMISSIONER CARTER:  Barry Parsons is the next

3   speaker.

4                            BARRY PARSONS

5   was called as a witness and, having been duly sworn, testified

6   as follows:

7                           DIRECT STATEMENT

8             MR. PARSONS:  Madam Chair, Commissioners, ladies and

9   gentlemen, good morning and thank you for allowing me to speak

10   today.  I appreciate it.  My name is Barry Parsons.  I'm from

11   Madison County.  I'm a retired State of Florida Vocational

12   Rehabilitation Counselor.  And I'm not an expert, I'm a

13   volunteer citizen environmentalist and activist.  Madison

14   County, I would just like to state clearly for the record, is a

15   county adjacent to Taylor County where the proposed coal plant

16   would be located just 15 miles from our county line.  And since

17   our county would be negatively impacted by the operations of

18   this coal plant, I consider myself an interested party and a

19   stakeholder in your decision.

20             What I'm going to address is a very limited issue,

21   and hopefully it will expedite the time factor here today.  I'm

22   going to be addressing, again, the increase in rail traffic

23   issue that Mr. Robinson testified to so eloquently, and the

24   bulk of my evidence here that I'm going to go through with you

25   just very quickly and headline it for you, is letters from

FLORIDA PUBLIC SERVICE COMMISSION

103

1   eight jurisdictions, seven others besides Baker County, in the

2   north, northeast, north central Florida area.  And I think you

3   will see that the concerns that Mr. Robinson expressed today

4   are shared by those other same communities.

5             Let me first just go right through the evidence in

6   the order in which I have it from the top down.  First is an

7   October 12th e-mail from Mark McCain speaking for the coal

8   plant consortium describing the 50 to 135 car trains full of

9   coal needed to feed this large plant in five to six trains per

10   week.  There are no further specificities that I have available

11   to me at the moment as far as what size trains will be going to

12   what areas and so forth.

13             The second piece of evidence is a letter sent by Mike

14   Lawson to Mayor Ketring supporting that city's application that

15   you have heard about for a federal grant for a railroad by-pass

16   around Perry because of the safety issues regarding the

17   increase in rail traffic due to the coal plant.

18             Third is a page of Chapter 7 of the Taylor County

19   comp plan directing coordination between the county and

20   adjacent local governments to ensure compatible development,

21   which as far as I can tell was not done with respect to the

22   eight jurisdiction letters which is the next eight items of

23   information.  And I will describe that to you.

24             The impact of emergency services on the increased

25   rail traffic at the rail crossings is a universal concern, it

FLORIDA PUBLIC SERVICE COMMISSION

104

1   appears just on this sample from Madison to Jacksonville.  We

2   are not talking about other communities that may be along rail

3   lines bringing in the coal that is going to come from west of

4   the Mississippi and east of the Mississippi, much of which may

5   be coming through the small town of Greenville in my county of

6   Madison, which is included in this evidence.

7             And, finally, the fifth item is a CSX Railroad map of

8   Florida just for your reference.  It doesn't look to be

9   completely detailed, although I don't know whether materials

10   are available other than the Department of Transportation map

11   which is very similar and which I have misplaced, and I

12   apologize for not having that here today.  A brief look at that

13   railroad map and the key in the lower left-hand corner which

14   describes the nature of the facilities, you will see that it is

15   only Jacksonville and Tampa that have the full range of the

16   four different types of port facilities that could handle off

17   loading of the imported coal from the barges or freighters or

18   whatever that bring it in.

19             And you will notice that there is a railroad line

20   heading directly north out of Tampa that stops.  That railroad

21   line is an old line that was largely torn up from that point

22   that is somewhere northwest of -- or I should say southwest of

23   Ocala.  Therefore, rail transportation and fuel coming to Tampa

24   appears, if this map is correct, to have to take a rather

25   circuitous route over to another north/south route that would

FLORIDA PUBLIC SERVICE COMMISSION

105

1   run up through Ocala and eventually have to tie into the

2   east/west rail line that I'm talking about in this evidence

3   that runs east/west parallel to Highway 90.

4             Clearly Jacksonville is the better route.  Whether or

5   not the applicant is having problems nailing down a contract or

6   not, I can't say.  But please note what I think you have

7   already seen, and I want to make it clear for the record, the

8   towns that are represented in these letters from these eight

9   jurisdictions are strung out east to west along Highway 90

10   parallel to the east/west railroad line from Jacksonville to

11   Madison, the likeliest rail route for the imported coal.  And

12   they are located just north of the railroad, but they are

13   required to respond to emergencies, fire, police, and medical

14   at their respective I-10 interchanges which lie south of the

15   railroad line.  That means each of these jurisdictions, the

16   majority of their emergency responses are going to involve

17   going back and forth through the railroad crossings.

18             In addition, the town of Lee has concerns about

19   increased rail traffic impacting their tourism, which is a

20   mainstay of that small town's rural economy.  And I will leave

21   it to you to imagine cost impacts of the operation of the rail

22   plant in that regard, also.

23             I have talked with most of these jurisdictions in the

24   last two days, and to the best of my knowledge none of them

25   have had any response from Taylor County officials or the

FLORIDA PUBLIC SERVICE COMMISSION

106

1   Taylor Energy Center.  And as you can see, they sent their

2   letters to the Taylor County Commission with a copy to the DCA.

3             Let me conclude by saying that the key question here,

4   ladies and gentlemen, is that at least one or more persons on

5   every one of these city and county commissions and councils

6   that I talked with was this, if increased rail traffic to and

7   from the coal plant would be a problem for Perry, why wouldn't

8   it be a problem for the other communities through which the

9   same trains pass?  I have no time left to discuss a report from

10   the Union of Concerned Scientists which someone later speaking

11   today will submit.  Thank you for your time, I appreciate it.

12             CHAIRMAN EDGAR:  Thank you, Mr. Parsons.

13             Mr. Perko.

14             MR. PERKO:  Yes, Madam Chairman.  If I could just get

15   confirmation that the testimony regarding traffic impacts, that

16   will be part of my standing objection since it is also part of

17   the site certification proceedings.

18             CHAIRMAN EDGAR:  So noted, so clarified.  Thank you.

19             Commissioner Carter.

20             COMMISSIONER CARTER:  Mr. Parsons, I want to say

21   thank you to you.  You know, you may say you are retired, but

22   you look like you are working full time on this.  But I do

23   appreciate your earnestness to check with your neighbors.  In a

24   lot of these little towns they don't have lobbyists and they

25   don't have a full panoply of staff, but I sincerely appreciate

FLORIDA PUBLIC SERVICE COMMISSION

107

1   you going the extra mile to help your neighbors to get this

2   information, and it will be part of our record.

3             I don't know what number we are on, Madam Chairman,

4   but I know this will be made part of our record, and I just

5   want to say thank you for your hard work and for what you are

6   doing for your neighbors.  That's what makes Florida a great

7   state, neighbors helping neighbors.

8             MR. PARSONS:  Thank you, sir.

9             CHAIRMAN EDGAR:  Thank you.  And this will be Number

10   87?

11             MS. BRUBAKER:  87, yes.

12             CHAIRMAN EDGAR:  Marked as Number 87.

13             (Exhibit 87 marked for identification.)

14             CHAIRMAN EDGAR:  Commissioners, and participants,

15   and, Mr. Parsons, you are excused.

16             MS. PABEN:  Madam Chairperson, excuse me.

17             CHAIRMAN EDGAR:  Oh, excuse me.  No, you're not.  I'm

18   sorry.

19             MS. PABEN:  I have a couple of questions for Mr.

20   Parsons.

21             CHAIRMAN EDGAR:  Mr. Parsons, if you can give us just

22   a few more minutes.

23             MS. PABEN:  Thank you.

24                          CROSS EXAMINATION

25   BY MS. PABEN:

FLORIDA PUBLIC SERVICE COMMISSION

108

1        Q    Mr. Parsons, in your outreach to the surrounding

2   communities regarding the rail traffic, do you know -- I think

3   you indicated that as far as you were told that none of them

4   had had communications with the applicants regarding these rail

5   issues, is that correct?

6        A    Not in response to the letters that they sent, that

7   is right.

8        Q    Do you know whether or not there were discussions by

9   these communities as whether or not by-passes would be required

10   as indicated by the Baker County Commissioner earlier today?

11        A    Some of the jurisdictions were interested in it.

12   None of them had, I don't believe, any realistic expectations

13   that either the applicant, or the state, or anyone else was

14   going to go around to all the jurisdictions and build

15   by-passes, but as everyone has observed, and the gentleman on

16   the Commission here has observed, it is a problem.  And it is

17   not going to go away, and there is every indication that it

18   will be made worse when there is any source of increased rail

19   traffic whether it is from the Taylor Energy Center or anywhere

20   else.

21             This is apparently a problem that has really been

22   brewing for a long time.  The City of Live Oak has had

23   negotiations, I understand, with the CSX people complaining

24   about a number of issues that they have had with that

25   particular company, and I have even seen references on the

FLORIDA PUBLIC SERVICE COMMISSION

109

1   Internet to the same sorts of problems in other states.  So it

2   appears to be quite a widespread situation that somebody

3   somewhere has to look at.

4        Q    And just to make sure that I am correct, in your

5   testimony, because there were only a few copies over here, you

6   said there was a letter that did demonstrate TEC's commitment

7   of $5 million to the City of Perry to do a by-pass to address

8   those similar issues, correct?

9        A    Yes.  Let's see, that would be the second letter, the

10   second piece of paper in your packet that comes from Mr. Mike

11   Lawson to Mayor Ketring of Perry acknowledging her concerns

12   about safety issues from the increase in traffic.  And

13   basically the letter, I would think, would be prima facie

14   evidence that the Taylor Energy Center recognizes that the

15   increased rail traffic will be a problem in Perry, and was

16   willing to back up their request for the federal grant.  And if

17   I read the letter correctly, and you all can interpret it as

18   you will, but it looks as if they were ready to back up the

19   Mayor of Perry if she doesn't get the grant.  And we are

20   talking about 4-point however many million dollars that the

21   cost would take, so --

22             MS. PABEN:  Thank you very much.

23             CHAIRMAN EDGAR:  Thank you.  It's just after 12:45,

24   12:46 by the clock in front of me.  We are going to break for

25   lunch.  I note that we are approximately a third of the way

FLORIDA PUBLIC SERVICE COMMISSION

110

1   through the list of people who had signed up the last I knew

2   this morning, and we started about quarter to 10:00.

3             We will come back at 1:35 by the clock on the wall.

4   And we are on lunch break.

5             (Lunch recess.)

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

110A

1   STATE OF FLORIDA    )

2                       :         CERTIFICATE OF REPORTERS

3   COUNTY OF LEON      )

4             WE, JANE FAUROT, RPR, and LINDA BOLES, RPR, CRR,

Official Commission Reporters, do hereby certify that the

5   foregoing proceeding was heard at the time and place herein

stated.

6

IT IS FURTHER CERTIFIED that we stenographically

7   reported the said proceedings; that the same has been

transcribed under our direct supervision; and that this

8   transcript constitutes a true transcription of our notes of

said proceedings.

9

WE FURTHER CERTIFY that we are not a relative,

10   employee, attorney or counsel of any of the parties, nor are we

a relative or employee of any of the parties' attorneys or

11   counsel connected with the action, nor are we financially

interested in the action.

12

13              DATED THIS 11th day of January, 2007.

14

15   ____________________________   ____________________________

JANE FAUROT, RPR               LINDA BOLES, RPR, CRR

16   FPSC Official Commission       FPSC Official Commission

Reporter                       Reporter

17   (850) 413-6732                 (850) 413-6734

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION