1150

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 060635-EU

3

4        In the Matter of

5   PETITION FOR DETERMINATION OF NEED FOR

ELECTRICAL POWER PLANT IN TAYLOR COUNTY

6   BY FLORIDA MUNICIPAL POWER AGENCY, JEA,

REEDY CREEK IMPROVEMENT DISTRICT, AND

7   CITY OF TALLAHASSEE.

_______________________________________/

8

9                              VOLUME 10

10                       Pages 1150 through 1213

11             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

12               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

13

14   PROCEEDINGS:        HEARING

15   BEFORE:             CHAIRMAN LISA POLAK EDGAR

COMMISSIONER MATTHEW M. CARTER, II

16                       COMMISSIONER KATRINA J. TEW

17   DATE:               Thursday, January 18, 2007

18   TIME:               Commenced at 10:35 a.m.

19   PLACE:              Betty Easley Conference Center

Room 148

20                       4075 Esplanade Way

Tallahassee, Florida

21

REPORTED BY:        LINDA BOLES, CRR, RPR

22                       Official FPSC Reporter

(850) 413-6734

23

APPEARANCES:        (As heretofore noted.)

24

25

FLORIDA PUBLIC SERVICE COMMISSION

1151

1                              I N D E X

2                              WITNESSES

3

NAME:                                              PAGE NO.

4

5   BRADLEY KUSHNER

6        Continued Direct Examination by Mr. Perko       1153

Cross Examination by Ms. Brownless              1154

7        Cross Examination by Mr. Jacobs                 1199

8

9

10

11

12

13

14

15

16

17

18

19

20   CERTIFICATE OF REPORTER                              1213

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

1152

1                              EXHIBITS

2   NUMBER:                                        ID.    ADMTD.

3

4

5        (REPORTER'S NOTE:  No exhibits were marked or

admitted in Volume 10.)

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

1153

1                         P R O C E E D I N G S

2             (Transcript continues in sequence from Volume 9.)

3             CHAIRMAN EDGAR:  I call this hearing to order this

4   morning.  Welcome back.  Glad to see you all gathered together

5   with us again.  I believe that where we left off when we

6   concluded for the evening last week was that Witness Kushner

7   had been tendered for questioning.  Before we move to cross, is

8   there anything else that we need to address?

9             MR. PERKO:  Yes, Madam Chairman.  Gary Perko on

10   behalf of the applicants.  We do need to make one minor change,

11   correction to Mr. Kushner's revised rebuttal testimony, if we

12   could do that, please.

13             CHAIRMAN EDGAR:  Okay.

14                    CONTINUED DIRECT EXAMINATION

15   BY MR. PERKO:

16        Q    Mr. Kushner, I'd remind you that you have been sworn.

17   Are there any changes you need to make to your revised rebuttal

18   testimony?

19        A    Yes.  On Page 8, Line 13, the exhibit referenced

20   should be "BEK-3R," and change "direct testimony" to

21   "supplemental testimony."

22             MR. PERKO:  Thank you.  We'd just ask that that

23   correction be made to the testimony that's already been

24   admitted into the record.

25             CHAIRMAN EDGAR:  Okay.  Those changes will be noted

FLORIDA PUBLIC SERVICE COMMISSION

1154

1   for the record.

2             MR. PERKO:  Thank you.

3             CHAIRMAN EDGAR:  Thank you.

4             Ms. Brownless, are you ready to begin cross?

5             MS. BROWNLESS:  Yes, ma'am.

6             CHAIRMAN EDGAR:  Okay.

7                          CROSS EXAMINATION

8   BY MS. BROWNLESS:

9        Q    Good morning, Mr. Kushner.

10        A    Good morning, Ms. Brownless.

11        Q    And I'm going to scoot up here so I can see you.

12        A    Okay.

13        Q    Did you prepare the responses to NRDC's first set of

14   interrogatories numbers 1 through 26 numbers 22, 23 and 26?

15        A    Yes, I did.

16        Q    And are those -- and did you also provide the

17   responses to NRDC's second set of interrogatories numbers

18   1 through 8 numbers 1 through 3 -- numbers 1 and 3?  I'm sorry.

19        A    Yes, I did.

20             MS. BROWNLESS:  Okay.  And for the record, Madam

21   Chair, the NRDC's first set of interrogatories is

22   Exhibit Number 108 and NRDC's second set of interrogatories is

23   Exhibit 105.

24   BY MS. BROWNLESS:

25        Q    At this time -- are these exhibits true and correct

FLORIDA PUBLIC SERVICE COMMISSION

1155

1   to the best of your knowledge and belief?

2        A    Yes, they are.

3             MS. BROWNLESS:  Okay.  And, Your Honor, that will

4   complete all of the folks on the applicant side who have

5   responded to all of the interrogatories contained in Exhibit

6   108 and 105.  So we'll wait to the end to move that into the

7   record.

8             CHAIRMAN EDGAR:  That's fine.

9   BY MS. BROWNLESS:

10        Q    Now, Mr. Kushner, I just want to take a minute to

11   talk about kind of the basic scheme of the analysis that was

12   done in this case.  You started out developing a capacity and

13   energy need for each applicant; is that correct?

14        A    That's correct.

15        Q    Okay.  And then you developed a self-build option for

16   each applicant to meet their own individual capacity and energy

17   needs; is that right?

18        A    A number of self-build alternatives were developed

19   for each applicant, yes.

20        Q    Okay.  And those were the options that were developed

21   by Mr. Klausner; right?

22        A    That is correct.

23        Q    Okay.  And those were stated on his

24   Exhibit CK-2, which I think has been identified as 53, and on

25   Exhibit 3, revised Table A.6-37; is that right?

FLORIDA PUBLIC SERVICE COMMISSION

1156

1        A    Yes.

2        Q    Okay.  And all of the costs that reflected, that are

3   reflected on all of these tables reflect the revised costs for

4   TEC and also reflect the revised costs for all self-build

5   supply-side options that are listed.

6        A    That's correct.

7        Q    Okay.  Now when you got those all together, you ran

8   the POWROPT program and the POWRPRO program using these

9   different supply-side self-build options to develop the

10   least-cost IRP plan; is that right?

11        A    A least-cost capacity expansion plan was developed

12   for each applicant.  One --

13        Q    As well as for the group as a whole.

14        A    No, that's not correct.

15        Q    Okay.  So it was developed for each applicant.

16        A    Correct.

17        Q    And you modeled these different options to figure out

18   what was least cost; right?

19        A    That's correct.

20        Q    Okay.  And you came up with a chart, and I'm just

21   going to hand it out, which is in Exhibit Number 3, and it's,

22   that's TEC-1E.  And I'll pass it out, Mr. Kushner.

23             And when you get this chart, Mr. Kushner, there are

24   two handwritten things on it.  There's Exhibit Number 3 up in

25   the corner and there's a handwritten piece on the right-hand

FLORIDA PUBLIC SERVICE COMMISSION

1157

1   side for each page that says "FMPA, JEA, RCID and Tallahassee."

2   Now with the exception of those handwritten pieces, are these

3   true and correct copies of these revised tables?

4        A    The summary of sensitivity analysis tables are

5   correct.

6        Q    Okay.

7        A    And if you'll give me a moment, I can check on

8   Table A.6-37.

9        Q    The last two pages.  Sure.

10        A    Table A.6-37 is correct also.

11        Q    Okay.  And the Tables A.6-37, Page 1 of 2 and 2 of 2,

12   those reflect the details of the self-build options.  Are those

13   correct?

14        A    That is correct.

15        Q    Okay.  And all of these numbers in here on both sets

16   of tables reflect the higher cost for TEC; correct?

17        A    The costs for TEC are not reflected in any of these

18   tables.  These are just the self-build alternatives to TEC.

19        Q    Well, the first chart up here, expansion plan, CW.

20        A    Okay.  Yes.  Yes.  That's correct.

21        Q    Right.  That's the higher cost of TEC.

22        A    Yes.

23        Q    Okay.  And the self-build options are higher costs

24   for all of them.

25        A    Yes, ma'am.  Yes.

FLORIDA PUBLIC SERVICE COMMISSION

1158

1        Q    Okay.  The very first chart on each one of the first

2   four charts compares the least-cost self-build option IRP with

3   and without TEC; is that correct?  The first chart at the top.

4        A    Yes.

5        Q    Okay.  And that's the same comparison for everybody,

6   for FMPA, JEA, Reedy Creek and Tallahassee?

7        A    Correct.

8        Q    Okay.  And the bottom line is the result of that

9   comparison is that for JEA it is cheaper to go with their own

10   self-build option, a second jointly owned pulverized coal unit,

11   than with TEC and it's cheaper by $2.7 million; is that right?

12        A    No, that's not correct.

13        Q    Okay.  Can you explain that chart to me?

14        A    Yes.  Correct me if I'm wrong, I think you're

15   referring to one of the cases presented on the revised

16   Table C.6-18, which is the low fuel price sensitivity.

17        Q    Okay.

18        A    In that sensitivity scenario, which is the only case

19   for any of the applicants among the tables presented on this

20   handout that show that TEC is not part of the least-cost

21   expansion plan, the least-cost expansion plan for JEA includes

22   a self-build CFB instead of participation in Taylor Energy

23   Center.

24        Q    Okay.

25        A    So that is just one case out of all those.

FLORIDA PUBLIC SERVICE COMMISSION

1159

1        Q    So that's one sensitivity study in which you use low

2   fuel prices in the model.

3        A    That's correct.  Yes.

4        Q    Okay.  And am I correct that it's cheaper by

5   $12.7 million?

6        A    Yes.  That's correct.

7        Q    Okay.  Now can you tell me when you say CFB, is that

8   a circulating fluidized bed coal plant?

9        A    Yes.  It's -- in the case for JEA it's a circulating

10   fluidized bed unit that would be constructed at their existing

11   North Side site, and it would use petroleum coke because that

12   site currently has access to petroleum coke.

13        Q    Okay.  And what is the in-service date for that unit?

14        A    December of 2012.

15        Q    Okay.  And if I look on Table A.6-37 under JEA

16   brownfield options, Page 1 of 2, is that the circulating

17   fluidized bed unit that's discussed there?

18        A    Yes.  Under JEA brownfield options.  That's correct.

19        Q    Yes.  The one that says "250 megawatts CFB"?

20        A    Yes.  That's correct.

21        Q    Okay.  Now the -- you did a series of sensitivity

22   analysis, and that's in the second set of charts on all the

23   first four sheets; is that correct?

24        A    No, that's not entirely correct.  We -- I did a set

25   of sensitivity analyses for each applicant.

FLORIDA PUBLIC SERVICE COMMISSION

1160

1        Q    Okay.

2        A    The first line of the first table on each of those

3   four pages on Exhibit Number 3 shows the, the base case

4   analysis for each applicant.

5        Q    Yes.  Okay.

6        A    All of the rest of the information presented there

7   are representative of various sensitivity scenarios performed

8   for each applicant.

9        Q    Okay.  Tell me the difference between -- I understand

10   the first set of charts, okay, where it says base case, high

11   fuel, low fuel, et cetera.  Right?  And then you ran your model

12   modeling TEC in there, and the second one was with -- without

13   TEC and then you got a differential; correct?

14        A    Correct.  Yes.

15        Q    Okay.  And that's putting TEC in the model with an

16   in-service date of 2012; correct?

17        A    May 2012.  That's correct.  Yes.

18        Q    Okay.  Now the sensitivities in the second set of

19   charts for each applicant, how were they different?

20        A    Okay.  The sensitivities in the second set of charts

21   for each applicant do not vary the input parameters.  And by

22   input parameters I mean our base case assumptions related to

23   fuel price, emission allowance prices, load growth, capital

24   costs, but instead provide the model the option to choose among

25   various different supply-side alternatives.

FLORIDA PUBLIC SERVICE COMMISSION

1161

1        Q    Okay.

2        A    For example, I looked at participation in a

3   three-on-one combined cycle unit among the applicants'

4   ownership shares in proportion proposed for Taylor Energy

5   Center as a supply-side alternative to Taylor Energy Center.

6   Going down that table then you can see a joint development

7   integrated gasification combined cycle option was also

8   analyzed, in-service date 2012, operating on 100 percent

9   petroleum coke; gave the model the opportunity to choose among

10   a second unit similar to Taylor Energy Center in the future;

11   also looked at biomass alternatives and a sensitivity in which

12   TEC operated on Powder River Basin coal and pet coke instead of

13   Latin American coal and pet coke.

14        Q    So the in-service dates for the three-on-one combined

15   cycle, that was 2012?

16        A    Yes, ma'am.

17        Q    And the three-train IGCC, what in-service date was

18   that?

19        A    2012.

20        Q    Are they all 2012?

21        A    No.  Just the two joint development alternatives.

22   Basically those alternatives would be viewed as direct

23   alternatives to constructing Taylor Energy Center.

24        Q    Okay.  And then from there on down, second jointly

25   owned pulverized coal unit, what in-service date would, would

FLORIDA PUBLIC SERVICE COMMISSION

1162

1   that be?

2        A    Each applicant was allowed to select a second jointly

3   owned pulverized coal unit beginning as early as 2016.

4        Q    Okay.

5        A    The all natural gas capacity expansion plan, there

6   were no constraints on the timing of any of the units included.

7   The biomass supply-side alternatives assumed construction and

8   operation of a biomass alternative in 2011, and the PRB, Powder

9   River Basin coal for TEC assumed the operation of Taylor Energy

10   Center in 2012 but just operating on a different fuel supply.

11        Q    Got it.  Okay.  And then that second chart shows the

12   results of these comparisons; correct?

13        A    Yes, ma'am.

14        Q    Okay.  And when I look at the second jointly owned

15   pulverized coal unit, I'm just looking at FMPA, the very first

16   sheet, it appears to be a negative $365.4 million; is that

17   correct?

18        A    That's correct.  What that represents is that if FMPA

19   was given the opportunity to participate in a second jointly

20   owned pulverized coal unit, for purposes of the model I used

21   the greenfield capital cost estimate that was developed for

22   Taylor Energy Center, similar O&M, operation and maintenance

23   costs for a greenfield unit, similar fuel supply assumptions,

24   that if FMPA were given the opportunity to participate in that

25   unit in addition to Taylor Energy Center in 2012, the most

FLORIDA PUBLIC SERVICE COMMISSION

1163

1   economical plan would be to select that unit and resulting in

2   $365.4 million in cumulative present worth cost savings.  So

3   that case does include both Taylor Energy Center in 2012 and

4   the ability to select a second large share -- a second share of

5   a large supercritical unit in the future.

6        Q    Okay.  And the analysis, the basic explanation you've

7   given for these sensitivity analyses is the same for JEA, the

8   same for Reedy Creek and the same for Tallahassee?

9        A    Yes.  Although there's one exception I'd like to

10   point out.

11        Q    Sure.

12        A    And that is on Reedy Creek's set of tables there is

13   no all natural gas expansion plan.

14        Q    Okay.

15        A    Because their base case alternatives were all natural

16   gas.

17        Q    All right.  Now all of the sensitivity analyses shown

18   here in both the first chart and the middle chart model just

19   one variable at a time, and by that I mean in your -- and I'm

20   going to the first charts now.  In your sensitivity case for

21   high fuel prices, the only variable you change is a high fuel

22   price; is that right?

23        A    That's correct.  Yes.

24        Q    Okay.  You don't have any -- there's no sensitivity

25   study in which you modeled, for example, high fuel prices and

FLORIDA PUBLIC SERVICE COMMISSION

1164

1   regulated CO2.

2        A    That's correct.

3        Q    Or any combination.

4        A    Correct.

5        Q    Okay.  Now the third set of charts that you have here

6   talks about comparisons of the base case to the bids received

7   from the Southern Company; is that right?

8        A    Yes.  That's correct.

9        Q    Okay.  Now do these comparisons use new construction

10   costs for the Southern Company bids or simply the numbers that

11   Southern Company actually bid?

12        A    The numbers that were provided by the Southern

13   Company, yes.

14        Q    Okay.  And we heard Mr. Arsuaga talk about

15   adjustments that he made to the Southern Company bid in their

16   evaluation.  Are those the numbers, Mr. Arsuaga's numbers that

17   were used in this sensitivity?

18        A    Yes.  Similar adjustments were made to what

19   Mr. Arsuaga spoke of for the Southern Company bids.

20        Q    Okay.  So you basically incorporated his adjustments

21   into these sensitivities?

22        A    Yes.

23        Q    Or did you make your own?  That's what I'm trying to

24   figure out.

25        A    No, I did not make my own.  The only difference

FLORIDA PUBLIC SERVICE COMMISSION

1165

1   between what Mr. Arsuaga discussed, he discussed emission

2   allowance prices being added.  I did that as well.  But I based

3   my emission allowance price adders on the emission allowance

4   price forecast provided by Mr. Preston.

5        Q    And that would be in his MP-5, his last --

6        A    No.  That would be the base case exhibit for

7   Mr. Preston, which I don't believe was MP-5.  It was the base

8   case fuel forecast.

9        Q    Okay.  The base case fuel forecast, which I think was

10   MP-2, did not have any CO2 emission allowances in it; is that

11   correct?

12        A    That is correct.  Yes.

13        Q    Okay.  So this comparison does not have any CO2

14   emission allowance, allowances costs in it.

15        A    Correct.

16        Q    And the sensitivities for the bid used the new

17   construction costs for TEC as well, right, when you were doing

18   the comparison on the bid?

19        A    Yes.  The sensitivities for the bid reflect the, the

20   new construction costs.

21        Q    And those also don't reflect any CO2 emission

22   allowance costs because your base case did not.

23        A    That's correct.

24        Q    Now with regard to demand-side management programs,

25   is it a fair -- and this is a broad generalization -- to say

FLORIDA PUBLIC SERVICE COMMISSION

1166

1   that demand-side management programs can reduce the capacity

2   and energy demands for each applicant in this case?

3        A    Not in a cost-effective manner, no.

4        Q    We're not talking about whether it's cost-effective

5   or not.  I'm just saying as a general proposition can

6   demand-side management programs reduce the capacity and energy

7   demands for a utility?

8        A    Yes.

9        Q    Okay.  And assuming that you have enough demand-side

10   management that can be both cost-effective and effectively

11   implemented, and by that I mean managed so that those programs

12   produce the amount of savings that are forecasted, it can

13   reduce or defer the amount of capacity needed in any given

14   year; is that correct?

15        A    That may be possible.

16        Q    And so in the broadest sense demand-side management

17   can be used as an alternative to building supply-side

18   alternatives; is that right?

19        A    In a very broad sense based on the previous

20   assumptions you've outlined, yes.

21        Q    Okay.  And that means it can defer either the

22   self-build options that were identified for each applicant or

23   the TEC unit.

24        A    Again, in the context of what you've previously

25   outlined, yes.

FLORIDA PUBLIC SERVICE COMMISSION

1167

1        Q    Okay.  Now obviously there's several different

2   methods of analyzing whether a demand-side management program

3   or portfolio of programs is cost-effective, and we've discussed

4   basically two different approaches to that in this case.  One

5   cost, one method might be or is the City of Tallahassee's

6   approach.  And am I correct that that approach starts by

7   screening programs on a dollar-per-megawatt-hour basis or the

8   levelized cost basis over the life of the measure?

9        A    That was the initial step taken.  Yes.

10        Q    Okay.  And basically that analysis would be for each

11   demand-side management program you determine what the

12   dollar-per-megawatt levelized cost is and you compare that to

13   the dollar-per-megawatt-hour cost of TEC; is that correct?

14        A    No.  That's not correct.

15        Q    Okay.

16        A    The levelized cost screening that you've outlined

17   looks at levelized costs on a dollar-per-megawatt-hour basis,

18   not per megawatt.  And it's not appropriate to screen those

19   costs against the costs of Taylor Energy Center because, as I

20   believe Mr. Brinkworth explained, I think it was Friday of last

21   week, you need to consider the duty cycles of the DSM measures

22   versus the duty cycle of Taylor Energy Center.

23             Most DSM measures are going to provide savings during

24   a time of peak periods; whereas, Taylor Energy Center will

25   operate as a baseload unit at a 90 percent capacity factor.  So

FLORIDA PUBLIC SERVICE COMMISSION

1168

1   in that sense the duty cycles are drastically different.

2        Q    Uh-huh.  I understand what you're saying, but I just

3   want to go back to a more fundamental concept here just so I

4   can lay that out simply.

5             It's a dollar-per-megawatt-hour -- when the City of

6   Tallahassee started looking at demand-side management programs,

7   they figured out what the dollar-per-megawatt-hour cost was for

8   those programs, and their very first initial step before they

9   got to the second step that you've just described, which

10   Mr. Brinkworth also described the further analysis, was to

11   simply look at these programs and see which ones were less

12   expensive than TEC's dollar-per-megawatt-hour cost.  That was

13   the very initial step.

14        A    No, that's not correct.  They were screened against

15   like-duty cycles, not against TEC.

16        Q    Well, I think they were screened against like-duty

17   cycles in the next step of his analysis, but the very first

18   initial step was to just look --

19        A    Just develop the cost.  Yes, that was the initial

20   step.  Sure.

21        Q    And what I'd like to do is hand out the responses to

22   105 because I don't know if you have Exhibit 105 there with you

23   again.

24        A    Okay.

25        Q    And if you look at Page 26 of that exhibit, which is

FLORIDA PUBLIC SERVICE COMMISSION

1169

1   the data provided by Mr. Brinkworth --

2        A    Yes.

3        Q    -- then that shows exactly that very first initial

4   step, the levelized dollar per megawatt hour and a description

5   of the programs; correct?

6        A    That is correct.  Yes.

7        Q    In your rebuttal testimony that was filed on

8   November 21st of 2006 you stated as follows:  "The 30-year

9   levelized cost for TEC incorporating the updated capital cost

10   estimate for TEC discussed in the rebuttal testimony of

11   Paul Hoornaert and including sulfur dioxide, nitrogen oxides

12   and mercury emission allowances prices is approximately

13   $65.50 per megawatt hour.  For informational purposes,

14   consideration of the fuel and emission allowance prices

15   corresponding to Hill & Associates' hypothetical

16   carbon dioxide-regulated scenario as well as the updated TEC

17   capital cost estimate results in the 30-year levelized cost for

18   TEC of approximately $74.05 per megawatt hour."

19             Is this statement still true and correct to the best

20   of your knowledge and belief?

21        A    Yes, it is.

22        Q    Can you explain what is meant by the term "levelized

23   cost of energy"?

24        A    Yes.  The levelized cost of energy takes into

25   consideration the capital cost of the alternative, and we'll

FLORIDA PUBLIC SERVICE COMMISSION

1170

1   focus on supply-side alternative for this discussion.  The

2   capital cost of the supply-side alternative, fuel costs for the

3   supply-side alternative, operation and maintenance costs and,

4   in this case, SO2, NOx and mercury allowance prices.

5             It calculates an annual cost per megawatt hour which

6   is then levelized based on the present worth discount rate,

7   which for our analysis was 5 percent.  So it takes into account

8   the time value of those costs, aggregates all the costs over

9   the 30-year period in this case and brings them back to current

10   dollars.

11        Q    Okay.  And because you did not use the same

12   methodology as the City of Tallahassee, you did not develop a

13   dollar-per-megawatt-hour levelized cost for the 180 DSM

14   programs that you analyzed; is that right?

15        A    That's correct.

16        Q    Now your analysis of cost-effectiveness for

17   demand-side management programs was done using the FIRE model;

18   is that right?

19        A    Yes, ma'am.

20        Q    And that's basically the initial method that you used

21   to screen potential demand-side management programs.  And you

22   did -- you ran the FIRE model for DSM for JEA and FMPA; is that

23   right?

24        A    Yes.  That's correct.

25        Q    Okay.  You did not run them for Reedy Creek or the

FLORIDA PUBLIC SERVICE COMMISSION

1171

1   City of Tallahassee; is that right?

2        A    That's correct.  Reedy Creek --

3        Q    Well, if I can --

4        A    Oh, go ahead.

5        Q    Okay.  I can just maybe do this quicker.

6             And the reason you didn't run them for Reedy Creek is

7   because with the exception of the thermal storage facility that

8   Mr. Guarriello spoke about Reedy Creek has no demand-side

9   management programs of its own.  That's part of your reason;

10   right?

11        A    No, that's not part of my reason.

12        Q    Well, is the -- is it true that Reedy Creek only has

13   one program of its own, which is the thermal storage facility

14   program spoken about by Mr. Guarriello?

15        A    I don't think that's true.

16        Q    Reedy Creek, not Walt Disney World or not the

17   individual hotels.

18        A    Okay.  That may be true.

19        Q    Okay.  And that your understanding, based upon what

20   Mr. Guarriello told you, was that Walt Disney World as well as

21   the hotels were aggressively pursuing demand-side management

22   conservation measures, all the measures that they deemed

23   cost-effective; is that right?

24        A    Yes.  My understanding and the reason that no further

25   analysis was performed was, as you mentioned, the unique

FLORIDA PUBLIC SERVICE COMMISSION

1172

1   customer bases of Reedy Creek.  Also taking into consideration

2   Reedy Creek has a substantial need for additional capacity in

3   the 2011/2012 time frame, coupled with their unique customer

4   bases and the significant savings they're achieving through DSM

5   already, there's no basis to believe that there are additional

6   DSM measures that could be implemented and, therefore, none

7   were evaluated.

8        Q    Okay.  Now with regard to the actual programs that

9   Walt Disney World actually has in effect, its actual

10   demand-side management programs, you made no independent

11   analysis of that program, did you, any of those programs?

12        A    That's correct.  I did not.

13        Q    Okay.  And the same is true for any of the hotels

14   that are part of Reedy Creek's system.

15        A    Correct.

16        Q    Okay.  So you don't know if any of the programs that

17   are actually being implemented by Walt Disney World at this

18   time would pass the RIM test or not pass the RIM test; isn't

19   that right?

20        A    That's correct.

21        Q    Okay.  And the same would be true for the hotels; is

22   that right?

23        A    Yes, ma'am.

24        Q    Likewise, you have -- since you didn't do a FIRE

25   model evaluation of Tallahassee's new DSM portfolio, you don't

FLORIDA PUBLIC SERVICE COMMISSION

1173

1   know how many of those, if any, would pass the RIM test; is

2   that right?

3        A    For the City of Tallahassee I don't know.  I have

4   done analysis of the City of Tallahassee's DSM portfolio, each

5   of the measures included in that portfolio for FMPA and JEA,

6   and none of those measures passed the RIM test.

7        Q    Okay.  So you had 180 programs that you looked at for

8   FMPA and JEA, and those are listed on Pages 1 through 8 of

9   Exhibit Number 105; is that right?

10        A    I show them listed beginning on Page 10.  Your

11   question, if I might restate it, was the DSM measures evaluated

12   for FMPA and JEA?

13        Q    Let's see.  If I look on NRDC's second set of

14   interrogatories, which is Exhibit 105 -- do you have those?

15        A    Yes, I do.

16        Q    Okay.  On Number 1 it says -- Table 1, it says, "List

17   each DSM measure available or evaluated."  And there's a list

18   that starts on Page 2.

19        A    Okay.  Yes, I see that.

20        Q    Okay.  I was under the impression that those were the

21   measures evaluated by -- in your DSM evaluation.  Is that

22   incorrect?

23        A    No.  You're correct.

24        Q    Okay.  Now ACEEE and other efficiency experts have

25   stated in the Navigant report, which is Exhibit 106 in this

FLORIDA PUBLIC SERVICE COMMISSION

1174

1   case, and in other reports that there are over 5,000 DSM

2   programs currently available on the market.  How did you choose

3   the 180 that are listed here?

4        A    The 180 DSM measures that are listed and were

5   evaluated represent a wide range of end uses and are pertinent

6   to residential, commercial and industrial customer classes.

7        Q    Okay.  Did you reference or consult any of the

8   studies in the Navigant, referenced in the Navigant report

9   regarding other DSM measures?

10        A    No, I did not.

11        Q    And you just testified and you said also at your

12   deposition that there were industrial DSM measures considered.

13   And looking on Pages 2 and 3 --

14        A    Yes.

15        Q    -- I can find residential and commercial but no

16   industrial.

17        A    Okay.  The industrial measures are included in the

18   commercial table, which I believe is Table 1 on Page 2.

19        Q    Okay.

20        A    And if you look, there's a description for the

21   commercial measures, whether they affect what's labeled GSND,

22   which is general service nondemand, GSD, which is general

23   service demand, or GSLD, which is general service large demand.

24             GSND and GSD are commercial measures.  GSLD, general

25   service large demand, are the industrial measures.

FLORIDA PUBLIC SERVICE COMMISSION

1175

1        Q    Thank you.  And would those GSLD also apply to

2   manufacturing customers?

3        A    They may if those manufacturing customers are

4   classified as GSLD based on their demand.

5        Q    Okay.  Where do manufacturing customers -- do they --

6   in other words, what I'm trying to ask is is there any specific

7   program that you evaluated aimed specifically at the

8   manufacturing community?

9        A    The manufacturing would likely fall under the GSLD or

10   the industrial customers.  Yes.

11        Q    Okay.  Now as I understood your testimony at

12   deposition, these 180 programs are all new programs and not

13   existing programs; is that right?

14        A    That's correct.

15        Q    Okay.  And here's how I got a little confused about

16   that.

17             When I look at your chart on Page 2, it says,

18   "Commercial existing."  And then it says on Page, on the next

19   page, Page 3, "Commercial new."  So how does that work?

20        A    Well, it's -- commercial existing or residential

21   existing, the nomenclature used in the application is the same.

22   It means that the DSM measure targets existing construction,

23   not that it's a program currently being offered by the

24   applicant.  The same with new.  If it says new, it's a program

25   aimed at new construction.

FLORIDA PUBLIC SERVICE COMMISSION

1176

1             Another way to look at it is if it says existing, it

2   would be kind of a retrofit of existing equipment.  If it says

3   new, you would install the equipment instead of standard

4   equipment when constructing a new facility.

5        Q    Okay.  That's real helpful because I really was kind

6   of confused about that.

7             Did you compare the 180 programs that you

8   evaluated -- did you analyze the demand-side management

9   programs that are currently in existence on FMPA's system or

10   JEA's system to see if any of the programs that you analyzed

11   were being implemented today?

12        A    Yes, I did.

13        Q    Okay.  And what is the percentage of that?

14        A    I don't think there were any that, that were

15   evaluated that are currently being offered.

16        Q    Okay.  So all of the savings that could be realized

17   from your 180 programs would be incremental savings on top of

18   what they're already doing.

19        A    Correct.  The savings resulting from FMPA's, JEA's,

20   Tallahassee's and Reedy Creek's individual DSM and conservation

21   programs are reflected in their load forecasts.  So, yes, my

22   analysis would look at incremental DSM savings above and beyond

23   what are being achieved by each applicant.

24        Q    Okay.  Do you know if FMPA keeps any data on their

25   individual, or if their individual municipalities keep any data

FLORIDA PUBLIC SERVICE COMMISSION

1177

1   as to how effective their existing programs are?

2        A    I'm not familiar with how they track that

3   information.

4        Q    Okay.  Do you know whether JEA does that?

5        A    No, I don't.

6        Q    Now in your FIRE model, can you briefly explain what

7   the inputs are into that model?

8        A    Yes.  The FIRE model requires a number of inputs

9   related to both the demand-side management measure being

10   evaluated as well as the avoided unit, in this case Taylor

11   Energy Center, as well as the utility's system.  DSM measure

12   inputs relate to energy savings, peak demand savings, ongoing

13   or recurring costs for maintenance, if applicable, initial cost

14   of implementing the DSM measure, any incentive that the utility

15   would provide to the customer who implements the DSM measure,

16   any administrative costs that would be incurred in implementing

17   the DSM measure.

18             The assumptions related to the avoided unit would

19   include capital costs, installed costs, operating and

20   maintenance expenses, anything else related to the cost of the

21   unit.  And the FIRE model also takes into consideration the

22   difference in system fuel costs between having the unit in

23   place and not having the avoided unit on the system.  And then

24   the, from the utility's perspective existing utility rates are

25   an input to the model as well.

FLORIDA PUBLIC SERVICE COMMISSION

1178

1        Q    Okay.  Now I'm looking again on Page 2 where you laid

2   out your analysis, and it says, "Customer kW reduction at the

3   meter, customer kWh increase at the meter, customer kWh

4   reduction at the meter."

5             What I'm interested in knowing is what is the time

6   period indicated?  For example, on the very first business

7   on-call direct load control.  Okay?

8        A    Yeah.

9        Q    And it says, "Customer kW reduction at the Meter 1.

10   Customer kWh reduction at the Meter 1."  Okay.  So that's --

11   what -- over what period of time?  Is this annually?  What is

12   it?

13        A    Well, the example you discussed, on-call direct load

14   control, is a direct load control program.  So that would be

15   occurring at the time of peak over the year.  So it would

16   reduce demand by one kilowatt when implemented.

17             I think it might be more illustrative to kind of go

18   down to some of these other measures that have a higher

19   kilowatt hour reduction associated with them.

20        Q    Is this one -- I guess what I'm -- are these numbers

21   annual numbers or are they -- I mean --

22        A    Yeah.  They're -- the numbers are annual numbers per

23   participating customer.

24        Q    Okay.

25        A    Yes.

FLORIDA PUBLIC SERVICE COMMISSION

1179

1        Q    And where did these amounts come from?  In other

2   words, how did you -- I understand about the direct load

3   control.  That makes perfect sense.  But for some of the other,

4   some of the other measures, like if I go down to heat pump

5   water heater for GSND and it says 4.65, where did that number

6   come from?  And that's down at the bottom, Mr. Kushner.  I'll

7   hold up my chart so you can see what that looks like.

8        A    I see it.  Thank you.

9             The heat pump water heater, again just for discussion

10   purposes, it's a different type of heat pump water heater than

11   would be the standard or using a heat pump water heater in

12   place of a different type of water heater.  So it's -- the

13   customer kW reduction at the meter is based on information

14   provided by manufacturers of the technology as far as

15   efficiency gains that you would realize if you use the heat

16   pump water heater.  The same with the kWh reduction, it would

17   be efficiency energy savings.  So those are incremental

18   kilowatt and kilowatt hour savings associated with the measure

19   being considered.

20        Q    Okay.  And I believe you told me you got those from

21   the industry, you got those from the manufacturer, the

22   appliance guy.

23             Is there some database that the FIRE model uses for

24   these?

25        A    Not in particular.  It's an ongoing database that I

FLORIDA PUBLIC SERVICE COMMISSION

1180

1   maintain, and a lot of the information is available from

2   consumer websites.  You can get efficiency ratings on various

3   appliances off of Home Depot's website, for example.  Also

4   there's different contracting and construction catalogues that

5   include information on various different efficiency measures.

6        Q    Okay.  So this is a proprietary database that

7   Black & Veatch maintains?

8        A    More or less, yes.

9        Q    Okay.  And how often do you update that database?

10        A    It's reviewed prior to being used in proceedings such

11   as this.  In addition, as more DSM programs or the costs

12   associated with the DSM programs included in the database

13   change, I'll update those appropriately.  A good example is

14   maybe five years ago the incremental cost for a fluorescent

15   light bulb was $6.  Now it's significantly lower.  So as kind

16   of time evolves and new events transpire it gets updated.

17        Q    Okay.  And I looked at the residential heat pump

18   water heater estimates on your chart.

19        A    Okay.

20        Q    And got a 1,739-kilowatt hour a year reduction.  And

21   then I looked at the same measure on the City of Tallahassee's

22   table, which is on Page 4, and they indicated it was a

23   2,102 annual kilowatt hour reduction.  Is that just a

24   difference in the databases?

25        A    I don't see the initial number you pointed to.  Can

FLORIDA PUBLIC SERVICE COMMISSION

1181

1   you show me where that number is, please?

2        Q    Yep, I hope so.  It's the, it's the second from the

3   bottom on Page 2 -- or Page 3.  I'm sorry.  You see where it

4   says --

5        A    Okay.  Page 3.

6        Q    -- "Add on heat pump water heater new residential"?

7        A    Okay.

8        Q    Okay.  And then for, on Page 4 it says, "Heat pump

9   water heater single family."

10        A    Right.  I see that.  Yes.

11        Q    Okay.

12        A    I'm not terribly familiar with the source of the data

13   presented in the City of Tallahassee's table as that was

14   provided by a third party.

15        Q    Uh-huh.

16        A    So my speculation would be it's just a matter of

17   looking at different sources.

18        Q    Okay.  And all of these measures were analyzed again

19   on an individual basis.  No programs were combined to reduce

20   administrative or marketing costs or enhance or potentiate the

21   effectiveness of programs.

22        A    That's correct.

23        Q    And am I correct that for FMPA they were modeled on

24   an aggregate basis and no analysis was done for the individual

25   15 members, participating members?

FLORIDA PUBLIC SERVICE COMMISSION

1182

1        A    That's correct.  The DSM evaluation for FMPA looked

2   at the system costs associated with the dispatch of FMPA's all

3   requirements project members on an aggregate basis, which is in

4   actuality how the system is dispatched.  Yes.

5        Q    Okay.  For the FMPA analysis you used the Kissimmee

6   Utility Authority residential rates and the City of Leesburg

7   rates for commercial; is that correct?

8        A    Yes.  Commercial and industrial.  Yes.

9        Q    Okay.  And these were the lowest rates for those

10   customer classes; is that right?

11        A    Yes, ma'am.

12        Q    Okay.  Had you used the highest rates for residential

13   or commercial, do you know what the effect on the model would

14   be?

15        A    Specifically I don't know what the changes would be.

16   In general terms, use of higher rates decreases the

17   cost-effectiveness of the DSM measures from the rate impact

18   test perspective.

19             The decision to use the lower rates was actually in

20   response to a request that I had received from the

21   Public Service Commission staff in a previous need for power

22   filing for FMPA in which we used the higher rates, and they

23   requested that we rerun the analysis using the lowest rates.

24   And that's the basis of my assertion that the lower rates

25   actually provide more cost-effective results for the DSM.

FLORIDA PUBLIC SERVICE COMMISSION

1183

1        Q    Okay.  Under the RIM test.

2        A    Yes, ma'am.

3        Q    Okay.  Part of your model inputs that you discussed

4   before was the total cost for the customer and the utility of

5   implementing these programs.  Do you know what payback period

6   is assumed where customers are given rebates or incentives?

7        A    Specifically I don't.  The rebates that have been

8   included are representative of what's being offered by other

9   utilities who do offer similar programs.

10             One thing I'd like to point out too is a number of

11   these show there's no rebate being offered by the utility.  And

12   when performing the analysis from the rate impact test

13   perspective, that's a favorable assumption because if the

14   utility had to incur additional costs, well, in this case any

15   costs above zero, the results of the rate impact test would

16   worsen.

17        Q    Okay.  And so you don't know whether the payback

18   periods for these programs were less than two years or greater

19   than two years?

20        A    Again, I haven't specifically analyzed what the

21   payback period would be.  No.

22        Q    And it could be that the payback period between

23   programs is different; is that right?

24        A    It could be.  Yes.

25        Q    And I think you told us that you used the rates for

FLORIDA PUBLIC SERVICE COMMISSION

1184

1   each individual utility because obviously that's a necessary

2   input into the RIM test.  And the total cost for the avoided

3   unit, is what you used in this FIRE analysis the -- I'm going

4   to say this wrong -- $2,078,084,000 updated TEC cost?

5        A    Give me a moment to check something, please.

6        Q    Sure.

7        A    Yes.  That capital cost you referenced, just

8   hopefully to avoid confusion in the future, is representative

9   of the updated capital costs for Mr. Hoornaert for the unit and

10   includes the cost for the initial coal pile that I added.  And

11   from an avoided unit perspective, in the FIRE model I also

12   included transmission costs and losses.

13        Q    Okay.  And the transmission costs and losses that you

14   included, those were in part of the record with Mr. Myers?

15        A    No, I don't think it was Mr. Myers.  Just for the

16   sake of simplicity, I've discussed what those costs are

17   throughout the application.  They're based on the tariff rates

18   for FPL and Progress Energy for JEA because at JEA we use both

19   FPL's and Progress Energy's systems to get capacity from

20   Taylor Energy Center to their service territory.  And the rates

21   used in the FIRE model for FMPA were based on Progress's rates

22   as they would use Progress to get capacity from Taylor to their

23   service territory.

24        Q    And that's Progress's OASIS rates; right?

25        A    Their tariff rates.  Yes.  Yes, ma'am.

FLORIDA PUBLIC SERVICE COMMISSION

1185

1        Q    Their tariff rates.

2             Okay.  The fuel costs that you used are

3   Latin American coal plus pet coke less than 30 percent;

4   correct?

5        A    That's correct.  Yes.

6        Q    Okay.  And are those Mr. Myers' numbers, so they're

7   adjusted Hill & Associates numbers?

8        A    Yes.  They are the delivered fuel price projections

9   provided by Mr. Myers.

10        Q    And did you use the same figures in this FIRE model

11   for capital costs and fuel costs as were used in the base case

12   for TEC?

13        A    The updated cost estimates.

14        Q    Right.

15        A    Yes.  The O&M costs are all the same also.

16        Q    Okay.  And did this include addition of the activated

17   carbon injection variable O&M costs testified to by

18   Mr. Hoornaert?

19        A    No.  The -- let me back up.

20             The capital costs for the activated carbon injection

21   system is included as testified to by Mr. Hoornaert.  The O&M

22   costs were not included.

23        Q    Okay.  And did this include revised labor costs for

24   the operation of the plant as testified to by Mr. Hoornaert?

25        A    There are no revised labor costs.

FLORIDA PUBLIC SERVICE COMMISSION

1186

1        Q    Okay.  Now the output of this FIRE model is contained

2   somewhere starting on Page 10 of interrogatory -- that's,

3   that's Interrogatory Number 3, is that right, of Exhibit 105?

4        A    Yes, ma'am.

5        Q    Okay.  And that shows, describes the DSM measure and

6   then gives a rate impact test ratio, a participant ratio and a

7   total resource test ratio; is that right?

8        A    That's correct.

9        Q    Okay.  And the ratio that's shown here is the ratio

10   of the costs of the DSM program to the costs of the avoided

11   unit, which in this case is TEC; right?

12        A    It's a benefit-to-cost ratio; the benefits of the DSM

13   program versus the costs of DSM program.

14        Q    Okay.  And the same TEC data is used for all of the

15   applicants; right?

16        A    The same capital costs, operating costs, fuel cost

17   assumptions.

18        Q    Right.

19        A    Yes, ma'am.

20        Q    Okay.  And if I'm reading this correctly, none of the

21   180 programs screened passed the RIM test; right?

22        A    That's correct.

23        Q    Okay.  And that's the basis for your conclusion that

24   there is no cost-effective DSM measures that can reduce or

25   defer the 765-megawatt TEC unit; is that right?

FLORIDA PUBLIC SERVICE COMMISSION

1187

1        A    Yes, ma'am.

2        Q    And you have different values for FMPA and for JEA

3   because obviously they have different operating costs.

4        A    Completely different systems.

5        Q    Right.

6        A    Yes.

7        Q    And also different rates, I assume.

8        A    Yes, ma'am.

9        Q    Now on Exhibit Number 3 you did a DSM sensitivity

10   analysis.  And you did that for -- I don't think it's reflected

11   on Exhibit 3.  Let me strike that.  Let me say you did do a DSM

12   sensitivity analysis for FMPA and JEA as well; right?

13        A    It wasn't a sensitivity analysis.  It was the DSM

14   analysis for FMPA and JEA.

15        Q    Okay.

16        A    Yes.

17        Q    And, well, here's what I'm asking about.  I thought

18   at your deposition you told me that you did a high fuel

19   sensitivity DSM analysis and a regulated CO2 sensitivity

20   analysis.

21        A    For FMPA and JEA, that's correct.  Yes.

22        Q    Okay.  And in the high fuel sensitivity analysis I

23   assume that you used Mr. Myers' high fuel numbers.

24        A    That's correct.

25        Q    And in the regulated CO2 sensitivity analysis did you

FLORIDA PUBLIC SERVICE COMMISSION

1188

1   use Mr. Preston's MP-5 numbers?

2        A    Yeah.  I think there might be a little bit of

3   confusion on this.

4             The previous question you asked, I used Mr. Myers'

5   high fuel price numbers, which Mr. Preston provided the

6   commodity costs for the fuels under a high fuel scenario and

7   the emission allowance prices, and then Mr. Myers accounted for

8   the various components of transportation and delivery to get a

9   delivered cost estimate.  So, yes, I used the high fuel costs

10   provided by Mr. Myers based on the high fuel sensitivity

11   developed by Mr. Preston.  And similarly for the regulated CO2

12   case, used the delivered fuel prices provided by Mr. Myers

13   based on the projections provided by Mr. Preston.

14        Q    Okay.  In order for me to understand this, let me

15   just see if this is right.  On your high fuel sensitivity

16   analysis for DSM you used all of Mr. Myers' numbers.

17        A    Correct.  For the high sensitivity.  Yes.

18        Q    Okay.  But for the regulated CO2 sensitivity DSM

19   analysis you used all of the numbers on Mr. Preston's MP-5.

20        A    No.  Those numbers presented by Mr. Preston on

21   Exhibit MP-5 did not include delivery costs.  Mr. Myers

22   provided the delivered fuel costs for the regulated

23   CO2 sensitivity.

24        Q    Okay.  And is that in the record anywhere,

25   Mr. Kushner?

FLORIDA PUBLIC SERVICE COMMISSION

1189

1        A    I believe it was in -- well, I believe it's in

2   Mr. Myers' testimony, and I also believe it's in Section A.4 of

3   the application.  There's a delivered price forecast for the

4   base case, low case, high case and regulated CO2 sensitivities.

5   If you'd like me to take a minute, I can point you to that.

6        Q    No.  That's fine.  I'll look.  I was just trying to

7   figure out if they were the same, if they were matched up.

8   That's all.  And apparently they are.  Thank you.

9             Now since none of these DSM tests passed the RIM test

10   you could have stopped at that, that step of the DSM

11   evaluation.  Is it correct that you went ahead with the next

12   step, even though no programs passed the RIM test?

13        A    What is the next step?

14        Q    I think you, in your deposition on Page 26 you

15   described the methodology for if a test passes the RIM test,

16   what one does next.

17        A    I believe what I described in my deposition is the

18   methodology I used in support of a statement in my testimony

19   about if you ignore the results of the rate impact test but

20   look at the measures that pass the total resource test for FMPA

21   or JEA, there are a number of assumptions you need to make to

22   determine if all of those measures that passed the total

23   resource cost test were implemented, how much capacity could be

24   saved.

25        Q    Okay.

FLORIDA PUBLIC SERVICE COMMISSION

1190

1        A    Yes.

2        Q    And you did, in fact, do that analysis; is that

3   correct?

4        A    I did.  Yes.

5        Q    Okay.  And is it true that as a result of that

6   analysis JEA could save about 100 megawatts?

7        A    That's correct.  Yes.

8        Q    And FMPA could save about 200 megawatts?

9        A    That's correct.  Yes.

10        Q    You've made, made statements at your deposition

11   concerning how, quote, ambitious the City of Tallahassee's DSM

12   portfolio is, and you also made statements in your revised

13   rebuttal at Page 7 comparing the projected results of the

14   savings that the City of Tallahassee anticipates will be

15   realized with those of Florida Power & Light.  Do you remember

16   those statements, Mr. Kushner?

17        A    Yes, ma'am.

18        Q    And I believe that you said that you had looked at

19   the 2006 Ten-Year Site Plan of FPL and determined that FPL had

20   savings of 12 percent demand and 4 percent energy; is that

21   right?

22        A    During 2005, yes.

23        Q    Yes.

24        A    That was FPL's actual savings.

25        Q    Okay.  What type of independent study have you done

FLORIDA PUBLIC SERVICE COMMISSION

1191

1   to confirm that these savings are, and I quote, the largest

2   demand savings from conservation of any utility in the

3   United States?

4        A    FPL had made a presentation earlier this year in the,

5   I believe it was the cost recovery clause hearing to the

6   Public Service Commission.  In that presentation they presented

7   a number of slides.  One of the slides indicated that that was

8   indeed FPL's position related to conservation.  I have made no

9   attempt to independently verify that.

10        Q    Do you have any idea how Tallahassee's new

11   demand-side management portfolio compares with that of FPL?

12        A    As far as the measures that are included?

13        Q    Yes, sir.

14        A    No, ma'am, I don't.

15        Q    And do you know how rigorously Florida Power & Light

16   markets its DSM programs?

17        A    No, I don't.

18        Q    Do you know how its marketing efforts compare to

19   those proposed by the City in this case?

20        A    No, I do not.

21        Q    Okay.  And do you also know how often FPL monitors

22   its demand-side management programs in order to improve their

23   effectiveness?

24        A    No.

25        Q    Is it true that all of those factors could directly

FLORIDA PUBLIC SERVICE COMMISSION

1192

1   influence the amount of demand and energy savings actually

2   realized by Florida Power & Light or the City of Tallahassee?

3        A    Yes.

4        Q    Is JEA the only applicant whose annual sales to

5   end-use customers is greater than 2,000 gigawatt hours?

6        A    Without reviewing each application right now, I don't

7   know.

8        Q    Okay.  Is it true that you have to have sales of more

9   than 2,000 gigawatt hours to be regulated for your conservation

10   goals to be set pursuant to the conservation goals docket in

11   Section 366.82?

12             MR. PERKO:  Calls for a legal conclusion.

13             CHAIRMAN EDGAR:  Why don't you rephrase.

14             MS. BROWNLESS:  Okay.  Maybe I can just take a minute

15   and --

16             CHAIRMAN EDGAR:  Yes.

17   BY MS. BROWNLESS:

18        Q    Is the forecast for the individual utility applicants

19   here the energy and demand forecast for each applicant in this

20   record, Mr. Kushner?

21        A    I don't understand your question.  If you're asking

22   did I use the demand and energy forecasts presented in the

23   application for each applicant in my analysis, the answer is

24   yes.

25        Q    Okay.  I understand that.  My question is is there

FLORIDA PUBLIC SERVICE COMMISSION

1193

1   somewhere in this application where the actual energy and

2   demand forecasts are stated?

3             If he knows, great.  If he doesn't know, that's fine.

4             MR. PERKO:  The record speaks for itself obviously.

5             CHAIRMAN EDGAR:  Ms. Brownless --

6             MS. BROWNLESS:  I'll move on.

7             CHAIRMAN EDGAR:  Thank you.

8   BY MS. BROWNLESS:

9        Q    For your sensitivity analysis of the IGCC that's on

10   the second charts of Table Number 3, did you revise the capital

11   costs for IGCC as well as the capital costs for TEC?

12        A    Yes.  As discussed by Mr. Klausner, the capital cost

13   was updated for the IGCC alternatives.

14        Q    And did you also revise the O&M costs for IGCC as

15   well?

16        A    No.  There's been no adjustments made to O&M costs.

17        Q    If you can look at your revised rebuttal on Pages

18   10 and 11.

19        A    Yes.

20        Q    And in this section you talk about the Synapse CO2

21   allowance projections; is that right?

22        A    Yes, ma'am.

23        Q    And the --

24             MR. PERKO:  I'm sorry, Counsel.  I'm sorry, Counsel.

25   Could you say where you are in the testimony?

FLORIDA PUBLIC SERVICE COMMISSION

1194

1             MS. BROWNLESS:  I'm on Page 10 of his revised

2   rebuttal.

3             MR. PERKO:  Thank you.

4   BY MS. BROWNLESS:

5        Q    And do you happen to have a copy of what's been

6   marked as Exhibit 79, which is Dian Deevey's Exhibit Number 5,

7   the Synapse Energy report?  We can provide it to you, if you

8   need it.

9        A    I don't have one up with me right now.

10        Q    And I'm just going to hand you Pages 39 through 42 of

11   that report.  Just because we all don't have --

12        A    Okay.

13        Q    In the excerpt that I handed out, Mr. Kushner, are

14   those Pages 39 through 42 of the Synapse report?

15        A    Yes.

16        Q    Okay.  And if you could just look at the chart on

17   Page 40, please.

18        A    Okay.

19        Q    Okay.  And this shows a low, mid and high case for

20   CO2 emissions; is that correct?

21        A    Yes, it does.

22        Q    All right.  At your deposition you were asked by

23   staff how Mr. Preston's CO2 emissions generally compared to the

24   Synapse studies.  Do you remember that?

25        A    Yes, ma'am.

FLORIDA PUBLIC SERVICE COMMISSION

1195

1        Q    Okay.  And can you take a minute to look at these

2   Synapse low, mid and high case and tell me if the Synapse low

3   energy forecast is higher or lower than that of H&A?

4        A    In some years Hill & Associates' forecasts of CO2

5   emission allowance prices are higher than those provided by

6   Synapse, other years they are not.

7        Q    Okay.  Would you accept, subject to check, that in

8   the years 2011 through 2017 Hill & Associates' are higher than

9   the low case forecast?

10        A    Yes, ma'am.

11        Q    Okay.  And that for the years 2017 through 2030 they

12   are lower than the Hill & Associates forecast?

13        A    Subject to check, yes.

14        Q    Okay.  And is it true that the Hill & Associates

15   forecast is lower than Synapse Energy's mid forecast throughout

16   the entire period?

17        A    Yes.

18        Q    And that's also true for their high forecast;

19   correct?

20        A    Yes.

21        Q    And so your testimony then would be consistent with

22   the chart that Dr. Lashof prepared that was attached to what's

23   been marked for identification but not admitted as Exhibit 110?

24             MR. PERKO:  Objection, Your Honor, or Madam Chair.  I

25   think that's just a backhanded way of trying to get evidence

FLORIDA PUBLIC SERVICE COMMISSION

1196

1   that was excluded into the record.

2             CHAIRMAN EDGAR:  Ms. Brubaker.

3             MS. BRUBAKER:  I suppose if there's a way to rephrase

4   the question or if you can -- if the exhibit is not, hasn't

5   been admitted, I --

6             MS. BROWNLESS:  We understand it hasn't been

7   admitted.  And all we're trying to do, Your Honor, is to

8   proffer the question pursuant to the rule.  And if he can

9   answer the question, that's fine.  I'll understand that it's a

10   proffer, if the Chair so rules.

11             CHAIRMAN EDGAR:  Mr. Perko.

12             MR. PERKO:  So long as it's understood it's a

13   proffer, that's fine.

14             CHAIRMAN EDGAR:  So noted.

15             Ms. Brownless, why don't you pose it again.

16             MS. BROWNLESS:  Yes, ma'am.

17   BY MS. BROWNLESS:

18        Q    And so, therefore, your testimony today is consistent

19   with the chart that Dr. Lashof prepared that has been marked

20   for identification as Exhibit 110?

21        A    I don't have that chart in front of me.

22             (Witness handed exhibit.)

23             The chart I was handed shows that Hill & Associates'

24   CO2 emission allowance forecasts are higher in some years and

25   lower in other years than Synapse.

FLORIDA PUBLIC SERVICE COMMISSION

1197

1        Q    Consistent with your testimony; correct?

2        A    Yes, ma'am.

3        Q    Thank you.

4             CHAIRMAN EDGAR:  Ms. Brownless, let me interject for

5   just a moment.  The questioning of this witness has been, by my

6   count, a little over an hour.  Can you give me a feel for about

7   --

8             MS. BROWNLESS:  We have two questions and we're done.

9             CHAIRMAN EDGAR:  Two more questions to go.  All

10   right.

11   BY MS. BROWNLESS:

12        Q    You did not conduct a rate study to determine the

13   projected rate impact on TEC of any of the participants, did

14   you?

15        A    That's correct.

16        Q    Now my understanding is that it is your opinion that

17   the City of Tallahassee's participation in TEC will still be

18   cost-effective for them; is that correct?

19        A    Yes, ma'am.

20        Q    Okay.  And is the basis for that statement that the

21   City will be replacing its existing higher cost natural

22   gas-fired combined cycle power with lower cost baseload coal

23   power?

24        A    That's true to an extent, but -- and I'm under the

25   assumption you're referring to -- well, what are you referring

FLORIDA PUBLIC SERVICE COMMISSION

1198

1   to, which particular case?

2        Q    Here's what I'm trying to get at.

3        A    Okay.

4        Q    In this case we've heard testimony that the City's

5   projected forecast for its current demand-side management

6   portfolio will defer its need for power from 2012 to 2016; is

7   that correct?

8        A    It may defer its need.  Yes.

9        Q    Okay.  They project that it will do so.

10             And during the four years that its need has been

11   deferred my understanding is that it's your opinion that it

12   would still be cost-effective for the City to participate in

13   TEC in 2012; correct?

14        A    Yes, ma'am.

15        Q    Okay.  And the basis for that understanding is that

16   higher priced, the City's higher priced natural gas-fired

17   combined cycle capacity would be replaced by lower cost TEC

18   coal capacity; is that right?

19        A    Yes.  It's not just natural gas combined cycle

20   capacity.  They do have other gas units on their system.  And

21   over the 2035, 2035 evaluation period, actually by 2025, even

22   if the City's DSM portfolio realizes the savings projected,

23   they will have a need for approximately 130 additional

24   megawatts.  So there is a time, even if those DSM savings are

25   realized, where they do need the capacity, and that need starts

FLORIDA PUBLIC SERVICE COMMISSION

1199

1   in 2016.  So it's a combination of those factors.  Yes.

2        Q    Okay.  And if I understand your analysis, is it true

3   that as long as the City needs any amount of capacity during

4   the years 2012 to 2016 the TEC unit will still be the most

5   cost-effective unit in your opinion?

6        A    Yes, ma'am.

7             MS. BROWNLESS:  Thank you.  That's all I have, ma'am.

8             CHAIRMAN EDGAR:  Mr. Paben?

9             MR. PABEN:  I don't have any additional questions.

10             CHAIRMAN EDGAR:  Okay.  Mr. Jacobs.

11             MR. JACOBS:  Thank you, Madam Chairman.  I have a

12   bit.

13             CHAIRMAN EDGAR:  Can I -- I'm sorry.  Can you give me

14   an approximate idea?

15             MR. JACOBS:  About 20 minutes.

16             CHAIRMAN EDGAR:  Okay.  Let's go ahead and just give

17   the witness and the rest of us a few minutes to stretch.  We

18   will come back at five after.  And don't go real far, but let's

19   just take a few minutes.

20             (Recess taken.)

21   BY CHAIRMAN EDGAR:

22        Q    We will go back on the record.

23             Mr. Jacobs.

24             MR. JACOBS:  Thank you, Madam Chair.

25                          CROSS EXAMINATION

FLORIDA PUBLIC SERVICE COMMISSION

1200

1   BY MR. JACOBS:

2        Q    Good afternoon, Mr. Kushner.

3        A    Good afternoon, Mr. Jacobs.

4        Q    I'd like to just touch on just a few brief points.

5   First, let's go back to the question of capital costs.  I

6   believe earlier today in your testimony you indicated that you

7   had relied on Mr. Hoornaert in his analysis of the revised

8   capital cost numbers; is that correct?

9        A    I relied on Mr. Hoornaert's revised capital costs for

10   the Taylor Energy Center and Mr. Klausner's revised capital

11   costs for the alternatives.

12        Q    Okay.  And I also believe that you testified when

13   questioned about labor costs that there were no revised labor

14   costs in the updated capital costs?

15        A    I believe the question related to operating labor

16   costs.  There are no revised operating labor costs.

17        Q    Okay.  So let's then ask the question about are there

18   updated labor costs that apply to TEC?

19        A    Those are reflected in the updated capital cost

20   estimate for Mr. Hoornaert.  Yes.

21        Q    Okay.  And do you know what that number is?

22        A    No, sir, I don't.

23        Q    Okay.  In his, in his deposition transcript, we don't

24   need to turn there, subject to check, on Page 24 he indicates

25   that there's a 3.5 percent factor for updated labor costs.

FLORIDA PUBLIC SERVICE COMMISSION

1201

1   Does that sound reasonable to you?

2        A    Subject to check, sure.

3        Q    Okay.  And then, so then my question would then be

4   the cost analysis, cost sensitivity analysis, does it reflect

5   that increase?

6        A    Yes, sir, it does.

7        Q    Okay.  In, in your cost analysis, the element for

8   fuel, am I to understand that you used cost projections for,

9   particularly I'm speaking to natural gas now, that came from

10   Hill & Associates or from another --

11        A    The natural gas price projections I used in my model

12   were the delivered natural gas price projections provided by

13   Mr. Myers.

14        Q    Okay.  And that, and those projections produced the

15   results that were earlier discussed on the, on the tables, the

16   sensitivity analysis tables that you spoke to earlier?

17        A    Yes.  There's the base case and then there's the high

18   fuel and the low fuel and the regulated CO2 sensitivity.  Yes.

19        Q    Okay.  Now are you aware that the City of Tallahassee

20   in its integrated resource planning uses gas, projected gas

21   prices from another source?

22        A    I'm aware of that.  Yes.

23        Q    And are you aware of what the results were in

24   Tallahassee's revenue requirements analysis using those, those

25   natural gas prices?

FLORIDA PUBLIC SERVICE COMMISSION

1202

1        A    Those natural gas prices were not used in the need

2   for power application.

3        Q    Okay.  Okay.  I accept that.  But they were used in

4   Tallahassee's IRP; correct?

5        A    Yes.

6        Q    And are you aware of what those results were?

7        A    I'm aware that there were literally hundreds of cases

8   analyzed in Tallahassee's IRP.  So if you can be more specific,

9   I might be able to answer your question.

10        Q    Sure.  Fair enough.  I'd be particularly interested

11   in the -- just one moment.

12             I'm pretty sure this is the, the, their cost analysis

13   of, from 2007 to 2016 comparing gas, coal and pet coke, and I

14   think this is the base case.  This is the coal, coal purchase

15   base case.

16        A    I don't know what you're referring to, sir.

17        Q    Okay.  Well, I don't have copies, so I'll move on.

18             Let me ask this question.  Are you aware that in

19   Tallahassee's IRP that the cost difference between their

20   participation in TEC and a coal, I'm sorry, a gas option in the

21   year, in the years 2014, 2015 where the difference was

22   negligible?

23        A    I don't know that it was negligible.  Again, I'm not

24   quite sure which case and which scenario you're referring to in

25   their IRP.

FLORIDA PUBLIC SERVICE COMMISSION

1203

1        Q    Okay.

2        A    If you could be more specific.

3        Q    This -- and I won't belabor this too long, but let me

4   just try one more, one more stab at it.

5             There is a gas base case analysis that was done

6   looking at the years 2007 to 2016 and then there was a coal

7   purchase base case analysis, again looking at the same time

8   period.  And in the gas case the, the differences were

9   basically zero between TEC and the gas up through 2015 and in

10   the coal purchase they were, the differences were small.

11        A    I'm sorry.  I really have a difficult time --

12        Q    Okay.  We'll move on.

13        A    -- answering that without being able to see anything.

14        Q    Okay.  We'll move on.

15             Let's talk a little bit about DSM.  Your resume

16   indicates that you conducted DSM cost-effectiveness analyses

17   prior to TEC for OUC and JEA.  Are there any other projects

18   where you did that?

19        A    Yes, sir.  FMPA's Treasure Coast Energy Center

20   Unit 1 Need for Power Application, OUC, Orlando Utility

21   Commission's Stanton Energy Center Unit B, OUC's 2004 Numeric

22   Conservation Goal and Demand-Side Management Plan, JEA's 2004

23   Numeric Conservation Goals and Demand-Side Management Plan.  I

24   believe those are the analyses that I have performed and

25   submitted to the Public Service Commission in the past.

FLORIDA PUBLIC SERVICE COMMISSION

1204

1        Q    And in all of those what was the cost-effectiveness

2   process analysis used?

3        A    The cost-effectiveness --

4        Q    Test used.  Yes.  Which test?

5        A    -- test used?  Yes, it was the rate impact test.

6        Q    In all cases?

7        A    Yes, sir.

8        Q    Are you familiar with any recent assessments of DSM

9   resources?  Of course, in this instance we've done, we've

10   done -- we've utilized the FIRE model and we've discussed

11   already Tallahassee's cost-effectiveness test.  Are you aware

12   of assessments done by any other bodies in Florida using one or

13   another -- one -- either one of those or another rate impact

14   test?

15        A    No, I'm not.

16        Q    Okay.  Are you familiar with the analysis that was

17   recently done by the City of Gainesville?

18        A    No, sir.

19        Q    Okay.  In the, in the assumptions that were utilized

20   for cost-effectiveness screening of DSM, have, have you done --

21   did you do an analysis of input assumptions of variables that

22   looked at end-use profiles or end-use consumption?

23        A    I don't know that I understand your question.  My

24   analysis included various, a wide range of various end uses

25   across the three commercial, industrial and residential

FLORIDA PUBLIC SERVICE COMMISSION

1205

1   customer classes.  So in that sense, yes, I did.

2        Q    Let me be a bit more specific.  For each -- for

3   any -- each individual applicant or for any individual

4   applicant did you go look at their particular -- we heard from

5   FMPA that they collect, that their members collect load

6   information.  Did you go to FMPA and review the load and

7   consumption information that came from their individual

8   members?

9        A    No, sir.

10        Q    Okay.  JEA?

11        A    No, sir.

12        Q    And I won't go through all the others.  I'm assuming

13   that would be the same answer for all the others?

14        A    That's correct.

15        Q    Okay.  Did, did you -- just one moment.  I'm sorry.

16   Did you, did you screen the, the measures that you looked at,

17   the 180 that you looked at, did you screen them for pertinence

18   and relevance?  And let me, let me talk specifically in the, in

19   terms of whether or not they met existing building codes or, or

20   whether they passed existing local ordinances.

21        A    Yes.  An example would be a high efficiency

22   air-conditioning unit.  I considered what the standard is now

23   and I considered what a more energy efficient rated

24   air-conditioning unit would be.

25        Q    On -- you have your responses to NRDC's second set of

FLORIDA PUBLIC SERVICE COMMISSION

1206

1   interrogatories before you?

2        A    Yes, sir.

3        Q    In Table 1, and I believe that's on Page, I'm looking

4   at Page 3, and I'm specifically looking in the residential

5   existing section.

6        A    Yes.

7        Q    And, and I guess this is the eleventh or twelfth line

8   into that section, there are some lines there for ceiling

9   insulation.

10        A    Yes, sir.

11        Q    Are you aware of whether or not those, those

12   particular measures prescribed are passing building code?

13        A    I'm not certain what the building code for insulation

14   is, but the intent of those measures is to consider an existing

15   residential structure that in the first case maybe doesn't have

16   any insulation and would upgrade to R-19, and the second case

17   looks at a building that has R-19 and would upgrade to R-30.

18        Q    I see.  And, and so if, if -- and let's compare it,

19   do kind of a comparison.  Whereas Tallahassee would go and look

20   at, as we understand Mr. Brinkworth's testimony, they would go

21   and look at their actual customer's existing status and then

22   make a determination as to what DSM measure would be actually

23   used by that customer, bring them up to code, and then look at

24   how that would affect their load and their consumption.  Here

25   you simply look at a base case of whether or not they did not

FLORIDA PUBLIC SERVICE COMMISSION

1207

1   have and put in 19 and then if they had put it from 19 up to

2   30.  Is that a fair analysis, fair comparison?

3        A    That's what I did.  Yes.

4        Q    Okay.  Okay.  Mr. May in his testimony indicated that

5   there, there are a fair number of large customers that are

6   served by members of FMPA, and in the analysis, in their

7   assessment of DSM they generally rely on audits done by energy

8   services companies.  Did you have the benefit of data from

9   these companies in your analysis?

10        A    Not directly from any energy services companies.  No.

11        Q    Okay.  Did, did you look outside of -- and I heard

12   your testimony regarding using Florida Power & Light's analyses

13   as a benchmark.  Did you look outside of that particular

14   analysis for any other, for any other benchmarks as to what,

15   what would be a reasonable goal for results?

16        A    No.  My analysis didn't consider what would be a

17   reasonable goal per se.  My analysis evaluated the 180 DSM

18   measures that have been presented.

19        Q    And do you know -- well, let me ask you this

20   question.  I believe you indicated that in terms of the

21   technologies, underlying technologies for your 180, that you

22   looked at the latest technology that will apply for each one of

23   those 180.  Was that your testimony?

24        A    Yes, sir.

25        Q    And how -- as of what date?  As of when?

FLORIDA PUBLIC SERVICE COMMISSION

1208

1        A    I don't remember the specific date, but the

2   technology doesn't change on a daily basis.  It was reviewed

3   prior to conducting the DSM analysis for this need for power

4   application.

5        Q    Okay.  Now in, in the contrast between what the FIRE

6   model provides in terms of, of a metric, if you will, and what,

7   what the Tallahassee analysis provided in terms, in terms of

8   results, I believe you spoke about this earlier, you indicated

9   that Tallahassee looked at duty periods and, and you do not.

10             Isn't the only difference there is whether or not a

11   particular measure covers that duty period that they looked at

12   in terms of -- that's -- I'm sorry.  Let me ask that first

13   question.  Isn't the only issue whether or not a measure covers

14   a duty period?

15        A    The only difference pertaining to what?

16        Q    Between your analysis and the FIRE, and the FIRE

17   model and what the City of Tallahassee did.

18        A    No, that's not the only difference.

19        Q    Let me ask the question this way.  In terms of

20   understanding the cost-effectiveness of a DSM model, okay, the

21   idea that Tallahassee looks at duty periods is not a -- strike

22   that.

23             Let me ask -- I want to ask the other, the back side

24   of that question.  The fact that FIRE looks at measures outside

25   of their duty periods is not a true determinant of its

FLORIDA PUBLIC SERVICE COMMISSION

1209

1   cost-effectiveness; is that true?

2        A    Well, the FIRE model doesn't look at duty measures or

3   measures outside of their duty cycle.  What the FIRE model does

4   is -- part of the inputs which I explained earlier, the

5   kilowatt reduction and the kilowatt hour reduction, between

6   those two that's essentially representative of, call it an

7   equivalent loading factor of the DSM measure.  If you're

8   talking about a supply-side option, it would have a capacity

9   factor.

10             So the FIRE model takes into account the capacity

11   reduction and energy reduction associated with the DSM measure

12   and compares that to the impact on system costs of having the

13   avoided unit, in this case Taylor Energy Center, in as a

14   generating resource versus not having the unit in as a

15   resource.  So because you're considering both the savings at

16   peak and annual generation savings, it's implicit that it does

17   consider the duty cycle.

18        Q    Let me be sure then.  So you're saying that the FIRE

19   model will consider savings at peak?

20        A    The FIRE model considers both savings at peak and

21   annual energy reductions as appropriate.  Again, if it's a

22   direct load control measure, there may not be any energy

23   savings.  It would just be peak savings.

24        Q    Okay.

25        A    If it's a different measure, it will consider both.

FLORIDA PUBLIC SERVICE COMMISSION

1210

1        Q    That, that -- explain to me a little bit more about

2   that last statement, whether it's direct control measures.

3        A    Direct load control measure is designed to control

4   the customer's load through various methods by shutting down

5   maybe their air-conditioning unit at the time of peak.  So it's

6   an instantaneous type reduction compared to an annual

7   reduction.

8        Q    And that would be the limit of what you looked at,

9   and FIRE would be those kinds of measures?

10        A    No, sir.  That is one type of measure I looked at in

11   the FIRE model.  The other measures include, and I'll be happy

12   to go through the list of them with you right now.

13        Q    No.  No.  No.  No.  No.  No.  Let me be more precise.

14             In terms of dealing with a timing issue, okay, we

15   were talking about how FIRE compared in terms of looking at

16   duty, not looking at duty cycles compared with the City of

17   Tallahassee's process, and my understanding from your testimony

18   is that your, your process to look at timing and in our

19   discussion looking at peaking, savings from peak was this idea

20   of direct load control; is that correct?

21        A    No.  I just used that as a point of illustration.

22        Q    Then that was -- so there are other ways that you

23   look at direct load control outside of those kinds of programs

24   in your DSM modeling.

25        A    I only looked at direct load control using the FIRE

FLORIDA PUBLIC SERVICE COMMISSION

1211

1   model.

2        Q    Okay.  And you indicated that you have industrial

3   measures in a GSLD; those are your industrial targeted.

4        A    Yes, sir.

5        Q    And you, again, did you inquire or look at the actual

6   end uses amongst the applicants of industrial?

7        A    No.  Due to the variety of measures that were

8   evaluated, it's a representative range of end uses.

9        Q    Okay.  Now in -- so then the bottom line conclusion

10   is, is from FIRE you looked at the 180 and you came up with

11   none that passed your test, that were cost-effective, let me

12   put it that way, and that's the essence of your conclusion

13   that, that as the statute requires that there are no measures

14   that can mitigate the need of any applicant to this, to this,

15   to this petition?

16             MR. PERKO:  I'd just object to the extent that that

17   mischaracterizes the statutory test.

18             CHAIRMAN EDGAR:  Mr. Jacobs, I'm, I'm going to ask

19   you to ask clearer questions.

20             MR. JACOBS:  Thank you.

21   BY MR. JACOBS:

22        Q    Are you aware -- what is your interpretation of

23   what's required in doing the DSM analysis for purposes of a

24   need determination?

25        A    Evaluate reasonably available DSM measures which may

FLORIDA PUBLIC SERVICE COMMISSION

1212

1   cost-effectively mitigate the need for the proposed unit.

2        Q    And, and your FIRE analysis is, is, is that, is

3   intended to fill that need in this particular petition.

4        A    Yes, sir.  And use of the model would be consistent

5   with previous Commission findings that it is an appropriate

6   tool, an appropriate model to analyze the cost-effectiveness of

7   DSM measures.

8             MR. JACOBS:  And just, just one minute, Madam Chair.

9   I think I may be done.  One, one quick moment.

10             That's all I have.

11             (Transcript continues in sequence with Volume 11.)

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

1213

1   STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTER

2   COUNTY OF LEON      )

3

4             I, LINDA BOLES, CRR, RPR, Official Commission

Reporter, do hereby certify that the foregoing proceeding was

5   heard at the time and place herein stated.

6             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

7   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

8   proceedings.

9             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

10   or employee of any of the parties' attorneys or counsel

connected with the action, nor am I financially interested in

11   the action.

12              DATED THIS ______ day of January, 2007.

13

14                 __________________________________

LINDA BOLES, CRR, RPR

15                  FPSC Official Commission Reporter

(850) 413-6734

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION