1179

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 060658-EI

3

In the Matter of:

4

PETITION ON BEHALF OF CITIZENS OF THE

5   STATE OF FLORIDA TO REQUIRE PROGRESS

ENERGY FLORIDA, INC. TO REFUND CUSTOMERS

6   $143 MILLION.

________________________________________/

7

8

9

10

11             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

12               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

13

VOLUME 9

14

Pages 1179 through 1382

15

PROCEEDINGS:        HEARING

16

BEFORE:             CHAIRMAN LISA POLAK EDGAR

17                       COMMISSIONER MATTHEW M. CARTER, II

COMMISSIONER KATRINA J. MCMURRIAN

18

DATE:               Wednesday, April 4, 2007

19

TIME:               Commenced at 2:00 p.m.

20                       Concluded at 5:15 p.m.

21   PLACE:              Betty Easley Conference Center

Room 148

22                       4075 Esplanade Way

Tallahassee, Florida

23

REPORTED BY:        JANE FAUROT, RPR

24                       Official FPSC Reporter

(850) 413-6732

25

APPEARANCES:        (As heretofore noted.)

FLORIDA PUBLIC SERVICE COMMISSION

1180

1                              I N D E X

2                              WITNESSES

3   NAME:                                               PAGE NO.

4   ROBERT L. SANSOM

5        Direct Examination by Mr. McGlothlin             1182

Prefiled Rebuttal Testimony Inserted             1184

6        Cross Examination by Mr. Walls                   1232

Cross Examination by Ms. Bennett                 1232

7        Redirect Examination by Mr. McGlothlin           1248

8   JOSEPH BARSIN

9        Direct Examination by Mr. McGlothlin             1250

Prefiled Rebuttal Testimony Inserted             1253

10        Cross Examination by Mr. McWhirter               1334

Cross Examination by Mr. Burnett                 1335

11        Redirect Examination by Mr. McGlothlin           1371

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

1181

1                              EXHIBITS

2   NUMBER:                                      ID.    ADMTD.

3   166-184                                              1250

4   185-203                                              1379

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

1182

1                        P R O C E E D I N G S

2             (Transcript follows in sequence from Volume 8.)

3             CHAIRMAN EDGAR:  Mr. Burgess, when you are ready you

4   can call your next witness.

5             MR. McGLOTHLIN:  We call Mr. Sansom.

6                          ROBERT L. SANSOM

7   was called as a witness on behalf of the Citizens of the State

8   of Florida, and having been duly sworn, testified as follows:

9                         DIRECT EXAMINATION

10   BY MR. McGLOTHLIN:

11        Q    Would you state your name and business address, sir?

12        A    Robert L. Sansom, 1901 North Moore Street, Arlington,

13   Virginia.

14        Q    Mr. Sansom, did you prepare and submit rebuttal

15   testimony on behalf of the Office of Public Counsel in this

16   docket?

17        A    Yes.

18        Q    Do you have that document in front of you?

19        A    I do.

20        Q    Do you have any changes or corrections to make?

21        A    No.

22        Q    Do you adopt the questions and answers contained in

23   this document as your testimony today?

24        A    Yes.

25             MR. McGLOTHLIN:  I request that the prefiled rebuttal

FLORIDA PUBLIC SERVICE COMMISSION

1183

1   testimony of Robert L. Sansom be entered into the record as

2   though read.

3             CHAIRMAN EDGAR:  The prefiled rebuttal testimony will

4   be entered into the record as though read.

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

1225

1   BY MR. McGLOTHLIN:

2        Q    And, Mr. Sansom, did you also prepare the exhibits

3   that were preliminarily designated RS-30 through 48 that are

4   attached to the rebuttal testimony?

5        A    Yes.  Now, there is one question on whether the -- I

6   understand RS-35 is now no longer confidential by the agreement

7   of the parties, just to point that out.  Originally I thought

8   it might be confidential.

9        Q    That's correct.  There is no longer a confidential

10   claim on 35.

11             Did you prepare a summary of your rebuttal testimony,

12   Mr. Sansom?

13        A    I have a brief summary.

14        Q    Please proceed.

15        A    My rebuttal testimony addressed the testimony of PEF

16   Witnesses Pitcher, Davis, Weintraub, Hatt, Heller, Dean,

17   Kennedy, Fetter, and Frank.  To summarize, I'm just going to

18   stick to the big issues here to facilitate the review of my

19   rebuttal testimony.  One of the big issues in response to

20   Heller, Davis, and Pitcher is the waterborne proxy.  It is my

21   position that they have improperly applied the waterborne proxy

22   to Powder River Basin bids, and that is contrary to the

23   Commissions orders, which don't address Powder River Basin

24   coal.  It is contrary to common sense in that the Powder River

25   Basin transportation route to Crystal River, the most

FLORIDA PUBLIC SERVICE COMMISSION

1226

1   economical route, would entail a 1,600-mile rail haul to

2   Mobile, Alabama.  And in the exhibit that is now no longer

3   confidential, you will see the rail, the indicative rail bids

4   of 15.95 per ton, and then there be would a transloading charge

5   of approximately $1.50 a ton, and then the only involvement of

6   any PEF affiliate would be the ocean barge transportation from

7   Mobile to Crystal River.

8             Applying an affiliate waterborne proxy to that route

9   of movement of $4 to $6 FOB Mine Powder River Basin coal would

10   make no more sense than applying it to the rail rate for

11   Central Appalachian coal for the 1,000 mile rail haul from

12   Central Appalachian direct to Crystal River.  And I think that

13   the gist of my testimony here is that instead of using

14   affiliate economics and proxies, that the imprudent behavior of

15   this utility was that they assumed that in their bid analysis,

16   that is the proxy, rather than relying on the market and,

17   therefore, denied the ratepayers the benefit of market forces

18   through the application of a methodology.

19             Now, my key exhibits here are RS-33, which I give you

20   specific market versus proxy numbers; RS-20, which addresses my

21   via Mobile estimates; the Powder River Basin bids at RS-35; and

22   the applicable mileages at RS-34.  And I would point out that

23   on Page 39 of my direct testimony, I address the favorable

24   economics of the Mobile route.  And, I used the Davant route

25   for a damage estimate to be conservative, and had I used the

FLORIDA PUBLIC SERVICE COMMISSION

1227

1   Mobile route, the savings, the additional savings that I would

2   have estimated to the ratepayers would have been $33.5 million

3   on top of the 143, which includes interest.  My estimate was

4   134, somebody else did the interest calculation.

5             Now, let me explore a little bit more detail.  The

6   methodology, a prudent utility that buys coal looks at the coal

7   supply regions that produce a product that qualifies to be

8   burned at the utility.  They look at the transportation options

9   to get that coal to the utility; they conduct a solicitation of

10   the carriers to find the least-cost way of delivering that

11   coal; evaluate that on a cents per MMBtu basis and select the

12   low-cost coal subject to busbar analysis, any investments, et

13   cetera.  That wasn't done here and that is imprudent not to do

14   it.

15             Now, the Mobile line -- at RS-35 you will see a bid

16   from the UP and BNSF on BNSF letterhead for movement of coal to

17   Mobile, Alabama.  And you will also see a letter on BNSF

18   letterhead for a single BNSF rail rate to Mobile, Alabama.  The

19   reason for that is very clear.  The UP was bidding with the BN

20   for this movement because the UP originates Colorado coal, and

21   apparently in 2003 PEF had asked for a bid of Colorado coal

22   transportation.  The BNSF can't originate Colorado coal, so

23   they got together with the UP and provided two bids.  One, the

24   transportation of Colorado coal to Mobile, the second a

25   transportation for the Powder River Basin, where both the UP

FLORIDA PUBLIC SERVICE COMMISSION

1228

1   and BNSF originate coal.  But separately.

2             The BNSF, which has a single-line haul from the

3   Powder River Basin to Mobile submitted a bid, and not

4   surprisingly -- now that this is no longer confidential, we can

5   discuss it -- the BNSF single line bid of Powder River Basin

6   coal was less than the bid they gave with the UP for moving

7   Powder River Basin coal to Mobile, and it was $15.95 per ton.

8             The methodology then of prudence is that you test the

9   market with those kinds of bids.  What was imprudent here is in

10   the 2000 evaluation -- 2003 evaluation by Mr. Pitcher, they

11   ignored those bids.  They evaluated Powder River Basin coal

12   using the waterborne proxy.  This is a set up.  This is not

13   using the market information, but rather assuming something

14   that makes Powder River Basin coal uncompetitive.  And in my

15   view that's imprudent.

16             You heard today about a poor line to Mobile, Alabama.

17   Well, it is a poor line because the volumes weren't contracted

18   to move on.  The BN would have upgraded the line.  The other

19   day I was in Northern Alabama looking at the line to Sharer,

20   which BN moves coal to Sharer on, it's an NS line, and it has

21   been upgraded because they bid the dollars per ton to upgrade

22   the line to move the coal if the customer accepts their bid.

23   But in this case the customer didn't accept their bid, so the

24   line wasn't upgraded.

25             You heard today as well that BNSF has divested this

FLORIDA PUBLIC SERVICE COMMISSION

1229

1   line to a private carrier.  That is true only to reduce the

2   cost of that line, but the BNSF has a binding contract with the

3   other carrier to have exclusive use of that line to move Powder

4   River Basin coal to Mobile, Alabama.

5             So the fundamental imprudency here was the use of the

6   waterborne proxy with no basis, with no approval by you, and

7   ignoring a proper methodology of soliciting least cost

8   delivered transportation of the coal qualified for the unit,

9   because in this case the unit was designed to burn 50 percent

10   Powder River Basin coal.

11             Now, let me move to the period prior to the

12   solicitations, and we have discussed this so I can be very

13   brief.  It is categorically imprudent in the market from

14   1996 to 2000 for this utility to be unable to get a bid for

15   Powder River Basin coal and Power River Basin coal

16   transportation.  The incremental production out of the Powder

17   River Basin over this period was 150 million tons.  And we have

18   heard the number today in 2006, 440 million total tons was

19   produced in the Powder River Basin.  But during this period,

20   all this utility had to do was find a willing producer and a

21   willing transporter to transport 1.5 percent of this increment.

22   And during this period the Power River Basin producers had

23   excess capacity.  Their productivity was skyrocketing.  They

24   had so much production they had to shut two mines because they

25   didn't have enough business.

FLORIDA PUBLIC SERVICE COMMISSION

1230

1             Now, why would those producers not be willing to bid

2   to Progress Energy Florida, or Florida Power Corporation?  The

3   two railroads involved were in tense competition providing very

4   low rates and were knocking down doors to get additional

5   business during this period.  The fact that this utility

6   couldn't get a bid is imprudent.

7             Now, I want to go back, again, to the 2003

8   procurement, and mention a couple of things that I think are

9   important.  The most fundamental flaw was the application of

10   the waterborne proxy in that bid evaluation.

11             CHAIRMAN EDGAR:  Mr. Sansom, you have one minute left

12   in your summary.

13             THE WITNESS:  One minute left.  Okay.  Well, I think

14   that the -- all right, I would like to cover one other thing

15   then quickly, and that is the air permit situation.  You are

16   going to have another witness on that -- no, let me backtrack.

17   In Mr. Carter's questions, the question is not just the

18   delivered price in cents per MMBtu, you have to look at an

19   evaluated cost.

20             The bottom line here, evaluated cost, no penalty

21   because the units were designed for 50 percent Powder River

22   Basin coal.  Then you have a discussion of whether there is

23   capital investments required.  You are going to here a witness

24   subsequent to me, and I only have a minute, he will summarize

25   that in full detail.  I defer to him, but my testimony was

FLORIDA PUBLIC SERVICE COMMISSION

1231

1   based on the engineering work of Sargent & Lundy, Babcock &

2   Wilcox, Black & Veatch, and the own internal operation of

3   Progress Energy called Strategic Engineering.  All of those

4   engineering groups looked at the engineering cost to burn

5   Powder River Basin coal at Crystal River and concluded

6   something 180 degrees in opposition to what Mr. Hatt has

7   presented to you here.  Those documents are in the record.

8   They conclude as I conclude that the cost of burning Powder

9   River Basin coal at Crystal River are minimal and adjustments

10   to the cents per MMBtu are unnecessary.

11             And, finally, I did adjust my damage calculation.  I

12   didn't formally, but in the course -- between my direct and my

13   rebuttal I discovered the coal yard manual and the detailed

14   design of the coal yard at Crystal River was designed for

15   blending.  I had assumed a four cents per MMBtu penalty for

16   additional blending costs at Crystal River.  That is

17   13.2 million.  It is still in my damage calculation, but it is

18   unnecessary because it is very clear, and you are going to hear

19   Mr. Barsin, that facility was designed in the early '80s with

20   the full knowledge of all the problems of Powder River Basin

21   coal that had been experienced from the late '60s through '78,

22   to blend coal.

23             That concludes my summary.

24             MR. McGLOTHLIN:  He's available for cross

25   examination.

FLORIDA PUBLIC SERVICE COMMISSION

1232

1             CHAIRMAN EDGAR:  Thank you.  Mr. McWhirter.

2             MR. McWHIRTER:  No questions.

3             CHAIRMAN EDGAR:  No cross.  Mr. Twomey?

4             MR. TWOMEY:  No, ma'am.

5             CHAIRMAN EDGAR:  No.  No.  Mr. Walls.

6             MR. WALLS:  Thank you.

7                          CROSS EXAMINATION

8   BY MR. WALLS:

9        Q    Mr. Sansom, I was sitting here looking through your

10   rebuttal testimony and exhibits, because you mentioned that you

11   had done a calculation of $33.3 million more money for Mobile

12   to Crystal River.  Could you point me to the page in your

13   rebuttal testimony and your exhibits where it says

14   $33.3 million?

15        A    That is not in my rebuttal testimony, but it comes

16   from the use of RS-20 in my direct testimony.

17             MR. WALLS:  No further questions.

18             CHAIRMAN EDGAR:  Are there questions from staff?

19             MS. BENNETT:  Yes, Madam Chair.

20                          CROSS EXAMINATION

21   BY MS. BENNETT:

22        Q    Mr. Sansom, you previously stated that PFC did not

23   receive bids from Powder River Basin coal suppliers prior to

24   2001, is that correct?

25        A    There is no record of those bids.  Those records may

FLORIDA PUBLIC SERVICE COMMISSION

1233

1   have been destroyed.  I can't say categorically that there were

2   no bids.  But I asked for the bids and received none, so there

3   is two possible explanations.  No bids were received, or bids

4   were received and destroyed.  There is one letter that I

5   addressed extensively in my testimony and we have talked about

6   here, the Kennecott letter, which I read in a way I describe in

7   my rebuttal testimony, I would be glad to repeat here, but to

8   me it says clearly Kennecott had the coal, but PEF wasn't

9   asking for it.

10        Q    You testified that it was imprudent for PEF not to

11   obtain bids for PRB suppliers, is that correct?

12             MR. WALLS:  I'm going to object.  This sounds more

13   like direct testimony than cross-examination or impeachment, so

14   I would like to make that objection.

15             CHAIRMAN EDGAR:  Ms. Bennett.

16             MS. BENNETT:  I am just following up on a statement

17   that he made in his direct summary that PEF was imprudent.  I

18   wanted to follow up with a couple of questions.  I'm sorry, in

19   his rebuttal summary.

20             CHAIRMAN EDGAR:  All right.  I'll allow.

21             THE WITNESS:  Could you ask the question again, I

22   have lost my train of thought here.

23             MS. BENNETT:  Sure.

24   BY MS. BENNETT:

25        Q    You testified that it was imprudent for PEF not to

FLORIDA PUBLIC SERVICE COMMISSION

1234

1   obtain bids from PRB suppliers, is that correct?

2        A    That's right.  And this is in the period prior to

3   2001, and my basis was everybody else did it, why couldn't

4   they.

5        Q    If a utility does not receive bids for a particular

6   type of coal, what steps does it need to take to obtain those

7   bids?

8             MR. WALLS:  I'm sorry, can I have a standing

9   objection then to this line of questioning if it's --

10             CHAIRMAN EDGAR:  The standing objection is noted for

11   the record.

12             MR. WALLS:  Thank you.

13        A    Yes.  Here is what you do; and I have done this for

14   utilities and I have told utilities how to do it.  You, first

15   of all, call up the people.  And, secondly, you do the

16   following, you say can I visit the Powder River Basin.  And you

17   will get the royal treatment.  You will get to see all the

18   mines.  I have done this.  I have done it with the utilities.

19   They will bust their tails to show you what they do in the

20   Powder River Basin.  And you can get the same treatment from

21   the railroads, and it is very easy to get a bid from the

22   producers that produce 440 million tons a year now.

23             So, I think the answer is -- it was revealed

24   yesterday when Mr. Pitcher testified.  He didn't even know

25   where the Spring Creek mine was.  The Spring Creek mine, he and

FLORIDA PUBLIC SERVICE COMMISSION

1235

1   Mr. Walls moved from Montana to Colorado in a colloquy

2   yesterday.  In other words, it was clear Mr. Pitcher didn't

3   know anything about the Powder River Basin because he never

4   would have said, oh, Spring Creek is located in Colorado.  So

5   you have got to familiarize yourself with the region and

6   contact people, but you are readily -- you are treated

7   hospitably.

8        Q    I'm going to ask you to turn to Page 16 of your

9   rebuttal testimony, at Lines 8 through 10.  Are you there?

10        A    Yes.

11        Q    You state the experienced PRB companies have been

12   told by PEF that only CAPP coal would be purchased in 1996 and

13   1998.  However, Kennecott had just acquired PRB mines and its

14   salesmen had not figured out PEF's exercise.  Is that a correct

15   statement?

16        A    That's my interpretation of the Kennecott letter in

17   the absence of any bids from Arch and Peabody who produced both

18   eastern and western coal.

19        Q    Can you explain the word exercise in that sentence,

20   please?

21        A    Well --

22             MR. WALLS:  Can I object here again?  I mean, this is

23   direct testimony.  This is not cross-examination or

24   impeachment, and this is unfair to allow the witness to now

25   come back and basically get to provide another set of direct

FLORIDA PUBLIC SERVICE COMMISSION

1236

1   testimony questions which we did not have an opportunity to do

2   with our witnesses.

3             CHAIRMAN EDGAR:  Ms. Helton, Mr. Harris, who wants to

4   respond, or comment, advise, et cetera?

5             MR. HARRIS:  Chairman, I am of the impression that

6   cross-examination is to flesh out the witness' position.  I

7   have been listening, I'm not inclined to think this is

8   bolstering his direct testimony in any way.  It sounds like, at

9   least at this point, the questions staff are asking are

10   intended to sort of flesh out the witness' testimony, and I

11   think that is an appropriate purpose of cross-examination.

12             I would say if it gets to the point where staff is

13   trying to either rehabilitate the witness or elicit supportive

14   testimony, you know, testimony designed to support his

15   testimony, then I would think that would go too far, beyond

16   cross.  But at this point, if staff is asking questions to try

17   to understand where the witness is coming from or what he means

18   in his testimony, I believe that's an appropriate use of

19   cross-examination.

20             CHAIRMAN EDGAR:  Ms. Bennett.

21             MR. WALLS:  Could my objection just be noted for the

22   record, please?

23             CHAIRMAN EDGAR:  Standing objection noted for the

24   record, Mr. Walls.

25             MS. BENNETT:  Would you like me to --

FLORIDA PUBLIC SERVICE COMMISSION

1237

1             THE WITNESS:  I think I remember the question.  Do

2   you want to restate it?

3   BY MS. BENNETT:

4        Q    No, I was just curious as to what the word exercise

5   means.

6        A    Well, a coal salesman, they are contacting many

7   customers and they are busy.  And if somebody, if they contact

8   a customer once, and they don't -- they are not buying, or they

9   might even have been told we are not buying Powder River Basin

10   coal, keep in mind this is after they actually filed a permit

11   that would have precluded them from burning Powder River Basin

12   coal, then they don't waste their time sending in bids or

13   responding to solicitations for somebody that's not going to

14   use their product.

15             And my clarification there was the two major

16   producers in the Powder River Basin, Peabody and Arch, have

17   eastern and western mines.  They have got PRB mines and they

18   have got Central Appalachian mines, so they were regularly

19   bidding CAPP coal to PEF.  So they obviously knew PEF was

20   buying CAPP coal, so why weren't they bidding their western

21   coal?  My deduction is they had figured out that PEF wasn't

22   buying western coal.

23             And then I state that Kennecott had recently acquired

24   three Powder River Basin mines.  They had a new salesmen who

25   didn't know this, so he sent in the letter saying that is our

FLORIDA PUBLIC SERVICE COMMISSION

1238

1   portfolio.  We have it, but there wasn't a bid.

2        Q    Can you tell me -- as the first part of that

3   statement you say the experienced PRB companies had been told

4   by PEF that only CAPP could be purchased.  What is the source

5   of that statement?

6        A    Well, actually, the source of that, there is a

7   document that I quoted in an earlier -- in my direct testimony.

8   I think it was an Arch award where Dennis Edwards wrote back on

9   an award for a Central Appalachian coal contract, he said,

10   "P.S. Not PRB," in quotes.

11        Q    One final question.  You state in your rebuttal that

12   your calculation of 134.5 million in overcharges, you have had

13   no reason to change.  Does that include any reduction for any

14   capital or O&M expenses PEF may make or need to make to handle

15   PRB coal at the Crystal River site?

16        A    What I'm saying is, and once you hear Mr. Barsin, you

17   are going to see that the fact that I had in there four cents a

18   million Btu for blending on the Powder River Basin coal, or

19   13.2 million, will be more than adequate to cover what Mr.

20   Barsin estimates would have been required, and it's more than

21   adequate to cover what Sargent & Lundy and Mr. Dichad

22   (phonetic) of PEF's own strategic engineering group estimated

23   would be required after the Sargent & Lundy study of July,

24   August, September, and issued on October 14th, 2005.

25             MS. BENNETT:  That's all the questions I have.

FLORIDA PUBLIC SERVICE COMMISSION

1239

1             CHAIRMAN EDGAR:  Commissioner Carter.

2             COMMISSIONER CARTER:  Thank you, Madam Chairman.

3   Just a statement and then a question.

4             Mr. Sansom, you heard my discourse with Mr. Lawton

5   this afternoon, right?

6             THE WITNESS:  Yes, sir.

7             COMMISSIONER CARTER:  And he based his opinion based

8   upon the information that you provided, and he led us to

9   believe -- well, he left me with a question, and the question

10   that arises in my mind, based upon his analysis of your work is

11   saying that -- the question in my mind is how did the Florida

12   Public Service Commission staff miss a $143 million overcharge

13   for fuel and transportation for a ten-year period.  In essence,

14   that is what you are saying, right?

15             THE WITNESS:  That's what I'm saying.

16             COMMISSIONER CARTER:  How is that possible?

17             THE WITNESS:  Well, I have some very -- we do

18   prudency audits for utilities all over the United States.  In

19   some cases in the employ of the commissions.  I was recently in

20   Texas testifying in a fuel case, not with the gentleman who

21   went before me, but with somebody else, and I think there are

22   several very serious problems here if I were a Commissioner I

23   would be very disturbed about.

24             One issue that is fundamental to your problem is

25   confidentiality.  The fact that these things are -- affiliate

FLORIDA PUBLIC SERVICE COMMISSION

1240

1   transactions are treated confidentially does not bring the

2   antiseptic light of public scrutiny to those transactions until

3   they are beyond the interest of anybody who is skilled enough

4   to understand what is going on.

5             The second thing is I just went through a Swepco

6   (phonetic) case and looked at the three-year true-up in Texas

7   as an expert for an intervenor group of cities.  The degree of

8   documentation that the utilities are required to produce with

9   regard to whether or not their fuel expenditures were properly

10   conducted in their procurements is very substantial.  And I

11   have five volumes on my floor of one of those utilities.  I

12   haven't seen that down here.

13             Now, other commissions handle it differently.  We

14   work for the Ohio Commission, they supplement the staff

15   resources by hiring not accounting auditors, but fuel prudency

16   auditors to come in.  And then there is a division line under

17   that in two directions.  Some utilities do that and we only do

18   what we call constructive audits; that is, come in, you are

19   working for the Commission, you are paid by the utility, you

20   criticize constructively the utility, and that's going forward.

21             The other method is to hire us or others, our

22   competitors and so on, to supplement the staff expertise to do

23   a looking back prudency audit.  And in those audits, we do

24   exactly what I did in this case.  I was led into this case very

25   simply.  Mr. McGlothlin called me up and said what about the

FLORIDA PUBLIC SERVICE COMMISSION

1241

1   2005 fuel costs, and my first question is I want to see the

2   2004 solicitation.  And that is what you do in an audit.  You

3   work back, where was the solicitation, where are the bid

4   evaluation results, and you are not satisfied and you cannot be

5   satisfied with the bid evaluation results produced by the

6   utilities.  You demand to see the bid letters from the coal

7   companies and the railroad companies.

8             And that's what a prudency audit -- that is how you

9   engage in a prudency audit with that kind of detail and that

10   kind of perseverance until you get the answer.  And if somebody

11   says I didn't get a bid from the Burlington Northern Railroad,

12   and my unit is designed for Powder River Basin coal, and there

13   are only two people that ship coal out of the Powder River

14   Basin, they are in a heap of trouble.  Because how can you buy

15   coal from the Powder River Basin for a unit designed for Powder

16   River Basin coal without getting a bid for transportation.

17             And if somebody said, well, I have a waterborne

18   proxy.  I want to use a waterborne proxy in my bid evaluation.

19   You say, you don't use a waterborne proxy; you get the bid.

20   You use the market to get the least cost fuel for the

21   ratepayers.

22             COMMISSIONER CARTER:  Also, you heard my discourse

23   with Mr. Stewart.

24             THE WITNESS:  For who, I'm sorry?

25             COMMISSIONER CARTER:  Mr. Stewart.  You remember him?

FLORIDA PUBLIC SERVICE COMMISSION

1242

1             THE WITNESS:  Yes.

2             COMMISSIONER CARTER:  And he uses your information as

3   a basis for a 10 percent punitive -- I call it -- these are my

4   terms, punitive damages award.  Do you remember that discourse

5   I had with him?

6             THE WITNESS:  Yes, sir.

7             COMMISSIONER CARTER:  And I think I heard you say

8   this afternoon in your rebuttal that an additional 34 million.

9   What did you mean by that 34 million?

10             THE WITNESS:  Well, what I'm saying here is if you

11   take out the four cents blending that I had, which I have

12   subsequently discovered the coal yard was designed exquisitely

13   for blending.  I didn't know that at the time of my direct

14   testimony when I did the 43 million.  That is 13.2 million.  I

15   did the damages analysis based upon delivery through New

16   Orleans because I had year-by-year purchases of Powder River

17   Basin coal.  But had I done it -- and I noted all of this in my

18   direct testimony -- through Mobile, that would have reduced the

19   cost 10 cents per MMBtu lower at least, and that's another

20   33.5 million.

21             Now, I didn't put that in, but I am just saying that

22   is the concern.  When I do these overpayment things, I like to

23   be conservative.  I like to leave something on the table,

24   because I want the most defensible position I can stake out.

25             COMMISSIONER CARTER:  Madam Chairman, just one

FLORIDA PUBLIC SERVICE COMMISSION

1243

1   follow-up.  I was kind of scribbling as you were talking and

2   you add that 34 to the 143, you are at 177.

3             THE WITNESS:  That's right.

4             COMMISSIONER CARTER:  And that's conservative?

5             THE WITNESS:  Yes.

6             COMMISSIONER CARTER:  Excuse me for interrupting you,

7   but that is just the amount of the damages, not including the

8   10 percent punitive damage award?

9             THE WITNESS:  I'm not getting into the 10 percent

10   penalty.  I don't --

11             COMMISSIONER CARTER:  You heard my discussion with

12   Mr. Stewart, right?

13             THE WITNESS:  Yes.

14             COMMISSIONER CARTER:  You heard him say that the

15   basis for his decision on that was your report.

16             THE WITNESS:  Oh, yes.  But, I mean, the whole law,

17   you know, whether a 10 percent penalty is within the legal

18   purview of the Commission is not something I know anything

19   about.

20             COMMISSIONER CARTER:  But that is not my question to

21   you.

22             THE WITNESS:  Okay.

23             COMMISSIONER CARTER:  My question to you, and you

24   said you have been here the whole time and I have seen you here

25   all three days.  I asked Mr. Stewart specifically the basis for

FLORIDA PUBLIC SERVICE COMMISSION

1244

1   the 143 million and the 10 percent punitive damages, and he

2   said that it was based upon information that was provided by

3   you in your report.

4             THE WITNESS:  Okay.  Well, here is what I heard him

5   say, and I think you heard him say this, too.  He said there is

6   a case, was it the Maxine mine case, involving one of the

7   utilities under the jurisdiction of this Commission, where how

8   do you deter people from doing this in the future.  The concept

9   of the penalty is simply making the ratepayer whole isn't

10   adequate enough to provide deterrence.  I'm just telling you

11   that is an area outside my expertise.

12             COMMISSIONER CARTER:  Excuse me, Madam Chairman.  I

13   heard him specifically say that the basis for his punitive

14   damage claim was your report.  That's what he said.

15             THE WITNESS:  Yes.

16             COMMISSIONER CARTER:  He was very succinct.  He

17   didn't and, ifs, or buts.  He didn't skip, he didn't hop, he

18   didn't fudge, or anything.  He was specific.  He said the basis

19   for that was your report.

20             THE WITNESS:  Right.  And what I think he's saying is

21   the following:  If a utility has an opportunity to save a huge

22   amount of money to its ratepayers to burn a coal the unit was

23   designed and paid for by those ratepayers to burn, meanwhile

24   many other utilities have taken advantage of this coal and

25   saved their ratepayers hundreds of millions of dollars and a

FLORIDA PUBLIC SERVICE COMMISSION

1245

1   whole lot of SO2 emissions, and this utility didn't, then

2   simply making these customers whole is not sufficient for the

3   enormity of the imprudence.  And then he also mentioned

4   deterrence, but the 10 percent number is his number, not my

5   number.

6             CHAIRMAN EDGAR:  Commissioner McMurrian.

7             COMMISSIONER McMURRIAN:  Thank you, Chairman.  Noting

8   Mr. Walls' standing objection along this line of questioning, I

9   am going to go ahead and add a couple more to it.  The thing

10   you said in your summary also struck me, I guess, the same way

11   it struck staff about it was imprudent that they didn't get

12   bids on PRB coal.

13             And I guess the question, the first question I have

14   is it fair to go to those lengths to get a bid from one entity

15   as opposed to going to those same kind of -- and when I say

16   those lengths, I'm not trying to pass judgment on that one way

17   or the other, but I am talking about when you characterized it

18   as calling up the people and visiting and getting the royal

19   treatment and roll out the red carpet, that sort of thing, is

20   that fair to go to those lengths to try to get a bid from PRB

21   coal providers as opposed to doing that with the others?

22             Because as I understood from the testimony, it sounds

23   like that they just send out a bid letter, put it in

24   publications, and they get bids from all over, but that they

25   don't seek out any particular bids from any particular sources.

FLORIDA PUBLIC SERVICE COMMISSION

1246

1             THE WITNESS:  My answer to that would be I'm sure

2   they were very familiar with, and had been visited by and

3   visited the Central Appalachian producers.  They just ignored

4   this region.  Now, let me give you an example.  I was asked by

5   Texas Utilities in the late '80s to introduce them to Powder

6   River Basin coal.  They burned all lignite.  And here is what

7   Texas Utilities did.  They hired me to come down, and they had

8   a whole auditorium full of people, and I went through the whole

9   Powder River Basin, who produces, what quality, what

10   burnability problems, et cetera, et cetera, in 1989.  And I got

11   questions from the people out -- as I would have gotten if PEF

12   had hired me, except there it was lignite is reliable, what

13   about this terrible stuff from the Powder River Basin.  It

14   spontaneously combusts and all of this stuff.  And I answered

15   those questions, and then all you have to do is call one

16   producer and you say, look, we are coming to Gillette and we

17   want to see everybody's mines, not just your mines, and you

18   will be given a tour of each mine.

19             Now each mine, some of these mines produce

20   200 million tons of coal a year.  They are huge.  Two of them

21   produce more than Central Appalachian produces.  So it's not as

22   if you have to go knocking on a whole lot of doors to get a

23   thorough understanding of what's going on.

24             COMMISSIONER McMURRIAN:  One follow-up to that.  Our

25   RFP procedures and rules have been mentioned earlier in the

FLORIDA PUBLIC SERVICE COMMISSION

1247

1   proceeding.  Is it consistent with those rules and guidelines

2   of the Commission as far as RFPs for fuel procurement to seek

3   out certain providers, or inconsistent, or is it just not

4   addressed?

5             THE WITNESS:  Well, let me be clear here.  I do not

6   believe that a direct letter to all of the Powder River Basin

7   producers would not get a bid response, and the 2003 and 2004

8   solicitations show that.  I think you're implying that I'm

9   saying you have to coddle these suppliers to get a bid out of

10   them.  And I think you are going to hear from somebody who has

11   bought tens of millions of tons from them that you don't.

12   Something was wrong with that procurement, and I can't tell you

13   because I don't have the powers to do the proper investigation

14   as to what was wrong.  I think I've gone as far as I can go.

15             CHAIRMAN EDGAR:  I think so.  Ms. McMurrian.

16             COMMISSIONER McMURRIAN:  No, sir, I'm not implying

17   that you are saying that at all.  I'm just saying that from

18   your testimony, I heard you say that it was imprudent because

19   they didn't receive bids in certain years, and I'm just

20   following up on that for my edification.  But I'm not implying

21   that you have said anything, I just want to be clear.

22             THE WITNESS:  Okay.  That is imprudent, yes.

23             CHAIRMAN EDGAR:  Mr. McGlothlin.

24             MR. WALLS:  Before we start, could I just mention

25   that I wasn't directing my standing objection to the

FLORIDA PUBLIC SERVICE COMMISSION

1248

1   Commissioners' questions.

2             CHAIRMAN EDGAR:  No, I think it was to my ruling.

3             (Laughter.)

4             Mr. McGlothlin.

5                        REDIRECT EXAMINATION

6   BY MR. McGLOTHLIN:

7        Q    Mr. Sansom, in response to some questions you

8   indicated that had you based your calculations on a route

9   through Mobile, you would have added $33 million to the damages

10   calculation.  Would you explain more fully the differences

11   between the assumptions on the methodology you did use and the

12   differences between that methodology and what was available

13   through Mobile that led to that difference?

14             MR. WALLS:  I'm going to object as outside the scope

15   of cross.

16             MR. McGLOTHLIN:  It's in response to a Commissioner

17   question.

18             CHAIRMAN EDGAR:  I'll allow.

19             THE WITNESS:  Well, when I did my original analysis,

20   I was covering the period 1996 through 2005.  I only had rail

21   bids in May and I think in June of 2003 for the BNSF to Mobile.

22   I didn't have yearly transactions of delivered Powder River

23   Basin coal through Mobile.  And as I said in my direct

24   testimony, it was a tough choice not to do the damages based on

25   Mobile, but I had yearly procurements of Powder River Basin

FLORIDA PUBLIC SERVICE COMMISSION

1249

1   coal to New Orleans as procured by TECO for the Gannon plant in

2   Florida.  So I elected to use that data, which means I was

3   taking the Powder River Basin coal 600 miles further than I had

4   to take it if I had done a direct Mobile delivery.

5        Q    Is there any relationship -- what is the

6   relationship, if any, between the availability of the Mobile

7   route and the validity of the waterborne proxy that Progress

8   Energy used in its calculations?

9             MR. WALLS:  If I could just have a standing objection

10   to this one, as well, I would appreciate it.

11        A    I don't think the waterborne proxy applies to either

12   route moving Powder River Basin coal.  And the only component

13   of affiliate pricing that might be even conceptually related to

14   the waterborne proxy that I utilized was the ocean barge

15   transportation segment from New Orleans to Crystal River,

16   because I did not have a market price for that and by default

17   that is what I had to use to deliver the Powder River Basin

18   coal from New Orleans to Crystal River.

19             Otherwise, the market -- and I have already mentioned

20   the exhibit that I have, the market does give you prices.  In

21   fact, this Commission has established a river price down the

22   river from the Cook terminal to New Orleans, and I used that in

23   an exhibit which I can identify very quickly here.  It's

24   Exhibit RS-33.

25             MR. McGLOTHLIN:  Those are all my questions.

FLORIDA PUBLIC SERVICE COMMISSION

1250

1             CHAIRMAN EDGAR:  And we have Exhibits 166 through

2   184.

3             MR. McGLOTHLIN:  I move Mr. Sansom's rebuttal

4   exhibits.

5             CHAIRMAN EDGAR:  Exhibits 166 through 184 will be

6   entered into the record as evidence.

7             (Exhibits 166 through 184 admitted into evidence.)

8             CHAIRMAN EDGAR:  Mr. Sansom, you're excused.  Thank

9   you.

10             THE WITNESS:  Thank you.

11             CHAIRMAN EDGAR:  Let's take just a short break.  I'm

12   going to say and mean about ten minutes.  Stretch and then we

13   will come back and we will move through our remaining

14   witnesses.

15             (Recess.)

16             CHAIRMAN EDGAR:  We will get started again here in

17   just a moment.

18             MR. McGLOTHLIN:  We call Joseph Barsin.

19                            JOSEPH BARSIN

20   was called as a witness on behalf of the Citizens of the State

21   of Florida, and having been duly sworn, testified as follows:

22                         DIRECT EXAMINATION

23   BY MR. McGLOTHLIN:

24        Q    Please state your name and business address for the

25   record, sir.

FLORIDA PUBLIC SERVICE COMMISSION

1251

1        A    My name is Joe Barsin.  My business address is

2   Charlotte, North Carolina, 5500 Five Knolls Drive.

3        Q    Mr. Barsin, were you present when other witnesses

4   were sworn earlier in the proceeding?

5        A    I was not present for any swearing today.

6             CHAIRMAN EDGAR:  That would have been Monday morning.

7             THE WITNESS:  No, I was not here.

8             CHAIRMAN EDGAR:  Only Monday morning, though it may

9   have seemed longer ago than that.  If you would stand with me

10   and raise your right hand, please.

11             THE WITNESS:  Yes, ma'am.

12             (Witness sworn.)

13   BY MR. McGLOTHLIN:

14        Q    Well, let's start again.  Mr. Barsin, please state

15   your full name and business address.

16        A    My name is Joseph Barsin.  I live in 5500 Five Knolls

17   Drive, Charlotte, North Carolina.

18        Q    Mr. Barsin, did you prepare and submit on behalf of

19   the Office of Public Counsel rebuttal testimony and exhibits in

20   this proceeding?

21        A    Yes, I did.

22        Q    Do you have the rebuttal testimony document before

23   you?

24        A    Yes, sir, I do.

25        Q    Do you adopt the questions and answers contained in

FLORIDA PUBLIC SERVICE COMMISSION

1252

1   that document as your testimony in this proceeding?

2        A    Yes, sir, I do.

3             MR. McGLOTHLIN:  I request that Mr. Barsin's prefiled

4   rebuttal testimony be inserted into the record at this point.

5             CHAIRMAN EDGAR:  The prefiled rebuttal testimony will

6   be inserted into the record as though read.

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

1327

1   BY MR. McGLOTHLIN:

2        Q    And did you prepare the exhibits that are attached to

3   the rebuttal testimony document?

4        A    Yes, sir, I did.

5        Q    Do you have a summary of the rebuttal testimony for

6   the Commissioners?

7        A    Yes, I do.

8        Q    Please proceed.

9        A    Thank you.  Madam Chairman, Commissioners and staff,

10   my name is Joseph Barsin.  I'm here today as a person with

11   extensive background in fossil fuel combustion and associated

12   operational experience in power plants, field correction, and

13   also the operational side.

14             At the time Crystal River Number 4 was being

15   designed, I happened to be working for Babcock & Wilcox with

16   the position as a responsible design engineer for the

17   combustion systems for those particular boilers.  B&W was the

18   selected steam generator vendor who supplied the steam

19   generators to, at that time, Florida Power Corporation for

20   Crystal River 4 and 5.  Other details on my experience are

21   contained in my resume under Exhibit 1.

22             Florida Power Corporation set out two criteria for a

23   new power plant.  One, they specified a fuel, 50 percent Powder

24   River Basin, 50 percent CAPP, bituminous from Appalachia.  They

25   also specified a steam flow, a sustainable continuous maximum

FLORIDA PUBLIC SERVICE COMMISSION

1328

1   continuous rating at a pressure and temperature without any

2   operational constraints.  These two criteria fixed the design

3   of the steam generator.  Black & Veatch took that direction

4   from Florida Power Corporation and wrote specifications, and

5   equipment was eventually purchased, installed, and sustained

6   operation achieved over the past 25 years indicate that those

7   objectives have been met.

8             Now, there are some claims that the unit is not

9   capable of generating 5,230,000 pounds of steam per hour, which

10   is equivalent to approximately 770 megawatts on a cold day

11   using the specified design of 50 percent Powder River Basin

12   blend 50 percent CAPP coal.  This derate is -- this claim for a

13   derate is wrong.  It's based upon some mistaken premises.  I

14   would like to go through those with you.

15             One of the mistaken premises was that not enough was

16   known about Powder River Basin coal at the time of design.

17   This is flat wrong.  Lots was known.  Field, laboratory, and

18   retrofits all occurred in the late '60s and early '70s that I

19   personally was involved in, and I could spend a lot of time

20   going through that with you.  But I suggest if you have an

21   interest in the historical significance, please look at my

22   Exhibits 5, 7, and 8.  In those you will find detailed

23   histories of test burns on more than ten selected units from

24   the hundreds that were tested at that time.

25             The designed blend was not the worst fuel from a

FLORIDA PUBLIC SERVICE COMMISSION

1329

1   designer's standpoint.  Florida Power Corporation had asked us

2   to look at another fuel, not the specified design fuel, but in

3   the event they decided to use Illinois Basin fuel, they wanted

4   to make sure that their design was capable of handling that.

5   If we had just tried to fix the slagging and fouling

6   characteristics of the specified Powder River Basin blend fuel,

7   we would have rated it or indexed it for high slagging, medium

8   fouling.  These terms relate to relative indexes that go from

9   low, medium, high, and severe.  Each step requires the designer

10   to put another degree of conservatism into the design of the

11   steam generator.

12             The actual index that we used was the most

13   conservative that we had within the corporation at that time.

14   We used severe/severe.  How would this impact the steam

15   generator design for Crystal River.  Well, initially, foremost,

16   the box itself, the structure gets 20 percent larger.  It gets

17   higher, it gets deeper, it gets wider.  And this impacts the

18   entire building because the building has to get wider and

19   deeper and higher.

20             It also impacts the arrangement of convection pass

21   surface in the gas passages.  They are spread further apart to

22   make it more difficult to foul, again, impacting the building

23   and the amount of steel required to support the structure.  It

24   impacts the pulverizers.  We have heard a lot of testimony in

25   the last couple of days about the additional tonnage that

FLORIDA PUBLIC SERVICE COMMISSION

1330

1   someone has to put through a pulverizer because the Btu, the

2   heat content of the fuel is reduced.  So it impacts the sizing

3   of the pulverizers, the sizing of the coal pipes, the number of

4   burners, and really it affects just about everything on the

5   combustion side of the steam generator, which impacts the

6   entire plant.

7             The number of soot blowers had to be increased to the

8   maximum possible because of the severe/severe designation that

9   we had put on the fuel.  The aerators had to be larger because

10   the spaces between them had to be increased to avoid the

11   fouling situation that might occur with a severe/severe rating.

12             The precipitator was absolutely designed for a Powder

13   River Basin lower resistivity ash, and it is 35 percent larger

14   than a bituminous precipitator that would have been provided at

15   that time if the coal had just been a single bituminous.  So we

16   think -- in summary on that point, we just know that the

17   furnace is conservative and could absolutely handle that fuel.

18             Another mistaken premise I heard yesterday was

19   insufficient mill capacity was provided.  This is flat wrong.

20   The capacity curves were provided on performance summary sheet,

21   it's in the exhibits as JAB Exhibit 9, Page 7 through 9, and

22   look at it when you would, and they indicate that the

23   pulverizers are capable of producing 127,000 pounds of ground

24   coal designed and specified Powder River Basin coal per hour

25   per mill.  This is more than ample required with five mills and

FLORIDA PUBLIC SERVICE COMMISSION

1331

1   certainly very generous for a six mill operation.

2             The same performance summary sheet in our view

3   contains the values that must be met to achieve the guarantee

4   and sustainable MCR that has been specified from the client.

5             The coal feeders.  We heard a little bit about that

6   yesterday.  The coal feeders were designed to pass through them

7   to feed coal at a rate of 140,000 pounds per hour, exceeding

8   the base rate of the pulverizer.  So there was no blockage on

9   the design side from getting the tons of coal to the pulverizer

10   required to contain MCR.

11             Another mistaken premise that we heard a lot about

12   yesterday is the seventh mill.  This is flat wrong.  A seventh

13   mill wasn't required for MCR.  Six mills are ample.  The space

14   for the seventh mill was provided in the event that Florida

15   Power Corporation, or PEF now, elected to go to 100 percent MCR

16   on only Powder River Basin coal.  The same thinking went into

17   leaving space for a parallel coal conveyor parallel to Coal

18   Conveyor 31, which brings coal from the south field to the

19   north field.  There's space there, and it is in the event that

20   Florida Power Corp opted to go to 100 percent Powder River

21   Basin coal.  Just forethought, good thinking on the part of the

22   company at that time.

23             Another premise that's mistaken is that the

24   precipitator was not satisfactory for the specified blend.

25   This is flat wrong.  The velocity design for a precipitator was

FLORIDA PUBLIC SERVICE COMMISSION

1332

1   four feet per second, extremely conservative.  That was a

2   maximum.  Actual less than 3.5.  The number of fields for a

3   bituminous fueled unit in those days was three standard.  This

4   precipitator has five fields.  Again, making it extremely

5   conservative.

6             The collection area for bituminous fuels in the late

7   '70s would be about 450 square foot.  The collection area for

8   this unit is 700 square foot.  Again, markedly conservative.

9   Even little things, like the hopper angles, recognized that the

10   fuel was calcinatious and steeper hopper angles were required,

11   specified, and provided even to the extent of having heaters

12   placed in the bottom of each hopper to avoid allowing moisture

13   to entrain because the ash would be cementitious, not similar

14   to bituminous ash.

15             Another premise that is completely wrong.  The

16   material handling system is inadequate for the tonnage

17   associated with the Powder River Basin design blend fuel.  The

18   oversizing ranges from 130 to 150 percent of the designed fuel.

19   The burn rate for the designed fuel, the blend fuel is 311 tons

20   per hour.  There is nothing in the conveyance system that is

21   anywhere near that.  The crushers, for example, are 800-tons

22   per hour each, more than twice the requirement, and there are

23   two of them.  So not only do you have a 56 percent capacity

24   overage on one crusher, you have got another one sitting there

25   that is not even operated, but could be.

FLORIDA PUBLIC SERVICE COMMISSION

1333

1             The same kind of redundancy and overcapacity was

2   designed into the system and provided by Black & Veatch.  The

3   main conveyor from the south to the north, 2500 tons per hour.

4   Remember, the units can only burn, two of them, both of them

5   622 tons an hour, so it is a factor of four oversized.

6             CHAIRMAN EDGAR:  Mr. Barsin, I have you at almost

7   11 minutes and you had ten minutes for your summary, so I'm

8   going to ask you to conclude.

9             THE WITNESS:  All right.  Thank you.

10             MR. McGLOTHLIN:  Mr. Barsin, if you would turn to the

11   capital and O&M and give them your --

12             THE WITNESS:  Yes.  And one other thing I wanted to

13   hit, then.  Thank you for letting me finish, Madam.

14             The one big item that came up yesterday was the Hatt

15   Exhibit 8 that states 60 million in capital and two million in

16   O&M is required.  This is flat wrong.  I'm planning to discuss

17   each one, time permitting.  But, bottom line, if I am cut off,

18   if I'm cut off, the capital number we estimate from our side is

19   2.4 million for the capital and an annual -- decreasing

20   annually 1.5 million to start, and expected to decrease

21   annually.  I'll stop there.

22             Thank you, Madam Chairman.

23             CHAIRMAN EDGAR:  Thank you.

24             MR. McGLOTHLIN:  We tender the witness.

25             CHAIRMAN EDGAR:  Mr. McWhirter.

FLORIDA PUBLIC SERVICE COMMISSION

1334

1                          CROSS EXAMINATION

2   BY MR. McWHIRTER:

3        Q    Mr. Barsin, what is the normal useful life of a plant

4   such as CR4 and CR5?

5        A    An excellent question.  I know that the useful life

6   is something that is a movable feast depending on repairs,

7   depending on upgrades, and depending on what kind of investment

8   you want to make to prolong life.  But, for an example, one of

9   the projects I worked on recently was taking a 1924 power plant

10   and rejuvenating it so that it could sustain a new life of

11   another 20 years projected.  Right here in Florida, for

12   example, Florida Crushed Stone.  I moved a 125-megawatt power

13   plant from Northern Michigan that was built in 1949.  It is now

14   down in Brooksville and producing, I think, 150 megawatts

15   daily.  To try to answer your question, it depends on the

16   economics and what your objective is.

17        Q    So would it be fair to say that it's normal over the

18   useful life of a plant to make repairs and upgrade that plant

19   to improve efficiency?

20        A    Yes.  But many of the motivations aren't really

21   directly concerned with efficiency.  It would be fuel changes,

22   it would be perhaps adding a combined cycle, a gas turbine

23   where you want to exhaust the heat.  So it would be an upgrade

24   of sorts, but not necessarily directed at efficiency.

25             The thermal efficiency of Crystal River at

FLORIDA PUBLIC SERVICE COMMISSION

1335

1   87.5 percent is -- unless you go combined cycle, you're not

2   going to improve it.

3        Q    One final question.  When you upgrade a plant to

4   extend its useful life or otherwise modify it, is that normally

5   considered a cost of fuel or a capital cost invested in a

6   capital facility?

7        A    I'm not qualified to answer that question.

8             MR. McWHIRTER:  All right.  I have no further

9   questions.

10             CHAIRMAN EDGAR:  Mr. Twomey, no questions.  Ms.

11   Bradley.  Mr. Brew, no questions.  Okay.  Mr. Burnett.

12             MR. BURNETT:  Thank you, Madam Chairman.

13                          CROSS EXAMINATION

14   BY MR. BURNETT:

15        Q    Good afternoon, Mr. Barsin.

16        A    Good afternoon, John.

17        Q    Do you have your deposition with you?

18        A    Yes, I do.

19        Q    You have a copy with you?

20        A    Yes, I do.

21        Q    Okay, great.  Thank you.

22             Mr. Barsin, you would agree with me that if Btus per

23   pound in coal are reduced, the total pounds of coal a plant

24   needs to burn will need to increase to meet the same specified

25   output, correct?

FLORIDA PUBLIC SERVICE COMMISSION

1336

1        A    Yes, sir.

2        Q    And you also agree that almost no one nowadays uses a

3   50/50 blend of PRB coal and CAPP coal like OPC recommends in

4   this case, correct?

5        A    Yes, sir.

6        Q    You would also agree with me that a full load rating

7   corresponds to turbine nameplate rating with standard

8   conditions when we are talking about Crystal River 4 and 5,

9   correct?

10        A    Could you say that again a little slower.

11        Q    Sure.  You would agree with me that when we are

12   talking about Crystal River Units 4 and 50, full load rating,

13   the term full load rating corresponds to the turbine nameplate

14   rating under standard conditions?

15        A    Yes, sir.

16        Q    You would also agree with me that to make maximum

17   continuous rating, one must input the required quantity of

18   Btus, correct?

19        A    Yes, sir.

20        Q    In fact, there is a direct relationship between the

21   amount of Btus that are supplied to the boiler and the

22   megawatts that can be realized from the turbine, right?

23        A    Yes, sir.

24        Q    And if one reduces the number of Btus to the boiler,

25   the output from the generator is reduced, correct?

FLORIDA PUBLIC SERVICE COMMISSION

1337

1        A    Yes, sir.

2        Q    You would agree with me that slag deposits can retard

3   heat transfer, correct?

4        A    If they are not removed, yes, sir.

5        Q    And you would also agree that fouling, if not

6   removed, can restrict load and possibly cause a shut down at --

7        A    Yes, sir.

8        Q    With respect to controlling slagging and fouling in a

9   coal plant, you agree with me, too, that if experience proves

10   necessary, a company may want to add more tools over and above

11   what the designer felt was necessary, right?

12        A    No.  The designer has provided many tools to the

13   operating company that may or may not be utilized by them, but

14   the known tools include soot blowers, load shedding, and other

15   items such as that that are already installed and in place.

16        Q    Could I get you to turn with me to Page 7 of your

17   deposition?

18        A    Uh-huh.

19        Q    We had a similar conversation during your deposition

20   and ultimately there at Line 20, I say, "Right."  And you say

21   here on Page 28 of your testimony that "If experience proves it

22   necessary, you may want to add some more of those tools,

23   correct?"  And you say, "Yes, that's true."

24             I'm sorry, I didn't see you weren't there yet, sir.

25        A    No, I thought it was -- what page, could you tell me

FLORIDA PUBLIC SERVICE COMMISSION

1338

1   again?

2        Q    It's Page 7, I'm sorry.

3        A    Page 7, that's what I thought.

4        Q    I have a copy handy here if you would need it.  You

5   may have a --

6        A    No, my printout on my pages is half a page.  And what

7   subline is it, John?

8        Q    It starts right around -- the conversation starts at

9   12 and then we go down to 23.

10        A    Okay.  So the answer is similar and --

11        Q    I just wanted to confirm that when we had this

12   similar conversation during your depo, and I asked you if

13   experience proves it necessary you may want to add some more of

14   those tools, talking about tools up top there to reduce slag,

15   you say if experience proves necessary, yes, that's true?

16        A    Yes, that's true.

17        Q    Okay.  You also agree with me that Powder River Basin

18   coal is a lower Btu coal, thus requiring more tons of it to

19   burn when compared to bituminous coal?

20        A    Yes, sir.

21        Q    You agree with me that when burning PRB coal blends,

22   additional attention to housekeeping will be needed, right?

23        A    Yes, sir.

24        Q    And you also agree with me that extra maintenance

25   personnel are needed during PRB use, correct?

FLORIDA PUBLIC SERVICE COMMISSION

1339

1        A    Yes, sir.

2        Q    You agree that PRB coal has more moisture than CAPP

3   coal, correct?

4        A    Yes, I do.

5        Q    And you agree with me that increased moisture in PRB

6   coal impacts generating unit performance?

7        A    It impacts boiler performance, yes, sir.

8        Q    You agree with me that PRB coal piles need to be

9   compacted regularly?

10        A    Yes, I do.

11        Q    And you also agree that it's preferable to have

12   rubber-tired equipment to work on PRB coal piles?

13        A    Yes, I do.

14        Q    You agree with me that the round housing cover on the

15   tripper floor is preferable to a square one when burning PRB

16   coal?

17        A    Yes, I do.

18        Q    You also agree with me that PRB coal should not

19   remain in the silo for too long due to fire safety concerns?

20        A    Yes, I do.

21        Q    You agree also that a washdown system is needed for a

22   plant that burns PRB coal?

23        A    Yes, I do.

24        Q    And you agree with me that a dust collection system

25   is needed for a plant that burns PRB coal?

FLORIDA PUBLIC SERVICE COMMISSION

1340

1        A    Yes, I do.

2        Q    Similarly, you agree that fire protection systems are

3   needed for a plant that burns PRB coal?

4        A    Yes, I do.

5        Q    And you agree that it would be nice to have water

6   cannons or water injectors at a plant burning PRB coal?

7        A    If operation proves necessary, they're a good tool.

8        Q    Soot blowers are also nice to have at a plant that

9   burns PRB coal, correct?

10        A    Soot blowers are absolutely necessary for anybody

11   burning any kind of coal.

12        Q    And you agree that an on-line computer analyzer is

13   nice to have at a plant that burns PRB coal blends, correct?

14        A    I believe that there is already an on-line computer

15   analyzer for the blending purpose.  We discussed the

16   possibility of acoustic pyrometry to actually look the furnace

17   conditions temperature-wise, if indeed slagging became a

18   problem.  That pyrometer would be a handy tool to have, yes.

19        Q    And I'm glad you brought that up, because I really

20   didn't want to try to pronounce that.  I can mark that question

21   off.

22             You would also agree with me that additional

23   personnel will be needed at Crystal River for fire watch if

24   Crystal River uses PRB coal, correct?

25        A    Yes, I do.

FLORIDA PUBLIC SERVICE COMMISSION

1341

1        Q    You also agree that additional personnel will be

2   needed to accomplish washdowns if Crystal River uses PRB coal?

3        A    Yes, I do.

4        Q    And you agree with me that Crystal River will need to

5   buy dust suppression chemicals if PRB coal is used there?

6        A    I agree that dust suppression has to be undertaken,

7   and there are several ways to do it, and chemical surfactants

8   is probably the most expensive.  There are fogging systems,

9   there are others.  I would imagine that the operations folks at

10   Crystal, if and when they actually did get involved with Powder

11   River Basin coal, would examine all the options.

12        Q    Just to be clear on that, though, if you could turn

13   over with me to Page 12.  I just wanted to show you that

14   question when we talked about it in your depo.  If it is

15   easier, I would offer this one to you.  It's paginated the

16   same.

17        A    Good.  Thank you.

18        Q    It's double-sided, but I'm on Page 12.

19        A    Thank you.  Yes, sir, I'm there.

20        Q    And I just wanted to reference that question there

21   again at 20.  "Okay.  And you would agree with me, wouldn't

22   you, that Crystal River would need dust suppression chemicals

23   if CR uses PRB coal?  Yes, I do."

24        A    Yes, I agree that dust suppression is important, and

25   chemicals is one of the tools that you could use to suppress

FLORIDA PUBLIC SERVICE COMMISSION

1342

1   them.  Also, you could use water.

2        Q    Okay.  Thanks.  Mr. Barsin, you would also agree with

3   me that if Crystal River uses PRB coal, that the tripper walls

4   of Units 4 and 5 should be painted white?

5        A    This is best practice, yes.

6        Q    Right.  And the people responsible for those floors

7   shouldn't go home each day until those white walls are white

8   again, correct?

9        A    Absolutely.

10        Q    You agree with me that a coal plant should test burn

11   a type of coal that has never been burned there before,

12   correct?

13        A    Yes, I agree.

14        Q    And with respect to Mr. Hatt's O&M expenses in his

15   prefiled testimony, you agree with me that those expenses for

16   using PRB coal, quote, look reasonable, correct?

17        A    Well, I believe that they are in the ballpark.  I

18   believe they are high.

19        Q    Could you turn over to Page 13 for me of your

20   deposition?

21        A    Yes.  Let me get there.  Okay, I'm there.

22        Q    And just to cover that question one more time,

23   beginning at Line 8 of Page 13, "And with respect to Mr. Hatt's

24   O&M expenses in his prefiled testimony, you would agree with me

25   that Mr. Hatt's O&M expenses, quote, look reasonable, correct?"

FLORIDA PUBLIC SERVICE COMMISSION

1343

1        A    They did at first blush, at the time I talked to you;

2   but looking at them again, I think they are about half a

3   million high.  But certainly they are only two million.

4        Q    Okay.  Thanks.  You would agree with me that the

5   desire of most utilities in America is to have a spare mill and

6   pulverizer in their coal plants, correct?

7        A    Really it's not a spare mill, it's one that they have

8   to have down to replace the wear elements.  So it's not spare.

9   I believe we heard Mr. Toms yesterday say he repairs mills or

10   he repairs rare parts on a periodic basis.

11        Q    Can I reference you to Page 97 of your deposition?

12        A    Sure.  I'm there.

13        Q    On Line 13, your answer there, "The desire of most

14   utilities in this country is to have a spare mill.  So Crystal

15   River has a spare mill, the sixth mill is a spare mill."  Did I

16   read that properly?

17        A    Yes, you read it.  But, in fact, if you can take it,

18   it is not a spare mill.  It needs to have a spare mill to

19   repair the wear elements.

20        Q    I would like to turn you to Page 56 of your prefiled

21   testimony, please.  Just let me know when you are there,

22   please, sir.

23        A    Yes, I'm there.

24        Q    I would like to show you a statement there that says,

25   you're speaking about the silos at Crystal River 4, and you

FLORIDA PUBLIC SERVICE COMMISSION

1344

1   say, "The silos, however, are only sized for eight hours of

2   fuel, so the fueling has to be done over two shifts.  And the

3   limit would seem not to be the transport system, but the size

4   of the silos."  Did I read that properly?

5        A    Yes, you did.

6        Q    And based on your recent inspection of Units 4 and 5,

7   you believe that the statement I just read is still true and

8   accurate, correct?

9        A    Yes, I do.

10        Q    Now, I would like to ask you some questions about

11   some of the cost estimates that you discussed in your prefiled

12   testimony.  In coming up with the cost percentages you

13   discussed in your testimony, and I believe you start around

14   Page 49, you would agree with me that the only notes to support

15   those calculations are, quote, the notes inside your head,

16   right?

17        A    No, I think I gave you a couple of paragraphs on the

18   background on how those biometric relationships were developed.

19   If you look further up in the discussion that we had on that.

20        Q    Well, can you take a look at Page 104 of your

21   deposition with me?

22        A    Yes, sir.  Okay.

23        Q    And I would like to draw your attention there when I

24   ask you, talking about these costs, "Any notes or anything like

25   that you have taken over the years," at Line 3; and your

FLORIDA PUBLIC SERVICE COMMISSION

1345

1   answer, "Only the notes that are still in my head."  Did I read

2   that properly?

3        A    You read it accurately.  Let's back up a little bit

4   and let me look over the context.  It seems like it is a little

5   loser than I would be.

6             I think if you look at page -- I don't know where --

7   102, Line 17, for example, I tried to give an explanation for

8   those in the previous section on what was impacted.  I don't

9   know if you followed that description, but if you want to talk

10   boiler island, what we did not include, I identified that

11   fairly clearly.  I went through each of the items trying to

12   describe what the biometric relationships were and how I got

13   dollars to tack onto the estimates.

14             So if you take the context, the totality of that

15   questioning line, you will find that more than just my head, my

16   38 years of experience, my position at Babcock, which was to

17   generate estimates, all of that went into coming up with your

18   answers.

19        Q    Sure, I appreciate that clarification.  But certainly

20   I can't print out your 39 years of experience or the notes in

21   your head and read them, can I?

22        A    You can't print them out?

23        Q    No, sir.

24        A    I guess not.

25        Q    Thanks.  Also, in coming up with the costs in your

FLORIDA PUBLIC SERVICE COMMISSION

1346

1   prefiled testimony, you didn't use any manuals to come up with

2   those numbers, correct?

3        A    No, I did not.

4        Q    And you didn't have any conversations with anyone, as

5   well, to verify those numbers, correct?

6        A    Not at that time.  I have since.

7        Q    In fact, the cost estimate numbers that you have used

8   in your testimony are what you describe in your deposition as,

9   quote, a good guess, correct?

10        A    No, that was the term you forced out of me after

11   hours of badgering me.  (Laughter.)  No, what I was trying to

12   tell you was that it was based on years of experience on a

13   position within Babcock that insisted I generate proposals that

14   were financially responsible and returned a profit to the

15   corporation.  Based on that, I generated numbers, yes.

16        Q    I'm a bad man, aren't I, Mr. Barsin?  (Laughter.)

17             Let me show you a couple of deposition cites just so

18   I can clear that up for the record, though.  If we could turn

19   to Page 111 of your deposition.

20        A    I'm there, yes, sir.

21        Q    I would like to reference there when we are talking

22   about the cost of a rubber-tired loader.  I asked you there

23   and, again, as you stated, that is a guess, and you say at Line

24   18 there, "That is a guess."  Did I read that properly?

25        A    It was a guess.  It has been confirmed by Caterpillar

FLORIDA PUBLIC SERVICE COMMISSION

1347

1   of Charlotte.

2        Q    Okay.  And, again, I would like to take you to Page

3   116 of your deposition where we are talking about another

4   $1 million figure there.  And I say, "And that one million,

5   again, is your best guess based on your experience?"  And you

6   say, "Yes, and doubling it."  Did I read that properly?

7        A    Yes, sir.

8        Q    And, again, on Page 115 of your deposition, we're

9   talking there about some O&M costs, and I asked you, "So 50,000

10   there is a good guess?"  And you say, "We think so.  I think

11   so."  Did I read that properly?

12        A    Yes.  And the reason, and I tried to explain it to

13   you at the time, and you caught it back on page 116, Line 16,

14   no, doubling it, because I don't know, again, how you, or

15   Florida Power Corporation, or Progress Energy Florida is going

16   to go about it.  Are you going to use a contractor, in-house

17   maintenance people, or in-house control people.  This would

18   affect the cost.  So I can't know your costs.

19        Q    Okay.  I would like to ask you about some of the data

20   and information you relied on in preparing your testimony.  Mr.

21   Barsin, you agree with me that all the documents you relied on

22   to prepare your testimony in this case, with the exception of

23   the B&W book titled steam, are attached to your prefiled

24   testimony as exhibits, correct?

25        A    Yes, sir.

FLORIDA PUBLIC SERVICE COMMISSION

1348

1        Q    Okay.  And with respect to all the documents that you

2   relied on to prepare your testimony, again, that are exhibits,

3   you agree with me that all of those documents predate 1984,

4   correct?

5        A    Yes, sir.

6        Q    Now, you would also agree with me that some of the

7   information in those pre-1984 documents that you relied on to

8   prepare your testimony has become outdated and is no longer

9   accurate, correct?

10        A    We went through this on deposition, and the response

11   is that they were accurate at the time they were written.  And

12   do things change over time?  Yes, they do.

13        Q    Well, certainly if we reference your JAB-3, Page 13

14   of 67, regarding unit specifications, you told me in your

15   deposition that some of the data reflected in that document was

16   preliminary and it ultimately changed when the units were

17   built, correct?

18             MR. McGLOTHLIN:  Could I have the reference again,

19   John?

20             MR. BURNETT:  Sure thing.  It is JAB-3, Page 13 of

21   67, and the question in this deposition is Page 41.

22        A    Yes.  And the explanation, of course, is that the

23   fundamental principle of Florida Power Corporation at that time

24   was to get an MCR, continuous, 24-hour-a-day power plant.  But

25   they had not yet finalized on the exact megawatts, so the

FLORIDA PUBLIC SERVICE COMMISSION

1349

1   megawatts have changed from concept to final heat balance.

2        Q    Okay.  And also to your JAB-2 at Page 4, you agree

3   with me that the information in that document regarding how

4   many megawatts CR4 was going to produce is no longer accurate

5   and changed when the plant was actually built, correct?

6        A    Yes.

7        Q    And, Mr. Barsin, you recognize as I believe you just

8   stated that until final decisions are made, information and

9   proposals and responses like the documents you relied on to

10   prepare your testimony can change throughout the construction

11   process, correct?

12        A    Once there is a contract there is a very, very solid

13   procedure for changing a contract, and there is usually a paper

14   trail attached to it.  On discovery when I was in your offices,

15   I could find the complete paper trail for the turbine

16   generator, for example; but the boiler, the paper trail was

17   strangely open.

18        Q    But back to my question, though, nonetheless, that

19   information and requests for proposals can change during the

20   process, could they not?

21        A    During the proposal period, yes, but on contracts, as

22   I said, it is a formal procedure.

23        Q    And you also agree with me that as to your JAB-3,

24   Page 41 of 67, the information in that document that you relied

25   on regarding the amount of steam the boiler in CR4 was going to

FLORIDA PUBLIC SERVICE COMMISSION

1350

1   be able to produce and the resulting amount of megawatts has

2   changed, and is no longer accurate, correct?

3        A    I'm at JAB-3, Page 47, was it?

4        Q    41 of 67.

5             CHAIRMAN EDGAR:  Mr. Barsin, I need you to either

6   pull closer to the microphone or pull it over, if you would.

7   Thank you.

8             THE WITNESS:  I'm sorry.

9        A    I'm on 43, John.  I don't see it.

10        Q    It is 41 of 67.

11        A    Pardon me.

12        Q    Of your JAB-3.

13        A    Yes.

14        Q    And, again, we talked about this one in your depo?

15        A    Yes.  We were looking at the agreement for

16   engineering services between Black & Veatch and Florida Power

17   Corporation.

18        Q    Sure.

19        A    And they, of course, are feeding back to Florida

20   Power Corporation, their potential client, exactly the data

21   that they were given by them, yes.  So, yes, it was what it is.

22        Q    Sure.  And you don't disagree with me that the data

23   there in your exhibit to your testimony has changed and is no

24   longer accurate?

25        A    Yes, but this is not a contract.

FLORIDA PUBLIC SERVICE COMMISSION

1351

1        Q    And my last one of these.  Page 12 of 67 of that same

2   JAB-3 there, you would agree with me as well that the steam and

3   megawatt specifications for CR4, again, differ from those on

4   Page 41?

5        A    Yes.  Again, this is the proposal, not a contract

6   document.

7        Q    And those are exhibits to your testimony, correct?

8        A    That's correct.

9        Q    Now, you consider your recent site inspection of CR4

10   and CR5 to be, quote, superficial, correct?

11        A    Could you say that word again.  Was it superficial?

12        Q    That's right.  You consider your recent site

13   inspection of CR4 and 5 to be superficial, correct?

14        A    No.  Whatever the opposite of superficial is.  It was

15   ficial.  We did, we saw, we went there to examine, we came back

16   learning, so I think it would be the opposite of superficial.

17        Q    Well, let me ask you about Page 171 if you would go

18   with me right there to your deposition.  I'm sorry, 171.  Let

19   me let you get there, I'm sorry.

20        A    Okay, John.

21        Q    Ms. Bennett was asking you some questions about how

22   you knew the units were designed and actually constructed to

23   certain standards, and you say in your answer, "I don't know

24   what was designed.  I don't know what was designed was that

25   which was constructed other than the superficial voyage around

FLORIDA PUBLIC SERVICE COMMISSION

1352

1   the plant, looking at the fact that there are certain

2   equipment."  Did I read superficial voyage correctly?

3        A    Absolutely, but not visit.  Voyage.  Please, get the

4   terminology correct.

5        Q    Good catch, sir.  You are keeping me honest.

6             You would agree that you were only at the site on

7   that inspection for about three hours, right?

8        A    Yes, John.

9        Q    And about two hours outside of the plant and about

10   one hour inside the plant?

11        A    Yes, sir.

12        Q    I'm scared to say superficial anymore, but during

13   that superficial visit as you called it, you weren't actually

14   able to determine whether or not CR4 and 5 were actually built

15   to the specifications listed in the pre-1984 documents that are

16   part of your exhibits, correct?

17        A    I was restricted even in the control room from

18   looking at the control panel, but what I did observe on the

19   superficial voyage around the units was that the number of

20   pulverizers that were specified were there, the number of

21   burners that were specified were there, the number of silos

22   that were specified were there, the number of coal feeders that

23   were specified were there, the air heaters that were specified

24   were there, the forced draft plans were there, the

25   precipitators were there, the ID fans were there.  Did I go

FLORIDA PUBLIC SERVICE COMMISSION

1353

1   inside the furnaces?  No, I could not because there were fires

2   in them.  But, externally, I did examine and did note that what

3   was promised was delivered.

4        Q    Okay.  Switching from documents that have changed to

5   other things that have changed over time.  Mr. Barsin, you

6   would agree with me that since 1980 new things have been

7   learned about PRB coal every day especially in the area of

8   housekeeping, correct?

9        A    Not every day.  Certainly the major events were

10   learned between 1970 and 1980 when people were playing close

11   attention on the retrofit test burns on units not designed for

12   Powder River Basin coal.  In the '80s, people started to get

13   sloppy, and that is when housekeeping and safety items became

14   learned in a better way.

15        Q    Mr. Barsin, let me take you to Page 60 of your

16   deposition.

17        A    Yes, sir, I'm there.

18        Q    There I asked you the question on Line 12, "Have

19   things been learned since 1979/1980, is that the question?

20   Yes.  Indeed, every day things are learned.  I would say the

21   most important thing learned about Powder River Basin coal

22   probably in the last 25 years, in my opinion, would be the

23   degree of housekeeping required to keep it under control."

24             Did I read that accurately?

25        A    You did.

FLORIDA PUBLIC SERVICE COMMISSION

1354

1        Q    Okay, thanks.  And, Mr. Barsin, after some, what you

2   call PRB catastrophes, in the 1980s, information on PRB safety

3   was learned, but was slow to get out and was finally well known

4   in about the 1990s, correct?

5        A    Yes, sir.

6        Q    You would agree with me, also, that dust chemical

7   sprays that are available today were not available in the

8   1980s, correct?

9        A    I'm not aware of them being available in the 1980s.

10        Q    And the 1980's vintage CO2 monitors for PRB coal have

11   become more solid state and reliable since CR4 and 5 were

12   built, correct?

13        A    Yes, sir.

14        Q    There is that acoustic pyrometry device, again.  I

15   had promised I would try not to say it, but those weren't

16   utilized by utilities until about 1989, correct?

17        A    That's correct, but they were utilized by other power

18   generators.  Specifically in the pulp and paper field.

19        Q    In fact, the state of the art in PRB safety and

20   housekeeping is continuously evolving, isn't it?

21        A    Yes, it is.

22        Q    And you agree with me that some of the PRB coal in

23   use today was not even mined in the late 1970s when CR4 and

24   5 were being designed, correct?

25        A    That's correct.

FLORIDA PUBLIC SERVICE COMMISSION

1355

1        Q    I would like to turn now about some of the documents

2   you have called guarantees in your testimony.  Mr. Barsin, you

3   feel like the guarantee documents you have seen in this case

4   present a complete picture of what the guarantees for Units 4

5   and 5 are, correct?

6        A    No, I don't.

7        Q    I would like to take you to Page 18 of your

8   deposition, please.

9        A    I'm there, John.

10        Q    I asked you starting there at Line 8, "So the

11   guaranteed documents seen, you feel, present a complete picture

12   to you of what the guarantees for these units are?"  And your

13   answer, "Yes, sir."  And I go on to say, "And that is

14   irrespective of the fact that you haven't seen the BW proposal

15   or the docs used to clarify that you just mentioned?"  And you

16   answer, "Based on the information seen, I can speak to the

17   guarantees."

18             Did I read that correctly?

19        A    You are really out of context.  Could you back up to

20   Page 17, John.  Look at question, I guess, on Line 5.  You can

21   read your part and I will read my part.

22             MR. McGLOTHLIN:  Could we see that on the screen, as

23   well?

24             MR. BURNETT:  Well, you are free to read it, sir, but

25   this is my time to ask the questions.

FLORIDA PUBLIC SERVICE COMMISSION

1356

1        A    The Babcock & Wilcox proposal to Florida Power

2   Corporation is absolutely required.

3             Okay.  John, so as we sit here today, can we define

4   JAB-2, 3, 4, and 9 as the guaranteed documents that you have

5   seen as of today.  Answer, yes, sir.

6             Okay.  What other documents, if any, do you think you

7   would still need to see to get a full picture of the

8   guarantees?  The B&W proposal to Florida Power Corporation is

9   absolutely required.

10             Okay.  Anything else?  Yes.  I'm mistaken.  Also any

11   letters that are attached to that, Part 3 of the contract

12   documents I mentioned.  That's it, those two things.

13             And earlier, if we want to go back even further, I

14   said I've got to see the Black & Veatch specification for the

15   boiler.  This is the kind of thing that you put together and

16   you make a contract out of, the specification, the response

17   proposal, and any clarification letters issued by the parties

18   to come to an agreement.  That's the total picture of the

19   guarantees.

20             I think the context was based on what I have seen.

21   Not what I have not seen, but what I have seen.  Can I make the

22   assumption that I have seen guarantees?  And my answer was yes.

23        Q    Well, let me be clear, Mr. Barsin.  You are giving

24   testimony in this case about what contractual guarantees are,

25   is that correct?

FLORIDA PUBLIC SERVICE COMMISSION

1357

1        A    I'm giving an interpretation of what I think

2   guarantees are, yes.

3        Q    Oh, so it is an interpretation.  You can't say --

4   that is something that someone may disagree or see differently,

5   correct?

6        A    I think people can disagree on any matter.  But in my

7   school contracts are made up of three pieces:  A specification,

8   a response to the specification, and any letters that dwell on

9   that agreement.

10        Q    And so, as you sit here today, are you testifying to

11   this Commission that you haven't seen enough documents to

12   determine what the guarantees are in fact, and you are only

13   offering an interpretation of what you consider to be an

14   incomplete set of documents?

15        A    I have an incomplete set of documents.  I have

16   explained that at great length, but what I have is the contract

17   performance summary sheet that in my experience we have used as

18   the guarantee sheet.

19        Q    Well, there has been suggestions that my client has

20   waived causes of action and would have had rights to sue people

21   based on guarantees.  I thought until now we knew what that

22   guarantee was, but is there a document you can point me to that

23   my client could take into court and sue people over, then?

24        A    I'm sure your client is more familiar with suing

25   vendors than I am.  But, again, you can't make a court case,

FLORIDA PUBLIC SERVICE COMMISSION

1358

1   and I'm certainly feeling stupid telling a lawyer what you need

2   for a court case.  You have got to have contract documents, and

3   we have partials.  We have requested on discovery the totals.

4   Discovery says we got all we are going to get, ain't gonna get

5   no more.  What I have seen, I've looked at a performance

6   summary sheet and that, in our house, would be a guarantee

7   sheet.

8        Q    Well, let's talk about that.  That would be JAB-9,

9   Page 7 of 7, correct?

10        A    Yes, sir.

11        Q    Now, you told me in your deposition that JAB-9, Page

12   7 of 7, was considered by B&W's lawyer to be the guarantee

13   document, and that it was the contract document for

14   performance, guaranteed performance, is that right?

15        A    This sheet is the commitment of the company to a

16   buyer, but it can be modified.  In my testimony, if you look,

17   it can be modified by the other documents I've mentioned.  But

18   having only this to go on, this would be my guarantee guidance.

19        Q    But, again, you told me in your deposition that at

20   Page 20, if you would go there with me.

21        A    Yes, sir.

22        Q    When I asked you can you highlight on Page 7 of 7 of

23   JAB-9 anywhere where the word guarantee appears, you told me

24   the whole document.  At the time I was employed by B&W this

25   document was considered by counsel to be the guarantee

FLORIDA PUBLIC SERVICE COMMISSION

1359

1   document.  Did I read that correctly?

2        A    Yes, sir.

3        Q    Did counsel for B&W at that time ever talk to you

4   about the doctrine of contract interpretation that states that

5   the plain language of the contract will dictate?

6        A    No, sir.

7        Q    Did he ever, he or she, I'm sorry, ever talk to you

8   about the parole evidence rule?

9        A    No, sir.

10        Q    Did he or she ever talk to you --

11             MR. McGLOTHLIN:  I'm going to object to any questions

12   that call for any conversations between the gentleman and the

13   persons who were his lawyers at the time.

14             MR. BURNETT:  Madam Chairman, I would only note that

15   he has represented in his deposition that his basis for calling

16   this document a guarantee document was what he was told by

17   counsel.  There is no objection in the deposition as to any

18   privilege to it.  It is his basis for calling this a guarantee

19   document.  It is at issue in the case, and I don't think we

20   could use the shield of privilege as a shield and a sword when

21   he is asserting on the one hand that this is a guarantee

22   document because counsel told him so, and on the other hand I

23   can't drill down on that with questions.

24             CHAIRMAN EDGAR:  Mr. McGlothlin.

25             MR. McGLOTHLIN:  I'll withdraw my objection.

FLORIDA PUBLIC SERVICE COMMISSION

1360

1   BY MR. BURNETT:

2        Q    Did he or she ever explain the doctrine of exclusio

3   unius expressio alterius (sic) to you, sir?

4        A    I don't even know how to spell it, no.  But what this

5   is is you have to recognize that my experience as a field

6   engineer made it imperative to me close jobs, which means

7   obtaining final payment.  This happened around the world, not

8   just in the U.S. contract tort law system, but in India, Japan,

9   Spain, Italy, as well as the USA.  And this sheet was the sheet

10   that I was guided to meet the performance on, and once it was

11   met, then we could go and collect the final payment.  If it

12   wasn't met, we had to come up with the mechanical engineering

13   or the steam engineering fix to make the performance.

14        Q    Well, I would like to talk to you about JAB-9, and we

15   went through this with Mr. Toms, so I'm not going to belabor

16   this point.  But during your deposition, you were only able to

17   find one column in this document that had guarantee on it,

18   correct?

19        A    No, there are several columns that have guarantee, or

20   they have at least G-U-A-R, if that means guarantee, in it.

21        Q    Well, sure, and those are the columns that I have

22   highlighted here, right?  I'm sorry, let's zoom in on it.

23        A    I think you need to go -- there is another guarantee

24   column, I think, three or four to the left.  You got one of

25   your witnesses yesterday to mention it, I think Mr. Toms.

FLORIDA PUBLIC SERVICE COMMISSION

1361

1        Q    Sure thing.  And you are exactly right, we went over

2   that with Mr. Toms yesterday, associated with the 2500 psig

3   nameplate rating, correct?

4        A    Exactly.

5        Q    No other places on there where we see guarantee or

6   G-U-A-R, correct?

7        A    I'm really having trouble seeing everything on there,

8   but I will accept it if you don't see it.

9        Q    Okay.  Well, we certainly didn't find it in your

10   depo, either, correct?

11        A    No.  And you should note that there is a specified

12   fuel for design, which would also be in the -- that would be

13   the fuel you would have to worry about for the actual

14   guarantee.

15        Q    Well, in your deposition you stated that it would be

16   unusual for a utility to ask for a guarantee for continuous

17   overpressure, correct?

18        A    I said it's not typical.  I think if you quote me

19   exactly, you would find use the word atypical.

20        Q    I've got unusual and atypical actually.

21        A    Well, we are both right.

22        Q    Now, going back to this JAB-9, there are not any

23   guaranteed megawatts listed anywhere on this sheet, are there?

24        A    Not any megawatts, because as you realize, the boiler

25   is a steam generation machine, not a megawatt producer.

FLORIDA PUBLIC SERVICE COMMISSION

1362

1        Q    Right.  And let me address one more on this one.

2   These numbers down here, this number that I have highlighted,

3   87.70, that is a heat efficiency percentage, correct?

4        A    Thermal efficiency, yes, sir.

5        Q    Now, I'd like to talk to you about the acceptance

6   test that was done for Crystal River Unit 4.  You agree with me

7   that an acceptance test was, in fact, done, correct?

8        A    Yes, sir.

9        Q    And you agree with me that the purpose of that test

10   was to test unit efficiency, correct?

11        A    No.  I think the purpose of that test was to accept

12   the unit and check all the performance factors, not just the

13   efficiency.

14        Q    Well, let's take a look at that.

15        A    I guess if it was to check efficiency, it would have

16   flunked.

17        Q    I would like to reference you to JAB-10 of your

18   prefiled testimony.  Just let me know when you are there.

19        A    Yes, I'm there.

20        Q    Turning to Page 2 of 4, I would like to draw your

21   attention, first, to the intent of what's titled there as the

22   Steam Generator Acceptance Test Summary Report.

23        A    Yes, sir.  The primary intent of this testing effort

24   was to verify the boiler manufacturer's performance-related

25   guarantees.  That's everything on that sheet that we were

FLORIDA PUBLIC SERVICE COMMISSION

1363

1   talking about.

2        Q    Well, let's go over to what this document says those

3   guarantees are.  If you would flip the page for me.

4        A    All I see is an untitled, no steam flow whatsoever.

5   You mean the efficiency box on the top of 3 of 4?

6        Q    I'm sorry, it's on Page 3 of 4 of your JAB-10.  Do

7   you see that there?

8        A    I'm not seeing -- oh, that chart.  Yes, I see that,

9   excuse me.

10        Q    Okay.  And you would note that the column I have

11   highlighted there is called Babcock & Wilcox design guarantees?

12        A    Yes.  That is only one element of the guarantee.

13   Since the -- you're right, that is what the column says, but

14   the acceptance test was to check all the performance, not just

15   the thermal efficiency, which is one item.

16        Q    But you nonetheless don't disagree with me that that

17   actually does say the words Babcock & Wilcox design guarantees,

18   correct?

19        A    Yes, I do.  I agree with you, yes.

20        Q    And you would note that there are numbers there that

21   ultimately result in a boiler efficiency percentage, correct?

22        A    Yes.  I do note that, yes.

23        Q    You would agree with me that there is not one thing

24   in this chart that talks about overpressure, correct?

25        A    There's not one thing that talks steam flow, there is

FLORIDA PUBLIC SERVICE COMMISSION

1364

1   not one thing that talks steam temperature, exit gas

2   temperature, all the things that you need to try to do a

3   performance test, yes.

4        Q    And megawatts aren't mentioned either, correct?

5        A    No, I would not expect them to be there.

6        Q    I want to talk to you about one more of your

7   exhibits, please.  It's Page 5 of 7 of your JAB-9.  I believe

8   this is a document that you even addressed in your opening

9   summary.  Tell me when you are there, sir.

10        A    Page 5 of 7.  Yes, sir, I have it.

11        Q    This is a document dealing with some pulverizer

12   information that you mentioned in your summary, correct?

13        A    Yes, sir.

14        Q    I would like to draw your attention to what we

15   lawyers love to call the fine print.

16        A    The disclaimer.

17        Q    And I want to know if I'm reading this accurately.

18   "These curves are submitted for the purchaser's convenience and

19   the performance indicated thereon shall not be offered by the

20   company or construed by the purchaser as a proposal or contract

21   obligation."  Did I read that correctly?

22        A    Absolutely, right on.  May I draw your attention back

23   to Barsin 7 of 7.  Could you find a similar disclaimer on that

24   sheet for me?

25        Q    Once again, this is where I enjoy the luxury of

FLORIDA PUBLIC SERVICE COMMISSION

1365

1   asking the questions, Mr. Barsin.

2        A    I withdraw the question.  (Laughter.)

3             CHAIRMAN EDGAR:  Mr. Barsin, please let Mr. Burnett

4   work his way through the small remainder of his cross.

5             MR. McGLOTHLIN:  While I make a note.

6             MR. BURNETT:  I've got some final questions for you,

7   Mr. Barsin.  I'll move it along.

8   BY MR. BURNETT:

9        Q    You have never been a manager of a coal plant,

10   correct?

11        A    No, I never have.

12        Q    You have never worked as a supervisor in a coal

13   plant, correct?

14        A    I was puzzling over that question when you asked that

15   the first time, John.  And in my job as a field engineer, I had

16   to direct operators to operate my equipment.  And though I have

17   never been employed by a power company as an employee manager,

18   I have been employed by Babcock & Wilcox, though, to direct

19   operators on how to operate our equipment.  I could be standing

20   behind one of your operators at Crystal River in the power

21   plant in 1982 directing them to change feeder speed or

22   whatever.  But, no, I have never been employed by a power

23   company.

24        Q    Let me go back to that deposition again, though.

25   Page 46, Line 14, when I asked you, "Have you ever worked as a

FLORIDA PUBLIC SERVICE COMMISSION

1366

1   supervisor in a coal plant?"  And Line 16 where you tell me,

2   "No, I have not."

3             Did I read that correctly?

4        A    I have never been employed by a power company as a

5   supervisor in a coal plant, that's true.

6        Q    And you have never worked as an operator in a coal

7   plant, correct?

8        A    No, but I have worked as a person who directs

9   operators.

10        Q    Mr. Barsin, you can't say one way or another how CR4

11   and 5 will act when they burn coal with Btu values between

12   11,300 Btu per pound and below because you don't know what kind

13   of coal was burning the day you were there, correct?

14        A    I can say exactly how the predicted performance will

15   be for lower Btu coal.  Can I be with absolute divine

16   certainty, no.

17        Q    You have never observed Units 4 and 5 when the mills

18   have been flooded with coal, have you?

19        A    No, I have not.

20        Q    You have never operated the controls at CR4 and 5,

21   correct?

22        A    No, I have not.

23        Q    You have never operated the stacker/reclaimer at CR4

24   and 5, correct?

25        A    No, I have not.

FLORIDA PUBLIC SERVICE COMMISSION

1367

1        Q    You have never studied PEF's historical experience

2   with receiving train deliveries at CR, have you?

3        A    Who is PES (sic)?

4        Q    Progress Energy Florida and C-R, I'm sorry, is

5   Crystal River.  Progress Energy Florida, the defendant in this

6   case.

7        A    Oh, PEF.  No, I have never operated their railroad

8   facility.

9        Q    Sorry about the acronyms.  And you have never studied

10   PEF's historical experience with receiving barge deliveries at

11   Crystal River, have you?

12        A    No, I have not.

13        Q    You have never studied any rules or regulations as to

14   what kind of trains can come onto Crystal River because there

15   is a nuclear plant there, have you?

16        A    No, I have not.

17        Q    You have never studied any rules or regulations as to

18   what kind of barges can come onto Crystal River because there

19   is a nuclear plant there, have you?

20        A    No, I have not.

21        Q    You have never studied whether there are any physical

22   constraints regarding what kind of barges can come onto Crystal

23   River, have you?

24        A    No, I have not.

25        Q    You didn't have enough time to get a lot of detailed

FLORIDA PUBLIC SERVICE COMMISSION

1368

1   information regarding this case given the amount of time you

2   had after OPC retained you, correct?

3        A    Yes, that's correct.

4        Q    And OPC retained you February 8, 2007, correct?

5        A    That's correct.

6        Q    You began your work on February 20, 2007, correct?

7        A    Yes, sir.

8        Q    And you completed your work on March 6th, just about

9   two weeks, correct?

10        A    No, I'm still employed.

11        Q    Well, you completed your direct testimony, I'm sorry.

12        A    Yes, sir.

13        Q    Got me on that one.  A few more questions and I'm

14   almost done.

15             You take the position that Crystal River has a

16   redundant blending system, correct?

17        A    Yes, I do.

18        Q    And redundant means that if one part breaks you can

19   have a backup you can use, correct?

20        A    Yes, sir.

21        Q    Tell me if you agree or disagree with the following

22   statement, please.  I would not call the CR system a redundant

23   system if you were blending.  As it is being used now, feeding

24   only one coal, one quality coal, then it's redundant.  Do you

25   agree or disagree with that statement?

FLORIDA PUBLIC SERVICE COMMISSION

1369

1        A    It is a redundant system for feeding two coals and

2   designed to be such.

3        Q    Let me ask you that one more time.  Would you agree

4   or disagree with this statement.  I would not call the CR

5   system a redundant system if you were blending.  As it is being

6   used now, feeding only one coal, one quality coal, then it is

7   redundant.  Would you agree or disagree with that statement?

8        A    I disagree.

9        Q    Would it change your mind to learn that the statement

10   I just read was from Mr. Putman, your co-expert's deposition?

11        A    It would surprise me beyond all measure.

12        Q    Well, let me show you Page 26 of Mr. Putman.  "I

13   would not call that a redundant system if you were blending.

14   As it is being used now, feeding only one coal, one quality

15   coal, then it is redundant."

16        A    I believe it is redundant.

17        Q    You would agree with me that PRB coal back in the

18   1980s was a lousy coal, correct?

19        A    No, it was never a lousy coal.  It was an exciting

20   coal for people that had to reduce sulfur and didn't want to

21   install scrubbers.  And that's why so many people jumped on to

22   use Powder River Basin coal.

23        Q    Well, at Page 161 of your deposition, if I could draw

24   your attention to Line 16 and 17.

25        A    Well, let's get it in context.  That was 1971's PRB

FLORIDA PUBLIC SERVICE COMMISSION

1370

1   and we know that it has improved through 1978.  So, relative to

2   the '78, yes, the '71 PRB at the low Btu was a lousy coal.

3        Q    And that low Btu was 8200 Btus per pound, correct?

4        A    Yes, sir.

5        Q    And today it is 8800 Btus per pound, correct?

6        A    Yes, sir.

7        Q    And that's not significant, is it?

8        A    It depends, again.  To the heat input machine, to the

9   pulverizers, to the furnace a difference of 8 to 10 percent is

10   not considered significant.

11        Q    Right.  And just to reference Page 195 where I say,

12   "Well, I'm just trying to understand.  It is the difference

13   between 8200 Btu pound and 8800, is that significant in your

14   mind with respect to Btu value?"  And you say, "It is a

15   difference of less than 10 percent.  No.  It is interesting,

16   but not significant."

17             Did I read that properly?

18        A    Yes.  We almost said the same thing.

19             MR. BURNETT:  Thank you.  No further questions.

20             CHAIRMAN EDGAR:  Further questions from staff?  No

21   questions.

22             Commissioners, any questions?  No.

23             Mr. McGlothlin.

24             MR. McGLOTHLIN:  Commissioner Carter, I would simply

25   note that the division of labor among our witnesses, that this

FLORIDA PUBLIC SERVICE COMMISSION

1371

1   gentleman is the one who rebuts the company's position on

2   capital costs and O&M costs in case you wanted to inquire.  If

3   not, I'll go ahead with my redirect.

4                        REDIRECT EXAMINATION

5   BY MR. McGLOTHLIN:

6        Q    Mr. Barsin, I will refer you back to Exhibit JAB-9,

7   Page 7 of 7.

8             COMMISSIONER CARTER:  Excuse me, Madam Chairman.

9             CHAIRMAN EDGAR:  Commissioner Carter.

10             COMMISSIONER CARTER:  I did have one question, but I

11   think in your response you said that the significant costs

12   for -- if there were any upgrade, it would have been about $2

13   million total and maybe a million and a half a year.  Am I

14   close to what you said?

15             THE WITNESS:  Yes, Mr. Carter.

16             COMMISSIONER CARTER:  Thank you very much.

17   BY MR. McGLOTHLIN:

18        Q    Mr. Barsin, looking at JAB-9, Page 7 of 7.  When Mr.

19   Burnett was asking you about the subject of guarantees, I

20   believe you pointed him to an additional column that contained

21   the initials G-U-A-R, did you not?

22        A    Yes, sir, I did.

23        Q    Why did you point him to that particular reference?

24        A    Well, he was searching on the page for G-U-A-R, or

25   what he thinks means guarantees, and I pointed that out as a

FLORIDA PUBLIC SERVICE COMMISSION

1372

1   second place where he could find them, find it listed.  But in

2   that case, the Illinois fuel that that covers is not the

3   designed specified fuel, so that column couldn't be, by

4   definition, guaranteed.  So the word G-U-A-R is a simple

5   designator by the design engineer who filled out these sheets

6   as a load point.

7        Q    Again, with respect to Page 7 of 7, you referred Mr.

8   Burnett to this page when the topic of disclaimers was

9   discussed, and why did you refer him to this page?

10        A    Well, this page does not have a disclaimer.  In fact,

11   this has the threat of law if you loan it, or copy it, or loan

12   it, or give it to a competitor.  The disclaimer it has is quite

13   different on the left side, which would be considered, I

14   imagine, giving out secret information to a potential

15   competitor, so they're trying to protect this sheet that I look

16   upon as the guarantee commitment.

17        Q    In his earlier questions, Mr. Burnett asked you to

18   agree that PRB coal contains fewer Btus than other coals.  Do

19   you recall that?

20        A    Yes, sir.

21        Q    Was that fact known at the time Crystal River 4 and 5

22   were designed and built?

23        A    Yes, sir, it was, because the Btu level of the

24   contributor, the PRB contributor is clearly laid out on what I

25   term the guarantee performance summary sheet.

FLORIDA PUBLIC SERVICE COMMISSION

1373

1        Q    He asked you to agree that Powder River Basin coal

2   has more moisture than bituminous coal.  Do you recall that

3   question and answer?

4        A    Yes, sir.

5        Q    Was that fact known at the time Crystal River Units 4

6   and 5 were designed?

7        A    Yes, sir.

8        Q    And was it taken into account in any way?

9        A    Yes, sir.  The most obvious example of that is that

10   the primary air heater is oversized.  If you look at sizing for

11   the bituminous Illinois performance, and then you look at the

12   performance column for the Powder River Basin blend, you will

13   note that the air outlet temperature going to the pulverizers

14   is 100 degrees hotter for the Powder River blend case than for

15   the Illinois case.  The higher temperature is required to

16   evaporate the moisture in the higher Powder River Basin

17   50 percent contributor to the fuel.

18        Q    He asked you to agree that slagging and fouling of

19   boiler parts could effect megawatt output.  Do you recall that

20   question and answer?

21        A    Yes, sir.

22        Q    Was that fact known at the time Crystal River Units 4

23   and 5 were designed and built?

24        A    Absolutely.

25        Q    Were they taken into account in any way?

FLORIDA PUBLIC SERVICE COMMISSION

1374

1        A    Yes, sir.  As I did on my summary, the severe/severe

2   indexes were utilized, which is the most stringent index we

3   could use for predicted fouling and predicted slagging.  All

4   the design tools at our disposal were put into Crystal River 4

5   and 5.

6        Q    Mr. Burnett pointed you to some items in your exhibit

7   that changed as the project evolved toward the complete

8   contract document.  Do you recall that?

9        A    Yes, sir, I do.

10        Q    Did the specification regarding the client's

11   expectations as to the capabilities to produce continuous --

12   maximum continuous rating change at any point?

13        A    It never varied from their first RFP letter.

14        Q    Mr. Burnett referred you to the statement in which

15   you used the word PRB catastrophe.  Do you recall that?

16        A    Yes, sir.

17        Q    In what sense were you using the word catastrophe in

18   that statement?

19        A    Can someone refresh me and tell me where I used it so

20   I can get the context.

21        Q    If you don't recall, I'll move on.

22        A    I do not.

23        Q    Mr. Burnett asked you to agree that certain measures

24   are necessary to ensure safety in plants that burn Powder River

25   Basin coal or blends of Powder River Basin coal.  Do you recall

FLORIDA PUBLIC SERVICE COMMISSION

1375

1   that?

2        A    Yes, sir.

3        Q    Can you tell the Commissioners whether you have

4   incorporated expenditures designed to provide any safety means

5   that are needed in your own estimate of capital costs and O&M

6   costs that would be appropriate for the use of the blend at

7   Crystal River 4 and 5?

8        A    Yes, I can; and, yes, we did.  We included -- the

9   Black & Veatch people when it designed this plant did extensive

10   dust suppression engineering and material, extensive fire

11   prevention, and extensive water wash.  During my superficial

12   voyage of the plant, I noticed that there was no water wash

13   capability on the stacker/reclaimers, and that the tripper

14   floor, the place where the coal comes into the boilers and is

15   fed to the silos, are in drastic need of some upgrading and

16   some repair.  The dust collectors that had been put on by Black

17   & Veatch had been allowed to rot and corrode and were out of

18   service.  So we have put money into the fixing of those items

19   that were not initially designed into the system by Black &

20   Veatch, and those things that would reflect what has been

21   learned on housekeeping safety from the time of 1980 through

22   today.

23        Q    Mr. Burnett asked you to agree that more has been

24   learned about Powder River Basin coal since the 1980s.  Do you

25   recall that statement?

FLORIDA PUBLIC SERVICE COMMISSION

1376

1        A    Yes, sir, I do.

2        Q    In your opinion, have we learned anything about the

3   properties of Powder River Basin coal since 1980 that would

4   change your opinion regarding the ability of Crystal River 4

5   and 5 to burn a 50/50 blend successfully and at MCR

6   continuously?

7        A    No.  The mineral characteristics are within the

8   boundaries that describe and characterize something called

9   subbituminous coal.  The mineral content, the Btu content all

10   are within those boundaries.  What has been learned is when

11   people started to get careless in the '80s and not treat the

12   Powder River Basin coals with respect, and these are primarily

13   external to the boiler, these are transfer points on conveyor

14   belts and other external dust raising situations.

15        Q    Now, you were asked about a statement by Mr. Putman

16   during his deposition regarding the blending system.  Mr.

17   Burnett did not provide to you, did he, what Mr. Putman was

18   including in his definition of what constitutes a blending

19   system?

20        A    I'm sorry, I didn't understand you clearly.

21        Q    Let me rephrase.

22        A    Thank you.

23        Q    Will you tell the Commissioners what you regard to be

24   the blending system at Crystal River 4 and 5, the components of

25   the system, and why you believe, as defined by you, it is a

FLORIDA PUBLIC SERVICE COMMISSION

1377

1   redundant system?

2        A    Yes.  There were three -- thank you.  There were

3   three possibilities considered by the designers.  As initially

4   conceived, the Powder River Basin coal was always going to

5   arrive by barge, and the CAPP coal was always going to arrive

6   by train.  So the Powder River Basin coal, in those moments,

7   when it was being unloaded from the barge, would be sent

8   directly to fuel Units 4 and 5 on Conveyor Belt 31.

9             The stacker/reclaimer Number 2 would take the CAPP

10   coal from the active storage pile and with variable speed

11   motors be able to match the weight of the Powder River Basin

12   coal and vary the belt speeds so that an exact 50/50 weight

13   could be pushed, or could be placed on the conveyor belt,

14   bringing the mixture then to the crushers and then from the

15   crushers to the surge bin in the boilers.

16             In the event that the coal being unloaded was

17   railroad coal or bituminous coal, the same conveyor belt, 31,

18   would go north to Crystal River 4 and 5.  And when it arrived

19   at the transfer point for stacker/reclaimer Number 3,

20   stacker/reclaimer Number 3 would be taking Powder River Basin

21   coal from its storage pile onto the variable speed conveyor

22   belt with weight scales automatically looking at the weight

23   required to make a 50/50 match to the combined fuel and then it

24   would proceed on to the crusher.

25             In the event that there was no rail or no barge being

FLORIDA PUBLIC SERVICE COMMISSION

1378

1   unloaded, there was a third pile located between the stacker

2   and reclaimers Number 2 and Number 3.  That had been created

3   when fueling was not in progress, and that was already a

4   preblended pile of CAPP coal from the northern end of the

5   stationery pile and Powder River Basin coal from the south end

6   and pre-mixed.  That would be reclaimed by one of the

7   stacker/reclaimers and put into the fueling situation to the

8   crushers.

9             So the three possibilities were covered.  Automatic

10   scales were provided on each of the variable belts, and a

11   process controller in the coal handling would automatically

12   control the weight ratios to ensure that the mixture would

13   arrive at approximately 50/50 percent.

14             Did I confuse you or did I --

15        Q    Mr. Barsin, based upon your description of the

16   blending system, if Progress Energy Florida were to begin

17   utilizing the 50/50 blend that Public Counsel has advocated

18   they should have been using, do you see any reason to scrap

19   that system and spend tens of millions of dollars to replace

20   it?

21        A    No, no reason whatsoever.  And in 1979 dollars it was

22   an $18 million system, and there's no reason to scrap it.

23             MR. McGLOTHLIN:  No further questions.

24             CHAIRMAN EDGAR:  Okay.  We have exhibits.

25             MR. McGLOTHLIN:  I move Mr. Barsin's rebuttal

FLORIDA PUBLIC SERVICE COMMISSION

1379

1   exhibits.

2             CHAIRMAN EDGAR:  Exhibits 185 through 203 will be

3   entered into the record as evidence.

4             (Exhibits 185 through 203 admitted into evidence.)

5             CHAIRMAN EDGAR:  The witness can be excused.  Thank

6   you, Mr. Barsin.

7             THE WITNESS:  Thank you.

8             CHAIRMAN EDGAR:  Okay.  About an hour ago I had high

9   hopes that we might finish today, but, alas, it is not to be

10   so.

11             MR. BURNETT:  Madam Chairman, if I may?

12             CHAIRMAN EDGAR:  Mr. Burnett.

13             MR. BURNETT:  During this last bit I have tried to

14   eliminate a lot of my cross-examination for Mr. Putman on the

15   redundant material.  I know that we only have ten minutes maybe

16   with Mr. Bohrmann, we maybe have five to ten at most with Mr.

17   Smallwood, and I believe I could probably do Mr. Putman, with

18   witness cooperation, in twenty or less.  I just wanted to

19   advise Madam Chair.

20             CHAIRMAN EDGAR:  You beat me to it, because I was

21   going to ask you for an estimate, which I will not hold you to,

22   but an estimate, and so I appreciate that.

23             Realizing that estimates usually are under rather

24   than over, generally, not just you, Mr. Burnett, but generally.

25   And, quite frankly, I'm a little tired, so I'm thinking that we

FLORIDA PUBLIC SERVICE COMMISSION

1380

1   break here in a few minutes and come back tomorrow afternoon.

2             There is a prior scheduled meeting in this room

3   tomorrow morning.  Commissioners, I'm thinking 1:30, maybe.

4   Think about that for a moment and let me know.  And the

5   parties, too.  Let me know if that seems workable, and I would

6   think that in an hour to an hour and a half we could get

7   through.

8             MR. BURNETT:  Subject to no friendly cross and

9   witness cooperation, yes, ma'am.

10             CHAIRMAN EDGAR:  I fully expect that we will all

11   cooperate together.  And upon second thought, how about 2:00

12   o'clock?  Does that work, Commissioners, staff?  Two o'clock,

13   Commissioner?

14             MR. BURNETT:  Yes, ma'am.

15             MR. McGLOTHLIN:  We will be here.

16             CHAIRMAN EDGAR:  Okay.  Any other matters before we

17   break for the evening with the understanding that we will come

18   back at 2:00 o'clock tomorrow, and at that point take up

19   Witness Putman, then Smallwood, then Bohrmann, then any closing

20   housekeeping matters and then be done, I think.

21             Any other matters this evening with that

22   understanding?  No.  Okay.  Then thank you all.  We are on

23   break until 2:00 o'clock tomorrow afternoon, and we will see

24   you then.

25             (The hearing adjourned at 5:15 p.m.)

FLORIDA PUBLIC SERVICE COMMISSION

1381

1             (The transcript continues in sequence with

2   Volume 10.)

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

1382

1

2   STATE OF FLORIDA    )

3                                      :    CERTIFICATE OF REPORTER

4   COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Hearing Reporter Services

6   Section, FPSC Division of Commission Clerk, do hereby certify

that the foregoing proceeding was heard at the time and place

7   herein stated.

8             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

9   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

10   proceedings.

11             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

12   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

13   the action.

14             DATED THIS 16th day of April, 2007.

15

16             ___________________________________________

JANE FAUROT, RPR

17                   Official FPSC Hearings Reporter

FPSC Division of Commission Clerk

18                           (850) 413-6732

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION