| State of Florida |  | Public Service Commission Capital Circle Office Center ● 2540 Shumard Oak Boulevard Tallahassee, Florida 32399-0850 -M-E-M-O-R-A-N-D-U-M- |  |
| --- | --- | --- | --- |
| DATE: | May 10, 2007 |  |  |
| TO: | Commission Clerk (Cole) |  |  |
| FROM: | Division of Economic Regulation (Gardner, Bulecza-Banks, Marsh) Office of the General Counsel (Gervasi) |  |  |
| RE: | Docket No. 060504-GU – Request for approval of depreciation study for five-year period 2001 through 2005 by Sebring Gas System, Inc. |  |  |
| AGENDA: | 05/22/07 – Regular Agenda – Proposed Agency Action - Interested Persons May Participate |  |  |
| COMMISSIONERS ASSIGNED: |  |  | All Commissioners |
| PREHEARING OFFICER: |  |  | Carter |
| CRITICAL DATES: |  |  | None |
| SPECIAL INSTRUCTIONS: |  |  | None |
| FILE NAME AND LOCATION: |  |  | S:\PSC\ECR\WP\060504.RCM.DOC |

Case Background

Rule 25-7.045, F.A.C., requires natural gas companies to file a comprehensive depreciation study once every five years.  On July 21, 2006, Sebring Gas System, Inc. (Sebring or company) filed its 2006 depreciation study in compliance with this rule.  The company’s last depreciation review was filed June 25, 2001, with an effective date of January 1, 2002.  Sebring has 2005 operating revenues of $477,097, and fewer than 500 customers.  Staff has completed its review of Sebring’s depreciation study and presents its recommendation herein.

The Commission has jurisdiction pursuant to Sections 350.115 and 366.05, Florida Statutes.

Discussion of Issues

Issue 1:  Should the current depreciation rates for Sebring Gas System, Inc. be changed?

Recommendation:  Yes.  A review of the company’s plans and activities indicates a need for a revision to the currently prescribed depreciation rates.  (Marsh)

Staff Analysis:  Sebring’s last comprehensive depreciation study was filed on June 25, 2001.  By Order No. PSC-03-0260-PAA-GU, the Commission approved revised depreciation rates and components, effective January 1, 2002.  The company has filed this current study in accordance with Rule 25-7.045, F.A.C., which requires natural gas companies to file a comprehensive depreciation study at least once every five years from the submission date of the previously filed study.  A review of the company’s activity data indicates the need for revising depreciation rates.

Issue 2:  What should be the implementation date for revised depreciation rates?

Recommendation:  Staff recommends approval of the company’s proposed January 1, 2007, date of implementation for revised depreciation rates.  (Marsh)

Staff Analysis:  Rule 25-6.0436, F.A.C., requires that the data submitted in a depreciation study, including plant and reserve balances or company estimates, “shall be brought to the effective date of the proposed rates.”  The supporting data and calculations provided by Sebring match an implementation date of January 1, 2007.

Issue 3:  What are the appropriate depreciation rates?

Recommendation:  Staff’s recommended lives, net salvages, reserves, resultant depreciation rates, and recovery schedules are shown on Attachment A.  Attachment B shows an increase in annual expenses of approximately $9,373 based on January 1, 2007, investments.  (Marsh)

Staff Analysis:  Staff’s recommendations are the result of a comprehensive review of Sebring’s depreciation study.  Attachment A shows a comparison of the currently approved depreciation rate parameters and those staff is recommending as appropriate, with which the company agrees.  Attachment B shows a comparison of resultant expenses based on January 1, 2007, investments.

This filing was essentially a staff-assisted study.  The company provided raw data with regard to additions and retirements for the 2001 - 2006 period. Staff determined the average age and worked with the company in developing life and salvage values.  As a result of the review and analytical process, staff and Sebring agree on lives, net salvages, and resultant depreciation rates for all accounts.

Depreciation Parameters

The recommended changes in the depreciation life characteristics and the salvage parameters for the distribution and general plant accounts can be attributed mainly to two factors:  updated account ages to reflect activity since the last represcription, such as new investment, and changes in the associated reserve position.  The accounts with substantial changes are discussed below.

A staff surveillance audit was performed in 2002 in conjunction with Sebring’s 2001 depreciation study, and the company completed a rate case in 2004.  Due to the recent nature of the booked adjustments, sufficient time has not passed to determine whether changes in life parameters and rates are needed for many of the accounts.  Except as discussed below, changes are due to increased or decreased investment which results in a change in age.  The current lives and rates are reasonable when compared with industry averages.

Leasehold Improvements (Account 390)

This account was established in 1991 with a 40-year service life and a whole-life depreciation rate of 2.5%.  However, the account was not included in subsequent depreciation studies.  A staff audit adjustment was made as part of the 2004 rate case.  At that time, a rate of 3.3% was used to bring the reserve up to date.  In response to questions in the current case, the company advised staff that the account contains improvements to buildings that are not owned by the company.

The company booked an audit adjustment to add plant investment of $2,800, with a reserve balance of $1,039.  However, the company has not accrued annual depreciation. Staff determined that the reserve balance should be $1,309 as of December 31, 2006.  An adjustment to add $270, to correct the lack of accruals, is necessary to bring the reserve current as of  December 2006.  A curve is used to estimate the distribution of retirements. Using an R3 curve, an average service life of 40 years, and the current average age of 15.5 years, staff is recommending an average remaining life of 24.5 years and zero net salvage.

Transportation Equipment – Other (Account 392.3)

Due to the findings of the 2001 FPSC audit, the company should have removed $743.50. This adjustment was made in the rate case, but not in the depreciation study. The company was also informed to remove the investment of $1,030.  However, the journal entries were not completed until 2004.  During the intervening period, the company continued to book depreciation expense.  As a result, the company is carrying a $180 reserve balance.  An adjustment should be made to the company’s books to reduce the reserve to zero. Staff has made the appropriate changes for this study.

The account appears reasonable and in line with industry averages to continue use of an S5 curve for future additions, with a 20 year average service life, and zero net salvage.  A whole life rate of 5.0% is recommended for future additions.

Power Operated Equipment (Account 396)

In the 2001 study, it was noted that the investment in this account had been fully recovered.  A whole life rate was established for new equipment.  In 2005, the company added investment to the account, but calculated the depreciation on the entire investment, including the portion that had previously been fully depreciated.  The company also used the old rate of 2.1% instead of the whole life rate of 6.7%.  This resulted in errors to depreciation expense and to the reserve.  Using the half-year convention, the reserve balance for the new equipment should be $784.

The company advised staff that the old equipment is still in use.  Therefore, staff believes it is appropriate to place the new investment in a sub-account with a reserve of $784 as of January 1, 2007, with annual depreciation expense of $523.  All depreciation of the old equipment should cease.

Staff accepts the company’s continuation of the previously prescribed average service life of 15 years and zero net salvage which appears reasonable and in line with the regulated gas industry.

The account reserve positions shown on Attachment A reflect the corrective adjustments detailed above.

0Issue 4:  Should any corrective reserve allocations between accounts be made?

Recommendation:

Yes. Staff recommends the reserve allocations as shown below.  These allocations bring each account more in line with its theoretically correct reserve level.  (Gardner)

Staff Analysis:

As part of its review of the company’s depreciation study, staff reviewed the reserve position for each account.  When significant surpluses and deficits exist, corrective reserve transfers between accounts should be recovered as quickly as possible, unless such recovery prevents the company from earning a fair and reasonable return on its investments.  The effect of prior depreciation rates, average service lives, and net salvage projections results in surpluses and deficits that should be addressed.  The reserve transfers presented are based upon the company’s planning and expectation of future retirements, which may further impact several plant account balances.  As staff reviews the company’s annual status report of plant accounts, it will continue to monitor the company’s reserve position.  For this reason, staff recommends transferring these related reserve surpluses to help correct the existing reserve deficiencies in the accounts as shown below.

| RESERVE ALLOCATIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Accounts |  | Actual 01/01/2007 Reserve | Theoretical Reserve | Recommended Allocations | Restated 01/01/2007 Reserve |
| 376.1 | Mains-Steel | $119,112 | $124,967 | $ 5,855 | $124,967 |
| 376.2 | Mains-Plastic | 309,448 | 298,981 | (10,467) | 298,981 |
| 378.0 | Measuring & Regulated. Equip-Gen. Embedded | 2,709 | 5395 | 2,686 | 5,395 |
| 379.0 | Measuring & Regulated Equip-General New | 20,985 | 25,701 | 4,716 | 25,701 |
| 380.1 | Services-Steel | 336,908 | 339,302 | 2,394 | 339,302 |
| 380.2 | Services - Plastic | 103,577 | 56,828 | (22,348) | 81,229 |
| 381.0 | Meters | 79,015 | 90,162 | 11,147 | 90,162 |
| 382.0 | Meter Installations | 26,985 | 27,761 | 776 | 27,761 |
| 383.0 | House Regulators | 13,293 | 15,943 | 2,650 | 15,943 |
| 384.0 | House Regulator. Installations | 22,899 | 24,019 | 1,120 | 24,019 |
| 386.0 | Property on Customers Premises | 18,492 | 21,137 | 2,645 | 21,137 |
| 387.0 | Other Equipment | 3,809 | 2,509 | (1,300) | 2,509 |
| 391.1 | Office Equipment | 204 | 330 | 126 | 330 |
|  | Total | $1,057,436 | $1,033,035 | $0 | $1,057,436 |

Issue 5:  Should this docket be closed?

Recommendation:  Yes.  If no person whose substantial interests are affected by the proposed agency action files a protest within 21 days of the issuance of the order, this docket should be closed upon the issuance of a consummating order.  (Gervasi)

Staff Analysis:  If no person whose substantial interests are affected files a timely request for a hearing within 21 days, no further action will be required and this docket should be closed upon the issuance of a consummating order.

| SEBRING GAS SYSTEM, INC. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DOCKET NO. 060504-GU |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2006 DEPRECIATION STUDY |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ATTACHMENT A |  |  |  |  |  |  |  |  |  |  |  |  |  |
| COMPARISON OF RATES AND COMPONENTS |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | CURRENT |  |  |  |  |  | COMPANY/STAFF RECOMMENDED |  |  |  |  |  |
|  |  | AVERAGE | AVERAGE |  |  | REMAINING |  | AVERAGE | AVERAGE |  |  |  | REMAINING |
| ACCOUNT |  | SERVICE | REMAINING | NET | 1/1/2002 | LIFE |  | SERVICE | REMAINING | NET | 1/1/2007 |  | LIFE |
|  |  | LIFE | LIFE | SALVAGE | RESERVE | RATE |  | LIFE | LIFE | SALVAGE | RESERVE |  | RATE |
|  |  |  | (YRS.) | (%) | (%) | (%) |  |  | (YRS.) | (%) | (%) |  | (%) |
| DISTRIBUTION PLANT |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 376.1 - Mains - Steel | 45.0 | 17.1 | -30.0 | 93.49 | 2.1 |  | 45.0 | 14.9 | -30.0 | 86.79 | * | 2.9 |
|  | 376.2 - Mains - Plastic | 45.0 | 36.0 | -30.0 | 38.85 | 2.5 |  | 45.0 | 34.0 | -30.0 | 31.40 | * | 2.9 |
|  | 378 - Measuring and Regulating Ept. - Gen. - Embedded | 33.0 | 20.0 | -2.0 | 89.11 | 0.6 |  | 33.0 | 16.2 | -2.0 | 51.78 | * | 3.1 |
|  | 378.1 - Measuring and Regulating Ept. - Gen. - New | 33.0 | 33.0 | -2.0 | N/A | 3.1 |  | 33.0 | 33.0 | -2.0 | N/A |  | 3.1 |
|  | 379 - Measuring and Regulating Ept. - City Gate | 32.0 | 21.0 | -2.0 | 50.27 | 2.5 |  | 32.0 | 17.0 | -2.0 | 47.60 | * | 3.2 |
|  | 380.1 - Services - Steel | 40.0 | 12.8 | -30.0 | 110.91 | 1.5 |  | 40.0 | 10.5 | -30.0 | 95.35 | * | 3.3 |
|  | 380.2 - Services - Plastic | 40.0 | 28.0 | -30.0 | 49.78 | 2.9 |  | 40.0 | 33.4 | -30.0 | 29.15 | * | 3.0 |
|  | 381 - Meters | 25.0 | 11.5 | 0.0 | 61.78 | 3.3 |  | 25.0 | 9.3 | 0.0 | 62.80 | * | 4.0 |
|  | 382 - Meter Installations | 34.0 | 19.7 | -5.0 | 58.95 | 2.3 |  | 34.0 | 16.7 | -5.0 | 53.23 | * | 3.1 |
|  | 383 - House Regulators | 30.0 | 17.2 | 0.0 | 53.49 | 2.7 |  | 30.0 | 13.1 | 0.0 | 56.77 | * | 3.3 |
|  | 384 - House Regulator Installations | 34.0 | 17.8 | -3.0 | 69.53 | 1.9 |  | 34.0 | 14.8 | -3.0 | 58.60 | * | 3.0 |
|  | 386 - Property on Customers' Premises | 20.0 | 11.5 | 0.0 | 43.62 | 4.9 |  | 20.0 | 7.8 | 0.0 | 61.00 | * | 5.0 |
|  | 387 - Other Equipment | 25.0 | 13.3 | 0.0 | 47.74 | 3.9 |  | 25.0 | 15.0 | 0.0 | 40.00 | * | 4.0 |
| GENERAL PLANT |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 390.0 Leasehold Improvements | 40 | 29.5 | 0.0 | 30.25 | 3.3 |  | 40.0 | 24.5 | 0.0 | 46.75 | * | 2.2 |
|  | 391.1 - Office Furniture | 18 | 8.4 | 0.0 | 0.00 | 11.9 |  | 18.0 | 5.6 | 0.0 | 68.61 |  | 5.6 |
|  | 391.2 - Office Equipment | 12 | 7.2 | 0.0 | 73.76 | 3.6 |  | 12.0 | 4.6 | 0.0 | 84.95 | * | 3.3 |
|  | 392.1 - Transportation Trucks | 8 | 3.4 | 15.0 | 42.41 | 12.5 |  | 8.0 | 3.2 | 15.0 | 65.53 |  | 6.1 |
|  | 392.3 - Transportation - Other | 20 | 10.5 | 0.0 | 56.60 | 9.7 |  | 20.0 | 0.0 | 0.0 | N/A |  | 5.0 |
|  | 394 - Tools, Shop & Garage Equipment | 15 | 5.5 | 0.0 | 31.67 | 12.4 |  | 15.0 | 12.7 | 0.0 | 19.54 |  | 6.3 |
|  | 396 - Power Operated Equipment - Embedded | 15 | 0.0 | 0.0 | N/A | N/A |  | 15.0 | 0.0 | 0.0 | 100.00 |  | N/A |
|  | 396 - Power Operated Equipment - New | 15 | 15.0 | 0.0 | N/A | 6.7 |  | 15.0 | 13.5 | 0.0 | 10.05 |  | 6.7 |
|  | 397 - Communication Equipment | 12 | 7.5 | 0.0 | 29.84 | 9.4 |  | 12.0 | 3.0 | 0.0 | 76.85 |  | 7.7 |
| *Denotes restated reserves after transfers |  |  |  |  |  |  |  |  |  |  |  |  |  |

| SEBRING GAS SYSTEM, INC. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DOCKET NO. 060504-GU |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2006 DEPRECIATION STUDY |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ATTACHMENT B |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| COMPARISON OF EXPENSES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | CURRENT |  |  |  |  | STAFF SUGGESTED |  |  |  |  |
| ACCOUNT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | CHANGE |
|  |  |  | 1/1/2007 |  | 1/1/2007 |  |  |  |  |  |  |  |  | ESTIMATED |  | IN |
|  |  |  | INVESTMENT |  | RESERVE |  | RATE |  | EXPENSES |  |  | RATE |  | EXPENSES |  | EXPENSES |
| DISTRIBUTION PLANT |  |  | ($) |  | ($) |  | (%) |  | ($) |  |  | (%) |  | ($) |  | ($) |
|  | 376.1 - Mains - Steel |  | 143,988 |  | 124,967 | * | 2.1 |  | 3,024 |  |  | 2.9 |  | 4,176 |  | 1,152 |
|  | 376.2 - Mains - Plastic |  | 952,168 |  | 298,981 | * | 2.5 |  | 23,804 |  |  | 2.9 |  | 27,613 |  | 3,809 |
|  | 378 - Measuring and Regulating Ept. - Gen. - Embedded |  | 10,419 |  | 5,395 | * | 0.6 |  | 63 |  |  | 3.1 |  | 323 |  | 260 |
|  | 378.1 - Measuring and Regulating Ept. - Gen. - New |  | 0 |  | 0 |  | 3.1 |  | N/A |  |  | 3.1 |  | N/A |  | N/A |
|  | 379 - Measuring and Regulating Ept. - City Gate |  | 53,994 |  | 25,701 | * | 2.5 |  | 1,350 |  |  | 3.2 |  | 1,728 |  | 378 |
|  | 380.1 - Services - Steel |  | 355,849 |  | 339,302 | * | 1.5 |  | 5,338 |  |  | 3.3 |  | 11,743 |  | 6,405 |
|  | 380.2 - Services - Plastic |  | 287,298 |  | 83,749 | * | 2.9 |  | 8,332 |  |  | 3.0 |  | 8,619 |  | 287 |
|  | 381 - Meters |  | 143,570 |  | 90,162 | * | 3.3 |  | 4,738 |  |  | 4.0 |  | 5,743 |  | 1,005 |
|  | 382 - Meter Installations |  | 52,152 |  | 27,761 | * | 2.3 |  | 1,199 |  |  | 3.1 |  | 1,617 |  | 418 |
|  | 383 - House Regulators |  | 28,084 |  | 15,943 | * | 2.7 |  | 758 |  |  | 3.3 |  | 927 |  | 169 |
|  | 384 - House Regulator Installations |  | 40,988 |  | 24,019 | * | 1.9 |  | 779 |  |  | 3.0 |  | 1,230 |  | 451 |
|  | 386 - Property on Customers' Premises |  | 34,650 |  | 21,137 | * | 4.9 |  | 1,698 |  |  | 5.0 |  | 1,733 |  | 35 |
|  | 387 - Other Equipment |  | 6,273 |  | 2,509 | * | 3.9 |  | 245 |  |  | 4.0 |  | 251 |  | 6 |
|  | TOTAL DISTRIBUTION PLANT |  | 2,109,433 |  | 1,059,626 |  |  |  | 51,328 |  |  |  |  | 65,703 |  | 14,375 |
| GENERAL PLANT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 390.0 Leasehold Improvements |  | 2,800 |  | 1,309 | * | 3.3 |  | 92 |  |  | 2.2 |  | 62 |  | -30 |
|  | 391.1 - Office Furniture |  | 481 |  | 330 |  | 11.9 |  | 57 |  |  | 5.6 |  | 27 |  | -30 |
|  | 391.2 - Office Equipment |  | 19,801 |  | 16,820 | * | 3.6 |  | 713 |  |  | 3.3 |  | 653 |  | -60 |
|  | 392.1 - Transportation Trucks |  | 69,468 |  | 45,523 |  | 12.5 |  | 8,684 |  |  | 6.1 |  | 4,238 |  | -4,446 |
|  | 392.3 - Transportation - Other |  | 0 |  | 0 |  | 9.7 |  | 0 |  |  | 5 |  | 0 |  | 0 |
|  | 394 - Tools, Shop & Garage Equipment |  | 6,897 |  | 1,348 |  | 12.4 |  | 855 |  |  | 6.3 |  | 435 |  | -420 |
|  | 396 - Power Operated Equipment - Embedded |  | 1,444 |  | 1,444 |  | N/A |  | 0 |  |  | N/A |  | 0 |  | 0 |
|  | 396 - Power Operated Equipment - New |  | 7,799 |  | 784 |  | 6.7 |  | 523 |  |  | 6.7 |  | 523 |  | 0 |
|  | 397 - Communication Equipment |  | 972 |  | 747 |  | 9.4 |  | 91 |  |  | 7.7 |  | 75 |  | -16 |
|  | TOTAL GENERAL PROPERTY |  | 106,862 |  | 66,996 |  |  |  | 11,015 |  |  |  |  | 6,013 |  | -5,002 |
|  | TOTAL Distribution & General Plant |  | 2,216,295 |  | 1,126,622 |  |  |  | 62,343 |  |  |  |  | 71,716 |  | 9,373 |
|  | TOTAL PLANT |  | 2,216,295 |  | 1,126,622 |  |  |  | 62,343 |  |  |  |  | 71,716 |  | 9,373 |
| *Denotes restated reserves after transfers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Issued February 24, 2003, in Docket No. 010906-GU, In re: Request for approval of depreciation study for five-year period 1996 through 2000 by Sebring Gas System, Inc.