1

1                              BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. UNDOCKETED

3

4      In the Matter of

5    INTERCONNECTION OF RENEWABLE

GENERATORS.

6                                   /

7

8

9

10

11

12              ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

13                THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

14

15

16    PROCEEDINGS:        STAFF WORKSHOP

17

18    DATE:               Thursday, April 19, 2007

19

TIME:               Commenced at 9:30 a.m.

20

PLACE:              Betty Easley Conference Center

21                        Room 148

4075 Esplanade Way

22                        Tallahassee, Florida

23

TRANSCRIBED FROM

24    TAPE BY:            JANE FAUROT, RPR

Official Commission Reporter

25                        (850)413-6732

FLORIDA PUBLIC SERVICE COMMISSION

2

1                          P R O C E E D I N G S

2              MR. GRANIERE:  Hello.  Anybody who wants to come up

3    and talk is free to do so.  Anyone who doesn't want to talk is

4    free to sit back there.

5              MR. HARRIS:  Well, you can sit back there and then

6    you could talk later.

7              MR. GRANIERE:  Or you could talk later.  You can talk

8    now.  You can talk later.  Okay.

9              MR. HARRIS:  Again, a couple of interesting --

10    preliminary matters.  First, we do have a notice that was

11    issued by the Commission on March 22nd.  This is a staff

12    informational workshop on interconnection of renewable

13    generation, renewable generators.  Again, we're putting

14    together a sign-in sheet, and we'll pass it around, and it will

15    be back on that back table again.  So I would encourage

16    everyone to sign in.

17              It's being recorded.  We have a recorder going.  It's

18    going to be transcribed.  There will be a written transcript

19    within the next couple of weeks.  You can call me if you need a

20    copy of it before this matter gets docketed.  Once we actually

21    get a docket open on these issues, the transcript and any

22    comments or things that are received will go into that file,

23    and there will be a way you all can receive it.  In the

24    meantime, you can call either one of the staff, Judy Harlow,

25    Cayce Hinton, Bob Graniere or myself, Larry Harris, and we will

FLORIDA PUBLIC SERVICE COMMISSION

3

1    get you what we have.

2              Since it's being recorded, whenever you want to

3    speak, I'd ask that you introduce yourselves.  It makes it a

4    lot easier for the court reporters to be able to have a name to

5    type as opposed to trying to figure out whose voice it is.  I'm

6    not the best at that, but I try to remember.

7              With that, I'll go ahead and give it to Bob, and

8    we'll get started.  Thank you.

9              MR. GRANIERE:  All right.  This one, I think, it

10    being more technical in nature, I think it probably would be

11    useful to follow this agenda more closely than we did

12    yesterday, mainly because these issues, hopefully, are set up

13    in an order that makes them easier to handle.  But if this

14    particular setup is wrong in any way or you feel -- or anyone

15    at the table feels that another issue should be taken up first,

16    let me know, and we'll just change the order of the questions

17    around.  Otherwise, I'm going to try to just go down through

18    the questions and get the answers -- or at least the positions

19    and a little bit of discussion on what's going on here.

20              I think probably from the lessons that I learned from

21    yesterday's workshop here is that it would probably be useful

22    if a very short statement of the purpose is made so that

23    everyone understands exactly what I think we're trying to do

24    here.  What we're looking at is interconnection of PVs in

25    particular, but renewables in general.  That's number one.

FLORIDA PUBLIC SERVICE COMMISSION

4

1              Number two, we're looking at the fact that right now

2    the streamlined and expedited interconnection goes up to 10 kW,

3    and we're asking the question is there a bigger number than 10

4    kW where we could have streamlined and expedited

5    interconnection.  How big is that bigger number, and should it

6    be the same for all levels between and 10 and some larger

7    number, or should there be different criteria for different

8    tiers.

9              For example, let's just say for the sake of argument

10    that the bigger number is 50.  So we have a set of procedures

11    up to 10, perhaps.  And another set of procedures up to 25 --

12    between 11 and 25.  And then perhaps another set of procedures

13    between 26 and 50.  But in all instances, the purpose is to

14    streamline and expedite the interconnection.  So that's what

15    we're looking for.  And we're looking to see if this is

16    possible, and if it's possible, how quickly it can be done.

17    And should there be different rules and procedures for

18    different levels.  Is that understood?

19              Okay.  So starting that way, the first question here

20    is what is the Florida Public Service Commission's jurisdiction

21    with respect to interconnection to the host utility?  So,

22    obviously, we think we have jurisdiction.  Does anybody out

23    there think we don't?

24              MS. CLARK:  Bob, it's Susan.  I think it's important

25    to keep in mind sort of the distinctions between the Commission

FLORIDA PUBLIC SERVICE COMMISSION

5

1    and FERC.  Obviously, the Commission has jurisdiction over

2    retail service and FERC has jurisdiction over wholesale, but

3    the PSC does exercise jurisdiction over the interconnection of

4    QFs because of the delegation from FERC.  And pursuant to its

5    retail jurisdiction, we believe that they would have

6    jurisdiction over the interconnection made at the utility's

7    distribution level voltage.

8              MR. GRANIERE:  Okay.  All right.  So, basically, the

9    first question is, yes, we do have jurisdiction, you know,

10    subject to those statements.

11              MS. CLARK:  If you're talking about those types of

12    interconnections.

13              MR. GRANIERE:  Right.  So we don't necessarily have

14    jurisdiction if this renewable fails or passes the IPP test,

15    essentially.

16              MS. CLARK:  Well, I would give you this example.  As

17    I understand it, you would not have jurisdiction if the

18    interconnection isn't with a host utility, if it was where they

19    would be wheeling the power to a different utility.

20              MR. GRANIERE:  Okay.  Any opposing positions?  All

21    right.  Okay.  That was an easy one.

22              The second question is exactly how are these

23    interconnections for renewable energy providers accomplished

24    here in Florida?

25              I know each utility may have a slightly different

FLORIDA PUBLIC SERVICE COMMISSION

6

1    approach once we get past 10 kW.  So I don't know how we'll be

2    able to get information on this, unless Tom or Susan knows all

3    of the differences between the other utilities.  But just let

4    us know what you can tell us.  And then if we need more work

5    from each utility, we'll just send out a request.

6              MS. CLARK:  Bob, you're right.  There are

7    differences, but I think it can be -- basically, it has to be

8    pursuant to the interconnection rule, existing interconnection

9    rule for the QFs.  And it involves a customer application and

10    then a customer-funded interconnection study, and then the

11    negotiation and execution of the interconnection agreement.

12    And then the customer-funded interconnection facility to

13    accomplish connecting it to the grid.

14              MR. GRANIERE:  Ooh, that's a lot of stuff.  Can we

15    start that a little bit closer now?  I have to write this down.

16    there's a lot of stuff there.

17              Okay.  So the first one is there's an application,

18    and that's the -- and the customer puts that together.

19              MS. CLARK:  Right.  This is under your --

20              MR. GRANIERE:  Right.  And then, second, there's a

21    study, and the customer pays for it.  And then -- and that

22    study is for what?

23              MS. CLARK:  How to accomplish the interconnection of

24    that particular facility.  And I'm speaking of under the --

25              MR. HARRIS:  QF.

FLORIDA PUBLIC SERVICE COMMISSION

7

1              MS. CLARK:  -- QF rule, yes.

2              SPEAKER:  QF.

3              MS. CLARK:  This is under Rule 25-17.087.

4              MR. GRANIERE:  Okay.  QF rule.

5              MR. HARRIS:  And a different process, as you say,

6    applies to the 10 kW and smaller.

7              MR. GRANIERE:  Right.  And then after the study, then

8    the next thing that happens?

9              MS. CLARK:  Then there is the negotiation and

10    execution of the interconnection agreement, which is part of

11    the tariffs that are filed.

12              MR. GRANIERE:  So the execution/negotiation means

13    what?

14              MS. CLARK:  The terms of the interconnection

15    agreement.

16              MR. GRANIERE:  Okay.  So -- okay.  So, so far we have

17    an application, we had a study, now we've negotiated an

18    agreement.  Then what happens?

19              MS. CLARK:  And then the customer would do the -- a

20    funded interconnection facility would be constructed.

21              MR. GRANIERE:  Okay.  So then there's the

22    interconnection facility, and the customer pays for it.  Okay.

23    And that's under the QF.  And I guess this is a general

24    approach that applies to all of the utilities?

25              MS. CLARK:  Yes.  It's pursuant to your rules.

FLORIDA PUBLIC SERVICE COMMISSION

8

1              MR. GRANIERE:  Yeah.  Okay.  Sometimes I don't read

2    these things.  You know, it's easier just to ask questions.

3              MS. HARLOW:  Susan, could I ask a quick clarifying

4    question?  Is that how all facilities are handled, renewable

5    facilities that are over 10 kW by all the utilities at this

6    time?

7              MS. CLARK:  Yes.  That is my understanding.

8              MS. HARLOW:  Thank you.

9              MR. GRANIERE:  Okay.  About how long does this take?

10              MS. CLARK:  I don't have the answer to that question.

11    I would venture that it depends on the size of the facility to

12    be connected and the details of that interconnection.

13              MR. GRANIERE:  And I'm just going to ask for a guess

14    if anybody can help.  More than six months?

15              MR. SANDERS:  It could be more than six months.  This

16    is Tom Sanders from FPL.  It could be more than six months,

17    Bob.

18              MR. GRANIERE:  Okay.

19              MR. WALLACE:  This is Wayne Wallace.

20              Yeah, I could certainly agree with that.  Just

21    reading the documents and understanding all of that can take

22    quite a very long time.  Easily in excess of six months.

23              MR. GRANIERE:  Okay.  Now, with a 10 kW or less, how

24    long does it usually take?

25              MR. WALLACE:  This is Wayne Wallace again.  I can

FLORIDA PUBLIC SERVICE COMMISSION

9

1    answer that.  That's as quickly as less than an hour to fill

2    out the paperwork.  I mean, you have to have the electrical

3    contractor sign it -- excuse me, the electrical inspector sign

4    it, the solar or electrical contractor doing the work sign it,

5    and then it's forwarded to the utility.

6              MR. GRANIERE:  Okay.

7              MR. BROWN:  Bob, this is Mike Brown.  In addition to

8    what Wayne was saying, the actual filling out of the

9    application doesn't take much time, and it varies utility to

10    utility and also case by case as to how long it usually takes.

11    And the job -- depending on whether or not they need the

12    utility to come in and replace the meter or qualify the system

13    for another meter, dual meter.  It depends on how they're going

14    to meter it and what their expectations are.  But I've seen the

15    actual switching of the meter take as long as three months.

16    So, I mean, from application to the customer actually --

17    although his system is still interconnected, he's not

18    registering any energy because the meter has not been changed.

19              MR. GRANIERE:  Okay.  When you're interconnecting the

20    system, how long does that take?

21              MR. BROWN:  The physical work?

22              MR. GRANIERE:  Yeah.

23              MR. BROWN:  That's like the last stage of the

24    installation, and that phase of it is the final wiring, and

25    we're talking probably a few hours of a day's work.

FLORIDA PUBLIC SERVICE COMMISSION

10

1              MR. GRANIERE:  Half a day?

2              MR. BROWN:  Possibly.

3              MR. GRANIERE:  And then how many days leading up to

4    that day?

5              MR. BROWN:  It depends on the size of the system.

6    Under 10 kilowatts, if it's straight grid tie, single inverter,

7    no batteries, the whole job shouldn't take more than a couple

8    of days, two or three days.

9              MR. GRANIERE:  Two or three days.  Okay.

10              MR. BROWN:  On a regular standard installation.

11    There are other factors, physical limitations and things that

12    could extend the installation time.

13              MR. GRANIERE:  Okay.  So what you're -- so, I guess,

14    if I were to cheat a little bit here and say that everything

15    went quickly, application, installation, interconnection all

16    happened right away, someone could wait, in theory, up to two

17    and a half months to get the meter?

18              MR. BROWN:  Yes.  It has happened.

19              MR. GRANIERE:  Okay.

20              MR. JONES:  This is Jeremy Jones.  To further

21    differentiate between the under 10 kW and over 10 kW, in my

22    experience, when you go over 10 kW, although the paperwork and

23    application form between the various utilities might be very

24    similar, the resulting rate structures and fees would not

25    necessarily be similar.  So as of right now, there's a lot of

FLORIDA PUBLIC SERVICE COMMISSION

11

1    unknowns when you install over 10 kW in terms of how that's

2    going to affect your customer's bill, what the resulting rates

3    will be and fees and so forth.  Whereas, under 10 kW there

4    really isn't an effect there, so it's a strong benefit.

5              MS. HARLOW:  This is Judy.  Have you seen an

6    improvement in that for under 10 kW since the Commission's rule

7    was put in on small PVs?  That was probably about early 2003.

8              MR. JONES:  Yeah, absolutely, because that customer

9    knows that once they install that 10 kW or less system, their

10    rates will remain unchanged.  It's not net metered, but they're

11    still -- they're not going to have additional fees and charges

12    resulting from the installation of that system.  Whereas, there

13    could be ongoing monthly charges from the utility for a larger

14    system, as much -- you know, I think that some of them might be

15    60 or $70 a month, and then a fee per kilowatt of capacity of

16    the installation as well.  So when you go with a larger system

17    currently it can greatly affect the customer's bill in a

18    negative way.

19              MR. GRANIERE:  Now, I think I understand you saying

20    that any charge can affect someone's bill negatively.  That's

21    sort of like the way it is.  I think the question is, is the

22    charge needed or is it too high, not the mere fact that it's a

23    charge.  I mean, if the charge is needed, and it's set at the

24    right level or reasonable level, then it's there.  But simply

25    saying that there's a charge, you know, yeah, you've got to pay

FLORIDA PUBLIC SERVICE COMMISSION

12

1    for stuff.  And so we need to work that out.  And I think

2    that's in Section F there of this, financial and things like

3    that.  So, yes.  You know, I understand that, but, you know, we

4    just need to recognize that some charges are needed, and the

5    idea is not to have unnecessary charges, and the charges that

6    are necessary not to have them be excessive.  And so that's

7    what I think we're trying to understand here.

8              MR. WALLACE:  Bob, if I may.  This is Wayne Wallace.

9    I have a comment.

10              Presently some utilities in Florida here for systems

11    under 10 kW have a fee imposed to process the utility

12    interconnection agreement.  Is that in the PSC rules, if you

13    will?

14              MR. GRANIERE:  Don't know.  I don't know.

15              MS. CLARK:  Let me just -- let me look, and I think

16    it is in the rule.

17              MR. GRANIERE:  Okay.  Okay.  We're -- well, no, Susan

18    is looking it up, too, so --

19              MS. CLARK:  It may not be in the rule.  It may be in

20    a tariff that is filed indicating that there is a charge.

21              MR. GRANIERE:  Okay.  So it's possible that the fee

22    is in the tariff.  Okay.

23              MS. CLARK:  And those tariffs would be approved by

24    the Commission.

25              MR. GRANIERE:  Sure.

FLORIDA PUBLIC SERVICE COMMISSION

13

1              MS. CLARK:  Bob, it's just been pointed out to me

2    that it is in 25-6.065(2)(d), and it says, "The identification

3    of a reasonable charge for processing the application for

4    interconnection."

5              MR. GRANIERE:  Okay.

6              MS. CLARK:  I believe that's also consistent with

7    what FERC provides for is a fee for processing the application.

8              MR. GRANIERE:  Okay.  Let's move on, I guess, to the

9    next part.  Now that we have an outline of what occurs in

10    general over 10 kW, what do we essentially achieve by

11    streamlining this interconnection process?

12              MR. WALLACE:  Hey, Bob.  This is Wayne Wallace.  I

13    can help try to answer that.

14              What can be achieved by streamlining this is making a

15    better footprint for Floridians, helping Floridians lower their

16    utility bills, helping Floridians take advantage of the solar

17    rebate program that is presently in place.  Consumers,

18    businesses.  You know, presently the rebate program by the DEP,

19    if a corporation wants to go green and leave an environmental

20    footprint, they can do a PV system up to 25 kW.  Presently, the

21    simple utility interconnection agreement is up to 10 kW, with

22    all of the fees and obstacles and mountains of paperwork and up

23    to six months, in excess of six months of trying to get an

24    interconnection agreement, a customer cools down very quickly,

25    and they simply may not want to do a PV system.  So

FLORIDA PUBLIC SERVICE COMMISSION

14

1    streamlining it, making it simple, easier for the public, that

2    would be a good service.

3              MS. HARLOW:  Wayne, could you tell me how successful

4    you feel the interconnection process is today for under 10 kW

5    systems?

6              MR. WALLACE:  Yes.  Thank you.  Wayne Wallace.  I do

7    believe that that recent under 10 kW interconnection agreement

8    is very good, other than the fee that's imposed.  That does

9    detract a bit from it.  But it is, for all general purposes,

10    pretty good and very quick.

11              MS. HARLOW:  And how much is that fee, please?

12              MR. WALLACE:  I understand it's $95 through, I think,

13    one of the utilities.

14              MR. REEDY:  Bob Reedy with an additional comment

15    there, though.  And that is that we at the Solar Energy Center

16    had a lot a questions from homeowners outside of the service

17    territories of the investor-owned utilities.  And that again

18    speaks to the fragment nature of the regulation is -- only

19    applies to -- I don't know, maybe it's half the customers in

20    Florida.  I'm sure staff knows the breakout, but -- so that is

21    one of the -- it's very smooth, as Wayne said, in those areas,

22    and then it's pretty spotty everywhere else.  And, of course,

23    there are areas of Florida that are, particularly in the

24    cooperatives and kind of the rural areas are really growing

25    rapidly.  So that's something that could be addressed,

FLORIDA PUBLIC SERVICE COMMISSION

15

1    hopefully, this time around.

2              MR. GRANIERE:  Okay.  I have a question for

3    Mr. Wallace.  Several times you've sort of thrown out the

4    number 25 kW, and I don't think that applies to residential.

5    Am I right there?

6              MR. WALLACE:  Yeah, Bob.  Wayne Wallace.

7              I throw out that 25 kW number because it's a number

8    kind of set by their solar rebate program to maximize economies

9    and investment, and the numbers work the best with a 25 kW

10    system.

11              If a business, corporation wants to, again, maximize

12    their environmental footprint, the $4 watt rebate is maximized

13    from the DEP at $100,000.  That equates to a 25 kW system.  So

14    when a business or corporation approaches the solar industry,

15    they say we'd like to maximize this.  We want to do the right

16    thing.  We want to invest in a solar PV system.  We have done a

17    little research.  We see 25 kW is the size system that will,

18    you know, probably be good for us.  Oftentimes they want to do

19    a larger system.  So that's where that number comes from.

20              MR. GRANIERE:  Okay.  So then I would presume if the

21    rebate were to -- were to go up, then that number would go up?

22              MR. WALLACE:  Correct.

23              MR. GRANIERE:  And if the rebate were to go down,

24    that number would go down?

25              MR. WALLACE:  Typically, yes.  Although what we're

FLORIDA PUBLIC SERVICE COMMISSION

16

1    finding, again, is most companies like to do even larger

2    systems.

3              MR. GRANIERE:  Okay.  On that issue, how much -- when

4    you say most companies would like to do larger systems, let's

5    break it down a little bit.  When you say most companies, how

6    many are we talking about?

7              MR. WALLACE:  That I'm aware of, over a dozen.

8              MR. GRANIERE:  Okay.  And as for larger, how much is

9    bigger than 25?

10              MR. WALLACE:  Just over 100 kW that we've just

11    started with here in Florida.

12              MS. HARLOW:  This is Judy.  What kind of customer?

13    Could you characterize the customer that would put in a 100 kW

14    system?

15              MR. WALLACE:  Typically, a New York Stock Exchange

16    Company.  Companies like Target, Wal-Mart, Catalina Marketing,

17    that's a firm in Pinellas County.  Private European companies.

18    We have some German-based companies that are in, you know,

19    bakeries.  So public-owned, private-owned.  Typically, these

20    are companies that have electric bills in excess of $30,000 a

21    month.  So even a 100 kW PV system is very, very small relative

22    to their bill.

23              MR. GRANIERE:  Let me ask this question.  These

24    applications -- I mean, these potential customers that we're

25    talking about here, let us assume that they actually put in a

FLORIDA PUBLIC SERVICE COMMISSION

17

1    100 kW system.  Would they ever have an opportunity to sell

2    excess, net excess?

3              MR. WALLACE:  Potentially on a Sunday, a clear day

4    afternoon if the business is unoccupied.  But typically they

5    have their air conditioning load.  So to answer your question,

6    I would say almost 100 percent no.

7              MR. GRANIERE:  What do you think, Tom?

8              MR. SANDERS:  I really couldn't say how much they

9    would be using on a Sunday afternoon if no one was in the store

10    and it was only the air conditioning running.  But that would

11    be probably the optimum time for a solar output is the middle

12    of the summer, summer solstice, 1:00.

13              MR. GRANIERE:  So if I hear you right, what you're

14    saying is that it's possible that they would have stuff to sell

15    back on Saturday and Sunday, and maybe some hours of the day,

16    Monday through Friday?

17              MR. WALLACE:  If I may?  Wayne Wallace.  These are,

18    for an example, office buildings or facilities, again, with,

19    you know, some of these places are -- 30,000, $50,000 a month

20    electric bills.  Their air conditioning load alone running on

21    one day is quite incredible.  So I would virtually almost say

22    almost 100 percent no.  But it is a very, very remote possible

23    chance that they could have a credit, but it's almost

24    impossible, you know, as big as these facilities are.

25              MR. GRANIERE:  Okay.  If I understand what you're

FLORIDA PUBLIC SERVICE COMMISSION

18

1    saying, is that even if the building is unoccupied, no one is

2    working, all the lights are off, if the air conditioning is

3    running they will be using up everything?

4              MR. WALLACE:  Typically, yes.

5              MR. GRANIERE:  Okay.  Now, on these 100 kW systems,

6    what are the things that you have run into that you would like

7    to streamline?

8              MR. WALLACE:  Well, if I can answer that.  Wayne

9    Wallace.

10              Again, when we get the qualifying facility agreement

11    from the utility, again, I've seen one utility that, if my

12    recollection serves me correct, was over 100 pages.  I mean,

13    what I see here that you all have in your thing here is only,

14    you know, one, two -- one, two, three, four, five, six,

15    seven -- five, six pages.  I've seen another utility that has

16    in excess of 30 pages.  You know, there's fees involved.  We

17    don't know what the fees are.  It's very complex and very

18    complicated.

19              There's a lot of unknowns that we simply don't know.

20    Sometimes just to get those answers through the utility could

21    take a couple of weeks just to find the proper person to speak

22    to.  When we forward that document to our potential customer,

23    it can take them sometimes, you know, weeks just to review it.

24    And it's very gray, and there's a lot of questions, and it's

25    very complex and very complicated.

FLORIDA PUBLIC SERVICE COMMISSION

19

1              Our sales process is certainly not streamlined with

2    it at all.  So it makes it very complicated.  It's a roadblock

3    for the development of solar energy in Florida.

4              MR. GRANIERE:  Okay.  I think I understand what

5    you're saying, that it's long.  It takes time.  But, I mean,

6    isn't it true that there are certain things that you just have

7    to take time to do?  I mean, sometimes you just have to

8    negotiate a contract.  And sometimes you just have to do things

9    that are unique.  I guess what I'm trying to find out is what

10    is it that's common in these larger applications that say they

11    can -- they don't have to be treated on a case-by-case basis?

12              MR. JONES:  Bob, can I address that?  Jeremy Jones.

13              I think from the success of some other larger

14    interconnection programs, there's probably three items that the

15    industry would typically be looking for.  The first Wayne kind

16    of hit on, a fairly simple boilerplate application form,

17    because generally there aren't a lot of differences from one

18    system to another.  Allowing safety measures -- and I know

19    we're going to talk about some of the technical issues later,

20    but just as the bulletpoint, allowing UL 1741 (phonetic)

21    inverters to interconnect with a fairly straightforward

22    process, because they typically have the protection required

23    already built into that device.

24              And then a fee simple approach.  I don't think anyone

25    is necessarily opposed to some sort of a processing fee for,

FLORIDA PUBLIC SERVICE COMMISSION

20

1    you know, having a system interconnected, but not having

2    cost-prohibitive ongoing charges and so forth that would make

3    installing the system cost prohibitive.

4              MR. GRANIERE:  Okay.

5              MR. BROWN:  This is Michael Brown.  If I could add

6    something real quick.

7              MR. GRANIERE:  Sure.

8              MR. BROWN:  Just a suggestion.  Maybe the engineering

9    process could be opened on systems that come within 10 percent

10    of the actual electrical service for the facility.  Because,

11    see, the thing is, is if we're dealing with the size of a

12    system like Wayne was describing, a 100 kilowatt system would

13    be less than 10 percent of that load.

14              MR. GRANIERE:  Okay.

15              MR. BROWN:  So, you know, I mean, we're talking about

16    something that would not tax the system, or would not require

17    any safety issues, or modification to the line side.  But if we

18    come within 10 percent of the building's load requirement, then

19    we could possibly have some issues there.

20              MR. GRANIERE:  Okay.  So if I understand what you're

21    saying, you're saying that there is, in your mind, a percentage

22    out there where on-site generation does not represent a threat

23    to--

24              MR. BROWN:  Correct.

25              MR. GRANIERE:  -- the grid?

FLORIDA PUBLIC SERVICE COMMISSION

21

1              MR. BROWN:  Yes.

2              MR. GRANIERE:  But we don't have that number yet, but

3    that's your general position?

4              MR. BROWN:  Yes.

5              MR. GRANIERE:  Tom, what do you think of that?

6              MR. SANDERS:  That's a pretty good characterization

7    of the issue is that as long as the system can be expected to

8    shut down when it's isolated with its own load, then it's much

9    less of a safety threat, assuming everything works like it

10    should work.

11              MR. GRANIERE:  Okay.  Okay.  Anybody at the table,

12    tell me if I'm wrong when I sort of summarize this way.  It

13    says that large systems aren't necessarily bad as long as they

14    are part of a very large electricity user to begin with.

15              SPEAKER:  That's a good characterization, Bob.

16              MR. GRANIERE:  Okay.

17              MR. WALLACE:  Yes, Bob.  Wayne Wallace.  In fact,

18    it's really almost the same as a residential system.  If

19    somebody has 200 amps of service, we do a two, three, four,

20    five kW system for them.  Here's a commercial place that has

21    their own giant transformer, and they're, you know, 30 to

22    $50,000 a month electric bill.  It's kind of a relative size,

23    if you will.

24              MR. GRANIERE:  Okay.

25              MR. WALLACE:  So it's just -- the only difference is,

FLORIDA PUBLIC SERVICE COMMISSION

22

1    it's just a larger system.  Everything is being the same.  It's

2    installed, you know, it's IEEE, it's UL, it's NEC.

3              MR. GRANIERE:  Okay.

4              MR. JONES:  Bob, Jeremy Jones.  Real quick.  I think

5    the Connecticut program will allow up to -- and I can provide

6    the exact number.  I believe it's 90 percent of the building's

7    load.  And they will allow -- serve their simple

8    interconnection up to that level, and higher becomes a more

9    complicated issue.  But we could provide some examples of how

10    that's been handled.

11              MR. GRANIERE:  Okay.  Let me see if I heard you

12    right.  You're saying that if the system -- if the on-site

13    system serves nine-tenths of the building's load, there's no

14    safety issue?

15              MR. JONES:  I believe that's how their program is set

16    up.

17              MR. GRANIERE:  What do you think of that?

18              SPEAKER:  That seems too high to me.  There could be

19    many instances in that case where the building's load, just

20    because of facilities being off, would be less than the output

21    capability of the facility, the solar facility.

22              MR. JONES:  And in coordination with a net metering

23    policy, I don't see how that would be a risk to the grid

24    necessarily.  It would just mean that occasionally you may

25    export power, which you would then later consume through -- you

FLORIDA PUBLIC SERVICE COMMISSION

23

1    know, assuming that there were a net metering policy in place.

2              MR. GRANIERE:  Well, I guess we've got something we

3    could talk about here.  Because, you know, it seems like these

4    numbers are pretty big.  I mean, this is -- this is a fairly

5    large range from 10 percent to 90 percent.  It's kind of a big

6    range.

7              SPEAKER:  Again, I think that the goal was to -- that

8    a number somewhere like 90 percent would allow you to size a

9    system such that it might provide over the course of a year

10    nearly all of the energy that you need on site, but not

11    additional energy.

12              MS. CLARK:  Bob, this is Susan.  Just to be clear in

13    my own mind, I thought today we're talking about

14    interconnection and sort of separating that from the issue of

15    net metering.

16              MR. GRANIERE:  Right.  And that's why I'm confused.

17    You know, I understand the notion of the 90 percent, but what I

18    thought we're talking about here is that we have a system on

19    there that is going to provide most of the need.  It's a big

20    system.  In other words, it's a big electricity user, and is

21    there any special things that need to be taken care of on

22    interconnection precisely because it's a big system that serves

23    so much?  And I think the point you're making is that if it

24    goes down improperly or something that could be a problem.  Is

25    that's basically what's going on here?

FLORIDA PUBLIC SERVICE COMMISSION

24

1              SPEAKER:  Bob, the concern we have there is if it is

2    a big system, and it's using -- serving, essentially, a lot of

3    the customer's load, then when the customer's load is at a much

4    lower level, then it could be having a larger flow back to the

5    grid, which then could be a problem if there's a problem with

6    the grid.  In other words, if we open up the section of the

7    grid that serves this area, and you have a large system

8    connected that may not shut off automatically, then we have a

9    concern with that.

10              MR. GRANIERE:  Okay.  Okay.  I think I understand

11    now.

12              MR. JONES:  This is Jeremy Jones.

13              We would agree that the system, if it were that

14    large, would have to have safety and interconnection compliance

15    to ensure that it would not continue to operate in the event

16    that the grid were off.  And most of the industry equipment at

17    this point already has that inherent to the design.

18              MS. HARLOW:  This is Judy, and this is for the solar

19    guys.  I just want to get a feel for what the market is like

20    today.  Is it a common practice or is anyone putting in a

21    system that's 90 percent -- capable of handling 90 percent of

22    their load today, other than perhaps a small residential

23    customer?

24              MR. WALLACE:  This is Wayne Wallace.  I can help

25    answer that.  We don't see -- in fact, I don't know of any

FLORIDA PUBLIC SERVICE COMMISSION

25

1    commercial application in Florida, if you guys do, I don't

2    know, that serves up to 90 percent of the load.  Looking at a

3    large facility like that that we were mentioning earlier, the

4    30,000-plus-a-month customer, I mean, they would have to have a

5    10, 20, 30 million-dollar PV system, and the economics just

6    aren't there presently today.  So, again, a 100 kW system is a

7    very small percentage of -- you know, talking about these

8    30,000 and up monthly customers.  It's less than 10 percent

9    completely on their annual bill.

10              I think maybe in the Connecticut thing, I was

11    thinking about that, maybe that's an annual thing.  Because in

12    Connecticut in the winter months there is some, you know, solar

13    energy available.  It's very low, so maybe -- I don't know

14    maybe in the summer months that they might get 90 percent.  In

15    the winter months they might get one percent.  I don't know.

16              MR. HINTON:  This is Cayce Hinton.  I was curious

17    whether there is a threshold point where we can look to safety

18    as an issue as far as the amount of energy being put back into

19    the grid.  If we're talking about a PV system that's providing

20    90 percent of a customer's load and whether it's residential

21    and they've got a, you know, a five kW system on their house or

22    commercial, they've got a 100 kW.  Say the residential customer

23    goes on vacation one day, turns everything off, so everything

24    they're producing is going back to the grid.  When is it a

25    safety issue at that point?  Is it just as long as it's a five

FLORIDA PUBLIC SERVICE COMMISSION

26

1    kW system there's not really going to be a safety issue, but if

2    it's a 100 kW system there is a safety issue?  Is there some

3    threshold there that we can look to as a point of, you know,

4    we're going to be endangering the grid if that amount of energy

5    is allowed to go back?

6              MR. SANDERS:  This is Tom Sanders.  Well, currently

7    we have the 10 kW limit, which experience in the industry has

8    shown is acceptable for an application.  So, once again, we're

9    comfortable with that, and a larger system is just something we

10    just haven't had a lot of experience with.

11              MR. REEDY:  Bob Reedy with a comment.  As long as it

12    meets the very stringent design standards for anti-islanding,

13    there really can't be a safety issue concern.  The safety issue

14    is backfeed.  Up to the point of the system being disconnected

15    and a backfeed scenario developing, we're just talking about a

16    feeder that has less flow from the substation transformer out

17    to the customers.  So there's not any issue that you can have

18    regarding safety.  So it's a moot point unless there is an

19    island scenario.

20              Basically, the power lines are pretty dangerous to

21    touch, whether it's being backfed -- I mean, whether there's

22    flow from the customer or from the utility.  They're high

23    voltage and that's the safety issue.

24              MR. WALLACE:  This is Wayne Wallace.

25              I'd like to just comment, also, with what Bob said.

FLORIDA PUBLIC SERVICE COMMISSION

27

1    Our five kW inverters, 10 kW inverters and 125 kW inverters

2    have the same safety design features in them, anti-islanding.

3    They are UL approved.  Oftentimes a lot of these commercial

4    systems that we see throughout other places, unfortunately not

5    yet in Florida, they are multiple 42 kilowatt inverters that

6    are -- I mean, the safety is the safety, so if the -- I mean,

7    if it's a five kilowatt or 100 kilowatt, it's all the same.

8              MR. GRANIERE:  Okay.  I think we're -- I'm getting

9    lost in trying to understand this, is that there's this safety

10    issue that has to do with something happens in the network, and

11    because of what happens in the network, these systems have to

12    shut off automatically.  That's safety issue number one.

13    That's that islanding thing, right?

14              And then there is the other -- and then tell me if

15    I'm wrong here.  Is there another safety issues associated with

16    a large unit just selling into, just pushing back into the

17    distribution system when nothing is going wrong, it's just

18    pushing back in?

19              SPEAKER:  Nothing really wrong with that.

20              MR. GRANIERE:  Nothing wrong with that.  Okay.

21              Any more questions?  Okay.

22              We get to this somewhat more technical -- not

23    technical, more complicated idea.  Let's say, just as a

24    hypothetical, since the numbers we've been throwing out range

25    from 10, 25 and 100, that seems to just say that there's three

FLORIDA PUBLIC SERVICE COMMISSION

28

1    tiers here.  There's the zero to ten, there's the 11 -- well,

2    the 10.01 to 25, and the 25.01 to 100.  Okay.  That seems like

3    there's three natural tiers there.

4              The question that I have is that if we were to

5    streamline up to 100, and we were to find an expedited way up

6    to 100, should the streamlining and expedited procedures be the

7    same for all three of those tiers, or should there be

8    differences between the tiers?

9              MS. CLARK:  Bob, this is Susan.  I guess when you

10    describe these natural tiers, it seemed to me that -- well, why

11    are they natural?

12              MR. GRANIERE:  They're on -- well, first of all, it's

13    just a hypothetical, as I said to begin with.  And all I'm

14    using is the numbers that other people have thrown out.  So if

15    I were to justify my numbers, I would say the ten number is

16    justified because it's already there.

17              MS. CLARK:  Right.

18              MR. GRANIERE:  The 25 number is justified because it

19    takes maximum advantage of the current Florida rebate program.

20    And the 100 number is justified because there's a person here

21    saying, of course, not subject to cross-examination and

22    everything, but saying that there are these 12 or so customers

23    out there who are looking to do 100.  So natural in that sense,

24    just that sense.  Okay.  So it is a hypothetical.

25              MS. CLARK:  Okay.  Well, given that, let me just give

FLORIDA PUBLIC SERVICE COMMISSION

29

1    you a general answer to that.  The experience that the

2    utilities have with the 10 kW and lower shows that a

3    standardized process can work so long as the equipment to be

4    connected can be standardized.  We also believe that it's

5    possible to standardize or streamline the process for something

6    larger than the 10 kW as long as it can be done through a

7    qualified inverter.  But we would say that we need further

8    experience before we can determine what that size limit should

9    be in terms of the kilowatts.

10              MR. GRANIERE:  Okay.  Could that experience be

11    obtained through studies, or does it actually have to happen in

12    the field?

13              MR. WALLACE:  This is Wayne Wallace.  Maybe I could

14    add to that.  In California there are literally within the last

15    year dozens and dozens of systems installed in excess of 25,

16    50, 100 kW.  In fact, right on PG&E's system.  Of course, they

17    are the largest in the country that have systems

18    interconnected, PV systems.  So as far as the -- you know,

19    maybe the local utility -- or Florida utilities don't have

20    experience, but we can certainly help get that information to

21    the utilities in Florida to see what, you know, in California

22    they're doing, specifically PG&E, to say, look, here's a track

23    record.  Here are inverters.  Here are some solar program

24    managers at PG&E and other utilities in California that have

25    been doing these systems now for -- well, for seven years plus

FLORIDA PUBLIC SERVICE COMMISSION

30

1    almost, some of them.

2              MR. GRANIERE:  Well, I guess -- I understand that

3    things larger than 10 kW have been installed.  I understand

4    that.  I don't think we're talking about the fact whether they

5    can be --

6              (Tape change.)

7              MR. GRANIERE:  Of course they can be installed.  What

8    we're trying to find out here is that if they're installed

9    under a streamlined, expedited, standardized procedure, is

10    there any danger involved?  We've already established that

11    installing them under the current QF procedures do not create a

12    problem.  That's what was just said.  We're trying to find out

13    is that if we were to give up the QF procedures and go to

14    something that's more standardized, more expedited, more

15    streamlined, is it still just as good?  And then the question

16    becomes do we need laboratory experience to find out if that

17    works or can this only happen with field experience?

18              MS. HARLOW:  Tom, this is Judy.  I have a question

19    for Power and Light.  How large are the PV units that you guys

20    are putting in to comply with the requirements for your RIM

21    pricing program, and how far along are you with those systems

22    and would that help the utilities in gaining experience?  Even

23    though it's not an outside party installing those units, it

24    seems like there would be knowledge to be gained from putting

25    in your own systems that you're doing now.

FLORIDA PUBLIC SERVICE COMMISSION

31

1              MR. SANDERS:  Unfortunately, I'm not very familiar

2    with those particular installations, but every additional

3    installation that you make above 10 kW adds to the experience

4    level.  And as anybody that does a cursory evaluation of a

5    project can tell you, if they've done something similar in a

6    similar environment, it makes the study quicker and more

7    accurate.

8              MR. GRANIERE:  Okay.

9              MS. HARLOW:  I believe my recollection is that those

10    systems are 250 kW, but I'm not -- I'm not sure.

11              MR. REEDY:  Bob Reedy with a comment.  Well, actually

12    two comments.  Frequently, the larger systems are assembled

13    from a composite of smaller systems.  One of the nice things

14    about PV systems altogether is they're very modular.  You can

15    add a 10 kW block, and then another 10 kW block, and then

16    another 10 kW block.  And there are design reasons that favor,

17    instead of one large inverter, for instance, a 100 kW inverter,

18    that favor a series of smaller ones.  And generally that's the

19    trend is some blend of larger than you would see on a

20    residential installation, but not one massive set of inverters

21    and such.  So that's the first comment.

22              The second is systems eligible for the rebate in

23    Florida have to be certified and reviewed by FSEC under the

24    current regulation.  And we would propose that that certainly

25    could continue and do a lot to address the issue of safety and

FLORIDA PUBLIC SERVICE COMMISSION

32

1    compatibility with different codes and those issues.

2              MS. HARLOW:  This is Judy again.  Would FSEC have the

3    resources to inspect larger systems that were interconnected?

4              MR. REEDY:  We either can or will.  We're mandated to

5    do that, so that is our charge.  We currently do, because there

6    are not that many systems going in, but we might have to ramp

7    up -- we hope to be able to ramp up actually as growth occurs.

8              MR. WALLACE:  This is Wayne Wallace.  I'd like to

9    comment.  A couple of designs that we have already worked on

10    for systems larger of 100 kW, working with the solar module

11    manufacturers, the solar inverter manufacturers design from

12    wire size for modules all the way down to inverters and input

13    into the existing load centers the design review process to the

14    building departments.  You know, this is something that -- you

15    know, here we are licensed contractors, solar and electrical,

16    and doing everything to code, submitting designs, engineering

17    drawings, mechanical drawings to building department, the

18    design review at the building department alone can take two to

19    three to four weeks.

20              These systems are to code.  Safety is looked at.

21    These electrical engineers at all the building departments

22    throughout make sure our designs are proper, safe, and these

23    are installed the way they should be installed, just like

24    they're doing in California.  So to me they're just like small

25    systems, it's just they're larger.

FLORIDA PUBLIC SERVICE COMMISSION

33

1              MR. GRANIERE:  I think that's the central question,

2    are the larger ones just like small systems?  That's what we're

3    trying to get to.  Because if the larger ones are just like

4    small systems and expedited and streamlined works for small

5    systems, then you would think they would work for larger

6    systems.  But if they aren't just like small systems, then

7    there may be something different.  And we're sort of spinning

8    our wheels here on this one, because I'm not hearing a

9    definitive answer here.  Either these larger systems -- either

10    there's a position out here that the larger systems are not the

11    same as the small systems, or it is a position that they are

12    the same.  And I just need -- I mean, I'll be frank to say that

13    I'm not hearing an answer to that question by anybody.

14              MR. REEDY:  Bob Reedy.  The answer is yes, they're

15    the same.  It's a composite of smaller systems.

16              MS. HARLOW:  So is the concern then from the

17    standpoint of the percentage of the customer's load?  Because

18    earlier we had numbers thrown out about other states' rules,

19    and they have a criteria based on percentage of the customer's

20    loads.  And I'm new to the subject, so tell me why that --

21    bottom line, why would a regulator want to put that in?

22              MR. JONES:  I think the goal there was not a safety

23    concern necessarily, although you certainly want to make sure

24    that if you have 100 kW service, you're not putting 500

25    kilowatts of solar on it and potentially overloading that line.

FLORIDA PUBLIC SERVICE COMMISSION

34

1    So there is a safety concern in it, but they also just wanted

2    to make sure -- Jeremy Jones again -- that they're sizing the

3    system to use that energy on-site, not to be a generator.

4    They're not a utility, they're not a power plant, they're

5    trying to generate their own energy.  But there probably is an

6    inherent safety issue with making sure that the system is not

7    so big that it's producing too much power for the line coming

8    into that facility.

9              MR. GRANIERE:  Yes.

10              MR. POPE:  This is Bill Pope with Gulf Power Company.

11              I wanted to kind of clarify some things with regard

12    to the different sizes of systems and the standards.  The

13    standards that cover the inverter-based devices is IEEE 929,

14    and it has three distinct breakdowns of sizes.  And the zero to

15    10 kW, the distinction between it and the next bracket, which

16    is greater then 10 kW to 500 kW, is in the protection of

17    clearing times for the devices.  It's a little more lenient in

18    the zero to 10 kW.  It gets a little more quicker and faster in

19    the 10 kW to 500 kW.  So they really aren't the same, but we,

20    as the utilities, are not uncomfortable with that.  I think

21    what we need, and Tom Sanders referred to it, is a little more

22    experience with those systems.  And I think that, and I'll

23    speak for Gulf Power Company, that we, as the utility, are

24    willing to get with the solar people and look at the inverters

25    and see if we can find a way.  The issue is can we streamline

FLORIDA PUBLIC SERVICE COMMISSION

35

1    something.  I think that that's where we need to focus.

2              MR. GRANIERE:  Right.

3              MR. POPE:  And I just wanted to clarify that.

4              MS. HARLOW:  Mr. Pope, while you are here, yesterday

5    we heard that IEEE Standard 929 was superseded by -- I'm

6    looking at my notes, 1547.  Do you agree with that?  And this

7    is Judy.

8              MR. POPE:  This is Bill Pope again.

9              No, I really don't, because IEEE 929 specifically

10    deals with inverter-based devices, and it could be solar, it

11    could be windmills, it could be fuel cells.  But they focus on

12    the inverter itself as the device.  And it not only covers the

13    protection part of it, but also some things about wave forms

14    and harmonics that are different than IEEE 1547.  So they

15    somewhat overlap, but it has not been superseded, no.

16              MR. GRANIERE:  Okay.  And what does the 1547 -- how

17    does that differ?

18              MR. POPE:  It mainly deals with rotating-type devices

19    like your generators, your home generators, and things like

20    that.  And I've heard some references to UL 1747 -- 41, 1741,

21    and I may not have gotten the latest information, but I think

22    that UL is looking at larger than 10 kW devices, but I'm not

23    sure that they're actually putting their stamp on larger

24    devices.  Maybe you all could help me with getting some

25    information about that.

FLORIDA PUBLIC SERVICE COMMISSION

36

1              MR. GRANIERE:  And when you say larger than kW, you

2    mean --

3              MR. POPE:  Larger than 10 kW.

4              MR. GRANIERE:  What's larger?  I guess I'm losing --

5    what's the device you're talking about?

6              MR. POPE:  The inverter.  The inverter --

7              MR. GRANIERE:  The inverter.  Okay.

8              MR. POPE:  The output capability of the inverters

9    larger than 10 kW.

10              MR. GRANIERE:  Okay.

11              MR. WALLACE:  This is Wayne Wallace.  We're happy to

12    forward as much information as we can to help the communication

13    to streamline this.  Thank you.

14              MR. GRANIERE:  Okay.  Great.  So I guess what this

15    says is that the idea is that there could be like field pilots

16    on this?  Is that a general -- does that feel fair to say that

17    there would be like -- one of the things we could do here is

18    field pilots on streamlining?

19              MR. POPE:  This is Bill Pope again.  I believe so.  I

20    think that we can provide some written comments later as to --

21              MR. GRANIERE:  Okay.

22              MR. POPE:  -- where we kind of get -- go there.

23              MR. GRANIERE:  Okay.  Great.  Thank you.

24              MR. BROWN:  Just one addition.  This is Michael

25    Brown.  All the cut sheets for the larger inverters that would

FLORIDA PUBLIC SERVICE COMMISSION

37

1    be used in a commercial system, they're compliant to IEEE 519,

2    929, 1547 and UL 1741, and they're stated as such.  And I only

3    have one copy of these cut sheets with me today, and I'm

4    leaving at lunch.  So, like Wayne said, if you get me your

5    information, or Wayne, or even Jeremy, we all have -- we all

6    have access to this information.

7              MR. GRANIERE:  Can we get that, and we'll make a copy

8    and give you back your one copy.

9              MR. JONES:  Jeremy Jones.  And the UL 1741 mark is

10    being applied to all range -- and I know that you were just

11    touching on that, but there are 500 kilowatt inverters that are

12    UL 1741 approved and stamped (phonetic) as such.

13              MR. BROWN:  And pretty much we hit on this

14    yesterday -- this is Michael Brown again -- is that the

15    industry is overengineering everything now.  And pretty much if

16    you go in and buy the smallest grid tie inverter that you can

17    find, it's going to be compliant to all these issues.  And it's

18    just because the industry is expecting people to build on these

19    systems.

20              MR. GRANIERE:  Well, you know, I don't have a problem

21    with something that's safer, more safer, more safe, I guess,

22    rather than less safe, I mean.  So, I personally don't have a

23    problem with that.  Maybe I'm wrong, but, you know, I've seen

24    situations where you literally do have hot wires lying on the

25    ground connected to those big yellow machines with unskilled

FLORIDA PUBLIC SERVICE COMMISSION

38

1    people taking power off of them.  So, yes, you know, I would

2    like to see a little more safety rather than a little less

3    safety.  So overengineering for me is not a bad word, but

4    that's just me.

5              SPEAKER:  I agree.

6              MR. REEDY:  Bob Reedy.  And as was said, the rotating

7    machines are really a big concern, because they often have

8    the -- there are a lot of factors that go into play when you

9    have a rotating machine driven by an engine, for instance.  And

10    it's our observation, though, that inverter-based systems, no

11    matter how large they are, are incredibly safe and well

12    situated to feed into the grid.  So we'd be happy to provide

13    all the technical assistance we can in that area, and it

14    wouldn't be coming originally from FSEC.  We can just arrange

15    to be sure that national and international projects and studies

16    are available for that.

17              MR. GRANIERE:  Great.  I think the next session is

18    labeled as participant benefits.  And I guess we could either

19    do this really quickly, and if we can, we could do it before

20    the break.  But if we can't, then we perhaps should take a

21    break now.  But the question that's just being put forth is let

22    us assume that we actually do streamline these procedures, what

23    benefits do you guys get and what benefits does the utility

24    get?  And if we could answer those quickly now, we could take

25    care of this section right now and then take a break.  But if

FLORIDA PUBLIC SERVICE COMMISSION

39

1    we can't, then maybe we should take a break and come back.

2              MR. BROWN:  This is Michael Brown.  I think that

3    anytime you can streamline stuff and offer better service to

4    the public, you're promoting goodwill, everybody is happier.

5    The second that you gum up the works for anybody or delay

6    things, everybody gets upset.  It's not just a convenience

7    factor, though.  You do have some issues about somebody, say,

8    they invest all their money on the front end, and everything,

9    and there's not a set time frame that they can expect things to

10    be done on the utility side.  Then they're up in the air, and

11    there is confusion.  And they could have a viable system that's

12    100 percent compliant, it has passed inspections and everything

13    else, and yet they can't intertie it, and they can't utilize it

14    for an undefined period of time.  So streamlining is -- it's

15    good customer service.

16              MR. GRANIERE:  Okay.  Does streamlining increase or

17    decrease your costs?

18              MR. BROWN:  It increases the costs because you end up

19    working a lot more with the customer, and also working with the

20    utility.  I mean, if a customer calls up and they say I have an

21    issue, they've put forth a substantial investment, you can't

22    just say, well, just wait.  Wait.  You have to take your time

23    out and go and talk to the utility, too, and make nice with

24    everybody.  So it's a time consumer is what it is.  Not having

25    it streamlined actually adds work to the contractor or the

FLORIDA PUBLIC SERVICE COMMISSION

40

1    retailer.

2              MR. GRANIERE:  So streamlining would reduce your

3    costs, not increase them?

4              MR. BROWN:  Yes.

5              MR. GRANIERE:  Okay.

6              MR. WALLACE:  This is Wayne Wallace.

7              If I can add, streamlining this interconnection

8    agreement above 10 kW to whatever it is, 100, or 200, or

9    whatever, definitely helps the public, specifically

10    corporations, businesses that like to do solar.  It helps them

11    expedite their goals to leave an environmental footprint.  It

12    helps them take advantage of the Department of Environmental

13    Protection rebate.  I believe it helps the utility with their

14    peak demands, because solar throughout the day is, you know,

15    helping shave off some of that.

16              MR. GRANIERE:  You know, I understand that, but

17    that's actually putting the system in.  What I'm talking about

18    here is what benefits do you get by streamlining it.  So are

19    you saying that streamlining these procedures will get you more

20    customers so that you could put more of these things in the

21    ground, is that what you're saying?

22              MR. WALLACE:  Simply, yes.

23              MR. GRANIERE:  Okay.  Thank you.

24              Utilities?

25              MS. CLARK:  Bob, this is Susan Clark.

FLORIDA PUBLIC SERVICE COMMISSION

41

1              Yes, I think the utilities likewise see benefits in

2    standardizing the process in terms of the contract terms and

3    conditions, the physical interconnection process itself, the

4    billing procedures, and any other activity that is repetitive

5    that can be -- if you have done it before, it's easier to do

6    and accomplish on a repeat basis if it is standardized.

7              MR. GRANIERE:  Okay. So we're looking here, saying

8    the potential benefits are on the overhead side, the billing

9    and all that other stuff, and the administrative side, and

10    then, perhaps, some on the actual work side, you know, we

11    actually go and do the physical interconnection.  Okay.  Great.

12              Oh.  I was just about to go on a break.  No, that's

13    okay.  I'm only kidding.

14              MS. SZARO:  Gosh, you know how to make a girl feel

15    important.  Just from the municipal utilities' prospective --

16    Jennifer Szaro -- we feel that streamlining the process would

17    really give the municipal utilities a great deal of assistance

18    in following some guidelines for systems of different sizes.

19              Right now I'm rewriting our interconnection

20    standards, and I'm having a heck of a time, because we don't

21    know what to do with the larger systems in the two megawatt to

22    20 megawatt range.  We need some clarity on that.  We need some

23    clarity on systems that are three-phase.

24              Do we keep those under the simplified interconnection

25    or, you know, do we bump those up to a different level?  So

FLORIDA PUBLIC SERVICE COMMISSION

42

1    right now we have our interconnection standards set for 20 kW

2    and smaller under one tier, and then it goes up after 20 kW.

3    We're looking at changing that to 100 kW, and we would really

4    love some guidance from the Public Service Commission on

5    appropriate standards for the different sized systems.  So we

6    would like one standard.  That way if a vendor is doing

7    business in several different territories, they can all kind of

8    know what to expect.  It also saves us money on our legal

9    staff, so --

10              MR. GRANIERE:  Okay.  Okay.  Thank you.  Okay.

11    Great.  How about a ten or fifteen-minute break?

12              (Recess.)

13              MR. GRANIERE:  Okay.  Thank you for returning.  And

14    we have another speaker here who would like to sort of give his

15    insights on the difference between 10 kW and 100 kW units.

16    This is Mr. Cowart from the City of Tallahassee Utilities.

17              MR. COWART:  Thank you.  Yes.  This is Ben Cowart,

18    City of Tallahassee.

19              And I'll have to preface my statement by saying that

20    I'm just a dumb old mechanical engineer and not an electrical

21    distribution engineer.  But it seems like I got lost in the

22    discussion on the difference between a 10 kW and a 100 kW

23    system on the system.

24              And I think the issue that needs to be discussed or

25    at least needs to be aware of is that when you design your

FLORIDA PUBLIC SERVICE COMMISSION

43

1    distribution system for the users and the load that's there,

2    you do that to serve 100 percent of that.  And you start

3    taking, whether it's 10 kWs off or 100 kWs off, and your system

4    then, when you go to look at adding that next, say, big

5    commercial unit on there, you look and see, well, my system is

6    not overloaded, I can handle that.

7              You add that next load to the system, and now say the

8    100 kW system goes off-line.  That host is now pulling their

9    full 100 percent of their power needs, that could get into a,

10    you know, low voltage situation that I think gives -- to me the

11    gist of the question of what is the safety, the safety is not

12    in the inverter or, you know, what comes with the system.

13    Sure.  You don't want to, you know, shock anybody on a -- you

14    know, become an island.  But the system is if the host has to

15    start relying on the utility for 100 percent of their power

16    needs, what is that going to do to the system as a whole?  Is

17    that going to be browns, you know, low voltage situations.

18              And I think the issue that I was trying to reconcile

19    through the safety is that, the protection of the distribution

20    system for that circuit.  And if you get too many on there, and

21    you're relying on those systems to work, when they are not

22    working, you know, what's the effect of that.

23              I appreciate the time.

24              MR. GRANIERE:  Anybody care to respond?  I think what

25    I'm hearing is the situation was you have this user who

FLORIDA PUBLIC SERVICE COMMISSION

44

1    apparently is important to this part of the distribution

2    system.  What happens if that person were to go off line

3    unexpectedly?  Would that hurt something, I guess, is what I'm

4    hearing.  Because what I'm hearing is the situation that says I

5    have -- I am so close to my limits that I cannot tolerate any

6    unexpected outcome, which generally we can tolerate unexpected

7    outcomes because we have things called reserves, and things

8    like that.  So the situation that I'm hearing here is that

9    there's not enough reserves to take care of an unexpected

10    outcome where the unexpected outcome is a customer going

11    offline who is normally a self-generator and now asks for power

12    from the utility.

13              MR. COWART:  Or a partial.  It doesn't have to be a

14    100 percent self-generator, but just a partial.  If their solar

15    system goes off line, what's the effects to that distribution

16    system?

17              MR. GRANIERE:  Yeah.  So, basically, here's --

18    basically, the issue that I hear being raised is not that the

19    system has a problem --

20              (Tape change.)

21              MR. GRANIERE:  -- on its own, what does the system

22    do?

23              MS. CLARK:  Bob, I understood his point to be that

24    you could have low voltage problems in a discreet distribution

25    area depending on what happens to an on-site generation where

FLORIDA PUBLIC SERVICE COMMISSION

45

1    you design the system to meet the load with some expectation

2    that that load is going to be met on-site.  And then when it's

3    not, the distribution is not there.

4              MR. GRANIERE:  Okay.

5              MS. CLARK:  Or it's not adequate.  But Tom has a

6    better explanation, and it's a different one, I think.

7              MR. GRANIERE:  Uh-huh.  I just hope it doesn't

8    matter.  I mean, moving right along now.

9              MR. SANDERS:  I hope we can continue to serve the

10    load.  This is Tom Sanders.

11              I know that's one of the provisions of the current

12    rule is that no one is allowed to connect without us giving

13    them written notice that it's okay.  And when we give them an

14    okay, then that implies that we know they are there and we

15    should plan our system accordingly so that when they're not

16    there, we can still serve all the load, and that's also where

17    the standby service rate comes from.

18              MR. GRANIERE:  (Inaudible.)

19              MR. SANDERS:  Someone has got to pay for that.

20              MR. GRANIERE:  Absolutely.

21              MR. SANDERS:  So that's it.

22              MR. GRANIERE:  Okay.  Okay.  But that is generally

23    the idea.  And that is the support for a standby charge.  The

24    support for the standby charge is that knowledge of their

25    existence requires planning for their absence is essentially

FLORIDA PUBLIC SERVICE COMMISSION

46

1    what happens.  Am I right?

2              MS. CLARK:  Yes.

3              MR. GRANIERE:  Okay.

4              MR. JONES:  Jeremy Jones.

5              I'd like to question -- the standby charge, I'm

6    curious if it is necessary, because typically a PV system will

7    have a very limited effect on a customer's demand charge.  So

8    when you look at a commercial customer, because of the method

9    for calculating demand charges, it's usually done over, you

10    know, highest demand over a fairly small interval.  So they're

11    typically still going to be paying a demand charge very similar

12    to what they paid before they started operating a PV system.

13    And my question, I guess, is would that not cover the capacity

14    requirements that the utility needs to have on standby?

15              MS. CLARK:  Bob, when you talk about capacity, are

16    you talking about generating capacity or are you talking about

17    the capacity of the distribution system?

18              MR. JONES:  Well, the customer's actual demand that

19    the utility is charging to them, the kilowatt measurement.

20    That demand measurement is unlikely to be reduced very much as

21    a result of the resource.

22              MS. CLARK:  You know, Bob, I'm going to venture into

23    an area that I'm -- you know, it's something that I understand

24    at the time when I'm working on something that's rate related

25    and when I'm not, it's less clear to me.  But there is a

FLORIDA PUBLIC SERVICE COMMISSION

47

1    consideration of demand on the transmission and distribution

2    system that is considered in rates.  So you have a demand

3    factor in that type of facility, even though it's fixed and

4    does not change -- that particular facility does not change in

5    output.  You have to size it to meet the demand, and you

6    incorporate that in the different charges you charge to

7    different rate classes.  And then, of course, you have a demand

8    charge that's related to the generation.

9              MR. GRANIERE:  Okay.

10              MS. CLARK:  I guess what I want to say is that it's a

11    complex analysis to determine the cost of service and to

12    determine the cost of service that is appropriate to use when

13    developing your standby rates.

14              MR. GRANIERE:  Sure.  Let me see if this makes sense

15    from what I heard so far.  It says that the presence of these

16    people is recognized up front in the planning process.  Is that

17    correct?  Okay.  And since it's recognized up front in the

18    planning process, there has been investment made in

19    anticipation of how they need to sell them.  Is that correct?

20              MS. CLARK:  Yes.

21              MR. GRANIERE:  Sell to them.  Then what happens is

22    that when the base rate is calculated, I presume that

23    additional investment to serve these customers is excluded from

24    the base rate and somehow captured in the standby rate.

25    Because if it's not excluded from the base rate, then it has

FLORIDA PUBLIC SERVICE COMMISSION

48

1    already been captured.

2              MS. CLARK:  You know, I think you're mixing terms

3    that you can't mix, base rates and standby rates, because I

4    think standby rates are a base rate.

5              MR. GRANIERE:  Okay.  That's okay.  So, once again, I

6    need to get --

7              MS. CLARK:  As opposed to a fuel or a conservation

8    cost-recovery charge, and that sort of thing.

9              MR. GRANIERE:  Okay.  Let me try it this way.  We

10    have all of the -- we have all of the infrastructure costs in a

11    pile.  And those infrastructure costs include this investment

12    in anticipation of serving these customers.  And that's one big

13    pile of money.

14              Now, we are going to take that pile of money and

15    we're going to split it up into different services.  And some

16    of those services are going to be residential services, some of

17    those services are going to be commercial, some of those

18    services are going to be industrial, and some of those services

19    we'll call special.  Special being backup and standby.  Okay.

20              So what I'm thinking then is that whatever goes into

21    recovery from standby, from the standby people, are not being

22    recovered from the charges to non-standby people, which means

23    that if you never charge a standby rate, ever, for the whole

24    year, you've basically come up short.

25              MS. CLARK:  By the way you've framed your question,

FLORIDA PUBLIC SERVICE COMMISSION

49

1    you infer that one month you might be on a standby rate,

2    another month you might be on a regular -- a class of service

3    rate, not a standby rate.  That's not the way it works.  You

4    get on a rate, and that's the rate that applies.

5              MR. GRANIERE:  Aha.  Okay.  Now -- okay.  The light

6    just went out over my head.  What you're saying now is that the

7    rate class for the PV customer is not residential, but it's

8    standby.

9              MR. ASHBURN:  You dragged me up here, Bob.

10              MR. GRANIERE:  I dragged you up here.  Sooner or

11    later I knew you would get up here.

12              MR. ASHBURN:  This is Bill Ashburn.

13              We're talking cost of service and rates, I'm here for

14    standby.  And for the IOUs -- I don't know how the munies, the

15    co-ops work -- for the IOUs, the cost of service is that the

16    standby stays with the class of service that it starts with.

17    Okay.  So when you talk about base rates, all the costs just go

18    in the base rates.  Okay.  There's no separate other group for

19    standby costs.  They're all kept there.

20              Now, what happens is in a rate design we create a

21    standby rate within the same class of service, and we separate

22    customers who have generation and look at them from two

23    perspectives.  One is supplemental service, which is when they

24    buy from us under normal circumstances, and standby service.

25              MR. GRANIERE:  Okay.

FLORIDA PUBLIC SERVICE COMMISSION

50

1              MR. ASHBURN:  Okay.  It's all in the same tariff.

2              MR. GRANIERE:  Okay.

3              MR. ASHBURN:  The supplemental service is priced

4    exactly the same way as service when they don't have

5    generation.

6              MR. GRANIERE:  Okay.  So like they're a residential

7    customer?  Yeah.

8              MR. ASHBURN:  If they're a commercial or a

9    residential customer, the price is exactly the same if they had

10    no generation.

11              MR. GRANIERE:  Okay.

12              MR. ASHBURN:  And that supplemental, the amount of

13    load that's considered supplemental and the amount of load

14    that's considered standby is a negotiation, in a way, between

15    the customer and the utility to figure out how much of their

16    load is being stood by for.  And that negotiation entails a

17    discussion of what is their normal service under their meter

18    that they're buying from us; what is their generator capable

19    of; how often is their generator run?  There's a lot of give

20    and takes as the customer goes into service.  And then that

21    level amount is occasionally changed over time as the generator

22    does better than expected, worse than expected, changes.  And

23    this is not just PV oriented, this is any generator.

24              MR. GRANIERE:  Okay.

25              MR. ASHBURN:  Because sometimes their operations

FLORIDA PUBLIC SERVICE COMMISSION

51

1    change or they get more steam, or whatever it is.  The standby

2    rate is the energy is the same.  So when you buy standby energy

3    rates, the energy that you purchase, part of the rate is the

4    same as if it was normal service.  The only real difference is

5    in two things.  One is a little extra kick in the customer

6    charge because of some extra things we have to do for

7    processing and so forth.  It's not much.  I think it's like 25

8    bucks a month or something on the demand charge, which is where

9    we mostly have focused on.  The demand charge that's then used,

10    is we use the standard demand charge, and we turn it into a

11    daily demand charge.

12              MR. GRANIERE:  Okay.

13              MR. ASHBURN:  So you take the standard demand charge,

14    whatever it is for each company, and say it's eight bucks, or

15    something like that, and divide it up by the billing days,

16    which is not every day through 30 days, but, you know, the

17    weekdays, because these are all on time-of-use kind of thing,

18    so we only look at the days that would be billed demand or the

19    time of use, which is weekdays, not the weekends.

20              So you divide by those days, and you get a daily

21    demand charge.  So as you use service under standby, under

22    whatever your contractual amount is, you pay a daily demand

23    charge for each day you buy service.  Now, that's the -- so if

24    you add up, actually -- if your generator is down the entire

25    month, and you take standby service for the whole month, it

FLORIDA PUBLIC SERVICE COMMISSION

52

1    actually turns out to be slightly more for some reason.  But

2    it's slightly -- but it's effectively the demand you would have

3    taken if you were under standard service.

4              Now, to help pay for the standby for the months that

5    you're not running, we basically take that daily demand charge,

6    and it's effectively two days' worth of service.  So every

7    month you're paying two days' worth of the monthly demand

8    charge.  And then if you use standby service for two months,

9    you've already paid for it.  You don't pay any more.  But as

10    you use days beyond two days' worth of service through the

11    month, the daily demand charge kicks in.  And that's the

12    general structure of how the demand works.

13              Now, when you get to rate cases, that's just looking

14    back at some historical period or projected period, and all

15    those billing determinants and so forth get factored in to

16    determining what the rates are and the revenues likely to be

17    recovered.  So there isn't some separate class, separate

18    calculation of standby.  It's driven by the classes of service

19    of where you are at.

20              MR. GRANIERE:  Okay.  I think I understand.  So it's

21    not exactly an independent class of service that has received

22    its own allocation --

23              MR. ASHBURN:  Right.

24              MR. GRANIERE:  -- of transmission and distribution.

25              MR. ASHBURN:  That's right.

FLORIDA PUBLIC SERVICE COMMISSION

53

1              MR. GRANIERE:  That has not happened.

2              MR. ASHBURN:  Right.

3              MR. GRANIERE:  That's all taken care of inside the --

4    for lack of a better word, the standard rate.

5              MR. ASHBURN:  The standard rate.

6              MR. GRANIERE:  Okay.

7              MR. ASHBURN:  And that was really driven in part

8    because the Commission determined way back when we first set

9    them up that they wanted the supplemental service that they

10    would buy to be identical if they didn't have a generator.

11              MR. GRANIERE:  Generator.  Okay.  So that all goes

12    back in there.

13              MR. ASHBURN:  Right.

14              MR. GRANIERE:  And then each month they pay for two

15    days at the monthly rate, whatever it is.

16              MR. ASHBURN:  Right.  10 percent.

17              MR. GRANIERE:  Yeah.  And that's regardless of

18    whether they --

19              MR. ASHBURN:  Use any.

20              MR. GRANIERE:  -- use it or not.

21              MR. ASHBURN:  Right.  If their generator runs the

22    whole month --

23              (Simultaneous conversation.)

24              MR. GRANIERE:  Then everything is hunky-dory.

25              MR. ASHBURN:  Right.

FLORIDA PUBLIC SERVICE COMMISSION

54

1              MR. GRANIERE:  If, however, they were down two days

2    for whatever reason, they wouldn't have to pay anything

3    extra --

4              MR. ASHBURN:  The same amount.

5              MR. GRANIERE:  -- because they've already paid that

6    up front.

7              MR. ASHBURN:  Right.

8              MR. GRANIERE:  So it's sort of like a -- economists

9    have a word for that, and I should know better as to what it

10    is, but I forget things these days.  But what they're doing is

11    they're prebuying two days every day.  And if for some reason

12    it goes longer than two days, then they kick in with an

13    additional charge each day.  That's only a demand charge, but

14    not an anergy charge.

15              MR. ASHBURN:  The energy charge is just what it would

16    have been, regardless if they were on standby or not.

17              MR. GRANIERE:  It just keeps flowing along.

18              MR. ASHBURN:  Right.  Fuel and energy and everything

19    else is the same.

20              MR. GRANIERE:  Okay.

21              MR. ASHBURN:  The Commission determined that 20-what

22    years ago in a docket, and all the IOUs have essentially that

23    design.

24              MR. GRANIERE:  Yes.  I know what you're buying;

25    you're buying an option.  Okay.  Okay.  I understand that

FLORIDA PUBLIC SERVICE COMMISSION

55

1    you're buying an option.  Okay.  So the standby charge is

2    buying an option.  Okay.  Thank you.

3              MR. REEDY:  Bob Reedy with a comment there.

4              Certainly those structures were assembled not

5    contemplating photovoltaics.  They were developed over the

6    years and classically involved self-generating sites that had

7    reciprocating engines or other types, even steam turbines type

8    of arrangements.  I think we're all agreeing -- not agreeing,

9    that's not the word you use in this setting -- but there's a

10    lot discussion that we're talking about photovoltaics.  And

11    things can be very simple if we focus on that, because the

12    nature of the photovoltaic systems is extremely well-behaved.

13    There's no maintenance.  The two days might be a maintenance

14    period, you know, presumption of a maintenance period or

15    something of that nature.

16              So I would suggest that we could -- if you look at a

17    building as a black box, and you look at the demand, you look

18    at the energy, you look at the time-of-day behavior, you really

19    can't tell me -- if you can't see that there's a PV system on

20    the roof, if you're just looking at instrumentation, I would

21    argue you can't tell me that there's a PV system on that

22    building.  And I think the rate class with its demand charge

23    for large -- for commercial takes care of that.  I mean, I

24    think that's the way rates are constructed is you look at the

25    demand, you look at the energy, you look at the time of day.

FLORIDA PUBLIC SERVICE COMMISSION

56

1    And whatever you do, if that customer was a store that decided

2    to shut down and take a siesta, or whatever, during the hot

3    part of the day, you would not know that they had, as opposed

4    to a store that had PV that came on in the hot part of the day,

5    you wouldn't know it.  And your rate would take care of it.

6              So I would think that if we could do -- talk strictly

7    about PV, things do get simpler.  And if you're a residence, I

8    still have trouble with the term standby, because standby in my

9    experience has always referred to predominately an entire

10    generation capability, not a parallel operation.  And then we

11    have to be ready to stand by to serve when that unit is down.

12              I think we're really talking more about demand

13    charges, capacity charges, and they roll all the way through

14    the system from the T&D all the way up to the generation.  The

15    demand charges on the commercial class rate class take care of

16    that.

17              MR. GRANIERE:  Yeah.  I think I understand what

18    you're saying.  I mean, when it's all said and done, you're

19    saying that there should not be a standby charge.

20              MR. REEDY:  That certainly is what --

21              (Simultaneous conversation.)

22              MR. GRANIERE:  That's what you're saying.

23              SPEAKER:  Can I interrupt for a second?  All of our

24    standby rates expect that the generation being stood by is

25    running parallel with us.  They're intended to be standing by

FLORIDA PUBLIC SERVICE COMMISSION

57

1    for when the generator that is running parallel behind the

2    meter shuts down.  That's what the supplemental and standby

3    component of the same rate is about.  The supplemental is the

4    amount you're buying from us when your generator isn't running.

5              Many of our people on standby rates do not have

6    generation that exceeds their peak load.  In fact, the

7    Commission requirement was that anybody whose generation was in

8    excess of 20 percent of their site load had to be on the

9    standby rate.  People whose generation was below 20 percent of

10    their peak load could choose to be on the standby rate.

11              In fact, there are many instances where we've told

12    customers who are under 20 percent of their load, you would do

13    better if you went on the standby rate because of the way your

14    system operates.  And they freak out about it and say, no, I

15    don't want to go there, that kind of thing.  But we evaluate

16    customers who have generation, and it runs in parallel whether

17    they would be better off or not on the standby rate when they

18    are under 20 percent.  But when they're in excess of 20 percent

19    of their site load, they must be on it by Commission rule.

20              MR. GRANIERE:  When you're saying in excess, their on

21    site is in excess of --

22              (Overriding noise.)

23              SPEAKER:  Their generation on site is in excess of

24    their site load, and it is running in parallel.  When someone

25    has a generator, and they disconnect from us before they make

FLORIDA PUBLIC SERVICE COMMISSION

58

1    their generator hot, we generally call it -- at least Tampa

2    Electric would call that emergency, but probably other

3    utilities call it other things.  They do not need to be under

4    the standby rate, because we're not standing by for them.  When

5    they turn on their generator on an emergency situation, we're

6    not serving them, so we're not standing by, and they don't have

7    to be on the standby rate.

8              MR. GRANIERE:  Okay.

9              MS. CLARK:  Bob -- oh.

10              MR. HARRIS:  I'm sorry.  I was going to ask a

11    question real quick.  Larry Harris.

12              You mentioned an evaluation you have to make.  How

13    intensive is that?  Is that a huge engineering evaluation or is

14    it something -- we were talking about streamlining earlier.  Is

15    this the kind of thing that you all would need to look at each

16    individual homeowner or small business or whatever, or was it

17    the kind of thing that's -- can be pretty easily standardized

18    as a formula if your historical 12-month bill is, you know,

19    1,000 kilowatt hours and you're putting in this size

20    photovoltaic, you would be this much percentage.  And,

21    therefore, this --

22              SPEAKER:  This is not very complicated.  The billing

23    people can do it fairly quickly based on billing units, just

24    running it through one rate versus another.  And, you know,

25    we'll talk to -- sometimes you can do it in advance when

FLORIDA PUBLIC SERVICE COMMISSION

59

1    they're getting ready to go on, and say, you'd be better off

2    here, if there's a choice.  In excess of 20 percent, it's not a

3    big deal.

4              MR. GRANIERE:  So it's no big deal.

5              SPEAKER:  It's often when you are doing the standby

6    rate and you have to figure out where -- how much of their load

7    is being stood by for and how much is supplemental, there's

8    some back and forth trying to figure out what's the right

9    number between the two of you.  And usually it's just two

10    engineers talking and, you know, they don't always see eye to

11    eye about how the unit is going to do and what their load is

12    going to be, particularly if it's a brand new situation.  And

13    so you do the best you can.  And then after a few months or,

14    you know, however long it is, sometimes the experience shows

15    something different just based on events, and then you're back

16    to talking to each other again, and you just reset the number.

17              MR. GRANIERE:  Okay.  So am I correct in saying that

18    each customer has their own standby rate, so to speak?

19              SPEAKER:  Well, they're on a rate, okay.

20              MR. GRANIERE:  Right.

21              SPEAKER:  But there's a contract you sign to be on

22    standby, and it says here is how much is my site load, and here

23    is how much is my generator size, and that's--

24              MR. GRANIERE:  So it's a negotiated rate?

25              SPEAKER:  It's a contracted amount that you use in

FLORIDA PUBLIC SERVICE COMMISSION

60

1    the billing process.

2              MR. GRANIERE:  Okay.  Okay.

3              SPEAKER:  And that can change based on events and

4    change in process, and so forth.

5              MR. GRANIERE:  So is there any way to make that

6    shorter, or is that - or is that sort of just one of those

7    things you just have to do?

8              SPEAKER:  I suspect -- you know, again, as we said,

9    size matters, you know, equipment matters.  As Bob is saying

10    here, a PV is pretty predictable, you know.  And you're going

11    to know how much it runs, how big it's going to be, when it's

12    going to run.  It's very predictable compared to someone else

13    who is running a process-oriented load perhaps.  So it could be

14    the negotiation with a PV for a standby rate is very quick.  I

15    mean, you just know what it is very fast.

16              MR. GRANIERE:  Okay.

17              SPEAKER:  Whereas, you know, a co-generator that's

18    got a process and is growing over time, that could be a long

19    discussion.  You know, it just depends.

20              MR. GRANIERE:  Okay.

21              MS. CLARK:  Bob, this is Susan.  I think one thing

22    Bob Reedy brought up sort of is an area that I wanted to

23    comment on, and that's the notion of sort of we seem to shift

24    from talking about something that would apply to PVs and

25    something that would apply to all renewable generators.  And as

FLORIDA PUBLIC SERVICE COMMISSION

61

1    we were talking this morning, it seemed to me important to

2    comment that I think when we were talking about streamlining,

3    the possibility of doing it, it likely will be okay to do it

4    for the PV systems, but if you are looking at other types of

5    generation, the same ability to standardize may not be there.

6              MR. GRANIERE:  Okay.

7              MR. HARRIS:  I'm sorry, Larry Harris again.  Susan,

8    just off the top of your head, then, if the staff decided that

9    they wanted to sort of move forward as a first step and have a

10    rule that would apply to PV units, and then we'd call it, I

11    don't know, utility obligations with regard to photovoltaics.

12    And it would include the things we've talked about yesterday

13    and today, these interconnection agreements, streamlining,

14    maybe something to do with net metering.

15              Off the top of your head is that something that you

16    think the IOUs would support or would you be concerned that

17    that could be used by, then, subsequent different renewables,

18    and you would think that it wouldn't be as easy to get a PV

19    rule out because of all of these concerns that these other

20    generators might have would have to be folded in?

21              MS. CLARK:  Well, I think it's -- Bob has made the

22    point that they're not here today or yesterday to discuss these

23    issues, and if they were important to them, that they would be

24    here.  And, certainly, you have an existing -- you've already

25    carved out the notion of PV in an existing rule.  And what

FLORIDA PUBLIC SERVICE COMMISSION

62

1    you're talking about now is perhaps expanding on that to

2    encourage more PV systems.

3              MR. HARRIS:  I guess the question I'm asking you,

4    then, is let's say you all were somewhat inclined to make some

5    concessions on the -- hypothetically, if someone were inclined

6    to make some concessions on net metering.  And you think, well,

7    for these PV systems maybe we can live with the idea of, you

8    know, true -- if the meter runs backward to zero, we can live

9    with that at retail for these PV systems.  And let's assume

10    that everybody agrees that it's 25, you know, kilowatt or less.

11    And the utility say we can live with that in concept.

12              But then if I was a utility, I think my concern would

13    be, am I going to have to worry about other renewables then

14    coming along and saying, well, you did it for the PVs, you

15    should do it for us, too.  And, therefore, you would feel

16    obligated as a utility to sort of fight that, because you were

17    worried about sort of opening the door that other renewables

18    could use down the road.

19              And that's an easy example.  And I guess I'm saying

20    if we have a separate PV carve-out rule, do you have to have

21    those concerns, that we can't give too much, even though we

22    would be willing to on PV, because we're worried about, you

23    know, a waste burner, or a phosphate mine, or somebody coming

24    down the road.

25              MS. CLARK:  I think it's always a concern when you

FLORIDA PUBLIC SERVICE COMMISSION

63

1    make an exception or do something different, there's somebody

2    else waiting in the wings that also wants to be treated that

3    way.  The question then is, is that what the public policy

4    should be?  So, yes, it would be normal to be concerned about,

5    you know, opening up the door in one area, and then others that

6    are not similarly situated saying, I would like that, too.

7              MR. HARRIS:  Thank you.

8              MR. REEDY:  And I just would -- Bob Reedy -- I would

9    supplement that.

10              As a former utility engineer, I've had trouble with a

11    lot of my answers, because what I would say about PV and

12    inverters is different than an induction generator, or some

13    other type of system.  So it could get very clear if we were

14    able to make that distinction.

15              MR. HARRIS:  Thus need for this to have been recorded

16    today is so we can begin building a record that we can use if

17    we go down the road of a rule that starts to support what

18    staff's recommendation is on the policy and get us to where --

19    and I'm not saying staff is going in any direction right now,

20    but if we did go in this direction, we're starting to build a

21    record, and that's why there will be a docket, and this stuff

22    will be in it, and why the sign-in sheets and the transcript

23    are important.  So it actually does make sense why we do this

24    crazy stuff.

25              MS. CLARK:  The other thing, when we were talking

FLORIDA PUBLIC SERVICE COMMISSION

64

1    before the break about the streamlining, it was pointed out to

2    me that you don't want to go to streamlining before it's

3    appropriate, before it is amenable to a streamline process,

4    because what's likely to result is you streamline it and then

5    find out it's not working, and you have to go back and redo it.

6    So it is important to, you know, conclude that it is amenable

7    to a streamline process.

8              MR. GRANIERE:  You know, I think that's where we got

9    into the discussion of can we do streamlining sort of in a

10    laboratory or do we have to do it in the field.  And I think

11    what I heard here was that it has to be done in the field, and

12    that's why we talked about pilots for streamlining above ten

13    is, I think, what we were talking about here.  But, you know,

14    so we got to the point that said, no, we couldn't do it in

15    the -- we couldn't do it in isolation, you know, inside a

16    building like this, or we couldn't do it with studies.  And the

17    only thing we could do would be to get field experience.  But

18    to get field experience means we actually have to do it, which

19    means, whala, pilots or something like that.

20              So I guess everybody -- so I guess if that's the

21    general idea, that would mean that each utility would have a

22    pilot somewhere along the line on how to do this above ten.  So

23    TECO would have a pilot, and Gulf would have a pilot, and FP&L

24    would have a pilot, and Progress would have a pilot.  So that

25    we could -- then everybody would get their pilots together and

FLORIDA PUBLIC SERVICE COMMISSION

65

1    decide what's working and what's not working, and things like

2    that.

3              And then the only thing we need to look at from this

4    point of view is that we just don't let those pilots drag on

5    forever, but instead get done in a reasonable period of time.

6    And then somebody will decide what the reasonable period of

7    time is.  But that's what I'm hearing.  Tell me if I'm wrong.

8              MS. CLARK:  Well, I think what you've also heard is

9    the willingness to work together with the renewable industry to

10    see if --

11              MR. GRANIERE:  Right.

12              MS. CLARK:  -- we can reach some --

13              MR. GRANIERE:  Right.  You know, they'll be part of

14    it.

15              MS. CLARK:  -- common ground as to what can work now.

16              MR. GRANIERE:  Okay.  Great.

17              MR. JONES:  Bob, it's Jeremy Jones.

18              Related to the pilot, is there anything specific to

19    Florida that would require us to actually do pilots in the

20    state here, because we don't have a lot of experience in the

21    state with these larger systems, when there are instances in

22    other states within the country that have done all of this

23    before, and it's very well established.  Is there an

24    opportunity that, perhaps, we could look to some of those as

25    our guideline?

FLORIDA PUBLIC SERVICE COMMISSION

66

1              MR. GRANIERE:  Well, I would guess that -- since I'm

2    not designing the pilots, okay, but let's just make believe

3    that I was.  Okay.  What I would do is I would say, okay, let

4    me go look at what's happening elsewhere and try to get my

5    version of best practices, and then from that best practice, my

6    version of best practice, I'd go out and put that up as a

7    strawman to the other side, whoever that happens to be.  So if

8    I'm a utility, I'd put it up as a strawman to the renewable

9    side.  If I'm a renewable, I'd put it up as a strawman to the

10    utility side.  We would talk a little bit about it.  We would

11    get an idea, then we would have a design for the pilot, and

12    then the pilot would go forward.

13              So the answer is that, in my mind, the best that

14    other states can give you is a set of best practices, but it

15    cannot give you what's good for your state unless you're

16    willing to assume that electricity systems are exactly the same

17    everywhere in the world.  And I'm not an engineer, as a

18    professional person, but I'm pretty sure that there is problems

19    in different parts of the country that don't exist in other

20    parts of the country, even though it's an interconnection grid,

21    a western grid, and (inaudible) or anything like that.  So the

22    short answer to your question is, no, we need to do the pilots.

23    At least that's what I think.

24              MS. CLARK:  Bob, this is Susan.  I would just --

25    before we jump to that conclusion, I think there should be an

FLORIDA PUBLIC SERVICE COMMISSION

67

1    opportunity to see if there is already some --

2              MR. GRANIERE:  Sure.

3              MS. CLARK:  -- mutual agreement on what higher level

4    than the 10 kW can be done --

5              MR. GRANIERE:  Well, I mean, you know --

6              MS. CLARK:  -- in a standardized process.

7              MR. GRANIERE:  You know, all I'm saying is that if --

8    if we work from a foundation that says in order to get to

9    standardization we need more experience, and that experience

10    has to be in the field, well, then, pilots are necessary.  If,

11    however, we're willing to take that support away or that

12    foundation away, and say we can get to some agreement without

13    field experience, okay, that's good, too.  You know whatever it

14    has to be, but it can't be going back and forth, back and

15    forth.  You've either got to do one or the other, but we've got

16    to do something.

17              MS. HARLOW:  At this point, though, we do -- this is

18    Judy.  We do have experience with the under 10 kW systems.  So

19    we're much further along as far as experience than we were just

20    a short period ago because of the new rule and the utilities'

21    efforts.  And so I think we can use that experience and build

22    on it to move forward with, perhaps, slightly larger systems.

23    The question is at what size system do we have more concerns

24    about safety than a 10 kW system, and I'm still unclear on that

25    point.

FLORIDA PUBLIC SERVICE COMMISSION

68

1              MR. BROWN:  This is Michael Brown.

2              I don't know if it's an answer, but here's the

3    reality of it.  If you have an old house, okay, just to put

4    things into perspective.  If you have an old house -- I mean,

5    say something built in the '40s, or something, say you only

6    have 100 amp service.  That's, in effect, almost a 25 kilowatt

7    system, a 25K system.  So when you're talking -- I mean, a 250

8    kilowatt system.  So, in effect, these small systems, what's on

9    the table right now is kind of insignificant until you get into

10    the megawatt systems, which is really what the issue is and

11    what the industry really is looking to Florida to do before

12    they take Florida seriously, is they're looking to see

13    megawatts go in.

14              All of the under a megawatt size, as far as a system

15    design, is cookie cutter for the industry.  It's a no brainer.

16    They can come in.  They have structures and templates for all

17    that size a system.  They want to see some major power

18    production out of the state before they take us seriously.  And

19    that's where the issues really arise, and that's where the real

20    study goes in.  Because we're looking at systems, and what's on

21    the table right now are systems that are residentially sized.

22    Even if you're talking 100 kilowatts, it's still -- that, in

23    effect, really is like a residential service.

24              MR. GRANIERE:  Okay.  You know, I understand what --

25    I think I understand what you're saying, but I'm -- and there's

FLORIDA PUBLIC SERVICE COMMISSION

69

1    no disrespect intended on this particular question.  But I've

2    just got to ask it.  Is there a megawatt solar system anywhere?

3              MR. BROWN:  Yeah.

4              MR. GRANIERE:  Where?

5              MR. BROWN:  California has some.  They're all over

6    Europe, Japan.

7              SPEAKER:  Hundreds of systems around the world are

8    over a megawatt, many over two megawatts.

9              SPEAKER:  There's actually ten megawatt systems in

10    Arizona.  I think we were just talking earlier, I think it's,

11    you know, numerous, numerous megawatt systems in this country.

12              MR. GRANIERE:  So there's a ten megawatt solar system

13    in Arizona, is what you're saying?

14              SPEAKER:  It's at a military base.  I believe, it's,

15    you know, Air Force.

16              MR. GRANIERE:  Is that true?  I don't know.

17              SPEAKER:  I'm not sure.  In fact, John Musiello

18    (phonetic), Progress Energy, he and I were discussing it just a

19    little bit ago.

20              SPEAKER:  (Inaudible.  No microphone.)

21              SPEAKER:  Yeah.  Yeah.  A large system.

22              MR. GRANIERE:  A what?

23              SPEAKER:  (Inaudible) megawatt.

24              SPEAKER:  Is that a solar system or a PV system?

25              SPEAKER:  It's a PV solar system.

FLORIDA PUBLIC SERVICE COMMISSION

70

1              MR. GRANIERE:  Is that one of those concentrated

2    things that goes hmmmm?  No.

3              SPEAKER:  (Inaudible.  No microphone.)

4              SPEAKER:  It's a tracking PV system.

5              SPEAKER:  (Inaudible.  No microphone.)

6              SPEAKER:  Yeah, very large system.  It's like a

7    million-dollar-a-year savings in incentives.  A government

8    project.

9              MR. REEDY:  Bob Reedy.

10              Judy, I guess you didn't get an answer directly, and

11    I'd like to try from my view and say that if we are able to

12    partition again and stipulate PV, inverter based, which all PV

13    is inverter based, there are no safety issues.  In other words,

14    if it meets the codes, it's inherently -- it's extremely

15    fail-safe and far more -- and as a utility, there are many

16    other issues that can be called safety problems, and this is

17    not one of them.

18              MS. HARLOW:  Well, then we go back -- this is Judy

19    again -- we go back to the customer's load.  Is the issue the

20    percentage of the customer's load, the capacity of the system

21    relative to the customer's load?

22              MR. SANDERS:  Tom Sanders.

23              I know that is one of our larger concerns is the

24    amount of power that would be pushed back to the grid in the

25    event of an isolation.

FLORIDA PUBLIC SERVICE COMMISSION

71

1              MS. HARLOW:  And, Michael, if I could -- this is Judy

2    again.  If I could just get a clarification for what you meant

3    by, "for the industry to take us seriously"?  Are you talking

4    about the PV industry building manufacturing plants in Florida?

5              MR. BROWN:  No, I'm also talking about distribution

6    and -- see, right now the rates here, and this came up

7    yesterday, is the price is very high.  And in a lot of 0other

8    states and Germany, Japan, the reason -- the company is willing

9    to invest in wholesaling to areas, to districts and stuff.

10    And, also, there is not a huge surplus of product out there.

11    The demand is so high around the world that they're restricted

12    as to where they're actually planning on sending their stuff.

13              Like Sharpe has some projects going on in Florida,

14    but they're not actively willing to distribute in Florida,

15    because it's just not -- they don't see the market there.

16    And when I posed these questions to the people in the industry,

17    people from Sharpe or Sanyo, there are some multi-junction

18    concentrator type cell module manufacturers in California, and

19    while I would like to see some of that stuff, they don't want

20    to come into -- they don't want to occupy their time on a

21    market that isn't proven.  And they don't see the market in

22    Florida growing until there are some significant

23    commercial-sized systems going in, because it's just not going

24    to be publicly viewed.  You know, right now there is a large

25    percentage of the public that still thinks that this is science

FLORIDA PUBLIC SERVICE COMMISSION

72

1    fiction, that it doesn't work.

2              MR. GRANIERE:  I understand that part.  But are you

3    just simply saying that Florida can't get product to build

4    solar systems?  Is that what you're saying?

5              MR. BROWN:  Right now we're paying a premium.  We

6    aren't getting the same deal as the larger markets.

7              MR. HARRIS:  And if you were able to grow your

8    business by 100 percent, and you start selling -- you know, I

9    don't know what current sales are.  You're selling ten systems

10    a month now, and you start selling 100 systems a month

11    residential, you know, these little 100 kilowatt systems.  I'm

12    hearing you say you think you would still have the same

13    problems.  You'd go to the trade show and tell Sharpe, I'm

14    selling 100 a month.  And they'd say, you know, 100 kilowatt

15    units is not even worth our time to put a warehouse in and

16    start shipping and buy the containership and make these really

17    big -- you know, we'll still sell them to you at this premium

18    price, but at even 100 a month, it's not worth our while to put

19    a warehouse and a containership a month of units.  Versus if

20    you were able to say we've got not only these residential

21    sales, but we're able to sell these megawatt commercial units.

22    At that point you can get their attention, and Sharpe might

23    think about diverting a containership every six months to a

24    Florida port as opposed to bringing them into California, or

25    something.

FLORIDA PUBLIC SERVICE COMMISSION

73

1              MR. BROWN:  That's exactly what I'm saying is just as

2    soon as they actually see a physical large installation in

3    Florida.  It's like Bob was just talking about, the -- and

4    Tom -- not Tom -- Wayne were talking about the multi-megawatt

5    system in Arizona.  It was in the paper yesterday.  It's big

6    news.  And that's what the manufacturers are looking for.

7    They're looking for a market that is making some noise, so that

8    they can come in and have their brand.  You know, they want to

9    brand it.

10              MR. HARRIS:  To clarify my questions, though, you

11    don't see high sales volume on small residential things as

12    making that splash, creating that news that would get their

13    interest and make them really focus?

14              MR. BROWN:  No.  In fact, it's not going to happen.

15    The residential sales and everything, and that's one of the

16    reasons why a lot of the contractors don't do a lot of

17    photovoltaics.  Most of them concentrate on the water.  Most

18    electricians aren't on board because they're making their money

19    everywhere else.  There's not a big mark-up on this, even

20    though the price is high.  The margin is not there.  And the

21    only way that we can actually make sales now is by reducing our

22    margins versus what the industry standard is in states that do

23    have the larger systems and do have the larger markets.  So

24    we're actually making less money than them.  If we're going to

25    match their rates, we actually make less money than they make.

FLORIDA PUBLIC SERVICE COMMISSION

74

1              MR. REEDY:  Bob Reedy.

2              Judy, to answer your question in a different way, we

3    have -- there is one PV module manufacturer that is looking to

4    build in Florida.  I don't know who it is, because of

5    confidentiality.  But we were given some questions, and the

6    feedback, they were very concerned there was not a net metering

7    law in Florida.  And that was a big -- and they're looking to

8    build a plant in the service territory of one of the utilities,

9    obviously, which would be very good for everybody, jobs and

10    revenue.  And that was a specific concern they expressed.  They

11    still may do it, but that was a concern.

12              MR. GRANIERE:  Are you saying that a manufacturer is

13    concerned about net metering?

14              MR. REEDY:  They're concerned about -- the way the

15    question was worded, and the response was worded, was that they

16    see that as an indication of the regulatory structure of the

17    state and, therefore, the market.

18              MS. SZARO:  Can I -- yeah, I wanted to -- this is

19    Jennifer Szaro.

20              I wanted to clarify that remark a little bit, as

21    well.  I don't think it's necessarily the net metering as much

22    as it is the intention of the state to support the development

23    of a market here.  And they view that more along the lines of,

24    I think, interconnection of larger systems as being impedance

25    in the market.  And so you get a situation where -- I know that

FLORIDA PUBLIC SERVICE COMMISSION

75

1    we've had a few companies come to us and ask about what the

2    state of the market is.  Big companies, some of the biggest

3    players in the world.

4              And, basically, they've said, look, you're not set up

5    for this market.  You're not ready for us, and we have larger

6    fish to fry.  You don't have interconnection standards for

7    large systems.  What they do is they tend to -- on an economy

8    of scale it's cheaper for them to go in, do a third-party

9    agreement with a large system, come in, put a big system in,

10    like a one megawatt system or larger.  That gets them,

11    basically, free advertising.  It gets them market pool.  Then

12    they are able to go ahead and put these volume systems in

13    there.

14              That's the reason we're not getting volume systems in

15    Florida, is because they don't -- they're going to -- that's

16    their structure.  They go in, they put a big system in, they

17    make a big to-do, they get attached to a big program like a

18    SMUD program, or an Austin Energy program, a New Jersey

19    program, a New York program, and they get the market backing of

20    the state or the utility.  And then they go in and they put --

21    the basis of that is that then they go in and put all these

22    little systems in after that.

23              So if they can't have that structure to work within

24    from a market perspective of having the local marketing

25    support, the state marketing support, and the infrastructure of

FLORIDA PUBLIC SERVICE COMMISSION

76

1    interconnection, specifically in net metering, as well, they

2    have told me flat-out that they're not interested.  And we've

3    talked about doing a one megawatt in our area briefly, and

4    we're interested in that.  And we really want to get

5    manufacturing in the I-4 corridor area for Orlando.  And

6    they're just like, well, talk to your other utilities and see

7    if you can make a case, because we're not going to come for one

8    utility.

9              MR. WALLACE:  This is Wayne Wallace commenting.

10              I'd also like to add it is completely a policy issue.

11    The states that have good interconnection agreements, also good

12    net metering agreements, and even renewable portfolio

13    standards, which that's really a legislative issue which

14    Florida is presently working on, those three things in place

15    make for a good environment for solar development.  And, again,

16    that is what, you know, like I said yesterday and continue to

17    say, that's what the public Floridians are asking for.

18              MR. GRANIERE:  Okay.  All right.  To some extent,

19    let's let reality intrude for a minute.  Out in -- where is

20    that, New Mexico, Nevada, where I saw those things.  There's

21    quite a bit of land out there, you know.  In fact, a neat place

22    is right next where Yucca Mountain is.  You know, I'm sure

23    there's quite a bit of land out there, along with quite a bit

24    of sun.

25              Now, a one megawatt system, how much land does it

FLORIDA PUBLIC SERVICE COMMISSION

77

1    take?

2              MS. SZARO:  It doesn't take anything.  We put it on a

3    building.

4              MR. GRANIERE:  You put it on a building.  Okay.  And

5    how much space would that take?

6              MS. SZARO:  Generally the rule of thumb is, what, 100

7    square feet per kW.

8              SPEAKER:  If I may add, a one megawatt system is

9    about 100,000 square foot, I believe.

10              MR. GRANIERE:  So there's 100,000 -- so, I guess,

11    it's on a big old --

12              MS. SZARO:  We have a site already.

13              MR. GRANIERE:  Okay.  So you have a site.  So it's on

14    a building, so it's on a roof somewhere.  So land is not an

15    issue?

16              MS. SZARO:  No.  We can put it on a parking garage.

17    I mean, believe me, there are plenty of buildings, roof space

18    that we could use to accommodate large systems.

19              MR. GRANIERE:  Okay.  So why isn't your one megawatt

20    application enough to get this person in --

21              MS. SZARO:  It's not --

22              MR. GRANIERE:  -- when it says it wants more

23    utilities?  I don't understand that.

24              MS. SZARO:  It's not representative of the state's

25    policy toward renewables, toward photovoltaics specifically.

FLORIDA PUBLIC SERVICE COMMISSION

78

1    They can't do all their projects in Orlando.  I mean, they

2    could, but that's not a very good business proposition.

3              MR. GRANIERE:  But wouldn't, like, one project here

4    in Orlando help them out?

5              MS. SZARO:  Well, I'm not saying that we're not going

6    to do it.  We are going to do it, but I wouldn't say that

7    that's going to bring the manufacturer to put a facility in

8    Florida.

9              MR. GRANIERE:  Okay.  And the one megawatt system,

10    would that require -- wouldn't that be one of those standard,

11    really complicated negotiations?

12              MS. SZARO:  We don't see it as a complicated

13    negotiation personally.  I mean, that's where we're looking for

14    some clarification from you.

15              MR. GRANIERE:  So, in other words, what I'm hearing

16    you say is that your position -- you company's position right

17    now is that your company could complete this one megawatt

18    installation in terms of  --

19              (Tape change.)

20              MR. GRANIERE:  -- that you need to do before you make

21    the installation in, say, three months?

22              MS. SZARO:  I think probably three to five months.

23              MR. GRANIERE:  Okay.

24              MS. CLARK:  Bob, this is Susan Clark.

25              Can I ask a question in terms of Jennifer asking for

FLORIDA PUBLIC SERVICE COMMISSION

79

1    clarification from the Commission.  As I understand it, you're

2    with Orlando Utilities and --

3              MS. SZARO:  And why am I asking for clarification?

4              MS. CLARK:  Yes.  It just seems to me that you can do

5    what --

6              MS. SZARO:  You're right.  We can do whatever we

7    want, but we look to the Public Service Commission, and we look

8    to our investor-owned utilities to provide us with some

9    guidance and oversight.  And we tend to follow the rules that

10    you follow.  So if you're going to do it, we're much more

11    comfortable doing it.

12              So, sure, we can go out and do whatever we want

13    pretty much within reason, but we would like some

14    standardization in the industry.  It gives us something to fall

15    back on, a comfort level that right now I don't feel we have.

16    We're kind of out on our on this, and it's not a very

17    comfortable feeling.

18              MS. CLARK:  I guess one other thing I would ask.  I

19    had understood one of the real issues for these manufacturers

20    coming in was the idea that there needed to be more in terms of

21    grants and rebates from the state for the installations of

22    these facilities, but that's sort of just to remind you that

23    those are the other issues that are relevant to their concern

24    about the market.

25              MR. GRANIERE:  I mean, if I'm doing the math right,

FLORIDA PUBLIC SERVICE COMMISSION

80

1    there is -- a one megawatt system has, what, a million watts,

2    is that right?

3              MS. SZARO:  That's correct.

4              MR. GRANIERE:  Okay.  And the state rebate stops at

5    25?

6              MS. SZARO:  KW, that's correct.

7              MR. GRANIERE:  So that means that there's 975 kW that

8    aren't getting subsidized then?

9              MS. SZARO:  That's correct.

10              MR. GRANIERE:  You don't need much, do you?

11              MS. SZARO:  (Inaudible.)

12              MR. GRANIERE:  I mean, I'm kind of confused.  I mean,

13    it's 975 kilowatts that aren't being subsidized.  I mean,

14    sometimes you've just got to say something like that.

15              MS. SZARO:  We're still doing it, but, you know,

16    obviously, it would be great if we could have more --

17              MR. GRANIERE:  Subsidy.

18              MS. SZARO:  I mean, there are ways around that, and

19    we are looking at other financial models to suit our business

20    proposal.

21              MR. GRANIERE:  Okay.

22              MR. JONES:  Bob, this is Jeremy Jones.

23              Through the federal tax credits and through the sale

24    of renewable energy credits, which is a little bit of an iffy

25    market, but there's opportunities to sell those, the economics

FLORIDA PUBLIC SERVICE COMMISSION

81

1    of the system can still work.  And particularly at the megawatt

2    size you can drive down the cost of the installed system

3    several dollars per watt compared to a small residential

4    system.  So the costs are quite a bit lower.  So I do believe

5    that there are opportunities to get systems that large

6    installed if the regulations kind of allow it to be done fairly

7    easily.

8              MS. HARLOW:  This is Judy.  I'm wondering about the

9    manufacturers now, and I know I'm outside the industry, so this

10    is easy for me to say, but I have seen some positive happenings

11    in Florida within the last few years.  The Commission has put

12    in the 10 kW rule.  We've heard from the industry today that

13    this has been helpful.  I know that the utilities have

14    interconnected systems, and they're gaining knowledge from

15    that.  We also have the state rebates.  I've now heard Orlando

16    talking about a one meg system.  And we also have Power and

17    Light with their green pricing program, a very successful

18    program.

19              And I'm having a senior moment, but I think the

20    commitment is 250 kW per every 10,000 customers.  And the last

21    time I looked, you guys had between 25,000 and 30,000 customers

22    on that.  So that could be three-quarters of a megawatt

23    commitment.  So my concern is since we do have positive things

24    happening, what additional would it take to anchor this

25    industry in the state for them to give the state the commitment

FLORIDA PUBLIC SERVICE COMMISSION

82

1    so that our customers could get lower prices?

2              MR. WALLACE:  This is Wayne Wallace.

3              I'd like to make a comment on that if I may.  This

4    all really kind of started for Florida with the Energy Policy

5    Act, federal, with the federal tax credits.  Commercial

6    businesses in Florida can now get their 30 percent federal tax

7    credit on their investment for solar PV systems specifically.

8    They can get their accelerated depreciation.

9              With the State of Florida, with the Department of

10    Environmental Protection coming on with their rebate program,

11    even though it's only up to 25 kW, a lot of businesses are

12    looking at doing larger systems.  And, again, we just had

13    recent inquiry on numerous 100 kW systems and larger.  So when

14    you -- you know, when the industry looks at the state of

15    Florida, they see the federal tax credit, obviously, the state

16    of Florida rebate.  The three other things that, you know,

17    would be good to help the solar development in Florida, net

18    metering, obviously, utility interconnection agreement, also,

19    and renewable portfolio standards.  With those three things in

20    place, this state is a very viable place for solar PV systems.

21    And that's how the history has really worked in states that

22    have those three components in place.

23              MR. REEDY:  Bob Reedy.

24              Judy, the single greatest thing, I believe, that

25    would create that sense of credibility with manufacturers of

FLORIDA PUBLIC SERVICE COMMISSION

83

1    equipment is a net metering rule that's universal.  I think

2    that is the single greatest obstacle today.  There are positive

3    things happening, but it's voluntary, and I think that's sort

4    of the litmus test.

5              An RPS, as Wayne mentioned, would be very helpful.

6    But an RPS is such a bigger issue, I don't believe that the

7    manufacturers, the PV manufacturers are really that concerned

8    with an RPS, unless it had a carve-out for solar energy in it.

9    And that would be the type of RPS that would be attractive to

10    them.  Now, I know we're drifting far from the current issue

11    when we start talking about RPS.  But you asked the question,

12    and that would be my opinion.

13              MS. SZARO:  I mean, I have to add that I really think

14    that just from discussing, you know, interconnection issues on

15    our part, we have a 110-page interconnection standard at the

16    moment for anything larger than 20 -- or smaller than 20 kW.

17    And I'm trying to rewrite that right now, which is why I'm

18    here.  And they don't want to deal with that.  They don't want

19    to deal with a 110-page process.  So I would really like to see

20    some uniformity across the state in how we handle systems.

21              I really don't care -- it's not that I don't care,

22    but I don't see the smaller systems as big of an issue for us.

23    It's how do we deal with these systems that are larger than

24    20K, larger than 100K, for that matter.  I've been reading

25    through the FERC requirements and the FERC standards, and I was

FLORIDA PUBLIC SERVICE COMMISSION

84

1    surprised that they weren't more addressed here today, because

2    they have draft interconnection centers on their web site for

3    systems through 20 megawatts, and I haven't heard any

4    discussion about that at this point.

5              But, you know, what is our state doing with regard to

6    the FERC requirements?  How are we addressing those issues for

7    interconnection?  Does it come into play at all, and if so --

8              MR. GRANIERE:  Well, that's Order 890.  And Order 890

9    says that there are certain things that the state has to do to

10    show that they're in compliance.  And Order 890 also made a --

11    contains a federal statement as to what they consider small,

12    and that's 20 megawatts.  That's what they consider small.  But

13    we do know that when they're using the word "small," they're

14    thinking of IPPs.  They're thinking of people who are prepared

15    to be in the main business of selling wholesale.  They're not

16    thinking of distribution-sized connections.  They're not

17    thinking of anything like that.

18              In fact, in order to avoid the interconnection of

19    those units, there must be a showing in the state, as I

20    understand that order, that says those units can sell without

21    impediment into the wholesale market.  And if the state cannot

22    show that they cannot sell without impediment into the

23    wholesale market -- the interstate wholesale market, not the

24    intrastate wholesale market, but the interstate wholesale

25    market.  If they cannot show that there are not impediments to

FLORIDA PUBLIC SERVICE COMMISSION

85

1    that, then the utilities are required to interconnect them.

2              MS. SZARO:  But it doesn't -- I mean, it provides

3    standards for interconnection.

4              MR. GRANIERE:  Sure.

5              MS. SZARO:  It provides example standards for

6    interconnection --

7              MR. GRANIERE:  Sure.

8              MS. SZARO:  -- for three different tiers up to -- is

9    it 100 kW, and then 100 kW to two megawatts, two megawatts to

10    20.

11              MR. GRANIERE:  Absolutely.

12              MS. SZARO:  So tell me how do those existing sample

13    standards relate to our standards that we have right now in

14    Florida?  How they can be reviewed and implemented, if

15    appropriate, for us?  And what should we, as utilities, be

16    doing in response to the existing standards?  What's expected

17    of us as utilities for, for instance, 100 kW to two megawatt?

18    Well, that may not be an IPP.  That may be a customer,

19    according to what I'm hearing.  And we want to be prepared with

20    an appropriate interconnection standard to address that size

21    system with that type of customer.

22              And as far as I can see, I went through everything

23    that I could find, we really don't have anything that's

24    appropriate, other than, you know, something that would be more

25    appropriate for an IPP, which is not what we're talking about

FLORIDA PUBLIC SERVICE COMMISSION

86

1    here.

2              MR. GRANIERE:  And that's exactly why we're here.

3              MS. SZARO:  But I'm not really getting any answers.

4    I mean, I'm not really getting any --

5              MR. GRANIERE:  That's because we are here at our

6    first informational workshop.  That's because we haven't opened

7    up a procedure to find the answers to those questions.  That's

8    because we're just starting.  That's why we're here.  We don't

9    have an answer.  That's why we talked about things like tiers,

10    and that's why we talked about different levels, and that's why

11    we talked about different rules and different tiers and

12    different things for all of these things.  No, if you look

13    through the rule -- I'm pretty sure if you looked through the

14    rule, you won't find the answer in that rule to those things.

15    It's more like --

16              MS. SZARO:  Right.

17              MR. GRANIERE:  -- here's what we'd like you to do.

18    There's guidance, but you've got to find an answer.  And that's

19    what we're here for, to try to find an answer.

20              MS. SZARO:  But we haven't really been discussing

21    that.  We haven't been discussing the specifics of --

22              MR. GRANIERE:  That's because we don't know what

23    we're discussing yet.  That's what we're doing right now.  We

24    are setting the framework to find out what we will eventually

25    start to discuss.  But we need to set it out.  We just didn't

FLORIDA PUBLIC SERVICE COMMISSION

87

1    come in and say we're going to follow the exact thing that the

2    Order 890 said.

3              We are trying to find some ground that says here's

4    where we all agree about what we're going to discuss, and,

5    also, where we can make progress.  Rather than coming in

6    alternatively and saying, here's Order 890, we're going to do

7    this and go forth and do good things.

8              MS. SZARO:  Well, you know, I'm not proposing that we

9    do that, but I'm proposing that we at least look at the

10    language in the FERC order and ask ourselves how does it apply

11    to Florida.

12              MR. GRANIERE:  Okay.  Let me make this suggestion,

13    then.  You know, as a utility and a person who has to deal with

14    this, would you be prepared to write a white paper that says

15    how you think 890 applies to Orlando?

16              MS. SZARO:  Absolutely.

17              MR. GRANIERE:  Good.  You got it.

18              MS. SZARO:  Bob is helping me.

19              MR. GRANIERE:  I mean, you've got it.  You know,

20    you've got it, submit it, we'll look at it.  I mean, it will be

21    part of the record.  We got it, we'll submit it, we'll look at

22    it, and we'll get the ball rolling on that particular issue.

23              SPEAKER:  (Inaudible.  No microphone.)

24              MR. GRANIERE:  Pardon?

25              SPEAKER:  (Inaudible.  No microphone.)

FLORIDA PUBLIC SERVICE COMMISSION

88

1              MR. GRANIERE:  Oh, okay.  Okay, 2000.  You're right.

2    Okay.  One of those interconnection things.  Okay.  But I do

3    remember the part about are our three lines going out to

4    Georgia enough to put us in compliance?  I always wondered

5    about that one, you know.  You know, because, you know, Texas

6    has three lines going out, too.  I mean, I just wanted to --

7    just pointing that out.  They've got three; we've got three.

8    They get special treatment.  We don't.  That doesn't sound

9    good.  I mean, that's all I've got to say.  That doesn't sound

10    good.  But that's just an observation.

11              Okay.  All right.  It looks like it's --

12    unfortunately, it looks like it's lunchtime.  You know, so I

13    guess we have to come back.  So how about an hour lunch?

14              (Lunch recess.)

15              (Tape change.)

16              MR. GRANIERE:  Are we ready?  I guess not.

17              Okay.  I guess this one -- we've been hinting around

18    this question here.  See, I knew we'd get to your question, you

19    just didn't read my agenda.  And then you would know that we

20    would have gotten to the question.

21              The first question in the eligibility is should there

22    be restrictions on the number of tiers that are eligible for

23    streamlined interconnection?  The simple way of thinking of

24    this is that should there be a lot of tiers, or just a couple

25    of tiers, or no tiers at all?

FLORIDA PUBLIC SERVICE COMMISSION

89

1              MR. WALLACE:  Bob, Wayne Wallace.  I'd like to

2    respond to that.

3              You know, I think we've heard from the utilities that

4    streamlining the simple utility interconnection agreement for

5    PV potentially up to 25 kW for residential is something that's

6    possible, I believe.  So residential, that's pretty easy, it

7    seems.

8              Commercially, on the other hand, we want to do

9    what's -- you know, where all parties can win.  I don't know

10    where that number is, but, you know, I can throw out a

11    suggestion.

12              MR. GRANIERE:  Okay.

13              MR. WALLACE:  We would like to see, you know, maybe a

14    couple of tiers there I'm thinking.  Maybe Bob could help me on

15    this, and other solar constituents.  Maybe if you do a

16    residential up to 25 kW, a commercial up to 100 kW with

17    standard inverters that are used residentially -- I mean, it's

18    basically just like a larger residential system.  And then from

19    100 kW to, let's say, two megawatts.  You know, things get a

20    little different there, but I think maybe that would be another

21    tier we would look at.  So it's just kind of something to look

22    at, some options.

23              MR. GRANIERE:  So I think I've heard a change in

24    position from earlier.  If I recall earlier, it was there was

25    no number on the residential, but there was thinking of 25 for

FLORIDA PUBLIC SERVICE COMMISSION

90

1    commercial and manufacturing mainly because the commercial and

2    manufacturing at 25 to obtain the maximum benefit from Florida

3    at $100,000.  That's my recollection.  But now you're saying

4    that you would like -- your suggestion is 25 for residential

5    and 100 for commercial, is that what I heard?

6              MR. WALLACE:  That is correct.

7              MR. GRANIERE:  Okay.  I don't forget, see.

8              MR. WALLACE:  And then I also added that third

9    component as another tier, systems of 100 kilowatt to two

10    megawatt.

11              MR. GRANIERE:  Okay.

12              MR. HARRIS:  Something I heard -- this is Larry

13    Harris -- something I heard mentioned earlier was -- maybe it

14    was the same thing, or maybe I misunderstood.  I thought

15    somebody had mentioned the idea of doing it as a percentage of

16    the load.  Is that something like where the tiers would be, or

17    where the tiers would be something, you know, up to -- and I

18    get confused whether it was 10 percent, or 90 percent, or

19    whatever it was.  But is that the same thing or is that an

20    alternative way of doing this where the tiers would not be flat

21    numbers, but they would be percentages.  And if that's the

22    case, is that administratively more burdensome?  Because

23    somebody has to go out and calculate, or can you just look at

24    the service and say, oh, it's a 100 amp service; and so,

25    therefore, whatever percentage of that is this much.  As long

FLORIDA PUBLIC SERVICE COMMISSION

91

1    as the PV system is under that, we're good to go.

2              MR. REEDY:  Bob Reedy.

3              I would just comment that, yeah, if we're a

4    percentage of the service size, then whatever that percentage

5    is.  So many things are taken care of in terms of the

6    electrical characteristics of the interconnection.  So that if

7    we set a number, I have no particular problem with the ones

8    that Wayne suggested.  But practically in the field, what's

9    going on is you have a connection and you have -- everything is

10    designed to handle a certain amount of power flow.  And as long

11    as you're a certain percentage below that, it should not

12    matter.

13              There's an argument for, you know, having a number in

14    your head so that you can always -- you don't have to go look

15    at the service.  But that could create a situation where you

16    could actually have a larger -- if you had a tier like 100, if

17    the service was only 75 kVA, or kW, then, you know, you could

18    potentially have a larger export than the service is rated for.

19              Now, there's a lot of ways to catch that.  If you

20    detect a certain amount of ambivalence here on my part, it's

21    simply that we mostly would look for uniformity around the

22    state in whatever was done.  Either system probably could work,

23    and there's rationale for going either way, in my view.

24              MS. CLARK:  Bob, this is Susan Clark.

25              I think the way we approached this was that you

FLORIDA PUBLIC SERVICE COMMISSION

92

1    shouldn't arbitrarily set these tiers.  What should be the

2    driver is that the same process be applied to generation that

3    has the same characteristics.  That's what you would -- that

4    would be what the driver is, not some arbitrary number.

5              MR. SANDERS:  Bob, this is Tom Sanders.

6              In the same vein as Susan's comment, the 20 percent

7    of the load may turn out to be another designation point just

8    because that point between standby supplemental service being

9    offered or not, and also is a designation of an area where we,

10    you know, feel pretty strongly that it wouldn't be an islanding

11    problem on the grid.  So I'm not sure that if that corresponds

12    to a particular kilowatt level, but it's something else to

13    consider.

14              MR. GRANIERE:  Okay.  So what I'm starting to hear is

15    that it's getting a little bit harder to find standardization.

16    If we don't go with a kW -- you know, some percentage of the

17    energy usage, and if we don't go with a kW number, but we go

18    with the same process, the same characteristics, then we have

19    to try to -- and that becomes the way we look to do things, in

20    like a streamline fashion, then we need to work on what types

21    of generation have the same characteristics.  Would that be

22    fair?

23              MS. CLARK:  Well, I think the kilowatt level is part

24    of the -- is of the same characteristic.

25              MR. GRANIERE:  Okay. Great.  So we could -- this is

FLORIDA PUBLIC SERVICE COMMISSION

93

1    just a notion is that can we tie it to some sort of number or

2    some sort of concept that's measurable?  And that let's us see

3    it, and we always know where it is, and we sort of minimize the

4    role of subjectivity in the process.  Is that fair?

5              Okay.  So what we have, then, is that I think what

6    I'm hearing is that we can either go with kWh, or kW, or some

7    combination of the two, which is not unreasonable, either,

8    sometimes.  In fact, we actually could do that.  We really

9    don't -- but we need to work out where the break points are

10    right now.  We just need to work where the break points are.

11    And then once we work out the break points, then we need to

12    work out whether there's any differences or not between the

13    break points.  Would that be fair?

14              MR. WALLACE:  Yes, Bob, but may I add -- Wayne

15    Wallace.

16              Would it be fair to say that residentially we could

17    easily say PV systems, utility interconnection up to 25 kW,

18    because that's something that the utility would be in agreement

19    with?

20              MR. GRANIERE:  Well, I think that right now, since

21    this is an informational type workshop, that we can talk about

22    these numbers.  And, you know, it's clear that, you know, the

23    number that -- as an installer and a part of the solar industry

24    would prefer it would be 25.  I think it's probably premature

25    to ask for that kind of commitment from the utilities at this

FLORIDA PUBLIC SERVICE COMMISSION

94

1    time.  And I'm sure that that would occur in a more formal type

2    process.  And I don't think there is anybody here who could

3    reach a stipulation like that or an agreement like that anyway.

4    I mean, it is something that you could -- we could put out,

5    something to think about.  But I don't think it can go much

6    farther than that right now.

7              MR. REEDY:  Bob Reedy, just to add.

8              I understand that.  And I just think that it would

9    be -- in this informational stage, it's helpful to point out

10    that 100 amps, 240 volts is 24 kW.  And many homes can draw

11    more than that briefly or not, depending on how much strip heat

12    they have along with water heaters, electric water heaters and

13    stoves.  So, you know, even at -- my point of that

14    informational comment is even at 25 kW, it's in the realm of

15    everything that the utilities deal with at the residential

16    level.

17              MR. GRANIERE:  So I think the way I'm going to

18    interpret that is that says that if someone puts a 25 kW system

19    on their property, that they can do everything.  Is that what

20    you're saying?

21              MR. REEDY:  I'm just saying that in terms of

22    electrical behavior, this is very low.  It's not pushing any

23    limits at all in terms of what's happening electrically on the

24    system and is dealt with on a daily basis by the utility.

25              MR. GRANIERE:  You know, I guess -- you know, once

FLORIDA PUBLIC SERVICE COMMISSION

95

1    again I'm going to say that I'm not an engineer, and I'm not,

2    you know, real good on all of the ways the system works, you

3    know, as to how the power is actually flowing back and forth.

4    But I do seem to know that I don't think I've ever lived

5    anywhere where the demand that was drawn in that place was 24

6    kilowatts at any one time.  I mean, it's usually up there

7    around maybe six.

8              So I'm trying to figure out why is 24 or 25 kilowatts

9    all that important to a residential person, because I just

10    can't imagine -- maybe I'm wrong, but I just don't know any

11    house that draws that kind of kilowatts at one time.

12              MR. WALLACE:  A water heater is typically 4.5 kW.  An

13    oven or range can be, you know, 4 or 5 kW, depending on how

14    many elements are running.

15              MR. GRANIERE:  Okay.

16              MR. WALLACE:  And then if a strip heat kicks in, you

17    can add up numbers quickly.

18              MR. GRANIERE:  Yeah.  But I'm just saying that I've

19    lived in those kind of places, and that's what I'm trying to

20    get to.  I mean, I've lived in those kind of places.  Yeah.

21    You know, I had -- you know, I had a strip heat and I had an

22    electric thing, and I had a water heater in the apartment.

23    That's where I live right now, you know, except that I've got a

24    heat pump, you know, out in front of my bedroom window instead

25    of strip heat, which is there if it ever gets cold enough to

FLORIDA PUBLIC SERVICE COMMISSION

96

1    actually have to turn it on.  But I'm still finding 25

2    kilowatts is a pretty big number.

3              SPEAKER:  For residential.

4              MR. GRANIERE:  For residential.  I'm still finding

5    that as a pretty big number for residential.  I mean, the way

6    you get to that number is everything has to happen all at once.

7    I mean, everything has to happen all at once.  (Verbal

8    expression).  And what's the probability of that happening?

9    Probably pretty small.

10              MR. WALLACE:  If I may add comment.  Wayne Wallace.

11              I don't understand, you know, why is 25 kW a big

12    number?  I mean, let me also add this.  Solar panels, solar

13    modules, when we say 25 kW, those are what is like a perfect

14    scenario.  The system probably realistically puts out about 17

15    kW after you go through the efficiencies and the actual

16    sunshine in the area.  And then if it's five peak sun hour days

17    per day, that system is probably putting out X amount of

18    kilowatt hours a day.  And then it also boils down to like an

19    economy of the whole thing.  Most people will they do a 25 kW

20    if the rebate is only 5kW?  Probably not.

21              But there are the very few circumstances where

22    somebody that's very well to do that wants to give back just as

23    a green thing to do, and they may want to do a 20 kW system on

24    a cabana.  So, you know, they're a residential consumer, but

25    they've got -- their electric bill is way above that and beyond

FLORIDA PUBLIC SERVICE COMMISSION

97

1    that anyways.

2              MR. GRANIERE:  Well, I guess -- you know, I

3    understand those positions.  But, unfortunately -- well,

4    fortunately or unfortunately, I could go out in the parking

5    lot, and I can look at a 20 kW system, and it's pretty damn

6    big.

7              SPEAKER:  (Inaudible.)

8              MR. GRANIERE:  Yeah, that's big.  That's big, you

9    know.  What kind of residence can have one of those things on

10    them?  Obviously not a zero lot.  I'm pretty sure that's not

11    it, unless the zero lot is really big.  So there's a lot of

12    roof space, but that's a pretty big thing up there, isn't it?

13              SPEAKER:  (Inaudible.)

14              MR. GRANIERE:  Yeah, but that's big.  That's really

15    big, and it's out there in the parking lot.  Yeah, really big.

16              SPEAKER:  (Inaudible.)

17              MR. GRANIERE:  I'm just having trouble with that.  I

18    mean, you know, it's something we could talk about, but I'm

19    just -- I'd like to hear from the utilities about, you know,

20    what size they think is a good size for residential.  Because,

21    I mean, you're entitled to your opinion as to what size it is.

22    And I'm just -- and all I'm doing is I'm just looking to say

23    this is what I see.  And I just never saw that much on any

24    house anywhere.  I mean, I never just saw that much on any

25    house anywhere.  And I'm just wondering where that would go on

FLORIDA PUBLIC SERVICE COMMISSION

98

1    a residential application.

2              MR. HINTON:  Bob, just one thought.  This is Cayce

3    Hinton.

4              A house big enough to put in a 20 kW system on its

5    roof or on its property would probably be big enough to use it,

6    too.  You figure if the house is big enough to actually install

7    that much PV, then they've probably got a pretty large electric

8    bill to go along with it.  Just a thought.

9              MR. GRANIERE:  And all I'm going to say to that again

10    is that's a real big house.  And usually there are other

11    characteristics that go along with a really big house.

12              MR. SANDERS:  Bob, this is Tom Sanders.

13              And we just have to agree with you that the current

14    10 kilowatt application seems to satisfy most residential

15    needs.

16              MR. GRANIERE:  So you think that there's a

17    possibility that maybe 15 would be a nice number?

18              MR. SANDERS:  For a really big place, I guess.

19              MR. GRANIERE:  Yeah.  Okay.  Not quite as big as a

20    25, though, huh?

21              MR. SANDERS:  When we thought about the 25 limit, we

22    were also thinking in terms of the percentage of load, that

23    maybe the two could together for a commercial application.

24    Maybe that would be, you know, a small step in the right

25    direction where if it's less than 25 percent of their peak load

FLORIDA PUBLIC SERVICE COMMISSION

99

1    and it's a 25 kW system, you know, maybe that is an easy pill

2    to swallow.

3              MR. GRANIERE:  Okay.  So we'll look into it further.

4    But, you know, I mean, I think we just need to, you know, try

5    to find -- you know, sharpen this up a little bit more.

6              Okay.  How about the -- well, I guess we just got to

7    that one.  Should there be a charge -- should there be a change

8    to the capacity size of renewable generators that are eligible

9    for streamlined interconnection?  Well, I guess that's exactly

10    what we're talking about.  So that answer would be yes.

11              Okay.  Should there be restrictions on the type of

12    renewable energy providers that are eligible for this

13    streamline?  Okay.  Now, we get back to the idea should this

14    only be focused on PV, or should this be brought out to a

15    bigger set of renewables for streamlined interconnection, or

16    should it be streamlined only for PVs?

17              MS. CLARK:  Bob, I think it makes sense to streamline

18    it to the extent you can.

19              MR. GRANIERE:  For all types or just PV?

20              MS. CLARK:  No, for all types.

21              MR. GRANIERE:  Okay.  For all types.

22              MS. CLARK:  It seems to me that one of the things

23    that the IOUs have thought about is if you can do it through a

24    qualified inverter, that probably would be the key.

25              MR. GRANIERE:  Okay.

FLORIDA PUBLIC SERVICE COMMISSION

100

1              MS. CLARK:  And let me at this point, again, talk

2    about this is not -- we should not tie what we do in

3    interconnection to net metering.  They shouldn't be tied as

4    issues that -- if you would do something for interconnection,

5    it doesn't mean you should also allow the net metering.  They

6    shouldn't go hand-in-hand.

7              MR. GRANIERE:  I mean, this is -- I'll just say this

8    for me, Bob, personally.  I totally agree with you that I think

9    they are two separate documents and two separate things that

10    are done.  We could streamline without net metering, and we

11    could, of course, net metering -- we could, of course, net

12    meter without streamlining.  So, you know, they're not tied to

13    the extent that they -- you know, you can't do one without the

14    other.  What we would hope, of course, is that there is some

15    types that have both, if you know what I mean, both net

16    metering and streamlined interconnection.  That would be good.

17    Okay?

18              MR. REEDY:  Bob Reedy.

19              I'd have to agree with Susan that an inverter, if

20    it's an inverter output, there is no way to really -- they

21    behave the same way no matter what the primary power source for

22    energy is, if it's a fuel cell or any other inverter-based

23    technology in terms of electrical behavior in the

24    interconnection.

25              MR. GRANIERE:  Okay.  So I think that probably what

FLORIDA PUBLIC SERVICE COMMISSION

101

1    we -- what I think this particular group of staff needs to

2    understand better is what is the real importance of this

3    qualified inverter to all of this discussion.  Because I've

4    heard the word, but I really don't know what it means.  And so

5    if you could -- if someone could volunteer to help me out and

6    provide us with some sort of brief summary of what that

7    actually does, I think that would be helpful.

8              Because it's starting to come in, at least for me, to

9    say that as long as these -- as long as there is the right

10    inverters there we're on pretty solid ground.  And the right

11    inverter is something called a qualified inverter, but I really

12    don't know exactly what that is.  And what I'm thinking is that

13    qualified means it meets all the standards, right?  And then,

14    of course -- but beyond that, I don't know, and I don't think

15    anybody on the staff here knows what it means to -- what it

16    means when something meets all the standards.  You know what

17    I'm saying?  Like, you know, it says it meets all the

18    standards.  And I say, okay, well, what does that mean?  Does

19    that mean I could spell a big word or -- you know, I don't

20    know.  That's what I'm trying to find out.

21              MR. REEDY:  Bob Reedy.

22              MR. SANDERS:  This is Tom Sanders.  I wish I was an

23    expert on this particular area.  My general understanding is

24    like yours, if it's UL approved and meets IEEE 929 and also

25    1547, that it's going to be an acceptable inverter.  But maybe

FLORIDA PUBLIC SERVICE COMMISSION

102

1    one of the solar representatives here has got a better

2    definition for the currently --

3              MR. GRANIERE:  But I'm sure that somebody out

4    somewhere could, like, write a page or two and say what that

5    really is.  I just need a volunteer.

6              MR. REEDY:  Bob Reedy.  We'll volunteer to do that.

7              MR. GRANIERE:  Okay.

8              MR. REEDY:  And we'll copy everyone and --

9              MR. GRANIERE:  Okay.  Great.

10              MS. CLARK:  You want us to tell you what would be --

11    what constitutes a qualified inverter.

12              MR. GRANIERE:  Inverter, yes.  Yeah, you know, beyond

13    just the fact that it meets the standards.  I know that, but I

14    don't know what you get when you meet the standards.

15              MS. CLARK:  You mean what safety and what does it

16    provide?

17              MR. GRANIERE:  Yes.

18              MS. CLARK:  Okay.

19              MR. GRANIERE:  Yes, you know -- you know, like I

20    heard it provides certain safety things and probably some other

21    things beyond that, I would guess.  And if that's, you know,

22    what we -- so then we could always know what we're talking

23    about when that word comes up, because that word is more than

24    just two words.  It brings up a whole mental picture, and the

25    mental picture I get is kind of a blank screen.  So that's --

FLORIDA PUBLIC SERVICE COMMISSION

103

1    you know, I'm trying to, you know, get us something a little

2    bit more concrete.

3              SPEAKER:  A little bit clearer definition from the

4    utilities?

5              MR. GRANIERE:  Yeah.  Okay.

6              I guess we have touched upon this next question,

7    which was should the streamlined interconnection be confined to

8    on-site or customer-side interconnection, and which would mean

9    that it would be -- it would not be applied to someone who

10    interconnects at transmission.  What's the utility's position

11    on that one?  I mean, I don't think the PV people have much to

12    say about that, unless they're doing some grid-sized PV

13    application, which would be fairly large.  So this has to do

14    with the other types of renewables.

15              SPEAKER:  We feel that it should be on the customer's

16    side of the meter.  Of course, we also have some transmission

17    connected customers, too, so --

18              MR. GRANIERE:  Yeah.

19              SPEAKER:  -- it doesn't necessarily have to be only

20    at distribution.

21              MR. GRANIERE:  Okay.  So, am I hearing you say that

22    there may be some renewables that we could streamline

23    interconnection on the transmission side, or, no, we cannot?

24              SPEAKER:  It depends how big again.

25              MR. GRANIERE:  Huh?

FLORIDA PUBLIC SERVICE COMMISSION

104

1              SPEAKER:  It would depend how big again.  How large

2    of an installation relative to the customer in particular.

3              MR. GRANIERE:  Okay.  So that would mean that you

4    can't streamline it, I guess.  See, I guess what I'm having

5    trouble with is a streamline process on a case-by-case basis.

6    You know, it seems to me to be counter-intuitive.  So I'm

7    just -- so I'm looking for either a yes or a no on the

8    transmission side.  I mean, in general, yes or no.

9              SPEAKER:  At this time no.

10              MR. GRANIERE:  No.  Okay.

11              SPEAKER:  A short answer.

12              MR. HARRIS:  Any questions?

13              (Inaudible.)

14              MR. GRANIERE:  Okay.  We have -- I mean, we have one

15    of the -- one of the eligibility restrictions just popped up,

16    which is that if you connect on the transmission side, you

17    probably won't be eligible for streamlined stuff.  Are there

18    anything else that we might want to consider as to why some

19    sort of renewable provider might not be eligible for

20    streamlined interconnection?

21              MS. CLARK:  I think it is the technology of it, and

22    can it be standardized.  I mean, I guess I've made the jump

23    that when you talk about streamlining, I view it as something

24    that can be standardized.  And I think that it -- what I

25    understand is for the higher capacity renewable resources there

FLORIDA PUBLIC SERVICE COMMISSION

105

1    is less opportunity to standardize.

2              MR. GRANIERE:  Okay.  Okay.  So for the higher

3    capacity renewables, less opportunity.  But let's use the

4    example that Cayce suggested one day that someone puts a

5    digester in their backyard.  Okay.  So it would be a little

6    tiny guy, and it would be -- you know, it would be something in

7    your backyard that's, you know, doing things to biomass, and it

8    would look like a PV, but it really wouldn't be a PV.  It would

9    be a digester.  It would be a biomass thing.  And let's say

10    it's less than 10 kW, okay, for now.  Could that be

11    streamlined?

12              MS. CLARK:  It would seem to me if the -- I guess if

13    the concerns about the interconnection were the same, and it

14    could use the same interconnection device or process, then yes.

15              MR. GRANIERE:  Okay.  So what it boils -- so the

16    technology is not all that important, it's really the

17    interconnection characteristics that are the more important

18    thing?  Okay.  Great.

19              Do you guys feel that that's okay?  Solar guys?  You

20    know, we always like (inaudible).  Yeah.  It's in there.

21    Everybody wants to make money, right?

22              Okay.  Next, alternatively -- well, I think we've

23    already decided there probably will not be one streamline

24    procedure.  That, you know, we'll need to go more along maybe

25    tiers or something like that.

FLORIDA PUBLIC SERVICE COMMISSION

106

1              MS. CLARK:  Yes.

2              MR. GRANIERE:  You know, if we do that.  So the

3    answer to that is no.

4              Okay.  And, on 15, as to what types of renewable

5    energy providers should not be eligible for standby electricity

6    service, I think we answered that, is that since they're buying

7    an option, as I understand it, anybody can be eligible for

8    standby service.

9              MR. JONES:  Bob, this is Jeremy.  Can I back up to

10    the last question real quickly?

11              MR. GRANIERE:  Sure.

12              MR. JONES:  If the two requirements are meeting the

13    safety issues and sizing it, whether that's based upon not

14    exceeding too much of the customer's load or not, if those are

15    the requirements, and they're able to be met at a 10 kW level

16    or a megawatt level, and they're the same requirements at

17    either level, then what would be the purpose of the tier?

18              MR. GRANIERE:  Well, that's exactly what we were

19    talking about.  And so the answer is right now we're working on

20    the tiers, because we don't have agreement that they are the

21    same.  So to get off of the tier idea, we need a showing on

22    somebody's part that they are the same.

23              MR. JONES:  Okay.

24              MR. GRANIERE:  We just can't just say, poof, they

25    are, or, poof, they aren't.  So it's better to work along the

FLORIDA PUBLIC SERVICE COMMISSION

107

1    lines and say they aren't the same, and that the size of the

2    system does matter, and then create that as, I guess -- what's

3    that legal word?  Would that be a rebuttable presumption type

4    deal?  And then let someone else come in and say, no, this is

5    why it's not the case.

6              It doesn't mean that we're not going to do it.  It

7    just means that -- so it's -- it's not a deal breaker.  That

8    means you come in and say we're not going to get

9    standardization.  The difference will be, will there will be

10    three different standardizations based on the size of the

11    system, or will there be only one standardization because the

12    size of the system doesn't matter, but in the end we will have

13    some standardization that we don't have now.

14              Now we have standardization for 10 kW.  At the end of

15    this we'd have standardization for three -- right now three

16    levels or about.  They might not all be the same, but there

17    would be three as opposed to the alternative of only one all

18    the way up to a megawatt.  But there's still more

19    standardization now than there was before.  And the answer is

20    to get more standardization.  Now, I know what you would like,

21    but that's not necessarily what we are going to get.  Okay.

22              MR. WALLACE:  All right.  Bob, Wayne Wallace.  I have

23    a question on the -- I'm really uneducated on this standby

24    electricity, so I don't really even understand that.  When

25    you -- when you say which energy providers, I mean, is this

FLORIDA PUBLIC SERVICE COMMISSION

108

1    something that -- like large, oh, I don't know, waste burners

2    or something that --

3              MR. GRANIERE:  No.  Basically -- you know, I can

4    understand why you don't have an understanding of it.  This is

5    one of those things that rate people do and people who worry

6    about and people who design really big systems worry about.

7    But my understanding of it is -- now, is that the way the

8    standby works is that, basically, a consumer who chooses

9    on-site generation buys an option to be served if, for some

10    reason, their generation goes off line, because the alternative

11    of not buying that option would be that if you go off line, too

12    bad for you.  And that's what it boils down to.  And that's

13    what it boils down to.

14              So it says -- and a customer could do that if they

15    wanted to.  I mean, there's no reason why you have to buy

16    standby service.  You could just say I don't want to buy

17    standby service.  I mean, conceivably somebody could say that.

18    And then if their system breaks down, they just don't have any

19    electricity.  And right then it's too bad for them.  So,

20    basically, you're buying an option.  And they're planning for

21    the option -- and they're planning for the option that you buy.

22    But if no one bought that option, then they wouldn't plan for

23    it, and that would be that.  But then when your system went

24    down, you'd be without electricity.

25              MS. CLARK:  Bob, this is Susan Clark.

FLORIDA PUBLIC SERVICE COMMISSION

109

1              I think as pointed out by Bill Ashburn today, that if

2    you have generating for other than just emergency purposes, you

3    would be eligible for the standby service.  If you supply more

4    than 20 percent, you would be required to be on standby

5    service.

6              MR. GRANIERE:  Yeah.  Right.  Yeah, I know.  And, you

7    know, those were some of the things, and I don't see anything

8    that's wrong with that.  It's just part of, you know, to

9    further on.  But that's -- all of those things are further on

10    because the standby service is out there if someone didn't have

11    it.  And if no one had it, that would just -- you know, it

12    would just be you wouldn't get it.  But you have to be

13    self-sufficient.

14              MR. REEDY:  Bob Reedy.

15              It's my understanding that the standby, when these

16    rules were developed, really PV was not an option, a real

17    option at all.  And as a result, standby is a very -- I mean,

18    self-generation, excuse me, is relatively -- in the past has

19    been a relatively small percentage of customers.  And when you

20    have a small sample group, the structures of ratemaking -- you

21    can see why I say it's my understanding, because then I'm

22    covered, because I may not understand very much.  But, anyway,

23    the behavior of the sample of the rate class is such that it's

24    hard to apply.  So, basically, you come up with what amounts to

25    a negotiated contract for service.  And that means you sit down

FLORIDA PUBLIC SERVICE COMMISSION

110

1    and --

2              MR. GRANIERE:  Sure.

3              MR. REEDY:  -- talk it out.  And it's usually a

4    customer -- we're talking about a customer that's large, it's

5    an industrial process.  There's a lot of clout in the hands of

6    that customer before they build their facility.  You know,

7    well, I won't build my plant unless you give me a good deal or

8    some type of thing.  So I think it really doesn't work well

9    with the world we're talking about.  We're talking about PV

10    systems that at most will go on Big Box stores or those types

11    of commercial installations.  And the negotiated rate type of

12    concept may not apply.

13              And I'm just suggesting that if we looked at those

14    stores as they're looked at today when they don't have

15    generation, then all the rules and the processes that are

16    involved in ratemaking do work, and that's where my comment

17    about how the demand charges take care of all this.  Because

18    the demand --

19              MS. CLARK:  Bob --

20              MR. REEDY:  -- the demand structure says, you know,

21    you're no different if you're -- if you're off -- if you decide

22    to shut down your business and go home for a siesta in the

23    afternoon, it looks the same looking into the electrical system

24    as if you turned on some PV during that part of the day and

25    it's taken care of.

FLORIDA PUBLIC SERVICE COMMISSION

111

1              MS. CLARK:  Bob, this is Susan.  I have a question as

2    to why we -- yesterday and today, why are we even discussing

3    the standby service?  To the extent how does it relate to the

4    interconnection?  I'm asking you how --

5              MR. GRANIERE:  Okay.

6              MS. CLARK:  -- you all see it relating.

7              MR. GRANIERE:  Well, the reason normally is that the

8    standby service is normally part of the interconnection

9    efforts, because you generally do the standby negotiations at

10    the same time you're doing your interconnection.  So you do

11    both of them together.

12              MS. CLARK:  Okay.  So you see it as part of the

13    interconnection agreement?

14              MR. GRANIERE:  The interconnection standard, you

15    know.  And that's how it was described by what's his name,

16    Mr. Ashburn.  And --

17              MS. CLARK:  Who?

18              MR. GRANIERE:  The guy from TECO.

19              MS. CLARK:  Okay.

20              MR. GRANIERE:  And, you know, it was basically

21    described that way, that they sit down and they -- and it's --

22    and the standby charge is determined through contract and

23    negotiated on a case-by-case basis.  So it's not really a

24    standby rate that applies to everybody.  So you would say that

25    both of those things happen at the same time.

FLORIDA PUBLIC SERVICE COMMISSION

112

1              And I think really what Mr. Reedy is saying is that

2    in his -- what I'm hearing him saying is that he really doesn't

3    see a need for a -- for a standby charge for PVs, because -- I

4    don't think it has much to do with the fact that it is stable

5    or anything, it's just that they're so small they don't matter.

6    And I don't know if that's true or not.  But that's what I'm

7    hearing, that they are just small enough that they don't

8    matter.

9              And so -- but then, of course, that wouldn't be the

10    case if the -- you know, if the PV was a megawatt, then they

11    would matter.  And so it would be a different situation then.

12    So I guess, once again, we're down to the -- the idea of how

13    big is it.  But it always seems to come back to that, how big

14    is it?

15              MR. REEDY:  How big it is -- excuse me, Bob Reedy --

16    with respect to the load, I think is still a relevant question.

17              MR. GRANIERE:  Yeah, that's what I'm saying, how big

18    it is with respect to the load.

19              MR. REEDY:  It's not an absolute number.

20              MR. GRANIERE:  Yeah.  And that's what I think.  You

21    know, it keeps coming down to that.  And --

22              MR. REEDY:  And I just -- I just believe that the

23    current self-generation, even the largest utility, maybe we

24    could get an idea from them, but even the largest utilities

25    probably only have, you know, a few of these types of

FLORIDA PUBLIC SERVICE COMMISSION

113

1    customers.

2              MR. GRANIERE:  Yeah.  I mean, that's what I'm saying.

3    I'm saying that what I'm hearing you say is that it's not a big

4    enough or a widespread enough deal that you actually need a

5    rate like this on the books, is what I'm hearing.  But on the

6    other side, there is the other side that says, but the person

7    is buying an option from you, and you do have to serve them,

8    and you do have the requirement to serve them.  And so if you

9    want that protection, then you should be willing to pay some

10    price for that protection and that option.

11              So there are two sides to the argument.  One says

12    that it's a de minimus problem, and it really doesn't affect

13    anything, so why go through the work of getting it.  And the

14    other side says, yeah, but you are buying an option, and you

15    are getting the protection and everything else, because -- and,

16    basically, someone else is bearing all of the risk that they

17    have, even if it is a small de minimus risk.  So that becomes a

18    judgment call, and it really doesn't say who is right or wrong.

19    It's just a plain old judgment call at -- you know, at some

20    time.  And right now the judgment here is that if you buy an

21    option, you should pay for it.

22              MR. REEDY:  And my question would be if -- excuse me,

23    Bob Reedy.  I'll pose it in specific terms.  If I'm a Big Box

24    store, and I apply for service.  And not saying I may have

25    emergency generation, we all understand how that fits into the

FLORIDA PUBLIC SERVICE COMMISSION

114

1    picture.  That's disconnected when the grid goes down.  But I

2    apply for service, and I'm going to be a 500 kW peak demand.

3              MR. GRANIERE:  Uh-huh.

4              MR. REEDY:  If I install 100 kW of PV on my roof.

5              MR. GRANIERE:  Right.

6              MR. REEDY:  My question would be how is it different

7    in the ratemaking process?  This is not a standby customer.

8    They have some self-generation, partial self-generation, but

9    how is it different and could it be distinguished in the rate

10    process than if I just chose between the hours of 11:00 a.m.

11    and, say, 6:00 p.m. to turn off 100 kW of my discretionary

12    loads, maybe I have chiller -- freezers or some type of

13    chilling, or I would change my air conditioning profile.  And I

14    do this actively today to lower my demand charge.  How is that

15    different from turning on some PV to meet that demand and allow

16    me to continue to run those services?  My belief is that today

17    utilities are ambivalent to that.  It's built into the rate

18    through the demand structure.

19              MR. GRANIERE:  I think what -- I think that -- from

20    what I'm hearing you saying it's not the thing that we're

21    talking about.  You're saying that you have a 500 kW load, the

22    other guy is only giving you 400 of it, and you're going to

23    supply the 100 of it.

24              MR. REEDY:  No, sir.

25              MR. GRANIERE:  Right.  And then here's my question,

FLORIDA PUBLIC SERVICE COMMISSION

115

1    and I think this is the question that we come down to.  Let's

2    say you don't supply the 100 of it.  Do you want them to supply

3    that 100, or are you willing to do voluntary load management?

4    And if you're willing to do voluntary load management, let's

5    say are you willing, if you do voluntary load management, to

6    the fact that you don't actually do it, for whatever reason,

7    would you be mad if I came there and said you owe me a million

8    dollars because you didn't do what you said you were going to

9    do.

10              MR. REEDY:  No, sir.  That's not really the question

11    I'm posing.

12              I'm posing a very specific question.  I have a 500 kW

13    service, so my demand could be up to 500 kW.  I can operate --

14    in fact, let's go ahead and let me go in service, and I operate

15    for two years.  And during those two years, in order to avoid

16    demand charges or minimize my demand charges on peak, I

17    activate my own internal controls, like Disney does and many

18    other stores, Wal-Mart, and I minimize my demand.

19              MR. GRANIERE:  Sure.

20              MR. REEDY:  Now, after two years I decide to put a

21    100 kW PV system on my roof.

22              MR. GRANIERE:  Okay.

23              MR. REEDY:  Big roof.

24              MR. GRANIERE:  Okay.

25              MR. REEDY:  And because of that 100 kW system, I made

FLORIDA PUBLIC SERVICE COMMISSION

116

1    that investment, I say, you know what, now I can run these

2    store displays during the middle of the day or I can run -- I

3    can change my process, I can open another line of --

4              MR. GRANIERE:  Sure.  Okay.

5              MR. REEDY:  So I do that.  Nothing has changed in

6    terms of my demands of the utility.  The understanding with the

7    utility, the planning process, I'm just running my internal

8    process differently.  If the system shuts down for some reason,

9    or it's a cloudy, rainy, or it's a really cloudy day or

10    something, then the demand goes to 500 kW, it behaves the same

11    as if my load -- internal load management controls, which last

12    year, oops, we screwed up, and we ran up to 500 kW.  So I'm

13    submitting here that without you looking at my store, you

14    cannot tell me whether I had PV there or not, all you can see

15    is that my demand went up.

16              MR. GRANIERE:  No, I think I could.  Because,

17    basically, what you're saying is that you're saying you could

18    incur a demand charge of 500 times whatever the kW demand

19    charge is, and that's what you would have been paying each

20    month, but you've decided not to do that.  Instead, you've

21    decided to only do 400 each month.  So if I looked at your

22    bill, I'd say you're a 400 kW customer.  And then you come

23    along and say, oh, poof, I have another 100 kW, so now I'm a

24    500 kW customer.  But as far as I'm concerned, you're still a

25    400 kW customer.  And then if you knock off, then you're still

FLORIDA PUBLIC SERVICE COMMISSION

117

1    a 400 kW customer, because that's what I planned you for --

2              MS. CLARK:  Bob --

3              MR. GRANIERE:  -- a 400 kW customer.

4              MS. CLARK:  This is Susan Clark.

5              I guess I'm still trying -- I though what we were

6    concentrating on is --

7              MR. GRANIERE:  Well, basically, what we're getting to

8    is the fact that he's -- that the argument -- that the

9    discussion here is, is a standby charge necessary for PVs and

10    small renewables, is what we're getting to.

11              MS. CLARK:  Well, I know that was on your list of

12    issues to be discussed at later workshops when you had the

13    initial workshop --

14              (Tape change.)

15              MR. GRANIERE:  But --

16              MS. CLARK:  As I understand it, what rate you're on

17    or the issue of the standby rate is not part of an

18    interconnection agreement.  It is a consideration that the

19    customer would look at in terms of deciding what rate to be on,

20    and at least if they're generating more than 20 percent, they'd

21    have to be on the rate.  But I thought our focus was more on

22    the interconnection itself.

23              MR. GRANIERE:  Well, I would think -- you know, I

24    have to respectfully disagree on this one, because I kind of

25    think that the interconnection agreement is a contract and part

FLORIDA PUBLIC SERVICE COMMISSION

118

1    of -- from what I'm hearing, part of that contract is the

2    standby charge.  And if that's the case, then -- but if that's

3    not the case, then we don't have to worry about it.

4              MS. CLARK:  That's not the case.

5              SPEAKER:  (Inaudible.)

6              MS. CLARK:  Not a part of the interconnection

7    agreement.

8              SPEAKER:  (Inaudible.)

9              MR. GRANIERE:  Okay.

10              SPEAKER:  (Inaudible.)

11              MR. GRANIERE:  Okay.

12              MR. REEDY:  Bob Reedy.  I would point out, though,

13    that standby charges are a major factor in deciding whether or

14    not to interconnect and whether or not to even build a system,

15    a PV system.  So it may be in a technical -- I mean, in a

16    legalistic sense they can be separated, but in a practical

17    sense of whether it makes a good business decision to install

18    PV systems, if you are a commercial customer, standby charges

19    are a significant thing.  And, thus, my somewhat dogged

20    determination to cast what I believe is a rather more common

21    scenario than the reciprocating engine, steam cycle industrial

22    types of scenarios, negotiated rate scenarios.

23              In order to have development of a common standard

24    going onto commercial stores where everything is very

25    traditional and well-behaved, we've got to have an

FLORIDA PUBLIC SERVICE COMMISSION

119

1    understanding on standby rates, as well.  So I just believe

2    that they cannot be separated.  And I also believe that they

3    cannot be identified, because even if I manage my -- in my

4    hypothetical there, if I manage my load to 400 kW, my deal with

5    the utility in signing up is it's a 500 kW service.  And they

6    are certainly prepared through their rates to serve that.  And

7    typically if my load management program is internal, I often --

8    you know, stores will screw up and get hit with high demands.

9    So there's plenty of notice that that is potentially possible

10    and it should be recovered through the demand charges.

11              MR. GRANIERE:  Well, the only thing -- well, one of

12    the things I did learn is that standby rates will be a

13    contentious issue.  Okay.  So we've learned that.  And now --

14    and we need to decide how contentious that will be in the part

15    of getting more renewables on the ground and, hopefully, it

16    won't be a deal breaker on the smaller stuff, which is where

17    we're looking for the standardization, and where we're looking

18    for the net metering, that it doesn't become a deal breaker on

19    those types of things.

20              But, you know -- but it's nice to know where the deal

21    breakers are, and so I guess we've found one.  And now we just

22    need to do, what we are going to do about it.  But it seems

23    like we've found one.  And, of course, when you can't -- when

24    something like this happens, I guess somebody else will decide

25    the issue, and that will be that.

FLORIDA PUBLIC SERVICE COMMISSION

120

1              SPEAKER:  (Inaudible.)

2              MR. GRANIERE:  All right.  There is no such thing as

3    a deal breaker, except -- unless you are two private companies,

4    of course, which you're not.  So that takes care of that.

5              MR. HARRIS:  Bob, Larry Harris.  One of the things

6    I'm hearing, though, is this sounds like it is a much bigger

7    issue, not just for the PVs, but for everyone else.  I see

8    Michelle in the back of the room.  She's probably listening and

9    thinking, you know, rate structure, wait a second.  They've got

10    jurisdiction over munies and co-ops, and rate structure

11    arguably.  So what I'm thinking is, hearing this conversation,

12    it strikes me as this is almost a third staff informational

13    workshop on a third track where you would have not only the

14    IOUs and the PVs in, but I would guess the munies and co-ops

15    would be interested, very interested.  I would suspect that you

16    would have the other renewable generators very interested.

17              The challenge is keeping them from hijacking it.  And

18    you have, you know, IMC coming in and saying, we've got, you

19    know, 250 megawatts of standby, and we want to hijack this

20    entire proceeding and talk about reforming our 250 megawatts

21    versus, you know, somebody coming and talking about, you know,

22    these small one megawatts.  But that's what I'm hearing, and I

23    don't think anybody -- I know I'm certainly not competent to

24    talk about these rate structure issues.  And I think we have

25    specialized staff who just do that.

FLORIDA PUBLIC SERVICE COMMISSION

121

1              MR. GRANIERE:  Sure.

2              MR. HARRIS:  I'm sure the utilities have specialized

3    people and the munies and co-ops have specialized people.  And

4    I would guess some of the bigger renewable companies probably

5    even have people who -- you know, the waste burners and the,

6    whatever they call themselves, municipal solid waste, probably

7    have specialized standby people, and they probably can provide

8    a pretty good background and really fill the universe of what

9    are the issues, what are the policy decisions that have to be

10    made.

11              And listening to what I heard from this side of the

12    table earlier, you know, they were discussing what can the

13    state of Florida do to move forward and show that we are

14    interested in, you know, photovoltaic or interested in

15    renewables.  This sounds like the kind of thing that is a very,

16    very large elephant in the room.  But it also has some

17    potential for the Commission to really start staking out some

18    policy declarations.  I like what you said, which is that we

19    don't want it to be a deal breaker for net metering or

20    interconnection agreements.

21              MR. GRANIERE:  Yes.  Basically, the streamlined

22    interconnections and the net metering, I certainly would hope

23    that this would not be a deal breaker on those, because it

24    doesn't seem to be -- I just hope it won't.  I mean -- but I,

25    you know, would think that, you know, if there's a policy on

FLORIDA PUBLIC SERVICE COMMISSION

122

1    this issue, then the resolution will be found somehow.  You

2    know, that's what we know about, you know, private negotiations

3    versus these public/private type deals, you know.  Private

4    ones, they do have disagreement points and people walk away

5    from them.  On these public/private ones, there is no such

6    thing as a disagreement point.  All there is is a point that

7    doesn't require a third party to make a decision.  That's what

8    it boils down to.

9              In this kind of environment, and you know as well as

10    anybody does, that if there is a disagreement point between two

11    parties, then there's a third party who steps in and makes the

12    decision.  Or nothing happens.  I don't know.  One of those two

13    things happen.

14              So I guess we can't go any farther on this.  We've

15    sort of exhausted it for now, and that's about it.  But I think

16    you're right, we need to get up to the standby rate and start

17    that as a bigger thing.  And I think as, you know, as we said

18    earlier, that, you know, the other people didn't come.  And

19    they probably didn't come because they didn't think they had a

20    dog in this fight.  But now we've found out that probably on

21    the standby rates they do.  And so those who --

22              MR. REEDY:  Small commercial and -- Bob Reedy --

23    small commercial and residential is 99 percent of what

24    certainly at FSEC we're concerned about --

25              MR. GRANIERE:  No, I know.  We understand that.  I

FLORIDA PUBLIC SERVICE COMMISSION

123

1    mean -- I mean, we understand that we're talking about --

2              MR. REEDY:  Those are all below the -- they're not

3    even eligible for standby service, and so --

4              MR. GRANIERE:  And so if they are not eligible for

5    standby service, then we're really wasting our time.

6              MR. REEDY:  Yes, sir.

7              MR. GRANIERE:  I mean, so then -- so I guess then we

8    have -- it's gone as far as it's going right now.  There's

9    nothing else left to say.

10              As for the next area, which is technological issues,

11    I think we talked about this, why our technology restrictions

12    are important.  And we finally found out that probably they are

13    not that important.  What's more important are the

14    interconnection characteristics.  And I think that's what we

15    learned today.

16              Why is it important for safety requirements to be

17    included in the interconnection, regardless of whether the

18    renewable energy provider is eligible for standardized

19    streamlined interconnection.  I think we figured that out, too.

20    It has to do with that qualified inverter.  And once we learn

21    about that, then we'll know about why they're important and why

22    they're not.

23              How does the interconnection of the renewable energy

24    provider differ from the interconnection of the non-renewable

25    energy provider?  Well, basically, what we're working on here

FLORIDA PUBLIC SERVICE COMMISSION

124

1    right now is generally most of these guys are on the customer

2    side rather than on the transmission side.  And so they're not

3    really IPPs, although they may be some day.  But right now they

4    don't look like they're IPPs, except for those municipal solid

5    waste guys who are IPPs.  So, you know, we have -- but nobody

6    here at this table is in that business, so they have to show up

7    at a different time to talk about their stuff.

8              And then we come down -- and I don't think anybody is

9    thinking about an IPP, someone with like 100 megawatts of power

10    asking for net metering.  Somehow I just don't think that

11    that's going to happen.  And so I don't think that that's an

12    issue, either.

13              So then we get down to the financial and rate-related

14    issues, which are what factors that should be considered when

15    developing an interconnection charge?  Well, we already know

16    the factors that are considered on this, at least for the 10 kW

17    stuff.  And I'm sure there's other factors that are shown in

18    the interconnection charge for people that are bigger than

19    that, and that's where we need to find out some more

20    information.  Because if we're going to streamline to a higher

21    level than 10 kW, we need to know what we can do to set tariffs

22    or charges like that, much along the same way that we do a 10

23    kW type deal, which we don't have right now.  Okay.  So that's

24    an area we need to think about and talk about.

25              And I think right now that the people who can speak

FLORIDA PUBLIC SERVICE COMMISSION

125

1    to these issues are the IOUs, more than any of the solar people

2    here.  So what I'm going to just ask is that if you all can

3    think about what we need to do to boost these numbers up.  And

4    I think by the time we leave here today, we just need to set

5    tentative breaks just so we sort of get some idea so we have

6    some framework of which to talk about these issues in.

7              Not that they're meaningful in the sense that these

8    are where the breaks will be, but just something to say instead

9    of saying the breaks are X, Y and Z, we'll just give numbers to

10    those X, Y and Z, so we just get an idea as for what we look at

11    or have to look at differently to do that type of stuff.  But,

12    of course, I mean, this is a workshop, so anybody who wants to

13    talk about these things right now is, you know, more than free

14    to do that, but I think it's pretty much the IOUs that would

15    have to do the talking on this one.

16              Okay.  Moving along.  What are the factors that

17    should be considered when developing a charge for standby

18    power.  We've already figured out what that is.  That's another

19    workshop.  So off we go.

20              What are the additional costs that the host utilities

21    incur when they interconnect customer -- when they interconnect

22    customer-side renewable energy?  And, actually, I didn't hear

23    too much at all about additional costs.  But that would be nice

24    to know.  You know, what are the actual additional costs that a

25    utility incurs when it does interconnect customer-side or

FLORIDA PUBLIC SERVICE COMMISSION

126

1    on-site generation?

2              MS. CLARK:  Generally, it would be metering, meter

3    reading and billing costs.  And, also, depending on the

4    interconnection installed, there might be operation and

5    maintenance expenses for ongoing maintenance and future

6    replacement of facilities.

7              MR. GRANIERE:  Okay.

8              MS. CLARK:  And then under your current rule, that's

9    billed to the customer.

10              MR. GRANIERE:  Okay.  And that's currently billed to

11    the customer.  Okay.

12              Aha, we got to the cross-subsidization issues, and

13    I'm just going to pass over that one right now.  Okay.  You

14    know, if that's all right with you.  And I'm actually working

15    on a little bit of a schematic thing that, you know, tries just

16    to give an alternative view of what this subsidization is or

17    isn't.  And I'll be glad, once I finish it, I'll put it in the

18    record and share it with everybody.  Okay?  You know, it

19    just -- and I'll tell you up front what I'm trying to do.  What

20    I'm trying to do is follow the dollars, okay?  And see what

21    happens as we follow the dollars.  And then finally get to the

22    point to see what's happening.  And, hopefully -- and I'll even

23    tell you what I'm planning on doing.  I'm planning on starting

24    with a two-person system, then I'll increase it to a

25    three-person system, and then I'll increase it maybe to a four

FLORIDA PUBLIC SERVICE COMMISSION

127

1    or five to see if anything changes as I add one.  But what I

2    suspect is that once I get from two to three, I'll have

3    everything I need to know, you know, in the schematic.  And

4    then the rest becomes just a whole bunch of people.  But other

5    than that, I think I've captured everything from going from two

6    to three.  That's my gut feeling.  But I'll work it out and see

7    what happens.

8              MS. CLARK:  We would appreciate the opportunity to

9    look at it and --

10              MR. GRANIERE:  Oh, of course.  Absolutely.  You know,

11    I'll work it out and share it with everybody, and then they can

12    tell me where I, you know, went wrong.  Okay?

13              And then we have how important is the revenue effect.

14    Well, you know, we have sort of hinted around on this, and the

15    only thing that I could think of right now is Judy and I -- who

16    is not here.  That's okay.

17              SPEAKER:  Dentist appointment.

18              MR. GRANIERE:  That's right, dentist appointment.

19    She told me about that.

20              There was somewhere in the past that we heard we had

21    something like 46 new systems tacked on since the new rule, but

22    we didn't know how many systems that were there before the new

23    rule.  So let's say that there was 200 systems tacked on at 10

24    kW a system, something like that.  I'm pretty sure that when

25    we -- when we start to roll that all into a ratemaking exercise

FLORIDA PUBLIC SERVICE COMMISSION

128

1    that's done over the entire utility, that we're talking about

2    something that's going to change the rate from maybe out there

3    in the fourth or fifth decimal place.  So what I'm really

4    saying is that it's not a big deal from -- that's my gut

5    feeling.  But, you know, I'll be glad to read anybody or, you

6    know, anything that says it is a big deal.  Okay?

7              MS. CLARK:  Bob --

8              MR. GRANIERE:  But my gut feeling is that it isn't.

9              MS. CLARK:  This is Susan Clark.

10              I think I was looking for a little more explanation

11    of what revenue effect you were talking about.  Are you talking

12    about the cost of streamlining the process or the potential

13    cost or revenue impact of more renewable resources coming on

14    the system?

15              MR. GRANIERE:  Well, what I'm saying is that I think

16    both of those things will be actually like in the grand scheme

17    of things not a really big revenue issue.  I think that the net

18    metering won't be a big revenue issue, and I also think that

19    the streamlining being restricted to, you know, not the entire

20    world or anything like that, but something that's manageable,

21    that the additional revenues that are incurred to do the

22    streamlining will be more than recovered on the back end by not

23    having to spend so much time doing these things in the future.

24              And as for what will be the treatment of the

25    additional costs that are uncovered -- you know, incurred to

FLORIDA PUBLIC SERVICE COMMISSION

129

1    get the streamlining done up front, you know, that's beyond me.

2    I don't know what they do with that.  You know, maybe there's a

3    clause somewhere.  I don't know.  But I just don't know what's

4    going to happen to that.

5              But what my expectation is and what is always the

6    expectation of streamlining is that once you do the work to get

7    it streamlined, on the back end there's more than enough cost

8    recovery that you really don't need a revenue requirement

9    treatment on it.  But, anyway.  But I'm not going to get there.

10    That's not what I do.  But that's just my thinking.  And the

11    thinking generally is that streamlining makes things easier,

12    less costly and speedier.  I won't say more efficient, because

13    I hate that word.  So we use speedier, easier, and less costly.

14              So, that's the last question.  So it's 2:30,

15    everybody is happy.  And so I sort of made a closing statement.

16              I just want to thank everybody here who came and

17    provided their expertise and input and listened, even if they

18    didn't talk, but listened.

19              And I want to thank you, Tom, for the work that you

20    did.

21              I want to thank everybody here for coming and talking

22    and sharing their stuff.  I think it was really useful.

23              I want to thank you, Bob.  Your presentation was

24    really good.  It helped me understand what was going on.  I

25    would appreciate if you would give us a copy so we could

FLORIDA PUBLIC SERVICE COMMISSION

130

1    include it in the record.

2              I want to thank, of course, Larry for all the legal

3    stuff.  He did what he had to do, but he really did it good.

4    So I'm so happy about that.

5              MR. HARRIS:  It's tough.

6              MR. GRANIERE:  I know it's tough work.  You know,

7    sometimes, you know -- you know, sometimes that full day is a

8    real bummer, you know.  And so, you know -- and so we'll get to

9    that.

10              And everybody else, thank you so much.  And I hope

11    you have a safe trip home.

12              MS. CLARK:  Thanks, Bob.

13              SPEAKER:  Bob, can you just explain real quick what

14    the next steps will be, and if there will be any future

15    opportunities for participation, how we stay in touch and that

16    sort of thing?

17              MR. GRANIERE:  Okay.  Yes, there will be future

18    opportunities for participation.  Anything that you'd like to

19    supply to us in written format, please do.  We'll include it in

20    the record.  If you want to call us up and talk to us about

21    anything, please do.  We'll do that.  And we will notice when

22    the next meetings are held to deal with these issues.  Okay.

23    But there will be future meetings.

24              SPEAKER:  (Inaudible) sign-in list.

25              MR. GRANIERE:  Yeah, you're on the sign-in list, so

FLORIDA PUBLIC SERVICE COMMISSION

131

1    you will get everything.

2                               * * * * *

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

132

1

2    STATE OF FLORIDA    )

3                        :    CERTIFICATE OF REPORTER

4    COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Hearing Reporter Services,

6    FPSC Commission Clerk, do hereby certify that the foregoing

proceeding was heard at the time and place herein stated.

7

IT IS FURTHER CERTIFIED that I transcribed the

8    proceedings from cassette tape, and that this transcript

constitutes a true transcription of my said cassette tapes.

9

I FURTHER CERTIFY that I am not a relative, employee,

10     attorney or counsel of any of the parties, nor am I a relative

or employee of any of the parties' attorney or counsel

11    connected with the action, nor am I financially interested in

the action.

12

DATED THIS 21st day of May, 2007.

13

14

___________________________________________

15                          JANE FAUROT, RPR

Official FPSC Hearings Reporter

16                        FPSC Commission Clerk

(850) 413-6732

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION