1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. UNDOCKETED

3

4        In the Matter of

5   2007 HURRICANE SEASON PREPARATION

BY ELECTRIC UTILITIES.

6                                     /

7

8

9

10

11                  ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

12               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

13

14   PROCEEDINGS:        COMMISSIONER WORKSHOP

15   BEFORE:             CHAIRMAN LISA POLAK EDGAR

COMMISSIONER MATTHEW M. CARTER, II

16                       COMMISSIONER KATRINA J. MCMURRIAN

COMMISSIONER NANCY ARGENZIANO

17                       COMMISSIONER NATHAN A. SKOP

18   DATE:               Wednesday, May 23, 2007

19   TIME:               Commenced at 9:30 a.m.

Concluded at 3:04 p.m.

20

PLACE:              Betty Easley Conference Center

21                          Room 148

4075 Esplanade Way

22                       Tallahassee, Florida

23

REPORTED BY:        JANE FAUROT, RPR

24                       LINDA BOLES, RPR, CRR

Official Commission Reporter

25                       (850)413-6732

FLORIDA PUBLIC SERVICE COMMISSION

2

1   PRESENTATIONS                                       PAGE

2        Manny Miranda, FPL                               5

3        Jason Cutliffe, Progress Energy                 28

4        Regan Haines, TECO                              44

5        Andy McQuagge, Gulf Power                       61

6        Mark Cutshaw, FPUC                              76

7        Barry Moline, FMEA                              83

8        Ken Davis, KUA                                  89

9        Craig Brewer, Fort Pierce UA                   103

10        Bill Willingham, FECA                          115

11        Rick Fuson, Lee County Electric Co-op.         127

12        Wayne Tubaugh and Kirk Smith, AT&T Florida     134

13        David Christian, Verizon Florida               147

14        Sandy Khazraee, Embarq Florida                 156

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                         P R O C E E D I N G S

2             CHAIRMAN EDGAR:  Good morning.  Call this workshop to

3   order.

4             And we'll begin with asking our staff to read the

5   notice.  Mr. Young.

6             MR. YOUNG:  Thank you, Madam Commissioner.

7             Pursuant to notice, this time and place has been set

8   aside for the purpose of conducting a storm workshop in Dockets

9   Number 07297-EI, 07299-EI, 07298-EI, 07300-EI, 07301-EI.  The

10   purpose of this workshop is set forth fully in the notice.

11             CHAIRMAN EDGAR:  Thank you.

12             And the reason that we are all gathered here

13   together, the purpose of this workshop is to provide a forum

14   for Florida's electric utilities and local exchange companies

15   to brief the Commission on their 2007 hurricane preparation

16   activities.

17             As we all know, during the past year and a half this

18   Commission has initiated a multi-faceted approach and response

19   to ensure that our utilities and our utility infrastructure

20   will be better able to withstand the impact of our hurricanes

21   and to implement lessons learned during the 2004 and 2005

22   season.  One of the actions that this Commission initiated is

23   to conduct annual hurricane preparedness briefings, which is

24   why we are here today.

25             Last February at an Internal Affairs meeting we

FLORIDA PUBLIC SERVICE COMMISSION

4

1   adopted the requirement that all utilities will provide a

2   briefing prior to hurricane season.  We did that for the first

3   time last year, and this is the second year, and we will be

4   doing this annually.

5             As we all know, hurricane experts are calling for a

6   very active season this year, and both the electric utilities

7   and the local exchange companies have done numerous, numerous

8   things, as I said, to learn from lessons of the past years and

9   to implement the requirements that this Commission has adopted

10   in the past year.  Although it is understood by us all that

11   while the electric utilities own the vast majority of the

12   electric transmission and distribution infrastructure in this

13   state, the local exchange companies own many of the poles upon

14   which the electric utility infrastructure is placed and can by

15   law, of course, request reimbursement of certain storm-related

16   costs.  As such, we have included the telecommunications

17   companies in our agenda for today.

18             So we have asked each of you to address the status of

19   the preparation that you have achieved in protecting facilities

20   to date, and also to let us know about areas of work that

21   specifically are of concern or of vulnerability and work that

22   is in process.  And so with that, we have a long agenda today.

23   We have asked each of our presenters to be in the about ten to

24   fifteen-minute range with their presentations.  Commissioners,

25   there is, of course the opportunity for questions and comment

FLORIDA PUBLIC SERVICE COMMISSION

5

1   and discussion.

2             Before I call on the first presenter, any comments

3   before we get started?  No.  Okay.  Then let's get into our

4   agenda.  And the first speaker that I have on my list is

5   Mr. Miranda with Florida Power and Light.

6             Welcome.

7             MR. MIRANDA:  Thank you.  Good morning, Madam

8   Chairman and Commissioners.  My name is Manny Miranda.  I'm the

9   Vice-President of Distribution System Performance, and I'm

10   responsible for leading FPL's Storm Secure Initiative.  Thank

11   you for having me here today and for the opportunity to review

12   FPL's storm hurricane preparedness plans for the 2007 storm

13   season.

14             Let me start by saying that FPL is prepared, should

15   our communities be faced with hurricane activity this year.  We

16   are committed not to just being prepared for this year's storm

17   season, but this year and beyond.  Today we will review our

18   efforts that began last year working with the Florida Public

19   Service Commission staff and Commissioners, and also continuing

20   to move forward in our efforts to improve the resiliency of our

21   efforts to make our storm infrastructure stronger against

22   future storms.

23             I would like to spend a few minutes reviewing past

24   hurricane performances which impacted millions of Floridians

25   and gave us a new perspective and new learnings to apply.  Our

FLORIDA PUBLIC SERVICE COMMISSION

6

1   commitment to provide customers with safe and reliable electric

2   power was put to test in 2004 when three back-to-back

3   hurricanes struck FPL's service territory, a challenge no

4   utility had ever faced before.  As we headed into 2005, no one

5   expected a storm season that surpassed 2004.  But, in fact, the

6   2005 storm season was record breaking, not just for Florida

7   Power and Light.  In total, FPL customers were impacted

8   directly by seven storms in a 15-month period.

9             In 2006, we were thankfully spared the high activity

10   of the previous storm seasons.  We did have two events, Alberto

11   and Ernesto, that required the implementation of FPL's storm

12   organization and key processes.  Each caused outages to the

13   customers, but we were able to restore service in each occasion

14   within hours the same day.  This, however, did not make us lose

15   sight of the 2004 and 2005 experience.  And while we have

16   become a very experienced utility at handling these restoration

17   events, we recognize there is still much to learn and much to

18   do, especially on how to make our system more resilient to the

19   impact of these storms.

20             The ten point preparedness plan seen here was

21   developed by the PSC and provides direction on how to ensure

22   electric utilities are improving their preparation and response

23   to hurricanes.  I am pleased to report that we at FPL have

24   addressed each of these points and I will be reviewing how we

25   have integrated them and are applying each of these elements

FLORIDA PUBLIC SERVICE COMMISSION

7

1   within our storm preparedness plans.

2             Our emergency preparations are a year long effort

3   concentrated on four key elements.  First, infrastructure

4   readiness.  Second, organizational preparedness.  Third,

5   restoration response.  And, fourth, our communication

6   capabilities.

7             I would like to share with you the details of how we

8   are strengthening our system.  In January of 2006, FPL

9   developed and announced the Storm Secure Initiative.  A

10   comprehensive plan of action with both short and long-term

11   initiatives to strengthen the grid against future hurricanes,

12   minimize outages, and reduce restoration times when outages do

13   occur.

14             Our Storm Secure is really focused on five key areas:

15   Infrastructure hardening, pole inspections, line clearing,

16   converting facilities to underground, and follow-up work.

17   Fortunately, after the 2006 hurricane season, we did not

18   require any follow-up work.  So let's start by looking at our

19   infrastructure hardening.

20             First, transmission.  FPL's transmission and

21   substation system is already designed for the NESC extreme wind

22   criteria.  As a result, FPL's hardening initiatives for the

23   transmission substation system was really based on the system

24   performance during the '04 and '05 season.  The two key

25   elements of our transmission hardening efforts are first,

FLORIDA PUBLIC SERVICE COMMISSION

8

1   replacing single pole on guy wood structures, and, second,

2   replacing ceramic post insulators on concrete transmission

3   poles.

4             Moving to distribution.  In preparation for the 2006

5   hurricane season, we identified critical infrastructure

6   functions, those which contribute to the health, safety,

7   security, and welfare to the public to be the first to benefit

8   from our hardening initiatives.  The hardening efforts

9   completed in 2006 supported the fuel and needs of much of South

10   Florida as well as health care needs of thousands of hospital

11   patients in the Palm Beach and Miami-Dade County.  The

12   experience that we gained and the lessons learned from these

13   projects have really been instrumental to the widespread

14   hardening launch in 2007.

15             Our experience led us to proposed adoption of the

16   NESC extreme wind critical as the standard for new distribution

17   construction and system upgrades.  This criteria identifies

18   wind zones based on historical data and calls for

19   infrastructure to withstand wind gusts up to 150 miles per

20   hour.  The plan would apply these standards utilizing a

21   three-pronged approach.  First, targeting lines that serve

22   critical infrastructure.  Second, targeting lines that serve

23   essential community needs.  And, third, design guidelines for

24   new construction.

25             The new criteria for distribution facilities has

FLORIDA PUBLIC SERVICE COMMISSION

9

1   required the development of many new standards and has led us

2   to evaluate different tools, materials, and work methods to

3   accomplish the strengthening in the most cost-effective manner.

4   In order to do this we have partnered with suppliers and

5   vendors to help us identify cost-effective technology and

6   solutions to improve the resiliency of our infrastructure.  We

7   are working with PURC, the Public Utility Research Center, to

8   conduct a collaborative R&D research effort which will utilize

9   the top universities and consultants in the nation to study the

10   effects of severe weather on the electric grid.

11             Additionally, we are working with Florida

12   International University in utilizing the wall of wind which

13   simulates hurricanes in a full scale model.  I would like to

14   share with you a short video of our recent test of components

15   attached to our poles.  So, if I could show you that short

16   video.

17             (Video starts.)

18             SPEAKER:  Conditions were unusual on this South

19   Florida winter's day as 120 mile per hour Category 3 hurricane

20   force winds and driving rain raged against capacitor banks,

21   transformers, risers and streetlights.

22             SPEAKER:  This wall of wind is part of our testing

23   for all the different products lines that we have on our poles

24   to see how they withstand Mother Nature's wrath.  So working

25   hand-in-hand really with FIU, today we are testing components.

FLORIDA PUBLIC SERVICE COMMISSION

10

1             SPEAKER:  It's going to be just as real as Mother

2   Nature makes it.

3             SPEAKER:  The intensity is just as real, but

4   sustained winds from the wall of wind pound the equipment

5   three times longer than average.

6             SPEAKER:  This kind of compliments wind tunnel

7   testing, which is done for scale models, reduced models.  We

8   get very useful pressure data from wind tunnels, but we cannot

9   study the failure modes, because, you know, it's not suitable

10   for doing that.

11             SPEAKER:  While Phase I results pleased top

12   executives and engineers who inspected every fastener and every

13   inch of the equipment for signs of weakness, satisfaction

14   doesn't stop there.

15             SPEAKER:  Phase II is coming up.  It will be a

16   six-engine and propeller combination wall of wind that will

17   simulate up to 145 miles an hour.  This is just a start today,

18   but we look forward to a long-term relationship with FPL and

19   provide them with useful data and failure modes which they can

20   use to design their structures better.

21             SPEAKER:  Our customers have told us very clearly

22   that they expect better from us, and we are committed to making

23   every possible improvement we can to our infrastructure and our

24   equipment performing better means so that our customers won't

25   have the inconvenience or maybe as long an inconvenience of a

FLORIDA PUBLIC SERVICE COMMISSION

11

1   power interruption during a hurricane.  It's all about the

2   customer.

3             (Video stops.)

4             MR. MIRANDA:  In 2007, we began the implementation of

5   our hardening initiative throughout our service territory.

6   These initiatives continue our focus on critical infrastructure

7   such as our acute care facilities.  These hospitals provide

8   essential medical services to the communities in which they

9   reside, and I'm pleased to share with you that we have

10   completed hardening on 15 circuits that serve 13 of these acute

11   care facilities already; Coral Gables Hospital, Palmetto

12   Hospital, North Shore Hospital, Lee Memorial, VA Hospital in

13   West Palm, Good Samaritan, Bethesda Hospital, Columbia

14   Hospital, Cape Canaveral, VA Hospital in Lake City, Halifax

15   Hospital, MedLink, and Holmes (phonetic) Regional Hospital have

16   all been hardened already before entering the storm season.

17   Customers will also be able to count on us having more

18   essential service such as grocery stores and gas stations

19   available after a storm.  We are strengthening the

20   infrastructure on 34 feeders that serve thoroughfares in our

21   communities.

22             Additionally, we will be targeting infrastructure

23   found on key highway crossings.  The hardening ensures that

24   crossings withstand the strong winds and facilitate evacuation

25   and emergency response to these areas after a storm.

FLORIDA PUBLIC SERVICE COMMISSION

12

1             Utility poles are a fact of life now and into the

2   future, and we have enhanced our pole inspection process

3   ensuring the integrity of our poles.  Our comprehensive

4   inspection includes five steps, and based on the results of the

5   inspection, poles may be either reinforced or replaced as

6   appropriate.  The inspection program also leverages technology.

7   Data is collected onto handheld devices that allow us to

8   quickly input this information into our GIS system to further

9   analyze and improve our infrastructure.  In the next six to

10   eight years we will inspect all transmission and distribution

11   poles respectively.  For distribution, this means that we will

12   be inspecting approximately 130,000 poles per year.  That is

13   about 500 poles per workday, and we are working with AT&T

14   Florida to coordinate our pole inspection program.

15             Turning now to vegetation.  On the transmission, we

16   will complete 100 percent of FPL's transmission right-of-way

17   clearing.  On the distribution system, we will continue to trim

18   our feeders on a three-year cycle and have begun implementation

19   of our six-year average lateral trim time.  I am also pleased

20   to share with you that we have completed 100 percent of the

21   feeder lines that serve critical infrastructure going into this

22   year's storm season.

23             No vegetation management program can be effective

24   without the full cooperation of our customers.  We will

25   continue our proactive promotion of the "Right Tree-Right

FLORIDA PUBLIC SERVICE COMMISSION

13

1   Place" program with our community leaders to ensure that future

2   plantings of trees will avoid conflicts with power lines.

3             Another component of Storm Secure is to encourage

4   underground construction.  Currently more than 37 percent of

5   FPL's distribution system is underground and our community

6   leaders have indicated that they want to pursue underground

7   conversion of overhead facilities and we have collaborated with

8   over 60 municipalities providing ballpark estimates and working

9   with these communities to inform them of the several steps that

10   are required for conversion.  Along with the other IOUs in

11   Florida, we are sponsoring a study by PURC to study the benefit

12   of providing underground service.

13             CHAIRMAN EDGAR:  Mr. Miranda, can I ask you a

14   question?  Did I hear you say that FPL is working to encourage

15   undergrounding?

16             MR. MIRANDA:  That is our proposal, our GAF proposal,

17   investing in the 25 percent.

18             CHAIRMAN EDGAR:  So it is the policy of FPL to

19   encourage further undergrounding?

20             MR. MIRANDA:  Yes.  And we have it on several fronts.

21   As you know, today about 37 percent of our facilities are

22   underground.  I would say, Commissioner, about two-thirds of

23   our new construction today is built underground, and we are

24   encouraging those municipalities to promote more undergrounding

25   of, you know, new developments as well as working with

FLORIDA PUBLIC SERVICE COMMISSION

14

1   municipalities and helping them converting existing overhead

2   facilities.

3             CHAIRMAN EDGAR:  Okay.  So, I just want to make sure

4   I am clear.  What I think I am hearing you say is it is the

5   policy of FPL to promote and encourage undergrounding of new

6   development and also existing, as well.

7             MR. MIRANDA:  Right.  The existing, we are working

8   with those community leaders and encouraging them in those

9   areas that they want to invest and convert facilities, that we

10   will work with them and cooperate fully with them.  I'm sorry,

11   are we talking past each other?

12             CHAIRMAN EDGAR:  That's okay.  We may come back to

13   that point.  Go ahead.  Thank you for your answer.

14             MR. MIRANDA:  FPL's Storm Secure Initiative, along

15   with our day-to-day reliability programs, help us achieve in

16   providing reliable electric service every day.  This means

17   performing preventative maintenance, monitoring our system, and

18   planning for the future by preparing for the growing needs of

19   customers with sensible investments to provide reliable

20   electric service now and in the future.

21             We are confident that the initiatives I have

22   described will, over time, help us improve the resiliency of

23   our infrastructure.  Unfortunately, the technology does not

24   exist today to make any electric grid totally hurricane-proof.

25   The reality is that when hurricanes strike there will be

FLORIDA PUBLIC SERVICE COMMISSION

15

1   outages, and that is why our emergency preparedness plan also

2   provides for rapid restoration response.

3             Rapid restoration begins with an organizational

4   structure that can respond nimbly to any type of emergency

5   condition.  At the center of it all is our command center,

6   which is responsible for the strategy and the coordination of

7   all restoration activities.  Critical to the success of our

8   restoration effort is to have the right people in the right

9   place with the right training and the knowledge to respond

10   quickly and efficiently.  Included in this is the expansion of

11   the roles of our forensics teams which will also be analyzing

12   our performance following any hurricane event.

13             To help ensure that our work force is prepared to

14   successfully execute the storm process, we conduct extensive

15   training and hold our annual dry run.  This gives employees the

16   opportunity to refresh their knowledge and their skills in

17   their storm restoration roles.

18             With the storm organization in place, we are ready to

19   support our restoration plan with one objective in mind, to

20   safely restore power to top critical infrastructure, essential

21   community needs, and the greatest amount of customers in the

22   shortest time.  Key to the effectiveness of this plan is to

23   have the necessary materials, logistical support, and other

24   resources on hand to allow for effect execution.  To date we

25   have signed agreements with 64 staging sites across our

FLORIDA PUBLIC SERVICE COMMISSION

16

1   territory, any of which can be fully functional within 24

2   hours.  We have increased our material inventory and we have

3   acquired and secured 1.6 million gallons of fuel.

4             Speed of restoration depends on three key variables,

5   the intensity of the storm, the path of the storm, and the

6   availability of resources.  To ensure we have access to ample

7   restoration resources outside of Florida, we have formalized

8   agreements with prestorm arrivals, external utilities, and

9   contractors.  And once we have restored and our lights are back

10   on for our customers, our job is not over, and that is when our

11   recovery plan just begins.  We have now refined and improved

12   our recovery plans which include final patrol sweeps and making

13   permanent repairs.

14             We have learned that communication is just as

15   important as restoration.  Keeping our customers and our

16   communities informed of the progress not just in restoration

17   and recovery, but on the onset of planning is absolutely

18   critical.  FPL and county emergency managers work together to

19   identify the critical infrastructure facilities that will help

20   to serve the community return to normal as quickly as possible.

21             We also provide during the storm FPL reps who ride

22   out the storm at these EOC facilities to ensure that we have

23   communications with the command center.  We also provide

24   dedicated crews which assist with road clearing and search and

25   rescue and we have launched a dedicated web page for

FLORIDA PUBLIC SERVICE COMMISSION

17

1   governmental officials to receive the latest information

2   specific to their area.

3             Over the last several years, FPL has greatly

4   increased our capability to handle large numbers of customer

5   calls.  This has been accomplished by adding care center

6   redundancy and enhancing our on-line capability.  Although the

7   use of on-line venue in light of outages may initially seem

8   odd, we have found that the web is an extremely useful

9   communications tool after hurricanes.

10             Our restoration process and efforts allow us to be

11   more responsive to our customers' communications needs, and, of

12   course, estimated times of restoration is perhaps the most

13   frequently asked question of us after a storm.  That is why our

14   process calls for proactively addressing ETRs as quickly and as

15   precisely as possible following a storm.  So within 24 hours of

16   the storm passing, we will provide a system level ETR,

17   estimated time of restoration.  Within 48 hours of landfall we

18   will provide a county level estimated time.  Within 72 hours of

19   the storm we will break that down to the subcounty level.  And

20   in 2005, we began to proactively call customers when our crews

21   were working the neighborhood lines letting them know that we

22   would get power restored within 48 hours.  This was successful,

23   and we have institutionalized this into our processes going

24   forward.

25             I am confident that FPL has done everything in its

FLORIDA PUBLIC SERVICE COMMISSION

18

1   power to prepare for the upcoming storm season.  Our

2   infrastructure is being strengthened for future storms, our

3   storm organization is prepared, our restoration plan supporting

4   processes are ready, and we have the communication processes in

5   place to keep our communities and our customers informed.  Our

6   customers, our communities, and our employees have been through

7   a lot these last few years, and although we wish these

8   hurricanes simply would not occur, it is beyond anyone's

9   ability to stop them.  However, should a hurricane again effect

10   our communities in 2007, FPL is ready to respond.  Thank you.

11             CHAIRMAN EDGAR:  Thank you, Mr. Miranda.

12             Are there questions from staff?

13             MR. McNULTY:  Yes, Chairman, just a few.

14             Mr. Miranda, the forensic team that you spoke of in

15   your presentation, is that an in-house team, or is it -- is it

16   contracted out, is it a mixture?  Can you give us some

17   background on how that team was assembled.

18             MR. MIRANDA:  Sure.  Our forensics team, it is a

19   combination.  We have in-house, we would use our product

20   engineers to conduct as much of the analysis of the products.

21   But due to the type of analysis we will be conducting out in

22   the field we may use some third-party vendors to acquire some

23   of the information so that we can have a larger footprint

24   quickly after a storm.  But they will all be coordinated

25   in-house.

FLORIDA PUBLIC SERVICE COMMISSION

19

1             MR. McNULTY:  Okay.  I think Slide 12 discussed the

2   fact that you were addressing highway crossings.  I was

3   wondering if you had some numbers for us on that.  Anything

4   that would suggest to date the total number of highway

5   crossings that you have addressed or you have identified as

6   being an area for storm hardening.

7             MR. MIRANDA:  The initiative for 2007 focuses on the

8   highways that -- our overall program will focus on highway

9   crossing throughout our service territory.  In 2007, we will be

10   focussing on all of I-75, which will come through the west part

11   of our territory all the way into Broward County.  So we will

12   harden any crossing on that facility as well as any crossing on

13   our turnpikes in Dade and Broward County.  It consists of

14   43 crossings.  We have completed nine of those crossings

15   year-to-date.

16             MR. McNULTY:  Okay.  Also, in regards to -- thank you

17   for your answer on that.  Also, in regards to -- I guess we can

18   discuss both pole inspections as well as miles of vegetation

19   management, miles of line on vegetation management.  Does the

20   company, knowing that we are coming into the storm season and

21   that storms sometimes interrupt normal work flows that happen

22   with the utility, has FPL made an effort to move ahead to get

23   more done in the early months of the year so that in the event

24   that something should happen that you already sort of have a

25   head start to reach your goal of 12.5 percent of poles, wood

FLORIDA PUBLIC SERVICE COMMISSION

20

1   poles inspected, or to reach the goal of the vegetation

2   management plan cycle?  Can you address those two areas?

3             MR. MIRANDA:  Sure.  We look at our hardening

4   initiatives to be an ongoing effort for years to come.  We will

5   front-end load several of our initiatives, such as vegetation.

6   A good example is those lines that serve critical

7   infrastructure.  We front-end loaded those and trimmed all of

8   those lines already before June 1st.  Our goal will be to

9   front-end load as much as we can without losing the efficiency

10   of keeping a steady workforce the entire year.  So it's a

11   balancing of keeping these resources throughout our service

12   territory, but we will make every effort to get as much done as

13   early as we can before the storm arrives.

14             MR. McNULTY:  Okay.  So from your response I

15   understand that you do a prioritization to take into account

16   the most critical infrastructure first in the early part of the

17   season.  Do you also, in terms of total quantities, whether it

18   be pole inspections or vegetation management line miles, do you

19   attempt to get more done before the start of the storm season

20   than you would in an average, like, say, during the --

21             MR. MIRANDA:  Your answer, it isn't spread out

22   evenly.  So we will try to do, for example, knowing that in the

23   summer months we are going to be faced with afternoon weather,

24   potentially a hurricane response, we will front-end load, for

25   example, vegetation.  Approximately 60 percent will be done the

FLORIDA PUBLIC SERVICE COMMISSION

21

1   first two quarters and then we will do the remaining 40 percent

2   the last two quarters of the year as an example.

3             MR. McNULTY:  Okay.  Would you happen to have a

4   number, like say on Slide 14 you show that you clear

5   approximately 11,000 miles of distribution lines.  Do you have

6   a number for us on how many miles have been cleared

7   year-to-date?

8             MR. MIRANDA:  Can I provide that back to you, that

9   detail?

10             MR. McNULTY:  Sure.

11             MR. MIRANDA:  I don't have that in front of me.

12             MR. McNULTY:  Okay.  And I think my final question

13   has to do with the mutual assistance agreements that you have

14   engaged in for many years to protect the facility in the event

15   of a storm.  What is FPL's position today in terms of those

16   mutual assistance agreements in terms of number of personnel

17   that would be available to Florida Power and Light's system in

18   the event of a storm relative to maybe what some of those

19   mutual assistance agreements have been in the past?  Do you

20   find yourself in as good a position, a better position, or a

21   worse position than in previous years?

22             MR. MIRANDA:  I think the industry as a whole has the

23   same mutual assistance philosophy.  If we call upon those

24   contractors and utilities, we would expect the same cooperation

25   that we have received in years past.  So we have not seen

FLORIDA PUBLIC SERVICE COMMISSION

22

1   anything in our negotiations or dealing with the utilities or

2   contractors that would reduce the number of resources available

3   to us.  The thing that we run into with these storms is if

4   there are multiple storms in different part of the country, the

5   availability of resources can go up or down, depending on how

6   active the storms are throughout the nation.

7             MR. McNULTY:  Okay.  When you indicated that you had

8   also managed in addition to handling the -- I'm sorry, this is

9   one additional question.  This is really it, I promise.  When

10   you indicated that you not only had handled a review of all of

11   your transmission lines, but you also had done an inspection of

12   your primary feeders, was that to say that you also had managed

13   to do a hot spot trim of those prime feeders as well prior to

14   the onset of the storm season this year?  Or maybe you could

15   explain a little bit more about what you meant when you said

16   you had managed to not only cover the transmission, but also

17   the primary distribution lines in terms of your inspections.

18             MR. MIRANDA:  I'm sorry, Bill, I'm not following you.

19             MR. McNULTY:  Okay.  Transmission line clearing, let

20   me see if I can find the -- I think you said -- this is

21   Line 14, or Slide 14, you talked about transmission line

22   clearing, 100 percent had been cleared.  And then you said, I

23   thought you had also said that you were happy to report that

24   you had also managed for primary distribution feeders, managed

25   to go through those, as well, and I was just wondering what was

FLORIDA PUBLIC SERVICE COMMISSION

23

1   meant by that clearing.

2             MR. MIRANDA:  Those lines serve critical

3   infrastructure, so those primary circuits who serve those key

4   community needs.

5             MR. McNULTY:  Okay.  For the distribution level?

6             MR. MIRANDA:  For distribution, yes.  Transmission is

7   100 percent of right-of-way clearing.

8             MR. McNULTY:  When it comes to hot spot clearing

9   where you basically know of areas that are either fast growth

10   vegetation that becomes problematic, how do you handle that in

11   terms of, again, portioning it through the year?  Do you try to

12   get to those hot spot areas prior to the storm season or do you

13   just span those out evenly across the year?

14             MR. MIRANDA:  Typically our hot spots are even more

15   accelerated because we know we have certain locations on those

16   facilities, so when I say we have cleared 100 percent of our

17   critical infrastructure, that's a combination of preventative

18   maintenance and hot-spotting, as well.

19             MR. McNULTY:  Thank you very much.

20             CHAIRMAN EDGAR:  Commissioners?

21             Commissioner Skop.

22             COMMISSIONER SKOP:  Thank you, Madam Chair.  Three

23   brief questions.  Page 2 on the path for Hurricane Charley,

24   which was a Category 4 storm, versus Page 10 on the wind

25   loadings zone criteria.  I just want to make sure that the

FLORIDA PUBLIC SERVICE COMMISSION

24

1   criteria is adequate for accommodating perhaps a repeat of the

2   storm, if you look at the storm path versus the yellow shaded

3   area in the southwest service area.  Can you briefly speak to

4   that?

5             MR. MIRANDA:  Our proposed adoption of the extreme

6   wind is based on the NESC, which is anchored on the ANSI

7   standards.  What you are pointing to, Commissioner, is that

8   Charley was a stronger storm than what we will be designing our

9   facilities to.  And, I think, you know, this is part of the

10   discussions that we had, and as we were working with the

11   Commission on these workshops is there is a certain point where

12   wind speeds that no infrastructure can withstand the full

13   effects of a Category 5 hurricane, if you will.  So, these are

14   based on the -- anchored on the ANSI standards which are the

15   same foundations on which homes are built on, as well.

16             COMMISSIONER SKOP:  Thank you.  I guess the question

17   I was trying to present was whether the red zone for 145-mile

18   an hour rated should maybe extend a little further north up the

19   southwest coast.

20             MR. MIRANDA:  When we did our three-zone approach,

21   what we did is we tried to cover -- in many cases they extend

22   beyond the minimum for that respective zone.  So as we worked

23   through this, we have just filed this with the staff and we

24   will be conducting, you know, a thorough analysis on all of

25   this.  But if we have to adjust a county up or down, we will be

FLORIDA PUBLIC SERVICE COMMISSION

25

1   doing that evaluation.  But at this point at least in all cases

2   it meets or exceeds the minimum of that respective zone.

3             COMMISSIONER SKOP:  Thank you.  A second question.

4   Can you briefly speak to the incremental hardening initiative

5   and any related costs for reliability improvements that you may

6   have experienced to date.

7             MR. MIRANDA:  You are referring to the same page?

8             COMMISSIONER SKOP:  Just general press-related type

9   issues.  I don't believe it was mentioned in the report, but I

10   guess I have read something briefly that's an effort and I

11   don't think too much has been communicated on that so I would

12   be happy to --

13             MR. MIRANDA:  Sure.  When we look at our hardening

14   initiatives, we have rolled them out on a three-pronged

15   approach.  One, we said any facility that serves critical

16   infrastructure we will build to extreme wind, and rebuild those

17   facilities to extreme wind.  Let me jump to the third one

18   quickly and I will come back to the incremental hardening.  The

19   third one is we have said all new construction, system

20   upgrades, or relocation work, whatever portion we are touching

21   there we will also build.

22             The second concept is the concept you are referring

23   to as incremental hardening.  And what we have found is that by

24   using a very targeted approach when we analyze our

25   infrastructure, we can pull out certain weak links out of our

FLORIDA PUBLIC SERVICE COMMISSION

26

1   infrastructure and move the entire circuit up to a higher wind

2   profile, so it is looking at balancing the cost with the

3   benefits.

4             In some cases, what we have found is with very

5   targeted approach, even though it is called incremental

6   hardening, in many cases it goes up to and including extreme

7   wind.  So, it is a concept that we think can give us an ability

8   to get a broader footprint quicker throughout our service

9   territory.

10             COMMISSIONER SKOP:  I think the question with respect

11   to incremental that I was most interested in is the replacing

12   of every other pole, per se, as opposed to replacing all the

13   poles in a string and the benefits that may enure from that.

14             MR. MIRANDA:  And what we conduct is a detailed

15   analysis on each pole and look at the wind loading on each

16   pole.  And then based on that need we will either take several

17   approaches:  We will either guy the pole, maybe move equipment

18   from one pole to another, add an intermediate pole as your

19   example, replace the pole with a bigger pole, either wood or

20   concrete.  So what we will do is utilize a tool kit to be as

21   cost-effective as possible versus just a wholesale change out

22   of all poles.

23             COMMISSIONER SKOP:  And then finally, just briefly on

24   a customer service perspective.  On Page 19, they mention

25   adding care center redundancy in El Paso, Texas.  Is that

FLORIDA PUBLIC SERVICE COMMISSION

27

1   redundancy or simply outsourcing of the customer service?

2             MR. MIRANDA:  It is a little bit of both.  We have

3   complete redundancy in that we have two care centers in our

4   service territory, one in Miami and one in West Palm with

5   complete redundancy.  What we have found during these storms

6   is, especially immediately after the storm, the ability to

7   handle calls because of our employees and so forth and

8   sometimes getting them back as quickly, we have El Paso, which

9   handles -- has a redundancy, can link all the way over there,

10   right, and can handle the overflow as well as handle any direct

11   calls following a storm.

12             COMMISSIONER SKOP:  Thank you.

13             CHAIRMAN EDGAR:  Commissioners, further questions for

14   Mr. Miranda?  No.

15             I guess I want to come back for just a moment and

16   then we will move along to the question I raised earlier, and

17   I'm kind of looking, Mr. Miranda, at Slides 10 and 11.  I think

18   the verbiage is pretty much the same on those.  And there is,

19   as Commissioner Skop touched on, a three-pronged approach that

20   is laid out.  And I don't find issue with those priorities at

21   all, but I am still coming back in my mind to the issue of

22   cost-effectiveness and efficiency in undergrounding existing

23   distribution systems and your statement earlier about FPL

24   promoting and encouraging that.  Can you talk a little bit

25   about that cost-effectiveness analysis, then?

FLORIDA PUBLIC SERVICE COMMISSION

28

1             MR. MIRANDA:  Yes.  When we look at hardening,

2   Commissioner, we look at it from all the tools that are

3   available to us.  Like I suggested, you know, starting from a

4   down guy to changing wood poles.  There are some cases where we

5   cannot meet the extreme wind criteria for facilities that we

6   are going out and hardening to extreme wind.  So there are some

7   places where we will convert those facilities to extreme wind

8   as part of our hardening initiatives.  I mean, convert those

9   portions of the facilities to underground.

10             Now, in general, if a community -- I think that is a

11   separate issue then where a community wants to convert overhead

12   facilities to underground.  There is where we will work with

13   them in our GAF proposal that has come before you, that is

14   where that comes into place.

15             CHAIRMAN EDGAR:  Okay.  I guess the question that's

16   kind of recurring in my mind is perhaps the difference between

17   working closely and cooperatively versus maybe encouraging and

18   promoting as a general policy, and perhaps that's semantics.

19             Okay.  Thank you very much for your presentation, and

20   we appreciate you being with us this morning.

21             MR. MIRANDA:  Thank you.

22             CHAIRMAN EDGAR:  Next on my list is Mr. Cutliffe with

23   Progress Energy.  Welcome.

24             MR. CUTLIFFE:  Madam Chairman, Commissioners, I

25   appreciate the opportunity.

FLORIDA PUBLIC SERVICE COMMISSION

29

1             CHAIRMAN EDGAR:  If you will pull the microphone,

2   perhaps, a little closer.  And do make sure the green light is

3   on, if you would.

4             MR. CUTLIFFE:  How is this?

5             CHAIRMAN EDGAR:  Better.  Thank you.

6             MR. CUTLIFFE:  Madam Chairman, Commissioners, I

7   appreciate the opportunity to report to you the status of

8   Progress Energy Florida's 2007 hurricane preparedness efforts.

9   My name is Jason Cutliffe, and I am the Manager of Distribution

10   Asset Performance, and I'm responsible for capacity planning

11   and reliability of our distribution delivery system.

12             In summary, our transmission and distribution systems

13   have been well maintained and thoroughly inspected.  Our storm

14   response organization is drilled and prepared, and critical

15   labor and material resources have been obtained in advance or

16   secured through commitments from external providers.

17             Our T&D delivery structure performed well during the

18   2004 and 2005 hurricane seasons, and we have only improved the

19   system since that time.  We have taken additional aggressive

20   steps recently to harden our system in conjunction with Public

21   Service Commission initiatives, such as the wood pole

22   inspection docket, vegetation management plan review, the

23   ongoing ten point storm preparedness plan, and the recently

24   implemented storm hardening rule.

25             Our storm response plan also functioned well in 2004

FLORIDA PUBLIC SERVICE COMMISSION

30

1   and 2005 and here, too, we have made improvements.  All lessons

2   learned from storms, drills, other utility experience since

3   2004 have been incorporated into our written response plan and

4   included in our 2007 hurricane drill conducted last week.

5   PEF's organization and T&D delivery system are prepared for the

6   2007 hurricane season.

7             At this point I would like to comment briefly on a

8   reality made clear to the nation in 2004 and 2005.  Past

9   experience demonstrates two points.  First, no system, no

10   matter how hardened, can withstand a catastrophic hurricane

11   event without extensive service interruptions.  Second,

12   multiple hurricane events in the Gulf region have the potential

13   to greatly dilute emergency response resources.  Therefore

14   everyone, utility operators, emergency response professionals,

15   community leaders, and Florida citizens must be prepared in

16   advance.

17             With that said, I will now discuss the four key

18   components of PEF's plan that have allowed us to be prepared

19   for the season:  Distribution system readiness, transmission

20   system readiness, organizational readiness, and coordination

21   with local governments.

22             Distribution system inspection, maintenance, and

23   replacement work is the mainstay of PEF's overall annual

24   resource plan.  Manpower and materials needed are identified in

25   the prior year to ensure that work is completed efficiently and

FLORIDA PUBLIC SERVICE COMMISSION

31

1   on time, and work is prioritized.  PEF's wood pole plant is on

2   a firm eight-year cycle for inspections and maintenance and is

3   in compliance with the Commission's storm preparedness

4   initiative.  Inspections are targeted and prioritized.

5             Since this time last year, over 95,000 poles have

6   been inspected, 48,000 treated to prevent decay, and 1,200

7   replaced.  Other system maintenance activities include over

8   1,500 pad mount transformer inspections and replacements,

9   100,000 circuit feet of small diameter conductor upgrades, and

10   inspection of over 200 network manholes.

11             Our 2007 integrated vegetation management program is

12   also on schedule.  In addition to production trimming, all

13   3,800 miles of primary backbone circuits have been surveyed and

14   all priority tree removal is complete.  We have removed over

15   1,600 trees, 668 overhang limbs, hot spot trimmed over 11,000

16   trees, and applied herbicide to over 2,000 miles of

17   right-of-way floor.

18             PEF has implemented the Public Service Commission's

19   ten-point preparedness plan.  A full system audit of joint use

20   attachments was completed in 2006.  Completion of a GIS upgrade

21   is expected by year-end 2007.  Post-storm forensic data

22   collection teams were formed and deployed during tropical

23   storms Alberto and Ernesto and again following last February's

24   tornados.  With each deployment the forensics process is

25   refined and lessons learned implemented.

FLORIDA PUBLIC SERVICE COMMISSION

32

1             We have increased linkage and engagement with the

2   academic community through sponsorship of research through the

3   Public Utility Research Center, and as mentioned earlier,

4   review and update of the distribution storm operations plan is

5   complete.  And, finally, as described in our storm hardening

6   rule filing submitted earlier this month, PEF has deployed a

7   state-of-the-art process to identify, prioritize, and analyze

8   storm hardening options within our service territory.

9             PEF's transmission system readiness begins with

10   structure inspections and system maintenance.  Since 2006,

11   inspections have been completed on 159 transmission circuits

12   which include over 19,000 structures.  Over 15,000 wood poles

13   have been inspected and over 1,000 replaced with steel or

14   concrete.  Aerial patrols of all circuits were completed in

15   April of this year, and a second pass will be completed in

16   July.  Inspections have also been completed on all of our

17   461 substations and critical follow-up maintenance identified

18   through these inspections is complete.  2007 vegetation

19   management work is on schedule, and since 2004 over 2,500

20   circuit miles have been trimmed and cleared including removal

21   of over 10,000 danger trees.

22             And here, too, the PSC ten-point storm preparedness

23   plan and storm hardening rule have been implemented, including

24   enhanced GIS capability, post-storm forensic data collection,

25   PSC initiated inspection cycles, and most notably, the

FLORIDA PUBLIC SERVICE COMMISSION

33

1   hardening of transmission structure continues through wood pole

2   replacement with concrete or steel assets.

3             CHAIRMAN EDGAR:  Commissioner Carter.

4             COMMISSIONER CARTER:  Thank you, Madam Chairman, for

5   your indulgence.

6             I was just trying to follow along with all the

7   statistics, but I don't see them anywhere in here.  I was just

8   kind of -- are they in a separate document or something?

9             CHAIRMAN EDGAR:  I don't know that that has been

10   supplied to us in preparation of the agenda packet, but I'm

11   sure that Progress would be glad to get us a copy of the

12   material that they are using if that would be helpful.

13             COMMISSIONER CARTER:  That would certainly be

14   helpful.

15             MR. CUTLIFFE:  Yes, Commissioner, we would be more

16   than happy to provide that.

17             COMMISSIONER CARTER:  Thank you.

18             MR. CUTLIFFE:  PEF's annual storm plan review and

19   update process is complete for 2007.  New this year is the

20   addition of a resource storm volunteer program, which is an

21   electronic data base in which all Progress Energy employees

22   receive their storm assignment.  This tool is used to verify

23   the status of each employee and will support the activation

24   among 10,000 employees as soon as a hurricane threat is

25   identified.

FLORIDA PUBLIC SERVICE COMMISSION

34

1             The annual distribution system storm drill was

2   completed last week.  Individual storm organizations and

3   process owners were tested on their preparation efforts and

4   ability to react to changing storm conditions.  This year's

5   drill scenario was based on a Category 3 hurricane entering the

6   mouth of Tampa Bay and moving northeasterly across the state to

7   Daytona Beach.  Though the drill clearly demonstrated our

8   readiness for the 2007 season, lessons were learned and are

9   currently being documented for inclusion in the plan.

10             We have taken steps to ensure that critical

11   restoration material and fuel are ready and available from

12   multiple sources.  Inventory levels of critical materials have

13   been increased above normal stock in preparation for the

14   upcoming season.  Our supply chain organization has assembled

15   12 storm kits at our central warehouse.  Each kit contains

16   enough emergency material to supply 400 linemen for up to

17   three days.  Our transmission organization has increased its

18   inventory of poles, insulators, and other hardware to supply

19   contract and company resources for three to five days, and we

20   have negotiated retainer contracts with fuel vendors to ensure

21   fuel needs are met, arrangements that also approve our access

22   to fuel when sending repair crews to parts of Florida outside

23   of PEF's service territory.  Even though we have supplier

24   agreements in place, these proactive steps ensure that

25   restoration can begin as soon as weather clears.

FLORIDA PUBLIC SERVICE COMMISSION

35

1             External line and tree trimming resources are

2   critical components of a successful restoration effort.  Here,

3   too, we have taken steps to ensure they are ready and available

4   through arrangements with contractors and relationships with

5   other utilities through regional mutual assistance

6   organizations like the Edison Electric Institute and the

7   Southeastern Electric Exchange.

8             Our communication and coordination with local

9   governments is stronger than ever.  We have established a cross

10   functional government coordination team to ensure a high level

11   of critical information sharing and engagement.  PEF is

12   equipped to provide local governments with resource and

13   restoration information before, during, and after an emergency

14   response.

15             New for 2007 is the ability to produce electronic

16   outage information for county EOCs during storm events.  By

17   placing PEF contacts within county emergency operations

18   centers, we are able to incorporate local government

19   restoration priorities into our overall plan, and we recently

20   implemented the "Know Where You Grow" program which informs the

21   public and community leaders on the most compatible tree

22   species near power lines.  In support of this, PEF this year

23   gave away 6,000 low-growing trees at Arbor Day events.

24             In summary, Commissioners, PEF's transmission and

25   distribution system which performed well in 2004 and 2005, has

FLORIDA PUBLIC SERVICE COMMISSION

36

1   been checked and maintained.  The storm response organization

2   is drilled and prepared, and internal and external resources

3   have been secured or committed.  As a six time EEI restoration

4   response award winner, we have a track record of superior

5   performance.  We believe that our system will continue to

6   perform well, especially in light of the new initiatives

7   implemented since the PSC began its ongoing storm hardening

8   efforts.

9             Progress Energy Florida's organization and T&D

10   systems are prepared for the 2007 hurricane season.  This

11   concludes my prepared remarks and I will be happy to answer any

12   questions you have at this time.

13             CHAIRMAN EDGAR:  Thank you, Mr. Cutliffe.  One

14   comment and then I will look to staff.  A comment and a

15   question, I guess.  You mentioned that cooperation and

16   coordination with local governments is strong, and I appreciate

17   those comments, because as you know, that is something that

18   this Commission has taken a particular interest in the past two

19   years.  And if you don't know the answer to this, that's okay,

20   but do you know how many local government entities are in the

21   Progress service territory?

22             MR. CUTLIFFE:  We serve 32 counties.

23             CHAIRMAN EDGAR:  What about municipalities?

24             MR. CUTLIFFE:  I can get that information for you.  I

25   don't have it immediately.

FLORIDA PUBLIC SERVICE COMMISSION

37

1             CHAIRMAN EDGAR:  I was just curious.

2             Mr. McNulty, are there questions?

3             MR. McNULTY:  Yes, Chairman, just a few.

4             Mr. Cutliffe, you mentioned that vegetation

5   management work is on schedule.  I guess I have a question

6   similar to what I asked of Florida Power and Light, Mr.

7   Miranda, and that is do you attempt to accelerate in any way

8   the total quantity of annual work that you expect to get done

9   in the vegetation management and line inspection, pole

10   inspection, rather, prior to the storm season?

11             MR. CUTLIFFE:  We have two approaches to address the

12   concern that an active hurricane will interrupt critical

13   maintenance.  The contractors that we employ to do work,

14   whether it is construction or tree trimming, we obtain

15   commitments that if they are pulled off our system to do work,

16   either to leave our system or to do restoration on our system,

17   that they have the ability to staff up to complete their

18   assigned work by the end of the year.

19             In addition to that, we prioritize the maintenance

20   that is done to ensure that the most critical facilities are

21   addressed in the first six months of the year, recognizing that

22   once hurricane season begins there are some things that will be

23   out of our control.  So we employ prioritization methods to

24   ensure that the most important facilities are addressed first.

25             MR. McNULTY:  Does that apply to vegetation

FLORIDA PUBLIC SERVICE COMMISSION

38

1   management as well as pole inspections, or is it just

2   vegetation management?  I want to make sure I understand.

3             MR. CUTLIFFE:  It would be both.  In the case of

4   vegetation management, in addition to the normal production

5   trimming, we do an annual pre-hurricane season patrol of all

6   3,800 miles of the backbone and complete any demand trimming

7   that is identified through that patrol all prior to June 1.

8             The normal means to identify our demand opportunities

9   is throughout outages and customer calls and that sort of

10   thing.  So in order to be prepared for the hurricane season we

11   can't wait for those things to occur, so we send trained

12   resources out into the field to walk those backbones and

13   identify any opportunities prior to June 1.

14             MR. McNULTY:  Okay.  Would you say that your mutual

15   assistance agreements with other utilities throughout the

16   country is as good or better as it has been in past years in

17   terms of the access to resources, both human resources,

18   personnel, as well as equipment?

19             MR. CUTLIFFE:  I would say the availability of those

20   resources is as good as it has ever been, but I would also add

21   that our ability to assimilate resources is better than it has

22   ever been.  Our staging and logistics process, our

23   identification of critical equipment that will be needed in the

24   first few hours and days, our efficiency with which we can

25   employ resources is vastly improved over the last few years

FLORIDA PUBLIC SERVICE COMMISSION

39

1   from lessons that we have learned through the past storm

2   seasons.

3             MR. McNULTY:  Okay.  And, finally, we heard Florida

4   Power and Light discuss a new initiative of getting out and

5   contacting customers in areas that were under restoration to

6   assure them that within 48 hours their power would be back on.

7   Do you have a similar sort of program or anything that

8   addresses the concern of customers who say I just saw a truck

9   go by my house and I'm still out of power and it is three days

10   later and that sort of thing.  Do you have any sort of program

11   to address those kinds of communication concerns with

12   customers?

13             MR. CUTLIFFE:  Again, we have two means to address

14   that.  The first is our engagement and involvement with county

15   emergency operation centers where we are able to provide not

16   only outage information, but resource deployment information

17   down to the neighborhood level.  And that allows the county

18   officials to understand where we are and where we are restoring

19   and to be able to communicate that out.

20             For those customers that contact us, we have two call

21   centers in Florida.  We also have a fully staffed call center

22   in Raleigh, North Carolina, that is able to take calls.  And

23   the same information that we provide to counties through

24   emergency operations centers we provide to our call agents who

25   are able to share that information with customers when they

FLORIDA PUBLIC SERVICE COMMISSION

40

1   contact us.

2             MR. McNULTY:  Thank you.

3             CHAIRMAN EDGAR:  Commissioners, any questions for Mr.

4   Cutliffe?

5             Commissioner McMurrian.

6             COMMISSIONER McMURRIAN:  Thank you.

7             Mr. Cutliffe, you mentioned removal of danger trees,

8   and I was hoping that you could explain what constitutes, at

9   least for your company, what is a danger tree.  And, I guess,

10   secondly, if you could explain to me what happens if a customer

11   is concerned about a tree in their yard, I suppose, that they

12   believe is coming in contact or may come in contact during

13   storms, but it doesn't constitute your definition of a danger

14   tree.  What happens in that circumstance, too.

15             MR. CUTLIFFE:  The first question, a danger tree

16   would be a tree that is either dead, or dying, or is outside of

17   our established easement limits that jeopardizes the line.

18   Now, obviously we need property owner consent to remove any

19   such tree.  And when our vegetation management professionals

20   patrol lines and they identify these trees that are a danger,

21   they make contact with the property owners, and in most cases

22   are able to resolve the removal of those trees.  But, again, it

23   does require that cooperation.  And what we look for, again,

24   are trees that either through disease, or drought, or the angle

25   that they are leaning pose a threat to our infrastructure.

FLORIDA PUBLIC SERVICE COMMISSION

41

1             With regard to customer inquiries that come in

2   regarding trees on their property, if the trees are, again,

3   jeopardizing our facilities, our intention is to remove or trim

4   those.  Having said that, we do have to make some

5   prioritization decisions based upon whether it is an individual

6   service that may be jeopardized or a three-phase line that

7   serves thousands of customers, so we have to make some choices

8   there.  But our vegetation management professionals that field

9   those calls and visit those sites make those decisions.

10             CHAIRMAN EDGAR:  Commissioners, any further

11   questions?

12             Commissioner Skop.

13             COMMISSIONER SKOP:  Thank you, Madam Chair.

14             Just briefly, what were the two top lessons learned

15   from your annual storm drill?

16             MR. CUTLIFFE:  The tool I mentioned, the resource

17   tool and volunteer tool, the data base of all names.  What we

18   found is that with such access to skill sets and resources that

19   we needed more controls in place to determine where those folks

20   went.  And so we are in the process now of creating a system to

21   identify needs in bulk ahead of time and then use the tool to

22   assign employees with those skill sets without doing it on a

23   more granular onesy-twosey basis.

24             COMMISSIONER SKOP:  Thank you.

25             CHAIRMAN EDGAR:  Commissioner Argenziano.

FLORIDA PUBLIC SERVICE COMMISSION

42

1             COMMISSIONER ARGENZIANO:  Thank you.

2             I think some of the questions I had have already been

3   asked and answered, but going back to the vegetation clearing,

4   is there a standard practice that, I guess, your technicians in

5   clearing vegetation that they practice in all areas?  Is it

6   consistent?  And what it is that prompts -- if you are going

7   out prehurricane season, what is it that prompts -- is it

8   distance?  I understand the disease and the danger trees, but

9   what it is that prompts an additional vegetation cutting?

10             MR. CUTLIFFE:  We have a specification that our

11   vegetation management contractors bid on.  They bid on the

12   mileage that we intend to trim and then they do it per the

13   specification that we provide.  And essentially it dictates

14   trimming for enough growth that whatever cycle that piece of

15   circuit is on will perform until it is trimmed again.

16             And in regard to what would cause us to do demand

17   trimming between those cycles, it's fast-growing species.

18   There are things that can occur, we can have periods of heavy

19   rain that will cause vegetation to accelerate its growth and

20   there are wind events that can break limbs loose and they will

21   hang.  And in some cases, depending on where the hinge point

22   is, they can be in jeopardy of falling into the line where when

23   they were healthy they were not in jeopardy.  And those are the

24   kind of things that our people are able to identify on the

25   prehurricane season patrols and we can take care of those

FLORIDA PUBLIC SERVICE COMMISSION

43

1   before they become either an outage or a customer call later

2   on.

3             COMMISSIONER ARGENZIANO:  Madam Chair.

4             Is that within the easement?

5             MR. CUTLIFFE:  Yes.

6             COMMISSIONER ARGENZIANO:  And one other, when you

7   have a danger tree that is outside of the easement, that maybe

8   let's say it is not diseased, maybe it is leaning towards the

9   lines, have there been problems with, you know, the owner of

10   the property saying I don't want that tree cut down, it has

11   been here a hundred years and I don't want you cutting it down.

12   How do you deal with that type of situation?

13             MR. CUTLIFFE:  We work with the property owner, and

14   depending on the level of risk that tree might provide, we will

15   do things like offer to replant trees in place of it.  We will

16   go to various lengths to clean up end remove the debris from

17   the tree once it is felled, so we will do as much as we can, as

18   much as we are able to do to work out with the property owner

19   the removal of the tree.

20             COMMISSIONER ARGENZIANO:  Just one quick follow-up.

21   Are your clearers, I'm not sure what they're called, the

22   vegetation clearers, are they consistent in their application

23   of clearing the vegetation?  I mean, I have seen some areas,

24   and not just within the state of Florida, in other states where

25   it is not consistent, it is either too little or way too much.

FLORIDA PUBLIC SERVICE COMMISSION

44

1             MR. CUTLIFFE:  Well, one of the things that they take

2   into consideration when they do trimming is not just the

3   clearance, but the species of tree they are clearing.  So in

4   some cases with slow growers, less clearance is needed versus

5   fast growing species.  So that can give a nonuniform appearance

6   sometimes.  But even having said that, we don't take it as

7   faith that our tree trimming contractors are going to do what

8   they are supposed to do.  We have an inspection process where

9   Progress Energy employees follow up on what has been done and

10   we have a means to address that in our contract, as well.

11             CHAIRMAN EDGAR:  Commissioners, anything further?

12             Thank you, Mr. Cutliffe.

13             MR. CUTLIFFE:  Thank you.

14             CHAIRMAN EDGAR:  Next we have Mr. Haines with Tampa

15   Electric Company.  Mr. Haines.

16             MR. HAINES:  Good morning, Madam Chairman and

17   Commissioners.  My name is Regan Haines.  I am the Director of

18   Engineering for Energy Delivery with Tampa Electric Company.  I

19   appreciate the opportunity to be with you this morning to

20   update you on Tampa Electric's activities as we prepare for the

21   upcoming storm season.

22             Today's briefing will include various components of

23   Tampa Electric's storm preparation efforts --

24             CHAIRMAN EDGAR:  Mr. Haines, just a moment.  I need

25   you to pull the mike to you a little bit.  I think our court

FLORIDA PUBLIC SERVICE COMMISSION

45

1   reporter is maybe having some difficulty hearing you.  And,

2   Mike, are we going to have slides.  They are up there?  I don't

3   have them here.  You will get them.  Okay.  Thank you.  I think

4   we are ready.  Thank you.

5             MR. HAINES:  I will start out by first giving a brief

6   overview of Tampa Electric's service territory and electrical

7   system, and then present the key elements of our hurricane

8   preparations, which include our inspection and maintenance

9   programs, our vegetation management activities, coordination

10   with local government and community groups and other utilities;

11   pre-storm season activities, such as training, mock storm

12   drills, inventory reviews, as well as some of our T&D system

13   hardening proposals and our plans for forensic data collection.

14             Tampa Electric's service territory covers roughly

15   2,000 square miles in west central Florida, including

16   Hillsborough County, and parts of Polk, Pasco, and Pinellas

17   Counties.  We serve approximately 654,000 customers with 4,500

18   megawatts of generation.  I have listed several stats on our

19   system that are key to this presentation.  Our T&D system is

20   fairly dense, and is comprised of 726 distribution circuits and

21   over 13,000 miles of distribution, 171 transmission circuits,

22   over 1,200 miles of overhead transmission, and 217 substation

23   stations.  We have approximately 300,000 distribution poles and

24   roughly 330,000 third-party attachments.

25             The first three elements of our storm preparation

FLORIDA PUBLIC SERVICE COMMISSION

46

1   involve ensuring that the transmission and distribution system

2   is in good condition and can withstand the winds that it is

3   designed for.  This consists of system inspections and

4   maintenance in our vegetation management program.  Tampa

5   Electric has increased its transmission inspection and

6   maintenance programs over the last two years following the

7   Commission's actions on system hardening.

8             In 2006, the company completed above-ground

9   inspections on 4,000 structures, which is roughly 17-1/2

10   percent of our transmission system where a structure is defined

11   as being either wood, non-wood, single pole or a multi-pole

12   structure.  Above-ground inspections performed by helicopter

13   identify issues such as broken cross-arms, cracked insulators,

14   conductor issues and woodpecker holes.  We also performed

15   ground line inspections on 761 wooden structures, and in total

16   214 structures were identified for replacement.

17             During the year we replaced 190 wooden structures and

18   also replaced 184 sets of insulators with polymer insulators.

19   For 2007 we are planning to perform above-ground inspections on

20   3,800 structures, and ground line inspections on 3,412 wooden

21   structures, which will include a wind loading analysis to

22   ensure that those structures meet the National Electric Safety

23   Code extreme wind criteria.

24             The patrols are prioritized beginning with our

25   coastal areas and facilities out of our power plants, as well

FLORIDA PUBLIC SERVICE COMMISSION

47

1   as critical infrastructure and then we move inland from there.

2   Helicopter infrared and ground patrols of our entire

3   transmission system have been completed year-to-date.

4             CHAIRMAN EDGAR:  Commissioner Argenziano.

5             COMMISSIONER ARGENZIANO:  Thank you.  Could you tell

6   me, prior to the 2006 inspections when were the last

7   inspections of these that you have identified as needing

8   repair?

9             MR. HAINES:  We have had an inspection program in

10   place for several years, but out of the 2004/2005 hurricane

11   season the Commission has instituted very specific

12   requirements, six year above-ground inspection, and an eight

13   year pole line, ground line pole inspection program.

14             COMMISSIONER ARGENZIANO:  But when was the actual

15   last inspection of these facilities or infrastructure that you

16   have found to be defective?

17             MR. HAINES:  I don't know the exact date, but we were

18   roughly maybe on a ten-year inspection cycle prior to the

19   specific programs that are in place now.

20             COMMISSIONER ARGENZIANO:  Thank you.

21             MR. HAINES:  As with our transmission system, Tampa

22   Electric has also increased its distribution inspection and

23   maintenance programs over the last two years.  In 2006, the

24   company completed roughly 17,000 ground line inspections

25   resulting in the hardening of almost 1,400 distribution wood

FLORIDA PUBLIC SERVICE COMMISSION

48

1   poles by either reinforcement or replacement.  In addition,

2   131 repairs were made that will harden our facilities replacing

3   down guys, anchors, and other maintenance items.

4             For 2007, there are approximately 38,000 ground line

5   inspections planned, which represents 13-1/2 percent of our

6   system.  And for all issues found the company is targeting to

7   have the engineering completed by the end of the year and all

8   repairs made prior to June of 2008.  Again, these inspections

9   include performing wind loading analysis on all joint use poles

10   to ensure that they meet our construction standards, which is

11   the National Electric Safety Code Grade B criteria, which I

12   will talk a little bit more in a few slides.

13             The result of our wind loading analysis so far has

14   resulted in a one to two percent failure rate, which is good

15   news, and very low, which ensures that the structures that are

16   out there are meeting the wind loading as designed.  We are

17   also working with Verizon to coordinate the inspections of all

18   of our wooden poles.

19             Tampa Electric's vegetation management program is a

20   key element of its day-to-day reliability as well as preparing

21   our system for hurricane season.  As filed in our 2006 storm

22   implementation plan, the company is transitioning to a

23   three-year tree trim cycle on our distribution system.  This

24   includes all main feeders and laterals.  Tampa Electric's

25   methodology combines cycle trimming with reliability-based

FLORIDA PUBLIC SERVICE COMMISSION

49

1   trimming which takes into account several key factors including

2   circuit priority, last date trimmed, SAIDI and MAIFI

3   performance on that circuit, and the number of tree-related

4   outages seen on the circuit.

5             The current methodology is flexible enough to move

6   tree trim resources to priority-based circuits within the

7   service area or region to enhance reliability in that year.

8   All of our hot spot trimming on high priority circuits are also

9   completed prior to the peak of each hurricane season.  Overall

10   2006 SAIDI was reduced by approximately 15 minutes, and MAIFI

11   has been reduced by over one event over the 2005 year-end data,

12   and this is largely due to the increased tree trimming.

13             CHAIRMAN EDGAR:  Commissioner Argenziano.

14             COMMISSIONER ARGENZIANO:  I'm sorry, if you would

15   bear with me.  SAIDI and MAIFI meaning what?

16             MR. HAINES:  System Average Interruption Duration

17   Index, it is the average time that a customer would observe an

18   outage for a given year in terms of minutes.  And MAIFI are

19   momentary outages less than a minute in duration.

20             COMMISSIONER ARGENZIANO:  Thank you.

21             MR. HAINES:  The company plans to increase the number

22   of distribution circuits trimmed by 10 percent this year, and

23   on the transmission system the company patrols our 230 kV

24   system twice a year and our lower voltage 69 and 138 kV

25   transmission systems once a year for vegetation issues.  And

FLORIDA PUBLIC SERVICE COMMISSION

50

1   all of those have been completed year-to-date.

2             Our vegetation management group also participated in

3   the recent vegetation management workshop held in Orlando,

4   which is a component of the storm hardening research being

5   conducted by PURC and the University of Florida.  And from this

6   workshop our experts have incorporated several new items into

7   our program and are evaluating others.

8             While having a sound functional

9   transmission/distribution system is critical going into storm

10   season, establishing coordination with our local governmental

11   agencies, EOCs, communities, and other utilities is also

12   paramount to restoration efforts.  Tampa Electric will begin

13   meeting annually with all of our governmental agencies and EOCs

14   starting in 2008, and we have held meetings with each of them

15   at least once over the last two years.  These meetings consist

16   of a review of our emergency restoration process and a

17   discussion of any specific coordination needs for that

18   governmental entity.  The company also holds or participates in

19   numerous workshops and community discussions on storm

20   preparedness and vegetation management issues.

21             Coordination with the other utilities is also an

22   important element in our preparations.  As experienced in each

23   of the hurricanes that impacted Tampa Electric in 2004, mutual

24   assistance from other electric utilities is absolutely vital to

25   quick restoration.  The company participates in the

FLORIDA PUBLIC SERVICE COMMISSION

51

1   Southeastern Electric Exchange Mutual Assistance Group, and

2   also the newly formed Florida Mutual Assistance Group

3   Subcommittee whose goal is to identify resources outside of the

4   SEE prior to storm season to line up and allocate how those

5   resources are going to be assigned to each of the utilities in

6   the state of Florida.

7             In addition to coordination with our fellow electric

8   utilities, it is essential that we coordinate our activities

9   with the telecommunication, cable TV, and other utilities that

10   might attach to our poles.  Tampa Electric held a meeting in

11   March to discuss our storm hardening plan with all of our joint

12   attachers, which included a discussion of our joint attachment

13   standards and procedures.  As part of our filed 2006 storm

14   hardening plan, the company also plans to perform a physical

15   audit of all of our joint use poles over the next three years.

16   This will include completing 30 percent of our system in 2007.

17   This will help ensure that each of our poles has been designed

18   to accommodate everything that is attached to that pole and

19   that it will meet our wind loading criteria.

20             The next component of our storm preparedness includes

21   several pre-storm season activities that help the company

22   prepare for storm season each year.  These include a review of

23   our disaster recovery plans where they are exercised and

24   updated annually.  In addition, we have started to meet with

25   our EOCs, starting with Hillsborough County, to review and

FLORIDA PUBLIC SERVICE COMMISSION

52

1   synchronize our circuit priority lists.  This will ensure that

2   the EOCs' top restoration priority is aligned with our

3   priorities.

4             The company has also conducted a mock storm circuit

5   patrol training exercise to familiarize new personnel on what

6   they are looking for and how to assess and document damage that

7   might occur during a hurricane.  All inventory levels of storm

8   material has been reviewed and ordered.  On May 9th, the

9   company conducted our mock storm exercise with other functional

10   areas within the company and simulated a Category 4 hurricane

11   with 12 to 16 inches of rainfall and 18 to 25 foot of storm

12   surge.

13             Finally, the company has reviewed and updated our

14   storm damage model that is used to estimate the number of

15   resources, both line and tree trim resources needed, as well as

16   material on the predicted strength, size, and path of the

17   hurricane.

18             In addition to the previous activities mentioned that

19   would benefit Tampa Electric and its customers this upcoming

20   hurricane season, I also want to briefly mention some of the

21   items that we have proposed in our May 7th, 2007 to 2009 storm

22   hardening plan filing.  Most of these items will provide

23   benefits starting next year; however, a key element of the plan

24   has been benefitting Tampa Electric customers for many years,

25   it's the standard we construct our distribution system to.

FLORIDA PUBLIC SERVICE COMMISSION

53

1   While the National Electric Safety Code is a guideline that

2   most utilities utilize, and that minimum requirement is Grade C

3   in most situations, Tampa Electric constructs to Grade B, which

4   is 50 percent stronger than Grade C.

5             Some of the hardening plans that the company plans to

6   start engineering this year and construct next include

7   converting overhead interstate crossings to underground,

8   converting our remaining 4 kV circuits to our standard 13 kV,

9   rebuilding one of our 69 kV wooden transmission circuits that

10   feed Tampa International Airport to non-wood, and then

11   developing a pilot program that will evaluate the NESC extreme

12   wind criteria for our distribution system.

13             And two of the circuits that will be evaluated, one

14   will feed the Port of Tampa where 40 percent of the state's gas

15   supply come into, and the other feeding St. Joseph Hospital,

16   which is a Level II trauma center.  And, finally, Tampa

17   Electric will change its underground standard in Flood Zone 1

18   regions to include only stainless, pad-mounted equipment.

19             The final component of Tampa Electric's storm

20   preparation is ensuring that resources and processes are in

21   place to acquire forensic data following hurricanes.  The

22   company has contracted with KEMA Consulting to perform this

23   task, which includes the determination of which circuits in the

24   areas to patrol, how much of the system to patrol, and the

25   evaluation of the damaged equipment.  The consultant will also

FLORIDA PUBLIC SERVICE COMMISSION

54

1   provide a written report outlining the findings, analysis,

2   conclusion, and recommendation for any changes to the company's

3   standards.

4             In summary, Tampa Electric has learned from the

5   recent hurricanes and we have made significant improvements to

6   our storm preparedness activities over the last couple of

7   years.  This includes a number of inspections and repairs that

8   we are making, the amount of tree trimming performed, increased

9   coordination with our local governments, communities, and

10   fellow utilities, improved training, proposed hardening plans,

11   and an established forensic data collection and analysis plan.

12   Tampa Electric is prepared and ready for the 2007 hurricane

13   season.

14             CHAIRMAN EDGAR:  Commissioner Carter.

15             COMMISSIONER CARTER:  Thank you, Madam Chair.

16             I just wanted to ask a question.  I noticed from your

17   coverage area you are primarily in a built-up highly dense

18   geographical location.  How have you found undergrounding

19   utilities in some of the localities within your service area?

20             MR. HAINES:  How have we found --

21             COMMISSIONER CARTER:  Undergrounding.

22             MR. HAINES:  I'm not sure if I understand your

23   question.  We are roughly 50/50 on our underground to overhead

24   right now.

25             COMMISSIONER CARTER:  And do you see it increasing,

FLORIDA PUBLIC SERVICE COMMISSION

55

1   do you see there is a request -- particularly in view of the

2   '04 and '05 storm season, have you seen a request for increased

3   undergrounding by any of the local municipalities within your

4   service area, or is it about the same?

5             MR. HAINES:  No, they are starting to inquire about

6   conversion projects, specifically.  But as far as new

7   construction, for some time now it has been roughly 75 percent

8   of everything that's put in new has been underground.  But some

9   of the communities are starting to inquire more about

10   converting their overhead systems to underground.

11             COMMISSIONER CARTER:  A follow-up, Madam Chair.

12             In that context, do you have a program geared to

13   assistance in that, or is it kind of a case-by-case basis, or

14   what is your perspective on it?

15             MR. HAINES:  No, we have recently put together a

16   brochure that lays out the facts, the benefits, and the

17   drawbacks of underground utilities.  For example, in low-lying

18   areas and coastal regions, a underground system following a

19   major storm with storm surge could actually delay restoration.

20   So we have developed last year a brochure that will help

21   educate communities, the governmental agencies on the pros and

22   cons of overhead versus underground systems and the costing and

23   how that would be paid for.

24             COMMISSIONER CARTER:  In the process of costing and

25   how it would be paid for, I mean, what is the dynamics of that

FLORIDA PUBLIC SERVICE COMMISSION

56

1   discourse with your company and the --

2             MR. HAINES:  Currently it is in our tariff, which

3   there is a CIAC charge between the difference between an

4   underground system and overhead given that our rates are based

5   on overhead service.  And what we are really looking at is the

6   study that the IOUs are conducting with PURC's assistance to

7   look at underground conversions and the cost/benefit analysis

8   really long-term of converting overhead system to underground.

9   And so there is three phases to that PURC research and we are

10   in the second phase right now.

11             CHAIRMAN EDGAR:  Commissioner McMurrian.

12             COMMISSIONER McMURRIAN:  Thank you.

13             Mr. Haines, you heard my questions earlier to

14   Mr. Cutliffe about danger trees, and I just wanted to get your

15   company's treatment of danger tree issues, especially those

16   outside the easement, similar to the questions I asked

17   Mr. Cutliffe.

18             MR. HAINES:  Yes.  And I listened to Mr. Cutliffe's

19   response and we are very similar to how they approach it.  We

20   try to work with the property owner to try to get permission to

21   remove the tree if it is outside the right-of-way or outside of

22   our easement, and our definition of a danger tree is just as he

23   described.

24             CHAIRMAN EDGAR:  Commissioner Skop.

25             COMMISSIONER SKOP:  Thank you, Madam Chair.

FLORIDA PUBLIC SERVICE COMMISSION

57

1             With respect to the two power generating stations

2   that you have that are approximate to Tampa Bay and the drill

3   that you conducted, and I believe you mentioned a 25-foot storm

4   surge, was there any impact to the generating facilities

5   themselves?

6             MR. HAINES:  The mock storm that we performed was

7   more for the transmission and distribution system.  Our energy

8   supply business unit does conduct a mock storm, and they have

9   simulated similar storm surges.  I do not know the specifics on

10   how they would handle the shutdown of the plant or, you know,

11   damage to those facilities given that kind of a storm surge.

12             COMMISSIONER SKOP:  Thank you.

13             CHAIRMAN EDGAR:  Other questions from staff?

14             MR. McNULTY:  Yes, Chairman.

15             Could you identify some of the inspections that have

16   gone on related to substations, be it distribution or

17   transmission system for 2007?

18             MR. HAINES:  We do perform annual and quarterly

19   inspections of our substations.  I do not have the specifics as

20   far as, you know, where we are year-to-date with those

21   inspections, but all of our substations are inspected at least

22   once a year on a visual inspection by our substation personnel.

23   I can follow up with you, though, on where we are year-to-date.

24             MR. McNULTY:  Thank you.

25             Okay.  Let's see.  On your fourth slide you indicated

FLORIDA PUBLIC SERVICE COMMISSION

58

1   that there is an estimated 38,205 ground line pole inspections

2   by September of 2007.  Do you have a year-to-date where you are

3   today on those pole inspections?  And I assume that this is

4   wooden pole inspections at the distribution level.

5             MR. HAINES:  And you are on the distribution side?

6             MR. McNULTY:  Right.  I think it was Slide Number

7   4 and it mentioned 38,205 ground line pole inspections.

8             MR. HAINES:  I do not know exactly where we are

9   year-to-date, but, again, the goal of being complete all the

10   ground line inspections prior to September so that we can start

11   the engineering and then have all the repairs made prior to

12   June of '08.

13             MR. McNULTY:  Okay.  That is a good segue into the

14   question I asked of the other utilities, which is do you

15   attempt to accelerate your ground line wood pole inspections to

16   precede the June 1 start of the hurricane season?

17             MR. HAINES:  It is not so much before June 1, but

18   more so before the peak of hurricanes.  So trying to get all

19   the inspections done before that August/September time frame so

20   that we can do the engineering in the second part of the year

21   and then start the repairs at the beginning, the first half of

22   the following year.

23             MR. McNULTY:  Has the company set a numeric goal in

24   terms of the percentage of poles that they want to achieve by

25   the peak, or how do you implement that?  If you are going to

FLORIDA PUBLIC SERVICE COMMISSION

59

1   accelerate, how do you implement it?

2             MR. HAINES:  On the inspection side?

3             MR. McNULTY:  Uh-huh.

4             MR. HAINES:  Well, the goal would be, on average,

5   12.5 percent, but we didn't quite make that in 2006.  We are

6   going to be making up ground for the next several years, so

7   that when we get to the end of that eight-year period, we will

8   have inspected all of our distribution system.

9             MR. McNULTY:  Okay.  Well, if I look on your first

10   slide, you show distribution poles at 303,000 and you're

11   estimating 38,245.  That would appear to be in and around the

12   12 percent requirement on an annualized basis.  So what I'm

13   having a hard time understanding is where is the make-up in the

14   number of wood pole inspections for 2007 that would make up the

15   2006 --

16             MR. HAINES:  The 303,000 is total distribution poles,

17   so that includes concrete and steel.  We have roughly 287,000

18   wood poles.

19             MR. McNULTY:  Okay.  That helps a lot.  Thank you.

20             In one of your latter slides, and I'm not sure which

21   one it is, it's not important, but you did mention that you had

22   set out as a goal for the storm hardening and the plans that

23   you had implemented -- or not implemented, but had submitted on

24   May 7th, you indicated that you were initiating undergrounding

25   of overhead distribution interstate crossings.  Has the company

FLORIDA PUBLIC SERVICE COMMISSION

60

1   already gone ahead and started to address some of those

2   interstate crossings?

3             MR. HAINES:  We have started to scope out the

4   projects and begin preliminary engineering, but we are really

5   waiting on approval of our plan to see if that's going to be

6   acceptable or if there is something more that we need to do.

7   But right now we are sitting there waiting for approval of our

8   plans.

9             MR. McNULTY:  Okay.  And then finally, I mentioned

10   with Florida Power and Light, or Florida Power and Light

11   mentioned today that they have a system of contacting customers

12   after a storm in areas where storm restoration activity is

13   taking place to let them know when their power will be restored

14   as a way of giving them a time frame, that's important to

15   customers.  What plan does TECO have in that area?

16             MR. HAINES:  We have a similar IBR system from our

17   call center that does do call backs and provides estimated

18   restoration times that we use throughout storm season.  And

19   that would also be activated probably a couple of days

20   following, you know, the initial impact of the hurricane.

21             MR. McNULTY:  Thank you very much.

22             CHAIRMAN EDGAR:  Commissioners, any further

23   questions?  No.

24             Thank you.  I appreciate your presentation.

25             And next we will hear from Mr.  McQuagge with Gulf

FLORIDA PUBLIC SERVICE COMMISSION

61

1   Power Company.

2             MR. McQUAGGE:  I'm Andy McQuagge, and I will be

3   presenting Gulf Power's Storm Preparedness Briefing.  I'm Power

4   Delivery Services Manager for Gulf Power Company.

5             The first area I would like to discuss is our

6   transmission vegetation management.  On our 230 kV right-of-way

7   inspection and correction, we are 100 percent complete with our

8   inspections and our line clearance in that area.  On our 115 kV

9   right-of-way, at the time this slide was put together we were

10   about 75 percent.  We are a little further than that now.  We

11   are correcting the hazards as we identify them, as we go, and

12   our scheduled completion for that program is June 1st of '07.

13             On our 46 kV right-of-way vegetation inspection and

14   correction, we began those inspections, and we anticipate

15   completing that by June 30th.  Just for some general info, our

16   230 kV is essentially 416 miles, our 115 kV is about 1,016

17   miles, and our 46 kV is about 115 miles.

18             CHAIRMAN EDGAR:  We're going to pause for a question.

19             Commissioner Carter.

20             COMMISSIONER CARTER:  Thank you, Madam Chair.

21             On your 46 kV, you were saying that you had started

22   the inspections and you said an anticipated time of completion.

23   What is your percentage completed so far, do you have that?

24             MR. McQUAGGE:  I do not have those numbers.  I know

25   that we are very far along with the inspection, and probably

FLORIDA PUBLIC SERVICE COMMISSION

62

1   pretty close to being fully complete on the inspection, but the

2   follow-up trimming, I'm not familiar with where we are on that.

3   But I can follow up with that if you need that information.

4             COMMISSIONER CARTER:  Thank you.

5             MR. McQUAGGE:  In the area of distribution vegetation

6   management, Gulf Power is in our first year of our three-year

7   vegetation management cycle that we submitted in our storm

8   hardening plan.  As part of that plan, each year one-third of

9   our main line feeders will be systematically pruned, and the

10   other two-thirds will be inspected and trimmed to correct any

11   deficiencies that might be there that we find on those

12   two-thirds.  That's in an attempt to mitigate any damage that

13   we could have during storm conditions.

14             In addition to that, Gulf's vegetation program

15   addresses removal of hazard trees that are essentially located

16   outside of road right-of-ways and outside of easement

17   right-of-ways, and I'll just give you an update of where we are

18   on those four programs.  As far as our danger tree removal, and

19   the definition of our danger tree is very similar to what you

20   have heard earlier, it is off right-of-way trees that are

21   diseased, have been damaged, that are dead, leaning toward our

22   lines.  We work with the homeowner, again, to try to address

23   those issues.  If it is an extreme case, we will work with the

24   code enforcement agencies in those local communities to try to

25   help us mitigate a particular tree that we feel that could be a

FLORIDA PUBLIC SERVICE COMMISSION

63

1   danger to our system.  So I thought I would just go ahead and

2   address that.

3             To date we have removed 1,238 what we consider danger

4   trees.  We have had nine customer refusals.  To give you a

5   perspective of kind of where that is, we are in the

6   neighborhood of 700 to 800 requests, so we have had a pretty

7   good success ratio so far in that area.

8             On our main line inspection and correction, that is

9   the two-thirds of our main lines that we patrol.  We look at

10   and we try to go ahead and trim to mitigate any damage that

11   could occur during storm season.  That is complete.  On our

12   main line annual trim schedule, which is the third of our lines

13   that will be fully pruned for a three-year cycle, we are about

14   50 miles into the 615 miles that we have scheduled for 2007.

15             As far as our scheduled annual lateral trimming,

16   which is basically 1/6th of our laterals, that is scheduled for

17   later on in the year.  That is a little lower priority.  We are

18   trying to get the main three-phase feeders and lines done

19   first.

20             As far as our transmission inspections and

21   maintenance, our complete transmission system has been

22   inspected aerially once this year.  In talking to our

23   transportation group, our system will be flown again before

24   June 1st.  We typically fly our system four times annually.  So

25   prior to storm season that system will have been flown four

FLORIDA PUBLIC SERVICE COMMISSION

64

1   times.

2             On our comprehensive walking, climbing, and ground

3   line inspection, essentially it is a six-year program.  And as

4   I note on here, I say that 75 percent of our inspections will

5   be completed by August 1st.  We are actually considerably ahead

6   of that schedule.  We have completed all of our steel structure

7   inspections.  And of the 1,117 wood pole structures that we are

8   going to do ground line inspections on this year, we have

9   already inspected 850 of those, so we are a little bit ahead of

10   schedule on where we thought we would be.

11             As far as our climbing patrol on our wood structures,

12   we are currently in negotiations with a contractor and expect

13   to have him on the system by June 1.  And the work that we have

14   laid out for them on climbing inspections will last

15   approximately three months; June, July, and August.  Some

16   additional activities that we have undertaken on our

17   transmission system, on 76 of our H-frame, 115 kV structures,

18   we have installed additional guys, we have installed 139 --

19   replaced 139 wood cross-arms with steel.  In our filing, I

20   believe we said that would be a ten-year program.  We actually

21   have 981 on our system, so we are considerably ahead of our

22   1/10th that we had committed in our program to do.  Our guying

23   is to be spread over a five-year program.

24             In addition, our 230 kV lines are designed with a

25   loss of conductor contingency, and basically what that says is

FLORIDA PUBLIC SERVICE COMMISSION

65

1   if we lose a conductor, the tower doesn't fall.  And all of our

2   230 lines at Southern Company and at Gulf Power are designed to

3   that criteria.

4             In the area of distribution, inspection, and

5   maintenance, our 2007 pole inspections, and this will address a

6   question that has been asked previously, typically our strategy

7   has been to do our ground line inspections during the fourth

8   quarter of the year, and do our replacements in the first or

9   second quarter of the next year.  So our 2007 Osmose pole

10   inspections are scheduled for the fourth quarter of this year,

11   and we are in the process of repairing the poles identified in

12   the fourth quarter of '06.  And basically that's about

13   118 replacements, and in the neighborhood of 60 that we will be

14   reinforcing.

15             CHAIRMAN EDGAR:  Mr. McQuagge, I think we have a

16   question.

17             Commissioner Carter.

18             COMMISSIONER CARTER:  Thank you, Madam Chairman.

19             When you say the pole inspections are scheduled for

20   the fourth quarter, does that mean you wait until after storm

21   season to conduct those?

22             MR. McQUAGGE:  Yes, sir.

23             COMMISSIONER CARTER:  Is that why that is done, so

24   you can schedule the work prior to --

25             MR. McQUAGGE:  Historically, that's how Gulf Power

FLORIDA PUBLIC SERVICE COMMISSION

66

1   has done it, is we have done our actual inspections in the last

2   quarter of the year and then tried to do our replacements and

3   reinforcements in the next year.

4             COMMISSIONER CARTER:  Thank you, Madam Chairman.

5             MR. McQUAGGE:  In the area of joint use audit, we did

6   complete a joint use audit of all of our facilities last year.

7   On May 10th we held a request for proposals meeting with five

8   vendors to give us proposals on coming in to do some pole

9   strength assessments for us.  Those bids are due back on May

10   24th.  We will evaluate those bids at that time and put a

11   contract engineer on staff to do approximately 500 strength

12   assessments on joint use poles.  And, basically, those poles

13   will be joint use poles as we had in our filing.  Joint use

14   poles that are over 20 years old that have three or more joint

15   use attachments.  So we have about 9,000 poles we have

16   identified that have three or more attachers in addition to us,

17   and 5 percent of that would be in the neighborhood of 450 to

18   500 poles.

19             In our areas of concern, first is availability of

20   resources.  We have had some difficulty in finding qualified

21   tree trim contractors in our service area.  They need to be

22   certified line clearance professionals.  That typically takes

23   about an eight-month training period.  There is keen

24   competition for anybody in our service area that has a CDL, so

25   we are competing with some other contract type groups and other

FLORIDA PUBLIC SERVICE COMMISSION

67

1   work groups, but we do feel like we will be able to fully staff

2   in order to meet the requirements that we have committed to

3   make by the end of the year.  But we have struggled a little

4   bit in getting resources on board to do our tree trimming.

5             CHAIRMAN EDGAR:  Commissioner Carter for a question.

6             COMMISSIONER CARTER:  Thank you.

7             You have been here all morning, right?

8             MR. McQUAGGE:  Yes, sir.

9             COMMISSIONER CARTER:  And you have heard the

10   discussion.  I think several of the Commissioners asked earlier

11   of some of the other companies, and they were saying no problem

12   with resources and all like that in terms of contract

13   personnel.  What do you attribute -- I noticed you mentioned

14   competition, because they have to have a certain certification.

15   What do you attribute some of the concerns in terms of finding

16   qualified contractors?

17             MR. McQUAGGE:  I think it is just the locality of our

18   service area, and the qualifications that they have to have to

19   be in these type positions are just not readily available in

20   our service territory, our service area.  I think it's just

21   inherent to the area that we serve, trying to find local bodies

22   to do that type of work.

23             We do have some similar concerns in the line

24   construction area, although as you have heard before, we seem

25   to have been able to fill those resources fairly readily.  And

FLORIDA PUBLIC SERVICE COMMISSION

68

1   that's contract line resources.  So we don't see that as being

2   a big issue, but that is something that is on our radar.

3             As far as -- I have listed the area of concern as

4   forensic data gathering.  We realize that that is going to be a

5   key to our storm hardening plan in the future.  And, here

6   again, it boils down to availability of resources.  We feel

7   very good about the process that we have come up with on data

8   gathering.  We feel very comfortable with the vendor that we

9   plan to use, our relationship with that vendor, with the

10   agreements that we have in place with them.  Our concern, and

11   it has been echoed previously, is if we have multiple storms,

12   or very severe storms, or an extended restoration effort there

13   will be keen competition for those resources.  So we will be

14   contracting that portion of our forensic data gathering out.

15   It will be done in parallel with our actual restoration effort,

16   which will be done with our normal company evaluators.  So we

17   will not slow down the restoration process by doing forensic

18   data, it will be kind of on a parallel path with our normal

19   storm evaluation and restoration.  So it is kind of a

20   two-pronged approach.

21             In summary, we feel that Gulf Power is fully prepared

22   going into the 2007 storm season.  We have very good on-going

23   coordination with our government, our community groups, and our

24   other utilities in our area.  Our district managers and local

25   managers interact almost weekly and monthly with our city and

FLORIDA PUBLIC SERVICE COMMISSION

69

1   county officials.  They actually serve on several committees

2   within the communities that are business and government

3   communities that deal strictly with emergency preparedness

4   issues.  We have very good relationships with them based on our

5   storm restoration efforts in 2004 and 2005.

6             In the area of line clearance and forestry services,

7   we are out there daily communicating with our local business

8   leaders, our communities, our code enforcement officers, our

9   customers in order to try to address any issues that come about

10   as a result of our vegetation management program.

11             And as far as our representation at the local EOCs,

12   we have 12 employees that are identified in our storm plan that

13   their storm assignment is to be assigned to our local EOCs.  We

14   staff our EOCs any time they are open, 7 days a week, 24 hours

15   a day, and that includes not just hurricane season, it is any

16   time our EOCs are open.  All of our designated company

17   representatives have taken the National Incident and Management

18   System certification, and they are all NIM certified, so we

19   have done that.  And some of our CEMC staff has also taken

20   those certifications.

21             We feel that we are making progress in implementing

22   our ten initiatives that we filed in 2006.  We will continue to

23   look at that and develop that as we go, make improvements as

24   needed.  As far as our storm recovery plan, we think that we

25   have a very good storm recovery plan as evidence by our

FLORIDA PUBLIC SERVICE COMMISSION

70

1   restoration efforts in Ivan in 2004 and Dennis in 2005.  We

2   constantly improve that plan based on lessons learned,

3   extensive critiques both during and after storms, and that goes

4   anywhere from a local critique to a company-wide critique, and

5   then we take and assimilate that data and incorporate that in

6   our plan.

7             Our 2007 plan is complete, and week before last we

8   actually held our annual CEMC managers meeting where we bring

9   all the managers of our different CEMC groups together to

10   discuss any significant changes in their individual area plans.

11   That meeting was very productive, and we feel like we are very

12   prepared going into the 2007 storm season.

13             In addition to that, we have support that we can call

14   on from our sister utilities in Southern Company in the area of

15   logistics and transmission.  And as mentioned earlier, we are a

16   member of the SEE and EEI, which provides us some access to

17   storm restoration resources.

18             CHAIRMAN EDGAR:  Thank you, Mr. McQuagge.

19             Commissioner Carter.

20             COMMISSIONER CARTER:  Thank you, Madam Chair.

21             If my memory serves me correctly, you have an area in

22   your service area that recently went to undergrounding, is that

23   correct?

24             MR. McQUAGGE:  Panama City Beach?

25             COMMISSIONER CARTER:  Pensacola Beach.

FLORIDA PUBLIC SERVICE COMMISSION

71

1             MR. McQUAGGE:  Or Pensacola Beach, I'm sorry, yes,

2   sir, about four miles.

3             COMMISSIONER CARTER:  How is that progressing?

4             MR. McQUAGGE:  It's 100 percent complete, except we

5   have a few poles to remove for -- they are doing their own

6   lighting system, and so until they get all of their lighting

7   system installed, we have a few poles that we're running some

8   secondary.  But the conversion, as far as us having to install

9   facilities, is 100 percent complete.

10             COMMISSIONER CARTER:  Just a follow-up, Madam

11   Chairman.

12             CHAIRMAN EDGAR:  Yes, sir.

13             COMMISSIONER CARTER:  Have you found any other

14   communities within your service area to look toward future

15   undergrounding projects?

16             MR. McQUAGGE:  We have -- yes.  I was trying to think

17   of a number.  Panama City Beach is very active.  I know that we

18   have at least three projects that I'm aware of that we're in

19   the design stages with them on right now, and I believe there

20   is one in downtown Pensacola on Alcaniz Boulevard that we're

21   working with the City of Pensacola.  Oh, and we have had a

22   project in Destin, on Main Street in Destin.  So it pretty much

23   has been across our service territory, but the big projects

24   have been in our Panama City Beach area and Pensacola Beach

25   area.

FLORIDA PUBLIC SERVICE COMMISSION

72

1             COMMISSIONER CARTER:  Thank you for your indulgence,

2   Madam Chairman.

3             I forgot who said it, but they were saying something

4   about storm surge and being clear to the beach.  But from my

5   estimation, Panama City Beach is on the beach, and they went

6   undergrounding.  So I'm just trying to put it in some kind of

7   proper perspective.  Thank you.

8             CHAIRMAN EDGAR:  Are there questions from staff?

9             MR. McNULTY:  Yes, Chairman, just a few.

10             Mr. McQuagge, if we can turn to Slide 3.  I have a

11   few questions on the numbers related to that slide.  The first

12   question is, is the main line inspection and correction

13   schedule, is that referencing hot spot trimming?  What is that

14   activity --

15             MR. McQUAGGE:  Yes.  And I probably didn't do a good

16   job of explaining.  Essentially what we do is we do a full

17   maintenance trim on one-third of our system.  On two-thirds of

18   our system we go out and identify, we actually look at the

19   complete mileage of our whole system, but on two-thirds of it

20   we essentially do the hot spot trimming as you referred to,

21   anything that could be an imminent danger if storm season were

22   to effect us.

23             MR. McNULTY:  Very good.  And then if we move down

24   the page there, main line annual trim schedule.  You indicated

25   here that you have 50 miles completed out of 615 miles

FLORIDA PUBLIC SERVICE COMMISSION

73

1   scheduled for 2007.  I guess my basic question is are you

2   behind schedule on this?  What has been the cause of that?

3             MR. McQUAGGE:  We are probably behind where I would

4   like to be, but when you look at the progress that we have made

5   as far as our transmission system is pretty much completed.  We

6   have spent a good amount of time going through the whole system

7   and doing at least a spot trim on the full system.  So this

8   one-third that is going to be fully trimmed has been hot spot

9   trimmed, so there has been some trimming on that system.  I

10   have raised that concern to our vegetation management folks,

11   and there is no problem with meeting the schedule to have that

12   done this year.

13             MR. McNULTY:  Have it done this year?

14             MR. McQUAGGE:  Yes.

15             MR. McNULTY:  Are they attempting to accelerate it at

16   this point?

17             MR. McQUAGGE:  We are still trying to gear up the

18   resources, as I mentioned earlier.

19             MR. McNULTY:  Okay.  If we could turn to Slide 5.  Do

20   you have a number or percentage of poles that have been

21   identified in 2006 as having been repaired?  I see the

22   indication here is that the repairs are in progress for those

23   that were identified in the fourth quarter of 2006.  Is there

24   any kind of update you can give me on that?

25             MR. McQUAGGE:  No, sir.  I know what the total number

FLORIDA PUBLIC SERVICE COMMISSION

74

1   was, and we could not come up with that number when we were

2   discussing it this morning, so --

3             MR. McNULTY:  Okay.  And on Slide 6, the forensic

4   data gathering that was discussed, you indicated that you were

5   going to be contracting that out and you were engaged in some

6   discussions at this time, and you hoped to do an

7   implementation, I think, in that soon.  But I guess I wondered

8   about a time line for that plan.  Do you have one at this time?

9             MR. McQUAGGE:  We actually have an agreement in

10   place.  The only thing we have not done is to do our dry run,

11   which we have scheduled before July 1st.  We are doing a little

12   refinement on a couple of areas that we want to collect data in

13   that were not in the original proposal.  But we are ready to go

14   in that area, we just have not completed our dry run.

15             MR. McNULTY:  Okay.  And, finally, a few utilities

16   have discussed the idea of undergrounding distribution at

17   interstate crossings.  Is that an issue for Gulf Power?  Have

18   you assessed it; and, if so, are there any plans?

19             MR. McQUAGGE:  We have assessed it, and we have --

20   and our plan is over the next three years we have in the

21   neighborhood of about 30 interstate crossings across our

22   territory.  We plan to build them to Grade B construction.  We

23   do not plan to underground them.

24             MR. McNULTY:  And, once again, a time line on that?

25             MR. McQUAGGE:  It is spread out over 2007, 2008, and

FLORIDA PUBLIC SERVICE COMMISSION

75

1   2009.  Our schedule calls for our eastern and central districts

2   to be done in '07, and the western district, I believe, in '09.

3             MR. McNULTY:  Very good.  Thank you.

4             CHAIRMAN EDGAR:  Commissioner Skop.

5             COMMISSIONER SKOP:  Thank you, Madam Chair.

6             Slide 4, with respect to the aerial inspections of

7   the transmission system.  Is that simply a flyover, or are you

8   conducting other tests, maybe such as thermal imaging when you

9   conduct those inspections?

10             MR. McQUAGGE:  Not thermal imaging.  It's a flyover

11   to identify cracked insulators, cracked wood arms, woodpecker

12   holes, maintenance type items.  It's not infrared.

13             COMMISSIONER SKOP:  As a follow-up, from a

14   reliability perspective are four aerials required annually?

15   Because one of the bullet points said all critical lines had

16   been inspected aerially for 2007, so I assume that you have

17   done some of those four inspections already.

18             MR. McQUAGGE:  On the critical lines, that is really

19   a subset of our entire transmission system.  To clarify what

20   that is, that is essentially our 230 kV lines, so it will

21   actually be inspected aerially four times.  We just felt that

22   was what we termed a critical line, so we wanted to make that a

23   distinguishing bullet.

24             COMMISSIONER SKOP:  Thank you.

25             CHAIRMAN EDGAR:  Commissioners, any further questions

FLORIDA PUBLIC SERVICE COMMISSION

76

1   for Mr. McQuagge with Gulf Power?

2             Seeing none.  Thank you, Mr. McQuagge.

3             Commissioners, I think it is about time for a short

4   stretch.  So let's take about a ten-minute break, come back at

5   about 25 minutes to.  We will go through some more of the

6   presentations, and then at some point take a later lunch break.

7   And when we come back we will begin with Mr. Cutshaw.

8             (Recess.)

9             CHAIRMAN EDGAR:  We will go back on the record.

10   Thank you all.

11             And before we move to the next presentation, I would

12   like to look to our staff.  We need a technical correction to

13   the record.

14             Mr. Young.

15             MR. YOUNG:  Thank you, Madam Chairman.

16             Madam Chairman, the docket numbers as stated today

17   was incorrect.  This is an undocketed item as reflected in the

18   notice.

19             CHAIRMAN EDGAR:  Thank you, Mr. Young.

20             And we are ready for our next presentation, which is

21   Mr. Cutshaw with Florida Public Utilities Company.

22             Mr. Cutshaw.

23             MR. CUTSHAW:  Good morning, Commissioners.  We

24   appreciate the opportunity to come to kind of update you and

25   give you a little more information about where we are in our

FLORIDA PUBLIC SERVICE COMMISSION

77

1   storm preparations.

2             My name is Mark Cutshaw.  I'm the general manager for

3   our Northeast Florida Division.  Just a little bit about our

4   company.  We are a small investor-owned electric utility.  We

5   provide service to about 28,000 customers.  We have two

6   separate service territories.  One on Amelia Island/Fernandina

7   Beach, which is a coastal island located in Northeast Florida.

8   We also have an inland area in our northwest Florida service

9   territory that encompasses part of Jackson, Calhoun, and

10   Liberty Counties.  So the two service territories are very,

11   very different in customer base as well as the area in which

12   they are served.

13             A little more into our preparations that we have

14   accomplished so far in 2006.  For our vegetation management

15   efforts, our focus this year has been to look at areas

16   involving critical infrastructure or areas that have had

17   reliability issues in the past year.  We have looked at each of

18   those, and made the trimming necessary to hopefully resolve all

19   of those issues.

20             On pole replacements, in previous years through a

21   visual inspection of a lot of our facilities, we have

22   identified poles that were deteriorated and needed replacement.

23   We have made a big effort this year on replacing those poles.

24   We have also updated our emergency procedures.  Based on a lot

25   of information from other companies that we have worked with,

FLORIDA PUBLIC SERVICE COMMISSION

78

1   meetings like this where we are able to gain additional insight

2   on things that may help us in our emergency procedures, we have

3   updated them.  We have also put a large emphasis on our

4   substation inspection program.

5             There were issues in the past that we corrected as

6   far as operational effectiveness of our substations.  We also,

7   based on information in a lot of these meetings, we had

8   particular concern about the wind blown debris that was

9   possible around our substations.  We, this year, have removed a

10   significant number of trees around one of our main substations.

11   We also replaced a metal roof on a switch house at another

12   substation that we were concerned with, so those have been

13   corrected this year.

14             We have also continued our involvement with several

15   mutual assistance groups to ensure that if there were a

16   hurricane or an event of some type, that we would be in the

17   mix.  Being a small company, we would not need the resources

18   that some of the larger companies would need, but at least we

19   are there and we have access to the resources that we would

20   need.

21             Another large issue that we have concentrated on this

22   year is to ensure that our inventory levels are adequate.  We

23   have preordered equipment so that at least for the initial part

24   of a hurricane we would be well equipped with materials and

25   supplies to address the outages.  We have also identified with

FLORIDA PUBLIC SERVICE COMMISSION

79

1   those vendors that should a hurricane occur, we would have

2   access to additional materials.  So that was an issue in the

3   past that we were concerned with that we think we have

4   alleviated this year.

5             As far as additional manpower and resources outside

6   the scope of the normal restoration activities, such as

7   logistics, personnel to be at the EOCs, other similar type

8   logistical problems, we have identified all those employees,

9   contractors, to be available to handle those issues.

10             We have completed our mapping system and SCADA system

11   in our Northwest Florida Division.  It also includes a customer

12   outage system that will allow us to better track during a

13   hurricane what customers are out, and to be able to provide

14   better information to the local governments as to what areas

15   are impacted, and to give a better picture of exactly what's

16   going on and when the restoration will be complete.

17             Back in September of 2006, as we moved through this

18   process, Florida Public Utilities filed a petition with the

19   Commission to address some of the costs associated with some of

20   these storm hardening initiatives.  Some we were able to

21   accomplish.  Others, because of the additional costs, had a

22   significant impact on our company.  We filed that petition and

23   have been working through the process of addressing those

24   issues.  Hopefully that will be resolved shortly and our

25   intention is, as of July of this year, to begin the

FLORIDA PUBLIC SERVICE COMMISSION

80

1   implementation of all of the initiatives.  This would include

2   vegetation management, pole inspections, transmission

3   inspections, and several others.

4             Based on that, some of the additional preparations

5   that we are anticipating beginning in July of this year will be

6   pole inspections.  Previously we have completed pole

7   inspections that were more visual, or if we were at the

8   location and identified a problem, we addressed it.  With the

9   new initiatives, the inspection process is much more detailed

10   than what we have done in the past.  These, as filed in our

11   plan, will comply with the requirements and we anticipate

12   beginning these in July.  Transmission inspections, similar to

13   our pole inspections, have been visual in nature in the past,

14   they have not been as detailed as required in the storm

15   initiatives.  Again, that will begin in July.

16             Vegetation management.  We have, as I mentioned

17   earlier, addressed the reliability issues, the distribution

18   lines to our critical infrastructure and our transmission

19   lines.  In order to accomplish the three-year trim cycle as

20   identified in our storm plans, that is a significant portion of

21   the filing that we made.  Again, our intent is to begin that

22   three-year trim cycle effective July.

23             Also, we are in the process of completing the GIS

24   system in Northeast Florida.  It will be completed the end of

25   July of this year, and it will be similar to what we have in

FLORIDA PUBLIC SERVICE COMMISSION

81

1   our Northwest Florida Division where it will provide the

2   additional information on customer outages, and give us a

3   better picture of exactly what is happening during the

4   hurricane, and allow us to communicate that better to the local

5   governments.

6             Disaster preparedness and recovery plan.  We have

7   addressed this through the last year on how best to accomplish

8   our restoration activity in the best possible manner, and we

9   have made some changes.  There are some additional details that

10   we need to add.  Again, a lot of the information has come

11   through sharing of information from other companies, lessons

12   learned that they had as they moved through these bigger, more

13   significant storms.  So we are in the process of completing

14   those details.

15             Also, the details on the forensic data collection

16   after a storm, we have identified contractors that are

17   available to provide this, and the final changes to our

18   emergency plan are underway.  And as far as the forensics,

19   because of the nature of our work force, we do anticipate using

20   contractors to perform that analysis after a storm.

21             In conclusion, as you can see, we have not made a

22   tremendous amount of progress.  We are still very receptive and

23   we feel like the storm-hardening initiatives are a good thing.

24   It will be beneficial to our customers, and we are committed to

25   making that happen pending the resolution of our petition that

FLORIDA PUBLIC SERVICE COMMISSION

82

1   we filed.

2             We are, I feel anyway, adequately prepared for the

3   2007 season.  We have within the scope of our ability at this

4   point in time done the things that need to be done to ensure

5   should we have a storm that the service will be restored in the

6   best manner possible.

7             With that, I'll take any questions.

8             CHAIRMAN EDGAR:  Thank you, Mr. Cutshaw.

9             Are there questions from staff?

10             MR. McNULTY:  Yes.  Just two questions, Chairman.

11             Mr. Cutshaw, the first question I have is I

12   understand the discussion on the limited pole inspections in

13   terms of it being mostly a visual process.  Do you have any

14   data that would indicate how many poles have been inspected or

15   what percentage of poles have been inspected for the system,

16   either on a divisional basis or on a system basis, any data to

17   show us what level of inspections have happened year-to-date?

18             MR. CUTSHAW:  I don't have that information, but I

19   can provide you.  Again, that is a visual inspection only, and

20   really does not comply with the requirements of the storm

21   hardening initiatives.  But I will provide you that

22   information.

23             MR. McNULTY:  Okay.  The same question on your

24   vegetation management schedule.  In terms of your, maybe,

25   percentage of line miles that have been trimmed, or at least

FLORIDA PUBLIC SERVICE COMMISSION

83

1   inspected for hot spot trimming, if you don't have that

2   information today if we could also get that information, I

3   think it would be helpful.

4             MR. CUTSHAW:  I will be glad to provide that.

5             MR. McNULTY:  Okay.  That's really all my questions.

6             CHAIRMAN EDGAR:  Commissioners, any questions for

7   FPUC?  None at this time.

8             Thank you, Mr. Cutshaw.

9             And we will go ahead and move to our next

10   presentation, which is Mr. Barry Moline with FMEA, Florida

11   Municipal Electric Association.

12             Barry.

13             MR. MOLINE:  Thank you, Madam Chairman.  Thank you,

14   Commissioners.

15             We're going to talk about the Municipal Electric

16   Utilities in a little different fashion.  I'm going to give a

17   brief introduction for you, and then I'm going to turn the

18   microphone over to Ken Davis from KUA and Craig Brewer from

19   Fort Pierce to give you some specific examples of two

20   utilities.

21             A quick profile.  There's 34 municipal electric

22   utilities.  We serve 1.3 million customer meters.  About

23   14 percent of the population.  And our 34 utilities are

24   characterized by being both large and small, but combined we

25   are the third largest utility, if we were one utility, behind

FLORIDA PUBLIC SERVICE COMMISSION

84

1   Florida Power and Light and Progress Energy Florida.

2             This is where we are across Florida, from Blountstown

3   in the Panhandle down to Key West.  And regarding power supply,

4   only 13 out of the 34 actually generate electricity.  The

5   others purchase power from the Florida Municipal Power Agency,

6   15 do that, and then others purchase power from the

7   investor-owned utilities and electric cooperatives and actually

8   from other municipal electric utilities.

9             And this is just a graphic that shows the breakout of

10   market share.  It's kind of interesting just to see across

11   Florida in terms of the size of the utilities and the number of

12   customers served.

13             The municipal utilities work together in their storm

14   readiness and response through mutual aid.  And we have three

15   components of mutual aid.  One is at the Florida level, and we

16   all have mutual aid agreements that we work together to support

17   each other during storms.

18             We also have a Southeastern Mutual Aid Group that

19   works very closely together.  And I think that -- well, a

20   person from FPL was talking about the ability to update

21   customers easily through the Internet.  It's also, you know,

22   with the Internet, very easy to update your mutual aid contacts

23   regularly, several times a day to make sure that they are

24   up-to-date and can respond quickly to needs.  And that's what

25   we are able to do with our both southeastern and national

FLORIDA PUBLIC SERVICE COMMISSION

85

1   mutual aid through our national trade association, the American

2   Public Power Association.

3             And these are just two of the mutual aid agreements

4   that we have signed.  The one on the left is the National

5   Mutual Aid Agreement that all 2,000 municipal utilities have

6   signed along with the electric cooperatives.  And so there is

7   almost 3,000 utilities that have signed that agreement that

8   have agreed to work together.  The one on the right is the

9   Florida agreement.  And if you would like to see those anytime,

10   I'll be happy to share those with you.  And from the 2004/2005

11   hurricane seasons, this is where we received mutual aid from.

12             So today I'm going to turn it over to Kissimmee

13   Utilities Authority in Fort Pierce, but I wanted to do two

14   things.  I want to leave you with this last comment, and then

15   I'm going to add another comment, and that is that we may be

16   small, but we work together and have a strong state and

17   national network so that when there is a storm that hits, we

18   feel as though we have an outstanding response to whatever

19   comes along.

20             I added a slide to the presentation because, as you

21   know, all the utilities in Florida are working together on

22   storm hardening research through the Public Utility Research

23   Center.  And we have a weekly meeting of the project managers

24   where we have a conference call, and this Monday we were

25   talking on the phone and realized that we have updated you

FLORIDA PUBLIC SERVICE COMMISSION

86

1   several times at Internal Affairs meetings, but we have had a

2   recent development that we just wanted to update you on, and I

3   volunteered to do it.  We wanted to tell you about wind

4   monitoring because it effects what's going on in the hurricane

5   season.

6             And as you know, the projects we are working on

7   together involve undergrounding and vegetation management and

8   collecting wind data.  And the wind monitoring project is the

9   one, at least one of them, that PSC staff specifically asked

10   that we consider this project, and we have gone forward with

11   implementing it.

12             The project, essentially, we found a disconnect

13   between what we were provided from the National Weather Service

14   and the Weather Channel in the wind speed information that we

15   were getting, and then that wasn't corresponding well to the

16   kind of damage that we were seeing at our utilities.  And staff

17   said, you know, can we get any more granular data on that?  And

18   it was, well, we wanted that information, too.  So the purpose

19   of the project is to get wind data at pole-top height so that,

20   I mean, and not just at airports, but actually at the utility

21   system so that we can correlate that data to actual damage.

22             And what we have done is gone forward with a -- we

23   have agreed now, got a four-party agreement that involves all

24   the utilities, that's one party, the University of Florida's

25   Engineering Department, the Public Utility Research Center, and

FLORIDA PUBLIC SERVICE COMMISSION

87

1   then a private company, Weather Flow, which is a private

2   weather company that provides information to clients on

3   granular wind data and so on.

4             I mean, this is part of the information that they

5   provide.  So we have been able to partner with this other

6   company on getting additional facilities built around Florida

7   to collect information.  And what's happening is that by

8   June 1st we will have 12 weather stations operating, mostly in

9   Southern Florida from the Tampa area south on the west coast

10   all the way up through about that area, I guess Ft. Pierce area

11   would be about the same latitude on the east coast.

12             And we expect to have 40 stations operating by

13   October 1st, more up the northeast coast and along the

14   panhandle, too.  So I just wanted to give you an update that we

15   are beginning to collect that information.  There are also

16   three temporary stations, or actually transportable stations

17   that the University of Florida will race out on trucks and put

18   in the path of storms when they know the path is coming.

19             So beyond the stationery sites which, you know, if a

20   hurricane hits on the east coast, it doesn't necessarily --

21   doesn't help your stations on the west coast, but because we

22   will have those three sites that we can move around, we will be

23   able to put them in the middle of the storm and get that data.

24   So I just wanted to give you that information and see if you

25   have any questions.

FLORIDA PUBLIC SERVICE COMMISSION

88

1             CHAIRMAN EDGAR:  Commissioner Argenziano, did you

2   have a question?  No.

3             Down this way?  Okay.  Commissioner Skop, question.

4             COMMISSIONER SKOP:  Thank you, Madam Chair.

5             With respect to the wind monitoring project on Slide

6   10, you mentioned -- could that be Met Tower data, or just wind

7   monitoring, or all conditions that would be wind, temperature,

8   and such?  Or is it just strictly wind?

9             MR. MOLINE:  I'm pretty sure that it's all data.  I

10   turn to my experts.

11             Wind, barometric pressure, and temperature.

12             COMMISSIONER SKOP:  And you mentioned that those were

13   to be installed at pole top height, equivalent height.  What

14   does that work out to?

15             MR. MOLINE:  I believe it is around 40 feet.  Is that

16   correct?  Right.  It's in the thirty to forty foot range.

17             COMMISSIONER SKOP:  And locations?  You mentioned

18   both on the west coast and on the east coast, is that correct?

19             MR. MOLINE:  Yes.

20             COMMISSIONER SKOP:  And that would be from Tampa

21   south as well as Ft. Pierce south?

22             MR. MOLINE:  Yes.  There is five on the west coast,

23   seven on the east coast.  This is just for the June 1st, those

24   12 sites.

25             COMMISSIONER SKOP:  And is that data, the raw data

FLORIDA PUBLIC SERVICE COMMISSION

89

1   available, or is that something that gets collected

2   periodically, or who obtains that data?

3             MR. MOLINE:  The raw data is actually -- this is a

4   tricky legal question, and if I don't answer the question

5   right, please step in.  Mark Jamison from the Public Utility

6   Research Center, that is who I keep referring back to.

7             But Weather Flow prefers that the raw data be kept

8   confidential, but the analysis that is produced from the raw

9   data is public, okay.  So that's how we intend -- the most

10   important thing from our perspective is the analysis.  So is

11   there another way to -- is that correct?  Okay, that is

12   correct.

13             COMMISSIONER SKOP:  And just one follow-up question.

14   Is that hourly wind speed or is that daily?

15             MR. MOLINE:  It's instantaneous.

16             COMMISSIONER SKOP:  Thank you.

17             CHAIRMAN EDGAR:  Questions from staff?

18             MR. McNULTY:  No questions.

19             CHAIRMAN EDGAR:  No questions at this time.

20             Commissioners, any other questions at this time?

21             Seeing none.  Thank you, Mr. Moline.

22             And we will move on then to our next presenter, which

23   is Mr. Ken Davis with the Kissimmee Utility Authority.

24   Mr. Davis, welcome.

25             MR. DAVIS:  Thank you, Madam Chair.

FLORIDA PUBLIC SERVICE COMMISSION

90

1             As Barry mentioned, I'm here to talk about one of the

2   municipals in the group, the Kissimmee Utility Authority, and

3   give you a little bit of information about our size.  We serve

4   approximately 64,000 customers in Osceola County.  That makes

5   us the sixth largest of the municipal group that Barry

6   mentioned.  We have approximately 857,000 -- 857 miles of

7   distribution line, and currently about 59 percent of that is

8   underground.

9             From a transmission standpoint, about 72 miles of

10   transmission lines, both 230 and 69 kV.  About 63 percent of

11   those poles on the transmission system are currently concrete

12   or steel.  The remaining are wood structures.  We do have a

13   plan right now due to some projects that are going on, that

14   will be reduced to about 27 percent in the next couple of years

15   of replacing those wooden poles.

16             Like you've heard before with some of the other

17   utilities, we were certainly impacted by the three storms in

18   2004 ranging from Charley that actually interrupted service to

19   100 percent of our customers down to Frances with about 36

20   percent of our customers being interrupted.

21             Some of the lessons learned from, from the storm

22   season in 2004, in addition to our internal audits of what we,

23   how we responded and were prepared for those storms, we

24   actually went out and contracted with James Lee Witt and

25   Associates to come in and conduct an independent assessment of

FLORIDA PUBLIC SERVICE COMMISSION

91

1   both our preparation and our responses to those storms.

2             Some of the things that came out of that assessment

3   was one of the biggest problems we saw was the actual

4   communications with our customers, being able to tell them

5   estimated response -- restoration times and being able to get

6   that information out to those customers.

7             We also learned that we could not rely solely on the

8   media outlets to get the communications to the customers.  In

9   our particular case we found that the early parts of the

10   restoration process, a lot of the media was concentrating on

11   the larger market, which was in Orlando, and they weren't

12   getting a lot of information from the Kissimmee area out to the

13   customers.

14             One of the other things we found is we needed to

15   better define the roles of our employees in the restoration

16   efforts.  We felt like we had a fairly good plan on what

17   everybody did during the restoration, but it was discovered we

18   needed to really define that and put it into our operations,

19   emergency operations plan and actually practice that more with

20   the roles that those employees would fill.

21             And, lastly, a closer coordination with our EOC

22   regarding restoration priorities.  We actually found early on

23   in Charley that there was some smaller critical care facilities

24   that we didn't even know existed from the utility's standpoint.

25   We would get calls from the EOC, and once we were aware of

FLORIDA PUBLIC SERVICE COMMISSION

92

1   that, we, of course, were able to shift priorities to get

2   restoration to those facilities.  And I'll touch on that a

3   little bit more later on.

4             As far as our preparedness, we have adopted the

5   design of extreme wind loading for all new construction, major

6   expansions.  And we have targeted critical structures that --

7   we have a four-year program right now for replacements of those

8   to replace the wood structures to bring them in compliance with

9   the extreme wind loading.

10             As I said earlier, we have a couple of projects

11   planned that will replace a number of our remaining wooden

12   transmission poles.  Since 1985 all of our transmission system

13   has been constructed and replacements done with either steel or

14   concrete which meet extreme wind loading.  The remaining wooden

15   poles are those poles that were installed.  They're now

16   approaching about 25 years of age, so we have a plan, program

17   to replace those.

18             We've installed redundant circuits to all of the

19   hospitals with automatic transfer schemes, which actually

20   enables them to be served from two different circuits, two

21   different substations with an automatic transfer switch to

22   enable them to switch over to the alternate circuits.

23             We are doing selected overhead to underground

24   conversions.  Primarily that has involved -- like right now we

25   have a major road project that's going on that requires the

FLORIDA PUBLIC SERVICE COMMISSION

93

1   relocation of both transmission and distribution.  We've worked

2   out an agreement with the county government where they're

3   funding half of the cost to convert that to underground and

4   we're funding the other half.  It's for the distribution.  The

5   transmission will remain overhead.

6             Both the city and county require all new developments

7   within our area to be constructed underground.  Right now about

8   80 percent of all new construction we do is underground.  The

9   overhead is mainly primary circuits that we're building that's

10   underbuilt on transmissions, and that is still an overhead

11   configuration.

12             GIS and outage management.  We have built our GIS and

13   outage management system.  It's a real extensive system that

14   enables us to track outages down to the individual customer

15   level, and it also enables us to give a graphical

16   representation of where those customers are when an outage is

17   discovered.  And we are able to also give that information to

18   our EOC so they can see what we're seeing as far as the

19   location of outages.

20             Our vegetation management, we inspect and trim our

21   transmission circuits annually.  We are on a three-year trim

22   cycle for distribution.  And just an example, since 2004 we've

23   increased the funding for our vegetation management over

24   75 percent in our upcoming budget.

25             Pole inspection program.  We inspect all of our

FLORIDA PUBLIC SERVICE COMMISSION

94

1   wooden poles, transmission poles every two years.  We're doing

2   that right now because of their age.  We want to stay on top of

3   those to make sure if there is deterioration, we are able to

4   catch that early.  We are on an eight-year inspection cycle for

5   our distribution poles.

6             In addition to that, we do an annual visual and

7   infrared scanning on all of our transmission and distribution

8   circuits.  We do a pretty thorough visual and component

9   inspection on our distribution system on a five-year cycle.

10             I'll touch a little bit on our emergency operations

11   plan.  One of the things that came out of the audit that we did

12   have by James Lee Witt was also to kind of expand our emergency

13   operations plan to an all hazards approach, which we've done.

14   Of course, it's a major concentration on hurricanes.  We review

15   the plan and update it annually.  Right after we do our

16   disaster drill we go back in and update anything in the plan

17   that needs updating from a process standpoint or just general

18   updates to the plan.  It is structured to follow the instant

19   command system or in conjunction with the NIMS system.

20             All of our employees have preassigned roles that they

21   will play in the restoration effort.  Just an example, all of

22   our finance area, they're assigned to logistics, they're

23   responsible for all feeding and making sure there's housing for

24   outside assistance that comes in, and that's totally their

25   responsibility.  They manage contracts with outside caterers,

FLORIDA PUBLIC SERVICE COMMISSION

95

1   with lodging establishments.  So those are all defined well in

2   the plan.  And we practice our plan each year; each of those

3   groups perform those roles during the drill.

4             We have a defined set of activities for each phase of

5   the storm that all the employees are familiar with and, again,

6   drilled each year.  And like most utilities, we have the

7   standard priority restorations where we're doing critical

8   facilities and then down to the feeder levels and down to the

9   areas that we can get the most customers restored.  But we

10   update our plan each year.  Those, those circuits and areas are

11   defined in the plan so anybody picking it up to run that

12   operation can look at it and go down the list and tell which

13   areas need to be restored first.

14             We have preassigned assessment teams.  As soon as a

15   storm passes, each of our employees know exactly which area

16   they automatically deploy to start the damage assessment, and

17   they are assigned coordinators that are able to pull the data

18   together that they've gathered from their assessment.  We're

19   hoping to have this completed by June 1st, but we're working on

20   an electronic reporting ability where damage assessment crews

21   can actually take a pin-based computer and write up the things

22   they're finding on the damage assessment and we can

23   automatically upload that to our system where we can

24   graphically see that type of information in our command center.

25             Again, we have the predefined list of restoration

FLORIDA PUBLIC SERVICE COMMISSION

96

1   priorities.  One of the things that we did change and adopt in

2   our plan is we will allow a directive from our EOC to change a

3   priority.  Of course, getting beyond the substation, the major

4   transmission circuits, once those are done, if our EOC rep gets

5   in touch with us and says, for example, we're moving, we're

6   going to have a shelter established at this school, we need to

7   get power restored, that's an automatic change in the priority

8   of our restoration order.

9             As I mentioned earlier, we practice our drill

10   annually.  We do have some other components besides hurricanes

11   that are drilled, but the emphasis is on the hurricanes.  We

12   just completed this year's drill on April the 12th.  And I

13   mentioned all employees participate, and then we do a post

14   drill evaluation.

15             Just a couple of quick points on some of our response

16   and recovery things that we did also learn from 2004.  We found

17   that we had first responders trying to come out of some of the

18   fire departments, for example, and the storm hadn't completely

19   passed and they were trying to respond to some emergency calls.

20   They were encountering wires down, didn't know what to do with

21   it, and they were trying to get in touch with us to come out to

22   respond.  So now what we do is we actually will station crews

23   that ride the storms out with selected fire departments, and

24   those are given to us by our county and cities.  They will ride

25   the storm out with them and they're able to be right there with

FLORIDA PUBLIC SERVICE COMMISSION

97

1   them to help them respond to emergency calls and be able to

2   investigate those type of things.

3             We do have someone assigned to the EOC 24/7 whenever

4   it is open.  We provide regular status updates to them through

5   our liaison there, and we also have regularly scheduled

6   conferences with EOC reps to update them on where we are.  As I

7   mentioned earlier, we're working on being able to provide that

8   electronic data to them where they can see the outage

9   information that we see.

10             As Barry mentioned earlier, we're part of a number of

11   mutual aid agreements including the Florida group and the

12   national group.  There's a coordinator there that's run through

13   Barry's office that we can essentially make one phone call to

14   and have access to mutual aids for two or three thousand

15   utilities throughout the country.

16             We also have prearranged agreements with outside

17   contracts, both transmission and distribution, for tree

18   clearing, outside engineering firms that we're able to bring in

19   to help us with damage assessment or construction management

20   and also with lodging facilities and catering and those type

21   things.

22             Our call centers are staffed 24/7.  One of the

23   responses that we have come up with in relation to being able

24   to get information to our customers better was we now can do an

25   email blast, we call it a blast, but we can selectively take a

FLORIDA PUBLIC SERVICE COMMISSION

98

1   feeder, for example, or an area in our system and those

2   customers can be sent emails or phone messages to give them

3   status updates on restorations.  That's in addition to what

4   they can get from our website.

5             We did actually go out in 2004 to areas that we were

6   finding we couldn't get communications to.  We actually have it

7   set up where we'll be able to call employees in and they'll go

8   out and actually knock on their doors or leave door hangers to

9   give them status updates.

10             One thing I wanted to just add, it was not on the

11   slide, but I just found out this morning they just finished it

12   up.  The other thing we're doing from a communications

13   standpoint is we've partnered with the city and county

14   government and we've licensed our own AM/FM, AM radio station.

15   It's just getting turned up.  That will be used as a public

16   service throughout the year and, of course, during emergency

17   response.  We'll be, our agencies will be in total control of

18   the information that we're able to get out to our customers

19   through that station.

20             And with that, I'd be happy to respond to any

21   questions.

22             CHAIRMAN EDGAR:  Thank you, Mr. Davis.

23             Commissioners, any questions at this time?

24             Commissioner Carter.

25             COMMISSIONER CARTER:  Madam Chairman, thank you.

FLORIDA PUBLIC SERVICE COMMISSION

99

1   Just a comment and then a question.  First of all a comment.  I

2   was pleased to hear about the great cooperation you have with

3   the county in the undergrounding.  That's a fantastic thing to

4   see a commitment on a local basis.  The question that I had for

5   you is in view --

6             (Sound system interference.)

7             Mike, have you got that?

8             CHAIRMAN EDGAR:  He's working on it.

9             COMMISSIONER CARTER:  The question I had for you is

10   in view of the fact that most of your media outlets are going

11   to go -- in view of the fact that most of your media outlets

12   are going to go to the major metropolitan areas, how do you

13   resolve that problem with getting communications to your, the

14   communities within your service area?

15             MR. DAVIS:  Well, as I said, besides the ability to

16   give the phone message, the text messages and now the AM

17   station, radio station that we'll have, we have actually gone

18   out and had community meetings during the restoration process.

19   We've sent employees out to conduct small community meetings to

20   inform them what the status, how we're doing the restoration.

21   And we're in the process right now, we have a series of

22   community meetings prior to hurricane season starting.  We

23   should be finished with those by next week, I believe.  But we

24   go to different areas in the community and have a community

25   meeting where we tell them where they can get information from

FLORIDA PUBLIC SERVICE COMMISSION

100

1   us, numbers they can call, preparedness for their families, and

2   we also try to explain to them our restoration process so they

3   understand a little better if they see that truck driving down

4   the road and the street behind them power is restored but

5   theirs is off, we try to explain those things, how that can

6   happen in the restoration process.  So that's what we're doing

7   to try to communicate better with them.

8             CHAIRMAN EDGAR:  Commissioner Argenziano.

9             COMMISSIONER ARGENZIANO:  Thank you.  Just a couple

10   of questions and then maybe a comment/suggestion, which is kind

11   of trivial but maybe not in the grand scheme of things.

12             How long has your -- or how old is your oldest

13   underground transmission line?

14             MR. DAVIS:  We don't have any underground

15   transmission.

16             COMMISSIONER ARGENZIANO:  You don't have any.  Okay.

17             MR. DAVIS:  Distribution --

18             COMMISSIONER ARGENZIANO:  Distribution.

19             MR. DAVIS:  -- I would, I'm not sure I could tell you

20   how old the oldest is.

21             COMMISSIONER ARGENZIANO:  Well, what I'm trying to

22   get at, I guess, is have you encountered any, any problems, any

23   differences in being underground, something that maybe takes

24   longer to fix, more costly, or just the opposite?  I'm trying

25   to develop data on underground lines.

FLORIDA PUBLIC SERVICE COMMISSION

101

1             MR. DAVIS:  We certainly feel like that we've found

2   circumstances where the, for the location -- locating the

3   problem and the restoration does take longer in some

4   underground situations.

5             COMMISSIONER ARGENZIANO:  Okay.  And second

6   question -- well, actually a comment on I think the flexibility

7   that you have developed with EOC in having them, you know,

8   recommend you're needed in a different area is, I think is

9   vital.  I think that's very important and I very much

10   appreciate that.

11             And then my suggestion, I was looking at your handout

12   and you have a nice little incandescent light bulb on there.

13   You might want to change that to one of those energy efficient

14   ones.

15             MR. DAVIS:  Point well taken.

16             COMMISSIONER ARGENZIANO:  Thank you.

17             (Laughter.)

18             CHAIRMAN EDGAR:  Thank you.  Are there questions from

19   staff?

20             Oh, excuse me.  Commissioner Skop.

21             COMMISSIONER SKOP:  Thank you, Madam Chair.

22             Just a follow-up to that question about the

23   undergrounding.  The underground cabling that you have, is that

24   buried or is that in vaults, in conduit?

25             MR. DAVIS:  It's all in conduit.  We have no direct

FLORIDA PUBLIC SERVICE COMMISSION

102

1   buried lines.

2             COMMISSIONER SKOP:  Thank you.

3             CHAIRMAN EDGAR:  Mr. McNulty.

4             MR. McNULTY:  Thank you, Chairman.

5             Just a question on one of the earlier slides on

6   vegetation management.  Mr. Davis indicated that KUA had

7   managed to move to a -- well, I'm not sure.  It indicates a

8   three-year trim cycle, but there has been increased funding, a

9   75 percent increase since 2004.

10             Do you have an idea of what the trim cycle was back

11   in 2004 and how it's changed over the interim of these three

12   years?

13             MR. DAVIS:  Prior to 2004, I would say we were

14   probably closer to a five- or six-year cycle as far as working

15   through the entire distribution system.  The transmission

16   system was still on an annual trim cycle prior to that.

17             MR. McNULTY:  Okay.  So the distribution system

18   managed to go from a five- or six-year cycle to a three-year

19   trim cycle in a period of about three years.

20             MR. DAVIS:  Correct.

21             MR. McNULTY:  Okay.  And then also you have a slide

22   on facility inspection program.  It talked about the

23   transmission system, having annual visual inspections and

24   annual infrared scanning.

25             Does KUA engage in climbing inspections of its

FLORIDA PUBLIC SERVICE COMMISSION

103

1   transmission facilities and is there a cycle for that?

2             MR. DAVIS:  We do not do any climbing.  We have -- a

3   lot of those areas we can actually work from buckets.  But

4   we've -- about every five years, I think we'll be on our sixth

5   year this year, we do an aerial flyover that does inspections

6   of the hardware on the transmission system.

7             MR. McNULTY:  Thank you.

8             CHAIRMAN EDGAR:  Thank you.

9             Commissioners, any further questions?  Okay.  Then

10   thank you very much.  Very interesting.

11             And we will move to our next presenter, which is

12   Mr. Brewer with the Fort Pierce Utilities Authority.

13             MR. BREWER:  Thank you, Madam Chairman.

14             I am Craig Brewer.  I'm Superintendent of Electric

15   T&D at the Fort Pierce Utilities Authority, and I'd like to

16   give you a little perspective from a smaller utility.

17             We have about a little over 26,000 electric customers

18   at Fort Pierce, and we serve some of our customers in St. Lucie

19   County also.  We have 21 miles of 69 kV transmission,

20   eight miles of 138 kV transmission.  That's primarily our

21   transmission tied with the City of Vero Beach.  Our power plant

22   has a total output of about 110 megawatts.  We have six

23   distribution substations, two transmission substations.  One is

24   our tie with Vero and the other one is our tie with Florida

25   Power & Light.  We have also water and gas utilities.  We have

FLORIDA PUBLIC SERVICE COMMISSION

104

1   17,000 water customers and 4,500 gas customers.

2             We are located on the Atlantic Coast.  And we have

3   some of our facilities on the barrier island, so we have salt

4   spray considerations we have to take into account.  We have had

5   hurricane experience in the last several years, as have many

6   cities in Florida.  We also have close cooperation with the

7   county and the City of Fort Pierce.  We staff at the EOC, as

8   Mr. Davis mentioned that they do.  We're a mid-sized municipal

9   of about 300 employees, about half of which work in the

10   electric area.  And as I say, we're a gas, electric and

11   water/wastewater utility.

12             We had direct hits from Frances and Jeanne in 2004.

13   The eye came through Fort Pierce and the area around us.  We

14   also had a brush, I guess, by Wilma.  We had minor damage.  We

15   were only in a couple of days of restoration mode there.  And

16   we've learned a lot in the last number of years through working

17   with some of the other utilities:  Fort Meade during Charley,

18   and Kissimmee, we've been to the Keys a number of times over

19   the last ten years or so, and we also have frequent

20   thunderstorms.  So we're pretty familiar with storm

21   restorations.

22             This slide is kind of a comparison.  It gives you a

23   shot of Charley, Frances and Jeanne, and Fort Pierce is just

24   above where Frances and Jeanne crossed.

25             The City of Fort Pierce is an old city, it's over 100

FLORIDA PUBLIC SERVICE COMMISSION

105

1   years old, and the trees are a significant problem for us.  And

2   we work closely with the city arborists.  My tree supervisor

3   that, that works with him is also on the Garden Club board, and

4   we found that to be very helpful since we have, have such a

5   public interest in the trees in Fort Pierce.

6             We're on a three-year trim cycle for our distribution

7   as far as our trees go, and we do an annual inspection or trim

8   of our transmission lines.  We only have 12 trees that we

9   really have to be concerned about.  We visit those four times a

10   year actually.  And we patrol the transmission line once a year

11   in its entirety to make sure no new trees have been planted or

12   any other things that are a concern for us.  And we do work

13   towards trying to work with customers to relocate and remove

14   problem trees.  We also provide trees to an annual Tree Day

15   that they have in the city, and we provide funds to purchase

16   trees for customers to -- and we try to encourage low-growth

17   and lower growing trees.  And we have a contract with Asplundh.

18   They provide us two to three crews normally during the course

19   of the year to provide that three-year cycle.  And then we also

20   work with them to provide extra crews in the event of a storm.

21             We began in 2003 to convert our GIS system from

22   Gentry to an ESRI system, which allowed us to overlay our

23   system with the water and the wastewater and the gas

24   department, and we have full representation of our entire

25   system now on the ESRI platform.

FLORIDA PUBLIC SERVICE COMMISSION

106

1             Currently we have no transmission poles that are,

2   that need repair.  We found four poles during our inspection

3   this year that were of concern to us.  We've replaced those.

4   We have 462 poles and structures in our transmission system, of

5   which 235 are wood.  They're all on our 69 kV system.

6             We annually inspect our wood poles and we do a --

7   every third year we include our concrete and steel poles and we

8   inspect all poles' bolt and hardware and do a physical hands-on

9   inspection of those poles.  And those poles are replaced and

10   repaired as needed or as they're inspected.  And all of our

11   substations are loop fed.

12             Of our 16,000 or so distribution poles, we inspect

13   those on an eight-year cycle.  We haven't done that prior to

14   this year.  We just started the eight-year cycle.  This year we

15   signed a contract with Osmose and they're beginning work this

16   month.  Our engineering group is taking charge of that project.

17             Approximately 15 percent of our customers are

18   underground.  As I said earlier, our city is an old city pretty

19   well built out in years past, but we are seeing a lot of growth

20   in the last few years.  And all new construction is required to

21   be underground.  We require it, the city requires it, and we no

22   longer even put up overhead services off of an overhead line.

23   We require an underground service.

24             One of the things we found during the hurricanes was

25   that the longest time for folks to get fixed were the ones that

FLORIDA PUBLIC SERVICE COMMISSION

107

1   had overhead services that were torn away from the house.  So

2   the next item is an incentive we're trying to provide to

3   customers who convert their services to underground, and we

4   participate in that endeavor at 25 percent of the total cost of

5   the conversion.

6             I might add we're also working with the city.  We, in

7   fact, have a number of inquiries about putting facilities

8   underground in conversion to various subdivisions, existing

9   subdivisions, and the city is very interested in new road

10   projects all being put underground and we're working with them

11   on those.

12             One of the projects that we have that we've been

13   working with them recently is A1A on the barrier island,

14   there's a DOT project to realign -- not realign but resurface

15   and do some drainage work on that road, and they've asked us to

16   consider underground.  We just, as a matter of fact, opened up

17   a bid Monday to do just under a two-mile portion of that line

18   and the cost was $3.54 million to do a little less than two

19   miles.  And so that's a pretty impact, a pretty good impact to

20   a small utility, but we're working with the city to try to see

21   what we can do to work something out so we can do a joint

22   project.

23             During our storm plan, our, our -- during the storm

24   we have a number of crews that volunteer to ride out the storm

25   with us, some of our tree crews or even our contract crews and

FLORIDA PUBLIC SERVICE COMMISSION

108

1   our substation staff.  And the idea there is so that we can get

2   out and see what's going on as quick as we can.  It also allows

3   us to maintain some things as long as we can until the, it gets

4   too dangerous to work.  We typically quit working at 40 miles

5   an hour except for life-threatening emergencies.  We do provide

6   meals for our crews during the time that they're there.

7             In our first and second day after the hurricane

8   passes our objective is to try to get our feeders back up and

9   get our feeder breakers going.  That's after we get the -- and

10   make sure that the transmission line is in good shape and up

11   and running.  And dispatch takes care of that restoration and

12   leads that restoration process those first couple of days.

13             During that time our assessment teams are out and

14   they're beginning their formal damage assessments, and we're

15   working 16-hour days and providing meals for our contractors

16   and our crews.

17             And Day 3 and beyond we basically continue the same,

18   we continue using the work, the data from the assessment teams

19   to provide the background and the direction that we need to

20   head in trying to get our system back up as fast as possible.

21   We direct all those processes from storm headquarters.  We have

22   our customer service reps working the storm headquarters in

23   what we lovingly call the "war room," and we take phone calls

24   there from our customers and we return all calls.  And we, like

25   I say, we provide laundry service, meals and we work 16-hour

FLORIDA PUBLIC SERVICE COMMISSION

109

1   days.

2             Some of our other features, we work closely with the

3   EOC to make sure that we know which schools are shelters, and

4   we also work with them to try to stay on top of when they want

5   to try to get schools started back and keep them abreast of

6   what our, our progress is.

7             We have a designation of essential customers.  One of

8   the things that we've learned is people need to be able to get

9   out and buy groceries if they can, fuel, and so we put a high

10   priority on those areas and other areas that the public needs

11   to go such as movie theaters and things like that so they can

12   have some, some things that they can do during, during the time

13   that they may not have power to their house but they can get

14   out and do some things.  And we try to communicate with our

15   businesses.  Our communications officer visits the radio

16   stations and does some one-on-one interviews.  And then we also

17   have a meeting with our city commissioners and city manager

18   daily to keep them abreast of what's going on.

19             We have some precommitment contracts that we've put

20   in place for lodging.  We meet with the motel folks and set up

21   rooms, lodging for our out-of-town contractors.  And also we

22   have a contractor that comes in and provides meals.  We set up

23   a tent and a kitchen at the service center so we can feed

24   everybody.  We even fed the city employees the last couple of

25   years.

FLORIDA PUBLIC SERVICE COMMISSION

110

1             And like I say, we maintain a strong coordination

2   with the EOC and the city, City of Fort Pierce staff.  We work

3   pretty closely with the public works department in order to

4   make sure we're taking care of things that are of importance to

5   them.

6             As has been mentioned before, we worked with Barry

7   and FMPA on our mutual aid agreements to try to make sure we

8   have the contractors and the other municipals that, from around

9   the country that come in and help us.

10             And I mentioned before we have some prearranged

11   agreements for outside contracting and contractors in lodging,

12   catering, laundry.

13             And we do staff our facility 24/7 during the recovery

14   process and we do make a concerted effort to call our customers

15   back that call us.  And having the call center right there next

16   to us, it gives me the opportunity to be able to step in every

17   morning and tell them where we're at, where we're working and

18   what our intentions are for the day so they can pass that

19   information on to the, to the customers.  And we do provide

20   door hangers for customers that need to make repairs before we

21   can hook them back up.

22             With that, I'll take questions.

23             CHAIRMAN EDGAR:  Thank you.

24             Commissioners?

25             Commissioner Argenziano.

FLORIDA PUBLIC SERVICE COMMISSION

111

1             COMMISSIONER ARGENZIANO:  Yes.  You had mentioned

2   that you provide water services also.  Is it waste and water?

3             MR. BREWER:  Yes, ma'am.

4             COMMISSIONER ARGENZIANO:  And on your lift stations,

5   do you have generators for the lift stations?

6             MR. BREWER:  One of the lessons learned from Frances,

7   as you might expect, is when you're 100 percent in the dark, it

8   takes time to get around to all of the lift stations.  So we've

9   purchased a number of portable generators and we have contracts

10   for others so that we, excuse me, so that we can provide that

11   function for the major lift stations.

12             COMMISSIONER ARGENZIANO:  Thank you.

13             MR. BREWER:  And we do have a priority list of the

14   ones that we need to be working towards also.

15             CHAIRMAN EDGAR:  Commissioner McMurrian.

16             COMMISSIONER McMURRIAN:  Thank you.

17             Mr. Brewer, I had some questions about your

18   conversion program from overhead to underground, and you

19   explained the 25 percent.  Does the -- if a subdivision, I

20   guess, were to ask for that kind of a conversion option, do

21   they pay the 75 percent upfront or is it some kind of charge

22   through their bills?  Are they paid over some period of time or

23   how -- or maybe even different ways.  How is that done?

24             MR. BREWER:  What we've done so far is address

25   services.  And but what we plan on taking to the board in the

FLORIDA PUBLIC SERVICE COMMISSION

112

1   near future is a plan to address exactly what you've talked

2   about.  And our position is we'd like to provide that

3   25 percent also to, say, a subdivision that wanted to put their

4   facilities underground, and we've looked at ways to possibly do

5   an MSBu type arrangement where they would pay it back over a

6   period of time rather than all at once.

7             COMMISSIONER McMURRIAN:  Okay.  And another follow-up

8   question about that.  Some of the other workshops and things

9   we've had we've talked a little bit about the out-of-pocket

10   expenses to an individual customer when there's a conversion,

11   some things they have to do near their home and there's some

12   out-of-pocket expenses.  Does that 25 percent also take into

13   account those individual customer expenses or is that something

14   that that individual customer would have to just take care of

15   on their own?

16             MR. BREWER:  The 25 percent covers the cost of

17   replacing the service up to the meter can.  Sometimes the

18   customer may have to replace that meter can in order to accept

19   an underground service.  Some of the older houses may have a

20   60 or, 60 amp meter can which would not accept a riser large

21   enough to put an underground service in, and typically they do

22   pay that expense.  That's not included in the, in the cost to

23   do the service.  We pay the 25 percent of the underground up to

24   the meter can.

25             COMMISSIONER McMURRIAN:  One more.  Do you have an

FLORIDA PUBLIC SERVICE COMMISSION

113

1   idea of about how much those kind of expenses are that the

2   customer would have to take care of with an electrician

3   themselves?

4             MR. BREWER:  We had one not too long ago and it was,

5   I believe, about $600.  As a matter of fact, it was a board,

6   one of our board members.

7             COMMISSIONER McMURRIAN:  Thank you.

8             CHAIRMAN EDGAR:  Thank you.

9             Commissioners, are there questions at this time?  No.

10             Are there questions from staff?

11             MR. McNULTY:  Just one question, Chairman.

12             Mr. Brewer, you indicated 16,000 distribution, wood

13   distribution poles.

14             MR. BREWER:  Yes.

15             MR. McNULTY:  Okay.  And it appears as though the

16   utility has a fairly high percentage of their customers served

17   by overhead service versus underground.  I'm just curious

18   whether or not there is a program in place for replacement of

19   any of the wood poles with different types of poles, concrete

20   poles, metal poles, that sort of thing, or if that's not a

21   strategy that the utility is employing.

22             MR. BREWER:  Yes.  Our engineering department is

23   researching, and I know that we've been in contact -- I've

24   talked to Mr. Davis here who's already decided what kind of

25   wood poles they're going to use.  And our engineering

FLORIDA PUBLIC SERVICE COMMISSION

114

1   department is in the process of coming up with a design to --

2   we've started hardening our system and we've implemented the

3   NESC standards for extreme wind loading, and they just haven't

4   decided which pole that they want to use.  We have upgraded our

5   wood poles.  We only buy Class 2 poles now.  But we know we're

6   going to probably go with a spun concrete pole for new feeder

7   installations and critical customer poles.

8             MR. McNULTY:  Right.  I asked that question because,

9   as you indicated, this a fairly old city and, you know, that

10   that could have been an issue that you would want to address.

11             MR. BREWER:  Yes.

12             MR. McNULTY:  Thank you very much.

13             MR. BREWER:  Yeah.  We're working on that.  The

14   engineering department is working on that right now.

15             MR. McNULTY:  Thank you.

16             CHAIRMAN EDGAR:  Thank you.

17             Commissioners, I think it's about time for a lunch

18   break.  Mr. Willingham, I'm sorry.  So close, I know.  Can we

19   begin with you when we come back from break?  Okay.  Then we

20   will come back at 1:35 by the clock on the wall, and we are on

21   lunch break.

22             (Lunch recess.)

23             CHAIRMAN EDGAR:  Good afternoon.  We will go back on

24   the record.  And when we stopped for lunch, we were on our next

25   presentation, which is from Mr. Bill Willingham with the

FLORIDA PUBLIC SERVICE COMMISSION

115

1   Florida Electric Cooperatives Association.  Thank you for your

2   patience, and we are ready.

3             MR. WILLINGHAM:  Great.  Thank you.  Good afternoon,

4   Commissioners.  I am the Executive Vice President and General

5   Manager of the Florida Electric Cooperative Association.  Our

6   association represents 15 of the 16 distribution cooperatives

7   in Florida, and both generation and transmission cooperatives

8   that provide the generation and power delivery services to all

9   but two of Florida distribution cooperatives.  Overall,

10   cooperatives do not have a lot of transmission, certainly not

11   on the bulk delivery side, and we're primarily dependent upon

12   the transmission owned by the IOUs for our delivery of

13   wholesale power.

14             Let me -- just a quick summary.  I think that all of

15   our co-ops are very well prepared for the storm season.  But in

16   order to help you understand why we're a little bit different

17   and why our perspective is a little bit different I want to go

18   through just a little bit about what co-ops are and why we are

19   actually different.

20             Our business model is, I think, very different from

21   either that of the municipals or the investor-owned utilities.

22   We are not for profit, but we're not government.  We are

23   actually governed by our members.  Co-ops were created by the

24   people in the businesses that needed electricity in the 1930s

25   that were not able to get service from an investor-owned or a

FLORIDA PUBLIC SERVICE COMMISSION

116

1   municipal utility.  Although we're not government, we are

2   entitled to disaster reimbursement from FEMA.  In addition,

3   we're entitled to federal loans through the Rural Utility

4   Service, which is a subsidiary of the USDA, and RUS borrowers

5   are subject to the RUS rules and regulations.

6              This is probably the most important slide in my

7   presentation.  As you can see from our service area, we are

8   very unique just like our business model is unique.  We cover

9   more than 60 percent of Florida's land mass, but we only serve

10   about 11 percent of the population.  We serve in the rural and

11   suburban areas of the state and, as a result, we have much

12   fewer customers per mile of line than investor-owneds or

13   municipalities.  Many of Florida's co-ops only have six or

14   seven meters per mile of line, but the Florida Keys has almost

15   40, which is still less than most municipals and

16   investor-owneds.

17             I would like to point out that if you look at

18   Tri-County, which is the green area on the eastern side of the

19   Panhandle up there, they actually don't serve -- all that area

20   within that, within their service territory is you've got the

21   City of Monticello, Perry and Madison.  They're actually served

22   by Florida Power.  So we're in the more less dense areas, I

23   guess is the best way to say it.

24             We also tend to be in the lower extreme wind load

25   areas.  You saw the, on Page 10 of FPL's presentation they had

FLORIDA PUBLIC SERVICE COMMISSION

117

1   the, it's similar to what's in the National Electrical Safety

2   Code, the wind fields.  And we have some co-ops that are

3   actually in the 90 to 100-mile-an-hour band.  We also have the

4   Upper Keys, which is in the 150-mile-an-hour band.  But because

5   we are less likely to be hit by a hurricane or experience

6   hurricane force winds, and, if we do, our winds are likely to

7   be lower, for most co-ops it's a little bit different

8   perspective than those that are on the coast in the high wind

9   areas.  For those co-ops, really the vegetation management is

10   probably the most, it's the best bang for the buck that we

11   have, and I'll go through that in detail a little bit later.

12             I think, as you've heard several times today, we're

13   certainly not going to prevent all the outages no matter what

14   we do.  But a strong, well-maintained system should hold up

15   much better in a Class 1 or Class 2 storm.  I think we've

16   displayed that in, certainly in 2004.

17             FECA is involved with the PURC research project.  We

18   also have some other things going on.  Certainly on the

19   preventative maintenance, y'all know the RUS bulletin is what

20   you relied on for your pole inspection standard, and that's

21   something that we've been subject to for a long time and we've

22   been doing things like that.  RUS also has vegetation standards

23   and construction standards that we have to comply with.

24             Other research projects we have -- well, not really

25   research, but RUS is continually updating their standards.  And

FLORIDA PUBLIC SERVICE COMMISSION

118

1   we also have a, it's a cooperative research network that is

2   kind of a think tank.  They do certain special projects that

3   people are willing to pay for them, but it's kind of like a

4   consulting group that's just for co-ops, and they will look at

5   issues that are unique to the rural areas.  So we do have that

6   benefit, and several of the members in Florida are involved in

7   that.  They're doing some studies on underground for

8   transmission and things like that.  They haven't gotten down to

9   the distribution level yet.  But hopefully with what, with the

10   PURC project, they're going to rely on that and not have to

11   redo the research.

12             Standards and materials, we've got co-ops that are at

13   different ends of the spectrum as to how far they're hardening

14   their system.  The Florida Keys, because of their likelihood of

15   being hit by a hurricane and the higher potential winds if they

16   do get hit, they've actually built their entire -- their

17   transmission system is all built to the extreme wind loading

18   standards and their regular distribution system will be soon.

19   That's the new standard whenever they rebuild or replace or

20   build brand new.

21             And then we've got other co-ops like Suwannee Valley

22   which is in the 90 to 100-mile-an-hour zone.  And, you know,

23   for them to build a 150-mile-an-hour system just doesn't make

24   sense.  It would be a lot of wasted money.  So we're --

25   depending on where you are in the state and, you know, what

FLORIDA PUBLIC SERVICE COMMISSION

119

1   your probability of getting hit and what your wind zones are

2   kind of depends -- that's guided the co-ops as to which

3   direction they've gone.

4             We certainly believe in preventative maintenance.  We

5   think that our pole inspection program has been as good as any

6   for many years, and we think that really helped us with the

7   2004.  Thanks to the lack of hurricanes in 2006, we're not

8   100 percent caught up but we're pretty much on track with all

9   of our maintenance programs, vegetation management and pole

10   inspection.  And actually by June 1st I think we'll be back on

11   track from what everybody is telling me.  I think we had two

12   co-ops that were a little bit behind at the end of 2006, but we

13   should be on track now.

14             In addition, most of our members have signed new pole

15   attachment agreements with both cable and telephone that really

16   ensure that we're going to be meeting the NESC, and it sets

17   some additional inspection requirements.

18             For the most part our materials, our members are

19   using stronger poles.  Certainly for transmission I think

20   across the board everybody has gone to much stronger poles.  I

21   don't think you'll be seeing any more wood transmission poles

22   being put in except for in emergency restoration situations, if

23   that's all we have.

24             And as I said, on the distribution side we've got

25   some that are really beefing up and some that are not seeing

FLORIDA PUBLIC SERVICE COMMISSION

120

1   the need to spend the money yet.  The PURC wind study may give

2   us some information that changes our opinion on that, but for

3   the time being, until that study is done, we don't see any

4   reason to go out there and really spend a lot of money and

5   crank our rates up.  The one thing that does -- well, I talked

6   about our pole inspections already and the construction

7   standards.

8             On the vegetation management, we think that's really

9   our best bang for the buck, as I said earlier.  One thing the

10   co-ops have, we tend to have 20-foot or wider easements versus

11   a lot of other utilities have 12-foot easements, so that gives

12   us an extra four feet on each side that we're allowed to trim

13   when we go in there.  We've also been very aggressive with, you

14   know, the right tree type program.  And as you heard the

15   manager from Escambia River tell you last year, if there's a

16   customer that says I've got this tree that looks like it might

17   be sick or dying, you know, we will go in there and take it out

18   at no cost to the customer.  We're anxious to do that in most

19   cases if it has the potential to fall into our lines.

20             And the reason that I know Escambia River did it,

21   when Ivan came through, a lot of the pine trees that -- when

22   you look at them you can't tell they're dead, but they're

23   actually dead because the outer surface is where the veins are

24   and they've snapped.  And so we are aggressively taking out any

25   of those poles that they'll let us take out.  And I think a lot

FLORIDA PUBLIC SERVICE COMMISSION

121

1   of people really learned a lesson in 2004 with the vegetation

2   because when those poles fall, they not only take our lines

3   down, they also block roads and driveways.  So people are

4   pretty anxious to help us now and work with us.  Hopefully it

5   won't take another hurricane to reinforce that again, but I

6   think we're in good shape right now.

7             These are the numbers, I showed them to you last

8   year, but I think it's worth going over again, as to why the

9   vegetation management is so important in co-op country.

10             If you remember, Frances and Jeanne took pretty much

11   the same path.  Frances impacted fewer co-ops and the winds for

12   Frances were only about 105 miles an hour versus Jeanne, which

13   was about 120 miles an hour.  You can see Frances knocked out

14   about 50 percent of the customers of those co-ops that were

15   impacted; whereas, Jeanne knocked out about 73 percent.  But

16   Frances only took 12 days to restore and Jeanne took -- I mean,

17   Frances took 12 days and Jeanne only took eight days.  And the

18   real reason for that is because the weak trees and limbs had

19   already been taken out when Frances came through, and with

20   Jeanne we weren't using our chainsaws very much.  And that

21   really is the major difference from talking to everybody.  And

22   Ivan and Dennis proved the same thing.  Ivan was the stronger

23   storm and -- but it wasn't a whole lot stronger, but the repair

24   was significant.

25              On the design and construction standards, like I

FLORIDA PUBLIC SERVICE COMMISSION

122

1   said, we've made some changes but we really are focused on the

2   vegetation management.  And the reason for that is we've had

3   some -- our transmission structures generally have been built

4   to the extreme wind loading standards anyway.  This is a

5   picture from, it's just outside of Seminole's power plant in

6   Hardee County.  It's more than 30 miles inland, and this was

7   Hurricane Charley.  You know, this pole or structure was

8   designed to withstand 125-mile-an-hour winds and it just got

9   twisted like a pretzel from Hurricane Charley.  So we probably,

10   you know, we probably could have built it stronger, but the

11   question is do you really want to spend that money if it's

12   going to come down with a microburst or tornado or whatever you

13   have anyway?

14             So the same thing we saw down in -- this was in

15   Glades' service area, I'm not sure which county it was, but

16   this was a transmission line, they're 70-foot 2H poles, which

17   is a pretty good-sized pole.  This pole line was less than two

18   and a half years old, and Wilma, which I think the highest

19   winds recorded from Wilma were about 120 miles an hour, and it

20   brought this thing down.  You know, it's designed to withstand

21   125, 130-mile-an-hour winds.  And so we don't know exactly what

22   winds we're dealing with.  When you get into the rural areas,

23   you don't have a lot of measurement stations.  So, again, we're

24   really hoping that the PURC study comes up with data that we

25   can use and go back and review our standards once we have that

FLORIDA PUBLIC SERVICE COMMISSION

123

1   data.

2             Underground in the rural areas really is a different

3   animal.  The -- you've heard a lot about costs.  For us the

4   cost is probably the number two issue.  The design and

5   flexibility is actually a bigger issue.  If you're in a

6   residential neighborhood which you know what everything is

7   going to look like, you know where the roads are going,

8   undergrounding works great.  In about 90 percent of our

9   residential areas we're putting in underground right now.  But

10   if you're in an area where you don't know what it's going to

11   be, what's going to be built, and you try and put an

12   underground system in, you're stuck with whatever you've put

13   in.  So unless you have some kind of incredible redundancy

14   that's very expensive or something like that, then you're

15   probably going to have to rip it all up when someone comes in

16   with a new development.  So there are some issues there.

17   That's, for us, that's probably our biggest concern if we try

18   and go with a generic undergrounding going forward.

19             Other issues that you've got, we talked about it a

20   little bit earlier today, routine outages tend to be longer

21   with underground.  And, you know, sometime in your coastal, if

22   you've got a coastal area with storm surge, your outage can be

23   much longer with underground.  The poles can withstand the

24   storm surge much better than a transformer can.  And believe it

25   or not, trees are also a problem for underground.  I wish I had

FLORIDA PUBLIC SERVICE COMMISSION

124

1   the picture, I haven't been able to find it, but there was an

2   underground, it's a feeder cabinet which has several feeders

3   come out of it, and there was an oak tree that actually

4   uprooted and took the feeder cabinet up with it, which means we

5   had to run all new wire, the cable got stretched out, and so

6   that was a very long outage for some people.  Which, you know,

7   that could be -- it would be a routine long outage even if it's

8   not a hurricane, if the tree just fell.

9             So on the restoration side, in 2004 when Charley hit,

10   that was kind of a new day for co-ops.  We probably weren't as

11   prepared -- well, we definitely weren't as prepared as we

12   should have been.  Right after Charley we got together and did

13   a lot of brainstorming among all the co-ops and we were much

14   better prepared for Frances.  Then as every storm comes

15   through, we are much better prepared and it's worked a lot

16   better.

17             The one thing that we got to benefit from in 2005 was

18   going to help with Katrina.  Every co-op in Florida went over

19   at some point to provide assistance, and they took supervisors

20   with them because that was an event that we'd never seen before

21   and it's -- you know, everybody thought Charley was bad and

22   Ivan was bad, but Katrina just blew those things away, what we

23   saw, especially for those areas near the coast.  In some cases

24   the storm surge came up six miles and just leveled everything.

25   So that caused us to go back and totally look at our plans

FLORIDA PUBLIC SERVICE COMMISSION

125

1   again.  Not that you can really prepare for something like

2   that, but we're trying to be as prepared as possible just in

3   case.

4             The other thing, Barry Moline talked about our mutual

5   aid a little bit.  We work very well with the municipals but

6   the co-ops are kind of ours.  We -- across the nation we've got

7   900 co-ops and basically we have first priority on all their

8   crews.  What our members do, of course, they'll try and get the

9   contractors on their own, they've got contractors they use

10   routinely and they'll lock them down.  But both before and

11   after the storm, the network of co-ops across the county, we

12   are their first concern, and we have never yet been short on

13   manpower.  Even with Katrina and Erin both we were able to fill

14   what the co-ops needed every time.  So these guys -- you know,

15   when Jeanne came in, we actually brought people in from New

16   Mexico and Minnesota because that's what we had to do, but they

17   were there.  It took them three days to get here and we had to

18   do some planning in advance, but we were able to get the people

19   we needed.  So we've been very fortunate there so far.

20             And the, the other thing that's been good, the

21   cooperation between utilities has been good too in the state.

22   You know?  We've helped the IOUs, the IOUs have helped us, vice

23   versa with the municipalities.  And one thing that I really did

24   appreciate after Hurricane Charley, Florida Progress had some

25   transmission lines down for a while and they served Peace River

FLORIDA PUBLIC SERVICE COMMISSION

126

1   Electric's substation.  Well, they were giving us reports twice

2   a day as to what their progress would be so that we knew which

3   substations to focus on so that when a substation would be

4   live, we'd be as ready as possible to get everybody energized.

5   So everybody kind of joins together when this happens.  And, of

6   course, the EOC has been very helpful there too.

7             Let's see.  Barry already showed you this on the

8   mutual aid agreement.  That covers the country and a lot of

9   folks that we can bring in.

10             The EOC, one of the things I also learned with

11   Katrina and, and Erin both, not Erin, whichever one it was, but

12   our EOC is fantastic.  And, you know, they forced us to do a

13   lot of things to work with them.  And we're all -- you know, we

14   kind of complain about it, but when a storm hits we are ready.

15   And I didn't realize how spoiled we were until I saw what they

16   had to deal with in Louisiana and Mississippi.  We are really,

17   we're just topnotch.  That's all there is.

18             And that's really all I have.  If there's --

19   obviously I don't know all the details and data about all of

20   our individual members, but if there's something that you want

21   me to follow up on, I'd be glad to.

22             CHAIRMAN EDGAR:  Thank you.  Commissioners, any

23   questions for Mr. Willingham?  None at this time.

24             Are there questions from staff?

25             MR. McNULTY:  Just one question.

FLORIDA PUBLIC SERVICE COMMISSION

127

1             Mr. Willingham, could you give us an update on -- you

2   indicated that you're on track for pole inspections through --

3   for a June 1 period.  You mentioned something about

4   substations, and do you know what level of readiness there is

5   in terms of substation inspections?

6             MR. WILLINGHAM:  I know a few of them, but I don't

7   know them all.  If you want to, I can follow up on that and

8   provide the data to you.

9             MR. McNULTY:  That would be fine.  Thank you.

10             CHAIRMAN EDGAR:  From a purely personal perspective,

11   I am hoping that Talquin Electric is as prepared as you've

12   described.

13             MR. WILLINGHAM:  I think they are.

14             CHAIRMAN EDGAR:  Wonderful.  Mr. Willingham, thank

15   you for being here and participating today.  We appreciate it.

16             MR. WILLINGHAM:  Thank you.

17             CHAIRMAN EDGAR:  And next we have Mr. Rick Fuson with

18   the Lee County Electric Cooperative Association.  And I hope I

19   got that at all close.  I'm sorry if I mispronounced your name.

20             MR. FUSON:  No.  That's correct.

21             Good afternoon, Commissioners.  Thank you for

22   allowing us to come and present our plans.

23             This is a graphic of our service territory.  We serve

24   parts of Charlotte, Lee, Collier, Hendry and Broward Counties.

25   And as Mr. Willingham said, we have a lot of rural area in our

FLORIDA PUBLIC SERVICE COMMISSION

128

1   southern territory.  We currently have 197,000 customers that

2   we serve.  We have 180 miles of transmission and 7,800 miles of

3   distribution lines.

4             Every year in the winter months we begin the update

5   of our restoration plan.  And when we update the plan, we go

6   through and look at all aspects of the plan.  One of the most

7   important things we do though is we work with third party

8   suppliers that we use during emergencies.  So we go out and

9   make sure we have all those agreements in place for various

10   things such as contract help, such as food, such as lodging,

11   all those, all those entities.

12             The other thing we do is we go back and look at

13   lessons learned over the past year and we take those lessons

14   learned and we roll those into our plan.  We have finished the

15   plan for this year, the updates, and currently we're in

16   employee training.  And what we do is we set up meetings with

17   every employee in the organization and go through what their

18   role is in the plan because each employee has a role to play in

19   the plan.

20             The next chart basically is an organizational chart

21   that outlines what our plan basically is.  And I won't go

22   through all these boxes.  There's quite a few boxes.  But we

23   are broken down into seven main committees.  The system

24   operations group deals with the prioritization of restoration

25   efforts of the restoration committee.  They actually go out and

FLORIDA PUBLIC SERVICE COMMISSION

129

1   do the physical restoration work.  The assessment works in

2   parallel with the restoration to go out and do assessments for

3   the heavily damaged areas.  We have a communications group

4   which deals with customer communications, deals with media

5   communications, and also they are the liaison with the

6   emergency operation centers in our areas.  Then we have a

7   facilities group that deals with our fleet, our fuel, lodging,

8   material staging, material acquisition, all that rolled up into

9   one group.  Information technology section, because as we rely

10   on computers more and more every day, that group keeps those

11   systems up for us.  And then we have a group that coordinates

12   with FEMA.

13             Also last year we took a look at our, at our

14   preparation activities, and we also went back and looked at our

15   maintenance plans.  And what we did was we rolled the hurricane

16   preparedness activity into our maintenance plan, so we really

17   do a 12-month preparation, if you will, because all those are

18   incorporated into those plans.  And this is just an idea to let

19   you know year to date where we are on those plans.

20             With transmission, as I said earlier, we have about

21   180 miles of transmission.  We go through every two years and

22   we inspect and climb every transmission structure we have, and

23   we are about 93 percent with a year-to-date goal in May.  We do

24   two flying patrols a year, we do infrared inspections every six

25   months, we do our water crossing inspections every six months

FLORIDA PUBLIC SERVICE COMMISSION

130

1   because we do have some transmission lines that serve some

2   barrier islands, and we do our transmission switch adjustments

3   every six months.

4             As far as substation preparations, on a monthly basis

5   we have our substation personnel go through and do a visual

6   inspection of every substation.  And it's a fairly high level

7   inspection, but it's going there to try to determine if there's

8   anything that's obvious that needs attention.  We are about

9   95 percent year to date with those activities.  And then these

10   are the other activities that we do.  Transformer maintenance

11   on a four-year cycle, switch maintenance on a four-year cycle,

12   distribution breakers on a four-year cycle.  And we do infrared

13   inspections every six months in our stations because that

14   brings out a lot of issues that we've found as far as switches

15   overheating and things of that sort.

16             And then from a distribution perspective, we call our

17   activities mechanical and visual.  Our mechanical activities,

18   what that relates to is actually where personnel are in an

19   aerial device like a bucket truck where they actually climb the

20   pole to inspect the pole at the top of the pole.  And visual

21   inspections are inspections done at the ground line.  And as

22   you can see, we are fairly close on that.  We've accelerated

23   some of our distribution switches and reclosers, but all in all

24   we're up-to-date on that.

25             We do have a ten-year cycle on our three-phase

FLORIDA PUBLIC SERVICE COMMISSION

131

1   mechanical, single-phase mechanical and single-phase visual, a

2   three-year cycle on our switches, a one-year cycle on our

3   reclosers, a six-month cycle on our infrared inspections.  And

4   those infrared inspections are the main feeders.  It's not the

5   latter.  It's just the main feeders.  And then we have an avian

6   protection plan that we are retrofitting facilities for that

7   plan.

8             And then vegetation management, we do inspect our

9   230 kV transmission system every six months and take care of

10   any issues that arise with that inspection.  We inspect our 138

11   transmission on a yearly basis and take care of any issues in

12   there.  We do transmission right-of-way mowing on a yearly

13   basis.  And then we trim our three-phase distribution on a

14   three-year cycle with single phase on a six-year cycle.

15             As far as governmental coordination, we do have

16   employees that staff our Lee County EOC, our Collier County

17   EOC, which are our two counties with the largest customer base.

18   And then the municipalities that we serve that have emergency

19   operation centers, we have employees staff those as well.  And

20   during the activities we've found that that staffing helps us

21   better coordinate activities in those areas with the government

22   agencies, and it's really been beneficial for us and for them

23   as well.

24             As far as our standards of construction, we do comply

25   with the NESC and we've reported this previously to the

FLORIDA PUBLIC SERVICE COMMISSION

132

1   Commission.

2             And we do have standards that meet extreme wind

3   loading for those areas specified by the NESC that require

4   that.  And we also, with the other utilities you've heard

5   today, participate in research that's going on in those areas.

6             As far as construction standards go, our underground

7   system, we consider it a water-resistant system, not actually a

8   waterproof system.  And the reason we say that is that during

9   Hurricane Charley in particular, we have a barrier island that

10   we serve that had some, some flooding as a result of the storm.

11   And water, when water got in those facilities, we had water

12   intrusion in the cables and had to replace quite a bit of cable

13   in those areas.  So I think you've heard that today as well

14   from some of the other utilities here that the underground

15   systems don't hold up very well when it comes to storm surges

16   or flooding in those areas, and we've experienced that in our

17   service territory.

18             We do have procedures in place for joint use as far

19   as evaluating the wind loading capacity for joint use

20   attachments, and we currently do not permit attachments to

21   transmission structures but we do provide them to distribution

22   structures.

23             And we are in the process of kicking off a joint use

24   survey.  Currently the last survey was performed back in 2001,

25   and we are updating that and going through to try to identify

FLORIDA PUBLIC SERVICE COMMISSION

133

1   any issues out in the field with joint use.

2             And that's my presentation.  I'd be glad to answer

3   any questions you may have.

4             CHAIRMAN EDGAR:  Thank you.  And you may have said,

5   and, if so, I'm sorry I missed it, but about what is the

6   customer base for --

7             MR. FUSON:  We serve about 197,000 customers.

8             CHAIRMAN EDGAR:  Thank you.  Are there questions from

9   staff?

10             MR. McNULTY:  Just one question.  On the distribution

11   preparation you had a slide that showed the various percentages

12   of preparation in terms of year-to-date goals having been met.

13   Do you happen to have on any of those measures the actual

14   numbers that have been inspected versus the total number for

15   the company, say, for instance, three-phase mechanical or any

16   of these down the line here?

17             MR. FUSON:  I don't have those with me today but we

18   can supply those to you.  What we do is we typically measure

19   that in line miles.

20             MR. McNULTY:  Okay.  I'd appreciate that.  Thank you.

21             MR. FUSON:  You're welcome.

22             CHAIRMAN EDGAR:  Commissioners, any questions?

23   Questions?  No.  Okay.  Thank you very much.  Thank you for

24   your participation.

25             MR. FUSON:  You're welcome.

FLORIDA PUBLIC SERVICE COMMISSION

134

1             CHAIRMAN EDGAR:  Okay.  That concludes the

2   presentations on our agenda from the electric utility side.

3   And we will move now to the telecommunications companies that

4   we have scheduled to do presentations today.  We have three of

5   those.  And the first on my agenda is from AT&T Florida,

6   Mr. Wayne Tubaugh.  And, Mr. Tubaugh, if you will introduce the

7   others that are with you as well.  Thank you.

8             MR. TUBAUGH:  Yes, ma'am.  Good afternoon, Madam

9   Chairman and Commissioners.  My name is Wayne Tubaugh and I am

10   the Manager of Network for AT&T in Florida.  With me today are

11   Jennifer Kay, Esquire, and she's here to provide the hook if we

12   get too long, and Kirk Smith is the Manager of Network from

13   Atlanta.  Kirk is our go-to guy, fire putter outer, and if

14   something is stalled down here in an emergency, he makes it

15   move.  We're here to provide you a picture of how we are for

16   the 2007 hurricane season.

17             I've worked for AT&T, Southern Bell, BellSouth and

18   now AT&T again for 34 years, and that will become significant

19   with my second slide, and most of the time in network.  For the

20   last 19 years I've been the network liaison with the Commission

21   and the state EOC and the Commission reporting during hurricane

22   outages.  The good Lord and Mother Nature gave us a break last

23   year and let us do a little catching up after the events of

24   2004 and 2005.

25             Kirk's presentation will be short and to the point.

FLORIDA PUBLIC SERVICE COMMISSION

135

1   The new AT&T is better than ever prepared to work through

2   whatever is thrown to us this year.  In the past, even with

3   agreements with our other companies to come to our aid, we've

4   had to have a list of former employees that we contract with to

5   come back on to help us and other companies.  The significance

6   of my 34 years is that I think they took those poles down the

7   day after I came with the telephone company.  And we've

8   gotten -- the industry has gotten a lot better in designing and

9   deployment of our facilities, as you know when you ride around

10   now.  This year and for the future years we now have a 22-state

11   resource to draw from like we used to have when we had 49

12   states to draw from.  So we feel very confident that we're

13   really prepared for this season.  And with that, Kirk will

14   finish up on this thing.  And thank you for the opportunity to

15   open up the presentation.

16             CHAIRMAN EDGAR:  Thank you.

17             MR. SMITH:  If you happen to be a fan of the old

18   television show M*A*S*H*, I'm afraid that my partner's

19   introduction here conjures up a vision of BellSouth's version

20   of Radar O'Riley, and perhaps not too far wrong.

21             We are, as a company we are extremely proud of our

22   history and our legacy of being not only prepared but how we

23   operate during a storm event as well.  But one thing that we do

24   realize is that you don't rest on your laurels.  As efficient

25   as you think you may be, you continually look for ways to try

FLORIDA PUBLIC SERVICE COMMISSION

136

1   to improve.  And we want to give you kind of an insight to some

2   of the things that we feel has improved our operation

3   tremendously over the last couple of years.

4             Primarily our orientation for preparing for a storm

5   event is to key on preparation.  Like many of the people from

6   the different industries you've heard from today, we too do and

7   perform hurricane drills usually specific to the State of

8   Florida.  We provide, excuse me, workshops for our people from

9   across the nine states.  Of course, we have exposure in the

10   Carolinas, Georgia, Alabama, Mississippi and Louisiana as well,

11   and, suffice it to say, have a wealth of resources on best

12   practices and lessons learned and we share those across the

13   company.

14             Our drills are with executive involvement all the way

15   down to absolutely verifying contact telephone numbers for

16   individual technicians.  And we, we are our own worst critic in

17   the critique of those drills and our performance during storm

18   events.

19             We consider ourselves to be very action oriented in

20   that when we see a storm developing, when we see a forecast of

21   a storm, we mobilize assets where it's necessary, where it's

22   appropriate, where it's safe to do so.  We stage material, we

23   take preventative measures to protect our existing assets.

24             We've got a term up here, field enabler-centric, and

25   that's a real nice fancy term, but let me, let me give you our

FLORIDA PUBLIC SERVICE COMMISSION

137

1   interpretation of that.  Pardon me.  That is, that is bottom up

2   communication.  Okay.  What do we -- you know, where do we take

3   our guidance when we have an event that's at our door from some

4   of our 30-plus functional teams that we may deploy, be they

5   cell site restoration teams, be they damage prevention teams,

6   generator deployment teams, those are our eyes and those are

7   our ears.  That's where we get the communication to understand

8   where do we need to intervene from an EOC standpoint.

9             We have another term that we use, DWI, and that is

10   not in the classic sense, as I think you may, may understand

11   it.  It's our term for a discussion with intensity.  What that

12   means to us is you leave your feelings at the door.  Again,

13   we're action oriented, and your job during a hurricane

14   restoration event is to act and to solve the problem.  And

15   that's the culture that we try to develop each and every, each

16   and every day.

17             We're very pleased with our collaborative efforts

18   with investor-owned utilities.  We have made arrangements with

19   some of the larger power companies to actually have personnel

20   positioned in their EOCs and likewise.  What we're looking to

21   do is obviously try to enhance the communication in what is

22   obviously a chaotic environment to impact service restoration

23   not just from the power side but from the teleco side as well.

24   We have reviewed and been given the opportunity to review the

25   infrastructure hardening plans from the IOUs and been given an

FLORIDA PUBLIC SERVICE COMMISSION

138

1   opportunity to comment and adjust our operations likewise.

2             Our pole inspection program is, is encouraging.

3   We're closing in now, I think, on the eleventh month, if you

4   will, of the operation of our pole inspection program.  Very

5   much like what you've seen from the other industries, we're

6   partnering with Gulf Power, with Florida Power & Light, other

7   utilities to perform these, perform these inspections.  We are

8   opting to do a complete inspection of every pole that we touch.

9   That includes the loading of the pole.  We use what is

10   considered, I would say, to be an industry accepted standard

11   software application called OCAL (phonetic) that actually

12   provides that, that loading metric.

13             We have seen -- probably the way I would want to

14   categorize this, BellSouth or AT&T has taken a fairly

15   aggressive approach at really what we determine to be a pole

16   that is, that is defective that we would, that we would opt to

17   replace.  We have, we have decided in-house that if we find a

18   pole that is defective, that the age of the pole is starting to

19   age 30 years, but possibly heretofore we might, might have been

20   accepted to leave that pole in plant.  We're opting to replace

21   that pole.  So we're taking an extremely aggressive approach on

22   the results of our pole inspection program.

23             The term mother being -- necessity being the mother

24   of invention has, has never been more true.  After we

25   experienced the 2004 hurricane season, we saw the output of

FLORIDA PUBLIC SERVICE COMMISSION

139

1   many, many creative solutions to protecting our existing

2   assets.

3             The picture on the left is a, actually a wrap with

4   Velcro straps and cinch-type straps that we can place around a

5   remote terminal; a remote terminal being a cabinet that houses

6   some of our digital loop, digital loop carrier equipment.  If

7   you happen to be in the field and happen to run across some of

8   our technicians or management people and you stop them and you

9   ask them about the wrapped remote terminal, they may look at

10   you funny.  Ask them, if they look at you funny, ask them about

11   the diaper.

12             On the right you'll see a couple of sites where we

13   opted to take our digital loop carrier and remote terminal

14   equipment and actually raise it on concrete platforms or steel

15   platforms.  We do this in many of the flood-prone, flood-prone

16   type areas.

17             Mr. Tubaugh mentioned the benefit of the merger, and

18   he's exactly right.  What we do have under one management

19   umbrella now is the resource and the ability to facilitate both

20   from a planning and restoration standpoint resources for local,

21   wireless and long distance.  If you look at the next page,

22   you'll see some of the pictures, some of the resources that

23   heretofore we had not had access to within the BellSouth area.

24   These are AT&T resources.  I know your hope is exactly as mine

25   that the only time you'll ever see these is in the pictures.

FLORIDA PUBLIC SERVICE COMMISSION

140

1   And we hope and pray that's true, but, if not, they are, they

2   are available for our use now.

3             Since the last hurricane season we have purchased 158

4   additional portable generators for our regional generator

5   pools.  We have added more than 30 portable generators to local

6   inventories in Florida, and we have installed permanent

7   generators at more than 170 -- or at 175 strategic remote

8   terminal sites within Florida.  This gives us a much better

9   ability via backup power to minimize service outages during a

10   hurricane event.

11             The blue stars that you see across the southeast are

12   where we have our regional generator pools.  If you've not been

13   familiar with this particular concept before, these are

14   generators that we mobilize for backup power purposes for many

15   types of weather events across our nine-state footprint, be it

16   hurricane events in Florida or ice storms in the northern part

17   of our region.

18             The next slide just gives you kind of a graphic, if

19   you will, or a feel of how we, how we deploy our portable

20   generators.  This is an actual graphic from Hurricane Frances

21   in 2004.  The blue arrows at the top indicate basically that we

22   take our generators from the regional pools many days in

23   advance, if we have that much warning, and actually load them

24   on flatbed trucks and convoy them to a safe place closer to the

25   anticipated event.  As we are watching, as everybody would, the

FLORIDA PUBLIC SERVICE COMMISSION

141

1   expected landfall, the category of the storm and trying to

2   assess as best we can where and how we'll be impacted, we

3   actually edge the convoys closer and closer and closer and

4   closer to the point that, that we're not endangering anybody's

5   safety.  But as soon as we can get a, a fair assessment or some

6   level of confidence as to where the storm may be impacted -- as

7   in the case of Hurricane Frances, we actually pulled our entire

8   convoy below the projected path of the storm and got in on the

9   weak side of the storm.  And as the storm passed, we had the

10   ability to bring our convoys in right behind the storm and

11   start deploying our generators.  So that gives you some type of

12   idea, an interaction from our EOC standpoint, our portable

13   generator deployment how we try to assess and respond to

14   particular storm events.

15             The next picture is actually a picture of one of our

16   service centers in Orlando.  As you saw from the previous

17   slide, as we bring the convoys and trucks down, we pull the

18   trucks into the service centers, offload the generators.  Our

19   technicians drive into the service centers, pick the generators

20   up, drive to the remote terminals, plug the generators up,

21   drive back and get another one and keep going until we deplete,

22   deplete the source of generators.

23             I mentioned that we have near 30-plus functional

24   teams.  This list of several of them here, the E911 and cell

25   site strike teams, we have severe weather checklists for our

FLORIDA PUBLIC SERVICE COMMISSION

142

1   central offices, we have much better advanced mapping

2   technology now than we did two years ago.  We have upgraded our

3   generator tracking system that we use to manage the deployment

4   of our portable generators.  And as I'm sure everybody is very

5   aware, a generator can become a pretty good, a pretty hot

6   commodity during a hurricane restoration standpoint.  So we've

7   taken the steps to manage the deployment of the near 1,500

8   generators we've got to make sure we know where they are and

9   how long they've been there, and hopefully they'll be there

10   when we go back.

11             We feel like our network performed well during the

12   last series of hurricane events.  Over 97 percent of our poles

13   remained intact following Hurricane Wilma.  We strive, as I

14   said earlier, to incorporate the lessons learned every time we

15   have an event.  There's not, there's not one day that goes by

16   that we don't feel like we have something that we can't

17   possibly improve on.

18             But one thing that we do realize is that regardless

19   of the technology we've got to deploy, regardless of the mobile

20   magnitude, regardless of the generators, none of it happens

21   unless our people are protected.  And we take, we take great

22   pains to make sure that, that our people have the basic needs

23   that they need in a hurricane type event.  If you'll look after

24   the slide where we're stating our mission, which is to provide

25   a safe environment for the people of AT&T and their families,

FLORIDA PUBLIC SERVICE COMMISSION

143

1   and, again, enhancing our service restoration via that mission

2   statement, these are pictures of BellSouth, what we call

3   BellSouth cities, and I'm sure we'll call them AT&T cities

4   going forward, but BellSouth cities where we actually provide

5   lodging and meals and care for our employees during these type,

6   these type events.

7             So with that, I'll say thank you for the time to brag

8   a little bit about what it is that we do and open the floor for

9   any questions you may have.

10             CHAIRMAN EDGAR:  Thank you.

11             Commissioner Carter.

12             COMMISSIONER CARTER:  Thank you, Madam Chairman.

13             I wanted to ask a question.  You mentioned on

14   Slide 5 about your ongoing pole inspections.

15             MR. SMITH:  Yes, sir.

16             COMMISSIONER CARTER:  What percentage are you -- have

17   you -- what percentage are you in terms of completion of your

18   pole inspections?

19             MR. SMITH:  As we stated in our plan that we filed

20   for the pole inspections, it's, the most efficient way to go

21   about it is obviously to do it jointly with a power company

22   partner.

23             Now we had, we had recognized that, that we were

24   probably not going to inspect an exact one-eighth of our poles

25   every year.  Now the first areas that we chose to inspect

FLORIDA PUBLIC SERVICE COMMISSION

144

1   jointly with Florida Power & Light, we inspected or will have

2   inspected over that 11-month period, I will, I will estimate

3   somewhere in the neighborhood of about 40,000 poles.  Now if my

4   math holds up right on our ownership, our target of

5   inspections, if we did one-eighth, would be somewhere in the

6   56,000 to 57,000 annual range.  But our firm commitment is

7   obviously that we would have it done on the eight-year cycle.

8   But, again, in working jointly with the power company and kind

9   of looking at the footprint of some of the high, high-risk

10   areas, if we're a coastal environment, quite frankly, the power

11   company may have owned more poles in those areas than we did.

12             CHAIRMAN EDGAR:  Commissioners, any further questions

13   for AT&T Florida?  Seeing none at this time, are there

14   questions from staff?

15             MR. VINSON:  Yes, Chairman.  I have a few questions

16   about pole inspection also.

17             In conducting your 2007 pole inspections, I noticed

18   you differentiated the poles that you deemed to have failed

19   into two separate groups, the ones that you scheduled for

20   immediate replacement and another group for longer term, I

21   think within 18 months.  And I was wondering if you could

22   elaborate on how that distinction was made and also what your

23   plans are for the timing of the replacement of those in the

24   longer category.

25             MR. SMITH:  Sure.  The ones that we would designate

FLORIDA PUBLIC SERVICE COMMISSION

145

1   for immediate replacement would be those poles that were

2   inspected that by the inspection process it's determined that a

3   third of the original strength of that pole has been

4   compromised.

5             Now that being the case, I would, I would go further

6   to say that if a third of the original strength of the pole has

7   been compromised, that could be for many different reasons.  It

8   could be for decay of the pole, it could be for woodpecker

9   holes, it could be for vehicular contact or it could be from a

10   loading situation.  Now those in that category, if it were a

11   loading situation, which I'm very glad to say that we have

12   found very, very few that have been, that have been a problem

13   of loading, I think it speaks well to the process that both the

14   power companies have and we have to screening each other's

15   applications for attachments that are made prior to, prior to

16   the work being completed.  But be that as it may, if it were a

17   loading problem, we would correct, we would take steps to

18   correct the loading if the pole integrity itself was good.  So

19   it's not to say that every pole that had a third basically of

20   the original strength would be replaced.  Generally speaking

21   though, that would be true.  Now it would be -- again, it's, it

22   doesn't make sense to us to try to do much, what I would call,

23   remediation.  Okay.  If you've seen these metal trusses and

24   braces possibly that have been placed around poles, that

25   process just really doesn't make a lot of sense to us.  So,

FLORIDA PUBLIC SERVICE COMMISSION

146

1   again, we would opt to say that first category, that's a pole

2   that we'll replace.

3             Now the other category that we would replace in the

4   18-month time frame as I referred to earlier, if we go out and

5   we find a defect on a pole, okay, and let's say it is some

6   degree of shell rot or it's some degree of deterioration, maybe

7   lightning had possibly splintered maybe the top of the pole or

8   maybe there is a few woodpecker holes in there, through the

9   inspection process and the testing that pole could very well

10   still have greater than two-thirds of its, of its remaining

11   strength, but by the age of the pole we'll make an economic

12   decision to go ahead and replace that.  So those are the ones

13   that kind of fall in that other category.  And that would,

14   hopefully that would give you a better idea of the type of pole

15   identified that would fall in each one of those categories.

16             MR. VINSON:  Okay.  And also what is your plan for

17   those in that 18-month category?  Is there a set number or some

18   idea of a future date to have that backlog cleared?

19             MR. SMITH:  Our target is to have those replaced 18

20   months after, no more than 18 months after they've been

21   identified.  Now obviously that's going to be a rolling number.

22             The dynamics of managing that type environment though

23   are such that if, if a power company came to us and said we're

24   going to abandon this particular route and possibly underground

25   or something like that, that may advance it.  If we, if we take

FLORIDA PUBLIC SERVICE COMMISSION

147

1   these situations and evaluate them against some of our overall

2   plans for that particular area, it may advance it.  Or it may

3   not -- it may be that we have a plan to address that particular

4   area that's 24 months out rather than 18, and it would be

5   prudent just to extend that for three or four or five, six

6   months.  So, again, it's a, it's a, a grouping that our target

7   is to replace them in 18 months, but we would continue to

8   evaluate them as other triggers take us to those areas.

9             MR. VINSON:  Okay.  Thank you.  That's all our

10   questions.

11             CHAIRMAN EDGAR:  Okay.  Mr. Tubaugh.

12             MR. TUBAUGH:  A little commercial before I leave for

13   you folks, and I'm sure you've heard this before.  If you don't

14   own a regular old 500 telephone with bells in it and you live

15   or where you work is right out of the central office, even if

16   you lose power and you have one of them old ringy-dingy

17   telephones, it'll work.  So in your preparation for your

18   hurricane season, go find you a handy-dandy phone that has

19   bells in it.

20             COMMISSIONER CARTER:  That's the ringy-dingy.

21             CHAIRMAN EDGAR:  Thank you, Mr. Tubaugh.  Thank you.

22             Okay.  And next on our agenda is to hear from Verizon

23   with Mr. David Christian.  Mr. Christian.

24             MR. CHRISTIAN:  Thank you, Commissioners.  David

25   Christian on behalf of Verizon Florida, LLC.  My presentation

FLORIDA PUBLIC SERVICE COMMISSION

148

1   today will focus on three areas:  Verizon's new fiber network

2   and why you would care about that in a storm hardening context,

3   our pole inspection and replacement program and our disaster

4   planning, response and recovery efforts.

5             Every network component we engineer, construct,

6   operate is placed into service with the goal of providing

7   unparalleled and continuous service to our customers whether

8   they are governments, businesses or residential customers.

9   Maintaining a sound reliable network is critical in today's

10   competitive telecommunications marketplace.  This commitment to

11   invest in Florida is evident in our FiOS deployment.  To date

12   we have spent almost $750 million since late 2004, and we

13   recently committed another $500 million in additional capital

14   going forward.

15             Next slide, please.  Why fiber?  Not only are we

16   constructing the most advanced network in the United States

17   capable of delivering next-generation products and services,

18   we're also providing fiber for operational efficiencies, and in

19   Florida that deployment is 99 percent underground.

20             Storm hardening is one of the key benefits of

21   Verizon's new underground fiber network.  Our network provides

22   more reliable service that is less vulnerable to bad weather.

23   And I've got an example here that demonstrates that.  This is,

24   in the old copper world, the 200-pair cable.  This takes a

25   number of days and man-hours to find and isolate the trouble to

FLORIDA PUBLIC SERVICE COMMISSION

149

1   a particular customer's residence or repair and splice the

2   cable.  This is a fiber-optic line, I don't know if you can see

3   it, but I'm really holding a fiber-optic line, that when

4   repaired or spliced together in a matter of hours can put one

5   or hundreds of customers back in service.  So the operational

6   efficiencies are tremendous, and it will take hours rather than

7   days to get customers back online.  And I'll show you some

8   other things in a little bit.

9             But next slide.  Our fiber deployment is widespread

10   in the Tampa Bay region in our six-county service territory and

11   it's impervious to weather.  This slide, this slide shows fiber

12   conduit and cable being buried in a neighborhood and pulled

13   through fiber distribution terminals as seen on the picture on

14   the right.  Buried drops then connect the customer's home or

15   business to a fiber distribution terminal.  Fiber itself is

16   impervious to water.  It keeps functioning even when wet.  And

17   because of its passive, a passive optical system there's no

18   electricity flowing through the cables, just pulses of laser

19   light.  That means it's less susceptible to lightning strikes,

20   and Tampa has one of the highest lightning strike occurrences

21   anywhere in the world.

22             This slide here demonstrates how our fiber network is

23   typically configured in a neighborhood.  A cabinet or fiber

24   distribution hub shown on the left is deployed in a

25   neighborhood.  Go back to the next -- to the last slide.  The

FLORIDA PUBLIC SERVICE COMMISSION

150

1   picture on the left would serve approximately 32 homes in a

2   neighborhood.  And underneath that you'll see the vault that is

3   sealed with fiber-optic cables that would actually run from the

4   cabinet to the customer's residence.

5             Go to the next slide, please.  This array shows you

6   the optical network terminal on the left side of the slide.

7   This is the connection from the fiber drop to the distribution

8   hub to the house.  It then runs inside the house to the inside

9   wire and connects a customer's phone, TV and Internet all in

10   fiber-optic connections.  The battery back-up on the right

11   provides power to the optical network terminal, and this is

12   provided on the customer's premise side of the network.

13             One thing that you need to understand, unlike

14   traditional telephone service, Verizon's FiOS depends on home

15   power source, and we supply the back-up battery unit as you can

16   see there on the right.  That provides up to six hours of

17   continuous talk time.  During an emergency we shut down all the

18   other services and only allow you to use your phone.  This

19   back-up power is consistent with our central office reserves

20   for battery back-up power, and the battery is about the size of

21   a motorcycle battery.  You can buy them at battery stores,

22   automotive stores, and you can have, certainly have as many

23   batteries as you want on reserve and being charged as your own

24   needs require.  We are always looking at advanced technology to

25   make that better.  We provide extensive instructions in our

FLORIDA PUBLIC SERVICE COMMISSION

151

1   FiOS home welcome kits that help the customer understand the

2   warning alerts that the battery back-up will provide when your

3   battery is running and when the commercial power has been

4   turned off.  This is important so you can monitor the use

5   yourself in your, in your residence.  Customers on copper voice

6   connections face the same situation in the unlikely event that

7   weather affects portions of the network for an extended period

8   of time.  So this is consistent with, with the back-up powers

9   we do have in our central offices.

10             The next slide, please.  I'll talk briefly about our

11   pole inspection plan.  We have developed and launched an

12   aggressive pole inspection plan based on the Commission's order

13   in that docket proceeding in 2006.  We have been inspecting

14   poles based on a geographical wire center boundary basis, which

15   means that we go into a wire center where we serve and we go

16   through the entire wire center and look at every pole before we

17   move on to the next area.  This systematic and thorough

18   evaluation is conducted before moving on to the next wire

19   center.  Poles are checked for structural integrity and

20   strength using methods that may include visual inspection,

21   sound testing, prod testing and Resistograph drillings.

22   Commissioners who were here certainly understand that we were

23   very supportive of the Resistograph technology, and I believe

24   that this tool should be incorporated into overall general

25   inspections by every utility in the State of Florida.  We've

FLORIDA PUBLIC SERVICE COMMISSION

152

1   had tremendous success in determining the structural integrity

2   of the pole and it has lived up to its billing, and we will be

3   expanding our pole inspection program using the Resistograph.

4   I think we've recently purchased another eight of these drills

5   that we can go out and actually read the pole strength on a wax

6   piece of paper and record the printout in a database.

7             We replace poles if they fail any one of those tests.

8   We don't treat or try to preserve the life of the pole.  We

9   have identified about 2,200 poles that are being replaced as we

10   speak.  We are prioritizing those poles due to the upcoming

11   hurricane season, and we're literally working around the clock

12   to make sure that we can meet, make sure that the poles are

13   replaced.  And, again, all poles failing inspection are

14   replaced, not treated.

15              We do do loadings testing for all of our poles, and

16   we've only, I believe, reported a handful of overloaded poles

17   out of the 30,000 poles that we're inspecting.  And,

18   Commissioner Carter, we are ahead of schedule on our pole

19   inspection plan.

20             Next slide, please.  Disaster planning, response and

21   recovery.  Verizon is a corporation with substantial experience

22   in disaster preparedness, response procedures and best

23   practices.  Verizon establishes and maintains systemwide plans

24   regarding continuity of operations and continuity of management

25   together with emergency operation centers, alerting lists and

FLORIDA PUBLIC SERVICE COMMISSION

153

1   alternate temporary locations necessary to facilitate the

2   installation, maintenance and restoration of critical

3   telecommunications or information services under conditions

4   ranging from local emergencies to widespread disaster.

5             Service protection and restoration strategies are an

6   integral part of Verizon's network management and operations.

7   Our network personnel have the ability to reroute traffic

8   dynamically over Verizon's networks to address outages at a

9   specific location.  Verizon also maintains a 24-hour network

10   operation center that monitors all network facilities including

11   transmission facilities, switches and cell sites across

12   Verizon's networks.

13             In 2004, Verizon Florida, our response Region Control

14   Center requested approximately 100 additional generators than

15   what we already had in Florida's operations lineup, and our

16   corporate EOC delivered them to Tampa in less than 24 hours

17   from as far away as Dallas, Boston and Indiana.  We also

18   brought in additional construction crews from North Carolina

19   and New Jersey.  That was the last real major test we've had of

20   our hurricane preparedness and restoration plans.  We were

21   lucky in 2005 that nothing came through the Tampa Bay region,

22   and even more luckier last year.

23             Additionally, I just wanted to mention that Verizon

24   protects its cell site operations in many of the same ways, and

25   we also use portable cell sites and cell on light trucks, which

FLORIDA PUBLIC SERVICE COMMISSION

154

1   are fully functional generator-powered cell sites that can be

2   deployed to areas affected by weather-related or other

3   disaster.  In fact, we've been working with the U.S. Forestry

4   Department in the recent forest fires here in North Florida and

5   other parts of the state to actually move in cell sites for

6   them to use for emergency communications.  So we are very able

7   and willing to do those types of things.

8             Next slide, please.  Following a weather event or

9   other disaster, Verizon dispatches its work source -- work

10   force by preassigned grid after it has been determined by an

11   appropriate county emergency operations center that it's safe

12   to start assessments.  Damage assessments are done a grid

13   basis, are recorded on laptops and transmitted in near real

14   time to Verizon's regional control center.  After assessments

15   are completed, teams of technicians are dispatched to repair

16   damage and restore service in affected grids.

17             We have worked very closely with our county EOCs in

18   training, in tabletop exercises, as well as working with them

19   to locate facilities for crews to be as close to restoration

20   facilities as possible.  Like we saw with the AT&T slides,

21   there are BellSouth cities.  We have the same types of crew

22   facilities set up.  We have multiple generator facilities as

23   well ready to go waiting in safe areas to dispatch to the Tampa

24   Bay region.

25             And finally, I'll just show you the last slide, this

FLORIDA PUBLIC SERVICE COMMISSION

155

1   is what the grid system would look like at a very microlevel.

2   This would be a two and a half mile square section of Tampa,

3   and we can pinpoint exactly where those outages are and,

4   depending on the color code, what the status of the outage is.

5   And you can actually click on those and it would give you all

6   the trouble ticket information for each one of those dots.

7   That's an example of our grid process.

8             And I'd just like to say in closing that in the event

9   that there is a weather or storm event in Tampa, we are

10   prepared, we are tested, we are ready, and we believe our

11   facilities should be able to withstand as much as we can stand.

12             CHAIRMAN EDGAR:  Thank you, Mr. Christian.

13             Commissioners, any questions for Verizon?  None?

14             Commissioner Carter.

15             COMMISSIONER CARTER:  Thank you.  Thank you, Madam

16   Chair.  I just wanted to ask in the context of the status of

17   completion of your build-out in Tampa, how far are you guys

18   along in the completion of that?

19             MR. CHRISTIAN:  We are scheduled to pass 1.3 million

20   households like we showed on Slide 3 by 2010.  And that should,

21   that's Phase 1.  That will pass 1.3 of the projected

22   1.7 million homes in our territory.  At that point we would

23   probably reevaluate and assess and check our capital and see

24   where we go from there.

25             COMMISSIONER CARTER:  Thank you, Madam Chair.

FLORIDA PUBLIC SERVICE COMMISSION

156

1             CHAIRMAN EDGAR:  Are there questions from staff?

2             MR. VINSON:  One question.

3             Mr. Christian, you mentioned the 2,200 poles that

4   have been identified for replacement.  Do you know about where

5   you are on the number of those that have been replaced?

6             MR. CHRISTIAN:  Let me see if that email has come

7   through.

8             MR. VINSON:  That's fresh information.

9             MR. CHRISTIAN:  I do not have that right now, but

10   we'll provide you with that.

11             MR. VINSON:  Okay.  Thank you.

12             MR. CHRISTIAN:  Our operations folks -- real time

13   information.

14             MR. VINSON:  Do you have a signal?

15             MR. CHRISTIAN:  Yes.  We have a repeater in this

16   building, Verizon Wireless.

17             CHAIRMAN EDGAR:  That goes into the always prepared

18   category, I think.

19             Okay.  No further questions.

20             Mr. Christian, thank you.

21             MR. CHRISTIAN:  Thank you.

22             CHAIRMAN EDGAR:  And for the overworn phrase "last

23   but not least," the last presentation that we have on our

24   agenda today is from Embarq Florida with Ms. Sandy Khazraee.

25             MS. KHAZRAEE:  Very good.  Thank you, Commissioner,

FLORIDA PUBLIC SERVICE COMMISSION

157

1   and good afternoon, Commissioners.  I'm Sandy Khazraee.  I'm

2   the Regulatory Manager for Embarq.  And although I'm not quite

3   as old as Mr. Tubaugh, this month marks my 30th year in

4   telecom, and in that time I've worked in three different

5   companies.  I'm not counting United to Sprint to Embarq.  I

6   mean, really three different companies in three different parts

7   of the United States, and I worked in the network organization

8   in all three companies as outside plant engineer and long range

9   network planner.  And what I can tell you is no matter how

10   different the companies work, the network was basically the

11   same.  It's a very complex network but it's very robust.  It's

12   built that way.  But inevitably because exposed facilities are

13   required to get between the customer's home or business to our

14   central office switching equipment, they are going to be

15   exposed to the effects of severe weather.  And we can't

16   completely mitigate that, we can't take it away, but we have

17   certainly learned over the years how to prepare for it and then

18   how to respond to it after the fact.  Because the networks are

19   so much similar, a lot of what I could say would be very

20   similar to what AT&T and Verizon have just told you, so I'm

21   going to try and be brief.

22             Our efforts at network hardening are ongoing.  We

23   have implemented the pole inspection plan as ordered by the

24   Commission, and we were the last ILEC to actually have our plan

25   approved and to begin, and we did find the same thing that Gulf

FLORIDA PUBLIC SERVICE COMMISSION

158

1   Power did.  We found some resource issues, because we were kind

2   of the last in line to need to find contractors to do our pole

3   inspections for us, it took us a while to find some, but we

4   did.  We have a very good contracting firm now that has been

5   working on them.  We've currently got about a thousand of our

6   poles inspected since the beginning of the year.  I think

7   that's about 700 more than what we had in March when we turned

8   our report in to staff.  So they are making very good progress.

9   When we are finding poles that have failed, we are replacing

10   them.  We are not remediating in any way, we are replacing.  If

11   we are finding poles that we think are marginal and yet they

12   haven't failed, then we are putting them back in the cycle and

13   will be looked at in two years, not in eight.  So that's what

14   we're doing with the ones that are marginal.  And I just want

15   to say that out of our feeder and distribution plant,

16   94 percent of it is below ground.  Only 6 percent of our feeder

17   and distribution is aerial.  So we're not talking about a large

18   part of our network that's at risk even if, you know, we did

19   have bad poles.

20             As we inspect the poles, we are placing, we are

21   determining what the GSI coordinates are of that pole and we're

22   downloading that into our engineering work order system so that

23   in the future, if there is a severe storm event and street

24   signs have been blown down, identifying landmarks are gone, we

25   can find the poles if we need to get out there.  So that's one

FLORIDA PUBLIC SERVICE COMMISSION

159

1   thing that we did institute as a result of the storms from 2004

2   and 2005.

3             We've done some others things as a result of lessons

4   learned from the previous hurricanes.  We've instituted some

5   engineering design changes, we've replaced some of our damaged

6   outside plant facilities with some that would be less

7   susceptible to storm.  As some examples, digital loop carriers,

8   those cabinets that are out in the field that actually have

9   switching equipment line cards in them, if those were damaged

10   from storm surge, from flooding water, from whatever, we have,

11   as we replace them, put them at higher elevation, if possible,

12   or we've put them on steel platforms.  The cross boxes, which

13   are normally the taller devices standing next to the digital

14   loop carriers, which is where our feeder and our distribution

15   cable come together, we have learned if we've had to replace

16   those to use lower profile so that they are not as likely to

17   catch the wind.  Those lower profile cabinets are 24 inches

18   shorter than the ones that we had previously used.

19             We have also replaced aerial cable that was damaged

20   in the previous hurricanes with buried.  We have in some cases

21   where the buried cable was washed out by storm surge been able

22   to replace it on the side of the road that's farther away from

23   the storm surge.  At least one digital loop carrier device that

24   we replaced, not only did we put it at a higher elevation, but

25   we also built an angled wall in front of it so that as the

FLORIDA PUBLIC SERVICE COMMISSION

160

1   water hit that, it would divert the water away from our digital

2   loop carrier.  So we've learned a lot of very practical lessons

3   like that.

4             We have also put locator disks in the terminals that

5   we have determined are likely to be buried by beach sand in the

6   event of storm surge so that we can find them.  It's really

7   hard to find terminals that have been completely covered and

8   all you can see are just, you know, miles of sand there where

9   there used to be a road, there used to be other things.  Even

10   in cases where we have, like in the Fort Walton district, homes

11   and town homes that were built up on stilts and we had our NID

12   down at the bottom, our network interface device, which is

13   where, that's the demark between what's our facilities and

14   what's the customer's inside wire, we found that those

15   sometimes got washed away in the storm surge.  So as we've

16   replaced them, we've put them up much higher on their homes so

17   that they will not be as likely to be washed away in the next

18   storm surge.

19             Another thing we did is we replaced batteries in

20   digital loop carriers because the largest part of our outages

21   are really caused by long-term commercial power outage.  So we

22   went through and retrofitted batteries in our digital loop

23   carriers out in the field, we've done over 100 of them last

24   year, with batteries that had a longer shelf life, more

25   reliability.

FLORIDA PUBLIC SERVICE COMMISSION

161

1             Next slide.  We have a disaster preparedness plan and

2   we are always ready to implement it.  In fact, this past Monday

3   was our interdepartmental call company-wide to go through the

4   checklist, make sure that each department knew what its

5   responsibilities were, that everything was in place, that there

6   were no lingering questions or issues that needed to be

7   handled.  We have coordinated with other utilities and with

8   governments through our presence at the EOCs.  What we do ahead

9   of time is we make sure that any district EOC, any county EOC

10   knows who our person is that they need to be in contact with

11   and what their contact numbers are.  We man the EOCs as

12   requested by the local authorities.  And we have our own

13   emergency operations center that we set up in advance of a

14   storm that our employees know the bridge number so that they

15   can call in and get information.  And we have done some other

16   things through that disaster preparedness, which includes

17   making sure that all of our portable generators that we own are

18   fully fueled, they're staged in a correct location, they are

19   secured because they do unfortunately have a way of

20   disappearing.  We have -- we make arrangements ahead of time to

21   have additional portable generators brought in.  We have, you

22   know, a 17-state territory and we have other areas that we can

23   call on to get generators sent down to us, and it can happen in

24   a very quick time frame.  So we do all of that as part of our

25   disaster preparedness.

FLORIDA PUBLIC SERVICE COMMISSION

162

1             We have Embarq's logistics warehouse notified in the

2   event of a forecasted storm coming so that they can be prepared

3   with what type of equipment we might need, if it would be

4   additional poles, cables, terminals, things that we know

5   typically may need to be replaced after a storm.  We tell them

6   we may be giving you a large order, please get it together, and

7   they do and they have it ready to send to us as soon as we need

8   it.

9             We make sure that the fuel levels in all of our

10   permanent generators are fully stocked.  We make sure that all

11   of our company vehicles are parked in a safe location, fully

12   fueled, have the tools in them and ready to go.  And we do a

13   visual inspection around our buildings to make sure that there

14   are no objects which could become airborne and cause damage.

15   So we make sure we have everything secured.

16             Our post storm recovery, we have, again, as part of

17   this disaster preparedness plan all of the items that are to be

18   done after the storm as well.  We have a rapid response team

19   that can be activated.  This is a team of preselected highly

20   qualified technicians who know that they will be called on in

21   the event of storm restoration needs to go to the effected

22   areas to be able to report there within eight to 12 hours with

23   vehicles that are completely stocked with all the tools that

24   they will need, and they know who they need to be in touch with

25   in order to be told where specifically they're supposed to go.

FLORIDA PUBLIC SERVICE COMMISSION

163

1   And we may be getting these technicians from other parts of our

2   Florida territory, we may be borrowing from mid-Atlantic, Ohio,

3   Illinois, wherever we need to get them from.

4             We also have area survey teams that know what they're

5   supposed to do and are sent out to canvass the areas as soon as

6   it's safe for them to do so.  They have forms that they fill

7   out and they report back at a minimum every 30 minutes to our

8   district emergency coordination center on what they're finding,

9   where the damage is, what it is, what's going to need to be

10   done to fix it, and that way we can keep a real time

11   communication to our customers and our employees on what's

12   going on.

13             We also have a list of prioritized circuits that are

14   included in the disaster preparedness plan.  And so as soon as

15   the post storm recovery begins, the prioritized circuits are

16   the ones that are restored first.  Those may be circuits to

17   emergency responders, hospitals, power company facilities,

18   because that's one thing we did learn from the others is that

19   the power companies need communication so that they can get

20   their restoration efforts underway.  So, you know, that's one

21   thing we learned.  And we do begin working on those prioritized

22   circuits first.  Those also include circuits to cell phone

23   towers because, as we know, a lot of people rely on their cell

24   phones for service immediately following any sort of a severe

25   weather instance.

FLORIDA PUBLIC SERVICE COMMISSION

164

1             That concludes my prepared presentation.  If you have

2   any questions, I'd be happy to answer them.

3             CHAIRMAN EDGAR:  Thank you.

4             Commissioners, any questions?

5             Commissioner McMurrian.

6             COMMISSIONER McMURRIAN:  Ms. Khazraee, do I remember

7   correctly, do you also, does your company also use the

8   Resistograph technology for pole inspections?

9             MS. KHAZRAEE:  Yes, as a matter of fact, we do.  And

10   actually I meant to mention that, so thanks for asking.  We do,

11   and we have been very delighted with the results.  In the early

12   stages we had some supervisors and managers who weren't quite

13   sure whether they were sold on the device or not, and so we

14   actually did a blind audit and had them come out there and

15   just, you know, choose a pole, any pole, and had our contractor

16   that's doing the testing there do it and actually did the

17   drilling and showed them the results and made a believer out of

18   them.  So we've been very pleased.

19             COMMISSIONER McMURRIAN:  One follow-up on that.  Do

20   you think it's actually saving your company money to use that

21   technology rather than another method or more traditional

22   methods?

23             MS. KHAZRAEE:  I don't know.  You know, that's a

24   question I'd have to look into.  Because what we actually did

25   is we hired a contract firm that's actually doing our pole

FLORIDA PUBLIC SERVICE COMMISSION

165

1   inspections, and we made it part of our RFP that they would

2   have to use the Resistograph.  And so, you know, I don't really

3   have anything to compare it to, I guess.

4             CHAIRMAN EDGAR:  Commissioners?

5             Are there questions from staff?

6             MR. VINSON:  Just one question.

7             Ms. Khazraee, you mentioned that you had begun, even

8   though you were the last of the companies approved, with your

9   plan.

10             MS. KHAZRAEE:  Right.

11             MR. VINSON:  What's your status right now on the

12   poles that you have identified that need to be replaced?

13             MS. KHAZRAEE:  Okay.  We are replacing them as we're

14   finding them.  And so far out of all the ones that we have

15   found that needed to be replaced, within the next couple of

16   weeks that should all, they should all be replaced.

17             MR. VINSON:  Okay.  Thank you.

18             MS. KHAZRAEE:  Sure.

19             CHAIRMAN EDGAR:  Thank you, Ms. Khazraee.

20             Commissioners, as I mentioned, this is our last

21   presentation that is on our agenda.  So we have worked our way

22   through it and have received a lot of information.  I hope you

23   found it educational.  I know I have.  I know we're all hoping

24   for a quiet hurricane season, but it is certainly good to hear

25   the things that the companies in this state, the municipals and

FLORIDA PUBLIC SERVICE COMMISSION

166

1   the co-ops are all doing to continue our joint efforts to

2   continue a culture of preparedness.

3             Commissioners, any closing comments?

4             Commissioner McMurrian.

5             COMMISSIONER McMURRIAN:  I had a question, and I

6   guess this would be to staff.  I don't know.  I can't remember

7   from last year if we had any kind of follow-up comments filed

8   or anything like that, but I -- Mary Anne was -- maybe I should

9   wait for that answer before I go on.

10             MR. McNULTY:  I'll just mention that we had several

11   questions from Commissioners and staff that various utilities

12   were going to follow up on.  And so to that extent, we will be

13   providing that information to you, Commissioners, in an

14   assembled way within the next few weeks or however long it

15   takes to collect that information from the utilities.  And I

16   believe these presentations, the plan now is to put these

17   presentations available on the PSC website and we'll be working

18   towards that as well.  And that's the two follow-ups that I can

19   see as to what we're doing at this time.

20             COMMISSIONER McMURRIAN:  Okay.  I was thinking along

21   the lines of if companies heard from other presenters today and

22   they got good ideas, sort of along the lines of best practices

23   and they wanted to share with us that they were going to look

24   into some other method of addressing storm preparedness, that

25   we'd like that kind of information.  But I'm not trying to set

FLORIDA PUBLIC SERVICE COMMISSION

167

1   up a comment schedule or anything like that.  But if there's

2   additional information or if you saw a way that one company

3   presented its information and you have similar information, I

4   think that would be helpful, so.

5             CHAIRMAN EDGAR:  Thank you.

6             Commissioners, anything else?  Okay.  Then thank you

7   once again to all of our presenters, and we are adjourned for

8   the day.

9             (Workshop adjourned at 3:04 p.m.)

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

168

1

2   STATE OF FLORIDA    )

3                  :    CERTIFICATE OF REPORTERS

COUNTY OF LEON )

4

5             WE, JANE FAUROT, RPR, and LINDA BOLES, RPR, CRR,

Official Commission Reporters, do hereby certify that the

6   foregoing proceeding was heard at the time and place herein

stated.

7

IT IS FURTHER CERTIFIED that we stenographically

8   reported the said proceedings; that the same has been

transcribed under our direct supervision; and that this

9   transcript constitutes a true transcription of our notes of

said proceedings.

10

WE FURTHER CERTIFY that we are not a relative,

11   employee, attorney or counsel of any of the parties, nor are we

a relative or employee of any of the parties' attorneys or

12   counsel connected with the action, nor are we financially

interested in the action.

13

14              DATED THIS 4th DAY OF JUNE, 2007.

15

16

____________________________        __________________________

17   JANE FAUROT, RPR                    LINDA BOLES, RPR, CRR

FPSC Official Commission            FPSC Official Commission

18      Reporter                            Reporter

(850) 413-6732                      (850) 413-6734

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION