Embarq Corporation

Mailstop: FLTLHO0102

1313 Blair Stone Rd.

Tallahassee. FL 32301

EMBARQ.com

August 8, 2007

Ann Cole

Office of Commission Clerk

Clerk and Administrative Services

Florida Public Service Commission

2540 Shumard Oak Boulevard

Tallahassee, Florida 32399-0870

Re: Docket Nos. 070297, 070298, 070299, and 070301-EI; Embarq Florida, Inc.’s

Dear Ms. Cole:

Enclosed for filing on behalf of Embarq Florida, Inc. are Embarq’s Initial Responses to Staff’s Preliminary Draft Issues.

Copies are being served on the parties in this docket pursuant to the attached certificate of service.

If you have any questions regarding this electronic filing, please do not hesitate to call me at 850/599-1560.

Sincerely,

s/ Susan S. Masterton

Susan S. Masterton

Susan S. Masterton

SENIOR COUNSEL

LAW AND EXTERNAL AFFAIRS REGULATORY

Voice: (850) 599-1560

Fax: (850) 878-0777

Embarq Florida, Inc.’s Initial Responses to Staff’s Preliminary Draft Issues                                                                          Dockets 070297-EI – 070301-EI

1.	Does the Company's Plan meet the desired objectives of enhancing reliability and reducing restoration costs and outage times in a prudent, practical, and cost-effective manner to the affected parties? [Rule 25-6.0342(2)]

Embarq understands that Staff is removing this issue as redundant of issue number 14 below.

- Does the Company's Plan address the extent to which, at a minimum, the Plan complies with the National Electric Safety Code (ANSI C-2) [NESC] that is applicable pursuant to subsection 25-6.0345(2), F.A.C. [Rule 25-6.0342(3)(a)]

FPL:	 Embarq has no position at this time.

PEC:	Embarq has no position at this time.

TECO:	Embarq has no position at this time.

GULF:	Embarq has no position at this time.

- Does the Company's Plan address the extent to which the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC are adopted for new distribution facility construction? [Rule 25-6.0342(3)(b)l]

FPL:	 Embarq has no position at this time.

PEC:	Embarq has no position at this time.

TECO:	Embarq has no position at this time.

GULF:	Embarq has no position at this time.

- Does the Company's Plan address the extent to which the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC are adopted for major planned work on the distribution system, including expansion, rebuild, or relocation of existing facilities, assigned on or after the effective date of this rule distribution facility construction? [Rule 25-6.0342(3)(b)2]

FPL:	 Embarq has no position at this time.

PEC:	Embarq has no position at this time.

TECO:	Embarq has no position at this time.

GULF:	Embarq has no position at this time.

- Does the Company's Plan address the extent to which the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC are adopted for distribution facilities serving critical infrastructure facilities and along major thoroughfares taking into account political and geographical boundaries and other applicable operational considerations? [Rule 256.0342(3)(b)3]

FPL:	 Embarq has no position at this time.

PEC:	Embarq has no position at this time.

TECO:	Embarq has no position at this time.

GULF:	Embarq has no position at this time.

- Does the Company's Plan address the extent to which its distribution facilities are designed to mitigate damage to underground and supporting overhead transmission and distribution facilities due to flooding and storm surges? [Rule 25-6.0342(3)(c)]

FPL:	 Embarq has no position at this time.

PEC:	Embarq has no position at this time.

TECO:	Embarq has no position at this time.

GULF:	Embarq has no position at this time.

- Does the Company's Plan address the extent to which the placement of new and replacement distribution facilities facilitate safe and efficient access for installation and maintenance pursuant to Rule 25- 6.0341, F.A.C? [Rule 25-6.0342(3)(d)]

FPL:	 Embarq has no position at this time.

PEC:	Embarq has no position at this time.

TECO:	Embarq has no position at this time.

GULF:	Embarq has no position at this time.

- Does the Company's Plan provide a detailed description of its deployment strategy including a description of the facilities affected; including technical design specifications, construction standards, and construction methodologies employed? [Rule 25-6.0342(4)(a)]

FPL:	 Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its position.

PEC:	  Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its position.

TECO:	 Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process.  To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its position.

GULF:	  Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its position.

- Does the Company’s Plan provide a detailed description of the communities and areas within the utility's service area where the electric infrastructure improvements, including facilities identified by the utility as critical infrastructure and along major thoroughfares pursuant to subparagraph (3)(b)3. are to be made? [Rule 25-6.0342(4)(b)]

FPL:	 Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its position.

PEC:	  Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its position.

TECO:	 Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its position.

GULF:	  Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its position.

- Does the Company's Plan provide a detailed description of the extent to which the electric infrastructure improvements involve joint use facilities on which third-party attachments exist? [Rule 25-6.0342(4)(c)]

FPL:	 Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its position.

PEC:	  Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its position.

TECO:	 Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its position.

GULF:	  Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its position.

- Does the Company's Plan provide an estimate of the costs and benefits to the utility of making the electric infrastructure improvements, including the effect on reducing storm restoration costs and customer outages? [Rule 25-6.0342(4)(d)]

FPL:	 Embarq has no position at this time.

PEC:	Embarq has no position at this time.

TECO:	Embarq has no position at this time.

GULF:	Embarq has no position at this time.

- Does the Company's Plan provide an estimate of the costs and benefits, obtained pursuant to subsection (6) below, to third-party attachers affected by the electric infrastructure improvements, including the effect on reducing storm restoration costs and customer outages realized by the third-party attachers? [Rule 25-6.0342(4)(e)]

FPL:	 Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Embarq is currently reviewing the information provided and revising its costs based on the additional detail provided. Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its costs and position on this issue, based on these revisions.

PEC:	  Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Embarq is currently reviewing the information provided and revising its costs based on the additional detail provided. Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its costs and position on this issue, based on these revisions.

TECO:	 Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Based on the information provided, it appears TECO’s current plan will have no cost impact on Embarq. Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its costs and position on this issue, based on these revisions.

GULF:	  Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Embarq is currently reviewing the information provided and revising its costs based on the additional detail provided. Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its costs and position on this issue, based on these revisions.

13.	Does the Company's Plan include written Attachment Standards and Procedures addressing safety, reliability, pole loading capacity, and engineering standards and procedures for attachments by others to theutility's electric transmission and distribution poles that meet or exceed the edition of the National Electrical Safety Code (ANSI C-2) that is applicable pursuant to Rule 25-6.034, F.A.C.? [Rule 25-6.0342(5)]

FPL:	Embarq is in the process of reviewing the Company’s Attachment Standards and Procedures included with the plan and the affect of those standards and procedures on Embarq’s current operations, if any.

PEC:	Embarq is in the process of reviewing the Company’s Attachment Standards and Procedures included with the plan and the affect of those standards and procedures on Embarq’s current operations, if any.

TECO:	Embarq is in the process of reviewing the Company’s Attachment Standards and Procedures included with the plan and the affect of those standards and procedures on Embarq’s current operations, if any.

GULF:	Embarq is in the process of reviewing the Company’s Attachment Standards and Procedures included with the plan and the affect of those standards and procedures on Embarq’s current operations, if any.

- Based on the resolution of the preceding issues, should the Commission find that the Company's Plan meets the desired objectives of enhancing reliability and reducing restoration costs and outage times in a prudent, practical, and cost-effective manner to the affected parties.[ Ride 25-6.0342(1) and (2)].

FPL:	Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Embarq is currently reviewing the information provided and preparing revised estimates of its cost/benefit analysis based on the additional detail provided. Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its position.

PEG:	Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Embarq is currently reviewing the information provided and preparing revised estimates of its cost/benefit analysis based on the additional detail provided. Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its position.

TECO: Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007. Based on the information provided, it appears TECO’s current plan will have no cost impact on Embarq. Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its position.

GULF: Embarq has received information from the Company that appears to provide the necessary detail related to Embarq for the Company’s storm hardening plans for Calendar Year 2007.  Embarq is currently reviewing the information provided and preparing revised estimates of its cost/benefit analysis based on the additional detail provided. Embarq understands that it is currently contemplated that details for years 2008 and 2009 will be finalized through an ongoing process and review and that the parties are currently working to reach a stipulation on this process. To the extent that the Company’s plan is revised as a result of this proceeding, Embarq reserves the right to revise its position.

CERTIFICATE OF SERVICE

I HEREBY CERTIFY that a true and correct copy of the foregoing has been furnished by electronic and U.S. mail this 8th day of August, 2007, to the following:

Adam Teitzman

H. Mann

Keino Young

Lorena Holley

Florida Public Service Commission

Division of Legal Services

2540 Shumard Oak Boulevard

Tallahassee, Florida 32399

Paula K. Brown

Administrator, Regulatory Affairs

Tampa Electric Company

Post Office Box 111

Tampa, Florida 33601

Lee. L. Willis

James D. Beasley

Ausley & McMullen

Post Office Box 391

Tallahassee, FL 32302

John T. Burnett

Associate General Counsel

Post Office Box 14042

St. Petersburg, FL 33733-4042

David Christian

106 East College Ave.

Suite 710

Tallahassee, FL 32301

J. Meza/ Edenfield/.J. Kay /T. Hatch

c/o Ms. Nancy Sims

AT&T Florida

150 South Monroe Street, Suite 400

Tallahassee, FL 32301-1556

Robert Sheffell Wright

John T. LaVia

Young van Assenderp, P.A.

225 South Adams Street, Suite 200

Tallahassee, FL 32301

Howard E. Adams/ Peter M. Dunbar

c/o Pennington Law Firm

P.O. Box 10095

Tallahassee, FL 32302-2095

Verizon Florida LLC

Dulaney O’Roark III(*)

6 Course Parkway, Suite 800

Atlanta, GA 30328

Paul Lewis, Jr.

Progress Energy Florida, Inc.

Director, Regulatory Affairs

106 E. College Ave., Suite 800

Tallahassee, FL 32301

J. Stone

R. Badders

S. Griffin

Beggs & Lane Law Firm

P.O. Box 12950

Pensacola, Florida   32591

Susan D. Ritenour

Gulf Power Company

One Energy Place

Pensacola, Florida   32520-0780

Bill Walker

Florida Power & Light Company

215 South Monroe Street,Suite 810

Tallahassee, Florida   32301-1850

John T. Butler

Florida Power & Light Company

700 Universe Boulevard

Juno Beach, Florida  33408

City of Panama City Beach and PCB

Comm. Redevelop. Agency

110 South Arnold Road

Panama City Beach, FL 32513

Davis Law Firm

Maria T. Browne

1919 Pennsylvania Ave., NW

Suite 200

Washington, DC 20006

Florida Cable

Telecommunications

Association, Inc.

246 E. 6th Avenue, Suite 100

Tallahassee, FL 32303

H.M Rollins, P.E..

c/o H. M. Rollins Company, Inc

P.O. Box 3471

Gulf port, MS 39505

Town of Palm Beach, Florida

Thomas G. Bradford, Deputy Town

Mgr

360 South County Road

Palm Beach, FL 33480

North American Wood Pole

Council

Dennis Hayward

7017 NE Highway 99, Suite 108

Vancouver, WA 98665

Town of Jupiter Island

Mayor Charles Falcone

Donald R. Hubbs, Asst Town

Manager

Post Office Box 7

Hobe Sound, FL 33475

Akerman Law Firm

Beth Keating

106 East College Avenue, Suite 1200

Tallahassee, Florida 32301

Harrison Law Firm

Douglas J. Sale

Post Office Drawer 1579

Panama City, FL 32402-1579

s/Susan S. Masterton

Susan S. Masterton