1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 070052-EI

3   In the Matter of:

4   PETITION BY PROGRESS ENERGY FLORIDA,

INC. TO RECOVER COSTS OF CRYSTAL RIVER

5   UNIT 3 UPRATE THROUGH FUEL CLAUSE.

/

6

7

8

9

ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

10                 A CONVENIENCE COPY ONLY AND ARE NOT

THE OFFICIAL TRANSCRIPT OF THE HEARING,

11            THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

12                              VOLUME 1

13                         Pages 1 through 176

14   PROCEEDINGS:        HEARING

15   BEFORE:             CHAIRMAN LISA POLAK EDGAR

COMMISSIONER MATTHEW M. CARTER, II

16                       COMMISSIONER KATRINA J. McMURRIAN

COMMISSIONER NANCY ARGENZIANO

17                       COMMISSIONER NATHAN A. SKOP

18   DATE:               Tuesday, August 7, 2007

19   TIME:               Commenced at 9:40 a.m.

20   PLACE:              Betty Easley Conference Center

Room 148

21                       4075 Esplanade Way

Tallahassee, Florida

22

REPORTED BY:        LINDA BOLES, RPR, CRR

23                       Official FPSC Reporter

(850) 413-6734

24

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1   APPEARANCES:

2             J. MICHAEL WALLS, ESQUIRE, and DIANNE M. TRIPLETT,

3   ESQUIRE, Carlton Fields Law Firm, Post Office Box 3239, Tampa,

4   Florida 33601-3239, appearing on behalf of Progress Energy

5   Florida, Inc.

6             R. SCHEFFEL WRIGHT, ESQUIRE, JOHN T. LAVIA, III,

7   ESQUIRE, and TIMOTHY R. QUALLS, ESQUIRE, Young van Assenderp

8   Law Firm, 225 South Adams Street, Suite 200, Tallahassee,

9   Florida 32301, appearing on behalf of the Florida Retail

10   Federation.

11             JOSEPH A. McGLOTHLIN, ESQUIRE, and PATRICIA

12   CHRISTENSEN, ESQUIRE, Office of the Public Counsel, c/o The

13   Florida Legislature, 111 West Madison Street, Room 812,

14   Tallahassee, Florida 32399-1499, appearing on behalf of the

15   Citizens of the State of Florida.

16             MICHAEL B. TWOMEY, ESQUIRE, AARP, Post Office Box

17   5256, Tallahassee, Florida 32314-5256, appearing on behalf of

18   AARP.

19             JAMES W. BREW, ESQUIRE, c/o Brickfield Law Firm, 1025

20   Thomas Jefferson Street, NW, Eight Floor, West Tower,

21   Washington, DC 20007-5201, appearing on behalf of PCS

22   Phosphate - White Springs.

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1   APPEARANCES (Continued):

2             JOHN W. MCWHIRTER, JR., ESQUIRE, c/o McWhirter Law

3   Firm, 400 North Tampa Street, Suite 2450, Tampa, Florida 33602,

4   appearing on behalf of the Florida Industrial Power Users

5   Group.

6             LISA BENNETT, ESQUIRE, and KEINO YOUNG, ESQUIRE, FPSC

7   General Counsel's Office, 2540 Shumard Oak Boulevard,

8   Tallahassee, Florida 32399-0850, appearing on behalf of the

9   Florida Public Service Commission Staff.

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

4

1                              I N D E X

2                              WITNESSES

3

NAME:                                             PAGE NO.

4

5   DANIEL L. RODERICK

6        Direct Examination by Ms. Triplett               30

Prefiled Amended Direct Testimony Inserted       32

7        Prefiled Amended Rebuttal Testimony Inserted     52

Cross Examination by Ms. Christensen             65

8        Cross Examination by Mr. Wright                  76

Cross Examination by Mr. McWhirter               79

9        Cross Examination by Mr. Brew                    94

Cross Examination by Mr. Twomey                 103

10        Redirect Examination by Ms. Triplett            121

11   SAMUEL S. WATERS

12        Direct Examination by Ms. Triplett              127

Prefiled Amended Direct Testimony Inserted      129

13        Cross Examination by Mr. McGlothlin             144

Cross Examination by Mr. McWhirter              151

14

15

16

17

18   CERTIFICATE OF REPORTER                              176

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

5

1                              EXHIBITS

2   NUMBER:                                        ID.    ADMTD.

3   1    Comprehensive Exhibit List                  8      8

4   2    DLR-1                                     122    122

5   3    DLR-2                                     122    122

6   4    DLR-3                                     122    122

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

6

1                         P R O C E E D I N G S

2             CHAIRMAN EDGAR:  Good morning.  Call this hearing to

3   order.  And we'll begin by asking our staff to read the notice.

4             MS. BENNETT:  By notice duly given, this time and

5   place has been set for the Commission to hear testimony in

6   Docket Number 070052, petition by Progress Energy Florida to

7   recover costs of Crystal River Unit 3 uprate through the fuel

8   clause.

9             CHAIRMAN EDGAR:  Thank you.

10             Okay.  We'll take appearances.  And you've thrown me.

11   We're in a different order today.  Okay.  We'll start to my

12   right.

13             MR. WALLS:  Good morning, Commissioners.  My name is

14   Mike Walls, and with me is Dianne Triplett of the law firm of

15   Carlton Fields representing Progress Energy Florida.

16             CHAIRMAN EDGAR:  Okay.  And I am having a little

17   difficulty hearing.  Can you maybe up the mikes for me?  Thank

18   you.  Okay.

19             MR. WRIGHT:  Robert Scheffel Wright, Law Firm of

20   Young van Assenderp, representing the Florida Retail

21   Federation.  I'd also like to enter appearances as shown in the

22   prehearing order for John T. Lavia, III, and Timothy R. Qualls.

23   Thank you, Madam Chairman.

24             CHAIRMAN EDGAR:  Thank you.

25             MR. McGLOTHLIN:  Joe McGlothlin and Patty Christensen

FLORIDA PUBLIC SERVICE COMMISSION

7

1   of the Office of Public Counsel.

2             MR. TWOMEY:  I'm Mike Twomey appearing on behalf of

3   AARP and their 2.8 million Florida members.

4             CHAIRMAN EDGAR:  Thank you.

5             MR. BREW:  I'm James Brew from the law firm of

6   Brickfield, Burchette, Ritts & Stone for PCS White Springs.

7             CHAIRMAN EDGAR:  Thank you.

8             MR. McWHIRTER:  John McWhirter for the Florida

9   Industrial Power Users Group.

10             CHAIRMAN EDGAR:  Thank you.  And staff.

11             MS. BENNETT:  Lisa Bennett and Keino Young for Public

12   Service Commission staff.

13             CHAIRMAN EDGAR:  Thank you.

14             Okay.  Let's take up preliminary matters.

15             MS. BENNETT:  Madam Chair, I'd like to refer

16   everyone's attention to the comprehensive exhibit list.  I've

17   passed copies out to the Commission, and there's those

18   available for the parties on the dais over here.

19             The comprehensive exhibit list itself is identified

20   as Exhibit 1.  Staff notes that Exhibits 20 through 25 on the

21   list will be used for cross-examination purposes.  Items 20 and

22   21, FIPUG's cross-examination documents, are stipulated as to

23   authenticity but are still subject to objections of relevancy.

24   Items 20 through 25 will need to be admitted into the record at

25   the times they are introduced.

FLORIDA PUBLIC SERVICE COMMISSION

8

1             There are no objections to the entry of the

2   comprehensive exhibit list to my knowledge, and I ask that

3   Exhibit 1 be moved into the record at this time.

4             CHAIRMAN EDGAR:  Okay.  Any comments, concerns,

5   additions for the comprehensive exhibit list marked as

6   Exhibit 1?

7             MR. McWHIRTER:  No objections.

8             CHAIRMAN EDGAR:  Okay.  Seeing none, the

9   comprehensive exhibit list will be marked as Exhibit 1 and

10   entered into the record.

11             (Exhibit 1 marked for identification and admitted

12   into the record.)

13             Ms. Bennett, any other preliminary matters?

14             MS. BENNETT:  Yes, Madam Chair.  The prefiled

15   testimony and exhibits, we recommend that each attorney will

16   request that the witness's testimony and exhibits be moved into

17   the record at the time that the witness comes forward to

18   present their summary.

19             CHAIRMAN EDGAR:  Okay.  And as I generally do, the

20   form that I'd like to use is that when the witnesses come up

21   and you go through your introductory questions, then we can

22   enter the prefiled testimony into the record and then take up

23   the exhibits after their testimony.

24             Any other matters?

25             MS. BENNETT:  I have no other matters.

FLORIDA PUBLIC SERVICE COMMISSION

9

1             CHAIRMAN EDGAR:  Okay.  Any other matters from any of

2   the parties before we move to opening statements?  Seeing none,

3   okay.  Then as per the prehearing order, we will allow 15

4   minutes opening statements per side.  We will begin with

5   Progress and then we move -- when we move to the other parties,

6   I will ask you to give me an approximation of how you intend to

7   apportion that time.  And I will keep track of the time and we

8   will try to stick to the time limits.

9             Okay.  I think we're ready.  You are recognized for

10   opening statement, 15 minutes.

11             MR. WALLS:  Thank you, Commissioner.

12             Good morning, Commissioners.  Let's start with two

13   things that I think all the parties can agree on.  First,

14   there's no dispute that this project involves work in three

15   phases at PEF's nuclear facility Crystal River Unit 3 or

16   CR3 that will increase electrical power output.  PEF's

17   testimony is that this increase will be at least 180 megawatts.

18             Second, there's no dispute that the increase in

19   electrical power output through increased nuclear generation

20   benefits customers.  Nuclear generation uses the lowest cost

21   fuel source available to the company.  Increased nuclear

22   generation means higher cost fossil fuel generation will be

23   displaced.  This means there will be fuel savings.  The very

24   reason for this project is to reduce total fuel costs to

25   customers.  Because customer bills will be lower or the same

FLORIDA PUBLIC SERVICE COMMISSION

10

1   with the increased nuclear production than they would be

2   without it, fuel savings will pay for the project.  In other

3   words, the project pays for itself.  The expected fuel savings

4   far outweigh the costs in the fuel savings that will pay for

5   this project, and there's no real dispute about that.

6             Now Progress Energy Florida is before this Commission

7   today requesting the power uprate costs for its nuclear

8   generation unit through the fuel clause under Commission

9   Order 14546.  That order sets forth the charges properly

10   considered in developing the fuel expense in the utility's fuel

11   cost recovery clause in a list of ten items.

12             Item 10 in that list provides, and I'll quote,

13   charges for fossil fuel-related costs normally recovered

14   through base rates but which were not recognized or anticipated

15   in the cost levels used to determine current base rates and

16   which, if expended, will result in fuel savings to customers.

17   There's no dispute that Item 10 of the order says that.

18             And this is not the first nuclear uprate project for

19   which cost recovery has been sought and approved under Item 10

20   of Order 14546.  In 1996, in Order Number PSC-96-1172, the

21   Commission approved FPL's request for cost recovery of its

22   Turkey Point Nuclear Power Plant uprate project costs through

23   the fuel clause.  The Commission determined that FPL's uprate

24   met this test under Item 10 of Order 14546.  The CR3 power

25   uprate benefits customers like the Turkey Point power uprate by

FLORIDA PUBLIC SERVICE COMMISSION

11

1   displacing higher cost fossil fuel generation.

2             There's no real dispute that fuel savings will be

3   generated.  There's also no real dispute that fuel savings

4   exceed the present costs at net present value.  After all the

5   project costs are paid, there will be $320 million in fuel

6   saving benefits to customers on a net present value basis.

7             The Intervenors have not challenged the

8   reasonableness of Progress Energy Florida's costs or fuel

9   savings.  They have done no analysis of their own.  What they

10   say is that costs may go up or fuel savings may go down.  But

11   they must admit that the opposite is true too; costs may go

12   down and fuel savings may go up.  And there's nothing to

13   suggest that Progress Energy's estimates are not reasonable and

14   consistent with accepted utility engineering practices.  That's

15   the second part of the test under Item 10 of Order 14546.

16             There's also no dispute that nuclear uprate costs

17   were not recognized or anticipated in the cost levels used to

18   determine the company's current base rates.  It is undisputed

19   that the MFRs for Progress Energy's last base rate case used to

20   determine the cost levels for current base rates did not

21   include the uprate project.  That's the first part of the test

22   under Item 10 of Order 14546.

23             So the nuclear power uprate meets this test for

24   charges that can be included in the fuel clause and PEF's

25   petition should therefore be granted.

FLORIDA PUBLIC SERVICE COMMISSION

12

1             Now if all this is true, and it is, what did the

2   Intervenors say?  Well, they say the policy allowing these

3   charges under Item 10 of Order 14546 doesn't mean what it says

4   and doesn't mean what the Commission has said it meant for the

5   last 20 years.  In effect, they want to change the policy, not

6   apply it here.  But if they want to do that, we believe that

7   should be done in another docket where all utilities and

8   interested parties can participate and have a say just like

9   they did when the policy was developed.

10             Now the Intervenors point to the second sentence of

11   Item 10 that says recovery of the costs that meet this two-part

12   test under Order 14546 should be made, quote, on a case-by-case

13   basis after Commission approval, end quote.  They claim this

14   means the Commission can consider whatever it wants, even if

15   it's not stated in the order.  Well, that's not what it says

16   and the Commission has not read it that way.

17             The Commission meant the utility must petition the

18   Commission case by case and include charges in the fuel clause

19   under Item 10 only after consideration of the two factors

20   expressly stated there.  This is unlike every other charge in

21   Order 14546.  The other charges in Items 1 through 9 can be

22   automatically added to the fuel charges under that order.

23   That's what case by case means.

24             If it meant what the Intervenors say, it means

25   there's no policy to guide utilities at all.  The utilities

FLORIDA PUBLIC SERVICE COMMISSION

13

1   would never know in advance what was necessary to demonstrate

2   that a project complied with the policy in Item 10 of Order

3   14546.

4             OPC's witness Mr. Lawton agrees that Item 10 is a

5   statement of Commission policy and that the policy must be

6   consistently applied.  Yet none of the things the Intervenors

7   want the Commission to consider today, new definitions,

8   determining whether it's volatile or not, earnings tests, cost

9   size tests and potential future base rate recovery can be found

10   anywhere in Item 10 of Order 14546 or in any order applying the

11   policy over the last 20 years.

12             Ms. Merchant has testified that the Commission policy

13   in Item 10 means, quote, was meant to encourage utilities to

14   spend money that they might not otherwise choose to spend to

15   save fuel costs, end quote.  That's right.  And every new test

16   or limitation or definition that Intervenors want to add to

17   this two-part test in Order 14546 that is not found there

18   undermines that policy.  If you limit the fossil fuel-related

19   costs to exclude capital costs like the uprate costs that

20   reduce fossil fuel costs, then you eliminate consideration of

21   this uprate and the Turkey Point uprate which was previously

22   approved by the Commission.  If you add an earnings test, you

23   convert the straightforward two-part test into a complex base

24   rate inquiry and undermine the policy.  If you add a volatility

25   requirement for the charges, you eliminate all capital base

FLORIDA PUBLIC SERVICE COMMISSION

14

1   rate charges contemplated under the very first part of the test

2   and you undermine the policy.  If you simply select some

3   arbitrary project cost size, you undermine the policy.

4             Indeed, while the CR3 uprate costs are larger than

5   the costs of any project previously approved under the order,

6   so are the fuel savings.  They're estimated at $2.6 billion

7   over the life of CR3.  If you add a requirement that says no

8   recovery if the costs can be recovered in future base rates,

9   you contradict the first part of the test which says that you

10   only have to show that they're not included in current base

11   rates and you undermine the policy.

12             The Commission understood all this, of course, when

13   it adopted the policy in Item 10.  That's why it's a simple,

14   straightforward two-part test.  First, are the costs

15   anticipated or recognized in current base rates?  If not,

16   there's no risk of double recovery.  Second, will the costs, if

17   incurred, generate fuel savings?  If so, customers will benefit

18   from those fuels savings and the fuel savings will pay for the

19   project.  That's exactly the way the Commission has applied the

20   policy for 20 years and the way it should be applied here.

21             Finally, the Intervenors take issue with the manner

22   in which PEF seeks recovery of the uprate costs under the fuel

23   clause.  However, PEF only asks to be treated the same way the

24   Commission has treated every other utility with a project

25   approved over the past 20 years.  PEF seeks to recover its

FLORIDA PUBLIC SERVICE COMMISSION

15

1   current weighted average cost of capital on its investment in

2   the uprate, but Intervenors want to limit them to a debt rate.

3   Well, a debt rate is no return at all.  It's simply recovery of

4   costs.  For if all you say you can get out of it is debt, then

5   that's all that's going to be put in, and that undermines the

6   policy.

7             In fact, in 2001 the parties, including OPC and

8   FIPUG, stipulated that the appropriate rate of return for

9   capital projects after 2002 that were expected to reduce

10   long-term fuel costs under Order 14546 was the utility's cost

11   of capital based on the midpoint of its authorized return on

12   equity.  This stipulation was approved as reasonable by the

13   Commission in Order PSC-01-2516.

14             PEF also seeks to recover it costs to the extent

15   there are fuel savings, whatever that period may be.  PEF has

16   estimated it now at ten years, but it may be shorter or

17   somewhat longer.  PEF will use the fuel savings to pay for the

18   cost.  Customer bills will remain the same or go down, all else

19   being equal, until the project costs are paid.

20             This recovery period linked to the time it takes fuel

21   savings to pay for the costs is something the Commission has

22   recognized in every prior utility request under this order.

23   Again, PEF is only asking that the policy be consistently

24   applied and it receive the same treatment as other utilities.

25             Some Intervenors have also suggested that PEF's

FLORIDA PUBLIC SERVICE COMMISSION

16

1   request violates the terms of its rate case settlement

2   agreement.  That's simply wrong.  Nothing in the settlement

3   prevents this request or recovery.  The nuclear uprate costs

4   are not a new surcharge which is prohibited, but a request

5   under an existing cost recovery clause under established

6   Commission policy at the time of the settlement.

7             In fact, if you look at the fuel savings from the

8   uprate project which will keep customer bills the same or lower

9   than they otherwise would be, there's really no surcharge at

10   all.

11             Some Intervenors claim also that the nuclear uprate

12   project meets a need for customer growth or increased energy

13   usage.  The nuclear uprate project was developed, however, to

14   meet an economic need, fuel savings, not a reliability need,

15   and that's what this Commission determined in the need

16   proceeding order.

17             In sum, the purpose of the project is clear:  It will

18   provide needed additional nuclear generation that will displace

19   or reduce higher cost fossil fuel generation.  This means fuel

20   savings for customers.  And because of these fuel savings and

21   because the uprate costs are not in current base rates, PEF's

22   request for cost recovery through the fuel clause should be

23   granted, and we ask the Commission to do so under its

24   consistent application of its policy in Item 10 of Order 14546.

25   Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

17

1             CHAIRMAN EDGAR:  Thank you, Mr. Walls.

2             And to the other parties, how would you like to

3   apportion your 15 minutes?

4             MR. McGLOTHLIN:  We have consulted among ourselves,

5   and the other counsel have agreed that if I will take seven and

6   a half or eight minutes, they will confine their time

7   requirements accordingly.  And I will ask if, if it looks like

8   I'm going beyond the eight minutes, I hope somebody will tackle

9   me because I don't want to impinge on their requirements.

10             CHAIRMAN EDGAR:  Okay.  We'll work together to make

11   sure that we stay in the time allotted.

12             Mr. McGlothlin, you're recognized.

13             MR. McGLOTHLIN:  The Office of Public Counsel

14   strenuously opposes Progress Energy's proposal to pass some

15   $400 million of capital investment in generating plant through

16   the fuel cost recovery clause.  As a public utility to which

17   has been granted the extreme advantage of the right to serve

18   100 percent of the retail customers in its service area,

19   Progress Energy Florida has an obligation to undertake those

20   measures that are prudent and cost-effective and have the

21   effect of improving service to its customers.  Progress Energy

22   also has the right to recover its cost of service and an

23   opportunity to earn a fair rate of return, but it does not have

24   the right to more than that.  In our view, it would be

25   difficult to devise a ratemaking package that so severely

FLORIDA PUBLIC SERVICE COMMISSION

18

1   subordinates customers' interests to the company's desires as

2   this one does.

3             Our witnesses, Patricia Merchant and Dan Lawton, will

4   demonstrate this is true whether one views the proposal from

5   the standpoint of basic general ratemaking principles or from

6   the standpoint of the fairness or lack of fairness of the

7   individual elements and components of the details in the

8   proposal.

9             With respect to general ratemaking principles, we see

10   this proposal as an effort to avoid a consideration of the

11   extent to which revenue growth between now and the

12   2009/2011 time frame could result in the ability to absorb some

13   or all of the costs of the project within base rates and

14   mitigate the need for customer bills to increase to pay for the

15   cost of the project.

16             Our witness Dan Lawton boils down that aspect of the

17   situation at Page 21 of his prefiled testimony where he is

18   asked, "In your opinion, what is the danger of allowing PEF to

19   pass base rate-related costs through the fuel cost recovery

20   clause?"  He will state, "If PEF passes the entire project

21   costs through the fuel clause when base rate revenues are

22   adequate to cover some or all of the costs and provide a fair

23   return, then customers' total bills will be too high.  PEF will

24   have circumvented the primary means of ensuring its rates are

25   fair and reasonable, and will have realized a windfall."

FLORIDA PUBLIC SERVICE COMMISSION

19

1             Ms. Merchant provides some illustrations that

2   demonstrate how this can happen, and it involves the

3   relationship, the proper relationship between those costs which

4   are related to base rates and those costs which are an

5   exception to the base rate process and instead pass through

6   special cost recovery clauses.

7             If the utility incurs a new cost that is related to

8   base rates and is ordinarily collected through base rates and

9   those base rates are not changed, then earnings go down.  If

10   instead the company passes a base rate-related cost through the

11   cost recovery clause, then its earnings are protected and

12   customers' bills go up.  And that is why it is, it is crucially

13   important for the Commission to stand guard over requests to

14   depart from the base rate process and allow the utility to pass

15   base rate-related costs through the cost recovery clause only

16   when overriding clause considerations justify that departure.

17   That is not the case here.

18             As we mentioned earlier, the, the costs that, that we

19   are talking about will not be incurred until the 2009/2011 time

20   frame.  And for that reason, there is ample opportunity for the

21   company to file prior to that time a base rate proceeding and

22   for the Commission to devise rates that will, that will

23   encompass the cost of the project and have those rates go into

24   effect at the same time those costs were incurred.

25             This fundamentally distinguishes this case from the

FLORIDA PUBLIC SERVICE COMMISSION

20

1   situation that was envisioned in the order that Progress Energy

2   relies on so many times, Order 14546.  It is implicit in the

3   order that the Commission was concerned about the possibility

4   that the utility would have the opportunity to undertake a

5   measure that would benefit customers but would not have the

6   opportunity to recover those costs in a timely fashion.  This

7   is fundamentally different in this case.

8             With respect to the details of the proposal, Progress

9   Energy Florida proposes to have ratepayers forego any fuel

10   savings that would lower their bills until, by its own

11   estimates, the Year 2016, during which time any fuel savings

12   would pay for the project.  This would create severe

13   intergenerational inequities of the type that was never

14   envisioned by the Commission when it, when it formulated policy

15   in Order 14546.

16             Now Progress Energy claims that the approval of its

17   proposal in this case was more or less preordained in Order

18   14546.  It claims that the Public Counsel and other Intervenors

19   are trying to change that policy.  That isn't the case.

20             Again, the basis for 14546 was the absence of an

21   opportunity for timely recovery, which is not present here.

22   Also, in the order the Commission was careful to say that it

23   would consider requests on a case-by-case basis.  Progress

24   Energy Florida wants to read that language out of the order.

25   But it was clearly, it's clearly -- clearly it was wise for the

FLORIDA PUBLIC SERVICE COMMISSION

21

1   Commission to require that approach.  Instead of an

2   anticipatory carte blanche, which is the company's proposal, it

3   reserved to itself the ability to review and scrutinize the

4   particulars of a given case.  And here it is appropriate for

5   the Commission to consider, among other things, the materiality

6   of the proposal.  This is the first instance you have, that the

7   Commission has seen where a utility proposes to pour

8   $400 million of capital costs through a cost recovery clause.

9   The nature of the costs, the nature of the costs are a capital

10   investment in generating plant.  If this is allowed, what's

11   next?  New power plants, do they go through the clause if fuel

12   savings are shown?  One has to draw the line somewhere.

13             The existence of a potential windfall by the

14   avoidance of a base rate case during which revenue growth can

15   be considered, the creation of severe intergenerational

16   inequities of the nature, of the type and nature which should

17   condemn this particular proposal, and the, and the attempt to

18   overstate capital costs, all of which lead us to urge the

19   Commission to, to deny this proposal.

20             During a recent workshop on renewable energy, I heard

21   an officer of Progress Energy Florida say it was concerned

22   about the impact of activities in that area on the customers'

23   bills and it was sensitive to the need to be appreciative of

24   the impact on customers' bills.  Unfortunately, the company has

25   taken a completely different tack in this proposal, and we call

FLORIDA PUBLIC SERVICE COMMISSION

22

1   on the Commission to, to scrutinize the proposal from the

2   standpoint of the impact on customers.  Thank you.

3             CHAIRMAN EDGAR:  And I was just about to say I have

4   you at just eight minutes.  So thank you, Mr. McGlothlin.

5             Mr. McWhirter and then are there others?  Mr. Twomey?

6   Just, I'd just like to keep track so we can follow our time.

7             MR. WRIGHT:  I have fewer than 30 seconds of

8   comments.

9             CHAIRMAN EDGAR:  Okay.

10             MR. WRIGHT:  And if they use it up, it's okay with

11   me, Madam Chair.

12             CHAIRMAN EDGAR:  Okay.  All right.  Thank you.

13             Mr. McWhirter.

14             MR. McWHIRTER:  Like the evening news, I'm going to

15   try to squeeze 12 thoughts into two minutes.

16             The first thing that came to mind when I began to

17   evaluate this case and look at the witnesses was a quote from

18   the Sermon on the Mount contained in the three synoptic

19   gospels:  Matthew, Mark and Luke.  The quote is, "No man can

20   serve two masters."  And when you apply that to the

21   circumstances of this case, you find that people like the

22   company I represent, they serve their company by increasing

23   profitability.  But to increase profitability, they must do it

24   by reducing their prices and by becoming more efficient, and

25   that way they are able to capture customers.  However, in the

FLORIDA PUBLIC SERVICE COMMISSION

23

1   case of Progress Energy just the opposite is true.  The

2   customers are already captured.  So when they come in this case

3   today, their proposition must be that they're serving the other

4   master; they're doing it for the benefit of the customers and

5   forget about the profitability to the company.

6             Well, when you evaluate the direct testimony, the

7   exhibits, the cross-examination, you're going to find several

8   very interesting things.  The 2006 surveillance report, which

9   is Exhibit 16, shows that in the calendar year just ended they

10   collected $1.7 billion through base rates and an additional

11   $2.7 billion in cost recovery.  Cost recovery was essentially

12   nonexistent about 15 years ago.  Mr. Waters' testimony says

13   that $2.7 billion is going to rise to $3.1 billion next year

14   based on his schedule.

15             You will hear also that one of our complaints is that

16   base rates are frozen.  But, in fact, the deal we made back in

17   2002 was that if they would bring in Hines 3 at no cost to the

18   customers, we would allow Hines 2 and 4 to come into base rates

19   in 2008.  So beginning next year the rates, the base rates on

20   top of the $1.7 billion are going to go up about another $100

21   million.  So customers are looking at a $600 million increase

22   in fuel costs, plus a $90 million to $100 million increase in

23   base rates beginning next year, and onto that they want to add

24   the cost of the nuclear uprate.

25             The problem is that base rates already bring in

FLORIDA PUBLIC SERVICE COMMISSION

24

1   $41.87 for every thousand kilowatt hours sold.  And if you look

2   at the projections in this case, the base rates, the sales by

3   this company between now and 2011 when the CR3 uprate comes

4   online will increase something like 5 million gigawatt hours.

5   In other words, base rates just by the growth in the sales over

6   time are going to raise an additional $249 million a year,

7   which we think should probably be satisfactory to cover the

8   cost of the uprate without the necessity of adding on another

9   $100 million beginning in 2011 under the proposal in this case.

10             If you once again look at the 2006 surveillance

11   report, you'll find that after paying a full dividend to its

12   parent corporation, Progress Energy had enough money in the

13   bank to cover all of its construction costs by 116 percent.

14   And that's going to improve because they've cancelled the

15   proposed construction of Hines 5 and 6.  Instead, they are

16   going to buy or they contracted to buy 500 megawatts from, off

17   system from Georgia and from other places in the state.  So

18   they've dropped what they were going to build in base rates and

19   they've increased what they're going to buy.  And you know what

20   happens when you buy it?  It comes through the fuel clause or

21   the cost recovery clause and so that is added to the customers'

22   bills.

23             In addition to the increased cash flow you're going

24   to see from the money that's coming in at base rates and

25   increased fuel costs, you're going to find that right now the

FLORIDA PUBLIC SERVICE COMMISSION

25

1   depreciation on the assets that are in the rate base is going

2   along at around, over $400 million a year.  The company is

3   recovering its investment in its facilities by $400 million a

4   year.  If you don't have a base rate case, you never look at

5   that.  They just keep collecting it.

6             CR3, the Crystal River plant, has been fully

7   depreciated, their investment has fully been returned so far.

8   And one of the things they want to do is uprate the worn out

9   meters and things.

10             And time is going up, so I'll cut out my last 14

11   points and just mention the fact that $83 million of this case

12   is dealing with a transmission line that's 100 miles away from

13   the Crystal River plant.  Now what is that all about?

14             I yield the chair to you, Mr. Twomey, or to Mr. Brew.

15             CHAIRMAN EDGAR:  Mr. Brew.

16             MR. BREW:  Thank you.  Good morning.  It's apparent

17   that the proposed fuel cost recovery is trying to push a very

18   big square peg into a small round hole, and I would strongly

19   encourage you to look at the full text of the Order 14546 and

20   not just the ordering clause.  That order intended to fill a

21   potential gap in order to encourage the utilities to take

22   advantage of short-term opportunities that would arise.

23             Here we're talking about something that's entirely

24   different.  This is a planned in advance, substantially long

25   lead time capacity addition.  I mean, it walks like capacity,

FLORIDA PUBLIC SERVICE COMMISSION

26

1   it talks like capacity, it's, you know, it's capacity.  It's

2   included in the Ten-Year Site Plan as capacity.  It's going to

3   displace purchases for capacity.  The transmission line that

4   Mr. McWhirter just referred to is required because of the

5   capacity size that will result from the addition for

6   reliability reasons.  You need to look at the entire impact of

7   the project in terms of how we look at the cost recovery.

8             Now much of what this Commission does on the electric

9   side is to smooth out the lumpy effects of generation capacity

10   additions.  When you add such an addition, the utility will

11   take accelerated depreciation early and the Commission will

12   normalize that to smooth that out over time.  Why?  Because you

13   want to match the cost recovery and the benefits of that asset

14   with the customers that will use it over time.  Here we've got

15   a proposal that stands that basic ratemaking right on its head.

16   What the company is proposing is to front-load the cost

17   recovery by absorbing all the fuel savings over the first ten

18   years or so, and the customer is only seeing a benefit down the

19   line if what they estimate in the fuel, in the fuel savings

20   actually materializes.  So it's taking your basic ratemaking

21   for capacity additions and turning it on its head.

22             One of the second basic things that I want to mention

23   was the company had said there wasn't really any challenge to

24   their estimates, which can hardly be the case.  For

25   transmission, the company has a back-of-the-envelope estimate

FLORIDA PUBLIC SERVICE COMMISSION

27

1   of transmission investments generally.  They don't have a plan,

2   they don't have a budget, they don't even actually have a

3   proposal.  If they were to bring their estimate for that

4   $89 million transmission investment into a base rate case, it

5   would have been rejected out of hand for lack of foundation,

6   yet we're expected to pay for it up front in fuel.  The same

7   goes for the point of discharge elimination.  The company

8   studies are yet to be done.  You know, one of the basic

9   problems you have here is that, is that the numbers that you

10   have aren't good numbers, they're just numbers that the company

11   has come up with to fill in the blanks.  In order to approve

12   this on any basis, you would need the analysis that the

13   company's testimony only says they're going to do.  Thank you.

14             CHAIRMAN EDGAR:  Thank you.

15             Mr. Twomey, your time is limited, but you are

16   recognized.

17             MR. TWOMEY:  Thank you.

18             Commissioners, a billionaire interviews an

19   accountant, an engineer and a lawyer to succeed him as CEO of

20   his large business.  The final question for each is, "What is

21   two plus two?"  Somewhat perplexed, the accountant and engineer

22   go through different theories and so forth.  In the end they

23   say, each of them says successfully, "We have to confess the

24   answer is 2 plus 2 is four."  The lawyer comes in last, he's

25   given the same question.  The lawyer looks at the CEO and says,

FLORIDA PUBLIC SERVICE COMMISSION

28

1   "What do you want it to be?"  He gets the job.

2             There's no incorrect answer, I think, in this case.

3   If it's taken, your decision is taken to the Florida Supreme

4   Court, they'll approve whatever you do, in my view, up or down.

5   It doesn't mean there's not a correct decision.  And the

6   correct decision, I'd submit to you, is what the customer

7   parties are suggesting; that is, denial of this.

8             This is a base rate decision pure and simple.  It is

9   a large expensive plant that will be recovered through base

10   rates, it's a capital project, the company's next rate case,

11   2009 or whenever it is.  I gave you the article I handed out

12   showing that $1.4 million of expenses aren't going to be flowed

13   through, even though customers are still paying those property

14   taxes in base rates.  That's part of the deal.  If the company

15   has a case in 2009, they'll want a new look at their taxes.

16             So the fuel clause was meant to handle volatile

17   changes in fuel.  It wasn't meant to handle huge projects like

18   this.  You ought to bring the fuel clause back to what it was

19   always intended to be and not bastardize it by this extreme

20   addition of a plant that's not going to be built, as Mr.

21   McGlothlin said, for a number of years yet.  We would urge you

22   to deny the petition.  Thank you.

23             CHAIRMAN EDGAR:  Thank you.

24             Mr. Wright, briefly.

25             MR. WRIGHT:  Yes, Madam Chairman.  Thank you very

FLORIDA PUBLIC SERVICE COMMISSION

29

1   much.  I agree with everything said by my consumer colleagues.

2   And following Mr. Walls' structure, I would assert to you that

3   it is undisputed that these are capital costs of a base rate

4   nature.  The rest of CR3 is recovered through base rates.  It

5   is undisputed that the vast majority of the expenditures will

6   not be in service until at or after the time that the

7   stipulation and settlement from the 2005 rate case expires, and

8   I argue we should not even be here.  This is contrary to the

9   stipulation and we think you should reject it.  Thank you.

10             CHAIRMAN EDGAR:  Thank you.

11             That concludes our opening statements and I think all

12   preliminary matters until we move to witnesses.  Ms. Bennett,

13   anything else before we call the first witness other than

14   swearing them in?

15             MS. BENNETT:  Nothing else.

16             CHAIRMAN EDGAR:  Okay.  Let's go ahead and swear in

17   the witnesses as a group.  If they are all here, that would be

18   six.  One, two, three, four, five, six.  Okay.  If you'll stand

19   with me and raise your right hand.

20             (Witnesses collectively sworn.)

21             Thank you.

22             Ms. Triplett, your witness.

23             MS. TRIPLETT:  Thank you, Madam Chair.

24             Progress Energy Florida calls Daniel Roderick.

25                         DANIEL L. RODERICK

FLORIDA PUBLIC SERVICE COMMISSION

30

1   was called as a witness on behalf of Progress Energy Florida

2   and, having been duly sworn, testified as follows:

3                         DIRECT EXAMINATION

4   BY MS. TRIPLETT:

5        Q    Will you please introduce yourself to the Commission

6   and provide your address?

7        A    My name is Daniel Roderick.  My business address is

8   15760 West Power Line Road, Crystal River, Florida.

9        Q    Who do you work for and what is your position?

10        A    I work for Progress Energy Florida.  I'm the Vice

11   President of Nuclear Projects and Construction.

12        Q    Have you filed prefiled amended direct and rebuttal

13   testimony and exhibits in this proceeding?

14        A    Yes, I have.

15        Q    And do you have those testimonies with you?

16        A    Yes, I do.

17        Q    Do you have any changes to make to your amended

18   direct or rebuttal testimony?

19        A    No, I do not.

20        Q    If I asked you the same questions in your amended

21   prefiled direct and rebuttal testimony, would you give the same

22   answers that are in your prefiled testimony?

23        A    I would.

24             MS. TRIPLETT:  We request that the prefiled amended

25   direct and rebuttal testimony be moved into evidence as if it

FLORIDA PUBLIC SERVICE COMMISSION

31

1   was read in the record today.

2             CHAIRMAN EDGAR:  The prefiled direct and rebuttal

3   testimony will be entered into the record as though read.

4             MS. TRIPLETT:  Thank you.

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

60

1   BY MS. TRIPLETT:

2        Q    Do you have a summary of your amended prefiled

3   testimony?

4        A    I do.

5        Q    Will you please summarize your testimony for the

6   Commission?

7        A    Thank you.  Many of you, I know, have been to Crystal

8   River.  I've seen some of you there on tours, and so I'm

9   stepping into your world now.  So I appreciate the time to talk

10   to you about this project a little bit.

11             Our Crystal River 3 Unit is a pressurized water

12   reactor of Babcock & Wilcox design.  It is one of only five

13   sites in the United States that has that technology that it

14   uses.  It's a, it's a unique design.  It is something that is a

15   smaller fleet of the 103 nuclear reactors in the United States.

16             The output that we're talking about here is to

17   increase our power uprate from 900 gross megawatts to

18   approximately 1,080 megawatts.  The total cost of our project,

19   as it has been from my initial testimony, is 381.18, excuse me,

20   $381.8 million before allowance for funds used during

21   construction.

22             The Crystal River 3 power uprate project is a very

23   innovative application of several technological advancements

24   and thermal efficiencies within the existing planned outages

25   that are already scheduled at the Crystal River 3 plant to

FLORIDA PUBLIC SERVICE COMMISSION

61

1   obtain increased nuclear fuel generated capacity.  The primary

2   reason for considering this project is to lower total fuel

3   costs to our customers over the extended life of

4   Crystal River 3.  This is accomplished by increasing the

5   generation from nuclear fuel and reducing or replacing the

6   generation of higher cost fuel from other generating sources.

7             The Crystal River 3 uprate will also provide for a

8   greater fuel diversity by increasing safe nuclear generation on

9   Progress Energy Florida's system without greenhouse gases.

10             This project will be implemented in three phases.

11   The first phase of the project is what we call our measurement

12   uncertainty recapture or the MUR project which we are

13   installing currently this fall at Crystal River 3.  Those

14   expenditures -- based on our anticipation of the outcome of

15   this, we already went ahead to try to capitalize on those

16   outages that we have planned.  That will bring additional

17   megawatts into the, into the system earlier, about

18   12 megawatts.

19             The second phase of our, of our uprate that involves

20   innovation is to really try to ensure the most modern

21   technology advances that we can put into the plant in the 2009

22   outage, and we'll generate an additional 28 megawatts in that

23   uprate.

24             The third phase, which will complete the full power

25   uprate, is scheduled to be completed in 2011.  Many of the

FLORIDA PUBLIC SERVICE COMMISSION

62

1   improvements that are necessary for each of those outages have

2   long lead time items.  I'll give you an example.  To have the

3   turbine rotors that we need in 2009, the lead time on those is

4   30 months.  So the expenditures for those rotors start now.  We

5   have to buy the steel, we have to fabricate.  It's not

6   expenditures that would happen later in the project life.

7             The, because the uprate at Crystal River 3 will

8   generate 1,080 megawatts at the end of this, the current single

9   largest plant that if we lost it in our system in Florida is

10   the St. Lucie Nuclear Power Plant.  After the uprate that would

11   move to this side of the state.  And while one may wonder why

12   that would cause transmission issues in the system, what we're

13   required to do is to be able to withstand the largest single

14   load being lost in the state and still keep the lights on for

15   everyone in the state.  As you drop a very large load like

16   that, the system has to be able to respond very quickly to that

17   load, and that's why we ensure as part of our process that that

18   can be accomplished with Crystal River becoming the largest

19   single generating unit in the state.  These requirements are

20   very controlled within state regulatory bodies and agencies,

21   and we're complying with those requirements as part of this

22   project.

23             These reasonable costs have been estimated at

24   $89 million as a bounding estimate for, for what we think the

25   most bounding solution would be.  We've never decided that is

FLORIDA PUBLIC SERVICE COMMISSION

63

1   the solution we will use.  What we have tried to provide you

2   with is something that would bound the transmission cost at

3   this point in time.

4             The power uprate from this project will also generate

5   additional heat and steam, thereby increasing water temperature

6   of the cooling water discharged from the Crystal River 3 Unit.

7   This additional heat will cause the company to exceed the

8   existing thermal permits for cooling water discharged into the

9   Gulf of Mexico.  As a result, we've had to find technical

10   solutions to reduce that water temperature to stay within what

11   our current limits are for discharge into the Gulf of Mexico.

12   Those estimated costs of $43 million will address these point

13   of discharge temperatures to minimize any environmental impact

14   and basically stay within what our current discharge permit

15   limits are at Crystal River's site.

16             You may hear testimony from Intervenor witnesses that

17   Progress Energy's, Progress Energy Florida's cost estimates,

18   that the cost estimates have changed.  I'll tell you, because

19   we worked on those estimates very hard to try to ensure that we

20   had the best estimates we could provide that would give a

21   bounding, reasonable cost for the project based on engineering

22   technology estimates and give what would be the minimal amount

23   of megawatts that we would produce.  Those estimates that we

24   have provided have not changed.  We have held those estimates

25   from day one.  Our studies that we have have concluded that

FLORIDA PUBLIC SERVICE COMMISSION

64

1   many of our assumptions that we made originally are correct.

2   Some individual prices have changed, some of them went up, some

3   of them went down, but we still stand by the original number

4   that we provided.

5             The Intervenor witnesses have not analyzed these cost

6   estimates and have not offered any estimates of their own to

7   refute them.  And as the study has progressed, the total

8   project cost confidence increases that we have as we have

9   gotten further along in the study to completion.

10             Some of the Intervenor witnesses also challenge

11   whether the Crystal River 3 uprate is an innovation.  Because

12   an uprate of this size has never been completed on a B&W type

13   generating unit, the Crystal River 3 Unit uprate project is

14   indeed innovative, and we have resolved many technical

15   challenges throughout this process and provided new technology

16   that does not exist for a B&W designed reactor.

17             To conclude, Progress Energy Florida's Crystal

18   River 3 uprate project will increase the nuclear generation at

19   a net significant savings, not net cost to the customers.  It

20   will be beneficial for Progress Energy Florida's customers,

21   which was our charter when we started trying to look at this

22   project.  It's very beneficial to our environment and in the

23   fuel diversity mix that we have here in the state.  These kinds

24   of innovations need your support as a Commission, and that's

25   what we're requesting from you today.  That concludes my

FLORIDA PUBLIC SERVICE COMMISSION

65

1   comments.

2             MS. TRIPLETT:  Thank you, sir.

3             We tender Mr. Daniel Roderick for cross-examination.

4             CHAIRMAN EDGAR:  Thank you.

5             Ms. Christensen.

6                          CROSS EXAMINATION

7   BY MS. CHRISTENSEN:

8        Q    Good morning, Commissioners.  Good morning,

9   Mr. Roderick.

10             The first series of questions I would like to ask you

11   are regarding the MUR project.

12        A    Okay.

13        Q    Would you agree that PEF has estimated the cost of

14   the MUR phase of the CR3 uprate at $6 million?

15        A    That's correct.

16        Q    Okay.  And of that $6 million, the engineering costs

17   for preparing the analytical work for the NRC is approximately

18   $4 million; is that correct?

19        A    I'm not exactly for sure of that number, but it's

20   close to that.

21        Q    Okay.  And that $4 million for analytical preparation

22   was based on a firm fixed price or contract price.

23        A    That's correct.

24        Q    And PEF has a firm fixed contract price for the

25   fabrication of the spool piece and the instrumentation; is that

FLORIDA PUBLIC SERVICE COMMISSION

66

1   correct?

2        A    That's correct.  Uh-huh.

3        Q    And what portion of the $6 million for the MUR cost

4   is attributable to the spool piece and the instrumentation?

5        A    It's just over $1.1 million.

6        Q    And as of May 2007, am I correct to understand that

7   PEF was still working on its labor contract with the cost not

8   to exceed provisions; is that correct?

9        A    Yes, ma'am.  That contract has since been finalized

10   and we have that now.

11        Q    Okay.  And do you know what the dollar cap is on that

12   labor contract?

13        A    I know the total project cost, when we included that

14   in to have a total fixed price, is still at $6 million.  So it

15   was within our estimate.

16        Q    Okay.  And that contract has a cap on it; am I

17   correct in understanding that?

18        A    It's a fixed price contract.  Yes.

19        Q    Okay.  And have you submitted the MUR for approval

20   with the NRC?

21        A    Yes, we have.

22        Q    Okay.  And do you know when you would expect NRC

23   approval for that MUR phase?

24        A    We're meeting with the NRC regularly right now.  We

25   have gotten some comments from them, which is very normal in

FLORIDA PUBLIC SERVICE COMMISSION

67

1   that process.  We're answering those comments right now, and

2   we're expecting to have approval back before the startup of the

3   outage coming out this fall.

4        Q    And what date would that be?

5        A    I believe the date right now is October.  It's the

6   second week of October.

7        Q    Okay.  And now is that a fixed firm date from the NRC

8   for approval?

9        A    I would never commit for an agency.  That is what

10   they have told us they're working towards.

11        Q    Okay.  And if the MUR request is not approved by the

12   November outage or the end of the scheduled outage, would it be

13   correct that PEF would be required to stay at the current power

14   levels?

15        A    That's correct.

16        Q    Okay.  And the cost savings analysis for the MUR

17   project assumes availability of that phase at the end of the

18   2007 outage; is that correct?

19        A    We -- in the original numbers that we used before we

20   split the phases out we had not included it, but in the latest

21   analysis I believe we have.

22        Q    Okay.  And --

23        A    We would get the megawatts, about 12 megawatts, we

24   would get those at the end of the year.

25        Q    Okay.  And so it would follow that if the NRC

FLORIDA PUBLIC SERVICE COMMISSION

68

1   approval is delayed, those cost savings would be affected by

2   the amount of time that the approval was delayed.

3        A    That's correct.  Uh-huh.  As would the recovery be

4   delayed.

5        Q    Now regarding the uranium fuel cost, referring to

6   your response to OPC Interrogatory Number 17, PEF responded

7   that it anticipates using additional quantities of slightly

8   more enriched, excuse me, uranium to provide the energy

9   necessary for the uprate; is that correct?

10        A    That's correct.

11        Q    Okay.  And you have stated previously that the cost

12   savings analysis assumed that the cost of the more highly

13   enriched uranium and the current uranium is at the same cost

14   per megawatt; is that correct?

15        A    Correct.

16        Q    And that assumption is built on the fact that you

17   believe you'll be getting extra megawatts out of the more

18   highly enriched --

19        A    Yes.  How, how we calculate the price per megawatt is

20   basically you take the fuel, total cost of the fuel, which will

21   go up because you're buying more uranium, but your devisor on

22   the bottom to get to a cost per megawatt, you'll add more

23   megawatts on the bottom so the number will come out within --

24   and for the purposes of the economic analysis we took out to

25   two decimal spots.  And when you look at that, it doesn't

FLORIDA PUBLIC SERVICE COMMISSION

69

1   really have a meaningful change at all when you go out two

2   decimal spots and round it off.  And in Mr. Waters' testimony

3   basically that analysis rounds out to two decimal spots.  So

4   that's why we're saying it's effectively the same cost from

5   what our analysis is providing.

6        Q    Okay.  So if I am understanding you correctly, you

7   would agree that you'll be spending more for the total fuel

8   load; correct?

9        A    That's correct.

10        Q    And in your, built in your assumption is that there

11   is no material difference in the price of fuel per megawatt, or

12   the price per megawatt is based on the expectation that the

13   enrichment process for the more highly enriched uranium will,

14   will cost approximately the same as the current uranium; is

15   that correct?

16        A    On a per megawatt basis.

17        Q    Okay.

18        A    You know, we're talking about going from 4.1 to

19   4.2 percent, so.

20        Q    Okay.  And then as of July 17th, 2007, however, am I

21   correct that PEF has not concluded its studies to compare the

22   price of the more highly enriched uranium to the current

23   uranium that's being used; is that correct?

24        A    We haven't finished the final fuel design.  That's

25   correct.

FLORIDA PUBLIC SERVICE COMMISSION

70

1        Q    Okay.  And you would agree further that you will not

2   have the price of the 4.1, I think, percent enriched uranium,

3   which is the more highly enriched uranium, to compare to the

4   current 4.0 percent enriched uranium until the final study is

5   complete; is that correct?

6        A    For a final number, that's correct.  And, again, what

7   we wanted to use was what would be a number relative to the

8   economic analysis.  The volume of savings between what we're

9   comparing, like I said, within rounding takes you out to two

10   decimal spots and we just truncated it after two decimal spots.

11        Q    Okay.  But we don't have the final numbers for that?

12        A    That's correct.

13        Q    Okay.  Referring to Phases 2 and 3 of the uprate

14   projects, the replacement of the steam generator for CR3 during

15   the 2009 outage was in the works since about 2000; is that

16   correct?

17        A    Yes.

18        Q    And is it correct that while there is no technical

19   tie between the steam generator project and the uprate, the

20   steam generator project creates a window where CR3 would be

21   offline long enough for PEF to install the uprate project's

22   major modifications; is that correct?

23        A    Yeah.  We looked for what was the total aggregate

24   lowest cost we could come up with, and that window provided

25   that opportunity.

FLORIDA PUBLIC SERVICE COMMISSION

71

1        Q    And Phase 2 consists of the turbine replacement,

2   condensation pump replacements and other things which cost

3   approximately $150 million?

4        A    Yeah.  I need to look at that in my testimony.  I

5   think it's something like that.

6        Q    Okay.  And PEF is just now getting bids for this

7   phase of the project and evaluating those bids; is that

8   correct?

9        A    That's correct.  We finalized -- those bids came in

10   last Friday.  Yeah.

11        Q    Okay.  And right now the company is in the process,

12   as you said, of conducting a detailed pinch point study to

13   determine which of the pumps and motors will be needed to be

14   upgraded or replaced based on the lowest cost to achieve the

15   necessary secondary water flows; is that correct?

16        A    That's correct.

17        Q    And that study has not been completed and will not be

18   completed until the first quarter of 2008; is that correct?

19        A    That's correct.

20        Q    And at this point the cost of the $150 million is

21   based on estimates made in the feasibility study based on

22   information from other sources; is that right?

23        A    It's made from many things.  It's made from our

24   engineering analysis, it's made from other sources, talking to

25   vendors, it's made from requests for proposals that we've sent

FLORIDA PUBLIC SERVICE COMMISSION

72

1   out.  It's a culmination of things that we have.

2        Q    And is my, is my understanding correct that this

3   estimate is based on what would be considered a

4   middle-of-the-road base case scenario?

5        A    What we did is tried to get a 90 percent certainty in

6   sensitivity analysis and engineering space of what would be a

7   number that would be in something that would be reasonable,

8   reasonably appropriate.

9        Q    But you would agree that this is not a best-case

10   scenario nor a worst-case scenario.

11        A    I think the more unknown something was, we tended to

12   go more to a worst-case scenario until the studies were done,

13   like in transmission, for example.  I think in, in the things

14   that we do more routinely like designing pumps and motors and

15   things like that, technology we have in-house, obviously the

16   precision we have with that is better than, than some of the

17   things that we haven't solved before.

18        Q    Okay.  So you're not disagreeing with the statement

19   in your rebuttal testimony on Page 8, Lines 8 through, what is

20   it, 13, where you stated that the estimated costs for the

21   uprate project were developed using a reasonable engineering

22   methodology which estimated a best, worst-case and base case

23   scenario.  And PEF did not use the lowest possible cost

24   estimates or the best case for the project costs.  Rather, PEF

25   chose a reasonable base case scenario?

FLORIDA PUBLIC SERVICE COMMISSION

73

1        A    No.  That's correct.

2        Q    Okay.  In putting together the estimates for Phase 2,

3   you had a list of items that you believed would be needed to be

4   replaced in that phase; is that correct?

5        A    Yes.

6        Q    But you have yet to complete a detailed analysis or

7   complete all the studies, so that list would be subject to

8   change.

9        A    That's correct.

10        Q    And to summarize that, you may need to replace items

11   that you didn't think you would need to replace and not replace

12   other items on that list; is that correct?

13        A    That's correct.  Uh-huh.

14        Q    Okay.  Specifically referring to Phase 3, the nuclear

15   core, of the estimated cost of $250 million for the uprate

16   project, you estimated that $100 million of costs associated

17   with the nuclear core costs are for analytical analysis that

18   has yet to be done; is that correct?

19        A    Yes.

20        Q    Okay.  And at present, PEF has requested bids from

21   engineering companies; correct?

22        A    At present, as of last Tuesday, we have those bids

23   and have ordered (phonetic) a contract.

24        Q    Okay.  And you had received back previously some of

25   the bids for the licensing part of the extended power uprate

FLORIDA PUBLIC SERVICE COMMISSION

74

1   for the 140 megawatts; correct?

2        A    Yes, from different vendors.  Uh-huh.

3        Q    Okay.  And it would be correct to say that having

4   just received the bids back, what did you say, last week, that

5   PEF is still working through those bids?

6        A    Yeah.  I think what I said earlier is still the case.

7   As we've gotten the bids in, it has substantiated our estimates

8   and actually provided more confidence factor in our estimates.

9        Q    Were you able to receive fixed price bids from the

10   vendors or were they still nonfixed price bids?

11        A    We have fixed price bids in from the vendors for the

12   engineer, we have fixed price bids in for the turbine for the

13   delivery of the megawatts.  It's a fixed price turbine contract

14   that has specific performance guarantees to assure these

15   megawatts.

16        Q    Okay.  And so suffice it to say, since you just

17   received those bids, Intervenors haven't had the opportunity to

18   review those?

19        A    That's correct.

20        Q    And is it correct that the analytical work that is to

21   be done will tell PEF whether there are physical modifications

22   that need to be made and where and what they are, if any?

23        A    Yeah.  That is the purpose of those analysis.  Yes.

24        Q    And you would agree that some of the cost of the

25   uprate projects will be a function of the analysis that will be

FLORIDA PUBLIC SERVICE COMMISSION

75

1   conducted by those contractors in the future; correct?

2        A    Yes.

3        Q    Regarding the transmission, would you agree that the

4   estimated cost of the transmission upgrades associated with

5   Crystal River plant becoming the largest single load or

6   generator in Florida is approximately $89 million; correct?

7        A    Yes.

8        Q    And this would be the case irrespective of the type

9   of plant addition made at Crystal River so long as the

10   additional megawatts being added to the site created it as the

11   single largest load or generator into the Florida system?

12        A    Maybe I could get you to restate that.  It has to be

13   from one plant, if that was your question.

14        Q    Right.  But irrespective of fuel type or the type of

15   plant that was being --

16        A    If you made a coal plant 1,080 megawatts, you'd have

17   the exact same issue.

18        Q    Or if it was a gas turbine combined cycle that was

19   adding an additional 180 megawatts or --

20        A    No.  It has to be 1,080 megawatts.

21        Q    1,080.

22        A    It's the total -- it not the size of the uprate, it's

23   the size of the plant.

24        Q    The size of the plant?

25        A    Yeah.

FLORIDA PUBLIC SERVICE COMMISSION

76

1        Q    Okay.  And currently you're in the process of doing a

2   formal study to validate the potential solutions and options

3   for the transmissions; correct?

4        A    That's correct.

5        Q    But that study has yet to be done.

6        A    Yeah.  That will be done in the fourth quarter.

7        Q    Okay.  And with the point of discharge, that project

8   is approximately $43 million; correct?

9        A    That's correct.

10        Q    And right now you also are in the process of studying

11   the options of reducing the incremental increase in water

12   temperature; correct?

13        A    That's correct.

14        Q    And at this point you are still getting bids and

15   determining the appropriate solution; correct?

16        A    Yeah.  And working with state agencies looking at the

17   different options with that.

18        Q    And that final study has not been completed yet?

19        A    That's correct.

20             MS. CHRISTENSEN:  Okay.  No further questions.

21             CHAIRMAN EDGAR:  Thank you.

22             Mr. Wright, questions for this witness?

23             MR. WRIGHT:  Just a couple, Madam Chairman.

24                          CROSS EXAMINATION

25   BY MR. WRIGHT:

FLORIDA PUBLIC SERVICE COMMISSION

77

1        Q    Good morning, Mr. Roderick.

2        A    Good morning.

3        Q    I just want to follow up on a couple of things you

4   said in your summary and in response to questions by

5   Ms. Christensen.

6             In responding to the questions from Ms. Christensen,

7   you mentioned that a number of the cost components of the

8   project are going to be subject to fixed price contracts; is

9   that accurate?

10        A    That's correct.

11        Q    What, if anything, is not subject to fixed price

12   contracts?

13        A    There are some labor contracts in the 2011 outage

14   which, which have not yet been made fixed contracts.  Some

15   contracts are better to work on a time and materials basis,

16   some are better to -- if the scope is where you can actually

17   bid it and have a defined scope and you can force a vendor into

18   performance for that scope and price, then we're on that with a

19   fixed price contract.  If the scope isn't defined at this point

20   in time, sometimes we're better off to contract that as time

21   and materials so we can manage the scope as it, as it unfolds.

22        Q    Can you tell the Commission with any more specificity

23   what it is that's not subject to fixed price contracts?  You

24   did mention in responding to Ms. Christensen several items that

25   are subject to fixed price contracts.

FLORIDA PUBLIC SERVICE COMMISSION

78

1        A    We have, we have welding, for example, that has to be

2   done in 2009 and in '11 that we're going to use the competitive

3   labor market on.  So I don't yet know, for example, will it be

4   a union contract, will it be a nonunion contract?  What, what

5   people are reluctant to do is to fix price labor out five or

6   six years into the future?  And so some of those are really

7   more of a market-driven labor cost that we work off of whatever

8   that, that labor rate is.  What we negotiate with them on is

9   what the markup is.  It's primarily labor.  All the big

10   components -- because of the volatility of steel prices that

11   we've seen, we're trying to lock those in with fixed prices.

12   So the variability is really in, in people labor.

13        Q    Is there any exposure to Progress and ultimately to

14   Progress's customers that the costs under the fixed price items

15   that you have discussed could be higher than what you believe

16   them to be as of now?

17        A    Well, I mean, obviously with any contract you can

18   discover things; while you're doing work you may find something

19   else.  But we have spent a lot of time and energy with our

20   engineering staffs writing these contracts because we want to,

21   to minimize that risk to all of us in this room.

22        Q    In your summary you made the statement, I believe,

23   that you stand by your cost estimates.  Is that an accurate

24   characterization of your testimony?

25        A    Yes.

FLORIDA PUBLIC SERVICE COMMISSION

79

1        Q    Well, my question for you then is is Progress willing

2   to bear the risk of cost overruns?

3        A    I don't think at this point in time, because, again,

4   we haven't actually priced it out like that.  Mr. Portuondo in

5   his testimony will kind of work through a lot of that.  But,

6   you know, what we're trying to do at this point in time is make

7   sure we understand what it looks like going forward.  The

8   process has to work this way.  So I don't know at this point in

9   time.

10             MR. WRIGHT:  Thank you.

11             Thank you, Madam Chair.

12             CHAIRMAN EDGAR:  Thank you.

13             Mr. McWhirter, questions for this witness?

14             MR. McWHIRTER:  While I'm questioning Mr. Roderick,

15   my beautiful assistant will pass out an extract from the review

16   plans.

17                          CROSS EXAMINATION

18   BY MR. McWHIRTER:

19        Q    Mr. Roderick, you are the -- your job title has

20   changed at Crystal River.  You were the Director of Site

21   Operations?

22        A    That's correct.

23        Q    And now you are Vice President of Nuclear Projects

24   and Construction.  What, what is the difference in those two

25   operations?

FLORIDA PUBLIC SERVICE COMMISSION

80

1        A    Well, as the Site Director at Crystal River I had the

2   overall responsibility for the operation of the unit and the

3   engineering and technical training and things.  With the advent

4   of us considering building new nuclear in Levy County, we've

5   created a separate department to try to go look at that about

6   adding new nuclear generation in the state.  So that's what

7   that department was created to do.  So I moved from the Site

8   Director at Crystal River into this role.

9        Q    Is the operations of your department part of the cost

10   of this uprate?

11        A    No.  What, what is part of this uprate is, is no

12   different than what was under Crystal River 3 at that point in

13   time.  We just moved that over into a group to be very focused

14   on this project, on the steam generator replacement project and

15   on Levy County.  We clearly are, are doing our diligence to

16   ensure that we have the right project management techniques and

17   controls on these projects at a time when, when there's

18   volatility in a lot of materials, labor prices and steel

19   prices.

20        Q    Did you become aware of the potential fuel cost

21   savings that could be derived from the CR3 uprate before 2005

22   or has it only come to your attention recently?

23        A    I think it really came to our attention -- as a

24   company we were out looking for different innovations.  We were

25   looking at many different things over the last couple of years

FLORIDA PUBLIC SERVICE COMMISSION

81

1   here to try to find -- again, you know, as you said earlier,

2   there is, there is no one master to any of us and there's

3   actually more than two, if you think about it.  You know, we

4   have environmental stewardship responsibilities, we have

5   reliability as a priority for us, we have price as a priority

6   for us.  It isn't any one of those masters that we serve.  And

7   we went and sent different technical teams together to go look

8   at things like energy efficiency, at renewables, at can we get

9   more capacity out of our different units, and that study came

10   up with this power uprate project.  I say study.  That team

11   that was looking at that came up with this power uprate project

12   as something that needed further investigation.

13             Once we decided to start that investigation, then we

14   obviously needed to understand the process by which we would

15   use to do that study, and that's what brought us into this

16   process.

17        Q    And my question was what date did that study

18   initiate?  Was it before 2005, after 2005?

19        A    No, it was not before, it was not before 2005.

20        Q    Was it within the last year?

21        A    It was in the last two years.

22        Q    And you, of course, from your education and

23   experience are aware that uprates of nuclear facilities have

24   been going on for a number of years, hasn't it?

25        A    There are limited uprates.  The uprates that have

FLORIDA PUBLIC SERVICE COMMISSION

82

1   happened really to date are very small compared to what we're

2   talking about.  Most uprates are around 1, 1.5 percent, some of

3   them, the bigger ones are at 8 percent.  We're talking about a

4   20 percent total increase in generation for the site.  It is

5   significantly different.  And on top of that, most of the

6   uprates that have happened have been on boiling water reactors,

7   which is a completely different design.  You can't use

8   operators between one and this type of design; it's completely

9   different.  So for a Babcock & Wilcox design there's never been

10   a plant that has ever achieved an uprate like this.

11        Q    What is it that brought it to your attention that

12   this was an opportunity for your company?

13        A    Well, and, again, what we were trying to look at is

14   what else is in the original designs back in the 1960s when

15   these plants were designed, what margins are out there, what

16   new analytical methods are out there that maybe would let us

17   look at things differently?

18             So, for example, in 1960 there wasn't a lot of

19   technology on, on some parts of reactor design.  And so what

20   engineers do at that point in time is we go bigger.  We use, we

21   build margin in uncertainty.  And so when you go back today, we

22   have different analytical techniques that let us go back and

23   look at that margin and make decisions about whether that

24   margin could be used or not and still safely operate the unit.

25   And so that's what we did is we went with modern -- with some

FLORIDA PUBLIC SERVICE COMMISSION

83

1   of the techniques we've had to pay to be developed to go look

2   at technology, and found that our reactor could, in fact, be

3   uprated about 17 percent.  And then the other increase comes

4   out of steam efficiencies.

5             So once the reactor can be uprated, then it's a

6   matter of designing the rest of the plant around the reactor to

7   size it to handle the steam that the reactor can put out.

8        Q    And the -- and you started on the study within the

9   last year, year and a half?

10        A    That's correct.

11        Q    Okay.  Now the first phase -- let me ask you this.

12   On Page 3 of your testimony at Line 11, you say there's an

13   economic need, but the project will provide additional

14   reliable, reliable baseload capacity.

15             Is it your testimony that this uprate has a two-fold

16   purpose:  One, to improve reliability and meet your need for

17   your growing, the growing demand on your system and, secondly,

18   the economic need?

19        A    No.  This project was -- from the charter I got to go

20   figure this out, which, remember, I'm in the technical side --

21        Q    Right.

22        A    -- was to try to find ways to reduce fuel cost.  It

23   was -- we never, we never did anything from a generation

24   standpoint.  We went purely after trying to find ways to reduce

25   fuel costs.

FLORIDA PUBLIC SERVICE COMMISSION

84

1        Q    Well, do you think that this plant will operate 24

2   hours a day and will provide part of your base operating

3   system?

4        A    Well, I've spent the last 15 years of my life making

5   that happen.  So, yeah, I do believe -- I have a lot of

6   confidence in that unit.  We've done a good job making that

7   unit be recognized as one of the top operating plants in the

8   United States.  So, yes, I do believe that.

9        Q    And because it's there, it will obviate the need to

10   build another 140 megawatts somewhere else; is that correct?

11        A    I don't follow you on that.

12        Q    I beg your pardon?

13        A    I didn't follow your -- I mean, what, what, what we

14   did is we looked at displacing coal.  That was -- you know, we

15   didn't go look at displacing future generation.  We really

16   looked at ours and said, "What could we displace?"  And so all

17   of our analysis, the whole project study was all built around

18   displacing coal.

19        Q    I understand that.  But as a matter of the result of

20   what you've done and will do, is it true that this will

21   obviate -- do you know what obviate means?

22        A    Yes.

23        Q    Will obviate the need for building another

24   140 megawatts somewhere else?

25             MS. TRIPLETT:  Madam Chairman, I'd interject.

FLORIDA PUBLIC SERVICE COMMISSION

85

1             CHAIRMAN EDGAR:  Ms. Triplett.

2             MS. TRIPLETT:  Object for lack of foundation.

3             CHAIRMAN EDGAR:  Mr. McWhirter?

4             MR. McWHIRTER:  Well, I'm trying to ask him a

5   question to build the foundation.  Does he know whether --

6   well, do you know whether it will --

7             THE WITNESS:  No.  I don't -- my --

8             CHAIRMAN EDGAR:  Mr. Roderick, Mr. Roderick, I'm

9   sorry.  Let us, let us work through it and then we'll come back

10   to you.

11             THE WITNESS:  Okay.  Thank you.

12             CHAIRMAN EDGAR:  Okay.  Ms. Triplett.

13             MS. TRIPLETT:  This is our, our nuclear witness, and

14   we have another witness who can address Mr. McWhirter's

15   question about resource planning.

16             CHAIRMAN EDGAR:  Mr. McWhirter?

17             MR. McWHIRTER:  Madam Chairman, I'll move on.

18   BY MR. McWHIRTER:

19        Q    It's your opinion that this will, this plant will

20   operate and when it is completed will produce 140 megawatts of

21   power in addition to the production it has today; is that

22   correct?

23        A    180 megawatts.

24        Q    180 megawatts.

25        A    That's correct.

FLORIDA PUBLIC SERVICE COMMISSION

86

1        Q    Forty from the first phase and 140 later?

2        A    140 for the second.

3        Q    All right.  And that first phase is what you call a

4   measurement uncertainty recapture.  What does that mean?  Are

5   you measuring something?

6        A    The first phase is the measurement uncertainty

7   recapture and the balance of plant redesigns and efficiency.

8        Q    Right.

9        A    The measurement uncertainty recapture is really where

10   the -- again, going back to the '70s and '60s -- where

11   instrumentation was not overly accurate, we had the engineer

12   margin into that instrumentation.  So in the 1960s, 1970s, even

13   into the 1980s and 1990s, the ability for instrumentation to

14   measure with a nuclear regulatory approved certainty, in other

15   words, it can't be wrong, was a 3 percent margin.

16             And so as we have redesigned these now, new

17   technology came out in the mid 1990s on this part of it to have

18   transducers that will actually come within a percent of, of

19   what it actually is.

20             So the margin that we don't have to keep anymore is

21   3 percent.  We can actually increase power by using more

22   sophisticated instrumentation.  We don't have to keep that

23   engineering margin in the plant anymore because we have more

24   accurate instruments.  So that's what we're talking about

25   measurement uncertainty recapture.  It has to do with more

FLORIDA PUBLIC SERVICE COMMISSION

87

1   refined instrumentation.

2        Q    Would it be fair to say that the instruments that

3   were installed 30 years ago are now obsolete and you're

4   replacing those instruments with new instruments to measure?

5        A    In some cases.  In some cases just because it's 30

6   years old doesn't mean it's not good.

7        Q    I understand.

8        A    I mean, we have a lot, a lot of good equipment in

9   that plant still.

10             It may just -- again, looking 30 years ago, it's

11   still a good design.  It's just when you can get some megawatts

12   out of it, and, again, that's what we went very much after is

13   trying to get megawatts, these were, were megawatts that we

14   could pick up as part of this project.

15        Q    Well, what -- are we dealing with meters and dials

16   and things like that?

17        A    We're dealing with everything from meters and dials

18   up to 600,000-pound rotors, and we're dealing with really

19   taking, for those of you that have been at the plant, taking

20   everything on the turbine deck where the turbine generator is

21   and all those huge components and removing them from the plant

22   and putting new ones in.  Because the technological advances in

23   rotors that have been made in the last five years with going to

24   a uniblade design allow us to get 40 megawatts out of those

25   turbine rotors for, for a cost that we can displace fossil and

FLORIDA PUBLIC SERVICE COMMISSION

88

1   it still be a payback for, it still can be a return back to the

2   customer.

3        Q    Well, this plant is 30 years old and you're going to

4   renew the license and, as part of that, you're replacing the

5   steam generator; is that correct?

6        A    No.  The steam generators are not being replaced for

7   license renewal.  The steam generators are being replaced

8   because of a, a material issue inside the steam generators that

9   we need to take care of independent of license renewal to get

10   to the extent of this license life.

11        Q    I see.  And that's not, the steam generator

12   replacement is not part of this uprate cost requirement.

13   That's something else.

14        A    That's correct.

15        Q    That's in base rates.  And are the rotors that you're

16   talking about in those steam generators or are they somewhere

17   else?

18        A    Well, now these rotors are on the electrical side.

19   These rotors are -- the steam generators are in the reactor

20   building.  The rotors that we're talking about on the turbine

21   rotors are actually in the turbine building that are hooked to

22   the electrical generator.  They actually turn the electrical

23   generator.  I know I used the term "generator."  We have steam

24   generators that take reactor steam and turn it into super

25   heated steam that we can use in the turbine and then out in the

FLORIDA PUBLIC SERVICE COMMISSION

89

1   turbine building.  That's what turns the electrical generator.

2        Q    And the rotors -- there are rotors there now.

3        A    That's correct.

4        Q    And those, the cost of those rotors was through base

5   rates; is that correct?

6        A    They were bought before I came.  I don't know.

7        Q    You don't know.  But you're replacing the rotors that

8   are there now with more efficient rotors.

9        A    That's correct.

10        Q    Is that the major part of the expense?

11        A    That's correct.  They're designed to be able to

12   withstand, you know, the entire uprate.

13        Q    Now go to Page 18 of your testimony.

14        A    This is direct or --

15        Q    This is your most recent testimony dated May 4th.  I

16   guess your rebuttal is the most -- it's amended direct

17   testimony.

18             Page 18, at Line 5, you start talking about this

19   $89 million expenditure to upgrade the transmission line.

20        A    Okay.

21        Q    Have you found that?

22        A    Yes.

23        Q    In your deposition you indicated that $83 million of

24   this $89 million is the line that will run from Madison County

25   to Perry, Florida, 34 miles in length.

FLORIDA PUBLIC SERVICE COMMISSION

90

1        A    That's correct.  I'm not seeing it here.

2        Q    Okay.

3        A    It's not in this testimony.  It's in -- that was

4   actually the --

5        Q    No, it's not in the testimony.

6        A    It was in cross-examination.

7        Q    You told us that in discovery.

8             Now did you drive up here, sir?

9        A    I did.

10        Q    From Crystal River?

11        A    I did.

12        Q    Did you notice that it's 100 miles from Crystal River

13   to Perry?

14        A    Yes.

15        Q    And this line that you're putting in that relates to

16   this plant is 100 miles, the southern point of it is 100 miles

17   north of the Crystal River plant?

18        A    Yes.

19        Q    And is that the same line that will be used to bring

20   power in from Georgia?

21        A    I can tell you this line that we're talking about,

22   it's only purpose in life -- and, realize, the grid is an

23   interconnected thing all across the state and into the rest of

24   the United States.  We need the ability within seconds to bring

25   power from any source we can to put on the grid in case that

FLORIDA PUBLIC SERVICE COMMISSION

91

1   unit drops away.  So that connect could just as easily have

2   been in Miami.  That one was just one we found that was in a

3   place where we already had right-of-ways to be able to install

4   a corridor to get us power on the line when we needed it in

5   case Crystal River 3 dropped.  Again, that was, that was

6   probably the most bounding thing we could find at that point in

7   time.

8             As we look at this more and as we've talked, I don't

9   believe that that may be the best solution.  It is a bounding

10   solution that's out there, and we are continuing to study that

11   to find even better solutions with that.  But that line really

12   has -- and the line -- by the way, without the power uprate,

13   there was no intention of installing that line by the company.

14        Q    I see.  So what you're saying is that CR3 is

15   presently 900 megawatts.

16        A    That's correct.

17        Q    And if you have a forced outage and you have to get

18   900 megawatts online rapidly to meet your demand, you wouldn't

19   need this transmission line at all.

20        A    That's correct.

21        Q    And it's only the additional 180 megawatts that

22   requires the need.

23        A    Yeah.  Because, because of the way the law is written

24   on if you're the largest single load in the state.  Right now

25   the St. Lucie plant uses an interconnect into our grid over

FLORIDA PUBLIC SERVICE COMMISSION

92

1   here on, from Florida Power & Light to Progress Energy to do

2   the same thing for them.  And so no matter who is the largest

3   single load is going to have to address that to show how they

4   are going to protect the grid.

5        Q    What, what's the size of the St. Lucie plant?

6        A    It's 1,030 megawatts.

7        Q    Okay.  So if, if you provided 50 megawatts less, you

8   could save $89 million?

9        A    Yeah.  I would -- I don't know that for a fact, but

10   that would make sense.  Because the only reason we're doing

11   that mod is because there's two things we have to address

12   legally with the Nuclear Regulatory Commission as well.

13             One is we have to ensure our reliability of offsite

14   power, and that's not going to be an issue.  The second is the

15   largest single load, which is a state requirement.  If we were

16   not the largest single load, we would not have that

17   requirement; therefore, we wouldn't need transmission.

18        Q    We've handed you a document that has been identified

19   as ID Number 21.  If you would take your pencil and strike

20   through that, make it ID Number 20, it will conform to the

21   exhibit list that we got this morning.  And it's composed of

22   the review of, the Public Service Commission staff's review of

23   the Ten-Year Site Plans of all Florida's electric utilities.

24   And what I've done for the purpose of keeping the record

25   relatively short is I've just taken four pages of that 50-page

FLORIDA PUBLIC SERVICE COMMISSION

93

1   review, and I'd like you to look at Page 21, if you would,

2   where it says, "The North Florida Transmission Study."  Would

3   you mind reading that paragraph and then telling us what that's

4   all about?

5        A    I can certainly read it to you.  I can tell you I'm

6   way outside my field of expertise to tell you what it's all

7   about.  But I'll read it to you, if you'd like.  I mean, but I

8   don't, I don't deal --

9        Q    Well --

10        A    As far as, as far as knowing what the Ten-Year Site

11   Plan for transmission is, I mean, I just -- that's not what I

12   do.

13        Q    But it, but it looks like there's, the North Florida

14   Transmission Study has been in progress since 2005 to assess

15   the reliability of the transmission system in the region.  I'm

16   just quoting from an extract of it.  And you don't know

17   anything about that or what it amounts to?

18        A    I don't.  And, again, we did not try to address

19   transmission reliability, import power capability.  Alls we

20   tried to address are the legal requirements that this project

21   creates for Crystal River 3 becoming the largest single load in

22   Florida.  And whatever that takes, we're going to drive

23   whatever that is to whatever the lowest cost we can:  Be that

24   build new 230, be that not build new 230.  But we, we didn't

25   try to go in to solve anything else with our project.

FLORIDA PUBLIC SERVICE COMMISSION

94

1        Q    Do you know whether this project will solve that

2   problem?

3        A    I don't.

4        Q    Okay.

5        A    I don't.

6             MR. McWHIRTER:  I tender the witness.

7             CHAIRMAN EDGAR:  Thank you.

8             Mr. Brew, questions on cross for this witness?

9             MR. BREW:  Yes.  Thank you.

10                          CROSS EXAMINATION

11   BY MR. BREW:

12        Q    Good morning, Mr. Roderick.

13        A    Good morning.

14        Q    Not to beat a dead horse on transmission, but just a

15   real quick clarification so I understand it.  With the capacity

16   uprate to 1,080 megawatts --

17        A    Uh-huh.

18        Q    -- CR3 becomes the number one or N1 contingency on

19   the Florida system?

20        A    That's correct.

21        Q    And so for Florida reliability purposes you're

22   talking about the transmission upgrade, the Florida system

23   issue?

24        A    Yeah.  What we're talking about is, is being able to

25   comply with what those requirements are.  Yeah.

FLORIDA PUBLIC SERVICE COMMISSION

95

1        Q    For reliability.

2        A    Now I don't want to split hairs on a word, but that's

3   what that Commission is called, so I'll have to agree with the

4   word.  Not reliability from a maintenance standpoint,

5   reliability from not losing the grid to go dark in the state.

6        Q    Right.  Because what you need is the capability to,

7   not to distribute the output from CR3 but to quickly replace

8   that output.

9        A    Correct.  That's correct.

10        Q    Okay.  Yes.  Thank you.

11             All right.  Then do you have with you a copy of the

12   company's response to OPC's first set of interrogatories?

13        A    Is this dated July 17th?

14        Q    I think that's -- unfortunately mine doesn't have a

15   date on it.  But I was looking to, if you've got it, the

16   company's response to question number six, which referred to

17   your reference of balance of plant in Page 16 of your

18   testimony.

19        A    I don't have that.  But you can -- I can go to my

20   testimony and see what you're talking about there.

21             CHAIRMAN EDGAR:  Mr. Brew, is that in any of the

22   exhibits that are --

23             MR. BREW:  I thought it was a composite exhibit.  No?

24             CHAIRMAN EDGAR:  I'm not seeing it.

25             MR. BREW:  All right.

FLORIDA PUBLIC SERVICE COMMISSION

96

1             CHAIRMAN EDGAR:  But if you can point me, we --

2             MR. BREW:  I can, I can quickly go through my

3   questions without it then.

4             CHAIRMAN EDGAR:  Okay.

5   BY MR. BREW:

6        Q    The balance of plant additions that you referred to

7   on Page 16 of your testimony.

8        A    Uh-huh.

9        Q    Do you have that?

10        A    Yeah.  One second.  This is in amended, because I'm

11   on Page 16 of my original testimony and it's talking about

12   transmission and point of discharge.

13        Q    I'm looking at your amended direct.

14        A    Okay.  Hold on.

15        Q    Page 16, Line 2.

16        A    Okay.

17        Q    All right.  And you've talked with Mr. McWhirter

18   about replacing or modifying a number of items on the turbine

19   deck.

20        A    Uh-huh.

21        Q    Low pressure turbines, are you replacing them or

22   modifying them?

23        A    Replacing.

24        Q    Replacing them.  High pressure turbines, replacing or

25   modifying?

FLORIDA PUBLIC SERVICE COMMISSION

97

1        A    Replacing.

2        Q    The electrical generator, replacing or modifying?

3        A    Modifying.

4        Q    Okay.  Main steam reheater, heat exchangers?

5        A    Replacing.

6        Q    Feed water heater exchanges?

7        A    We're replacing some of them.  Some of them we've

8   determined we don't have to replace.

9        Q    Okay.  And you've got feed water booster pumps.

10        A    We're replacing those.

11        Q    Condensate pumps?

12        A    Replacing.

13        Q    Circulating water pumps?

14        A    Replacing.

15        Q    All right.  In the company's revenue requirement

16   analysis, do you know if the company has shown retirements for

17   any of the existing assets that are there?

18        A    I would ask Mr. Portuondo that question.  I'm not --

19   I don't know.

20        Q    So you don't know.  Okay.

21             On the, on the first phase MUR project, did you say

22   that you're working with a 3 percent instrumentation error now?

23        A    Yeah.  What we have is, and I'm averaging a number up

24   here, but what, what we have right now within those bounds is,

25   is that we, we're trying to basically reduce that by about

FLORIDA PUBLIC SERVICE COMMISSION

98

1   2 percent, which will give us 1.6 reactor power.  So our end

2   number we're after is 1.6 reactor power, which will give us 12

3   electrical megawatts.

4        Q    Okay.  I understand.  But what I was asking, is your,

5   the error that you're working with now 3 percent or 2 percent?

6        A    I need to look it up in my testimony, if that's, if

7   you'll give me just a second.

8        Q    Go ahead.

9             (Pause.)

10        A    It's 2 percent, so.

11        Q    Okay.

12        A    Okay.

13        Q    I was just a little confused because I thought you

14   said, used 3 with Mr. McWhirter.

15        A    Yeah.  2 percent.  I'm sorry.

16        Q    The main instrumentation change you're talking about

17   is moving to ultrasonic flow meters?

18        A    Correct.  Uh-huh.

19        Q    And compared to the differential measurement types

20   you use now.

21        A    Uh-huh.

22        Q    And utilities operating nuclear plants have been

23   shifting to these UFMs over the last ten years; is that right?

24        A    Yes.

25        Q    And did Progress order such a UFM for its Robinson

FLORIDA PUBLIC SERVICE COMMISSION

99

1   plant back in 2002?

2        A    Yes.

3        Q    And over 30 utilities have installed these types of

4   approaches?

5        A    Yeah.  This was actually, like I said, this part of

6   the uprate was, that's the reason we were able to accomplish

7   this one early on.  The Robinson plant you mentioned though

8   is -- one of the things we needed to do is learn some lessons.

9   Many of the plants that had installed these originally had

10   significant maintenance issues with them, and Robinson was one

11   of those plants.  And so we wanted to ensure and have ensured

12   that our fabrication of this, of the feed water flow

13   instruments, that those issues do not recur.  And so, you know,

14   sometimes you're Johnny-on-the-spot good and sometimes you're

15   the first one on the road and you'll suffer some of that.

16             So we have -- we went through all the lessons learned

17   from Robinson, from the other plants that had installed that.

18   We did get a system price based on that Robinson contract that

19   was, which ended up saving us some money to use that.  But, so,

20   yeah, that particular part of this mod, unlike the other parts

21   I've talked about, you know, that small uprate has been done

22   before.

23        Q    Okay.  And so you'd be using the Caldon meters then?

24        A    Correct.  Caldon.  Uh-huh.

25        Q    Okay.  And over 50 units have installed the Caldon

FLORIDA PUBLIC SERVICE COMMISSION

100

1   meters of some kind or another as far as you know?

2        A    Yeah.  There are several.

3        Q    Okay.

4        A    It's -- like I said, that's about 12 of the

5   180 megawatts.

6        Q    Okay.  But would you accept that Caldon claims that

7   more than 53 nuclear plants have installed those devices?

8        A    Sure.  I mean, I don't know.  That's probably about

9   right.

10        Q    So at this point in its development shifting from

11   '60s technologies to today is kind of like going from bias-ply

12   tires to using radials?  In the '60s everybody wore the old

13   tires, but nowadays everybody would use the radials because

14   they're simply more efficient?

15        A    Well, I think there's many reasons why you change

16   technology.  One could be that the vendors that serviced your

17   old technology are out of business, they've closed shop, moved,

18   whatever.

19             The second reason you do it is that it's, that you

20   can get some benefit out of it.  In these cases what we're

21   finding is that, that we've got -- we're going after the

22   megawatts, things that make megawatts.  For example, most of

23   the plants that did the MUR that you're talking about failed to

24   miss another opportunity that they had on the main steam

25   temperature indications which we're using.  Part of our

FLORIDA PUBLIC SERVICE COMMISSION

101

1   study -- we're not -- we didn't try to just get narrow with

2   what other people were doing.  We tried to look more broadly,

3   again, trying to capture as many megawatts as we could.  And so

4   we actually went beyond even what Caldon did as far as what

5   we're installing coming up.

6        Q    But in terms of, in terms of the MUR phase, this is

7   not a dying business.  This is a growing business because this

8   is the type of thing that virtually every operator is looking

9   at or doing.

10        A    For the MUR?

11        Q    Yes.

12        A    Yeah.  I think about half, 50 percent.

13        Q    Okay.  That's fine.

14             Just quickly going back to the transmission upgrade.

15        A    Okay.

16        Q    Your, for lack of a better term, your plug-in on the

17   transmission estimates was that 34-mile line, assuming

18   $89 million, which is about $2.5 million a mile.  What does

19   that assume in terms of land right-of-way construction time?

20        A    Well, and, again, there was two, two parts we needed

21   with this when we looked at what option would bound us.  And

22   one of the things we knew we needed was we needed land we

23   already had access to.  Because if we had to go through the

24   condemnation process, you might not get that done before 2011.

25   Okay.  So we wanted land we could -- we had land that we could

FLORIDA PUBLIC SERVICE COMMISSION

102

1   get on top of quick and start building quick, and that's why we

2   felt we could accomplish that by 2011 as a, as basically a

3   scenario that for sure would solve it.  But we knew there's

4   many other options that we wanted to go study.  But, you know,

5   when we first started talking about it, everybody, you know,

6   wants to know all the precision details as you start a study

7   and that's why we picked that solution set.

8        Q    Does the $89 million assume you'd have to buy land?

9        A    No.

10        Q    Okay.  The POE -- POD discharge plan for 2011.

11        A    Uh-huh.

12        Q    Will your NPDES permit expire before then?

13        A    No.

14        Q    Doesn't it expire in 2010?

15        A    Well, we'll actually hit into this in 2009, but the

16   big one will come in 2011.  So, you know, we had made some

17   initial discussions with the state about changing the NPDES

18   permit and that was not very well received.  And so we

19   basically went after mitigation instead of, instead of trying

20   to go for a permit change.

21        Q    But you have your existing permit run through 2010;

22   is that correct?

23        A    Correct.

24        Q    So you may have other issues regarding your NPDES

25   apart from the point of discharge; is that right?

FLORIDA PUBLIC SERVICE COMMISSION

103

1        A    I'm not aware of any.

2        Q    Have you studied it?

3        A    My, my business -- no.  I mean, that's an

4   environmental side of the company.

5             MR. BREW:  All right.  That's all I have.  Thank you.

6             CHAIRMAN EDGAR:  Thank you.

7             Mr. Twomey.

8             MR. TWOMEY:  Yes, Madam Chair, thank you.  Just a

9   couple.

10                          CROSS EXAMINATION

11   BY MR. TWOMEY:

12        Q    Good morning, sir.

13        A    Good morning.

14        Q    As I understand it, the three stages of the project

15   are each designed to make CR3 operate more efficiently; is that

16   correct?

17        A    It's designed to generate more megawatts.  I mean,

18   raising the reactor power doesn't necessarily make it generate

19   any more efficiently, it just makes it generate bigger.  You

20   know, I don't know what efficiency -- it doesn't make the unit

21   have a higher capacity factor.  It just means that it's going

22   to generate more megawatts.

23        Q    Well, I thought I heard you say that there would be

24   resulting fuel savings.

25        A    Maybe I'm just using a term out of my business

FLORIDA PUBLIC SERVICE COMMISSION

104

1   differently.  But, you know, when you say efficiency, are we

2   going to get -- does the unit now run at 80 percent of

3   100 because of equipment issues and now it's going to run at

4   85 percent?  So the unit should still run at 100 percent power,

5   it's just that power level will generate more megawatts.

6        Q    Yes, sir.  I understand that.

7        A    Okay.

8        Q    Thank you.  But didn't I hear you testify in the last

9   hour that there would be fuel savings to result from the

10   uprate?

11        A    Correct.

12        Q    And to the extent that there are fuel savings, isn't

13   that a form of efficiency?

14        A    It's -- that's not the term I'd use.  I mean, just --

15        Q    Okay.

16        A    I mean, I --

17        Q    Okay.  You said that the, the uprate would result in

18   reduction in a certain level of greenhouse gases, did you not?

19        A    Yeah.  What I said was it would displace coal units,

20   which -- and so these are greenhouse emission-free megawatts.

21   Yes.

22        Q    To the extent that the displaced coal generation

23   isn't taken up by new load; right?

24        A    Yeah.  I mean, that's always true.

25        Q    Okay.  The, the, it strikes me that the, the uprate

FLORIDA PUBLIC SERVICE COMMISSION

105

1   is the correct thing to do in an engineering sense, is it not?

2        A    It's a, it's a very technically challenging project,

3   so therefore all engineers get excited about that.

4        Q    But, I mean, it's beneficial in all regards

5   apparently.

6        A    I mean, everything I've seen looks like a good

7   project that provides a good value to the customers.

8        Q    Okay.  Mr. Roderick, is there any suggestion in the

9   testimony of any of the company's witnesses that the company

10   will not carry through on this uprate if it's denied the fuel

11   clause treatment requested in this petition?

12        A    No.  I think what we've said in our testimony is that

13   when we set out on this project, this was the vehicle we

14   selected to use within what the current guidance that Mr. Walls

15   talked about and Mr. Portuondo will talk more about.  And that

16   if that doesn't, doesn't work, then we'll have to go back and

17   look at that compared to all the other priorities for the same

18   money that we have to compete with.

19        Q    So you are suggesting that --

20        A    I'm saying I don't know.

21        Q    Let me finish the question, please.

22        A    Okay.  Sorry.

23        Q    It sounds to me you are suggesting that if you don't

24   get the treatment that you're asking the Commission here to

25   have recovery through the fuel adjustment clause, that there is

FLORIDA PUBLIC SERVICE COMMISSION

106

1   a, at least a veiled hint that the company won't go through

2   with the, with the uprate.  Is that true or not?

3        A    No, I don't think I said that.  I think what I said

4   was, is I don't know.  We'll have to go back and relook at

5   everything.  And, you know, I mean, it's, it's like any other

6   business.  You know, you have to prioritize and see what you've

7   got.

8        Q    So apparently you're unprepared to say that you'll go

9   ahead with the uprate even if you don't get the requested fuel

10   clause treatment here?

11        A    Yeah.  I'm saying I don't know that we will.

12        Q    Even though everybody apparently admits that it's a

13   beneficial project.

14        A    I think we've all testified and we're all in violent

15   agreement to that fact, that this is a good deal for the

16   customers from our side.

17        Q    And yet if you don't get the fuel treatment requested

18   here, there's some suggestion that you may analyze --

19        A    There's no suggestion.  I'm just saying --

20        Q    -- you may analyze your priorities and decide not to

21   do it.

22        A    I'm saying that any time we have anything -- you

23   know, I mean, if you want to treat it -- if you think about

24   base rates or whatever, those go through prioritization

25   processes.  I just don't know.  I'm just saying what we've been

FLORIDA PUBLIC SERVICE COMMISSION

107

1   chartered to do is to come up with what is the best value for

2   our customers and put that on the table and take it through

3   this process.  And that's what we're here doing today.

4        Q    Can you here and now name me one project that would

5   have a higher priority than making this uprate?

6        A    Well, hurricane hardening.

7        Q    I'm sorry?

8        A    In 2004, 2005 it would have been hurricane hardening.

9   I mean, again, there's many masters you're trying to serve.

10   We're trying to have the grid and system and our power plants

11   ready for hurricane hardening.  I don't know.  I'm just saying

12   right now those will go back through those processes and we'll

13   have to go through it.

14        Q    But you don't know right now.

15        A    That's correct.

16        Q    Okay.  Now you mentioned, I guess, the uniblade

17   rotors.  Were those the ones you referred to, I believe, in

18   your summary where you said that there were going to be, there

19   was going to be at least a 30-month lag time for ordering the

20   devices and then installing them?

21        A    Correct.  Uh-huh.

22        Q    Okay.  Now what is the total projected cost for the

23   rotor replacement, if you know?

24        A    For the rotors and the generator we have a fixed

25   price of approximately $90 million.

FLORIDA PUBLIC SERVICE COMMISSION

108

1        Q    $90 million?

2        A    Uh-huh.

3        Q    And that project is the, I guess from the, the

4   time -- when do you start spending the money that you

5   mentioned?  When will you start spending money on the rotors?

6        A    We're spending money right now.

7        Q    I see.  And the project will be greater than 12

8   months in duration of necessity?

9        A    To order the rotors, four to be installed in two

10   years, we have to commit millions of dollars this year.

11        Q    Okay.  Now if you know enough about utility

12   regulation in this regard, if the fuel clause recovery

13   requested in this petition is denied, isn't it true that during

14   the course of the construction of the repairs, that is the

15   replacement, that the company will earn allowance for funds

16   used during construction, interest on the cost of the rotors?

17        A    I'd rather Mr. Portuondo answer that.  I don't know

18   how that's set up.

19        Q    Okay.  Again, if you know, isn't it true likewise

20   that if the fuel clause recovery treatment requested in this

21   petition is denied, that upon the completion of the repairs,

22   the installation and when the rotors and the unit goes back

23   into service, isn't it true that that $90 amount, $90 million

24   amount will go into the company's rate base?  Do you know?

25        A    Again, I don't know.

FLORIDA PUBLIC SERVICE COMMISSION

109

1             MR. TWOMEY:  Okay.  That's all I have, Madam Chair.

2   Thank you.

3             CHAIRMAN EDGAR:  Thank you, Mr. Twomey.

4             Commissioners, are there any questions for this

5   witness at this time?

6             Commissioner Skop.

7             COMMISSIONER SKOP:  Thank you, Madam Chair.  I just

8   have a few questions.  I think some of those were, my questions

9   were addressed or fleshed out on cross-examination.

10             But, Mr. Roderick, your amended testimony answered

11   one of my key questions, and that was, again, between the

12   difference in the need determination which mentioned two phases

13   to the uprate versus the three phases in the, your amended

14   direct testimony.

15             Just with respect to that for my own knowledge, at

16   what point did Progress know that you would be able to do it in

17   three stages to the extent of the MUR that's going to happen in

18   2007?

19             THE WITNESS:  We basically had realized in some early

20   discussions we had with the Nuclear Regulatory Commission and

21   with our own staff about lessons learned from plants that had

22   went out and installed the MUR in early 2006 to, to not do that

23   with a steam generator replacement.  In the original plans we

24   had thought we were going to do that in the same outage as the

25   steam generator replacement.  The problem with that is you

FLORIDA PUBLIC SERVICE COMMISSION

110

1   change too many plant variables at the same time.  You're

2   changing steam flow from the steam generator replacement and

3   now you're changing how you measure it, and you're trying to

4   figure out which one is correct.  And so that's industry

5   operating experience that we in the nuclear industry use to try

6   to do that.  So really in January/February time frame 2006 is

7   when we made the decision to try to go ahead and split out

8   those costs into a separate phase.

9             COMMISSIONER SKOP:  Okay.  And as a follow-up to

10   that, what risk is there in any, in trying to accelerate being

11   able to procure and install the instrumentation that would

12   happen in the MUR in the earlier time frame in 2007?

13             THE WITNESS:  Well, I think our risk that we took to

14   go ahead and put it in there was we had to provide additional

15   management oversight, again making sure that some of the

16   fabrication mistakes that were made in the mid '90s and early

17   2000 time frames weren't replicated for ours.  That involved,

18   we put inspectors at the factory ensuring that the design was

19   fully adhered to, that the welding processes were adhered to,

20   that what we learned from our Robinson experience was not

21   repeated.  So that's really the biggest issue is management

22   oversight.

23             COMMISSIONER SKOP:  Okay.  Thank you.  And then my

24   second question relates to transmission, and some of that,

25   again, was a little bit fleshed out on cross-examination.  But

FLORIDA PUBLIC SERVICE COMMISSION

111

1   if I could draw your attention to your rebuttal testimony, Page

2   6, Lines 5 through 7, please.

3             THE WITNESS:  What was the page again?  I'm sorry.

4             COMMISSIONER SKOP:  It is -- I have on the rebuttal

5   testimony Page 6, Lines 5 through 7.

6             THE WITNESS:  Okay.

7             COMMISSIONER SKOP:  One of the points that I had a

8   question was with, and I think it was explained but I just want

9   to make sure that I have it correct, is that to gain system

10   flexibility for transporting additional power if CR3 was forced

11   offline, and that is the requirement that you spoke to about

12   having that capability to bring in additional power into the

13   grid, into Florida should that major generating asset be forced

14   offline for some reason.

15             THE WITNESS:  Yes, Commissioner.  It's not even just

16   to even bring it into Florida.  It may be move it from one side

17   of the State of Florida to the other side.  You just have to

18   have the -- you know, in mechanical engineering space it's the

19   pipes to be able to do that.  In this case we've got to have

20   the transmission corridor to be able to quickly bring that

21   power from somewhere it's not right now to replace it so that

22   the grid doesn't dip in voltage.

23             COMMISSIONER SKOP:  Okay.  And with respect to that,

24   I think Mr. McWhirter on cross-examination mentioned the

25   corridor in terms of Madison to Perry and that being

FLORIDA PUBLIC SERVICE COMMISSION

112

1   geographically distant from the generation site and Crystal

2   River.  And I understand the balancing, and, by all admission,

3   transmission is not my expertise and I think you mentioned it

4   wasn't yours.  Do you know if there will be any more direct

5   testimony that will be offered to maybe clarify that particular

6   point, that that is in fact the right thing to be doing to

7   provide that reliability balancing, if you will, if the uprate

8   were to go forward?

9             THE WITNESS:  Well, I mean, we certainly chartered

10   the transmission people to do that study.  And I can tell you

11   I, even though I may not be an expert in it, I have delved into

12   it because that is a bounding solution.  And certainly we've

13   got other things, everything from load management we're looking

14   at to other options to be able to do the same, same

15   characteristic, which is why I think at the end of the day our

16   transmission study will give us other options other than that

17   one.

18             COMMISSIONER SKOP:  Okay.  And I just have two more

19   quick questions on two related points.

20             With respect to the point of discharge and also in

21   your rebuttal testimony, Page 6 and Page 7, and I think it

22   begins with Line 20 on Page 6 and continues on Page 7, Lines

23   1 through 12, and that was also a point that was brought out in

24   the cross-examination.  In your direct testimony or your

25   rebuttal testimony you mentioned that a lot of that is due to

FLORIDA PUBLIC SERVICE COMMISSION

113

1   the additional heat content coming out associated with the

2   uprate.  I know that currently before the Commission that's

3   coming up in agenda conference, they're looking at the modular,

4   excuse me, modular cooling towers for CR1 and CR2, and I think

5   that's coming up next Tuesday, if my memory serves me

6   correctly.

7             But in that, in that request, and I have it, it's

8   Docket Number, I think, 060162-EI, they mention that the

9   justification provided is the increased inlet water from the

10   cooling canal into the, you know, the cooling towers to begin

11   with.  Is that also part of the argument?  I didn't see it

12   mentioned in your rebuttal, so I just want to make sure.  It

13   seems to me, you know, from an engineering perspective if your

14   inlet water temperatures are high to begin with, then you're

15   also going to need additional cooling to absorb the heat input

16   that would come from, you know, cooling the system prior to

17   being able to discharge it to maintain your environmental

18   permits.

19             THE WITNESS:  I mean, there's really two parts there.

20   One, the gentleman mentioned about a component that's going to

21   be replaced is our circulating water pumps at the waterfront.

22   There's two ways to -- either we're going to push more water

23   across it and dissipate that heat by more flow or we're going

24   to make the same amount of flow we have now hotter.  And so

25   we're going to do both.  We're actually going to push more

FLORIDA PUBLIC SERVICE COMMISSION

114

1   water across, which will dissipate the heat less per gallon of

2   water that flows.  So we're going to move the water faster with

3   these more efficient and better pumps.  And that's going to

4   solve what you're talking about is to try to take and recognize

5   that that inlet temperature coming in is, is changing and, and

6   deal with that going out by, by increasing the velocity through

7   the system.

8             COMMISSIONER SKOP:  And with respect to -- I think

9   the cost projected associated with the uprate for the POD is

10   $43 million.  Would you suspect that that would also be the

11   same cost with the CR1 and CR2 or is it different?

12             THE WITNESS:  This is, this is purely the incremental

13   resultant amount of heat we have to take out because of the

14   power uprate.  It leaves everything else being dealt with a

15   different way.  It just says incrementally we're going to add

16   this much heat and this is the best solution we have to be able

17   to get rid of that heat that we'll have left over.

18             COMMISSIONER SKOP:  Okay.  And then a final question.

19   I just want to follow up on a point that was raised by Mr. Brew

20   on cross-examination.

21             But with respect to some of the components mentioned,

22   and this gets to the question I had about the, the turbines

23   themselves in terms of the rotors, are they replacing the

24   entire rotor or are they just doing the first stage steam

25   buckets or looking at reblading the, you know, different stages

FLORIDA PUBLIC SERVICE COMMISSION

115

1   or the entire rotor replacement?

2             THE WITNESS:  It is an entire rotor replacement of

3   the stationaries and the rotors.  The stationaries also have to

4   be basically machined out and put new stationaries in as well.

5             COMMISSIONER SKOP:  Okay.  But are the casings going

6   to remain or is it just completely new turbines that are

7   coming?

8             THE WITNESS:  The outer casing will remain.  It just,

9   they'll be redesigned inside of that.

10             COMMISSIONER SKOP:  Okay.  And then with respect to

11   some of the other secondary loop components that were

12   mentioned, it seemed like that they were doing some substantial

13   replacement of those components in lieu of a modification.

14   And, you know, I'm okay with that just in principle.  But I'm

15   just wondering, I know that Progress has asserted Commission

16   precedent to the extent that the Commission previously allowed

17   FPL to recover in this manner for its thermal uprate to its

18   reactor.  And looking at the, in the order, the cost of that

19   uprate, I believe, was about $10 million as opposed to this,

20   which is a little bit more substantial, but this is a much

21   bigger uprate on a percentage of not only reactor power but

22   also some of the secondary loop components.

23             Do we know to what extent there's an apples-to-apples

24   comparison in terms of what they did on the turbine deck in

25   terms of replacement of components or modification of those

FLORIDA PUBLIC SERVICE COMMISSION

116

1   components?

2             THE WITNESS:  I mean, I don't know for sure.  I can

3   tell you you can't buy a turbine rotor for $10 million.  That

4   much I can tell you.  So, but, you know, the components are,

5   that we're talking about being replaced are all adding

6   capacity.  So all these components we're replacing, it's not

7   like we're putting one right back that just happens to be new.

8   We have to add flow through all those components.

9             COMMISSIONER SKOP:  Right.  Thank you very much.

10             CHAIRMAN EDGAR:  Commissioner Argenziano.

11             COMMISSIONER ARGENZIANO:  Thank you.  I have kind of

12   a strange microphone here, so I'm going to hold it for a while

13   here.

14             In regards to the water temperature increasing, I

15   guess, to the point where it could exceed the thermal permit

16   requirements, I just have a question.  Excuse me if I don't

17   grasp this, and maybe you can help me.  It says in your

18   testimony that optimal, "An optimal solution has not yet been

19   identified, but we have preliminarily assumed an estimated cost

20   of $43 million to address."

21             A couple of questions there.  How much heat are we

22   talking about, increased heat are we talking about?  And if you

23   don't have an optimal solution, how do you estimate a cost?

24             THE WITNESS:  Okay.  What we can do is we can

25   calculate what is the temperature change that's going to be

FLORIDA PUBLIC SERVICE COMMISSION

117

1   resultant from the power uprate.  And so when we talk two

2   degrees, basically a change in temperature, we can use existing

3   technology, what we already have at the plant with the, the

4   helper cooling towers that are already there, we could just

5   build another one of those and we could dissipate the heat that

6   way.

7             What we're looking at and working with the state DEP

8   with this is there's also other issues in play right now with

9   them with what's called 316 BRAVO, which is entrainment of

10   aquatic life.

11             COMMISSIONER ARGENZIANO:  Right.

12             THE WITNESS:  And so it may be, we might have to

13   address both of those issues as part of this project.  And so

14   that might be a different solution set than just building a

15   modular cooling tower, even though we're confident -- excuse

16   me, forget the word modular, I picked that up -- but another

17   helping cooler tower that's already there, just building

18   another one of those would take care of the power uprate.

19             COMMISSIONER ARGENZIANO:  So the cost of $43 million

20   is looking at building --

21             THE WITNESS:  It's building.  It's concrete and fans

22   and cooling.

23             COMMISSIONER ARGENZIANO:  Okay.  Even though you

24   haven't identified that as the optimal, that's where you get

25   the 43.

FLORIDA PUBLIC SERVICE COMMISSION

118

1             THE WITNESS:  That's correct.  What we, what we've

2   tried to do in every case is to come up with what we know to be

3   a technical solution that solves the problem and then work

4   backwards from those, those options.

5             COMMISSIONER ARGENZIANO:  Okay.  And second question,

6   third maybe at this point.

7             In increasing the speed of the water, are you then

8   running into environmental problems again?

9             THE WITNESS:  Absolutely.  I mean, it's -- and that's

10   why the other option we're looking at is possibly instead of

11   the water going back to the Gulf of Mexico, taking it to a

12   cooling tower and then returning it back to the plant.  So the

13   additional flow then is not seen by the Gulf of Mexico, nor is

14   the temperature because we're cooling it and then returning it

15   back to the intake.  And that also minimizes the impact on

16   marine and aquatic life because you're just pulling water in

17   once and you're using it twice.  And so, again, those are the

18   things that, that we're, we're very active.  And, again, we're

19   very committed to our environmental stewardship on this issue,

20   and so we're trying to find that balance of those issues, so.

21             COMMISSIONER ARGENZIANO:  And just to reiterate, you

22   said the degree that it may go up would be 2 degrees possibly?

23             THE WITNESS:  Well, right now we're not allowed to

24   take it up any.  And so our, our solution is that the Gulf of

25   Mexico is not going to see the power uprate.  The estimates

FLORIDA PUBLIC SERVICE COMMISSION

119

1   that we have in here are to accomplish that so that you're not

2   going to see it.  It's just --

3             COMMISSIONER ARGENZIANO:  It would remain the same.

4             THE WITNESS:  You know, we looked at whether or not

5   there was a possibility based on studies, evaluations of

6   raising the existing permit.  I just don't think that's going

7   to be possible.

8             COMMISSIONER ARGENZIANO:  Thank you.

9             CHAIRMAN EDGAR:  Commissioners, any other questions?

10             Commissioner McMurrian.

11             COMMISSIONER McMURRIAN:  I have one quick follow-up.

12             Is the $43 million that Commissioner Argenziano was

13   asking you about, is that also a bounding estimate?

14             THE WITNESS:  Well, it's what we believe right now to

15   be, to be a reasonable estimate based on not having our study

16   finished.  And, you know, again, in this process all of us

17   would like to have all the definitive costs before we study it.

18   But our study right now has -- you know, again, I think we're

19   finding that we have solutions.  I still believe there's an

20   issue that we still have to work through with the DEP on how to

21   deal with possible 316 BRAVO issues on, on aquatic life.  And

22   so those are all technically solvable, but it could change the

23   cost a little bit.

24             And throughout this project, and, you know, I said

25   that from my original testimony on, there's going to be some

FLORIDA PUBLIC SERVICE COMMISSION

120

1   things that we overestimated, there's going to be some that we

2   underestimated.  Steel prices change.  But overall as the

3   numbers have come in, we're still, we're still within what we

4   had said we could deliver the 180 megawatts for.  And we wanted

5   the megawatts to be pessimistic and we wanted the -- or, excuse

6   me.  We wanted the megawatts to be -- we think we'll get more

7   than 180 megawatts and we think the cost is going to, is going

8   to be in that, in that close area, but I need to finish the

9   studies to be able to, to say that.

10             COMMISSIONER McMURRIAN:  So just to clarify, unlike

11   the $89 million with respect to the transmission that is a

12   bounding estimate, the $43 million could get bigger or smaller.

13             THE WITNESS:  It could get bigger.  Because the

14   transmission fix we can do within us; I don't need the DEP, I

15   don't need anybody else, I just need to go put up towers and

16   wire.  When I, when I get into the environmental issue, there's

17   just a lot more at stake.  And so it's going to -- that's why

18   I'm a little less confident about exactly what that's going to

19   look like right now.

20             CHAIRMAN EDGAR:  Commissioners?  Questions from

21   staff?

22             MS. BENNETT:  No, Madam Chair.

23             CHAIRMAN EDGAR:  No questions.  Questions on

24   redirect?

25             MS. TRIPLETT:  Yes, very brief.  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

121

1                        REDIRECT EXAMINATION

2   BY MS. TRIPLETT:

3        Q    Mr. Roderick, Ms. Christensen asked you some

4   questions about the NRC approval for the MUR phase.  Do you

5   have any reason to expect that you will not get NRC approval by

6   the time the MUR phase is implemented?

7        A    I don't.  We've been in very, very close contact with

8   them.  Obviously it's hard for us to commit on behalf of the

9   federal government.  You know, we are working with them and

10   we're staying in contact with them and turning around questions

11   they have very quickly.  So I have confidence we're going to

12   have it.

13        Q    There were also several questions from Intervenors

14   about PEF's cost estimates.  Did anything anyone asked you

15   today change your opinions about the reasonableness of PEF's

16   cost estimates for this project?

17        A    No.

18        Q    And if you could, how does -- PEF's process for

19   estimating the costs in this project, how does that compare to

20   the process you would use for other projects that the company

21   is considering?

22        A    I mean, we used a very, very consistent process.

23   We've, we've tried to be conservative on the megawatts because

24   we don't want to overstate what we think the savings are going

25   to be to the customer.  But they're very -- the way we estimate

FLORIDA PUBLIC SERVICE COMMISSION

122

1   is normal business for us.

2             MS. TRIPLETT:  Thank you.  No further questions.

3             CHAIRMAN EDGAR:  Thank you.

4             Okay.  Let's take up the exhibits.

5             MS. TRIPLETT:  Yes, ma'am.  DLR-1, 2 and 3, and it

6   looks like it's hearing Exhibits 2 through 4.

7             CHAIRMAN EDGAR:  Yes.  2, 3, 4 on the comprehensive

8   exhibit list.  Seeing no objections --

9             MR. McWHIRTER:  FIPUG would like to proffer Exhibit

10   20 for identification.

11             CHAIRMAN EDGAR:  Okay.  2, 3 and 4 will be admitted

12   into the record.

13             (Exhibits 2, 3 and 4 marked for identification and

14   admitted into the record.)

15             FIPUG had distributed an excerpt from the report that

16   is listed on the comprehensive exhibit list as 20.  To me, it

17   does look on the list like that's the entire report and what we

18   have here before us, I believe, are three pages of it.  Do we

19   need to clarify?

20             MS. BENNETT:  Yes.  We can change to Excerpt of 2006

21   Ten-Year Site Plans dated December 2006.

22             CHAIRMAN EDGAR:  Mr. McWhirter, is that consistent

23   with your intention?

24             MR. McWHIRTER:  Yes.

25             CHAIRMAN EDGAR:  It is?  Okay.  Any objection?

FLORIDA PUBLIC SERVICE COMMISSION

123

1             MS. TRIPLETT:  Just to be clear, he's identifying,

2   he's not asking for it to be entered as an exhibit?

3             CHAIRMAN EDGAR:  Okay.  My understanding of the

4   request is that we slightly amend the description of the

5   Exhibit 20 on the comprehensive exhibit list to be more in

6   keeping with the excerpt that was distributed and that,

7   therefore, this excerpt would be admitted into the record

8   rather than the entire report.

9             Mr. McWhirter, is that accurate with your intention?

10             MR. McWHIRTER:  Yes, that's correct.

11             CHAIRMAN EDGAR:  Okay.  Ms. Triplett, any objection?

12             MS. TRIPLETT:  Well, I don't think -- when

13   Mr. McWhirter was asking Mr. Roderick about this exhibit, he

14   didn't know anything about it.  So I'm not sure the basis for

15   admitting it into evidence at this point.

16             CHAIRMAN EDGAR:  Mr. McWhirter?

17             And, Ms. Triplett, you're referring to the discussion

18   between Mr. McWhirter and the witness about the paragraph

19   labeled North Florida Transmission Study?

20             MS. TRIPLETT:  Yes, ma'am.

21             MR. McWHIRTER:  The way it stands is I requested that

22   the Commission take official notice of its own staff report,

23   and it was stipulated that that would be acceptable with the

24   proviso that there could be objections to its relevance.  The

25   objection now has changed to the fact that this witness says he

FLORIDA PUBLIC SERVICE COMMISSION

124

1   doesn't know anything about it.  But, nonetheless, it's still

2   an official report of the staff of the Public Service

3   Commission and it relates to transmission problems in the

4   northern part of the State of Florida and it's relevant.  And

5   even though this witness doesn't know anything about it, I

6   think it's admissible into evidence.

7             MR. TWOMEY:  May I weigh in, Madam Chair?

8             CHAIRMAN EDGAR:  I'm sorry.  Oh, Mr. Twomey.  Yes,

9   sir.

10             MR. TWOMEY:  Just briefly.  That was my understanding

11   too from the prehearing conference that there was a discussion

12   about official notice and everything, and I was of the belief

13   that it was resolved by the decision that, in the agreement

14   that they would be stipulated in.  And it strikes me that if

15   that's correct, that it's not, it shouldn't be relevant which

16   witness it comes in on.  But I thought we had a stipulation it

17   would come in.

18             CHAIRMAN EDGAR:  Well, not having engaged in that

19   conversation, I'm going to ask for some clarification.  So let

20   me start with Mr. Walls and then I'll come back, Ms. Helton, to

21   you.

22             Mr. Walls.

23             MR. WALLS:  We have no objection to taking official

24   notice of what was clearly a Public Service Commission

25   document.  I think what Ms. Triplett was making clear was there

FLORIDA PUBLIC SERVICE COMMISSION

125

1   was no relevance established with this witness about how this

2   document was coming in or how it would be used with this

3   witness.  And so if he has further questions with other

4   witnesses that may know something about this document, we

5   certainly have no objection to him raising it at that time.  We

6   didn't see any relevance established for this document coming

7   in with this witness.  He didn't know anything about it.

8             CHAIRMAN EDGAR:  Ms. Helton.

9             MS. HELTON:  Just for the record, let me read to you

10   from the prehearing order on Page 26, which I believe reflects

11   Commissioner Carter's ruling as the Prehearing Officer.

12             "The parties stipulated that the items included in

13   FIPUG's motion for official recognition will be included in the

14   comprehensive exhibit list to be entered into the record.

15   Parties reserve the right to object to the relevancy of each

16   document."

17             I believe that Ms. Triplett's objection concerning

18   the excerpt here dealt with lack of foundation.  My

19   recollection is that I don't think that Mr. McWhirter did lay a

20   foundation to enter the exhibit into the record.  So my

21   suggestion, Madam Chairman, would be that there has not been a

22   foundation laid.

23             CHAIRMAN EDGAR:  Mr. McWhirter, do you have potential

24   questions for the next witnesses that, that may --

25             MR. McWHIRTER:  Yes, ma'am.

FLORIDA PUBLIC SERVICE COMMISSION

126

1             CHAIRMAN EDGAR:  -- bring us back to this document?

2             MR. McWHIRTER:  Yes, ma'am.

3             CHAIRMAN EDGAR:  Would you like to -- how about we

4   hold off on admitting it until we get to those questions at

5   that point in time.

6             MR. McWHIRTER:  That's satisfactory.

7             CHAIRMAN EDGAR:  Okay.  All right.  Then the excerpt

8   that is labeled Exhibit 20 is not admitted into the record as

9   of this time.

10             Any remaining matters with this witness?  Seeing

11   none, the witness is excused.  Thank you very much.

12             MS. TRIPLETT:  Madam Chair, may he be dismissed?

13             CHAIRMAN EDGAR:  Ms. Triplett.

14             MS. TRIPLETT:  May he be dismissed from the

15   proceeding?

16             CHAIRMAN EDGAR:  He may be dismissed.

17             MS. TRIPLETT:  Thank you.

18             CHAIRMAN EDGAR:  Thank you.  Okay.  Let's take a

19   short stretch.  When we come back we will take up your next

20   witness.  About 12 minutes.

21             (Recess taken.)

22             We are back on the record and you may call your next

23   witness.

24             MS. TRIPLETT:  Progress Energy Florida calls Samuel

25   Waters to the stand.

FLORIDA PUBLIC SERVICE COMMISSION

127

1                          SAMUEL S. WATERS

2   was called as a witness on behalf of Progress Energy Florida

3   and, having been duly sworn, testified as follows:

4                         DIRECT EXAMINATION

5   BY MS. TRIPLETT:

6        Q    Would you please introduce yourself to the Commission

7   and provide your address?

8        A    My name is Samuel S. Waters.  My business address is

9   100 East Davie Street, Raleigh, North Carolina 27601.

10        Q    Who do you work for and what is your position?

11        A    I'm employed by Progress Energy Carolinas as Director

12   of System Planning and Regulatory Performance.

13        Q    Have you filed prefiled amended direct testimony and

14   exhibits in this proceeding?

15        A    Yes, I have.

16        Q    Do you have your prefiled testimony and exhibits with

17   you?

18        A    Yes.

19        Q    Do you have any changes to make?

20        A    I do not, with the exception of the address I just

21   gave is different than the address in my direct testimony.

22   I've changed offices since I filed the testimony.

23        Q    And if I asked you the same questions in your amended

24   prefiled testimony today, with the exception of the address,

25   would you give the same answers that are in your prefiled

FLORIDA PUBLIC SERVICE COMMISSION

128

1   testimony?

2        A    Yes.

3             MS. TRIPLETT:  We request that the prefiled testimony

4   as amended by the witness regarding his address be moved into

5   evidence as if it was read in the record.

6             CHAIRMAN EDGAR:  The amended prefiled direct

7   testimony will be entered into the record with the correction

8   noted by the witness as if read.

9             MS. TRIPLETT:  Thank you.

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

142

1   BY MS. TRIPLETT:

2        Q    Mr. Waters, do you have a summary of your amended

3   prefiled testimony?

4        A    Yes, I do.

5        Q    Would you please summarize your testimony for the

6   Commission?

7        A    Yes.  Good afternoon, Commissioners.  The Crystal

8   River 3 power uprate will provide customers substantial fuel

9   savings of over $2.6 billion for the extended life of Crystal

10   River 3.  It will enhance fuel diversity on Progress Energy

11   Florida's system and in the State of Florida.  The Crystal

12   River 3 power uprate provides retail customers an estimated net

13   fuel savings benefit when compared to the costs of the power

14   uprate of $320 million on a net present value basis.

15             In addition, Progress Energy Florida's customers

16   receive additional reliable baseload capacity from the lowest

17   cost fuel generation source available to PEF.  All of these

18   benefits demonstrate the clear value of the CR3 power uprate to

19   PEF's customers and support the company's request that the

20   Commission grant its petition for cost recovery.

21             By increasing the amount of power available from

22   Crystal River 3, additional energy will be produced.  Because

23   nuclear energy is the lowest cost energy available to the

24   system, this additional nuclear energy will displace energy

25   from other higher cost generation sources that would otherwise

FLORIDA PUBLIC SERVICE COMMISSION

143

1   be used to meet the total demand for electricity.  This will

2   result in substantial fuel savings which translates into lower

3   fuel charges to customers.  Using a detailed production costing

4   model I calculated the expected savings resulting from the

5   combined uprates of 12 megawatts in January of 2008,

6   28 megawatts in December of 2009, and 140 megawatts in November

7   of 2011.  The total nominal fuel savings for the years 2009

8   through 2025 are more than $1.4 billion.  If we look out

9   through 2036 when the license extension for Crystal River 3

10   will end, we expect nominal savings to exceed $2.6 billion.

11   Reduced to net present value, this represents fuel savings of

12   about $640 million to Progress Energy Florida's customers.

13   With the uprate costs taken into account, the expected net

14   benefit to customers is $320 million.

15             The need for the Crystal River 3 power uprate project

16   is an economic one, not a reliability need.  The total nominal

17   fuel savings will exceed $2.6 billion, and the present value of

18   net savings to retail customers will be approximately

19   $320 million.  There is no other generation alternative

20   available to the company that can provide an additional

21   180 megawatts of reliable baseload energy at a net savings to

22   Progress Energy Florida's customers.  The CR3 uprate project is

23   beneficial to customers and the company's petition should be

24   approved.  Thank you.  That concludes my summary.

25             MS. TRIPLETT:  We tender Mr. Samuel Waters for

FLORIDA PUBLIC SERVICE COMMISSION

144

1   cross-examination.

2             CHAIRMAN EDGAR:  Thank you.

3             Mr. McGlothlin.

4                          CROSS EXAMINATION

5   BY MR. McGLOTHLIN:

6        Q    Mr. Waters, one component of the calculation of fuel

7   savings that you are sponsoring would be the cost of the uprate

8   project; is that correct?

9        A    That's one component of net savings.  That's true,

10   yes.

11        Q    And that would incorporate the, the cost of the MUR

12   portion, the cost of the steam efficiency portion and the cost

13   of the enhancement to the nuclear core; is that correct?

14        A    As I understand the definition of those projects,

15   that's correct.

16        Q    Also the cost of the transmission upgrades associated

17   with the project?

18        A    Yes.

19        Q    And the point of discharge aspect of the project?

20        A    Yes.

21        Q    Now do I understand correctly that those estimates of

22   costs were provided to you, that you did not independently

23   estimate the costs?

24        A    That's correct.

25        Q    Would you agree that the accuracy of your calculation

FLORIDA PUBLIC SERVICE COMMISSION

145

1   of fuel savings depends on the accuracy of the estimates that

2   went into, estimates of costs that went into it?

3        A    Yes.  I think that's always the case.  These are

4   estimates based on forecasts and estimates.  That's true.

5        Q    And another component of the calculation of fuel

6   savings would be the assumptions you incorporated regarding the

7   cost of fuel in the future; correct?

8        A    That's correct.

9        Q    And we're speaking not only of nuclear fuel, but also

10   of oil, gas, coal, all fuels that are consumed by the company

11   in producing electricity over time.

12        A    Yes, that's correct.  And all of our estimates are

13   consistent with our normal planning process and the way we

14   develop our resource plan that goes into the Ten-Year Site

15   Plan, for example.

16        Q    Now with respect to your reference to the normal

17   planning process, do I understand correctly that typically the

18   company prepares a fuel forecast covering 20 years for its

19   general corporate purposes?

20        A    Yes.  Generally that's correct.

21        Q    And that's why you have as one reference point the

22   year 2025 because that's as far into the future as the 20-year

23   forecast of fuel prices extends; correct?

24        A    That's correct.

25        Q    But you've also included values extending through

FLORIDA PUBLIC SERVICE COMMISSION

146

1   2036 because that is the expected life of the project or the

2   expected termination point of the license to operate the

3   nuclear unit; correct?

4        A    The extended license, yes.

5        Q    Now do I understand correctly that with respect to

6   the years after 2025 and through 2026 the company has not

7   prepared a forecast of fuel prices per se, and so you therefore

8   simply trended through 2036 the, the patterns that you saw

9   prior to that point in time?

10        A    That's correct.  We trended the last ten years based

11   on the fuel savings we saw generated in the earlier years.

12        Q    So for each of the years 2026 through 2036 there is

13   no effort at analysis or rationale or expectation per se for

14   the price of fuel that's attributed to those years.

15        A    To clarify, when you say there's no rationale, I

16   think the rationale is a trending based on what we see in fuel

17   price trends prior to that time and the production cost model

18   prior to that time.  So there is a rationale to it, but it is

19   not based on specific fuel price forecast during that period.

20   That is true.

21        Q    Would you agree that with respect to projections of

22   fuel costs, the farther into the future one projects, the

23   greater the uncertainty attached to that projection?

24        A    Generally I would agree.  And I think, just to be

25   clear, that's the whole purpose of net present valuing.  It

FLORIDA PUBLIC SERVICE COMMISSION

147

1   places more weight on the early years than on the later years.

2   So while we're more uncertain of the later years in the

3   analysis, the value added in the later years is heavily

4   discounted in the, in the net present value calculation.

5        Q    So would the answer to my question be, yes, there's a

6   greater uncertainty?

7        A    Yes.  Yes.

8        Q    If you know, would you agree that one justification

9   for a special cost recovery clause mechanism for recovering

10   fuel costs is the volatile nature and the unpredictable nature

11   of such costs?

12        A    I don't know.  I think any cost recovery questions

13   would have to be directed to Mr. Portuondo.

14        Q    You have no opinion on whether that's one of the

15   justifications cited for having a separate fuel clause?

16        A    I don't know.

17        Q    If you know, did the estimates of project costs that

18   were provided to you take into account the impact of

19   retirements of existing facilities?

20        A    I do not know.

21        Q    If you know, did the estimates of cost, project costs

22   provided to you take into account the impact of the project on

23   decommissioning costs?

24        A    There was nothing explicit in those estimates, so I'm

25   not aware of any.

FLORIDA PUBLIC SERVICE COMMISSION

148

1        Q    In your prefiled testimony and also in your summary

2   you referred to some nominal values and also to net present

3   value of fuel savings.  And the notes I took were that through

4   2025 the projection is that there will be 1.4 billion nominal

5   dollars of fuel savings and through 2036 the expectation is

6   that figure will be $2.6 billion nominal; is that correct?

7        A    Yes.  The $1.4 billion is through 2025.  $2.6 billion

8   through the 2036 period.

9        Q    Now do I understand correctly that the term "nominal"

10   means that one values a dollar in 2025, say, to use an example,

11   in the same manner that one, a person would view it in the Year

12   2025?

13        A    I don't want to confuse the issue, but a dollar is a

14   dollar.  Nominal dollars is just simply adding up the dollars

15   spent in each year without any recognition that a dollar in

16   2025 might be less valuable than the dollar today or have less

17   buying power, for example.

18        Q    But, in fact, the expectation is that a dollar in

19   2025 will be less valuable than a dollar in 2007; correct?

20        A    That's where the net present valuing comes in.

21   That's what we do is discount it.

22        Q    Yes, sir.  A step at a time.

23             Do I understand correctly that the dollar in 2025 is

24   deemed to be less valuable than a dollar in 2007?

25        A    In the economic analysis, that would be correct.

FLORIDA PUBLIC SERVICE COMMISSION

149

1        Q    And so when you're speaking in terms of nominal

2   dollars, the nominal dollars do not take into account the time

3   value of money and the fact that in 2007 a future dollar is

4   worth less than a dollar currently.

5        A    That's correct.

6        Q    And when you speak in terms of $320 million, that is

7   the result after applying the discount to recognize the time

8   value of money and to reduce the value of nominal dollars to

9   the present.

10        A    Yes.

11        Q    Would you agree --

12        A    Although, just to be clear, that's not the equivalent

13   of the $2.6 billion.  When you say the $320 million, you're

14   talking about the net savings number?

15        Q    Yes.

16        A    Okay.  It's not -- the $2.6 billion is nominal fuel

17   savings.  The $320 million is net present value net savings,

18   which includes the cost.  I believe the comparable number to

19   the $2.6 billion is about $640 million.

20        Q    Yes.  Thank you for that correction.  I do have that

21   note.

22             And so the, the net present value of the nominal

23   dollars projected for fuel savings represents the discounting

24   of all those fuel savings through 2036; correct?

25        A    Correct.

FLORIDA PUBLIC SERVICE COMMISSION

150

1        Q    Including the 11 or 12 years for which there is no

2   explicit forecast of the fuel prices and for which you simply

3   applied a trending approach to, to arrive at a value there.

4        A    That's correct.

5        Q    Are you familiar with the concept of a midcourse

6   correction that is used in the regulatory proceedings before

7   the PSC?

8        A    Generally, yes.

9        Q    And would you agree with me that a midcourse

10   correction is the procedure used when a forecast of fuel prices

11   in the next year is off by 10 percent or more and there is a

12   need to make an adjustment?

13        A    I'm not intimately familiar with the conditions that

14   generate a midcourse correction.  But to be clear, I would say

15   I think you're talking about fuel costs rather than fuel

16   prices.  It's not just the fuel prices that might be off, it's

17   the generating patterns.  There are any number of reasons that

18   total fuel cost on the system might be off 10 percent or more

19   beyond prices.

20        Q    Would it be fair to say that in projecting fuel

21   savings you take into account not only fuel prices but also

22   everything else that affects fuel costs?

23        A    Yes.

24             MR. McGLOTHLIN:  No further questions.

25             CHAIRMAN EDGAR:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

151

1             Mr. Wright.

2             MR. WRIGHT:  No questions, Madam Chairman.  Thank

3   you.

4             CHAIRMAN EDGAR:  Mr. McWhirter.

5                          CROSS EXAMINATION

6   BY MR. McWHIRTER:

7        Q    Mr. Waters, you stated that the nominal fuel savings

8   will be $2.6 billion.  What percent of the total amount of

9   money spent on fuel is $2.6 billion?

10        A    I really don't know.  I haven't done that

11   calculation.  I'd have to go back and look at the total over

12   the 30-year period.

13        Q    Well, in the current year what is your company

14   spending in total for fuel?

15        A    I don't know the exact number.  That would be part of

16   our fuel cost recovery filing.

17        Q    If you'll look at your testimony entitled -- on

18   May 4 you had an Exhibit SSW-1.

19        A    Yes.

20        Q    And your total fuel costs there without the uprate is

21   what amount of money for the year 2008?

22        A    2008 without the uprate is a little over $3 billion.

23        Q    So would it be unfair to assume that if you

24   multiplied that number by 30 years, you'd come up with

25   something like $90 billion even if there's no increase in fuel

FLORIDA PUBLIC SERVICE COMMISSION

152

1   costs?

2        A    You could do that, sure.

3        Q    And would it also be fair to say that $2.6 billion is

4   a relatively small percentage of the total fuel costs that will

5   be expended over that period of time?

6        A    I would not characterize it that way.  Small is in

7   the eyes of the beholder, I guess.  I would characterize

8   $2.6 billion as a substantial savings.

9        Q    And that's the savings that occur before you take

10   into consideration the capital cost expended to achieve those

11   savings; is that correct?

12        A    That's correct.  The $2.6 billion is just fuel

13   savings.

14        Q    So to be fair, you don't have to take into

15   consideration the amount of money that you spend in order to

16   get those savings.  And when you redo the calculation, it's not

17   $2.6 billion, but it's something like $320 million over 36

18   years?

19        A    That is the net present value.  That's not really

20   redoing the calculation.  It's recognizing the time value of

21   money and saying that's the net savings to customers.

22        Q    Go to Page -- I'm looking at your May 4th testimony,

23   and on Page 6 of 13 at Line 11 you say that existing capacity

24   includes one 788 megawatt nuclear steam unit.  But in this case

25   we talked about a 900 megawatt steam unit being upgraded to

FLORIDA PUBLIC SERVICE COMMISSION

153

1   1,080.  What is the reason for the use of 788 megawatts?

2        A    Just following that statement, the parenthetical on

3   Lines 11 and 12, it says it reflects the company's ownership

4   interest in CR3.  The unit is a 900-megawatt unit.  The portion

5   that we own and that is dedicated to our customers, Progress

6   Energy Florida's customers, is 788 megawatts.

7        Q    And the proposal before this Commission is that the

8   Florida retail customers pay the entire cost of the uprate?

9        A    The proposal is both -- yes.  The proposal is both

10   that they would pay for the uprate, but they would also receive

11   all the benefits of the uprate the way the analysis has been

12   done.  So there is a one-to-one correspondence there between

13   the cost and the benefits.

14        Q    How are you able to cut off your co-owner share of

15   their entitlement to energy coming out of that unit?

16        A    I don't think there's any suggestion we've cut off

17   the co-owner share.  This question probably would have been

18   better addressed to Mr. Roderick, but there are discussions on

19   going with co-owners to see how the co-ownership shares will be

20   resolved.

21             We've presented it as if we have owned the entire

22   share.  It is possible going forward that the co-owners may

23   decide to take their ownership share of the uprate also.

24        Q    So if they do, ultimately the costs that you will

25   seek to collect from retail consumers will be less?

FLORIDA PUBLIC SERVICE COMMISSION

154

1        A    That would be correct.

2        Q    On that same page at Line 20 you talk about

3   414 megawatts from coal-fired Miller and Scherer plants in

4   Georgia; is that correct?

5        A    Yes.  I believe the Miller plant is actually in

6   Alabama, but they are Southern Company units.

7        Q    My recollection of the testimony when those contracts

8   were approved was that the energy you were purchasing was not

9   all coal but there was some combined cycle energy that was

10   included in those plants; is that correct?

11        A    I think the difference is the current contract, what

12   we're buying from today, and you're probably thinking of the

13   contract extension which goes from 2010 on, there is a combined

14   cycle portion piece beyond 2010.

15        Q    Of the -- after 2010, of the 414 -- are you still

16   purchasing 414 megawatts?

17        A    I believe the total is about 424 megawatts.  It's

18   350 megawatts from the Scherer units and about -- or, excuse

19   me, 350 megawatts from the Franklin combined cycle and

20   74 megawatts roughly from the Scherer facility.

21        Q    So the vast amount of the energy that will be coming

22   to Florida from Georgia will, will be from a gas-fired combined

23   cycle unit rather than a coal-fired unit; is that correct?

24        A    I can say the vast majority of the capacity.  Energy

25   I'd have to look at because combined cycle obviously doesn't

FLORIDA PUBLIC SERVICE COMMISSION

155

1   run all hours.  But I would say that probably most of the

2   energy, although not the vast majority, is coming from the

3   combined cycle.

4        Q    And these combined cycle plants in Georgia, in order

5   to get a firm commitment that you will be entitled to that

6   power, do you have to make a capacity payment?

7        A    Yes.

8        Q    So what, what is the term of that contract?  Is it

9   another ten years or shorter?

10        A    It's a five-year contract with an option to extend

11   the combined cycle portion of it two years beyond the five-year

12   term.

13        Q    And how did you take those plants into consideration

14   when you made your calculations with respect to fuel savings?

15        A    They are basically in both the study without the

16   uprate and the study with the uprate.  In other words, they are

17   part of the resource plan because they're under contract.

18        Q    You're planning to purchase that power for the next

19   30 years or for a shorter period of time?

20        A    No.  It would be a shorter period of time.  And

21   the -- what we would do in the resource plan is when contracts

22   expire, we show a self-build replacement typically for the

23   contract in the plan.

24        Q    So the contract will expire in 2015 and you're going

25   to replace that with a plant that you're going to build; is

FLORIDA PUBLIC SERVICE COMMISSION

156

1   that correct?

2        A    Just to be very precise, I think the, the combined

3   cycle portion of the contract is assumed to extend because we

4   do have that option.  And at that point, which would be around

5   2017, we would be showing replacement for that capacity.

6        Q    What consideration did you give to the capacity

7   payments that you're making to Georgia when you calculated the

8   fuel savings?

9        A    None, because it's the same fixed cost in both the

10   case with the uprate and without the uprate.  So basically when

11   we're looking for a differential, which is what we're calling

12   the net savings here, the differential in payments would be

13   zero.  We pay both ways.

14        Q    Let me think out loud along with you.

15             Is it your proposition that you can build a power

16   plant and pay the full cost of that power plant, and then build

17   another power plant that's less expensive and pay the full cost

18   of that power plant so you're making payments on two power

19   plants, but sometimes you can back down the power from number

20   one and generate savings by running the other one full bore,

21   but you don't have to consider the capital costs that go into

22   the first power plant?

23        A    Not as a change.  I mean, looked at -- let me see how

24   I can explain the overall power system.  Just take in the

25   extreme, for instance, combustion turbines on the, on the

FLORIDA PUBLIC SERVICE COMMISSION

157

1   system, they're there for reliability, they only run a few

2   hours a year.  Obviously the fixed cost of that gets paid

3   throughout the year.  The energy cost is only a few hours a

4   year.  The fact that they may run 100 hours or 200 hours in

5   different scenarios, we capture the energy impact of that.  But

6   the fixed cost component of that is irrelevant in looking at

7   two different scenarios because it is a fixed cost.  The gas

8   turbines are already there and already being paid for in both

9   scenarios.  You can't back out existing capacity or for that

10   matter existing contracts; you can't just stop paying because

11   you've done something after that.

12        Q    Well, you just entered into these contracts last

13   year, didn't you?

14        A    The extension?

15        Q    Yeah.

16        A    I have to look.  I think the contracts were done at

17   the end of 2005, but I'd have to go back and look at the exact

18   date.

19        Q    But at that point in time you made a decision to buy

20   power from Georgia and then at a later time you made a decision

21   to add 180 megawatts to your Florida nuclear plant; is that

22   correct?

23        A    At a later time, that's correct.  I mean, that's,

24   that's always part of the planning process.  There are always

25   things that happen at a later date.  The decision to extend a

FLORIDA PUBLIC SERVICE COMMISSION

158

1   contract or pursue a self-build option is made on the available

2   alternatives at the time, and we pursue what is going to be

3   lowest cost to customers at that time.

4             We can't forego a decision on the premise that

5   something better may come along at a later date.  Because we

6   have to commit, for example, in the case of the Southern

7   contracts, we're talking about it extending in the year 2010.

8   The alternatives we knew about at that time to that contract

9   would have been self-build options which required at least the

10   amount of time between 2006 and 2010 to complete, for example,

11   adding combustion turbines or combined cycle instead of

12   extending that contract.  We would have had to act at that time

13   to pursue those alternatives.

14        Q    Well, you are going to finish this plant in 2011.

15   Could the nuclear uprate have been used to improve your

16   reliability in lieu of the purchases in Georgia?

17        A    No.  It was not an option at that time.  It also

18   is -- it's 180 megawatts versus the 414 megawatts we're talking

19   about, so it would only fill part of the capacity.  Even if

20   we'd known about it, it would have only filled part of that

21   capacity need.  But it was not -- it was not in consideration

22   at the time we did the Southern contract.

23        Q    Well, the fact that this plant is in existence

24   enabled you to postpone or -- yeah, postpone the construction

25   of 140 megawatts of power within your own service area?

FLORIDA PUBLIC SERVICE COMMISSION

159

1        A    Well, it's 180 megawatts.  And I think, yes, the

2   answer in the long run is that it eventually will take the

3   place of the equivalent of 180 megawatts of capacity in our

4   system.

5             Let me explain that a little.  I think the, one of

6   the problems we have here is the project is so large it tends

7   to confuse whether it's a capacity addition or an energy

8   addition.

9             If we look at the phases, for example, the first

10   12 megawatts, I don't think there's much question that it

11   provides an energy benefit and it probably is not a capacity

12   addition because we, our load is growing about 200 megawatts a

13   year.  So 12 megawatts is not going to meet even one year's

14   load growth.  Even the 40 megawatts, the first two phases,

15   would not do that.  It's not until you get to the third phase

16   where it becomes large enough you might consider it a capacity

17   addition.

18             What I can say about this though that differentiates

19   it from all the other, the contracts, the self-build options

20   and so on, this provides net fuel savings beyond the cost of

21   the project.  New generating units that we add to meet the

22   20 percent reserve margin do not do that.

23             Put another way, if I had not one megawatt of need

24   going forward, my load was not growing, I had no need for new

25   capacity, this project would still make sense to save customers

FLORIDA PUBLIC SERVICE COMMISSION

160

1   money because it provides energy savings and fuel savings on

2   the system.

3        Q    But according to your studies, you do, in fact, have

4   need to build additional capacity, don't you?

5        A    Yes.  And I've referenced that in my testimony.  I

6   say that is an additional benefit to this 180 megawatts.  We're

7   not denying that it contributes to capacity; it does, and that

8   is an additional benefit.  But the primary benefit here and the

9   primary purpose here is an economic benefit to customers.

10        Q    In your department do you have any responsibility

11   over the requirement to construct transmission lines as well as

12   generation?

13        A    As you've asked the question, I currently do as of

14   April for the Carolinas.  I have no responsibility for Florida

15   transmission.  At the time this study was done in the part of

16   it I oversaw I did not have any responsibility for transmission

17   and still don't in Florida.

18        Q    And do you know of your own knowledge whether or not

19   the energy that flows from Georgia to Florida comes over the

20   transmission line that's part of this uprate case?

21        A    The, if the line was built -- I guess to be clear,

22   since the line doesn't exist, I can't say any power flows from

23   Georgia at this point.  If the line was built, there may be

24   some megawatts that flow over that line.  I don't know.

25             The purpose of the line, I think, as Mr. Roderick

FLORIDA PUBLIC SERVICE COMMISSION

161

1   made clear, has to do with a reliability concern of what

2   happens when the unit trips offline and we have an

3   instantaneous response in the system.  As he described it, the,

4   the interconnected grid, really the whole east coast of the

5   U.S., all the generating units are set up to automatically

6   respond to contingency loss of units.  We have to have

7   transmission capability to deliver that when those

8   contingencies occur, and that's really what we're talking about

9   here is the transmission required to do that.

10        Q    Well, you're the one that's responsible for filing

11   the Ten-Year Site Plan for your company, and do you pay

12   attention to the staff review that is given to that Ten-Year

13   Site Plan?

14        A    Yes.

15        Q    And are you aware that the staff review in 2006 had

16   some concern about transmission constraints in North Florida?

17        A    I saw the exhibit that was passed out previously and

18   I'm aware that they've referenced it.  But I'm not aware of any

19   relationship at all to the current discussion and the projects

20   we're talking about.

21        Q    Have -- your company is obviously the only one that

22   has knowledge of its transmission requirements.  Have you -- is

23   there any witness in this case that can tell us whether or not

24   that transmission line benefits any other aspect of your

25   operations other than the need to provide available power in

FLORIDA PUBLIC SERVICE COMMISSION

162

1   the event that CR3 goes down?

2        A    No.

3        Q    There's no one in this case that's going to help us

4   with that?

5        A    No.  I think the only thing we can address and

6   Mr. Roderick did address was the relationship of that project

7   to this uprate.

8        Q    Do you have the same problems if you have a forced

9   outage of CR3 at 900 megawatts that you do if it's at

10   1,080 megawatts?

11        A    No.  I believe Mr. Roderick covered that.  When it

12   becomes the largest unit in the state, it changes the way it

13   has to be considered for planning purposes.

14        Q    From your experience and background, do you know

15   anything about the way energy flows?

16        A    Roughly, I guess, is a general response.  Yes.

17        Q    Well, my plebeian knowledge is that if a generator

18   goes down, replacement power must come into your system from

19   another source or from other units in your system; is that

20   correct?

21        A    Actually from, it comes from a number of sources, not

22   just generators in your own system.  Over, over a period of

23   time, yes, it has to be made up from your own system, but

24   instantaneously it comes from other systems.  And in Florida we

25   have a reserve sharing agreement where everyone agrees that

FLORIDA PUBLIC SERVICE COMMISSION

163

1   they will provide or stand ready to provide a certain number of

2   megawatts based on the largest unit loss.  So it's prescribed

3   as to where a lot of those megawatts will come from on a very

4   short-term or instantaneous basis.

5        Q    And you know that if you lost 900 megawatts, it would

6   not have an adverse impact on the North Florida Transmission

7   Line.  How do you know that?

8        A    That's based on transmission studies that have been

9   done.  I don't personally know that.  But I know that the

10   transmission planning process accounts for that as one of the

11   contingencies they have to plan the system for.  So that should

12   be done as part of the FRCC process.

13        Q    Mr. Waters, I put before you a document entitled

14   "Extract from the 2005 Ten-Year Site Plan," and it's ID 22.  On

15   the document, the comprehensive exhibit list we got this

16   morning the ID number is 21.  If you don't mind marking it that

17   way.  And this is a composite exhibit that is composed of

18   extracts from 2005, 2006 and 2007.

19        A    Okay.  I have that.

20        Q    And these are, these are prepared under your

21   direction and supervision?

22        A    The site plans, the original site plans, yes.

23        Q    All right.  Let's look at Page 1-3, and that page

24   shows your service area.

25        A    Yes.

FLORIDA PUBLIC SERVICE COMMISSION

164

1        Q    And Citrus County is about right in the middle of

2   your service area?

3        A    Yes.  On the west coast, right.

4        Q    And as I understand it, the transmission line in

5   question is going to run 34 miles from somewhere in Madison

6   County to somewhere in Taylor County?

7        A    I believe that's correct, yes.

8        Q    All right.  Now the next page is Schedule 1, and it's

9   Schedule 1 on each one of these reports, but that shows the

10   capacity that was in your system as of December 31st, 2004, and

11   then the next report shows what's happened in 2005 and so

12   forth.  And you do that every year; is that correct?

13        A    Yes.

14        Q    And the purpose of that -- you used to have a

15   retirement date, but I notice that's been left off in recent

16   years.  What's that all about?

17        A    We don't have any planned retirements in the system,

18   at least in this report.

19        Q    I see.  And in Column 10 it shows when those units

20   were built.  For instance, the Suwannee River unit was built in

21   1953.  And that's still in operation; is that correct?

22        A    That's correct.

23        Q    And I, I'm not going to ask you this.

24             Now Schedule 2.1, this shows the consistency -- I

25   don't know what the word I want is.  It shows the number of

FLORIDA PUBLIC SERVICE COMMISSION

165

1   customers you have and each type of class and how much that

2   class consumes; is that correct?

3        A    It, it -- there are two pieces to this form.  It

4   shows a ten-year historical period and a ten-year projected

5   period for, by customer class.  That's correct.

6        Q    And in 2005, the year of this report, the members of

7   the residential class, they would consume 20,000 -- 20 megawatt

8   hours of electricity over the course of the year; is that

9   correct?

10        A    In 2005 --

11        Q    Yes, sir.

12        A    -- you're looking at?

13        Q    Yes, sir.

14        A    That's 20,000 gigawatt hours of electricity in that

15   year.  Yes.

16        Q    But it would be -- okay.

17             CHAIRMAN EDGAR:  Mr. McWhirter, before you move on,

18   Commissioner Skop, did you have a question at this point?

19             COMMISSIONER SKOP:  I do, but I'll just reserve it

20   until he's done.

21             CHAIRMAN EDGAR:  You want to wait until the end?

22             Okay.  Excuse me.  Go right ahead.

23   BY MR. McWHIRTER:

24        Q    Is it appropriate to divide that by 12 to see what

25   the average monthly consumption would be?

FLORIDA PUBLIC SERVICE COMMISSION

166

1        A    If you want to know, yes, if you want to know average

2   monthly consumption.  Although I'd point out that there is a

3   lot of seasonal variability to the consumption.

4        Q    I guess what I really, I guess, am looking for is

5   Column 6, and that shows 14,000 kilowatt hours a year, and that

6   would be a little over about, what is that, about 1,200, 1,200

7   a month would be the average --

8        A    Right.

9        Q    -- residential consumption?

10        A    Yes.

11        Q    And the purpose of this is to project what the

12   residential consumption is going to be in future years to help

13   you in planning what to build?

14        A    That is part of the equation, yes.  This is sales.

15   And ultimately we need both the energy that we will serve and

16   the demand we will serve.  So there's another form that gets

17   into demand.

18        Q    Okay.  In 2005 for the year 2014 you anticipate that

19   the average kilowatt hour consumption per customer for the

20   residential customer will grow from what it was in 2005 by

21   another 1,000 kilowatt hours a year; is that correct?

22        A    That's roughly correct.  Yes.

23        Q    And if you'll go over to the comparable schedule for

24   the year 2007, you're presently projecting that the residential

25   consumption in 2014 will be some 400 kilowatt hours a year less

FLORIDA PUBLIC SERVICE COMMISSION

167

1   than it is in your 2005 projection?

2        A    Well, hoping that I have the right forms here, I

3   believe that's correct.  Yes.

4        Q    Schedule 2.1.

5        A    Right.  I just want to make sure I have the right

6   year since they're all together in one exhibit.  But I think

7   that's correct.  I'm looking at -- in 2014, in the 2007

8   document as presented here I'm seeing 15,144 kilowatt hours

9   versus 15,475 in the 2005 filing.

10        Q    But then in 2015 it's going to jump up to, by 400

11   kilowatt hours a year and that would be more than you projected

12   for 2014 in the original schedule.  Can you tell me how you

13   come by those numbers, how you can project what residential

14   customers' consumption is going to be then?

15        A    Only generally.  Since I don't do the load forecast,

16   I can only give you a general description.

17             The reason for the change between 2005 and 2007, I

18   think, is primarily due to the increased emphasis on

19   conservation that we see in our own programs.  That's a part of

20   the resource plan and an increasing part of the resource plan.

21   So we would expect to be able to, due to our own activities and

22   potentially the price of electricity because of higher fuel

23   prices, we would expect to see an energy reduction on a per

24   customer basis.

25             The growth over time has to do with trends that we've

FLORIDA PUBLIC SERVICE COMMISSION

168

1   seen, have seen for some time and continue to see an increased

2   electrification, meaning more end uses available to customers.

3   An example of that is more computers per household, more

4   digital video recorders, there are all sorts of things that

5   generate that.  Plus we see a trend in larger homes; we've seen

6   that for some time.  So all those things go into, are taken

7   into account in developing the forecast.  Again, I'm speaking

8   very high level here, but it's an attempt to capture all the

9   trends we see currently, the trends we've seen historically,

10   and account for those going forward in the sales forecast.

11        Q    And so you anticipate that not only will consumption

12   go up, but demand will go up from each customer class, and you

13   deal with demand in Schedule 3.

14        A    Yes.  Let me look at Schedule 3.  Yes.  I don't think

15   we -- I don't know that we calculate a demand per customer.

16   But we do expect demand overall to go up just as energy is

17   going up over time, if for no other reason, even if it was

18   constant per customer, we show an increasing number of

19   customers over time.  So even if all other factors were equal,

20   demand would go up.

21        Q    Okay.  So for 2005 in Schedule 3.1.1, which is your

22   base case, you suggested that the retail demand for all your

23   customers would be 10,382 megawatts; is that correct?

24        A    I'm sorry.  Where is that number?  I'm trying to --

25        Q    Okay.  It's in Column 4.  It's 2-7 at the bottom of

FLORIDA PUBLIC SERVICE COMMISSION

169

1   the page and the schedule is 3.1.1.

2        A    Okay.  You're looking at the 2014 number?

3        Q    Yes, sir.

4        A    Okay.  10,382.  Okay.  I have that.

5        Q    Now go to the same schedule for the year 2007.  And

6   what do we see for that year?

7        A    10,968.

8        Q    So you anticipate that your retail demand will go up

9   but your consumption will go down; is that correct?

10        A    That -- yes.  That is a function of the actual

11   demands we saw on the system in 2005 and 2006 were much higher

12   than we had forecast.

13        Q    Uh-huh.

14        A    So we had to reevaluate how we were doing the load

15   forecast and recognize that the demand was going up or had gone

16   up already.  The load was already out there.  The demand had

17   gone up much more than we had forecast.  So that's one of the

18   primary causes of that change in the forecast demand is what we

19   had already seen as historical demand.

20        Q    All right.  Let's go, if you don't mind -- we're

21   still in 2005 and I'm about to wind this up.  Go over to

22   Schedule 7, and that gives you a forecast at the time of summer

23   peak.  Normally your system peaks in the summer as opposed to

24   the winter?  Some years it's winter, but most of the time it's

25   summer?

FLORIDA PUBLIC SERVICE COMMISSION

170

1        A    Historically it's been both.  We project a winter

2   peak generally going forward if we get average weather, but I

3   think everyone knows in Florida weather in winter is extremely

4   variable.  So some years we actually peak in the summer, but

5   going forward we forecast a winter peak.

6        Q    Well, Schedule 7.1 shows that in 2005 you were

7   importing, including the power from Georgia, you were importing

8   799 megawatts, and in 2007 you plan to import 1,087 megawatts.

9   Is that right?  Do you see that in Column 3?

10        A    Okay.  I see the 799.  And you're saying in -- oh, in

11   2007.  You're saying 2007 on the same form.  Yes.

12   1,087 megawatts.

13        Q    Now let's go to Schedule 7.1 for the year 2007, if

14   you will.  And that original projection from 1,087 has now

15   jumped to 1,661 megawatts.

16        A    Yes.

17        Q    Do you know what decisions were made to, or why the

18   decision was made to import more capacity as opposed to

19   building generation?

20        A    I can give you the primary reasons.  The -- when we

21   say "firm capacity import," we're talking about buying from any

22   source outside our control area.  So that does not necessarily

23   imply that we're buying from Georgia or anywhere else.  It's

24   any source.

25             The factor I just talked about a moment ago about the

FLORIDA PUBLIC SERVICE COMMISSION

171

1   increase in the firm demand in the short-term in the forecast,

2   we saw actual demands on our system much higher than forecast.

3   In adjusting the forecast upward to account for existing load,

4   in order to maintain the 20 percent reserve margin that we

5   target for our system in the short-term, meaning the two- to

6   three-year horizon, we had to go make short-term purchases from

7   various sources to keep up with the load forecast basically.

8   So if you look at the pattern, the 2007 form, Schedule 7.1,

9   you'll notice that the first two years we're showing relatively

10   high amounts of firm import.  Those are short-term purchases we

11   made to maintain 20 percent.  And they basically drop off as we

12   add new self-build capacity and other sources to the system

13   over time.

14        Q    Your -- when you calculate this reserve margin, is it

15   fair to say that you don't take into consideration the 389,000

16   customers that participate in your energy management program?

17        A    No, it would not be fair to say.  We base our reserve

18   margin on the net firm peak.

19        Q    Right.

20        A    So that is total demand less customers on

21   interruptible programs, residential load controls, so on.  All

22   those are subtracted out before we calculate a net firm peak,

23   and the 20 percent is based on that final number, net firm

24   peak.

25        Q    Well, let's go back to 3.1.1 again from 2005.  And

FLORIDA PUBLIC SERVICE COMMISSION

172

1   for 2005 you had 633 megawatts of interruptible load from

2   industrial customers, I presume.  Is that correct?  And do you

3   count that 733 megawatts in calculating your reserve margin?

4        A    The 633?

5        Q    Yeah.

6        A    Yes.  If you look over at the far right-hand column,

7   net firm demand, and that will be the number that we use to

8   base our reserve margin on.

9        Q    Well, but you show your retail sales at -- you show

10   your total sales at 9,500 megawatts and your retail at

11   8,500 and your firm at 8,100.  So presumably something is

12   subtracted from your actual demand to obtain your net firm

13   demand; is that correct?

14        A    Not -- well, it's subtracted from total demand to get

15   to net firm demand.  Yes.

16        Q    Well, isn't 633 subtracted from your total demand?

17        A    Yes.

18        Q    And isn't residential load management subtracted?

19        A    Yes.

20        Q    And residential conservation is subtracted?

21        A    Yes.  And all the other conservation and load

22   management and the column marked "Other Demand Reductions"

23   would be subtracted.

24        Q    So aren't those 386,000 customers or 389,000

25   customers included in the people that are interruptible and

FLORIDA PUBLIC SERVICE COMMISSION

173

1   have demand-side management and so forth?

2        A    Yes.

3        Q    Yes?

4        A    Yes.

5        Q    All right.  Now go to Schedule 8, if you would.  And

6   based on your forecast in 2005, it looks like in 2007 you were

7   going to build 476 megawatts at Hines 5 and then you were going

8   to add 476 megawatts at Hines 6 and then another 476 in 2012,

9   2014, 2013 and 2014.  Can you -- would it be fair to say that

10   that new capacity was being added in order to meet your

11   forecasted demand and consumption?

12        A    Yes.  And to maintain 20 percent reserve margin over

13   time.  Yes.

14        Q    Okay.  Let's go to see what your plan is for 2008

15   with Schedule 8 for 2008, and that's the last page.

16        A    Okay.

17        Q    And Bartow is coming on and both Hines 4 -- or 5 and

18   6 have gone away; is that right?

19        A    Yes.

20        Q    So nine hundred and, what is it, sixty-62 megawatts

21   have gone away.  And when Bartow is repowered, a net 715 will

22   come in.  Is that fair to say?

23        A    Yes.  Summer capability.  Yes.

24        Q    Okay.  So even though your load is growing, what

25   you've done is determined to build less and buy more; is that

FLORIDA PUBLIC SERVICE COMMISSION

174

1   right?

2        A    In the time period you're talking about, yes, that's

3   correct, because the purchases were economic.

4        Q    Now if you built those power plants, the investment

5   would go into your base rates or the return on that investment

6   would go into base rates; is that correct?

7        A    Well, I believe that's correct pending a rate case.

8   But I -- in my analyses, just to be clear, I do not get

9   involved in the type of recovery on any of these.

10        Q    All right.  That's fair and I understand that.  But

11   you do know that of your own knowledge or not?

12        A    Yes.

13        Q    Huh?

14        A    Yes.

15        Q    Okay.  And do you know how you collect from customers

16   for the amount of capacity you buy as opposed to furnish with

17   your own units?

18        A    Well, I think generally speaking it goes through the

19   capacity clause.

20        Q    And it goes through the cost recovery, and not only

21   the energy cost but the capacity cost?

22        A    I'm not sure how the energy costs are treated,

23   whether those are in fuel or not.  But the capacity payments go

24   through the capacity clause and the energy may go through the

25   fuel clause.  Mr. Portuondo could tell you the breakdown.

FLORIDA PUBLIC SERVICE COMMISSION

175

1             MR. McWHIRTER:  All right.  I tender the witness.

2                              * * * * *

3             (Transcript continues in sequence with Volume 2.)

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

176

1   STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTER

2   COUNTY OF LEON      )

3

4             I, LINDA BOLES, RPR, CRR, Official Commission

Reporter, do hereby certify that the foregoing proceeding was

5   heard at the time and place herein stated.

6             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

7   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

8   proceedings.

9             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

10   or employee of any of the parties' attorneys or counsel

connected with the action, nor am I financially interested in

11   the action.

12              DATED THIS ______ day of August, 2007.

13

14                  ________________________________

LINDA BOLES, RPR, CRR

15                  FPSC Official Commission Reporter

(850) 413-6734

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION