BEFORE THE PUBLIC SERVICE COMMISSION

| In re: Petition for approval of residential thermostat load control pilot project by Florida Power & Light Company. | DOCKET NO. 070376-EG ORDER NO. PSC-07-0719-TRF-EG ISSUED: September 4, 2007 |
| --- | --- |

The following Commissioners participated in the disposition of this matter:

LISA POLAK EDGAR, Chairman

MATTHEW M. CARTER II

KATRINA J. McMURRIAN

NANCY ARGENZIANO

NATHAN A. SKOP

ORDER APPROVING RESIDENTIAL THERMOSTAT LOAD CONTROL

PILOT PROJECT

BY THE COMMISSION:

Background

On June 15, 2007, Florida Power & Light Company (FPL) submitted a petition requesting approval of its Residential Thermostat Load Control Pilot Project (TLCPP).  Participating customers in the TLCPP are provided a programmable thermostat and the option of overriding FPL’s control of their central air conditioning and heating appliances via telephone or the Internet.

FPL has had a residential load management program, the On-Call Program, since 1986.  The residential On-Call Program is designed primarily to reduce system coincident peak demand, and it also reduces energy consumption.  The On-Call Program involves the installation of load control equipment to allow FPL to control residential customer appliances on an as-needed basis.  To secure the opportunity to exercise load control, FPL provides a monthly bill credit to On-Call Program participants.  These credits, including the cost of any FPL-owned equipment, are recovered through the Energy Conservation Cost Recovery (“ECCR”) clause.

On January 15, 2003, FPL petitioned for approval of modifications to the On-Call Program.  In its petition, FPL requested approval to close the On-Call Program, offered under Rate Schedule RSL, to new customers effective April 1, 2003.  In its place, FPL proposed a new residential load management pilot project (RLCPP), which reduced the monthly bill credits paid to program participants.  We approved FPL’s request to close the On-Call Program and offer the RLCPP on March 6, 2003.

On May 31, 2007, in Docket No. 070350-EG, FPL requested that the RLCPP be made into a permanent program.  There are approximately 742,400 participants in the combined RLCPP and closed On-Call programs.

In contrast to the existing load management programs, participants in the TLCPP will not receive monthly bill credits for permitting the utility to interrupt their heating and air conditioning.  Instead, the benefits to the customer would come through using the programmable thermostat (given free to each participant) to reduce energy consumption with the assurance that they could override FPL control at their option.  FPL’s TLCPP will be limited to 400 residential customers located in Broward County and will last 24 months.  FPL selected Broward County because they believe that this allows the evaluation of impacts under weather conditions experienced by many of FPL’s customers.

FPL’s petition also requested that we authorize FPL to recover costs associated with the TLCPP through the ECCR clause.  FPL’s petition includes the tariffs, attached hereto as Attachment A, that are needed to implement the proposed Pilot Project.  We have jurisdiction pursuant to Sections 366.80 – 366.82, Florida Statutes.

Thermostat Load Control Pilot Project

According to the petition, FPL would like to evaluate whether the benefits of direct load control programs can be expanded through use of a new generation of communication and control technologies that put residential customers in charge of decisions that could lower energy costs.  FPL believes that the TLCPP will increase the appeal of residential load management among residential customers, by removing the barrier to customers that are unwilling or reluctant to surrender control of their heating and air conditioning appliances.

According to FPL, the programmable thermostat will act as FPL’s control device for the central air conditioner and heater appliances, cycling the equipment for the same percentage of time as the current interruption schedules for the RLCPP program.  The TLCPP participants may combine the programmable thermostat option with water heater and/or pool pump options, receiving the RLCPP monthly bill credits associated with the latter appliances.

The TLCPP participants will not be allowed to switch to the RLCPP option; however, FPL will solicit a sample of the RLCPP air conditioning option participants, offering them the TLCPP in lieu of the RLCPP air conditioning bill credits.  FPL believes that this will show the degree of the RLCPP participants interested in switching.  FPL will permit a maximum of 50 customers to switch from the RLCPP option to the TLCPP during FPL’s solicited switch offer.

FPL’s TLCPP will be limited to 400 residential customers located in Broward County and will last 24 months.  The TLCPP participants must be individually metered and the residences must have central electric air conditioners.  Among the TLCPP participants, central electric space heating is eligible only in combination with central air conditioning, and when controlled by the thermostat.  FPL will solicit customers in Broward County, including a sample of the RLCPP participants, and the first 400 customers that respond will be selected for the TLCPP.  FPL believes that the statistical sample size of 400 participants is appropriate for this study and has a confidence level of 95 percent.

FPL will perform monitoring and evaluation of the TLCPP participants to determine the demand (kW) and energy (kWh) impacts of the thermostat approach versus the RLCPP approach.  Quality control checks will also be performed to verify the reliability of communications with the thermostats.  FPL will track all TLCPP participants using an independent database as well as its customer information system.  FPL will be able to determine if the TLCPP participants choose to override the utility control of the air conditioner or heater during load control events.  In addition, FPL will track customer questions and concerns related to the TLCPP, dropout rates and reason for the dropouts, and overall satisfaction.  Since this is a pilot research project, a cost-effectiveness analysis is not required to approve this petition.  At the end of the 24 month test period, FPL will perform a final cost-effectiveness analysis.

FPL’s estimated costs of the TLCPP for the 24 month period are $728,000, which includes costs associated with marketing, equipment, installation and maintenance, computer hosting and support, and evaluation of the TLCPP.  The TLCPP and the RLCPP are two load management programs being offered by FPL in Broward County, the later program is also offered over FPL’s entire service area.  FPL will provide annual progress reports to this Commission, submitted to the Director of Economic Regulation, by September of each year.

Conclusion

We believe that the TLCPP may increase the appeal of residential load management among FPL’s residential customers by removing the barrier to customers that are unwilling or reluctant to surrender control of their heating and air conditioning appliances.  We also believe that the TLCPP will put FPL’s residential customers in charge of decisions that could lower their energy costs and reduce FPL’s system peak demand.  The program is projected to reduce FPL’s coincident peak load and reduce customers’ energy consumption.  The program can be monitored and produce measurable results.  Therefore, we hereby approve FPL’s Thermostat Load Control Pilot Project, and the tariffs needed to implement the program.  The Pilot Project will take effect August 14, 2007, and will expire on August 13, 2009.  As stated above,  FPL shall provide annual progress reports to the Commission by September of each year.  FPL shall be allowed to request recovery of the cost of this program, up to $728,000, through the ECCR clause.

Based on the foregoing, it is

ORDERED by the Florida Public Service Commission that Florida Power & Light Company’s Residential Thermostat Load Control Pilot Project is hereby approved as set forth herein.  It is further

ORDERED that all attachments appended hereto are incorporated herein by reference.  It is further

ORDERED that the tariff is hereby approved as of August 14, 2007.  It is further

ORDERED that Florida Power & Light Company’s Residential Thermostat Pilot Project will be in effect on August 14, 2007 and will expire August 13, 2009.  It is further

ORDERED that Florida Power & Light Company shall provide annual progress reports to the Director of Economic Regulation by September of each year.  It is further

ORDERED that if a timely protest is filed within 21 days from the issuance of this Order, the tariff shall remain in effect with any revenues held subject to refund, pending resolution of the protest.  It is further

ORDERED that if no timely protest is filed, this docket shall be closed upon the issuance of a Consummating Order.

By ORDER of the Florida Public Service Commission this  4th day of September, 2007.

|  | /s/ Ann Cole |
| --- | --- |
|  | ANN COLE Commission Clerk |

This is an electronic transmission.  A copy of the original signature is available from the Commission's website, www.floridapsc.com, or by faxing a request to the Office of Commission Clerk at 1-850-413-7118.

( S E A L )

KEF

NOTICE OF FURTHER PROCEEDINGS

The Florida Public Service Commission is required by Section 120.569(1), Florida Statutes, to notify parties of any administrative hearing or judicial review of Commission orders that is available under Sections 120.57 or 120.68, Florida Statutes, as well as the procedures and time limits that apply.  This notice should not be construed to mean all requests for an administrative hearing or judicial review will be granted or result in the relief sought.

Mediation may be available on a case-by-case basis.  If mediation is conducted, it does not affect a substantially interested person's right to a hearing.

The Commission's decision on this tariff is interim in nature and will become final, unless a person whose substantial interests are affected by the proposed action files a petition for a formal proceeding, in the form provided by Rule 28-106.201, Florida Administrative Code.  This petition must be received by the Office of Commission Clerk, 2540 Shumard Oak Boulevard, Tallahassee, Florida 32399-0850, by the close of business on September 25, 2007.

In the absence of such a petition, this Order shall become final and effective upon the issuance of a Consummating Order.

Any objection or protest filed in this docket before the issuance date of this order is considered abandoned unless it satisfies the foregoing conditions and is renewed within the specified protest period.

Order No. PSC-03-03-0322-TRF-EG, in Docket No. 030051 EG, in re: Petition for modification of residential on-call program and for approval of residential load control pilot project by Florida Power & Light Company.