1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. UNDOCKETED

3

In the Matter of

4

INTERCONNECTION OF SMALL PHOTOVOLTAIC

5   SYSTEMS; NET-METERING OF CUSTOMER-

OWNED RENEWABLE RESOURCES AND

6   INTERCONNECTION OF CUSTOMER-OWNED

RENEWABLE RESOURCES.

7                                        /

8

9

10

11                  ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

12               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

13

VOLUME 1

14

Pages 1 through 100

15

16   PROCEEDINGS:        RULE DEVELOPMENT WORKSHOP

17   BEFORE:             CHAIRMAN LISA POLAK EDGAR

COMMISSIONER MATTHEW M. CARTER, II

18                       COMMISSIONER KATRINA J. McMURRIAN

COMMISSIONER NANCY ARGENZIANO

19                       COMMISSIONER NATHAN A. SKOP

20   DATE:               Friday, August 30, 2007

21   TIME:               Commenced at 9:53 a.m.

22   PLACE:              Betty Easley Conference Center

Room 148

23                       4075 Esplanade Way

Tallahassee, Florida

24

25   REPORTED BY:        JANE FAUROT, RPR

(850)413-6732

FLORIDA PUBLIC SERVICE COMMISSION

2

1                         P R O C E E D I N G S

2             CHAIRMAN EDGAR:  Good morning.  I call this workshop

3   to order.  And I apologize for getting a little bit of a late

4   start, but I'm glad to see so many of you here and so many of

5   you that will hopefully participate in our discussion today.

6             We'll begin with asking our staff to read the notice.

7             MS. GERVASI:  Pursuant to notice issued August 10th

8   and August 15th, 2007, this time and place has been set for an

9   undocketed rule development workshop on net metering and

10   expedited interconnection standards for customer-owned

11   renewable generating resources.

12             For clarification purposes, I would like to note that

13   the rules noticed for rule development are the amendment of

14   Rule 25-6.065, F.A.C., which is the Commission's current rule

15   on interconnection of small photovoltaic systems, and the

16   development of two new rules, 25-6.066 and 25-6.067.  The

17   current draft rule language that is the topic of today's

18   workshop is contained entirely within the draft amendment of

19   Rule 25-6.065.

20             CHAIRMAN EDGAR:  Thank you, Ms. Gervasi.

21             Again, welcome.  As I hope all of you know, or many

22   of you know, that this is part of an effort by this Commission

23   in the past few years to encourage additional renewable energy

24   use and renewable energy generation in this state.  In keeping

25   with the direction from the legislature in House Bill 7123 last

FLORIDA PUBLIC SERVICE COMMISSION

3

1   session whereby they asked this Commission to encourage solar

2   energy, including the use of net metering, and in keeping with

3   the direction in statute asking that the Public Service

4   Commission, again, encourage the use of renewable energy in

5   this state, and in keeping with the Executive Order that the

6   Governor issued earlier this summer asking that we initiate

7   rulemaking on net metering, we are gathered here today to

8   continue that process that we have been working on for some

9   time.

10             We are going to start this morning with some brief

11   presentations.  I am hopeful and have asked that we begin our

12   discussion today with hearing from some of those businesses and

13   individuals who have been telling the legislature and the

14   Commission that net metering rules and changes will help us

15   encourage the use of distributed generation in this state, and

16   that it can be done in a way that complies with our statutes

17   and with the regulatory scheme that we have.  And then we will

18   move into discussion from our staff, and then from those of you

19   who are interested in walking through the draft language that

20   our staff has put together.

21             I'm very hopeful that we can get some real concrete

22   ideas and suggestions, so part of that will maybe be slow and

23   even a little tedious as we maybe go through

24   section-by-section, but I think it's important that we have

25   some language to get us started to look at, and then we can use

FLORIDA PUBLIC SERVICE COMMISSION

4

1   that as a vehicle for hearing concerns and suggestions as they

2   are.

3             So before we move into calling our first speakers, I

4   would like to make an introduction.  To my left is Mr. Wayne

5   Shirley, welcome, who is working with our staff.  Mr. Shirley

6   was a member of the New Mexico Public Utilities Commission and

7   served there as Chairman from 1995 to 1998, and he has a lot of

8   experience on this issue, and we are thankful for his

9   willingness to contribute to the discussion.

10             And, Commissioners, before we move on to our first

11   speaker, are there any other comments to get us started?  Ready

12   to move on.  Okay.  As always, I believe we do have a sign-up

13   sheet in the back.  If anybody is not a member of our staff's

14   distribution list, please do sign up and give us your

15   information so that we can be in touch with you and help to

16   keep you up-to-date on what's going on here.  And we do have

17   microphones for people who would like to participate in the

18   discussion, and we are going to jump right in.

19             And the first person that I have on my list to give

20   us a brief presentation is Mr. Andrew Walmsley, the

21   environmental services coordinator with the Florida Farm

22   Bureau.  Mr. Walmsley, welcome to the Public Service

23   Commission.

24             MR. WALMSLEY:  Good morning.  Thank you,

25   Commissioners, for allowing me to be here this morning to speak

FLORIDA PUBLIC SERVICE COMMISSION

5

1   on an issue that is very exciting for us in agriculture and

2   still continuing to try to get a grasp around what is going to

3   benefit both ag, as an industry, and the citizens of Florida.

4             First off, I'm going to be real brief, and probably

5   some real general comments.  There are some folks coming up

6   behind me that probably know a lot more about this issue than I

7   do, but, just really, agriculture is here, we want to help, we

8   want to do our part to help with renewable energy.  Within

9   that, when we are talking about net metering, I don't think net

10   metering in the sense that is traditionally thought of

11   necessarily works the best for ag.  If you think about it, we

12   have several different drops throughout a farm, whether it be

13   for irrigation pumps, different barns, whatever, which could be

14   very cost-prohibitive to run lines and, basically, use what

15   energy we produce and sell excess back onto the grid to where

16   the meter is flowing both ways and stuff like that.

17             But if we were able to get a fair price for the

18   electricity we can produce, and, from my understanding, we can

19   produce quite a bit of electricity as technologies comes about

20   and stuff.  With that, a fair price to where maybe not exactly

21   what we are paying from the utilities, but something that's not

22   cost-prohibitive for us.  I mean, for any farmer it's got a

23   cash flow for them to do anything.  And with that, to think

24   fair prices and also incentives for, say, maybe a farmer can't

25   necessarily put in a methane digester on his particular dairy

FLORIDA PUBLIC SERVICE COMMISSION

6

1   or cattle feeding operation, but if you had a co-op of farmers

2   coming together.  We had a tour last week with a company that's

3   looking at a regional digester where you take manure and feed

4   stocks and produce either gas or electricity and sell that back

5   out.

6             They have looked around the country for places to be

7   involved with this type of renewable energy.  Their example

8   they gave us was they looked at a place in Iowa, and they

9   looked at a place in Minnesota.  In Minnesota, the incentives

10   weren't there, they weren't enticed as much, and they ended up

11   in Iowa.  So through that there are just -- there are just

12   several things to look at.  And just in general, Doctor Dahl

13   (phonetic), who is the new animal sciences department chair,

14   came from Illinois, and he made this comment last week where,

15   you know, out there a lot of the farmers are looking at corn

16   and soybeans, and, you know, that's what we're going to grow,

17   and we don't want to look much past that, but he is really

18   excited about Florida because of the entrepreneurship of our

19   producers.

20             You know, that there is a way to do what's right, to

21   make a little money, to provide, you know, energy, food to

22   everyone, they'll do it.  And whatever we can do to help that

23   along to see what incentives or what fair pricing or whatever

24   else we can get out of it, I think we will be able to really

25   see a bright future for Florida.  But with that, I'll leave you

FLORIDA PUBLIC SERVICE COMMISSION

7

1   with that, and if there are any questions, we would love to

2   answer them.

3             CHAIRMAN EDGAR:  Commissioner.

4             COMMISSIONER ARGENZIANO:  Thank you.

5             When you say regional digester, meaning you would

6   transport the manure, I guess, to one particular area so all

7   farmers, then, could be using one instead of a cost to be borne

8   by each individual farmer.

9             MR. WALMSLEY:  Yes, ma'am, that's sort of the idea.

10   There's a lot of different ways to look at that, some trucking,

11   some if it's not cost prohibitive, piping.  I mean, these are

12   just options out there.  We're throwing ideas out there.  They

13   actually have one up in the construction phase in Iowa to where

14   they are going to truck from about a 45-mile radius manure and

15   also food scraps.  There's a bacon processing facility where

16   they cook 6,000 pieces of bacon a minute, and that's like

17   rocket fuel to this digester.  So it's taking in a lot of waste

18   that they can handle environmentally well, and producing -- in

19   this case, gas from it.

20             COMMISSIONER ARGENZIANO:  And you can still, I guess,

21   realize a profit even using fuels for trucking?

22             MR. WALMSLEY:  Through their models, yes, ma'am.  I

23   mean, they are taking in from energy production to carbon

24   offsets, methane offsets, carbon credits, to handling waste,

25   you know, there are some things that come out of the digesters

FLORIDA PUBLIC SERVICE COMMISSION

8

1   on the other end, bedding materials, potting materials that

2   have some value to them.

3             COMMISSIONER ARGENZIANO:  Thank you.

4             CHAIRMAN EDGAR:  Commissioner Carter?

5             No.  All right.

6             Mr. Walmsley, thank you so much for joining us.  I

7   appreciate your comments.

8             MR. WALMSLEY:  Thank you.

9             CHAIRMAN EDGAR:  Next I would like to call Doctor Del

10   Bottcher, President, Soil & Water Engineering Technology.

11             DOCTOR BOTTCHER:  Did you skip one?

12             CHAIRMAN EDGAR:  Well, not according to my order, but

13   we can do it in a little different order, if that's the desire.

14             DOCTOR BOTTCHER:  Let Mr. Hall come first.

15             MR. HALL:  I think it will be better in that order.

16             CHAIRMAN EDGAR:  That's fine.  That's not the order I

17   have in front of me, but that's okay.  Because we can be

18   flexible, and if that makes more sense, it's okay with me.

19             So, Mr. Hall, welcome, from Suwannee Farms, good to

20   see you.

21             MR. HALL:  I appreciate the invitation to speak to

22   you.  I am Joe Hall.  I manage and own, co-own Suwannee Farms,

23   which is a farming operation.  We grow vegetables, which is

24   snap beans, potatoes, sweet corn, and carrots; and also we grow

25   a lot of row cropping.  We do peanuts, field corn, which is

FLORIDA PUBLIC SERVICE COMMISSION

9

1   used in our cattle feeding operation.

2             Our farm is somewhat unique.  We are 6,000 acres, of

3   that about 5,000 acres is irrigated.  The other acreage is

4   either in Coastal Bermuda, planted pines, or natural timber.

5   That's the dry corners that the irrigation does not cover.  We

6   are located about half a mile from the Suwannee River, which

7   sometimes we're not too proud of that location, you know, but

8   we have been there.  And we have worked with the University of

9   Florida, the regulatory agencies on a five-year contract to

10   check the nitrates getting into groundwater here, and we are

11   very much mindful of, you know, controlling that.

12             In our cattle operation, we have been in the cattle

13   feeding business in Georgia since the early '50s.  We lost

14   that -- we stopped feeding cattle in 1987 because there were no

15   killing plants in the area.  We think it's a very, very

16   valuable and doable industry locally.  Florida has roughly

17   800,000 calves that are shipped out west to be fed or finished

18   and then slaughtered, and much of that you can assume is being

19   shipped back here for consumption.

20             Historically, if you look at agriculture, most farms

21   have had an animal part to it.  And we certainly feel that a

22   cow has very useful place on our land.  They, unlike most

23   animals, produce forage, and this is something that we can

24   produce in off-seasons.  We are lucky where we are located in

25   that we have got a year-round growing season that we can

FLORIDA PUBLIC SERVICE COMMISSION

10

1   produce either corn, now that BT corn came into being which

2   controls the worms during the summer time.  It enables us to

3   add another crop without having to buy more equipment or more

4   land to utilize it.  And what we're doing with this cattle

5   operation is just plugging in to what we already have, you

6   know, which is equipment utilization and labor, full-time labor

7   utilization.

8             Another problem we have in feeding cattle in large

9   numbers, we cannot do it like they do it in the west where

10   you've got lower rainfall and you do it in large, large

11   numbers.  We have to consider nutrient management and, also,

12   waste management as far as it getting out, you know, into the

13   environment.  We have approximately a 52-inch rainfall here a

14   year, and there is no way that these cattle could be fed

15   outside in any way, you know, maintain any balance of control

16   of your runoff in waste.

17             We have been looking for sometime for a system that

18   would give us this ability to do cattle here.  We found that,

19   we think, in Wisconsin.  They have had operating systems up

20   there, which is a methane digester that has been operating

21   successfully over three years, and they are putting them out,

22   you know, all over the United States.  So we feel very

23   confident that this will handle our waste problem.

24             What we will do is we will load this thing with a

25   solid pack out of the barn.  It will be cleaned out within ten

FLORIDA PUBLIC SERVICE COMMISSION

11

1   days.  It will be a continual cleaning operation.  We now have

2   a feeding operation set up for 5,000 head, and we'll turn those

3   cattle about one and a half to two times a year, so we will

4   effectively be doing 8,000 to 10,000 head of cattle a year.

5             Unlike the ethanol business, our feedstock is a

6   by-product.  It's not subject to fluctuation, you know, of

7   market prices like your biodiesel, which is derived from

8   vegetable oils, or animal fat, or whatever.  And also corn, you

9   know, which is a very fluctuating market situation here.

10             There's one thing that is going to be absolutely in

11   this world of high energy today that we regionalize some of

12   these businesses.  I'll give you an example of what our cattle

13   are costing just to ship to the feed yard, and you can assume

14   it's costing close to that to ship this beef back.  But we ship

15   our cattle to the Southern plains which is Texas, Nebraska,

16   Kansas, and Colorado, which is about 1,200 to 1,400 miles, at a

17   cost of at least 8-1/2 cent a pound.  You can do the math on a

18   800-pound steer.  It gets up there pretty expensive, and then

19   assume that you are going to pay a similar freight in getting

20   that animal back here.

21             So put that along with the shrink, the wear and tear

22   on the animal, it's going to delay that calf before it gets

23   finished and slaughtered at least a month just in the shipping

24   process.  So we feel like it is more humane, it's good

25   business, and certainly filling a very big void in the state

FLORIDA PUBLIC SERVICE COMMISSION

12

1   here, and certainly on our farm to be able to utilize excess

2   production time that we can produce in the form of forage.

3             I will say this, that in talking, and we have done a

4   lot of research and looked a lot at these systems.  One of the

5   hardest problems that the people with the digester, one of the

6   biggest advantages when it goes through, you are eliminating

7   any odor, you are also capturing the methane or the biogas

8   which is roughly 40 percent CO2 and 60 percent methane, you

9   know, with some, you know, trace of sulfur in it.

10             When this biogas comes off the digester, which it's a

11   completely sealed system, it stays in it roughly 21 days, when

12   it comes out it's free of pathogens, free of weed seed, so it

13   is a safe product, less the odor, and what we have done is we

14   have concentrated the mass by 50 percent.  In other words, this

15   stuff is actually digested by the microbes that are in the

16   digester.

17             We maintain a 100 degree temperature, and, like I

18   say, it's completely sealed and insulated, so we feel like it

19   is a system that will last a long time.  It has no moving parts

20   on the inside of it.  As far as the methane or biogas, there is

21   very little of it left in after it comes out of the system

22   here.  It hasn't affected the nutrients in it, it has taken the

23   odor out, but it makes it a very important nutrient that we can

24   use back on the land.

25             What our attempt is, is to do totally sustainable

FLORIDA PUBLIC SERVICE COMMISSION

13

1   agriculture.  It will be a ways off, but certainly we feel like

2   we can be energy independent on the farm with it, and it is

3   certainly going to be contributing greatly to our nutrients.

4   We have been hauling in, hauling in, you know, commercial

5   fertilizer, you know, but this is a source that we can

6   certainly recycle here.  And I think it's a thing that can be

7   replicated many times over, and we are going to have to do this

8   for truly the system to work.  I'm talking about the cattle

9   feeding operation.

10             It will take 50 of these units to justify a packing

11   plant, and we need to do that.  And it could be plugged into

12   farms just from a cooperative basis, or some of the larger

13   farms could certainly handle it and also handle the nutrients

14   here.  It's a total package that has got to be looked at.

15             I think it's almost a must that we approach our waste

16   management from this standpoint.  You know, the spray fields

17   that we have had, both municipal and the dairies and hog

18   operations have not worked, it's a temporary fix at best.  So I

19   see this as a solution to that.  And, granted, you have to have

20   a certain economic size to justify putting in one of these

21   systems, but by a cooperative venture, I think it definitely

22   could be done.

23             We went up and pretty well got the details of how it

24   has been dealt with with the power companies, and it varies

25   from state to state.  Vermont, for instance, is probably

FLORIDA PUBLIC SERVICE COMMISSION

14

1   further along or they are actually selling green power and

2   getting a premium for it.  They are getting a 4-cent premium,

3   and then they're actually passing that back to the producer

4   here, which makes the economics of a digester very, very good.

5             Our digester is going to have the capacity to handle

6   these 5,000 head of cattle on a continual basis.  We will be

7   generating at least 90 percent of the time and producing 500 kW

8   plus on a continual basis.  They have got the engines and the

9   gin sets perfected to where these things turn at a very low

10   RPM.  They have, you know, got a life before needing overall of

11   50,000 to 60,000 hours.  So there has been lot of advancements

12   in equipment.  There's technology out of Europe that is pretty

13   much, you know, advanced; but this system, I think, will take

14   care of a larger number of animals than probably some of these

15   European systems.  But it is a doable thing.  It's being done,

16   and I think we need to consider it.

17             From a greenhouse gas system, they say cattle produce

18   probably 15 percent of the greenhouse gases in the world here.

19   And look at it on the other side, it's a very good resource to

20   capture.  And I think we're striving to have a system that will

21   do that here.  Do you all have any questions?

22             CHAIRMAN EDGAR:  Thank you, Mr. Hall.

23             Commissioner Argenziano.

24             COMMISSIONER ARGENZIANO:  Mr. Hall, aren't you a

25   participant or a partner in the Suwannee River partnership

FLORIDA PUBLIC SERVICE COMMISSION

15

1   agreement with the BNPs?

2             MR. HALL:  I'm sorry.

3             COMMISSIONER ARGENZIANO:  Aren't you participating in

4   the Suwannee River Partnership agreements?

5             MR. HALL:  Yes.

6             COMMISSIONER ARGENZIANO:  With the voluntary BNPs?

7             MR. HALL:  Yes, we have been doing that for about six

8   years.

9             COMMISSIONER ARGENZIANO:  As a matter of fact, I

10   think, if I recall, you have won some awards, or came real

11   close.  I know you have been written about doing such a great

12   job and really trying to reduce the nitrates.

13             MR. HALL:  Well, we try to do a good job.  You know,

14   we have to live in this environment, and we are certainly going

15   to do everything we can.

16             COMMISSIONER ARGENZIANO:  Well, I think the agreement

17   is great, and I think what many farmers are doing is just

18   wonderful.  My question goes to if you use the digesters and

19   then use the nutrients back on the lands, does this help going

20   the extra mile somehow with the reduction of the nitrates in

21   our waterways?

22             MR. HALL:  Yes.  We measure what we are putting out.

23   We are now spreading this waste from the barn onto the land,

24   but we very meticulously, you know, measure what we put out.

25   And we are replacing, say, nitrates.  And, of course, you have

FLORIDA PUBLIC SERVICE COMMISSION

16

1   NPNK, it's a very, very natural and balanced fertilizer that we

2   are putting back out there as far as a nutrient balance.

3             COMMISSIONER ARGENZIANO:  What I mean is if you used

4   the digesters, does that also give a beneficial effect on the

5   reduction of the nitrates in the waterways?

6             MR. HALL:  It will not affect the nitrates at all.

7   We attempting to do that with the growing crop.  We are growing

8   crops on that land 12 months in the year.  We, by the way, do

9   strip till agriculture; and we're sandy soil, it's a big

10   acreage, and if we don't keep that land covered, it has a

11   tendency to blow very much, particularly in February and March.

12             COMMISSIONER ARGENZIANO:  Thank you.

13             CHAIRMAN EDGAR:  Thank you.

14             Thank you, Mr. Hall.  Thank you so much for joining

15   us today.

16             Doctor Bottcher.

17             DOCTOR BOTTCHER:  Thank you for letting us switch.

18             CHAIRMAN EDGAR:  Of course.

19             DOCTOR BOTTCHER:  Because having a picture of his

20   farming operation, I think, is pretty important because I'm

21   going to talk about some of the economics associated with how

22   his system and net metering will impact the economics of that

23   system, which I think is the crux of what we really want to get

24   to.

25             Why net metering, why go to net metering?  And the

FLORIDA PUBLIC SERVICE COMMISSION

17

1   main reason, obviously, is it really is going to be an

2   incentive to increase the bio and renewable energy production.

3   And when we talk about that, in dairies alone in the state of

4   Florida, if we went into a full production of bioenergy with

5   them, we're talking from one to 300 megawatts of capable power

6   production.  That's nothing to shake a stick at.  So that's a

7   lot of power that can be generated, if we can get that kind of

8   incentive built into the system.

9             Right now, the way the structure is, most of these

10   systems are not economically feasible because there's just not

11   enough return to compensate for the cost of that.  And what I

12   want to try to show is that, really, developing net metering as

13   an incentive is going to be a minimal cost to the utility

14   companies, and that's primarily through the fact that right

15   now, in order to take the benefits of the power production,

16   like on Joe's farm, it would be to his advantage to utilize all

17   of that power on his own farm first, because he would get full

18   value of the electricity.  And so -- and I will show that that

19   is really what is going to happen is if there is a strong

20   incentive for him to spend the money to build the

21   interconnectivity within his farming operation to utilize the

22   power, which is a cost that we can totally avoid with net

23   metering.

24             And I was glad to see, because I really hadn't seen

25   the rule wording that the definition that I wanted to put

FLORIDA PUBLIC SERVICE COMMISSION

18

1   forward for net metering is really what is in the rule, the

2   proposed rule.  But where it really covers the ability that net

3   metering is associated with a legal entity, not just by a

4   single meter, so that in Joe's farming operation he has over

5   20 different meters across his farming operation, and the net

6   metering has to be handled through an accounting method not

7   through just a spin-the-meter-backward type approach, which can

8   be accomplished the same way.  You can do it through the

9   meters, but it is much better to do it through accounting

10   because it eliminates that unnecessary cost of doing all the

11   internal interconnectivity.  And I'll show you in a minute just

12   how that really comes out economically.

13             Just some basic benefits.  Joe touched on some of

14   these.  Reduce line costs.  When we start going to local

15   generation of power, there is about a 9 percent transmission

16   loss, typically.  My understanding for Joe if he was using his

17   own power, there would be none of that, so it would actually

18   reduce the net power by a larger fraction than just the amount

19   of power he is generating due to those line losses.  And having

20   some stable local generated power can provide backup power

21   during emergencies, there is some of these issues, to even out

22   power during peak demands.  These are just some of the kind of

23   technical issues of how the power could be utilized.

24             Another critical issue here is what to do with the

25   carbon and renewable energy credits that could be coming from

FLORIDA PUBLIC SERVICE COMMISSION

19

1   this.  Methane has a 15-to-1 carbon credit over CO2.  In other

2   words, it's considered to be that much more of a greenhouse gas

3   than CO2 itself.  So the amount of all the methane being

4   generated here is actually going to be converted to CO2 through

5   the production, and so there would be a very large amount of

6   carbon credit being generated by the system, and that would

7   have to be looked at who would gain that carbon credit, would

8   it be maintained by the farmer or would it go with the net

9   metering, but that is something to be negotiated.

10             Of course, I think the one thing that we all realize,

11   the public relations aspects of getting bioenergy, reducing our

12   dependency on foreign oil and reducing these methane and CO2

13   emissions, the carbon footprint is something that we are all

14   very interested in, and this program would encourage that.  And

15   so from a public relations standpoint it's very beneficial.

16             To the customer, for example, to Joe, it really --

17   going to net metering is going to eliminate this

18   interconnectivity aspect of it.  Because all the switching gear

19   that would be needed, there would be the possibility of

20   additional power lines having to be run.  It would simplify his

21   O&M operation if he wouldn't have to deal with all of those

22   switching gears and lines and that sort of thing.  So there is

23   a big benefit from a cost standpoint if we went to net

24   metering.  I refer to this interconnectivity because this is

25   something that we can do now to gain the most benefit out of

FLORIDA PUBLIC SERVICE COMMISSION

20

1   it, but it's a cost that we should try to eliminate through net

2   metering.  Again, the public relations on the customer side.

3             I want to just spend a minute on this, and I

4   apologize for it being a little bit small, but to me this tells

5   the story of what net metering will mean to this operation.

6   And this is just an example.  Basically what I'm showing here

7   is here is the current contract arrangement.  These two columns

8   here is the current contract arrangement we have with Seminole

9   Electric now as far as being able to sell power back to them.

10   And the intent is to build a system and really put 100 percent

11   of the power out onto the grid.  That is how the system is

12   currently set up.

13             It's going to cost about $308,000 a year to produce

14   the power running this operation.  Right now the farm is

15   spending about $297,000 a year in electrical bills just paying

16   for electricity and their usage.  And they would be putting

17   back onto the grid about -- well, actually they will be putting

18   back on the grid 4.4-megawatt hours of electricity per year,

19   which the power company would buy for approximately $242,000.

20             Kind of getting to the bottom line of this, with the

21   sale of the power and what it costs them to produce the power,

22   and paying for the electricity, over what they are doing now

23   without having the system in there, they would end up actually

24   losing $66,000 a year to put this system in unless there is

25   some sort of cost incentive that is going to be provided.  But

FLORIDA PUBLIC SERVICE COMMISSION

21

1   it's a loss, it's a complete loss at this point under the

2   current system.

3             This is compared to pre-farm generated power and them

4   putting the system in.  But if they put the system in, they put

5   in interconnectivity, and we estimated a cost for what it would

6   take amortized out on an annual basis of about $100,000 a year

7   to build the interconnectivity so he could utilize all the

8   power himself on the farming operation, which he could do now,

9   that is within the current rules that that could be done.

10   There is a pay back for him to do that, because he will be

11   going from -- instead of getting point -- about 5-1/2 cents a

12   kilowatt hour, he will be getting about 11 cents per kilowatt

13   hour, almost doubling the value of his electricity.

14             So there is a lot of money there, revenue potential

15   for him to afford to build the interconnectivity.  So he could

16   reduce his cost significantly by about $40,000 a year, but he

17   is still in the negative, because it's still not economically

18   feasible to do this from just economics.

19             I have to point out, though, there are other benefits

20   to this.  The reason Joe is going to do this, there is the odor

21   control, there is the water management benefits, and he is

22   going to get some solids that he can sell out of this.  So

23   there are other benefits that have tipped it so he has decided

24   to do this way, plus getting a grant from the USDA.  All of

25   those factors have allowed this to happen.  But that unique

FLORIDA PUBLIC SERVICE COMMISSION

22

1   condition is not going to occur for everybody else, so I didn't

2   put in this the grant money, because this would not be the

3   normal case.

4             So what happens now if we actually just allowed him

5   to go through net metering, take all of his meters on his

6   farming operation, take those meters, whatever power he's

7   consuming and just subtract off of that the amount of power he

8   is putting back on the grid, and then the excess he would get,

9   and he is actually getting about 1.7 megawatt hours per year

10   excess.  He's producing more than his farm, so he still would

11   be selling power out to the grid.

12             But the point to be seen here is that from the power

13   company's standpoint, if you went to net metering versus him

14   doing the interconnectivity, it would be the exact same impact

15   on the power company.  It doesn't hurt the power company to go

16   to net metering.  And from an economic standpoint, if you

17   actually look at the ultimate bottom line here, suddenly with

18   net metering there is a payback for putting this system in.

19             And I think that, you know, that is the bottom line

20   that I wanted to point out here is that this net metering is

21   really going to be a critical incentive tool to get these

22   renewable energy resources put out there.  And with that, I'll

23   open it up to questions.

24             CHAIRMAN EDGAR:  Thank you.

25             Commissioner Argenziano.

FLORIDA PUBLIC SERVICE COMMISSION

23

1             COMMISSIONER ARGENZIANO:  Doctor Bottcher -- is it

2   Bottcher?

3             DOCTOR BOTTCHER:  Yes.

4             COMMISSIONER ARGENZIANO:  Doctor Bottcher, in looking

5   at some of this and looking at your attention of net metering,

6   have you read the staff's definition or recommendation?

7             DOCTOR BOTTCHER:  I just received it this morning and

8   I have scanned it, but I do want to go through it in detail,

9   and I was going to ask if there is a period that we can provide

10   written comments after this workshop.

11             CHAIRMAN EDGAR:  Yes, there is.  In fact, we are

12   asking for written comments from all of our participants after

13   this workshop.  And I think -- I'm sorry, I don't have it in

14   front of me, I'll ask Mark.  What is the date that we were

15   going to ask for written comments by?

16             MR. FUTRELL:  We're targeting September 18th.

17             CHAIRMAN EDGAR:  So, yes, we would very much like

18   your written comments after this meeting.

19             COMMISSIONER ARGENZIANO:  And some questions that I

20   have that I want you to think about, I don't know if you can

21   answer them right now, but maybe incorporate them on or answer

22   them now into your written comments, also.  I'm not too sure

23   about the insurance provisions, and I'm going to ask staff

24   later, also.  Would the insurance -- because this would be a

25   Tier 3 operation, according to the recommendations for the new

FLORIDA PUBLIC SERVICE COMMISSION

24

1   rule, and there is a requirement for, I think, it's a million

2   dollars of insurance.  Would the farmers -- and I know that Mr.

3   Hall has a little larger farm, and that is what is enabling him

4   to do this, too, plus the other incentives that you have

5   mentioned, would that insurance be available and affordable to

6   the farmer?

7             DOCTOR BOTTCHER:  I would have to review and answer

8   that question, because I do not know the answer to that.

9   Unless you do, Joe.

10             MR. HALL:  (Inaudible.  No microphone.)

11             CHAIRMAN EDGAR:  I'm sorry, what --

12             DOCTOR BOTTCHER:  I will need to investigate that.

13             COMMISSIONER ARGENZIANO:  Madam Chair, if I may --

14             CHAIRMAN EDGAR:  Yes.

15             COMMISSIONER ARGENZIANO:  What I'm looking at is I

16   want to make sure that whatever we're doing is not going to

17   disincentivize.

18             DOCTOR BOTTCHER:  Well, you will have to be careful,

19   because obviously if you put something in the rule that

20   requires a certain type of insurance coverage first, just

21   riding up this morning, Nationwide is dropping, what, another

22   300,000 homeowners in the state of Florida, so getting

23   insurance is going to be more and more difficult.  And so, you

24   know, I just warn against putting anything that potentially

25   would be a negative incentive, but I think Joe has pretty good

FLORIDA PUBLIC SERVICE COMMISSION

25

1   insurance coverage and would be able to probably get the

2   insurance coverage required, but let me give you a definitive

3   answer.

4             COMMISSIONER ARGENZIANO:  Madam Chair, I think that

5   is important whether it's the larger farmer or the smaller

6   farmer.  And the smaller farmer obviously would be in a

7   different tier, but I still want to know if the insurance is

8   available, and what you guys are really finding maybe your

9   premiums -- or if they changed your current insurance premiums.

10   And the other question, Madam Chair, I have is in the

11   recommendations, the net metering, the utility would pay you

12   yearly.  I don't know, that may be okay for a larger farmer,

13   but I'm not sure how it affects the smaller farmer.

14             DOCTOR BOTTCHER:  Well, I would think on a smaller

15   farmer, it could, because a lot of farmers are seasonal, they

16   are having to borrow money to get through certain seasons.  And

17   basically you're asking the farmer to carry that money at their

18   cost, which I would encourage if it's possible to have it set

19   up, since metering is done on a monthly basis, why couldn't it

20   be done on a monthly basis.

21             COMMISSIONER ARGENZIANO:  Just some concerns that I

22   have, I'm sure we'll be hearing, Madam Chair, because I know

23   that the smaller farmers are living day-to-day and trying to

24   make ends meet.

25             DOCTOR BOTTCHER:  I think for some of the smaller

FLORIDA PUBLIC SERVICE COMMISSION

26

1   farmers it could present more of a hardship to have that money

2   held back for that long of a period.

3             COMMISSIONER ARGENZIANO:  Thank you.

4             CHAIRMAN EDGAR:  Thank you, Commissioner.

5             Commissioner Skop.

6             COMMISSIONER SKOP:  Thank you, Madam Chair.

7             I also have Commissioner Argenziano's concerns with

8   respect to the insurance issue, more specifically the

9   affordability, the availability, and the appropriate insurance

10   limits.  So at the appropriate time when we get into the

11   discussion, because, again, insurance is skyrocketing in the

12   state of Florida.  There has been legislative reform, as well

13   as the Governor's actions to address that, but certainly

14   insurance costs and the manner in which they keep increasing

15   might affect the financial feasibility of doing such projects.

16   So, again, that is an important concern that I think staff

17   needs to take a look at.

18             CHAIRMAN EDGAR:  Thank you.

19             And we look forward to your follow-up, I hope,

20   written comments as well.

21             And next I would like to ask Mr. Steve Davis with

22   Mosaic Fertilizer.

23             MR. DAVIS:  Good morning.

24             CHAIRMAN EDGAR:  Good morning.

25             MR. DAVIS:  Thank you for the opportunity to speak.

FLORIDA PUBLIC SERVICE COMMISSION

27

1   I actually thought I was going to be a little bit more out on

2   my own as far as the message that I was going to be bringing to

3   you guys than what obviously that I am, given the remarks that

4   we heard from Doctor Bottcher and Mr. Hall.

5             The overall theme of my discussion weighed heavily

6   into the idea that net metering as a proxy for a direct

7   interconnection makes a lot of sense, and it's really just an

8   uneconomical use of resources to go through the direct

9   interconnections when you can do the same thing through net

10   metering.

11             So I'll start with the presentation.  I'm just going

12   sort of blast through these first few ones about who Mosaic is.

13   We were formed in a merger in 2004 between Cargill and IMC,

14   just in case you are not familiar with the name of the company.

15   The markets we serve.  Mosaic has approximately 3,200 employees

16   in Florida, and indirect jobs overall in Florida for the

17   phosphate fertilizer manufacturing business in the neighborhood

18   of 20,000.  So we're a major economic stakeholder in Florida.

19             The actual process, and I'm not going to get heavily

20   into this, but there's two different segments to our business.

21   The first one is the mining and minerals processing part,

22   that's where we have the very heavy electricity consumption,

23   and then the second part of our manufacturing process is the

24   actual phosphate fertilizer manufacturing facilities, that's

25   where the renewable energy waste heat recovery generators are

FLORIDA PUBLIC SERVICE COMMISSION

28

1   located.

2             I'm not going to go heavy into this slide, either.  I

3   want to just sort of call your attention to the upper left

4   where you see that a starting point in the process is to react

5   air with sulfur as part of making sulfuric acid.  That is an

6   extreme exothermic reaction at around 2,000 degrees Farenheit.

7   It gives off a lot of heat.  Whenever the fertilizer

8   manufacturing facilities just came into operation in Florida

9   and other states, most of this heat was just dissipated to the

10   atmosphere.  And what has now happened with Mosaic and other

11   companies is that we -- sorry about that.  I'll just hold it.

12             CHAIRMAN EDGAR:  If that works for you.  If not,

13   we'll get you some help.  Thank you.

14             MR. DAVIS:  We have constructed heat recovery systems

15   to actually capture the heat and to convert it into steam.  We

16   use the steam first to meet the process needs of the fertilizer

17   manufacturing, and then the remainder of the steam is piped

18   into steam turbo-generators to produce electricity.  You see

19   that listed as a cogeneration plant right up here.  And the

20   output of the cogeneration plant, to some extent we already

21   have net metering behind a single metering station.

22             At that complex where the fertilizer is being

23   produced, we first serve the needs of the electrical loads

24   there, and then there is some additional electricity that's

25   available, and I'm going to be getting into some of the

FLORIDA PUBLIC SERVICE COMMISSION

29

1   economic drivers about what to do with that electricity coming

2   up.  As far as the process goes and the environmental

3   attributes of the process, there is no fuel associated with

4   this.  This interacting of sulfur with air has to be done as an

5   inherent part of manufacturing fertilizer, and so you really

6   are sort of faced with the choice of just letting the waste

7   heat go to the atmosphere or actually collecting it and getting

8   some useful productive work from it.  So there is no fuel

9   directly associated with the production of the electricity,

10   there are no pollutants because all we are doing is capturing

11   waste heat and turning it into steam, and there are actually no

12   open land areas disturbed, because the renewable energy

13   generation is actually located inside of the complex where we

14   are producing the fertilizer already.

15             As you are, I'm sure, aware, it has already been

16   recognized in Florida Statutes, this one lists 377.803.  I

17   think it's also in 366.91.  And then from a federal standpoint,

18   the recently approved by the United States House of

19   Representatives bill included a renewable energy portfolio

20   standard, and a part of that legislation said that up to

21   27 percent of the RPS standards for utility companies could be

22   satisfied with combined heat and power systems, incremental

23   additions to combined heat and power systems, and that's what

24   this is.  So there is definitely the potential for -- on paper,

25   this power flows to the utility company to craft a document

FLORIDA PUBLIC SERVICE COMMISSION

30

1   such that it can be incorporated into the native utility's

2   accounting for meeting their RPS goals from a federal

3   standpoint and possibly if there is future state, also.

4             This slide just shows a map of where locations of

5   facilities are located.  These are the mining and minerals

6   processing plants that are the large consumers.  I won't go

7   into detail.

8             This one is the actual renewable energy generation

9   sites.  The same map, I have just highlighted the actual

10   complexes where you can see we are all there together.  And

11   Mosaic owns the vast majority of the land that you see on this

12   map.  So it's mainly on contiguous property that we already

13   own.

14             This slide show the capacity.  We're obviously a

15   little bit bigger, and I don't know what tier this would be,

16   but not Tier 3, maybe Tier 12 or something, where our capacity

17   is close to 300 megawatts for our actual renewable energy

18   nameplate.  The second two columns is what we have actually

19   done January through June as far as average output by location

20   and the average that we are actually exporting to the grid on

21   an as-available basis.

22             I will call your attention to a couple of things

23   there.  One, you see that Bartow is sitting at a zero as far as

24   as-available exports.  That is a little misleading, because we

25   have a contract, I think it has been in place with Progress

FLORIDA PUBLIC SERVICE COMMISSION

31

1   Energy for about 20 years now.  It expires at the end of this

2   year.  So there is going to be, like, 15 megawatts available

3   for as-available export to the grid right there.  You see the

4   South Pierce, 13 megawatts up there.

5             I think I may have broken the thing.  But, anyway,

6   it --

7             CHAIRMAN EDGAR:  Mr. Davis, we're going to break in

8   just a moment.

9             Commissioner.

10             COMMISSIONER ARGENZIANO:  Just a question for my own

11   knowledge.  The Mulberry plant, wasn't that shut down for quite

12   sometime?

13             MR. DAVIS:  Yes.  I think there are still portions of

14   the facility that are down.  And I'm not directly into the

15   operation segments right now, but I don't know that we are

16   doing some of the actual phosphoric acid production there now.

17   I think we're primarily doing sulfuric acid production, but

18   there was a large portion shut down.

19             COMMISSIONER ARGENZIANO:  Thank you.

20             MR. DAVIS:  So we got the 13 megawatts from South

21   Pierce, and actually I'm going to talk about that a little bit

22   more coming up in a future slide, just to take note of.  New

23   Wales, this slide just shows that we have got a couple of

24   expansion projects that we are looking at right now.  We are

25   hoping to bring one of these 30 megawatt TG-3 expansion

FLORIDA PUBLIC SERVICE COMMISSION

32

1   projects on line at New Wales during 2008, maybe mid-year 2008.

2             We also have waste, additional waste heat recover

3   projects that can be executed at New Wales to put in another

4   30 megawatts on top of that.  Pure waste heat recovery, again.

5   However, there is an issue that is sort of a sideline issue

6   that you may need to know about, is that there could be a Power

7   Plant Siting Act issue with that last 30 megawatt addition.

8   Because as it stands rights now, unless we would execute a

9   contract with our native utility or get some kind of

10   legislative relief, there is no carve-out in the existing

11   legislature to allow us to do that.

12             You see that New Wales right now is sitting at

13   67 megawatts of capacity.  Well, then we will add 30, that

14   would be allowed through the 2006 carve-out that the utility

15   companies worked with us on to allow that to happen, you know,

16   above the 75 megawatts.  But then once we've done it once, we

17   can't do it again unless we execute a contract with the utility

18   to be able to go through the Power Plant Siting Act as a

19   qualified applicant.  So that's one of the side issues that

20   maybe we could roll into a net metering contract is something

21   that actually deals with that issue, because I think it is a

22   shame to have the ability to put that additional capacity on

23   line physically, but not being able to do it from a legislative

24   standpoint.

25             And then I talked some about the extra power that

FLORIDA PUBLIC SERVICE COMMISSION

33

1   would be available after we meet the needs of the electricity

2   load at the fertilizer manufacturing facility.  There is an

3   economic driver here.  The driver is, I think, very similar to

4   what we heard from the farm community about you get paid less

5   for the power that you export to the grid versus the amount of

6   money that you are paying for power that you are purchasing

7   from the grid.  And, as I mentioned to you before, we have got

8   these very large electricity consuming sites at our mining

9   locations.  And so we pay around $15 to $20 more per megawatt

10   hour for those purchases versus what we are putting to the

11   grid.

12             So what have we done about that?  This slide sort of

13   highlights that.  And if you look at Bartow, for example, in

14   the upper right, you can see the solid red lines.  Those

15   represent 69,000-volt transmission lines that Mosaic has

16   constructed, owned, and maintained and still does that to this

17   day where we interconnected the renewable generation site at

18   Bartow and Mulberry with Hookers Prairie and South Fort Meade

19   Minerals sites.

20             Another thing that is interesting to see on here, I

21   think I called your attention to the 13 megawatts at South

22   Pierce that we're currently exporting to the grid.  Well, up

23   until June of 2006 that wasn't the case, because we consumed

24   that power internally at Fort Green.  However, now Fort Green

25   is closed, and so it is the nature of the beast with our

FLORIDA PUBLIC SERVICE COMMISSION

34

1   mining, is that you extinguish the reserve base and you shut

2   down the facility.  So the tie line is no longer active, so

3   where we were effectively capturing that opportunity cost

4   associated with the $15 to $20, we are now no longer getting

5   that, because the tie line is no longer active so the power

6   goes to the grid.  That 13 megawatts, if you just sort of ran

7   the rough math on it, at $15 per megawatt hour opportunity

8   cost, there's around $1.7 million a year that we're losing from

9   an opportunity standpoint by moving that power to the grid

10   instead of offsetting power purchases elsewhere.

11             The other thing that I definitely call your attention

12   to is New Wales.  New Wales is actually in a very slight net

13   import mode right now.  That is the location that I'm talking

14   about having the potential for adding up to 60 megawatts of

15   additional renewable energy generation.

16             Well, when I do the economic evaluations associated

17   with those new facilities coming on-line, they're going to be

18   evaluated at $15 to $20 per megawatt hour lower price than what

19   I would otherwise be able to get if we had something like a net

20   metering concept that was approved.

21             Final slide.  What am I asking for?  Well, what I

22   would like for you guys to entertain is the possibility of

23   actually allowing net metering.  I'm not sure how well it fits

24   with the documents that have been prepared to date, because I

25   have a concern that they may only address, and I think I

FLORIDA PUBLIC SERVICE COMMISSION

35

1   briefly talked to Mark about this, that they may only address

2   the smaller operations and not apply to a large operation such

3   as Mosaic.  But even if -- another thing, I'm obviously not an

4   attorney, so I don't know how this would take place, whether or

5   not there would need to be an actual rulemaking in order for it

6   to be allowed, or whether or not if we could enter a special

7   contract with a utility company, whether or not -- there would

8   be need for a rulemaking, per se, to allow that contract to go

9   forward.  But, anyway, that's basically what I'm asking for.

10             You can see a lot of the stuff that I've already

11   talked about, about this being a good idea.  Definitely it's a

12   shame, I would welcome you to come by and look at some of these

13   power lines that we've constructed, and how they're sitting

14   there right beside of the utility company power line.  It's a

15   waste.  We have operational issues where we would love to be

16   able to not run those tie lines because we would like to be

17   able to operate our concentrated fertilizer facilities

18   autonomously from our minerals processing sites.  But now with

19   the tie lines there, which we kind of have to do because we

20   can't just ignore that $15, you have to coordinate repair days,

21   there's issues where you have, like, a capacity alert that may

22   be issued, and you would want to react to that capacity alert

23   in a different way at the concentrated fertilizer operation

24   versus how you would act at the minerals processing sites, but

25   you can't do it because they are hooked together.

FLORIDA PUBLIC SERVICE COMMISSION

36

1             And I think, you know, also the RPS standard stuff

2   that we could hopefully craft contracts to address that, and I

3   think it's very much in line with the legislative intent of

4   366.92, which I have typed in there a lot of the pertinent

5   details.  So, that's my say.  Any questions?

6             CHAIRMAN EDGAR:  Thank you.

7             Commissioners, any questions for Mr. Davis?  None at

8   this time.

9             Mr. Davis, I am hopeful that you will take advantage

10   of the opportunity to give us some written comments, as well,

11   and I know our staff will work with you, but a couple of the

12   points that you have raised regarding all of those kind of

13   collocation of lines, and issues with the Power Plant Siting

14   Act, and a few other points that you have raised I know would

15   be helpful to me, anyways, to have in writing.  So, thank you.

16   I appreciate your participation.

17             MR. DAVIS:  Thank you very much.

18             CHAIRMAN EDGAR:  And next I would like to ask

19   Ms. Colleen Castille to come forward, former Secretary of the

20   Department of Environmental Protection.

21             Welcome.

22             MS. CASTILLE:  Thank you, and good morning, Chairman

23   Edgar and members of the Commission.  It is a pleasure to be

24   here.  It's a pleasure to be back in Tallahassee and working on

25   these very exciting issues.

FLORIDA PUBLIC SERVICE COMMISSION

37

1             Ever since Governor Crist had his Serve to Preserve

2   Conference in, I think it was July, there has just been an

3   incredible excitement in all of the alternative energy arenas

4   for coming to Florida.  As you know, the Department of

5   Environmental Protection and the Department of Agriculture have

6   grant programs to support renewable energy of all types.  And

7   while there has been more grant applications than monies

8   available, even though there are more monies available this

9   year in some of the other agricultural renewable arenas, the

10   projects will not work as effectively unless there is net

11   metering.

12             And the net metering -- there are 42 states in the

13   nation that have net metering rules, and so it's time for

14   Florida to develop a net metering rule.  And I'm going to speak

15   a little bit to the rule in specificity so that you have some

16   idea of what we think are some of the good parts of the rule.

17             This is a great rule, by the way.  First of all, it

18   is easy to understand.  I'm very familiar with the rules of the

19   Public Service Commission, and so this was really great for me

20   to be able to understand it, because I consider myself a normal

21   consumer.  Now, give me a DEP rule, and I can complicate the

22   world for you.  But I'm in the business; I have a new company

23   called Go Green Strategies, and I work with companies to become

24   greener, essentially.  To look at solar, in particular, solar

25   photovoltaic generation, electric generation facilities at the

FLORIDA PUBLIC SERVICE COMMISSION

38

1   location.  So for the clients that I'm working with, this is

2   incredibly important to get accomplished in the state.

3             The least expensive kilowatt to build is that which

4   you conserve.  And so I think we have to continue with the

5   message across the board to the communities and to our

6   consumers to conserve energy, and we're moving forward with

7   that.  We've got the huge campaign for compact fluorescents

8   that is moving forward, we've got the campaign for looking at

9   your individual usages, and keeping your electricity at

10   78 degrees, and it has been really hard during these 100-degree

11   days that we have had, but that is the least expensive.

12             And the next least expensive is those that are

13   somewhat subsidized by the state government.  To subsidize

14   manufacturing, not necessarily the manufacturing, but the

15   purchase of solar -- I'm going to call that PV -- PV and other

16   types of alternative energy usage.  And to develop those and

17   utilize everything best that is at the location, distributed

18   energy essentially.

19             And we have got a number of alternatives that are out

20   there.  And to this rule, one of the things that I wasn't

21   particularly clear of, although it didn't seem to prohibit

22   anything other than solar PV and wind systems, it wasn't clear

23   to me that it applied to all alternatives.  And so some of the

24   agriculture presentations that you have heard this morning, to

25   me it's not clear that that is supported here.  Although from

FLORIDA PUBLIC SERVICE COMMISSION

39

1   talking to some of the staff and from you all, I understand

2   that that is included.  But it should be more clear that there

3   should not just be those two types of renewables outlined in

4   the rule.  I think it should be expanded.

5             And, additionally, the issue of liability.  I have

6   looked at some of the other rules in the states, California in

7   particular, New Jersey, and some of the northeastern states,

8   and liability is generally required, liability insurance is

9   generally required in each of those rules.  And there is a

10   necessary reason for that.  Although I think you bring up a

11   very good point as to whether that liability insurance is going

12   to be available here.  It would typically be a specialty

13   insurance which hasn't really seen the decline in the market as

14   property and casualty has been in the state.  But I'm not an

15   insurance expert, so that would probably be a good thing to

16   have the staff check out with the Department of Insurance.

17             And then, lastly, the issue of the cap on generation

18   between the tiers.  I think that, you know, although some

19   people say it's probably best to tread lightly when you first

20   tread into an unknown area, it's only unknown in this state,

21   it's not unknown in other states.  There are 42 other states

22   that do this, and the caps should really, I think, be removed.

23   And I think that there should be support for any level of

24   generation.

25             And that's my comments.

FLORIDA PUBLIC SERVICE COMMISSION

40

1             CHAIRMAN EDGAR:  Thank you, Colleen.

2             Commissioner Argenziano has a question.

3             COMMISSIONER ARGENZIANO:  Thank you, Madam Chair.

4             Colleen, in the staff's proposed rule, it does

5   indicate on Page 1, Line 22, renewable energy is as defined in

6   Section 377.803, and let me just read you that one section and

7   see if that captures all that.

8             MS. CASTILLE:  I think it does capture all of that.

9   The problem is going from one rule to another rule, and it just

10   makes it difficult for the common person, the common consumer

11   to have to flip between rules.

12             COMMISSIONER ARGENZIANO:  So, in other words, just

13   actually maybe writing down what is included in that statute.

14             MS. CASTILLE:  Yes.

15             COMMISSIONER ARGENZIANO:  Okay.  And my last question

16   right now is if I go to Dunnellon this weekend, should I say hi

17   to your aunt?

18             MS. CASTILLE:  Absolutely.  Say hi to Aunt Doris for

19   me, please.

20             COMMISSIONER ARGENZIANO:  I will.  Thank you.

21             CHAIRMAN EDGAR:  Any other questions, Commissioners?

22             Thank you, Colleen.  I appreciate you being here.  Of

23   course, the same to you, if you would like to give us written

24   comments, we would look forward to those, as well.  And I don't

25   think I made that point when Mr. Walmsley was speaking, but the

FLORIDA PUBLIC SERVICE COMMISSION

41

1   same to Mr. Walmsley, written comments afterward will be very

2   helpful to us and to the staff.

3             Commissioners, that concludes the presenters or

4   speakers that we had lined up to kick us off today.  Our next

5   step is to ask our staff to walk us through the proposed

6   language.  I had asked the staff when we were putting together

7   the agenda that I thought it would be helpful to me to help get

8   my thoughts in order to hear from some actual businesses as to

9   what some of their thoughts were on these issues, and I hope

10   you have found that helpful.  I know I have.

11             I think what I would like to suggest is that maybe we

12   take just about seven minutes, we're going to switch focus just

13   little bit now into the actual rule language, so let's take

14   about seven minutes, a short break, and then we will come back

15   and look to our staff to walk us through.

16             (Recess.)

17             CHAIRMAN EDGAR:  We are going to go ahead and get

18   started here in a moment.

19             Thank you all for staying with us.  And next on our

20   agenda I'm going to ask our staff to walk through the draft

21   language that was put out with the notice.  And I do understand

22   that there may be, I believe, the same language but perhaps

23   more than one version as far as just the way the printing and

24   all that came out.

25             So, Mark, if you could maybe help us make sure that

FLORIDA PUBLIC SERVICE COMMISSION

42

1   we are all looking at the same thing and then look to you to

2   get us started.

3             MR. FUTRELL:  Sure.

4             Commissioners, in your notebooks under Tab B is a

5   document that is the existing rule on expedited interconnection

6   and net metering for small photovoltaic systems, and that

7   document is entitled, "25-6.065, Interconnection of Small

8   Photovoltaic Systems."  And we provided a copy for the audience

9   and the participants today, and that has been provided out, and

10   that is the existing rule.

11             What the staff draft is proposing to do is to strike

12   that rule and replace it with the language that you have in

13   your notebook under Tab C, which is the document entitled,

14   "25-6.065, Interconnection of Customer-Owned Renewable

15   Generation and Net Energy Metering," and that document has also

16   been provided for the audience and the participants today.  And

17   I would suggest that for ease of -- as the participants discuss

18   the rule and make citations to it, that they use that document

19   that has been provided today, just so that the pagination and

20   the line numbers do not create any kind of confusion.  So, if

21   we could work from that when we make any references, I think

22   that would help the discussion.

23             CHAIRMAN EDGAR:  Okay.  So we will be using for our

24   discussion today the copy that has been available here.  If

25   anybody needs a copy, I think we still have copies or we could

FLORIDA PUBLIC SERVICE COMMISSION

43

1   get more.  My understanding is that the language of the draft

2   is exactly the same language that was put out with the notice

3   and available, but the line numbers may be a little different.

4   So we will work from the copy that is here.

5             Mark, if you would.

6             MR. FUTRELL:  Thank you, Chairman Edgar.

7             I would just like to make a note that as we talk

8   about this rule, the intent of these draft amendments are

9   similar to the original existing rule on small PV

10   interconnection and net metering, and that is to encourage

11   customers to use their renewable generation to meet their own

12   needs.  The draft, if we start on Page 1 and we lay out an

13   application and scope, and note there that this draft rule

14   would be applicable to all electric utilities as defined in

15   Section 366.022, Florida Statutes, whereas the existing rule is

16   applicable to investor-owned utilities.

17             We then have a definition section where we define

18   terms used in the rule, including customer-owned renewable

19   generation, gross power rating, net metering, and renewable

20   energy, which is the definition cited in 377.803, which is a

21   very broad definition which includes several renewable energy

22   sources.

23             CHAIRMAN EDGAR:  Before you move on -- Commissioner

24   Skop, did you have a question?

25             COMMISSIONER SKOP:  Yes.  Thank you, Madam Chair.

FLORIDA PUBLIC SERVICE COMMISSION

44

1             With respect to the application and scope, I don't

2   know whether it's possible to make a constructive comment, but

3   in the application and scope section, on Line 4, for the phrase

4   "particularly photovoltaic and wind systems," would it be

5   possible to revise that to be "wind-to-energy systems,"

6   consistent with the other language?

7             Thank you.

8             MR. FUTRELL:  Thank you.

9             At the bottom of Page 1 is the section where we begin

10   to discuss the provisions for the expedited interconnection of

11   small renewable -- or renewable generation systems.  And it

12   lays out a time line for providing the interconnection

13   agreement to customers, and that the agreement comply with the

14   following standards:  That would be IEEE 1547, which was noted

15   in the Governor's Executive Order, and UL 1741, which covers

16   standards for inverters.

17             We also have a section, Section B and C, which covers

18   the certification of equipment that is to be used, that it be

19   certified from a nationally recognized testing certification

20   laboratory, and this is new language compared to the existing

21   rule.  On Line 21, we have Section (4), which we have the

22   customer qualification fees, and we set up tiers where we have

23   25 kW or less for Tier 1, Tier 2 between 25 and 100 kilowatts,

24   and Tier 3 greater than 100 kilowatts and less than or equal to

25   one megawatt.  And that's used in the following section on Page

FLORIDA PUBLIC SERVICE COMMISSION

45

1   3 beginning in Sub (a) where Tier 1 customers are not required

2   to be charged any fees associated with the application or any

3   other fees.  We do provide in Section (b), we are suggesting

4   that Tiers 2 and 3 be -- that the utility may propose a

5   standard application fee for Tiers 2 and 3 to recover costs

6   associated with reviewing these agreements.

7             We also suggest in Section (c) that the utility may

8   propose for the Commission's approval an interconnection study

9   charge for Tier 3, the larger systems, where there potentially

10   could be some impact on the system, and that study would

11   identify that if needed.

12             And also in Section (d), we note that all of those

13   fees have to be that the utility proposes for Commission

14   approval are cost-based and reasonable.  Then in Section 5,

15   Line 13, Page 3, we lay out the contents of the standard

16   interconnection agreement.  And many of these sections are

17   taken from the existing rule as far as the inspection of the

18   system, and approved by local code officials.  On Lines 16

19   through 18, Sub 2 is the provision about inspection, permitting

20   the utility to inspect the system and to make sure it's in

21   compliance with those previous Sections 2 through 4.  And also

22   that the utility may have personnel present at the initial

23   testing of the equipment.

24             Sub 3 is the provision that the customer is

25   responsible for protecting their equipment and other devices

FLORIDA PUBLIC SERVICE COMMISSION

46

1   associated with the renewable energy generation.  Again, this

2   language is straight out of the existing rule.

3             Sub 4 is the liability section where we identify no

4   more than $100,000 of liability for Tiers 1 and 2, and no more

5   than one million dollars for Tier 3.  The intent there was to

6   mimic some of the language from the existing rule whereas for

7   smaller --

8             (Technical difficulties.  Recess.)

9             CHAIRMAN EDGAR:  Okay.  We are up and running again.

10   And, once again, thank you all for your patience.  So we are

11   going to try to start, I think, where we left off last.

12             And, Mark, if you would, we can start walking

13   through.  And I hope it was clear from the agenda, but if it

14   wasn't, or if I did not make it clear, what we have asked Mark

15   to do is kind of give us an overview of the proposed language,

16   and then we will come back and sort of walk our way more slowly

17   through each section and take comments and have some

18   discussion.

19             So, Mark, if you would at the point that we were

20   last.

21             MR. FUTRELL:  Thank you, Chairman Edgar.

22             We had left off on Page 4 of the draft rule

23   amendments, Line 5, talking about the insurance provisions.

24   Again, the idea was that for residential homeowners that would

25   install a renewable system, that if they have an existing

FLORIDA PUBLIC SERVICE COMMISSION

47

1   homeowners policy that that would most likely cover the

2   requirements here that are, again, identical to what is in the

3   existing rule, and there would be no additional insurance costs

4   for those customers who have an existing policy that provide

5   this kind of liability protection.

6             CHAIRMAN EDGAR:  Commissioner Argenziano.

7             COMMISSIONER ARGENZIANO:  Thank you.

8             I didn't mean to cut you off, but to that point, I

9   would be covered -- if I decided to buy solar panels for my

10   home, my current insurance policy is not going to require me

11   when I call them up and say, well, now I have these certified

12   solar panels, you are comfortable with, I guess, the statement

13   that they will not charge me any more or they will cover that

14   equipment?

15             MR. FUTRELL:  As I understand it from the existing

16   rule and the way that that is operated, that the general

17   liability provisions are in most homeowners policies, and it's

18   included.

19             MR. CASEY:  If you were requesting the insurance

20   company to cover your solar panels, then they may charge you

21   more.  But what we are talking about is the general liability

22   portion of a homeowner's policy that chances are you already

23   have, and so you wouldn't have to take out additional coverage

24   to satisfy this rule.

25             MR. FUTRELL:  Right.  If you're trying to talk about

FLORIDA PUBLIC SERVICE COMMISSION

48

1   protection for damages from that solar equipment or renewable

2   to your home, or some property damage, there could potentially

3   be something there.  But as far as liability for, say, someone

4   who might be working on the lines and could be injured, then

5   that would take care of it, this would take care of it.

6             COMMISSIONER ARGENZIANO:  Madam Chair.

7             CHAIRMAN EDGAR:  Yes, ma'am.

8             COMMISSIONER ARGENZIANO:  I have tried to read

9   through my insurance policies over the years, and, boy, they

10   are tough.  But I don't ever recall seeing anything like that

11   in there, so maybe I'll go home again and painstakingly go

12   through that just to see if there is.  I don't know that that

13   is widely applied to a regular homeowner's insurance policy,

14   and I think I would just like to check on that.

15             MR. FUTRELL:  We'll certainly double-check and go

16   back over that thoroughly and make sure we investigate that.

17             COMMISSIONER ARGENZIANO:  Thank you.

18             CHAIRMAN EDGAR:  Commissioner Skop.

19             COMMISSIONER SKOP:  Thank you, Madam Chair.

20             Again, I was going to wait a little bit before

21   bringing up this concern, but I think it's good timing since

22   Commissioner Argenziano addressed it.  But getting to the crux

23   of the matter, I like the tier system, and looking at the

24   insurance issue, again, I think that's of concern to me, also,

25   for the reasons that both Commissioner Argenziano and I

FLORIDA PUBLIC SERVICE COMMISSION

49

1   expressed earlier this morning.  Can staff take a look at that

2   insurance requirement and moreover, again, focussing on the

3   affordability, the availability, and the appropriate amounts of

4   coverage for each tier to the extent that, you know, insurance

5   requirement is going to impact the financial viability of such

6   projects.

7             But, moreover, I think staff mentioned and

8   Commissioner Argenziano just also mentioned the ability of

9   existing homeowners insurance to cover such installations on

10   small installations, for instance, maybe a solar hot water

11   heater or pool system or something like that.  And the existing

12   tiers as defined in Paragraph 4, perhaps taking a look at that

13   and maybe making a sub-tier or smaller category of Tier 1,

14   where you might be able to qualify if staff analysis shows that

15   homeowners insurance would meet the applicable or appropriate

16   amount of insurance coverage.  So just looking at the tiers in

17   relation to insurance and finding some best practices there,

18   that would just be a general point of comment or concern that I

19   would like staff to take a further look at.  Thank you.

20             MR. FUTRELL:  Commissioner, we will take a very close

21   look at that.  That was a very contentious issue with the

22   enactment of the previous rule on insurance and working through

23   all of those issues there, and we'll take a very hard look at

24   that.

25             COMMISSIONER SKOP:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

50

1             MR. CASEY:  And, Commissioners, just to clarify, the

2   current rule, interconnection of small photovoltaic systems

3   does state a homeowners policy that furnishes at least this

4   level of liability coverage will meet the requirement for

5   insurance.  The current rule states that.  Our intention was

6   for that to simply apply, as well, but with the tiered system,

7   there would be other policies besides homeowners, so we didn't

8   specify.

9             COMMISSIONER ARGENZIANO:  To that point, though, the

10   current rule only has $100,000.  There is no million dollar --

11             MR. CASEY:  Correct, the 100,000 would be for Tiers 1

12   and 2 in the proposed rule.

13             COMMISSIONER ARGENZIANO:  Right.  My concern would be

14   now would the insurance companies want to address the -- would

15   they want to cover a liability of a million dollars without a

16   higher premium.

17             MR. CASEY:  I understand what you're saying.  I'm

18   guessing that for a system that large to be installed, it would

19   not be a homeowner policy, it would not be something you would

20   expect to be covered by a homeowner policy.  That would be more

21   associated with commercial/industrial.

22             COMMISSIONER ARGENZIANO:  Okay.  Then, Madam Chair,

23   to that point in the new proposed rule, that's not -- we're

24   requiring a million dollar liability insurance, and then that

25   brings up new questions to the business or the bigger farmer

FLORIDA PUBLIC SERVICE COMMISSION

51

1   who would be in that business.  How would he -- would that be

2   covered under his current insurance for his farming operation.

3   It's that same kind of question, is it available?

4             MR. FUTRELL:  And under our current cogeneration

5   rules for large systems, we require a million dollar liability

6   policy, that's in the existing rules for larger systems.

7   Again, we're talking about smaller systems here.

8             COMMISSIONER ARGENZIANO:  Madam Chair.

9             CHAIRMAN EDGAR:  Yes.

10             COMMISSIONER ARGENZIANO:  Is that in the current rule

11   that is in this packet?

12             MR. FUTRELL:  No, it's in the separate system of

13   rules applicable to larger cogeneration systems.

14             COMMISSIONER ARGENZIANO:  Now it's being separated

15   out into this new rule?

16             MR. FUTRELL:  This rule is more focused on expedited

17   interconnection for smaller customer-owned systems.

18             COMMISSIONER ARGENZIANO:  But Tier 3 is a larger

19   system that is obviously now being placed in this rule where it

20   was not in this rule before, it was in a different section, I

21   guess, or a different --

22             MR. FUTRELL:  That's correct.

23             COMMISSIONER ARGENZIANO:  My concern is still there,

24   I guess, is if these farmers, larger farmers or larger

25   operations, larger businesses want to get in that business or

FLORIDA PUBLIC SERVICE COMMISSION

52

1   are planning to generate more energy if their current insurance

2   is supplying that type of liability insurance.  And it may be,

3   I'm curious to find out -- I would hate to think that six

4   months down the road when they start applying, all of a sudden

5   they get hit with very large premiums because this is a new

6   thing.  Just a little maybe investigation.  Thank you.

7             CHAIRMAN EDGAR:  Thank you.

8             Commissioner Skop.

9             COMMISSIONER SKOP:  Thank you, Madam Chair.

10             On that same note -- and thank you, Cayce, for the

11   clarification on that.  I guess where I was kind of getting at

12   is, generally speaking, on the larger systems, I can reasonably

13   understand why they would require higher liability coverage

14   limits.  What I was looking more at was, and this may go to we

15   have three tiers now, perhaps, maybe, either it could be a

16   breakout of Tier 1 or maybe just four tiers with shifting the

17   existing ones down.  But what I was kind of getting at is

18   perhaps on a very, very, very small home system, in the

19   existing rule having $100,000 of general liability insurance

20   for, say, maybe a one kW system for something that you're going

21   to use for your pool or something that is very, very small

22   seems to maybe be overkill.

23             And I know insurance rates, we're trying to control

24   the rising prices, and I just want to be sensitive to the

25   insurance coverage requirements and what is the appropriate

FLORIDA PUBLIC SERVICE COMMISSION

53

1   amount of coverage for each tier.  And under the existing

2   proposed Tier System, 1, 2, and 3, we're going up to 25 kW.

3   That may be too big of maybe a catch-all category, if you will,

4   for just assigning an arbitrary -- and I know it's consistent

5   with the existing rule, but, again, I think we should look at,

6   you know, if we can have some overlap with what would normally

7   be covered under existing homeowners policy by something that

8   is merely attached to the roof that really doesn't have a whole

9   lot of liability coverage risk, if you will, that perhaps maybe

10   we ought to look at how we define things to the extent that we

11   are not having to purchase excessive insurance coverage limits

12   for something that may be otherwise smaller and not require

13   that.  So that is merely what I was suggesting there.

14             Thank you.

15             CHAIRMAN EDGAR:  Commissioner McMurrian.

16             COMMISSIONER McMURRIAN:  Thank you, Chairman.

17             And maybe I missed this, but in looking at the

18   language here about the no more than 100,000 for Tiers 1 and 2,

19   and no more than one million for Tier 3, I guess I'm confused

20   as to what is the minimum amount that's required for each tier.

21   Is it really suggesting you have to have 100,000 for Tiers 1

22   and 2, and that you have to have one million?  I mean, it reads

23   to me that it is no more than that and could be something less.

24   I may be just missing it.

25             MR. CASEY:  Well, this would be a number that the

FLORIDA PUBLIC SERVICE COMMISSION

54

1   utilities would include within their standard interconnection

2   agreements.  That's a cap that we placed on them as to what

3   they could require instead of --

4             COMMISSIONER McMURRIAN:  Right.  So they wouldn't

5   have to require one million for Tier 3?  Okay, thanks.

6             CHAIRMAN EDGAR:  Mark.

7             MR. FUTRELL:  Okay.  Picking back up at page --

8             CHAIRMAN EDGAR:  Excuse me, Mark.  Hang on.

9             Yes, sir, did you have a question?

10             MR. SHIRLEY:  Yes, just a quick comment.  This issue

11   has obviously been addressed in a number of other states that

12   have adopted interconnection rules.  And the results vary from

13   some states putting no insurance requirements at all in the

14   rule, other than a direction that the customer be informed that

15   they should consider getting insurance, that it's flagged as an

16   issue, up to specifying specific coverage limits that are

17   really not inconsistent with what you see here.

18             So I think you have fairly wide latitude looking at

19   the experience of other states.  And to the best of my

20   knowledge, lack of coverage or availability of coverage has not

21   been an issue in other states, but I do think you have to do

22   your homework on that and make sure that the policies written

23   here actually do cover this.

24             CHAIRMAN EDGAR:  Thank you.

25             Commissioner.

FLORIDA PUBLIC SERVICE COMMISSION

55

1             COMMISSIONER ARGENZIANO:  I wasn't sure what

2   Commissioner McMurrian had just made a point on.  Was it,

3   Commissioner, that Tier 3 did not have to go up to a million?

4             COMMISSIONER McMURRIAN:  I think what they clarified

5   for me and the point I was missing, I think, is that although

6   the language says no more than one million, I suppose the

7   utilities could still require up to one million.  And I guess,

8   perhaps, we will hear from them later on today about what they

9   actually think would be needed.  But I suppose since this would

10   be the standard that the utilities would have flexibility to go

11   up to that amount, just not require any more than that.

12             COMMISSIONER ARGENZIANO:  Well, if I can add to that.

13   My question would be if I was the person who was investing in

14   all of the equipment, of course, I would want my own liability

15   coverage, knowing what I own and what harm could come to me if

16   something goes wrong.  So I'm not sure it's the utility's

17   decision how much liability should be placed upon the operator

18   of a facility, but it seems to me that it does say no more than

19   one million, so it would at least mean that a million is

20   absolute -- according to the language, is absolute for Tier 3,

21   is that correct?

22             MR. FUTRELL:  Yes, it is.

23             COMMISSIONER ARGENZIANO:  And, Madam Chair, the only

24   reason I make the point is because there are questions

25   surrounding this.  I would hate to see a new market, so to

FLORIDA PUBLIC SERVICE COMMISSION

56

1   speak, come with the insurance companies now saying, guess

2   what, Mr. Farmer, oh, you want liability insurance for this

3   great generating plant, and now your premiums are going to go

4   up quite a bit.  I don't know if it is already incorporated

5   into most insurance policies, and that is really my only

6   question.

7             MR. TRAPP:  Could I offer some historic perspective

8   on this?  As Mark has said, the one million dollar insurance

9   requirement originates in the current Commission cogeneration

10   rules, which were enacted in the very early 1980s, and it was

11   an issue at that time whether or not this coverage was

12   available.  And there were many arguments for more than a

13   million dollars, because being a lawsuit conscious nation,

14   liability insurance, it's very important to get the right

15   coverage.  So there were arguments in the '80s about the

16   availability of one million dollar policies in Florida, and

17   that was the number that was selected because we felt that

18   based on the evidence at that time that was a reasonable amount

19   to get.

20             I'm not aware of any real controversy of obtaining

21   that insurance since the '80s, and hence the reason the staff

22   just brought that number forward for the larger systems.  With

23   respect to the $100,000 coverage, again, as Mr. Futrell has

24   mentioned, it was discussed in some detail three years ago when

25   we first enacted the small solar interconnection rule.  And,

FLORIDA PUBLIC SERVICE COMMISSION

57

1   again, in that regard, what this rule does is just really

2   expand the existing rule from small solar to other forms of

3   renewable.

4             So the $100,000 was hashed out about three years ago

5   with respect to its reasonableness, and that was the number

6   that everyone agreed to.  I know from personal experience, I'm

7   not exactly sure it's the exact same coverage, but I myself

8   carry a million dollar universal liability myself.  It costs me

9   $300 a year.  I don't know if it's different for commercial, we

10   can certainly look into it.

11             COMMISSIONER ARGENZIANO:  And I understand that, but

12   have you checked on how many insurance companies do include

13   these particulars in liability coverage?  That's my point.  And

14   the reason I'm saying this is because a number of years ago in

15   the legislative process I went through this with motorcycle

16   insurance.  And everybody felt that, well, you know, it was

17   there, it was included.  And it wasn't.  And then when you

18   started placing certain legislative mandates on how much

19   insurance a motorcycle rider would have, all of a sudden you

20   found that, wow, the market became very interesting, and it

21   became impossible to afford motorcycle insurance.

22             So I just want to make sure -- I understand the rule,

23   and why, and why we need it, and all of that, I just don't know

24   that many companies include that in their plans.  And if they

25   are, if they all include it, that's great, that ends the

FLORIDA PUBLIC SERVICE COMMISSION

58

1   problem right there.  If not, then we could be, you know,

2   looking at cherry picking and just some of the problems that

3   could come out of that.  But thank you.

4             CHAIRMAN EDGAR:  Thank you.

5             Mark.

6             MR. FUTRELL:  Okay.  Picking back up on Subsection

7   (b) of Page 4 of items that the utility may require the

8   customer to take as part of the interconnection agreement.  The

9   first is the manual disconnect switch to be installed at the

10   customer's expense to, again, help protect the system and

11   anybody that may be working on lines.  This language is taken

12   from the existing rule.  Sub 2 is an indemnification provision

13   to hold the utility harmless from any loss as a result of

14   operation of the generation.  Again, this language is taken

15   from the existing rule.

16             We then get down to Section 6, administrative

17   requirements, where we try to lay out a schedule for the

18   utility to respond in dealing with the customer.  Again, this

19   is the expedited section to try to give some definite time

20   lines on when the utility must respond to the customers and

21   process their paperwork.  And also for Tier 3, if there is an

22   interconnection study to be done, this sets a time lime for

23   when that needs to be concluded.  Again, the idea here is --

24   this is the real core of the expedited notion of the rule.

25             Section 7 is conditions for disconnect.  And these

FLORIDA PUBLIC SERVICE COMMISSION

59

1   provisions are in the existing rule on occasions when the

2   utility may have to disconnect the system.  This does not

3   prevent the customer-owned generation from self-serving, from

4   providing to the customer's -- for the customer's needs, but it

5   would prevent backflow to the grid in certain times.  And these

6   are the provisions that would allow the utility to disconnect

7   the system from the system, from the grid, but it would still

8   allow that generation to continue to operate.

9             COMMISSIONER ARGENZIANO:  And also the failure of the

10   consumer to maintain the required insurance coverage, so that's

11   why I really want to make sure that it is out there.

12             MR. FUTRELL:  Right.

13             Now we get into Sub 8, which is the net metering

14   provisions of the rule.  The existing rule has two provisions

15   which allow the utility to either net meter, and allow the

16   customer to net meter, and carry credits forward to the

17   following month.  At the end of a 12-month period, any unused

18   credits would revert back to the utility.  It also gives the

19   utility the option of installing dual metering technology or a

20   meter that would allow them to track the flow of electrons to

21   and from the residence, and any electricity sold back to the

22   grid is priced at the utility's avoided energy rate.

23             And as the utilities have implemented this program,

24   they have chosen to take the latter of allowing for dual

25   metering technology to measure the flow and pay the customer at

FLORIDA PUBLIC SERVICE COMMISSION

60

1   the avoided energy rate for electricity sold back to the grid.

2   Our provision in this rule would, again, allow the utility to

3   install at no cost to the customer the metering equipment

4   required to net meter, and the key parts of these provisions

5   are that the excess power would be accumulated, any excess

6   power would be accumulated and carried forward to the next

7   month, so that if the customer consumes more than they

8   generate, any unused credits would, essentially, reduce their

9   consumption for the following month.  Those credits would be

10   carried forward, and at the end of a calendar year the customer

11   would be paid at the nonfuel energy charge plus recovery

12   clauses under the customer's applicable rate schedule.

13             COMMISSIONER ARGENZIANO:  Madam Chair.

14             CHAIRMAN EDGAR:  Commissioner Argenziano.

15             COMMISSIONER ARGENZIANO:  What made you decide on the

16   12-month period?

17             MR. FUTRELL:  That's a typical period that is used.

18   That's carried forward from the existing rule, and that's a

19   typical -- usually, especially as I understand it, for

20   photovoltaic systems, there may be some variation in their

21   output over the year.  There may be some periods where it may

22   vary for the year, and it allows them to kind of smooth out any

23   usage.  Potentially there will be periods where they have more

24   excess, and then other periods where they use less, for

25   example, in the summer where there will be more customer usage.

FLORIDA PUBLIC SERVICE COMMISSION

61

1             COMMISSIONER ARGENZIANO:  Madam Chair.

2             My understanding is that there are these types of

3   rule in 42 states, is that correct?  Do any of them pay back

4   earlier than the 12 months to the customer?

5             MR. FUTRELL:  I'm not sure if they do a monthly

6   payback.  Some might do that.  But most of them have either --

7   actually, most of them do have a payback, it's usually after a

8   12-month period.

9             COMMISSIONER ARGENZIANO:  Can we find out if there

10   are any done on a six-month period?

11             MR. FUTRELL:  Sure.

12             COMMISSIONER ARGENZIANO:  Thank you.

13             MR. FUTRELL:  Just to explain the rate that we're

14   talking about paying them.  The nonfuel energy is, again, the

15   part of the bill to compensate for the utility's fixed costs of

16   generation, transmission, and distribution.  It also will be

17   paid the recovery clauses, which include fuel and purchased

18   power.  They would pay the customer -- however, the customer

19   would continue to pay their customer charge, which compensates

20   for the utility's cost of metering and billing.  Those costs

21   are going to be there no matter how much power the customer

22   generates and/or sells back to the utility.  So that customer

23   charge would be there under this proposal.  But for residential

24   customers, everything else they would be paid back at those

25   rates for the excess generation at the end of the 12-month

FLORIDA PUBLIC SERVICE COMMISSION

62

1   period.  So it's not quite full retail rate at the end of the

2   12-month period, but it's something slightly less than that,

3   but it's more than what's currently paid as far as the

4   as-available energy rate.

5             Now, for larger customers that are on a -- that are

6   demand billed, we have noted in the rule that the customers,

7   they would continue to pay the demand charge to recover those

8   costs associated with the demand charge.  Now, in Section 9 we

9   have reporting requirements to give the Commission an idea of

10   how the net metering programs will work and give us a sense of

11   the potential impact as we move forward, and we have given some

12   metrics here in Subsection 9 to try to give us some of that

13   data over time.

14             Finally, in Sub 10 we've got a dispute resolution

15   section which lays out some language so the customer will know

16   that they can come and resolve any kind of disputes associated

17   with the interconnection process or the net metering process.

18             And that concludes my remarks, Chairman.

19             CHAIRMAN EDGAR:  Commissioner Argenziano.

20             COMMISSIONER ARGENZIANO:  Thank you.

21             Just a question as to -- you know, we have a lot of

22   people that -- it may have slowed down now with the housing

23   market, but we had a lot of people that keep moving to Florida

24   and building.  And how would the general public know, I mean,

25   some of them know already, of course, that this is available.

FLORIDA PUBLIC SERVICE COMMISSION

63

1   How would they know about our new rule, and if they want to

2   incorporate that in a new building or an existing home?

3             MR. FUTRELL:  I'm sure there are a lot of folks, and

4   certainly in the industry, that will be providing this

5   equipment.  They will know about these programs that will be

6   available.  The solar installers and other folks who work in

7   this industry, they will know about these.  This is a hot

8   button issue, it is critical to the industries, these renewable

9   generators, so they will know about it.

10             COMMISSIONER ARGENZIANO:  And I imagine those

11   companies who stand to, maybe, generate a profit would do that.

12   Do we do any PSAs?

13             CHAIRMAN EDGAR:  We have done some PSAs in the past.

14   I don't know that we have ever done one on net metering, the

15   staff would know.  I sometimes do have the opportunity to do

16   PSAs, and obviously to work with members of the legislature, to

17   work with their constituencies, and as we go around and have

18   the opportunity to talk about what we're doing, but it is an

19   important point, Commissioner.  We all have been familiar with

20   programs that are really good programs, but the people that

21   could use them don't always know about them.

22             Commissioners, before we open it up even further to

23   the next step, are there any other either specific or general

24   comments?  No.  Yes, ma'am.

25             MS. WEBB:  Karen Webb, Commission staff.

FLORIDA PUBLIC SERVICE COMMISSION

64

1             Commissioner Argenziano, we have some information

2   dating from 2004 regarding what other states are doing, none of

3   those address six months.  We do have a listing of five that

4   purchase monthly at an avoided cost, and those are Connecticut,

5   Iowa, Massachusetts, North Dakota, and Texas.  But we can get

6   more updated information for you at a later time.

7             COMMISSIONER ARGENZIANO:  Thank you.

8             CHAIRMAN EDGAR:  Thank you, Karen.

9             Okay.  I think what I would like to do is go ahead

10   and push forward a little bit.  We will take a lunch break in a

11   little while, but I'm going to -- the way we have it on the

12   agenda is to start with the net metering section, and then see

13   how far that goes, and then at some point this afternoon then

14   to focus more on the interconnection portion of the rule.  So

15   I'm going to draw your attention to the net metering portion at

16   this point and kind of open it up.  We do want to hear the

17   thoughts, concerns, suggestions working from the discussion

18   that we have had thus far and the language that we have in

19   front of us.  So I'm going to look to my left.

20             Susan, do you have comments, maybe, to help us get

21   started?

22             MS. CLARK:  Yes, Madam Chairman.

23             Let me just ask a question.  Regarding addressing the

24   net metering, would that be the definition as well as the

25   section on net metering?

FLORIDA PUBLIC SERVICE COMMISSION

65

1             CHAIRMAN EDGAR:  That seems very logical to me.  So,

2   yes, let's start with the definition.

3             MS. CLARK:  Let me just start off with a preliminary

4   observation on the rule and then go through comments on various

5   sections, and we appreciate the opportunity to provide you the

6   comments.  I'll give you some comfort.  I'm not here by myself,

7   we do have some of the technical people, to the extent we do

8   get into more questions about the technical aspects of the

9   rule.

10             Just this preliminary observation.  The draft rule

11   does represent a departure from the existing rule on

12   interconnection and net metering, which your staff has outlined

13   for you.  And it is also a departure from traditional utility

14   cost-recovery and rate-setting practices.  Under that

15   traditional cost-recovery and rate setting, it would provide

16   for recovery of costs in excess of normal business costs from a

17   cost-causer, and that rate would be set to cover the cost of

18   service from each class.  By waiving the collection fees for

19   generation interconnection, and for the incremental metering

20   that's described in the rules for these customers, those costs

21   will be shifted to other customers.  And also the net metered

22   customers will be further subsidized by other customers to the

23   extent they are paid or credited more than excess energy.

24             But we also understand the recent executive orders,

25   the statutes you have cited, and the legislation that was

FLORIDA PUBLIC SERVICE COMMISSION

66

1   passed describe a general direction being taken of encouraging

2   the development of the renewable resources to secure the

3   benefits from those resources and understand that that is the

4   framework of this rule.  We just wanted to make sure the impact

5   on all customers is understood as well as the direction we want

6   to take, or you want to take with regard to renewables.

7             Now, speaking to the net metering, let me just talk

8   about sort of what I will call a technical suggestion.  In your

9   definition of net metering, you describe how it is calculated.

10   I would simply suggest to leave the definition without the

11   description of the calculation and the section that you do have

12   on net metering describes how you would do that, so that if you

13   change that calculation you don't have to go back to the

14   definition.

15             I'm just trying to get to my page on the net

16   metering.  What section is net metering under?

17             MR. FUTRELL:  Eight.

18             MS. CLARK:  Okay.  I think your staff has clarified

19   for us, we were interested in understandings what the payment

20   at the end of the year was, we understand that it is something

21   less than the retail rates as opposed to the avoided energy

22   cost, so that is a departure from there.  I don't know if the

23   other utilities might have comments that they want to offer or

24   a different perspective on net metering.

25             CHAIRMAN EDGAR:  Gentlemen, anybody like to jump in

FLORIDA PUBLIC SERVICE COMMISSION

67

1   at this point?

2             MS. CLARK:  We will be providing comments after the

3   workshop.  So to the extent we need to provide more

4   perspectives on this, we will.

5             CHAIRMAN EDGAR:  Great.  Thank you.

6             MS. CLARK:  I think John Burnett with Progress might

7   want to make a comment.

8             CHAIRMAN EDGAR:  Mr. Burnett.

9             MR. BURNETT:  Thank you, Commissioner.

10             Just following up on what Susan said, primarily for

11   Progress Energy we had not really, I don't want to couch them

12   as concerns, but three points that I thought needed to be

13   raised.  Susan mentioned, basically, in this paradigm any time

14   that there is a fee or a cost that is waived, or a price paid

15   above what it cost, that will be passed on to the general body

16   of ratepayers, and we were interested in making sure that was

17   not only a fact that was out on the table, but some of the hard

18   questions that may flow from that.

19             In this instance, it may be that a more affluent

20   customer who can afford one of these applications is subsidized

21   by the general body by ratepayers by less affluent customers.

22   Hard questions may arise from that, from these customers is why

23   as a working class residential customer am I paying this; what

24   am I getting out of it, what is the benefit to me; how is what

25   I'm paying determined; and is what I'm paying worth the

FLORIDA PUBLIC SERVICE COMMISSION

68

1   benefit.  Some questions I know we will probably get as a

2   utility, certainly the regulator may get those, as well.  Those

3   questions, you know, in the regulative and legislative branch

4   also present themselves as to what benefit is the subsidy

5   intended to bring, who does the benefit enure to, how much

6   should the subsidy be relative to the benefit, and as a policy

7   and fairness issue, who should pay for it, how should that be

8   distributed.

9             So these are questions that I think are here and are

10   out there and just we thought it was important to lay a

11   foundation at the beginning of this.  It really sort of drives

12   from a policy and fairness issue of what's to be done.  We are

13   not necessarily saying a subsidy is a bad thing, but those are

14   important questions that have to be answered, I think, on the

15   front end, so a point we wanted to make.

16             CHAIRMAN EDGAR:  All good questions.  And I

17   appreciate those comments.  And, of course, speaking just for

18   myself, I'm hoping that as we work our way through this process

19   that we will be able to add some transparency and have some

20   open discussion about those questions and hopefully some of the

21   answers or options that go along with trying to answer them.

22   Thank you.

23             And let me just mention that the microphones here

24   along the side are live, too, is my understanding from Chris,

25   and so if we have some discussion back and forth, please feel

FLORIDA PUBLIC SERVICE COMMISSION

69

1   free to use these chairs, and I'll try to remember to look over

2   in that direction, as well.

3             Yes, sir.

4             MR. GRIFFIN:  Thank you, Commissioners.  Steve

5   Griffin with Beggs and Lane on behalf of Gulf Power Company.

6             I would just echo Mr. Burnett's statements, progress

7   Energy's.  Three areas of concern for Gulf Power relate

8   primarily to the cost, the payment for the excess energy, and

9   whether that's going to be at the avoided cost or retail or

10   somewhat less than retail.  The billing or the crediting on an

11   annual basis versus a monthly basis is also an issue.  And for

12   Gulf, for administrative efficiency, we would submit that it

13   should be on a monthly basis.

14             And then another issue that we really don't want to

15   get into too deeply at this point, but it's just the renewable

16   energy credits associated with the energy that is generated

17   from these projects, and how are those going to be treated,

18   ultimately, whether those are going to the utility or whether

19   those are going to go to the customer.

20             CHAIRMAN EDGAR:  Thank you.

21             Commissioners?

22             Yes, sir.

23             MR. ASHBURN:  Bill Ashburn with Tampa Electric.

24             I won't parrot the things that they all said, but we

25   agree with that, as well.  And I think it's important, as we go

FLORIDA PUBLIC SERVICE COMMISSION

70

1   forward in the rulemaking, as you're looking at potential

2   subsidy items that we have been discussing and that are in the

3   rule, it's important to calculate and know how much the subsidy

4   is, so that not just now what it is particularly on each one,

5   but as we go forward.  As you know, another activity, you're

6   looking at RPS which is encouraging more and more of this.  To

7   the extent it is a small subsidy now for ratepayers because

8   there's not too many of them, as we are anticipating many, many

9   more of these, it could become a larger dollar figure.  So we

10   need to be anticipating those costs and seeing what the impact

11   is going to be.

12             CHAIRMAN EDGAR:  Yes, sir.

13             MR. KEYES:  Hi, I'm Jason Keyes with the Interstate

14   Renewable Energy Council.  We're DOE funded.  We go to states

15   who are going through rulemaking such as this, or participate

16   in work groups on net metering and on interconnection

17   standards.  So seeing that we are going to be talking

18   interconnection standards in the afternoon, we will have

19   comments on that, but I will just address net metering for now.

20             First, I'd like to introduce two other people.

21   Before me in my current position at IREC, Chris Cook used to do

22   that work for the past four or five years, was involved in

23   FERC's development of small generator interconnection procedure

24   and worked in a couple dozen states.  And to his left is Mike

25   Sheehan, he used to be the T&D manager for Puget Power, which

FLORIDA PUBLIC SERVICE COMMISSION

71

1   is the biggest utility up in Washington state, and he spent

2   three years working on the work group that developed the 1547

3   standard for inverters.  So, they're useful resources to you.

4   Mike is now working for IREC, along with me, so it's an

5   independent voice, we are not funded by the solar energy.

6             CHAIRMAN EDGAR:  Jason, I'm sorry, would you tell me

7   the name of the organization again?  IREC is what?

8             MR. KEYES:  It's the Interstate Renewable Energy

9   Council.

10             CHAIRMAN EDGAR:  Thank you.

11             MR. GRIFFIN:  So going into the net metering.  First,

12   I will just give you two points of background, one is that

13   there is a perception that solar energy systems, in particular,

14   are fairly small and go on residences.  And last year the

15   commercial systems were, there was more power in commercial

16   systems worldwide than in residential systems, and I believe

17   that's true in the U.S. now, as well.  So that part of the

18   industry is taking off, and Chris Cook is now at SunEdison

19   running regulatory affairs there.  They are one of the biggest

20   installers of large commercial system.  So it does matter to

21   have standards that go far beyond things that go onto homes.

22             Home systems are rarely over 10 kilowatts, and there

23   are lots of commercial systems that go up to 100 kW.  But there

24   are increasingly many, many systems that are going in the half

25   megawatt to megawatt stage, and now beyond a megawatt.  So the

FLORIDA PUBLIC SERVICE COMMISSION

72

1   standard in the past few years has been to go up to a two

2   megawatt standard for net metered systems.  So at a megawatt

3   you would be kind of behind the curve.  Right now Colorado,

4   Illinois, New Jersey, Delaware, Maryland, Connecticut, and

5   Oregon, I believe, are all at two megawatts.  Pennsylvania is

6   at 5 megawatts; New Mexico is at 10 megawatts; and there are

7   several in the one to two megawatt range.  So it makes sense to

8   go ahead and at least go to two megawatts now, or you will be

9   revisiting it in a few years to be asked to address that.  And

10   certainly you can go beyond that.

11             You want to be careful about not having a gap in

12   jurisdiction.  FERC doesn't necessarily take jurisdiction over

13   everything that's over ten megawatts or anything, so it is

14   useful to have -- this is going into interconnection standards

15   more, but I'll just mention it, that it's worth considering

16   larger systems.  For instance, all the biodigesters you're

17   talking about, but you may not want to take on all of that

18   under this rulemaking, you may want to handle that in a

19   separate docket.

20             A couple of other points.  The insurance, I'm not

21   sure where it falls.  You would probably cover that under

22   interconnection standards, but since there has been so much

23   discussion about it, I thought I would just bring it up now.  I

24   just spent the past couple of weeks talking about insurance

25   with the New Mexico work group, and they finally settled at an

FLORIDA PUBLIC SERVICE COMMISSION

73

1   insurance requirement that starts at 250 kW and is capped at a

2   million dollars for systems above that.  And I actually got --

3   what led us to that number was input from both of these

4   gentlemen.  First from Chris Cook saying that the larger

5   systems, yes, they are fairly sophisticated owners, and they

6   can deal with the insurance requirements and all the issues

7   involved there.  If you get below one to 200 kW, you're talking

8   about less sophisticated owners, and they are going to spend a

9   lot of time scratching their head looking at their insurance

10   policy, like you addressed.  And that's enough to hinder

11   development of those medium-sized systems.

12             And then from Mike Sheehan, he pointed out that,

13   well, there is almost no chance of doing any damage to the

14   utility grid from systems under two or 300 kW.  And when you

15   are requiring insurance, the most likely thing to go wrong

16   would be the customer's own facility, and if he chooses not to

17   insure it, that may not be very vise.  It might make sense to

18   do that, but it's not something you need to tell him or her to

19   do, they can decide on their own whether they want to insure

20   their own equipment.

21             So what you are really looking at is, well, what

22   damage could they do to the grid.  And a small system just

23   isn't going to do damage to the grid.  If there is any damage,

24   it is going to be miniscule, on the order of a few thousand

25   dollars, and there is no needed to have a requirement for

FLORIDA PUBLIC SERVICE COMMISSION

74

1   large amounts of insurance or to put up a barrier for what is

2   almost a nonissue.

3             Let's see.  Also, another point is in the definition

4   of systems, in the current rule -- by the way, I share Ms.

5   Castille's appreciation that this a wonderfully readable

6   document.  There is more that should probably be thrown into

7   it, but it's nice to be able to look through it and understand

8   what's going on.  On Page 1, on Line -- I'm looking at the new

9   version, the definition of customer-owned renewable generation,

10   it's Line 11.  A lot of the larger systems now are not

11   necessarily owned by the utility customers.  For instance,

12   SunEdison's model is to go out and own a system on somebody's

13   else store.

14             They just got a contract to build large systems on

15   top of Wal-Mart stores.  So it's on top of the customer

16   Wal-Mart, but it is owned by SunEdison.  So instead of saying a

17   customer-owned renewable generation you could say

18   customer-sited generation, or customer-operated, or the other

19   way it is done is to talk about generating facilities and

20   interconnection customers, so Sun Edison would be the

21   interconnection customer.

22             Another point is on Page 7 on Line 9, we're talking

23   about the dispute resolution, and a lot of the disputes that

24   can arise in the process of going through the studies or

25   anything else are fairly trivial.  You're talking about

FLORIDA PUBLIC SERVICE COMMISSION

75

1   decisions that are on the order of thousands of dollars, not

2   hundreds of thousands of dollars.  And to resolve those

3   disputes by coming before the Commission is an overkill, and

4   you've got a lot to do.  It's helpful when there is some

5   intermediate step in there where you have a

6   Commission-appointed facilitator or a technical master that can

7   address technical issues and say, yes, you do need a fuse

8   there, or, no, you don't need a fuse there.  And that, again,

9   is getting a little bit more on the interconnection issue.

10   But, in general, for disputes on net metering or

11   interconnection it would be nice to have a simple low cost,

12   quick approach.

13             And, finally, for the application process, on Page 4,

14   Line 21, it says that the utility shall provide the application

15   within five days.  And the standard is that the application is

16   on-line, or it's readily available, it's not something that you

17   wait five days for, you just get the application.  So that's

18   the general comment.  And certainly if you have technical

19   questions, Chris also was an T&D engineer, and they are both

20   great resources.

21             CHAIRMAN EDGAR:  If I would, let me see --

22   Commissioner Skop, did you have a question earlier?

23             COMMISSIONER SKOP:  Yes, Madam Chair, thank you.

24             Thank you, Mr. Keyes, for your insight.  With respect

25   to your recommendation with respect to that there should be a

FLORIDA PUBLIC SERVICE COMMISSION

76

1   two megawatt standard instead of merely a one megawatt.  I

2   mean, I had the same general concern originally to the extent

3   that wind turbines now, large wind turbines exceed one

4   megawatt.  And, you know, to meet future growth are in that

5   area, but in speaking with staff, it came back to the issue

6   that Progress and Gulf and TECO have mentioned with respect to

7   how does not going to that higher standard further accentuate

8   the inequities and fairness that the utilities have spoken to,

9   to the extent that you are getting away from net metering and

10   almost being a quasi-generator, if you will.  Because, again,

11   if you were able to deliver excess power at rates that are

12   favorable, why would you not, why would that not cause

13   migration into that area to take advantage and leverage what

14   would be otherwise, perhaps, inequitable to the general body of

15   ratepayers at large?

16             MR. KEYES:  I think I can answer that decently, but I

17   just got tapped on the leg by the person who handled it for

18   years.  I'll let Chris take that.

19             MR. COOK:  Yes, Commissioner, Chris Cook.  I'm here

20   on behalf of SunEdison as well as the Solar Alliance and

21   National Consortium, the major photovoltaic manufacturers and

22   integrators in the U.S.  On the larger-sized systems,

23   SunEdison's typical system size ranges from 100 kilowatts up to

24   2 megawatts.  A Wal-Mart Store will support, for the bigger box

25   size, between one and two megawatts on their rooftop.  And we

FLORIDA PUBLIC SERVICE COMMISSION

77

1   have the opportunity to install a system, be it in a Wal-Mart,

2   Staples, Kohl's, for some of our enterprise customers, we like

3   to maximize the utilization of their roof.

4             In terms of the net metering, the customer needs net

5   metering as a tariff option in order to be able to install the

6   system without having to change their utility tariff, which

7   invariably becomes a virtual complete bar to the customer going

8   forward.  If we go to a Wal-Mart, for instance, and say we can

9   install the system on your rooftop, but you will have to change

10   your utility tariff, they quickly drop the notion of installing

11   that system.

12             As for the, I'll phrase it as the alleged

13   cross-subsidy, because I don't think there has been a credible

14   study done anywhere in the U.S. that there is any cross-subsidy

15   from a net metered customer, these larger systems typically do

16   not export to the grid.  When we size a system for a Wal-Mart,

17   or a Kohl's, or a Staples and utilize their full rooftop, it

18   typically supports between 30 and 40 percent of their

19   electricity usage.  Since these retail operations are typically

20   running, they are open for business during all daylight hours,

21   they consume every kilowatt hour that we generate on site, and

22   do not export to the grid.  So the notion of -- if you assume,

23   for the sake of discussion, there is some cross-subsidy for

24   giving a full retail credit for kilowatt hours going out to the

25   grid, it's not the large systems that put those kilowatt hours

FLORIDA PUBLIC SERVICE COMMISSION

78

1   out to the grid, it's the smaller systems that need that

2   balance and that option.

3             Now, there may be an opportunity where, for a

4   Wal-Mart or a Staples they are closed for maintenance for, say,

5   one week out of the year, or one week every five years, in that

6   certain brief period they would export to the grid and that's

7   why they need that export capability and the net metering, but

8   it's a very tiny amount that they would do and a very rare

9   circumstance.

10             COMMISSIONER SKOP:  Thank you.

11             Just to follow-up, Madam Chair.

12             So are you suggesting that merely there should not be

13   a size limitation to the extent that the capacity factor

14   associated with, I think, say you put a two megawatt solar

15   array on top of Wal-Mart, but the capacity factor, what it

16   would actually generate would only be, essentially, sufficient

17   to meet the needs of what was being consumed by that physical

18   store-front location, to the extent that there wouldn't be an

19   excess that would be delivered out to the grid, is that what

20   you are kind of suggesting?

21             MR. COOK:  That's right.  But having the opportunity

22   to be able to deliver to the grid is key.  Because when you go

23   through the contract with Wal-Mart, their lawyers always ask

24   the "what if," what if we do have a day where we are producing

25   excess.  And it is very easy to have the retort to say, a state

FLORIDA PUBLIC SERVICE COMMISSION

79

1   like Florida has net metering, you will get a full retail

2   credit.  We don't expect that ever to happen, but you'll get a

3   full retail credit.  So that is very important from the

4   customer's perspective to not losing, frankly, a single

5   kilowatt of their production from solar.  But I'm addressing it

6   as a policy matter and this concern about potential for

7   cross-subsidy, the kilowatt hours produced by those larger

8   systems are going to be very, very minimal.

9             COMMISSIONER SKOP:  Thank you.

10             MR. KEYES:  Could I add one comment on there?

11             If I was to take a guess, I would guess that

12   something like 99 percent of the solar energy that gets

13   produced on rooftops isn't being fed back into the grid, it's

14   offsetting the load.  I mean, it doesn't meet the full load of

15   the building it's on.  So it's just those rare instances when

16   you happen to be fairly low on your load, and it's a beautiful

17   sunny day, then you're getting a little credit.

18             And a way to analogize is to look at conservation.

19   This is sort of like conservation.  If somebody came in and

20   insulated their building and reduced their consumption by a

21   great deal each year, does the utility have a right to say,

22   well, gosh, you're using less power than you used to, and

23   everybody else has to pick up the slack, so we're going to

24   charge you more.  So creating your energy is essentially the

25   same thing as saving the energy, so that's the only point I

FLORIDA PUBLIC SERVICE COMMISSION

80

1   will make on that.

2             CHAIRMAN EDGAR:  Commissioner Argenziano.

3             COMMISSIONER ARGENZIANO:  Thank you.

4             Two things.  One, when you were describing -- it was

5   interesting before and something just occurred to me and I

6   didn't know the answer to it, so I'm going to ask.  You had

7   mentioned under the liability and then the insurance component

8   that we were talking about that sometimes in these very small

9   systems, or hardly ever on the small systems could they really

10   damage the utility, which I'm glad to hear that, because you

11   don't want neighborhoods going out of electric.  But can it

12   work the other way around, can the utility damage the small

13   systems?

14             MR. KEYES:  That's probably a lot more likely.  And

15   it's not necessarily the utility's fault.

16             COMMISSIONER ARGENZIANO:  It's not intentional, I

17   don't mean that at all.

18             MR. KEYES:  Certainly if there is a lightning strike,

19   you want surge protection in your inverter.  If the power

20   line -- I should probably let Mike Sheehan handle that

21   question, but if a higher voltage line crosses a lower voltage

22   line, and there is a surge into a residence or a business, it's

23   going to overwhelm the inverter and it is going to damage the

24   system.

25             COMMISSIONER ARGENZIANO:  Sure.

FLORIDA PUBLIC SERVICE COMMISSION

81

1             MR. KEYES:  So it depends on whose fault that is.  If

2   it was the utility's negligence, then, yes, potentially that is

3   an issue.  And I don't know of any situation where a solar

4   system has damaged the utility grid, anywhere.  And Germany has

5   half the world's systems, and as far as I know there is no

6   damage that has occurred in Germany.  And I have talked to

7   Germans about that.

8             COMMISSIONER ARGENZIANO:  Okay.  And the second

9   question is on the dispute resolution, now I understand what

10   you're saying, is there can be things that maybe could be

11   arbitrated before coming to the whole Commission, but there has

12   to be something in place that if the arbitration is not

13   successful, whether for the utility or for the consumer, that

14   it can still come before the full Commission.  Have you seen

15   that written up that way where we're saying, you know, if the

16   consumer is not happy with the arbitrator's results, or the

17   utility is not happy, then it can come before the Commission?

18   Is that what you are really trying to get to, because --

19             MR. KEYES:  Yes.  And, for instance, the FERC rule,

20   the SGIP (phonetic), actually in the rule is a phone number and

21   an e-mail address for that facilitator, and I forget the term

22   for the facilitator, but you can call them up, and they'll look

23   at both sides of the issue and give just a quick preliminary

24   ruling within days.  And the party that didn't prevail may not

25   like that and may then go to FERC.  But it is an expensive

FLORIDA PUBLIC SERVICE COMMISSION

82

1   process, and basically nobody wants to go -- nothing personal,

2   but nobody likes to go in front of the Commission, it takes a

3   long time.

4             CHAIRMAN EDGAR:  I was hoping you were enjoying it.

5             MR. KEYES:  It's wonderful.

6             CHAIRMAN EDGAR:  Commissioner Skop.

7             COMMISSIONER ARGENZIANO:  Thank you, Madam Chair.

8             Just one quick follow-up with respect to, again,

9   focussing on removing the one megawatt standard and going to a

10   higher standard as he suggests.  In the scenario where you are

11   actually generating more than you would be consuming, and I

12   think that goes again to the crux of the concerns that the

13   representative utilities have raised, would you agree that in

14   that instance that for that excess delivery, you would be

15   receiving energy payments at all-in rate as opposed to what a

16   wholesale generator could expect to receive for the same

17   generation?  And perhaps if the utilities had previously

18   commented, you could maybe add some additional discussion in

19   that regard.

20             MS. CLARK:  My answer is yes.

21             MR. KEYES:  When you are talking about the sort of

22   scale, especially for the smaller systems, sort of the sizes

23   you're talking about, the excess generation is usually a fairly

24   small number, and typically you don't size a system so that you

25   are producing any more in the year than you are consuming.  So

FLORIDA PUBLIC SERVICE COMMISSION

83

1   the excess generation in any one month is fairly small.  In

2   fact, when you're talking about systems down in the 25 kW and

3   less range, there is a lot more cost to the utility preparing a

4   bill to deal with that and monitoring that than there is to

5   just saying roll it over and go to the next month.

6             MR. COOK:  If I might also expand on it.  Again,

7   Chris Cook.

8             The issue, I think, is already addressed in part in

9   your proposed rule, which says that if you have a net annual

10   excess of kilowatt hours, you're paid at what I'm interpreting

11   the rule to say is avoided cost.  That avoided cost has

12   presumably been determined to be the fair cost for excess

13   generation that comes back onto the grid, and so, inherently

14   and by definition there is no subsidy in that amount.  That is

15   valuable power, and the utility is paying what that power is

16   worth.

17             So the only issue is in this excess that you might

18   have either on an individual day, or excess at the end of the

19   month that you carry over and you do a kilowatt hour swap, you

20   swap those excess kilowatt hours for consumption in the

21   subsequent month.  That, I think, again, is going to be a very

22   limited amount.  What some other states have done is actually

23   put a cap on that, one or two percent.  In California it's five

24   percent.  That is how I think you will guarantee that to the

25   extent there is any cross-subsidization, that

FLORIDA PUBLIC SERVICE COMMISSION

84

1   cross-subsidization is de minimis.

2             I would urge that if the Commission decides to go

3   that route and put a cap on the total aggregate amount of net

4   metered generation in the state, that that dovetail with

5   whatever other policy goals you have.  So if you are trying to

6   get, for instance, I know my colleagues have proposed a two

7   percent distributed photovoltaic solar standard in the state,

8   the new net metering rules would accommodate two percent of

9   energy generation coming from net metering.  And I think by

10   doing that this problem of what I think is actually a future

11   problem of a run-away situation with all customers net

12   metering, you cap that and can go back and revisit it and have

13   some solid data as to whether there is any cross-subsidy.

14             I would note that California, I think it was last

15   year, upped their aggregate net metering limit from .5 percent

16   to 2.5 percent.  That was done by the legislature.  At that

17   time there was no indication that there was any cross-subsidy

18   coming from that .5 percent of customers that were net metered.

19   The value in terms of peak generation that they put onto the

20   grid, the value in terms of off-set T&D requirements, offset

21   distribution infrastructure, all of those are benefits that

22   accrue from the net metering customer that offset any of that

23   potential cross-subsidy.

24             COMMISSIONER SKOP:  Thank you.

25             CHAIRMAN EDGAR:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

85

1             Commissioners, any further questions at this point?

2             Mr. Burnett.

3             MR. BURNETT:  Thank you, Madam Commissioner.

4             Sorry, not to belabor this point, but, Commissioner

5   Skop, I think you are all over the real issue and the concern

6   there.  I think as a prudent business person, I'm going to look

7   and say if I can sell power at a wholesale rate for X dollars,

8   but I can go up to one megawatt or two megawatts and sell power

9   at a more advantageous rate, while I may currently not have an

10   application that produces excess, I'm going to be incented to,

11   maybe, buy another one and say this is a good business move for

12   me, and if I could see a megawatt for an increased price, I'm

13   going to do it just as a prudent business operation.

14             So I think you are exactly right, by having a

15   megawatt limitation, if you're going to allow something other

16   than avoided cost, you're at least setting a threshold to where

17   you're not having people incented to ignore what I believe you

18   were saying, the wholesale paradigm and go here and try to

19   effectively, I would call it almost game the system to get a

20   higher rate for something.  It's simple mathematics.  And I

21   think it would be a good business decision that certainly I

22   would do, if I saw it available.

23             CHAIRMAN EDGAR:  Anyone else on that point at this

24   time?

25             Mark.

FLORIDA PUBLIC SERVICE COMMISSION

86

1             MR. FUTRELL:  Chairman Edgar, I have a question, and

2   maybe Wayne could help us with this.  In those states where you

3   cited that allowed for larger systems to net meter, for the

4   accumulated generation at the end of a 12-month period, or if

5   it is a monthly period, at what rate are those net metering

6   customers paid?

7             MR. KEYES:  I think it's often at some sort of

8   avoided cost if their generation is more than their load at the

9   end of the year, and I'm not absolutely sure.  I think it

10   varies from state to state.  That's usually not a big issue

11   that we debate a whole lot.

12             I remember Adam Browning from Vote Solar talking

13   about net metering, and he was saying that last point, don't

14   worry about it.  You are asking for -- you don't need to worry

15   too much about that last bit.  Most customers size their system

16   so that they don't have any excess at the end.  And actually

17   their proposal is that that excess be paid at the retail rate

18   going into a fund for low income customers, which would be

19   fine.

20             MR. SHIRLEY:  I would add to that that some states

21   just actually -- the customer gives up the energy, that there

22   is no payment at all for excess energy as one option.  But I

23   also want to expand a little bit on something Chris touched on.

24   The whole area of trying to understand and calculate these

25   subsidies, it's really not as straight forward as the

FLORIDA PUBLIC SERVICE COMMISSION

87

1   discussion so far might lead you to believe, partly because

2   avoided costs typically are average numbers, and the actual

3   real avoided costs in a given hour can be above or below that

4   average.  And so if you are paying an average avoided cost rate

5   for excess energy, what you are saving on peak you are likely

6   generating net benefits to other customers.

7             So, while intuitively you think, well, if I'm not

8   paying application fees and then they are getting some payment

9   at avoided cost for excess energy, that there is a subsidy.  In

10   fact, it may be the opposite.  In fact, the other customers are

11   benefitting.  And it's very system specific both in terms of

12   the operating characteristics of the system -- solar, for

13   example, tends to be highly coincident with on-peak

14   consumption, whereas methane digesters run sort of like a base

15   load unit usually and operate at all hours, and so they look

16   more like an average unit.

17             And it is also location specific.  DG deployed on

18   systems that are strategically located can avoid or defer

19   investments in distribution and transmission facilities, and

20   those values are real to the customers.  So you really have to

21   calculate all of these sort of on an individual basis to really

22   understand them, and I think at some point you have to be

23   comfortable with the overall public policy objective of

24   deploying these resources, and accepting some of this

25   averaging, and sort of acknowledging that there could be

FLORIDA PUBLIC SERVICE COMMISSION

88

1   subsidies, but there also are negative subsidies, if you will,

2   and on average are the customers better off, or is society

3   better off.

4             And then looking a little further down the road in a

5   carbon constrained world, the carbon value of these resources

6   tends to be fairly high, and that value should be captured in

7   that subsidy calculation, as well, so that you really

8   understand the net benefits you are delivering to everyone on

9   the system.

10             CHAIRMAN EDGAR:  Thank you.  Very quickly because we

11   want to move on.

12             MR. COOK:  Yes, Madam Chairman.  Not on this

13   cross-subsidy issue, just one other point related to net

14   metering.  SunEdison typically sales through renewable energy

15   credits or certificates or the carbon credits have come out

16   from the systems that we install and operate, or, in some

17   cases, like Wal-Mart, Wal-Mart has got a global carbon

18   reduction strategy, so they retain those carbon credits.

19             One thing that I noted was missing in the rule was a

20   clear indication that the customer retains any renewable energy

21   credits or certificates even if they are net metering.  Because

22   to do otherwise puts the customers in this choice of saying I

23   either have to pick net metering or retain my credits, and that

24   becomes a major obstacle to doing the projects.

25             CHAIRMAN EDGAR:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

89

1             Okay.  Folks to my right, would you like to please

2   share some comments with us on the net metering proposed

3   language and/or the definition.

4             MS. HERSHEL:  Chairman Edgar, I'm Michelle Hershel

5   with the Florida Electric Cooperatives.

6             I don't know if you want me to say my comments now,

7   mine really go to the first paragraph on the application and

8   scope of the rule.

9             CHAIRMAN EDGAR:  Okay.  Let me get there.

10             MS. HERSHEL:  You skipped all that.

11             CHAIRMAN EDGAR:  Sure.

12             MS. HERSHEL:  Okay.  Again, I'm Michelle Hershel with

13   the Electric Cooperatives.  The electric cooperatives in

14   Florida support the Commission's efforts to establish a uniform

15   interconnection standard for customers who generate electricity

16   from on-site renewable technologies.  The co-ops are committed

17   to promoting the development of small renewable generation

18   while at the same time minimizing the cost of power to our

19   customers.

20             While we generally agree with most of the underlying

21   concepts of the proposed rule, we feel the Commission does not

22   have the jurisdiction to adopt the proposed rules for

23   cooperatives.  Section 366.914 and 366.821 expressly limit the

24   PSC's jurisdiction for those sections to cooperatives that had

25   annual sales to retail customers greater than 2,000 gigawatt

FLORIDA PUBLIC SERVICE COMMISSION

90

1   hours as of July 1, 1993.

2             Therefore, we respectfully request that the last line

3   of Paragraph 1, which reads, "This rule applies to all electric

4   utilities as defined in Section 366.022," be changed to, "This

5   rule applies to each investor-owned utility and each municipal

6   electric utility and rural electric cooperatives whose annual

7   sales as of July 1, 1993, to retail customers were greater than

8   2,000 gigawatt hours."

9             In support of this amendment, there are at least

10   three reasons that we should not be in this rule, and the first

11   is jurisdiction.  It is important to note that the existing

12   Rule 25-6.065 on the interconnection of small PV systems only

13   applies to IOUs.  While cooperatives have relied on this rule

14   for guidance when implementing their own interconnection

15   policies, we are not aware of any instance where the Commission

16   has attempted to assert jurisdiction over cooperatives

17   interconnection policies, and this Commission did not attempt

18   to apply Rule 25-6.065 to cooperatives or municipals.

19             The proposed rule includes additional statutory

20   authority.  However, the new sections cited, 366.91 and 366.82,

21   expressly apply only to utilities that meet the Florida Energy

22   Efficiency and Conservation Act, also known FEECA threshold,

23   which, again, is annual sales to retail customers greater than

24   2,000 gigawatts as of July 1, 1993.  These new sections would

25   extend the rule's application only to FEECA utilities, and,

FLORIDA PUBLIC SERVICE COMMISSION

91

1   therefore, the proposed rule should only apply to FEECA

2   utilities.

3             Even if the PSC had jurisdiction over cooperatives,

4   we believe the proposed rule is inconsistent with the expressed

5   legislative directive that payments to customers should be at a

6   utility's avoided cost.  Section 366.914 requires a purchase

7   contract to producers of renewable energy containing payment

8   provisions for energy and capacity which are based upon the

9   utility's or cooperative's full avoided costs as determined by

10   the governing body of the municipal utility or cooperative.

11   The statute does not provide an exemption for renewable energy

12   generated by small customer-owned renewable generation.

13             And, lastly, cooperatives also have potential

14   contract issues with regards to net metering.  Every

15   distribution cooperative in Florida purchases wholesale power

16   pursuant to an all-requirements contract either with a G&T

17   cooperative, an IOU, or an independent power producer.  And the

18   distribution cooperatives are contractually obligated to

19   purchase all or a vast majority of their power from their

20   all-requirements provider.  Since net metering service results

21   in the sale of energy from the consumer to the utility, net

22   metering service may be inconsistent with the wholesale power

23   contracts between distribution cooperatives and their power

24   providers.

25             And for these reasons we respectfully request that

FLORIDA PUBLIC SERVICE COMMISSION

92

1   you amend this proposed to apply only to FEECA utilities.

2             CHAIRMAN EDGAR:  Thank you, Michelle.

3             I think what I would like to do, watching the time,

4   is go ahead and take some comments from our friends with the

5   municipals, and then see if there are other comments on the net

6   metering portion.  And then before we have too much of a low

7   blood sugar moment in the entire room, we will take a lunch

8   break, and then come back and we can have some discussion and

9   questions about the points that Michelle has raised and others,

10   and then go into the interconnection portion.  Let's try it

11   that way and see if it works.

12             Mr. Bryant.

13             MR. BRYANT:  Thank you, Madam Chairman.  I'm Fred

14   Bryant on behalf of Florida's 33 municipal electric utilities.

15             As an overview, I would like to suggest to the

16   Commission that they consider a separate docket or a separate

17   rule session for the municipal electricity utilities.  I think

18   the co-ops would concur in that, but I do not want to speak for

19   them.  And the reason I suggest a separate docket and a

20   separate rulemaking proceeding is because as you have heard and

21   I will elaborate more on, there are clear jurisdictional

22   differences between the Commission's jurisdiction over the

23   investor-owned utilities, which is virtually a total

24   jurisdiction over rate structures, rates, terms and conditions

25   of service, safety, et cetera, or as the Commission is well

FLORIDA PUBLIC SERVICE COMMISSION

93

1   aware of, 30 years of history of having significantly less

2   jurisdiction over the municipal electric utilities and the

3   rural electricity cooperatives, primarily in the area of rate

4   structure jurisdiction, but not rate jurisdiction, not

5   jurisdiction over terms and conditions of service.  And it

6   makes it a very difficult situation both for the Commission and

7   the municipals and the co-ops when we approach this type of

8   rulemaking that is founded mostly in the total jurisdiction of

9   the Commission.

10             I have numerous detailed comments on each line of the

11   proposed rule that demonstrates why the proposal as written

12   cannot, under the Commission's jurisdiction, apply to the

13   municipal electric utilities and the co-ops, and I would rather

14   not go through that detailed line-by-line discussion, because I

15   recognize that the staff from the get-go did wear their total

16   regulator hat, did utilize an existing rule applicable only to

17   the investor-owned utilities, and, therefore, I'm not critical

18   of the staff's efforts nor the work product we have to deal

19   with today, but it does point out that when by requirements the

20   staff must take the very, very broad jurisdictional hat that

21   they wear for investor-owned utilities, that immediately if you

22   include the municipals and the co-ops within that work effort,

23   creates a great deal of wordsmithing problems in those rules.

24             And, therefore, I think that if we would agree that

25   whatever the Commission's jurisdiction is, whatever we ought to

FLORIDA PUBLIC SERVICE COMMISSION

94

1   be doing in this state as far as net metering and renewables,

2   that when you look at the municipals and co-ops, because of the

3   jurisdictional issues at this point, that we must approach it

4   in a different method.  I point to that when we face this same

5   problem when the Commission went to the storm hardening and

6   wood pole inspection dockets rulemaking last year.  And I think

7   that the staff recognized very quickly the appropriateness of

8   having a separate rule docket and rule for the municipals and

9   the co-ops.  I might point out that that storm hardening rule

10   is in place for the municipals and the co-ops.  There are no

11   intervenors, no appeals, no hearings.  We have filed our

12   programs, we have implemented our programs, and you no longer

13   have to worry or spend your time and effort on us.

14             And I think that was a remarkable insight on behalf

15   of your staff to realize the little guys, they are different,

16   there are a lot less issues with the little guys, and we

17   shouldn't be in here interfering with and making more difficult

18   your proceedings dealing with the investor-owned utilities.

19   And we want to stay out of the investor-owned utilities

20   rulemaking, and I would think that you would want us to not be

21   present during the rulemaking proceedings.

22             CHAIRMAN EDGAR:  You're always welcome.

23             MR. BRYANT:  Thank you, Ma'am.  I sometimes, as you

24   know, refer to the Commission's jurisdiction over the

25   municipals and co-ops as we are the bastard children at the

FLORIDA PUBLIC SERVICE COMMISSION

95

1   family reunion.  We have to be there, but sometimes you don't

2   want us to really speak up.

3             So I take that as sort of the guiding principle that

4   the legislature created in 1975.  I was there during that

5   process and had something to do, fortunately or unfortunately,

6   with the wording of that statute.  And I think that that is

7   sort of the problem that you have to deal with.

8             Now that I have given you those overarching comments,

9   let me just give you some practical comments.  Size.  Our

10   municipal utilities range from JEA, which I would say is a very

11   large sophisticated utility, to some very small utilities which

12   I would not say they are not sophisticated, but they are very

13   small.  And let me just give you an example:  Blountstown, an

14   8.5 megawatt peak load last year, 8.5 megawatts; Bushnell,

15   6.7 megawatt peak load; Chattahoochee, 7.4 megawatts; Havana,

16   5.9 megawatts; Moore Haven, 3.4 megawatts peak load; Newberry,

17   7.3; Williston, 7.7.

18             Well, what is the point of that comment?  Well, this

19   rule as written talks about net metering up to one megawatt.

20   Can you imagine a one-megawatt renewable system on an

21   3.5-megawatt system?  That would play absolute havoc with that

22   system.  So I don't know if the cutoff is 10 megawatts, I don't

23   know if the cutoff is the FEECA utilities, which are OUC and

24   JEA at 2,000 gigawatt hours in 1993, but certainly there is and

25   should be a cut-off as to the requirements that are in your

FLORIDA PUBLIC SERVICE COMMISSION

96

1   current rule of one megawatt based upon the size of the system.

2             A second practical issue, contract issues.  Our

3   smaller systems, most of our smaller systems either provided

4   their total all-requirements, we call it all-requirements

5   contracts, either by the Florida Municipal Power Agency or by

6   the incumbent investor-owned utility, primarily Progress

7   Energy.  The contracts that the Williston, the Bartows, the

8   Chattahoochees, the Quincys, which are all-requirements

9   customers of Progress Energy, which is a Federal Energy

10   Regulatory Commission regulated contract, it's on file there,

11   that's the agency that approves those contracts, that's the

12   agency that regulates those contracts, that's the agency that

13   regulates the rates of those contracts, has a very specific

14   contract term in those contracts, and it says to those

15   municipal utilities, you must buy all of your requirements from

16   Progress Energy.

17             Now, that's not an unfair term.  That has certainly

18   been an arm's-length term, but it is a standard

19   all-requirements approved contract that is applicable to those

20   systems and those types of systems all over the country that

21   has a wholesale contract that the Federal Energy Regulatory

22   Commission regulates.

23             Well, what is the practical problem?  Well, the

24   practical problem is when you have a renewable resource come

25   into one of those communities and says, okay, under net

FLORIDA PUBLIC SERVICE COMMISSION

97

1   metering you shall now buy the excess from us, those municipal

2   utilities have to immediately say, "Well, time out.  We cannot

3   by contract do that because our contract with Progress Energy

4   or FPL prohibits that."

5             In addition, 15 municipal electric utilities have

6   signed a very similar contract with the Florida Municipal Power

7   Agency.  The Florida Municipal Power Agency is a wholesale

8   power supplier for those cities.  Those cities own the Florida

9   Municipal Power Agency.  That contract that they have signed

10   says, "City, you will buy all of your requirements from the

11   Florida Municipal Power Agency."  And the reason for that

12   provision is the Florida Municipal Power Agency then has the

13   contractual obligation to build all generation resources or

14   contract for all generation resources for those cities.

15             The Florida Municipal Power Agency in fulfilling its

16   contractual obligations then issues revenue bonds, municipal

17   revenue bonds to build those generation facilities.  We have

18   issued close to one billion revenue bonds at this date for

19   those cities.  The FMPA cannot, like municipalities themselves,

20   put a mortgage on those facilities to raise the money or borrow

21   the money.  It takes the contract, the all-requirements

22   contract which generates revenues and pledges those revenues,

23   the revenue stream, because they are called revenue bonds, to

24   the bondholder in order to borrow the money to pay for

25   constructing those facilities.  And we actually deliver those

FLORIDA PUBLIC SERVICE COMMISSION

98

1   original contracts to the bondholder who holds that contract,

2   and thus holds the revenue stream and has the contractual

3   commitment to the bondholder that those cities will buy all of

4   its power from FMPA, and thus all the cities revenues for our

5   power are pledged to that bondholder for the benefit of

6   repaying their bonds because they loaned the money to the

7   utility.

8             Not only that, have we pledged those contracts to the

9   bondholder, we have insured those contracts with the major debt

10   insurance, Fiji, AmBack (phonetic), and part of their insurance

11   requirements when they insured that payment stream, that is,

12   insured our credit, was those revenue streams would be

13   unimpaired.

14             So if you think about the contractual problem, you

15   might say, well, what is a small photovoltaic system here, and

16   one there, and another one over here, why would that really

17   impact the revenue stream.  Well, when you start adding up the

18   megawatts it soon very quickly impacts the revenue stream.

19   FMPA for those all-requirements contracts, FMPA only has a

20   1600-megawatt system.  It doesn't take many one megawatt

21   photovoltaic renewable source or whatever source on a system

22   selling into that system that that revenue stream quickly

23   becomes impacted.

24             The actual statutory jurisdictional issues --

25             CHAIRMAN EDGAR:  Mr. Bryant, I have to say --

FLORIDA PUBLIC SERVICE COMMISSION

99

1             MR. BRYANT:  Yes, ma'am.

2             CHAIRMAN EDGAR:  -- you're wearing me down.  I say

3   that with all respect.  I'm sorry to interrupt, but I think we

4   are going to let you be the cliff-hanger, and break for lunch,

5   and then come back and certainly we will recognize you for your

6   further comments, and the others that are with us, and have

7   some questions and discussion and then go into the

8   interconnection portion of the rule.

9             So, Commissioners, how about 2:00 o'clock?  And we're

10   on lunch break until 2:00 o'clock.

11             (Lunch recess.)

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

100

1

2   STATE OF FLORIDA    )

3                       :              CERTIFICATE OF REPORTER

4   COUNTY OF LEON      )

5

I, JANE FAUROT, RPR, Chief, Hearing Reporter Services

6   Section, FPSC Division of Commission Clerk, do hereby certify

that the foregoing proceeding was heard at the time and place

7   herein stated.

8             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

9   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

10   proceedings.

11             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

12   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

13   the action.

14             DATED THIS 10th day of September, 2007.

15

16             ___________________________________________

JANE FAUROT, RPR

17                   Official FPSC Hearings Reporter

(850) 413-6732

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION