| In re: Review of 2007 Electric Infrastructure Storm Hardening Plan filed pursuant to Rule 25-6.0342, Florida Administrative Code, submitted by Tampa Electric Company. | Docket No. 070297-EI Filed: September 14, 2007 |
| --- | --- |

BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

PREHEARING STATEMENT OF THE FLORIDA CABLE

TELECOMMUNICATIONS ASSOCIATION, INC.

Pursuant to the Order Consolidating Dockets and Establishing Procedure, Order No. PSC-07-0573-PCO-EI, issued July 10, 2007, the Florida Cable Telecommunications Association, Inc. (FCTA) hereby submits its Prehearing Statement.

A.	Known Witnesses

FCTA intends to offer the testimony of Michael T. (Mickey) Harrelson, dated September 7, 2007.

B.	Known Exhibits

FCTA intends to sponsor the following exhibits for witness Michael T. Harrelson:

MTH – 1	Curriculum Vitae/List of Previously Filed Testimony

MTH – 2	Affidavit of Dr. Lawrence T. Slavin

MTH – 3	Process to Engage Third Party Attachers

C.	Basic Position

TECO’s Storm Hardening Plan, submitted May 7, 2007 (“Plan”), should not be approved by the Commission.   While the FCTA does not oppose TECO’s proposal to maintain Grade B as the construction standard for its distribution facilities or to test extreme wind loading (EWL) criteria on a limited pilot project basis, certain aspects of TECO’s deployment strategy are not prudent, practical or cost effective.

FCTA also has concerns about the Attachment Standards and Procedures currently set forth in TECO’s Plan.  Certain of TECO’s Attachment Standards and Procedures do not concern storm hardening and instead constitute rates, terms and conditions of attachment, which should be established through good faith contract negotiation with input from attachers as required by Rule 25-6.0342(6), F.A.C. and/or FCC resolution.  Only the Attachment Standards and Procedures that relate to the loading impact of third party attachments are appropriate for consideration in this Docket.  However, the Attachment Standards and Procedures in TECO’s Plan that do concern loading (only Section 8.3, pertaining to permits for new attachments and overlashing, and Section 8.7, regarding TECO’s process for conducting its 8-year poles inspections) do not constitute reasonably practicable means of meeting the Commission’s objective of enhancing the reliability of electric distribution and transmission system and reducing storm related outages and costs.

In addition, TECO’s Plan still has insufficient detail about joint use facilities impacted by the Plan as well as the technical design specifications, construction standards, and construction methodologies that TECO intends to employ to enable cable operators to determine the costs and benefit of the Plan for cable operators in TECO’s territory.  However, the Process to Engage Third Parties, which creates a process to ensure that information is provided to third party attachers during the design phase and throughout the construction phase of a project, that the Company will consider input from third party attachers, and that third party attachers can dispute the implementation of a particular project once detailed information is provided, should address some of FCTA’s concern about the lack of detailed information in the Plan.

D. – F.	Issues

1.	Does the Company’s Plan address the extent to which, at a minimum, the Plan complies with the National Electric Safety Code (ANSI C-2) [NESC] that is applicable to subsection 25-6.0345(2), F.A.C. [Rule 25-6.0342(3)(a)]

FCTA:	 Yes, the Company’s Plan addresses the extent to which, at a minimum, the Plan complies with the NESC and yes, the Plan complies at a minimum with the NESC.

2.	Does the Company’s Plan address the extent to which the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC are adopted for new distribution facility construction? [Rule 25-6.0342(3)(b)1]

FCTA:	The Plan does not adopt EWL for new distribution facility construction and thus, FCTA takes no position on this issue.

3.	Does the Company’s Plan address the extent to which the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC are adopted for major planned work on the distribution system, including expansion, rebuild, or relocation of existing facilities, assigned on or after the effective date of this rule distribution facility construction? [Rule 25-6.0342(3)(b)2]

FCTA:	The Plan does not adopt EWL criteria for major planned work and thus, FCTA takes no position on this issue.

4.	Does the Company’s Plan address the extent to which the extreme wind loading standards specified by Figure 250-2(d) of the 2007 edition of the NESC are adopted for distribution facilities serving critical infrastructure facilities and along major thoroughfares taking into account political and geographical boundaries and other applicable operational consideration? [Rule 25-6.0342(3)(b)3]

FCTA:	The Plan only adopts EWL for limited critical infrastructure pole projects and thus, FCTA takes no position on this issue.

5.	Does the Company’s Plan address the extent to which its distribution facilities are designed to mitigate damage to underground and supporting overhead transmission and distribution facilities due to flooding and storm surges? [Rule 25-6.0342(3)(b)(3)(c)]

FCTA:	Based on the currently available information, FCTA takes no position on this issue.

6.	Does the Company’s Plan address the extent to which the placement of new and replacement distribution facilities facilitate safe and efficient access for installation and maintenance pursuant to Rule 25-6.0341, F.A.C.? [Rule 25-6.0342(3)(d)]

FCTA:	Based on the currently available information,] FCTA takes no position on this issue.

7.	Does the Company’s Plan provide a detailed description of its deployment strategy including a description of the facilities affected; including technical design specifications, construction standards, and construction methodologies employed? [Rule 25-6.0342(4)(a)]

FCTA:	No.  The Plan does not adequately describe the Company’s deployment strategy.    The Plan does not include specific technical design specifications, construction standards and construction methodologies that will be employed by the Company in hardening poles  The proposed Process to Engage Third Party Attachers should resolve FCTA’s  concerns about the lack of detail currently in the Plan with regard to specific pilot projects, but does not fully alleviate concerns regarding lack of detail regarding TECO’s planned pole inspections and continued deployment of Grade B construction standard in a prudent, practical and cost-effective manner.    Moreover, the Company’s deployment strategy is not prudent, practical or cost effective, as required by Rule 25-6.0342.8.

8.	Does the Company’s Plan provide a detailed description of the communities and areas within the utility’s service area where the electric infrastructure improvements, including facilities identified by the utility as critical infrastructure and along major thoroughfares pursuant to subparagraph (3)(b)3 are to be made? [Rule 25-6.0342(4)(b)]

FCTA:  	The Company’s Plan provides a description of the communities and areas within the utility’s service area where the electric infrastructure improvements, including facilities identified by the utility as critical infrastructure and along major thoroughfares.  Moreover, the proposed Process to Engage Third Party Attachers likely resolves FCTA’s concerns regarding the level of detail currently missing from TECO’s Plan pertinent to this issue.

9.	Does the Company’s Plan provide a detailed description of the extent to which the electric infrastructure improvements involve joint use facilities on which third-party attachments exist? [Rule 25-6.0342(4)(c)]

FCTA:  	No.  The proposed Process to Engage Third Party Attachers should address FCTA’s concerns regarding the level of detail currently missing from TECO’s Plan pertinent to this issue except that FCTA still has significant concerns about the lack of detail in the Plan regarding TECO’s pole inspections and its deployment of Grade B criteria.

10.	Does the Company’s Plan provide an estimate of the costs and benefits to the utility of making the electric infrastructure improvements, including the effect on reducing storm restoration costs and customer outages? [Rule 25-6.0342(4)(d)]

FCTA:	No, however, the proposed Process to Engage Third Party Attachers likely resolves FCTA’s concerns regarding the level of detail currently missing from TECO’s Plan pertinent to this issue.

11.	Does the Company’s Plan provide an estimate of the costs and benefits, obtained pursuant to subsection (6) below, to third-party attachers affected by the electric infrastructure improvements, including the effect on reducing storm restoration costs and customer outages realized by the third-

party attachers? [Rule 25-6.0342(4)(e)]

FCTA:	No.  FCTA does not yet have enough information about the costs and benefits of TECO’s storm hardening plan to provide a specific estimate of the costs and benefits that TECO’s plan will have on its cable operator members.  However, the costs that may be recovered from cable operators are tightly prescribed by the FCC.  Cable operators may incur significant additional costs as a result of the Company’s Plan.  Operators may incur increased transfer costs, annual pole rental rates may increase,  and the costs attendant to making the pole ready for third party attachments will increase.  The number of cable operator attachments on which rents are paid may increase as additional poles are set in existing spans.  It remains to be determined the extent to which the Company’s Plan will benefit third parties. Given the uncertainty about the specific cost benefit impact on third party attachers, FCTA supports limited pilot projects and continued monitoring to enable affected parties to study the potential benefits of TECO’s planned hardening activities.

12.	Does the Company’s Plan include written Attachment Standards and Procedures addressing safety, reliability, pole loading capacity, and engineering standards and procedures for attachments by others to the utility’s electric transmission and distribution poles that meet or exceed the edition of the National Electrical Safety Code (ANSI C-2) that is applicable pursuant to Rule 25-6.034, F.A.C.? [Rule 25-6.0342(5)]

FCTA:	No.  Certain of the Attachment Standards and Procedures set forth in TECO’s Plan are not related to the Commission’s overall objective of enhancing reliability or reducing restoration costs.  Only those Attachment Standards and Procedures pertaining to the loading impact of third party attachments on the strength of poles relate to storm hardening and should be included in the Plan.  All other details of TECO’s Attachment Standards and Procedures should not be in the Plan but, instead, should be established through good faith contract negotiation with input from attachers as required by Rule 26-06.0342(6), F.A.C. and/or FCC resolution.  Furthermore, TECO’s Attachment Standards and Procedures that do relate to the loading impact of third party attachments (only Section 8.7, which addresses TECO’s plans to conduct a loading analysis of third party attachments during its 8-year pole inspection process, and Section 8.3, which pertains to TECO’s permit application procedure, particularly as it applies to overlashing) do not constitute a reasonably practicable means of meeting the Commission’s objectives of enhancing reliability and reducing storm related costs and outages, as is required by Rule 25-6.0342. .

13.	Based on the resolution of the preceding issues, should the Commission find that the Company’s Plan meets the desired objectives of enhancing reliability and reducing restoration costs and outage times in a prudent, practical, and cost-effective manner to the affected parties.  [Rule 25-6.0342(1) and (2)]

FCTA:	No.

G.	Stipulated Issues

FCTA agrees with AT&T, Verizon, Embarq, Gulf, FPL, TECO, and Progress that the proposed Process to Engage Third Party Attachers will alleviate concerns regarding the level or required detail currently missing from the Plan.  FCTA is not a party to any other stipulations at this time.

H.	Pending Motions

FCTA has no pending motions or other matters requiring attention at this time.

I.	Pending Confidentiality Requests

FCTA has no pending confidentiality requests.

J.	Compliance With Order on Procedure

FCTA believes that this Prehearing Statement fully complies with the requirements of the Order Consolidating Dockets and Establishing Procedure, Order No. PSC-07-0573-PCO-EI.

K.	Objections to Witness Qualifications

FCTA has no objection to the qualifications of any expert witness.

RESPECTFULLY SUBMITTED this 14th day of September, 2007.

By:	/s/ Maria T. Browne

Maria T. Browne, Esquire

John D. Seiver, Esquire

Davis Wright Tremaine, LLP

1919 Pennsylvania Ave., NW, Suite 200

Washington, D.C. 2006

(202) 973 – 4212 (Phone)

(202) 973 – 4499 (Fax)

Attorneys for the Florida Cable

Telecommunications Association, Inc.

BEFORE THE PUBLIC SERVICE COMMISSION

In re:  Review of 2007 Electric Infrastructure )	DOCKET NO 070297-EI

Storm Hardening Plan Filed pursuant to Rule )

25-6.0342, F.A.C., submitted by Tampa 	 )

Electric Company.				 )

Filed:  September 14, 2007

CERTIFICATE OF SERVICE

I hereby certify that a true and correct copy of the Prehearing Statement of Florida Cable Telecommunications Association, Inc. in Docket No. 070297-EI was served via Electronic Mail and First Class US Mail to the persons listed below on this 14th day of September, 2007:

| Katherine E. Fleming, Senior Attorney Lisa Bennett, Esquire Rick Mann, Esquire Adam Teitzman, Esquire Keino Young, Esquire Office of the General Counsel Florida Public Service Commission Division of Legal Services 2540 Shumard Oak Boulevard Tallahassee, Florida 32399 – 0850 keflemin@psc.state.fl.us lbennett@psc.state.fl.us ateitzma@psc.state.fl.us rmann@psc.state.fl.us kyoung@psc.state.fl.us lholley@psc.state.fl.us | William (Bill) Walker Florida Power & Light Company 215 South Monroe Street, Suite 810 Tallahassee, FL 32301-1859 bill_walker@fpl.com |
| --- | --- |
| John T. Butler Senior Attorney Florida Power & Light Company 700 Universe Boulevard Juno Beach, FL 33408-0420 john_butler@fpl.com | Susan D. Ritenour Gulf Power Company One Energy Place Pensacola, FL 32520-0780 sdritenour@southernco.com |
| J. Stone/R. Badders/S. Griffin Beggs & Lane Law Firm Attorneys for Gulf Power Company P.O. Box 12950 Pensacola, FL 32591 jas@beggslane.com rab@beggslane.com srg@beggslane.com | John T. Burnett Attorney for Progress Energy, Florida, Inc. P.O. Box 14042 St. Petersburg, FL 33733-4042 john.burnett@pgnmail.com |
| Paul Lewis, Jr. Progress Energy Florida, Inc. 106 East College Avenue, Suite 800 Tallahassee, FL 32301-7740 paul.lewisjr@pgnmail.com | Paula K. Brown Tampa Electric Company Administrator, Regulatory Affairs P. O. Box 111 Tampa, FL 33601-0111 regdept@tecoenergy.com |
| Lee L. Willis James D. Beasley Ausley McMullen 227 South Colhoun Street Post Office Box 391 (32302) Tallahassee, FL 32301 lwillis@ausley.com jbeasley@ausley.com | David Christian Verizon Florida LLC 106 East College Avenue, Suite 710 Tallahassee, FL 32301-7721 david.christian@verizon.com |
| Dulaney L. O’Roark III, General Counsel Southeast Region Verizon 6 Concourse Parkway, Suite 600 Atlanta, GA 30328 de.oroark@verizon.com | Douglas J. Sale Harrison , Sale, McCloy, Thompson, Duncan, and Jackson 304 Magnolia Avenue Post Office Drawer 1579 Panama City, FL 32402-1579 dsale@harrisonsale.com |
| Richard Jackson City of Panama City Beach and PCB Comm. Redevelop. Agency 110 South Arnold Road Panama City Beach, FL 32413 jacksonR13@comcast.net | Robert S. Wright/John T. LaVia, III, Esquire Young van Assenderp, P.A. Attorneys for City of Panama Beach 225 South Adams Street, Suite 200 Tallahassee, Florida 32301 swright@yvlaw.net jlavia@yvlaw.net (Represents MUCC) |
| Susan S. Masterton Embarq Florida, Inc. Mailstop: FLTLHO0102 1313 Blair Stone Rd. Tallahassee, FL 32301 susan.masterton@embarq.com | Hon. Charles Falcone, Mayor c/o Donald R. Hubbs, Asst Town Manager Town of Jupiter Island Post Office Box 7 Hobe Sound, FL 33475 cafalcone@adelphia.net |
| J.Meza/E.Edenfield/J. Kay/T. Hatch P.Carver/M.Gurdian c/o Nancy H. Sims, Esquire Attorneys for AT&T and TCG 150 South Monroe Street, Suite 400 Tallahassee, FL 32301-1556 nancy.sims@bellsouth.com | Colentha Wilson Florida Public Service Commission 2540 Shumard Oak Boulevard Tallahassee, Florida 32399-0850 cdwilson@psc.state.fl.us |
| Howard E. Adams/Peter M. Dunbar Penington, Moore, Wilkinson, Bell & Dunbar, P.A. Time Warner Telecom of Florida, LP P.O. Box 10095 Tallahassee, FL 32302-2095 gene@penningtonlaw.com | Charles J. Beck, Esquire Office of Public Counsel c/o The Florida Legislature 111 West Madison Street, Room 812 Tallahassee, Florida 32399 beck.charles@leg.state.fl.us |
| Beth Keating, Esquire Akerman, Senterfitt Attorney for FCTA 106 East Collage Avenue, Suite 1200 Tallahassee, FL 32301 beth.keating@akerman.com | Thomas G. Bradford, Deputy Town Mgr Town of Palm Beach, Florida 360 South County Road Palm Beach, FL 33480 tbradford@townofpalmbeach.com |
| Florida Cable Telecom Association 246 E. 6th Avenue, Suite 100 Tallahassee, FL 32303 (US First Class Mail Only) |  |

/s/ Maria T. Browne____

Maria T. Browne