490

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

In the Matter of:

3

REVIEW OF 2007 ELECTRIC INFRASTRUCTURE    DOCKET NO. 070297-EI

4   STORM HARDENING PLAN FILED PURSUANT TO

RULE 25-6.0342, F.A.C., SUBMITTED BY

5   TAMPA ELECTRIC COMPANY.

---------------------------------------

6   REVIEW OF 2007 ELECTRIC INFRASTRUCTURE    DOCKET NO. 070298-EI

STORM HARDENING PLAN FILED PURSUANT TO

7   RULE 25-6.0342, F.A.C., SUBMITTED BY

PROGRESS ENERGY FLORIDA, INC.

8   ----------------------------------------

REVIEW OF 2007 ELECTRIC INFRASTRUCTURE    DOCKET NO. 070299-EI

9   STORM HARDENING PLAN FILED PURSUANT TO

RULE 25-6.0342, F.A.C., SUBMITTED BY

10   GULF POWER COMPANY.

---------------------------------------

11   REVIEW OF 2007 ELECTRIC INFRASTRUCTURE    DOCKET NO. 070301-EI

STORM HARDENING PLAN FILED PURSUANT TO

12   RULE 25-6.0342, F.A.C., SUBMITTED BY

FLORIDA POWER & LIGHT COMPANY.

13   ________________________________________/

14

15

16

ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

17                 A CONVENIENCE COPY ONLY AND ARE NOT

THE OFFICIAL TRANSCRIPT OF THE HEARING,

18            THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

19

20                              VOLUME 4

21                        Pages 490 through 626

22

23   PROCEEDINGS:        HEARING

24

25

FLORIDA PUBLIC SERVICE COMMISSION

491

1   BEFORE:             CHAIRMAN LISA POLAK EDGAR

COMMISSIONER MATTHEW M. CARTER, II

2                       COMMISSIONER KATRINA J. McMURRIAN

COMMISSIONER NANCY ARGENZIANO

3                       COMMISSIONER NATHAN A. SKOP

4   DATE:               Wednesday, October 3, 2007

5   TIME:               Commenced at 9:48 a.m.

Concluded at 3:13 p.m.

6

PLACE:              Betty Easley Conference Center

7                       Room 148

4075 Esplanade Way

8                       Tallahassee, Florida

9   REPORTED BY:        LINDA BOLES, RPR, CRR

JANE FAUROT, RPR

10                       Official FPSC Reporters

(850) 413-6734/(850) 413-6732

11

APPEARANCES:        (As heretofore noted.)

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

492

1                              I N D E X

2                              WITNESSES

3

NAME:                                                PAGE NO.

4

5   EDWARD J. BATTAGLIA

6        Direct Examination by Mr. Badders               501

Prefiled Rebuttal Testimony Inserted            503

7        Cross Examination by Mr. Wright                 517

Redirect Examination by Mr. Badders             534

8        Recross Examination by Mr. Wright               538

9   JOHN J. McEVOY

10        Direct Examination by Mr. Butler                545

Prefiled Rebuttal Testimony Inserted            547

11        Cross Examination by Mr. Seiver                 569

12   MANUEL B. MIRANDA

13        Direct Examination by Mr. Butler                580

Prefiled Rebuttal Testimony Inserted            583

14        Cross Examination by Mr. Seiver                 604

Cross Examination by Mr. Wright                 621

15

16

17

18

19   CERTIFICATE OF REPORTERS                             626

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

493

1                              EXHIBITS

2   NUMBER:                                        ID.    ADMTD.

3   28   MTH-1                                     498   498

4   29   MTH-2                                     498   498

5   30   MTH-3                                     498   498

6   32   MTH-5                                     498   498

7   33   MTH-6                                     498   498

8   39   EJB-2                                     502   539

9   41   MBM-4                                     582   624

10   42   MBM-5                                     582   624

11   43   MBM-6                                     582   624

12   49   National Hurricane Center Report          625   625

13   52   Harrelson's Errata Sheet to Testimony     500   500

14        (070298 and 070301)

15   53   Proposed Revisions to FPL Witness         544   579

McEvoy's Rebuttal Testimony

16        (070301)

17   54   Proposed Revisions to FPL Witness         580   624

Miranda's Rebuttal Testimony

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

494

1                            P R O C E E D I N G S

2             (Transcript continues in sequence from Volume 3.)

3             CHAIRMAN EDGAR:  We will go back on the record.  And,

4   Mr. Willis, before I call upon you, let me ask our staff if

5   there are any other preliminary matters that we need to go

6   ahead and address.

7             MS. FLEMING:  Yes.  Staff would like to note that it

8   was pointed out to us in staff composite Exhibit 6, Tab 3,

9   FCTA's response to staff's first set of interrogatories, only

10   the certificate of service was included in that stack.  During

11   the break staff has added in the actual responses.  And I've

12   checked all the parties' piles and I think they're all in

13   there.  If anybody is missing a copy, please let us know.  We

14   have extras.

15             CHAIRMAN EDGAR:  Thank you.  Any other matters?  No.

16             Okay.  Mr. Willis.

17             MR. WILLIS:  I am pleased to report, Madam Chairman,

18   that we have reached an agreement with FCTA.  As a part of that

19   agreement, as I understand it, we would like to strike the

20   testimony of Mr. Harrelson in this docket, and we will also

21   withdraw the rebuttal testimony of Regan Haines.

22             And Tampa Electric will clarify its position with

23   respect to Issue 12 as follows:  Tampa Electric agrees, and

24   hereby clarifies that its position on Issue 12, that Tampa

25   Electric is not seeking approval of the Florida Public Service

FLORIDA PUBLIC SERVICE COMMISSION

495

1   Commission (FPSC) of its attachment standards and procedures

2   for third-party attachments beyond a finding that Tampa

3   Electric has attachment standards and procedures for

4   third-party attachments that meet or exceed the NESC."  With

5   that, I also want to express my deep appreciation for your

6   indulgence in allowing us the time to complete this agreement.

7             CHAIRMAN EDGAR:  Thank you.  And before I call upon

8   the FCTA representatives, do you per chance have an extra copy

9   of that for the court reporter, the written statement that you

10   just read on the issue restatement?

11             MR. WILLIS:  I don't, but I can give her, I can give

12   it to her.

13             CHAIRMAN EDGAR:  Would that be helpful?  Okay.  And

14   FCTA.

15             MR. SEIVER:  Thank you, Madam Chair.  And we

16   appreciate as well your indulgence.  The work was diligent and

17   hard, but it paid off.  And for purposes of the record, we

18   believe, and I don't know if the proper term is to withdraw

19   rather Mr. Harrelson's testimony from the TECO docket, but we

20   would also like to -- and I believe it's probably strike the

21   cross-examination of Mr. Harrelson in the TECO docket, and we'd

22   also like to strike the cross-examination of Mr. Haines in the

23   TECO docket.

24             MR. WILLIS:  I have no objection to that.

25             CHAIRMAN EDGAR:  Okay.  Okay.  Ms. Fleming, I'll look

FLORIDA PUBLIC SERVICE COMMISSION

496

1   to you.  I understand that, realizing that we have an agreement

2   between the parties, the request to strike the cross of

3   Witnesses Haines and Harrelson, is, is that where we need to be

4   to have the record in order?  Can you help walk me through it?

5             MS. FLEMING:  Yes, Madam Chairman.  That's correct.

6             CHAIRMAN EDGAR:  Okay.  So, again, for purposes of

7   the record, the cross-examination testimony of Witnesses Haines

8   and Harrelson will be struck.  And the prefiled testimony that

9   would have been entered into the record, does that need to be

10   struck as well?

11             MS. FLEMING:  It's already been entered into the

12   record, so, yes, I would suggest it be struck.  In essence FCTA

13   is withdrawing that testimony; correct?

14             CHAIRMAN EDGAR:  Is withdrawing.  Okay.  So the

15   prefiled direct testimony of Witnesses Haines and Harrelson

16   will be withdrawn from the record.

17             MR. SEIVER:  Yes.  In the, just in the TECO docket.

18             CHAIRMAN EDGAR:  Thank you.  Yes.  Just in the TECO

19   docket.  Absolutely.

20             MS. FLEMING:  And may I ask for clarification as far

21   as Haines' testimony?  Is it just the rebuttal that's being

22   withdrawn or the direct?

23             MR. WILLIS:  Just the rebuttal, yes.

24             MS. FLEMING:  Just the rebuttal that's being

25   withdrawn.  Okay.

FLORIDA PUBLIC SERVICE COMMISSION

497

1             MR. WILLIS:  We have his direct testimony as well as

2   his exhibit, which is Exhibit 8, which I believe has been moved

3   into the record would be part of the record.

4             CHAIRMAN EDGAR:  I'm sorry.  Mr. Willis, could you

5   say that again?

6             MR. WILLIS:  Mr. Haines' direct testimony and his

7   exhibit, which was identified as Exhibit Number 8, would be,

8   remain in the record.

9             CHAIRMAN EDGAR:  Okay.  All right.  Are we clear?  Is

10   everybody clear?  Everybody is clear.  Everybody clear.  Okay.

11             MS. BROWNE:  Madam Chair, FCTA --

12             CHAIRMAN EDGAR:  Yes, ma'am.

13             MS. BROWNE:  FCTA would like to change its position

14   too on two of the issues pertaining to TECO.

15             Issue 12, we would change from "No" to "No

16   objection."  And on Issue 13, we would also change that

17   position from "No" to "No objection."

18             CHAIRMAN EDGAR:  Okay.  So for purposes of the record

19   we will note that FCTA is changing its position on Issues 12

20   and 13 in the TECO docket from "No" to "No objection."

21             MS. BROWNE:  Thank you, Madam Chair.

22             CHAIRMAN EDGAR:  Thank you.

23             Any other matters related to this matter?

24             MS. FLEMING:  The only other matter is the exhibits

25   relating to Mr. Harrelson.  As far as Exhibits 28, 29 and 30,

FLORIDA PUBLIC SERVICE COMMISSION

498

1   they will only be moved into the Progress docket, which is

2   070298, and the FPL docket, 070301.  With respect to Exhibit --

3             CHAIRMAN EDGAR:  I'm sorry, Ms. Fleming.  Let me

4   catch up.  Okay.  Exhibits 28, 29 and 30 we're proposing to

5   move into the record for the Progress docket.  What about the

6   FPL docket?

7             MS. FLEMING:  And the FPL docket.

8             CHAIRMAN EDGAR:  And the FPL docket.  Okay.  And

9   obviously not for the TECO docket.

10             MS. FLEMING:  Not for the TECO or the Gulf because

11   that testimony has been withdrawn.

12             CHAIRMAN EDGAR:  Okay.  Exhibits 28, 29 and 30 will

13   be moved into the record for the Progress and FPL dockets.

14             (Exhibits 28, 29 and 30 marked for identification and

15   admitted into the record.)

16             MS. FLEMING:  Exhibit 31 will not be moved into the

17   record because it's been withdrawn.

18             CHAIRMAN EDGAR:  Yes.

19             MS. FLEMING:  And Exhibits 32 and 33 will be moved

20   into the FPL docket.

21             CHAIRMAN EDGAR:  Okay.  Seeing no questions or

22   objections, Exhibits 32 and 33 will be moved into the record

23   for the FPL docket.

24             (Exhibits 32 and 33 marked for identification and

25   admitted into the record.)

FLORIDA PUBLIC SERVICE COMMISSION

499

1             Give me just a moment here to catch up with my notes.

2             Okay.  And then we need to look at Exhibits 51 and

3   52.  51 to be withdrawn.

4             MR. WILLIS:  It's a part of the composite exhibit and

5   so we'd just leave it for identification only.

6             CHAIRMAN EDGAR:  Leave it as identified for 51 but

7   not to be entered into the record; is that correct?

8             MR. WILLIS:  Right.  It's already in the record.

9             CHAIRMAN EDGAR:  Oh, it is in the record.

10             MR. WILLIS:  Right.  It's part of the staff's

11   composite.

12             CHAIRMAN EDGAR:  Ms. Fleming.

13             MS. FLEMING:  I would disagree.  I don't believe it's

14   part -- it's my understanding that Exhibit 51 is TECO's

15   response to FCTA's first set of PODs.  Staff only included

16   FCTA's responses to staff's interrogatories.

17             MR. WILLIS:  It can be withdrawn in any event because

18   of the --

19             CHAIRMAN EDGAR:  Because of the agreement.

20             MR. WILLIS:  -- the agreement.

21             MS. BROWNE:  FCTA has no objection.  And we have one

22   other issue to change our position on.

23             CHAIRMAN EDGAR:  Okay.  So Exhibit 51 will be

24   withdrawn.  Let's go ahead and take up exhibit -- did I say

25   exhibit?  I hope I said exhibit.  Exhibit 51 will be withdrawn.

FLORIDA PUBLIC SERVICE COMMISSION

500

1   Exhibit 52, the errata sheet, we need to enter into the record

2   for the Progress and FPL dockets.

3             MS. FLEMING:  That's correct, Madam Chairman.

4             CHAIRMAN EDGAR:  Okay.  Seeing no objection, Exhibit

5   52 will be entered into the record for Progress and FPL

6   dockets.  And then you said an issue statement.

7             (Exhibit 52 marked for identification and admitted

8   into the record.)

9             MS. BROWNE:  Yes.  FCTA would like to change its

10   position on TECO Issue Number 7 to "No objection."

11             CHAIRMAN EDGAR:  Okay.  In the TECO docket, FCTA's

12   position on Issue Number 7 will be changed for the record from

13   "No" to "No objection."

14             MS. BROWNE:  Thank you, Madam Chair.

15             CHAIRMAN EDGAR:  Okay.  Any other items related to

16   this matter?  Seeing none.  Okay.  Are we ready to move on to

17   rebuttal testimony?  We are.

18             Okay.  And as we have just discussed, we will not be

19   taking up Witness Haines, so I believe that brings us to

20   Witness Battaglia.

21             MR. BADDERS:  Yes, ma'am, it does.

22             We're ready to proceed.

23                         EDWARD J. BATTAGLIA

24   was recalled as a witness on behalf of Gulf Power Company and,

25   having been duly sworn, testified as follows:

FLORIDA PUBLIC SERVICE COMMISSION

501

1                         DIRECT EXAMINATION

2   BY MR. BADDERS:

3        Q    Please state your name and address for the record.

4        A    My name is Edward J. Battaglia.  My business address

5   is 1 Energy Place, Pensacola, Florida 32520.

6        Q    And were you present this morning or yesterday

7   morning when the witnesses were sworn in?

8        A    I was.

9        Q    And you took the oath?

10        A    Yes.

11        Q    By whom are you employed?

12        A    Gulf Power Company.

13        Q    Have you prefiled rebuttal testimony consisting of 12

14   pages in this docket?

15        A    Yes.

16        Q    Do you have any changes or corrections to that

17   testimony?

18        A    No.

19        Q    If I were to ask you the same questions today, would

20   your answers be the same?

21        A    Yes.

22             MR. BADDERS:  We ask that the prefiled rebuttal

23   testimony of Mr. Battaglia be inserted into the record as

24   though read.

25             CHAIRMAN EDGAR:  The prefiled rebuttal testimony will

FLORIDA PUBLIC SERVICE COMMISSION

502

1   be inserted into the record as though read.

2             MR. BADDERS:  Thank you.

3   BY MR. BADDERS:

4        Q    Mr. Battaglia, do you also have one exhibit attached

5   to your testimony?

6        A    Yes.

7        Q    Do you have any changes to that exhibit?

8        A    No.

9             MR. BADDERS:  His exhibit has already been identified

10   as Exhibit Number 39.

11             (Exhibit 39 marked for identification.)

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

515

1   BY MR. BADDERS:

2        Q    And at this time, Mr. Battaglia, would you please

3   summarize your testimony.

4        A    Certainly.  Good afternoon, Commissioners.

5             Gulf Power is very concerned with the possible cost

6   ramifications and associated impact to its customers if

7   underground construction is adopted as a storm hardening

8   option.  If Gulf were to replace the overhead system with

9   underground in just three cities in the company's service area,

10   Pensacola, Fort Walton Beach and Panama City Beach, the cost is

11   estimated to be $780 million.  This cost estimate is

12   approximately 150 percent higher than the amount of Gulf's

13   total system net distribution investment at the end of 2006.

14             In the development of Gulf's Storm Hardening Plan,

15   transitioning to underground was considered as a storm

16   hardening option.  Although underground distribution appears to

17   be an attractive method of avoiding wind damage during a storm

18   event, underground construction has limitations that cause

19   additional issues on a day-to-day operational basis and during

20   storm restoration.

21             Finding and repairing damage to underground

22   facilities after a storm event and on a day-to-day basis takes

23   longer, resulting in longer outages.  O&M costs are higher for

24   underground.  Finally, underground is susceptible to storm

25   surges and to damage during cleanup after storms.

FLORIDA PUBLIC SERVICE COMMISSION

516

1             Data comes in various forms.  In respect to the

2   saying "A picture is worth a thousand words," Gulf's Schedule 1

3   is a pictorial summary of Gulf's first-hand experience with the

4   impact of storm surges.  Gulf's experience with underground

5   construction on both a day-to-day operational basis and during

6   recent storm restoration associated with Hurricanes Ivan and

7   Dennis resulted in the decision to not adopt underground as a

8   storm hardening activity at this time.

9             In respect to Hurricane Dennis, which is used as a

10   basis of Mr. Rant's study in his testimony, the National

11   Weather Service data shows that the storm made landfall on

12   Santa Rosa Island, which is approximately 15 miles from

13   Pensacola and approximately 80 miles from Panama City Beach.

14   However, Gulf has not ruled out underground as a storm

15   hardening option.  Gulf continues to conduct several

16   distribution pilot projects in potential storm surge areas to

17   test the effectiveness of mitigation techniques and has joined

18   the other IOUs through PURC and further studying underground as

19   a possible storm hardening option.  Gulf's proposed Storm

20   Hardening Plan is proactive in pursuing underground as a

21   possible storm hardening option in a sound engineering and

22   cost-effective manner, thus insuring value to all of our

23   customers.

24             In conclusion, this is Gulf's first Storm Hardening

25   Plan pursuant to Florida Public Service Commission rule.  As

FLORIDA PUBLIC SERVICE COMMISSION

517

1   data continues to be gathered and research progresses, Gulf

2   will continue to evaluate and refine its approach to storm

3   hardening in a way that balances storm hardening with the need

4   to maintain reasonable costs to all of its customers and still

5   achieve the expected results of reduced outages and restoration

6   times.

7             This concludes my summary.

8             MR. BADDERS:  We tender the witness for cross.

9             CHAIRMAN EDGAR:  Thank you.

10             Mr. Wright.

11             MR. WRIGHT:  Thank you, Madam Chairman.

12                          CROSS EXAMINATION

13   BY MR. WRIGHT:

14        Q    Good afternoon, Mr. Battaglia.

15        A    Good afternoon.

16        Q    My first question just follows up on a remark you

17   made in your summary in which you said Gulf continues to

18   conduct underground pilot projects.  Can you tell us where

19   those projects are?

20        A    What I'm referring to when I say pilot projects, what

21   I'm referring to is the mitigation techniques that we've

22   developed as far as storm hardening for underground.  The

23   projects in which they are applied to are the ones that are

24   customer driven, that -- again, I spoke about a few of them

25   yesterday as far as scattered throughout our service territory.

FLORIDA PUBLIC SERVICE COMMISSION

518

1   Each opportunity where a customer chooses to, to convert

2   overhead to underground, where it's applicable we are trying to

3   go ahead and apply those mitigation techniques for storm

4   hardening.  And those together is what I'm referring to as far

5   as pilot programs and to be able to test out those types of

6   specifications.

7        Q    Thank you.  At Page 2 of your rebuttal testimony you

8   assert that the City of Panama City Beach's witnesses,

9   Mr. Willoughby and Mr. Rant, assert that undergrounding can be

10   applied in a blanket fashion.  Where in their testimony, where

11   in Mr. Rant's testimony, if at all, do you see a statement that

12   asserts that undergrounding can be applied in a blanket

13   fashion?

14        A    In reading their interpretation or reading their

15   testimony, that was my viewpoint of where they were coming from

16   in their overall testimony.

17        Q    Did you see any assertion in there that it would

18   be -- should be applied in a blanket fashion?

19        A    No, I did not.

20        Q    Okay.

21        A    But I did see that they were in so many words saying

22   that.  In their analysis it was making a strong and compelling

23   case for undergrounding.

24        Q    Did you read Mr. Rant's testimony where he

25   specifically stated that in his opinion underground is not,

FLORIDA PUBLIC SERVICE COMMISSION

519

1   undergrounding is not a panacea?

2        A    Yes, I did.

3        Q    Did you happen to review Mr. Rant's testimony where

4   at Page 21 he testified that the real point of his testimony is

5   that all the benefits and costs should be considered in

6   evaluating undergrounding as a storm hardening measure?

7        A    Yes, I did.

8        Q    Okay.  You didn't see anything in either

9   Mr. Willoughby's or Mr. Rant's testimony to the effect that

10   Gulf should underground its whole system, did you?

11        A    No, I did not.

12        Q    Thank you.  I noticed in your exhibits, specifically

13   EJB-2, Schedule 1, which is the batch of photographs -- I think

14   you referred to those in your summary as well.  I have a couple

15   of questions about those.  Were all of these photos taken in

16   Gulf's service area?

17        A    Yes, they were.

18        Q    I think I noticed one of the photographs had a --

19   yeah.  Page 7 of 10 indicates that it was from Hurricane Opal,

20   which was about 12 years ago; is that correct?

21        A    Yes, it is.

22        Q    What other storm, storms are -- let me rephrase.

23             Are there other storms besides Opal that are

24   reflected in these photographs, and, if so, what are they?

25        A    As far as other storms reflected in these

FLORIDA PUBLIC SERVICE COMMISSION

520

1   photographs, I do not know.

2        Q    Okay.  Do you know who took these photographs?

3        A    These photographs, I do not know exactly who took

4   these photographs.

5        Q    Okay.  I did note that the, the picture of the impact

6   of, from Hurricane Opal at Page 7 is pretty dramatic.  Would I

7   be correct that Gulf did not begin collecting any forensic data

8   after Hurricane Opal struck your service area?

9        A    In terms of forensic data as we now understand it,

10   no.

11        Q    To your knowledge did Gulf personnel take any

12   pictures of overhead facilities that were damaged by any of the

13   storms that have struck Gulf's service area in the last 12

14   years?

15        A    Again, I, I do not know directly, but I would suspect

16   that there were pictures taken of overhead facilities also.

17        Q    Did you review any such photographs in your work

18   preparing Gulf's Storm Hardening Plan?

19        A    No, I did not review any photographs in preparing the

20   Storm Hardening Plan mainly due to my first-hand experience

21   with observing a lot of overhead after a major storm.

22        Q    Thank you.  I'd like now to turn to your rebuttal

23   testimony addressing Mr. Rant's analysis of the outage

24   information for Panama City Beach and Pensacola.  And first I

25   want to simply ask you, do you agree that the underground

FLORIDA PUBLIC SERVICE COMMISSION

521

1   mileage and overhead mileage values reported in Mr. Rant's

2   testimony for the two cities are correct?

3        A    Yes, I do.

4        Q    And, in fact, didn't Mr. Rant correctly identify the

5   fact that Gulf had inadvertently misreported its underground

6   mileage for Panama City Beach in your interrogatory response?

7        A    Yes, he did.

8        Q    Thank you.  And similarly you'll agree that the

9   restoration information provided by Gulf for the two cities is

10   correct, will you not?

11        A    Yes, I would.

12        Q    We're on Page 5 and -- well, I'm sorry.  I'm on Page

13   5 just because that's where, that's where the page landed.  But

14   I did want to ask you a question about, about Gulf's own wind

15   monitors that you refer to at Line 13 and 14 on Page 5.

16        A    Yes, sir.

17        Q    Has Gulf installed any of those wind monitors yet?

18        A    To my knowledge, at this point we're in the process

19   of installing the first one.

20        Q    How many do you intend to install overall, if you

21   know?

22        A    I know throughout the service system there's going to

23   probably be -- and again upon memory, at least a half a dozen,

24   but I don't know the total off the top of my head.

25        Q    Thank you.  Now I'm on Page 9 which talks about

FLORIDA PUBLIC SERVICE COMMISSION

522

1   Panama City Beach and Pensacola.  And you refer to what is

2   Schedule 10 of your exhibit, your rebuttal exhibit, which I

3   believe depicts a wind field map from the National Hurricane

4   Center.

5        A    Please repeat that.

6        Q    I'm really just trying to get you to look at

7   Schedule 9 of your rebuttal exhibit.

8        A    Yes, sir.

9        Q    And confirm that it, it represents a wind field map

10   provided, what appears to be from an online source at the

11   National Hurricane Center.  Is that accurate so far?

12        A    Yes, sir.

13        Q    Okay.  Do you know where the wind field data in that

14   exhibit came from?

15        A    The source of the wind field data from which that

16   came from, I do not know exactly the source other than, again,

17   this is from the National Hurricane Center.

18        Q    Okay.  I'd like to direct your attention to the black

19   rectangular box contained within the map.

20        A    Yes, sir.

21        Q    And I believe -- it's not, it's not the clearest

22   printing I've ever seen, but I believe that it says that, that

23   this depicts wind force, force wind swaths of Dennis from

24   advisories 1 through 26.  Can you confirm to the Commission

25   that that's what that says?

FLORIDA PUBLIC SERVICE COMMISSION

523

1        A    That is correct.

2        Q    So you would agree that the final National Hurricane

3   Center Tropical Cyclone Report was published sometime after the

4   advisories; correct?

5        A    I would agree with that.  But this is based on their

6   predictions during those times.

7        Q    Just asking you about the arithmetic of Mr. Rant's

8   calculations based on Gulf's data.  Do you agree that Panama

9   City Beach has approximately 45 percent of its distribution

10   lines underground?

11        A    Based on the data provided and based on the fact that

12   that calculation was made from the data, yes.

13        Q    And similarly you'll agree that -- well, similarly

14   will you agree that based on Gulf's data and Mr. Rant's

15   calculations Pensacola has about 21 percent underground?

16        A    That is correct.

17        Q    Now I understood your testimony to say that there are

18   other factors involved; is that accurate?

19        A    Yes, sir.

20        Q    Is it your intention to create the impression that

21   the fact that Panama City Beach has more than double the

22   underground facilities than Pensacola doesn't have anything to

23   do with the fact, with the observed facts that Panama City

24   Beach had much better hurricane experience in Dennis?

25        A    Would you repeat that again, please?

FLORIDA PUBLIC SERVICE COMMISSION

524

1        Q    Yeah.  I apologize.  That was not as artful a

2   question as I would have wanted to ask.

3             You've agreed that Panama City Beach has more than

4   double the percentage of underground facilities as Pensacola;

5   correct?

6        A    Correct, based on the calculations shown.

7        Q    Is it your testimony that that fact doesn't have

8   anything to do with the observed better restoration performance

9   for Panama City Beach in Hurricane Dennis?

10        A    And, again, I apologize, but repeat the question.

11        Q    Is it your testimony that the fact that Panama City

12   Beach has double the underground of Pensacola doesn't have

13   anything to do with the observed facts that Panama City had

14   lower outages and faster restoration?

15             MR. BADDERS:  I'm going to have to object to the form

16   of the question.  I don't believe it's been established that it

17   performed better.

18   BY MR. WRIGHT:

19        Q    Do you happen to have a copy of Mr. Rant's testimony

20   with you, Mr. Battaglia?

21        A    Yes, sir.

22        Q    Okay.  And I am specifically referring to what has

23   now been admitted into evidence in this docket as Exhibit 36.

24   I am looking at Page 14 of 14 of that exhibit.  Excuse me.  I'm

25   looking at Page 19 of 22 of the exhibit, which is Page 14 of 14

FLORIDA PUBLIC SERVICE COMMISSION

525

1   of Gulf's response to Panama City Beach's Interrogatory Number

2   17.  Can you find that?

3        A    I need a copy of it to be sure I'm making, I'm

4   looking at the exact same thing.  Thank you, sir.

5        Q    Are we together now, Mr. Battaglia?

6        A    Yes, sir.

7        Q    Okay.  The last box -- and you do recognize this as

8   an interrogatory response provided by Gulf Power Company;

9   correct?

10        A    Yes, sir.

11        Q    And the information contained in this interrogatory

12   response is true and correct to the best of your knowledge;

13   correct?

14        A    That's correct.

15        Q    Just for reference before we proceed, I'd like you to

16   look at the next page of the same exhibit, which is Gulf's

17   response to Interrogatory Number 21, and that purports to show

18   the number of meters per municipality for three cities, Fort

19   Walton Beach, Panama City Beach and Pensacola; correct?

20        A    Yes, sir.

21        Q    And that information is true and correct to the best

22   of your knowledge, is it not?

23        A    That is correct.

24        Q    Okay.  Now I am trying to make this as brief as

25   possible, Madam Chairman.  But I was required to lay this

FLORIDA PUBLIC SERVICE COMMISSION

526

1   foundation, so here I go.

2             Will you agree that at peak the number, the

3   percentage of customer meters that were out of service in

4   Panama City Beach was a whole lot less than the percentage of

5   customer meters that were out of service in Pensacola?

6        A    I would agree.  But there needs to be an

7   understanding that in some of these communities such as Panama

8   City Beach the number of meters at times will be grouped up in

9   certain locations because of condos and high-rises, so it

10   doesn't necessarily reflect the same quantity of separate

11   facilities.

12        Q    I'm glad you mentioned condos and high-rises.  Is it

13   true for Gulf's service area that condos and high-rises are

14   generally served by underground service?

15        A    Yes.

16        Q    Thank you.  Similarly, continuing on with our

17   discussion about Gulf's data, will you agree that the

18   restoration of service to customers in Panama City Beach was

19   overall much more rapid than the restoration of service to

20   customers in Pensacola?

21        A    I would agree with that.  But at the same time with

22   what I understand as far as damage after the storm, the

23   restoration time was quicker based on the overall damage and

24   impact of the storm.

25        Q    Did you do any analysis of these data or similar data

FLORIDA PUBLIC SERVICE COMMISSION

527

1   in an attempt to compare underground versus overhead

2   facilities' performance in your work preparing Gulf's Storm

3   Hardening Plan?

4        A    No, in the sense of doing a, a type of study or full

5   analysis versus reviewing the type of information that we had

6   as far as our field experience, overall observations over the

7   years.

8        Q    I have a couple of questions for you relating to

9   Page 11 of your testimony where you discuss or rebut, endeavor

10   to rebut Mr. Rant's discussion of CAIDI, which is Customer

11   Average Interruption Duration Index.

12             Madam Chairman, I want to ask the witness a little

13   bit about Page 21 of 22 of Mr. Rant's rebuttal testimony, which

14   is another Gulf interrogatory response.  If you could look -- I

15   think if you turn two more pages from where you were last,

16   you'll get to it, Mr. Battaglia.

17        A    Page 21?

18        Q    Yes, sir.  Page 21 of 22.

19        A    I'm there.

20        Q    Okay.  And to the best of your knowledge -- and

21   actually it continues on to Page 22.  This is Gulf's data as

22   provided by Gulf in an interrogatory response; correct?

23        A    That is correct.  This is Gulf's data based on a

24   systemwide calculation.

25        Q    And do I understand correctly that, that these

FLORIDA PUBLIC SERVICE COMMISSION

528

1   reliability index -- well, do I understand correctly that these

2   represent reliability indexes?

3        A    That is correct.

4        Q    Okay.  And is it correct that SAIDI is System Average

5   Interruption Duration Index?

6        A    That is correct.

7        Q    And that SAIFI is just an Average Interruption

8   Frequency Index?

9        A    That is correct.

10        Q    Is it correct that a lower value for each of these

11   indexes is better than a higher value when one wants to

12   evaluate reliability?

13        A    That is correct.

14        Q    I want to ask you a couple of questions regarding

15   your testimony about CAIDI between Lines 9 and 16 on Page 11.

16   You make the statement as part of a sentence in Line 13 that

17   CAIDI is always much higher for underground than overhead.  Is

18   that accurate?  At least is that an accurate representation of

19   your testimony?

20        A    That is correct.

21        Q    Okay.  So my question for you is wouldn't a higher

22   underground percentage lead one to expect a higher CAIDI value?

23        A    Repeat that one more time, please.

24        Q    Following from your statement that I just read into

25   the record, wouldn't a higher percentage of underground

FLORIDA PUBLIC SERVICE COMMISSION

529

1   distribution facilities in an area imply or lead one to expect

2   a higher CAIDI value for that area?

3        A    Based on that question, that's correct.  But it's

4   also dependent upon when you do comparisons that you are

5   comparing apples to apples and to be able to look at perhaps

6   one community and look at the overhead versus underground

7   versus across communities because of possible differences.

8        Q    On average would you not expect communities with

9   higher underground percentages to have higher CAIDI values?

10        A    That's correct.

11        Q    Thank you.  At Page 6 of your testimony,

12   Mr. Battaglia, you talk about the sugar white, fine sand

13   beaches of the award winning, nationally, internationally

14   recognized Gulf Coast beaches, which I'm sure you and I love

15   equally, correct, or at least a lot?

16        A    Yes, sir.

17        Q    Okay.  Simple question.  Did you do any comparison of

18   the soil or sands on the Gulf Coast beaches to those in the

19   barrier islands in North Carolina referenced in Mr. Rant's

20   testimony?

21        A    I did not.

22        Q    Okay.  At Page 4 of your testimony you talk about

23   loop fed or looped underground construction.

24        A    Yes, sir.

25        Q    Is looped underground construction the standard

FLORIDA PUBLIC SERVICE COMMISSION

530

1   technique on Gulf Power's system?

2        A    Loop construction in the construction of what type of

3   installation?  In reference to -- or repeat the question,

4   please.

5        Q    Certainly.  And I'm happy to try to define the scope

6   better.

7             The question I wanted to ask you is whether looped,

8   looped underground construction where Gulf Power Company uses

9   underground construction is the standard.  Now perhaps I should

10   say in a new subdivision would looped underground construction

11   be the standard applied by Gulf Power in designing and

12   constructing that underground system?

13        A    It is, it is the preferred standard of construction

14   whenever it is capable of being done within the subdivision.

15        Q    And following on that response, will you agree that

16   looped underground construction is good engineering practice?

17        A    For day-to-day operational practices, that's correct.

18        Q    If you know, would you agree that looped underground

19   construction is widely used by utilities in the southeastern

20   United States?

21        A    I do not know how widely used as far as a looped

22   system and within the area specified.

23        Q    Thank you.  At Page 10 of your testimony you make the

24   statement that it is Gulf's position that the analyses

25   recommended by Mr. Willoughby and Mr. Rant are already

FLORIDA PUBLIC SERVICE COMMISSION

531

1   underway.  I just have a couple of questions about that.

2             First, I think -- yes.  Right in that paragraph you

3   talk about your GIS system.

4        A    And this is on Page 11?

5        Q    I'm sorry.  I'm at Page 10 now, and specifically the

6   "already underway" phrase is at Line 16, and you refer to your

7   GIS system at Line 5 and again at Line 8.

8        A    Yes, sir.

9        Q    Yesterday we talked briefly about your distribution

10   GIS system and you told us that the mapping of Gulf's

11   distribution system into its distribution GIS system was

12   complete.  Did I get that right, is complete?

13        A    That is correct.

14        Q    Thanks.  When was that completed?

15        A    I do not know as far as an actual completion date.

16        Q    Okay.  Thank you.  I'm done talking about the

17   distribution GIS system.  I just want to ask you about the, the

18   assertion at Lines 14 through 16 that it's Gulf's position that

19   the analysis recommended by Panama City Beach's witnesses is

20   already underway.

21             Can you point us to a time, a date at which that

22   analysis was begun?

23        A    And what I'm referring to in that particular sentence

24   as far as already underway is with the approval of the

25   ten-point initiatives that basically started us on the journey

FLORIDA PUBLIC SERVICE COMMISSION

532

1   of collecting more granular outage information as far as

2   underground and overhead.  And as we moved from the ten-point

3   initiatives into the Storm Hardening Plan as far as the

4   additional system changes that we've been methodically putting

5   into place to collect not just the physical data associated

6   with outages overhead and underground, but also the associated

7   cost information so we would have both pieces of that picture.

8        Q    And in the context of this discussion are you

9   referring exclusively to storm restoration -- to data collected

10   after named storms?

11        A    No, I'm not.  I'm referring to the fact that it's,

12   actually it's several parts involved.  We're collecting the

13   system changes we've put into place.  We'll do, first off,

14   collect data, cost differences between underground and overhead

15   during normal days, during those afternoon thunderstorms.  And

16   then the other part of the picture is putting into place the

17   forensic data gathering process that would allow us to collect

18   it, collect that cost, excuse me, collect that physical damage

19   information, along with also putting into, setting up the

20   system for capturing the costs so that we would be able to

21   discriminate between what was involved with restoring the

22   overhead, what was involved with restoring the underground.

23   And then in addition to that, the wind monitors which have

24   already been monitored or already been mentioned as far as

25   having those part of our study base, part of our data input to

FLORIDA PUBLIC SERVICE COMMISSION

533

1   get the associated wind information, again, to put that total

2   picture together.

3        Q    Have you collected any data yet in this effort?

4        A    Yes.

5        Q    And --

6        A    We began -- I'm sorry.

7        Q    No.  Please feel free to explain your answer.

8        A    All right.  Yes, in the sense that the systems to

9   collect that day-to-day information are in place and working

10   now as far as with our trouble call management system to be

11   able to capture, again, the information associated with

12   overhead, underground outages, the what, when, where type

13   information that would again provide the data needed to help us

14   with analyzing those differences.

15        Q    And would I understand correctly that that system was

16   implemented this year?

17        A    In actuality that particular system as far as setting

18   up the, or doing the program that would allow us to capture

19   that information, we did that late 2006, did some initial

20   testing to be sure it would collect it as, as we wanted it to,

21   and then went into full operation as far as getting away from a

22   beta testing, if you would, to actually going forth with it.

23             MR. WRIGHT:  Thank you, Mr. Battaglia.  That is all

24   the questions I have.

25             Thank you, Madam Chairman.

FLORIDA PUBLIC SERVICE COMMISSION

534

1             CHAIRMAN EDGAR:  Are there questions on cross from

2   any of the other parties?

3             MR. SEIVER:  None from FCTA.

4             CHAIRMAN EDGAR:  No.  No.  Okay.  Thank you.  And I

5   understand no questions from staff.

6             MS. FLEMING:  No questions.

7             CHAIRMAN EDGAR:  Commissioners?  No questions.

8   Redirect?

9             MR. BADDERS:  Very, very brief redirect.

10                        REDIRECT EXAMINATION

11   BY MR. BADDERS:

12        Q    Mr. Battaglia, you were asked several questions about

13   Panama City Beach and Pensacola with regard to the impacts of

14   Hurricane Dennis.

15        A    Yes, sir.

16        Q    Did Hurricane Dennis hit Panama City with the same

17   force as it did Pensacola?

18             MR. WRIGHT:  I object to that question.  I don't

19   think he's competent to answer that.  He's not a meteorologist.

20   There's meteorological data in the record that speaks for

21   itself.

22             MR. BADDERS:  Can I try to reform the question?

23             CHAIRMAN EDGAR:  You may try to rephrase the

24   question.

25             MR. BADDERS:  I'll rephrase the question.

FLORIDA PUBLIC SERVICE COMMISSION

535

1   BY MR. BADDERS:

2        Q    Mr. Battaglia, are you familiar with the reports on

3   Hurricane Dennis from the National Hurricane Center?

4        A    Yes, sir.

5        Q    And did you review those with regard to the impacts

6   on Pensacola and Panama City?

7        A    Yes, sir.

8        Q    From that did you make an observation based on the

9   impact on each of those two locations by Hurricane Dennis

10   relative to one another?

11        A    Yes, sir.

12        Q    What is that observation?

13        A    In my observation as far as, again, the premise that

14   the winds were greater in Panama City Beach versus Pensacola.

15   When I reviewed the additional weather data, the listing from

16   which those were pulled from, which I believe was Page 12 of

17   the report, it does show as far as additional data for the wind

18   speeds and all that showed the Pensacola area having

19   experienced some winds greater than that of Panama City Beach.

20        Q    With that in mind, do you believe that comparing the

21   distribution system performance in Pensacola and Panama City

22   after Hurricane Dennis is a fair comparison?

23        A    I do not.

24             MR. BADDERS:  No further questions.

25             CHAIRMAN EDGAR:  Commissioner Argenziano.

FLORIDA PUBLIC SERVICE COMMISSION

536

1             COMMISSIONER ARGENZIANO:  Now that prompted a

2   question from me.  How much greater do you recall the winds

3   being in Pensacola?

4             THE WITNESS:  If I, if I may refer you to the

5   schedule exhibit in my rebuttal.  Again, I do not remember off

6   the top of my head.  If that's, if that's okay, Commissioner.

7   Excuse me.

8             And I apologize.  I stand corrected that we did not

9   actually include the hurricane data in there.  But if it's okay

10   to --

11             COMMISSIONER ARGENZIANO:  Yeah.  Madam Chair.

12             CHAIRMAN EDGAR:  Commissioner.

13             COMMISSIONER ARGENZIANO:  I'm just curious now as to

14   what degree the difference in winds there were.

15             MR. WRIGHT:  Madam Chairman, if I may.

16             CHAIRMAN EDGAR:  You may.

17             MR. WRIGHT:  Thank you.  The document is in the

18   record.  It is, I think, Exhibit 35.  It came in through the

19   testimony of Mr. Rant, and it is the final tropical cyclone

20   report for Hurricane Dennis.  And actually I know he's got one

21   because he's got my copy of my witness's testimony.  And I can,

22   I can hand you a copy right now, if that would help.

23             COMMISSIONER ARGENZIANO:  If anybody would like to

24   give -- by the time I find it, we'll be here a few days.  So if

25   somebody has it readily available.

FLORIDA PUBLIC SERVICE COMMISSION

537

1             THE WITNESS:  With Mr. Wright's help.

2             COMMISSIONER ARGENZIANO:  Sorry.

3             CHAIRMAN EDGAR:  That's okay.

4             THE WITNESS:  In the end report for Hurricane

5   Dennis -- let me make sure I'm in the right area.

6             COMMISSIONER ARGENZIANO:  Thank you.  Thank you.

7             MR. WRIGHT:  Certainly.

8             COMMISSIONER ARGENZIANO:  We still may be here a few

9   days.  That's okay.

10             (Laughter.)

11             THE WITNESS:  And I did find my copy finally.

12             COMMISSIONER ARGENZIANO:  Okay.

13             THE WITNESS:  If you -- in the report if you look at

14   Page 11 at the bottom and you see the sustained and gust speeds

15   for Panama City Beach --

16             COMMISSIONER ARGENZIANO:  Uh-huh.

17             THE WITNESS:  -- and if you flip to the next page,

18   Page 12 towards the top there, you see the sustained and gust

19   wind speeds for Pensacola, and it has the little (f) as far as

20   referencing that that's a National Oceanic Atmospheric site.

21   But when you look at the data just above it, it shows the

22   71 sustained, 83 gust, 66 sustained, 81 gust in comparison to

23   what was shown over in Panama City Beach of 51 and 63.  And

24   that's where I was concluding or partially concluding that,

25   again, Pensacola did experience winds greater than Panama City

FLORIDA PUBLIC SERVICE COMMISSION

538

1   Beach.

2             COMMISSIONER ARGENZIANO:  And, Madam Chair, what are

3   the -- excuse my ignorance here.  What are the other numbers

4   below indicating Pensacola at 35, 39 and 71?  That's a tower

5   reading, I guess.

6             THE WITNESS:  Again, I'm not an expert in

7   interpreting, but these are various locations in which they

8   apparently had wind monitors that they pulled the data from.

9             COMMISSIONER ARGENZIANO:  So then they range from 39

10   to 71; correct?

11             THE WITNESS:  Yes, Commissioner.

12             COMMISSIONER ARGENZIANO:  Okay.  Thank you.

13             MR. WRIGHT:  Madam Chairman, may I?

14             CHAIRMAN EDGAR:  Yes.

15             MR. WRIGHT:  Just, just to clarify.

16                         RECROSS EXAMINATION

17   BY MR. WRIGHT:

18        Q    Mr. Battaglia, I'd like to ask you to look at Page 15

19   of the tropical cyclone report, and particularly to look at

20   what is designated as Footnote F.

21        A    Yes, sir.

22        Q    Will you agree that that footnote applies to the

23   Panama City Beach information and also to the fourth row on

24   Page 12, which just says "Pensacola"?

25        A    Yes, sir.

FLORIDA PUBLIC SERVICE COMMISSION

539

1        Q    And that it, it reflects that those were taken from

2   national ocean service stations and that the sustained winds

3   reported are six-minute averages?

4        A    Yes, sir.

5             MR. WRIGHT:  Thank you.

6             CHAIRMAN EDGAR:  Mr. Badders, do you have any

7   additional questions or any additional redirect in light of the

8   additional questions?

9             MR. BADDERS:  I do not.  I do not.

10             CHAIRMAN EDGAR:  Okay.  Okay.  Let's take up the

11   exhibit.

12             MR. BADDERS:  We would move the admission of this

13   exhibit, Exhibit Number 39, into the record.

14             MR. WRIGHT:  No objection.

15             CHAIRMAN EDGAR:  Seeing no objection, Exhibit 39 will

16   be entered into the record for the Gulf docket.

17             (Exhibit 39 admitted into the record.)

18             MR. BADDERS:  And I guess just for clarity of the

19   record this testimony was offered in Docket 070299.  I may not

20   have made that clear up front.

21             CHAIRMAN EDGAR:  That is my understanding.

22             MR. BADDERS:  Thank you.  Can this witness be

23   excused?

24             CHAIRMAN EDGAR:  And this witness is excused.  Thank

25   you very much.

FLORIDA PUBLIC SERVICE COMMISSION

540

1             MR. BADDERS:  The next witness would have been

2   Mr. McDaniel's rebuttal.  That has been withdrawn.

3             CHAIRMAN EDGAR:  Yes.

4             MR. BADDERS:  And his exhibit has also been

5   withdrawn, so we will not need to move that into the record.

6             CHAIRMAN EDGAR:  Thank you.  That brings us,

7   Mr. Butler, to your witness.

8             MR. BUTLER:  Thank you.  Yes, to Mr. McEvoy.  I'd

9   call Mr. McEvoy to the stand.

10             MR. WILLIS:  Before Mr. McEvoy comes to the stand,

11   Madam Chairman, I believe that we have now agreement on

12   Exhibits, excuse me, on Issues 7, 12 and 13 in the Tampa

13   Electric docket, which is 070297-EU, and in effect have

14   stipulations to, to those three issues.  And I wonder if you

15   could confirm that and perhaps excuse Tampa Electric from

16   further participation.

17             CHAIRMAN EDGAR:  Okay.  We did earlier change for the

18   benefit of the record the position of FCTA on Issue 7, 12 and

19   13 in the TECO docket from "No" to "No objection."  May I

20   understand from that that that is the same thing as agreement?

21             MR. WILLIS:  Yes.

22             MR. SEIVER:  Yes.

23             CHAIRMAN EDGAR:  Okay.  Ms. Fleming, is there any

24   reason at this point in the proceeding, realizing the

25   agreements that have been reached and the information entered

FLORIDA PUBLIC SERVICE COMMISSION

541

1   into the record on the TECO docket, that TECO needs to remain

2   with us for the rest of the day?

3             MS. FLEMING:  If there are stipulations among the

4   parties, I would suggest -- staff would recommend that the

5   Commission vote on these stipulations on the last three

6   remaining issues for TECO.

7             Staff would note for the record as far as Issues 7

8   and 12, AT&T, FCTA, TCG and Verizon take no position.  And on

9   Issue 13, AT&T, FCTA, Embarq, TCG and Verizon take no position.

10   And staff would recommend that the stipulations be approved

11   with a note of the modification to Issue 12 that was previously

12   stated on the record.

13             CHAIRMAN EDGAR:  Okay.  Commissioners, my

14   understanding as to where we are at this time is, as you've

15   heard from staff, we have a request from the parties in the

16   TECO docket, TECO and FCTA, with no position from the other

17   parties in that docket and a recommendation, excuse me, a

18   recommendation from our staff that we go ahead and approve the

19   stipulated language to Issues 7, 12 and 13, with the

20   modification to Issue 12 as noted by Ms. Fleming.  I know

21   that's a lot, but are there any questions?

22             COMMISSIONER CARTER:  I have a question.

23             CHAIRMAN EDGAR:  Commissioner Carter.

24             COMMISSIONER CARTER:  Does that resolve all the

25   issues within the confines of that docket?

FLORIDA PUBLIC SERVICE COMMISSION

542

1             MS. FLEMING:  Yes.  This will resolve all the issues

2   of the TECO docket.

3             COMMISSIONER CARTER:  Okay.  At the appropriate time

4   I'd move staff.

5             CHAIRMAN EDGAR:  Are there any questions?  No

6   questions.  Okay.  Commissioner Carter has moved the

7   recommendation of staff on these items in the TECO docket.  Is

8   there a second?

9             COMMISSIONER SKOP:  Second.

10             CHAIRMAN EDGAR:  There's a motion and a second.  All

11   in favor, say aye.

12             (Unanimous affirmative vote.)

13             Opposed?  Show it adopted.

14             Any other matters we need to address for Mr. Willis?

15             MR. WILLIS:  I just wanted to again express how much

16   we appreciate your indulgence in allowing us time and

17   consideration to, to come to the agreements that we have.  And

18   I'd also like to express our deep appreciation for staff in

19   keeping up with all the papers and keeping us straight within

20   all these dockets.  They've done a really superior job in that

21   respect and we appreciate it very much.

22             CHAIRMAN EDGAR:  Thank you, Mr. Willis.  And I assure

23   you I appreciate it as well.

24             Okay.  Then, Mr. Willis, you are excused.  Thank you

25   so much.  And, Mr. Butler, your witness.

FLORIDA PUBLIC SERVICE COMMISSION

543

1             MR. BUTLER:  Thank you, Madam Chairman.

2             Before I get started introducing Mr. McEvoy and his

3   testimony, I handed out during the lunch break a package that

4   consisted of two pages, the top of which says "Proposed

5   Revisions to FPL's rebuttal testimony," et cetera, and it

6   relates, the top page, to Mr. McEvoy's testimony.  Do each of

7   you have that, seeing that the Chairman is still looking?  I

8   have another one here for you.

9             CHAIRMAN EDGAR:  I saw it earlier, but I cannot seem

10   to put my hands on it.  Thank you.  Speaking of people who can

11   keep their papers straight and those of us who are a little

12   challenged on it.  Thank you, Mr. Butler.  Is everybody else

13   there?

14             Okay.  Mr. Butler.

15             MR. BUTLER:  The purpose, the purpose of really both

16   of the pages, but focusing for the moment on the top one, this

17   is a compilation of the withdrawals of portions of Mr. McEvoy's

18   testimony based on the stipulations and partial stipulations

19   and withdrawals of other testimony to which he was rebutting.

20   And I would like to identify this as the next exhibit, which I

21   think would be Exhibit 53.

22             CHAIRMAN EDGAR:  Yes.  Exhibit 53.  And do we have a

23   copy of this to the court reporter?

24             MR. BUTLER:  I did leave one for her.  Do you have a

25   copy of it there, Madam Court Reporter?

FLORIDA PUBLIC SERVICE COMMISSION

544

1             CHAIRMAN EDGAR:  It's headed "Proposed Revisions to

2   FPL's rebuttal testimony."

3             THE COURT REPORTER:  I've got it.

4             CHAIRMAN EDGAR:  Okay.  Thank you.

5             (Exhibit 53 marked for identification.)

6             MR. BUTLER:  All right.  Thank you.  One other

7   housekeeping matter that this is probably as good a time to

8   bring it up as any, it relates to the withdrawal of portions of

9   testimony.  Mr. Seiver and I have discussed the fact that with

10   these withdrawals of testimony, we have in the record

11   deposition transcripts where the questioning in the depositions

12   to some extent relates to areas of people's testimony that have

13   now been withdrawn.  And we both agree that it would be an

14   extremely difficult task to try to go through and identify page

15   and line of what would end up being taken out of the

16   depositions, but we would like to propose that all parties

17   agree that portions of depositions that relate to the withdrawn

18   testimony of witnesses would not be properly part of the record

19   that would be cited and, you know, referenced as evidence in

20   the briefing of this matter after the hearing.

21             CHAIRMAN EDGAR:  Mr. Seiver, do you have any -- Mr.

22   Seiver.

23             MR. SEIVER:  We're in agreement, Madam Chair.  Thank

24   you.

25             CHAIRMAN EDGAR:  Ms. Fleming, any concerns?

FLORIDA PUBLIC SERVICE COMMISSION

545

1             MS. FLEMING:  I think for the reasons stated by

2   Mr. Butler this will probably be the most efficient way to deal

3   with this.

4             CHAIRMAN EDGAR:  I understand.  Thank you for raising

5   that, Mr. Butler.  Mr. Seiver, thank you for your cooperation

6   as well.

7             MR. BUTLER:  Thank you, Madam Chairman.

8             With that, I will introduce Mr. McEvoy.

9                           JOHN J. McEVOY

10   was called as a witness on behalf of Florida Power & Light

11   Company and, having been duly sworn, testified as follows:

12                         DIRECT EXAMINATION

13   BY MR. BUTLER:

14        Q    Mr. McEvoy, would you please state your name and

15   business address for the record.

16        A    John J. McEvoy, 2455 Port West Boulevard, West Palm

17   Beach, Florida 33407.

18        Q    And have you been previously sworn?

19        A    Yes, I have.

20        Q    Okay.  Do you have before you a document entitled

21   Rebuttal Testimony of John J. McEvoy dated September 14, 2007,

22   consisting of 19 pages?

23        A    Yes, I do.

24        Q    Okay.  And I believe you have a copy with you of what

25   we've marked as Exhibit 53 being the withdrawal of portions of,

FLORIDA PUBLIC SERVICE COMMISSION

546

1   or identification of withdrawal of portions of your rebuttal

2   testimony.

3        A    Yes, I do.

4        Q    Okay.  As modified by the withdrawal of the portions

5   of your testimony identified on Exhibit 53, do you adopt this

6   rebuttal testimony or this prefiled testimony as your rebuttal

7   testimony in this docket?

8        A    Yes, I do.

9             MR. BUTLER:  Okay.  Madam Chairman, with the

10   revisions reflected on Exhibit 53, I would ask that

11   Mr. McEvoy's testimony be inserted into the record as though

12   read.

13             CHAIRMAN EDGAR:  The rebuttal testimony of the

14   witness will be inserted into the record as though read,

15   reflecting the errata changes from Exhibit 53.

16             MR. BUTLER:  Thank you.  And I would note that there

17   are no exhibits attached to Mr. McEvoy's rebuttal testimony.

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

566

1   BY MR. BUTLER:

2        Q    Mr. McEvoy, would you please summarize your rebuttal

3   testimony?

4        A    Good afternoon, Commissioners.  The purpose of my

5   rebuttal testimony is to respond to FCTA Witness Michael T.

6   Harrelson that relates to his objections to FPL applying

7   extreme wind loading criteria to distribution facilities.

8   Following the 2004 storm season, FPL recognized the need to

9   develop a forensic storm follow-up process so that future

10   hurricane damage could be investigated more rigorously.

11             During the latter part of 2004 and the beginning of

12   2005 I formed a forensic team comprised of engineers in my

13   group representing over 150 years of cumulative experience with

14   FPL's distribution system.  Our intent was to objectively

15   determine why equipment failed and to use this data to help us

16   improve system performance and restoration time when exposed to

17   future storms.  Procedures and processes were developed that we

18   subsequently used to perform forensic evaluations of Hurricane

19   Katrina and William in 2005.  We used a standard size -- a

20   standardized check sheet to collect specific data, pictures

21   were taken at each observation and notes were made to determine

22   failure causes.  The result of this forensic effort as detailed

23   in the KEMA report found that over 50 percent of the broken

24   poles experienced during Wilma were the result of extreme wind

25   forces that these poles experienced.  Thus, these poles failed

FLORIDA PUBLIC SERVICE COMMISSION

567

1   due to wind-only damage.

2             In my rebuttal testimony I responded to the issue

3   that the National Electric Safety Code has considered whether

4   to apply extreme wind loading criteria to distribution lines

5   60 feet or less in height but has retained the 60-foot

6   exemption.  After my experience in the forensic effort in

7   Hurricane Wilma and the conclusions of the KEMA report on that

8   effort indicated that wind only was the predominant cause of

9   distribution pole breakage, I no longer believe the 60-foot

10   exemption can be used for FPL's service territory.  FPL cannot

11   ignore this direct relevant data and must address the effects

12   of extreme wind damage to our distribution facilities in any

13   plan for improved future hurricane system performance.

14             Mr. Harrelson comments that the many broken poles

15   during Hurricane Wilma were multiple failures known as

16   cascading and these events can be started by trees or flying

17   debris.  He fails to mention that cascading can also start by

18   one pole broken due to the effect of wind only.  In the case of

19   multiple pole failures, the forensic team looked at the entire

20   set of breakage to determine what cause of any one pole to

21   break.  If the cause of the cascading event was determined as

22   wind only, only then were those poles classified with that

23   cause.  Also, as stronger poles are used for extreme wind

24   loading, they are more likely to stop cascading failure once it

25   has started.  Hurricane -- I'm sorry.  Mr. Harrelson asserts

FLORIDA PUBLIC SERVICE COMMISSION

568

1   that the KEMA findings validate the fact that trees and

2   buildings shelter lines from winds.  Mr. Harrelson also

3   contends that FPL should consider the guying effects of either

4   power lines or cable attachment lines when designing for

5   extreme wind loading.  Mr. Harrelson does not support his

6   conclusions with any data.  FPL is interested in investigating

7   what effect trees or buildings have on shielding our facilities

8   or possible guying effect of crossing lines.  But as the

9   National Electric Safety Code states, in the absence of a

10   detailed statistical loading analysis, no reductions in the

11   loading shall be made.

12             FPL is interested in investigating what changes can

13   be made to the National Electric Safety Code extreme wind

14   formulas, but making adjustments to the calculation shown for

15   extreme wind in the National Electric Safety Code and still

16   expecting to deliver the level of wind loading those formulas

17   provide is not prudent without supporting data.  Mr. Harrelson

18   has misinterpreted much of the information in the KEMA report.

19   The KEMA report accurately reflects the efforts of the forensic

20   team and is the most detailed analysis to date of any hurricane

21   damage to a distribution system in the nation.  I stand by its

22   conclusions.  Thank you.

23             MR. BUTLER:  I would tender Mr. McEvoy for

24   cross-examination.

25             CHAIRMAN EDGAR:  Are there questions on cross?

FLORIDA PUBLIC SERVICE COMMISSION

569

1             MR. SEIVER:  Yes.  Thank you, Madam Chair.

2                          CROSS EXAMINATION

3   BY MR. SEIVER:

4        Q    Mr. McEvoy, good afternoon.

5        A    Good afternoon.

6        Q    In your summary you made a comment about

7   Mr. Harrelson's testimony in particular about the guying

8   effects of power line conductors, cable conductors, and you

9   said that there was nothing to support that in the NESC, or did

10   I misunderstand you?

11        A    There -- I believe the statement I made is there's no

12   supporting data for that contention.

13        Q    In your own experience in your years of being a

14   construction, involved in the construction of the overhead

15   plant for Florida Power & Light, do you have any personal

16   experience or understanding as to the guying effects of power

17   laterals or communication lateral lines on the poles?

18        A    Not to the extent that you could put it in any kind

19   of formula in order to participate -- or in order to result in

20   some sort of design standard.  No, sir.

21        Q    And you said because of that there would be no

22   reductions in loading made.  But didn't Mr., Mr. Harrelson

23   testify that instead of reducing the loading calculations, that

24   the guying effects could be used to satisfy the loading

25   calculations?

FLORIDA PUBLIC SERVICE COMMISSION

570

1        A    I did not interpret it that way.

2        Q    You also said that Mr. Harrelson misinterpreted some

3   of the findings in the KEMA report, and I believe we spoke

4   about many of those findings at your deposition and I will

5   reserve on most of those now.  But a particular one that I need

6   to ask you about is the NESC's, you call it a 60-foot

7   exemption.  As you understand it, the NESC does not apply

8   extreme wind to structures 60 feet and lower; is that right?

9        A    I believe what the NESC states, it does not require

10   structures 60 feet or lower to be built to extreme wind loading

11   standards.

12        Q    In determining the speed force of the winds for

13   extreme wind purposes you used the NESC contours, is that

14   right, the wind contours?

15        A    The basic wind speed map shown in the NESC.  Yes,

16   sir.

17        Q    And you used that to make your determination to apply

18   the wind speeds in the various locations that are within those

19   contours in FPL's service territory; right?

20        A    What our plan -- we've used that as a basis.  What

21   our plan does is, as you know, we have determined three wind

22   zones for our service territory, and those wind zones depict

23   the highest wind contour within a given county within our

24   service territory so that the 105 and the 130 and the 145 zones

25   adequately address the contours shown in that map.  Yes, sir.

FLORIDA PUBLIC SERVICE COMMISSION

571

1        Q    Do the winds in those wind zones affect taller

2   structures differently than shorter structures to your

3   understanding?

4        A    The basic wind speed map determinations were for ten

5   meters, which is 33 feet.  So it's my understanding those

6   measurements were taken at ten meters.

7        Q    And do the standards that apply for extreme wind

8   calculations only apply under the NESC to structures that are

9   taller than 60 feet?

10        A    Again, the National Electric Safety Code says that

11   structures less than 60 feet are not required to use extreme

12   wind loading, and the wind speed map is based on 10 meters or

13   33 feet.

14        Q    And in applying the -- do you understand the

15   reasoning or rationale behind the NESC's determination to not

16   apply extreme wind to structures 60 feet and under?

17        A    I'm not a member of the NESC committee.  No, sir.

18        Q    Well, I didn't really ask you that, Mr. McEvoy.

19             I said are you aware of the reasoning or rationale

20   behind the NESC?

21        A    No, sir.

22        Q    As far as applying the extreme wind construction

23   standards, do you have any understanding of an adjustment or a

24   modification to those that would make them apply more readily

25   to poles or structures perhaps 40 or 45 feet as most

FLORIDA PUBLIC SERVICE COMMISSION

572

1   distribution poles are?

2        A    Could you repeat that question, please?

3        Q    I'm sorry.  In determining to apply the extreme wind

4   construction standards, did you make any adjustments to those

5   standards in order to reflect the fact that the poles that they

6   were being applied to were less than 60 feet?

7        A    No.  We are using the extreme wind loading from the

8   National Electric Safety Code.

9        Q    Mr. McEvoy, during the time that you've been at

10   Florida Power & Light have you had occasions to examine

11   hurricane wind damage for storms other than Hurricane Wilma?

12        A    Not as part of the formal forensic effort, no, sir.

13   I have been involved as part of the restoration effort for

14   other hurricanes, but not as a forensic effort.

15        Q    Are you aware of the damage to the Florida Power &

16   Light plant in other storms other than Wilma then?

17        A    Again, from a restoration perspective, yes.

18             One thing we found during the forensic effort, it's

19   amazing how you differently look at a system when you're

20   looking for forensic purposes versus when you're looking for

21   restoration purposes.

22        Q    Well, would it be fair to say then that at least you

23   would agree with this, that Hurricane Katrina, for example, the

24   greater percentage of poles were brought down by trees and not

25   wind only; is that right?

FLORIDA PUBLIC SERVICE COMMISSION

573

1        A    We did a forensic effort for Hurricane Katrina.  So

2   as far as my involvement in that effort, it was from a forensic

3   perspective and not from a restoration perspective.  And, yes,

4   a greater amount of poles were brought down due to wind only in

5   Katrina.

6        Q    Were there some wind-only poles brought down in

7   Katrina, do you recall?

8        A    Yes, there were.

9        Q    And for Wilma were there poles that were brought down

10   by trees?

11        A    Yes, there were.

12        Q    Half the poles, something close to that?

13        A    No, sir.  I believe the normal percentage, it's in

14   the KEMA report, was about 20 percent due to debris.

15        Q    And in that, your forensics, not only wood poles but

16   concrete poles were brought down by trees; isn't that right?

17        A    That's correct.

18        Q    And in your report not only wood poles but concrete

19   poles were brought down by wood only -- by wind only; is that

20   right?

21        A    Did you say concrete poles brought down by --

22        Q    Yes.

23        A    Yes, they were.

24        Q    And do you understand that as far as a comparison of

25   feeder and laterals, that more feeders came down from wind only

FLORIDA PUBLIC SERVICE COMMISSION

574

1   than laterals; is that right?

2        A    I believe that was the case, yes.

3        Q    And -- I'm sorry.  And also was it right that

4   increased wind did not correlate with an increased number of

5   wind-only failures for poles that had deteriorated?  Do you

6   understand my question?

7        A    One more time, please.

8        Q    I'm trying to get the correlation of increasing

9   winds, and I think there was a comparison of winds from Katrina

10   and Wilma.  And there was a finding, was there not, in the KEMA

11   report that I think we talked about at deposition that if you

12   have deteriorated poles, it didn't matter that the increasing

13   wind would bring down more if they were already deteriorated.

14             MR. BUTLER:  Excuse me.  I'm going to ask that if

15   Mr. Seiver is, will be examining Mr. McEvoy about specifics

16   from the KEMA report, that he show him the report or point to

17   him the page reference that he's making so Mr. McEvoy can refer

18   to it.

19             MR. SEIVER:  I was trying to avoid, Madam Chair,

20   destroying another tree with the KEMA report being 100 pages

21   and I didn't want to do 2,000 pages, so I was hoping -- but it

22   is, it is in his deposition.  And why don't we -- why don't I

23   direct your attention to the deposition.  Do you have that

24   handy?

25        A    Yes, I will.

FLORIDA PUBLIC SERVICE COMMISSION

575

1        Q    If you'd look on Page 60 of your transcript.

2        A    Okay.  Page 60?

3        Q    Yes, please.  The question at Line 2, the question is

4   "And do you agree with the conclusion that the higher wind

5   speed doesn't bring out the worst in deteriorated poles?"

6   Answer, "In looking over the data, looking at the percentage as

7   you mentioned, it appears fairly constant."

8             Does that refresh your recollection and make my

9   question any clearer?

10        A    It might, but I may have a different Page 60.  Could

11   I --

12        Q    Oh.

13             CHAIRMAN EDGAR:  It happens.

14             MR. SEIVER:  Indulge us, Your Honor.

15             CHAIRMAN EDGAR:  Yes.

16             MR. SEIVER:  I apologize, Madam Chair.  This is the

17   same problem we had with a transcript before.

18   BY MR. SEIVER:

19        Q    Do you have the page now?

20        A    Okay.  Now we're there.

21        Q    Did you see the question and answer that I read?

22        A    Would you point me to that?

23        Q    Line 3 -- Line 2 actually.

24        A    Right.

25        Q    "And do you agree with the conclusion that the higher

FLORIDA PUBLIC SERVICE COMMISSION

576

1   wind speed doesn't bring out the worst in deteriorated poles?"

2   Answer, "In looking over the data, looking at the percentage as

3   you mentioned, it appears fairly constant."

4        A    Correct.

5        Q    So do you understand now my question that increasing

6   wind speed does not have a direct increase in the number of

7   deteriorated poles that come down in a storm?

8        A    As I recall, the conclusion that KEMA reached was

9   that if a pole had been deteriorated below a certain level, it

10   would fail far below its design level.  So, therefore, the

11   deteriorated poles broke before they reached their design

12   level.

13        Q    And then there's -- I had also asked you, asked you

14   if you agree with this, that the increased wind speed did not

15   correlate with an increased finding of wind-only pole failures

16   for feeders.  Is that right?

17        A    Is that in the next question?

18        Q    Yes, it is.  Line 8 through Line 13.

19        A    Yes.  I would agree.

20        Q    And that similarly the increased wind speed does not

21   correlate, I'm sorry, for laterals, so the laterals are not as

22   subject to increased wind speed, wind only.

23        A    That is, that is what the KEMA report stated.

24        Q    Thank you.  You also were talking at the end of your

25   summary about cascading.  Is that, is that -- am I using the

FLORIDA PUBLIC SERVICE COMMISSION

577

1   right term?

2        A    Yes, sir.

3        Q    And would you just describe cascading for us?

4        A    As we have defined it, when you have a, an instance

5   where one or two poles in a tangent line, meaning where you

6   have a number of poles, two, ten, 20 poles in a line, if you

7   have one or two of those poles that break, the additional force

8   or load that is exerted on the adjacent pole can also cause it

9   to break, and that is what we're referring to as cascading.

10        Q    And this was a very big problem in Wilma, wasn't it?

11        A    It accounted for a large percentage of the broken

12   poles, yes.

13        Q    85 percent?

14        A    Roughly 80, 85 percent, yes.

15        Q    Now have you been able to determine why if one pole

16   fails, whether it be due to wind, tree or debris, why the

17   success of the pole or poles would fail in a cascading during

18   your forensic analysis?

19        A    We did not do a detailed analysis.  But the, the

20   theory is that, as I mentioned before, when one pole comes

21   down, you still have your lines attached to it, so it's putting

22   additional side loading on the poles that are adjacent to it,

23   and that side loading is, represents more of a force than those

24   poles can withstand.

25        Q    And that could be if a tree falls on a conductor as

FLORIDA PUBLIC SERVICE COMMISSION

578

1   well as falling on the pole, that will pull the pole line over;

2   is that right?

3        A    If that was the cause of the initial pole failure,

4   that could be true.

5        Q    And that could start -- a tree falling could start a

6   cascading event just as well that way; is that correct?

7        A    Yes, it could.

8        Q    Now as far as the cascading is concerned, did you

9   also -- or did you make any forensic analysis as to what

10   stopped the cascading?  Because presumably it wasn't dominos

11   all the way back to a substation.  It stopped at some point.

12        A    Unfortunately we did not do that this time.  Next

13   time we will.

14        Q    You didn't make any observations that either a

15   junction pole or a storm guyed pole or some other reinforced

16   pole managed to stop the cascading?

17        A    No, we did not.

18        Q    Do you think that that would be an important

19   determination or analysis to perform in, as part of your Storm

20   Hardening Plan?

21        A    I agree it would certainly be a great data point.

22   And as I mentioned, that's why next time around we will do

23   that.

24             MR. SEIVER:  I have no further questions.  Thank you.

25             CHAIRMAN EDGAR:  Thank you.  And any other questions

FLORIDA PUBLIC SERVICE COMMISSION

579

1   on cross?  Mr. Wright, did you have questions on cross?

2             MR. WRIGHT:  No, ma'am.

3             CHAIRMAN EDGAR:  Okay.  Thank you.  Thank you.  No

4   questions from staff.

5             MS. FLEMING:  No questions.

6             CHAIRMAN EDGAR:  Commissioners?

7             Mr. Butler.

8             MR. BUTLER:  Let me check just one second to see if I

9   have any redirect.

10             CHAIRMAN EDGAR:  Sure.

11             MR. BUTLER:  No redirect.  Thank you.

12             CHAIRMAN EDGAR:  No redirect.  Okay.  And I believe

13   we have one exhibit.

14             MR. BUTLER:  Are we ready for moving exhibits?

15             CHAIRMAN EDGAR:  I think we are.

16             MR. BUTLER:  I guess the only one that I would have

17   to move is Exhibit 53, the list of the proposed revisions.

18             CHAIRMAN EDGAR:  And seeing no objection, we will

19   enter Exhibit 53 into the record for this docket.

20             (Exhibit 53 admitted into the record.)

21             And the witness is excused.

22             MR. BUTLER:  Thank you.

23             CHAIRMAN EDGAR:  Thank you.

24             MR. BUTLER:  Should we call our next witness, or do

25   you want to take a break at this point?

FLORIDA PUBLIC SERVICE COMMISSION

580

1             CHAIRMAN EDGAR:  Is everybody okay?  We're ready.

2             MR. BUTLER:  I would call Mr. Miranda.

3             While he's coming to the stand, I would note that the

4   second page in what I had handed out we discussed earlier were

5   changes to Mr. Miranda's testimony, the similar issue of

6   withdrawals related to stipulations and associated withdrawals

7   that we have reached.

8             CHAIRMAN EDGAR:  Should we go ahead and number this?

9             MR. BUTLER:  I would ask that that be identified as

10   Exhibit 54.

11             CHAIRMAN EDGAR:  Yes, we will identify it as Exhibit

12   54, titled Proposed Revisions to FPL's Rebuttal Testimony,

13   Witness Miranda.

14             (Exhibit 54 marked for identification.)

15             MR. BUTLER:  That's right.

16             CHAIRMAN EDGAR:  And, again, to make sure that the

17   court reporter has a copy.

18             MR. BUTLER:  Thank you.

19                          MANUEL B. MIRANDA

20   was called as a witness on behalf of Florida Power and Light

21   Company, and having been previously duly sworn, testified as

22   follows:

23                         DIRECT EXAMINATION

24   BY MR. BUTLER:

25        Q    Mr. Miranda, you have previously been sworn, correct?

FLORIDA PUBLIC SERVICE COMMISSION

581

1        A    Yes, I have.

2        Q    Would you please state your name and business address

3   for the record.

4        A    Sure.

5             It's Manuel B. Miranda.  My business address is 9250

6   West Flagler Street, Miami, Florida, 33174.

7        Q    Thank you.  Can you lean a little bit closer to

8   microphone?  It seemed like it wasn't picking you up very well.

9        A    That's as close as I can get, John.  (Laughter.)

10        Q    Okay.

11        A    I'll speak louder.

12        Q    All right.  There you go.  That's a good solution.

13             Do you have before you a document entitled Rebuttal

14   Testimony of Manuel B. Miranda, dated September 14, 2007,

15   consisting of 20 pages and three attached exhibits?

16        A    Yes, I do.

17        Q    And was this document prepared under your direction,

18   supervision, and control?

19        A    Yes, it was.

20        Q    With the changes that have been identified on Exhibit

21   54, do you adopt this as your rebuttal testimony in this

22   proceeding?

23        A    Yes.

24             MR. BUTLER:  And I would note that Mr. Miranda's

25   attached Exhibits MBM-4, 5, and 6 are numbered 41, 42,

FLORIDA PUBLIC SERVICE COMMISSION

582

1   43 respectively in Exhibit 1.

2             CHAIRMAN EDGAR:  Just a moment.  Okay.  I'm there

3   with you.  Exhibits 41, 42, and 43.  Thank you.

4             (Exhibits 41, 42 and 43 marked for identification.)

5             MR. BUTLER:  And I would ask that Mr. Miranda's

6   prefiled rebuttal testimony, as revised by the revisions shown

7   on Exhibit 54, be inserted into the record as though read.

8             CHAIRMAN EDGAR:  Thank you.

9             The prefiled rebuttal testimony of this witness will

10   be entered into the record as though read reflecting the

11   revisions in Exhibit 54.

12             MR. BUTLER:  Thank you.

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

603

1   BY MR. BUTLER:

2        Q    Mr. Miranda, would you please summarize your rebuttal

3   testimony?

4        A    Yes, thank you.

5             Good afternoon, Commissioners.

6             My rebuttal testimony addresses the testimony

7   submitted by Michael T. Harrelson on behalf of FCTA.

8   Specifically, I address his concerns with costs by

9   demonstrating that FPL's costs are quite reasonable, that FPL's

10   plan would not adversely affect the system's resiliency as he

11   suggests, and there is no basis to limit wind to coastal areas.

12             Finally, I disagree with his suggestion that if the

13   application of the extreme wind is approved it should be done

14   on a trial or pilot basis.  This approach does not respond to

15   our customers' needs.  Other initiatives approved by the

16   Commission, for example, pole inspections and the ten storm

17   preparedness initiatives, including increased vegetation

18   management, are addressing other major causes of pole breakage,

19   but none of them address the problem of wind-only pole

20   failures.  FPL's plan addresses this issue.

21             Implementation of our plan should provide substantial

22   benefits to our customers including fewer outages, reduced

23   restoration time, quicker return of essential community

24   services, as well as day-to-day reliability.  It's important to

25   recognize that approving FPL's plan is not a final

FLORIDA PUBLIC SERVICE COMMISSION

604

1   once-and-for-all decision.  FPL's territory is very diverse and

2   geographically large.  Fully hardening the infrastructure will

3   take time.  More storm experience and proved processes, better

4   products and materials, for example, composite poles, as well

5   as continuing collaborative processes for updating and

6   reviewing future hardening plans will allow for the review,

7   evaluation, and implementation of more cost-effective hardening

8   solutions as they emerge.

9             The time is now.  FPL's first three-year plan will

10   create a base of hardened facilities and give today's customers

11   as well as future generations a solid start toward achieving

12   the added storm resilience that they have clearly indicated

13   they want.  Thank you.

14             MR. BUTLER:  I tender Mr. Miranda for

15   cross-examination.  Thank you.

16             CHAIRMAN EDGAR:  Questions on cross?

17             MR. SEIVER:  Yes, I have a few.  Thank you, Madam

18   Chair.

19                          CROSS EXAMINATION

20   BY MR. SEIVER:

21        Q    Good afternoon, Mr. Miranda.

22        A    Good afternoon, Mr. Seiver.

23        Q    In your rebuttal testimony, do you have that handy?

24        A    Yes, sir.

25        Q    On Page 7 there's a question about the NESC committee

FLORIDA PUBLIC SERVICE COMMISSION

605

1   rejecting it, rejecting the extreme wind loading standard for

2   distribution facilities.  And do you see your answer in Line 9

3   that says, "FPL is not unsympathetic to the position taken by

4   the NESC committee as well as the other Florida IOUs."  What

5   did you mean by the position taken by the NESC committee?

6        A    Well, the position that they would not -- the 60-foot

7   exemption issue, and that we understood why that decision was

8   made.

9        Q    What was your understanding as to why the decision

10   was made by the NESC committee?

11        A    I am not a member of the NESC, but in general I think

12   the main driver was that many of the members felt that debris

13   and tree-related outages were the major causes of outages

14   during the hurricane.

15        Q    And does that have anything to do with the height of

16   the pole as compared to the height of trees?

17        A    That was part of their decision-making.  And, again,

18   not until we had the forensics of Hurricane Wilma did we change

19   our position and have a better understanding of the wind-only

20   component.

21        Q    And as far as you know, poles taller than 60 feet are

22   rarely distribution poles, right?

23        A    Well, I wouldn't say rarely.  There is more and more

24   highway crossings, and you have these taller poles that are

25   getting -- and then you have the limited highway, you know,

FLORIDA PUBLIC SERVICE COMMISSION

606

1   like waterways.  So, I don't know if they are rare as you would

2   describe it, but they are the smaller proportion to the general

3   population of distribution poles.

4        Q    Well, the NESC does require extreme wind in those

5   locations that you just mentioned, doesn't it?

6        A    That's correct.

7        Q    And FPL has been doing it?

8        A    It requires Grade B construction.

9        Q    I'm sorry, it requires Grade B.

10        A    Correct.

11        Q    So we're clear, Grade C and Grade B are different

12   standards of construction, is that right?

13        A    That's correct.

14        Q    And can you just summarize quickly before I move on

15   what the difference is between Grade C and Grade B?

16        A    In what aspect are you asking, I'm sorry?

17        Q    Well, for example, the code does require, you just

18   said Grade B at highway crossings and waterways, and what

19   exactly is different about Grade B versus traditional Grade C

20   distribution pole construction?

21        A    The main difference, of course, is the issue of the

22   wind profile.  So, Grade C, for example, just has a lower wind

23   rating when you design for it versus Grade B.

24        Q    In order to turn a Grade C construction, for example,

25   into Grade B, what would be the traditional methods or ways of

FLORIDA PUBLIC SERVICE COMMISSION

607

1   making it Grade B?

2        A    Can you clarify?  Are you asking about the

3   construction method?

4        Q    Yes, exactly.

5        A    Typical construction methods would be you would

6   either have shorter spans within your pole distance, you can

7   have bigger class poles, you can look at the equipment that you

8   set on your facilities, you could look at the framing of the

9   pole.  So there is multiple ways of achieving Grade B

10   construction from Grade C construction.

11        Q    So it would be fair to say that in order to move from

12   Grade C to Grade B you could add intermediate poles to shorten

13   the spans, is that right?

14        A    If it is an existing line.

15        Q    Existing line, yes.

16        A    Yes, if it's an existing line, again, you could look

17   at multiple ways of achieving it.  You can look at, as Mr.

18   Harrelson has pointed out, you can look at guying, you can look

19   at intermediate poles, you could look at bigger class wood

20   poles, and just move along a tool kit, if you will, of

21   different applications that you can apply to achieve the higher

22   wind loading.

23        Q    And correct me if I'm wrong, I know you were here for

24   Mr. McEvoy's testimony, but didn't you testify earlier that you

25   are looking into the considerations of the guying effect of

FLORIDA PUBLIC SERVICE COMMISSION

608

1   lateral lines of the power conductors and the communications

2   lines themselves, is that right?

3        A    Yes.  That has been brought forward as a suggestion,

4   and as I think we have shared with FCTA, we don't -- and as Mr.

5   McEvoy clarified, just how to calculate that exact effect of

6   the guying effect is really where we need to figure out.  For

7   example, if a conductor is slack, it's very different if you

8   pull that tension.  How you bolt it to a pole.  All of those

9   components have to be calculated, and it needs to be in a way

10   that is done by the design formulas so that you can truly

11   account.  If we can, you know, calculate this, it clearly is

12   something we want to incorporate into our tool kit because it

13   can help us in our hardening initiatives.

14        Q    So it would be possible that poles that may have been

15   constructed to Grade C, for example, may actually be at Grade B

16   strength once you consider the guying effects of lateral lines?

17        A    If it can take it all the way up to that level.  I

18   mean, there may be times that that exists, but, again, we have

19   to figure out how to calculate that, you know, from a good

20   sound engineering practice.

21        Q    And now moving from Grade B, extreme wind, you could

22   apply extreme wind to Grade C as well as to Grade B, could you

23   not?

24        A    You can make any jump that you want along the

25   construction.

FLORIDA PUBLIC SERVICE COMMISSION

609

1        Q    And to take into account the extreme wind, could you

2   also use these same construction methods for existing lines

3   that I mentioned of either putting in intermediate poles, or

4   additional guys, or storm guys, or framing, looking at the

5   equipment, all of those?

6        A    Yes, sir.

7        Q    That would all be available.  You wouldn't

8   necessarily have to go to a larger class.  I guess it's a lower

9   number, but a thicker pole or to a concrete pole?

10        A    Right.

11        Q    In your testimony you also discuss on this same Page

12   7 about Hurricane Wilma, and I think you characterize it as the

13   seventh storm to impact you over a 15-month period, and I think

14   had we discussed before that Wilma was a unique storm in FPL's

15   history?

16        A    Again, I think we had this discussion late yesterday,

17   where, you know, I wouldn't classify Wilma as a unique storm,

18   per se, in that it was a Category 3 storm that impacted our

19   service territory.  If you look at the history of the number of

20   hurricanes that impact Florida's territory, I wouldn't classify

21   that event as being necessarily unique.

22        Q    But it was unique that it showed wind only as being

23   the predominant cause for pole breakage?

24        A    Well, I think it's wind only because we had some very

25   good forensics that were conducted by Mr. McEvoy's team in

FLORIDA PUBLIC SERVICE COMMISSION

610

1   which the causes of the pole breakage was identified.  And as

2   he shared, it is probably the best analysis that has been put

3   together in the nation to try to understand what happens after

4   a hurricane.

5        Q    And that analysis is included in the KEMA report,

6   that forensic analysis, is that right?

7        A    The forensics data was provided to KEMA in which they

8   compiled their analysis off of.

9        Q    We have talked about that and that is in the report?

10        A    Correct.

11        Q    As far as the forensic analysis, I believe you stated

12   in your summary, and you have stated that it does not support a

13   theory that noncoastal areas and sheltered areas would be

14   inappropriate for extreme wind consideration.  Is it your

15   understanding that if you build a pole line to extreme wind and

16   it's below the tree line, that a tree blown down in a hurricane

17   wind will take an extreme wind pole line down with it, is that

18   right?

19             MR. BUTLER:  I'm sorry, did you say will?

20             MR. SEIVER:  Yes.

21             MR. BUTLER:  Okay.  So you are asking the question

22   absolutely will?

23             MR. SEIVER:  Yes.

24             THE WITNESS:  I don't think it's a will

25   automatically.  If you look at these steps that we're taking to

FLORIDA PUBLIC SERVICE COMMISSION

611

1   harden our infrastructure, it really is across many facets.  We

2   are looking at building it to extreme wind, we are looking at

3   upgrading our conductor size to replacing that small wire that

4   we have had some discussions, Mr. Harrelson had some

5   discussions earlier on.  We also conduct tree trimming, we

6   inspect the poles, and, as you know, we are also doing more

7   vegetation trimming.

8             So, our goal is to try to eliminate that outage from

9   occurring at all, and if there is some tree breakage, I would

10   hope in some cases it is going to be more resilient and can

11   mitigate some of that damage that we maybe we would have seen

12   in the past.

13   BY MR. SEIVER:

14        Q    Would it be fair to say that at least the NESC's

15   subcommittee doesn't agree with your position?

16        A    Again, I don't have that level of detail.

17        Q    I also wanted to ask you about the expense of an

18   extreme wind construction project in the event there is damage,

19   and I believe I established with Mr. McEvoy that concrete poles

20   came down, I guess Grade B poles, Grade C, everything came down

21   in Wilma.  Is it more expensive to replace poles and to restore

22   service where you have extreme wind construction in place?

23        A    Again, you know, first of all, we expect to have

24   fewer poles fail during an event following an extreme win.  And

25   I know that we have had this discussion several times about

FLORIDA PUBLIC SERVICE COMMISSION

612

1   what happens after a storm if you are building to extreme wind,

2   and what you look at is we expect a lower failure rate to occur

3   which in the end results in a net reduction of total pole

4   failures that have failed during a storm.

5             So, you know, again, one of things I was trying to

6   figure out is how to kind of demonstrate this that is constant.

7   One of the things, Mr. Seiver, I was thinking about was, for

8   example, if you look at -- if you took a million poles, let's

9   say, as a composite, right, and if you remember my MBM exhibit

10   where we had the Grade C relationship curve and then the Grade

11   B relationship curve, and if you look at that curve, you look

12   at Hurricane Wilma, where Hurricane Wilma occurred, FPL

13   experienced about a 1-1/2 percent pole failure rate when it was

14   exposed.  So, let's say we apply that 1-1/2 percent to the

15   million poles.  So we would expect 15,000 poles to fail if all

16   one million poles had hurricane exposure.

17             If you go up that curve on my exhibit, and you get to

18   the Grade C construction, we could have seen about a 2-1/2 to

19   3 percent pole failure rate.  So you would have said you could

20   have seen 25 to 30,000 poles had we been building to Grade C

21   construction.  So, of course, the delta -- coincidentally, too,

22   is Grade B is about 50 percent stronger than Grade C

23   construction from a strength perspective.

24             So when you look at extreme wind, which is where

25   we're looking to move towards, and you apply, you know, right

FLORIDA PUBLIC SERVICE COMMISSION

613

1   now extreme winds is about 94 percent stronger than Grade B, so

2   just applying that percentage we would look at a pole failure

3   rate of, let's say, about .75 as an example.  If you apply that

4   .75 to the one million, that would be 7,500 poles.  So just to

5   kind of recap, you have 25 to 30,000, 15,000 on the current,

6   and then 7,500.  And I think the issue that keeps coming up,

7   but FPL, you are going to add more poles back into the system,

8   extreme wind requires more intermediate poles and so forth.

9             So if you add -- you know, and I just took it as an

10   example of 10 percent.  You add 100,000 more poles back into

11   the system, so you do 1.1 million poles, apply the .75 percent,

12   that's 8,250 poles.  And my point is it is still significantly

13   lower than what we see from 15,000 to 8,250.  So, yes, it does

14   account that you would have more poles fail, right, but,

15   nowhere near, right, what you would expect from staying with

16   the same construction framing.

17        Q    Mr. Miranda, I presume you are referring to the

18   Davies Consulting graphs?

19        A    Correct.

20        Q    In those we talked about the different utilities and

21   you identified them, and no other Florida utilities, so we

22   don't know whether those pole failures were related to wind

23   only, or wind and trees, or deterioration, we just don't know?

24        A    But the correlation is pretty good, and the intent of

25   that exhibit was to show what you can expect as you move along

FLORIDA PUBLIC SERVICE COMMISSION

614

1   that curvature as the hurricanes progress through your

2   territory.

3        Q    And we don't have data comparing how Grade B or C

4   faired in relation to extreme wind construction poles?

5        A    Again --

6        Q    There is no third line on that graph?

7        A    And that's what we're hoping to build.

8        Q    Because the NESC hasn't required it, nobody has built

9   to that, is that right?

10        A    Right.  But as we move forward to the extreme wind,

11   again, our foundation by which we are moving to extreme wind

12   was based on our own experience during the 2004 and 2005

13   hurricane seasons.  We asked KEMA to assist us with that

14   analysis.  We also looked at the performance of our

15   transmission system.  They are built to extreme wind.  If you

16   look at the percentage of pole failure versus, you know, their

17   population was very low, and so those components along with the

18   Davies that you mentioned are really the foundation by which we

19   are recommending to move to extreme wind.

20        Q    Well, just to make one point on that, the

21   transmission towers and transmission poles are considerably

22   taller than 60 feet, aren't they?

23        A    Yes, they are taller than 60 feet as a general, but,

24   again, they are built to the wind profile regardless of the

25   height that they have.

FLORIDA PUBLIC SERVICE COMMISSION

615

1        Q    But the height above trees is significant, isn't it?

2        A    Again, on our forensics analysis we did identify that

3   we did have pole breakage due to trees and pole breakage to

4   debris.  We are not ignoring those two components, and that's

5   why we're doing more vegetation trimming, the pole inspection

6   that we are doing on an eight-year cycle, which is, again,

7   addressing those components that we're trying to address in our

8   proposal to address the extreme wind, the wind-only profile

9   that we saw.

10        Q    And we had also talked about the restoration times.

11   Am I correct in remembering that for certain poles that you

12   might do temporary replacements as opposed to permanent

13   replacements in order to get service back up if there was an

14   extreme wind event and an extreme wind pole came down?

15        A    First of all, again, we expect fewer outages.  And as

16   part of moving towards extreme wind, we have begun the process

17   of eliminating all Class 5, Class 6 type wood poles, moving to

18   having a much larger inventory of Class 3 and 2 wood poles, a

19   larger inventory of concrete poles.  So our goal would to be

20   replace that pole with the immediate pole that's available.  In

21   the case where we don't have, you know, the exact pole for that

22   location, let's say it's concrete and the immediate repair that

23   has to be done is a wood pole, those are temporary measures

24   that can be put in place, and that is a common practice.  We

25   have done that throughout our history in all of our storm

FLORIDA PUBLIC SERVICE COMMISSION

616

1   restoration.  And as part of our storm follow-up work, we go

2   back and sweep all areas and make sure that we put our system

3   back to its pre-storm condition.

4        Q    And does that require working on hot lines or do you

5   have to do a temporary outage to do the transfers?

6        A    It could be both.  You know, our crews are trained to

7   work on energized facilities.  We can take planned outages, you

8   know, those are common industry practices that we take.  And,

9   again, our goal would be to try to minimize that.  And what we

10   have done, again, is the inventory, and we have also put

11   restoration guidelines that we have put together so that when

12   foreign utilities come down, when contractors come down, they

13   have a guideline that says here is how to rebuild back into our

14   infrastructure.

15             MR. SEIVER:  Thank you, Mr. Miranda.  That's all I

16   have.

17             CHAIRMAN EDGAR:  Commissioner Argenziano.

18             COMMISSIONER ARGENZIANO:  Just a couple of questions.

19   If you were to -- first of all, what is the average easement

20   when it comes to trimming for power companies?

21             THE WITNESS:  You mean the clearance on the tree?

22             COMMISSIONER ARGENZIANO:  Right.

23             THE WITNESS:  It really varies by the tree type and

24   the species.

25             COMMISSIONER ARGENZIANO:  No, no.  I'm sorry, I mean

FLORIDA PUBLIC SERVICE COMMISSION

617

1   your authority, your easement authority to go in.  Is it

2   25 feet away from a power line, 30 feet?  I mean, how far away

3   from a power line can you go and cut down a tree?

4             THE WITNESS:  Typically, we have to stay within our

5   easement, which is typically about a ten-foot easement.

6             COMMISSIONER ARGENZIANO:  Ten foot.  Okay.  So that

7   brings me to my other question.  So if there's a tree 20 feet

8   away, and you can't cut that tree down, that tree is still a

9   potential problem for those lines, would that be correct?

10             THE WITNESS:  That's correct.  If that tree is

11   growing, let's say, into our lines, we will trim up to the

12   easement, but many times we will work with those customers to

13   give us the right to go back and to try to trim as far back as

14   we can.

15             COMMISSIONER ARGENZIANO:  My point being is that I

16   think even outside of your easement there could be still

17   problems from limbs and flying debris from that vegetation that

18   you can't necessarily go out and cut, is that correct?

19             THE WITNESS:  That's correct.

20             COMMISSIONER ARGENZIANO:  And a second part to that

21   just to try to put this altogether to figure out what's really

22   the best things to do.  If you were to upgrade C grade poles to

23   B and add more along the way to kind of make it more stable,

24   wouldn't that just mean more poles down or increasing to the

25   cascading effect whether it is due to trees, or wind, or

FLORIDA PUBLIC SERVICE COMMISSION

618

1   whatever?  And I'm sure there are other things that hit the

2   line, also.

3             THE WITNESS:  The way that we apply -- moving on our

4   hardening ares practices, we have a tool kit that we will

5   follow to try to minimize, one, the cost associated with it,

6   but also taking actions along the way.  So we would look at

7   putting down-guys at some locations.  In some cases we add

8   intermediate poles, as you suggest.  In other cases we just

9   replace the existing pole with just a bigger, stronger pole.

10   So, in those particular cases there would not be more poles to

11   cascade, if you will.  And as Mr. McEvoy shared with you, you

12   know, the ability of these hardened facilities to take on maybe

13   more branches in the future, we fully expect can make us more

14   resilient against some of those impacts of those branch, if you

15   will.

16             COMMISSIONER ARGENZIANO:  And just one other on the

17   vegetation, again, because I know how important it is to have

18   proper clearing and to try to keep the lines clear, but I would

19   think if your average easements are only ten feet, you would

20   really still have a problem with trees and limbs and

21   vegetation.  Because I can't imagine that a tree 15 feet away

22   doesn't cause the same type of damage in a real wind storm as

23   one ten feet away.  So is that still a potential problem for

24   lines?

25             THE WITNESS:  Yes.  As we work through our vegetation

FLORIDA PUBLIC SERVICE COMMISSION

619

1   program, one of the things that we identified, of course, is we

2   are increasing the amount of trimming that we are doing, as you

3   said, within the easement and within right-of-ways.  But one of

4   the other big efforts that we are working with our community

5   leaders is to try to look at saying how can we trim more lines.

6             And one of the things that we have found,

7   Commissioner, is customers have become much for receptive to

8   allowing us to trim following the '04 and '05 hurricane season.

9   They, too, recognize that those trees caused some of the damage

10   that we have seen.  So they are giving us more and more

11   opportunities to trim those trees, and we are asking our

12   customers to also hire professional trimmers and remove some of

13   those trees, which we are seeing more and more of, as all of

14   our communities prepare for these hurricane seasons.

15             COMMISSIONER ARGENZIANO:  And I hate to belabor it,

16   but I'm trying to get to this point.  I think, though, that

17   even if you had a swath that you took care of and you from now

18   on kept the trees and as many as far away as you can without

19   taking all the trees and the landscape away, because then you

20   would have the other outcome, many customers screaming at you

21   for taking too many trees and branches down, but I still think

22   there is still a problem with even if you kept your corridor,

23   your ten-foot easement clear, you are still going to have

24   problems from other trees and nearby trees that are just

25   outside of the easement.  That's still a potential problem.

FLORIDA PUBLIC SERVICE COMMISSION

620

1   Just because you are clearing your swath does not mean we are

2   not going to have any more branches hit the lines and so on.

3   There is a great deal to reduce that, but you are still going

4   to have potential problems.

5             THE WITNESS:  And I think we have always made it

6   clear, no system is hurricane proof.  But what we are doing is

7   taking a big step forward to making it more resilient.  And we

8   really believe by going to extreme wind it will resist a lot

9   more of those branches and debris that flies across some of

10   these power lines.

11             COMMISSIONER ARGENZIANO:  Okay.  Thank you.

12             CHAIRMAN EDGAR:  You're done with your cross, is that

13   correct?

14             MR. SEIVER:  Yes, ma'am.

15             CHAIRMAN EDGAR:  Mr. Wright.

16             MR. WRIGHT:  Thank you, Madam Chair.  I do have

17   limited cross-examination for Mr. Miranda relating just to his

18   exhibits.

19             Yesterday afternoon a question came up about the

20   strength of Hurricane Wilma, and I offered to -- and without

21   FPL's objecting I have now procured copies of the National

22   Hurricane Center's final tropical cyclone report for Hurricane

23   Wilma that was already identified yesterday as Late-filed

24   Exhibit Number 49, and I'm prepared to distribute those if

25   that's convenient for you.

FLORIDA PUBLIC SERVICE COMMISSION

621

1             CHAIRMAN EDGAR:  Okay.  Wonderful.  Thank you.

2                          CROSS EXAMINATION

3   BY MR. WRIGHT:

4        Q    Mr. Miranda, as I indicated, I have just a handful of

5   questions regarding your exhibits, Rebuttal Exhibits

6   MBM-4 through 6.  As we discussed briefly on your direct

7   examination yesterday, do I understand it that it's your

8   position or testimony that these Exhibits MBM-4 through

9   6 comprise the description of the communities affected as

10   required by the Commission's rules?

11        A    We provided the detailed engineering drawings for the

12   '07 and the outlying for the '08/'09 projects, yes.

13        Q    And these exhibits consist of maps and electrical one

14   line diagrams, aerial photographs showing where the hardening

15   projects are going?

16        A    That's correct.

17        Q    And perhaps I did not phrase my question as clearly

18   as I meant to, but you recall yesterday I asked you whether

19   there was other information that comprised the company's

20   detailed subscription of the communities affected as required

21   by the Commission's rule?

22        A    Yes, I remember your question.

23        Q    And my question for you today is are these

24   exhibits -- do you represent that these exhibits constitute

25   that detailed description?

FLORIDA PUBLIC SERVICE COMMISSION

622

1        A    Yes.  It provides the detailed description of their

2   location and the routes of those power lines.

3        Q    Thank you.  When you said you furnished or provided

4   these, did you provide them to anybody outside the parties in

5   this case?

6        A    The hardening of the CIF feeders is a list that is

7   provided by -- or we work with in conjunction with EOC

8   personnel, they identify which circuits are what they have

9   identified as critical infrastructure, so we're working off an

10   agreed-upon list of what we are going to be hardening.

11        Q    And, to the best of your knowledge, these documents

12   were furnished to the parties in electronic format on CDs in

13   this case, is that correct?

14        A    That's correct, they were.  CD and hard copy.

15        Q    And that is them down there, right, about a foot

16   tall, about 2,000 pages?

17        A    A huge stack somewhere, yes.

18             MR. WRIGHT:  Madam Chairman, I don't really want to

19   go into this, but just in the interest of clarity and for the

20   Commission's understanding, I would propose to ask Mr. Miranda

21   just a couple of questions about wind speeds and the

22   relationship between sustained wind speeds and gusts.  I can

23   document it from prior records, and from public records, and

24   from prior FPL witness testimony if necessary, but I thought if

25   I could ask two or three questions I could help you all out

FLORIDA PUBLIC SERVICE COMMISSION

623

1   with understanding what's going on here.

2             CHAIRMAN EDGAR:  Mr. Wright, proceed, and I'm sure

3   Mr. Butler will let us know if he has an objection.

4             MR. WRIGHT:  I'm sure he will.

5             MR. BUTLER:  I've got a reputation to uphold.

6        BY MR. WRIGHT:

7        Q    Mr. Miranda, do you know Doctor Richard Brown?

8        A    Yes, I do.

9        Q    And my recollection is he was effectively the

10   principal investigator in the KEMA study that you all did a

11   couple of years ago?

12        A    That's correct.

13        Q    I aver to you, and I believe this is true from the

14   record of one or both of your storm hardening dockets, that

15   Doctor Brown told me, I believe under oath, that his opinion is

16   that to relate sustained wind speeds to gusts, a factor of

17   25 percent above the sustained wind speed is a reasonable

18   estimate for gusts as it relates to category strength.  Is that

19   reasonable to you?

20        A    I think that there is some general rules or general

21   guidelines, you know, I'm not sure what the final number is;

22   but, yes, that's the general.

23        Q    That's in the ballpark?

24        A    Ballpark.

25        Q    And, again, the data in the cyclone report are

FLORIDA PUBLIC SERVICE COMMISSION

624

1   reported in knots.  Is it your understanding that one knot is

2   equal to about 1.17 miles?

3        A    Yes.

4             MR. WRIGHT:  Thank you.  I really just wanted to get

5   that out for clarity, and that's all I had.  Thank you.

6             CHAIRMAN EDGAR:  No other questions on cross.

7             Commissioners?

8             Redirect.

9             MR. BUTLER:  No redirect.

10             CHAIRMAN EDGAR:  No redirect.  Okay.  Let's look at

11   the exhibits.

12             MR. BUTLER:  I would move the admission of Exhibits

13   41, 42, 43, and 54.

14             CHAIRMAN EDGAR:  Seeing no objection, we will move

15   41, 42, 43, and 54 into the record for this docket.

16             (Exhibits 41, 42, 43, and 54 admitted.)

17             CHAIRMAN EDGAR:  Mr. Wright.

18             MR. WRIGHT:  Having moved yesterday, I reiterate my

19   motion to admit Late-filed Exhibit 49, the tropical cyclone

20   report for Hurricane Wilma.

21             MR. BUTLER:  No objection.

22             CHAIRMAN EDGAR:  Seeing no objection, Exhibit 49 will

23   be entered into the record and no longer identified as

24   late-filed.

25             MR. WRIGHT:  Thank you.

FLORIDA PUBLIC SERVICE COMMISSION

625

1             (Exhibit 49 marked for identification and admitted

2   into the record.)

3             CHAIRMAN EDGAR:  The witness is excused.  Thank you

4   very much.

5             THE WITNESS:  Thank you.

6             CHAIRMAN EDGAR:  Okay.  That is our last rebuttal

7   witness.

8             Do we have any additional matters to address while we

9   are all gathered here together?  Any additional matters from

10   staff?

11             MR. YOUNG:  Yes, Madam Chairman.  The critical dates

12   are hearing transcripts will be available on October 18th,

13   2007.  Briefs are due on November 2nd, 2007.

14             CHAIRMAN EDGAR:  Any questions or comments from the

15   parties?

16             Seeing none; Commissioners?

17             Okay.  Thank you all.  Once again, I know we all

18   thank our staff for all that they do, but particularly the

19   organizational strengths that they have shown helping us all

20   and helping me through all of this.

21             And with that, we are adjourned.

22             MR. BUTLER:  Thank you, Madam Chairman.

23             (The hearing concluded at 3:13 p.m.)

24

25

FLORIDA PUBLIC SERVICE COMMISSION

626

1   STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTERS

2   COUNTY OF LEON      )

3             WE, JANE FAUROT, RPR, and LINDA BOLES, RPR, CRR,

Official Commission Reporters, do hereby certify that the

4   foregoing proceeding was heard at the time and place herein

stated.

5

IT IS FURTHER CERTIFIED that we stenographically

6   reported the said proceedings; that the same has been

transcribed under our direct supervision; and that this

7   transcript constitutes a true transcription of our notes of

said proceedings.

8

WE FURTHER CERTIFY that we are not a relative,

9   employee, attorney or counsel of any of the parties, nor are we

a relative or employee of any of the parties' attorneys or

10   counsel connected with the action, nor are we financially

interested in the action.

11

12              DATED THIS _______ DAY OF OCTOBER, 2007.

13

14   ____________________________  ____________________________

JANE FAUROT, RPR               LINDA BOLES, RPR, CRR

15   FPSC Official Commission       FPSC Official Commission

Reporter                           Reporter

16   (850) 413-6732                      (850) 413-6734

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION