1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. UNDOCKETED

3

In the Matter of

4

INTERCONNECTION OF SMALL PHOTOVOLTAIC

5   SYSTEMS; NET-METERING OF CUSTOMER-OWNED

RENEWABLE RESOURCES AND INTERCONNECTION

6   OF CUSTOMER-OWNED RENEWABLE RESOURCES

/

7

8

9

10

11             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

12               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY

13

14                              VOLUME 1

15                         Page 1 through 100

16

PROCEEDINGS:        STAFF WORKSHOP

17

DATE:               Monday, October 15, 2007

18

TIME:               Commenced at 9:30 a.m.

19

PLACE:              Betty Easley Conference Center

20                       Room 148

4075 Esplanade Way

21                       Tallahassee, Florida

22   REPORTED BY:        LINDA BOLES, CRR, RPR

Official FPSC Reporters

23                       (850) 413-6734

24

25

FLORIDA PUBLIC SERVICE COMMISSION

2

1   APPEARANCES:

2             GORDON HANSEN, Homeowner.

3             BILL TOTH, All Source Energy.

4             SUSAN CLARK, FPL, Gulf, TECO and Progress Energy.

5             BILL ASHBURN, TECO.

6             BILL POPE.

7             JASON KEYES, Interstate Renewable Energy Council.

8             DELL JONES, Regenesis Power.

9             CHARLES GILLIS, Electricity Link.

10             RICH ZAMBO, Renewable generators.

11             BOB REEDY, Florida Solar Energy Center.

12             LEON JACOBS, Southern Alliance for Clean Energy and

Natural Resources Defense Council.

13

JOHN HOLBROOK, Elliott Energy Systems.

14

GWEN ROSE, Vote Solar.

15

YANN BRANDT, Advanced Green Technologies.

16

MARK FUTRELL, BOB TRAPP, ROSANNE GERVASI, CAYCE

17             HINTON, KAREN WEBB, CRAIG HEWITT and BOB GRANIERE,

Florida Public Service Commission.

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1                         P R O C E E D I N G S

2             MR. FUTRELL:  Good morning.  If everybody could take

3   their seats, we'll get the workshop started.  I'd like to

4   welcome everyone to our final staff workshop on interconnection

5   and net metering rules.  And before we get started, I'd like to

6   ask Ms. Gervasi to read the notice.

7             MS. GERVASI:  Pursuant to notice, this time and place

8   has been set for an undocketed rule development workshop in

9   regards to interconnection of small photovoltaic systems, net

10   metering of customer-owned renewable resources and

11   interconnection of customer-owned renewable resources.

12             MR. FUTRELL:  Thank you.  Just some housekeeping

13   matters before we get started.  There are sign-up sheets in the

14   back on either side; if you would make sure you sign that

15   before you leave today so I'll have a record of your

16   attendance.

17             Also, on either side here we've got handouts, we have

18   the agenda, the draft rule that was distributed on October 5th,

19   as well as a letter that we received that Mr. Steven Dan

20   requested be made available to the parties.  He is unable to

21   attend, and we told him we would include that in the record and

22   also make it available to the, to the folks here today.

23             Also, the workshop is being transcribed.  So please,

24   if you have comments to make today, please come to a microphone

25   and identify yourself for the court reporter before you speak.

FLORIDA PUBLIC SERVICE COMMISSION

4

1   That will help her tremendously.

2             As mentioned, staff distributed revised draft rules

3   on October 5th.  These revisions were based on comments we

4   received at the workshop and in your written comments that we

5   received.  We're going to walk you through this morning a

6   summary of the changes that were made to the rule, and then

7   we're going to go through the rule line by line taking

8   questions and comments.

9             Now as we discuss the draft, it will be very helpful

10   to staff if you have changes you want to see made to the rule,

11   that you make those in explicit rule language.  That will be

12   most helpful to us.

13             Now looking ahead, the transcript for this workshop

14   is due October 19th, and we're going to request that comments

15   be made to us by October 26th, Friday.  Our schedule going

16   forward will be that we will revise the rule as needed based

17   upon the comments today and in the written comments, and we

18   will submit the revised rule to the folks in legal,

19   Ms. Gervasi, on October 31st.

20             Now following that, we are going to anticipate going

21   to an Agenda Conference, taking the rule to the Commissioners

22   on December 18th where they will decide whether to propose a

23   rule.  So, again, because of the compressed time schedule we're

24   under we really need specific rule language changes that you,

25   that you want to see made and preferably today.

FLORIDA PUBLIC SERVICE COMMISSION

5

1             Now prior to going to agenda, the Commissioners

2   proposing a rule, we have to perform what's called a statement

3   of estimated regulatory cost or a SERC.  And Mr. Craig Hewitt

4   is in charge of performing that analysis, and Craig is going to

5   give you a summary of what will be involved in that.  Craig.

6             MR. HEWITT:  Basically after we get the final draft

7   rule, we send that out with the data requests, and we like a

8   real fast turnaround on that, if we can get it, on the cost and

9   benefits of the rule.  Thank you.

10             MR. FUTRELL:  Thank you, Craig.

11             Now I want to ask Mr. Hinton and Ms. Webb to

12   summarize the changes in the draft.  And then after they go

13   through their summary, we'll start going through the rule line

14   by line.  So Cayce.

15             MR. HINTON:  Thanks.  For the record, it's Cayce

16   Hinton, Commission staff.

17             In a broad review, let me first point out that the

18   provisions addressing interconnection are sections or

19   subsections (1) through (7).  And since the last workshop some

20   language has been moved to make the rule more consistent and

21   read a little better.  Specifically, the language addressing

22   certification of customer equipment has been moved to

23   subsection (4), which addresses customer qualifications.  And

24   all language addressing manual disconnect switches has been

25   moved into a new subsection (6) addressing just that subject.

FLORIDA PUBLIC SERVICE COMMISSION

6

1             In addition, language addressing indemnification has

2   been moved up between the customer maintenance and liability

3   insurance requirements in subsection (5).  And, finally, we've

4   also added a new subsection (9) addressing renewable energy

5   certificates.

6             Now to review a little bit more the more specific

7   substantive changes made since the last workshop.  In

8   subsection (1) we have changed the application of this rule

9   from all electric utilities to just the IOUs.  Staff agrees

10   that there is some question about the scope of the Commission's

11   jurisdiction over munis and co-ops in these interconnection net

12   metering requirements.  So staff proposes to change the

13   requirement for munis and co-ops under this rule to just

14   reporting under subsection (10).  We would expect the munis and

15   co-ops to develop interconnection net metering standards which

16   parallel that of the IOUs.  And to the extent that there are

17   significant differences in the policies that they adopt, staff

18   intends to monitor these differences and take action on a

19   case-by-case basis as necessary.

20             In subsection (3) we have changed the requirement to

21   systems up to 2 megawatts.  There was quite a bit of comment

22   about increasing to this level in the last workshop and

23   postworkshop comments.  And after a look at it, staff felt that

24   going up to 2 megawatts would actually make this rule more

25   consistent with the fast-track process contained in FERC's

FLORIDA PUBLIC SERVICE COMMISSION

7

1   small interconnection rule.  Staff has also included a new

2   standard, IEEE 1547.1, and revised UL 1741 to incorporate the

3   latest revision of that rule.

4             And in subsection (4) staff has added qualifying

5   language that the customer system not exceed 90 percent of the

6   utility's distribution feed rating, which was suggested by, I

7   believe it was FLSEIA as a way to address safety and group

8   performance standards.

9             Staff also revised the tiers to better capture

10   residential systems in Tier 1, and to expand Tier 3, as I said,

11   up to 2 megawatts.  Again, language regarding certification of

12   equipment was moved to subsection (4), and staff added an

13   explicit requirement for customer equipment to include a

14   utility-interactive device that addresses islanding.

15             Staff also included language to address the fact that

16   after a Tier 3 interconnection study, additional equipment and

17   design may actually be necessary.

18             In subsection (5), we have dropped the liability

19   insurance requirement for Tier 1; again, focusing on that on

20   residential.  And we have increased the requirement for

21   Tier 3 to $1 million and for Tier 3 -- for Tier 2 to $1 million

22   and Tier 3 up to $2 million.  Staff felt these levels better

23   matched the liability coverages that businesses would generally

24   carry.

25             Utilities are still encouraged to recommend to each

FLORIDA PUBLIC SERVICE COMMISSION

8

1   customer that they evaluate and carry sufficient liability

2   insurance.  And as stated earlier, the indemnification language

3   was moved to this section and clarified a bit.

4             (6) is the new section addressing manual disconnect

5   switches where we basically took all the existing language and

6   combined it into this section.  And in subsection (7) staff has

7   added language to better clarify and fill holes in the

8   application and agreement execution process.  Most notable is a

9   new requirement to maintain a downloadable copy of the

10   application on the IOU's website and an extension to 90 days to

11   execute the interconnection agreement in this situation where a

12   Tier 3 interconnection study is necessary.

13             Subsection (8) is net metering.  I'll hand that off

14   to Karen.

15             MS. WEBB:  Karen Webb.  Since the last revision was

16   distributed there were two notable changes in subsection (8).

17             First, if you look at Pages, Page 8, Lines 18 through

18   20, a sentence was added to clarify that a net metering

19   customer will pay the applicable customer charge or demand

20   charge for each billing cycle regardless of the level generated

21   and consumed.

22             Secondly, there was a change in the net metering

23   section since the last draft on the excess generation payment

24   on Page 8, Lines 24 through 25, and Page 9, Lines 6 through 7.

25   The language now reflects that in the event of excess energy

FLORIDA PUBLIC SERVICE COMMISSION

9

1   generation at the end of the defined 12-month period, the

2   customer would be paid at an average annual rate based on the

3   investor-owned utility's COG-1 as-available tariff, which

4   essentially amounts to that utility's avoided energy rate.

5             Cayce.

6             MR. HINTON:  And the new subsection (9), as stated

7   earlier, states that the customers retain ownership of

8   renewable energy certificates.  Although staff feels that the

9   customer should pay for any metering required to certify their

10   recs.  We've tried to leave room for negotiation over costs and

11   purchases between the IOU and the customer.

12             For example, at the recent workshop on RPS somebody

13   mentioned that in some states IOUs will do an advanced purchase

14   of all recs.  And we want to leave room for negotiation; if an

15   IOU wanted to do something like that, they could perhaps cover

16   the cost of the meter, what have you.

17             MS. WEBB:  Under subsection (10), reporting

18   requirements, this area was modified to be applicable to all

19   electric utilities.  The Commission has authority under Section

20   366.04(2)(f), Florida Statutes, to prescribe and require

21   electric utilities to file periodic reports and other data to

22   exercise its jurisdiction.  We believe it necessary to have a

23   statewide information base on customer renewable generation.

24             Under subsection (11) on dispute resolution, this

25   area was simplified to make reference to the Commission's

FLORIDA PUBLIC SERVICE COMMISSION

10

1   complaint rule and its rule on initiation of formal proceedings

2   as options available to customers to resolve disputes.

3             MR. FUTRELL:  Thank you.

4             Now if everyone has a copy of the rule, we'd like to

5   start going through it line by line again and talk about the

6   changes, give you an opportunity to comment on each section.

7             Looking at the first, we've changed the title to

8   better clarify the title there.  Rosanne, do you have any

9   comment about that?

10             MS. GERVASI:  The change to the title is just to

11   reflect that we have one main subject that is the subject of,

12   of this rule which has to do with customer-owned renewable

13   generation.  And, you know, net metering and interconnection

14   both address that single subject.

15             MR. FUTRELL:  Okay.  Section (1) is the application

16   and scope.  And as Cayce mentioned earlier, we've made a change

17   there to have the rule be applicable only to the investor-owned

18   electric utilities.  Any comments on this section?

19             MS. CLARK:  Well, Mark, I just wanted -- as I

20   understood, you are not at this point planning on doing a

21   separate rule applicable to munis and co-ops; is that right?

22             MR. FUTRELL:  That's correct.

23             MS. CLARK:  Okay.

24             MR. FUTRELL:  Okay.  Moving on in the definitions.

25   We have changed specify on (2)(b) about gross power rating,

FLORIDA PUBLIC SERVICE COMMISSION

11

1   manufacturer's AC nameplate.  We've also clarified on the

2   definition of net metering.  We've spelled out in renewable

3   energy the items that are listed in 377.803.  Any comments in

4   the definitions?

5             MS. CLARK:  Mark, we had a suggestion on (2)(b) that

6   we hope will clarify it a little bit.  Inserting in the

7   language you have this would be -- let me look at your rule.

8   Yeah.  On Line 16 after the word "generation," add "system that

9   will be," leave "interconnected" in, and then add "and will

10   operate in parallel with."

11             So it would read, "'Gross power rating' means the

12   total manufacturer's AC nameplate generating capacity of

13   on-site customer-owned renewable generation system that will be

14   interconnected and will operate in parallel with the

15   investor-owned utility distribution system."

16             MR. TRAPP:  Could you do that once more, Susan?

17             MS. CLARK:  Read the whole thing?

18             MR. TRAPP:  If you would.

19             MS. CLARK:  "'Gross power rating' means the total

20   manufacturer's AC nameplate generating capacity of on-site

21   customer-owned renewable generation system that will be

22   interconnected and will operate in parallel with the

23   investor-owned utility distribution facilities."

24             MR. FUTRELL:  Anyone have any comments about that

25   suggested language?

FLORIDA PUBLIC SERVICE COMMISSION

12

1             MR. GRANIERE:  I have one.

2             MR. FUTRELL:  Bob.

3             MR. GRANIERE:  Why is it important?  I mean, it's

4   just a comment.  You didn't tell anybody why you needed it.

5             MS. CLARK:  We believe it provides -- it's more clear

6   that it's the system that will operate in parallel that we're

7   concerned with.

8             MR. GRANIERE:  So that means that systems that don't

9   operate in parallel wouldn't be eligible?

10             MS. CLARK:  Well, no.  We're trying to define what

11   gross power rating is.  This is only a definition, Bob.

12             MR. GRANIERE:  Okay.

13             MR. FUTRELL:  What did you see lacking in the

14   existing definition?  What, what did you see that was, that was

15   of concern?

16             MS. CLARK:  I think that our concern was just that it

17   be -- we're concerned with what is going to be operating in

18   parallel with the system is what you were concerned about as

19   far as the interconnection and the gross power rating of that.

20   I can get more clarification from you -- for you, if you need

21   that.

22             MR. TRAPP:  Could I ask a clarifying question?

23             MS. CLARK:  Yeah.  Let me get Bill Pope up here who

24   has been working on this.

25             MR. TRAPP:  Let me just ask a clarifying question.

FLORIDA PUBLIC SERVICE COMMISSION

13

1   Is it not important that these systems, if they're going to be

2   interconnected with the electric utility grid, operate in sync

3   and together and that they not be disparate (phonetic) in their

4   operation?

5             MR. POPE:  That's correct.  It's to make sure that we

6   are covering ones that are operating in parallel connected with

7   us and operating at the same time.  Just for clarification.

8   It's -- the language as it was proposed was okay.  We just

9   wanted to go the one step further.  Because we've done this

10   many times, and all the times we do it we usually talk about

11   operating in parallel with, and that's the only reason why we

12   really want to put it in there.

13             MR. TRAPP:  Yeah.  Some of us believe that the word

14   "interconnected" incorporates that concept.  But as I

15   understand it, you just want to make a clarification that

16   that's included.

17             MR. POPE:  Correct.

18             MR. FUTRELL:  Bill.

19             MR. TOTH:  Yeah.  I want to go back to --

20             MR. FUTRELL:  Would you identify yourself, please?

21             MR. TOTH:  Okay.  Bill Toth with All Source Energy

22   from Bonita Springs, Florida.

23             I want to the go back to (2)(a) where "Customer-owned

24   renewable generation means an electric generation system

25   located on a customer's premises that is primarily intended to

FLORIDA PUBLIC SERVICE COMMISSION

14

1   offset part or all of the customer's electricity requirements

2   with renewable energy."

3             The question I have regarding this and throughout the

4   section is if I own a building or a customer owns a building

5   but they are not the ones actually purchasing the system, you

6   have a group of investors coming in that are going to actually

7   purchase the system, put it on a third-party's roof and lease

8   that energy back to them, is that allowable under this rule?

9   And I had asked that comment in my, or asked that question in

10   my comments that I had submitted with regards to the

11   August 30th hearing.

12             MR. TRAPP:  Well, I think what you've asked is a

13   legal question, so I would defer to legal.  But my

14   understanding is that there's a body of history at this

15   Commission that revolves around the PW Ventures case and then

16   subsequent cases that tried to define situations where a

17   third-party sale existed.

18             So my comment would be that you would have to

19   structure your lease arrangement in such a situation to conform

20   to those declaratory statements that the Commission has

21   previously entered into, which basically, as I understand it,

22   revolve or come down to the customer of record has to

23   demonstrate the risk of ownership associated with that

24   facility.  But, again, I'd defer to legal on this point.

25             MS. GERVASI:  I really don't have anything else to

FLORIDA PUBLIC SERVICE COMMISSION

15

1   add to that.  Although, you know, if you want to see copies of

2   the cases or the declaratory statements, we can provide those.

3             MR. TOTH:  Okay.  But I guess --

4             MR. FUTRELL:  I think there's nothing preventing,

5   there's nothing preventing you as long as there's some, it

6   conforms to some of these precedents that we've seen.

7             MR. TOTH:  And the reason I asked that is there are

8   many cases where the building owner may not have the tax

9   liabilities to take advantage of the tax incentives and,

10   therefore, a group of investors that have the tax liability

11   will come in, basically purchase and build the solar system on

12   a customer's roof and do a leaseback option that normally runs

13   around seven years before they purchase the system back because

14   of IRS rules.  Is that --

15             MR. TRAPP:  And, again, my experience has been that

16   those types of arrangements can be worked out such that they

17   comply with the law that exists currently in Florida.  But,

18   again, we cannot change the laws of Florida by doing rulemaking

19   at the Commission.  So I would advise you to, you know, have

20   your people study very carefully the past precedences that have

21   been ruled on by this Commission in structuring your lease

22   arrangement.

23             Generally speaking, just off the top of my head, if

24   it's a cents-per-kilowatt-hour type of billing arrangement,

25   that tends to run you afoul because it starts looking like a

FLORIDA PUBLIC SERVICE COMMISSION

16

1   retail sale and may get you involved with that PW Ventures

2   ruling.  If, however, you're just doing some creative financing

3   around tax credits or something like that, you have a fixed

4   payment type of arrangement, those, I believe, have generally

5   been ruled as acceptable under, under the current statutes that

6   we have.

7             I do know that this is a subject of interest with the

8   Florida Energy Commission, the Action Team that the Governor

9   has put together, and there may very well be some statutory

10   changes coming forward in this area.  But, again, I repeat,

11   this Commission can't change the law.  I think we are

12   sympathetic to creative financing, service arrangements that

13   can be established, and unfortunately there are some hoops and

14   loops that one has to go through to get there at present.

15             So, again, our intent is not to discourage that type

16   of activity, but to, to allow it to take place, you know,

17   within, within the four corners of the current statutes.

18             MR. TOTH:  That answers my question.

19             MR. HINTON:  Okay.  I was just going to clarify.  You

20   may not need it now that he answered your question.

21             PW Ventures involved somebody coming in and selling

22   the electricity to a third party.  And so if, if -- and, you

23   know, the definition of a public utility, does that make you a

24   public utility?  Am I correct in that?

25             So if you had the investors come in, build the system

FLORIDA PUBLIC SERVICE COMMISSION

17

1   on this, the building owner's property and then sell the

2   electricity to the building owner, as Bob said, that's probably

3   going to run you afoul of PW Ventures if there's some way that

4   the customer was involved in leasing the equipment or whatever,

5   you know.  That's what you'd have to get around is the fact of

6   are they selling the electricity that's generated in my

7   nonlegal opinion.

8             MR. KEYES:  Hi.  Jason Keyes from the Interstate

9   Renewable Energy Council.  And first, on PW Ventures, I just

10   wanted to clarify one thing that happens in that case.

11   Essentially it's the Supreme Court of Florida saying, boy, this

12   is about energy.  We defer to the PSC on this sort of thing.

13   And agencies are allowed to change their minds with good

14   reason.  And so you could look -- the Commission could look at

15   this and say, yes, PW Ventures dealt with a very large

16   cogeneration facility, but now we're talking about small

17   renewables.  We're going to carve out a separate rule for this.

18   And in all likelihood, if the Supreme Court were to go back and

19   look at it, they would say, yes, we defer to the PSC on this

20   too.  If the PSC wants to make a special rule for renewables

21   that you can have third-party sales for these small rooftop

22   systems, then so be it.  So I don't think the PW Ventures

23   absolutely, absolutely rules out these systems.  I would think

24   that if the Commission wanted to, they could change their own

25   rules.

FLORIDA PUBLIC SERVICE COMMISSION

18

1             And to add to the comments previously made, it's not

2   just an alternative to have the third-party ownership.  It's

3   the primary driver in large solar systems in other states now.

4   The third-party ownership model is the standard.  If you own a

5   grocery store, you know how to sell groceries.  You don't know

6   anything about solar energy systems.  And so the thought of

7   going and learning everything about it and installing your own

8   is too complex and too time-consuming.  You don't want to deal

9   with it.  But if somebody comes to you and says, I'll put it on

10   your rooftop and I'll own it, you don't have to do anything,

11   it's just a little cheaper electricity to you, then it's a lot

12   easier.  So, so that seems to be the primary way that solar is

13   getting installed now.  If you want to see solar happening in

14   Florida, then you, you should find a way to make those large

15   systems happen with third-party ownership.

16             And the other thing is the reason that that model

17   works so well is that the third-party owners, as you mentioned,

18   are owned by somebody that has a tax appetite.  And so

19   essentially by ruling out that, that method of ownership,

20   you're, you're telling Floridians that they can't take the

21   federal tax credit that everybody else gets.  So it's a great

22   tax credit and it's available to everybody in the country.  And

23   with the rule as it stands now, all those systems won't go into

24   place and you won't get those tax credits.

25             So actually that would be it.  I'll take any

FLORIDA PUBLIC SERVICE COMMISSION

19

1   questions.

2             MR. FUTRELL:  Dell.

3             MR. JONES:  Yeah.  Dell Jones with Regenesis Power.

4   I just want to say as a large project, renewable project

5   developer, you know, I couldn't in good conscience recommend to

6   our company to do third-party financing under a sort of

7   regulatory risk that we went ahead and did this and, as you

8   stated, do this workaround, only to have the possibility of,

9   you know, being sort of called on the carpet as being a

10   regulated utility.  And the whole project, you know, can really

11   unravel at that point.

12             So, you know, when these, when it comes to these

13   third-party PPA models, I mean, non-profits, schools,

14   universities, governments, anybody that does not have a federal

15   tax credit appetite, you're ruling out me installing the system

16   like I installed out here.  I couldn't do that basically under

17   a purchase agreement probably because the Department of

18   Management Services doesn't have a budget nor a tax appetite.

19   So logically as a commercial developer I can implement that

20   project at a lower cost because I can avail myself of the tax

21   credits versus a municipal utility or college or university

22   doesn't have the cost appetite.  Their cost to implement would

23   be higher.  So like Jason had said, throughout the rest of the

24   country these third-party PPA models really do make a lot of

25   sense.  And, again, you can sort of box it into the, the, you

FLORIDA PUBLIC SERVICE COMMISSION

20

1   know, renewable energy systems installed behind the meter that

2   do not in essence start looking like a merchant plant.  And,

3   you know, I think there is a workaround.  And certainly from

4   our company's perspective it's quintessential for us to come in

5   and have that defined and not perceived as a regulatory risk

6   that we would be shut down.

7             MR. HINTON:  Could you guys propose some language

8   that would perhaps go to that end, recognizing, you know, the

9   problem with PW Ventures in postworkshop comments?

10             MR. KEYES:  We'd be happy to.

11             MR. TRAPP:  Let me take that one step further, Cayce.

12   We're under a time crunch here.  First of all, let me make an

13   observation that the Commission does have a mechanism called a

14   declaratory statement that your clients can take advantage of

15   at any time to clarify whether or not a business arrangement

16   that you put together would meet mustard with respect to

17   Florida law.  And that's a process that I'll refer you to

18   Rosanne to get some more details on.

19             But let me turn first to the investor-owned utilities

20   and ask Ms. Clark:  Ms. Clark, would you challenge this rule if

21   it had a provision like they're talking about?

22             MS. CLARK:  Well, you know, I don't agree with the

23   statement that the Commission can change their opinion on what

24   the law is.  In fact, in this case the supreme court has said

25   what the law is.  The sell of electricity to another person

FLORIDA PUBLIC SERVICE COMMISSION

21

1   makes you a public utility subject to the regulation by the

2   PSC.  You know, where do you draw the line?  At what point do

3   you think the sale of electricity in these circumstances are

4   okay but in the next circumstances it's not?

5             The position would be, I would surmise, that

6   PW Ventures is the status of the law and that there is no

7   authority currently for the Commission to allow that kind of

8   arrangement where there is a sale of retail electricity to a

9   customer by an entity other than a public utility.

10             MR. TRAPP:  Could I turn your question back around to

11   you and challenge you with the question:  Under what

12   circumstances could we have language that would permit

13   third-party financing of these small on-site solar facilities?

14   And having turned the question back on you, can I challenge you

15   to get with the parties that have just spoke over the next

16   break perhaps or even over lunch and see if y'all can today

17   come up with some crafted language that you'll put on the table

18   this afternoon that we can study so that we don't have to wait

19   for posthearing comments and the backwards and the forward that

20   goes on with that?

21             MS. CLARK:  Bob, I think that is, that has very broad

22   policy implications that I would be uncomfortable pledging to

23   you that we could resolve today.  And it seems to me that the

24   people who may be here for the utilities would likewise have to

25   be able to get in touch with folks within their individual

FLORIDA PUBLIC SERVICE COMMISSION

22

1   utilities to discuss the, the regulatory policy revenue

2   implications, tax implications of those kinds of suggestions.

3             I think earlier in these, in this workshop you had

4   suggested that maybe the appropriate place for this is to

5   discuss in the Legislature is this an appropriate public policy

6   shift.

7             MR. TRAPP:  Well, again, I think we're trying to

8   determine if there's any language that would meet the challenge

9   of PW Ventures in the ensuing cases that came after it.  And to

10   the extent that the solar representatives here have some

11   language in mind, at least share it, if you would, with

12   Ms. Clark and let her share it with her clients.  And, you

13   know, hope springs eternal.  Perhaps something will come of it

14   and we can, we can get past this issue today and not have to

15   litigate it further at the agenda.  Again, hope springs

16   eternal.

17             MS. CLARK:  May I excuse myself for a minute?  I

18   forgot to identify myself.  My name is Susan Clark.  I'm here

19   with -- my law firm is Rady, Thomas, Yon & Clark, and I'm here

20   today speaking on behalf of Florida Power & Light, Gulf Power,

21   Tampa Electric Company and Progress Energy.  I apologize for

22   not introducing myself first.

23             MR. TRAPP:  I think I erred as well.  I'm Bob Trapp

24   with staff.

25             MR. GILLIS:  My name is Charles Gillis.  And, Bob, we

FLORIDA PUBLIC SERVICE COMMISSION

23

1   spoke last week with Cindy Miller on the phone on this very

2   subject.  I had a different application in mind.  I was the one

3   who submitted the suggestion that we allow customers to have

4   net meter renewable generation at a site other than their own

5   premises.  And this was one of the two primary objections that

6   was put up is the PW Ventures case.  And I'd like to echo what

7   Jason said is that if you look at the PW Ventures case, before

8   they get into the substance of the case, what's the very first

9   thing that they say is, look, regardless of what you guys are

10   arguing about, we're probably going to defer to the PSC.

11             And listen to the language they use when they, when

12   they say that.  They say, "At the outset we note the

13   well-established principle that the contemporaneous

14   construction, the contemporaneous construction of a statute by

15   an agency charged with its enforcement and interpretation is

16   entitled to great weight.  The courts will not depart from the

17   construction unless it is clearly unauthorized or erroneous."

18             So this is 1988.  Twenty years have passed.  We've

19   had a change in public policy, technology has changed, the

20   Governor has issued a mandate.  And is the Commission going to

21   tie its hands to this old ruling or reinterpret under

22   contemporaneous circumstances what these different statutes

23   mean and how they're applied today?  I think the courts would

24   back you up.  And, in fact, that's what you're doing under the

25   net metering rule as it's envisioned.

FLORIDA PUBLIC SERVICE COMMISSION

24

1             The -- as -- if this rule goes through as it is

2   written now, you are violating the PW Ventures rule.  You're a

3   violating monopoly, you're creating unnecessary duplication of

4   generation, you're diverting revenue, and those things fly in

5   the face of PW Ventures.  But it's not going to stop the

6   contemporaneous construction of the statutes for the PSC.  So I

7   would, I would take a measured approach to this and offer to

8   find some neutral language that would accommodate it.

9             MS. CLARK:  Bob, this is Susan Clark.  The only thing

10   I would add is I think you pointed out, Bob, that since the PW

11   Ventures, and that was addressing essentially cogeneration and

12   the idea of inspiring more cogeneration if you could allow

13   these sorts of arrangements, but there were very many, I

14   think -- well, a number of successful arrangements that

15   complied with the PW Ventures that went forward in a lease type

16   arrangement.  So I think that those possibilities still exist

17   out there.

18             MR. HINTON:  Susan, do you know what was the factor

19   that allowed those arrangements to go forward?  Was it a matter

20   of leasing the facility versus purchasing electricity?  Was

21   that the distinction, or do you remember?

22             MS. CLARK:  I don't recall.  I mean, the lease was a

23   factor in it.  And if it looked more like a lease and the

24   payments were not tied to amount of electricity generated, I

25   think those factors sort of added up to concluding that it was

FLORIDA PUBLIC SERVICE COMMISSION

25

1   more of a lease type arrangement rather than the sale, the

2   retail sale of electricity.

3             MR. FUTRELL:  Rich.

4             MR. ZAMBO:  Rich Zambo appearing on behalf of

5   renewable, renewable generators.

6             I was familiar with some of those cases.  I just

7   wanted to share some of my thoughts with you.  With respect to

8   the lease arrangements, I think the cases in which the

9   Commission allowed those sales to proceed were based on two

10   things.  One was that the arrangement was, I think the word was

11   tantamount to ownership by the, by the generator or the

12   operator of the generator.  And the other was where there was a

13   unity of interest where the structure was such that although it

14   wasn't a straight lease the Commission couldn't envision a

15   situation where an investor would want to put themselves in the

16   position of the investor in the particular scenario that we

17   presented.  And that pretty much sums those up.

18             But I also wanted to say that as a, as a counselor

19   advising clients who came to me at that time asking me what

20   would happen to us if we did an arrangement that the Commission

21   deemed to be a retail sale, there were two things that I would

22   tell them, actually three things.

23             One is at that time if you were a, deemed to be a

24   utility, you couldn't be a QF.  That law has changed now, so

25   that's no longer an issue.

FLORIDA PUBLIC SERVICE COMMISSION

26

1             Another concern was that you could be, you would be

2   regulated as a utility and you, the Commission, would set their

3   rates.  And in some cases they might not have a problem with

4   that either as long as it was, you know, a cost-based

5   structure.  But the biggest issue was or biggest concern was

6   that if they proceeded to do that and the utility then

7   initiated a territorial dispute, that could throw everything

8   into upheaval for months and maybe years and financing would

9   fall apart and the project just couldn't stand that kind of

10   uncertainty.

11             So it seems to me like what PW Ventures said was if

12   you did one of these deals, you become regulated by the

13   utility.  Well, maybe the Commission -- or as a utility by the

14   Commission.  So it seems to me like the Commission could adopt

15   rules or policies that deal with these kind of arrangements.

16             And, for example, the unnecessary duplication of

17   facilities, we've got a policy in the state now that we want

18   renewable facilities.  So you're not necessarily duplicating

19   facilities.  You're encouraging facilities that the state has

20   declared a need for.  So I do think that in light of, even with

21   PW Ventures standing out there, the Commission has an awful lot

22   of leeway to implement the intent of the Legislature and the

23   intent of the Governor as expressed in his legislative, or in

24   his executive order.  You could regulate these facilities.  You

25   could set their rates, you know, based on the kind of rate they

FLORIDA PUBLIC SERVICE COMMISSION

27

1   need to survive and to encourage them.  And you could overcome

2   the unnecessary duplication, I think, by making the argument

3   that we have a, we have a dearth of renewable energy in the

4   state.  The utilities have told you over and over again that

5   we're unlikely to ever be able to reach 20 percent, so why

6   should we do things to discourage development of renewable?

7   And I think you could easily circumvent PW Ventures.

8             Now having said that, I also wanted to point -- I

9   came in a little bit late, so I'm not sure what the standard or

10   what the procedures are.  But I wanted to make a comment about

11   the proposed net metering rule.  Is this the appropriate --

12             MR. FUTRELL:  We're going to kind of go through the

13   rule line by line.  We're in the definition section now.  We

14   will get there.  So if you wouldn't mind holding your comments

15   until we get to the net metering, that would be great.

16             MR. ZAMBO:  Okay.  That'll be fine.  I certainly

17   appreciate it.

18             MR. FUTRELL:  Bob Reedy.

19             MR. REEDY:  Bob Reedy with the Florida Solar Energy

20   Center.

21             Even though this is not about the RPS, this is about

22   net metering.  They do link.  And it speaks to the last point

23   just raised that this is not a duplication.  This is something

24   we don't have enough of.  This is renewable generation, it's

25   not generation.  The key word is renewable.

FLORIDA PUBLIC SERVICE COMMISSION

28

1             In our analysis of the amount of, in particular solar

2   generation available in the state that we've been asked to do

3   and we've been given those numbers in various proceedings, we

4   have two stages.  The first stage is if nothing changes, if the

5   rules are all the same today and that's where we come up with

6   the 2 percent of net energy for load for PV and 2 percent for

7   solar thermal, but then we go beyond that and we've been asked

8   how much is there available in the State of Florida without

9   really doing anything dramatic and we come up with nearly

10   10 percent, well, nearly 8 percent with PV, and that is using

11   available rooftops.

12             And the key available rooftops that we're looking at

13   beyond new homes, certainly that was important, but beyond the

14   new homes, was commercial rooftops, and particularly schools

15   and large stores and shopping malls and this sort of thing.

16   And so we really do, we really are counting on something that

17   we don't have enough of, which is rooftop.  And it seems to me

18   that if we, if we follow this logic that the only one who can

19   generate is the electric utility or the owner of that system,

20   then we've, we've done something that we didn't intend to do,

21   which is basically say that if I own a large amount of rooftop

22   as Wal-Mart or someone, that the value of my roof has been

23   diminished in that the only one I can lease it to is the

24   utility, and I think I would be, be pretty upset about that.

25             And then again, as was mentioned, if I'm a school

FLORIDA PUBLIC SERVICE COMMISSION

29

1   system, capital is hard to come by.  I would really like

2   someone to come in and cover all those schools, those nice

3   flat, open rooftops with PV panels.  So these, these things are

4   going to be hard to separate and just say, well, they don't,

5   they don't matter.  They really are going to keep coming back

6   at us if we don't deal with it.  And I'd just leave it at that

7   for now.

8             MR. HANSEN:  Gordon Hansen from Chuliota, Florida,

9   homeowner.

10             I have a question on the definition of (a) where you

11   say that it's primarily intended to offset the customer's

12   electric requirements for renewable.  Putting this in the

13   definition to me is a limiting factor, an additional limiting

14   factor.  You already reduced the amount that the homeowner can

15   generate from 25kW to 10, which I like that idea, but it

16   further isolates the homeowner from the other tiers where you

17   can generate for a profit.  And this here is a limiting factor.

18   Why, why even put that in?  You've already limited it to 10kW.

19   And this gives ammunition to the power companies to say to you

20   that, look, you're supposed to be only generating enough to

21   offset your electric bill.  If you try to generate in excess to

22   pay for this thing, you can be limited on the amount of money

23   that you can get back on this.

24             So that was my suggestion is that it just, that part

25   of the sentence where it says "offset part of the customer's"

FLORIDA PUBLIC SERVICE COMMISSION

30

1   just be eliminated in the definition.  And using the word

2   "offset" and "excess" throughout this document is a way to

3   separate the two.

4             And as a homeowner speaking for maybe millions of

5   homeowners, we need to find out a way that we can pay for this

6   thing other than waiting for 20, 30, 40 years.  Because if we

7   cannot get retail price for what we generate, then it's not

8   worth it.  You'll find out it takes about 70 years to pay back

9   for a system based only on offset.  And then in addition to

10   that, if you're required to keep it under the offset amount or

11   to the offset amount, then you have to try to figure out where

12   you can generate electricity that will offset but not give you

13   too much excess.  In other words, should I get a $30,000 system

14   or a $35,000 system or a $40,000?  Because if I generate

15   excess, basically with the payback scheme COG-1 I'm going to

16   get only 40 percent back of whatever I generate in the excess

17   area.

18             MR. HINTON:  I just wanted to clarify one thing

19   about -- you mentioned the Tier 1.  We did change the level for

20   Tier 1, and the purpose of that was to better capture

21   residential systems, really related to dropping the liability

22   insurance requirement for that tier.  However, homeowner's

23   residential systems are not limited to Tier 1.  They can do

24   whatever they want.  If they want to build a 25kW system, they

25   can.  They would just be a Tier 2 system instead of a Tier 1.

FLORIDA PUBLIC SERVICE COMMISSION

31

1   But there's no -- residential, residential customers have not

2   been limited to Tier 1.

3             MR. HANSEN:  Well, Tier 1, dropping it down to 10 is

4   a good idea.  I think it's good because of the fact that your

5   transformer just outside your house probably is a 25kW, maybe a

6   50, so you need to get it down below that.  If you have two

7   customers on that type of transformer, 10kW is great.  But it

8   also further separates the homeowner from the business type

9   people.  And, therefore, it's a way to say to the homeowner,

10   okay, we will pay you offset amount at a retail rate and excess

11   amount at a retail rate.  You see, I'm trying to figure out a

12   way that you can possibly pay for this stuff.  And the way it

13   works out now, you know, I would probably be six foot under

14   before my system is paid for, and it's a serious problem.

15   Thank you.

16             MR. TRAPP:  If I might, Mark.

17             Mr. Hansen, I believe it is.

18             MR. HANSEN:  Yes.  Gordon Hansen.

19             MR. TRAPP:  Hi.  I'm Bob Trapp with the staff.

20             Are you familiar with the Commission's rules that

21   begin 25-17.200 through 300 series?

22             MR. HANSEN:  No.

23             MR. TRAPP:  These were adopted this year in March and

24   basically address the purchase of energy and capacity from

25   renewable energy systems.  They're brand new rules.  They're

FLORIDA PUBLIC SERVICE COMMISSION

32

1   intended to encourage the development of renewable generation

2   on the grid side of things.  I think the purpose of these

3   rules, as I understand it, is to address not the purchase of

4   energy from renewable generation but the offset of customer

5   consumption.

6             In my mind there are two things that are in play

7   here.  There's conservation that takes place on the customer's

8   side of the meter, and then there's the business of generating

9   and producing electricity, which once it's generated it has to

10   go somewhere and there's generation and transmission that's

11   involved to get it there.  I, I would suggest to you that we're

12   trying to achieve a balance here between those two systems.

13   And I would also suggest to you that there may be some rate

14   inequities associated with paying retail costs for generation

15   that would have to be borne by other customers.  And I think

16   what staff has had to do at least is question ourselves:

17   What's fair?  What's fair for the other ratepayers that don't

18   have a solar system that aren't trying to pay for it?  Should

19   they be forced to pay for someone else's system?  And I think

20   that therein, just by means of my own understanding, is the

21   balance that we're trying to achieve between the two rules.

22   And I'm not sure that helps you with respect to finding

23   additional funds, but that, that to me is the explanation for

24   the definition that we have put forward in this rule.

25

FLORIDA PUBLIC SERVICE COMMISSION

33

1             MR. FUTRELL:  Any other comments for discussion on

2   the definitions?

3             MR. TOTH:  We're kind of going a little -- yeah.

4   Bill Toth with All Source Energy.  We're kind of getting down a

5   rabbit trail here.  But it's my understanding that with the

6   coal burning power plant that was proposed and didn't make it

7   through, that there was going to be a small additional charge

8   charged to all of the customers in the billions of, which would

9   have amounted to being in the billions of dollars for building

10   the plant.  So they were going to get charged a small surcharge

11   for creating this additional generation capacity.  Am I

12   mistaken in that?  And why couldn't some of the monies that

13   were going to be used for additional generation of this power

14   plant be used for additional generation of solar or wind?

15             MR. TRAPP:  In response to that, number one, the

16   Commission did not vote for approval of that plant, nor the

17   revenues that were associated with it.

18             On the second hand, I'm not aware of a surcharge that

19   was being talked about in that case.  The cost-effectiveness

20   test that was put before us showed that it would take a long

21   time for that power plant to reach a payback on a fuel

22   comparison basis.  But, you know, there were scenarios that

23   were proposed by the company that showed, depending on what

24   fuel forecast you believe in, that there would have been a

25   payback for that plant.  Again, all of that is somewhat

FLORIDA PUBLIC SERVICE COMMISSION

34

1   irrelevant because the Commission was, was not comfortable with

2   the risks associated with some of those payback schemes or

3   scenarios, excuse me, schemes, scenarios, and therefore did not

4   approve the plant.

5             With respect to your request for, for a subsidy,

6   again, I think the Commission at least from a staff perspective

7   is constrained somewhat by statute in this area.  The statute

8   to me is very clear.  It says pay avoided costs.  Whatever the

9   utility would have paid is what should be paid for cogeneration

10   at the grid level.

11             Again, the purpose of this rule to me looks on the

12   customer's side of the meter and says that a customer can do

13   anything he wants to reduce his consumption, conservation.  You

14   can choose not to use it, you can choose to better put

15   efficiencies into your building through insulation or whatever,

16   improve your air conditioning system or put in a solar wind

17   system, whatever, to generate your own electricity on your side

18   of the meter.  So I think that to me is the demarcation here.

19   We're talking about two different things:  One is a

20   conservation type approach, the other is sales to the grid.

21             MR. FUTRELL:  Any other comments?  Mr. Jacobs, did

22   you want to make a comment?

23             MR. JACOBS:  Thank you, Mr. Futrell.  My name is Leon

24   Jacobs.  I am -- my firm is Williams & Jacobs.  I'm here on

25   behalf of the Southern Alliance for Clean Energy as well as the

FLORIDA PUBLIC SERVICE COMMISSION

35

1   Natural Resources Defense Council.

2             I wanted to chime in a bit.  I was intrigued about

3   the description a moment ago, and I've heard the discussion

4   about PW Ventures.  And so I'd like to take it in somewhat of a

5   broader context, you know, the approach that this rule is

6   taking.  I think the idea that Mr. Trapp expressed of

7   balancing ideas is, is an important perspective, and I think

8   you're correct in taking that perspective, that this is a

9   balancing approach.

10             I know you're familiar that the Federal Energy

11   Regulatory Commission has adopted an interconnection rule.  I'm

12   not sure what perspective, what role that plays.  I think it

13   has some bearing in other states that they've taken guidance

14   from that rule.  But I think it's really important as I read

15   the adoption of that rule, particularly in the definitions that

16   you have here, that the FERC took a particular perspective that

17   they were there to encourage and promote the development of

18   renewable resources.  And when they did their definitions, when

19   they adopted their process, they did so clearly from that

20   perspective.  And they even evaluate and analyze provisions in

21   their proposed rule so as to minimize any impact or degradation

22   there would be to participation of the general public in this

23   interconnection process and the net metering process.  And so I

24   would urge you to, to, to take that approach, that balancing

25   approach, but I would urge you to do so from the perspective

FLORIDA PUBLIC SERVICE COMMISSION

36

1   that you want to encourage promotion of renewables by having

2   people interconnect and conduct net metering.  If you do that,

3   I think it'll help guide through a lot of discussions we've

4   had.  You know, I think similar to the analysis that Mr. Zambo

5   gave about the relevance of PW Ventures here I think is an

6   appropriate analysis.  We're in a new stage and time.  I think

7   the Legislature has clearly given direction that it desires to

8   promote renewables.  This is a vital and, I think, necessary

9   step, this rule is a vital and, I think, necessary step if

10   you're going, if you're going to implement an effective regime

11   to promote renewables.  To hinder this rule would effectively

12   hinder the entire process of promoting renewables.  And so I

13   think this rule is relevant, and I think you can interpret

14   prior decisions in the context of this legislative mandate that

15   says we now want to promote renewables and here's a rule that's

16   a vital component of that process.

17             There are other elements of the rule I think I would

18   deal with specifically.  But in deference to your preference to

19   just focus on definitions at the moment, I'll leave those.  But

20   I'll announce them up-front, particularly the insurance

21   provision and those provisions that would deal with whether or

22   not a net metering is paid at wholesale or retail.

23             MR. FUTRELL:  Thank you.

24             Okay.  If there are no other questions or comments on

25   the definitions, we'll move to Section (3), the standard

FLORIDA PUBLIC SERVICE COMMISSION

37

1   interconnection agreements.  Oh, I'm sorry.

2             MR. HOLBROOK:  Excuse me.

3             MR. FUTRELL:  Go ahead.

4             MR. HOLBROOK:  John Holbrook, Elliott Energy Systems.

5   In Section (2)(d) there is a strike-out.  Is that intended to

6   make the definition in this rule the definition of renewable

7   energy and to separate it from the statute?

8             MR. HINTON:  No.  This is -- this rule, you know, as

9   you can glean from how it's highlighted, originally just said

10   renewable energy is as defined there.  And we didn't want to

11   spell it out, we'll just refer to the statute where we were

12   pulling the definition.  After the last workshop there were

13   some requests made to go ahead and spell out that definition.

14   So instead of just referring to it as it is there or it's --

15   we're actually -- this is where it is and this is what it is.

16   So we're just spelling it out.

17             MR. HOLBROOK:  Okay.  So it does separate it from the

18   statute though.

19             MR. HINTON:  No.  It refers to the statute and then

20   just spells out what the statutes says, how it defines it.

21             MR. HOLBROOK:  Okay.  And then also under the

22   definitions you have hydrogen, biomass.  It's not clear if

23   biomass includes landfill gas and/or digester gas applications.

24             MR. HINTON:  The definition of -- oh, boy.  The

25   biomass that that statute refers to I believe does.  But -- and

FLORIDA PUBLIC SERVICE COMMISSION

38

1   I guess I should defer to the lawyer for this, but --

2             MS. GERVASI:  Well, I will look it up.

3             MR. HINTON:  366.92 that refers to 377.803 as

4   defining renewable energy -- wait.  Hold on.  No.  It's

5   366.91 that I was thinking of that actually has the definition

6   of biomass in it.

7             MR. FUTRELL:  Cayce, I believe that definition is

8   used -- biomass is not more specifically broken down, so it's a

9   very broad term.  It's not further delineated in the statutes,

10   in that particular reference in the statutes.  It's not further

11   broken out.  Biomass is a very broad term.

12             MR. HOLBROOK:  I'm sorry.  Would landfill gas and

13   digester gas be included in there?

14             MR. FUTRELL:  That would be probably a legal

15   interpretation.  But, again, like I said, I believe biomass as

16   defined there is very broad.

17             MR. HOLBROOK:  Okay.

18             MR. TRAPP:  Let me just read the section from

19   366.91 that defines biogas.  It says, "Means a power source

20   that is comprised of, but not limited to, combustible residues

21   or gasses from forest products manufacturing, agriculture and

22   orchard crops, waste products from livestock and poultry

23   operations and food processing, urban wood waste, municipal

24   solid waste, municipal liquid waste, treatment operations and

25   landfill gas."  That's in the statute.

FLORIDA PUBLIC SERVICE COMMISSION

39

1             MR. HOLBROOK:  Okay.  Thank you.  I think that clears

2   it up.

3             And by -- so what you're saying here is that you're,

4   you're not trying to detach this rule from the statute by

5   striking out "is," and that, again, biomass does, seems to

6   include landfill and digester gas.  And if we wanted to have

7   this definition expanded, would we then have to go the -- have

8   the statute expanded or could we ask that another definition be

9   added here such as cogeneration?

10             MR. FUTRELL:  If you want to suggest that the

11   definition that we have in the rule be changed, then you're

12   certainly -- you can make that argument and make those comments

13   to us.  What do you, what do you -- what would you like to see?

14   What kind of language would you like to see in there?

15             MR. HOLBROOK:  I'd like to -- our company would like

16   to add cogeneration to the definition because cogeneration

17   generates electricity and heat.  The heat can be used for

18   creating cooling, which would offset a customer's electrical

19   need if they were using electricity to make their cooling.  And

20   if you look at the, I believe it was in the recommendations for

21   renewables, the cleanest kilowatt is the one you don't have to

22   generate.  So by that definition, a higher efficiency standard,

23   and what that is remains to be seen, the higher efficiency

24   standard would actually offset fuels, fossil fuels that you

25   might actually have to use.

FLORIDA PUBLIC SERVICE COMMISSION

40

1             MR. HINTON:  Wouldn't that be captured in the term

2   "waste heat" that's currently within the rule?

3             MR. HOLBROOK:  Waste heat cogeneration is, tends to

4   talk about building processes where a factory has excess heat

5   or steam or something like that and then they add a steam

6   turbine to it.  But if you're happy to define it that way and

7   add maybe waste heat cogeneration, I think we'd be happy.

8             MR. HINTON:  Well, who do you represent again?

9             MR. HOLBROOK:  Elliott Energy Systems.  We're a

10   microturbine manufacturer that generates -- our product

11   generates electricity and thermal energy, obtaining about

12   70 percent fuel efficiency.

13             MR. HINTON:  Are you the one that called me this

14   week?

15             MR. HOLBROOK:  Yeah.

16             MR. HINTON:  Okay.  Yeah.  You can make a proposal

17   for, for specific language that you'd like included in the

18   rule.

19             MR. HOLBROOK:  Well, I saw Mr. Trapp shaking his

20   head.  I'd like to know what you're --

21             MR. TRAPP:  Well, my position is that the statutes

22   are the statutes and that's what the Commission's rules are

23   governed by.  I believe waste heat is waste heat.  You know, if

24   I put a microgenerator in my backyard, I'm certainly going to

25   use the waste heat from it to run my water heater.  That's an

FLORIDA PUBLIC SERVICE COMMISSION

41

1   application.

2             MR. HOLBROOK:  Right.

3             MR. TRAPP:  That's waste heat.

4             MR. HOLBROOK:  And that's the conundrum.

5             MR. TRAPP:  That's conservation.  We have numerous

6   conservation programs that do just that.  So I don't think

7   there's a problem with the definition.

8             MR. HOLBROOK:  Okay.  So in your view our product

9   would be included under waste heat?

10             MR. TRAPP:  If it produces waste heat in somebody's

11   backyard that they're using to reduce energy consumption, yes.

12   Absolutely.

13             MR. HOLBROOK:  Okay.

14             MR. FUTRELL:  What we're trying to do with these

15   definitions is have these terms as broad as possible so it

16   gives folks like yourself some flexibility.  And certainly

17   there could be some situations where it may be, may have a

18   problem, but that's the idea is to make these broad.

19             MR. TRAPP:  My problem with the word "cogeneration"

20   is in my context when you talk about cogeneration, I start

21   moving into the QF rules, which is different.

22             MR. HOLBROOK:  Well, that's, that's really where it

23   derives from.

24             MR. TRAPP:  Yes, I agree.  But I think in this

25   context again --

FLORIDA PUBLIC SERVICE COMMISSION

42

1             (Simultaneous conversation.)

2             But I think in this context again, again, the reason

3   these rules are located in Chapter 6 of the Commission's rules

4   rather than Chapter 17 of the Commission's rules it's my

5   understanding is because Chapter 6 governs customers.  Chapter

6   17 governs sales to the grid.  I think that the Commission made

7   a conscious decision when three years ago we enacted the small

8   solar rule to put it in Chapter 6 because this is the consumer

9   side of the meter type of rule application.

10             Now to the extent that we've taken some words from 17

11   used in 6, the technologies are -- it's just a matter of size

12   in my mind.  So, you know, if -- you know, frequently people

13   come to the staff for rule interpretations and we give our

14   opinion.  You can take it or leave it or you can take it to the

15   Commission and, you know, they can rule.  But, you know, if you

16   came to me and said, hey, I've got an application that's going

17   to put a microturbine in somebody's backyard, produce waste

18   heat, run some pool heating, water heating, whatever, waste

19   heat is waste heat.  Go for it.  That would just be my opinion.

20             MR. HOLBROOK:  I appreciate your comments.  I think

21   that pretty much clears it up for me.

22             I did read in -- one last comment.  In a number of

23   references to renewable energy they spelled out waste heat

24   cogeneration in the recommendations for renewable energy by the

25   Florida Energy Commission, so thank you.

FLORIDA PUBLIC SERVICE COMMISSION

43

1             MR. TRAPP:  I think we're having semantic problems,

2   quite frankly.  I think the purpose here is to broadly capture

3   innovative technologies on the customer's side of the meter

4   that will reduce consumption that will benefit all customers by

5   doing that.  That's, that's our intent in my mind.  So, you

6   know, I don't think there's -- I don't, I don't think there's

7   as many restrictions as you think that are in this thing.

8             MR. FUTRELL:  Okay.  If we're done talking about

9   definitions, let's move on to Section (3), the standard

10   interconnection agreements.

11             Here we have highlighted the change.  Cayce

12   summarized earlier was the change to increase the size up to

13   2 megawatts.  We've also listed, as you can see, the, included

14   the 1547.1 and other changes referring to those titles of the

15   standards.

16             MS. CLARK:  Mark, this is Susan Clark.  This is

17   probably just for clarification.  I think, Cayce, you already

18   mentioned it.  But we noted in the Governor's executive order,

19   the upper limit he spoke about was the 1 megawatt but you have

20   gone to the 2.  And I think you indicated the rationale was to

21   make it consistent with fast-track or --

22             MR. HINTON:  Well, that wasn't -- it wasn't strictly

23   for that purpose.  It was in response to a number of

24   commenters, also looking around the nation at what other states

25   have done in the capacities that they've implemented.  And it

FLORIDA PUBLIC SERVICE COMMISSION

44

1   just so happened that this ended up, you know, that 2-megawatt

2   level made it consistent with the fast-track process within

3   FERC's rule.  But that wasn't specifically -- we weren't

4   intending to, you know, make this rule consistent with that.

5   It just so happened that that level was.  But it was more in

6   response to comments and looking around at what other states

7   have done.

8             MS. CLARK:  I gather then it's because other states

9   have gone to the 2 megawatts.  There's no sort of other facts

10   behind it that say, 2-megawatt, it makes sense because these

11   are the type of facilities.

12             MR. HINTON:  Other than what I've just stated.  Yeah.

13             MS. CLARK:  Okay.  Thank you.

14             MR. FUTRELL:  Okay.  Any other comments?  Yes, Gwen.

15             MS. ROSE:  Yeah.  Hi.  I'm Gwen from Vote Solar, Gwen

16   Rose.

17             The current rule says that the utility should file

18   for Commission approval for a standard interconnection

19   agreement within 30 days.  And I would encourage the Commission

20   to adopt a single statewide standard that would apply statewide

21   as part of the rule.  It would ensure equal legal treatment

22   across all utilities.

23             In terms of processing alone, it really complicates

24   things for developers to have to learn 15 different agreements

25   and applications.  And so I would encourage that a statewide

FLORIDA PUBLIC SERVICE COMMISSION

45

1   standard agreement be developed.

2             And as far as examples for this, the Interstate

3   Renewable Energy Council has models, I believe, Jason can

4   correct me, for an agreement for 10-kilowatt systems and under

5   and then one for above that.

6             MR. HINTON:  As -- you know, it's understandable that

7   if you've got 15 different agreements out there, that you've

8   got to negotiate and wade through.  Right now we're

9   addressing -- what did it turn out to be, four or five -- five

10   agreements statewide.  And they'd all be submitted to the

11   Commission for approval, not just rubber-stamping.  And

12   hopefully there would be a simplification to the agreements and

13   some consistency.  Of course, that would be, you know, down the

14   road when they're actually filed, those would be looked at.

15   But, you know, there will be some discretion with the

16   Commission to, to do additional work once the agreements come

17   in if they're just wildly variant and would complicate things

18   further.

19             But we have traditionally -- and, you know, Bob would

20   probably be better to speak with this -- have generally given

21   the utilities the flexibility to come in with their own instead

22   of being prescriptive and laying out what the agreement

23   actually has to say provision by provision.  Generally that's

24   how we --

25             MR. TRAPP:  I agree with you, Cayce.  And this is Bob

FLORIDA PUBLIC SERVICE COMMISSION

46

1   Trapp from staff again.  And, again, I don't mean to be

2   argumentative here this morning.  I think it's important that

3   staff explain why we've done some of the things we've done in

4   this rule, and, therefore, I hope my comments are of an

5   edifying nature.

6             I agree with you.  I think there should be a standard

7   interconnection agreement.  The devil is in the details though,

8   it's been my experience.  And I'm afraid that if you put that

9   requirement in the rule, the next thing that takes place is

10   somebody wants to see that standard interconnection agreement

11   in the rule and that takes this rulemaking process another 12

12   months.  And I don't think that's desirable in this case.  I

13   think we want to get the concepts out on the table, get the

14   Commission to vote on them and get this rule in place and go

15   forward with implementation.  It's more important to implement

16   than it is to rule make, in my old simple engineering mind.

17   And for that reason, I totally agree with Cayce; the place to

18   tackle this issue is when the utilities file their filings

19   required by this rule.  The staff will be looking for

20   consistency in those interconnection agreements.  I don't know

21   if that means exact same wording, you know, but at least the

22   principles have to be the same in each one.  If there are

23   differences in those tariffs, staff has the ability through

24   that tariff approval process to take our time and, and even go

25   to hearing on those tariffs.  So I agree 100 percent with

FLORIDA PUBLIC SERVICE COMMISSION

47

1   Cayce; the best place in my mind to achieve a statewide

2   interconnection is through implementation in this case.  Let's

3   get the rule, then we can, you know, work on the perfection.

4             MR. KEYES:  Jason Keyes again from IREC.  If you're

5   looking for consistency across the five utilities, one possible

6   way to do that would be to say, we suggest that here's a good

7   starting point, start with -- well, I prefer the IREC rules,

8   but it could be the FERC standard as well.  But if you just

9   tell everybody to be consistent, maybe they'll talk to each

10   other and work together, but it would help to give them some

11   direction.

12             MR. GRANIERE:  I have a comment, please.

13             MR. FUTRELL:  Bob.

14             MR. GRANIERE:  Bob Graniere.  Gwen, on the idea about

15   the standardization, maybe you might want to consider in your

16   comments and talking about the possibility of working on a

17   parallel path towards a standard agreement somewhere down the

18   road.  Because standard agreements have historically turned

19   into wonderfully, wonderful barriers of entry that go on

20   forever and ever and ever to talk about a standard agreement;

21   whereas, giving each utility its option to put together what it

22   wants, it takes away the argument, well, other people want me

23   to do this or we can't reach an agreement or something like

24   that.  And what I might suggest is that over time you would

25   naturally see consistencies start emerging, but at the same

FLORIDA PUBLIC SERVICE COMMISSION

48

1   time you'd actually be getting stuff on the ground.  So just an

2   idea of, like, trying to put in a process towards a standard

3   rather than ask for a standard.

4             MR. FUTRELL:  Okay.  Any other comments on Section

5   (3)?  Okay.  Let's move on to Section (4), the customer

6   qualifications and fees.  And this is where we've included the

7   90 percent of customer's feed rating, distribution feed rating.

8   Also the tiers have been adjusted, as Cayce has mentioned

9   earlier.  Let's take comments on that first section, if we

10   would, before we get into the subsections.  Anything in the

11   first sections of Section (4), any comments?

12             MR. HINTON:  I just want to clarify something I just

13   caught yesterday.  Under (c), that should actually say, on Line

14   21, "additional equipment other than that provided for in

15   Section (6)," not (5).  So Page 3, that's referring to the new

16   manual disconnect subsection.

17             MR. JACOBS:  I have one question just for my

18   information.  How does this, if someone can tell me, how does

19   the rating, actual rating take place now in other

20   jurisdictions?  How will the customer get their particular site

21   rated for purposes of this rule?

22             MR. FUTRELL:  How do they get their system rated?

23             MR. JACOBS:  Yes.  In subsection (4), it says

24   regardless -- "To qualify for expedited interconnection in this

25   rule, customer-owned renewable generation must have a gross

FLORIDA PUBLIC SERVICE COMMISSION

49

1   power rating that does not exceed 90 percent."

2             MR. FUTRELL:  Right.

3             MR. JACOBS:  How does that rating take place?

4             MR. FUTRELL:  I know for solar equipment the Florida

5   Solar Energy Center does a rating on the system as far as

6   approving it, and it'll have a, it'll have, and, Bob, maybe you

7   can correct me if I'm wrong, they'll have a rating on the power

8   output of that potential solar system.  The Solar Energy Center

9   certifies the equipment sold in the state that it meets all the

10   standards that have been established.

11             MR. REEDY:  That's correct.  There will be a rating

12   on, you know -- excuse me.  Bob Reedy, FSEC.  There will be a

13   rating on the panel, the DC rating, and then there will be an

14   output of the AC system.  And as mentioned, as written earlier

15   in the interconnection rule, the one of concern here is the AC

16   rating, not the DC rating.  So if there's ever a need for

17   clarity, it would be to always say the AC output of the

18   inverter.

19             MR. HINTON:  Mr. Jacobs --

20             MR. REEDY:  AC output of the inverter.

21             MR. HINTON:  Sorry, Mr. Reedy.  I didn't mean to

22   interrupt you.

23             Mr. Jacobs, when you asked that question, were you

24   talking about how is the gross power rating established?

25             MR. JACOBS:  Yes.

FLORIDA PUBLIC SERVICE COMMISSION

50

1             MR. HINTON:  Or the utility distribution feed rating?

2   There's two different ratings in that section.  Which one were

3   you --

4             MR. JACOBS:  Gross power rating.

5             MR. HINTON:  Gross power rating.  Okay.  That goes

6   back to -- in the definition section it refers to the

7   manufacturer's AC nameplate.

8             MR. JACOBS:  Okay.  I'm sorry.  I missed that.

9             MS. CLARK:  Yes.  We had -- I guess I had a

10   clarification question really.  You say, I think in this

11   section you say that you -- this is the phrase, "that does not

12   exceed 90 percent of the customer's utility distribution feed

13   rating."  We take this to mean that it is the feed rating for

14   that particular customer, not necessarily those in his area,

15   but it's for that particular customer.  That's fine.  That's

16   how we read it and we wanted to make sure we were on the same

17   page.

18             MR. HINTON:  Can I ask you a question?  Does that

19   phrase -- I took that phrase from FLSEIA and their comments.  I

20   want to make sure that phrase is an accurate way of addressing

21   it, just that the wording is correct.

22             MR. ASHBURN:  I don't know.  This is Bill Ashburn of

23   Tampa Electric.  We would have called it the service into the

24   house or the building.  I don't know if all the utilities would

25   use the same phrase.  I assume that's what you're meaning by

FLORIDA PUBLIC SERVICE COMMISSION

51

1   the service to the house from the line out in the street.

2             MR. HINTON:  Yeah.  You know, the, the distribution

3   feed rating.  You know, basically the facilities coming into

4   the house, what's their capacity?

5             MR. ASHBURN:  Well, we were concerned you might have

6   missed an E-R at the end and meant feeder, meaning the

7   distribution line in front.  And so other people call that a

8   feeder sometimes.  We didn't know what you meant.  So if you

9   mean service, the line that connects to the weather head on the

10   house or at the meter, then that's, that's what we were looking

11   for to see if that's what you meant.

12             MR. HINTON:  Okay.

13             MR. ASHBURN:  And I don't know what the right word

14   would be.  We would call it a service.

15             MR. HINTON:  Yeah.  You know, in general it's the

16   facilities that are, that's bringing electricity into the

17   customer's home and that will be carrying electricity back to

18   the grid.

19             MR. ASHBURN:  Right.

20             MR. TRAPP:  Bill, I agree with you.  I think it's the

21   service to the customer.  But recognizing the service is fed by

22   the feeders and the rest of the distribution equipment, and I

23   guess the point I want to make so as to not to have an illusion

24   that we're limiting anything with respect to our current rules,

25   if the customer wants to upgrade his service and the feeder is

FLORIDA PUBLIC SERVICE COMMISSION

52

1   there to do that, the customer can upgrade his service.  Now

2   that may require a CIAC or an incremental charge for that.

3             MR. ASHBURN:  Right.  Right.

4             MR. TRAPP:  But we -- there's no --

5             MR. ASHBURN:  We size the service to meet the load in

6   the building.  Now if he --

7             MR. TRAPP:  Right.  But if he changes something in

8   the building, typically you're going to have to reevaluate.

9             MR. ASHBURN:  We might have to upgrade the service

10   because he's got more load in the building, for example.

11             But if he wants to upgrade the service to X more out,

12   then certainly there would be a CIAC associated with that.  Of

13   course, that goes against the theory here that the load is

14   supposed to be serving the load in the building too.  So that

15   just depends.

16             MR. TRAPP:  Right.  Well, and, again, I'm not sure

17   this solves all problems because, again, there may be

18   circumstances where the customer wants something done to his

19   service where the feeder can accommodate it.  And if he wants

20   to, he can upgrade the feeder too, if he wants to pay for that.

21             MR. ASHBURN:  Right.

22             MR. TRAPP:  But if the feeder is there and you were

23   talking about a service drop and we've got to up the wires of

24   the service drop to accommodate a -- I'm not sure that case

25   would -- the more I think about it, that may be a moot point

FLORIDA PUBLIC SERVICE COMMISSION

53

1   because we're talking about backing down consumption, not

2   increasing consumption.  So the wires -- so maybe my example is

3   exaggerated, but.

4             MR. ASHBURN:  Yeah.  No.  I think we've covered it.

5   But, I mean, the point is I'm not sure if this is what's a

6   needed element.  But I thought the theory of what you were

7   putting in here was we don't want the back feed from the

8   generator to suddenly blow out the service.

9             MR. TRAPP:  To overload the line, right.

10             MR. ASHBURN:  I assume that's the, that's the

11   constraint you were trying to add.

12             MR. TRAPP:  The existing facilities that are there

13   now, there may be a question about what do you do about

14   changing that service, but we can deal with that --

15             (Simultaneous conversation.)

16             MR. TRAPP:  -- under the current body of the rules is

17   my point.

18             MR. ASHBURN:  Right.  I think so.  I think so.

19             MR. HINTON:  And the rationale for putting this in

20   here, again, is -- you know, the goal is to be able to create a

21   process where we can get these systems interconnected and up

22   and running and net metering and all that stuff starting as

23   fast as possible.  We want to decrease the barriers or the

24   delay to that process.  And so by including this, we're looking

25   for something that would be a little more added reassurance to

FLORIDA PUBLIC SERVICE COMMISSION

54

1   the utility that they wouldn't have to come in and do

2   interconnection studies and this and that.  They already know

3   we're already built to this level, they're coming in under

4   that, things are probably good, we can expedite that.  Do you

5   think that would accomplish that goal or at least help in that

6   regard?

7             MR. ASHBURN:  I think we do.  But, you know, that's

8   Tampa Electric.  I think we all do.

9             MR. FUTRELL:  Yes, sir.

10             MR. SHEEHAN:  Mike Sheehan with IREC.  A couple of

11   clarifying questions.  First off, there is a bunch of numbers

12   that need to be harmonized, and I appreciate your comment, Bob,

13   about the devil in the detail.  There's kind of a number that's

14   been used before in the past, and the IEEE 1547 uses 30kW as a

15   threshold limit to start before they start looking at a lot of

16   things.  So this Tier 1 at 10kW seems to be extremely low

17   relative to the IEEE 1547.  And moving it down from 25 down to

18   10 seems to be a concern of why it was done without

19   understanding what the IEEE requirement was for what I call the

20   minimal size systems.

21             The second comment has to do about 90 percent of the

22   customer's, the utility's distribution feeder rating.  I'm

23   concerned with that from a different perspective.  Say the

24   existing customer has a 200-amp service, which is typically

25   what a customer may have, but the utility then has a 10kW

FLORIDA PUBLIC SERVICE COMMISSION

55

1   transformer feeding four customers, three or four customers.

2   It's an old system, it's been there a long time.  Does that

3   customer then have to replace the 10kW transformer because all

4   of the sudden they're looking at this 10kW system as being

5   overloading the system?  Or if two people have one on their

6   system, now all of the sudden how is that going to be rated?

7   The utility distribution feeder rating seems to be -- feed

8   rating is a concern to me if we don't define where the start

9   point is.  And the reason the IEEE took the point of common

10   (phonetic) coupling is that's why it was where it's rated at,

11   not necessarily all the way back in the feeder.  And you've got

12   to be very careful how far back the utility system has to be,

13   feed system has to be looked at.

14             MR. FUTRELL:  Mr. Ashburn suggested the term of

15   "service."

16             MR. SHEEHAN:  "Service" is much better.

17             MR. FUTRELL:  So it would -- your suggestion would be

18   "customer's utility service"?

19             MR. SHEEHAN:  Correct.

20             MR. FUTRELL:  "Distribution service rating"?

21             MR. SHEEHAN:  Correct.  And then look at the 25, and

22   looking at that, I think the 30 would be much more consistent

23   with the IEEE.  And if there's a concern with that -- from an

24   insurance perspective I can see the tradeoff being on insurance

25   but not on a tier, looking at it from a study perspective of

FLORIDA PUBLIC SERVICE COMMISSION

56

1   what the impact is going to be on the system.

2             MR. HINTON:  Well, as far as doing interconnection

3   studies and that type of thing, really adjusting Tiers 1 and

4   2 don't really have an impact on that since Tier 3, the larger

5   systems over 100kW, are the ones that we're saying, yeah, you

6   can do an interconnection study for that.  So I don't see why

7   changing the difference between Tier 1 and Tier 2, what impact

8   that would have in what you're talking about.

9             MR. SHEEHAN:  The question is why even have a Tier 1

10   and 2?  I mean, if you're going to say 100kW is where you need

11   to do a study, if you're looking at it just from an insurance

12   perspective, you know, saying, hey, let's move it down from 25

13   to 10 for insurance and you're saying there's no need to study

14   it above 100, I think -- below 100, I mean, I don't understand

15   why you even have a Tier 2 then.

16             MR. FUTRELL:  Gordon.

17             MR. HANSEN:  I like the idea of having a Tier 1 and

18   reducing it from 25kW to 10.  Because, again, this sets aside

19   what I would call the homeowner/nonbusiness type of generation

20   system.  And hopefully we could get a higher return on our

21   installation than you would where you have a business because

22   businesses can write off a whole bunch of this stuff.  The

23   homeowner has no alternative.  The only thing that the

24   homeowner can get is tax incentives and what he can generate,

25   that's about it; where a business can get the tax incentives,

FLORIDA PUBLIC SERVICE COMMISSION

57

1   what they generate, and then at the end of the year this is

2   part of their business expenses.  So keeping this down to 10kW

3   I believe is a very good idea, and allowing the homeowner,

4   which is, you know, several million people, to be able to look

5   at this thing and say, yeah, I can afford to put something in

6   that will generate and help the environment.  Where if you make

7   it 25kW, now you're up in the higher category, you may have to

8   have more insurance, and the argument for homeowner/nonbusiness

9   would start to fade away.  Keep it low.  Homeowner/nonbusiness

10   is what I think is the way that it should go.  So I like this

11   idea.  Thank you.

12             MR. GRANIERE:  Mark.

13             MR. FUTRELL:  Bob.

14             MR. GRANIERE:  Gordon, Bob Graniere.  Let me see if I

15   understand that.  I know I'm getting a little bit ahead of what

16   Mark is doing on the agenda.  But what I'm hearing you say is

17   that what you would like to see, keep it at 10 and let the net

18   metering extend all the way through at the retail rate.  Is

19   that basically your argument?

20             MR. HANSEN:  That is correct.

21             MR. GRANIERE:  Okay.  Thank you.

22             MR. FUTRELL:  Okay.  We had a suggestion -- go ahead,

23   Dell.

24             MR. JONES:  Dell Jones.  You know, from my own

25   perspective owning a 6-kilowatt system, I live in a fairly

FLORIDA PUBLIC SERVICE COMMISSION

58

1   small sized house and I have less than great orientation.

2   6 kilowatts in my house doesn't really offset my annual energy

3   bill.  It would probably take more up to like a 15-kilowatt

4   system.  So, I mean, I just really question what the

5   practicality or why 10 kilowatts instead of 25 or 30.  I mean,

6   from a residential system perspective and without having to go

7   through a lot of insurance hoops, I think 20, 25 kilowatts is

8   probably more reasonable for some of the larger houses.  I

9   mean, if someone has got the discretionary spending to put in

10   these systems, they certainly have the ability to go up to even

11   20 kilowatts and offset a fairly large size house with a

12   swimming pool load, et cetera.  But 10 -- my question is really

13   why 10?  What was the justification for 10 kilowatts instead of

14   the 25?

15             MR. HINTON:  There was some discussion among

16   Commissioners and other commenters during the last workshop

17   about creating a smaller Tier 1 that would be exempt from

18   liability insurance.  That's primarily the driving force behind

19   that change.

20             MR. JONES:  But the liability insurance basically so

21   that person would have a waiver from getting the, having to

22   provide the insurance requirements?  I mean --

23             MR. HINTON:  Anybody below 10kW would be, would not

24   be required to have additional liability insurance.

25             MR. JONES:  Is that from the perspective of the

FLORIDA PUBLIC SERVICE COMMISSION

59

1   insurance company?

2             MR. HINTON:  From the perspective of this rule and

3   the requirements under the interconnection agreement.  Their

4   insurance, their insurance company is something between them,

5   and, you know, that's something for the customer to have to

6   deal with with their own insurance company.  But the, what the

7   utilities can require of the customer is what we're addressing

8   here.  And they cannot require anybody, under this current

9   draft they can't require anybody under 10kW to take out

10   additional liability insurance.

11             MR. JONES:  So does that assume that a 20-kilowatt

12   system is so much more dangerous than a 10, just rhetorically?

13             MR. KEYES:  We have comments on the insurance issue

14   too, but I'll wait until we get to the insurance part.  Just

15   still on Section (4) I thought I'd bring up one thing.

16             On the, the 90 percent of customer's utility service

17   rating or whatever we use, you might, you might refer to falls

18   within one of the following gross power rating ranges.  And

19   then going back to the definitions, I just wanted to say how

20   New Mexico addressed this.  Because there's some complication

21   with -- you've got the nameplate rating of the modules, then

22   the efficiency of the inverters.  That would seem like an easy

23   calculation, but it depends on temperature too.  And so rather

24   than going into a long engineering explanation, they just said

25   let's just say 90 percent of the nameplate rating of the panel.

FLORIDA PUBLIC SERVICE COMMISSION

60

1   So if you have a 10kW, 10kW of panels, that's the nameplate

2   rating, an inverter that's generally about 90 percent

3   efficient, then we'll say that it's a 9kW AC system.  That's

4   the gross power rating.  It's a very -- I like the solution.

5   It was very simple, instead of a page written by engineers

6   explaining how it would be calculated each time.  And it makes

7   it very clear to the installer when you're still within Tier 1

8   and when you're in Tier 2.  So that would be pretty easy.

9             MR. TRAPP:  Isn't that what we're doing?  The

10   definition of gross power rating is total manufacturer's AC

11   nameplate.

12             MR. KEYES:  Right.  So it's manufacturer's AC

13   nameplate.  So if I go and buy a system --

14             MR. TRAPP:  So that number has to be less than

15   90 percent of the utility's number is what the rule says.

16             MR. KEYES:  Right.  But the trouble is there isn't a

17   manufacturer's AC nameplate.  There's a manufacturer's DC

18   nameplate.  So I buy my modules, you know, you're running DC,

19   so I have 10kW of DC panels.  And then they run through the

20   inverter to turn DC into AC and you have something like a 9kW

21   AC system.

22             MR. REEDY:  Bob Reedy.  I can comment on that.  The

23   inverter will have an AC rating and that's what we should be

24   talking about.  If it's a 5kW inverter, that's it.

25             MR. HINTON:  Yes.  Wherever the AC nameplate is on

FLORIDA PUBLIC SERVICE COMMISSION

61

1   the system, that's what we're referring to.  Whether it's on

2   the generating system itself or on the inverter that converts.

3             MR. KEYES:  Right.  So the inverter can have -- I can

4   put 4kW of panels in with a 6kW inverter.  And so if I'm going

5   on the AC rating -- actually one of the most standard inverters

6   is an SMA 6kW inverter.  And so if you take two of those on a

7   system, you would say, okay, that's a 12kW system according to

8   this rule.  But if I have 10kW of modules sitting up on the

9   roof and there's some loss actually going through the inverter,

10   I'm not going to be producing more than about 9kW AC.  And you

11   really want to capture that in this rule rather than saying,

12   no, we don't want any systems that use two of the most widely

13   available inverters.

14             MR. HINTON:  So there could be situations where the

15   AC nameplate on the inverters, you wouldn't actually install

16   the PV systems that would go to the maximum of that.

17             MR. REEDY:  That's certainly correct.  Often you

18   would oversize the inverters for some reason.  And there's even

19   the common thing of planning to come back later and add DC

20   panels later.  I guess finding a simple way to, to handle it is

21   the challenge here.  And if you make the choice to put in an

22   oversized inverter, you're doing that for reasons that are in

23   your control and not the utility or anyone else.  It does seem

24   that you should have to deal with a number.

25             MR. KEYES:  I definitely feel you should go with a

FLORIDA PUBLIC SERVICE COMMISSION

62

1   number.  I'm just saying an easy way to do that is to say

2   90 percent of the DC rating of the modules, that you're not

3   going to be putting out more than roughly that amount of power.

4   And that captures a big problem with the practical effect of

5   the standard inverters aren't built to 10kW.  It would be great

6   if there was a 10kW inverter and that was the standard that

7   people went to, but there isn't.

8             MR. HINTON:  Could you guys work on some, some

9   proposed language to better clarify that situation?

10             MR. KEYES:  Is this a good time to go into a comment

11   on (4)(a)?

12             MR. FUTRELL:  If we could, let's hold off on that for

13   a moment.

14             Dell.

15             MR. JONES:  Yeah.  I was just going to say, you know,

16   setting the nameplate rating or the gross power rating of the

17   AC nameplate of the inverter probably would make a lot of sense

18   because even if you have, let's say, a microturbine that ran

19   its energy through the inverter and that was UL 1741 compliant,

20   then, you know, that would be -- it's the device that

21   synchronizes with a utility that we're concerned with.  And

22   whether that is an inverter or a series of inverters, maybe it

23   should be clarified under the gross power rating of the

24   inverter or inverters of the renewable energy system.  So what

25   fuel goes into that -- for instance, if you used a biomass or a

FLORIDA PUBLIC SERVICE COMMISSION

63

1   biogas into a microturbine, that would make that microturbine's

2   both electricity and heat 100 percent renewable energy as

3   opposed to, let's say, a microturbine that might use natural

4   gas to produce electricity which would not be renewable

5   electricity, but the waste heat, you know, is another issue.

6   So I was going to say I would encourage really the gross power

7   rating speak to the inverter or inverters that are

8   interconnected.

9             MR. HINTON:  What about the situation that we just

10   talked about where you oversize the inverter but you're not

11   actually installing that size of generation?

12             MR. JONES:  That gets into this issue of back to

13   again, you know, these Tier 1 and Tier 2.  You could have,

14   let's say, 1 kilowatt of DC nameplate photovoltaic panels and

15   you could put in a 5,000-watt inverter or even, let's say, a

16   15,000 with the mind that I'll grow into this and you sort of

17   peg yourself into a certain size.  So these tiers, having them

18   fairly low really inhibits people to grow into a system.  So,

19   you know, that -- if we want to move forward quickly, I think

20   you should allow more flexibility in the size of the systems

21   that people can grow into or actually install right up-front.

22             MR. FUTRELL:  Dell, if you would come up with some

23   language -- we're going to take a break and then have a lunch

24   break later.  If you could come up with some language for the

25   definition of gross power rating, that would be helpful.  Kind

FLORIDA PUBLIC SERVICE COMMISSION

64

1   of think about that.

2             Any other comments though on this initial Section (4)

3   and the tiers?

4             MS. CLARK:  I wanted to ask for some clarification on

5   the (4)(b) where it says -- it adds the phrase "or other

6   certified device that performs automatic isolation of

7   customer-owned generation."

8             We're just asking for clarification on what that

9   device might be.  Because we're -- I have some indication

10   there's unfamiliarity with any other device other than the

11   utility-interactive inverter that was added.

12             MR. FUTRELL:  Okay.  If we could hold off on that.

13             MS. CLARK:  Okay.

14             MR. FUTRELL:  And I think we want to take a break.

15   If there's nothing else in (4), that initial Section (4), we'll

16   take a break.  And we'll come back and get into (a), (b) and

17   (c).

18             MS. CLARK:  Oh --

19             MR. FUTRELL:  Go ahead, if you have something.

20             MS. CLARK:  No.  No.  If you're going to get into

21   (a), (b) and (c) -- and I think there's (d), too.

22             MR. FUTRELL:  Yeah.  Right.  Okay.  Let's take about

23   a ten-minute break.

24             (Recess taken.)

25             Let's get back started to the, resume to where we

FLORIDA PUBLIC SERVICE COMMISSION

65

1   left off in Section (4).  And before we get into Sections

2   (4)(a) through (g), let's -- Cayce had a few questions to throw

3   out for your consideration.

4             MR. HINTON:  Actually it's primarily a question for

5   the utilities and going back to the language about 90 percent

6   of the customer's utility distribution feed rating or service

7   rating.  And I had mentioned earlier that the purpose of

8   including that was to give the utility some comfort in

9   expediting interconnection, recognizing that they haven't

10   outbuilt the facilities we already have there so we can get

11   them hooked up and going.

12             I'm just wondering if we can increase even the

13   capacity, the capacity level of Tier 2.  With that language in

14   there, what comfort level does it give utilities in

15   interconnecting systems up to 250kW, recognizing, well, we know

16   that they haven't outbuilt the facilities we have to them, so

17   we can, we can expedite interconnection; we don't need to do an

18   interconnection study?

19             MS. CLARK:  Cayce, I would only comment that, that as

20   we've gone through these rules and, and other discussion on

21   RPS, one of the things that was of concern is the familiarity

22   with some of these bigger units.  And I think staff had asked

23   the question about FPL and hooking up their unit down in

24   Southwest Florida, I think it was.  And there were issues that

25   arose with being able to meter a small amount coming in and

FLORIDA PUBLIC SERVICE COMMISSION

66

1   then a large amount coming out.  And I think there was a

2   concern that to the extent you go larger, familiarity with

3   putting in those systems decreases.  So there would be a

4   concern in that arena that you see more of the smaller systems.

5   As you gain experience, it would be appropriate to ratchet up

6   that, that kilowatt frame.  But I think as you go to the larger

7   systems, it would, there's less familiarity with it and,

8   therefore, I'm not sure that kind of limitation on the

9   90 percent would give comfort.

10             MR. HINTON:  Would it be accurate or at least

11   reasonable to say that as you get more experience in installing

12   these larger systems, there would be less and less need of

13   interconnection studies?

14             MR. ASHBURN:  I would guess that would -- this is

15   Bill Ashburn.  I guess this would depend on experience.  As you

16   start having them, if you have problems, then you might not.

17   If you start -- if you've connected enough of them and you

18   don't have problems, perhaps.  But, I mean, we don't have a lot

19   of these anyway and we're just starting to hear occasionally a

20   larger one who's talking about perhaps interconnecting.  We

21   don't -- like -- as Susan said, we don't have a lot of

22   experience particularly with the larger, anything beyond 10 or

23   20kW yet.

24             MS. CLARK:  I don't have -- I can look and see and

25   see if I brought with me the comments that we had filed back in

FLORIDA PUBLIC SERVICE COMMISSION

67

1   response to the workshops you had early winter, I think.  And

2   that was one of the concerns with the various levels was the

3   fact that there wasn't a lot of familiarity with the larger

4   systems and, therefore, how can you standardize something

5   you're not familiar with?

6             MR. HINTON:  Yeah.  And I remember our conversations

7   along those lines.  That's why I wanted to specifically go back

8   to those conversations with this 90 percent qualifier in mind.

9   But if it still doesn't change the situation, familiarity is

10   needed to be developed then.  Okay.

11             MR. FUTRELL:  Okay.  Okay.  Let's get into Section

12   (4)(a).  This section was moved from a previous area in

13   Section (3) and refers to the certification of equipment.  Any

14   concerns with Section (4)(a) as worded?

15             MR. KEYES:  This is Jason Keyes from IREC.

16             Yeah.  There's a significant concern there.  There's

17   rated inverters under the UL standard or under the 1741, but

18   there are no systems that are in compliance with 1547.  1547 is

19   the standard for how you interconnect these systems, which gets

20   back to in our comments we had suggested using the screens as

21   other states have done and as FERC does.  The screens are

22   really a shorthand for the rules of 1547.  So you go through

23   these nine screens.  If you pass them all, then you're in

24   compliance with 1547.  The rules will still say you've got to

25   be in compliance with 1547.  So the utilities can go back and

FLORIDA PUBLIC SERVICE COMMISSION

68

1   say somehow the screens didn't capture something.

2             But as far as anyone can tell, the screens seem to

3   capture everything that is important in 1547.  So we would

4   encourage you to go back to the screens.  Looking at the FERC

5   standards, there's a series of screens and the industry knows

6   those screens well.  You can look through in Florida and say,

7   gosh, do all these screens matter to us?  And so the IREC

8   standard is a subset of those screens essentially.

9             But if you don't have screens, then what you have is

10   the utilities looking at 1547 in all its glory and going

11   through page by page and saying, gosh, does this system comply

12   with this big rule?  And you can simplify that a lot by a

13   series of screens.  And if you want to keep the rule nice and

14   short, you could have, you could have the screens as some

15   attachment to the rule or something.  But it doesn't need to

16   add a lot of length and complexity to it.

17             MR. HINTON:  Where did you say -- you referenced

18   screens that FERC has in place?  Which rule?

19             MR. KEYES:  Yeah.  In the SGIP there's a series of

20   screens.

21             MR. HINTON:  Okay.  Okay.

22             MR. KEYES:  If you'd like, I can -- well, with our

23   comments I can provide that, but I can also just forward that

24   section of the SGIP and also IREC's section of the --

25             MR. TRAPP:  That wouldn't help nearly as much as if

FLORIDA PUBLIC SERVICE COMMISSION

69

1   you'd just amend the language of this paragraph.  Do you have a

2   suggested language change here?

3             MR. KEYES:  Well, other than to say that, that it

4   meets the screens specified.  You can say it meets the screens

5   in SGIP.  But I don't know that that would -- if that's

6   something you want to just stick in there to refer to a

7   completely separate set of rules.

8             MR. TRAPP:  Again, we're under precious little time

9   here.  We need language construction for this rule.  You know,

10   concepts aren't going to hack it anymore.  We need specific

11   rulemaking language.  So I would challenge you in your post,

12   postworkshop comments to, to specifically draft the language

13   you would like to see in this rule.

14             MR. KEYES:  Okay.  So in the language I would say

15   "has been tested by a laboratory for continuous interactive

16   operation under UL 1741, and meets the screens outlined in the

17   FERC standard generator interconnection procedure which are

18   provided in an attachment here."  It would be a two-page

19   attachment to say here's what, here's what all the screens are.

20   But I can certainly propose that for you.

21             MR. FUTRELL:  Anything else in (4)(a)?

22             Let's go to (4)(b) about the inclusion of the

23   utility-interactive inverter.

24             MS. CLARK:  Mark, we've asked the question about what

25   is meant by the other device, other certified device.  The

FLORIDA PUBLIC SERVICE COMMISSION

70

1   issue for us is we wanted to know what that device would be and

2   how it would isolate the customer-owned generation.

3             MR. HINTON:  I was trying to account for systems that

4   wouldn't necessarily need an inverter but still would be

5   required to guard against islanding, that would still be

6   required to disconnect from the grid if the grid lost power.

7   PV systems have inverters.  I don't know if a system that

8   generates AC power is going to have an inverter within that

9   system.  But they would be required to have some type of

10   utility-interactive device that would shut down or disconnect

11   their system in case the power company lost, the electric grid

12   lost power.

13             MS. CLARK:  I'd be interested to know if maybe the

14   people who are potentially interconnected or potential

15   interconnectors have some view as to what this might be and the

16   necessity of having this in the rule.

17             MR. HINTON:  So would I.

18             MR. REEDY:  Bob Reedy with just a general comment.

19   This could be a small wind generator that might not have an

20   inverter, and that would, as a utility that would concern me if

21   it didn't behave like the inverter did.  So I agree with that

22   attempt.  I think that's an excellent way to say it is that

23   it's either an inverter that meets all these standards or it's

24   another device that does the same thing as meet all these

25   standards.  So that would be an example would be an induction

FLORIDA PUBLIC SERVICE COMMISSION

71

1   generator, a small wind with an induction generator.

2             MS. CLARK:  I would urge you to keep in mind that you

3   are trying to set up a system that streamlines the

4   interconnection and gets these things so that it's fairly

5   standard.  And to the extent you introduce something "or other

6   device" that requires some sort of investigation as to what it

7   is and will it do what you think it should do, until you know

8   and it's certified as these others would be, I would suggest

9   eliminating it from the rule.  If you need to add it later, you

10   can add it later.

11             MR. HINTON:  Well, wouldn't the utilities then

12   complain that if we left it as a utility-interactive inverter,

13   what would that do to the systems that don't utilize an

14   inverter?  Would the utility then come in and say, well, we

15   can't interconnect them because they don't have an inverter

16   capable of, you know, anti-islanding function?  I was trying

17   to, in framing that language like I did I was trying to

18   actually give you guys more comfort, and knowing that your

19   concern about islanding is going to be addressed even if they

20   don't have an inverter.  They have to in some way have a device

21   that automatically disconnects from the grid.  But I also

22   didn't want to leave it as just utility-interactive inverter

23   because there's a lot of technologies out there that do not use

24   inverters.

25             MS. CLARK:  I would just like to know if there's --

FLORIDA PUBLIC SERVICE COMMISSION

72

1   what they might be and who, what they would be needed for.  I

2   mean, I --

3             MR. TRAPP:  Could I, could I offer this suggestion?

4   Your suggestion is to delete the language.  What if we were to

5   change the language to read "or other device certified by the

6   utility and approved by the Commission"?

7             I mean, right now it's referring back to (4)(a),

8   which is certification by a national laboratory here or other

9   independent authority.  To the extent that you have a non-DC or

10   an AC type of machine that you have to address the issue of

11   automatic disconnect on, it seems to me that the utility would

12   want to be very interested about making sure that device,

13   whatever it is, is there.  And at the same time we don't

14   totally trust utilities, so it would be subject to Commission

15   approval.

16             MS. CLARK:  In other words, the person who would want

17   to connect in that way would have to come and get the approval

18   of the device or the utility?

19             MR. TRAPP:  They'd bring the device to the utility

20   first and then hopefully y'all worked it out.  And if you

21   didn't, then the Commission would have to approve it.

22             MS. CLARK:  And that wouldn't -- that sort of takes

23   them out of any fast-track interconnection?

24             MR. TRAPP:  Once you do it once, I assume that it

25   becomes standard.  Do we have to clarify that in the rule as

FLORIDA PUBLIC SERVICE COMMISSION

73

1   well?

2             MS. CLARK:  I think I understand what you're

3   suggesting.

4             MR. FUTRELL:  Bill.

5             MR. TOTH:  Bill Toth with All Source Energy.  In

6   (4)(b) it refers back to (4)(a), which then refers back to

7   Section (3), which is all the IEEE and UL standards.  So I

8   think you've kind of covered the bases by referring back to all

9   of the UL or all of the standards in Section (3).

10             MR. TRAPP:  And refresh my memory again.  What do the

11   UL standards say with respect to noninverter type systems?  Did

12   you address that at one time?

13             MR. JONES:  It's UL 1741.  It's basically

14   anti-islanding, disconnect from the utility grid.  It's a

15   protocol for inverters with, interacting with the grid.  More

16   than inverters.  Right.

17             MR. TRAPP:  So if it has that UL certification, then

18   it should be fine; right?

19             MR. TOTH:  Bill Toth.  What it says is, "Inverters,

20   converters, controllers and interconnection system equipment

21   for use with distributed energy resources."  That's what

22   1741 says, or the title.

23             MR. REEDY:  Bob Reedy.  To try and answer the

24   examples that might come up, I did mention a small wind that

25   had an induction generator.  Probably the more common thing in

FLORIDA PUBLIC SERVICE COMMISSION

74

1   Florida will be a biogas, an anaerobic digester on a farm that

2   uses either a reciprocating engine or which drives in turn a

3   rotating machine which could be either a synchronous generator

4   or an induction generator and, or a microturbine.  There are

5   some microturbines that do have rotating machines.  A lot of

6   them use inverters.  So -- but those -- that would be, in my

7   mind, the things that could come up in the foreseeable future.

8             And I would, would follow along with the last comment

9   on the last gentleman here, that if you point right back to

10   Section (3), it's very objective.  It says whether it meets it

11   or not.  There is no judgment needed by the utility or anyone

12   else.  If it meets it, it meets it.  If it doesn't, it doesn't.

13   It seems like it would be a fine way to go with the language

14   that's here.  It's either an inverter that meets that or it's a

15   device, some other device that meets that, a disconnect

16   protection control scheme that meets that, behaves the same

17   way.

18             MR. TRAPP:  And if it has a UL tag, it's assumed to

19   have that device in it; is that correct?

20             MR. REEDY:  If it meets those standards.

21             MR. TRAPP:  Yeah.

22             MR. REEDY:  I mean, it would have, it would have

23   circuitry that would disconnect the device under those

24   conditions.

25             MR. TRAPP:  Yeah.  Again, Ms. Clark, our concern is

FLORIDA PUBLIC SERVICE COMMISSION

75

1   completeness with respect to the technologies that may be out

2   there.  And we're not just talking about DC inverters, we're

3   talking about rotating machinery as well.  And I'd ask you to

4   look at the language again and let us know if you still have

5   concerns about it.  But I think staff was thinking that it was

6   covered by the references back to the UL standards.

7             MR. HINTON:  Ms. Clark, is it the phrase "or other

8   device" that you have a problem with because it's too vague?

9             MS. CLARK:  We were looking more for clarity as to

10   what those devices may be and if you all or anyone who is

11   participating had any specifics as to, as to what they might

12   be.

13             MR. HINTON:  The phrase I keep seeing in UL 1741 is a

14   utility-interactive inverter and interconnection system

15   equipment, or interconnection system equipment.  I personally

16   don't have any examples to give you.  I was just trying to be

17   broad enough to capture this other possible equipment while

18   still requiring this anti-islanding function.

19             MS. CLARK:  I think the explanation on our part is

20   that the people we have been working with who are familiar with

21   the inverter-based technology and how that works and with these

22   interconnections that have taken place that use, that would

23   fall under this rule, there was a concern about not knowing

24   what these other devices may entail and what you had in mind.

25   I will check more specifically as to whether or not if it is

FLORIDA PUBLIC SERVICE COMMISSION

76

1   certified and in compliance with (3), then does that give the

2   level of comfort that there's not anything out there that they

3   would have concern with interconnecting?

4             MR. HINTON:  Yeah.  And, again, it goes back to

5   Mr. Reedy's example.  What was in mind was an anaerobic

6   digester generating AC electricity wanting to interconnect with

7   your system and trying to address the concerns that you would

8   have about islanding, and not knowing what they would use, but

9   just requiring some form of equipment that performs this

10   function and is certified UL 1741.

11             MR. TRAPP:  I think also the rule provides protection

12   to both parties in these instances.  If the utility doesn't

13   believe the equipment is up to par, you can always handle it

14   through a dispute process.  If you can't resolve it amongst

15   yourselves, there's always the fallback to come to the

16   Commission for resolution.  And, again, our intent here is to

17   expedite these things.  If it's got UL approval, it's presumed

18   protected until you bring it to us and show us it's not, so.

19             MS. CLARK:  That's helpful.  Thank you.

20             MR. TRAPP:  Thanks.

21             MR. FUTRELL:  Okay.  Anything else on (4)(b)?

22             Let's move down to (4)(c), talking about the testing

23   required.  Any comments in (4)(c)?

24             Okay.  I think Cayce made that comment earlier that

25   on Line 21 that you'll substitute (6) for the (5) that's listed

FLORIDA PUBLIC SERVICE COMMISSION

77

1   there.

2             MR. HINTON:  I guess since we're on this page too, it

3   was pointed out that some language that we had dropped back in

4   subsection (3) addressing -- we dropped the language that says

5   "applicable equipment" or "applicable standard" -- where am I?

6   Yeah.  "As applicable" in referring to the three different

7   standards, we dropped that.  Forgot to catch that in subsection

8   (a) where it still says "system in compliance with the

9   applicable codes and standards."  We're going to drop

10   "applicable" from that and just refer back to the codes and

11   standards.

12             MR. FUTRELL:  And that's on Line 13, Page 3 at the

13   end of the sentence.

14             MR. HINTON:  Yeah.

15             MR. FUTRELL:  Okay.  Moving on.  We've renumbered

16   (d), and in (e) we've replaced the term "an itemized accounting

17   of" with "itemized cost support for."  Any comments on (e)?

18             MS. CLARK:  Mark, can I just ask?

19             MR. FUTRELL:  Sure.

20             MS. CLARK:  Did you ask for questions on (d) or --

21             MR. FUTRELL:  Yes.  I didn't see anything.  Do you

22   have comments on (d)?  Go ahead.

23             MS. CLARK:  Oh, I'm sorry.  I must have misheard.

24   No.  As you may recall from our comments, one of the things

25   that we noted at the workshop was it didn't -- we didn't

FLORIDA PUBLIC SERVICE COMMISSION

78

1   understand those potential customers and suppliers and our

2   installers feeling like the waiving of the fees and charges was

3   a necessary part of the rule, that what was really important to

4   them was the net metering.  And in our comments particularly

5   Gulf Power and Progress felt that there should be no waiver of

6   those fees because it does result in the subsidization of those

7   customers by other customers.

8             Gulf Power and Progress continue to believe that the

9   fee should not be waived since it does result in other

10   customers subsidizing the expenses for the net-metered

11   customers.

12             MR. FUTRELL:  What do those fees amount to?  Do you

13   have that information?

14             MS. CLARK:  I believe we previously provided it to

15   you in our letter that we sent back in June and May.  And let

16   me just find those and verify that those numbers are correct,

17   if I could.

18             MR. FUTRELL:  Sure.

19             MS. CLARK:  I know I have it here somewhere because I

20   looked at it just a few minutes -- let me.  If you don't mind,

21   I want to make sure, give it to the folks in the room, and let

22   them check it.

23             MR. FUTRELL:  Okay.  We can come back to that.

24             Anything else in (4)(d)?  Okay.  We talked about

25   (4)(e) and the change there.  Comments on (4)(e)?  Okay.  (F),

FLORIDA PUBLIC SERVICE COMMISSION

79

1   can the change in the utility designation --

2             MR. JACOBS:  I have -- this is Leon Jacobs.  My

3   question is a general question, I think, that goes really to

4   (e),(f) and maybe (g) also.  And that is there, is there some

5   thought as to how the cost support will be defined?  What would

6   be the, the cost basis that will be looked to in assessing

7   whether or not a fee for interconnection is reasonable or not?

8             MR. FUTRELL:  I would consider that to be hashed out

9   in the implementation when the tariffs were filed with the

10   agreements and the staff would review that.  The Commission

11   would ultimately review and approve or suggest changes to those

12   fees.  The implementation phase is where we'd address that.

13             MR. JACOBS:  Okay.  And will there be opportunity for

14   public participation?

15             MR. FUTRELL:  Absolutely.

16             MR. JACOBS:  Okay.  Thank you.

17             MR. TRAPP:  Commissioner Jacobs, did you have any

18   specific requirements you'd like in there?  I mean, obviously

19   to me the fees would be cost-based would be a requirement.  You

20   mentioned public, opportunity for public input.  Would you

21   rather --

22             MR. JACOBS:  And, quite frankly, I'm not, I'm not

23   educated enough at this point to give you some specifics, but I

24   would want to, to make sure that conceptually the costs are

25   fair and reasonable.  But also not -- and going back to

FLORIDA PUBLIC SERVICE COMMISSION

80

1   actually your process, they're balanced enough so they're

2   encouraging participating more so than dissuading

3   participation.

4             So at this point that's my only concern is how do you

5   make sure that those costs are fair and even, evenly balanced

6   so that they don't discourage participation?  But as to actual

7   specifics, I'm not able to give you those at this time.

8             MR. TRAPP:  Okay.  Well, my concern in this is I'm

9   given an understanding in rulemaking that we have to be very

10   careful that we define our process.  And to the extent that

11   there's going to be some consideration by the Commission of

12   these factors, to the extent that we can define how the

13   Commission is going to consider those, I recognize the point.

14   So to the extent that --

15             MR. JACOBS:  That's exactly -- we're exactly on the

16   same point.

17             MR. TRAPP:  If we need to tighten that up, I would

18   appreciate you giving us some comment on it.

19             MR. JACOBS:  I'll commit to you that I will go back

20   and get some background and provide you comment on that.

21             MR. TRAPP:  Thank you.

22             MR. JONES:  This is Dell Jones.  I just have a

23   concern with regard to the comment maybe that Gulf Power and

24   some of the other ones have on the waiver of the insurance and

25   fees.  You know, the administration of keeping track of all

FLORIDA PUBLIC SERVICE COMMISSION

81

1   these individual small system owners and whether they have

2   insurance or not and if they're in noncompliance, rolling a

3   truck out, locking up the disconnect and then rolling another

4   truck out to unlock it once they comply, all those costs are

5   now captured and rolled up and borne by all of those people

6   that ultimately interconnect, and that, you know, it's not

7   fair, you say, to transfer the costs to other, other ratepayers

8   that are not interconnected.  Just the administration and the

9   process of a full-time employee maybe spending so much time

10   tracking insurance requirements, who's insured, who's not.  If

11   you change insurance companies, you have to go back and tell

12   the interconnecting utility that you've done so.  And, again,

13   all of those fees for something that seems to be a fairly

14   minor, you know, issue, that it just seems onerous to have such

15   a big burden, the administrative costs borne by all of those

16   participants who have interconnected.

17             And, you know, and they're -- again, if they're

18   allowed recovery of these and through the fees of the other

19   interconnected customers, then it could sort of really take a

20   lot of the potential cost savings of the solar system out of

21   your, your cost.  And, again, if it's a one-time fee, that's

22   one thing.  But I see this as an ongoing issue to track

23   somebody's insurance on an ongoing basis.  And who is going to

24   do that?  And it just seems an administrative burden that's not

25   really all that necessary for the smaller system owners.

FLORIDA PUBLIC SERVICE COMMISSION

82

1             MS. CLARK:  I do have some information, and this is,

2   this is covering the application fee and the metering costs.

3   For Progress Energy the application fee is $95 and the

4   metering -- let me see.  I just had it.  The metering was $125.

5   For Gulf at this -- at least under the PV rules there was no

6   fee for the under 10 megawatts, but the metering cost was $250.

7   And then there was the $20 per month for the phone line to

8   allow the remote metering, meter reading.

9             MR. FUTRELL:  Thank you.  Any other comments on (4)?

10   We've gone over Page 4, (f) and (g).  Okay.  Let's move on

11   to -- do you have questions, Cayce?

12             MR. HINTON:  Just in the abundance of caution I

13   wanted to make sure that we're not leaving anything out.  I was

14   wondering if, you know, other than the fees waived under,

15   (4)(d), are there costs that we are not accounting for in here,

16   whether it's interconnection costs?  What has not been

17   addressed, you know, and who should pay these costs?  I just

18   want to make sure that we're not creating, you know, yet

19   another proceeding down the road because we forgot to address a

20   cost that will need to be recovered by somebody.

21             MR. HANSEN:  I have a comment.

22             MR. FUTRELL:  Gordon.

23             MR. HANSEN:  We're talking about costs to the utility

24   company, but there's also a benefit to the utility company if

25   you have distributed generation.  One of the main benefits is

FLORIDA PUBLIC SERVICE COMMISSION

83

1   that they do not have to transport the power over long

2   distances.  So the I-squared (phonetic) losses or the magnetic

3   losses in the line are eliminated when you have distributed

4   power, and that's an immediate financial gain to the power

5   company.  So it's not all loss.  Thank you.

6             MR. KEYES:  Jason Keyes from IREC.  I just wanted to

7   clarify my reading of this.  (4)(d) says that Tier 1 customers

8   aren't going to get charged an application fee.  They're also

9   not going to get charged any other fees on top of what retail

10   customers without PV or without renewable energy are charged.

11   And (e) just says application fees; it's not talking about

12   anything else, as I understand it.  So I just wanted to clarify

13   that all we're talking about there is the fees to consider an

14   application.

15             And since we're talking about fairly small numbers, I

16   don't know that it's worth going through a whole tariff

17   proceeding to figure out by utility how much time and energy

18   they're going to spend going through an application.  We're

19   talking about something that, for a Tier 2, you know, you might

20   be charging $200 or something.  You could just set a limit

21   based on what other, other states or FERC have done and

22   sidestep that whole procedure.

23             And also I wanted to share from Excel Energy when

24   they were in New Mexico, they were talking about their

25   experience in Minnesota and Colorado, that at first when they

FLORIDA PUBLIC SERVICE COMMISSION

84

1   were going through application, through applications, they

2   would go and look at each system very carefully and go out and

3   do an inspection of the system.  And as they got familiar with

4   some of the installers, they, they could step back and say,

5   okay, well, this is from the ABC installation company.  You

6   know, we've approved 50 of them already.  You know, we'll just

7   stamp that approved and it takes very little time now.  And

8   especially in Colorado, once they went to a straight max

9   application fee, they changed their procedures so they didn't

10   go out and look at every one.  They just said, well, we know

11   the ones -- you know, we can use common sense and say this is

12   just like the other 20 we've, we've checked and so we can

13   approve it.

14             So if you ask for itemized costs, then you'll get the

15   response of a utility saying, well, we're going to be as

16   cautious as can be.  We're going to go and check through each

17   one individually in great detail and you'll get a high cost.

18             MR. HINTON:  Well, we're not talking about an

19   application fee that will be done on a case-by-case basis.

20   We're talking about when they file their agreement, they're

21   going to file an application fee that would be applied to

22   everybody and they'll have to itemize those costs.  So we're

23   not talking about each time somebody wants to interconnect

24   they've got to go out and take a look at the system and

25   determine, you know --

FLORIDA PUBLIC SERVICE COMMISSION

85

1             MR. KEYES:  Yeah.  I understand.  But I'm saying if

2   you, if you let a utility set that cost, they'll say here's

3   what we're going to go through each time.  We're going to need

4   to inspect the system and we're going to go out and do an

5   on-site inspection, and so it's going to cost us $600 for each

6   one.  But if you come in and say the application fee is going

7   to be $100 for a 20-kilowatt system, it's amazing how they will

8   streamline their process.

9             MR. TRAPP:  Again, I'd suggest this is an

10   implementation issue, not a rulemaking position.  I mean, what

11   are your rule changes?  The proposed rule says "utility may

12   propose for Commission approval."  It doesn't say that they're

13   going to charge any fees.  It says they will propose them in

14   their tariff filings for Commission approval.  And, you know,

15   I've already committed to you that staff intends to try to

16   consolidate those into as much of a uniform tariff as possible,

17   and we would expect the fee structures in those tariffs too to

18   be uniform and defendable by the, by the utilities.  So, again,

19   going to the rule, do you have word changes to the rule?  Do

20   you just want to eliminate the section or --

21             MR. KEYES:  Not eliminate the section, just say that

22   the application fee shall not exceed, say, $1 per kilowatt.

23   And --

24             MR. TRAPP:  What's the basis for the number?  Where

25   is your evidence?

FLORIDA PUBLIC SERVICE COMMISSION

86

1             MR. KEYES:  The utilities that have done lots and

2   lots of inspections, say PG&E in California or Excel in

3   Colorado, have been able to handle applications at that sort of

4   rate.  But if you want to know what a reasonable number is, you

5   know, it would be helpful to give the utilities some guidance

6   about that.  Because for the individual tariff filings you're

7   not going to get anybody else in the hearings besides the --

8   you know, when it comes down to these fees I won't be back,

9   industry representatives won't be back.  And I have faith that

10   you'll do a good job in keeping them reasonable, but it seems

11   like this is a good opportunity to just put a cap on that.

12             MR. TRAPP:  I'd suggest you put that in rulemaking

13   language with your supporting evidence and file it in your

14   postworkshop comments and they'll be considered.

15             MR. KEYES:  Okay.  Will do.  Thank you.

16             MR. FUTRELL:  Okay.  Anything else in Section (4)

17   before we leave it?

18             Okay.  Section (5), the contents of the agreement.

19   Especially as you get down to (a)(2) on the testing procedures,

20   we've made some changes about the testing procedure and timing

21   and notification there.  Any comments in (5)(a)(2)?

22             MS. CLARK:  Mark, perhaps this is a good time just to

23   sort of ask a question and make an observation.  And this would

24   be relevant to, I have it listed as (5)(a)(2), (5)(a)(4),

25   subsection (6), subsection (7) and (7)(d).

FLORIDA PUBLIC SERVICE COMMISSION

87

1             You might recall that we made several suggestions, we

2   being the IOUs, that would help assure compliance with the

3   rules, and these included requiring annual testing of the

4   customer equipment, requiring customers to update insurance

5   annually, requiring them to submit proof of insurance at the

6   time of application, and also permitting disconnection if

7   customers fail to provide proof of insurance.  We noted that

8   those changes were not made.  And we felt that they were

9   appropriate changes to ensure compliance with the rule, ensure

10   compliance with the insurance requirements and safe operations.

11   And we just would like you to give some thought and give an

12   explanation, if you could, as to why you thought it was

13   appropriate to delete those things that would allow the

14   utilities to verify that the rules have been complied with.

15             MR. HINTON:  As far as the proof of insurance,

16   personally I figured that that would just be something that you

17   would include in your application, that that would be

18   information that the customer, you know --

19             MS. CLARK:  That's helpful.

20             MR. HINTON:  Along with certifying -- you know, any

21   information you need to execute the agreement, they would be

22   notified of that and then they would submit that as part of the

23   agreement.

24             As far as disconnecting for lack of insurance, that's

25   still in here under the manual disconnect where it was.  We

FLORIDA PUBLIC SERVICE COMMISSION

88

1   just moved the whole section up.

2             MS. CLARK:  I may have misread it.  I apologize.

3             MR. HINTON:  That's okay.  Subsection (6)(b)(4).

4   It's one of the conditions for disconnect with the manual

5   disconnect switch.  And I'm sure that'll be a matter for

6   discussion in a little while.

7             As far as the yearly inspections, I anticipate that

8   being part of the discussion today, but I didn't have any

9   particular -- I don't have any proposed language in that

10   regard, but I was fully expecting that to come up today for

11   further discussion.

12             MS. CLARK:  Let me just ask a question.  So, so that

13   you have "for failure of the customer to maintain the required

14   insurance."  I guess let me be more specific.  Would that

15   include the failure of the customer to provide proof of

16   insurance when asked for it?

17             MR. HINTON:  Well, I guess that would be how you

18   would find out if they had failed to keep the required

19   information is if they refused to provide you with proof.

20             MS. CLARK:  Okay.  Thanks.

21             MR. GRANIERE:  Could I ask a question, Susan, about

22   that part about finding the proof of insurance all the time?

23   When we do cars, we show up there once a year and we renew a

24   license and then we show the proof of insurance.  But here that

25   doesn't happen.  So are you suggesting that once a year the

FLORIDA PUBLIC SERVICE COMMISSION

89

1   utility sends them out a little envelope that says, do you have

2   insurance, and they say, yes, and they mail it back?

3             MS. CLARK:  Bob, I certainly think there are ways

4   that that can be administered, and that may be one of the ways

5   that it can be done.  I think we just wanted to assure that

6   that is something that can be asked of the customer.

7             MR. GRANIERE:  Okay.

8             MR. HINTON:  I'd be interested, just in response to

9   what Susan said, from the solar guys, the need for yearly

10   inspections by the utility to make sure that the system is

11   running as it should.  Even though the standard interconnection

12   agreement will require you to do that, what are your thoughts

13   on the utility being able to come out and inspect yearly?

14             MR. REEDY:  Bob Reedy.  There should be no need for

15   any maintenance of a solid state system, which the PV systems

16   will be.  There's nothing to change or nothing to go wrong.

17   And the customer is motivated if something goes wrong because

18   it will not produce the energy that they've paid the system,

19   they bought the system to produce.  So I can't find a reason

20   for an inspection on a yearly basis.  And I would, in fact, see

21   that as an administrative nightmare and somewhat of a barrier

22   to continued operation if there had to be -- would that imply

23   then that if the inspection wasn't made on time, that we could

24   continue to operate or would we have to shut down?  And all

25   those questions come up.

FLORIDA PUBLIC SERVICE COMMISSION

90

1             MR. HINTON:  Susan, I have a question for you.  When

2   you talk about the yearly inspections, are you suggesting that

3   the utility will come out and inspect each system?

4             MS. CLARK:  I think the way we had proposed it would

5   be the customer responsibility.  But let me, let me check on

6   the specific language that we suggested.

7             MR. TOTH:  Bill Toth.  I would suggest, as he said,

8   there is not a lot that can go wrong with one of these systems.

9   And until someone can show that annual testing is required, the

10   onus should not be on the customer.

11             MS. CLARK:  Cayce, the specific change we suggested

12   was to old (5) -- no, I'm sorry.  Let's see.  (5)(a)(2).  "The

13   electric utility shall have the right to have personnel present

14   at initial testing and may require annual testing of customer

15   equipment and protective apparatus."  So we were not specific

16   as to the utility going out there or the customer providing

17   that information on the annual testing.  I think it could go

18   either way.

19             MR. HINTON:  Yeah.  I remember when I read your

20   language, because it was in combination with coming out at the

21   first test, my thought -- when I read that language that you

22   proposed, it was that the utility would come out and inspect

23   each year.  That's why I thought I'd clarify now.

24             MR. TRAPP:  I'm concerned about the open-endedness of

25   the statement.  You say the utility may require annual testing.

FLORIDA PUBLIC SERVICE COMMISSION

91

1   For what cause?  Taking their point, shouldn't there be cause

2   for testing?  You're just going to test to test?  If it's not

3   broken, don't fix it.  So, I mean, unless you've got a good

4   reason to go out there and request testing, why do you need to

5   test it on a rigid annual basis?

6             MR. ASHBURN:  Well, I think it said "may require."

7   And as Bob was saying --

8             MR. TRAPP:  There you go again.  We don't trust you

9   though.  "May" is too broad.

10             (Simultaneous conversation.)

11             We can drive trucks through "may."

12             MR. ASHBURN:  Bob was articulating about solar.  This

13   is about renewable, it isn't just about solar, and there may be

14   devices that do have issues that need to be tested.

15             MR. TRAPP:  I'm just suggesting that if you were to

16   improve your language where you couldn't drive a truck through

17   it and say "may for good cause" and then define what that cause

18   is -- for instance, creating harmonics on the system, it's

19   creating overloads on the system, it's whatever.

20             MR. ASHBURN:  Well, let me -- I don't know enough

21   about some of this.  But let me give you an example where we

22   may not have a cause and may want to look.  They were

23   discussing down there earlier about the inverter versus the

24   solar arrays.  What if somebody put in an inverter as they were

25   talking about, a much larger inverter than the solar array they

FLORIDA PUBLIC SERVICE COMMISSION

92

1   put in in the first place, and then, as they said, someone

2   might do that because they want to add solar arrays later,

3   would we know?  I don't know if we would find out if someone

4   put two or three more solar arrays on someone's roof.  And,

5   again, we wouldn't know then whether that might cover

6   90 percent of the service or -- I don't know what all the

7   reasons are.  The reason is -- the objective is to allow us

8   some ability to require a, a review or a looking back at the

9   equipment, testing of it, in case something is there that

10   concerns us.

11             MR. TRAPP:  At their cost.  And I think what I'm

12   hearing on their side of the table is that you can use that as

13   a harassment technique.  So I'm suggesting better language.

14   You want access, fine.  Ask them for access at your cost.  You

15   got a suspicion, send a guy out there, have him eyeball it.  If

16   it's not meeting specifications, if he's put in too much stuff

17   that he's not supposed to have, you can challenge him on that

18   point.  If there's a dispute, you can bring it to the

19   Commission.  I think what they're asking for is some

20   reasonableness to the fear that the utilities want everything

21   on their side, we want, we want, we want, and what they're

22   ready to say is we don't want you, we don't want you, we don't

23   want you.  And I don't think that's what we're here about at

24   all.

25             MR. ASHBURN:  Well, I don't think that was the intent

FLORIDA PUBLIC SERVICE COMMISSION

93

1   of it either, Bob.

2             MR. TRAPP:  So I'd challenge you to improve your

3   language.

4             MR. ASHBURN:  We will attempt to improve the

5   language.

6             MR. TRAPP:  Thanks.

7             MR. KEYES:  Just a follow-up comment.  As far as I

8   know, no state requires annual inspections of existing systems.

9   The standard is to say if there is a change in the system, if

10   you're going to change the design of the system, for instance,

11   by adding more modules, then you have to go back through and go

12   through the process again, the application process again.

13             MR. FUTRELL:  Okay.  Any other comments on (5)(a)(2)?

14             Okay.  Section (3), specify the customer's generating

15   equipment.  And if no comments, we'll move to (4), which is the

16   indemnification language.  We've moved that and tried to

17   clarify that.

18             MR. TOTH:  What are we clarifying?

19             MR. FUTRELL:  Well, it's to try to make it, try to

20   make the language a little more clear on what we were talking

21   about there.

22             Bob.

23             MR. REEDY:  Bob Reedy with a bit of a problem here in

24   the notification of initial testing.  That sort of begs that

25   there is initial testing.  The testing of these systems is done

FLORIDA PUBLIC SERVICE COMMISSION

94

1   in the laboratories and by UL and the manufacturers.  They are

2   assembled in the field and they are commissioned, but they're

3   not to be commissioned until the utility, everything is in

4   order and the utility has been notified.  So it's a little

5   bit -- this language seems to create the idea that every system

6   is going to be, there's going to be a ceremonial test of some

7   kind and someone could be there to witness it.  There won't be

8   anything to witness.  The system is, meets all the standards

9   and codes.  The electrical inspector has said it's approved.

10             MR. TRAPP:  Instead of "inspect," would "install" be

11   a better word?  You're talking about Line 3 on Page 5?

12             MR. REEDY:  Before it's --

13             MR. TRAPP:  Oh, we went someplace else.

14             MR. REEDY:  On Line 22 on Page 4.

15             MR. HINTON:  Yeah.  That, that language was in the

16   original PV rule.  You can see the language just above that

17   that's scratched out and that's stricken.  That's the language

18   from the original PV rule, and we adjusted it based upon

19   somebody's comments about some notification and then making

20   sure that it was clear that the customer didn't necessarily

21   have to hold the things up until the utility was available, but

22   the utility had to actually -- the customer lets them know when

23   it is, they can be there or not be there, but it's the

24   utility's choice.

25             MR. REEDY:  And I confess to just now thinking about

FLORIDA PUBLIC SERVICE COMMISSION

95

1   this.  And I just think that it creates an inappropriate, I

2   mean, an expectation that doesn't exist.  There is no testing,

3   there's no, nothing to witness.

4             MR. HINTON:  I guess what I'm thinking about is what

5   I read that to mean is we've got it installed, we're flipping

6   the switch on this date to see if it works.

7             MR. REEDY:  There you go.  There you go.

8             MR. HINTON:  So you guys can come out and see.

9             MR. REEDY:  You want to look at it before we flip the

10   switch?

11             MR. TRAPP:  The words "enter in service" instead of

12   "testing."  We should --

13             MR. REEDY:  Commissioning or in service.

14             MR. TRAPP:  Commissioning, in service.  Okay.  Do

15   y'all have a problem with that, Susan?

16             MS. CLARK:  As I've heard him speak, that is what we

17   are focusing on is before it goes into service now.  Now I'm

18   not sure that language he suggested will do it, but that is

19   the, sort of the tipping point that we're looking at.

20             MR. HINTON:  Well, I think this is separate from the

21   inspections of the equipment that's provided for later on.

22   This is -- you're going to be flipping the switch and turning

23   the stuff on for the first time is my impression of this

24   language from the original rule.  And the utility, you can be

25   there if you'd like to see them turn it on for the first time

FLORIDA PUBLIC SERVICE COMMISSION

96

1   and see, make sure it's functioning normally.

2             As far as there's some other inspections that you can

3   come later, I guess that's, you know, that we provide for so

4   that you can go out and make sure that they comply with all the

5   different sections of this rule as far as, you know, the

6   equipment and that type of thing.  But this was just, you know,

7   we're turning it on.  You can come out and eyeball it if you

8   want when we do that.

9             MR. BRANDT:  Yann Brandt with Advanced Green

10   Technologies.  I had a similar concern as Bob because it is

11   just flipping a switch, and testing to me refers to something

12   that initiates an inspection and a report afterwards.  Are we

13   saying that we want a report for every system that the switch

14   is flipped or -- because it is such a standard that is approved

15   by FSEC or similar institutions, UL, according to the test

16   guidelines.  I don't think a testing report or an engineering

17   report is necessary for every installation or testing per se

18   for every system that goes into service.

19             MR. HINTON:  Can somebody suggest some rule-like

20   language for turning it on?

21             MR. TRAPP:  Yeah, I will.  I have the sentence read,

22   "The customer shall notify the investor-owned utility at least

23   ten days prior to initially placing the equipment in service,

24   and the investor-owned utility shall have the right to have

25   personnel present on that date to observe such turn on."

FLORIDA PUBLIC SERVICE COMMISSION

97

1             MR. HINTON:  By "in service," are you distinguishing

2   that from running in parallel with the utility's system?

3             MR. TRAPP:  If you want to refine that to "placing in

4   service in parallel with the electric utility."

5             MR. HINTON:  Well, I think this should be different

6   from that because there are certain inspections that need to

7   take place before they run in parallel with the utility.  But I

8   think this is more just --

9             MR. TRAPP:  So we're not talking about turning on

10   then.

11             MR. HINTON:  Well, I think we're talking about

12   turning on, but just it's, you know, before you run in

13   parallel, you're also going to turn it on once or twice to make

14   sure that it's been installed properly, I would assume, and

15   that's generating electricity.

16             MR. REEDY:  I'm sorry.  Bob Reedy.  The system can't

17   run standalone.  It has to be --

18             MR. HINTON:  That's true.

19             MR. REEDY:  It's energized, it's ready to go.

20             MR. TRAPP:  The inverter, the inverter sinks it --

21   right when you turn it on the inverter sinks it; right?

22             MR. JONES:  Depending on the inverter, it takes, you

23   know, a couple of minutes, five minutes to get in sync.  It

24   goes through a set of startup and synchronization, recognizing

25   the voltage, the current.

FLORIDA PUBLIC SERVICE COMMISSION

98

1             MR. HINTON:  Okay.  Then I, I think I was probably

2   reading this rule wrong and it probably is talking about the

3   initial coming in service then.  That would make sense.

4             What was your language again, Bob?

5             MR. TRAPP:  Well, again, open to a better suggestion

6   either now or in your postworkshop comments.  "The customer

7   should notify the investor-owned utility at least ten days

8   prior to initially placing the equipment in service," and then

9   skip to "and the investor-owned utility shall have the right to

10   have personnel present on that date."

11             MS. CLARK:  Bob, if I could ask that maybe we could

12   look at that a little bit over lunch.

13             MR. TRAPP:  Sure.

14             MS. CLARK:  Because I think there are circumstances

15   where it's not necessarily looked at on that date.  Ahead of

16   time they look at, they observe that it's done well and they're

17   fine with it and they don't need to be there on that date that

18   it's turned on because they are, they've already made the

19   inspection.  But I want to clarify that, and I think perhaps

20   over lunch we can come up with language that would be

21   appropriate.

22             MR. TRAPP:  Oh, yeah.  That's fine.  As long as you

23   have specific rulemaking language.

24             MR. ASHBURN:  I think we're getting that hint.

25             MS. CLARK:  I heard you.

FLORIDA PUBLIC SERVICE COMMISSION

99

1             MR. FUTRELL:  Okay.  Since we're getting into the

2   noon hour, before we launch into indemnification, which I'm

3   sure we'll have a long discussion on that, let's take a lunch

4   break and gather our thoughts and come back at 1:30.

5             (Lunch recess.)

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

100

1   STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTER

2   COUNTY OF LEON      )

3

4             I, LINDA BOLES, RPR, CRR, Official Commission

Reporter, do hereby certify that the foregoing proceeding was

5   heard at the time and place herein stated.

6             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

7   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

8   proceedings.

9             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

10   or employee of any of the parties' attorneys or counsel

connected with the action, nor am I financially interested in

11   the action.

12              DATED THIS ______ day of October, 2007.

13

14                  ________________________________

LINDA BOLES, RPR, CRR

15                  FPSC Official Commission Reporter

(850) 413-6734

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION