1

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

In the Matter of:

3

REVIEW OF 2007 ELECTRIC                 DOCKET NO. 070297-EI

4   INFRASTRUCTURE STORM HARDENING

PLAN FILED PURSUANT TO

5   RULE 25-6.0342, F.A.C., SUBMITTED BY

TAMPA ELECTRIC COMPANY.

6   -------------------------------------

7   REVIEW OF 2007 ELECTRIC                 DOCKET NO. 070298-EI

INFRASTRUCTURE STORM HARDENING

8   PLAN FILED PURSUANT TO

RULE 25-6.0342, F.A.C., SUBMITTED BY

9   PROGRESS ENERGY FLORIDA, INC.

10   -------------------------------------

11   REVIEW OF 2007 ELECTRIC                 DOCKET NO. 070299-EI

INFRASTRUCTURE STORM HARDENING

12   PLAN FILED PURSUANT TO

RULE 25-6.0342, F.A.C., SUBMITTED BY

13   GULF POWER COMPANY.

14   -------------------------------------

15   REVIEW OF 2007 ELECTRIC                 DOCKET NO. 070-301-EI

INFRASTRUCTURE STORM HARDENING

16   PLAN FILED PURSUANT TO

RULE 25-6.0342, F.A.C., SUBMITTED BY

17   FLORIDA POWER & LIGHT COMPANY.

______________________________________/

18

19

20

21

ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

22                 A CONVENIENCE COPY ONLY AND ARE NOT

THE OFFICIAL TRANSCRIPT OF THE HEARING,

23            THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

24

25   PROCEEDINGS:        AGENDA CONFERENCE

ITEM NO. 9

FLORIDA PUBLIC SERVICE COMMISSION

2

1

2

3   BEFORE:             CHAIRMAN LISA POLAK EDGAR

COMMISSIONER MATTHEW M. CARTER, II

4                       COMMISSIONER KATRINA J. McMURRIAN

COMMISSIONER NANCY ARGENZIANO

5                       COMMISSIONER NATHAN A. SKOP

6   DATE:               Tuesday, December 4, 2007

7

PLACE:              Betty Easley Conference Center

8                       Room 148

4075 Esplanade Way

9                       Tallahassee, Florida

10

REPORTED BY:        JANE FAUROT, RPR

11                       Official FPSC Reporter

(850) 413-6732

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

3

1   PARTICIPATING:

2             MICHAEL COOKE, FPSC General Counsel, KEINO

3   YOUNG, ESQUIRE, KATHY LEWIS, CARL VINSON, and JIM BREMAN,

4   representing the Florida Public Service Commission Staff.

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

4

1                        P R O C E E D I N G S

2             CHAIRMAN EDGAR:  Okay.  We are on Item 9.

3             MR. YOUNG:  Keino Young, Legal Staff.  Item 9 is

4   staff's post-hearing recommendation to approve the storm

5   hardening plans filed by Gulf Power and Florida Power and Light

6   because they meet -- because the plans meet the requirements of

7   Rule 25-6.0342 of Florida Administrative Code.

8             The first issue --

9             CHAIRMAN EDGAR:  Keino, I'm sorry, we're having

10   difficulty in hearing.  I'm going to give Chris a moment to

11   maybe adjust your sound.

12             Okay.  And we're going to ask you to begin from the

13   beginning, please.

14             MR. YOUNG:  Is this better?

15             CHAIRMAN EDGAR:  Back up.  Okay.

16             MR. YOUNG:  Is this better?  All right.

17             Item 9 is staff's post-hearing recommendation to

18   approve the storm hardening plans filed by Gulf Power and

19   Florida Power and Light because they meet the requirements of

20   Rule 25-6.0342 of the Florida Administrative Code.

21             The first issue, Issue 27A in Item 9 is staff's

22   recommendation to grant Gulf's unopposed motion to reopen the

23   record for the limited purpose of including Gulf's amended

24   storm hardening plan which was filed in a docket filed on

25   August 15th, 2007.

FLORIDA PUBLIC SERVICE COMMISSION

5

1             If the motion is granted, staff asks that the amended

2   plan be identified as Exhibit Number 54 and entered into the

3   record.  Oral argument was not requested.

4             CHAIRMAN EDGAR:  Commissioners, my thinking is that

5   we should go ahead and address Issue 27A, and then we can go

6   into the remaining either by plan, or altogether, depending on

7   your preference.  And so with that, are there any questions for

8   staff on Issue 27A, which is the procedural issue to go ahead

9   and enter a document into the record as there was some question

10   as to whether procedurally that occurred.  Any questions about

11   that item?

12             Seeing none, okay, is there a motion for the staff

13   recommendation on Issue 27A.

14             COMMISSIONER SKOP:  So moved.

15             COMMISSIONER CARTER:  Second.

16             CHAIRMAN EDGAR:  Thank you.  All in favor say aye.

17             (Unanimous affirmative vote.)

18             CHAIRMAN EDGAR:  Opposed?

19             Show Issue 27A adopted.

20             And with that, I will ask our staff to go ahead

21   and -- actually, let's do them individually.  Talk to us about

22   the Gulf plan, Issues 28 through 30, 34 through 37, and 39, and

23   let's kind of do a general overview of those together.  And

24   then, Commissioners, we can take them up either as a group or

25   individually, if there are questions or a discussion.  And, of

FLORIDA PUBLIC SERVICE COMMISSION

6

1   course, I note that this is a post-hearing discussion limited

2   to staff and Commissioners.

3             Oh, excuse me.  Commissioner Carter.

4             COMMISSIONER CARTER:  If it's okay with you, may I

5   make a couple of comments before we get into the individual

6   perspective on each one of them?

7             CHAIRMAN EDGAR:  You may.

8             COMMISSIONER CARTER:  Thank you so kindly.

9             I wanted to just say that this process that we are on

10   here, begun sometime ago where we started with asking all the

11   electric utilities in Florida to provide the annual hurricane

12   preparedness briefings, I think that is substantial in that

13   that was something we kind of made a major step on.

14             And within those parameters I just wanted, just for

15   my own edification, or maybe remind some people, but just to

16   say it for myself about the ten points -- the ten initiatives

17   on the storm preparedness is that in the last couple of cycles

18   we haven't had any hurricanes, per se, but there is no reason

19   to lose our vigilance.  And we can just be blessed because of

20   these miracles of not having storms.

21             But I wanted to just kind of reiterate that,

22   Commissioners, that's on Page 3 of your cases, and just the ten

23   points in terms of our ten initiatives was a three-year

24   vegetation management cycle for distribution circuits; an audit

25   of joint use attachment agreements; a six-year transmission

FLORIDA PUBLIC SERVICE COMMISSION

7

1   structure inspection program; hardening of existing

2   transmission structures; a transmission and distribution

3   geographic information system; post-storm data collection and

4   forensic analysis; collection of detailed outage data

5   differentiating between the real liability performance of

6   overhead and underground systems; increased utility

7   coordination with local governments, including the Emergency

8   Operations Centers, our first responders, firefighters and

9   police officers; collaborative research on effects of hurricane

10   winds and storm surge, and a national disaster preparedness

11   recovery program.  I think those are very significant

12   perspectives and kind of sets the tone and puts Florida in a

13   league well beyond a lot of other states in terms of how they

14   are dealing with natural disasters and experiences.

15             My heart goes out for the people out in California

16   who have experienced the fires this year.  And some of our

17   neighbors up in the northwest with the floods that they are

18   having even as we speak here.

19             But I think these are phenomenal best practices that

20   we can pass on to our colleagues in others states, they can use

21   this as a way to have the industry know up front what is

22   expected of them, and also have all of the disparate

23   stakeholders, the public, the ratepayers, the public counsels

24   and all the various and sundry local governments and all.

25             I just wanted to say that, Madam Chairman, because I

FLORIDA PUBLIC SERVICE COMMISSION

8

1   think that this whole case -- these multiple dockets, rather,

2   within this case here kind of brings it home in terms of this

3   new environment that we're operating under.

4             Thank you for your indulgence.

5             CHAIRMAN EDGAR:  Thank you.

6             Commissioner Skop.

7             COMMISSIONER SKOP:  Thank you, Madam Chair.  Again,

8   also, on the heels of Commissioner Carter's comments, we would

9   also like to commend staff for their excellent work on this and

10   putting this issue together.  I guess the issues within the

11   issues, as Tom Ballinger used to say, and the numerous

12   contentious issues that were all, for the most part,

13   successfully resolved in the proceeding I think made this all

14   come together nicely.  So I'm looking forward to seeing these

15   plans implemented and, hopefully, the hardening initiatives

16   will pay great benefits on a forward-going basis.

17             Thank you.

18             MS. LEWIS:  Chairman Edgar.

19             CHAIRMAN EDGAR:  Yes, ma'am.

20             MS. LEWIS:  With your permission, I do have some

21   brief opening remarks.

22             CHAIRMAN EDGAR:  Absolutely.  I was looking forward

23   to them.

24             MS. LEWIS:  As Mr. Young said, Item 9 is staff's

25   post-hearing recommendation to approve the storm hardening

FLORIDA PUBLIC SERVICE COMMISSION

9

1   plans filed by Gulf Power and Florida Power and Light because

2   the plans meet the requirements of Rule 25-6.0342, Florida

3   Administrative Code.

4             The plans of Progress Energy and Tampa Electric were

5   approved at the hearing that was held October 3rd and 4th of

6   2007.  Florida Public Utility Company's plan is being addressed

7   in the company's rate case docket.

8             Several issues regarding aspects of Gulf Power and

9   Florida Power and Light's plans were stipulated at the hearing.

10   Staff's recommendation, therefore, addresses the outstanding

11   issues.

12             As Commissioner Carter has referenced, the utility

13   storm hardening plans are just one element of the multi-faceted

14   approach the Commission has taken to strengthen Florida's

15   electric infrastructure to better withstand the impacts of

16   severe weather.  Rule 25-6.0342, which became effective in

17   February of this year, requires each investor-owned utility to

18   file for the Commission's review and approval a detailed storm

19   hardening plan and to update it at least every three years.

20   May of this year is the first time that the IOUs have filed

21   their plans.

22             Prospectively, staff expects the utilities will

23   modify their plans to reflect lessons learned based on future

24   experience.  Cost and benefits estimates of implementing storm

25   hardening plans will almost certainly change as methods

FLORIDA PUBLIC SERVICE COMMISSION

10

1   developed are implemented and tested through actual storm

2   events.  It should be noted that even the best storm hardening

3   plans will not eliminate all storm-related outages.

4             The issues that remain for your decision today in the

5   Gulf docket are Issues 28, 29, 30, 34, 35, 36, 37 and 39.

6   These issues are unresolved because the Panama City Beach

7   Community Redevelopment Agency and the Municipal Undergrounding

8   Utilities Consortium believe that Gulf should be pursuing more

9   undergrounding.

10             And in the case of Florida Power and Light, the

11   issues that remain for your decision today are Issues 41, 42,

12   43, 44, 46, 47, 48, 49, 50, and 52.  And these issues are

13   unresolved because the Florida Cable Telecommunications

14   Association opposes Florida Power and Light's plan to implement

15   the extreme wind loading standards.

16             And staff is ready to answer your questions.

17             CHAIRMAN EDGAR:  Thank you, Ms. Lewis.

18             Commissioners, questions for our staff or comments?

19   No questions.

20             Oh, I thought you said no.  Commissioner McMurrian.

21             COMMISSIONER McMURRIAN:  I did, because actually it's

22   with respect to Issue 53, or I think that is, maybe, the

23   appropriate place to bring it up, but I'll just go ahead and --

24             CHAIRMAN EDGAR:  Close the docket issue?  (Laughter.)

25             COMMISSIONER McMURRIAN:  The close the docket issue.

FLORIDA PUBLIC SERVICE COMMISSION

11

1             CHAIRMAN EDGAR:  Okay.  Let's jump right to Issue 53.

2             COMMISSIONER McMURRIAN:  That was my hesitancy.  I

3   had a couple of procedural things I wanted to bring up, and I

4   thought that may be the best place to bring that up.

5             CHAIRMAN EDGAR:  Okay.  I have no idea what you are

6   about to say, obviously.  But even though I just recognized

7   you, let me maybe go back for a little bit, if I may.

8             COMMISSIONER McMURRIAN:  Okay.

9             CHAIRMAN EDGAR:  Thank you.

10             A question on Issues 34 and 35, and maybe that will

11   tie in, maybe not.  But in just sort of a chronology type of

12   thing, let's go ahead and see if we can address that.  In Issue

13   34 and in Issue 35 with the way the issue is being framed on

14   both is, is there a detailed description of certain information

15   included.  And then with the issue statement or position of the

16   parties raised by Panama City Beach, in particular where they

17   say, no, there isn't a detailed description, and that certainly

18   seems to be something that is, perhaps, a little more black and

19   white than maybe some things that we deal with that are more

20   subjective.  And so since it does say in the write-up that

21   there is -- you know, that that information is available, but

22   is not part of the plan, I'm not sure I understand the logic of

23   if it's available not including it in the plan if, indeed, at

24   least one party thinks that that would be useful or reasonable,

25   and so if you could just speak to that for me.

FLORIDA PUBLIC SERVICE COMMISSION

12

1             MS. LEWIS:  I didn't hear the very last part of what

2   you said.

3             CHAIRMAN EDGAR:  Okay.  Well, I will try to back up.

4   So if that information is available, and at least one party and

5   then maybe other interested parties would find that information

6   useful if, indeed, it's part of the plan, why are we not

7   recommending that that be incorporated into the plan?

8             MS. LEWIS:  I guess there's no reason it could not be

9   included in the plan.  We noted, I think, in our staff analysis

10   that Gulf had offered to provide more detailed descriptions,

11   and it was available, but I don't know if there would be any

12   objection to including it.

13             CHAIRMAN EDGAR:  It just seemed like if it's

14   available and there is -- if it's available and someone, others

15   have asked for -- have expressed the position that it would be

16   useful rather than requiring that additional step.  And I don't

17   mean to make a big issue about something that may not be a big

18   issue.

19             Mr. Breman.

20             MR. VINSON:  Commissioner, Carl Vinson for staff.  A

21   key element of these dockets was the stipulation of what's

22   called the process to engage third-party attachers, and that

23   allowed a process for information exchange, as you will recall,

24   and I believe that that information could be exchanged via that

25   mechanism.  That's one thing to point out.

FLORIDA PUBLIC SERVICE COMMISSION

13

1             Also, we weren't given very much elaboration by

2   Panama City Beach on their opposition on those grounds.  Where

3   on Issue 35 we say, no, that was their entire statement in

4   their brief.

5             CHAIRMAN EDGAR:  I guess I didn't read it, and I'm

6   not trying to get all wound around in semantics.  I didn't read

7   it necessarily as opposition as more of a description, you

8   know, is a detailed description included?  No.

9             MR. BREMAN:  If I --

10             CHAIRMAN EDGAR:  You certainly have better insight

11   into that.

12             Yes.

13             MR. BREMAN:  My name is Jim Breman.  I'm also

14   technical staff.

15             Detail is in the eye of the beholder, Commissioner,

16   and that might be one of the problems.  There is no standard.

17   It's simply did the company comply with the intent of the rule?

18   Staff is recommending that it did because the company provided

19   a list, an itemized list, of the activities, and I believe we

20   included that in the table.  And that's on Page 18.  So we know

21   the scope of the special activities that Gulf Power Company is

22   implementing.

23             In addition, Gulf Power's plan, as amended, includes

24   a map with little stars on it indicating the geographic

25   location of where these projects are.  So what staff is

FLORIDA PUBLIC SERVICE COMMISSION

14

1   suggesting to you is that the degree of information that any

2   particular municipality may want can increase.  And the

3   standard of review is consistent with the previous docket that

4   we were talking about, the ten initiatives.  Is the company

5   being responsive to communication with the municipalities that

6   it serves.  So we saw no evidence that information was

7   deliberately withheld.  In fact, Gulf Power, and to jump to the

8   other docket, FPL, were responsive to requests.  We want more

9   detail, more data.  So when more data was necessary for a

10   particular party's needs, that data is being provided.

11             So consistent with all of your decisions, the company

12   has demonstrated responsiveness.  And the big question with

13   respect to the plan is, is the plan sufficient to maintain

14   dialogue, and we're recommending that it is sufficient to meet

15   those requirements.

16             CHAIRMAN EDGAR:  Mr. Breman, I appreciate your

17   comments and understand them.  It's just in the way Issue 34

18   and Issue 35 is framed, it doesn't address opposition or degree

19   of cooperation.  It just says does the plan provide a detailed

20   description.  And I recognize that the position of some parties

21   is yes, and the recommendation of staff is yes.  But, again,

22   with the recognition that one party said no, but yet it says

23   that more detailed information is available, so I guess, again,

24   not to get wound around in semantics, but in your response,

25   which I appreciate, it just seems to me that you brought in

FLORIDA PUBLIC SERVICE COMMISSION

15

1   other issues that are not necessarily from my much more literal

2   reading a part of these two issues.

3             MR. BREMAN:  And you can also explore the potential,

4   not being a lawyer, but the potential of trying to keep open an

5   argument with respect to undergrounding.  Because in this case

6   the intervenors that are opposed to the plan want more

7   information on undergrounding.  So there is a consistent theme

8   throughout all of their positions and all the plans, they want

9   more information on undergrounding.  So I think that --

10             CHAIRMAN EDGAR:  I think we all do.

11             MR. BREMAN:  I think that threat of information is

12   there.  So that theme is underlying, so you combine all of that

13   together.

14             CHAIRMAN EDGAR:  Thank you.

15             Commissioners, any other questions or comments?  No.

16   Okay.

17             Commissioner McMurrian.  Thank you.

18             COMMISSIONER McMURRIAN:  Thank you.  I'm sorry to

19   jump ahead, I just wasn't sure if anyone had any other

20   questions on the other issues.

21             Again, there was just a couple of procedural things I

22   wanted to bring up and see what the other's responses were.

23   But on the close the docket issue, it seems to -- if you just

24   read what is there it seems to close the FPL docket and the

25   Gulf docket, but it doesn't really mention the TECO and the

FLORIDA PUBLIC SERVICE COMMISSION

16

1   Progress dockets, which the Commission at the hearing had

2   approved the stipulations.  And I just can't recall if we

3   actually closed those dockets at that time or not, but I just

4   wanted to clarify that our vote today would close those if we

5   hadn't already.

6             And, also, to talk about when the next storm

7   hardening plans would be filed.  I think that in our briefing

8   we had some discussion about when would the next plans be

9   filed, and I think the rule is clear that it would be in three

10   years, but I thought it may not hurt to go ahead and include,

11   perhaps, in the recommendation of the close the docket issue an

12   actual date.  And perhaps something like by May 1st.  I think

13   they were filed around May 7th, I think, of 2007, so three

14   years from that would around May 1.  That may be a good date to

15   throw out.

16             So what I was proposing is that when we get to Issue

17   53, or at least voting on Issue 53 to perhaps -- and I have

18   some wording, but to perhaps throw in those two concepts within

19   that recommendation and vote on it that way.

20             CHAIRMAN EDGAR:  Mr. Young.

21             MR. YOUNG:  Madam Commissioner, Issue 53 is intended

22   to close all the dockets.  Being the fact that the Commission

23   voted to approve the TECO and Progress docket, it's also with

24   the vote to approve these dockets, Gulf and FPL, it is

25   essentially closing all the dockets.

FLORIDA PUBLIC SERVICE COMMISSION

17

1             And as you pointed out, staff is recommending -- the

2   effective date of the rule is February 1st of 2007.  And being

3   the fact that the rule requires a plan to be filed every three

4   years, staff is saying that the IOUs must file a plan by May

5   1st of 2010.

6             COMMISSIONER McMURRIAN:  Thank you.

7             I think that clarifies it.  I think it's because in

8   the recommendation statement it just mentions FPL and Gulf, and

9   I realize that you still could be saying no further action is

10   required because of the action we took with respect to TECO and

11   Progress, but I just wanted to make it absolutely clear in case

12   there is any confusion later that we will be closing all four.

13             And, again, I think the deadline would be good,

14   because I don't think that's addressed specifically here.  I

15   don't think we would have a lot of confusion.  But I know

16   sometimes in the past when we haven't given an exact date there

17   has been some uncertainty, and it may be just good to sort of

18   nail that down today.  But, again, that's a suggestion I throw

19   out.  And I would like to hear from my colleagues.

20             Thank you.

21             CHAIRMAN EDGAR:  Commissioners.

22             COMMISSIONER CARTER:  She's not a lawyer, but she

23   plays one on TV.  I think that procedurally that does give a

24   lot of symmetry to what we are trying to accomplish here.

25   Sometimes it seems like inside baseball, but maybe to be more

FLORIDA PUBLIC SERVICE COMMISSION

18

1   succinct and specific as the Chairman was just talking about

2   some of the thaumaturgy, which is the magical quality of the

3   words, to kind of mean what we say.  And, of course, this is

4   consistent with the Governor's plain meaning, plain language to

5   where the grandma in Palatka could understand it.  So maybe we

6   should go down that road.

7             So I think the staff -- I'm hopeful you guys got the

8   flavor of what Commissioner McMurrian is saying, that we could

9   put that in there, so that way -- not saying that lawyers do

10   this, but there may be on one rare occasion that a lawyer would

11   take something that's written and take it out of -- I know it's

12   rare, it may shock you, and take it out of context.  But if we

13   were to be succinct and put it there so it will be totally

14   clear and transparent to all parties involved then -- we won't

15   stop them from doing that, but we can make it less likely that

16   they will take our own words and use them against us.

17             COMMISSIONER McMURRIAN:  Thank you.

18             CHAIRMAN EDGAR:  Commissioner Skop.

19             COMMISSIONER SKOP:  Thank you, Madam Chair.

20             If there are no further questions, at the appropriate

21   time I would be willing to make a motion to approve the staff

22   recommendations to -- and, staff, if you guys could check me on

23   this 28, 29, 30, 34, 35, 36, 37, 39, 41, 42, 43, 44, 46, 47,

24   48, 49, 50, and 52, and that would allow us to come back to

25   53 separately.

FLORIDA PUBLIC SERVICE COMMISSION

19

1             CHAIRMAN EDGAR:  Commissioner Skop has made a motion

2   in favor of the staff recommendation for all of the issues that

3   are before us except for Issue 53.  Is there a second?

4             There is a second.  Any further discussion?  Seeing

5   none, all in favor say aye.

6             (Unanimous affirmative vote.)

7             CHAIRMAN EDGAR:  Opposed?  Show it adopted.

8             Commissioner McMurrian.

9             COMMISSIONER McMURRIAN:  I guess the motion would

10   be -- I don't think it needs a whole lot of wordsmithing, but,

11   essentially that on the docket be closed, Issue 53, that the

12   motion would be to say, yes, no further action is required and

13   these dockets should be closed.  And if we needed to list the

14   dockets or something, that would be fine.  And perhaps adding a

15   sentence, something along the lines of, "In accordance with

16   Rule 25-6.0342, F.A.C., each utility's updated storm hardening

17   plan should be filed by May 1, 2010."  Does that -- I'm looking

18   at our general counsel to see if that --

19             MR. COOKE:  I think that's excellent.  I think that

20   we should name the dockets just to be totally clear.

21             COMMISSIONER McMURRIAN:  Okay.  So moved.

22             COMMISSIONER CARTER:  Second.

23             CHAIRMAN EDGAR:  Okay.  We have a motion and we have

24   a second.  We are on discussion, and I will take advantage of

25   that to make a statement myself, as well.  Which is to say,

FLORIDA PUBLIC SERVICE COMMISSION

20

1   Commissioner Carter, as we opened up this item, you talked

2   briefly about some of the things that we have been doing as a

3   Commission to address some of the issues that were raised

4   during the storms of 2004 and 2005.  This is an important piece

5   of that effort.  I am just so proud of the work that this

6   Commission has done working hand-in-hand, really, with all the

7   stakeholders and with the industry, that all have stepped up to

8   help us identify ways that we can learn from those experiences

9   and that we can try to continue our effort for a culture of

10   preparedness in a cost-effective manner.  And I am very pleased

11   that we were able to take this additional step this year.

12             And with that, all in favor of the motion say aye.

13             (Unanimous affirmative vote.)

14             CHAIRMAN EDGAR:  Opposed?  Show it adopted.

15             And that is the last item before us.  We are

16   adjourned.

17                              * * * * *

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

21

1   STATE OF FLORIDA    )

2                       :              CERTIFICATE OF REPORTER

3   COUNTY OF LEON      )

4

I, JANE FAUROT, RPR, Chief, Hearing Reporter Services

5   Section, FPSC Division of Commission Clerk, do hereby certify

that the foregoing proceeding was heard at the time and place

6   herein stated.

7             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

8   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

9   proceedings.

10             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

11   or employee of any of the parties' attorney or counsel

connected with the action, nor am I financially interested in

12   the action.

13             DATED THIS 11th DAY OF DECEMBER, 2007.

14

15             ___________________________________________

JANE FAUROT, RPR

16                   Official FPSC Hearings Reporter

FPSC Division of Commission Clerk

17                           (850) 413-6732

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION