391

1                             BEFORE THE

FLORIDA PUBLIC SERVICE COMMISSION

2

DOCKET NO. 070650-EI

3   In the Matter of:

4   PETITION TO DETERMINE NEED FOR TURKEY

POINT NUCLEAR UNITS 6 AND 7 ELECTRICAL

5   POWER PLANT, BY FLORIDA POWER & LIGHT

COMPANY.

6   _______________________________________/

7                              VOLUME 4

8                        Pages 391 through 448

9             ELECTRONIC VERSIONS OF THIS TRANSCRIPT ARE

A CONVENIENCE COPY ONLY AND ARE NOT

10               THE OFFICIAL TRANSCRIPT OF THE HEARING,

THE .PDF VERSION INCLUDES PREFILED TESTIMONY.

11

12   PROCEEDINGS:        HEARING

13   BEFORE:             CHAIRMAN MATTHEW M. CARTER, II

COMMISSIONER LISA POLAK EDGAR

14                       COMMISSIONER KATRINA J. McMURRIAN

COMMISSIONER NANCY ARGENZIANO

15                       COMMISSIONER NATHAN A. SKOP

16   DATE:               Thursday, January 31, 2008

17   TIME:               Commenced at 9:32 a.m.

18   PLACE:              Betty Easley Conference Center

Room 148

19                       4075 Esplanade Way

Tallahassee, Florida

20

REPORTED BY:        LINDA BOLES, RPR, CRR

21                       Official FPSC Reporter

(850) 413-6734

22

23   APPEARANCES:        (As heretofore noted.)

24

25

FLORIDA PUBLIC SERVICE COMMISSION

392

1                              I N D E X

2                              WITNESSES

3

NAME:                                                 PAGE NO.

4

STEVEN D. SCROGGS

5        Cross Examination by Mr. Krasowski                 394

Cross Examination by Ms. Fleming                   430

6

7

8

9

10

11

12

13

14

15

16   CERTIFICATE OF REPORTER                                 448

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

393

1                         P R O C E E D I N G S

2             (Transcript follows in sequence from Volume 3.)

3             CHAIRMAN CARTER:  Good morning.  I want to call the

4   meeting to order.  We've got a couple of technical glitches

5   here.  One, we're trying to make sure that we're doing our

6   digital streaming at the same time that we're taping the

7   program, our process here.  Also we'll be trying to connect in

8   with Commissioner Argenziano.  So what we want to do is give

9   our staff the appropriate amount of time.  I'm looking at --

10   the time now is 9:32.  Let's come back at nine -- actually it's

11   9:33.  I guess if I stare at it longer, it'll keep changing.

12   We'll come back at 9:43 to kick off.  We're on recess.

13             (Recess taken.)

14             COMMISSIONER EDGAR:  We will go ahead and go back on

15   the record and get started.  Chairman Carter had to step away

16   for a few minutes, but we all know that he likes us to be

17   precise about time and so he asked if I would go ahead and get

18   us started and he will join us very, very shortly.

19             And so with that, staff, are there any preliminary

20   matters before we move back into cross?

21             MS. FLEMING:  I'm not aware of any preliminary

22   matters.

23             COMMISSIONER EDGAR:  Thank you.  And my understanding

24   is that Commissioner Argenziano will be joining us by phone

25   shortly, and so we will look forward to that as well.

FLORIDA PUBLIC SERVICE COMMISSION

394

1             I believe, Mr. Krasowski, when we ended yesterday

2   that you had some questions for this witness on cross.

3             MR. KRASOWSKI:  Yes, Commissioner Edgar, that's

4   correct.  Should we, should we get going now or proceed?

5                          CROSS EXAMINATION

6   BY MR. KRASOWSKI:

7        Q    Good morning, Mr. Scroggs.

8        A    Good morning, sir.

9        Q    I'm -- my name is Bob Krasowski.  I'm here with my

10   wife Jan.  We're intervenors, we're ratepayers, customers of

11   FP&L and are very interested in this project and your work, and

12   so we have a number of questions that we hope you can help, you

13   can answer to help us.

14             CHAIRMAN CARTER:  Mr. Krasowski, just before you

15   start your questions -- Commissioner Argenziano, were you able

16   to --

17             COMMISSIONER ARGENZIANO:  Yes, Mr. Chair.  I'm here.

18             CHAIRMAN CARTER:  Okay.  Good.  Good.  The wonders of

19   technology.

20             COMMISSIONER ARGENZIANO:  Thank God.

21             CHAIRMAN CARTER:  All right.  Mr. Krasowski, you're

22   recognized, sir.

23             MR. KRASOWSKI:  Amazing.  Thank you, sir.

24   BY MR. KRASOWSKI:

25        Q    Okay.  So, so we have an interest in this project and

FLORIDA PUBLIC SERVICE COMMISSION

395

1   would -- a great interest in your work.  I'd like to say, I'd

2   like to compliment you on what you've laid out here before us.

3   We understand it's a very complicated project, and the way this

4   is presented is, is very interesting, fascinating.

5             I'd like to ask you did you, did you write this

6   yourself or is there a technical team of writers that helps you

7   assemble your presentation, your, the documents you present?

8        A    I wrote my own testimony so my direct testimony --

9             CHAIRMAN CARTER:  I'm sorry.  We're having trouble

10   hearing you.

11             THE WITNESS:  Can you hear me?

12             CHAIRMAN CARTER:  I can hear you now.

13             THE WITNESS:  I did write my own direct testimony and

14   prepared all of my exhibits, but the information associated

15   with that testimony and with those exhibits were provided by a

16   large number of people.

17   BY MR. KRASOWSKI:

18        Q    Okay.  Thank you.  Thank you.  And then one other

19   matter, if I -- the -- I noticed at the beginning of your

20   statement you identify the fact that you were, I believe, for

21   ten years an officer in the United States Navy Submarine Corps?

22        A    That's correct, sir.

23        Q    Okay.  My wife -- Jan's father was in the submarine

24   corps as well as a heavy helmet deep sea diver, so we have a

25   lot, a lot that we share here.  We certainly respect what

FLORIDA PUBLIC SERVICE COMMISSION

396

1   you've done in the past.

2             Okay.  Also I notice at the beginning there that you,

3   you were a consultant, energy consultant from the years 1996 to

4   2004 before you joined FP&L?

5        A    Partially correct.  I was an energy consultant from

6   1996 to the year 2002, and in that period I worked for an

7   independent power company from 2002 to 2004 prior to coming to

8   Florida Power & Light.

9        Q    So, so I can understand it, you were an employee of

10   an independent power company, not necessarily a free agent

11   consultant at that time?

12        A    For that period 2002 to 2004, that's correct, sir.

13        Q    Okay.  Thank you.  Was that company involved in, in

14   the energy policy discussions in 2000 that were held at the

15   White House with the Vice President?  Are you aware of those,

16   those discussions at all?

17        A    I'm not personally aware of those discussions.  And

18   my time period for being involved with that company was beyond

19   2000.  It was in the year 2002 to 2004.

20        Q    So what were you doing in 2000?

21        A    I was an energy, energy consultant for the industry.

22        Q    Okay.  At large.  But so back to my question.  I

23   apologize if you -- if I hadn't, didn't understand you

24   correctly.  But in 2000 were you involved at all in developing

25   energy policy for the United States as a consultant through the

FLORIDA PUBLIC SERVICE COMMISSION

397

1   projects coming out of the White House under the guise of Vice

2   President Cheney?

3        A    No, sir.

4        Q    Thank you, sir.  Okay.  In regards to Issue Number 9,

5   I'd like to start there.  Mr. Scroggs, does FP&L need to have

6   approval from the PSC or a determination in this docket to act

7   in making a payment to reserve a queue in line to secure the

8   forging work you desire with the identified steel works?

9        A    If I understand your question, our request is that

10   the -- we're looking to make sure the Commission is

11   understanding of the situations in the market and the need for

12   these long-lead payments.  We've asked whether the Commission

13   agrees that FPL should commit to making these payments.  So

14   that's our request.

15        Q    So I'll, I'll, I'll ask the question again.  Does

16   FP&L require the approval from the PSC or, or any -- well, does

17   FP&L require any kind of approval within this docket to move

18   forward on making the payment to reserve a place in the queue

19   for the forging of the materials you identified as, as the

20   reactor vessels?

21        A    I believe, as my testimony states, from the

22   perspective as the project developer I feel it's very important

23   that we do so.  But in the broader decision-making process

24   within the company there will be a business decision that

25   incorporates all the risks and market situation at the time.

FLORIDA PUBLIC SERVICE COMMISSION

398

1   So I can't speak to a specific need for such a decision out of

2   this docket.

3        Q    Okay.  Well, I'm here as a ratepayer, so it's very

4   interesting, it's important for me to understand in terms of

5   how this impacts the company, the economics of this situation.

6   So I'd like to know if, if you believe, personally believe that

7   FP&L requires a determination from the PSC, approval from the

8   PSC.  Do they require an approval from the PSC to make the down

9   payment for the queue in the manufacturing, in line for the

10   manufacturing of these, these vessels?

11             MR. BUTLER:  I'm going to object to that question as

12   asked and answered.  That's the exact question he asked before

13   and Mr. Scroggs gave his answer to the question, you know, as

14   well as he can.  From his perspective, you know, he thinks it's

15   required.  The company management obviously has to take a lot

16   of other factors into consideration.  I don't know what else he

17   could answer to that question.

18             CHAIRMAN CARTER:  I think that he couched it from the

19   standpoint of a ratepayer this time.  I think initially it was

20   a global question.  But I think in this perspective he asked

21   him in the context of a ratepayer how this -- and I think the

22   witness can answer the question.

23             THE WITNESS:  Could I ask for a rephrase of the

24   question then, please?

25

FLORIDA PUBLIC SERVICE COMMISSION

399

1   BY MR. KRASOWSKI:

2        Q    Sure.  Is any type of determination of need or any

3   type of approval from the PSC required?

4             MR. BUTLER:  That is the question that was asked and

5   answered.

6             CHAIRMAN CARTER:  That was answered.  That was

7   answered.

8             MR. KRASOWSKI:  Excuse me, Mr. Chair, if I may in

9   relation to this objection to my question respond.  Because I

10   don't feel I got an answer.  I did not get an answer and it's a

11   very simple question, and this -- and I didn't get an answer in

12   my opinion.

13             CHAIRMAN CARTER:  You may not have gotten the one

14   that you like, but he did answer the question.  Move on, Mr.

15   Krasowski.

16             MR. KRASOWSKI:  Yes, sir.

17   BY MR. KRASOWSKI:

18        Q    Okay.  Okay.  Mr. Scroggs, is --

19             CHAIRMAN CARTER:  Just take a moment.  Just take a

20   moment.

21             MR. KRASOWSKI:  Can I?  Thank you very much.

22             CHAIRMAN CARTER:  Yeah.  Let's, everybody, let's kind

23   of take five minutes to breathe.  Commissioner Argenziano,

24   we're just going to take five minutes to give Mr. Krasowski a

25   chance to look over his notes.

FLORIDA PUBLIC SERVICE COMMISSION

400

1             COMMISSIONER ARGENZIANO:  Thank you, Mr. Chairman.

2             CHAIRMAN CARTER:  Okay.  Let's everybody just kind of

3   take a break in place or out of place.  That means don't leave

4   the building.

5             (Pause.)

6             Commissioner Argenziano?

7             COMMISSIONER ARGENZIANO:  Yes, Mr. Chair, I'm here.

8             CHAIRMAN CARTER:  We just wanted to give

9   Mr. Krasowski a couple of minutes to straighten out his notes

10   over there.  Fortunately today he has adult supervision, so

11   we'll be fine.  Mrs. Krasowski is with us.

12             COMMISSIONER ARGENZIANO:  Okay.

13             CHAIRMAN CARTER:  Mr. Krasowski, you're recognized.

14             MR. KRASOWSKI:  Thank you.  I appreciate it.  I do.

15   BY MR. KRASOWSKI:

16        Q    Okay.  Mr. Scroggs, could you tell me why, why

17   couldn't Westinghouse or General Electric, those are the two

18   main companies you're considering working with, pay for the

19   queue, purchase a place in the queue for the -- and recoup the

20   investment later when FP&L, from FP&L through the construction

21   cost recovery process?

22        A    The reservation forging is, assigns -- the

23   reservation forging fee would assign rights to a certain party

24   to that reservation.  It would be in our interest to secure

25   those rights and our intention to secure those rights for FPL's

FLORIDA PUBLIC SERVICE COMMISSION

401

1   use and FPL's benefit.  So to ask a second party to obtain

2   those reservation forging under their rights, that would not

3   achieve the goal of reserving that forging fee for FPL and its

4   customers' benefits.

5        Q    Are you telling me that you cannot arrange under a

6   contractual agreement with the vendor of choice that, for

7   conditions that would allow you to maintain control over this

8   situation?

9        A    Contractual arrangements are made but generally

10   contractual arrangements and the rights associated with that

11   are associated with payment.  Any, any reasonable business

12   person would expect to be paid for some rights that were

13   provided, and that's our understanding or my understanding of

14   the commercial arrangements that would surround this

15   reservation forging fee.

16        Q    By -- thank you.  By procuring a place in the queue

17   using the methodology suggested by you in Issue 9, why isn't

18   this -- why shouldn't we as ratepayers consider this a transfer

19   of risk from the FP&L stockholders or, or the company that you

20   would choose to work with on to we, the ratepayers?

21        A    I think hopefully my testimony has pointed out that

22   this is a significant risk mitigant.  The impacts of project

23   delay would defer the benefits that this project can

24   economically provide our customers and would incur potential

25   escalation cost increases and other things.

FLORIDA PUBLIC SERVICE COMMISSION

402

1             So, again, I would look at it from a perspective of

2   an option payment where you're paying a small up-front amount

3   to secure and maintain a production schedule that will allow us

4   to deliver the benefits that we've identified for this project

5   on time for our customers.  I don't see it as a shifting of

6   risk.  I see it as a mitigation of a larger future risk.

7        Q    If, if you make this deposit on the queue, is it

8   going to be reclaimed in any way if the project does not move

9   forward or is that money lost to just reserving a place if not

10   used?

11        A    As with any option payment, you're paying for the

12   option for a future commodity or product.  We enter into this

13   reservation fee with the assumption that we will go forward and

14   use it.  However, as with any option in a commodity market

15   that's in demand, we expect and would expect that there would

16   be some remarket opportunity if we were to decide to either

17   defer the project or not proceed with the project.  So the

18   ability of us to estimate the amount of that is, is difficult,

19   but we are confident there would be some potential remarket

20   value in the future should we make a decision with the

21   Commission not to proceed with the project.

22        Q    Thank you, Mr. Scroggs.

23             Mr. Scroggs, do you recall in your deposition the

24   statement you made that if FP&L was not awarded what they've

25   requested in Issue Number 9 through the PSC, that you would

FLORIDA PUBLIC SERVICE COMMISSION

403

1   recommend FP&L proceed with securing a place in the queue on

2   their own?

3             (Inaudible.)

4             CHAIRMAN CARTER:  Mr. Butler, we can't hear you.

5             MR. BUTLER:  Sorry.  Would you please point

6   Mr. Scroggs to where you're referring in his deposition?

7             MR. KRASOWSKI:  Mr. Chair, can I go on with other

8   questions as we look for that specific place in the, in his

9   deposition document?

10             CHAIRMAN CARTER:  Okay.  We'll come back to that.  Go

11   ahead.

12             MR. KRASOWSKI:  Okay.  Thank you, sir.

13   BY MR. KRASOWSKI:

14        Q    Okay.  Moving along, Mr. Scroggs, and we'll come back

15   to that.

16             On Page 7, Lines 1 through 13 --

17        A    Which document, sir?

18        Q    I'm sorry, sir.  It's in your testimony, prefiled

19   testimony, Page 7.

20        A    I'm there.

21        Q    Okay.  Can I -- would you think a change in

22   leadership at the federal level, and that would be at the, you

23   know, the presidency with the election coming up, change the

24   current policies on risk insurance and loan guarantees as

25   they're associated with this project?

FLORIDA PUBLIC SERVICE COMMISSION

404

1        A    I'm not sure I understood the question, sir.

2        Q    Okay.  Let me rephrase it then.  Do you believe that

3   a new administration would change current policies as they

4   relate to nuclear plants in general and their, and their risk

5   insurance?

6        A    I can tell you that -- you know, certainly I can't

7   tell you what a future administration may or may not do in the

8   energy policy arena, but I can identify that the economic

9   analysis that supports the Turkey Point 6 and 7 project does

10   not rely on any of the economic benefits that have been

11   identified in the Energy Policy Act of 2005 to ensure the

12   cost-effectiveness of the program.

13        Q    Okay.  On Page 12, Lines 5 through 17, how were the

14   post-construction costs such as waste handling paid for?

15        A    In our analysis we estimated a certain amount of

16   fixed O&M cost, and that fixed O&M cost includes a

17   decommissioning cost for the facility.  We accrue an amount

18   during the operation of the facility in account to pay for

19   decommissioning of the facility.  As far as spent fuel

20   handling, there is a fuel surcharge associated with the

21   purchase of all fuel that is accrued over time to pay for the

22   DOE disposition of spent fuel.

23        Q    And how far out into the future does that disposition

24   cover as far as the handling of the, the used fuel?

25             MR. BUTLER:  I'm sorry.  Could you rephrase the

FLORIDA PUBLIC SERVICE COMMISSION

405

1   question?  Are you referring to storing it onsite or are you

2   talking about the ultimate disposition of it by DOE?  Could you

3   clarify, please?

4             MR. KRASOWSKI:  Yes.

5   BY MR. KRASOWSKI:

6        Q    Let me first ask then about the economics of storing

7   it onsite.  Okay?  Is that included in your construction costs?

8        A    No.  The construction costs do not include the cost

9   of dry cask storage.  That cost is included as a capital

10   replacement charge that is an annually occurring cost during

11   operation to build and maintain dry cask storage onsite if it's

12   needed.

13        Q    And how, and how far into the future is the dry cask

14   storage projected to be necessary?

15        A    Again, I don't have a projection of how far that

16   would be necessary.  The engineering design capability for

17   these dry storage casks are over 100 years.  Beyond 100 years

18   there's no specific estimate of the life cycle of those units.

19        Q    And so, so the complete cost of storing, the

20   potential of storing those dry cask units onsite is included in

21   your budgetary considerations?

22        A    The costs for dry cask storage construction and

23   maintenance are included in capital replacement.  And beyond

24   that there is an accrual for the long-term disposition of the

25   spent fuel through the Department of Energy.

FLORIDA PUBLIC SERVICE COMMISSION

406

1        Q    So any questions I would have in terms of long-term

2   storage beyond when the material leaves your possession would

3   be, have to be answered by the NRC, Nuclear Regulatory

4   Commission, or who's managing that?

5        A    I can, I can tell you that, you know, the energy

6   policy in the United States has been that long-term disposition

7   is the responsibility of the DOE.  The industry has

8   participated in funding those activities and that's, that's the

9   long-term disposition.

10             The industry has also developed a very safe and

11   licensed short-term opportunity in the dry cask storage for

12   storage of waste, spent fuel onsite, and that that's licensed

13   and is in operation in several places in the United States.

14        Q    Okay.  So the portion of the waste issue here that

15   comes under capital replacement costs, could you, could you

16   explain exactly what that covers?

17        A    The portion of cost under capital replacement pays

18   for the construction and storage and maintenance of dry cask

19   units, you know, out into 100 years plus.

20        Q    Okay.  And does that include the, the, the pool

21   storage for the waste at that phase of it?

22        A    That capital replacement charge that you asked me

23   about is specific to the dry cask storage.

24        Q    Okay.

25        A    The design of the facility and the initial capital

FLORIDA PUBLIC SERVICE COMMISSION

407

1   cost to the facility will include spent fuel, water storage,

2   pool storage for up to 18 years of operation before dry cask

3   storage would be required.

4        Q    Is dry cask storage a relatively new technology?

5        A    Dry cask storage has been reviewed by the NRC, it's

6   licensed, it's in operation in the United States.  It is very

7   well-understood and well-accepted technology that I believe is

8   being adopted internationally as well.

9        Q    Now is -- excuse me just for a second.

10             Is the capital, Mr. Scroggs, is the capital

11   replacement costs with the dry cask storage included in the

12   price of Turkey Point 6 and 7?

13        A    Again, let me make very clear, there are ongoing

14   costs and then there are capital costs.  The capital cost

15   estimate range that I provide and describe in my Exhibit

16   SDS-6 only includes those costs associated with building the

17   original plant.  That would include wet storage as a part of

18   the design of the original plant.

19             The ongoing costs for the development of dry cask

20   storage and the maintenance and operation of dry cask storage

21   into the future is a part of capital replacement costs, a

22   charge that's accrued every year as a part of the operating

23   cost.  So, again -- and there's overlap.  We're building the

24   dry cask storage well in advance of when the wet storage would

25   be filled up.  There's, you know, the DOE costs that we're

FLORIDA PUBLIC SERVICE COMMISSION

408

1   paying for long-term storage overlap with the time period that

2   dry cask storage would cover.  So there's a great deal of

3   conservative estimate built into the issues related to spent

4   fuel.

5        Q    Okay.  So as far as storage onsite, dry cask storage

6   onsite, the economics of providing for that reach out to -- as

7   far as 100 years?  You have factored that cost of that for the

8   next 100 years into this project?

9        A    The costs of that are incurred in the operational

10   costs during the -- the ability to maintain that is a part of

11   the design feature of the dry cask storage.  You buy it, it's

12   good for quite some time.  All right?  Then there's the

13   decommissioning costs that we spoke of.  That decommissioning

14   cost handles the dismantlement of the plant after its useful

15   life.  That would be, I would assume, before 100 years, so.

16        Q    Okay.  Now if the federal government which ultimately

17   has the responsibility for providing a place to move the waste

18   to and that's what you're paying into as part of the fuel cost,

19   if they do not provide a place, is there a provision for

20   storing the waste inside the old units after they're, they're

21   retired and leaving all the waste onsite at Turkey Point?  Is

22   there any strategy that considers that as an option?

23        A    Our long-term strategy for waste management is based

24   on energy policy and the commitments of the Department of

25   Energy.  That is not planned for, although the costs of which

FLORIDA PUBLIC SERVICE COMMISSION

409

1   would be very miniscule to maintain dry cask storage that is a

2   safe and stable storage repository.

3        Q    Okay.  So am I correct in my understanding that the,

4   much of the waste has a life of up to 10,000 years in terms of

5   it being problematic or requiring attention and storage; is

6   that correct?

7        A    The high level radioactive waste would need to be

8   monitored for many years into the future.  Yes, sir.

9        Q    Okay.  I've heard 10,000.  Is that in the ball park?

10        A    I don't know where that number might have come from,

11   so.

12        Q    Well, okay.  Now I understand that with, if we were

13   to reprocess this fuel, the spent fuel, we might be able, might

14   be able to reduce that time frame to 3,000 years, where it

15   requires storage and attention and monitoring for 3,000 years.

16             MR. BUTLER:  I object to the lack of foundation.

17             CHAIRMAN CARTER:  Sustained.

18   BY MR. KRASOWSKI:

19        Q    Okay.  Okay.  So how, how long have you considered

20   the, within this project the period that you'd be responsible

21   for, for managing this by-product of this project?

22        A    Again, our design assumes a 40-year license, which

23   would run from 2018 to 2058 for the first unit.  There may or

24   may not be a license extension.  That would be an economic

25   decision and a revisiting of the license at that point in time.

FLORIDA PUBLIC SERVICE COMMISSION

410

1             Our economics and analysis assume a decommissioning

2   at the end of 40 years, and the cost for that is, is all

3   included in our economic analysis, including the contributions

4   to the DOE fund that would be responsible for the long-term

5   disposition of high level waste.

6        Q    Okay.  Thank you.  Okay.  I'd like to ask you a

7   couple of questions about the water, on the water issue.  Okay.

8   Before I get to that, let me just go along the way we have this

9   organized.  On Page 18, Line 5 --

10        A    Is that of my testimony, sir?

11        Q    Yes, sir.  Yes, sir.

12        A    Yes.

13        Q    You state that -- my question is am I correct in

14   understanding that there has been no reactor design officially

15   chosen to date?

16        A    That's correct.  No final technology selection has

17   been made.

18        Q    Okay.  Is FP&L leaning toward one or the other of the

19   two you've identified?

20        A    FPL has taken steps to, in due diligence to pursue a

21   further understanding of the Westinghouse AP1000 design, steps

22   that we have not taken with the GE design.  So we have moved

23   down the path a bit farther with Westinghouse than we have with

24   GE.

25        Q    Are you -- could you comment as to whether or not the

FLORIDA PUBLIC SERVICE COMMISSION

411

1   AP1000 has ever been tested with live nuclear fuel?

2        A    The AP1000 is an advanced design and, as with all

3   advanced designs, has not been constructed or built, that

4   nonetheless is based in an expansion or evolution of

5   pressurized water reactor technology that is well-known,

6   well-understood.  Fuel assemblies and many of the design

7   components in the AP1000 are very similar in design and

8   operation to the technologies that we enjoy in our existing

9   nuclear facilities today.

10        Q    Can you confirm that the AP1000 has not been tested

11   using nuclear fuel but yet was just tested -- was tested only

12   by using electrical coils for heat to this point?

13             MR. BUTLER:  Object to the --

14             MR. KRASOWSKI:  To this date.

15             CHAIRMAN CARTER:  Sustained.  It's been asked and

16   answered.

17             MR. KRASOWSKI:  Okay.  Thank you.  I'm sorry.  I

18   apologize.

19   BY MR. KRASOWSKI:

20        Q    Do you know if the General Electric ESBWR technology

21   you're looking at as well, do you know if it uses more water

22   than the Westinghouse AP1000?

23        A    The GE ESBWR design, economic simplified boiling

24   water reactor, is a larger capacity.  It's on the order of

25   1,520 megawatts net versus 1,100 megawatts net.  On a per

FLORIDA PUBLIC SERVICE COMMISSION

412

1   megawatt basis it uses approximately the same water

2   requirements as the AP1000.  But because it's 420 megawatts

3   larger, it uses a larger total amount of water.

4        Q    What is your basis for consideration in evaluating

5   these two when you've identified a need of 8,000 megawatts?

6   The AP1000s would apply, would, would provide 2,200 megawatts

7   and the GE facilities are, are up to 3,040 megawatts.  So why

8   aren't you just going for the bigger project to satisfy the

9   most need?

10        A    Well, bigger may not always be better.  The factors

11   that I identified in my testimony would be, you know, the

12   estimated capital costs and total costs of construction, the

13   ability to manage costs and schedule risks throughout the

14   project, and then the execution capabilities of the design

15   vendor, the contractor that would build the plant and the

16   architect engineer.  Those things are more can the project --

17   you know, what's our confidence and risk management tools

18   around accomplishing the project?  So it's more than just which

19   is the biggest megawatt.  It's a combination of making the

20   right, smart decision on a design versus just being, just

21   following a certain edict for larger capacity.

22        Q    Wouldn't, wouldn't you think that -- well, let's see.

23   Would it have not -- would it have not have been a better idea

24   to figure all this out before you came before the Public

25   Service Commission looking for approval for a project where you

FLORIDA PUBLIC SERVICE COMMISSION

413

1   don't even have the technology selected that you might move

2   forward to, with?  Okay.  Let me rephrase that.

3        A    I'm sorry.

4        Q    Okay.  I'm sorry.  Let me rephrase it.

5             You're here now in front of the Public Service

6   Commission looking for a need determination approval for a

7   nuclear power plant at the Turkey Point site.  Okay?  Why

8   didn't you wait until you determined exactly which technology

9   you wanted to use before coming here looking for approval?

10        A    Well, I think as we've described, hopefully I've made

11   clear, the nuclear design, construction and operation process

12   has a much longer lead time.  It's very complex and very

13   long-legged.  We wanted to make sure that we got the process

14   moving down the path towards a successful end to bring on these

15   benefits to our customers as soon as possible.  In doing so, we

16   narrowed the field to two capable designs.  The Westinghouse

17   design is certified and we are taking steps in due diligence to

18   flesh that out.  But in terms of making a need determination,

19   we have identified that there is a need.  We've identified that

20   either of these technologies will fill the role of capably

21   providing for that need, providing fuel diversity, green -- low

22   or no greenhouse gas emissions, helping to reduce the total

23   system emissions.  So the benefits and the economics that we've

24   identified are not dependent on a specific design.

25             So, again, in an effort to move the project forward

FLORIDA PUBLIC SERVICE COMMISSION

414

1   in the interest of getting this for our customers as soon as

2   possible, it wouldn't have been prudent for us to continue to

3   wait and wait and wait before we bring a complete, fully

4   understood situation and experience the impact of that delay.

5        Q    Don't you understand how it might have been easier

6   for the public, interested public to relate to your proposal if

7   it was more specific?

8             MR. BUTLER:  Object to the form of the question as

9   argumentative.

10             MR. KRASOWSKI:  I'll rephrase that, Mr. Commissioner.

11             CHAIRMAN CARTER:  Good deal.

12   BY MR. KRASOWSKI:

13        Q    I'll just move on from that.  Thank you.

14             Mr. Scroggs, I, in reading the, the documents I

15   believe I've read that the cost of this project would range

16   between $12 and $24 billion or between $12 and $18 billion.

17   Could you give me the correct cost assessment on that?  I think

18   the first figure identified $12 to $24 was --

19             CHAIRMAN CARTER:  Give him a chance to answer your

20   question.  You're almost testifying.

21             MR. KRASOWSKI:  I'm sorry.

22             CHAIRMAN CARTER:  I've given you a lot of leeway,

23   Mr. Krasowski.

24             MR. KRASOWSKI:  You are, and we appreciate you

25   accommodating the public, Commissioner.

FLORIDA PUBLIC SERVICE COMMISSION

415

1             CHAIRMAN CARTER:  Let him answer.  He's thumbing

2   through the pages.

3             THE WITNESS:  Yes, sir.  On Exhibit SDS-8 in my

4   direct testimony there's a table that provides a description of

5   the range of total project costs for either of the two designs

6   that are under consideration.

7   BY MR. KRASOWSKI:

8        Q    Okay.  And I don't have that right in front of me.

9   Could you, could you tell me what the range of cost is, 12 to

10   --

11        A    Certainly.  The, for the 2,200 megawatt project which

12   would be associated with the AP1000 the range would be

13   $12.1 billion to $17.8 billion.  And for the 3,040 megawatt

14   project which would be associated with the GE ESBWR the range

15   would be $16.5 billion to $24.3 billion.

16        Q    Okay.  Thank you.  Okay.  On Page 19, Line 12 through

17   20 in your prefiled testimony.

18        A    I'm there.

19        Q    Have you met the conditions given in Miami -- excuse

20   me.  Let me rephrase that.

21             Have you met the conditions identified by the

22   Miami-Dade Commission during their hearing on the water

23   portions of your application for the unusual land use permit?

24        A    The Miami-Dade County Commission on December 20th

25   heard our request for zoning variances and associated with

FLORIDA PUBLIC SERVICE COMMISSION

416

1   granting those zoning variances in an 11 to 1 vote for us

2   identified that there would be 22 conditions of approval.

3   Those conditions of approval range from plans for wetland

4   mitigation, plans for threatened and endangered species, and

5   several that spoke to our plans for the water resource and

6   wastewater associated with the project.  Those are conditions

7   that identify things that they want us to consider, information

8   that they want us to provide as we go through the application

9   process at the state site certification application to the

10   Department of Environmental Protection.  So those, complying

11   with those conditions will occur as we develop the application

12   and as we submit our application to the DEP.

13        Q    So that's still in process then?

14        A    That is still in process.  Yes, sir.

15        Q    Okay.  Thank you.  And then what are the limitations

16   on this project as far as access to water sources according to

17   that same, same Miami-Dade County Commission meeting?

18             Let me rephrase that so maybe it's -- at that

19   meeting, the Miami-Dade meeting, there were restrictions placed

20   on some of the resource, your use of some of the resources.

21   Could you identify what those are?

22             MR. BUTLER:  Object to the question.  Lack of

23   foundation.  If he has specific restrictions in mind, he needs

24   to identify them and, you know, have some sort of documentary

25   basis for them.

FLORIDA PUBLIC SERVICE COMMISSION

417

1             CHAIRMAN CARTER:  Sustained.

2             Kind of narrow down your issues, Mr. Krasowski.

3             MR. KRASOWSKI:  Okay.  We'll move on.  Let's see.

4   BY MR. KRASOWSKI:

5        Q    On Pages, Page 22, seven to nine --

6        A    Yes.

7        Q    -- could the drought become an insurmountable

8   obstacle because of the, of a shortage of water in terms of

9   moving forward with this project?

10        A    No.  We do not believe that -- in the summary of

11   water issues that I submitted with my deposition I think we

12   fully identify there's a broad range of resources available to

13   the project that are not affected by the drought.

14        Q    Is the Floridan Aquifer still under consideration for

15   use?

16        A    Yes, sir.

17        Q    Okay.  And then what's the additional cost associated

18   with using ocean water?

19        A    Again, our cost estimate range includes a range of

20   $250 to $300 million in capital costs, and then obviously our

21   operational costs include some operational.  We believe that

22   marine water, whether it be taken in through a surface intake

23   or through a subsurface intake, that that cost estimate range

24   more than covers the cost estimates for using that type of

25   water.

FLORIDA PUBLIC SERVICE COMMISSION

418

1        Q    Can FP&L receive -- now shifting, okay, Page 23 to

2   Line 16.

3        A    Yes, sir.

4        Q    In terms of the COL, can FP&L receive a COL if the

5   Westinghouse AP1000 hasn't been tested under normal operating

6   conditions using, actually using nuclear fuel?

7        A    The licensing process at the federal level involves

8   two significant steps.  There's a design certification step

9   that has already been achieved for the Westinghouse design

10   wherein the NRC has reviewed the design specifically and

11   approved it for use in the United States as a commercial

12   nuclear reactor.

13             The second process is the combined operating license,

14   which is specific to a site and a project.  That's the process

15   that we as the utility would go through with the NRC to file

16   for that, the timing of which would not be dependent on the

17   specifics of, of -- you know, there will be a first AP1000

18   reactor in the United States and that first AP1000 reactor will

19   be the first fully designed and built configuration of that

20   reactor in the United States.  There are also AP1000 reactors

21   being built in China that should come online in advance of any

22   U.S. reactor.

23        Q    Are you suggesting the first one built in the United

24   States may be this, in association with this project?

25        A    No, sir, that is not my suggestion.

FLORIDA PUBLIC SERVICE COMMISSION

419

1        Q    The first AP1000, where, then where might it be

2   built?

3        A    The Tennessee Valley Authority at their Bellefonte,

4   Alabama, site has submitted the first combined operating

5   license application for an AP1000.  They're -- in the schedule

6   they would appear to be in the front.

7        Q    How much further are they ahead of this project?

8        A    Approximately two to three years.

9        Q    Okay.  Thank you.  On Page 26, Line 3, you're asked

10   what risks are presented to the project in the licensing,

11   licensing phase.

12        A    I'm there.

13        Q    Are you there?  Okay.  Are you identifying public

14   involvement as a risk in this process?

15        A    No, sir, I'm not identifying that as a specific risk.

16        Q    On Line 11, Page 26, you say that "Although FP&L's

17   schedule accommodates reasonable time spans based on input from

18   industry groups and reviewing agencies, the overall project

19   costs and schedule will be affected by the level of

20   intervention and pace of the license review process at the

21   state and federal levels.  Additionally, there is an overall

22   risk of failing to obtain the necessary state and federal

23   approvals."  And that's in relation to the first sentence of

24   the paragraph.  If you'll give me a second, I'd like to look at

25   that.

FLORIDA PUBLIC SERVICE COMMISSION

420

1             (Pause.)

2             Okay.  On Line 9 prior to that, and maybe I'll have

3   to redo this, but on Line 9, you see where it says,

4   "Additionally, the licensing phase provides opportunities for

5   public interaction and ends in the hearing process that is open

6   to interested parties."  So the accommodation for industry

7   groups and reviewing agencies does not exclude an accommodation

8   for the public participation in that process; is that correct?

9        A    Absolutely.  And the process is designed and has been

10   redesigned in mind both at the state and federal levels for

11   numerous opportunities for public interaction, numerous

12   opportunities for the public, to make sure that the concerns of

13   the public are included in the scoping for the reviews, and we

14   certainly welcome that and we think that that's a helpful

15   aspect of the licensing process so that the public is a part of

16   the process and participates in.

17        Q    And you're ready to stand down and withdraw this

18   proposal if through that process and the public's involvement

19   in that process that factors are brought to light that make

20   this a not -- make this project -- that show this project to be

21   not the best thing to do at this time?

22        A    We'll abide by --

23             MR. BUTLER:  I would object to that as well beyond

24   the scope of Mr. Scroggs' testimony, as well as the position

25   within the company to stand down on the project.  And it sounds

FLORIDA PUBLIC SERVICE COMMISSION

421

1   like it's a question not because the licensing would be

2   disallowed or something but just to voluntarily withdraw the

3   project.  I don't think that's a decision he can make and it's

4   way too speculative.

5             MR. KRASOWSKI:  Mr. Chair, I specifically relate to

6   his statement and his testimony, and I'm just asking for a

7   clarification as to whether he perceives public involvement as

8   a risk.

9             CHAIRMAN CARTER:  You asked him that, he answered

10   that.  But this is beyond the perspective and I'm going to have

11   to sustain the objection.  You asked him about the public

12   involvement.  He said that's true and said the process is

13   designed in all phases, both state and federal, for public

14   involvement.  I heard that.

15             MR. KRASOWSKI:  Okay.

16             CHAIRMAN CARTER:  And so we've been going about an

17   hour.  Can you tell me about how much more you've got?  Because

18   I'm sure the Commissioners have some questions as well as staff

19   and all, but can you give me some kind of idea where you are,

20   Mr. Krasowski, time wise?

21             MR. KRASOWSKI:  Yes.  I have maybe another page,

22   another 20 minutes maybe.  I'm not exactly sure.  But we --

23   there are -- I'll try to get through it quickly.

24             CHAIRMAN CARTER:  Just, just narrow your focus.  And

25   I think that if you, if you, as you go to these pages, if you

FLORIDA PUBLIC SERVICE COMMISSION

422

1   want to use it as a reference, you don't have to read it.  Just

2   ask the question and that will probably help a little too.

3   Okay?

4             MR. KRASOWSKI:  Yes.

5   BY MR. KRASOWSKI:

6        Q    Mr., Mr. Scroggs, how long, exactly how long is the

7   authorization to build a plant valid for?

8        A    My understanding is that there's no specific time

9   limit once a COLA is, or a combined license is granted.  But

10   the common thought is that's about 20 years from the time that

11   a license would be granted, that the construction and operation

12   of that plant would need to commence within approximately 20

13   years from the time that the license is granted.  Witness Diaz

14   would probably be able to more precisely answer that question.

15        Q    Okay.  Well, okay.  In the interest of trying to move

16   this along, let me see if I can appropriately ask questions on

17   the, on, on this, this issue.

18             Are you aware of the -- now you've previously

19   identified that the overall expenditure in relation to this

20   project is in the range from $12 billion to $24 billion

21   depending on what you decide to, which way you decide to go?

22        A    That's correct.

23        Q    Okay.  Now we're aware of an FP&L project that would

24   provide 300 megawatts of power through thermal, thermal solar.

25   Are you aware of that?

FLORIDA PUBLIC SERVICE COMMISSION

423

1             MR. BUTLER:  Object to lack of foundation.

2             MR. KRASOWSKI:  What's that?

3             MR. BUTLER:  Object to lack of foundation.  Describe

4   the project, if you have something specific you want him to

5   comment on.

6             MR. KRASOWSKI:  Well, I'm asking Mr. Scroggs if he's

7   aware of that project so as to avoid elongating my --

8             CHAIRMAN CARTER:  If you know the name of the

9   project, just ask him, and that'll help move it along and zero

10   in more precisely on what you really want to ask him.

11   BY MR. KRASOWSKI:

12        Q    Are you familiar with the Ausra project, A-U-S-R-A?

13        A    I'm familiar with our efforts in Martin County to

14   develop solar thermal, and I understand that Ausra is a

15   technology that's being considered for that project.

16        Q    Are you aware that that project is, is supposed to

17   produce 3,000 megawatts of power -- excuse me -- 300 megawatts

18   of power?

19        A    I understand there's phases of the project where

20   we're going to start with a smaller amount, 10 megawatts.  And

21   if that proves viable, we can move forward to potentially

22   300 megawatts.

23        Q    Okay.  Do you know the cost of that project?

24        A    No, sir, I don't.

25        Q    Okay.  Now in your testimony you identify the

FLORIDA PUBLIC SERVICE COMMISSION

424

1   alternatives that you compared this project to; is that

2   correct?

3        A    I believe in my testimony I don't go into specifics.

4   Witness Sim in the Resource Planning Department would be one

5   that would be able to identify through our integrated resource

6   planning process how we go look at different technologies.

7        Q    So you wouldn't be the person to ask?  Okay.  Fine.

8   I'll save those questions for Mr. Sim.

9             Okay.  We asked these questions of Mr. Silva and he

10   referred us to you.  Doesn't, doesn't a nuclear power plant

11   depend on an uninterrupted flow hour by hour of water?

12        A    The operation of any steam plant requires water for

13   cooling water purposes.  It would depend on the design of the

14   water systems for the plant, in particular to the designs that

15   are being com, com -- excuse me.  The designs that we're

16   contemplating for Turkey Point 6 and 7 include a large

17   reservoir of water in a cooling tower basin which would provide

18   a four- to five-day supply of water.  So, again, that would not

19   require a continuous supply of water for consistent and

20   reliable operation.

21        Q    Does, does the operation of a nuclear power plant

22   require external power provided to it constantly by fossil fuel

23   plants or other external electric generating plants in order to

24   assure the nuclear power plant's operation?

25        A    One of the really good features of the new passive

FLORIDA PUBLIC SERVICE COMMISSION

425

1   design technologies that are a part of either the AP1000 or the

2   GE plant is a much lower reliance on any external activities to

3   provide cooling water in the event of a reactor accident to

4   keep the water, the cooling water or the reactor safe.  So the

5   need for emergency diesel generators, operator action has been

6   greatly reduced and removed for some hours after an accident.

7   So for these new passive designs that is not a requirement.

8        Q    And what about the spent fuel cooling pools?

9        A    Again, once, once the water -- you know, those

10   aren't, do not require a continuous feed of electricity to

11   remain safe.  They can respond for some period of time without

12   circulation to remain safe.

13        Q    And if you choose the Virginia Key reused water,

14   wouldn't it be, wouldn't you have to build a pipeline under

15   Biscayne Bay to provide the water to the plant?

16        A    Absolutely not.  The Virginia Key water treatment

17   facility is one of three water treatment facilities in

18   Miami-Dade County.  It is -- there is area at the site to

19   expand their treatment and provide treated water.  We think the

20   most logical option for bringing that treated water from

21   Virginia Key to the Turkey Point site would be to come back

22   down existing transmission right-of-ways that are already in

23   use by both the county and Florida Power & Light so we would

24   not need to go under Virginia Key.

25             But the other options that are being explored would

FLORIDA PUBLIC SERVICE COMMISSION

426

1   be to utilize the existing wastewater system in Miami-Dade to

2   deliver that water to a plant closer to Turkey Point and,

3   therefore, reduce the amount of pipeline that would be

4   necessary to deliver the finished water product to the plant.

5        Q    How far is the Virginia Key wastewater plant from the

6   proposed site for 6 and 7?

7        A    It's approximately 32 miles.

8        Q    If I could have just one second to go back to our

9   earlier question, find the documentation.

10             (Pause.)

11             CHAIRMAN CARTER:  Commissioners, just by way of

12   information while Mr. Krasowski is looking for his notes for

13   the final few questions, what my plans are is once

14   Mr. Krasowski is finished, I want to go to staff and then come

15   back to Commissioners, if in case we have any questions.  And I

16   think that way it will give us an opportunity to hear as well

17   as ask any questions that we have.  So we'll do it from that

18   perspective just from the FYI department.  Also always

19   continuing to look just for the parties that are here as well

20   as -- I know Commissioner Argenziano is, is not feeling well

21   but she's on the line.  Just, Commissioner, and as well as for

22   those that are here that are gathered, our plans for lunch will

23   probably be, we'll probably break around noonish.

24             MR. KRASOWSKI:  Commissioner --

25             CHAIRMAN CARTER:  Excuse me for one second.  I'm

FLORIDA PUBLIC SERVICE COMMISSION

427

1   sorry.  Just trying to get some affirmation from my fellow

2   Commissioners.  We'll break around noon for lunch.

3             Mr. Krasowski, you're recognized.

4             MR. KRASOWSKI:  My apologies, but I have now found

5   it.  It took me forever.

6   BY MR. KRASOWSKI:

7        Q    Okay.  This is in a deposition, Mr. Scroggs'

8   deposition, Page 41 and 42.

9        A    Yes, sir.

10        Q    Starting on Page 41, and I believe this is a question

11   to you from Ms. Brubaker.  The question is, the bottom, Line

12   24, Page 41, it says, "Okay.  Hypothetically, if the Commission

13   were to defer making a decision on the need for FP&L to make

14   the reservation commitments," and now I jumped over to Page 42,

15   "to defer that determination to the cost recovery proceeding

16   rather than the need determination, in your opinion would FP&L

17   still pursue making those commitments with Japan Steel Works?"

18   And your answer was, "I can't speak for the final business

19   decision of FP&L's executives, but I would recommend that they

20   would."

21             So back to my original question was is there a need,

22   any need that would come out of a decision made by the PSC that

23   would control your making a deposit for a queue in the, to the

24   Japan Steel Works for the founding, foundry work that you seek?

25             MR. BUTLER:  I'm going to object to the question.

FLORIDA PUBLIC SERVICE COMMISSION

428

1             CHAIRMAN CARTER:  That was -- you've asked that --

2   you had a whole line or series of questions on that.

3   Mr. Butler is right on that.  And so he's already answered that

4   one several times in several different iterations.  So let's

5   move on.  You asked him about that.

6             MR. KRASOWSKI:  Yeah.  Okay.  I just, I thought by,

7   by citing --

8             CHAIRMAN CARTER:  You asked him about it several

9   times.

10             MR. KRASOWSKI:  Yeah.  Okay.  I have one other

11   question, if I may.

12             CHAIRMAN CARTER:  That's fine.  I was just --

13             MR. KRASOWSKI:  Okay.

14             CHAIRMAN CARTER:  He's probably not going to change

15   his answer.

16             MR. KRASOWSKI:  Yeah.  Okay.  Whatever that was.

17             MR. BUTLER:  I would object to that characterization

18   and ask that it be stricken.

19             CHAIRMAN CARTER:  Yes.  Mr. Krasowski --

20             MR. KRASOWSKI:  That just reflected my own confusion

21   of whatever it was.

22             CHAIRMAN CARTER:  Mr. Krasowski, Mr. Krasowski, you

23   really have -- this is still a tribunal, it's still an entity

24   of the government.  It's -- we're not like hanging out on the

25   back porch shooting the breeze.  This is a very important case

FLORIDA PUBLIC SERVICE COMMISSION

429

1   and we have given you great leeway.

2             MR. KRASOWSKI:  Yes, sir.

3             CHAIRMAN CARTER:  And but all lawyers and all parties

4   represented here have to adhere to a certain level of

5   standards, ethics and conduct.

6             MR. KRASOWSKI:  Yes, sir.

7             CHAIRMAN CARTER:  And that was inappropriate.

8             MR. KRASOWSKI:  Well, I apologize for that then.

9             CHAIRMAN CARTER:  Okay.  You may continue.

10   BY MR. KRASOWSKI:

11        Q    Let me, let me try to approach this question from a

12   different direction, and stop me dead in my tracks, please.

13   I'm sure you will.

14             CHAIRMAN CARTER:  No.  The thing about a question

15   that's been asked and answered, you don't get to go, you don't

16   get multiple bites at the apple.  So if you've got other

17   questions you want to ask, go right ahead.

18             MR. KRASOWSKI:  Okay.  So -- okay.  Well, we'll just

19   leave it, leave it there.  Just trying to get a satisfactory

20   answer.  We've asked and --

21             CHAIRMAN CARTER:  You probably won't ever get a

22   satisfactory answer.

23             MR. KRASOWSKI:  Okay.  Yeah.  Thank you very much.

24             CHAIRMAN CARTER:  He's, he's not your witness, so

25   he's not going to give you a satisfactory answer.

FLORIDA PUBLIC SERVICE COMMISSION

430

1             MR. KRASOWSKI:  Okay.  Well, thank you very much.

2   That concludes the questions we have for Mr. Scroggs.  And

3   apologies, you know, for whatever.

4             CHAIRMAN CARTER:  Duly noted.  And as I say, because

5   you are pro se we have given you great latitude.

6             MR. KRASOWSKI:  Yes, sir.

7             CHAIRMAN CARTER:  However, however, there is a

8   boundary beyond which none of us can.

9             Go.  Let's do this.  We've been at this for well over

10   an hour now, and I know the staff has some questions, and let's

11   take a -- I'm looking at 10:54.  We'll come back at 11:00 and

12   then we'll recognize staff for their questions.  Let's take a

13   stretch break.

14             (Recess taken.)

15             We are back on the record with our hearing.  And last

16   time when we took our break we said that we'd, our staff had

17   some questions for the witness and we'd recognize staff.  And

18   at this point in time, staff, you are recognized.

19             MS. FLEMING:  Thank you, Chairman.

20                          CROSS EXAMINATION

21   BY MS. FLEMING:

22        Q    Good morning, Mr. Scroggs.  I'm Katherine Fleming.

23        A    Good morning.

24        Q    Earlier Mr. Krasowski asked you a question regarding

25   the specific design technology, and in response to that,

FLORIDA PUBLIC SERVICE COMMISSION

431

1   Mr. Krasowski's question, you stated that FPL has not made a

2   final decision on its design technology; correct?

3        A    That's correct.

4        Q    Does this uncertainty affect the site certification

5   process at DEP?

6        A    No.  That decision will be made in advance of the

7   full development of the site certification application and will

8   be resolved well in advance of submitting that application.

9        Q    When does FPL anticipate making a decision on the

10   final design selection?

11        A    In the summer of this year.

12        Q    And when does FPL anticipate filing its site

13   certification at DEP?

14        A    Early in the year 2009.

15        Q    Okay.  Is it correct that FPL must make its initial

16   payment to Japan Steel Works in June 2008 to secure the 2018

17   in-service dates?

18        A    I'm sorry.  Are you asking me if we have made such

19   payment?

20        Q    No.  Is it correct that FPL must make its initial

21   payments to Japan Steel Works in June of 2008 in order to

22   secure the 2018 in-service dates?

23        A    I understand your question.  Thank you.

24             As I've said, the best information we have right now

25   indicates it is the most prudent decision for us to go ahead

FLORIDA PUBLIC SERVICE COMMISSION

432

1   and make that reservation in the summer of 2008 to maintain the

2   project schedule, but those market issues can change.

3        Q    Has FPL studied the larger technology in terms of the

4   transmission impacts it could have on the Florida grid?

5        A    Yes, ma'am.

6        Q    And what have those studies shown?

7        A    Those studies have shown that the larger capacity

8   units would require additional transmission integration

9   investment, that it would be technically feasible to do so, but

10   it would require additional equipment probably on the FPL

11   system as well as on other systems.

12        Q    Now could that larger technology type impact other

13   utilities' operating reserve requirements?

14        A    I'm not sure if I understand the question.

15        Q    You're stating that the 1,500 megawatt is obviously

16   greater than the 1,100 megawatt and you have conducted studies.

17   In your studies have you made a determination whether that

18   larger transmission or larger unit could affect the impact of

19   the other utilities that may be impacted in the Florida grid?

20        A    The design standard for the transmission system

21   requires that the reliability standard be met.  And what we're

22   describing is that in order to meet that reliability standard

23   with the larger unit, there would be additional equipment

24   necessary to meet that same reliability standard.  The standard

25   would be the same.  You'd have the same system capabilities in

FLORIDA PUBLIC SERVICE COMMISSION

433

1   the end.  So we would not impact others by our choice.  It

2   would just determine the additional transmission integration

3   equipment necessary to achieve the design standard for the

4   system.

5        Q    Thank you.  Has FPL had direct negotiations with

6   Japan Steel Works related to the forgings that are needed for

7   Turkey Point 6 and 7?

8        A    No.  And let me amplify a bit that our relationship

9   would be with the reactor design vendor, either Westinghouse or

10   GE, who would then in turn contract with Japan Steel Works

11   directly.  So there's two phases there.  We would not directly

12   contract with Japan Steel Works.

13        Q    And on that same point then would FPL remit payments

14   for these forging reservations to Japan Steel Works or would

15   they remit payments to GE or Westinghouse?

16        A    The terms, the specific terms are not negotiated.

17   But it's my understanding that we would enter into a

18   contractual agreement with either Westinghouse or General

19   Electric and the payment, therefore, would go to Westinghouse

20   or General Electric.

21        Q    And the $16 million estimate that is addressed in

22   Issue 9, is that based on, the forgings reservation fee based

23   on the estimates arrived between negotiations between

24   Westinghouse and Japan Steel Works?

25        A    The estimate that we provided was based on an

FLORIDA PUBLIC SERVICE COMMISSION

434

1   estimate provided to us from Westinghouse.  That estimate, I

2   can assume, is based on a long-standing relationship between

3   Westinghouse Electric and Japan Steel Works and their

4   understanding of the market value of such reservation.

5        Q    Would the estimate be $16 --

6             CHAIRMAN CARTER:  Excuse me, Ms. Fleming.  I think

7   that, I may have misheard you, but I think that when

8   Mr. Krasowski asked that question, you said that you had to

9   reserve the place with Japan Steel and you'd have to do that

10   notwithstanding whichever vendor you chose.

11             THE WITNESS:  That's correct.  The end result would

12   be the reservation would be with Japan Steel Works, but it

13   would be through a contractual arrangement with either of the

14   final technology vendor that we would select.

15             CHAIRMAN CARTER:  Well, I guess I must have

16   misunderstood that.  Because what I heard you say to

17   Mr. Krasowski's question was that it would be tantamount to a

18   contractual relationship, a payment from FPL directly to Japan

19   Steel Works.

20             THE WITNESS:  I apologize if that was -- if I

21   misrepresented that.  The proper way to represent that is that

22   we will enter into a contractual agreement with either

23   Westinghouse or General Electric, who then will subcontract to

24   Japan Steel Works for this purpose.

25             CHAIRMAN CARTER:  Okay.

FLORIDA PUBLIC SERVICE COMMISSION

435

1             THE WITNESS:  In effect, it's FPL reserving a forging

2   reservation at Japan Steel Works.  But I probably did an

3   inadequate job of describing the commercial arrangement that

4   would arrive at that result.

5             CHAIRMAN CARTER:  Okay.  Ms. Fleming, you may

6   continue.

7   BY MS. FLEMING:

8        Q    And to that --

9             CHAIRMAN CARTER:  Wait a minute.  Commissioners, on

10   this same point, any other questions on that?

11             Commissioner Edgar, you're recognized.

12             COMMISSIONER EDGAR:  Just very brief and just

13   technical -- well, to me technical, not you technical.

14             I'm looking at the language of the issue and it does

15   say, "Should FPL commit to make payments to Japan Steel Works?"

16   And it's a fine point and I'm not trying to split hairs.  But

17   so if -- would the -- would FPL be making those reserve

18   payments to Japan Steel Works or to whatever is the vendor that

19   is ultimately the major contractor?

20             THE WITNESS:  Again, the commercial arrangements are

21   still in the process of being negotiated.  There may be an

22   arrangement by which we enter into a commercial arrangement

23   with a reactor designer, either Westinghouse or General

24   Electric, but the payment would be remitted directly to Japan

25   Steel Works, or the payment could be remitted to Westinghouse

FLORIDA PUBLIC SERVICE COMMISSION

436

1   and General Electric, who then on our behalf remits it to Japan

2   Steel Works.  It's just a matter of how those contract terms

3   become negotiated and what we see as the best interest of

4   protecting our customers, which, which option would be in the

5   best interest for risk mitigation purposes, and we just haven't

6   gone through that process yet.

7             COMMISSIONER EDGAR:  Thank you.

8             CHAIRMAN CARTER:  Okay.  Thank you.

9             Ms. Fleming, you may continue.

10   BY MS. FLEMING:

11        Q    You previously stated that the $16 million is based

12   on estimates between Westinghouse and Japan Steel Works;

13   correct?

14        A    The $16 million is based on the estimates

15   Westinghouse provided to us.  I am assuming that they consulted

16   Japan Steel Works in developing that estimate.

17        Q    Okay.  Fair enough.  Then does FPL know what the

18   reservation fee would be for GE?

19        A    We assume that because the component sizes and number

20   of components are approximately the same that $16 million would

21   be a representative number for either the GE technology or the

22   Westinghouse technology.

23        Q    Is it correct that the proposed unit reactor pressure

24   vessels and steam generators are components which require

25   forging by Japan Steel Works?

FLORIDA PUBLIC SERVICE COMMISSION

437

1        A    That is correct.

2        Q    With respect to the Westinghouse and GE designs, are

3   the quantity and magnitude of the equipment which must be

4   forged for the two alternatives similar in nature?

5        A    Yes, they're similar.

6        Q    So can you explain to me how is it possible that the

7   magnitude of equipment is the same for two alternative reactor

8   vessels, yet the megawatt capacity is, is substantially

9   different?

10        A    The reservation fee provides us a manufacturing

11   capacity and capability.  That reservation fee is not specific

12   to the material or the fabrication.  All right.  It's a reserve

13   spot, so we're paying for a spot.  We're not paying for the

14   block of metal and all the machining.

15             So when we would move, say, in the year 2010 to

16   actually issuing a purchasing order for those pieces of

17   equipment, that's when the differences of the component count,

18   the size of the components would manifest themselves in a

19   difference in the purchase order for the components.  But we

20   believe the reservation fee would be about the same for either

21   technology.

22        Q    And earlier there was discussion as to which vendor

23   FPL would be making the $16 million reservation fee.  And I

24   believe you stated that, that it's still currently under

25   negotiation but FPL may make those payments directly to GE or

FLORIDA PUBLIC SERVICE COMMISSION

438

1   Westinghouse.  Is that correct?

2        A    That may be one of the options.  Yes, ma'am.

3        Q    Okay.  If GE opted to make advanced payments for the

4   Westinghouse design but later chose the GE design, would the

5   payment from Westinghouse be valid for the GE design?

6             MR. BUTLER:  I'm sorry.  I was confused by the

7   question.  It sounded like that the first entity you referred

8   to was GE.  I think it would be FPL.  Could you just restate

9   the question, please?

10   BY MS. FLEMING:

11        Q    Oh, okay.  If FPL -- you've stated that FPL is going

12   to be making the payments directly to Westinghouse or GE;

13   correct?

14        A    Correct.  One option.

15        Q    And you stated numerous times that this is a

16   reservation fee and it's not related to the materials; correct?

17        A    Correct.

18        Q    If at some point -- if FPL makes a determination to

19   make, choose the Westinghouse design or make advance payments

20   to Westinghouse but later determines to go with the GE design,

21   can the payments made to Westinghouse be applied to the GE

22   design?

23        A    That would depend upon the commercial terms specific

24   to the arrangement.  So at this point in time I can, I cannot

25   speak to whether or not that would actually come to pass.  It

FLORIDA PUBLIC SERVICE COMMISSION

439

1   is a potential alternative.

2             CHAIRMAN CARTER:  This is -- excuse me, Ms. Fleming.

3   I think this is the confusion that the Commissioners as well as

4   maybe, maybe some of the parties are having is that you say

5   it's necessary to hold your place in line.  But based upon your

6   answer to Ms. Fleming's question, you may not necessarily be

7   holding your place in line because if you decide -- if you make

8   the payment to GE, you decide that you're not going to go with

9   GE, you're going to go with Westinghouse, do you lose the

10   $16 million?  Do you lose your proverbial place in line?  I

11   mean, and it seemed like to me is that you may very well lose

12   this coveted place in line from your answer.

13             And, Ms. Fleming, would you ask your question again?

14   This time I'm going to listen more precisely than ever before.

15   But it seems like to me you're saying that, yes, you'd lose

16   your place in line.  Commissioners, am I reading too much into

17   this?

18             COMMISSIONER EDGAR:  As I have probably shown oh too

19   clearly, I have some confusion as to exactly some of the

20   language and what it would mean.  So any clarification is

21   helpful.

22             CHAIRMAN CARTER:  Thank you.  Ms. Fleming.

23   BY MS. FLEMING:

24        Q    And I'll try to remember what I asked.  And staff is,

25   as well, we're just trying to understand the $16 million

FLORIDA PUBLIC SERVICE COMMISSION

440

1   reservation fee, how that puts your place in line for this

2   construction.  And I believe I had asked if FPL were to put a

3   reservation fee, a $16 million reservation fee for the

4   Westinghouse design but later opted to use the GE design, what

5   happens to those payments?  Can you use the payments from

6   Westinghouse for GE?

7        A    Again, let me, let me go through some examples and

8   hopefully that will help.

9             The commercial terms, as I said, are not yet

10   resolved.  So I can't tell you, I can't read from a draft

11   contract as to how these things would happen.  Likely, if we

12   were to make a final technology decision and then determine to

13   make a long-lead payment, we would make it to the design

14   vendor, either Westinghouse or General Electric, and we will be

15   very certain that we'll stick with that project and that that

16   project would not be overly exposed to that.

17             However, if we got down the path and some fatal flaw

18   was uncovered with the design that we chose, we would then have

19   the onus to move to a different design and show why that is

20   appropriate.  If there is remarket value to the option payment

21   that we've made, we might be able to recover some or all of

22   that.  If there -- if we can negotiate contract languages that

23   allow us to retain the rights and assignability rights to that

24   option, then perhaps that option can travel with us to the

25   other vendor.  Again, it's a matter of contract law for

FLORIDA PUBLIC SERVICE COMMISSION

441

1   contracts that have yet to be negotiated as to the full

2   flexibility that we'll be able to achieve there.

3             Obviously, it's in our interest and in the customer's

4   interest to make sure that we have really made a good decision

5   before we make those advanced payments so that there, this

6   issue doesn't even come up.

7        Q    If, if FPL were to make a payment to Westinghouse and

8   opted for GE, then are you saying there would be a double

9   payment so you would have $16 million to Westinghouse and then

10   a $16 million reservation fee to GE?

11        A    In the worst case and there is no remarket value for

12   the payment made to Westinghouse and there's no contract

13   language that would allow us to move that reservation over, in

14   the worst case that might occur.  But, again, I think that

15   would be a very low probability and unlikely case.

16        Q    If FPL had to make a double payment, would any of the

17   portions of those payments be refundable?

18        A    Again, the very likely -- we've identified in my

19   testimony our understanding that this is a highly sought after

20   commodity, a large number of reactor clients in the queue, and

21   we would fully expect that some of those monies would be

22   potentially recoverable, but there's no certainty to that.

23        Q    Now earlier you testified that there will be some

24   remarket opportunity.

25             CHAIRMAN CARTER:  Just one moment, Ms. Fleming.

FLORIDA PUBLIC SERVICE COMMISSION

442

1             MS. FLEMING:  Okay.

2             CHAIRMAN CARTER:  You say in the worst-case scenario

3   it could be $32 million.  Yesterday I think Commissioner Edgar

4   asked a question and the answer to it was that whether we

5   approve the $16 million or not, it's a sound business decision

6   and FPL would do it any -- did I hear that right?  Is that --

7             COMMISSIONER EDGAR:  I think that was one of the

8   questions I asked.

9             CHAIRMAN CARTER:  This, this has got a bee in my

10   bonnet on this one right here though.  And I'm saying is that

11   then that gets to that whole line of questions, Commissioner

12   Edgar, that you asked about prudence, advance prudence and the

13   determination of that, and, and it kind of gave me a little

14   chill on that.  While I'm formulating my question, Commissioner

15   Skop, you're recognized.

16             COMMISSIONER SKOP:  Thank you, Mr. Chairman.  Again,

17   let me probably jump in here too because, again, I think it's

18   important to kind of point out something.

19             Initially at the Prehearing Conference the issue was

20   formulated on January 14th.  Subsequent to that, looking at the

21   deposition testimony of Mr. Scroggs, that was conducted

22   January 18th.  Again, I relied on representations that were

23   made to me by FPL that the payment would be made in accordance

24   with the language that we discussed at the Prehearing

25   Conference.

FLORIDA PUBLIC SERVICE COMMISSION

443

1             Again, I think part of the issue -- and, again, I

2   don't want to put words in Mr. Scroggs' mouth; however, they

3   are leveraging two vendors.  However, by their own admission,

4   they're in further depth of discussions with one particular

5   vendor and they're using that as the basis for a lot of the

6   things that have come before us.  Again, I don't want to read

7   inferences into that, but if I were a betting man, I think I

8   could make a judgment call on which technology they may go

9   with.  But, again, it's not fair to bind them consistent with

10   some of the other direct testimony that we've heard.

11             However, again, I think we need to get to the bottom

12   of this particular issue.  Because, again, I am supportive of

13   going forward with doing the right thing when it's properly

14   definitized, but, again, I do have concerns subsequent to

15   direct deposition testimony that was taken subsequent to the

16   issue that was framed at the prehearing with respect to how we

17   may need to address this.

18             So, again, I took representations at face.  It seems

19   like the story was not perhaps as fully developed as it might

20   have been.  And, again, I don't regret the decision I made.  It

21   was made on the information I had at the time.  But if there's

22   no basis to support the issue as it was framed based on the

23   information I had, then, again, some of the concerns that are

24   being expressed I fully appreciate.  And, again, if this was a

25   matter of going forward and doing the right thing to protect

FLORIDA PUBLIC SERVICE COMMISSION

444

1   the public interest and avoid cost escalation risk and what

2   have you, but it seems to me as -- it seems to me it's been, as

3   fleshed out here, that we need to get to the bottom of what

4   we're being asked to do.  So thank you, Chairman Carter.

5             CHAIRMAN CARTER:  Thank you, Commissioner.  I was

6   just wearing -- that worst-case scenario is what threw me off

7   the bus is that, you know -- not that I was on the bus, on the

8   bus for $16 million, but $32 million really got my attention.

9   I mean, you know, my wife is a prolific shopper, but I don't

10   think she's ever spent that much; not at one time anyway.

11             So I think what we're trying to do is just kind of

12   get a feel for this.  Because if it does go to issues of

13   prudence or prudency and if we are asked to make an advanced

14   determination of that -- this place in line is beginning to

15   take different iterations.  And, again, I go back to -- I

16   thought from, from yesterday's discussion and today's

17   discussion, particularly a question that was asked specifically

18   by Mr. Krasowski, I think you said that the payment would be

19   made by FPL to Japan Steel Works since you had not made a

20   decision on which technology to take -- there's going to be a

21   question eventually, just hear me for right now -- that it

22   would be made by FPL to Japan Steel Works to secure their place

23   in line because you had not made a determination on the

24   technologies that you would employ either to GE or to

25   Westinghouse.  And that way whichever one you decided to do,

FLORIDA PUBLIC SERVICE COMMISSION

445

1   you'd have your place in line.  And in response to

2   Ms. Fleming's question, the questions by staff rather, it seems

3   that you're saying that the payment would be made directly to

4   the vendor and that vendor would then pay Japan Steel Works to

5   hold your place in line.

6             Is that -- you're recognized, Commissioner Skop.

7             COMMISSIONER SKOP:  Thank you, Mr. Chairman.  And

8   that's exactly to your point.  I think two things have been

9   said, again, under the auspice of commercial terms and what

10   have you.  I heard Mr. Scroggs recently say in the line of

11   questioning that depending upon what terms there may be a

12   payment directly in a contractual relationship with Japan Steel

13   Works, which is more consistent with how the question was

14   framed subject to it being able to go one of two ways with

15   whichever design.  It is a traditional placeholder much

16   analogous to reserving a slot in an aircraft manufacturing

17   pipeline.  Like an airline customer would go to Boeing and

18   approach and say, hey, I want a slot here.  And then if

19   something changes, you know, they do what they need to do.

20             But long story short is I'm hearing two things, like

21   you have astutely and Commissioner Edgar has astutely pointed

22   out, that, you know, this may be going through the vendor,

23   either Westinghouse or GE, or it may be going directly to Japan

24   Steel Works.

25             But, again, I'm going on the representations as I

FLORIDA PUBLIC SERVICE COMMISSION

446

1   understood them prior to your deposition being taken.  And,

2   again, we need to straighten this issue out.

3             CHAIRMAN CARTER:  Thank you, Commissioner.  And this

4   is --

5             COMMISSIONER ARGENZIANO:  Mr. Chair.

6             CHAIRMAN CARTER:  Commissioner Argenziano, you're

7   recognized.

8             COMMISSIONER ARGENZIANO:  Yes.  I just want to

9   clarify so I'm in the proper position here because we all had

10   some concerns yesterday and were listening to different

11   information.

12             Commissioner Skop, are you saying that the

13   representations that you heard were different than what you're

14   hearing today?

15             COMMISSIONER SKOP:  I guess it's unclear.  Because,

16   again, if they were to go forward with a direct payment to

17   Japan Steel Works to reserve a place in the queue, which

18   certainly that's how the issue is framed and that's what

19   Mr. Scroggs has represented, I believe, as one of the distinct

20   possibilities, then nothing has changed from how the issue is

21   framed.

22             However, if it is exclusionary subject to perhaps his

23   deposition testimony that, you know, you may have a payment in

24   to, through a vendor to Japan Steel Works for the benefit of,

25   which I think his testimony also reflected, but then if there's

FLORIDA PUBLIC SERVICE COMMISSION

447

1   a change in position and they go with the other vendor, then

2   the disposition of that payment becomes in question.  And that

3   is perhaps a legitimate concern and a change from what was

4   reflected or represented when the issue was framed.

5             So, again, if we're reserving a spot in the queue

6   that can be used in either instance, again, I don't think I

7   have a real problem with that in terms of the how the issue was

8   framed.  But if it becomes exclusionary to the extent that you

9   have a $32 million, you know, two payments in play, then,

10   again, I think that's a little bit different story than I had

11   accurate visibility of, subject to the deposition being taken

12   four days after we had the prehearing.

13             (Transcript continues in sequence with Volume 5.)

14

15

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION

448

1   STATE OF FLORIDA    )

:         CERTIFICATE OF REPORTER

2   COUNTY OF LEON      )

3

4             I, LINDA BOLES, RPR, CRR, Official Commission

Reporter, do hereby certify that the foregoing proceeding was

5   heard at the time and place herein stated.

6             IT IS FURTHER CERTIFIED that I stenographically

reported the said proceedings; that the same has been

7   transcribed under my direct supervision; and that this

transcript constitutes a true transcription of my notes of said

8   proceedings.

9             I FURTHER CERTIFY that I am not a relative, employee,

attorney or counsel of any of the parties, nor am I a relative

10   or employee of any of the parties' attorneys or counsel

connected with the action, nor am I financially interested in

11   the action.

12              DATED THIS ________ day of February, 2008.

13

14                  ________________________________

LINDA BOLES, RPR, CRR

15                  FPSC Official Commission Reporter

(850) 413-6734

16

17

18

19

20

21

22

23

24

25

FLORIDA PUBLIC SERVICE COMMISSION